## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1108644 | 1108644 | 1425798 | AU_QM_000359349 |  | ERSA | M | 5910 | 1425798GZPCLNT100 | EA |  | ADAPTOR | ADAPTOR | UNION: ADAPTOR |  | UNION: ADAPTOR | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | UNION | NO MODIFIER | TYPE | ADAPTOR | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1072740 | 1072740 |  |  |  | ERSA | M | 5920 | 1313541GZPCLNT100 | EA | 3000284 | ALIGNMENT TOOL;GLE,321-MO-0OHU | ALIGNMENT TOOL;GLE,321-MO-0OHU | TOOL;MNFR:GLENCORE,PTNO:321-MO-0OHU |  |  | GLENCORE | 321-MO-0OHU | [12 empty] | GLENCORE | 321-MO-0OHU | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices |  |  | TOOL | ALIGNMENT | TYPE |  | SIZE |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1017726 | 1017726 | 1378411 | AU_QM_000217724 |  | ERSA | M | 5955 | 1378411GZPCLNT100 | EA | 3000001 | ATTACHMENT;EPI,3128 0018 42 | ATTACHMENT;EPI,3128 0018 42 | ATTACHMENT;MNFR:EPIROC,PTNO:3128 0018 42 |  | ATTACHMENT;EPI,3128 0018 42ATTACHMENT;EPI,3128 0018 42 | EPIROC | 3128 0018 42 | [12 empty] | EPIROC |  | EPIROC | 3128 0018 42 | [16 empty] | https://orglobal.com.tr/urun/o-1250-0234-37-1250023437-boomer-telescope-set/ | [9 empty] | Cleansed | 31162500 Brackets and braces |  |  | BRACKET | NO MODIFIER | TYPE |  | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1015829 | 1015829 | 1459210 | AU_QM_002209696 |  | ERSA | M | 5100 | 1459210GZPCLNT100 | EA |  | BLOWOUT ARC | BLOWOUT ARC | SHIELD,ARC,SWITCH CONTACTS: BLOWOUT AND ARC FOR TYPE 300.4R.3A CONTACTOR |  | SHIELD,ARC,SWITCH CONTACTS: BLOWOUT & ARC | [44 empty] | Cleansed | 31160000 Hardware | FOR TYPE 300.4R.3A CONTACTOR |  | SHIELD | NO MODIFIER | TYPE | ARC,SWITCH CONTACTS,BLOWOUT AND ARC | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1099903 | 1099903 | 1393355 | AU_QM_000236748 |  | ERSA | M | 1500 | 1393355GZPCLNT100 | EA | 3000438 | BUMPER;NRMT,100049561 | PARACHOQUES; | PARACHOQUES;MNFR:NORMET,PTNO:100049561 | PARACHOQUES;,MNFR:NORMET,PTNO:100049561 | OEM-E-LISTBUMPER;NOR,100049561 | NORMET | 100049561 | [12 empty] | NORMET | 100049561 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153130 Machine mounts or vibration isolators |  |  | BUMPER | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1139559 | 1139559 | 1437079 | AU_QM_000929927 |  | ERSA | M | 5920 | 1437079GZPCLNT100 | EA |  | CAT D11R DOZER; | CAT D11R DOZER; | RADIATOR,ENGINE: CAT D11R DOZER; |  | RADIATOR,ENGINE:CAT D11R DOZER; | [34 empty] | URL NOT FOUND |  |  | DOZER | CATERPILLAR | D11R |  |  |  |  | Cleansed | 40101801 Radiators |  |  | RADIATOR | NO MODIFIER | TYPE | ENGINE | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1065928 | 1065928 | 1469670 | AU_QM_008702196 |  | ERSA | M | 2200 | 1469670GZPCLNT100 | EA |  | CHECK | CHECK | POPPET,VALVE; CHECK |  | POPPET,VALVE; CHECK | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141641 Poppet valve |  |  | VALVE | CHECK | TYPE | POPPET | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1136152 | 1136152 | 1371052 | AU_QM_000194225 |  | ERSA | M | 5100 | 1371052GZPCLNT100 | EA |  | CLAMP-ON TYPE C/W CASE FUSED LEADS N | CLAMP-ON TYPE C/W CASE FUSED LEADS N | TESTER,CURRENT: CLAMP-ON TYPE C/W CASE AND FUSED LEADS N OTE - THIS IS RATED CAT II |  | TESTER,CURRENT: CLAMP-ON TYPEC/W CASE & FUSED LEADSN | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41113600 Electrical measuring and testing equipment and accessories | C/W CASE AND FUSED LEADS,NOTE-THIS IS RATED CAT II |  | TESTER | NO MODIFIER | TYPE | CURRENT,CLAMP ON | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1034582 | 1034582 | 1385784 | AU_QM_000226623 |  | ERSA | M | 5380 | 1385784GZPCLNT100 | EA | 3000003 | CLEANER;CAT,5088562 | CLEANER;CAT,5088562 | CLEANER;MNFR:CATERPILLAR,PTNO:5088562 |  | CLEANER;CAT,5088562CLEANER;HAS,5088562 | CATERPILLAR | 5088562 | [14 empty] | CATERPILLAR | 508-8562 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/508-8562 | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | PRE-CLEANER | ENGINE | TYPE |  | OUTLET SIZE |  | OVERALL HEIGHT |  | BODY DIAMETER |  | MATERIAL |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1025228 | 1025228 | 1389520 | AU_QM_000231026 |  | ERSA | M | 5380 | 1389520GZPCLNT100 | EA | 3000012 | CLEANER;TOY,1780174060 | CLEANER;TOY,1780174060 | CLEANER;MNFR:TOYOTA,PTNO:1780174060 |  | CLEANER;TOY,1780174060CLEANER;BEL,1780174060 | TOYOTA | 1780174060 | [14 empty] | TOYOTA | 1780174060 | BELL & MOIR | [15 empty] | https://www.airoilfilter.com/product/airfilter1780174060/ | https://www.dealonstore.com/shop/1780174060/ | [8 empty] | Enriched | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 310 LGX185 WDX41.5 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1101094 | 1101094 | 1387883 | AU_QM_000229095 |  | ERSA | M | 3000 | 1387883GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,2202762201 | COMPRESSOR;ATL,2202762201 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:2202762201 |  | COMPRESSOR;ATL,2202762201COMPRESSOR;ATL,2202762201 | ATLAS COPCO | 2202762201 | [14 empty] | ATLAS COPCO | 2202762201 | [16 empty] | https://www.enyepa.com/urun/atlas-copco-2202762201-motor-fan-v230-50-vn10-20-1296/ | https://compressornow.com/online-store/parts/parts-drive/fan/motor-fan-v230-50-vnp10-20-563-2202762201/ | [8 empty] | Enriched | 40101604 Fans |  |  | FAN | ELECTRICAL | TYPE | MOTOR | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE |  | OVERALL SIZE |  | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1101093 | 1101093 | 1387884 | AU_QM_000229097 |  | ERSA | M | 3000 | 1387884GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,2202762301 | COMPRESSOR;ATL,2202762301 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:2202762301 |  | COMPRESSOR;ATL,2202762301COMPRESSOR;ATL,2202762301 | ATLAS COPCO | 2202762301 | [14 empty] | ATLAS COPCO | 2202762301 | [16 empty] | https://www.buyfilteronline.com/ceccato-2202762301/ | https://theairmarket.com/product/part-2202762301-fan-d172-34-h42-oem-atlas-copco/ | [8 empty] | Cleansed | 40101604 Fans |  |  | FAN | NO MODIFIER | TYPE |  | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1100844 | 1100844 | 1393865 | AU_QM_000237382 |  | ERSA | M | 3000 | 1393865GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,2112259 | COMPRESSOR;CAT,2112259 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:2112259 |  | OEM-E-LISTCOMPRESSOR;CAT,2112259 | CATERPILLAR | 2112259 | [14 empty] | CATERPILLAR | 211-2259 | [16 empty] | https://parts.cat.com/en/catcorp/211-2259 | [9 empty] | Cleansed | 26101727 Piston rings |  |  | RING | PISTON | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | NUMBER IN SET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1030220 | 1030220 | 1393870 | AU_QM_000237387 |  | ERSA | M | 3000 | 1393870GZPCLNT100 | EA | 3000001 | COMPRESSOR;EPI,8152 0059 58 | COMPRESOR;EPI,8152005958 | COMPRESSOR;MNFR:EPIROC,PTNO:8152 0059 58 |  | OEM-E-LISTCOMPRESSOR;EPI,8152 0059 58 | EPIROC | 8152 0059 58 | [14 empty] | EPIROC | 8152005958 | [16 empty] | https://www.aircompressorstrade.com/collection/8152005958-atlas-copco-compressor-for-epiroc-machine/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1111098 | 1111098 | 1416885 | AU_QM_000262698 |  | ERSA | M | 5915 | 1416885GZPCLNT100 | EA |  | COMPRESSOR;GKS151PBB | COMPRESSOR;GKS151PBB | COMPRESSOR;MNFR: ,PTNO:GKS151PBB |  | COMPRESSOR;GKS151PBBCOMPRESSOR;GKS151PBB | [17 empty] | GKS151PBB | [16 empty] | https://okmarts.com/t/lg-compressor-qp442pba.html | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101283 | 1101283 | 1381546 | AU_QM_000221491 |  | ERSA | M | 3000 | 1381546GZPCLNT100 | EA | 3000024 | COMPRESSOR;ISU,1835323280 | COMPRESSOR;ISU,1835323280 | COMPRESSOR;MNFR:ISUZU,PTNO:1835323280 |  | COMPRESSOR;ISU,1835323280COMPRESSOR;ISU,1835323280 | ISUZU | 1835323280 | [14 empty] | ISUZU | 1835323280 | [16 empty] | https://partsouq.com/shop/product/1835323280-isuzu-compressor-asm/16295310 | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1146629 | 1146629 |  |  |  | ERSA | M | 1600 | 1523951GZPCLNT100 | EA |  | COMPRESSOR;KMD-201AA,HOSHIZAKI,P00835-01 | COMPRESSOR;KMD-201AA,HOSHIZAKI,P00835-01 | COMPRESSOR;ADDITIONAL FEATURES:KMD-201AA,HOSHIZAKI,P00835-01 | [18 empty] | HOSHIZAKI | P00835-01 | [16 empty] | https://hoshizaki.com.au/wp-content/uploads/2023/03/KMD-201AB-Parts-List-1.pdf |  |  |  |  | KMD-201AA |  |  |  |  | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101203 | 1101203 | 1383550 | AU_QM_000223955 |  | ERSA | M | 3000 | 1383550GZPCLNT100 | EA | 3000006 | COMPRESSOR;KOM,14X-911-7112 | COMPRESSOR;KOM,14X-911-7112 | COMPRESSOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:14X-911-7112 |  | COMPRESSOR;KOM,14X-911-7112COMPRESSOR;KOM,14X-911-7112 | KOMATSU MINING SYSTEMS INC. | 14X-911-7112 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 14X-911-7112 | [16 empty] | https://my.komatsu.co.nz/shop/airconditionerrelated_5637145288/5637216362_compressor-assembly_14x-911-7112 | https://www.fabheavyparts.com/products/air-conditioning-compressor-14x-911-7112-fit-fit-for-komatsu-pc1250-8-excavator-fab-heavy-co | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1100842 | 1100842 | 1393872 | AU_QM_000237390 |  | ERSA | M | 3000 | 1393872GZPCLNT100 | EA | 3000006 | COMPRESSOR;KOM,22L-979-2200 | COMPRESSOR;KOM,22L-979-2200 | COMPRESSOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:22L-979-2200 |  | OEM-E-LISTCOMPRESSOR;KOM,22L-979-2200 | KOMATSU MINING SYSTEMS INC. | 22L-979-2200 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 22L-979-2200 | [16 empty] | https://my.komatsu.co.nz/shop/airconditionerrelated_5637145288/5637303752_compressor_22l-979-2200 | https://www.wins-electric.com/products/22l-979-2200 | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1100841 | 1100841 | 1393873 | AU_QM_000237391 |  | ERSA | M | 3000 | 1393873GZPCLNT100 | EA | 3000006 | COMPRESSOR;KOM,42W0711281 | COMPRESSOR;KOM,42W0711281 | COMPRESSOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:42W0711281 |  | OEM-E-LISTCOMPRESSOR;KOM,42W0711281 | KOMATSU MINING SYSTEMS INC. | 42W0711281 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 42W-07-11281 | [16 empty] | https://my.komatsu.co.nz/shop/airconditionerrelated_5637145288/5638280093_compressor_42w-07-11281 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1017258 | 1017258 |  |  |  | ERSA | M | 3770 | 1083258GZPCLNT100 | EA | 3000006 | COMPRESSOR;KOM,ND447220-4051,ASSY | COMPRESOR;KOM,ND447220-4051,ENSAMBLE | COMPRESSOR;MNFR:KOMATSU,PTNO:ND447220-4051,ADDITIONAL FEATURES EN:ASSEMBLY | COMPRESOR;MNFR:KOMATSU,PTNO:ND447220-4051,CARACTERISTICAS ADICIONALES ES:ENSAMBLE |  | KOMATSU MINING SYSTEMS INC. | ND447220-4051 | [14 empty] | KOMATSU MINING SYSTEMS INC. | ND447220-4051 | [16 empty] | https://my.komatsu.co.nz/shop/airconditionerrelated_5637145288/5637591840_compressor-assembly_nd447220-4051 | https://jinyangsd.en.made-in-china.com/product/UOFAZIglLPpw/China-Construction-Machinery-Parts-PC200-6-PC220-6-Excavator-Spare-Parts-Air-Condition-Compressor-ND447220-4051.html | [8 empty] | Enriched | 40151600 Compressors | ASSEMBLY |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101273 | 1101273 | 1381823 | AU_QM_000221819 |  | ERSA | M | 3000 | 1381823GZPCLNT100 | EA | 3000028 | COMPRESSOR;MIT,AHM201A420NC | COMPRESSOR;MIT,AHM201A420NC | COMPRESSOR;MNFR:MITSUBISHI,PTNO:AHM201A420NC |  | COMPRESSOR;MIT,AHM201A420NCCOMPRESSOR;MIT,AHM201A420NC | MITSUBISHI | AHM201A420NC | [12 empty] | MITSUBISHI | AHM201A420NC | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101526 | 1101526 | 1374147 | AU_QM_000203032 |  | ERSA | M | 3000 | 1374147GZPCLNT100 | EA | 1068410 | COMPRESSOR;MTC,MT9106 1887 08 | COMPRESSOR;MTC,MT9106 1887 08 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:MT9106 1887 08 |  | COMPRESSOR;MTC,MT9106 1887 08COMPRESSOR;ATL,MT9106 1887 08 | MAINTENANCE TECHNIQUE PTY LTD | MT9106 1887 08 | [14 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT9106 1887 08 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2020/01/MT-CARRIER-CATALOGUE-2020-08-11.pdf | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1148637 | 1148637 |  |  |  | ERSA | M | 3020 | 1505676GZPCLNT100 | EA |  | COMPRESSOR;R452 | COMPRESSOR;R452 | COMPRESSOR;ADDITIONAL FEATURES:R452 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R452 | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1072689 | 1072689 |  |  |  | ERSA | M | 5100 | 1318624GZPCLNT100 | EA |  | COMPRESSOR;ROTARY SCREW WITH FREQUENCY | COMPRESOR;TORNILLO ROTATIVO CON VARIADOR | COMPRESSOR;TYPE:ROTARY SCREW WITH FREQUENCY VARIATOR,POWER RATING:11KW,FLOW RATING:69.7CFM,INLET PRESSURE RATING:181PSI,ELECTRICAL R | COMPRESOR;TIPO:TORNILLO ROTATIVO CON VARIADOR DE FRECUENCIA,POTENCIA NOMINAL:11KW,VALOR FLUJO:69.7CFM,VALOR PRESION ENTRADA:181PSI,V |  |  | GA11VSD | [14 empty] | ATLAS COPCO | GA11VSD | [16 empty] | https://oemaircompressor.com/atlas-copco-air-compressor-15hp-ga11vsd-175-ff-rotary-screw-460v-81503038289.aspx | [9 empty] | Cleansed | 40151608 Rotary compressors | C/W FREQUENCY,ELECTRICAL R |  | COMPRESSOR | ROTARY | TYPE | SCREW | FLOW RATING | 69.7 CFM | INLET PRESSURE RATING | 181 PSI | OUTLET PRESSURE RATING |  | POWER RATING | 11 KW | VOLTAGE RATING |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1008480 | 1008480 |  |  |  | ERSA | M | 5000 | 1611922GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,55180302 | COMPRESOR;SAN,55180302 | COMPRESSOR;MNFR:SANDVIK,PTNO:55180302 | COMPRESOR;MNFR:SANDVIK,PTNO:55180302 |  | SANDVIK | 55180302 | [14 empty] | SANDVIK | 55180302 | [16 empty] | https://www.aga-parts.com/sandvik/part/55180302_compressor/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1008922 | 1008922 |  |  |  | ERSA | M | 5000 | 1611891GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,88257429 | COMPRESOR;SAN,88257429 | COMPRESSOR;MNFR:SANDVIK,PTNO:88257429 | COMPRESOR;MNFR:SANDVIK,PTNO:88257429 |  | SANDVIK | 88257429 | [14 empty] | SANDVIK | 88257429 | [16 empty] | https://www.aga-parts.com/sandvik/part/88257429_compressor/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1008969 | 1008969 |  |  |  | ERSA | M | 5000 | 1612008GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,BG00872660 | COMPRESOR;SAN,BG00872660 | COMPRESSOR;MNFR:SANDVIK,PTNO:BG00872660 | COMPRESOR;MNFR:SANDVIK,PTNO:BG00872660 |  | SANDVIK | BG00872660 | [14 empty] | SANDVIK | BG00872660 | [16 empty] | https://expa-parts.com/sandvik/compressor/bg00872660/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101034 | 1101034 | 1389617 | AU_QM_000231148 |  | ERSA | M | 3000 | 1389617GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,013COMPVHD | COMPRESSOR;TOY,013COMPVHD | COMPRESSOR;MNFR:TOYOTA,PTNO:013COMPVHD |  | COMPRESSOR;TOY,013COMPVHDCOMPRESSOR;BEL,013COMPVHD | TOYOTA | 013COMPVHD | [14 empty] | TOYOTA | 013COMPVHD | [16 empty] | https://www.powertechindustries.com.au/TJM-HD-Compressor | [9 empty] | Enriched | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE | HEAVY DUTY | POWER RATING |  | FLOW RATING | 86 LPM | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING | 12 V,48 A | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1100840 | 1100840 | 1393874 | AU_QM_000237392 |  | ERSA | M | 3000 | 1393874GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883102F030 | COMPRESSOR;TOY,883102F030 | COMPRESSOR;MNFR:TOYOTA,PTNO:883102F030 |  | OEM-E-LISTCOMPRESSOR;TOY,883102F030 | TOYOTA | 883102F030 | [14 empty] | TOYOTA | 883102F030 | [16 empty] | https://uk.fridayparts.com/air-conditioning-compressor-88310-2f030-883102f030-for-toyota-hiace-van | https://www.buymachineryparts.com/products/air-conditioning-compressor-88310-2f030-883102f030-for-toyota-hiace-van?currency=USD | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1100839 | 1100839 | 1393875 | AU_QM_000237393 |  | ERSA | M | 3000 | 1393875GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831035870 | COMPRESSOR;TOY,8831035870 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831035870 |  | OEM-E-LISTCOMPRESSOR;TOY,8831035870 | TOYOTA | 8831035870 | [14 empty] | TOYOTA | 8831035870 | [16 empty] | https://www.porza.co.uk/product/compressor-air-conditioning-denso-dcp50102 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101709 | 1101709 | 1446221 | AU_QM_001035203 |  | ERSA | M | 3000 | 1446221GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831060690 | COMPRESSOR;TOY,8831060690 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831060690 |  | COMPRESSOR,REFRIGERATION: A/C COMPRESSOR (78/79 SERIES;HZJ 6CYL) | TOYOTA | 8831060690 | [14 empty] | TOYOTA | 8831060690 | [16 empty] | https://www.newtowntoyota.parts/8831060690/COMP-W-CLUTCH-1HDJ80 |  |  |  |  | 78/79 SERIES,HZJ 6CYL |  |  |  |  | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1030296 | 1030296 | 1390731 | AU_QM_000232431 |  | ERSA | M | 3000 | 1390731GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883200K520 | COMPRESSOR;TOY,883200K520 | COMPRESSOR;MNFR:TOYOTA,PTNO:883200K520 |  | COMPRESSOR;TOY,883200K520COMPRESSOR;BEL,883200K520 | TOYOTA | 883200K520 | [14 empty] | TOYOTA | 883200K520 | BELL & MOIR | [15 empty] | https://www.amayama.com/en/part/toyota/883200k520 | https://partsouq.com/en/search/all?q=883200K520 | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | COOLER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101567 | 1101567 | 1372404 | AU_QM_000196870 |  | ERSA | M | 3000 | 1372404GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883206A470 | COMPRESSOR;TOY,883206A470 | COMPRESSOR;MNFR:TOYOTA,PTNO:883206A470 |  | COMPRESSOR;TOY,883206A470COMPRESSOR;BEL,883206A470 | TOYOTA | 883206A470 | [14 empty] | TOYOTA | 883206A470 | BELL & MOIR | [15 empty] | https://spareto.com/oe/883206a470 | https://partsouq.com/shop/product/883206A470-toyota-compressor-assy-cooler/13897295 | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | COOLER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1101268 | 1101268 | 1382161 | AU_QM_000222214 |  | ERSA | M | 3000 | 1382161GZPCLNT100 | EA | 3000013 | COMPRESSOR;VOL,V15082742 | COMPRESSOR;VOL,V15082742 | COMPRESSOR;MNFR:VOLVO,PTNO:V15082742 |  | COMPRESSOR;VOL,V15082742COMPRESSOR;VOL,V15082742 | VOLVO | V15082742 | [14 empty] | VOLVO | 15082742 | [16 empty] | https://slp.se/en/specifications/volvo/15082742 | https://www.syncparts.com.tr/ac-compressor-15082742-11412632-11104419 | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1111097 | 1111097 | 1417021 | AU_QM_000262848 |  | ERSA | M | 5915 | 1417021GZPCLNT100 | EA |  | COMPRESSOR;ZP50K3E-TFD-593 | COMPRESSOR;ZP50K3E-TFD-593 | COMPRESSOR;MNFR: ,PTNO:ZP50K3E-TFD-593 |  | COMPRESSOR;ZP50K3E-TFD-593COMPRESSOR;ZP50K3E-TFD-593 | [17 empty] | ZP50K3E-TFD-593 | [16 empty] | https://acpartsdistributors.com/products/zp50k3e-tfd-593 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING |  | POWER RATING | 4 HP | VOLTAGE RATING | 460 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1148575 | 1148575 |  |  |  | ERSA | M | 3020 | 1506009GZPCLNT100 | EA |  | COMPRESSOR;ZPD182KCE-TED-456 4 | COMPRESSOR;ZPD182KCE-TED-456 4 | COMPRESSOR;ADDITIONAL FEATURES:ZPD182KCE-TED-456 4 | [19 empty] | ZPD182KCE-TED-456 4 | [16 empty] | https://www.temperzone.biz/b2b/product-details.aspx?id=869&type=parts1 | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1137687 | 1137687 | 1466256 | AU_QM_007124891 |  | ERSA | M | 4700 | 1466256GZPCLNT100 | EA |  | CONVERTER TRUNNION GAP SHIELD; | CONVERTER TRUNNION GAP SHIELD; | SHIELD,IMPACT: CONVERTER TRUNNION GAP SHIELD; CONVERTER NO.4 |  | SHIELD,IMPACT:CONVERTER TRUNNION GAP SHIELD; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31160000 Hardware | CONVERTER NO.4 |  | SHIELD | NO MODIFIER | TYPE | IMPACT,TRUNNION GAP | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1068403 | 1068403 | 1370865 | AU_QM_000190095 |  | ERSA | M | 5935 | 1370865GZPCLNT100 | EA |  | CRANE;DBL FLANGE;DRIVE WHEEL;INTERNAL SP | CRANE;DBL FLANGE;DRIVE WHEEL;INTERNAL SP | WHEEL CRANE;DBL FLANGE;DRIVE WHEEL;INTERNAL SP LINED;280MM OD X 110MM W;250MM DIA X 75M M W BETWEEN FLANGES;70MM SPIGOT AXLE DIA X 26MM LG,BOTH SIDES;C/W 2 X 6214-2RS S |  | WHEELCRANE;DBL FLANGE;DRIVE WHEEL;INTERNAL SP | [34 empty] | URL NOT FOUND |  |  | CRANE | [6 empty] | Cleansed | 25171900 Wheels and wheel trims | INTERNAL SP LINED,BETWEEN FLANGES SIZE:250 DIAX75 WD MM,SPIGOT AXLE DIAMETER:70 MM,BOTH SIDES LENGTH:26 MM,C/W 2 X 6214-2RS S |  | WHEEL | NO MODIFIER | TYPE | DOUBLE FLANGE,DRIVE | DIAMETER | 280 MM | WIDTH | 110 MM | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1066736 | 1066736 | 1370864 | AU_QM_000190094 |  | ERSA | M | 5935 | 1370864GZPCLNT100 | EA |  | CRANE;DBL FLANGE;ONE PIECE IDLER WHEEL;2 | CRANE;DBL FLANGE;ONE PIECE IDLER WHEEL;2 | WHEEL CRANE;DBL FLANGE;ONE PIECE IDLER WHEEL;2 80MM OD X 110MM W;250MM DIA X 75MM W BET WEEN FLANGES;70MM SPIGOT AXLE DIA X 26M M LG,BOTH SIDES;C/W 2 X 6214-2RS SEALED |  | WHEELCRANE;DBL FLANGE;ONE PIECE IDLER WHEEL;2 | [34 empty] | URL NOT FOUND |  |  | CRANE | [6 empty] | Cleansed | 25171900 Wheels and wheel trims | ONE PIECE,BETWEEN FLANGES SIZE:250 DIAX75 WD MM,SPIGOT AXLE DIAMETER:70 MM,BOTH SIDES LENGTH:26 MM,C/W 2 X 6214-2RS SEALED |  | WHEEL | NO MODIFIER | TYPE | DOUBLE FLANGE,IDLER | DIAMETER | 280 MM | WIDTH | 110 MM | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1138770 | 1138770 | 1426272 | AU_QM_000372250 |  | ERSA | M | 1600 | 1426272GZPCLNT100 | EA |  | DEC STANDARD TEXT TERMINAL; | DEC STANDARD TEXT TERMINAL; | TERMINAL,COMPUTER: DEC STANDARD TEXT TERMINAL; GREEN PHOSPHOR;C/W KEYBOARD; |  | TERMINAL,COMPUTER:DEC STANDARD TEXT TERMINAL; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121432 Electrical terminals | DEC STANDARD,GREEN PHOSPHOR,C/W KEYBOARD |  | TERMINAL | NO MODIFIER | TYPE | COMPUTER,TEXT TERMINAL | VOLTAGE RATING |  | CURRENT RATING |  | WIRE SIZE |  | SIZE |  | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1141004 | 1141004 | 1468020 | AU_QM_007545246 |  | ERSA | M | 2200 | 1468020GZPCLNT100 | EA |  | DESCENT | DESCENT | SLIDE,CONTROL VALVE: DESCENT |  | SLIDE,CONTROL VALVE:DESCENT | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141609 Control valves |  |  | VALVE | CONTROL | TYPE | SLIDE,DESCENT | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1088697 | 1088697 | 1394406 | AU_QM_000237986 |  | ERSA | M | 5955 | 1394406GZPCLNT100 | EA | 3000438 | DIPSTICK;NRMT,100002300 | VARILLA MEDICN; | VARILLA MEDICION;MNFR:NORMET,PTNO:100002300 | VARILLA MEDICION;,MNFR:NORMET,PTNO:100002300 | OEM-E-LISTDIPSTICK;NOR,100002300 | NORMET | 100002300 | [14 empty] | NORMET | 100002300 | [16 empty] | https://www.scribd.com/document/478874696/spare-parts-manual-pdf | [9 empty] | Cleansed | 26101725 Oil dip sticks or tubes |  |  | DIPSTICK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1067638 | 1067638 | 1351757 | AU_QM_000136852 |  | ERSA | M | 2200 | 1351757GZPCLNT100 | EA |  | DIRECTIONAL POPPET VALVE;2/2 NORMALLY OP | DIRECTIONAL POPPET VALVE;2/2 NORMALLY OP | POPPET,VALVE; DIRECTIONAL POPPET VALVE;2/2 NORMALLY OP EN;C/W MANUAL OVERIDE;;SVENDBORG BRAKE C ONTROL UNIT 3000-0186-801/802 AND 1014-0 005-853;;GFM NTH UG CRUSHING AND SURF CO |  | POPPET,VALVE; DIRECTIONAL POPPET VALVE;2/2 NORMALLY OP | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141641 Poppet valve | 2/2 NORMALLY OPEN,C/W MANUAL OVERIDE,SVENDBORG BRAKE CONTROL UNIT 3000-0186-801/802 AND 1014-0 005-853,GFM NTH UG CRUSHING AND SURF CO |  | VALVE | POPPET | TYPE | DIRECTIONAL | NOMINAL SIZE |  | PORT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1063540 | 1063540 | 1426446 | AU_QM_000389288 |  | ERSA | M | 4090 | 1426446GZPCLNT100 | EA |  | DRILL CORE STORAGE;NQ2;GALV;METALCRAFT; | DRILL CORE STORAGE;NQ2;GALV;METALCRAFT; | TRAY,SAMPLE: DRILL CORE STORAGE;NQ2;GALV;METALCRAFT; BMC;C/W LID,1000 X 400MM; |  | TRAY,SAMPLE:DRILL CORE STORAGE;NQ2;GALV;METALCRAFT; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30162300 Cabinet accessories | C/W LID,NQ2,COATING/FINISH:GALVANIZED,METALCRAFT,BMC |  | TRAY | NO MODIFIER | TYPE | SAMPLE,DRILL CORE STORAGE | CAPACITY |  | SIZE | 1 MX400 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1008728 | 1008728 |  |  |  | ERSA | M | 5955 | 1588192GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,BG01012367 | COMPRESOR;SAN,BG01012367 | COMPRESSOR;MNFR:SANDVIK,PTNO:BG01012367 | COMPRESOR;MNFR:SANDVIK,PTNO:BG01012367 |  | SANDVIK | BG01012367 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01012367 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG01012367 | [10 empty] | SANDVIK | BG01012367 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg01012367_compressor-a-c/ | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1009400 | 1009400 |  |  |  | ERSA | M | 5955 | 1587642GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,55052085 | COMPRESOR;SAN,55052085 | COMPRESSOR;MNFR:SANDVIK,PTNO:55052085 | COMPRESOR;MNFR:SANDVIK,PTNO:55052085 |  | SANDVIK | 55052085 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55052085 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 55052085 | [10 empty] | SANDVIK | 55052085 | [16 empty] | https://stoparts.com/drilling-equipment/sandvik-parts/sandvik-55052085-pneumatic-compressor.html | [9 empty] | Enriched | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE | PNEUMATIC | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1009506 | 1009506 | 1351613 | AU_QM_000136421 |  | ERSA | M | 3000 | 1351613GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,541548100.00 | COMPRESSOR;ATL,541548100.00 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:541548100.00 |  | COMPRESSOR,REFRIGERATION: AIRCONDITIONING COMPRESSOR;SD7H15;24V;13 | ATLAS COPCO | 541548100.00 | 1068087 @@ ASHDOWN INGRAM | CXS6043S | 1071809 @@ ASHDOWN ENTERPRISES | CXS6043S | [8 empty] | ATLAS COPCO | 541548100.00 | ASHDOWN INGRAM | CXS6043S | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1009510 | 1009510 | 1351695 | AU_QM_000136769 |  | ERSA | M | 5380 | 1351695GZPCLNT100 | EA | 3000030 | CLEANER;OUT,KERRICK - EI3015 | CLEANER;OUT,KERRICK - EI3015 | CLEANER;MNFR:OUTOTEC,PTNO:KERRICK - EI3015 |  | CLEANER,PRESSURE,SOLVENT-WATER: HIGH PRESSURE CLEANING PUMP;KERRICK; | OUTOTEC | KERRICK - EI3015 | 1071148 @@ PROFESSIONAL PUMP SERVICES & | KERRICK - EI3015 | [10 empty] | OUTOTEC |  | KERRICK | EI3015 | PROFESSIONAL PUMP SERVICES & | [15 empty] | http://www.kerrick.com.au/products/high-pressure-cleaners-and-water-blasters/EI-3015-Three-Phase-Pressure-Washer.aspx | [9 empty] | Enriched | 47121800 Cleaning equipment | C/W PUMP |  | WASHER | PRESSURE CLEANING | TYPE | SOLVENT WATER,HIGH | FLOW RATE | 15 LPM | PRESSURE RATING |  | ELECTRICAL RATING | 5.5 KW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1009625 | 1009625 | 1436303 | AU_QM_000842542 |  | ERSA | M | 3000 | 1436303GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8832060560 | COMPRESSOR;TOY,8832060560 | COMPRESSOR;MNFR:TOYOTA,PTNO:8832060560 |  | COMPRESSOR,REFRIGERATION: AIR CONDITIONER; | TOYOTA | 8832060560 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8832060560 | [12 empty] | TOYOTA | 8832060560 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://www.amayama.com/en/part/toyota/8832060560 | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1009760 | 1009760 |  |  |  | ERSA | M | 3020 | 1611827GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,1616761290 | COMPRESOR;ATL,1616761290 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:1616761290 | COMPRESOR;MNFR:ATLAS COPCO,PTNO:1616761290 |  | ATLAS COPCO | 1616761290 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1616761290 | [12 empty] | ATLAS COPCO | 1616761290 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.atlascopco.com/en-gr/compressors/service/parts/air-compressor-parts/1616761290 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ELEMENT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1009891 | 1009891 |  |  |  | ERSA | M | 3730 | 1616020GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,6250956 | COMPRESOR;CAT,6250956 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:6250956 | COMPRESOR;MNFR:CATERPILLAR,PTNO:6250956 |  | CATERPILLAR | 6250956 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 6250956 | [12 empty] | CATERPILLAR | 625-0956 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/625-0956 | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1010040 | 1010040 |  |  |  | ERSA | M | 4015 | 1605202GZPCLNT100 | EA | 3000025 | COMPRESSOR;JOH,AT226273,AIR | COMPRESOR;JOH,AT226273 | COMPRESSOR;MNFR:JOHN DEERE,PTNO:AT226273,ADDITIONAL FEATURES EN:AIR | COMPRESOR;MNFR:JOHN DEERE,PTNO:AT226273 |  | JOHN DEERE | AT226273 | 1068592 @@ RDO EQUIPMENT PTY LTD | AT226273 | [12 empty] | JOHN DEERE | AT226273 | RDO EQUIPMENT PTY LTD | [15 empty] | https://www.rdoequipment.com/product-details/john-deere-24v-rear-port-ac-compressor-at226273 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1010112 | 1010112 |  |  |  | ERSA | M | 3020 | 1584359GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,8155024493,AIR,GA90+P | COMPRESOR;ATL,8155024493 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:8155024493,ADDITIONAL FEATURES EN:AIR,GA90+P | COMPRESOR;MNFR:ATLAS COPCO,PTNO:8155024493 |  | ATLAS COPCO | 8155024493 | 1068124 @@ ATLAS COPCO COMPRESSORS AUST | 8155024493 | [11 empty] | 8155024493 | ATLAS COPCO | GA 90+ | [16 empty] | https://www.atlascopco.com/en-in/compressors/customerbenefit/ga90plus-160vsd | https://www.aircompressorstrade.com/collection/ga90-atlas-copco-120-hp-oil-injected-air-compressors/ | [8 empty] | Enriched | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE | OIL INJECTED AIR | POWER RATING | 120 HP | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1010220 | 1010220 |  |  |  | ERSA | M | 3770 | 1585801GZPCLNT100 | EA | 3000006 | COMPRESSOR;KOM,CXD0005,PC300-7 T/D 02-08 | COMPRESOR;KOM,CXD0005 | COMPRESSOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:CXD0005,ADDITIONAL FEATURES EN:PC300-7 T/D 02-08 | COMPRESOR;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:CXD0005 |  | KOMATSU MINING SYSTEMS INC. | CXD0005 | 1071809 @@ ASHDOWN ENTERPRISES | CXD0005 | [12 empty] | KOMATSU MINING SYSTEMS INC. | CXD0005 | ASHDOWN ENTERPRISES | [15 empty] | https://www.zivorauto.com.au/air-conditioning-compressor-for-komatsu-pc138us-8 |  |  |  |  | PC300-7 T/D 02-08 |  |  |  |  | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1011260 | 1011260 |  |  |  | ERSA | M | 3020 | 1585373GZPCLNT100 | EA | 3000013 | COMPRESSOR;VOL,CXS0031 | COMPRESOR;VOL,CXS0031 | COMPRESSOR;MNFR:VOLVO,PTNO:CXS0031 | COMPRESOR;MNFR:VOLVO,PTNO:CXS0031 |  | VOLVO | CXS0031 | 1071809 @@ ASHDOWN ENTERPRISES | CXS0031 | [10 empty] | VOLVO |  |  | CXS0031 | ASHDOWN ENTERPRISES | [15 empty] | https://www.repco.com.au/parts-service/climate-control/compressors/oex-air-conditioning-compressor-24v-ear-mount-sd7h15-style-cxs0031/p/A5555800 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1011996 | 1011996 |  |  |  | ERSA | M | 3730 | 1587163GZPCLNT100 | EA | 3000003 | CLEANER;CAT,9Y-9431,PRE | LIMPIADOR;CAT,9Y-9431 | CLEANER;MNFR:CATERPILLAR,PTNO:9Y-9431,ADDITIONAL FEATURES EN:PRE | LIMPIADOR;MNFR:CATERPILLAR,PTNO:9Y-9431 |  | CATERPILLAR | 9Y-9431 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9Y9431 | [12 empty] | CATERPILLAR | 9Y-9431 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/9Y-9431 | [9 empty] | Enriched | 26101700 Engine components and accessories |  |  | PRE-CLEANER | ENGINE | TYPE | BOWL | OUTLET SIZE |  | OVERALL HEIGHT |  | BODY DIAMETER |  | MATERIAL |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1012609 | 1012609 |  |  |  | ERSA | M | 4090 | 1614699GZPCLNT100 | EA | 3000438 | CLEANER;NRMT,56041254,AIR | LIMPIADOR;NRMT,56041254 | CLEANER;MNFR:NORMET,PTNO:56041254,ADDITIONAL FEATURES EN:AIR | LIMPIADOR;MNFR:NORMET,PTNO:56041254 |  | NORMET | 56041254 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 56041254 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 56041254 | [16 empty] | https://www.filtersmfg.com/56041254.html | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1013231 | 1013231 |  |  |  | ERSA | M | 5000 | 1611049GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,56208187 | COMPRESOR;SAN,56208187 | COMPRESSOR;MNFR:SANDVIK,PTNO:56208187 | COMPRESOR;MNFR:SANDVIK,PTNO:56208187 |  | SANDVIK | 56208187 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56208187 | [12 empty] | SANDVIK | 56208187 | [16 empty] | https://www.aga-parts.com/sandvik/part/56208187_compressor-pre-order-t-text/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1014175 | 1014175 |  |  |  | ERSA | M | 3730 | 1614205GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,372-9295,AC | COMPRESOR;CAT,372-9295 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:372-9295,ADDITIONAL FEATURES EN:AC | COMPRESOR;MNFR:CATERPILLAR,PTNO:372-9295 |  | CATERPILLAR | 372-9295 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 372-9295 | [12 empty] | CATERPILLAR | 372-9295 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/372-9295 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE | 134 ODX243.2 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1014300 | 1014300 |  |  |  | ERSA | M | 3730 | 1613588GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,488-9217 | COMPRESOR;CAT,488-9217 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:488-9217 | COMPRESOR;MNFR:CATERPILLAR,PTNO:488-9217 |  | CATERPILLAR | 488-9217 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 488-9217 | [12 empty] | CATERPILLAR | 488-9217 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/488-9217 | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | SUITABLE NM NOT FOUND | 1014663 | 1014663 | 1362904 | AU_QM_000162550 |  | ERSA | M | 4045 | 1362904GZPCLNT100 | EA |  | COMPLETE NEW AUXILIARY MILL TROMMEL; INC | COMPLETE NEW AUXILIARY MILL TROMMEL; INC | TROMMEL; COMPLETE NEW AUXILIARY MILL TROMMEL; INC L PANELS |  | TROMMEL;COMPLETE NEW AUXILIARY MILL TROMMEL; INC |  |  | 1068642 @@ MULTOTEC PTY LTD | 1362904 | [14 empty] | MULTOTEC PTY LTD | 1362904 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1014847 | 1014847 | 1369555 | AU_QM_000174100 |  | ERSA | M | 5935 | 1369555GZPCLNT100 | EA |  | BELT;JOHN DEERE;GRADER | BELT;JOHN DEERE;GRADER | TENSIONER: BELT;JOHN DEERE;GRADER |  | TENSIONER:BELT;JOHN DEERE;GRADER |  |  | 1068592 @@ RDO EQUIPMENT PTY LTD | RE554300 | [12 empty] | JOHN DEERE | RE554300 | RDO EQUIPMENT PTY LTD | [15 empty] | https://www.rdoequipment.com/product-details/john-deere-belt-tensioner-re554300 | [9 empty] | Enriched | 26111805 Belt tensioners | GRADER |  | TENSIONER | BELT | TYPE |  | BELT NUMBER |  | FORCE RANGE |  | DIAMETER |  | MOUNTING HOLE SIZE |  | WIDTH | 1-31/64 IN | MATERIAL |  | LENGTH |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1014925 | 1014925 | 1359116 | AU_QM_000154753 |  | ERSA | M | 3020 | 1359116GZPCLNT100 | EA |  | AIR 17-CAST IRON TRIPLE PUMP | AIR 17-CAST IRON TRIPLE PUMP | COMPRESSOR,ROTARY: AIR 17-CAST IRON TRIPLE PUMP |  | COMPRESSOR,ROTARY:AIR 17-CAST IRON TRIPLE PUMP |  |  | 1068135 @@ BOC LIMITED | BOC17-3 | [12 empty] | BOC LIMITED | BOC17-3 | [16 empty] | https://www.boc.com.au/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/BOC-compressors-data-sheet.pdf | https://www.boc.com.au/wcsstore/AU_BOC_Industrial_Store/pdf/product/en_AU/BOC17-3_techsheet.pdf | [8 empty] | Enriched | 40151608 Rotary compressors | AIR 17-CAST IRON TRIPLE PUMP |  | COMPRESSOR | ROTARY | TYPE |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | POWER RATING | 3.2 HP | VOLTAGE RATING | 240 V | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1014963 | 1014963 | 1470356 | AU_QM_009142210 |  | ERSA | M | 1540 | 1470356GZPCLNT100 | EA |  | BRAKE LINING | BRAKE LINING | RIVET,SOLID: BRAKE LINING |  | RIVET,SOLID:BRAKE LINING |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470356 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470356 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31162200 Rivets |  |  | RIVET | NO MODIFIER | TYPE | SOLID,BRAKE LINING | RIVET DIAMETER |  | RIVET LENGTH |  | GRIP RANGE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEAD TYPE |  | HEAD DIAMETER |  | HEAD THICKNESS |  | RECOMMENDED HOLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1016155 | 1016155 |  |  |  | ERSA | M | 3020 | 1617005GZPCLNT100 | EA | 3000508 | COMPRESSOR,RECIP;DANF,MTZ22-4VI,MANEUROP | COMPRESOR RECIPRO;DANF,MTZ22-4VI | COMPRESSOR,RECIPROCATING;MNFR:DANFOSS FLUID POWER (SAUERDANFOSS),PTNO:MTZ22-4VI,ADDITIONAL FEATURES EN:MANEUROP | COMPRESOR RECIPROCANTE;MNFR:DANFOSS FLUID POWER (SAUERDANFOSS),PTNO:MTZ22-4VI |  | DANFOSS FLUID POWER (SAUERDANFOSS) | MTZ22-4VI | 1068500 @@ ACTROL PARTS PTY LTD | 2706652 | [12 empty] | DANFOSS FLUID POWER (SAUER DANFOSS) | MTZ22-4VI | ACTROL PARTS PTY LTD | 2706652 | [14 empty] | https://store.danfoss.com/in/en/Climate-Solutions-for-cooling/Compressors/Compressors-for-air-conditioning/Hermetic-Reciprocating-Compressors/Reciprocating-compressor%2C-MTZ22JC4BVE/p/MTZ22-4VI | [9 empty] | Enriched | 40151606 Reciprocating compressors | BRAND:MANEUROP |  | COMPRESSOR | RECIPROCATING | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | PRESSURE RATING | 29.4 BAR | TANK CAPACITY |  | MOTOR POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1017045 | 1017045 |  |  |  | ERSA | M | 3730 | 1259488GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,1065122 | COMPRESOR;CAT,1065122 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:1065122 | COMPRESOR;MNFR:CATERPILLAR,PTNO:1065122 |  | CATERPILLAR | 1065122 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1065122 | [12 empty] | CATERPILLAR | 106-5122 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/106-5122 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 VDC | SPEED RATING | 4000 RPM | TEMPERATURE RATING |  | SIZE | 152.4 ODX240.7 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1017242 | 1017242 |  |  |  | ERSA | M | 3730 | 1137865GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,5011179 | COMPRESOR;CAT,5011179 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:5011179 | COMPRESOR;MNFR:CATERPILLAR,PTNO:5011179 |  | CATERPILLAR | 5011179 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5011179 | [12 empty] | CATERPILLAR | 501-1179 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/501-1179 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 VDC | SPEED RATING | 4000 RPM | TEMPERATURE RATING |  | SIZE | 156 ODX248.5 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1017515 | 1017515 | 1121742 | AU_QM_001187236 |  | ERSA | M | 3730 | 1121742GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,4649988 | COMPRESOR;CAT,4649988 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:4649988 | COMPRESOR;MNFR:CATERPILLAR,PTNO:4649988 | COMPRESSOR,REFRIGERATION: AIRCONDITIONER COMPRESSOR;SERPENTINE | CATERPILLAR | 4649988 | 1071809 @@ ASHDOWN ENTERPRISES | CXS4301 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4649988 | [10 empty] | CATERPILLAR | 464-9988 | ASHDOWN ENTERPRISES | CXS4301 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/464-9988 | [9 empty] | Enriched | 40151607 Refrigerant compressors | SERPENTINE |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 VDC | SPEED RATING | 4000 RPM | TEMPERATURE RATING |  | SIZE | 133 ODX248.3 LGX150 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1030219 | 1030219 |  |  |  | ERSA | M | 3000 | 1393871GZPCLNT100 | EA | 3000001 | COMPRESSOR;EPI,9111404990 | COMPRESSOR;EPI,9111404990 | COMPRESSOR;MNFR:EPIROC,PTNO:9111404990 |  |  | EPIROC | 9111404990 | 1068106 @@ EPIROC AUSTRALIA RDT | 9111404990 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9111404990 | [10 empty] | EPIROC | 9111404990 | [16 empty] | https://expa-parts.com/epiroc/filter/9111404990/ | [9 empty] | Cleansed | 40161807 Filter element |  |  | ELEMENT | FILTER | TYPE |  | FILTER RATING |  | SERVICE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1030325 | 1030325 |  |  |  | ERSA | M | 3000 | 1389563GZPCLNT100 | EA | 3000001 | COMPRESSOR;EPI,9106188708 | COMPRESSOR;EPI,9106188708 | COMPRESSOR;MNFR:EPIROC,PTNO:9106188708 |  |  | EPIROC | 9106188708 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9106188708 | [12 empty] | EPIROC | 9106188708 | [16 empty] | https://expa-parts.com/epiroc/compressor/9106188708/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1030698 | 1030698 | 1381654 | AU_QM_000221612 |  | ERSA | M | 5380 | 1381654GZPCLNT100 | EA | 3000024 | CLEANER;ISU,8980714210 | CLEANER;ISU,8980714210 | CLEANER;MNFR:ISUZU,PTNO:8980714210 |  | CLEANER;ISU,8980714210CLEANER;ISU,8980714210 | ISUZU | 8980714210 | 1068416 @@ S & K PYE PTY LTD T/AS SUPERIOR | IS92956399 | [12 empty] | ISUZU | 8980714210 | S & K PYE PTY LTD T/AS SUPERIOR | IS92956399 | [14 empty] | https://www.airfilter-crossreference.com/convert/ISUZU/8980714210 | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1030836 | 1030836 | 1372417 | AU_QM_000196885 |  | ERSA | M | 3000 | 1372417GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831071042 | COMPRESSOR;TOY,8831071042 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831071042 |  | COMPRESSOR;TOY,8831071042COMPRESSOR;BEL,8831071042 | TOYOTA | 8831071042 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8831071042 | [12 empty] | TOYOTA | 8831071042 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://zap.by/toyota/8831071042 | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1030994 | 1030994 | 1429432 | AU_QM_000610618 |  | ERSA | M | 5380 | 1429432GZPCLNT100 | EA | 3000000 | CLEANER;ATL,5540047200 | CLEANER;ATL,5540047200 | CLEANER;MNFR:ATLAS COPCO,PTNO:5540047200 |  | AIR CLEANER,INTAKE: ST7 AIRCONDITIONER PRECLEANER; | ATLAS COPCO | 5540047200 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5540047200 | [12 empty] | ATLAS COPCO | 5540047200 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.airfilter-crossreference.com/convert/ATLAS-COPCO/5540047200 | [9 empty] | Cleansed | 40161505 Air filters | FOR ST7 AIR CONDITIONER PRECLEANER |  | FILTER | AIR | TYPE | INTAKE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1031173 | 1031173 | 1350088 | AU_QM_000132206 |  | ERSA | M | 3000 | 1350088GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8832037080 | COMPRESSOR;TOY,8832037080 | COMPRESSOR;MNFR:TOYOTA,PTNO:88320 |  | COMPRESSOR,REFRIGERATION: COMPRESSOR ASSEMBLY NC02;LANDCRUISER; KI | TOYOTA | 8832037080 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8832037080 | [12 empty] | TOYOTA | 8832037080 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://partsouq.com/en/search/all?q=8832037080 |  |  | LANDCRUISER | [6 empty] | Enriched | 40151607 Refrigerant compressors | ASSEMBLY,KI,NC02 |  | COMPRESSOR | REFRIGERATION | TYPE | COOLER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1031890 | 1031890 | 1450959 | AU_QM_001144468 |  | ERSA | M | 3000 | 1450959GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883106A260 | COMPRESSOR;TOY,883106A260 | COMPRESSOR;MNFR:TOYOTA,PTNO:883106A260 |  | COMPRESSOR UNIT,REFRIGERATION:TOYOTA A/C COMPRESSOR ASSY;W/MAGNET CL | TOYOTA | 883106A260 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 883106A260 | 1071809 @@ ASHDOWN ENTERPRISES | 883106A260 | [10 empty] | TOYOTA | 883106A260 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN ENTERPRISES | [13 empty] | https://www.nunawadingtoyotaparts.com.au/genuine-toyota-landcruiser-70-series-vdj-76-78-79 | [9 empty] | Cleansed | 40151607 Refrigerant compressors | UNIT,ASSEMBLY,C/W MAGNET CL |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1032878 | 1032878 |  |  |  | ERSA | M | 3750 | 1527000GZPCLNT100 | EA | 3000001 | ATTACHMENT;EPI,90510719 | ATTACHMENT;EPI,90510719 | ATTACHMENT;MNFR:EPIROC,PTNO:90510719 |  |  | EPIROC | 90510719 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 90510719 | [12 empty] | EPIROC | 90510719 | [16 empty] | https://www.epiroc.com/content/dam/epiroc/rock-drilling-tools/documents/Epiroc%20T%20drill%20strings.pdf | https://www.aircompressorstrade.com/atlas-copco-epiroc-spare-parts-new-update-september-2023/ | [8 empty] | Enriched | 30102400 Rod |  |  | ROD | DRILL | TYPE |  | DIAMETER |  | LENGTH | 1.22 M | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1032943 | 1032943 |  |  |  | ERSA | M | 5915 | 1496026GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,CXD8530 | COMPRESSOR;TOY,CXD8530 | COMPRESSOR;MNFR:TOYOTA,PTNO:CXD8530 |  |  | TOYOTA | CXD8530 | 1068087 @@ ASHDOWN INGRAM | CXD6213 | [10 empty] | TOYOTA |  |  | CXD8530 | ASHDOWN INGRAM | CXD6213 | [14 empty] | https://www.repco.com.au/parts-service/climate-control/compressors/denso-air-conditioning-compressor-12v-direct-mount-cxd8530/p/A5422597 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 12 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 |  | 1034178 | 1034178 | 1360968 | AU_QM_000158638 |  | ERSA | M | 3000 | 1360968GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,5541548100 | COMPRESSOR;ATL,5541548100 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:5541548100 |  | COMPRESSOR,REFRIGERATION: AIR CONDITIONER;ATLAS COPCO MT6020 AND M | ATLAS COPCO | 5541548100 | 1068274 @@ EPIROC AUSTRALIA-SERVICE &REPAIR | 5541548100 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5541548100 | [10 empty] | ATLAS COPCO | 5541548100 | EPIROC AUSTRALIA-SERVICE &REPAIR | [15 empty] | https://www.aga-parts.com/atlas-copco/part/5541548100_compressor/ |  |  |  |  | MT6020 |  |  |  |  | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 08-11-2023 | NM BASED ON WEB SOURCE | 1035434 | 1035434 |  |  |  | ERSA | M | 4020 | 1539390GZPCLNT100 | EA |  | CLEANER;FLOOR,86782574 | CLEANER;FLOOR,86782574 | CLEANER;ADDITIONAL FEATURES:FLOOR,86782574 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 86782574 | [12 empty] | WINC AUSTRALIA PTY LTD | 86782574 | [16 empty] | https://www.winc.com.au/main-catalogue-productdetail/oates-fp-601-eager-beaver-floor-tool/86782574#description | [9 empty] | Cleansed | 47131619 Mop heads |  |  | HEAD | MOP | TYPE | FLOOR | SIZE |  | NUMBER OF PLYS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed