## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1205458 | 1205458 |  |  |  | ERSA | M | 2900 | 1009494MRM | EA |  | CABINET,FIRE HOSE:EXTINGUISHER BOX (2),S | CABINET,FIRE HOSE:EXTINGUISHER BOX (2),S | CABINET,FIRE HOSE:EXTINGUISHER BOX (2),SINGLE-DOORPAINTED RED | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | COLOR:PAINTED RED,NUMBER OF DOOR:1 |  | CABINET | NO MODIFIER | TYPE | FIRE HOSE,EXTINGUISHER BOX | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES | 2 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1205459 | 1205459 |  |  |  | ERSA | M | 2900 | 1009495MRM | EA |  | CABINET,FIRE HOSE:EXTINGUISHER BOX (4),D | CABINET,FIRE HOSE:EXTINGUISHER BOX (4),D | CABINET,FIRE HOSE:EXTINGUISHER BOX (4),DOUBLE-DOORPAINTED RED | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | COLOR:PAINTED RED,NUMBER OF DOOR:2 |  | CABINET | NO MODIFIER | TYPE | FIRE HOSE,EXTINGUISHER BOX | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES | 4 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1209260 | 1209260 |  |  |  | ERSA | M | 5920 | 156961MRM | EA |  | CABINET,STORAGE:250 LITRE; CLASS 3 FLAMA | CABINET,STORAGE:250 LITRE; CLASS 3 FLAMA | CABINET,STORAGE:250 LITRE; CLASS 3 FLAMABLE LIQUID; COMPLIES WITH AS1940-2004 | [36 empty] | XX | [9 empty] | Cleansed | 56101530 Storage cabinets | FLAMABLE LIQUID |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE |  | CAPACITY | 250 L | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS | 3 | CERTIFICATION/STANDARD | AS1940-2004 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1207633 | 1207633 |  |  |  | ERSA | M | 2000 | 155016MRM | EA |  | CABINET,STORAGE:CABINET; STORAGE CORROSI | CABINET,STORAGE:CABINET; STORAGE CORROSI | CABINET,STORAGE:CABINET; STORAGE CORROSIVE 60 LTR AU25712 | [18 empty] | JUSTRITE | AU25712 | [16 empty] | https://www.rsea.com.au/workplace-safety/dangerous-goods-storage/au25712-5517as-flammable-storage-cabinet-60l-yel-2shelf-1-door-au25712 | [9 empty] | Enriched | 56101530 Storage cabinets | FOR CORROSIVE LIQUID | NUMBER OF DOOR:1 | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.005 MX595 MMX465 MM | CAPACITY | 60 L | NUMBER OF COMPARTMENTS |  | MATERIAL | SHEET STEEL | NUMBER OF SHELVES | 2 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | FM,AS1940-2004 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1218352 | 1218352 |  |  |  | ERSA | M | 2920 | 270609MRM | EA |  | CABINET,STORAGE:DG CABINET;CORROSIVE LIQ | CABINET,STORAGE:DG CABINET;CORROSIVE LIQ | CABINET,STORAGE:DG CABINET;CORROSIVE LIQUID;160L | [36 empty] | XX | [9 empty] | Cleansed | 56101530 Storage cabinets | FOR CORROSIVE LIQUID,DANGEROUS GOODS |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE |  | CAPACITY | 160 L | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1146721 | 1146721 |  |  |  | ERSA | M | 1600 | 1505884GZPCLNT100 | EA |  | CABINET;COOLING UNIT,13385441158 | CABINET;COOLING UNIT,13385441158 | CABINET;ADDITIONAL FEATURES:COOLING UNIT,13385441158 | [18 empty] | PFANNENBERG GROUP HOLDING | 13385441158 | [16 empty] | https://www.pfannenberg.com/en-in/thermal-management/cooling-units/outdoor-units-series-3xxx/dts-314131613181/ | https://www.pfannenberg.com/fileadmin/Redakteur/Products/Downloads/Product_Sheets/Pfannenberg_Product_Sheet_DTS_3161_3181_en.pdf | [8 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | COOLING CAPACITY:1235 W,CONNECTION TYPE:PLUG,ENCLOSURE:NEMA 12/3R/4/4X,TEMPERATURE RATING:0 TO 55 DEG C | UNIT | CONTROL | TYPE | COOLING,STANDARD | SIZE | 395X748X294 MM | ELECTRICAL RATING | 230 VAC,4 A,795 W | CERTIFICATION/STANDARD | UL,EAC,CE | [64 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1045333 | 1045333 | 1417106 | AU_QM_000262935 |  | ERSA | M | 5915 | 1417106GZPCLNT100 | EA |  | CABINET;DG FLAMMABLE LIQUID,160 L | CABINET;DG FLAMMABLE LIQUID,160 L | CABINET;TYPE:DG FLAMMABLE LIQUID,SIZE:WD 454 MM X HT 1.384 M X DP 1.1 M,CAPACITY:160 L,MATERIAL:STEEL POWDER COATED YELLOW, CERTIFIC |  | CABINET;DG FLAMMABLE LIQUID,160 LCABINET;DG FLAMMABLE LIQUID,160L,2 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUID,FINISH:POWDER COATED YELLOW |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 454 WD MMX1.384 HT MX1.1 DP M | CAPACITY | 160 L | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1046137 | 1046137 | 1420969 | AU_QM_000267158 |  | ERSA | M | 5915 | 1420969GZPCLNT100 | EA |  | CABINET;FIXED PADLOCK BOARD HOLD,SS | CABINET;FIXED PADLOCK BOARD HOLD,SS | CABINET;TYPE:FIXED PADLOCK BOARD HOLD,SIZE:440 X 300 X 80 MM,MATERIAL:STAINLESS STEEL,MNFR:01)PARTS,PTNO:01)LSFPB20 |  | CABINET;FIXED PADLOCK BOARD HOLD,SSCABINET;FIXED PADLOCK BOARD HOLD | [34 empty] | https://locksafe.com.au/product/lsfpb20-fixed-padlock-box/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | NUMBER OF PADLOCK:20 | BOX | NO MODIFIER | TYPE | FIXED PADLOCK | SIZE | 440X300X80 MM | CAPACITY |  | MATERIAL | 304 STAINLESS STEEL,POLYCARBONATE WINDOW | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Series Match ¦ Processed based on Websource, Conflict w.r.t Input | 1045909 | 1045909 | 1404509 | AU_QM_000249304 |  | ERSA | M | 5915 | 1404509GZPCLNT100 | EA |  | CABINET;FIXED PADLOCK BOARD,SS | CABINET;FIXED PADLOCK BOARD,SS | CABINET;TYPE:FIXED PADLOCK BOARD,MATERIAL:STAINLESS STEEL,MNFR:01)PARTS,PTNO:01)LSFPB22 |  | CABINET;FIXED PADLOCK BOARD,SSCABINET;FIXED PADLOCK BOARD,LSFPB22 | [34 empty] | https://locksafe.com.au/product/lsfpb20-fixed-padlock-box/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  | NUMBER OF PADLOCK:22 | BOX | NO MODIFIER | TYPE | FIXED PADLOCK | SIZE |  | CAPACITY |  | MATERIAL | 304 STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1134252 | 1134252 | 1415905 | AU_QM_000261617 |  | ERSA | M | 5915 | 1415905GZPCLNT100 | EA |  | CABINET;LOCKABLE STORAGE CUPBOARD,BASE | CABINET;LOCKABLE STORAGE CUPBOARD,BASE | CABINET;MNFR: ,PTNO:LOCKABLE STORAGE CUPBOARD,BASE |  | CABINET;LOCKABLE STORAGE CUPBOARD,BASECABINET;LOCKABLE STORAGE CUPBOARD,BASE | [34 empty] | XX | [9 empty] | Cleansed | 56101530 Storage cabinets |  |  | CABINET | NO MODIFIER | TYPE | BASE,LOCKABLE STORAGE CUPBOARD | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1185327 | 1185327 |  |  |  | ERSA | M | 2700 | 1557288GZPCLNT100 | EA |  | CABINET;PIDGEON HOLE,1040X1040X380 | ARMARIO; | CABINET;TYPE:PIDGEON HOLE,SIZE:1040X1040X380,MATERIAL:WOODBOARD,ADDITIONAL FEATURES EN:20HOLE | ARMARIO; | [35 empty] | XX | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | NUMBER OF HOLE:20 |  | CABINET | NO MODIFIER | TYPE | PIDGEON HOLE | SIZE | 1.04 MX1.04 MX380 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | WOODBOARD | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1134781 | 1134781 | 1422755 | AU_QM_000269116 |  | ERSA | M | 5915 | 1422755GZPCLNT100 | EA |  | CABINET;PIE,30 PIES,SS,3 REMOVEABLE | CABINET;PIE,30 PIES,SS,3 REMOVEABLE | CABINET;MNFR: ,PTNO:PIE,30 PIES,SS,3 REMOVEABLE |  | CABINET;PIE,30 PIES,SS,3 REMOVEABLECABINET;PIE,30 PIES,SS,3 REMOVEABLE | [34 empty] | XX | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | NUMBER OF PIE:30,REMOVEABLE SHELF |  | CABINET | NO MODIFIER | TYPE | PIE | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | STAINLESS STEEL | NUMBER OF SHELVES | 3 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1183763 | 1183763 |  |  |  | ERSA | M | 2920 | 1561765GZPCLNT100 | EA |  | CABINET;STOR,1850X1000X560MM,STL | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1850X1000X560MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:DROP BOX | ARMARIO; | [35 empty] | XX | [9 empty] | Cleansed | 56101530 Storage cabinets | DROP BOX |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.85 MX1 MX560 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1146740 | 1146740 |  |  |  | ERSA | M | 1600 | 1505668GZPCLNT100 | EA |  | CABINET;W 600XH1 OOOXD225 | CABINET;W 600XH1 OOOXD225 | CABINET;ADDITIONAL FEATURES:W 600XH1 OOOXD225 | [36 empty] | XX | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 600 WD MMX1 HT MX225 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CHEMICAL | 1215841 | 1215841 |  |  |  | ERSA | M | 5380 | 176940MRM | BT |  | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% S | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% S | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% SODIUM NITRATE;C/W 0.15% LITHIUM BROMIDE;2KG BOTL;10 BOTL CTN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42201800 Medical diagnostic x ray products | PACKAGE QUANTITY:10 BT/CT |  | CHEMICAL | NO MODIFIER | TYPE | X-RAY FLUX,TYPE 12:22 | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | 20 PCT SODIUM NITRATE,0.15 PCT LITHIUM BROMIDE | CONTAINER SIZE | 2 KG | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CHEMICAL | 1215842 | 1215842 |  |  |  | ERSA | M | 5380 | 176941MRM | BT |  | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% S | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% S | CHEMICAL:X-RAY FLUX;TYPE 12:22;C/W 20% SODIUM NITRATE;C/W 0.5% LITHIUM IODIDE;2KG BOTL;10BOTL CTN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42201800 Medical diagnostic x ray products | PACKAGE QUANTITY:10 BT/CT |  | CHEMICAL | NO MODIFIER | TYPE | X-RAY FLUX,TYPE 12:22 | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | 20 PCT SODIUM NITRATE,0.5 PCT LITHIUM IODIDE | CONTAINER SIZE | 2 KG | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1052272 | 1052272 |  |  |  | ERSA | M | 2920 | 1582863GZPCLNT100 | EA |  | CABINET;FIR,QUAD BOOSTER FEED HYD,LEGS | ARMARIO; | CABINET;TYPE:FIRE,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:QUAD BOOSTER FEED HYD,LEGS | ARMARIO; |  |  |  | 1068155 @@ REECE PTY LTD | 1000236 | [14 empty] | REECE PTY LTD | 1000236 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets | QUAD BOOSTER FEED HYD,LEGS |  | CABINET | NO MODIFIER | TYPE | FIRE | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1052892 | 1052892 |  |  |  | ERSA | M | 2700 | 1578329GZPCLNT100 | EA |  | CABINET;COMPUTER STORAGE,800X715X1600MM | ARMARIO; | CABINET;TYPE:COMPUTER STORAGE,SIZE:800X715X1600MM,MATERIAL:,ADDITIONAL FEATURES EN:POWDERCOATED,LOCKABLE,PULLOUT DRAW | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD-PCS | [12 empty] | CONTAIN IT SOLUTIONS | CHD-PCS | [16 empty] | https://www.containit.com.au/product/storeman-workshop-computer-storage-cabinet/ | [9 empty] | Cleansed | 56101530 Storage cabinets | COATING:POWDER,PULLOUT DRAW |  | CABINET | NO MODIFIER | TYPE | COMPUTER STORAGE,LOCKABLE | SIZE | 800 WD MMX1.6 HT MX715 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1053203 | 1053203 |  |  |  | ERSA | M | 2700 | 1582661GZPCLNT100 | EA |  | CABINET;STATNRY,1200X900X400MM | ARMARIO; | CABINET;TYPE:STATIONARY,SIZE:1200X900X400MM,MATERIAL:,ADDITIONAL FEATURES EN:BEECH/IRONSTONE,SHIP SHAPE | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | SHSC12.SBIR | [12 empty] | EMPIRE OFFICE FURNITURE | SHSC12.SBIR | [16 empty] | https://empirefurniture.com.au/product/ship-shape-stationery-cupboard/ | [9 empty] | Enriched | 30161803 Domestic cupboard |  |  | CUPBOARD | NO MODIFIER | TYPE | STATIONARY,SHIP SHAPE | DIMENSIONS | 900 WD MMX1.2 HT MX400 DP MM | MATERIAL |  | COATING/FINISH |  | COLOUR | BEECH/IRONSTONE | NUMBER OF DOORS | 2 | NUMBER OF SHELVES | 2 | NUMBER OF DRAWERS |  | NUMBER OF COMPARTMENTS |  | NUMBER OF HANGING RODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1053204 | 1053204 |  |  |  | ERSA | M | 2700 | 1582662GZPCLNT100 | EA |  | CABINET;STATNRY,1800X900X400MM | ARMARIO; | CABINET;TYPE:STATIONARY,SIZE:1800X900X400MM,MATERIAL:,ADDITIONAL FEATURES EN:BEECH/IRONSTONE,SHIP SHAPE | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | SHSC18.SBIR | [12 empty] | EMPIRE OFFICE FURNITURE | SHSC18.SBIR | [16 empty] | https://empirefurniture.com.au/product/ship-shape-stationery-cupboard/ | [9 empty] | Enriched | 30161803 Domestic cupboard |  |  | CUPBOARD | NO MODIFIER | TYPE | STATIONARY,SHIP SHAPE | DIMENSIONS | 900 WD MMX1.8 HT MX400 DP MM | MATERIAL |  | COATING/FINISH |  | COLOUR | BEECH/IRONSTONE | NUMBER OF DOORS | 2 | NUMBER OF SHELVES | 3 | NUMBER OF DRAWERS |  | NUMBER OF COMPARTMENTS |  | NUMBER OF HANGING RODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1055304 | 1055304 |  |  |  | ERSA | M | 4090 | 1615346GZPCLNT100 | PAC |  | CABINET;VANITY,900(W)X460(D)X850(H)MM,PU | ARMARIO;,CAJON 3,PISO | CABINET;TYPE:VANITY,SIZE:900(W)X460(D)X850(H)MM,CAPACITY:6 L,MATERIAL:POLYURETHANE,NUMBER OF SHELVES:2,NUMBER OF DRAWERS:3, MOUNTING TYPE:FLOOR,ADDITIONAL FEATURES EN:1 TAPHOLE,WHITE,SINGLE BOWL | ARMARIO;NUMERO CAJONES:3,TIPO MONTAJE:PISO |  |  |  | 1068155 @@ REECE PTY LTD | 9506066 | [12 empty] | REECE PTY LTD | 9506066 | [16 empty] | https://www.reece.com.au/product/posh-bristol-mk2-900mm-vanity-unit-with-kick-9506066 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | COLOR:WHITE,1 TAPHOLE,SINGLE BOWL | NUMBER OF DOOR:2 | CABINET | NO MODIFIER | TYPE | POSH BRISTOL,VANITY | SIZE | 900 WDX850 HTX460 DP MM | CAPACITY | 6 L BOWL | NUMBER OF COMPARTMENTS |  | MATERIAL | 2 PAC POLYURETHANE | NUMBER OF SHELVES | 2 | NUMBER OF DRAWERS | 3 | MOUNTING TYPE | FLOOR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1057605 | 1057605 |  |  |  | ERSA | M | 2920 | 1607488GZPCLNT100 | EA |  | CABINET;FORKLIFT LPG GAS STORE,AS4332 | ARMARIO; | CABINET;TYPE:FORKLIFT LPG GAS STORE,SIZE:1050HX750WX750D MM,MATERIAL:POWDERCOATED STEE,CERTIFICATION/STANDARD:AS4332,ADDITIONAL FEATURES EN:CYLINDER RESTRAINT CHAIN,FORK POCKETS FOR EASY MANEUVERING,PADLOCKABLE DOOR,WILL BE SUPPLIED WITH CLASS 2 DG DIAMOND | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CGSGF04 | [14 empty] | CONTAIN IT SOLUTIONS | CGSGF04 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | FORKLIFT LPG GAS STORE,CYLINDER RESTRAINT CHAIN,FORK POCKETS FOR EASY MANEUVERING,PADLOCKABLE DOOR,WILL BE SUPPLIED WITH CLASS 2 DG DIAMOND |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 750 WD MMX1.05 HT MX750 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | POWDERCOATED STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS4332 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1060642 | 1060642 |  |  |  | ERSA | M | 1600 | 1608723GZPCLNT100 | EA |  | CABINET;WEATHERPROOF ENCLOS,IP65,ABS | ARMARIO; | CABINET;TYPE:WEATHERPROOF ENCLOS,SIZE:IP65,MATERIAL:ABS,ADDITIONAL FEATURES EN:LOAD CENTRE,4 MODULE | ARMARIO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LEG601974 | [12 empty] | LEGRAND | 601974 | CNW (MOUNT ISA) ELECT WHOLESALER | LEG601974 | [14 empty] | https://www.electrika.com/catalogues/Legrand-Industrial-Power-Protection/Plexo3-weatherproof-enclosures-accessories/601974/WATERPROOF-CABINET-IP65-4M/part/102099 | https://www.legrand.com.au/plexo3-brochure | [8 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE:IP65,LOAD CENTRE,4 MODULE | COLOR:LIGHT GREY BOX,DARK GREY COVER | CABINET | NO MODIFIER | TYPE | WEATHERPROOF | SIZE | 128 WDX200 HTX115.6 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | ABS | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 61439.3,EN 60439-3,EN 60439-3 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1071082 | 1071082 |  |  |  | ERSA | M | 4075 | 1534309GZPCLNT100 | EA |  | CABINET;VANITY,1200 S/B W/H ACRY,2351783 | CABINET;VANITY,1200 S/B W/H ACRY,2351783 | CABINET;ADDITIONAL FEATURES:VANITY,1200 S/B W/H ACRY,2351783 |  |  |  | 2351783 | 1068155 @@ REECE PTY LTD | 2350558 | [11 empty] | 2351783 | REECE PTY LTD | 2350558 | [16 empty] | https://www.reece.com.au/product/posh-domaine-1200mm-wall-hung-vanity-unit-2350558 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | SINGLE BOWL | COLOR:WHITE,NUMBER OF DOOR:2 | CABINET | NO MODIFIER | TYPE | POSH DOMAINE,VANITY | SIZE | 1.2 WD MX572 HT MMX460 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | ACRYLIC BENCHTOP,MEDIUM DENSITY FIBREBOARD CABINET | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 2 | MOUNTING TYPE | WALL HUNG | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1071083 | 1071083 |  |  |  | ERSA | M | 4075 | 1534308GZPCLNT100 | EA |  | CABINET;VANITY,900 W/H ACRYLIC C,2351780 | CABINET;VANITY,900 W/H ACRYLIC C,2351780 | CABINET;ADDITIONAL FEATURES:VANITY,900 W/H ACRYLIC C,2351780 |  |  |  | 2351780 | 1068155 @@ REECE PTY LTD | 2350544 | [11 empty] | 2351780 | REECE PTY LTD | 2350544 | [16 empty] | https://www.reece.com.au/product/posh-domaine-900mm-wall-hung-vanity-unit-2350544 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving |  | COLOR:WHITE,NUMBER OF DOOR:1 | CABINET | NO MODIFIER | TYPE | POSH DOMAINE,VANITY | SIZE | 900 WDX572 HTX460 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | ACRYLIC BENCHTOP,MEDIUM DENSITY FIBREBOARD CABINET | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 2 | MOUNTING TYPE | WALL HUNG | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1084609 | 1084609 |  |  |  | ERSA | M | 1600 | 1581735GZPCLNT100 | EA | 3000422 | CABINET;CNW,B-RARWX6U450NF,AUSRACK WALL | ARMARIO;CNW,B-RARWX6U450NF | CABINET;MNFR:CNW,PTNO:B-RARWX6U450NF,ADDITIONAL FEATURES EN:AUSRACK WALL ONYX 6RU 450 DEEP | ARMARIO;MNFR:CNW,PTNO:B-RARWX6U450NF |  | CNW | B-RARWX6U450NF | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | B-RARWX6U450NF | [10 empty] | CNW | B-RARWX6U450NF | B & R ENCLOSURES PTY LTD | ARWX6U450NF | CNW (MOUNT ISA) ELECT WHOLESALER | B-RARWX6U450NF | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-OnyX-Wall.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK,ONYX,NUMBER OF RACKS:6 | COLOR:MATT BLACK,FINISH:POWDER COATED TEXTURED | CABINET | NO MODIFIER | TYPE |  | SIZE | 600 WDX370 HTX450 DP MM | CAPACITY | 60 KG | NUMBER OF COMPARTMENTS |  | MATERIAL | ROLLED STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS62208,EIA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1085296 | 1085296 |  |  |  | ERSA | M | 1600 | 1578181GZPCLNT100 | EA | 3000422 | CABINET;CNW,COMFEC-36,OUTDR,FIBRE SPLICE | ARMARIO;CNW,COMFEC-36 | CABINET;MNFR:CNW,PTNO:COMFEC-36,ADDITIONAL FEATURES EN:OUTDOOR,FIBRE SPLICE | ARMARIO;MNFR:CNW,PTNO:COMFEC-36 |  | CNW | COMFEC-36 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | COMFEC-36 | [10 empty] | CNW | COMFEC-36 | COMMSCOPE | FEC-36 | CNW (MOUNT ISA) ELECT WHOLESALER | COMFEC-36 | [14 empty] | https://www.commscope.com/product-type/cabinets-panels-enclosures/frames-racks-cabinets/fiber-entrance-cabinets/itemfec-36/ | [9 empty] | Enriched | 26121600 Electrical cable and accessories | OUTDOOR,FIBRE SPLICE | COLOR:PUTTY WHITE | CABINET | NO MODIFIER | TYPE | FIBER OPTIC ENTRANCE | SIZE | 812.8 WD MMX1.574 HT MX330.2 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 36 | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1088243 | 1088243 |  |  |  | ERSA | M | 2700 | 1585679GZPCLNT100 | EA |  | CABINET;WRKSTN,2020 L X 760 D X 910 H MM | ARMARIO; | CABINET;TYPE:WORKSTATION,SIZE:2020 L X 760 D X 910 H MM,NUMBER OF COMPARTMENTS:2,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN: 4 & 7 DRAWER,4 DRAWER: 1 @ 125H,1 @ 150H,1 @ 200H,1 @ 250H,7 DRAWER: 6 @ 100H,1 @ 125H,100 PCT EXTENSION DRAWER RUNNERS,CAPACITY: 140 KG/DRAWER,WITH LOCKING SYSTEM,BRAND: STOREMAN,PTNO:CHD-47DST | ARMARIO;,PTNO:CHD-47DST |  |  | CHD-47DST | 1068926 @@ CONTAIN IT SOLUTIONS | CHD-47DST | [11 empty] | CHD-47DST | CONTAIN IT SOLUTIONS | CHD-47DST | [16 empty] | https://www.containit.com.au/product/storeman-workstation-stainless-bench-range/ | [9 empty] | Cleansed | 56101530 Storage cabinets | 4 DRAWER FRONT HEIGHTS:1 AT 125 MM,1 AT 150 MM,1 AT 200 MM,1 AT 250 MM,7 DRAWER FRONT HEIGHTS:6 AT 100 MM,1 AT 125 MM,100 PCT EXTENSION DRAWER RUNNERS,C/W LOCKING SYSTEM,BRAND:STOREMAN |  | CABINET | NO MODIFIER | TYPE | STORAGE,WORKSTATION | SIZE | 2.02 LG MX910 HT MMX760 DP MM | CAPACITY | 140 KG/DRAWER | NUMBER OF COMPARTMENTS | 2 | MATERIAL | STAINLESS STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 11 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1088244 | 1088244 |  |  |  | ERSA | M | 2700 | 1585730GZPCLNT100 | EA |  | CABINET;LOCKABLE,1903W X 690D X 2110H MM | ARMARIO; | CABINET;TYPE:LOCKABLE,SIZE:1903W X 690D X 2110H MM,MATERIAL:POWDERCOAT FINISH,ADDITIONAL FEATURES EN:LONGSPAN SHELVING STARTER BAY,4 SHELF WITH MESH DECK,SHELF SIZE: 1800L X 600H MM,PADLOCKABLE,CAPACITY: 500KG/SHELF,BRAND: STOREMAN,PTNO:CL226018-SB-LL-M | ARMARIO;,PTNO:CL226018-SB-LL-M |  |  | CL226018-SB-LL-M | 1068926 @@ CONTAIN IT SOLUTIONS | CL226018-SB-LL-M | [11 empty] | CL226018-SB-LL-M | CONTAIN IT SOLUTIONS | CL226018-SB-LL-M | [16 empty] | https://www.containit.com.au/product/lockable-storeman-longspan-shelving-with-mdf-shelves/ | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | BRAND:STOREMAN,C/W MESH DECK,SHELF SIZE:1.8 LG MX600 HT MM,NUMBER OF SHELF:4 SHELF |  | SHELF | NO MODIFIER | TYPE | LOCKABLE,LONGSPAN,PADLOCKABLE,STARTER BAY | CAPACITY | 500 KG | NUMBER OF COMPARTMENTS |  | MATERIAL |  | COATING/FINISH | POWDERCOAT | OVERALL SIZE | 1.903 WD MX2.11 HT MX690 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1088245 | 1088245 |  |  |  | ERSA | M | 2700 | 1585731GZPCLNT100 | EA |  | CABINET;LOCKABLE,1853W X 690D X 2110H MM | ARMARIO; | CABINET;TYPE:LOCKABLE,SIZE:1853W X 690D X 2110H MM,MATERIAL:POWDERCOAT FINISH,ADDITIONAL FEATURES EN:LONGSPAN SHELVING ADD-ON BAY, 4 SHELF WITH MESH DECK,SHELF SIZE: 1800L X 600W MM,CAPACITY: 500 KG/SHELF,BRAND: STOREMAN,PTNO:CL226018-AB-LL-M | ARMARIO;,PTNO:CL226018-AB-LL-M |  |  | CL226018-AB-LL-M | 1068926 @@ CONTAIN IT SOLUTIONS | CL226018-AB-LL-M | [11 empty] | CL226018-AB-LL-M | CONTAIN IT SOLUTIONS | CL226018-AB-LL-M | [16 empty] | https://www.containit.com.au/product/lockable-storeman-longspan-shelving-with-mdf-shelves/ | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | BRAND:STOREMAN,C/W MESH DECK,SHELF SIZE:1.8 LG MX600 HT MM,NUMBER OF SHELF:4 SHELF |  | SHELF | NO MODIFIER | TYPE | LOCKABLE,LONGSPAN,ADD-ON BAY | CAPACITY | 500 KG | NUMBER OF COMPARTMENTS |  | MATERIAL |  | COATING/FINISH | POWDERCOAT | OVERALL SIZE | 1.853 WD MX2.11 HT MX690 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1112930 | 1112930 |  |  |  | ERSA | M | 4090 | 1573625GZPCLNT100 | EA |  | CABINET;DG,1652 X 535 X 1763 MM,STL,FLMB | ARMARIO; | CABINET;TYPE:DG,SIZE:1652 X 535 X 1763 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FLAMMABLE,850 CANS | ARMARIO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCAR850 | [12 empty] | SPILL CREW AUSTRALIA | SCAR850 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.spillcrew.com.au/product/aerosol-safety-storage-cage-850-can/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUIDS | CAPACITY:850 TO 960 CAN,NUMBER OF DOOR:3,NUMBER OF SHELVES:5 | CAGE | NO MODIFIER | TYPE | HEAVY DUTY | SIZE | 1.65 WD MX1.76 HT MX535 DP MM | MATERIAL | ZINC ANNEAL STEEL | HAZARD CLASS | 2 | CERTIFICATION/STANDARD | AS/NZS3833-2007 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1112931 | 1112931 |  |  |  | ERSA | M | 4090 | 1573624GZPCLNT100 | EA |  | CABINET;DG,710 X 620 X 345 MM,STL,FLMB | ARMARIO; | CABINET;TYPE:DG,SIZE:710 X 620 X 345 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FLAMMABLE,64 CANS | ARMARIO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCAR64 | [12 empty] | SPILL CREW AUSTRALIA | SCAR64 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.spillcrew.com.au/product/aerosol-safety-storage-cage-64-can/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUIDS | CAPACITY:60 TO 80 CAN,NUMBER OF DOOR:1,NUMBER OF SHELVES:2 | CAGE | NO MODIFIER | TYPE | HEAVY DUTY | SIZE | 620 WDX710 HTX345 DP MM | MATERIAL | ZINC ANNEAL STEEL | HAZARD CLASS | 2 | CERTIFICATION/STANDARD | AS/NZS3833-2007 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1112932 | 1112932 |  |  |  | ERSA | M | 4090 | 1573623GZPCLNT100 | EA |  | CABINET;DG,1720 X 1250 X 465 MM,STL,FLMB | ARMARIO; | CABINET;TYPE:DG,SIZE:1720 X 1250 X 465 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FLAMMABLE,440 CANS | ARMARIO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCAR440 | [12 empty] | SPILL CREW AUSTRALIA | SCAR440 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.spillcrew.com.au/product/aerosol-safety-storage-cage-440-can/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUIDS | CAPACITY:440 TO 630 CAN,NUMBER OF DOOR:2,NUMBER OF SHELVES:5 | CAGE | NO MODIFIER | TYPE | HEAVY DUTY | SIZE | 1.25 WD MX1.72 HT MX460 DP MM | MATERIAL | ZINC ANNEAL STEEL | HAZARD CLASS | 2 | CERTIFICATION/STANDARD | AS/NZS3833-2007 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1112933 | 1112933 |  |  |  | ERSA | M | 4090 | 1573622GZPCLNT100 | EA |  | CABINET;DG,400 X 620 X 345 MM,STL,FLMB | ARMARIO; | CABINET;TYPE:DG,SIZE:400 X 620 X 345 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FLAMMABLE,32 CANS | ARMARIO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCAR32 | [12 empty] | SPILL CREW AUSTRALIA | SCAR32 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.spillcrew.com.au/product/aerosol-safety-storage-cage-32-can/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUIDS | CAPACITY:32 TO 40 CAN,NUMBER OF DOOR:1,NUMBER OF SHELVES:1 | CAGE | NO MODIFIER | TYPE | HEAVY DUTY | SIZE | 620 WDX400 HTX345 DP MM | MATERIAL | ZINC ANNEAL STEEL | HAZARD CLASS | 2 | CERTIFICATION/STANDARD | AS/NZS3833-2007 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1112934 | 1112934 |  |  |  | ERSA | M | 4090 | 1573621GZPCLNT100 | EA |  | CABINET;DG,1720 X 665 X 465 MM,STL,FLMB | ARMARIO; | CABINET;TYPE:DG,SIZE:1720 X 665 X 465 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:FLAMMABLE,220 CANS | ARMARIO; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCAR220 | [12 empty] | SPILL CREW AUSTRALIA | SCAR220 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.spillcrew.com.au/product/aerosol-safety-storage-cage-220-can/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | FOR DANGEROUS GOODS,FLAMMABLE LIQUIDS | CAPACITY:220 TO 315 CAN,NUMBER OF DOOR:1,NUMBER OF SHELVES:5 | CAGE | NO MODIFIER | TYPE | HEAVY DUTY | SIZE | 665 WD MMX1.72 HT MX465 DP MM | MATERIAL | ZINC ANNEAL STEEL | HAZARD CLASS | 2 | CERTIFICATION/STANDARD | AS/NZS3833-2007 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1112954 | 1112954 |  |  |  | ERSA | M | 2700 | 1573588GZPCLNT100 | EA |  | CABINET;WRKSTN,1010 X 485 X 2000 MM,MTL | ARMARIO; | CABINET;TYPE:WORKSTATION,SIZE:1010 X 485 X 2000 MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:3-DRAWER STOREMAN,METAL DOORS & 3 SHELVES,DRAWERS FITTED WITH 9 COM | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CW3D3-S | [12 empty] | CONTAIN IT SOLUTIONS | CW3D3-S | [16 empty] | https://www.containit.com.au/product/1010-series-storeman-workstation-cabinets-with-metal-doors/ | [9 empty] | Cleansed | 56101530 Storage cabinets | BRAND:STOREMAN,DRAWERS FITTED WITH 9 COM | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | STORAGE,WORKSTATION | SIZE | 1.01 WD MX2 HT MX485 DP MM | CAPACITY | 100 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL | METAL | NUMBER OF SHELVES | 3 | NUMBER OF DRAWERS | 3 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1114063 | 1114063 |  |  |  | ERSA | M | 4090 | 1571783GZPCLNT100 | EA |  | CABINET;DG STORAGE,250L,STL | ARMARIO; | CABINET;TYPE:DG STORAGE,SIZE:250L,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CORROSIVE,CLASS 8 | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CSC2508 | [12 empty] | CONTAIN IT SOLUTIONS | CSC2508 | [16 empty] | https://www.containit.com.au/product/internal-dangerous-goods-cabinets-for-class-8-corrosive-substances/ | [9 empty] | Enriched | 56101530 Storage cabinets | FOR CORROSIVE,DANGEROUS GOODS | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.1 WD MX1.75 HT MX500 DP MM | CAPACITY | 250 L | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS | 8 | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1147571 | 1147571 |  |  |  | ERSA | M | 1600 | 1523084GZPCLNT100 | EA |  | CABINET;FLOORBOX,LID,S/S,SUITS ,ECDFB4SF | CABINET;FLOORBOX,LID,S/S,SUITS ,ECDFB4SF | CABINET;ADDITIONAL FEATURES:FLOORBOX,LID,S/S,SUITS ,ECDFB4SF |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FB4SF | [12 empty] | ECD | FB4SF | CNW (MOUNT ISA) ELECT WHOLESALER | FB4SF | [14 empty] | https://www.ecd.net.au/product/fb4sf/ | [9 empty] | Enriched | 39121307 Floor boxes | C/W LID |  | BOX | ELECTRICAL | TYPE | FLOOR,FLUSH | HUB SIZE |  | NUMBER OF HUBS |  | MATERIAL | STAINLESS STEEL LID | NUMBER OF GANGS |  | SIZE | 240X240X110 DP MM | ENCLOSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Suitable NM not found | 1147572 | 1147572 |  |  |  | ERSA | M | 1600 | 1523083GZPCLNT100 | EA |  | CABINET;VERTICAL CMS,40RU,B-RARVCMS40U10 | CABINET;VERTICAL CMS,40RU,B-RARVCMS40U10 | CABINET;ADDITIONAL FEATURES:VERTICAL CMS,40RU,B-RARVCMS40U10 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARVCMS40U10 | [12 empty] | B & R ENCLOSURES PTY LTD | ARVCMS40U10 | CNW (MOUNT ISA) ELECT WHOLESALER | ARVCMS40U10 | [14 empty] | https://www.brenclosures.com.au/products/ausrack-cable-management/ | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Suitable NM not found | 1147573 | 1147573 |  |  |  | ERSA | M | 1600 | 1523082GZPCLNT100 | EA |  | CABINET;VERTICAL CMS,45RU,B-RARVCMS45U20 | CABINET;VERTICAL CMS,45RU,B-RARVCMS45U20 | CABINET;ADDITIONAL FEATURES:VERTICAL CMS,45RU,B-RARVCMS45U20 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARVCMS45U20 | [12 empty] | B & R ENCLOSURES PTY LTD | ARVCMS45U20 | CNW (MOUNT ISA) ELECT WHOLESALER | ARVCMS45U20 | [14 empty] | https://www.brenclosures.com.au/products/ausrack-cable-management/ | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1147574 | 1147574 |  |  |  | ERSA | M | 1600 | 1523081GZPCLNT100 | EA |  | CABINET;BRACKET C/W BAYING KIT,,B-RARPBK | CABINET;BRACKET C/W BAYING KIT,,B-RARPBK | CABINET;ADDITIONAL FEATURES:BRACKET C/W BAYING KIT,,B-RARPBK |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARPBK | [12 empty] | B & R ENCLOSURES PTY LTD | ARPBK | CNW (MOUNT ISA) ELECT WHOLESALER | ARPBK | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Frame.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories |  |  | KIT | NO MODIFIER | TYPE | BAYING | CONTENTS | (4) BRACKET | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1147575 | 1147575 |  |  |  | ERSA | M | 1600 | 1523080GZPCLNT100 | EA |  | CABINET;SIDE COVER,AUSRACK P,B-RARP45U12 | CABINET;SIDE COVER,AUSRACK P,B-RARP45U12 | CABINET;ADDITIONAL FEATURES:SIDE COVER,AUSRACK P,B-RARP45U12 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARP45U12 | [12 empty] | B & R ENCLOSURES PTY LTD | ARP45U12 | CNW (MOUNT ISA) ELECT WHOLESALER | ARP45U12 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Server.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS |  | PANEL | NO MODIFIER | TYPE | SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.2 MM DP | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1147576 | 1147576 |  |  |  | ERSA | M | 1600 | 1523079GZPCLNT100 | EA |  | CABINET;MESH,DOOR AUSRACK P,B-RARDD45U08 | CABINET;MESH,DOOR AUSRACK P,B-RARDD45U08 | CABINET;ADDITIONAL FEATURES:MESH,DOOR AUSRACK P,B-RARDD45U08 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARDD45U08 | [12 empty] | B & R ENCLOSURES PTY LTD | ARDD45U08 | CNW (MOUNT ISA) ELECT WHOLESALER | ARDD45U08 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Server.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS |  | DOOR | NO MODIFIER | TYPE | SPLIT MESH | SIZE | 800 MM WD | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1147577 | 1147577 |  |  |  | ERSA | M | 1600 | 1523078GZPCLNT100 | EA |  | CABINET;FRAME,AUSRACK PLUS,4,B-RAF45U812 | CABINET;FRAME,AUSRACK PLUS,4,B-RAF45U812 | CABINET;ADDITIONAL FEATURES:FRAME,AUSRACK PLUS,4,B-RAF45U812 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AF45U812 | [12 empty] | B & R ENCLOSURES PTY LTD | AF45U812 | CNW (MOUNT ISA) ELECT WHOLESALER | AF45U812 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Frame.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS,FOR 45 RU CABINET |  | FRAME | NO MODIFIER | TYPE |  | SIZE | 800 WD MMX2.135 HT MX1.2 DP M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1147578 | 1147578 |  |  |  | ERSA | M | 1600 | 1523076GZPCLNT100 | EA |  | CABINET;SIDE COVER,AUSRACK P,B-RARP24U08 | CABINET;SIDE COVER,AUSRACK P,B-RARP24U08 | CABINET;ADDITIONAL FEATURES:SIDE COVER,AUSRACK P,B-RARP24U08 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARP24U08 | [12 empty] | B & R ENCLOSURES PTY LTD | ARP24U08 | CNW (MOUNT ISA) ELECT WHOLESALER | ARP24U08 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Server.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS |  | PANEL | NO MODIFIER | TYPE | SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 800 MM DP | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1147579 | 1147579 |  |  |  | ERSA | M | 1600 | 1523075GZPCLNT100 | EA |  | CABINET;STEEL DOOR,AUSRACK ,B-RARDS24U08 | CABINET;STEEL DOOR,AUSRACK ,B-RARDS24U08 | CABINET;ADDITIONAL FEATURES:STEEL DOOR,AUSRACK ,B-RARDS24U08 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ARDS24U08 | [12 empty] | B & R ENCLOSURES PTY LTD | ARDS24U08 | CNW (MOUNT ISA) ELECT WHOLESALER | ARDS24U08 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Server.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS |  | DOOR | NO MODIFIER | TYPE | SINGLE | SIZE | 800 MM WD | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1147580 | 1147580 |  |  |  | ERSA | M | 1600 | 1523074GZPCLNT100 | EA |  | CABINET;FRAME,AUSRACK PLUS,2,B-RAF24U808 | CABINET;FRAME,AUSRACK PLUS,2,B-RAF24U808 | CABINET;ADDITIONAL FEATURES:FRAME,AUSRACK PLUS,2,B-RAF24U808 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | B-RAF24U808 | [12 empty] | B & R ENCLOSURES PTY LTD | AF24U808 | CNW (MOUNT ISA) ELECT WHOLESALER | B-RAF24U808 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Frame.pdf | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | AUSRACK PLUS,FOR 24 RU CABINET |  | FRAME | NO MODIFIER | TYPE |  | SIZE | 800 WD MMX1.202 HT MX800 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1149010 | 1149010 |  |  |  | ERSA | M | 2700 | 1532932GZPCLNT100 | EA |  | CABINET;8DRWR,2TOPDOORS,LOC,CHD2000-8A-S | CABINET;8DRWR,2TOPDOORS,LOC,CHD2000-8A-S | CABINET;ADDITIONAL FEATURES:8DRWR,2TOPDOORS,LOC,CHD2000-8A-S |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD2000-8A-S | [12 empty] | CONTAIN IT SOLUTIONS | CHD2000-8A-S | [16 empty] | https://www.containit.com.au/product/2000mm-series-metal-door-storeman-high-density-cabinets/ | [9 empty] | Enriched | 56101530 Storage cabinets | NUMBER OF DOOR:2 TOP | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | high density,LOCKOUT,STORAGE | SIZE | 1.01 WD MX2 HT MX700 DP MM | CAPACITY | 140 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 8 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1149011 | 1149011 |  |  |  | ERSA | M | 2700 | 1532931GZPCLNT100 | EA |  | CABINET;2DOORS,4SHELVES,LOCKABLE,CW0D4-S | CABINET;2DOORS,4SHELVES,LOCKABLE,CW0D4-S | CABINET;ADDITIONAL FEATURES:2DOORS,4SHELVES,LOCKABLE,CW0D4-S |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CW0D4-S | [12 empty] | CONTAIN IT SOLUTIONS | CW0D4-S | [16 empty] | https://www.containit.com.au/product/heavy-duty-storeman-storage-cupboards/ | [9 empty] | Enriched | 30161803 Domestic cupboard |  |  | CUPBOARD | NO MODIFIER | TYPE | HEAVY DUTY,LOCKABLE,STORAGE | DIMENSIONS | 1.01 WD MX2 HT MX485 DP MM | MATERIAL | METAL | COATING/FINISH |  | COLOUR |  | NUMBER OF DOORS | 2 | NUMBER OF SHELVES | 4 | NUMBER OF DRAWERS |  | NUMBER OF COMPARTMENTS |  | NUMBER OF HANGING RODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1153284 | 1153284 |  |  |  | ERSA | M | 4075 | 1534312GZPCLNT100 | EA |  | CABINET;VANITY,BASE,2 DOOR,3 DR,9508967 | CABINET;VANITY,BASE,2 DOOR,3 DR,9508967 | CABINET;ADDITIONAL FEATURES:VANITY,BASE,2 DOOR,3 DR,9508967 |  |  |  |  | 1068155 @@ REECE PTY LTD | 9508967 | [14 empty] | REECE PTY LTD | 9508967 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets | NUMBER OF DOOR:2 |  | CABINET | NO MODIFIER | TYPE | BASE,VANITY | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 3 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1153285 | 1153285 |  |  |  | ERSA | M | 4075 | 1534311GZPCLNT100 | EA |  | CABINET;VANITY,BASE,2 DOOR,610MM,9508961 | CABINET;VANITY,BASE,2 DOOR,610MM,9508961 | CABINET;ADDITIONAL FEATURES:VANITY,BASE,2 DOOR,610MM,9508961 |  |  |  |  | 1068155 @@ REECE PTY LTD | 9508961 | [12 empty] | REECE PTY LTD | 9508961 | [16 empty] | https://www.reece.com.au/product/base-2-door-vanity-unit-with-kick-1-taphole-610mm-9508961 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | NUMBER OF DOOR:2 | COLOR:WHITE | CABINET | NO MODIFIER | TYPE | BASE,VANITY | SIZE | 610 WDX470 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | ACRYLIC BENCHTOP,MELAMINE BOARD CABINET | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE | FLOOR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1153286 | 1153286 |  |  |  | ERSA | M | 4075 | 1534310GZPCLNT100 | EA |  | CABINET;VANITY1200 S/B W/H CMBL,2351783 | CABINET;VANITY1200 S/B W/H CMBL,2351783 | CABINET;ADDITIONAL FEATURES:VANITY1200 S/B W/H CMBL,2351783 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2351783 | [12 empty] | REECE PTY LTD | 2351783 | [16 empty] | https://www.reece.com.au/product/posh-domaine-conventional-1200mm-single-bowl-wall-2351783 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | SINGLE BOWL | NUMBER OF DOOR:2 | CABINET | NO MODIFIER | TYPE | POSH DOMAINE,VANITY | SIZE | 1.2 WD MX572 HT MMX460 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | CAST MARBLE BENCHTOP,MEDIUM DENSITY FIBREBOARD CABINET | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 2 | MOUNTING TYPE | WALL HUNG | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1153467 | 1153467 |  |  |  | ERSA | M | 1600 | 1523077GZPCLNT100 | EA |  | CABINET;POWER RAIL,HZ,6 OU,B-RARPRH61010 | CABINET;POWER RAIL,HZ,6 OU,B-RARPRH61010 | CABINET;ADDITIONAL FEATURES:POWER RAIL,HZ,6 OU,B-RARPRH61010 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | B-RARPRH61010 | [12 empty] | B & R ENCLOSURES PTY LTD | ARPRH61010 | CNW (MOUNT ISA) ELECT WHOLESALER | B-RARPRH61010 | [14 empty] | https://www.brenclosures.com.au/wp-content/uploads/Product-Leaflet-Technical-Ausrack-Plus-Server.pdf | [9 empty] | Enriched | 30103102 Aluminum rail |  |  | RAIL | ELECTRICAL | TYPE | HORIZONTAL | WIDTH |  | LENGTH |  | HEIGHT |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAA | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Series Match ¦ Processed based on Websource, Conflict w.r.t Input | 1154664 | 1154664 |  |  |  | ERSA | M | 4005 | 1509057GZPCLNT100 | EA |  | CABINET;METAL DRAWER DIVIDER,DDM-9/1-225 | CABINET;METAL DRAWER DIVIDER,DDM-9/1-225 | CABINET;ADDITIONAL FEATURES:METAL DRAWER DIVIDER,DDM-9/1-225 |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | DDM-9/1-225 | [12 empty] | CONTAIN IT SOLUTIONS | DDM-9/1-225 | [16 empty] | https://www.containit.com.au/product/storeman-metal-drawer-divider-compartment-insert-options/ | [9 empty] | Enriched | 30162302 Spice rack or spice drawer insert |  | NUMBER OF COMPARTMENT:9 | INSERT | NO MODIFIER | TYPE | DRAWER DIVIDER COMPARTMENT | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1154667 | 1154667 |  |  |  | ERSA | M | 4005 | 1509054GZPCLNT100 | EA |  | CABINET;METAL DRAWER DIVIDE,DDM-20/1-100 | CABINET;METAL DRAWER DIVIDE,DDM-20/1-100 | CABINET;ADDITIONAL FEATURES:METAL DRAWER DIVIDE,DDM-20/1-100 |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | DDM-20/1-100 | [12 empty] | CONTAIN IT SOLUTIONS | DDM-20/1-100 | [16 empty] | https://www.containit.com.au/product/storeman-metal-drawer-divider-compartment-insert-options/ | [9 empty] | Enriched | 30162302 Spice rack or spice drawer insert |  | NUMBER OF COMPARTMENT:20 | INSERT | NO MODIFIER | TYPE | DRAWER DIVIDER COMPARTMENT | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1154668 | 1154668 |  |  |  | ERSA | M | 4005 | 1509053GZPCLNT100 | EA |  | CABINET;METAL DRAWER DIVIDE,DDM-30/1-100 | CABINET;METAL DRAWER DIVIDE,DDM-30/1-100 | CABINET;ADDITIONAL FEATURES:METAL DRAWER DIVIDE,DDM-30/1-100 |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | DDM-30/1-100 | [12 empty] | CONTAIN IT SOLUTIONS | DDM-30/1-100 | [16 empty] | https://www.containit.com.au/product/storeman-metal-drawer-divider-compartment-insert-options/ | [9 empty] | Enriched | 30162302 Spice rack or spice drawer insert |  | NUMBER OF COMPARTMENT:30 | INSERT | NO MODIFIER | TYPE | DRAWER DIVIDER COMPARTMENT | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1154669 | 1154669 |  |  |  | ERSA | M | 4005 | 1509052GZPCLNT100 | EA |  | CABINET;STOREMAN EASY RACK STA,CERB-S-SB | CABINET;STOREMAN EASY RACK STA,CERB-S-SB | CABINET;ADDITIONAL FEATURES:STOREMAN EASY RACK STA,CERB-S-SB |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CERB-S-SB | [12 empty] | CONTAIN IT SOLUTIONS | CERB-S-SB | [16 empty] | https://www.containit.com.au/product/storemaneasy-rack-small-parts-buckets-shelving/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving | BRAND:STOREMAN | NUMBER OF BUCKETS:120 SMALL PARTS | SHELF | NO MODIFIER | TYPE | EASY RACK,STARTER BAY | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | COATING/FINISH |  | OVERALL SIZE | 1.065 LG MX2 HT MX435 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1154670 | 1154670 |  |  |  | ERSA | M | 4005 | 1509051GZPCLNT100 | EA |  | CABINET;STOREMAN OPTIONAL FORKLI,CHD-SFD | CABINET;STOREMAN OPTIONAL FORKLI,CHD-SFD | CABINET;ADDITIONAL FEATURES:STOREMAN OPTIONAL FORKLI,CHD-SFD |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD-SFD | [14 empty] | CONTAIN IT SOLUTIONS | CHD-SFD | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | BRAND:STOREMAN,OPTIONAL FORKLIFT |  | CABINET | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1154671 | 1154671 |  |  |  | ERSA | M | 4005 | 1509050GZPCLNT100 | EA |  | CABINET;8 DRAWER STOREMAN HIGH,CHD1225-8 | CABINET;8 DRAWER STOREMAN HIGH,CHD1225-8 | CABINET;ADDITIONAL FEATURES:8 DRAWER STOREMAN HIGH,CHD1225-8 |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD1225-8 | [12 empty] | CONTAIN IT SOLUTIONS | CHD1225-8 | [16 empty] | https://www.containit.com.au/product/1225mm-series-storeman-high-density-cabinets/ | [9 empty] | Enriched | 56101530 Storage cabinets | BRAND:STOREMAN | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | HIGH DENSITY,STORAGE | SIZE | 1.01 WDX1.225 HT MX700 DP MM | CAPACITY | 140 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 8 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1154851 | 1154851 |  |  |  | ERSA | M | 4090 | 1505572GZPCLNT100 | EA |  | CABINET;9 DRAW,HIGH DENSITY,CHD1400-9 | CABINET;9 DRAW,HIGH DENSITY,CHD1400-9 | CABINET;ADDITIONAL FEATURES:9 DRAW,HIGH DENSITY,CHD1400-9 |  |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD1400-9 | [12 empty] | CONTAIN IT SOLUTIONS | CHD1400-9 | [16 empty] | https://www.containit.com.au/product/1400mm-series-storeman-high-density-cabinets/ | [9 empty] | Enriched | 56101530 Storage cabinets |  | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | HIGH DENSITY,STORAGE | SIZE | 1.01 WDX1.4 HT MX700 DP MM | CAPACITY | 140 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 9 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1181294 | 1181294 |  |  |  | ERSA | M | 4045 | 1567877GZPCLNT100 | EA |  | CABINET;STOR,1010X700X815MM,STL | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1010X700X815MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:DBL DOOR,1XADJ SHELF | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHD815-DD | [12 empty] | CONTAIN IT SOLUTIONS | CHD815-DD | [16 empty] | https://www.containit.com.au/product/815mm-series-storeman-high-density-cabinets/ | [9 empty] | Enriched | 56101530 Storage cabinets | NUMBER OF DOOR:2,ADJUSTABLE SHELF | FINISH:POWDER COAT | CABINET | NO MODIFIER | TYPE | HIGH DENSITY,STORAGE | SIZE | 1.01 WD MX815 HT MMX700 DP MM | CAPACITY | 140 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES | 1 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1184595 | 1184595 |  |  |  | ERSA | M | 2700 | 1558884GZPCLNT100 | EA |  | CABINET;FILNG,1300X460X620MM,MTL | ARMARIO; | CABINET;TYPE:FILING,SIZE:1300X460X620MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:SILVER/GREY,4 DRAWERS | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | FCBS4D.SG | [12 empty] | EMPIRE OFFICE FURNITURE | FCBS4D.SG | [16 empty] | https://empirefurniture.com.au/product/built-strong-filing-cabinet-4-drawer/ | [9 empty] | Enriched | 56101530 Storage cabinets | COLOR:SILVER/GREY |  | CABINET | NO MODIFIER | TYPE | BUILT STRONG,FILING | SIZE | 460 WD MMX1.3 HT MX620 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | METAL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 4 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1184596 | 1184596 |  |  |  | ERSA | M | 2700 | 1558883GZPCLNT100 | EA |  | CABINET;FILNG,1010X460X620MM,MTL | ARMARIO; | CABINET;TYPE:FILING,SIZE:1010X460X620MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:SILVER/GREY,3 DRAWERS | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | FCBS3D.SG | [12 empty] | EMPIRE OFFICE FURNITURE | FCBS3D.SG | [16 empty] | https://empirefurniture.com.au/product/built-strong-filing-cabinet-3-drawer/ | [9 empty] | Enriched | 56101530 Storage cabinets | COLOR:SILVER/GREY |  | CABINET | NO MODIFIER | TYPE | BUILT STRONG,FILING | SIZE | 460 WD MMX1.01 HT MX620 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | METAL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 3 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1184597 | 1184597 |  |  |  | ERSA | M | 2700 | 1558882GZPCLNT100 | EA |  | CABINET;FILNG,715X460X620MM,MTL | ARMARIO; | CABINET;TYPE:FILING,SIZE:715X460X620MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:SILVER/GREY,2 DRAWERS | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | FCBS2D.SG | [12 empty] | EMPIRE OFFICE FURNITURE | FCBS2D.SG | [16 empty] | https://empirefurniture.com.au/product/built-strong-filing-cabinet-2-drawer/ | [9 empty] | Enriched | 56101530 Storage cabinets | COLOR:SILVER/GREY |  | CABINET | NO MODIFIER | TYPE | BUILT STRONG,FILING | SIZE | 460 WDX715 HTX620 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | METAL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 2 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1185041 | 1185041 |  |  |  | ERSA | M | 1600 | 1557623GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT7826685,RIT7826685, DK TS | ARMARIO;CNW,RIT7826685 | CABINET;MNFR:CNW,PTNO:RIT7826685,ADDITIONAL FEATURES EN:RIT7826685, DK TS8 ROOF PLATE FOR CABLE,ENTRY 2 PIECE BXD600X800MM | ARMARIO;MNFR:CNW,PTNO:RIT7826685 |  | CNW | RIT7826685 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT7826685 | [10 empty] | CNW | RIT7826685 | RITTAL | 7826.685 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT7826685 | [14 empty] | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0904ZUBEHOER1/PG0903ZUBEHOER1/PGRP26665ZUBEHOER1/PRO13624?variantId=7826685 | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | FOR DK TS 8,CABLE ENTRY |  | PLATE | NO MODIFIER | TYPE | 2-PIECE,ROOF | SIZE | 600 WDX800 DP MM | MATERIAL | SHEEL STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1185042 | 1185042 |  |  |  | ERSA | M | 1600 | 1557622GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT5501705,RIT5501705, COMPO | ARMARIO;CNW,RIT5501705 | CABINET;MNFR:CNW,PTNO:RIT5501705,ADDITIONAL FEATURES EN:RIT5501705, COMPONENT SHELF 100KG, D600-,900 FIXED INST DEPTH VARIABLE, RAL9005 | ARMARIO;MNFR:CNW,PTNO:RIT5501705 |  | CNW | RIT5501705 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT5501705 | [10 empty] | CNW | RIT5501705 | RITTAL | 5501.705 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT5501705 | [14 empty] | https://www.rittal.com/com-en/products/PG0900ZUBEHOER1/PG0917ZUBEHOER1/PGR3562ZUBEHOER1/PG1288ZUBEHOER1/PRO29853?variantId=5501705 | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | DISTANCE BETWEEN LEVEL:600 TO 900 MM FIXED INST DEPTH VARIABLE,COLOR:RAL 9005 |  | SHELF | NO MODIFIER | TYPE | COMPONENT | CAPACITY | 100 KG | NUMBER OF COMPARTMENTS |  | MATERIAL | SHEET STEEL | COATING/FINISH | SPRAY | OVERALL SIZE | 484 MM WD | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1185043 | 1185043 |  |  |  | ERSA | M | 1600 | 1557621GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT8640034,RIT8640034, VX BA | ARMARIO;CNW,RIT8640034 | CABINET;MNFR:CNW,PTNO:RIT8640034,ADDITIONAL FEATURES EN:RIT8640034, VX BASE/PLINTH TRIM PANEL, S,IDE H 100MM FOR D 800, SHEET STEEL, RAL | ARMARIO;MNFR:CNW,PTNO:RIT8640034 |  | CNW | RIT8640034 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT8640034 | [10 empty] | CNW | RIT8640034 | RITTAL | 8640.034 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT8640034 | [14 empty] | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0899ZUBEHOER1/PGRP25263ZUBEHOER1/PRO116307?variantId=8640034 | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | FOR VX BASE/PLINTH,FOR 800 MM DP | COLOR:RAL 9005 | PANEL | NO MODIFIER | TYPE | SIDE,TRIM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 100 MM HT | MATERIAL | SHEET STEEL | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,FTTA | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Suitable NM not found | 1185044 | 1185044 |  |  |  | ERSA | M | 1600 | 1557620GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT8640002,RIT8640002, VX BA | ARMARIO;CNW,RIT8640002 | CABINET;MNFR:CNW,PTNO:RIT8640002,ADDITIONAL FEATURES EN:RIT8640002, VX BASE/PLINTH CORE PIECE WI,TH /PFRONT AND REA, H 100MM, FOR W 600MM | ARMARIO;MNFR:CNW,PTNO:RIT8640002 |  | CNW | RIT8640002 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT8640002 | [10 empty] | CNW | RIT8640002 | RITTAL | 8640.002 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT8640002 | [14 empty] | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0899ZUBEHOER1/PGRP25263ZUBEHOER1/PRO116192?variantId=8640002 | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1185046 | 1185046 |  |  |  | ERSA | M | 1600 | 1557618GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT8108235,0X800MM,RIT810823 | ARMARIO;CNW,RIT8108235 | CABINET;MNFR:CNW,PTNO:RIT8108235,ADDITIONAL FEATURES EN:0X800MM,RIT8108235, SIDE PANEL, PAIR RAL7035 200 | ARMARIO;MNFR:CNW,PTNO:RIT8108235 |  | CNW | RIT8108235 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT8108235 | [10 empty] | CNW | RIT8108235 | RITTAL | 8108.235 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT8108235 | [14 empty] | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0905ZUBEHOER1/PG0971ZUBEHOER1/PRO11917?variantId=8108235 | [9 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | COLOR:RAL 7035,FOR 200 WDX800 DP MM,PAIR | FINISH:DIPCOAT-PRIMED,POWDER COATED | PANEL | NO MODIFIER | TYPE | SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL | SHEET STEEL | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Suitable NM not found | 1185047 | 1185047 |  |  |  | ERSA | M | 1600 | 1557617GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT5530131,RIT5530131, TS IT | ARMARIO;CNW,RIT5530131 | CABINET;MNFR:CNW,PTNO:RIT5530131,ADDITIONAL FEATURES EN:RIT5530131, TS IT RAL7035 WHD 600X2000X8,00, 42U GLAZED DOOR, IP 55, MOUNTING FRA | ARMARIO;MNFR:CNW,PTNO:RIT5530131 |  | CNW | RIT5530131 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RIT5530131 | [10 empty] | CNW | RIT5530131 | RITTAL | 5530.131 | CNW (MOUNT ISA) ELECT WHOLESALER | RIT5530131 | [14 empty] | https://www.rittal.com/com-en/products/PG0002SCHRANK1/PG0039SCHRANK1/PGR10466SCHRANK1/PRO35233?variantId=5530131 | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1185217 | 1185217 |  |  |  | ERSA | M | 2700 | 1557408GZPCLNT100 | EA |  | CABINET;HUTCH,W 1800MM,H 1075,D 320 MM | ARMARIO; | CABINET;TYPE:HUTCH,SIZE:W 1800 MM,H 1075 MM, D 320 MM,MATERIAL:WOOD,ADDITIONAL FEATURES EN:SHIP SHAPE HUTCH RED,CHERRY/IRONSTONE PART NO:SHHU18.RCIR | ARMARIO; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | 1557408 | 1068167 @@ WINC AUSTRALIA PTY LTD | SHHU18.RCIR | [10 empty] | EMPIRE OFFICE FURNITURE | SHHU18.RCIR | WINC AUSTRALIA PTY LTD | 1557408 | [14 empty] | https://empirefurniture.com.au/product/ship-shape-hutch/ | [9 empty] | Enriched | 56101530 Storage cabinets | COLOR:RED CHERRY/IRONSTONE |  | CABINET | NO MODIFIER | TYPE | HUTCH,SHIP SHAPE | SIZE | 1.8 WD MX,1.075 HT MX320 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | WOOD | NUMBER OF SHELVES | 4 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DET 68449 SOA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1187205 | 1187205 |  |  |  | ERSA | M | 2700 | 1544518GZPCLNT100 | EA |  | CABINET;STOR,1010X485X2000MM,STL | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1010X485X2000MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CLR DOORS,1010X485X2000MM,ADJ SHELVES,LCKBL | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CW0D4-C | [12 empty] | CONTAIN IT SOLUTIONS | CW0D4-C | [16 empty] | https://www.containit.com.au/product/heavy-duty-storeman-storage-cupboards/ | [9 empty] | Enriched | 30161803 Domestic cupboard | ADJUSTABLE SHELVES |  | CUPBOARD | NO MODIFIER | TYPE | HEAVY DUTY,LOCKABLE,STORAGE | DIMENSIONS | 1.01 WD MX2 HT MX485 DP MM | MATERIAL | STEEL | COATING/FINISH |  | COLOUR | CLEAR DOOR | NUMBER OF DOORS | 2 | NUMBER OF SHELVES | 4 | NUMBER OF DRAWERS |  | NUMBER OF COMPARTMENTS |  | NUMBER OF HANGING RODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1187206 | 1187206 |  |  |  | ERSA | M | 2700 | 1544517GZPCLNT100 | EA |  | CABINET;STOR,900X450X1800M,STL | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:900X450X1800M,MATERIAL:STEEL,ADDITIONAL FEATURES EN:LCKBL,900X450X1800,4XADJ SHELVES | ARMARIO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CLSC-A | [14 empty] | CONTAIN IT SOLUTIONS | CLSC-A | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets | ADJUSTABLE SHELVES |  | CABINET | NO MODIFIER | TYPE | LOCKABLE,STORAGE | SIZE | 900 MMX450 MMX1.8 M | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES | 4 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | Suitable NM not found | 1188197 | 1188197 |  |  |  | ERSA | M | 4500 | 1586631GZPCLNT100 | EA |  | CABINET;VRTCL,100 MM WD,MODEL:CMS 45RU | ARMARIO; | CABINET;TYPE:VERTICAL,SIZE:100 MM WD,MATERIAL:PANELS(ALUMINIUM),ADDITIONAL FEATURES EN:CABLE MANAGEMENT,U-CHANNEL SYSTEM,MODEL: CMS 45RU,BRAND:B & R ENCLOSURES,FINGERS (PLASTIC) | ARMARIO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | B-RARVCMS45U10 | [12 empty] | B & R ENCLOSURES PTY LTD | ARVCMS45U10 | CNW (MOUNT ISA) ELECT WHOLESALER | B-RARVCMS45U10 | [14 empty] | https://www.brenclosures.com.au/products/ausrack-cable-management/ | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | CABINET | 1188358 | 1188358 |  |  |  | ERSA | M | 4090 | 1586001GZPCLNT100 | EA |  | CABINET;X2 RACK,60X23X60CM | ARMARIO; | CABINET;TYPE:X2 RACK,SIZE:60X23X60CM,MATERIAL:COLD ROLLED STEEL,ADDITIONAL FEATURES EN:PN:X2-RACK-910,MEDIUM 4RU,2RU HORIZONTAL MOUNT | ARMARIO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | X2-RACK-910 | [12 empty] | X2 SECURITY | X2-RACK-910 | CNW (MOUNT ISA) ELECT WHOLESALER | X2-RACK-910 | [14 empty] | https://x2security.com/wp-content/uploads/2018/07/X2-RACK-910-Datasheet.pdf | [9 empty] | Enriched | Network system cabinet or enclosure | NUMBER OF RACKS:4 VERTICAL MOUNT,2 HORIZONTAL MOUNT | COLOR:GLOSS BLACK | CABINET | NO MODIFIER | TYPE | MEDIUM | SIZE | 600 WDX600 HTX230 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | COLD ROLLED STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ETSI | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | MISC | 1207220 | 1207220 |  |  |  | ERSA | M | 5920 | 154820MRM | PAC |  | BADGE,IDENTIFICATION,PERSONNEL:TAG; KEY | BADGE,IDENTIFICATION,PERSONNEL:TAG; KEY | BADGE,IDENTIFICATION,PERSONNEL:TAG; KEY PLASTIC KEVRON CLEAR ID5 55 X 30MM |  |  |  |  | 1068200 @@ J.BLACKWOOD & SON LIMITED | PN1207220 | [12 empty] | KEVLOR | ID5 | J.BLACKWOOD & SON LIMITED | PN1207220 | [14 empty] | http://kevrontags.com/product/id5/ | [9 empty] | Enriched | 55121503 Identification tags |  |  | TAG | IDENTIFICATION | TYPE | BADGE,CLICK,KEY,PERSONNEL | SIZE | 55X30 MM | LEGEND |  | MATERIAL | PLASTIC | LEGEND COLOUR |  | PACKAGE QUANTITY |  | BACKGROUND COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | MISC | 1209124 | 1209124 |  |  |  | ERSA | M | 3000 | 133575MRM | EA |  | AFTERCOOLER:AFTER COOLER;ATLAS COPCO GR2 | AFTERCOOLER:AFTER COOLER;ATLAS COPCO GR2 | AFTERCOOLER:AFTER COOLER;ATLAS COPCO GR200; |  |  |  |  | 1068124 @@ ATLAS COPCO COMPRESSORS AUST | 1621 9045 00 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | PN1209124 | [10 empty] | ATLAS COPCO COMPRESSORS AUST | 1621 9045 00 |  |  | EPIROC AUSTRALIA PTY LTD | PN1209124 | [12 empty] | https://compressornow.com/online-store/air-treatment/aftercoolers/atlas-copco-aftercooler-part-1621-9045-00/ | [9 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories |  |  | COOLER | NO MODIFIER | TYPE | AFTER | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | MISC | 1210519 | 1210519 |  |  |  | ERSA | M | 4090 | 162645MRM | BAG |  | COPPER CAKE:CEZ COPPER CAKE; REAGENT; 1 | COPPER CAKE:CEZ COPPER CAKE; REAGENT; 1 | COPPER CAKE:CEZ COPPER CAKE; REAGENT; 1 BAG = 1 TONN |  |  |  |  | 9000072 @@ GLENCORE INTERNATIONAL AG | PN1210519 | [14 empty] | GLENCORE INTERNATIONAL AG | PN1210519 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12161500 Indicators and Reagents |  |  | REAGENT | NO MODIFIER | TYPE | CEZ COPPER CAKE | FORM |  | CONTAINER | 1 T BAG | CONCENTRATION |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | MISC | 1215457 | 1215457 |  |  |  | ERSA | M | 1600 | 175244MRM | EA |  | BRIDGE,RESISTANCEMEASURING;DIN;10 TO 60V | BRIDGE,RESISTANCEMEASURING;DIN;10 TO 60V | BRIDGE,RESISTANCEMEASURING;DIN;10 TO 60V;22.5MM X 117.2MMX 113.6MM;-40 TO 70DEG C;ACT20P |  |  |  |  | 1079398 @@ REXEL DARWIN | WEI1067250000 | [12 empty] | WEIDMUELLER | 1067250000 | REXEL DARWIN | WEI1067250000 | [14 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1067250000 | https://docs.rs-online.com/b074/0900766b81433256.pdf | [8 empty] | Enriched | 39121008 Signal converters | ACT20P |  | CONVERTER | SIGNAL | TYPE | RESISTANCE MEASURING BRIDGE | POWER SUPPLY | 10 TO 60 V | OUTPUT RATING |  | SIZE | 22.5 WDX117.2 HTX113.6 DP MM | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE | SCREW | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,ROHS | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ |  | 2023-10-28 |  | MISC | 1217997 | 1217997 |  |  |  | ERSA | M | 5100 | 270302MRM | EA |  | ANALYTICAL INSTRUMENT:BALANCE;OHAUS MOIS | ANALYTICAL INSTRUMENT:BALANCE;OHAUS MOIS | ANALYTICAL INSTRUMENT:BALANCE;OHAUS MOISTURE ANALYSER;MB90;HALOGEN;0.01 %/0.001 GM;40?200 ?C;120 OR 240 VAC 50/60 HZ |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | PN1217997 | [12 empty] | OHAUS | MB90 | ROWE SCIENTIFIC PTY LTD | PN1217997 | [14 empty] | https://us.ohaus.com/en-US/MB90 | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | ANALYTICAL INSTRUMENT,READABILITY MOISTURE CONTENT:0.01 PCT/0.001 GM | CAPACITY:90 G, | ANALYZER | NO MODIFIER | TYPE | BALANCE,MOISTURE,HALOGEN | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | GLP/GMP | POWER SUPPLY | 240 VAC 50/60 HZ | DISPLAY TYPE |  | INTERFACE TYPE | RS232,USB | ENCLOSURE TYPE |  | SIZE | 90 MM PAN | MOUNTING TYPE |  | TEMPERATURE RATING | 40 TO 200 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed