## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1120600 | 1120600 |  |  |  | ERSA | M | 4050 | 1528910GZPCLNT100 | EA |  | BOOK;WATER RESISTANT RITE IN ,1130-50120 | LIBRO; | BOOK;TYPE:WATER RESISTANT RITE IN ,1130-50120 | LIBRO; | [16 empty] | 1130-50120 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper |  |  | BOOK | NO MODIFIER | TYPE | WATER RESISTANT RITE IN | SIZE |  | NUMBER OF PAGES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1120601 | 1120601 |  |  |  | ERSA | M | 4050 | 1528911GZPCLNT100 | EA |  | BOOK;WATER RESISTANT RITE IN ,1130-50170 | LIBRO; | BOOK;TYPE:WATER RESISTANT RITE IN ,1130-50170 | LIBRO; | [16 empty] | 1130-50170 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper |  |  | BOOK | NO MODIFIER | TYPE | WATER RESISTANT RITE IN | SIZE |  | NUMBER OF PAGES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049684 | 1049684 |  |  |  | ERSA | M | 4005 | 1581830GZPCLNT100 | EA |  | DIE,PNCH;10MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:10MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P710 | [12 empty] | HARE & FORBES | P710 | [16 empty] | https://www.machineryhouse.com.au/p710 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 10 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049685 | 1049685 |  |  |  | ERSA | M | 4005 | 1581831GZPCLNT100 | EA |  | DIE;10.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:10.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P710A | [12 empty] | HARE & FORBES | P710A | [16 empty] | https://www.machineryhouse.com.au/p710a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 10.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049686 | 1049686 |  |  |  | ERSA | M | 4005 | 1581832GZPCLNT100 | EA |  | DIE,PNCH;12MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:12MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P712 | [12 empty] | HARE & FORBES | P712 | [16 empty] | https://www.machineryhouse.com.au/p712 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 12 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049687 | 1049687 |  |  |  | ERSA | M | 4005 | 1581833GZPCLNT100 | EA |  | DIE;12.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:12.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P712A | [12 empty] | HARE & FORBES | P712A | [16 empty] | https://www.machineryhouse.com.au/p712a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 12.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049688 | 1049688 |  |  |  | ERSA | M | 4005 | 1581834GZPCLNT100 | EA |  | DIE,PNCH;14MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:14MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P714 | [12 empty] | HARE & FORBES | P714 | [16 empty] | https://www.machineryhouse.com.au/p714 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 14 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049689 | 1049689 |  |  |  | ERSA | M | 4005 | 1581835GZPCLNT100 | EA |  | DIE;14.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:14.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P714A | [12 empty] | HARE & FORBES | P714A | [16 empty] | https://www.machineryhouse.com.au/p714a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 14.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049690 | 1049690 |  |  |  | ERSA | M | 4005 | 1581836GZPCLNT100 | EA |  | DIE,PNCH;16MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:16MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P716 | [12 empty] | HARE & FORBES | P716 | [16 empty] | https://www.machineryhouse.com.au/p716 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 16 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049691 | 1049691 |  |  |  | ERSA | M | 4005 | 1581837GZPCLNT100 | EA |  | DIE;16.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:16.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P716A | [12 empty] | HARE & FORBES | P716A | [16 empty] | https://www.machineryhouse.com.au/p716a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 16.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049692 | 1049692 |  |  |  | ERSA | M | 4005 | 1581838GZPCLNT100 | EA |  | DIE,PNCH;18MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:18MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P718 | [12 empty] | HARE & FORBES | P718 | [16 empty] | https://www.machineryhouse.com.au/p718 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 18 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049693 | 1049693 |  |  |  | ERSA | M | 4005 | 1581839GZPCLNT100 | EA |  | DIE;18.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:18.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P718A | [12 empty] | HARE & FORBES | P718A | [16 empty] | https://www.machineryhouse.com.au/p718a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 18.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049694 | 1049694 |  |  |  | ERSA | M | 4005 | 1581840GZPCLNT100 | EA |  | DIE,PNCH;20MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:20MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P720 | [12 empty] | HARE & FORBES | P720 | [16 empty] | https://www.machineryhouse.com.au/p720 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 20 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049695 | 1049695 |  |  |  | ERSA | M | 4005 | 1581841GZPCLNT100 | EA |  | DIE;20.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:20.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P720A | [12 empty] | HARE & FORBES | P720A | [16 empty] | https://www.machineryhouse.com.au/p720a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 20.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049696 | 1049696 |  |  |  | ERSA | M | 4005 | 1581842GZPCLNT100 | EA |  | DIE,PNCH;24MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:24MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P724 | [12 empty] | HARE & FORBES | P724 | [16 empty] | https://www.machineryhouse.com.au/p724 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 24 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049697 | 1049697 |  |  |  | ERSA | M | 4005 | 1581843GZPCLNT100 | EA |  | DIE;24.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:24.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P724A | [12 empty] | HARE & FORBES | P724A | [16 empty] | https://www.machineryhouse.com.au/p724a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 24.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049698 | 1049698 |  |  |  | ERSA | M | 4005 | 1581844GZPCLNT100 | EA |  | DIE,PNCH;26MM,SUNRISE RPN1 | TROQUEL PUNZON; | DIE,PUNCH;ADDITIONAL FEATURES EN:26MM,SUNRISE RPN1 | TROQUEL PUNZON; |  |  |  | 1068290 @@ HARE & FORBES | P726 | [12 empty] | HARE & FORBES | P726 | [16 empty] | https://www.machineryhouse.com.au/p726 |  |  |  | SUNRISE | RPN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 26 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1049699 | 1049699 |  |  |  | ERSA | M | 4005 | 1581845GZPCLNT100 | EA |  | DIE;26.7MM,SUNRISE RDN1 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:26.7MM,SUNRISE RDN1 | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P726A | [12 empty] | HARE & FORBES | P726A | [16 empty] | https://www.machineryhouse.com.au/p726a |  |  |  | SUNRISE | RDN1 |  |  |  |  | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE |  | CAPACITY |  | DIE SIZE | 26.7 MM DIA | SHAPE | ROUND | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1050925 | 1050925 |  |  |  | ERSA | M | 4090 | 1577940GZPCLNT100 | EA |  | DIE,THRD;1-2 IN RH,UNI H/S TINITE RIDGID | TROQUEL ROSCDO; | DIE,THREADING;ADDITIONAL FEATURES EN:1-2 IN RH,UNI H/S TINITE RIDGID BSPT | TROQUEL ROSCADO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1204355 | [12 empty] | RIDGID | 57087 | [12 empty] | J BLACKWOOD & SONS | 01204355 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/pipe-die-titanium-nitride-british-universal-die-heads-ridgid/die-uni-h-s-tinite-ridgid-bspt-1-2-rh/p/01204355 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | UNIVERSAL | NOMINAL SIZE | 1-2 IN RH | THREAD TYPE | UNI H/S TINITE BSPT | SHAPE |  | OUTSIDE DIAMETER |  | WIDTH ACROSS FLAT |  | THICKNESS | 11 TPI | MATERIAL | HIGH SPEED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | TITANIUM NITRIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1050926 | 1050926 |  |  |  | ERSA | M | 4090 | 1577941GZPCLNT100 | EA |  | DIE,THRD;1/2-3/4 IN RH,UNI H/S TINITE RI | TROQUEL ROSCDO; | DIE,THREADING;ADDITIONAL FEATURES EN:1/2-3/4 IN RH,UNI H/S TINITE RIDGID BSPT | TROQUEL ROSCADO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1204474 | [12 empty] | RIDGID | 57082 | [12 empty] | J BLACKWOOD & SONS | 01204474 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/pipe-die-titanium-nitride-british-universal-die-heads-ridgid/die-uni-h-s-tinite-ridgid-bspt-1-2-3-4rh/p/01204474 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | UNIVERSAL | NOMINAL SIZE | 1/2-3/4 IN RH | THREAD TYPE | UNI H/S TINITE BSPT | SHAPE |  | OUTSIDE DIAMETER |  | WIDTH ACROSS FLAT |  | THICKNESS | 14 TPI | MATERIAL | HIGH SPEED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | TITANIUM NITRIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1058033 | 1058033 |  |  |  | ERSA | M | 4005 | 1583823GZPCLNT100 | EA |  | DIE;HEAD UNIVERSAL RH RIDGID 811 | TROQUEL; | DIE;ADDITIONAL FEATURES EN:HEAD UNIVERSAL RH 811 | TROQUEL; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 8215208 | [12 empty] | RIDGID | 97070 | [12 empty] | J BLACKWOOD & SONS | 8215208 |  |  | https://www.blackwoods.com.au/power-tools/machinery-workshop/accessories-spares/die-head-universal-rh-ridgid-811/p/08215208 | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE HEAD | NO MODIFIER | TYPE | UNIVERSAL RH RIDGID 811 | NOMINAL SIZE |  | TPI/PITCH |  | THREAD TYPE |  | THREAD DIRECTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1070663 | 1070663 |  |  |  | ERSA | M | 1600 | 1537383GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,YURIKA,2455442 | DIE;COMPRESSION HEX CRIMP,YURIKA,2455442 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,YURIKA,2455442 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2455442 | [14 empty] | YURIKA PTY LTD | 2455442 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1102095 | 1102095 |  |  |  | ERSA | M | 4090 | 1530743GZPCLNT100 | EA |  | BRUSH;POWER,RED,M18,3,VOR-TSL-KBP-8 X 30 | BRUSH;POWER,RED,M18,3,VOR-TSL-KBP-8 X 30 | BRUSH;ADDITIONAL FEATURES:POWER,RED,M18,3,VOR-TSL-KBP-8 X 30 |  |  |  |  | 1069877 @@ KEITH PRICE | VOR-TSL-KBP-8 X 30 | [12 empty] | KEITH PRICE | VOR-TSL-KBP-8 X 30 | [16 empty] | http://www.keithprice.com.au/PowerBrushesTypeVOR-KBP.pdf | [9 empty] | Enriched | 26101404 Motor brush | COLOUR: RED, THREAD SIZE: M18X1.5 MM |  | BRUSH | CARBON | TYPE | POWER | THICKNESS |  | WIDTH |  | LENGTH | 30 MM | CONNECTION TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1102096 | 1102096 |  |  |  | ERSA | M | 4090 | 1530742GZPCLNT100 | EA |  | BRUSH;POWER,RED,M18,7,VOR-TSL-KBP-8 X 70 | BRUSH;POWER,RED,M18,7,VOR-TSL-KBP-8 X 70 | BRUSH;ADDITIONAL FEATURES:POWER,RED,M18,7,VOR-TSL-KBP-8 X 70 |  |  |  |  | 1069877 @@ KEITH PRICE | VOR-TSL-KBP-8 X 70 | [12 empty] | KEITH PRICE | VOR-TSL-KBP-8 X 70 | [16 empty] | http://www.keithprice.com.au/PowerBrushesTypeVOR-KBP.pdf | [9 empty] | Enriched | 26101404 Motor brush | COLOUR: RED, THREAD SIZE: M18X1.5 MM |  | BRUSH | CARBON | TYPE | POWER | THICKNESS |  | WIDTH |  | LENGTH | 70 MM | CONNECTION TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1102097 | 1102097 |  |  |  | ERSA | M | 4090 | 1530741GZPCLNT100 | EA |  | BRUSH;POWER,RED,M18,4,VOR-TSL-KBP-8 X 40 | BRUSH;POWER,RED,M18,4,VOR-TSL-KBP-8 X 40 | BRUSH;ADDITIONAL FEATURES:POWER,RED,M18,4,VOR-TSL-KBP-8 X 40 |  |  |  |  | 1069877 @@ KEITH PRICE | VOR-TSL-KBP-8 X 40 | [12 empty] | KEITH PRICE | VOR-TSL-KBP-8 X 40 | [16 empty] | http://www.keithprice.com.au/PowerBrushesTypeVOR-KBP.pdf | [9 empty] | Enriched | 26101404 Motor brush | COLOUR: RED, THREAD SIZE: M18X1.5 MM |  | BRUSH | CARBON | TYPE | POWER | THICKNESS |  | WIDTH |  | LENGTH | 40 MM | CONNECTION TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104005 | 1104005 |  |  |  | ERSA | M | 4005 | 1514155GZPCLNT100 | EA |  | BRUSH;CUP CRIMP 50MM X 6MM,4466103 | BRUSH;CUP CRIMP 50MM X 6MM,4466103 | BRUSH;ADDITIONAL FEATURES:CUP CRIMP 50MM X 6MM,4466103 |  |  |  |  | 1069714 @@ BLACKWOODS | 4466103 | [12 empty] | SIT | T50 | [12 empty] | BLACKWOODS | 04466103 |  |  | https://www.blackwoods.com.au/abrasives/wire-brushes/crimped-wire-brush/brush-cup-crimp-wire-mounted-50x6mm-shk/p/04466103 | [9 empty] | Enriched | 27111907 Wire brushes |  |  | BRUSH | WIRE | TYPE | CUP CRIMP | HANDLE MATERIAL | STEEL | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER | 50 MM | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE | 6 MM DIA | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104006 | 1104006 |  |  |  | ERSA | M | 4005 | 1514156GZPCLNT100 | EA |  | BRUSH;CUP CRIMP 60MM X 6MM,4208701 | BRUSH;CUP CRIMP 60MM X 6MM,4208701 | BRUSH;ADDITIONAL FEATURES:CUP CRIMP 60MM X 6MM,4208701 |  |  |  |  | 1069714 @@ BLACKWOODS | 4208701 | [12 empty] | SIT | 0654 | [12 empty] | BLACKWOODS | 04208701 |  |  | https://www.blackwoods.com.au/abrasives/wire-brushes/crimped-wire-brush/brush-cup-crimp-wire-mounted-60x6mm-shk/p/04208701 | [9 empty] | Enriched | 27111907 Wire brushes |  |  | BRUSH | WIRE | TYPE | CUP CRIMP | HANDLE MATERIAL | STEEL | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER | 60 MM | SPEED RATING | 12000 RPM | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104334 | 1104334 |  |  |  | ERSA | M | 2600 | 1508487GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,5.0MM X 0 | DIE,THREADING;DIENUT HEXAGONAL,5.0MM X 0 | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,5.0MM X 0 |  |  |  |  | 1069714 @@ BLACKWOODS | 5816202 | [12 empty] | SUTTON TOOLS | M4400500 | [12 empty] | BLACKWOODS | 05816202 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-5-0mm-x-0-80mm/p/05816202 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 5 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 18 MM | WIDTH ACROSS FLAT |  | THICKNESS | 0.8 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104335 | 1104335 |  |  |  | ERSA | M | 2600 | 1508488GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,6.0MM X 1 | DIE,THREADING;DIENUT HEXAGONAL,6.0MM X 1 | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,6.0MM X 1 |  |  |  |  | 1069714 @@ BLACKWOODS | 5816406 | [12 empty] | SUTTON TOOLS | M4400600 | [12 empty] | BLACKWOODS | 05816406 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-6-0mm-x-1-00mm/p/05816406 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 6 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 18 MM | WIDTH ACROSS FLAT |  | THICKNESS | 1 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104336 | 1104336 |  |  |  | ERSA | M | 2600 | 1508489GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,7.0MM X 1 | DIE,THREADING;DIENUT HEXAGONAL,7.0MM X 1 | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,7.0MM X 1 |  |  |  |  | 1069714 @@ BLACKWOODS | 5816503 | [12 empty] | SUTTON TOOLS | M4400700 | [12 empty] | BLACKWOODS | 05816503 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-7-0mm-x-1-00mm/p/05816503 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 7 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 18 MM | WIDTH ACROSS FLAT |  | THICKNESS | 1 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104337 | 1104337 |  |  |  | ERSA | M | 2600 | 1508490GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,10.0MM X | DIE,THREADING;DIENUT HEXAGONAL,10.0MM X | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,10.0MM X |  |  |  |  | 1069714 @@ BLACKWOODS | 5817104 | [12 empty] | SUTTON TOOLS | M4401000 | [12 empty] | BLACKWOODS | 05817104 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-10-0mm-x-1-50mm/p/05817104 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 10 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 23.5 MM | WIDTH ACROSS FLAT |  | THICKNESS | 1.5 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104338 | 1104338 |  |  |  | ERSA | M | 2600 | 1508491GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,16.0MM X | DIE,THREADING;DIENUT HEXAGONAL,16.0MM X | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,16.0MM X |  |  |  |  | 1069714 @@ BLACKWOODS | 6709907 | [12 empty] | SUTTON TOOLS | M4401600 | [12 empty] | BLACKWOODS | 06709907 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-16-0mm-x-2-00mm/p/06709907 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 16 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 33 MM | WIDTH ACROSS FLAT |  | THICKNESS | 2 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104339 | 1104339 |  |  |  | ERSA | M | 2600 | 1508492GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,20.0MM X | DIE,THREADING;DIENUT HEXAGONAL,20.0MM X | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,20.0MM X |  |  |  |  | 1069714 @@ BLACKWOODS | 5818307 | [12 empty] | SUTTON TOOLS | M4402000 | [12 empty] | BLACKWOODS | 05818307 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-20-0mm-x-2-50mm/p/05818307 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 20 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 37.5 MM | WIDTH ACROSS FLAT |  | THICKNESS | 2.5 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104340 | 1104340 |  |  |  | ERSA | M | 2600 | 1508493GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,24.0MM X | DIE,THREADING;DIENUT HEXAGONAL,24.0MM X | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,24.0MM X |  |  |  |  | 1069714 @@ BLACKWOODS | 5819306 | [12 empty] | SUTTON TOOLS | M4402400 | [12 empty] | BLACKWOODS | 05819306 |  |  | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-24-0mm-x-3-00mm/p/05819306 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 24 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 52 MM | WIDTH ACROSS FLAT |  | THICKNESS | 3 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1104341 | 1104341 |  |  |  | ERSA | M | 2600 | 1508494GZPCLNT100 | EA |  | DIE,THREADING;DIENUT HEXAGONAL,36.0MM X | DIE,THREADING;DIENUT HEXAGONAL,36.0MM X | DIE,THREADING;ADDITIONAL FEATURES:DIENUT HEXAGONAL,36.0MM X |  |  |  |  | 1069714 @@ BLACKWOODS | 5517802 | 1068652 @@ J BLACKWOOD & SONS | 5517802 | [10 empty] | SUTTON TOOLS | M4403600 | [12 empty] | BLACKWOODS | 05517802 | J BLACKWOOD & SONS | 5517802 | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/die-nut-hexagonal-carbon-steel-sutton-tools/dienut-hexagonal-36-0mm-x-4-00mm/p/05517802 | [9 empty] | Enriched | 27112805 Threading dies |  | COLOUR: STEEL | DIE | THREADING | TYPE | DIENUT HEXAGONAL | NOMINAL SIZE | 36 MM | THREAD TYPE | METRIC | SHAPE |  | OUTSIDE DIAMETER | 70 MM | WIDTH ACROSS FLAT |  | THICKNESS | 4 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | BRIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1114491 | 1114491 |  |  |  | ERSA | M | 4010 | 1571302GZPCLNT100 | EA |  | DIE,THRD;NUT,1IN NPT,11-1/2 TPI,HSS | TROQUEL ROSCDO; | DIE,THREADING;ADDITIONAL FEATURES EN:NUT,1IN NPT,11-1/2 TPI,HSS | TROQUEL ROSCADO; |  |  |  | 1068391 @@ BOSS | FH87YJJ | [10 empty] | BOSS | FH87YJJ | [18 empty] | https://www.bordo.com.au/pdf/GOLIATH_BuyersGuide_092021_ONLINE.pdf | [9 empty] | Cleansed | 27112805 Threading dies |  |  | DIE | THREADING | TYPE | NUT | NOMINAL SIZE | 1 IN NPT | THREAD TYPE |  | SHAPE |  | OUTSIDE DIAMETER |  | WIDTH ACROSS FLAT |  | THICKNESS | 11-1/2 TPI | MATERIAL | HIGH SPEED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1114492 | 1114492 |  |  |  | ERSA | M | 4010 | 1571301GZPCLNT100 | EA |  | DIE,THRD;BTN,1IN NPT,11-1/2 TPI,HSS | TROQUEL ROSCDO; | DIE,THREADING;ADDITIONAL FEATURES EN:BUTTON,1IN NPT,11-1/2 TPI,HSS | TROQUEL ROSCADO; |  |  |  | 1068391 @@ BOSS | F87YJE | [10 empty] | BOSS | F87YJE | [18 empty] | https://www.bordo.com.au/pdf/GOLIATH_BuyersGuide_092021_ONLINE.pdf | [9 empty] | Cleansed | 27112805 Threading dies |  |  | DIE | THREADING | TYPE | BUTTON | NOMINAL SIZE | 1 IN NPT | THREAD TYPE |  | SHAPE |  | OUTSIDE DIAMETER |  | WIDTH ACROSS FLAT |  | THICKNESS | 11-1/2 TPI | MATERIAL | HIGH SPEED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1120599 | 1120599 |  |  |  | ERSA | M | 4050 | 1528909GZPCLNT100 | EA |  | BOOK;WATER RESISTANT RITE IN ,1130-00100 | LIBRO; | BOOK;TYPE:WATER RESISTANT RITE IN ,1130-00100 | LIBRO; |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1528909 | [11 empty] | 1130-00100 |  |  | WESTERNEX PTY LTD | 1528909 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper |  |  | BOOK | NO MODIFIER | TYPE | WATER RESISTANT RITE IN | SIZE |  | NUMBER OF PAGES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145217 | 1145217 |  |  |  | ERSA | M | 1600 | 1536853GZPCLNT100 | EA |  | BRUSH;WIRE,CU,BLACK ,YURIKA,1811177 | BRUSH;WIRE,CU,BLACK ,YURIKA,1811177 | BRUSH;ADDITIONAL FEATURES:WIRE,CU,BLACK ,YURIKA,1811177 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 1811177 | [10 empty] | YURIKA | 1811177 |  |  | YURIKA PTY LTD | 1811177 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111907 Wire brushes | COLOUR: BLACK |  | BRUSH | WIRE | TYPE |  | HANDLE MATERIAL | COPPER | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145218 | 1145218 |  |  |  | ERSA | M | 1600 | 1536852GZPCLNT100 | EA |  | BRUSH;WIRE,AL,WHITE ,YURIKA,1811169 | BRUSH;WIRE,AL,WHITE ,YURIKA,1811169 | BRUSH;ADDITIONAL FEATURES:WIRE,AL,WHITE ,YURIKA,1811169 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 1811169 | [10 empty] | YURIKA | 1811169 |  |  | YURIKA PTY LTD | 1811169 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111907 Wire brushes | COLOUR: WHITE |  | BRUSH | WIRE | TYPE |  | HANDLE MATERIAL | ALLUMINIUM | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145619 | 1145619 |  |  |  | ERSA | M | 1600 | 1536321GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,,YURIKA,105449 | DIE;COMPRESSION HEX CRIMP,,YURIKA,105449 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,,YURIKA,105449 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105449 | [14 empty] | YURIKA PTY LTD | 105449 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145620 | 1145620 |  |  |  | ERSA | M | 1600 | 1536320GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,,YURIKA,105448 | DIE;COMPRESSION HEX CRIMP,,YURIKA,105448 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,,YURIKA,105448 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105448 | [14 empty] | YURIKA PTY LTD | 105448 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145621 | 1145621 |  |  |  | ERSA | M | 1600 | 1536319GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,,YURIKA,105447 | DIE;COMPRESSION HEX CRIMP,,YURIKA,105447 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,,YURIKA,105447 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105447 | [14 empty] | YURIKA PTY LTD | 105447 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145622 | 1145622 |  |  |  | ERSA | M | 1600 | 1536318GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,,YURIKA,105445 | DIE;COMPRESSION HEX CRIMP,,YURIKA,105445 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,,YURIKA,105445 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 105445 | [14 empty] | YURIKA PTY LTD | 105445 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145661 | 1145661 |  |  |  | ERSA | M | 1600 | 1536277GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,,YURIKA,104619 | DIE;COMPRESSION HEX CRIMP,,YURIKA,104619 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,,YURIKA,104619 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104619 | [14 empty] | YURIKA PTY LTD | 104619 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145884 | 1145884 |  |  |  | ERSA | M | 1600 | 1537404GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,YURIKA,2458891 | DIE;COMPRESSION HEX CRIMP,YURIKA,2458891 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,YURIKA,2458891 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2458891 | [14 empty] | YURIKA PTY LTD | 2458891 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145944 | 1145944 |  |  |  | ERSA | M | 1600 | 1537198GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,YURIKA,2421477 | DIE;COMPRESSION HEX CRIMP,YURIKA,2421477 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,YURIKA,2421477 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2421477 | [14 empty] | YURIKA PTY LTD | 2421477 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1145945 | 1145945 |  |  |  | ERSA | M | 1600 | 1537197GZPCLNT100 | EA |  | DIE;COMPRESSION HEX CRIMP,YURIKA,2421469 | DIE;COMPRESSION HEX CRIMP,YURIKA,2421469 | DIE;ADDITIONAL FEATURES:COMPRESSION HEX CRIMP,YURIKA,2421469 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2421469 | [14 empty] | YURIKA PTY LTD | 2421469 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23251800 Metal forming dies and tooling |  |  | DIE | NO MODIFIER | TYPE | COMPRESSION HEX CRIMP | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146930 | 1146930 |  |  |  | ERSA | M | 4005 | 1531653GZPCLNT100 | EA |  | DIE,PNCH;23.2 X 41.2MM SLOTTED,P6213 | DIE,PNCH;23.2 X 41.2MM SLOTTED,P6213 | DIE,PNCH;ADDITIONAL FEATURES:23.2 X 41.2MM SLOTTED,P6213 |  |  |  |  | 1068290 @@ HARE & FORBES | P6213 | [12 empty] | HARE & FORBES | P6213 | [16 empty] | https://www.machineryhouse.com.au/p6213 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 41.2 LGX23.2 WD MM SLOT HOLE,80 ODX40 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146931 | 1146931 |  |  |  | ERSA | M | 4005 | 1531652GZPCLNT100 | EA |  | DIE,PNCH;22 X 40MM SLOTTED,P6211 | DIE,PNCH;22 X 40MM SLOTTED,P6211 | DIE,PNCH;ADDITIONAL FEATURES:22 X 40MM SLOTTED,P6211 |  |  |  |  | 1068290 @@ HARE & FORBES | P6211 | [12 empty] | HARE & FORBES | P6211 | [16 empty] | https://www.machineryhouse.com.au/p6211 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 40 DIAX20 LG MM SLOT HOLE,40 DIAX70 LG MM PUNCH | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146932 | 1146932 |  |  |  | ERSA | M | 4005 | 1531651GZPCLNT100 | EA |  | DIE,PNCH;20.7X30.7MM SLOTTED,P6186 | DIE,PNCH;20.7X30.7MM SLOTTED,P6186 | DIE,PNCH;ADDITIONAL FEATURES:20.7X30.7MM SLOTTED,P6186 |  |  |  |  | 1068290 @@ HARE & FORBES | P6186 | [12 empty] | HARE & FORBES | P6186 | [16 empty] | https://www.machineryhouse.com.au/p6186 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 30.7 LGX 20.7 WD MM SLOT HOLE,45 ODX22.5 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146933 | 1146933 |  |  |  | ERSA | M | 4005 | 1531650GZPCLNT100 | EA |  | DIE,PNCH;20 X 30MM SLOTTED,P6185 | DIE,PNCH;20 X 30MM SLOTTED,P6185 | DIE,PNCH;ADDITIONAL FEATURES:20 X 30MM SLOTTED,P6185 |  |  |  |  | 1068290 @@ HARE & FORBES | P6185 | [12 empty] | HARE & FORBES | P6185 | [16 empty] | https://www.machineryhouse.com.au/p6185 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 30 LGX20 WD MM SLOT HOLE, 30 DIAX70 LG MM PUNCH | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146934 | 1146934 |  |  |  | ERSA | M | 4005 | 1531649GZPCLNT100 | EA |  | DIE,PNCH;16.7 X 25.7MM SLOTTED,P6126 | DIE,PNCH;16.7 X 25.7MM SLOTTED,P6126 | DIE,PNCH;ADDITIONAL FEATURES:16.7 X 25.7MM SLOTTED,P6126 |  |  |  |  | 1068290 @@ HARE & FORBES | P6126 | [12 empty] | HARE & FORBES | P6126 | [16 empty] | https://www.machineryhouse.com.au/p6126 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 25.7 LGX16.7 WD MM SLOT HOLE,45 ODX22.5 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146935 | 1146935 |  |  |  | ERSA | M | 4005 | 1531648GZPCLNT100 | EA |  | DIE,PNCH;16 X 25MM SLOTTED PUNCH,P6125 | DIE,PNCH;16 X 25MM SLOTTED PUNCH,P6125 | DIE,PNCH;ADDITIONAL FEATURES:16 X 25MM SLOTTED PUNCH,P6125 |  |  |  |  | 1068290 @@ HARE & FORBES | P6125 | [12 empty] | HARE & FORBES | P6125 | [16 empty] | https://www.machineryhouse.com.au/p6125 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 25 LGX16 WD MM,30 DIAX70 LG MM PUNCH | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146936 | 1146936 |  |  |  | ERSA | M | 4005 | 1531647GZPCLNT100 | EA |  | DIE,PNCH;12.7 X 20.7 MM SLOTTED,P6062 | DIE,PNCH;12.7 X 20.7 MM SLOTTED,P6062 | DIE,PNCH;ADDITIONAL FEATURES:12.7 X 20.7 MM SLOTTED,P6062 |  |  |  |  | 1068290 @@ HARE & FORBES | P6062 | [12 empty] | HARE & FORBES | P6062 | [16 empty] | https://www.machineryhouse.com.au/p6062 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20.7 LGX12.7 WD MM SLOT HOLE,45 ODX22.5 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146937 | 1146937 |  |  |  | ERSA | M | 4005 | 1531646GZPCLNT100 | EA |  | DIE,PNCH;12 X 20MM SLOTTED,P6061 | DIE,PNCH;12 X 20MM SLOTTED,P6061 | DIE,PNCH;ADDITIONAL FEATURES:12 X 20MM SLOTTED,P6061 |  |  |  |  | 1068290 @@ HARE & FORBES | P6061 | [12 empty] | HARE & FORBES | P6061 | [16 empty] | https://www.machineryhouse.com.au/p6061 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20 LGX12 WD MM SLOT HOLE,30 DIAX70 LG MM PUNCH | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146938 | 1146938 |  |  |  | ERSA | M | 4005 | 1531645GZPCLNT100 | EA |  | DIE,PNCH;10.7 X 20.7MM SLOTTED,P6026 | DIE,PNCH;10.7 X 20.7MM SLOTTED,P6026 | DIE,PNCH;ADDITIONAL FEATURES:10.7 X 20.7MM SLOTTED,P6026 |  |  |  |  | 1068290 @@ HARE & FORBES | P6026 | [12 empty] | HARE & FORBES | P6026 | [16 empty] | https://www.machineryhouse.com.au/p6026 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20.7 LGX10.7 WD MM SLOT HOLE,45 ODX22.5 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146939 | 1146939 |  |  |  | ERSA | M | 4005 | 1531644GZPCLNT100 | EA |  | DIE,PNCH;10 X 20MM SLOTTED,P6025 | DIE,PNCH;10 X 20MM SLOTTED,P6025 | DIE,PNCH;ADDITIONAL FEATURES:10 X 20MM SLOTTED,P6025 |  |  |  |  | 1068290 @@ HARE & FORBES | P6025 | [12 empty] | HARE & FORBES | P6025 | [16 empty] | https://www.machineryhouse.com.au/p6025 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20 LGX10 WD MM SLOT HOLE,30 DIAX70 LG MM PUNCH | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146940 | 1146940 |  |  |  | ERSA | M | 4005 | 1531643GZPCLNT100 | EA |  | DIE,PNCH;8.7 X 20.7MM SLOTTED,P6006 | DIE,PNCH;8.7 X 20.7MM SLOTTED,P6006 | DIE,PNCH;ADDITIONAL FEATURES:8.7 X 20.7MM SLOTTED,P6006 |  |  |  |  | 1068290 @@ HARE & FORBES | P6006 | [12 empty] | HARE & FORBES | P6006 | [16 empty] | https://www.machineryhouse.com.au/p6006 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20.7 LGX8.7 WD MM SLOT HOLE,45 ODX22.5 HT MM DIE | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1146941 | 1146941 |  |  |  | ERSA | M | 4005 | 1531642GZPCLNT100 | EA |  | DIE,PNCH;8 X 20MM SLOTTED,P6005 | DIE,PNCH;8 X 20MM SLOTTED,P6005 | DIE,PNCH;ADDITIONAL FEATURES:8 X 20MM SLOTTED,P6005 |  |  |  |  | 1068290 @@ HARE & FORBES | P6005 | [12 empty] | HARE & FORBES | P6005 | [16 empty] | https://www.machineryhouse.com.au/p6005 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 20 LGX8 WD MM SLOT HOLE,30 DIAX70 LG MM | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1147821 | 1147821 |  |  |  | ERSA | M | 4005 | 1495010GZPCLNT100 | EA |  | BRUSH;WIRE HAND STEEL WELDERS,722004 | BRUSH;WIRE HAND STEEL WELDERS,722004 | BRUSH;ADDITIONAL FEATURES:WIRE HAND STEEL WELDERS,722004 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 722004 | [12 empty] | ATOM SUPPLY | 722004 | [16 empty] | https://www.atom.com.au/wire-brush-hand-steel-welders-722004 | [9 empty] | Enriched | 27111907 Wire brushes |  | NUMBER OF ROWS: 4 | BRUSH | WIRE | TYPE |  | HANDLE MATERIAL | HAND STEEL WELDERS | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1148580 | 1148580 |  |  |  | ERSA | M | 2700 | 1505917GZPCLNT100 | EA |  | BRUSH;686961 | BRUSH;686961 | BRUSH;ADDITIONAL FEATURES:686961 |  |  |  |  | 1069714 @@ BLACKWOODS | 1505917 | [11 empty] | 686961 | [14 empty] | BLACKWOODS | 01505917 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 27113000 Brushes |  |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1149321 | 1149321 |  |  |  | ERSA | M | 4200 | 1527676GZPCLNT100 | EA |  | BRUSH,LAB;TEST TUBE,HB1950 | BRUSH,LAB;TEST TUBE,HB1950 | BRUSH,LAB;ADDITIONAL FEATURES:TEST TUBE,HB1950 |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | HB1950 | [12 empty] | ROWE SCIENTIFIC PTY LTD | HB1950 | [16 empty] | https://www.rowe.com.au/rowe/Product_Add_To_Cart.htm?cms%2Erm=SearchAllPage&search=true&searchField=HB1950 | [9 empty] | Enriched | 41103200 Laboratory washing and cleaning equipment |  |  | BRUSH | LAB | TYPE | TEST TUBE | SIZE | 26 DIAX80 LGX300 MM | MATERIAL |  | HANDLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1149980 | 1149980 |  |  |  | ERSA | M | 2620 | 1530662GZPCLNT100 | EA |  | BRUSH,WIRE;125MM,KNOT,WIRE CUP,43740112 | BRUSH,WIRE;125MM,KNOT,WIRE CUP,43740112 | BRUSH,WIRE;ADDITIONAL FEATURES:125MM,KNOT,WIRE CUP,43740112 |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | 43740112 | [10 empty] | WELDERS PRO SHOP |  | PFERD | 43740112 | [16 empty] | https://www.atom.com.au/brush-cup-wire-steel-twist-knot-125mm-x-14mm-universal-pferd-40009476 | https://www.aimsindustrial.com.au/pferd-cup-brush-twist-knot-steel-wire-125mm-0.50-f | [8 empty] | Enriched | 27111907 Wire brushes |  | THREAD SIZE: M12X2 | BRUSH | WIRE | TYPE | KNOT,WIRE CUP | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER | 125 MM | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1154976 | 1154976 |  |  |  | ERSA | M | 4005 | 1495011GZPCLNT100 | EA |  | BRUSH;WIRE HAND STAINLESS S,715002 | BRUSH;WIRE HAND STAINLESS S,715002 | BRUSH;ADDITIONAL FEATURES:WIRE HAND STAINLESS S,715002 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 715002 | [12 empty] | ATOM SUPPLY | 715002 | [16 empty] | https://www.atom.com.au/brush-wire-hand-stainless-steel-4-row-wood-handle-715002 | [9 empty] | Enriched | 27111907 Wire brushes |  | NUMBER OF ROWS: 4 | BRUSH | WIRE | TYPE |  | HANDLE MATERIAL | HAND STAINLESS STEEL | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1181246 | 1181246 |  |  |  | ERSA | M | 4005 | 1567927GZPCLNT100 | EA |  | DIE;SLTD,22.7X40.7MM | TROQUEL; | DIE;ADDITIONAL FEATURES EN:SLOTTED,22.7X40.7MM | TROQUEL; |  |  |  | 1068290 @@ HARE & FORBES | P6212 | [12 empty] | HARE & FORBES | P6212 | [16 empty] | https://www.machineryhouse.com.au/p6212 | [9 empty] | Enriched | 23251810 Stamping die |  |  | DIE | PUNCH | TYPE | SLOTTED | CAPACITY |  | DIE SIZE | 40.7 LGX22.7 WD MM SLOT HOLE,60 ODX32 HT MM | SHAPE | SQUARE | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1188018 | 1188018 |  |  |  | ERSA | M | 4020 | 1605402GZPCLNT100 | PAC |  | BRUSH,CARBN;LG 13 MM,STL,2 PKT | ESCOBILLA CARB;LG | BRUSH,CARBON;LENGTH:13 MM,ADDITIONAL FEATURES EN:STEEL,2 PKT,2.615.044.2AC,BRAND: DREMEL,MODEL: 442 | ESCOBILLA CARBON; |  |  |  | 1068502 @@ ATOM SUPPLY | 428731 | [14 empty] | ATOM SUPPLY | 428731 | [14 empty] | URL NOT FOUND |  |  |  | DREMEL | 442 |  |  |  |  | Cleansed | 26101404 Motor brush | STEEL,2 PKT,2.615.044.2AC |  | BRUSH | CARBON | TYPE |  | THICKNESS |  | WIDTH |  | LENGTH | 13 MM | CONNECTION TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1188752 | 1188752 |  |  |  | ERSA | M | 1600 | 1576767GZPCLNT100 | EA | 3000422 | BUTTON;CNW,EAT10250T5B63-1X,PUSH/PULL | BOTON;CNW,EAT10250T5B63-1X | BUTTON;MNFR:CNW,PTNO:EAT10250T5B63-1X,ADDITIONAL FEATURES EN:PUSH/PULL NA ESTOP 1NO 1NC | BOTON;MNFR:CNW,PTNO:EAT10250T5B63-1X |  | CNW | EAT10250T5B63-1X | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T5B63-1X | [10 empty] | CNW | EAT10250T5B63-1X | EATON | 10250T5B63-1X | CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T5B63-1X | [14 empty] | https://www.eaton.com/ecm/idcplg?IdcService=GET_FILE&allowInterrupt=1&RevisionSelectionMethod=LatestReleased&Rendition=Primary&dDocName=CA08100001K_TAB37 | [9 empty] | Enriched | 39122216 Push button switch |  | DEGREE OF PROTECTION: NEMA 4,12,3,4X,13,3R | SWITCH | PUSHBUTTON | TYPE | PUSH/PULL NA ESTOP | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 1NO/1NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | RED | SIZE | 40 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1188753 | 1188753 |  |  |  | ERSA | M | 1600 | 1576766GZPCLNT100 | EA | 3000422 | BUTTON;CNW,EAT10250T30R,PUSH,RED | BOTON;CNW,EAT10250T30R | BUTTON;MNFR:CNW,PTNO:EAT10250T30R,ADDITIONAL FEATURES EN:PUSH,RED OPERATOR W/NO NO CONT | BOTON;MNFR:CNW,PTNO:EAT10250T30R |  | CNW | EAT10250T30R | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T30R | [10 empty] | CNW | EAT10250T30R | EATON | 10250T30R | CNW (MOUNT ISA) ELECT WHOLESALER | EAT10250T30R | [14 empty] | https://www.eaton.com/ecm/idcplg?IdcService=GET_FILE&allowInterrupt=1&RevisionSelectionMethod=LatestReleased&Rendition=Primary&dDocName=CA08100001K_TAB37 | [9 empty] | Enriched | 39122216 Push button switch |  | DEGREE OF PROTECTION: NEMA 4,12,3,4X,13,3R | SWITCH | PUSHBUTTON | TYPE | MUSHROOM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 1NO/1NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | RED | SIZE | 30.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1189368 | 1189368 |  |  |  | ERSA | M | 1600 | 1576004GZPCLNT100 | EA | 3000422 | BUTTON;CNW,EATE34PB6,PUSH E34,FLUSH CORR | BOTON;CNW,EATE34PB6 | BUTTON;MNFR:CNW,PTNO:EATE34PB6,ADDITIONAL FEATURES EN:PUSH E34,FLUSH CORROSION RESIST BLUE | BOTON;MNFR:CNW,PTNO:EATE34PB6 |  | CNW | EATE34PB6 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EATE34PB6 | [10 empty] | CNW | EATE34PB6 | EATON | E34PB6 | CNW (MOUNT ISA) ELECT WHOLESALER | EATE34PB6 | [14 empty] | https://www.eaton.com/ecm/idcplg?IdcService=GET_FILE&allowInterrupt=1&RevisionSelectionMethod=LatestReleased&Rendition=Primary&dDocName=CA08100001K_TAB37 | [9 empty] | Enriched | 39122216 Push button switch |  | DEGREE OF PROTECTION: NEMA 4,12,3,4X,13,3R | SWITCH | PUSHBUTTON | TYPE | CORROSION RESIST | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE | FLUSH | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC | COLOUR | BLUE | SIZE | 30.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190400 | 1190400 |  |  |  | ERSA | M | 2700 | 1574659GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE S/TAKE,DETONATORS,MSH | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE S/TAKE,DETONATORS,MSHD FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330141 | [14 empty] | STEEJO PRESS | 330141 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | MSHD FORM |  | BOOK | RECORD | TYPE | MAGAZINE S/TAKE,DETONATORS | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190401 | 1190401 |  |  |  | ERSA | M | 2700 | 1574658GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE STOCK,ENDURADET FRM | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE STOCK,ENDURADET FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330140 | [14 empty] | STEEJO PRESS | 330140 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | ENDURADET FORM |  | BOOK | RECORD | TYPE | MAGAZINE STOCK | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190402 | 1190402 |  |  |  | ERSA | M | 2700 | 1574657GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE S/TAKE,DETONATORS | LIBRO REGIS; | BOOK,RECORD;TYPE:MAGAZINE S/TAKE,ADDITIONAL FEATURES EN:DETONATORS,45/60M LP FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330122 | [14 empty] | STEEJO PRESS | 330122 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | DETONATORS,45/60M LP FRM |  | BOOK | RECORD | TYPE | MAGAZINE S/TAKE | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190403 | 1190403 |  |  |  | ERSA | M | 2700 | 1574656GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE STOCK,DETONATORS,45/6 | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE STOCK,DETONATORS,45/60M LP FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330121 | [14 empty] | STEEJO PRESS | 330121 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | DETONATORS,45/60M LP FORM |  | BOOK | RECORD | TYPE | MAGAZINE STOCK | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190405 | 1190405 |  |  |  | ERSA | M | 2700 | 1574654GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE S/TAKE,DETONATORS,END | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE S/TAKE,DETONATORS,ENDURADET FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330114 | [14 empty] | STEEJO PRESS | 330114 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | DETONATORS,ENDURADET FORM |  | BOOK | RECORD | TYPE | MAGAZINE S/TAKE | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190406 | 1190406 |  |  |  | ERSA | M | 2700 | 1574653GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE S/TAKE,EXPLOSIVES FRM | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE S/TAKE,EXPLOSIVES FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330113 | [14 empty] | STEEJO PRESS | 330113 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | EXPLOSIVES FORM |  | BOOK | RECORD | TYPE | MAGAZINE S/TAKE | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190407 | 1190407 |  |  |  | ERSA | M | 2700 | 1574652GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE STOCK,DETONATORS,6MLP | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE STOCK,DETONATORS,6MLP FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330112 | [14 empty] | STEEJO PRESS | 330112 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | DETONATORS,6MLP FORM |  | BOOK | RECORD | TYPE | MAGAZINE STOCK | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190408 | 1190408 |  |  |  | ERSA | M | 2700 | 1574651GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE STOCK,DETONATORS MSHD | LIBRO REGIS; | BOOK,RECORD;ADDITIONAL FEATURES EN:MAGAZINE STOCK,DETONATORS MSHD FRM | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330111 | [14 empty] | STEEJO PRESS | 330111 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | DETONATORS MSHD FORM |  | BOOK | RECORD | TYPE | MAGAZINE STOCK | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1190409 | 1190409 |  |  |  | ERSA | M | 2700 | 1574650GZPCLNT100 | EA |  | BOOK,RECD;MAGAZINE EXPLOSIVES | LIBRO REGIS; | BOOK,RECORD;TYPE:MAGAZINE EXPLOSIVES | LIBRO REGISTRO; |  |  |  | 1068482 @@ STEEJO PRESS | 330110 | [14 empty] | STEEJO PRESS | 330110 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper |  |  | BOOK | RECORD | TYPE | MAGAZINE EXPLOSIVES | SIZE |  | NUMBER OF PAGES |  | PAGE COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PEH | OK | 2023-10-28 | 11/9/2023 |  | 1203924 | 1203924 |  |  |  | ERSA | M | 4050 | 148095MRM | EA |  | BOOK,RECORD:TRIPLICATE PAGES WHITE, BLUE | BOOK,RECORD:TRIPLICATE PAGES WHITE, BLUE | BOOK,RECORD:TRIPLICATE PAGES WHITE, BLUE, YELLOW. 148MM X 210MM.1/4 BOUND AND TAPED IN BLACKBOOKS OF 50.STANDING ARTWORK.BLACK INKONE SIDE ONLY;LV PRE-START BOOK; |  |  |  |  | 1078739 @@ COLEMANS INK PTY LTD | PN1203924 | [14 empty] | COLEMANS INK PTY LTD | PN1203924 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 14111500 Printing and writing paper | 1/4 BOUND AND TAPED IN BLACKBOOKS OF 50.STANDING ARTWORK.BLACK INKONE SIDE ONLY;LV PRE-START BOOK |  | BOOK | RECORD | TYPE | TRIPLICATE | SIZE | 148X210MM | NUMBER OF PAGES |  | PAGE COLOUR | WHITE, BLUE, YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed