## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1065598 | 1065598 | 1460790 | AU_QM_002543804 |  | ERSA | M | 1600 | 1460790GZPCLNT100 | EA |  | ASSEMBLED,WIRED TESTED | ASSEMBLED,WIRED TESTED | SEMICONDUCTOR DEVICE,THYRISTOR: ASSEMBLED,WIRED AND TESTED |  | SEMICONDUCTOR DEVICE,THYRISTOR: ASSEMBLED,WIRED & TESTED | [44 empty] | Cleansed | 32111702 Thyristors | ASSEMBLED,WIRED AND TESTED |  | THYRISTOR | NO MODIFIER | TYPE | SEMICONDUCTOR DEVICE | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | CONFLICT IN DESC,PROCESSED BASED ON WEBSOURCE | 1035584 | 1035584 | 1428885 | AU_QM_000544791 |  | ERSA | M | 1825 | 1428885GZPCLNT100 | M |  | CAT SEAL STRIP;9.5MM;ADHESIVE BACKED; | CAT SEAL STRIP;9.5MM;ADHESIVE BACKED; | RUBBER STRIP: CAT SEAL STRIP;9.5MM;ADHESIVE BACKED; |  | RUBBER STRIP: CAT SEAL STRIP;9.5MM;ADHESIVE BACKED; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1428885 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P9119 | [10 empty] | CATERPILLAR | 5P-9119 | CNW (MOUNT ISA) ELECT WHOLESALER | 1428885 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/5P-9119 | [9 empty] | Enriched | 30266501 Rubber strip |  |  | STRIP | NO MODIFIER | TYPE | SEALANT,ADHESIVE BACKED | SIZE | 1.5 LG MX11.7 WDX3 HT MM | MATERIAL | EXPANDED PTFE | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1036253 | 1036253 | 1476399 | AU_QM_001070580 |  | ERSA | M | 2920 | 1476399GZPCLNT100 | CAR |  | DRANO DRAIN CLEANER CRYSTALS;500G PKT; | DRANO DRAIN CLEANER CRYSTALS;500G PKT; |  |  | CLEANER:DRANO DRAIN CLEANER CRYSTALS;500G PKT; |  |  | 1068502 @@ ATOM SUPPLY | 90280023 | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 374108 | [11 empty] | 3096636 | BUNNINGS WAREHOUSE MT ISA | 374108 | DRANO | [9 empty] | ATOM SUPPLY | 90280023 |  |  | https://www.atom.com.au/cleaner-drain-powder-500g-90280023 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:DRAIN CLEAN |  | CLEANER | NO MODIFIER | TYPE | CRYSTALS | CONTAINER | 500 G PACKET | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1036535 | 1036535 |  |  |  | ERSA | M | 4600 | 1530746GZPCLNT100 | DR |  | CLEANER;COMPRESSOR,ZOK 27 | CLEANER;COMPRESSOR,ZOK 27 | CLEANER;ADDITIONAL FEATURES:COMPRESSOR,ZOK 27 |  |  |  |  | 1068419 @@ EUREKA WATER & FILTRATION | ZOK 27 | [13 empty] | ZOK 27 | EUREKA WATER & FILTRATION | [15 empty] | https://solidus.industries/product/zok-27-gas-turbine-compressor-cleaner/ | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | GAS TURBINE COMPRESSOR | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1036635 | 1036635 |  |  |  | ERSA | M | 4020 | 1539388GZPCLNT100 | BT |  | CLEANER;TOILET,5LTR,86745865 | CLEANER;TOILET,5LTR,86745865 | CLEANER;ADDITIONAL FEATURES:TOILET,5LTR,86745865 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 86745865 | [12 empty] | WINC AUSTRALIA PTY LTD | 86745865 | [16 empty] | https://www.winc.com.au/main-catalogue-productdetail/cleera-toilet-cleaner-sandalwood-scented-5l/86745865 | [9 empty] | Enriched | 47131829 Toilet cleaners |  |  | CLEANER | NO MODIFIER | TYPE | TOILET | CONTAINER | 5 L BOTTLE | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1036915 | 1036915 | 1409134 | AU_QM_000254318 |  | ERSA | M | 1500 | 1409134GZPCLNT100 | M |  | CAT ANTI SKID COATING;152.4MM W; | CAT ANTI SKID COATING;152.4MM W; | TREAD,NONSKID: CAT ANTI SKID COATING;152.4MM W; |  | TREAD,NONSKID:CAT ANTI SKID COATING;152.4MM W; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1409134 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P5896 | [10 empty] | CATERPILLAR | 5P-5896 | CNW (MOUNT ISA) ELECT WHOLESALER | 1409134 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/5P-5896 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SIZE:152.4 MM WD |  | COATING | PROTECTIVE | TYPE | NON/ANTI-SKID,TREAD | CONTAINER |  | COMPOSITION |  | VISCOSITY |  | DRYING TIME |  | DRY TEMPERATURE |  | FLASH POINT |  | SHELF LIFE |  | MSDS NUMBER |  | TEMPERATURE RATING |  | COLOR |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1036989 | 1036989 |  |  |  | ERSA | M | 5380 | 1515163GZPCLNT100 | L |  | CLEANER;KEROSENE BLUE,200L,16-04-12045 | CLEANER;KEROSENE BLUE,200L,16-04-12045 | CLEANER;ADDITIONAL FEATURES:KEROSENE BLUE,200L,16-04-12045 |  |  |  |  | 1069821 @@ MINEHAN AGENCIES PTY LTD | 16-04-12045 | [14 empty] | MINEHAN AGENCIES PTY LTD | 16-04-12045 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | COLOUR:KEROSENE BLUE |  | CLEANER | NO MODIFIER | TYPE |  | CONTAINER | 200 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1037048 | 1037048 | 1476179 | AU_QM_000664102 |  | ERSA | M | 1540 | 1476179GZPCLNT100 | PAC |  | 10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER | 10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER |  |  | RIVET,SOLID:10G X 3/8"LG,FLAT HEAD,COPPER,C/W WASHER |  |  | 1068093 @@ BLACKWOODS & SONS | 1476179 | 1068652 @@ J BLACKWOOD & SONS | 1476179 | [24 empty] | BLACKWOODS & SONS | 01476179 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 31162200 Rivets | C/W WASHER,SIZE:10G |  | RIVET | NO MODIFIER | TYPE | SOLID | RIVET DIAMETER |  | RIVET LENGTH | 3/8 IN | GRIP RANGE |  | MATERIAL | COPPER | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEAD TYPE | FLAT | HEAD DIAMETER |  | HEAD THICKNESS |  | RECOMMENDED HOLE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | NM BASED ON WEB SOURCE | 1051358 | 1051358 |  |  |  | ERSA | M | 4090 | 1583474GZPCLNT100 | EA |  | CLEANER;BOOT STATION,2P JETS | LIMPIADOR; | CLEANER;TYPE:BOOT STATION,CONTAINER:,ADDITIONAL FEATURES EN:2P JETS | LIMPIADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1725436 | [12 empty] | EAST WEST ENGINEERING | SWS2PW | [12 empty] | J BLACKWOOD & SONS | 01725436 |  |  | https://www.blackwoods.com.au/manual-handling-storage/site-equipment/boot-cleaners/east-west-engineering-sws2pw-boot-cleaning-station-2p-jets/p/01725436 | https://www.eastwesteng.com.au/sws | [8 empty] | Enriched | 47121800 Cleaning equipment | NO OF PERSON:2,JETS |  | STATION | CLEANING | TYPE | BOOT | SIZE | 1.2 MX500 MMX1.08 M | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1051573 | 1051573 |  |  |  | ERSA | M | 1600 | 1577458GZPCLNT100 | EA |  | COMPRESSOR,REFRG;UP170 24V B 135MM VOR | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:UP170 24V B 135MM VOR A/C | COMPRESOR REFRIGERACION; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXU5425 | 1068087 @@ ASHDOWN INGRAM | [11 empty] | ASHDOWN INGRAM | CXU5425 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | Cleansed | 40151607 Refrigerant compressors | FITTING:VOR,SERIES:UP170,PULLEY SECTION:B,CLUTCH DIAMETER:135 MM |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1051908 | 1051908 |  |  |  | ERSA | M | 4005 | 1578346GZPCLNT100 | EA |  | CLEANER;FLEXIBLE SHAFT TUBE,6.4 MM X 5 M | LIMPIADOR; | CLEANER;TYPE:FLEXIBLE SHAFT TUBE,CONTAINER:,ADDITIONAL FEATURES EN:6.4 MM X 5 M | LIMPIADOR; |  |  |  | 1068869 @@ REFPRO PTY LTD | SKUFS 64-5 | [14 empty] | REFPRO PTY LTD | SKUFS 64-5 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47121900 Cleaning equipment accessories | SIZE:6.4 MMX5 M |  | CLEANER | NO MODIFIER | TYPE | FLEXIBLE SHAFT TUBE | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | NM BASED ON WEB SOURCE | 1052365 | 1052365 |  |  |  | ERSA | M | 4005 | 1583567GZPCLNT100 | EA |  | CLEANER;PRESS,KARCHER K4,1.324-421.0 | LIMPIADOR; | CLEANER;TYPE:PRESSURE,CONTAINER:,ADDITIONAL FEATURES EN:KARCHER K4,1.324-421.0 | LIMPIADOR; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1.324-421.0 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1.324-421.0 | [16 empty] | https://www.bunnings.com.au/karcher-k4-premium-power-control-high-pressure-washer_p0362056 | [9 empty] | Enriched | 47121800 Cleaning equipment | BRAND:KARCHER K4 |  | WASHER | PRESSURE CLEANING | TYPE |  | FLOW RATE |  | PRESSURE RATING | 2100 PSI | ELECTRICAL RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1052786 | 1052786 |  |  |  | ERSA | M | 5955 | 1577324GZPCLNT100 | EA |  | COMPRESSOR;MITS FUSO CANTER,CXD6418 | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:MITS FUSO CANTER,CXD6418 | COMPRESOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXD6418 | [13 empty] | CXD6418 | ASHDOWN ENTERPRISES | [15 empty] | https://www.repco.com.au/parts-service/climate-control/compressors/denso-air-conditioning-compressor-12v-direct-mount-10s15c-cxd6418/p/A5361373?search=car |  |  | FUSO CANTER | MITSUBISHI | [5 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 12 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1052827 | 1052827 |  |  |  | ERSA | M | 5955 | 1577785GZPCLNT100 | EA |  | COMPRESSOR;SD7H15 24V 1B 146MM EM VOR | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:SD7H15 24V 1B 146MM EM VOR | COMPRESOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXS8034 | [12 empty] | ASHDOWN ENTERPRISES | CXS8034 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | https://www.repco.com.au/parts-service/climate-control/compressors/sanden-air-conditioning-compressor-24v-ear-mount-sd7h15-cxs8034/p/A9332268 | [8 empty] | Enriched | 40151607 Refrigerant compressors | SERIES:SD7H15,PULLEY SECTION:1B,CLUTCH DIAMETER:146 MM,EM VOR |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1053520 | 1053520 |  |  |  | ERSA | M | 4020 | 1573772GZPCLNT100 | EA |  | CLEANER;JURA,BOTL,MILK SYSTEM | LIMPIADOR; | CLEANER;TYPE:JURA,CONTAINER:BOTTLE,ADDITIONAL FEATURES EN:MILK SYSTEM,MINI TABS 90G | LIMPIADOR; |  |  |  | 1068493 @@ HARVEY NORMAN AV/IT TOWNSVILLE | 7610917241583 | [13 empty] | 7610917241583 | HARVEY NORMAN AV/IT TOWNSVILLE | [15 empty] | https://www.descaler.co.uk/milk-system-cleaner-mini-tabs-90-g.html | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:JURA,MILK SYSTEM |  | CLEANER | NO MODIFIER | TYPE | MILK SYSTEM | CONTAINER | 90 G MINI TABS BOTTLE | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1053634 | 1053634 |  |  |  | ERSA | M | 5000 | 1577756GZPCLNT100 | EA |  | COMPRESSOR,REFRG;CSH7553-50Y-45P BITZER | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:CSH7553-50Y-45P BITZER SCRE | COMPRESOR REFRIGERACION; |  |  |  | 1068869 @@ REFPRO PTY LTD | J06-078 | [12 empty] | BITZER | CSH7553-50Y-45P | REFPRO PTY LTD | J06-078 | [14 empty] | https://mfmref.com/en/bitzer-screw/2421-csh7553-50y-bitzer-screw-compressor-for-r513a.html | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | SCREW | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE | 1.353 LG MX572 WDX572 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1053654 | 1053654 |  |  |  | ERSA | M | 4015 | 1578379GZPCLNT100 | EA |  | COMPRESSOR;24V,DIRECT MOUNT SD7H15,SANDE | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:24V,DIRECT MOUNT SD7H15,SANDEN AIR CONDITONING | COMPRESOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXS8144A | [12 empty] | ASHDOWN ENTERPRISES | CXS8144A | SANDEN | [15 empty] | https://ceabible.netlify.app/Crossover.pdf | https://www.repco.com.au/parts-service/climate-control/compressors/sanden-air-conditioning-compressor-24v-direct-mount-sd7h15-cxs8144a/p/A5361388 | [8 empty] | Cleansed | 40151607 Refrigerant compressors | MOUNT TYPE:DIRECT,SERIES:SD7H15 |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1054342 | 1054342 |  |  |  | ERSA | M | 4075 | 1605136GZPCLNT100 | EA |  | CLEANER;PRIMING FLUID,500ML,ATOMIK | LIMPIADOR; | CLEANER;TYPE:PRIMING FLUID,CONTAINER:500ML,ADDITIONAL FEATURES EN:ATOMIK,COLOUR:CLEAR | LIMPIADOR; |  |  |  | 1068155 @@ REECE PTY LTD | 1903904 | [12 empty] | REECE PTY LTD | 1903904 | [16 empty] | https://www.reece.com.au/product/atomik-priming-fluid-pvc-clear-500ml-1903904 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:ATOMIK,COLOUR:CLEAR |  | CLEANER | NO MODIFIER | TYPE | PRIMING FLUID | CONTAINER | 500 ML | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1054478 | 1054478 |  |  |  | ERSA | M | 4020 | 1584143GZPCLNT100 | EA |  | CLEANER;WNDW,25CM,WSHR,SPIKED MICROFIBRE | LIMPIADOR; | CLEANER;TYPE:WINDOW,CONTAINER:25CM,ADDITIONAL FEATURES EN:WASHER,SPIKED MICROFIBRE | LIMPIADOR; |  |  |  | 1068502 @@ ATOM SUPPLY | 525116 | [26 empty] | ATOM SUPPLY | 525116 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 47121900 Cleaning equipment accessories |  |  | CLEANER | NO MODIFIER | TYPE | WINDOW,WASHER,SPIKED MICROFIBRE | CONTAINER | 25 CM | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1055181 | 1055181 |  |  |  | ERSA | M | 4065 | 1614268GZPCLNT100 | EA |  | CLEANER;MINERAL TURPENTINE,4 L,DIGGERS | LIMPIADOR; | CLEANER;TYPE:MINERAL TURPENTINE,CONTAINER:4 L,ADDITIONAL FEATURES EN:DIGGERS | LIMPIADOR; |  |  |  | 1070073 @@ DULUX TRADE CENTRE TOWNSVILLE | N2020372 | [14 empty] | DULUX TRADE CENTRE TOWNSVILLE | N2020372 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:DIGGERS |  | CLEANER | NO MODIFIER | TYPE | MINERAL TURPENTINE | CONTAINER | 4 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1055583 | 1055583 |  |  |  | ERSA | M | 5380 | 1586239GZPCLNT100 | EA |  | CLEANER;BATTERY MAINTENANCE,300G,AEROSOL | LIMPIADOR; | CLEANER;TYPE:BATTERY MAINTENANCE,CONTAINER:300G,FORM:AEROSOL,ADDITIONAL FEATURES EN:REMOVAL OF ELECTROLYTES,DIRT AND MOISTURE FROM BATTERY TERMINALS | LIMPIADOR; |  |  |  | 1068502 @@ ATOM SUPPLY | 1317031 | [13 empty] | 5097 | [12 empty] | ATOM SUPPLY | 1317031 |  |  | https://www.atom.com.au/battery-maintenance-cleaner-aerosol-300g-1317031 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | REMOVAL OF ELECTROLYTES,DIRT AND MOISTURE FROM BATTERY TERMINALS |  | CLEANER | NO MODIFIER | TYPE | BATTERY MAINTENANCE | CONTAINER | 300 G AEROSOL | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1055888 | 1055888 |  |  |  | ERSA | M | 4020 | 1609410GZPCLNT100 | EA |  | CLEANER;HAND & BODY WASH,LIQ,20 L | LIMPIADOR; | CLEANER;TYPE:HAND & BODY WASH,LIQUID,CONTAINER:20 L,ADDITIONAL FEATURES EN:BRAND:WASH UP | LIMPIADOR; |  |  |  | 1068391 @@ BOSS | WASH20 | [14 empty] | BOSS | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 53131627 Hand cleaner | BRAND:WASH20 |  | CLEANER | HAND | TYPE | HAND AND BODY WASH | CONTAINER | 20 L | FRAGRANCE |  | FORM | LIQUID | TRADE NAME |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1056108 | 1056108 |  |  |  | ERSA | M | 4020 | 1585668GZPCLNT100 | EA |  | CLEANER;VINYL REJUVENATOR,5L,SEPTONE | LIMPIADOR; | CLEANER;TYPE:VINYL REJUVENATOR,CONTAINER:5L,ADDITIONAL FEATURES EN:SEPTONE | LIMPIADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 281826 | [10 empty] | SEPTONE |  | SEPTONE | AVVS5 | [12 empty] | J BLACKWOOD & SONS | 00281826 |  |  | https://www.blackwoods.com.au/automotive/car-care/leather-vinyl-protection/cleaner-vinyl-shine-septone-5-litres/p/00281826 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | VINYL REJUVENATOR | CONTAINER | 5 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1056367 | 1056367 |  |  |  | ERSA | M | 5920 | 1608324GZPCLNT100 | EA |  | COMPRESSOR;AIR CONDITIONER | COMPRESOR;AIRE ACONDICIONADO | COMPRESSOR;TYPE:AIR CONDITIONER,ADDITIONAL FEATURES EN:COMP ISU FX FZR GIGA 2001,PART NUMBER:4472205071 | COMPRESOR;TIPO:AIRE ACONDICIONADO |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXD6384 | 1068087 @@ ASHDOWN INGRAM | 1608324 | [8 empty] | ISUZU | 4472205071 |  | CXD6384 | ASHDOWN ENTERPRISES | 1608324 | [14 empty] | https://www.repco.com.au/parts-service/climate-control/compressors/denso-air-conditioning-compressor-24v-direct-mount-10s15c-cxd6384/p/A5359369?search=car | [9 empty] | Enriched | 40151607 Refrigerant compressors | FX FZR GIGA 2001 |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1056780 | 1056780 |  |  |  | ERSA | M | 2920 | 1615622GZPCLNT100 | EA |  | CLEANER,GLS;FIBER,19 L,LIQUID,CONCNTRT | LIMPIADOR CRISTLS;,EL LIQUIDO | CLEANER,GLASS;TYPE:FIBER,CONTAINER:19 L,FORM:LIQUID,ADDITIONAL FEATURES EN:CONCENTRATE,POLYWATER | LIMPIADOR CRISTALES;MOLDE:EL LIQUIDO |  |  |  | 1068236 @@ THE ENERGY NETWORK AUSTRALIA PTY LT | FGW-640 | [12 empty] | THE ENERGY NETWORK AUSTRALIA PTY LT | FGW-640 | [16 empty] | https://www.tengroup.com.au/products/FGW-640 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:POLYWATER |  | CLEANER | NO MODIFIER | TYPE | FIBER GLASS,CONCENTRATE | CONTAINER | 19 L | FORM | LIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1056819 | 1056819 |  |  |  | ERSA | M | 4020 | 1615801GZPCLNT100 | EA |  | CLEANER;ULTRASONIC 240V CLEANER,30 L | LIMPIADOR; | CLEANER;TYPE:ULTRASONIC 240V CLEANER,CONTAINER:30 L | LIMPIADOR; |  |  |  | 1068715 @@ A MANS TOYSHOP - TOWNSVILLE | UCHD30L | [14 empty] | A MANS TOYSHOP - TOWNSVILLE | UCHD30L | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47121800 Cleaning equipment | VOLTAGE RATING:240 V |  | CLEANER | NO MODIFIER | TYPE | ULTRASONIC | CONTAINER | 30 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057321 | 1057321 |  |  |  | ERSA | M | 2920 | 1542822GZPCLNT100 | EA |  | CLEANER,GLS;BOTL,TRIG | LIMPIADOR CRISTLS; | CLEANER,GLASS;CONTAINER:BOTTLE,ADDITIONAL FEATURES EN:TRIGGER | LIMPIADOR CRISTALES; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 9792416 | 1068093 @@ BLACKWOODS & SONS | 9792416 | [10 empty] | WINDEX | 318217 | [12 empty] | J BLACKWOOD & SONS | 09792416 |  |  | https://www.blackwoods.com.au/hygiene-cleaning/cleaning-chemicals/glass-cleaners-windex/cleaner-glass-window-windex-trig-750ml/p/09792416 | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | TRIGGER,GLASS | CONTAINER | BOTTLE | FORM | LIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057586 | 1057586 |  |  |  | ERSA | M | 3020 | 1605266GZPCLNT100 | EA |  | COMPRESSOR;AIR,24 V,25LX28WX20H CM | COMPRESOR;AIRE,24 V | COMPRESSOR;TYPE:AIR,ELECTRICAL RATING:24 V,SIZE:25LX28WX20H CM,ADDITIONAL FEATURES EN:PULLEY SECTION:8 GROOVE,SERIES:10PA17C, CLUTCH DIAMETER:145 MM,COMPRESSOR MOUNTING,COMPRESSOR MOUNTING:DIRECT MOUNT,BRAND:OEX | COMPRESOR;TIPO:AIRE,VALOR ELECTRICO:24 V |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXD0041 | [13 empty] | CXD0041 | ASHDOWN ENTERPRISES | [15 empty] | https://www.repco.com.au/en/parts-service/climate-control/compressors/oex-air-conditioning-compressor-24v-direct-mount-denso-10pa17c-style-cxd0041/p/A5342399 | [9 empty] | Cleansed | 40151607 Refrigerant compressors | PULLEY SECTION:8 GROOVE,SERIES:10PA17C,CLUTCH DIAMETER:145 MM,MOUNTING TYPE:DIRECT,BRAND:OEX |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE | 25 LGX28 WDX20 HT CM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057825 | 1057825 |  |  |  | ERSA | M | 5700 | 1561841GZPCLNT100 | EA |  | CLEANER;CONVR,N/A,B15-10-003C-SS02 | LIMPIADOR; | CLEANER;TYPE:CONVEYOR,CONTAINER:N/A,ADDITIONAL FEATURES EN:TUNGSTEN,CUSTOM,CST,R 0750 BW,B15-10-003C-SS02 | LIMPIADOR; |  |  |  | 1071882 @@ ContiTech Australia Pty Ltd | 1561841 | [14 empty] | ContiTech Australia Pty Ltd | 1561841 |  | B15-10-003C-SS02 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | TUNGSTEN,CUSTOM,R 0750 BW |  | CLEANER | NO MODIFIER | TYPE | CONVEYOR | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057826 | 1057826 |  |  |  | ERSA | M | 5700 | 1561842GZPCLNT100 | EA |  | CLEANER;CONVR,N/A,B15-23-003ST | LIMPIADOR; | CLEANER;TYPE:CONVEYOR,CONTAINER:N/A,ADDITIONAL FEATURES EN:RTRCTBL SPRING,TENS SPRAY,R 750 SD,B15-23-003ST | LIMPIADOR; |  |  |  | 1071882 @@ ContiTech Australia Pty Ltd | 1561842 | [14 empty] | ContiTech Australia Pty Ltd | 1561842 |  | B15-23-003ST | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | RTRCTBL SPRING,TENS SPRAY,R 750 SD |  | CLEANER | NO MODIFIER | TYPE | CONVEYOR | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057863 | 1057863 |  |  |  | ERSA | M | 4020 | 1562177GZPCLNT100 | EA |  | CLEANER;SPRY,BOTL | LIMPIADOR; | CLEANER;TYPE:SPRAY,CONTAINER:BOTTLE,ADDITIONAL FEATURES EN:GENERAL PURPOSE,12X750ML,SO SAFE SPRAY AWAY | LIMPIADOR; |  |  |  | 1068928 @@ SO-SAFE SPECIALTY PRODUCTS | 1562177 | [14 empty] | SO-SAFE SPECIALTY PRODUCTS | 1562177 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | PACKAGE QUANTITY:12,GENERAL PURPOSE |  | CLEANER | NO MODIFIER | TYPE | SPRAY AWAY | CONTAINER | 750 ML BOTTLE | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057864 | 1057864 |  |  |  | ERSA | M | 4020 | 1562178GZPCLNT100 | EA |  | CLEANER;DGRSER,DRM,25L,HVYDTY | LIMPIADOR; | CLEANER;TYPE:DEGREASER,CONTAINER:DRUM,ADDITIONAL FEATURES EN:25L,HEAVY DUTY,SO SAFE SPRAY AWAY | LIMPIADOR; |  |  |  | 1068928 @@ SO-SAFE SPECIALTY PRODUCTS | 1562178 | [14 empty] | SO-SAFE SPECIALTY PRODUCTS | 1562178 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | DEGREASER,HEAVY DUTY,SPRAY AWAY | CONTAINER | 25 L DRUM | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057865 | 1057865 |  |  |  | ERSA | M | 4020 | 1562179GZPCLNT100 | EA |  | CLEANER;DGRSER,DRM,25L,PH BOOSTED | LIMPIADOR; | CLEANER;TYPE:DEGREASER,CONTAINER:DRUM,ADDITIONAL FEATURES EN:25L,PH BOOSTED,SO SAFE SPRAY AWAY | LIMPIADOR; |  |  |  | 1068928 @@ SO-SAFE SPECIALTY PRODUCTS | 1562179 | [14 empty] | SO-SAFE SPECIALTY PRODUCTS | 1562179 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | DEGREASER,PH BOOSTED,SPRAY AWAY | CONTAINER | 25 L DRUM | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1057908 | 1057908 |  |  |  | ERSA | M | 3020 | 1588367GZPCLNT100 | EA |  | COMPRESSOR;AIR CONDITIONER,12 V | COMPRESOR;AIRE ACONDICIONADO,12 V | COMPRESSOR;TYPE:AIR CONDITIONER,ELECTRICAL RATING:12 V,SIZE:DIA 152MM,GAUGELINE 39.55MM,OIL CAPACITY 285ML,ADDITIONAL FEATURES EN: SERIES:SD7H1,HORIZONTAL TUBE O RING,EAR MOUNT | COMPRESOR;TIPO:AIRE ACONDICIONADO,VALOR ELECTRICO:12 V |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXS4478 | [12 empty] | ASHDOWN ENTERPRISES | CXS4478 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | https://www.repco.com.au/parts-service/climate-control/compressors/sanden-air-conditioning-compressor-12v-ear-mount-sd7h15-cxs4478/p/A9431665 | [8 empty] | Cleansed | 40151607 Refrigerant compressors | CLUTCH DIAMETER:152 MM,GAUGE LINE:39.55 MM,OIL CAPACITY:285 ML,SERIES:SD7H1,FITTING TYPE:HORIZONTAL TUBE O RING,MOUNT TYPE:EAR MOUNT |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 12 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1058461 | 1058461 |  |  |  | ERSA | M | 3020 | 1608559GZPCLNT100 | EA |  | COMPRESSOR,REFRG;12V,DIA 137MM,OIL 100ML | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:12V,DIA 137MM,OIL 100ML | COMPRESOR REFRIGERACION; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | CXD6103 | [12 empty] | ASHDOWN ENTERPRISES | CXD6103 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | https://www.repco.com.au/parts-service/climate-control/compressors/denso-air-conditioning-compressor-12v-direct-mount-10pa15c-cxd6103/p/A9332012 | [8 empty] | Enriched | 40151607 Refrigerant compressors | CLUTCH DIAMETER:137 MM,OIL CAPACITY:100 ML |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 12 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | CONFLICT WITH DESC AND PART NO , CHECK | 1058717 | 1058717 |  |  |  | ERSA | M | 4020 | 1584260GZPCLNT100 | EA |  | CLEANER;MOULD KILLER,750 ML BOTTLE,SPRY | LIMPIADOR; | CLEANER;TYPE:MOULD KILLER,CONTAINER:750 ML BOTTLE,ADDITIONAL FEATURES EN:SPRAY | LIMPIADOR; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 59099 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPISOC315PG | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 59099 | CNW (MOUNT ISA) ELECT WHOLESALER | NHPISOC315PG | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | MOULD KILLER,SPRAY | CONTAINER | 750 ML BOTTLE | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1059331 | 1059331 |  |  |  | ERSA | M | 4020 | 1613683GZPCLNT100 | EA |  | CLEANER;DRAIN-O-FLUSH,1L,MINEHANS | LIMPIADOR; | CLEANER;TYPE:DRAIN-O-FLUSH,CONTAINER:1L,ADDITIONAL FEATURES EN:MINEHANS,12 EACH MINIMUM ORDER | LIMPIADOR; |  |  |  | 1069821 @@ MINEHAN AGENCIES PTY LTD | 16-02-0986 | [11 empty] | MINEHAN AGENCIES PTY LTD | 16-02-0986 | [17 empty] | https://minehanagencies.com.au/index.php?id_product=450&controller=product | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | MINEHANS,12 EACH MINIMUM ORDER |  | CLEANER | NO MODIFIER | TYPE | DRAIN-O-FLUSH | CONTAINER | 1 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | NM BASED ON WEB SOURCE | 1059927 | 1059927 |  |  |  | ERSA | M | 4065 | 1607794GZPCLNT100 | L |  | CLEANER;PRIME,4 LITER,LIQUID,SEPTONE | LIMPIADOR;EL LIQUIDO | CLEANER;TYPE:PRIME,CONTAINER:4 LITER,FORM:LIQUID,ADDITIONAL FEATURES EN:SEPTONE | LIMPIADOR;MOLDE:EL LIQUIDO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 5297088 | [12 empty] | SEPTONE | AURC4 | [12 empty] | J BLACKWOOD & SONS | 05297088 |  |  | https://www.blackwoods.com.au/paints-marking-spray-equipment/multi-surface-coatings/rust-treatment-septone/rust-prime-septone-4-ltr/p/05297088 | http://www.septone.com.au/product/l/rust-prime-4l | [8 empty] | Enriched | 31211509 Enamel primers |  |  | PRIMER | NO MODIFIER | TYPE | LIQUID,RUST CONVERTER | CONTAINER | 4 L | COVERAGE AREA |  | DRYING TIME |  | COLOUR | WHITE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1060019 | 1060019 |  |  |  | ERSA | M | 3020 | 1613582GZPCLNT100 | EA |  | COMPRESSOR;AIR CONDITIONER,UNICLA,24V,2A | COMPRESOR;AIRE ACONDICIONADO | COMPRESSOR;TYPE:AIR CONDITIONER,ADDITIONAL FEATURES EN:UNICLA,24V,2A,CLUTCH DIAMETER:132 MM,MOUNTING TYPE:EAR MOUNT,FITTING TYPE: HORIZONTAL O-RING,SERIES:170,OIL CAPACITY:150 ML | COMPRESOR;TIPO:AIRE ACONDICIONADO |  |  |  | 1068087 @@ ASHDOWN INGRAM | CXU5465 | [10 empty] | UNICLA |  | ASHDOWN INGRAM | CXU5465 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | https://www.repco.com.au/parts-service/climate-control/compressors/unicla-air-conditioning-compressor-24v-ear-mount-up170-cxu5465/p/A9609975?search=comp | [8 empty] | Cleansed | 40151607 Refrigerant compressors | CURRENT RATING:2 A,CLUTCH DIAMETER:132 MM,MOUNTING TYPE:EAR,FITTING TYPE: HORIZONTAL O-RING,SERIES:170,OIL CAPACITY:150 ML |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1060460 | 1060460 |  |  |  | ERSA | M | 5955 | 1522813GZPCLNT100 | EA |  | COMPRESSOR,REFRG;BOMAG,57253525 | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:BOMAG,57253525 | COMPRESOR REFRIGERACION; |  |  |  | 1071029 @@ TUTT BRYANT HIRE PTY LTD | 57253525 | [12 empty] | BOMAG | 57253525 | TUTT BRYANT HIRE PTY LTD | [15 empty] | https://stores.dhsequipmentparts.com/bomag-compressor-part-57253525/ | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1062135 | 1062135 |  |  |  | ERSA | M | 1600 | 1583275GZPCLNT100 | EA |  | COMPRESSOR;PORTBL,240V,340LPM,15A,3.5HP | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:PORTABLE,240V,340LPM,15A,3.5HP 12CFM,15)PEERLES P20 HIGH FLOW | COMPRESOR; |  |  |  | 1068391 @@ BOSS | 7 | [12 empty] | PEERLES | 7 | BOSS | [15 empty] | https://goind.com.au/products/peerless-air-compressor-single-phase-high-flow-p20-fatboy | [9 empty] | Enriched | 40151600 Compressors | SERIRS:P20 |  | COMPRESSOR | NO MODIFIER | TYPE | PORTABLE,HIGH FLOW | POWER RATING | 3.5 HP | FLOW RATING | 340 LPM,12 CFM | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING | 240 V,15 A | DRIVE DETAILS |  | SPEED RATING |  | SIZE | 1.3 LG MX400 WDX830 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1062893 | 1062893 | 1445247 | AU_QM_001009125 |  | ERSA | M | 1600 | 1445247GZPCLNT100 | EA |  | BUTTON-TYPE (LESS LEADS) | BUTTON-TYPE (LESS LEADS) | SEMICONDUCTOR DEVICE,THYRISTOR: BUTTON-TYPE (LESS LEADS) |  | SEMICONDUCTOR DEVICE,THYRISTOR: BUTTON-TYPE (LESS LEADS) |  |  | 1068113 @@ SIEMENS LTD | N726352 | 1069400 @@ SIEMENS LTD. | N726352 | [11 empty] | N726352 | SIEMENS LTD | [15 empty] | https://www.3jindustry.com/products/n-726352-n726352-eupec-n7-thyristor | [9 empty] | Cleansed | 32111702 Thyristors | LESS LEADS,DEVICE |  | THYRISTOR | NO MODIFIER | TYPE | SEMICONDUCTOR,BUTTON | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1063541 | 1063541 | 1426379 | AU_QM_000380048 |  | ERSA | M | 5100 | 1426379GZPCLNT100 | EA |  | EARTH LEAKAGE;MICROPROCESSOR CONTROLLED | EARTH LEAKAGE;MICROPROCESSOR CONTROLLED | TESTER,CURRENT: EARTH LEAKAGE;MICROPROCESSOR CONTROLLED RCD TESTER;(NOTE:SUITABLE FOR 240V GPO TEST AND 1000MA TEST ON U/G SUBS;NOT |  | TESTER,CURRENT: EARTH LEAKAGE;MICROPROCESSOR CONTROLLED |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 493 | [13 empty] | 493 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.ideal.co.nz/nzi/Category/Tools-Instruments/Earthing-Resistance-Leakage-or-Insulation/Spark-E-Mate-493-Multi-Tester/p/CLI493 | [9 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | NOTE:SUITABLE FOR 240V GPO TEST AND 1000MA TEST ON U/G SUBS |  | TESTER | NO MODIFIER | TYPE | CURRENT,EARTH LEAKAGE,MICROPROCESSOR CONTROLLED RCD | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1064061 | 1064061 | 1350093 | AU_QM_000132214 |  | ERSA | M | 5920 | 1350093GZPCLNT100 | EA |  | CORE;LANDCRUISER; | CORE;LANDCRUISER; | RADIATOR,ENGINE: CORE;LANDCRUISER; |  | RADIATOR,ENGINE:CORE;LANDCRUISER; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1350093 | [14 empty] | BELL & MOIR - PARTS ORDERS ONLY | 1350093 | [14 empty] | URL NOT FOUND |  |  | LANDCRUISER | [6 empty] | Cleansed | 40101801 Radiators |  |  | RADIATOR | NO MODIFIER | TYPE | ENGINE,CORE | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1064481 | 1064481 | 1442378 | AU_QM_000995655 |  | ERSA | M | 4900 | 1442378GZPCLNT100 | EA |  | CASTING LADLE CHAIN ASSY; | CASTING LADLE CHAIN ASSY; | SLING,MULTIPLE LEG: CASTING LADLE CHAIN ASSY; 13MM X 2.4M;3 LEG;ALLOY,GDE 80 CHAIN; C/W SLING HOOKS;TESTED/CERTIFIED AND OBSOLETE |  | SLING,MULTIPLE LEG: CASTING LADLE CHAIN ASSY; |  |  | 1068408 @@ BULLIVANTS PTY LTD | WSG-MIM-690248 | [14 empty] | BULLIVANTS PTY LTD | WSG-MIM-690248 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101611 Slings | C/W SLING HOOKS,TESTED/CERTIFIED AND OBSOLETE |  | SLING | CHAIN | TYPE | MULTIPLE LEG,CASTING LADLE | SIZE | 13 MM DIA | SLING LENGTH | 2.4 M | NUMBER OF LEGS | 3 | LOAD RATING |  | END TYPE |  | MATERIAL | ALLOY | GRADE | GRADE 80 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1064483 | 1064483 | 1442382 | AU_QM_000995660 |  | ERSA | M | 4900 | 1442382GZPCLNT100 | EA |  | ANODE FURNACE INTERMED.4-LEG LAUNDER | ANODE FURNACE INTERMED.4-LEG LAUNDER | SLING,MULTIPLE LEG: ANODE FURNACE INTERMED.4-LEG LAUNDER CHAIN ASSY;13MM X 2M LG;GRANIT HOOKS; STAMPED ANODE FURNACE A34 INTERMEDIATE OBSOLETE |  | SLING,MULTIPLE LEG: ANODE FURNACE INTERMED.4-LEG LAUNDER |  |  | 1068408 @@ BULLIVANTS PTY LTD | WSG-MIM-712570 | [14 empty] | BULLIVANTS PTY LTD | WSG-MIM-712570 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101611 Slings | ANODE FURNACE INTERMED,LAUNDER CHAIN ASSEMBLY,FOR STAMPED ANODE FURNACE A34 INTERMEDIATE OBSOLETE |  | SLING | CHAIN | TYPE | MULTIPLE LEG,GRANIT HOOKS | SIZE | 13 MM DIA | SLING LENGTH | 2 M | NUMBER OF LEGS | 4 | LOAD RATING |  | END TYPE |  | MATERIAL |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 | NM BASED ON WEB SOURCE | 1065904 | 1065904 | 1367945 | AU_QM_000171635 |  | ERSA | M | 3020 | 1367945GZPCLNT100 | EA |  | BOOSTER;EPIROC SIMBA;SAFETY VALVE;2271+ | BOOSTER;EPIROC SIMBA;SAFETY VALVE;2271+ | COMPRESSOR: BOOSTER;EPIROC SIMBA;SAFETY VALVE;2271+ |  | COMPRESSOR: BOOSTER;EPIROC SIMBA;SAFETY VALVE;2271+ |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 830100776 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 830100776 | [16 empty] | https://www.aircompressorstrade.com/collection/8152005958-atlas-copco-compressor-for-epiroc-machine/ | [9 empty] | Cleansed | 40141604 Safety valves | FOR COMPRESSOR,BOOSTER,SIMBA,2271+ |  | VALVE | SAFETY | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE RANGE |  | ACTUATION TYPE |  | BODY MATERIAL |  | TRIM MATERIAL |  | SOFTGOODS |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1067296 | 1067296 | 1351324 | AU_QM_000135746 |  | ERSA | M | 3600 | 1351324GZPCLNT100 | EA |  | 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; | 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; | TYRE,PNEUMATIC: 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; |  | TYRE,PNEUMATIC: 1400 X 24;VCHSZ;;ATLAS COPCO M2D DRILL; |  |  | 1068174 @@ BRIDGESTONE MINING SOLUTIONS | ORR01371 | [12 empty] | BRIDGESTONE MINING SOLUTIONS | VCHSZ |  | ORR01371 | [14 empty] | https://www.tyresales.com.au/otr/buy/tyre/bridgestone/vchsz/14.00-0r24/108933 |  |  | DRILL | ATLAS COPCO | M2D |  |  |  |  | Cleansed | 25172500 Tires and tire tubes |  |  | TYRE | NO MODIFIER | TYPE | PNEUMATIC | PATTERN |  | PLY RATING |  | SIZE | 14.00R24 | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1067300 | 1067300 | 1425764 | AU_QM_000358286 |  | ERSA | M | 4090 | 1425764GZPCLNT100 | EA |  | 5L BOTTLE;C/W PUMP; | 5L BOTTLE;C/W PUMP; | HAND CLEANER: 5L BOTTLE;C/W PUMP; |  | HAND CLEANER: 5L BOTTLE;C/W PUMP; |  |  | 1068502 @@ ATOM SUPPLY | 90120016 | 1070020 @@ POLO CITRUS AUSTRALIA PTY LTD | 3072005 / 3074000 | 1068200 @@ J.BLACKWOOD & SON LIMITED | 4928865 | [10 empty] | POLO CITRUS AUSTRALIA PTY LTD | 3072005 |  | 3074000 | [8 empty] | ATOM SUPPLY | 90120016 | J.BLACKWOOD & SON LIMITED | 4928865 | https://www.atom.com.au/orange-scrub-hand-cleaner-5l-90120016 | [9 empty] | Cleansed | 53131627 Hand cleaner | C/W PUMP |  | CLEANER | HAND | TYPE |  | CONTAINER | 5 L BOTTLE | FRAGRANCE |  | FORM |  | TRADE NAME |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1067667 | 1067667 | 1463183 | AU_QM_004708915 |  | ERSA | M | 4005 | 1463183GZPCLNT100 | EA |  | CHUCK (WIRELINE) | CHUCK (WIRELINE) | SPANNER: CHUCK (WIRELINE) |  | SPANNER:CHUCK (WIRELINE) |  |  | 1068617 @@ BOART LONGYEAR PTY LTD | 142-52 | [14 empty] | BOART LONGYEAR PTY LTD | 142-52 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111726 Spanner wrenches | WIRELINE |  | WRENCH | SPANNER | TYPE | CHUCK | HEAD SIZE |  | CAPACITY |  | HEAD THICKNESS |  | PIN SIZE |  | OVERALL LENGTH |  | HOOK SIZE |  | MATERIAL |  | COATING/FINISH |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1068284 | 1068284 | 1452320 | AU_QM_001186584 |  | ERSA | M | 5810 | 1452320GZPCLNT100 | EA |  | BELT TENSIONER; | BELT TENSIONER; | TENSIONER ASSY: BELT TENSIONER; |  | TENSIONER ASSY: BELT TENSIONER; |  |  | 1068211 @@ PENSKE POWER SYSTEMS | 9062002070 | [13 empty] | 9062002070 | PENSKE POWER SYSTEMS | [15 empty] | https://www.basparts.com/nowy/febi-napinacz_pasa-BP0522849 | [9 empty] | Enriched | 26111805 Belt tensioners | ASSEMBLY |  | TENSIONER | BELT | TYPE |  | BELT NUMBER |  | FORCE RANGE |  | DIAMETER |  | MOUNTING HOLE SIZE |  | WIDTH | 11 CM | MATERIAL |  | LENGTH | 16 CM | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1068546 | 1068546 | 1427547 | AU_QM_000468876 |  | ERSA | M | 1600 | 1427547GZPCLNT100 | EA |  | 10MM TAB,4-6MM2 CABLE,YELLOW INSULATION, | 10MM TAB,4-6MM2 CABLE,YELLOW INSULATION, | TERMINAL,LUG: 10MM TAB,4-6MM2 CABLE,YELLOW INSULATION, RING TERMINAL,DOUBLE GRIP |  | TERMINAL,LUG: 10MM TAB,4-6MM2 CABLE,YELLOW INSULATION, |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABRT5.5-10DG | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | UTIH2853A/50 | [10 empty] | CABAC | RT5.5-10DG | CNW (MOUNT ISA) ELECT WHOLESALER |  | LAWRENCE & HANSON PTY. LTD. | UTIH2853A/50 | [12 empty] | https://www.cabac.com.au/p/electrical-power-connectivity/terminals/pre-insulated-terminals/rt5-5-10dg | https://www.jrt.com.au/ajt/category/Wiring-Accessories/Terminal-Block/Solderless-copper-terminals-for-copper-conductors/TERMINAL-RING-DOUBLE-GRIP-2-5-6-0MM2-10MM-HOLE-YELLOW-%28PKT-25%29/CABRT5-5-10DG/p/10079242 | [8 empty] | Enriched | 39121400 Electrical lugs plugs and connectors | CABLE SIZE:4 TO 6 MM2,INSULATION COLOUR:YELLOW,TAB |  | LUG | TERMINAL | TYPE | RING,DOUBLE GRIP | INSULATION TYPE |  | CONDUCTOR SIZE |  | HOLE DIAMETER | 10 MM | STUD SIZE |  | CONNECTION TYPE |  | MATERIAL | COPPER | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1071004 | 1071004 | 1453836 | AU_QM_001220110 |  | ERSA | M | 3000 | 1453836GZPCLNT100 | EA | 3000012 | COMPRESSOR,REFRG;24 V | COMPRESSOR,REFRG;24 V | COMPRESSOR,REFRIGERATION;VOLTAGE RATING:24 V,ADDITIONAL FEATURES EN:COMPLETE WITH HEAD DRIVE UNIT,MNFR:TOYOTA,PTNO:BKS8085,MNFR: 01)BELLMOIR,PTNO:01)BKS8085 |  | COMPRESSOR,REFRIGERATION: COMPLETE WITH HEAD DRIVE UNIT; | TOYOTA | BKS8085 | 1068322 @@ NQ CRASH & 4WD SPARES | 8085A/CPX215 | 1071809 @@ ASHDOWN ENTERPRISES | 8085A/CPX215 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | A108085A | [6 empty] | TOYOTA | BKS8085 |  |  | NQ CRASH & 4WD SPARES | 8085A/CPX215 | ASHDOWN ENTERPRISES | 8085A/CPX215 | BELL & MOIR - PARTS ORDERS ONLY | A108085A | [10 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors | COMPLETE C/W HEAD DRIVE UNIT |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1074089 | 1074089 |  |  |  | ERSA | M | 3730 | 1152309GZPCLNT100 | EA | 3000003 | CLEANER;CAT,2488889,FLTR,AIR | LIMPIADOR;CAT,2488889,FILTRO AIRE | CLEANER;MNFR:CATERPILLAR,PTNO:2488889,ADDITIONAL FEATURES EN:FILTER,AIR | LIMPIADOR;MNFR:CATERPILLAR,PTNO:2488889,CARACTERISTICAS ADICIONALES ES:FILTRO AIRE |  | CATERPILLAR | 2488889 | 1069616 @@ HASTINGS DEERING (AUSTRALIA) P/L | 2488889 | [12 empty] | CATERPILLAR | 248-8889 | HASTINGS DEERING (AUSTRALIA) P/L | [15 empty] | https://parts.cat.com/en/catcorp/248-8889 | [9 empty] | Enriched | 40161602 Air cleaners |  |  | CLEANER | NO MODIFIER | TYPE | STANDARD EFFICIENCY AIR,FILTER | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1075115 | 1075115 |  |  |  | ERSA | M | 3020 | 1056472GZPCLNT100 | EA | 3000003 | COMPRESSOR;CAT,1835106,CAT,5011179 | COMPRESOR,CAT,1835106 | COMPRESSOR;MNFR:CATERPILLAR,PTNO:1835106,MNFR 1:CATERPILLAR,PTNO 1:5011179 | COMPRESOR,MNFR:CATERPILLAR,PTNO:1835106 |  | CATERPILLAR | 1835106 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5011179 | [11 empty] | 1835106 | CATERPILLAR | 501-1179 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/501-1179 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING | 4000 RPM | TEMPERATURE RATING |  | SIZE | 156 ODX248.5 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1077186 | 1077186 |  |  |  | ERSA | M | 4020 | 1213568GZPCLNT100 | EA |  | CLEANER;5 L CAN,LIQ,YEL LGHT,COMPOSITION | CLEANER;5 L CAN,LIQ,YEL LGHT,COMPOSITION | CLEANER;CONTAINER:5 L CAN,FORM:LIQUID,ADDITIONAL FEATURES EN:YELLOW LIGHT,COMPOSITION POLYETHYLENEGLY COLDO DECYL ETHER WITH >5 - 20 MOL ETHYLENE OXIDE,EXTRAN,SOAP LAB GLASS CONCENTRATES LABORATORY,MNFR:MERCK,PTNO:1400005000 |  |  |  | 1400005000 | 1068082 @@ ROWE SCIENTIFIC PTY LTD | 1400005000 | [12 empty] | MERCK | 1400005000 | ROWE SCIENTIFIC PTY LTD | [15 empty] | https://www.merckmillipore.com/IN/en/product/Extran-MA-05,MDA_CHEM-140000 | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | COLOUR:YELLOW LIGHT,COMPOSITION:POLYETHYLENEGLY COLDO DECYL ETHER C/W >5 - 20 MOL ETHYLENE OXIDE,EXTRAN,SOAP LAB GLASS CONCENTRATES LABORATORY |  | CLEANER | NO MODIFIER | TYPE |  | CONTAINER | 5 L BOTTLE | FORM | LIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1077796 | 1077796 | 1187820 | AU_QM_000147644 |  | ERSA | M | 5905 | 1187820GZPCLNT100 | EA | 3000003 | CLEANER;CAT,2543566,AIR,GP | CLEANER;CAT,2543566,AIR,GP | CLEANER;MNFR:CATERPILLAR,PTNO:2543566,ADDITIONAL FEATURES EN:AIR,GROUP |  | FILTER BODY,AIR CLEANER:CLEANER, GP-A | CATERPILLAR | 2543566 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2543566 | [12 empty] | CATERPILLAR | 254-3566 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/254-3566 | [9 empty] | Cleansed | 40161602 Air cleaners | AIR GROUP,C/W FILTER BODY |  | CLEANER | NO MODIFIER | TYPE |  | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1080054 | 1080054 |  |  |  | ERSA | M | 5955 | 1587724GZPCLNT100 | EA | 3000010 | COMPRESSOR;SAN,56002691 | COMPRESOR;SAN,56002691 | COMPRESSOR;MNFR:SANDVIK,PTNO:56002691 | COMPRESOR;MNFR:SANDVIK,PTNO:56002691 |  | SANDVIK | 56002691 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56002691 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 56002691 | [8 empty] | SANDVIK | 56002691 | SANDVIK MINING & CONSTRUCTION | 56002691 | [16 empty] | https://supply.parts/request/view?id=425884 | https://www.aga-parts.com/sandvik/part/56002691_compressor/ | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1084616 | 1084616 |  |  |  | ERSA | M | 1600 | 1581742GZPCLNT100 | EA | 3000422 | CLEANER;CNW,MSS-CRC-100,100MM RBR CONDUI | LIMPIADOR;CNW,MSS-CRC-100 | CLEANER;MNFR:CNW,PTNO:MSS-CRC-100,ADDITIONAL FEATURES EN:100MM RBR CONDUIT | LIMPIADOR;MNFR:CNW,PTNO:MSS-CRC-100 |  | CNW | MSS-CRC-100 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MSS-CRC-100 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  |  | MSS-CRC-100 | [16 empty] | https://www.cabac.com.au/p/tools-and-equipment/cable-installation-tools/cable-guides-mandrels/mss-crc-100 | [9 empty] | Enriched | 42282000 Instrument cleaning devices and accessories | SIZE:100 MM,MATERIAL:RUBBER |  | CLEANER | NO MODIFIER | TYPE | CONDUIT | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1084617 | 1084617 |  |  |  | ERSA | M | 1600 | 1581743GZPCLNT100 | EA | 3000422 | CLEANER;CNW,MSS-CRC-150,150MM RBR CONDUI | LIMPIADOR;CNW,MSS-CRC-150 | CLEANER;MNFR:CNW,PTNO:MSS-CRC-150,ADDITIONAL FEATURES EN:150MM RBR CONDUIT | LIMPIADOR;MNFR:CNW,PTNO:MSS-CRC-150 |  | CNW | MSS-CRC-150 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MSS-CRC-150 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  |  | MSS-CRC-150 | [16 empty] | https://www.mssdatasolutions.com.au/p/tools-and-equipment/cable-installation-tools/cable-guides-mandrels/mss-crc-150 | [9 empty] | Enriched | 42282000 Instrument cleaning devices and accessories | SIZE:150 MM,MATERIAL:RUBBER |  | CLEANER | NO MODIFIER | TYPE | CONDUIT | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1086921 | 1086921 |  |  |  | ERSA | M | 4090 | 1583154GZPCLNT100 | EA |  | CLEANER;PRESS,SPITWATER,HP2030 | LIMPIADOR; | CLEANER;TYPE:PRESSURE,CONTAINER:,ADDITIONAL FEATURES EN:SPITWATER,HP2030,PTNO:HP2030 | LIMPIADOR;,PTNO:HP2030 |  |  | HP2030 | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | SCW85 | [12 empty] | SPITWATER | HP2030 | AIR & ALLIED SALES (PACIFIC) P/L | SCW85 | [14 empty] | https://spitwater.com.au/products/hp-2030/ | [9 empty] | Enriched | 47121800 Cleaning equipment |  |  | WASHER | PRESSURE CLEANING | TYPE |  | FLOW RATE | 30 LPM | PRESSURE RATING | 2900 PSI | ELECTRICAL RATING | 3 PH | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1088621 | 1088621 |  |  |  | ERSA | M | 3020 | 1610852GZPCLNT100 | EA | 3000001 | COMPRESSOR;EPI,1632012180 | COMPRESOR;EPI,1632012180 | COMPRESSOR;MNFR:EPIROC,PTNO:1632012180 | COMPRESOR;MNFR:EPIROC,PTNO:1632012180 |  | EPIROC | 1632012180 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1632012180 | [10 empty] | EPIROC | 1632012180 | [18 empty] | https://theairmarket.com/product/part-1632012180-j-34-50hz-oem-atlas-copco/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1089165 | 1089165 | 1383091 | AU_QM_000223376 |  | ERSA | M | 5955 | 1383091GZPCLNT100 | EA | 3000438 | DIPSTICK;NRMT,57415099 | JAUGE NIV;NRMT,57415099 | VARILLA MEDICION;MNFR:NORMET,PTNO:57415099 | VARILLA MEDICION;,MNFR:NORMET,PTNO:57415099 | DIPSTICK;NRMT,57415099DIPSTICK;NOR,57415099 | NORMET | 57415099 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57415099 | [10 empty] | NORMET | 57415099 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101725 Oil dip sticks or tubes |  |  | DIPSTICK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1099904 | 1099904 | 1393354 | AU_QM_000236747 |  | ERSA | M | 1500 | 1393354GZPCLNT100 | EA | 3000438 | BUMPER;NRMT,100012572 | PARACHOQUES; | PARACHOQUES;MNFR:NORMET,PTNO:100012572 | PARACHOQUES;,MNFR:NORMET,PTNO:100012572 | OEM-E-LISTBUMPER;NOR,100012572 | NORMET | 100012572 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100012572 | [10 empty] | NORMET | 100012572 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153130 Machine mounts or vibration isolators |  |  | BUMPER | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | COATING/FINISH |  | MOUNTING TYPE |  | NUMBER OF HOLES/SLOTS |  | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1100787 | 1100787 | 1361425 | AU_QM_000159510 |  | ERSA | M | 3000 | 1361425GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831060870 | COMPRESSOR;TOY,8831060870 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831060870 |  | COMPRESSOR,REFRIGERATION: C/W CLUTCH;TOYOTA HZJ105 100 SERIES | TOYOTA | 8831060870 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8831060870 | [12 empty] | TOYOTA | 8831060870 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://alanko.de/ALANKO-Kompressor-Klimaanlage/10553589 |  |  |  | TOYOTA | HZJ105 100 SERIES |  |  |  |  | Enriched | 40151607 Refrigerant compressors | C/W CLUTCH |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101063 | 1101063 | 1389155 | AU_QM_000230583 |  | ERSA | M | 3000 | 1389155GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883200K080 | COMPRESSOR;TOY,883200K080 | COMPRESSOR;MNFR:TOYOTA,PTNO:883200K080 |  | COMPRESSOR;TOY,883200K080COMPRESSOR;BEL,883200K080 | TOYOTA | 883200K080 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 883200K080 | [12 empty] | TOYOTA | 883200K080 | BELL & MOIR - PARTS ORDERS ONLY | [15 empty] | https://partsouq.com/en/search/all?q=883200K080 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | COOLER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101244 | 1101244 | 1382906 | AU_QM_000223163 |  | ERSA | M | 3000 | 1382906GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,883200K100 | COMPRESSOR;TOY,883200K100 | COMPRESSOR;MNFR:TOYOTA,PTNO:883200K100 |  | COMPRESSOR;TOY,883200K100COMPRESSOR;BEL,883200K100 | TOYOTA | 883200K100 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 883200K100 | [12 empty] | TOYOTA | 883200K100 | BELL & MOIR - PARTS ORDERS ONLY | 883200K100 | [14 empty] | https://partsouq.com/en/search/all?q=883200K100 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | COOLER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101257 | 1101257 | 1382620 | AU_QM_000222775 |  | ERSA | M | 3000 | 1382620GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831071052 | COMPRESSOR;TOY,8831071052 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831071052 |  | COMPRESSOR;TOY,8831071052COMPRESSOR;BEL,8831071052 | TOYOTA | 8831071052 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8831071052 | [10 empty] | TOYOTA | 8831071052 |  |  | BELL & MOIR - PARTS ORDERS ONLY | 8831071052 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101269 | 1101269 | 1382087 | AU_QM_000222130 |  | ERSA | M | 3000 | 1382087GZPCLNT100 | EA | 3000013 | COMPRESSOR;VOL,VDS15082742 | COMPRESSOR;VOL,VDS15082742 | COMPRESSOR;MNFR:VOLVO,PTNO:VDS15082742 |  | COMPRESSOR;VOL,VDS15082742COMPRESSOR;VOL,VDS15082742 | VOLVO | VDS15082742 | 1068317 @@ SMH EQUIPMENT PTY LTD | VDS15082742 | [12 empty] | VOLVO | VDS15082742 | SMH EQUIPMENT PTY LTD | [15 empty] | https://www.cjd.com.au/wp-content/uploads/2020/04/VDS-Parts-Flyer-2020.pdf | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101276 | 1101276 | 1381731 | AU_QM_000221703 |  | ERSA | M | 3000 | 1381731GZPCLNT100 | EA | 3000025 | COMPRESSOR;JOH,AT367640 | COMPRESSOR;JOH,AT367640 | COMPRESSOR;MNFR:JOHN DEERE,PTNO:AT367640 |  | COMPRESSOR;JOH,AT367640COMPRESSOR;JOH,AT367640 | JOHN DEERE | AT367640 | 1068592 @@ RDO EQUIPMENT PTY LTD | AT367640 | [12 empty] | JOHN DEERE | AT367640 | RDO EQUIPMENT PTY LTD | [15 empty] | https://www.rdoequipment.com/product-details/john-deere-24-v-air-conditioning-compressor-10-at367640 | [9 empty] | Enriched | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING | 24 VAC | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101531 | 1101531 | 1374021 | AU_QM_000202895 |  | ERSA | M | 3000 | 1374021GZPCLNT100 | EA | 3000000 | COMPRESSOR;ATL,9111404909 | COMPRESSOR;ATL,9111404909 | COMPRESSOR;MNFR:ATLAS COPCO,PTNO:9111404909 |  | COMPRESSOR;ATL,9111404909COMPRESSOR;ATL,9111404909 | ATLAS COPCO | 9111404909 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9111404909 | [12 empty] | ATLAS COPCO | 9111404909 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://av-gk.ru/spare/atlas.copco/9111404909/ | [9 empty] | Cleansed | 40151600 Compressors |  |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1101762 | 1101762 | 1457677 | AU_QM_001306851 |  | ERSA | M | 3000 | 1457677GZPCLNT100 | EA | 3000012 | COMPRESSOR;TOY,8831071062 | COMPRESSOR;TOY,8831071062 | COMPRESSOR;MNFR:TOYOTA,PTNO:8831071062 |  | COMPRESSOR,ROTARY:COMPRESSOR W/CLUTCH; | TOYOTA | 8831071062 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8831071061 | [12 empty] | TOYOTA | 8831071062 | BELL & MOIR - PARTS ORDERS ONLY | 8831071061 | [14 empty] | https://spareto.com/oe/8831071062 | [9 empty] | Cleansed | 40151608 Rotary compressors | C/W CLUTCH |  | COMPRESSOR | ROTARY | TYPE |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1104430 | 1104430 |  |  |  | ERSA | M | 3020 | 1514654GZPCLNT100 | EA |  | COMPRESSOR,RECIPROCATING;PEERLESS COM,87 | COMPRESSOR,RECIPROCATING;PEERLESS COM,87 | COMPRESSOR,RECIPROCATING;ADDITIONAL FEATURES:PEERLESS COM,87 |  |  |  |  | 1068391 @@ BOSS | 1514654 | [14 empty] | BOSS | 1514654 | PEERLESS | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151606 Reciprocating compressors | 87 |  | COMPRESSOR | RECIPROCATING | TYPE |  | NUMBER OF STAGES |  | FLOW RATING |  | PRESSURE RATING |  | TANK CAPACITY |  | MOTOR POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1104977 | 1104977 |  |  |  | ERSA | M | 5700 | 1535865GZPCLNT100 | EA |  | CLEANER,BLT;TOOL,STEEL,TU,BES-25-C14-005 | CLEANER,BLT;TOOL,STEEL,TU,BES-25-C14-005 | [5 empty] | 1068293 @@ BRITRAC (AUST) PTY LTD | BES-25-C14-005 | [14 empty] | BRITRAC (AUST) PTY LTD | BES-25-C14-005 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | TU |  | CLEANER | BELT | TYPE | TOOL | BELT WIDTH |  | SIZE |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1108448 | 1108448 | 1439444 | AU_QM_000981829 |  | ERSA | M | 4000 | 1439444GZPCLNT100 | EA |  | AIRCON;24V DC;2A PULLEY;VERTICAL; | AIRCON;24V DC;2A PULLEY;VERTICAL; | COMPRESSOR,REFRIGERATION: AIRCON;24V DC;2A PULLEY;VERTICAL; STANDARD O RING; |  | COMPRESSOR,REFRIGERATION: AIRCON;24V DC;2A PULLEY;VERTICAL; |  |  | 1068087 @@ ASHDOWN INGRAM | 15CM7888 | 1071809 @@ ASHDOWN ENTERPRISES | 15CM7888 | [12 empty] | ASHDOWN INGRAM | 15CM7888 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors | 2A PULLEY,C/W STANDARD O RING |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER,VERTICAL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 VDC | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1109084 | 1109084 | 1348683 | AU_QM_000018051 |  | ERSA | M | 4000 | 1348683GZPCLNT100 | EA |  | AIR CONDITIONING COMPRESSOR; | AIR CONDITIONING COMPRESSOR; | COMPRESSOR,REFRIGERATION: AIR CONDITIONING COMPRESSOR; MOBILE EQUIPMENT; "REPAIRABLE ITEM" |  | COMPRESSOR,REFRIGERATION: AIR CONDITIONING COMPRESSOR; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1348683 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3E1906 | 1071809 @@ ASHDOWN ENTERPRISES | CXS4604 | [8 empty] | CATERPILLAR | 3E-1906 | CNW (MOUNT ISA) ELECT WHOLESALER | 1348683 | HASTINGS DEERING(AUSTRALIA) LTD |  | ASHDOWN ENTERPRISES | CXS4604 | [10 empty] | https://parts.cat.com/en/catcorp/3E-1906 | [9 empty] | Enriched | 40151607 Refrigerant compressors | MOBILE EQUIPMENT,REPAIRABLE ITEM |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING | 4000 RPM | TEMPERATURE RATING |  | SIZE | 138.5 ODX242.5 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1109175 | 1109175 | 1366216 | AU_QM_000168858 |  | ERSA | M | 4080 | 1366216GZPCLNT100 | EA |  | CABLE LADDER;6000MM LG X 150MM W X 130MM | CABLE LADDER;6000MM LG X 150MM W X 130MM | TRAY: CABLE LADDER;6000MM LG X 150MM W X 130MM H X 115MM D;STRIP STL;HDG;NEMA-3 |  | TRAY:CABLE LADDER;6000MM LG X 150MM W X 130MM |  |  | 1068652 @@ J BLACKWOOD & SONS | 891195 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LEK101 | [10 empty] | EZYSTRUT | 105350 | CNW (MOUNT ISA) ELECT WHOLESALER | LEK101 | [10 empty] | J BLACKWOOD & SONS | 00891195 |  |  | https://www.blackwoods.com.au/electrical/cable-management/cable-trays-ladders/ezystrut-n3-cable-ladder-hdg-150mm-x-6mtr-105350/p/00891195 | [9 empty] | Cleansed | 39131704 Cable tray | ENCLOSURE:NEMA-3,HEIGHT:130 MM |  | TRAY | CABLE | TYPE | LADDER | WIDTH | 150 MM | LENGTH | 6 M | DEPTH | 115 MM | MATERIAL | HOT DIPPED GALVANIZED STEEL STRIP | SHAPE |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1109200 | 1109200 | 1362941 | AU_QM_000162621 |  | ERSA | M | 4020 | 1362941GZPCLNT100 | EA |  | COCKPIT PROTECTOR; VANILLA COBRA COTE | COCKPIT PROTECTOR; VANILLA COBRA COTE | CLEANER,SOLVENT: COCKPIT PROTECTOR; VANILLA COBRA COTE |  | CLEANER,SOLVENT:COCKPIT PROTECTOR; VANILLA COBRA COTE |  |  | 1068144 @@ AUTOBARN MOUNT ISA | COBRACOTE | [14 empty] | AUTOBARN MOUNT ISA |  | COBRA COTE | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | VANILLA |  | CLEANER | NO MODIFIER | TYPE | SOLVENT,COCKPIT PROTECTOR | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1109295 | 1109295 | 1445402 | AU_QM_001009779 |  | ERSA | M | 2920 | 1445402GZPCLNT100 | EA |  | DANGER OPEN RAISE ABOVE | DANGER OPEN RAISE ABOVE | SIGN: DANGER OPEN RAISE ABOVE CLASS-A, 1MM COLOR BOND STEEL REFLECTIVE SCREEN PRINTED TO AS-1319 450 X 300MM (5MM HOLES IN CORNERS) |  | SIGN:DANGER OPEN RAISE ABOVE |  |  | 1068111 @@ J.W. SIGNS | 1445402 | [14 empty] | J.W. SIGNS | 1445402 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 55121704 Safety signs | C/W 5 MM HOLES IN CORNERS,1 MM COLOR BOND,REFLECTIVE SCREEN PRINTED |  | SIGN | SAFETY | TYPE |  | LEGEND | DANGER OPEN RAISE ABOVE CLASS-A | SIZE | 450X300 MM | SHAPE |  | MATERIAL | STEEL | LEGEND COLOUR |  | BACKGROUND COLOUR |  | INSCRIPTION HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS-1319 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 09-11-2023 |  | 1109299 | 1109299 | 1445284 | AU_QM_001009240 |  | ERSA | M | 1630 | 1445284GZPCLNT100 | EA |  | BOTTOM HALF;SIEMENS TYPE IJF 6233-1 | BOTTOM HALF;SIEMENS TYPE IJF 6233-1 | STATOR,MOTOR: BOTTOM HALF;SIEMENS TYPE IJF 6233-1 A010-23 MOTOR;2280KW;38.2RPM; X41 MAIN CAGE AND P49 MAIN CAGE AND SKIP |  | STATOR,MOTOR: BOTTOM HALF;SIEMENS TYPE IJF 6233-1 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1445284 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1445284 | [14 empty] | URL NOT FOUND |  |  | MOTOR,POWER RATING:2280 KW,SPEED RATING:38.2 RPM | SIEMENS | IJF 6233-1 A010-23 |  |  |  |  | Cleansed | 39121521 Motor starter controls | X41 MAIN CAGE AND P49 MAIN CAGE AND SKIP |  | STARTER | MOTOR | TYPE | BOTTOM HALF | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed