## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1111469 | 1111469 | 1409672 | AU_QM_000254890 |  | ERSA | M | 5915 | 1409672GZPCLNT100 | EA |  | ADAPTER;35B12-01000 | ADAPTER;35B12-01000 | ADAPTER;MNFR: ,PTNO:35B12-01000 |  | ADAPTER;35B12-01000ADAPTER;35B12-01000 | [15 empty] | 35B12-01000 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1138349 | 1138349 | 1401192 | AU_QM_000245686 |  | ERSA | M | 5915 | 1401192GZPCLNT100 | EA |  | ADAPTER;78-17-0496-0115 | ADAPTER;78-17-0496-0115 | ADAPTER;MNFR: ,PTNO:78-17-0496-0115 |  | ADAPTER;78-17-0496-0115ADAPTER;78-17-0496-0115 | [15 empty] | 78-17-0496-0115 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065168 | 1065168 | 1450303 | AU_QM_001130988 |  | ERSA | M | 1630 | 1450303GZPCLNT100 | EA |  | BELL HOUSING,MODIFIED;SM01 G'BOX LUBE; | BELL HOUSING,MODIFIED;SM01 G'BOX LUBE; | ADAPTER,MOTOR,ELEC: BELL HOUSING,MODIFIED;SM01 G'BOX LUBE; SAG MILL NO.1 GEARBOX LUBRICATION |  | ADAPTER,MOTOR,ELEC: BELL HOUSING,MODIFIED;SM01 G'BOX LUBE; | [34 empty] | URL Not Found |  |  | SAG MILL NO.1 GEARBOX LUBRICATION |  | SM01 |  |  |  |  | Cleansed | 31261500 Housings and cabinets |  |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL,MODIFIED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1064022 | 1064022 | 1450024 | AU_QM_001125426 |  | ERSA | M | 1630 | 1450024GZPCLNT100 | EA |  | BELL HOUSING;D112 - GROUP 1; | BELL HOUSING;D112 - GROUP 1; | ADAPTER,MOTOR,ELEC: BELL HOUSING;D112 - GROUP 1; SM01 SAG MILL PINION LUBE SYSTEM |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;D112 - GROUP 1; | [34 empty] | URL Not Found |  |  | SAG MILL PINION LUBE SYSTEM |  | SM01 |  |  |  |  | Cleansed | 31261500 Housings and cabinets | FRAME:D112,GROUP 1 |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065179 | 1065179 | 1450076 | AU_QM_001126283 |  | ERSA | M | 1630 | 1450076GZPCLNT100 | EA |  | BELL HOUSING;D71-GROUP 1; | BELL HOUSING;D71-GROUP 1; | ADAPTER,MOTOR,ELEC: BELL HOUSING;D71-GROUP 1; BM03 TRUNNION LUBRICATION SYSTEM |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;D71-GROUP 1; | [34 empty] | URL Not Found |  |  | TRUNNION LUBRICATION SYSTEM |  | BM03 |  |  |  |  | Cleansed | 31261500 Housings and cabinets | FRAME:D71,GROUP 1 |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065174 | 1065174 | 1450099 | AU_QM_001126515 |  | ERSA | M | 1630 | 1450099GZPCLNT100 | EA |  | BELL HOUSING;D80 FRAME TO GROUP 1 GEAR | BELL HOUSING;D80 FRAME TO GROUP 1 GEAR | ADAPTER,MOTOR,ELEC: BELL HOUSING;D80 FRAME TO GROUP 1 GEAR PUMP; BM03 PINION LUBRICATION SYSTEM |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;D80 FRAME TO GROUP 1 GEAR | [34 empty] | URL Not Found |  |  | FRAME TO GROUP 1 GEAR PUMP,PINION LUBRICATION SYSTEM |  | D80,BM03 |  |  |  |  | Cleansed | 31261500 Housings and cabinets |  |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1013321 | 1013321 |  |  |  | ERSA | M | 2200 | 1615056GZPCLNT100 | EA | 3000292 | ADAPTER;HYDA,3SAEX2BSPT | ADAPTADOR;HYDA,3SAEX2BSPT | ADAPTER;MNFR:HYDAC,PTNO:3SAEX2BSPT | ADAPTADOR;MNFR:HYDAC,PTNO:3SAEX2BSPT |  | HYDAC | 3SAEX2BSPT | 1068342 @@ ISADRAULICS | 3SAEX2BSPT | [10 empty] | HYDAC | 3SAEX2BSPT |  |  | ISADRAULICS | [15 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1035558 | 1035558 |  |  |  | ERSA | M | 3000 | 1529481GZPCLNT100 | EA |  | ADAPTER;AIR/WATER TUBE,316 SS,T,94SSISAD | ADAPTER;AIR/WATER TUBE,316 SS,T,94SSISAD | ADAPTER;ADDITIONAL FEATURES:AIR/WATER TUBE,316 SS,T,94SSISAD |  |  |  |  | 1068342 @@ ISADRAULICS | 94SSISAD | [10 empty] | ISADRAULICS | 94SSISAD | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40183109 Tube adapter |  |  | ADAPTER | TUBE | TYPE | AIR/WATER | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1048889 | 1048889 |  |  |  | ERSA | M | 4015 | 1572619GZPCLNT100 | EA |  | ADAPTER,TL;1/8IN NPT,R134A,1/2IN,ACME | ADAPTADOR HERRA; | ADAPTER,TOOL;ADDITIONAL FEATURES EN:1/8IN NPT,R134A,1/2IN,ACME | ADAPTADOR HERRAMIENTA; |  |  |  | 1068087 @@ ASHDOWN INGRAM | TOX021 | [10 empty] | ASHDOWN INGRAM |  | REPCO | TOX021 | [16 empty] | https://www.repco.com.au/parts-service/climate-control/fittings/adaptor-1-8%E2%80%9Dnpt-r134a-1-2%E2%80%9D-acme-tox021/p/A9432341?search=air | [9 empty] | Cleansed | 27112800 Tool attachments and accessories | FOR R134A |  | ADAPTER | TOOL | TYPE |  | TOOL SIZE | 1/8 IN NPT | SHANK TYPE |  | SHANK SIZE | 1/2 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ACME | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1049768 | 1049768 |  |  |  | ERSA | M | 5810 | 1581920GZPCLNT100 | EA |  | ADAPTER;SCAVANGER,15.04.6856 | ADAPTADOR; | ADAPTER;TYPE:SCAVANGER,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:15.04.6856 | ADAPTADOR; |  |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 15.04.6856 | [12 empty] | FINLAY SCREENING & CRUSHING | 15.04.6856 | [16 empty] | https://shop.lonmadi.ru/product/view/00001040629.html | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | SCAVANGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1049773 | 1049773 |  |  |  | ERSA | M | 5810 | 1581925GZPCLNT100 | EA |  | ADAPTER;SCAVANGER,683.17.163 | ADAPTADOR; | ADAPTER;TYPE:SCAVANGER,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:683.17.163 | ADAPTADOR; |  |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 683.17.163 | [12 empty] | FINLAY SCREENING & CRUSHING | 683.17.163 | [16 empty] | https://shop.lonmadi.ru/product/view/00002064945.html | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | SCAVANGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1049777 | 1049777 |  |  |  | ERSA | M | 5810 | 1581929GZPCLNT100 | EA |  | ADAPTER;EXHST,684.17.13 | ADAPTADOR; | ADAPTER;TYPE:EXHAUST,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:684.17.13 | ADAPTADOR; |  |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 684.17.13 | [12 empty] | FINLAY SCREENING & CRUSHING | 684.17.13 | [16 empty] | https://shop.lonmadi.ru/product/view/00002058006.html | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | EXHAUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1050237 | 1050237 |  |  |  | ERSA | M | 2210 | 1608385GZPCLNT100 | EA |  | ADAPTER,PIPE;MALE,NOM 50X40 MM,BSP,PP | ADAPTADOR TUBE; | ADAPTER,PIPE;TYPE:MALE,NOMINAL SIZE:50X40 MM,END CONNECTION:BSP,MATERIAL:POLYPROPYLENE,ADDITIONAL FEATURES EN:MALE,ADAPT NO:7020 | ADAPTADOR TUBERIA; |  |  |  | 1068155 @@ REECE PTY LTD | 1504660 | [12 empty] | REECE PTY LTD | 1504660 | [16 empty] | https://www.reece.com.au/product/plasson-male-adaptor-no-7020-50mm-od-x-40mm-male-1504660?query=1504660 | [9 empty] | Enriched | 40171700 Pipe adapters | SERIES:7020 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 50X40 MM | END CONNECTION | MALE BSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 14236,AS/NZS 4129,ISO 7/1,BS 21,DIN 2999,UNI 9561,NEN 3258,AS 1722,DIN 8076 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1050827 | 1050827 |  |  |  | ERSA | M | 1600 | 1576980GZPCLNT100 | EA |  | ADAPTER;MNTG,VEGAMIP,T61/R61/R62,G2 | ADAPTADOR; | ADAPTER;TYPE:MOUNTING,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:VEGAMIP,T61/R61/R62,G2,HIGH TEMPS AND/OR ABRASIVE PRODUCTS,-40-450 DEG | ADAPTADOR; |  |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | MONTZUB-MIP.XBX | [10 empty] | MARCON AGENCIES PTY LTD | MONTZUB-MIP.XBX | VEGA | MONTZUB-MIP.XBX | [16 empty] | https://www.makina-trade.com/?st=VVGEUND&brand=VEGA&gb=ALZVVGVGSU | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR T61/R61/R62,G2, HIGH TEMPS AND/OR ABRASIVE PRODUCTS,TEMPERATURE RATING:-40 TO 450 DEG |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1051071 | 1051071 |  |  |  | ERSA | M | 4090 | 1579335GZPCLNT100 | EA |  | ADAPTER;3/4 IN MALE X 1 IN FEMALE,BRS | ADAPTADOR; | ADAPTER;TYPE:3/4 IN MALE X 1 IN FEMALE,SIZE:,MATERIAL:BRASS | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | 3001695 | [10 empty] | ISADRAULICS | 3001695 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | CONNECTION TYPE:MALE X FEMALE |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 3/4X1 IN | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1051291 | 1051291 |  |  |  | ERSA | M | 4090 | 1581639GZPCLNT100 | EA |  | ADAPTER;REUSBL,3 IN,CAMLCK | ADAPTADOR; | ADAPTER;TYPE:REUSABLE,SIZE:3 IN,MATERIAL:,ADDITIONAL FEATURES EN:CAMLOCK | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | 1581639 | [10 empty] | ISADRAULICS | 1581639 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141734 Hose fitting |  |  | ADAPTER | HOSE | TYPE | REUSABLE | NOMINAL SIZE | 3 IN | END CONNECTION | CAMLOCK | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1054352 | 1054352 |  |  |  | ERSA | M | 2240 | 1615866GZPCLNT100 | EA |  | ADAPTER;INSR,-32 CODE 62,STL | ADAPTADOR; | ADAPTER;TYPE:INSERT,SIZE:-32 CODE 62,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CODE FLANGE TO BSPP | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | A2XB3232 | [10 empty] | ISADRAULICS | A2XB3232 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | INSERT | NOMINAL SIZE | -32 CODE 62 | END CONNECTION | FLANGE X BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1054353 | 1054353 |  |  |  | ERSA | M | 2240 | 1615867GZPCLNT100 | EA |  | ADAPTER;INSR,2 IN,STL | ADAPTADOR; | ADAPTER;TYPE:INSERT,SIZE:2 IN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CODE FLANGE TO BSPP | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | A2YB3232 | [10 empty] | ISADRAULICS | A2YB3232 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | INSERT | NOMINAL SIZE | 2 IN | END CONNECTION | FLANGE X BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1054357 | 1054357 |  |  |  | ERSA | M | 2240 | 1615881GZPCLNT100 | EA |  | ADAPTER;INSR,1-1/2 IN,STL | ADAPTADOR; | ADAPTER;TYPE:INSERT,SIZE:1-1/2 IN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CODE FLANGE TO BSPP | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | A2XB2424 | [10 empty] | ISADRAULICS | A2XB2424 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | INSERT | NOMINAL SIZE | 1-1/2 IN | END CONNECTION | FLANGE X BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1054358 | 1054358 |  |  |  | ERSA | M | 2240 | 1615882GZPCLNT100 | EA |  | ADAPTER;INSR,1-1/2 IN,STL | ADAPTADOR; | ADAPTER;TYPE:INSERT,SIZE:1-1/2 IN,MATERIAL:STEEL,ADDITIONAL FEATURES EN:CODE FLANGE TO BSPP | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | A2YB2424 | [10 empty] | ISADRAULICS | A2YB2424 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | INSERT | NOMINAL SIZE | 1-1/2 IN | END CONNECTION | FLANGE X BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1054490 | 1054490 |  |  |  | ERSA | M | 1600 | 1584278GZPCLNT100 | EA |  | ADAPTER;EX,16 MM,SS316 | ADAPTADOR; | ADAPTER;TYPE:EX,SIZE:16 MM,MATERIAL:SS316,ADDITIONAL FEATURES EN:16 MM MALE TO PG 9 (F) | ADAPTADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CCGAM016P009ES | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CCGAM016P009ES | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | EX | SIZE | 16 MM MALE X PG 9 FEMALE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1055817 | 1055817 |  |  |  | ERSA | M | 5100 | 1608093GZPCLNT100 | EA |  | ADAPTER,SNSR;110-400 X 1/2 IN BSP,316 SS | ADAPTADOR SENSR; | ADAPTER,SENSOR;SIZE:110-400 X 1/2 IN BSP,MATERIAL:316 SS,ADDITIONAL FEATURES EN:NPT THREAD,BRAND:PLASSON | ADAPTADOR SENSOR; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 4938101 | [12 empty] | PLASSON | 4938101 | BUTLER AGENCIES PTY LTD | [15 empty] | https://merchant.plasson.com.au/electrofusion-fittings/sensor-adaptor/sensor-adaptor/4938101-sensor-adaptor-110-400-x-12 | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE | 110 TO 400 MM X 1/2 IN | END CONNECTION | NPT X BSP | MATERIAL | STAINLESS STEEL 316 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1055818 | 1055818 |  |  |  | ERSA | M | 5100 | 1608094GZPCLNT100 | EA |  | ADAPTER,SNSR;110-400 X 3/4 IN BSP,316 SS | ADAPTADOR SENSR; | ADAPTER,SENSOR;SIZE:110-400 X 3/4 IN BSP,MATERIAL:316 SS,ADDITIONAL FEATURES EN:NPT THREAD,BRAND:PLASSON | ADAPTADOR SENSOR; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 4938102 | [12 empty] | PLASSON | 4938102 | BUTLER AGENCIES PTY LTD | [15 empty] | https://merchant.plasson.com.au/electrofusion-fittings/sensor-adaptor/4938102-sensor-adaptor-110-400-x-34 | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE | 110 TO 400 MM X 3/4 IN | END CONNECTION | NPT X BSP | MATERIAL | STAINLESS STEEL 316 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1055819 | 1055819 |  |  |  | ERSA | M | 5100 | 1608095GZPCLNT100 | EA |  | ADAPTER,SNSR;110-400 X 1 IN BSP,316 SS | ADAPTADOR SENSR; | ADAPTER,SENSOR;SIZE:110-400 X 1 IN BSP,MATERIAL:316 SS,ADDITIONAL FEATURES EN:NPT THREAD,BRAND:PLASSON | ADAPTADOR SENSOR; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 4938103 | [12 empty] | PLASSON | 4938103 | BUTLER AGENCIES PTY LTD | [15 empty] | https://merchant.plasson.com.au/electrofusion-fittings/sensor-adaptor/sensor-adaptor/4938103-sensor-adaptor-110-400-x-1 | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE | 110 TO 400 MM X 1 IN | END CONNECTION | NPT X BSP | MATERIAL | STAINLESS STEEL 316 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1055848 | 1055848 |  |  |  | ERSA | M | 1600 | 1608817GZPCLNT100 | EA |  | ADAPTER;BULK HEAD,BNC,FEMALE TO FEMALE | ADAPTADOR; | ADAPTER;TYPE:BULK HEAD,BNC,SIZE:FEMALE TO FEMALE,MATERIAL:BRASS | ADAPTADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | TELBNCF-BNCF-BLKHD | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | TELCO ANTENNAS | BNCF-BNCF-BLKHD | [16 empty] | https://www.telcoantennas.com.au/bnc-female-bnc-female-bulkhead-adapter | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | BULKHEAD | SIZE | BNC FEMALE X BNC FEMALE | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD | MIL-C-39012,CECC 22120,IEC 60169-8 | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1056166 | 1056166 |  |  |  | ERSA | M | 1600 | 1586531GZPCLNT100 | EA |  | ADAPTER,ELEC;PWR,CONCTG,PIN,MIDL | ADAPTADOR ELEC; | ADAPTER,ELECTRICAL;TYPE:POWER,CONNECTING,CONNECTION TYPE:PIN,MIDDLE,ADDITIONAL FEATURES EN:F/LED ROPE LIGHT | ADAPTADOR ELECTRICO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FIRLRL-MC-PIN | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FIRLRL-MC-PIN | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR LED ROPE LIGHT |  | ADAPTER | ELECTRICAL | TYPE | POWER | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE | MIDDLE PIN | MATERIAL |  | COLOUR |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1056372 | 1056372 |  |  |  | ERSA | M | 2210 | 1608329GZPCLNT100 | EA |  | ADAPTER,PIPE;FEMALE,NOM 63MMX2IN | ADAPTADOR TUBE;HEMBRA | ADAPTER,PIPE;TYPE:FEMALE,NOMINAL SIZE:63MMX2IN,END CONNECTION:FBSP 9617,MATERIAL:POLY ETHYLENE | ADAPTADOR TUBERIA;TIPO:HEMBRA |  |  |  | 1068228 @@ VINIDEX PTY LTD | 90022 | [12 empty] | VINIDEX PTY LTD | 90022 | [16 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/friatec-electrofusion-fittings/female-adaptor-e-f-long-spigot-sdr-11-pe-100/ | [9 empty] | Enriched | 40171700 Pipe adapters | REF:9617 |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 63 MM X 2 IN | END CONNECTION | FBSP | LENGTH |  | SCHEDULE/WALL THICKNESS | SDR 11 | PRESSURE CLASS/RATING | 16 BAR (WATER),10 BAR GAS | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1058476 | 1058476 |  |  |  | ERSA | M | 1600 | 1608872GZPCLNT100 | EA |  | ADAPTER;LUG,4MM,BRS | ADAPTADOR; | ADAPTER;TYPE:LUG,SIZE:4MM,MATERIAL:BRASS,ADDITIONAL FEATURES EN:76-07X SPADE,BANANA SOCKET,33VAC | ADAPTADOR; |  |  |  | 1068110 @@ ELEMENT14 PTY LTD | 2729471 | [10 empty] | ELEMENT14 PTY LTD |  | TENMA | 2729471 |  | 76-07X | [14 empty] | https://in.element14.com/tenma/76-079/adapter-banana-jack-spade-lug/dp/2729471 | [9 empty] | Enriched | 43190000 Communications Devices and Accessories | SIZE:4 MM |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | BANANA SOCKET | CONNECTOR END 2 | SPADE LUG | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING | 33 VAC | OUTPUT RATING |  | MATERIAL | BRASS NICKEL COATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1058477 | 1058477 |  |  |  | ERSA | M | 1600 | 1608873GZPCLNT100 | EA |  | ADAPTER;LUG,4MM,BRS | ADAPTADOR; | ADAPTER;TYPE:LUG,SIZE:4MM,MATERIAL:BRASS,ADDITIONAL FEATURES EN:76-07X SPADE,BANANA SOCKET,33VAC | ADAPTADOR; |  |  |  | 1068110 @@ ELEMENT14 PTY LTD | 2729470 | [10 empty] | ELEMENT14 PTY LTD |  | TENMA | 2729470 |  | 76-07X | [14 empty] | https://in.element14.com/tenma/76-078/adapter-banana-jack-spade-lug/dp/2729470 | [9 empty] | Enriched | 43190000 Communications Devices and Accessories | SIZE:4 MM |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | BANANA SOCKET | CONNECTOR END 2 | SPADE LUG | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING | 33 VAC | OUTPUT RATING |  | MATERIAL | BRASS NICKEL COATED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1058478 | 1058478 |  |  |  | ERSA | M | 1600 | 1608874GZPCLNT100 | EA |  | ADAPTER;LUG,FK,8.2 MM,BRS,32A,1000V | ADAPTADOR; | ADAPTER;TYPE:LUG,FORK,SIZE:8.2 MM,MATERIAL:BRASS,ADDITIONAL FEATURES EN:32A,1000V | ADAPTADOR; |  |  |  | 1068110 @@ ELEMENT14 PTY LTD | 3272367 | [10 empty] | ELEMENT14 PTY LTD |  | STAUBLI | 3272367 | [16 empty] | https://in.element14.com/staubli/66-9126-21/cable-lug-adapter-8-2mm-fork-lug/dp/3272367 | [9 empty] | Enriched | 39121400 Electrical lugs plugs and connectors | SIZE:8.2 MM,ELECTRICAL RATING:32 A,1000 V,CONNECTION TYPE:FORK LUG X SOCKET |  | ADAPTER | ELECTRICAL | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | MATERIAL | BRASS | COLOUR | BLACK | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1058779 | 1058779 |  |  |  | ERSA | M | 1600 | 1584717GZPCLNT100 | EA |  | ADAPTER,COMM;MODULR,8P,8C,RJ45,PLUG CAT6 | ADAPTADOR COMUNIC; | ADAPTER,COMMUNICATION;TYPE:MODULAR,CONNECTOR END 1:8P,CONNECTOR END 2:8C,INTERFACE TYPE:RJ45,ADDITIONAL FEATURES EN:PLUG CAT6,2 PIECE PACK | ADAPTADOR COMUNICACION; |  |  |  | 1071835 @@ REXEL AUSTRALIA | CABC68P8CUS2P?L | [12 empty] | REXEL AUSTRALIA | CABC68P8CUS2P-L | [16 empty] | https://www.rexel.com.au/are/category/Audio-Visual/Connector/Communications-technique-adapter/MODULAR-RJ45-8P8C-PLUG-CAT6-2-PIECE-PLUG/CABC68P8CUS2P-L/p/10331745 | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories | CATEGORY:6,PACKAGE QUANTITY:2/PK |  | ADAPTER | COMMUNICATION | TYPE | MODULAR | CONNECTOR END 1 | 8P PLUG | CONNECTOR END 2 | 8C PLUG | INTERFACE TYPE | RJ45 | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1060292 | 1060292 |  |  |  | ERSA | M | 4090 | 1616508GZPCLNT100 | EA |  | ADAPTER,ELEC;ANG,PLG,METAL,BLUE,SZ 5 | ADAPTADOR ELEC; | ADAPTER,ELECTRICAL;TYPE:ANGLE,CONNECTION TYPE:PLUG,MATERIAL:METAL,COLOUR:BLUE,ADDITIONAL FEATURES EN:SIZE 5 | ADAPTADOR ELECTRICO; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAR595M3 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | MAR595M3 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | SIZE 5 |  | ADAPTER | ELECTRICAL | TYPE | ANGLE | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE | PLUG | MATERIAL | METAL | COLOUR | BLUE | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1060363 | 1060363 |  |  |  | ERSA | M | 4050 | 1543903GZPCLNT100 | EA |  | ADAPTER;AC,AC ADAPTOR, BMP21-PLUS | ADAPTADOR; | ADAPTER;TYPE:AC,SIZE:TBC,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:PRINTER | ADAPTADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AC ADAPTOR, BMP21-PLUS | [12 empty] | BRADY | BMP21-PLUS | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://support.bradyid.com/s/article/BMP21-PLUS-BMP21-IDXpert-Shared-AC-Adapter-Specs | [9 empty] | Cleansed | 40141700 Hardware and fittings | SIZE:TBC,FOR PRINTER |  | ADAPTER | ELECTRICAL | TYPE | AC | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | MATERIAL | PLASTIC | COLOUR |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1060394 | 1060394 |  |  |  | ERSA | M | 1600 | 1542599GZPCLNT100 | EA |  | ADAPTER;4 MM,POLY,E40159 | ADAPTADOR; | ADAPTER;TYPE:TBC,SIZE:4 MM,MATERIAL:POLY,ADDITIONAL FEATURES EN:PROCESS,SML VOLUMETRIC FLOW QTY | ADAPTADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1542599 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | IFME40159 | [10 empty] | IFM | E40159 | CNW (MOUNT ISA) ELECT WHOLESALER | 1542599 | [14 empty] | https://www.ifm.com/us/en/product/E40159 | [9 empty] | Enriched | 41111900 Indicating and recording instruments |  | FLOW RATE:2 TO 50 ML/MIN | ADAPTER | SENSOR | TYPE | TBC,PROCESS | SIZE | 1/4X1/8 IN | END CONNECTION | BSPT | MATERIAL | PTFE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1060824 | 1060824 |  |  |  | ERSA | M | 2200 | 1615057GZPCLNT100 | EA |  | ADAPTER,PIPE;FLANGE,NOM 300 MM,SS | ADAPTADOR TUBE;BRIDA | ADAPTER,PIPE;TYPE:FLANGE,NOMINAL SIZE:300 MM,END CONNECTION:,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:AVK 4B,301-327 | ADAPTADOR TUBERIA;TIPO:BRIDA |  |  |  | 1069650 @@ VIADUX PTY LTD | 1021384 | [10 empty] | VIADUX PTY LTD |  | REECE | 1021384 | [16 empty] | https://www.reece.com.au/resources/themes/civil/assets/Civil-Product-Guide-V7.pdf | [9 empty] | Enriched | 40171700 Pipe adapters | AVK 4B |  | ADAPTER | PIPE | TYPE | MECHANICAL | NOMINAL SIZE | 301 TO 327 MM | END CONNECTION | FLANGE | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1060907 | 1060907 |  |  |  | ERSA | M | 2920 | 1525021GZPCLNT100 | EA |  | ADAPTER,SNSR;AIR-MET,E050013 | ADAPTADOR SENSR; | ADAPTER,SENSOR;ADDITIONAL FEATURES EN:AIR-MET,E050013 | ADAPTADOR SENSOR; |  |  |  | 1069726 @@ AIR-MET SCIENTIFIC PTY LTD | E050013 | [10 empty] | AIR-MET SCIENTIFIC PTY LTD | E050013 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1062397 | 1062397 |  |  |  | ERSA | M | 4015 | 1571272GZPCLNT100 | EA |  | ADAPTER;FLAR,1/2F-1/4IN M,BRS | ADAPTADOR; | ADAPTER;TYPE:FLARE,SIZE:1/2F-1/4IN M,MATERIAL:BRASS,ADDITIONAL FEATURES EN:R134A - R12 | ADAPTADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | TOX5435 | [10 empty] | ASHDOWN INGRAM |  | REPCO | TOX5435 | [16 empty] | https://www.repco.co.nz/parts-service/climate-control/fittings/adaptor-1-2-acme-r134a-female-to-1-4-flare-r12-male-tox5435/p/A1264615 | [9 empty] | Cleansed | 40141734 Hose fitting | FOR R134A - R12 |  | ADAPTER | HOSE | TYPE |  | NOMINAL SIZE | 1/2X1/4 IN | END CONNECTION | FEMALE X MALE FLARE | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1062398 | 1062398 |  |  |  | ERSA | M | 4015 | 1571271GZPCLNT100 | EA |  | ADAPTER;FLAR,1/4F-1/2IN MALE,BRS | ADAPTADOR; | ADAPTER;TYPE:FLARE,SIZE:1/4F-1/2IN MALE,MATERIAL:BRASS,ADDITIONAL FEATURES EN:R12 - R134A | ADAPTADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | TOX5422 | [10 empty] | ASHDOWN INGRAM |  | REPCO | TOX5422 | [16 empty] | https://www.repco.co.nz/parts-service/climate-control/fittings/oex-adaptor-1-4-flare-r12-female-to-1-2-acme-r134a-male-rh-thread-tox5422/p/A1235449?kwSearch=TOX5422 | [9 empty] | Cleansed | 40141734 Hose fitting | FOR R12 - R134A |  | ADAPTER | HOSE | TYPE |  | NOMINAL SIZE | 1/4X1/2 IN | END CONNECTION | FEMALE FLARE X MALE THREADED | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1062399 | 1062399 |  |  |  | ERSA | M | 4015 | 1571270GZPCLNT100 | EA |  | ADAPTER;CYL,3/4-1/4IN,BRS,R12 GAS | ADAPTADOR; | ADAPTER;TYPE:CYLINDER,SIZE:3/4-1/4IN,MATERIAL:BRASS,ADDITIONAL FEATURES EN:R12 GAS | ADAPTADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | TOX1000 | [10 empty] | ASHDOWN INGRAM |  | CPS | TOX1000 | [16 empty] | https://www.sparesbox.com.au/part/cps-gas-cylinder-adaptor-tox1000 | [9 empty] | Cleansed | 40141734 Hose fitting | FOR R12 GAS |  | ADAPTER | HOSE | TYPE | CYLINDER | NOMINAL SIZE | 3/4X1/4 IN | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1063726 | 1063726 | 1455370 | AU_QM_001253111 |  | ERSA | M | 5620 | 1455370GZPCLNT100 | EA |  | BELL HOUSING;178MM; | BELL HOUSING;178MM; | ADAPTER: BELL HOUSING;178MM; BM04 TRUNNION LUBE PUMPS; |  | ADAPTER:BELL HOUSING;178MM; |  |  | 1068342 @@ ISADRAULICS | TH4S-80S 178MM | [10 empty] | ISADRAULICS | TH4S-80S 178MM | [18 empty] | URL Not Found |  |  | TRUNNION LUBE PUMPS |  | BM04 |  |  |  |  | Cleansed | 31261500 Housings and cabinets |  |  | HOUSING | NO MODIFIER | TYPE | BELL | SIZE | 178 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1064566 | 1064566 | 1354577 | AU_QM_000143772 |  | ERSA | M | 5620 | 1354577GZPCLNT100 | EA |  | ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H | ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H | ADAPTER: ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H IGH FLOW GRP;;POS 200.4; |  | ADAPTER:ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H |  |  | 1068342 @@ ISADRAULICS | B40T1D127B | [12 empty] | CROSS HYDRAULICS | B40T1D127B | ISADRAULICS | [15 empty] | https://www.crosshydraulics.com.au/wp-content/uploads/2021/07/BH-DC_SAE_Catalogue_SAE_Pump_Bell_Housing.pdf | [8 empty] | 200.4 | Enriched | 31261500 Housings and cabinets | GROUP |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL,HIGH FLOW | SIZE | 400 ODX155 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1064568 | 1064568 | 1354579 | AU_QM_000143774 |  | ERSA | M | 5620 | 1354579GZPCLNT100 | EA |  | ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H | ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H | ADAPTER: ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H IGH PRESSURE GRP;;POS 250.4; |  | ADAPTER:ADAPTER;MOTOR;ELECTRICAL;;BELL HOUSING;H |  |  | 1068342 @@ ISADRAULICS | B35T1D127B | [12 empty] | CROSS HYDRAULICS | B35T1D127B | ISADRAULICS | [15 empty] | https://www.crosshydraulics.com.au/wp-content/uploads/2021/07/BH-DC_SAE_Catalogue_SAE_Pump_Bell_Housing.pdf | [8 empty] | 250.4 | Enriched | 31261500 Housings and cabinets | GROUP |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL,HIGH PRESSURE | SIZE | 350 ODX155 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065163 | 1065163 | 1450406 | AU_QM_001132596 |  | ERSA | M | 1630 | 1450406GZPCLNT100 | EA |  | BELL HOUSING;D180;SAE C 4 BOLT;OMT; SM0 | BELL HOUSING;D180;SAE C 4 BOLT;OMT; SM0 | ADAPTER,MOTOR,ELEC: BELL HOUSING;D180;SAE C 4 BOLT;OMT; SM0 1 SAG MILL RECIRCULATION CIRCUIT |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;D180;SAE C 4 BOLT;OMT;SM0 |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | TH4127A | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L |  | OMT | TH4127A | [16 empty] | https://timalco.com.au/shop/bell-housings-couplings/electric-motor-bell-housings/sae-bell-housing/160-180-frame-bell-housing/th4-127a/ | https://www.findynamica.nl/en/shop/product/bell-housing-o350127-th4-127a-h195 |  | SAG MILL RECIRCULATION CIRCUIT,D180 FRAME SAE C 4 BOLT PUMP |  | SM01 |  |  |  |  | Enriched | 31261500 Housings and cabinets |  |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE | 350 ODX195 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065170 | 1065170 | 1450251 | AU_QM_001129055 |  | ERSA | M | 1630 | 1450251GZPCLNT100 | EA |  | BELL HOUSING;B55 + T1C127B;D180 FRAME; | BELL HOUSING;B55 + T1C127B;D180 FRAME; | ADAPTER,MOTOR,ELEC: BELL HOUSING;B55 + T1C127B;D180 FRAME; SAE C 2-BOLT;ALUMINUM; SAG MILL NO.1 TRUNNION LUBE PUMP |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;B55 + T1C127B;D180 FRAME; |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | B55D40T1D127B | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | B55D40T1D127B |  |  |  | B55 + T1C127B | [14 empty] | URL Not Found |  |  | SAG MILL NO.1 TRUNNION LUBE PUMP,SAE C 2-BOLT | [6 empty] | Cleansed | 31261502 Metal housings or cabinets |  |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1065183 | 1065183 | 1449646 | AU_QM_001117159 |  | ERSA | M | 1630 | 1449646GZPCLNT100 | EA |  | BELL HOUSING;D132 FRAME SIZE X SAE | BELL HOUSING;D132 FRAME SIZE X SAE | ADAPTER,MOTOR,ELEC: BELL HOUSING;D132 FRAME SIZE X SAE 2-BOLT C PUMP MOUNT;CAST ALLOY; BM03 LUBRICATION SYSTEM |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;D132 FRAME SIZE X SAE |  |  | 1068342 @@ ISADRAULICS | 1449646 | [10 empty] | ISADRAULICS | 1449646 | [18 empty] | URL Not Found |  |  | D132 FRAME SIZE X SAE 2-BOLT C PUMP MOUNT,LUBRICATION SYSTEM |  | BM03 |  |  |  |  | Cleansed | 31261502 Metal housings or cabinets |  |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE |  | MATERIAL | CAST ALLOY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1068525 | 1068525 | 1354533 | AU_QM_000143648 |  | ERSA | M | 5620 | 1354533GZPCLNT100 | EA |  | BELL HOUSING;ALUMINIUM;;2 BOLT SAE A FLA | BELL HOUSING;ALUMINIUM;;2 BOLT SAE A FLA | ADAPTER: BELL HOUSING;ALUMINUM;;2 BOLT SAE A FLA NGE/1HP MOTOR; |  | ADAPTER:BELL HOUSING;ALUMINIUM;;2 BOLT SAE A FLA |  |  | 1068342 @@ ISADRAULICS | MBH80A2 | [10 empty] | ISADRAULICS | MBH80A2 | [18 empty] | URL Not Found |  |  | 2 BOLT SAE A FLA NGE/1HP MOTOR | [6 empty] | Cleansed | 31261502 Metal housings or cabinets |  |  | HOUSING | NO MODIFIER | TYPE | BELL | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1078195 | 1078195 |  |  |  | ERSA | M | 3750 | 1326145GZPCLNT100 | EA | 3000001 | ADAPTER;EPI,90003552,SHK | ADAPTADOR;EPI,90003552 | ADAPTER;MNFR:EPIROC,PTNO:90003552,ADDITIONAL FEATURES EN:SHANK | ADAPTADOR;MNFR:EPIROC,PTNO:90003552 |  | EPIROC | 90003552 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 90003552 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 90003552 | [16 empty] | https://www.epiroc.com/content/dam/epiroc/rock-drilling-tools/documents/Tophammer%20catalog.pdf | [9 empty] | Enriched | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | SHANK,STRAIGHT SPLINE | SIZE | 730 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1102029 | 1102029 |  |  |  | ERSA | M | 4090 | 1496008GZPCLNT100 | EA |  | ADAPTER;1756RIO | ADAPTER;1756RIO | [5 empty] | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | 1756RIO | [10 empty] | NHP ELECTRICAL ENGINEERING PROD |  | ROCKWELL AUTOMATION | 1756-RIO | [16 empty] | https://www.rockwellautomation.com/en-us/products/details.1756-RIO.html | https://www.plchardware.com/Products/RA-1756-RIO.aspx | [8 empty] | Enriched | 32151900 Automation control connectivity devices |  |  | MODULE | ELECTRONIC | TYPE | REMOTE I/O SCANNER | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1102136 | 1102136 |  |  |  | ERSA | M | 4090 | 1530123GZPCLNT100 | EA |  | ADAPTER;55 | ADAPTER;55 | ADAPTER;ADDITIONAL FEATURES:55 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 55 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | 55 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1102183 | 1102183 |  |  |  | ERSA | M | 4090 | 1528453GZPCLNT100 | EA |  | ADAPTER;VALVE,SPUD,SLC-C-100 | ADAPTER;VALVE,SPUD,SLC-C-100 | ADAPTER;ADDITIONAL FEATURES:VALVE,SPUD,SLC-C-100 |  |  |  |  | 1068168 @@ RIMEX WHEEL PTY LTD | SLC-C-100 | [10 empty] | RIMEX WHEEL PTY LTD | SLC-C-100 | [18 empty] | URL Not Found |  |  | VALVE | [6 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | SPUD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1102301 | 1102301 |  |  |  | ERSA | M | 1600 | 1496440GZPCLNT100 | EA |  | ADAPTER;MODULE,1756RIO | ADAPTER;MODULE,1756RIO | [5 empty] | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | 1756RIO | [10 empty] | NHP ELECTRICAL ENGINEERING PROD |  | ROCKWELL AUTOMATION | 1756-RIO | [16 empty] | https://www.rockwellautomation.com/en-us/products/details.1756-RIO.html | https://www.plchardware.com/Products/RA-1756-RIO.aspx | [8 empty] | Enriched | 32151900 Automation control connectivity devices |  |  | MODULE | ELECTRONIC | TYPE | REMOTE I/O SCANNER | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1104187 | 1104187 |  |  |  | ERSA | M | 3750 | 1523861GZPCLNT100 | EA |  | ADAPTER;307 05 083 | ADAPTER;307 05 083 | ADAPTER;ADDITIONAL FEATURES:307 05 083 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 307 05 083 | [10 empty] | DOWNUNDER MINING | 307 05 083 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1104315 | 1104315 |  |  |  | ERSA | M | 5910 | 1514168GZPCLNT100 | EA |  | ADAPTER;7/,7/8-14UNF-G1/4 (ASSY) | ADAPTER;7/,7/8-14UNF-G1/4 (ASSY) | ADAPTER;ADDITIONAL FEATURES:7/,7/8-14UNF-G1/4 (ASSY) |  |  |  |  | 1068342 @@ ISADRAULICS | 7/8-14UNF-G1/4 (ASSY) | [10 empty] | ISADRAULICS | 7/8-14UNF-G1/4 (ASSY) | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | ASSEMBLY |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 7/8 IN-14 TPI X G1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1104316 | 1104316 |  |  |  | ERSA | M | 5910 | 1514169GZPCLNT100 | EA |  | ADAPTER;G2 FLUI,G21/2A-4KT100 NBR/P355Q1 | ADAPTER;G2 FLUI,G21/2A-4KT100 NBR/P355Q1 | ADAPTER;ADDITIONAL FEATURES:G2 FLUI,G21/2A-4KT100 NBR/P355Q1 |  |  |  |  | 1068342 @@ ISADRAULICS | G2 1/2A-4KT100 NBR/P355Q1 | [10 empty] | ISADRAULICS | G2 1/2A-4KT100 NBR/P355Q1 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | G2 FLUID |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1105451 | 1105451 |  |  |  | ERSA | M | 5920 | 1514198GZPCLNT100 | EA |  | ADAPTER;INLET G1/2 BSPRM,130-003 | ADAPTER;INLET G1/2 BSPRM,130-003 | ADAPTER;ADDITIONAL FEATURES:INLET G1/2 BSPRM,130-003 |  |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 130-003 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L |  | SPX FLOW | 130-003 | [16 empty] | https://www.applied.com/c-spx-130-003/p/114674279 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | INLET | SIZE | G1/2 IN BSP | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1111002 | 1111002 | 1450354 | AU_QM_001131788 |  | ERSA | M | 1630 | 1450354GZPCLNT100 | EA |  | BELL HOUSING;SAE A2B-D112; | BELL HOUSING;SAE A2B-D112; | ADAPTER,MOTOR,ELEC: BELL HOUSING;SAE A2B-D112; ZINC THICKENER DRIVE |  | ADAPTER,MOTOR,ELEC: BELL HOUSING;SAE A2B-D112; |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | TH2825A | [12 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | TH2825A | [16 empty] | https://www.crosshydraulics.com.au/product/sae-pump-bell-housings/ | est |  | SAE A2B-D112 MOTOR | [6 empty] | Enriched | 31261500 Housings and cabinets | ZINC THICKENER DRIVE |  | HOUSING | NO MODIFIER | TYPE | ELECTRICAL MOTOR BELL | SIZE | 250 ODX136 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1112749 | 1112749 |  |  |  | ERSA | M | 4090 | 1573874GZPCLNT100 | EA |  | ADAPTER;GAGE,1/4 BSPP F,STL,M16 X 2 | ADAPTADOR; | ADAPTER;TYPE:GAUGE,SIZE:1/4 BSPP F,MATERIAL:STEEL,ADDITIONAL FEATURES EN:M16 X 2 | ADAPTADOR; |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | MTGAF162-04BPF | [12 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | MTGAF162-04BPF | [16 empty] | https://www.pirtekusa.com/wp-content/uploads/2022/02/F-PIRTEK-USA-Accessories-Section.pdf | [9 empty] | Cleansed | 40141700 Hardware and fittings | TEST POINT:M16X2 MM |  | ADAPTER | NO MODIFIER | TYPE | GAUGE | SIZE | 1/4 IN BSPP FEMALE | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1114347 | 1114347 |  |  |  | ERSA | M | 4005 | 1571453GZPCLNT100 | EA |  | ADAPTER;DRM,45MM,MTL,RAASM,BUNG,0AZ1014 | ADAPTADOR; | ADAPTER;TYPE:DRUM,SIZE:45MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:RAASM,BUNG,0AZ1014 | ADAPTADOR; |  |  |  | 1068342 @@ ISADRAULICS | AF-RA-10/14 | [10 empty] | ISADRAULICS | AF-RA-10/14 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | RAASM,BUNG,0AZ1014 |  | ADAPTER | NO MODIFIER | TYPE | DRUM | SIZE | 45 MM | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1122991 | 1122991 |  |  |  | ERSA | M | 3000 | 1616489GZPCLNT100 | EA | 3000018 | ADAPTER;CUM,MCL-C 4622/33,FOR PRIMING PU | ADAPTADOR;CUM,MCL-C 4622/33 | ADAPTER;MNFR:CUMMINS,PTNO:MCL-C 4622/33,ADDITIONAL FEATURES EN:FOR PRIMING PUMP,M:HH150C22 | ADAPTADOR;MNFR:CUMMINS,PTNO:MCL-C 4622/33 |  | CUMMINS | MCL-C 4622/33 | 1068142 @@ FITT RESOURCES PTY LTD | MCL-C 4622/33 | [10 empty] | FITT RESOURCES PTY LTD | MCL-C 4622/33 |  |  | CUMMINS | [15 empty] | URL Not Found |  |  | PRIMING PUMP |  | HH150C22 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1147028 | 1147028 |  |  |  | ERSA | M | 1600 | 1530726GZPCLNT100 | EA |  | ADAPTER;MOUNTING,FLOW SENSORS,,1 ,E40230 | ADAPTER;MOUNTING,FLOW SENSORS,,1 ,E40230 | ADAPTER;ADDITIONAL FEATURES:MOUNTING,FLOW SENSORS,,1 ,E40230 |  |  |  |  | 1069796 @@ IFM EFECTOR PTY LTD | E40230 | [12 empty] | IFM EFECTOR PTY LTD | E40230 | [16 empty] | https://www.ifm.com/in/en/product/E40230 | [9 empty] | Enriched | 41111900 Indicating and recording instruments | FOR FLOW SENSOR | C/W O-RING | ADAPTER | SENSOR | TYPE | MOUNTING | SIZE | 1-1/2 IN | END CONNECTION | BSPP | MATERIAL | STAINLESS STEEL 1.4571/316Ti | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1147358 | 1147358 |  |  |  | ERSA | M | 4090 | 1527554GZPCLNT100 | EA |  | ADAPTER;BOTTLE,TYPE 50,STORAGE C,PE1450B | ADAPTER;BOTTLE,TYPE 50,STORAGE C,PE1450B | ADAPTER;ADDITIONAL FEATURES:BOTTLE,TYPE 50,STORAGE C,PE1450B |  |  |  |  | 1068342 @@ ISADRAULICS | PE1450B | [10 empty] | ISADRAULICS | PE1450B | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE | STORAGE BOTTLE,TYPE 50 | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1147480 | 1147480 |  |  |  | ERSA | M | 4090 | 1525887GZPCLNT100 | EA |  | ADAPTER,PIPE;FP57900060TXH6B | ADAPTER,PIPE;FP57900060TXH6B | ADAPTER,PIPE;ADDITIONAL FEATURES:FP57900060TXH6B |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | FP57900060TXH6B | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | FP57900060TXH6B | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1148052 | 1148052 |  |  |  | ERSA | M | 2200 | 1539142GZPCLNT100 | EA |  | ADAPTER,PIPE;63MM-2",MI,BRASS,SDR,88714 | ADAPTER,PIPE;63MM-2",MI,BRASS,SDR,88714 | ADAPTER,PIPE;ADDITIONAL FEATURES:63MM-2,MI,BRASS,SDR,88714 |  |  |  |  | 1068228 @@ VINIDEX PTY LTD | 88714 | [12 empty] | VINIDEX PTY LTD | 88714 | [16 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/friatec-electrofusion-fittings/male-adaptor-e-f-long-spigot-sdr-11-pe-100-2/ | [9 empty] | Enriched | 40171701 Brass pipe adapter |  |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 63 MM X 2 IN | END CONNECTION | MALE | LENGTH |  | SCHEDULE/WALL THICKNESS | SDR 11 | PRESSURE CLASS/RATING | 16 BAR (WATER),10 BAR GAS | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1151122 | 1151122 | 1476217 | AU_QM_000755975 |  | ERSA | M | 5910 | 1476217GZPCLNT100 | EA |  | ADAPTER,HSE-PIPE;BOC,21-0812 | ADAPTER,HSE-PIPE;BOC,21-0812 |  |  | ADAPTER,STRAIGHT,PIPE TO HOSE:R134A REFRIGERANT ADAPTOR; |  |  | 1068135 @@ BOC LIMITED | 21-0812 | [10 empty] | BOC LIMITED | 21-0812 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE |  | HOSE SIZE |  | PIPE CONNECTION |  | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1151425 | 1151425 | 1474835 | AU_QM_000176462 |  | ERSA | M | 1600 | 1474835GZPCLNT100 | EA |  | ADAPTER;CNW,ALTP1700A | ADAPTER;CNW,ALTP1700A |  |  | ADAPTER:P1700A;DB25 MALE TO RJ45 MODULAR FEMALE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | P1700A | [12 empty] | ALTRONIC DISTRIBUTORS PTY LTD | P1700A | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.altronics.com.au/p/p1700a-db25-male-to-rj45-modular-female-adapter/ | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories |  |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | DB25 MALE | CONNECTOR END 2 | RJ45 MODULAR FEMALE | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1151849 | 1151849 | 1473547 | AU_QM_001220573 |  | ERSA | M | 5910 | 1473547GZPCLNT100 | EA |  | ADAPTER; | ADAPTER; |  |  | ADAPTER:ADAPTER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1473547 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1473547 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1152449 | 1152449 |  |  |  | ERSA | M | 4075 | 1527713GZPCLNT100 | EA |  | ADAPTER,PIPE;20 MM X 3/4 IN ,1534014 | ADAPTER,PIPE;20 MM X 3/4 IN ,1534014 | ADAPTER,PIPE;ADDITIONAL FEATURES:20 MM X 3/4 IN ,1534014 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1534014 | [12 empty] | REECE PTY LTD | 1534014 | [16 empty] | https://www.reece.com.au/product/auspex-p-x-male-adaptor-20mm-x-3-4-1534014?query=1534014 | [9 empty] | Enriched | 40171701 Brass pipe adapter |  |  | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 20 MM X 3/4 IN | END CONNECTION | MALE BSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3581 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1153764 | 1153764 |  |  |  | ERSA | M | 1600 | 1508878GZPCLNT100 | EA |  | ADAPTER,COMMUNICATION;AFLADPT-ST-DDH-MYL | ADAPTER,COMMUNICATION;AFLADPT-ST-DDH-MYL | ADAPTER,COMMUNICATION;ADDITIONAL FEATURES:AFLADPT-ST-DDH-MYL |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AFLADPT-ST-DDH-MYL | [12 empty] | AFL GLOBAL | ADPT-ST-DDH-MYL | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.aflglobal.com/au/-/media/Project/AFL-Global/Product-Specification-Sheet/AFL-Oceania-PDF/Test-and-Inspection/Encircled-Flux_EF-Compliant-Light-Sources-and-Test-Kits-22-06-21.pdf | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories |  |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 |  | CONNECTOR END 2 |  | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1154362 | 1154362 |  |  |  | ERSA | M | 4500 | 1514237GZPCLNT100 | EA |  | ADAPTER,COMMUNICATION;AI-,AI-485 ADAPTOR | ADAPTER,COMMUNICATION;AI-,AI-485 ADAPTOR | ADAPTER,COMMUNICATION;ADDITIONAL FEATURES:AI-,AI-485 ADAPTOR |  |  |  |  | 1070461 @@ ESM AUSTRALIA PTY LTD | AI-485 ADAPTOR | [12 empty] | NIDEC MOTOR CORPORATION | AI-485 ADAPTOR | ESM AUSTRALIA PTY LTD | [15 empty] | https://acim.nidec.com/drives/control-techniques/products/options-and-accessories/communications-option-modules/ai-485-adaptor | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories |  |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 |  | CONNECTOR END 2 |  | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1155017 | 1155017 |  |  |  | ERSA | M | 4305 | 1538968GZPCLNT100 | EA |  | ADAPTER,DRV;POSITION ENCODER,ISAD210011 | ADAPTER,DRV;POSITION ENCODER,ISAD210011 | ADAPTER,DRV;ADDITIONAL FEATURES:POSITION ENCODER,ISAD210011 |  |  |  |  | 1068342 @@ ISADRAULICS | ISAD210011 | [10 empty] | ISADRAULICS | ISAD210011 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR POSITION ENCODER |  | ADAPTER | DRIVE | TYPE |  | DRIVE END STYLE |  | DRIVE END SIZE MALE |  | DRIVE END SIZE FEMALE |  | LOCK END STYLE |  | LOCK END SIZE |  | OVERALL LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1155653 | 1155653 |  |  |  | ERSA | M | 3750 | 1496292GZPCLNT100 | EA |  | ADAPTER,TOOL;SAN,BC00001578 | ADAPTER,TOOL;SAN,BC00001578 | ADAPTER,TOOL;ADDITIONAL FEATURES:SAN,BC00001578 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BC00001578 | [12 empty] | SANDVIK MINING & CONSTRUCTION | BC00001578 | [16 empty] | https://my.sandvik/product/quad-adapter-right-hand/ | [9 empty] | Cleansed | 27112800 Tool attachments and accessories |  |  | ADAPTER | TOOL | TYPE | QUAD,RIGHT HAND,STANDARD | TOOL SIZE | 55 MM THK | SHANK TYPE |  | SHANK SIZE |  | MATERIAL | STEEL ALLOY SS3000 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1183834 | 1183834 |  |  |  | ERSA | M | 4500 | 1561477GZPCLNT100 | EA |  | ADAPTER,COMM;LGHTNG,3.5MM AUDIO,XFR | ADAPTADOR COMUNIC; | ADAPTER,COMMUNICATION;CONNECTOR END 1:LIGHTNING,CONNECTOR END 2:3.5MM AUDIO,INTERFACE TYPE:TRANSFER,ADDITIONAL FEATURES EN: LIGHTNING-3.5MM HEADPHONE JACK | ADAPTADOR COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | MMX62FE/A | [12 empty] | HARVEY NORMAN FURNITURE MT ISA | MMX62FE/A | [16 empty] | https://www.harveynorman.com.au/apple-lightning-to-3-5mm-headphone-jack-adapter.html | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories |  |  | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | LIGHTNING | CONNECTOR END 2 | 3.5 MM AUDIO HEADPHONE JACK | INTERFACE TYPE | TRANSFER | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1183837 | 1183837 |  |  |  | ERSA | M | 4500 | 1561474GZPCLNT100 | EA |  | ADAPTER,COMM;USB-C,3.5MM AUDIO,XFR | ADAPTADOR COMUNIC; | ADAPTER,COMMUNICATION;CONNECTOR END 1:USB-C,CONNECTOR END 2:3.5MM AUDIO,INTERFACE TYPE:TRANSFER,ADDITIONAL FEATURES EN:USB-C TO 3. 5MM AUDIO,ALOGIC | ADAPTADOR COMUNICACION; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | ELPC35A-BK | [12 empty] | HARVEY NORMAN FURNITURE MT ISA | ELPC35A-BK | [16 empty] | https://www.harveynorman.ie/mobile-phones/phone-accessories/cables-en/alogic-elements-pro-usb-c-to-3.5mm-audio-adapter-10cm-black.html | [9 empty] | Cleansed | 43190000 Communications Devices and Accessories | BRAND:ALOGIC | LENGTH:100 MM,COLOR:BLACK | ADAPTER | COMMUNICATION | TYPE |  | CONNECTOR END 1 | USB-C | CONNECTOR END 2 | 3.5 MM AUDIO HEADPHONE JACK | INTERFACE TYPE | TRANSFER | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1185418 | 1185418 |  |  |  | ERSA | M | 5915 | 1557196GZPCLNT100 | EA |  | ADAPTER;TEMP SENSOR,BRS | ADAPTADOR; | ADAPTER;TYPE:TEMP SENSOR,SIZE:1/8 27NPTF TO M14 X 1.5,MATERIAL:BRASS | ADAPTADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | 320.054 | [12 empty] | ASHDOWN INGRAM | 320.054 | [16 empty] | https://www.12and24volts.com.au/products/320-054?_pos=1&_sid=f11277e74&_ss=r | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE | 1/8 IN-27 TPI TO M14 X 1.5 MM | END CONNECTION | NPTF | MATERIAL | BRASS | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1185419 | 1185419 |  |  |  | ERSA | M | 5915 | 1557195GZPCLNT100 | EA |  | ADAPTER;TEMP SENSOR,BRS | ADAPTADOR; | ADAPTER;TYPE:TEMP SENSOR,SIZE:1/8 27NPTF TO 1/4 18 NPTF,MATERIAL:BRASS | ADAPTADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | 320.05 | [12 empty] | ASHDOWN INGRAM | 320.05 | [16 empty] | https://www.12and24volts.com.au/products/320-05 | [9 empty] | Cleansed | 41111900 Indicating and recording instruments |  |  | ADAPTER | SENSOR | TYPE |  | SIZE | 1/8 IN-27 TPI TO 1/4 IN-18 TPI | END CONNECTION | NPTF | MATERIAL | BRASS | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1185441 | 1185441 |  |  |  | ERSA | M | 4090 | 1557173GZPCLNT100 | EA |  | ADAPTER,HSE-PIPE;1/2 IN BSP,25MM,PE | ADAPTADOR MANG TUBO; | ADAPTER,HOSE TO PIPE;PIPE CONNECTION:1/2 IN BSP,HOSE CONNECTION:25MM,MATERIAL:PE,ADDITIONAL FEATURES EN:METRIC,25MMX1/2 IN BSP, PLASSON | ADAPTADOR MANGUERA TUBO; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 1557173 | [10 empty] | BUTLER AGENCIES PTY LTD | 1557173 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 40141700 Hardware and fittings | BRASS:PLASSON |  | ADAPTER | HOSE TO PIPE | TYPE | METRIC | PIPE SIZE | 1/2 IN | HOSE SIZE | 25 MM | PIPE CONNECTION | BSP | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1189983 | 1189983 |  |  |  | ERSA | M | 4090 | 1575235GZPCLNT100 | EA |  | ADAPTER;PIPNG,1 IN,RC,E600-10-A | ADAPTADOR; | ADAPTER;TYPE:PIPING,SIZE:1 IN,MATERIAL:,ADDITIONAL FEATURES EN:RC,E600-10-A | ADAPTADOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | E600-10-A | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | E600-10-A | [16 empty] | https://www.smcpneumatics.com/E600-10-A.html | https://www.smcpneumatics.com/pdfs/ac_series.pdf | [8 empty] | Enriched | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | MODULAR | NOMINAL SIZE | 1 IN | END CONNECTION | RC | LENGTH | 35 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1204213 | 1204213 |  |  |  | ERSA | M | 5820 | 148865MRM | EA |  | ADAPTER:HYDAC BREATHER ADAPTORS 3/4 BSP | ADAPTER:HYDAC BREATHER ADAPTORS 3/4 BSP | ADAPTER:HYDAC BREATHER ADAPTORS 3/4 BSP MALE X 1IN BSP FEMALE |  |  |  |  | 1068342 @@ ISADRAULICS | PN1204213 | [10 empty] | ISADRAULICS | PN1204213 | [18 empty] | URL Not Found |  |  | BREATHER | HYDAC | [5 empty] | Cleansed | 40141700 Hardware and fittings | CONNECTION TYPE:MALE BSP X FEMALE BSP |  | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 3/4X1 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-10-28 | 2023-11-09 |  | 1204528 | 1204528 |  |  |  | ERSA | M | 5820 | 149257MRM | EA |  | ADAPTER:VENT PIPE ADAPTOR FOR 4D-AHF CAR | ADAPTER:VENT PIPE ADAPTOR FOR 4D-AHF CAR | ADAPTER:VENT PIPE ADAPTOR FOR 4D-AHF CARS PUMP; |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | E561A05 | [10 empty] | WEIR MINERALS AUSTRALIA LTD | E561A05 | [18 empty] | URL Not Found |  |  | CARS PUMP |  | 4D-AHF |  |  |  |  | Cleansed | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | VENT | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed