## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1185045 | 1185045 |  |  |  | ERSA | M | 1600 | 1557619GZPCLNT100 | EA | 3000422 | CABINET;CNW,RIT55530110,RIT5530110, TS I | ARMARIO;CNW,RIT55530110 | CABINET;MNFR:CNW,PTNO:RIT55530110,ADDITIONAL FEATURES EN:RIT5530110, TS IT RAL7035 WHD 600X2000X8,00, 42U | ARMARIO;MNFR:CNW,PTNO:RIT55530110 |  | CNW | RIT55530110 | [12 empty] | CNW | RIT55530110 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | TS IT,COLOR:RAL 7035,NUMBER OF RACK:42 |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 600 WD MMX2 HT MX8 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1021704 | 1021704 | 1377674 | AU_QM_000216916 |  | ERSA | M | 5955 | 1377674GZPCLNT100 | EA | 3000001 | CABINET;EPI,9106 1310 32 | CABINET;EPI,9106 1310 32 | CABINET;MNFR:EPIROC,PTNO:9106 1310 32 |  | CABINET;EPI,9106 1310 32CABINET;EPI,9106 1310 32 | EPIROC | 9106 1310 32 | [12 empty] | EPIROC | 9106 1310 32 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1009030 | 1009030 |  |  |  | ERSA | M | 5000 | 1612165GZPCLNT100 | EA | 3000010 | CABINET;SAN,77013951 | ARMARIO;SAN,77013951 | CABINET;MNFR:SANDVIK,PTNO:77013951 | ARMARIO;MNFR:SANDVIK,PTNO:77013951 |  | SANDVIK | 77013951 | [14 empty] | SANDVIK | 77013951 | [16 empty] | https://www.chinadrillingtools.cn/sandvik-parts-catalogues | [9 empty] | Cleansed | 39121332 Electrical junction box |  |  | BOX | JUNCTION | TYPE |  | SIZE |  | MATERIAL |  | HUB SIZE |  | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1045101 | 1045101 | 1421027 | AU_QM_000267218 |  | ERSA | M | 5915 | 1421027GZPCLNT100 | EA |  | CARD,MEM;MICRO SD,32 GB,100/90 MB/S | CARD,MEM;MICRO SD,32 GB,100/90 MB/S | CARD,MEMORY;TYPE:MICRO SD,MEMORY:32 GB,READ/WRITING SPEED:100/90 MB/S,CONNECTION TYPE:UHS-I,ADDITIONAL FEATURES EN:REQUIRED FOR USE |  | CARD,MEM;MICRO SD,32 GB,100/90 MB/SCARD,MEM;MICRO SD,32GB,100/90Mb/S,UHS-I | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201800 Media storage devices | REQUIRED FOR USE |  | CARD | MEMORY | TYPE | MICRO SD | MEMORY | 32 GB | POWER SUPPLY |  | READ/WRITING SPEED | 100 MB/S READ,90 MB/S WRITE | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE | UHS-I | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1007897 | 1007897 |  |  |  | ERSA | M | 5000 | 1611690GZPCLNT100 | EA | 3000010 | CARD;SAN,55022125 | TARJETA;SAN,55022125 | CARD;MNFR:SANDVIK,PTNO:55022125 | TARJETA;MNFR:SANDVIK,PTNO:55022125 |  | SANDVIK | 55022125 | [14 empty] | SANDVIK | 55022125 | [16 empty] | https://expa-parts.com/sandvik/connecting/55022125/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | CARD | NO MODIFIER | TYPE | CONNECTING | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1007899 | 1007899 |  |  |  | ERSA | M | 5000 | 1611688GZPCLNT100 | EA | 3000010 | CARD;SAN,55190613 | TARJETA;SAN,55190613 | CARD;MNFR:SANDVIK,PTNO:55190613 | TARJETA;MNFR:SANDVIK,PTNO:55190613 |  | SANDVIK | 55190613 | [12 empty] | SANDVIK | 55190613 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1080641 | 1080641 |  |  |  | ERSA | M | 5000 | 1611692GZPCLNT100 | EA | 3000010 | CARD;SAN,BG00907245 | TARJETA;SAN,10536941 | CARD;SAN,BG00907245 | TARJETA;MNFR:SANDVIK,PTNO:10536941 |  | SANDVIK | BG00907245 | [12 empty] | SANDVIK | BG00907245 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184643 | 1184643 |  |  |  | ERSA | M | 1540 | 1558831GZPCLNT100 | EA |  | CHEMICAL;ADH,8802310 | QUIMICO; | CHEMICAL;TYPE:ADHESIVE,CONCENTRATION/PURITY:TBC,MSDS/CAS NUMBER:.,COMPOSITION:.,ADDITIONAL FEATURES EN:CAPSULE,RAMSET,CHEM12,12MM | QUIMICO; | [15 empty] | RAMSET | 8802310 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31201601 Chemical adhesives | 12 MM |  | CHEMICAL | NO MODIFIER | TYPE | ADHESIVE | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM | CAPSULE | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1111599 | 1111599 | 1402978 | AU_QM_000247648 |  | ERSA | M | 5915 | 1402978GZPCLNT100 | EA |  | CHEMICAL;ZALTA MA11-443 | CHEMICAL;ZALTA MA11-443 | CHEMICAL;MNFR: ,PTNO:ZALTA MA11-443 |  | CHEMICAL;ZALTA MA11-443CHEMICAL;ZALTA MA11-443 | [14 empty] | ZALTA | MA11-443 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE |  | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1067383 | 1067383 | 1443302 | AU_QM_001000050 |  | ERSA | M | 1600 | 1443302GZPCLNT100 | EA |  | CONTROL (LESS POTENTIOMETER) | CONTROL (LESS POTENTIOMETER) | CIRCUIT CARD ASSEMBLY: CONTROL (LESS POTENTIOMETER) JOB NO.1988 FOR 132KW VF MOTOR |  | CIRCUIT CARD ASSEMBLY:CONTROL (LESS POTENTIOMETER) | [34 empty] | XX | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,CONTROL (LESS POTENTIOMETER),JOB NO.1988,FOR 132KW VF MOTOR |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1001917 | 1001917 |  |  |  | ERSA | M | 5000 | 1592346GZPCLNT100 | EA | 3000010 | CABINET;SAN,55056981 | ARMARIO;SAN,55056981 | CABINET;MNFR:SANDVIK,PTNO:55056981 | ARMARIO;MNFR:SANDVIK,PTNO:55056981 |  | SANDVIK | 55056981 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55056981 | [12 empty] | SANDVIK | 55056981 | SANDVIK MINING & CONSTRUCTION | 55056981 | [14 empty] | https://www.rockser.com.tr/export/4 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BOX | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1001918 | 1001918 |  |  |  | ERSA | M | 5000 | 1592345GZPCLNT100 | EA | 3000010 | CABINET;SAN,55056973 | ARMARIO;SAN,55056973 | CABINET;MNFR:SANDVIK,PTNO:55056973 | ARMARIO;MNFR:SANDVIK,PTNO:55056973 |  | SANDVIK | 55056973 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55056973 | [10 empty] | SANDVIK | 55056973 |  |  | SANDVIK MINING & CONSTRUCTION | 55056973 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1009814 | 1009814 |  |  |  | ERSA | M | 5100 | 1615094GZPCLNT100 | EA | 3000014 | CARD,INTFC;ABB,3ADT220090R0023,SDCS-IOB- | INTERFAZ TARJ;ABB,3ADT220090R0023 | CARD,INTERFACE;MNFR:ABB,PTNO:3ADT220090R0023,ADDITIONAL FEATURES EN:SDCS-IOB-23-DIGITAL O/P BOARD,230 VAC,FOR DCS800 DRIVE | INTERFAZ TARJETA;MNFR:ABB,PTNO:3ADT220090R0023 |  | ABB | 3ADT220090R0023 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT220090R0023 | [11 empty] | SDCS-IOB-23 | ABB AUSTRALIA PTY LTD | 3ADT220090R0023 | [16 empty] | https://new.abb.com/products/3ADT220090R0023/3adt220090r0023?IN | https://www.electricautomationnetwork.com/en/abb/sdcs-iob-23-3adt220090r0023-abb-digital-connection-board-supply-230v-ac-coated | [8 empty] | Cleansed | 39121500 Electrical controls and accessories | FOR DCS800 DRIVE,VOLTAGE RATING:230 VAC |  | BOARD | NO MODIFIER | TYPE | DIGITAL CONNECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1009826 | 1009826 |  |  |  | ERSA | M | 5100 | 1615106GZPCLNT100 | EA | 3000014 | CARD,INTFC;ABB,68805368,DIGITAL I/O EXTE | INTERFAZ TARJ;ABB,68805368 | CARD,INTERFACE;MNFR:ABB,PTNO:68805368,ADDITIONAL FEATURES EN:DIGITAL I/O EXTENSION,FIO-01,FOR DCS800 DRIVE | INTERFAZ TARJETA;MNFR:ABB,PTNO:68805368 |  | ABB | 68805368 | 1068212 @@ ABB AUSTRALIA PTY LTD | 68805368 | [11 empty] | FIO-01 | ABB AUSTRALIA PTY LTD | 68805368 | [16 empty] | https://new.abb.com/products/68805368/68805368?IN | https://www.electricautomationnetwork.com/en/abb/fio-01-68805368-abb-digital-i-o-extension-for-acsm1-acs850-acl30-04-acq810-acs880 | [8 empty] | Cleansed | 39121500 Electrical controls and accessories | FOR DCS800 DRIVE |  | EXTENSION | NO MODIFIER | TYPE | DIGITAL I/O | EXTENDED SIZE |  | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1009827 | 1009827 |  |  |  | ERSA | M | 5100 | 1615107GZPCLNT100 | EA | 3000014 | CARD,INTFC;ABB,3ADT316300R1510,SDCS-PIN- | INTERFAZ TARJ;ABB,3ADT316300R1510 | CARD,INTERFACE;MNFR:ABB,PTNO:3ADT316300R1510,ADDITIONAL FEATURES EN:SDCS-PIN-4B,POWER INTERFACE BOARD,FOR DCS800 DRIVE | INTERFAZ TARJETA;MNFR:ABB,PTNO:3ADT316300R1510 |  | ABB | 3ADT316300R1510 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADT316300R1510 | [11 empty] | SDCS-PIN-4B | ABB AUSTRALIA PTY LTD | 3ADT316300R1510 | [16 empty] | https://new.abb.com/products/3ADT316300R1510/3adt316300r1510 | https://link-industrial.com/products/3adt316300r1510 | [8 empty] | Cleansed | 39121500 Electrical controls and accessories | FOR DCS800 DRIVE |  | BOARD | NO MODIFIER | TYPE | POWER INTERFACE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1009832 | 1009832 |  |  |  | ERSA | M | 5100 | 1615112GZPCLNT100 | EA | 3000014 | CARD,INTFC;ABB,3AUA0000107393,OPTCL,DDCS | INTERFAZ TARJ;ABB,3AUA0000107393 | CARD,INTERFACE;MNFR:ABB,PTNO:3AUA0000107393,ADDITIONAL FEATURES EN:OPTICAL,DDCS COMMUNICATION,5/10 MBD FDCO-02,FOR DCS800 DRIVE | INTERFAZ TARJETA;MNFR:ABB,PTNO:3AUA0000107393 |  | ABB | 3AUA0000107393 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3AUA0000107393 | [11 empty] | FDCO-02 | ABB AUSTRALIA PTY LTD | 3AUA0000107393 | [16 empty] | https://new.abb.com/products/3AUA0000107393/3aua0000107393?IN | https://eltra-trade.com/products/abb-3aua0000107393 | [8 empty] | Cleansed | 39121500 Electrical controls and accessories | 5/10 MBD,FOR DCS800 DRIVE |  | BOARD | NO MODIFIER | TYPE | OPTICAL,DDCS COMMUNICATION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1032129 | 1032129 | 1357253 | AU_QM_000150303 |  | ERSA | M | 5100 | 1357253GZPCLNT100 | EA | 3000000 | CARD;ATL,9106219602 | CARD;ATL,9106219602 | CARD;MNFR:ATLAS COPCO,PTNO:9106219602 |  | CIRCUIT CARD ASSEMBLY:MAIN DISPLAY CONTROL PANEL CIRCUIT BOARD | ATLAS COPCO | 9106219602 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9106219602 | [10 empty] | EPIROC AUSTRALIA PTY LTD | 9106219602 | ATLAS COPCO | 9106219602 | [16 empty] | https://expa-parts.com/atlas.copco/circuit/9106219602/ | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR MAIN DISPLAY CONTROL PANEL |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1035979 | 1035979 |  |  |  | ERSA | M | 4090 | 1530229GZPCLNT100 | L |  | CHEMICAL;CLAY MITIGATING,FO,TYTRO CM-371 | CHEMICAL;CLAY MITIGATING,FO,TYTRO CM-371 | CHEMICAL;ADDITIONAL FEATURES:CLAY MITIGATING,FO,TYTRO CM-371 |  |  |  |  | 1069614 @@ GCP AUSTRALIA PTY LTD | TYTRO CM-371 | [14 empty] | GCP AUSTRALIA PTY LTD | TYTRO CM-371 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | FO |  | CHEMICAL | NO MODIFIER | TYPE | CLAY MITIGATING | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1035980 | 1035980 |  |  |  | ERSA | M | 4090 | 1530228GZPCLNT100 | L |  | CHEMICAL;MATERIAL PERFORMAN,TYTRO MF-970 | CHEMICAL;MATERIAL PERFORMAN,TYTRO MF-970 | CHEMICAL;ADDITIONAL FEATURES:MATERIAL PERFORMAN,TYTRO MF-970 |  |  |  |  | 1069614 @@ GCP AUSTRALIA PTY LTD | TYTRO MF-970 | [14 empty] | GCP AUSTRALIA PTY LTD | TYTRO MF-970 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE | MATERIAL PERFORMAN | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1035981 | 1035981 |  |  |  | ERSA | M | 4090 | 1530227GZPCLNT100 | L |  | CHEMICAL;WATER REDUCING,PAS,TYTRO MF-978 | CHEMICAL;WATER REDUCING,PAS,TYTRO MF-978 | CHEMICAL;ADDITIONAL FEATURES:WATER REDUCING,PAS,TYTRO MF-978 |  |  |  |  | 1069614 @@ GCP AUSTRALIA PTY LTD | TYTRO MF-978 | [14 empty] | GCP AUSTRALIA PTY LTD | TYTRO MF-978 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials | PAS |  | CHEMICAL | NO MODIFIER | TYPE | WATER REDUCING | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1036972 | 1036972 |  |  |  | ERSA | M | 4090 | 1531426GZPCLNT100 | CAR |  | CHEMICAL;COUPLANT ULTRASONIX 12OZ,362903 | CHEMICAL;COUPLANT ULTRASONIX 12OZ,362903 | CHEMICAL;ADDITIONAL FEATURES:COUPLANT ULTRASONIX 12OZ,362903 |  |  |  |  | 1069714 @@ BLACKWOODS | 362903 | 1068652 @@ J BLACKWOOD & SONS | 362903 | [10 empty] | ECHO ULTRASONICS | CO-ULTRASONIX (12) | [12 empty] | BLACKWOODS | 362903 |  |  | https://www.blackwoods.com.au/electrical/test-measurement/multifunction-testers/echo-ultrasonics-couplant-12oz-355ml-co-ultrasonix-carton-of-12/p/00362903 | [9 empty] | Cleansed | 41113600 Electrical measuring and testing equipment and accessories |  |  | CHEMICAL | NO MODIFIER | TYPE | COUPLANT ULTRASONIX | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE | 12 OZ | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1052447 | 1052447 |  |  |  | ERSA | M | 2920 | 1578832GZPCLNT100 | PAC |  | CHEMICAL;SODIUM CHLORIDE,20ML,PK 5 | QUIMICO; | CHEMICAL;TYPE:SODIUM CHLORIDE,CONCENTRATION/PURITY:,MSDS/CAS NUMBER:,COMPOSITION:,ADDITIONAL FEATURES EN:20ML,PK 5 | QUIMICO; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 870358 | [12 empty] | FIRST AIDERS CHOICE | 870358 | ALLIANCE SAFETY EQUIPMENT P/L | 870358 | [14 empty] | https://www.alliancesafety.com.au/product/sodium-chloride-eye-wash-pods-20ml/870358?search=870358 | [9 empty] | Enriched | 12000000 Chemicals including Bio Chemicals and Gas Materials | PACKAGE QUANTITY:5/PK |  | CHEMICAL | NO MODIFIER | TYPE | EYE WASH PODS | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | SODIUM CHLORIDE | CONTAINER SIZE | 20 ML | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1053594 | 1053594 |  |  |  | ERSA | M | 4500 | 1577012GZPCLNT100 | EA |  | CARD,MEM;128GB,SAMSUNG MICROSD PRO PLUS | TARJETA MEMO; | CARD,MEMORY;MEMORY:128GB,ADDITIONAL FEATURES EN:SAMSUNG MICROSD PRO PLUS,W/ADAPTER | TARJETA MEMORIA; |  |  |  | 1068599 @@ MTI AVIT PTY LIMITED T/A MTI | MB-MD128KA/APC | [12 empty] | SAMSUNG | MB-MD128KA/APC | MTI AVIT PTY LIMITED T/A MTI | MB-MD128KA/APC | [14 empty] | https://www.samsung.com/au/memory-storage/memory-card/pro-plus-128gb-microsd-card-mb-md128ka-apc/ | [9 empty] | Enriched | 43202005 Flash memory storage card | PRO PLUS,C/W ADAPTER | SPEED CLASS RATING:U3,V30,A2 | CARD | MEMORY | TYPE | MICRO SD | MEMORY | 128 GB | POWER SUPPLY | 2.7 TO 3.6 V | READ/WRITING SPEED | 160 MB/S READ,120 MB/S WRITE | SIZE | 15 WDX11 HTX1 DP MM | TEMPERATURE RATING | -25 TO 85 DEG C | CONNECTION TYPE | UHS-I | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE(UKCA)/FCC/VCCI/RCM | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1054385 | 1054385 |  |  |  | ERSA | M | 4045 | 1616523GZPCLNT100 | EA |  | CABINET;STOR,1192X1162X375 MM,SHLV 2 | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1192X1162X375 MM,MATERIAL:HEAVY DUTY SHEET STEE,NUMBER OF SHELVES:2,ADDITIONAL FEATURES EN:STOREMASTA | ARMARIO; |  |  |  | 1068502 @@ ATOM SUPPLY | SPP3 | [12 empty] | STOREMASTA | SPP3 | ATOM SUPPLY | SPP3 | [14 empty] | https://shop.storemasta.com.au/products/spp3 | [9 empty] | Enriched | 56101530 Storage cabinets |  | NUMBER OF DOOR:2 | CABINET | NO MODIFIER | TYPE | HEAVY DUTY,PPE STORAGE | SIZE | 1.162 WD MX1.192 HT MX375 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | SHEET STEEL | NUMBER OF SHELVES | 3 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1054614 | 1054614 |  |  |  | ERSA | M | 4045 | 1585390GZPCLNT100 | EA |  | CABINET;CMBNTN,2100X1010X605 MM | ARMARIO; | CABINET;TYPE:COMBINATION,SIZE:2100X1010X605 MM,MATERIAL:,ADDITIONAL FEATURES EN:166-000,CONFIRGURATION:BTCS.2100.1010,CABINET CARCASS: MONUMENT TEXTURA, DOORS & SHELVES: SURFMIST TEXTUR,INCLUDES: 1 X 9BOS BTDKS.2100.1010, 5 X 9BOS BTCS.SHELF.1010,1 X HEAVY DUTY LEVELLING FOOT KIT | ARMARIO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | W&G9BOSBTCS21001010 | [14 empty] | METAL MANUFACTURES PTY LTD | W&G9BOSBTCS21001010 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | 166-000,CONFIRGURATION:BTCS.2100.1010,CABINET CARCASS:MONUMENT TEXTURA, DOORS AND SHELVES:SURFMIST TEXTUR,INCLUDES:(1) 9BOS BTDKS.2100.1010, (5) 9BOS BTCS.SHELF.1010,(1) HEAVY DUTY LEVELLING FOOT KIT |  | CABINET | NO MODIFIER | TYPE | COMBINATION | SIZE | 2.1 MX1.01 MX605 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1055535 | 1055535 |  |  |  | ERSA | M | 4045 | 1584658GZPCLNT100 | EA |  | CABINET;STOR,1100X1260X465 MM,160 L,STL | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1100X1260X465 MM,CAPACITY:160 L,MATERIAL:STEEL,ADDITIONAL FEATURES EN:GOLDEN YELLOW,F/FLAMMABLE LIQUIDS, JUSTRITE,AU25302 | ARMARIO; |  |  |  | 1068200 @@ J.BLACKWOOD & SON LIMITED | 3419166 | [10 empty] | JUSTRITE |  | PBA SAFETY | AU25302 | [12 empty] | J.BLACKWOOD & SON LIMITED | 3419166 |  |  | https://www.blackwoods.com.au/workplace-safety/environmental-protection-dangerous-goods-storage/cabinets-flammable-liquid-storage-pba/cabinet-storage-flammable-160ltr-au25302/p/03419166 | [9 empty] | Enriched | 56101530 Storage cabinets | COLOR:GOLDEN YELLOW,FOR FLAMMABLE LIQUIDS |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.1 WD MX1.23 HT MX465 DP MM | CAPACITY | 160 L | NUMBER OF COMPARTMENTS |  | MATERIAL | ELECTROSTATIC POWDER COATED,HIGH GLOSS BAKED PAINT,STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1940:2007 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1056613 | 1056613 |  |  |  | ERSA | M | 2920 | 1613964GZPCLNT100 | EA |  | CABINET;LFEBY,DIA850X200 MM | ARMARIO; | CABINET;TYPE:LIFEBUOY,SIZE:DIA850X200 MM,MATERIAL:MOULDED POLYETHYLENE,ADDITIONAL FEATURES EN:BRAND:MOULDED POLYETHYLENE | ARMARIO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1456666 | [12 empty] | SURVITEC | MLIF15 | [12 empty] | J BLACKWOOD & SONS | 1456666 |  |  | https://www.blackwoods.com.au/workplace-safety/marine-safety/ring-lifebuoy/survitec-mlif15-sos4-lifebuoy-container-no-cover-moulded-polyethylene-orange-850x200/p/01456666 | [9 empty] | Enriched | 46161700 Rescue equipment and accessories |  | COLOR:ORANGE | CABINET | NO MODIFIER | TYPE | LIFEBUOY | SIZE | 850 DIAX200 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | MOULDED POLYETHYLENE | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1056786 | 1056786 |  |  |  | ERSA | M | 4035 | 1615666GZPCLNT100 | EA |  | CHEMICAL;GYPSUM CLAY BREAKER,15 KG | QUIMICO; | CHEMICAL;TYPE:GYPSUM CLAY BREAKER,CONCENTRATION/PURITY:,MSDS/CAS NUMBER:,COMPOSITION:CALCIUM SULPHATE DIHYDRATE CASO4 .2H2O, CALCITE (CA (CO3)),QUARTZ,CONTAINER SIZE:15 KG,ADDITIONAL FEATURES EN:Richgro 15kg Natural Gypsum Clay Breaker | QUIMICO; |  |  |  | 1068373 @@ BUNNINGS FAIRFIELD WATERS | 3010181 | [10 empty] | BUNNINGS FAIRFIELD WATERS |  | RICHGRO | 3010181 | [16 empty] | https://www.bunnings.com.au/richgro-15kg-natural-gypsum-clay-breaker_p3010181 | https://delivery.bunningscontenthub.bunnings.com.au/api/public/content/0c188ae8d4f7490d80acd48ce93a971e?v=eb18f19a | [8 empty] | Enriched | 10171600 Chemical fertilizers and plant nutrients |  |  | CHEMICAL | NO MODIFIER | TYPE | NATURAL GYPSUM CLAY BREAKER | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER | 7778-18-9,1317-65-3,14808-60-7 | COMPOSITION | CALCIUM SULPHATE DIHYDRATE CASO4 .2H2O,CALCITE (CA(CO3)),QUARTZ | CONTAINER SIZE | 15 KG | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY | 2.3 TO 2.35 | FORM | POWDER | COLOUR | OFF WHITE | ODOR | ODOURLESS | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1056883 | 1056883 |  |  |  | ERSA | M | 2700 | 1555374GZPCLNT100 | EA |  | CABINET;STOR,1361X1717X698,HDPE | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1361X1717X698,MATERIAL:HDPE | ARMARIO; |  |  |  | 1068373 @@ BUNNINGS FAIRFIELD WATERS | 53959 | [14 empty] | BUNNINGS FAIRFIELD WATERS | 53959 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets |  |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.361 MX1.717 MX698 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | HDPE | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1056884 | 1056884 |  |  |  | ERSA | M | 2700 | 1555375GZPCLNT100 | EA |  | CABINET;STOR,1395X770X1200,PP | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1395X770X1200,MATERIAL:POLYPROPYLENE | ARMARIO; |  |  |  | 1068373 @@ BUNNINGS FAIRFIELD WATERS | 132711 | [14 empty] | BUNNINGS FAIRFIELD WATERS | 132711 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets |  |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.395 MX770 MMX1.2 M | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | POLYPROPYLENE | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1057418 | 1057418 |  |  |  | ERSA | M | 4500 | 1573057GZPCLNT100 | EA |  | CARD,MEM;128GB,SD | TARJETA MEMO; | CARD,MEMORY;MEMORY:128GB,ADDITIONAL FEATURES EN:SD | TARJETA MEMORIA; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | SDSQXCY-128G-GN6MA | [12 empty] | SANDISK | SDSQXCY-128G-GN6MA | HARVEY NORMAN FURNITURE MT ISA | SDSQXCY-128G-GN6MA | [14 empty] | https://www.tatacliq.com/sandisk-extreme-pro-sdsqxcy-128g-gn6ma-128-gb-memory-card-with-adapter-black-red/p-mp000000004410953 | [9 empty] | Enriched | 43201800 Media storage devices |  | COLOR:BLACK/RED,SPEED CLASS RATING:CLASS 10 | CARD | MEMORY | TYPE | SD | MEMORY | 128 GB | POWER SUPPLY |  | READ/WRITING SPEED | 275 MB/S READ,100 MB/S | SIZE | 15 WDX11 HTX1 DP MM | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1057708 | 1057708 |  |  |  | ERSA | M | 5380 | 1614598GZPCLNT100 | EA |  | CHEMICAL;FERTILISER,ECO 88S,16KG | QUIMICO; | CHEMICAL;TYPE:FERTILISER,CONCENTRATION/PURITY:ECO 88S,MSDS/CAS NUMBER:,COMPOSITION:NITROGEN,PHOSPHOROUS,SULPHATE OF POTASH, CONTAINER SIZE:16KG,ADDITIONAL FEATURES EN:QLD ORGANICS | QUIMICO; |  |  |  | 1069589 @@ MARMAC PRODUCE PTY LTD | 100192124 | [14 empty] | MARMAC PRODUCE PTY LTD | 100192124 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 10171600 Chemical fertilizers and plant nutrients | QLD ORGANICS |  | CHEMICAL | NO MODIFIER | TYPE | FERTILISER | CONCENTRATION/PURITY | ECO 88S | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION | NITROGEN,PHOSPHOROUS,SULPHATE OF POTASH | CONTAINER SIZE | 16 KG | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  | Processed based on Websource, Conflict w.r.t Input | 1057840 | 1057840 |  |  |  | ERSA | M | 2700 | 1568886GZPCLNT100 | EA |  | CABINET;KEY SAFE,295X250X465MM,STL | ARMARIO; | CABINET;TYPE:KEY SAFE,SIZE:295X250X465MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:COMBINATION,50 KEY CAP,HELIX | ARMARIO; |  |  |  | 1068572 @@ OFFICEWORKS TOWNSVILLE | HCOMKEY50 | [12 empty] | HELIX | HCOMKEY50 | [16 empty] | https://www.officeworks.com.au/shop/officeworks/p/helix-combination-key-safe-50-key-capacity-hcomkey50 | [9 empty] | Enriched | 46171506 Safes | CAPACITY:50 KEY | COLOR:BLACK | SAFE | NO MODIFIER | TYPE | KEY | CLASS |  | DIMENSIONS | 295 WDX465 HTX250 DP MM | LOCKING MECHANISM | COMBINATION | MATERIAL | POWDER COATED STEEL | NUMBER OF SHELVES/DRAWERS |  | MOUNTING METHOD |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1057876 | 1057876 |  |  |  | ERSA | M | 4500 | 1605156GZPCLNT100 | EA |  | CARD,MEM;1 GB,MSD1000 SD | TARJETA MEMO; | CARD,MEMORY;MEMORY:1 GB,ADDITIONAL FEATURES EN:MSD1000 SD,INDUSTRIAL GRADE | TARJETA MEMORIA; |  |  |  | 1071963 @@ KENNARDS HIRE PTY LTD | MSD1000 | [12 empty] | LEICA | MSD1000 | KENNARDS HIRE PTY LTD | [15 empty] | https://shop.leica-geosystems.com/survey/accessory/geosystems/leica-msd1000-sd-memory-card-1gb/buy | [9 empty] | Cleansed | 43201800 Media storage devices | INDUSTRIAL GRADE |  | CARD | MEMORY | TYPE | SD | MEMORY | 1 GB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1058115 | 1058115 |  |  |  | ERSA | M | 4090 | 1585262GZPCLNT100 | EA |  | CARD,MEM;MICRO SD,2 GB,ADP,MEMC | TARJETA MEMO; | CARD,MEMORY;TYPE:MICRO SD,MEMORY:2 GB,ADDITIONAL FEATURES EN:ADP,MEMC | TARJETA MEMORIA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | EVIU8779307 | [10 empty] | ADP |  |  |  | METAL MANUFACTURES PTY LTD | EVIU8779307 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201800 Media storage devices | MEMC |  | CARD | MEMORY | TYPE | MICRO SD | MEMORY | 2 GB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1060732 | 1060732 |  |  |  | ERSA | M | 4600 | 1531236GZPCLNT100 | EA |  | CHEMICAL;8507.11H,PH ADJUSTER,8507.11H | CHEMICAL;8507.11H,PH ADJUSTER,8507.11H | CHEMICAL;ADDITIONAL FEATURES:8507.11H,PH ADJUSTER,8507.11H |  |  |  |  | 1068419 @@ EUREKA WATER & FILTRATION | 8507.11H | [14 empty] | EUREKA WATER & FILTRATION | 8507.11H | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 12000000 Chemicals including Bio Chemicals and Gas Materials |  |  | CHEMICAL | NO MODIFIER | TYPE | PH ADJUSTER | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1063628 | 1063628 | 1430285 | AU_QM_000645622 |  | ERSA | M | 4500 | 1430285GZPCLNT100 | EA |  | BLOCKING TYPE YXN1116 | BLOCKING TYPE YXN1116 | CIRCUIT CARD ASSEMBLY: BLOCKING TYPE YXN1116 |  | CIRCUIT CARD ASSEMBLY:BLOCKING TYPE YXN1116 |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | YXN1116 | [14 empty] | ABB AUSTRALIA PTY LTD | YXN1116 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR BLOCKING TYPE |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1065456 | 1065456 | 1470589 | AU_QM_009146847 |  | ERSA | M | 1600 | 1470589GZPCLNT100 | EA |  | BLOCKING UNIT | BLOCKING UNIT | CIRCUIT CARD ASSEMBLY: BLOCKING UNIT |  | CIRCUIT CARD ASSEMBLY:BLOCKING UNIT |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470589 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470589 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR BLOCKING UNIT |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1065457 | 1065457 | 1470591 | AU_QM_009146849 |  | ERSA | M | 4500 | 1470591GZPCLNT100 | EA |  | CURRENT MONITOR DC;BASIC | CURRENT MONITOR DC;BASIC | CIRCUIT CARD ASSEMBLY: CURRENT MONITOR DC;BASIC |  | CIRCUIT CARD ASSEMBLY:CURRENT MONITOR DC;BASIC |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470591 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470591 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CURRENT MONITOR DC,BASIC |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1065458 | 1065458 | 1470592 | AU_QM_009146850 |  | ERSA | M | 1600 | 1470592GZPCLNT100 | EA |  | CONVERTER INDICATION UNIT | CONVERTER INDICATION UNIT | CIRCUIT CARD ASSEMBLY: CONVERTER INDICATION UNIT |  | CIRCUIT CARD ASSEMBLY:CONVERTER INDICATION UNIT |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470592 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470592 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CONVERTER INDICATION UNIT |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1065459 | 1065459 | 1470593 | AU_QM_009146852 |  | ERSA | M | 1600 | 1470593GZPCLNT100 | EA |  | EARTH FAULT MONITOR | EARTH FAULT MONITOR | CIRCUIT CARD ASSEMBLY: EARTH FAULT MONITOR |  | CIRCUIT CARD ASSEMBLY:EARTH FAULT MONITOR |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470593 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470593 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR EARTH FAULT MONITOR |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1102218 | 1102218 |  |  |  | ERSA | M | 4090 | 1526045GZPCLNT100 | EA |  | CABINET;STORAGE,1 DOOR,SPP2,8080600 | CABINET;STORAGE,1 DOOR,SPP2,8080600 | CABINET;ADDITIONAL FEATURES:STORAGE,1 DOOR,SPP2,8080600 |  |  |  |  | 1069714 @@ BLACKWOODS | 8080600 | 1068652 @@ J BLACKWOOD & SONS | 8080600 | [10 empty] | STOREMASTA | SPP2 | [12 empty] | BLACKWOODS | 8080600 |  |  | https://shop.storemasta.com.au/products/spp2 | https://www.blackwoods.com.au/workplace-safety/environmental-protection-dangerous-goods-storage/ppe-and-first-aid-cabinets-priority-supplies/cabinet-storage-for-ppe-equip-1door-spp2/p/08080600 | [8 empty] | Enriched | 56101530 Storage cabinets | NUMBER OF DOOR:1 |  | CABINET | NO MODIFIER | TYPE | HEAVY DUTY,PPE STORAGE | SIZE | 545 WD MMX1.192 HT MX375 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | SHEET STEEL | NUMBER OF SHELVES | 3 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1103420 | 1103420 |  |  |  | ERSA | M | 4500 | 1570809GZPCLNT100 | EA | 3000481 | CARD,MEM;SMNG,MB-MC64KA/APC,MICROSD,EVO6 | TARJETA MEMO;SMNG,MB-MC64KA/APC | CARD,MEMORY;MNFR:SAMSUNG,PTNO:MB-MC64KA/APC,ADDITIONAL FEATURES EN:MICROSD,EVO PLUS,64GB,W/ADAPTER | TARJETA MEMORIA;MNFR:SAMSUNG,PTNO:MB-MC64KA/APC |  | SAMSUNG | MB-MC64KA/APC | 1068599 @@ MTI AVIT PTY LIMITED T/A MTI | MB-MC64KA/APC | 1072013 @@ METAL MANUFACTURES PTY LTD | MB-MC64KA/APC | [10 empty] | SAMSUNG | MB-MC64KA/APC | MTI AVIT PTY LIMITED T/A MTI | MB-MC64KA/APC | METAL MANUFACTURES PTY LTD | MB-MC64KA/APC | [12 empty] | https://www.samsung.com/au/memory-storage/memory-card/evo-plus-64gb-microsd-card-mb-mc64ka-apc/ | [9 empty] | Enriched | 43202005 Flash memory storage card | EVO PLUS,C/W ADAPTER | SPEED CLASS RATING:U1,V10,A1 | CARD | MEMORY | TYPE | MICRO SD | MEMORY | 64 GB | POWER SUPPLY | 2.7 TO 3.6 V | READ/WRITING SPEED | 130 MB/S READ | SIZE | 15 WDX11 HTX1 DP MM | TEMPERATURE RATING | -25 TO 85 DEG C | CONNECTION TYPE | UHS-I | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE(UKCA)/FCC/VCCI/RCM | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1103873 | 1103873 |  |  |  | ERSA | M | 5915 | 1506940GZPCLNT100 | EA |  | CABINET;60 DRAW,GAMNHD560 | CABINET;60 DRAW,GAMNHD560 | CABINET;ADDITIONAL FEATURES:60 DRAW,GAMNHD560 |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | 1506940 | [12 empty] | GAMER | NHD560 | GLOBAL WELDING SUPPLIES (MT ISA) | 1506940 | [14 empty] | https://gamer.com.au/store/brochure/NHD560/ | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 880 WD MMX1.725 HT MX400 DP MM | CAPACITY | 600 KG,20 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 60 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1104554 | 1104554 |  |  |  | ERSA | M | 5915 | 1508126GZPCLNT100 | EA |  | CABINET;SERVER CABINET,B0685-1715 | CABINET;SERVER CABINET,B0685-1715 | CABINET;ADDITIONAL FEATURES:SERVER CABINET,B0685-1715 |  |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1508126 | 1069714 @@ BLACKWOODS | 1508126 | [9 empty] | B0685-1715 | [14 empty] | J BLACKWOOD & SONS | 1508126 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE | SERVER | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1107285 | 1107285 | 1443556 | AU_QM_001001249 |  | ERSA | M | 1600 | 1443556GZPCLNT100 | EA |  | CIRCUIT CARD ASSEMBLY: | CIRCUIT CARD ASSEMBLY: | CIRCUIT CARD ASSEMBLY: |  | CIRCUIT CARD ASSEMBLY: |  |  | 1068113 @@ SIEMENS LTD | CA234 | 1069400 @@ SIEMENS LTD. | CA234 | [12 empty] | SIEMENS LTD | CA234 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1107286 | 1107286 | 1443555 | AU_QM_001001248 |  | ERSA | M | 1600 | 1443555GZPCLNT100 | EA |  | CONTROL | CONTROL | CIRCUIT CARD ASSEMBLY: CONTROL |  | CIRCUIT CARD ASSEMBLY:CONTROL |  |  | 1068113 @@ SIEMENS LTD | CA262 | 1069400 @@ SIEMENS LTD. | CA262 | [12 empty] | SIEMENS LTD | CA262 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,CONTROL |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1107850 | 1107850 | 1471584 | AU_QM_009240621 |  | ERSA | M | 1600 | 1471584GZPCLNT100 | EA |  | CROWBAR BOARD | CROWBAR BOARD | CIRCUIT CARD ASSEMBLY: CROWBAR BOARD |  | CIRCUIT CARD ASSEMBLY:CROWBAR BOARD |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1471584 | [14 empty] | ABB AUSTRALIA PTY LTD | 1471584 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR CROWBAR BOARD |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1107900 | 1107900 | 1470590 | AU_QM_009146848 |  | ERSA | M | 1600 | 1470590GZPCLNT100 | EA |  | AC MONITOR | AC MONITOR | CIRCUIT CARD ASSEMBLY: AC MONITOR |  | CIRCUIT CARD ASSEMBLY:AC MONITOR |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470590 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470590 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,FOR AC MONITOR |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1114304 | 1114304 |  |  |  | ERSA | M | 2920 | 1571496GZPCLNT100 | EA |  | CABINET;DOCUMENT STORAGE,400X150MM,STL | ARMARIO; | CABINET;TYPE:DOCUMENT STORAGE,SIZE:400X150MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:MANIFEST,OUTDOORS,SPP4M | ARMARIO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 8080651 | [12 empty] | STOREMASTA | SPP4M | [12 empty] | J BLACKWOOD & SONS | 8080651 |  |  | https://shop.storemasta.com.au/products/spp4m | https://www.blackwoods.com.au/workplace-safety/environmental-protection-dangerous-goods-storage/ppe-and-first-aid-cabinets-priority-supplies/cabinet-manifest-for-outdoors-spp4m/p/08080651 | [8 empty] | Enriched | 56101530 Storage cabinets | MANIFEST,OUTDOORS |  | CABINET | NO MODIFIER | TYPE | DOCUMENT STORAGE,HIGHLY VISIBLE,HEAVY DUTY | SIZE | 490 WDX500 HTX145 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | SHEET STEEL | NUMBER OF SHELVES | 1 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1120621 | 1120621 |  |  |  | ERSA | M | 4090 | 1576268GZPCLNT100 | EA |  | CARD,MEM;1GB,LEICA MSD 1000,INDUST GD | TARJETA MEMO; | CARD,MEMORY;MEMORY:1GB,ADDITIONAL FEATURES EN:LEICA MSD 1000,INDUST GD | TARJETA MEMORIA; |  |  |  | 1069640 @@ C.R.KENNEDY & CO PTY LTD. | LG767856 | 1069292 @@ C R KENNEDY & COMPANY PTY LTD | LG767856 | [10 empty] | LEICA | MSD1000 | C.R.KENNEDY & CO PTY LTD. | LG767856 | C R KENNEDY & COMPANY PTY LTD | LG767856 | [12 empty] | https://shop.leica-geosystems.com/survey/accessory/geosystems/leica-msd1000-sd-memory-card-1gb/buy | [9 empty] | Enriched | 43201800 Media storage devices | INDUSTRIAL GRADE |  | CARD | MEMORY | TYPE | SD | MEMORY | 1 GB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1135563 | 1135563 | 1437175 | AU_QM_000933598 |  | ERSA | M | 1600 | 1437175GZPCLNT100 | EA |  | BROKK 150;CONTROL PROGRAM CIRCUIT CARD; | BROKK 150;CONTROL PROGRAM CIRCUIT CARD; | CIRCUIT CARD ASSEMBLY: BROKK 150;CONTROL PROGRAM CIRCUIT CARD; CU SMELTER CONVERTER DE-BRICKING MACHINE |  | CIRCUIT CARD ASSEMBLY:BROKK 150;CONTROL PROGRAM CIRCUIT CARD; |  |  | 1068834 @@ BROKK AUSTRALIA PTY LTD | 1437175 | [14 empty] | BROKK AUSTRALIA PTY LTD | 1437175 | [14 empty] | URL NOT FOUND |  |  | CU SMELTER CONVERTER DE-BRICKING MACHINE | BROKK | 150 |  |  |  |  | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,CONTROL PROGRAM |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1146282 | 1146282 |  |  |  | ERSA | M | 1600 | 1535559GZPCLNT100 | EA |  | CARD,MEM;SD CARD,17 21 07 | CARD,MEM;SD CARD,17 21 07 | CARD,MEM;ADDITIONAL FEATURES:SD CARD,17 21 07 |  |  |  |  | 1071949 @@ SAACKE AUSTRALIA PTY LTD | 17 21 07 | [14 empty] | SAACKE AUSTRALIA PTY LTD | 17 21 07 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201800 Media storage devices |  |  | CARD | MEMORY | TYPE | SD | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1147078 | 1147078 |  |  |  | ERSA | M | 4090 | 1530038GZPCLNT100 | EA |  | CABINET;ISOLATION VALVE,HD300,XDV7097 | CABINET;ISOLATION VALVE,HD300,XDV7097 | CABINET;ADDITIONAL FEATURES:ISOLATION VALVE,HD300,XDV7097 |  |  |  |  | 1068330 @@ SMC CORPORATION (AUST) PTY LTD | XDV7097 | [14 empty] | SMC CORPORATION (AUST) PTY LTD | XDV7097 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | ISOLATION VALVE,HD300 |  | CABINET | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1149319 | 1149319 |  |  |  | ERSA | M | 4200 | 1527678GZPCLNT100 | EA |  | CABINET;DESICCATOR,1.9CU FT,230 VAC | CABINET;DESICCATOR,1.9CU FT,230 VAC | CABINET;ADDITIONAL FEATURES:DESICCATOR,1.9CU FT,230 VAC |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | PD1510 | [14 empty] | ROWE SCIENTIFIC PTY LTD | PD1510 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | VOLUME:1.9CU FT,VOLTAGE RATING:230 VAC |  | CABINET | NO MODIFIER | TYPE | DESICCATOR | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1154304 | 1154304 |  |  |  | ERSA | M | 4090 | 1514525GZPCLNT100 | EA |  | CABINET;24 DRAWER PARTS CABINET,93380003 | CABINET;24 DRAWER PARTS CABINET,93380003 | CABINET;ADDITIONAL FEATURES:24 DRAWER PARTS CABINET,93380003 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 93380003 | [12 empty] | GEIGER | A7324D | ATOM SUPPLY | 93380003 | [14 empty] | https://www.atom.com.au/lockable-heavy-duty-24-drawer-cabinet-447-x-270-x-680mm-93380003 | [9 empty] | Enriched | 56111906 Industrial cabinets or drawers or shelving |  |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 447 WDX680 HTX270 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | GALVANIZED STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 24 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1154944 | 1154944 |  |  |  | ERSA | M | 5100 | 1496054GZPCLNT100 | EA |  | CARD,MEMORY;20T1S71K00 | CARD,MEMORY;20T1S71K00 | CARD,MEMORY;ADDITIONAL FEATURES:20T1S71K00 |  |  |  |  | 1068531 @@ LENOVO (AUSTRALIA & NEW ZEALAND) | 21BSS12U01 | [11 empty] | 20T1S71K00 |  |  | LENOVO (AUSTRALIA & NEW ZEALAND) | 21BSS12U01 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43201800 Media storage devices |  |  | CARD | MEMORY | TYPE |  | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1155016 | 1155016 |  |  |  | ERSA | M | 2700 | 1539151GZPCLNT100 | EA |  | CABINET;FILING,4DRW,1320HX470WX,18732927 | CABINET;FILING,4DRW,1320HX470WX,18732927 | CABINET;ADDITIONAL FEATURES:FILING,4DRW,1320HX470WX,18732927 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18732927 | [12 empty] | MERCURY | MVF4 GR | WINC AUSTRALIA PTY LTD | 18732927 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/mercury-vertical-filing-cabinet-4-drawer-1320h-x-470w-x-620dmm-graphiteripple/18732927 | [9 empty] | Enriched | 56101530 Storage cabinets |  | COLOR:GRAPHITE RIPPLE | CABINET | NO MODIFIER | TYPE | FILING,VERTICAL | SIZE | 470 WD MMX1.32 HT MX620 DP MM | CAPACITY | 30 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL | QUALITY POWDER COATED,STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 4 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1155100 | 1155100 |  |  |  | ERSA | M | 4050 | 1521821GZPCLNT100 | EA |  | CABINET;FILING,4DR,1321HX460WX620D,GREY | CABINET;FILING,4DR,1321HX460WX620D,GREY | CABINET;ADDITIONAL FEATURES:FILING,4DR,1321HX460WX620D,GREY |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | WNC18732928 | [12 empty] | MERCURY | MVF4 SG | METAL MANUFACTURES PTY LTD | WNC18732928 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/mercury-vertical-filing-cabinet-4-drawer-1320h-x-470w-x-620dmm-silver-grey/18732928 | [9 empty] | Enriched | 56101530 Storage cabinets |  | COLOR:SILVER GREY,FINISH:QIALITY POWDER COATED | CABINET | NO MODIFIER | TYPE | FILING,VERTICAL | SIZE | 470 WD MMX1.32 HT MX620 DP MM | CAPACITY | 30 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL | QUALITY POWDER COATED,STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 4 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1175638 | 1175638 |  |  |  | ERSA | M | 4500 | 1616577GZPCLNT100 | EA |  | CARD,MEM;SD,2 GB,-25 TO 85 DEG C | TARJETA MEMO;-25 TO 85 DEG C | CARD,MEMORY;TYPE:SD,MEMORY:2 GB,TEMPERATURE RATING:-25 TO 85 DEG C,ADDITIONAL FEATURES EN:TRANCEND,CLASS 1,NAND TYPE:MLC | TARJETA MEMORIA;VALOR TEMPERATURA:-25 TO 85 DEG C |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | TS2GSDC | [12 empty] | TRANSCEND | TS2GSDC | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/transcend/ts2gsdc/transcend-2-gb-sd-sd-card-class-1/7582552 | https://docs.rs-online.com/118a/0900766b816b6fdf.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | SPEED CLASS RATING:CLASS 1,NAND TYPE:MLC |  | CARD | MEMORY | TYPE | FLASH,SD | MEMORY | 2 GB | POWER SUPPLY | 2.7 TO 3.6 V | READ/WRITING SPEED |  | SIZE | 32 LGX24 WDX2.1 HT MM | TEMPERATURE RATING | -25 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1175669 | 1175669 |  |  |  | ERSA | M | 4500 | 1616578GZPCLNT100 | EA |  | CARD,MEM;SD,2 GB,-40 TO 85 DEG C | TARJETA MEMO;-40 TO 85 DEG C | CARD,MEMORY;TYPE:SD,MEMORY:2 GB,TEMPERATURE RATING:-40 TO 85 DEG C,ADDITIONAL FEATURES EN:TRANCEND,CFAST,INDUSTRIAL,NAND TYPE:SLC | TARJETA MEMORIA;VALOR TEMPERATURA:-40 TO 85 DEG C |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | TS2GCFX520I | [12 empty] | TRANSCEND | TS2GCFX520I | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/transcend/ts2gcfx520i/transcend-2-gb-industrial-cfast-sd-card/1739482 | https://docs.rs-online.com/6f20/A700000006820535.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL,NAND TYPE:SLC |  | CARD | MEMORY | TYPE | CFAST,COMPACT FLASH,SD | MEMORY | 2 GB | POWER SUPPLY |  | READ/WRITING SPEED | 63 MB/S READ,28 MB/S WRITE | SIZE | 42.8 LGX36.4 WDX3.3 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1176341 | 1176341 |  |  |  | ERSA | M | 4500 | 1616579GZPCLNT100 | EA |  | CARD,MEM;SD,2 GB,CLASS 10,TRANCEND | TARJETA MEMO;CLASE 10,-40 TO 85 DEG C | CARD,MEMORY;TYPE:SD,MEMORY:2 GB,READ/WRITING SPEED:CLASS 10,TEMPERATURE RATING:-40 TO 85 DEG C,ADDITIONAL FEATURES EN:TRANCEND, INDUSTRIAL,NAND TYPE:SLC | TARJETA MEMORIA;VELOCIDAD LECTURA/ESCRITURA:CLASE 10,VALOR TEMPERATURA:-40 TO 85 DEG C |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | TS2GSD100I | [12 empty] | TRANSCEND | TS2GSD100I | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/transcend/ts2gsd100i/transcend-2-gb-industrial-sd-sd-card-class-10/1739495 | https://docs.rs-online.com/2493/A700000006820539.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | SPEED CLASS RATING:CLASS10,FOR INDUSTRIAL,NAND TYPE:SLC |  | CARD | MEMORY | TYPE | FLASH,SD | MEMORY | 2 GB | POWER SUPPLY | 2.7 TO 3.6 V | READ/WRITING SPEED | 18.5 MB/S READ,18.8 MB/S WRITE | SIZE | 32 LGX24 WDX2.1 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE/FCC/BSMI | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1179533 | 1179533 |  |  |  | ERSA | M | 2700 | 1542962GZPCLNT100 | EA |  | CABINET;MTL,2090X1160X540MM,BLK,STL | ARMARIO; | CABINET;TYPE:MTL,2090X1160X540MM,BLK,SIZE:2090X1160X540MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:MTL,2090X1160X540MM,BLK | ARMARIO; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 192605 | [14 empty] | BUNNINGS WAREHOUSE MT ISA | 192605 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | COLOR:BLACK |  | CABINET | NO MODIFIER | TYPE |  | SIZE | 2.09 MX1.16 MX540 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1180090 | 1180090 |  |  |  | ERSA | M | 2700 | 1042188GZPCLNT100 | EA |  | CABINET;FILNG,4 | CABINET;FILNG,4 | CABINET;TYPE:FILING,NUMBER OF DRAWERS:4 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | WNC18732928 | [12 empty] | MERCURY | MVF4 SG | METAL MANUFACTURES PTY LTD | WNC18732928 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/mercury-vertical-filing-cabinet-4-drawer-1320h-x-470w-x-620dmm-silver-grey/18732928 | [9 empty] | Enriched | 56101530 Storage cabinets |  | COLOR:SILVER GREY,FINISH:QIALITY POWDER COATED | CABINET | NO MODIFIER | TYPE | FILING,VERTICAL | SIZE | 470 WD MMX1.32 HT MX620 DP MM | CAPACITY | 30 KG/DRAWER | NUMBER OF COMPARTMENTS |  | MATERIAL | QUALITY POWDER COATED,STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 4 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1180105 | 1180105 |  |  |  | ERSA | M | 4090 | 1616553GZPCLNT100 | EA |  | CARD,MEM;FLASH,1 GB,B:FANUC | TARJETA MEMO; | CARD,MEMORY;TYPE:FLASH,MEMORY:1 GB,ADDITIONAL FEATURES EN:B:FANUC | TARJETA MEMORIA; |  |  |  | 1071194 @@ FANUC OCEANIA PTY LIMITED | CF CARD -0001-0173#001 GBD | [14 empty] | FANUC OCEANIA PTY LIMITED | CF CARD -0001-0173#001 GBD | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43202005 Flash memory storage card |  |  | CARD | MEMORY | TYPE | FLASH | MEMORY | 1 GB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1180683 | 1180683 |  |  |  | ERSA | M | 4090 | 1574347GZPCLNT100 | EA |  | CABINET;SDS,450 X 450 X 125 MM,STL | ARMARIO; | CABINET;TYPE:SDS,SIZE:450 X 450 X 125 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:OUTDOOR STATION WITH LID | ARMARIO; |  |  |  | 1068512 @@ BUNZL BRANDS & OPERATIONS PTY LIMIT | 1574347 | [14 empty] | BUNZL BRANDS & OPERATIONS PTY LIMIT | 1574347 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | C/W LID |  | CABINET | NO MODIFIER | TYPE | SDS,OUTDOOR STATION | SIZE | 450X450X125 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1180942 | 1180942 |  |  |  | ERSA | M | 2700 | 1568888GZPCLNT100 | EA |  | CABINET;CREDENZA,1200X450X730MM,MEL | ARMARIO; | CABINET;TYPE:CREDENZA,SIZE:1200X450X730MM,MATERIAL:MELAMINE,ADDITIONAL FEATURES EN:RAPIDLINE,MANAGER,APPLETREE | ARMARIO; |  |  |  | 1068572 @@ OFFICEWORKS TOWNSVILLE | 1568888 | [10 empty] | RAPIDLINE |  |  |  | OFFICEWORKS TOWNSVILLE | 1568888 | APPLETREE | [13 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56111906 Industrial cabinets or drawers or shelving | MANAGER |  | CABINET | NO MODIFIER | TYPE | CREDENZA | SIZE | 1.2 MX450 MMX730 MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | MELAMINE | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1180943 | 1180943 |  |  |  | ERSA | M | 2700 | 1568887GZPCLNT100 | EA |  | CABINET;CREDENZA,1800X600X730MM | ARMARIO; | CABINET;TYPE:CREDENZA,SIZE:1800X600X730MM,MATERIAL:PARTICLE BOARD,ADDITIONAL FEATURES EN:SLIDING DOOR,GREY | ARMARIO; |  |  |  | 1068572 @@ OFFICEWORKS TOWNSVILLE | JBTOCR18GY | [12 empty] | J BURROWS | JBTOCR18GY | [16 empty] | https://www.officeworks.com.au/shop/officeworks/p/toro-credenza-1800mm-sliding-door-grey-jbtocr18gy | [9 empty] | Enriched | 56101530 Storage cabinets | SLIDING DOOR | COLOR:MAPLE,GREY,NUMBER OF DOOR:2 | CABINET | NO MODIFIER | TYPE | CREDENZA,LOCKABLE | SIZE | 1.8 WD MX730 HT MMX600 DP MM | CAPACITY | 15 KG/SHELF | NUMBER OF COMPARTMENTS |  | MATERIAL | MELAMINE,PARTICLE BOARD | NUMBER OF SHELVES | 1 | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1181243 | 1181243 |  |  |  | ERSA | M | 4090 | 1567930GZPCLNT100 | EA |  | CARD,MEM;128GB,MICRO SD | TARJETA MEMO; | CARD,MEMORY;MEMORY:128GB,ADDITIONAL FEATURES EN:MICRO SD,SANDISK,EXTREME PRO | TARJETA MEMORIA; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | 4271782 | 1075963 @@ HARVEY NORMAN AVIT | 1567930 | 1068599 @@ MTI AVIT PTY LIMITED T/A MTI | 1567930 | [8 empty] | SANDISK | 4271782 | HARVEY NORMAN FURNITURE MT ISA | 4271782 | HARVEY NORMAN AVIT | 1567930 | MTI AVIT PTY LIMITED T/A MTI | 1567930 | [10 empty] | https://www.joycemayne.com.au/sandisk-extreme-pro-micro-sdxc-uhs-i-a2-memory-card-128gb.html | [9 empty] | Enriched | 43201800 Media storage devices | EXTREME PRO |  | CARD | MEMORY | TYPE | MICRO SD,SDXC | MEMORY | 128 GB | POWER SUPPLY |  | READ/WRITING SPEED | 170 MB/S READ,90 MB/S | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184818 | 1184818 |  |  |  | ERSA | M | 4500 | 1558600GZPCLNT100 | EA |  | CARD,MEM;4Gb,INDL,SDHC SD CARD | TARJETA MEMO; | CARD,MEMORY;MEMORY:4Gb,ADDITIONAL FEATURES EN:INDUSTRIAL,SDHC SD CARD | TARJETA MEMORIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | AF4GSDI-WADXM | [12 empty] | ATP | AF4GSDI-WADXM | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/atp/af4gsdi-wadxm/atp-4-gb-industrial-sdhc-sd-card-class-10-uhs-1-u1/1465570 | [9 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL | SPEED CLASS RATING:CLASS 10,U1,NAND TYPE:SLC | CARD | MEMORY | TYPE | FLASH,SDHC,SD | MEMORY | 4 GB | POWER SUPPLY |  | READ/WRITING SPEED | 69 MB/S READ,38 MB/S WRITE | SIZE | 32 LGX24 WDX2.1 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE | UHS-1 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184819 | 1184819 |  |  |  | ERSA | M | 4500 | 1558599GZPCLNT100 | EA |  | CARD,MEM;2Gb,INDL,SD CARD | TARJETA MEMO; | CARD,MEMORY;MEMORY:2Gb,ADDITIONAL FEATURES EN:INDUSTRIAL,SD CARD | TARJETA MEMORIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | AF2GSDI-ZAEXM | [12 empty] | ATP | AF2GSDI-ZAEXM | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/atp/af2gsdi-zaexm/atp-2-gb-industrial-sd-sd-card-class-6/1465569 | [9 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL | SPEED CLASS RATING:CLASS 6,NAND TYPE:SLC | CARD | MEMORY | TYPE | FLASH,SD | MEMORY | 2 GB | POWER SUPPLY |  | READ/WRITING SPEED | 69 MB/S READ,38 MB/S WRITE | SIZE | 32 LGX24 WDX2.1 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184820 | 1184820 |  |  |  | ERSA | M | 4500 | 1558598GZPCLNT100 | EA |  | CARD,MEM;2Gb,COMPACTFLASH,INDUST | TARJETA MEMO; | CARD,MEMORY;MEMORY:2Gb,ADDITIONAL FEATURES EN:COMPACTFLASH,INDUST | TARJETA MEMORIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | AF2GCFI-TADXP | [12 empty] | ATP | AF2GCFI-TADXP | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/atp/af2gcfi-tadxp/atp-compactflash-industrial-2-gb-slc-compact-flash/7761894 | https://docs.rs-online.com/a625/0900766b811ea89a.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL | NAND TYPE:SLC | CARD | MEMORY | TYPE | COMPACT FLASH | MEMORY | 2 GB | POWER SUPPLY |  | READ/WRITING SPEED | 61 MB/S READ,55 MB/S WRITE | SIZE | 36.4 LGX42.8 WDX3.3 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CF 4.1 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184821 | 1184821 |  |  |  | ERSA | M | 4500 | 1558597GZPCLNT100 | EA |  | CARD,MEM;1Gb,COMPACTFLASH,INDUST | TARJETA MEMO; | CARD,MEMORY;MEMORY:1Gb,ADDITIONAL FEATURES EN:COMPACTFLASH,INDUST | TARJETA MEMORIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | AF1GCFI-TADXP | [12 empty] | ATP | AF1GCFI-TADXP | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/atp/af1gcfi-tadxp/atp-compactflash-industrial-1-gb-slc-compact-flash/7761890 | https://docs.rs-online.com/a625/0900766b811ea89a.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL | NAND TYPE:SLC | CARD | MEMORY | TYPE | COMPACT FLASH | MEMORY | 1 GB | POWER SUPPLY |  | READ/WRITING SPEED | 61 MB/S READ,55 MB/S WRITE | SIZE | 36.4 LGX42.8 WDX3.3 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CF 4.1 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1184822 | 1184822 |  |  |  | ERSA | M | 4500 | 1558596GZPCLNT100 | EA |  | CARD,MEM;512Mb,COMPACTFLASH,INDUST | TARJETA MEMO; | CARD,MEMORY;MEMORY:512Mb,ADDITIONAL FEATURES EN:COMPACTFLASH,INDUST | TARJETA MEMORIA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | AF512CFI-TADXP | [12 empty] | ATP | AF512CFI-TADXP | RS COMPONENTS PTY LTD | [15 empty] | https://in.rsdelivers.com/product/atp/af512cfi-tadxp/atp-compactflash-industrial-512-mb-slc-compact/7761897 | https://docs.rs-online.com/a625/0900766b811ea89a.pdf | [8 empty] | Enriched | 43202005 Flash memory storage card | FOR INDUSTRIAL | NAND TYPE:SLC | CARD | MEMORY | TYPE | COMPACT FLASH | MEMORY | 512 MB | POWER SUPPLY |  | READ/WRITING SPEED | 61 MB/S READ,55 MB/S WRITE | SIZE | 36.4 LGX42.8 WDX3.3 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CF 4.1 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1185324 | 1185324 |  |  |  | ERSA | M | 2700 | 1557291GZPCLNT100 | EA |  | CABINET;STOR,1070hx1500wx316d,WOODBOARD | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:1070hx1500wx316d,MATERIAL:WOODBOARD,ADDITIONAL FEATURES EN:CHERRY/IRONSTONE | ARMARIO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | 1557291 | [14 empty] | METAL MANUFACTURES PTY LTD | 1557291 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets | COLOR:CHERRY/IRONSTONE |  | CABINET | NO MODIFIER | TYPE | STORAGE | SIZE | 1.5 WD MX1.07 HT MX316 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | WOODBOARD | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1185325 | 1185325 |  |  |  | ERSA | M | 2700 | 1557290GZPCLNT100 | EA |  | CABINET;FILNG,690h465w447d,WOODBOARD | ARMARIO; | CABINET;TYPE:FILING,SIZE:690h465w447d,MATERIAL:WOODBOARD,ADDITIONAL FEATURES EN:2DRAWER,LOCKABLE,CHEERY/IRONSTONE | ARMARIO; |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 87170283 | [12 empty] | RAPID LINE | CMP2D1F B/I | WINC AUSTRALIA PTY LTD | 87170283 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/rapid-line-mobile-pedestal-2-drawer-1-filing-lockable-690h-x-465w-x-447dmm-beech-ironstone/87170283 | [9 empty] | Enriched | 56101530 Storage cabinets |  | COLOR:BEECH/IRONSTONE,FINISH:ABS EDGING | CABINET | NO MODIFIER | TYPE | FILING,LOCKABLE,MOBILE PEDESTAL | SIZE | 465 WDX690 HTX447 DP MM | CAPACITY | 35 KG | NUMBER OF COMPARTMENTS |  | MATERIAL | MELAMINE | NUMBER OF SHELVES |  | NUMBER OF DRAWERS | 2 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1185326 | 1185326 |  |  |  | ERSA | M | 2700 | 1557289GZPCLNT100 | EA |  | CABINET;STOR,730hx1500wx450d,WOODBOARD | ARMARIO; | CABINET;TYPE:STORAGE,SIZE:730hx1500wx450d,MATERIAL:WOODBOARD,ADDITIONAL FEATURES EN:CREDENZA,SLIDING DOOR,W/LOCK,CHERRY/IRONSTONE | ARMARIO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | WNC25013286 | [14 empty] | METAL MANUFACTURES PTY LTD | WNC25013286 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101530 Storage cabinets | SLIDING DOOR,C/W LOCK,COLOR:CHERRY/IRONSTONE |  | CABINET | NO MODIFIER | TYPE | CREDENZA,STORAGE | SIZE | 1.5 WD MX730 HT MMX450 DP MM | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | WOODBOARD | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1187387 | 1187387 |  |  |  | ERSA | M | 4090 | 1615133GZPCLNT100 | EA |  | CABINET;KEY,300X200X60 MM,30 KEYS,STL | ARMARIO; | CABINET;TYPE:KEY,SIZE:300X200X60 MM,CAPACITY:30 KEYS,MATERIAL:STEEL,ADDITIONAL FEATURES EN:BRAND:KIDDE,UNIQUE TOUCHPOINTÂ® LOCK WITH 1024 POSSIBLE COMBINATIONS,RESETTABLE COMBINATION LOCK,CLUTCH MECHANISM PROTECTS FROM FORCED ENTRY,FINISH:CLAY | ARMARIO; |  |  |  | 1068222 @@ SHAINE HUNTER LOCKSMITHS | SU1795 | [12 empty] | KIDDIE | SU1795 | SHAINE HUNTER LOCKSMITHS | SU1795 | [14 empty] | https://www.secureyourworld.com.au/a/mechanical-key-cabinets/kidde/kidde-touchpoint-30-key-capacity-key-cabinet-su1795/4515?variant_id=4877 | [9 empty] | Enriched | 46171509 Key cabinets or organizers | UNIQUE TOUCHPOINT LOCK WITH 1024 POSSIBLE COMBINATIONS,RESETTABLE COMBINATION LOCK,CLUTCH MECHANISM PROTECTS FROM FORCED ENTRY,FINISH:CLAY |  | CABINET | NO MODIFIER | TYPE | KEY STORAGE | SIZE | 200 WDX300 HTX60 DP MM | CAPACITY | 30 KEY | NUMBER OF COMPARTMENTS |  | MATERIAL | STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1188868 | 1188868 |  |  |  | ERSA | M | 4090 | 1576625GZPCLNT100 | EA |  | CABINET;KEY,60 KEYS,WALLMOUNT | ARMARIO; | CABINET;TYPE:KEY,SIZE:60 KEYS,MATERIAL:,ADDITIONAL FEATURES EN:WALLMOUNT | ARMARIO; |  |  |  | 1068502 @@ ATOM SUPPLY | 60033996 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1576625 | [10 empty] | MASTERLOCK | 7125D | ATOM SUPPLY | 60033996 | CNW (MOUNT ISA) ELECT WHOLESALER | 1576625 | [12 empty] | https://cdn.masterlock.com/sheet/en_mlla/masterlocklatinamerica.com_7125D.pdf | [9 empty] | Enriched | 46171509 Key cabinets or organizers |  |  | CABINET | NO MODIFIER | TYPE | HEAVY DUTY,KEY | SIZE | 10-3/4 WDX12-1/4 HTX3 DP IN | CAPACITY | 60 KEY | NUMBER OF COMPARTMENTS |  | MATERIAL | POWDER COATED STEEL | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | ok | 2023-10-28 |  |  | 1204522 | 1204522 |  |  |  | ERSA | M | 5920 | 149115MRM | EA |  | CIRCUIT CARD ASSEMBLY:MOTHER BOARD FUEL | CIRCUIT CARD ASSEMBLY:MOTHER BOARD FUEL | CIRCUIT CARD ASSEMBLY:MOTHER BOARD FUEL TRACK 12V;BANLAW FUELFARM MANAGEMENT SYSTEM |  |  |  |  | 1069082 @@ BANLAW PTY LIMITED | PN1204522 | [14 empty] | BANLAW PTY LIMITED | PN1204522 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | ASSEMBLY,MOTHER BOARD FUEL TRACK 12 V,BANLAW FUELFARM MANAGEMENT SYSTEM |  | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [65 empty] | Production Completed