## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1109741 | 1109741 | 1463719 | AU_QM_005085071 |  | ERSA | M | 4005 | 1463719GZPCLNT100 | EA |  | DRILL ROD (76MM DIA) | DRILL ROD (76MM DIA) | SPANNER: DRILL ROD (76MM DIA) TO DRAWING REVISION "B" |  | SPANNER:DRILL ROD (76MM DIA) |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1463719 | [14 empty] | HEAVYMECH PTY LTD | 1463719 | [14 empty] | URL NOT FOUND | [7 empty] | REV B |  | Cleansed | 27111726 Spanner wrenches | DIAMETER:76 MM |  | WRENCH | SPANNER | TYPE | DRILL ROD | HEAD SIZE |  | CAPACITY |  | HEAD THICKNESS |  | PIN SIZE |  | OVERALL LENGTH |  | HOOK SIZE |  | MATERIAL |  | COATING/FINISH |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1109813 | 1109813 | 1458499 | AU_QM_001738015 |  | ERSA | M | 3600 | 1458499GZPCLNT100 | EA |  | ADAPTER;LARGE BORE-STANDARD BORE; | ADAPTER;LARGE BORE-STANDARD BORE; | STEM,VALVE,PNEUMATIC TYRE: ADAPTER;LARGE BORE-STANDARD BORE; M/M THREAD; |  | STEM,VALVE,PNEUMATIC TYRE:ADAPTER;LARGE BORE-STANDARD BORE; |  |  | 1069695 @@ REPCO AUTO PARTS (QLD) | 1458499 | 1068652 @@ J BLACKWOOD & SONS | 1458499 | 1068087 @@ ASHDOWN INGRAM | 1458499 | 1071809 @@ ASHDOWN ENTERPRISES | 1458499 | 1068247 @@ BEAUREPAIRES TYRE SERVICE PTYLTD | 1458499 | [6 empty] | REPCO AUTO PARTS (QLD) | 1458499 | ASHDOWN ENTERPRISES | 1458499 | BEAUREPAIRES TYRE SERVICE PTYLTD | 1458499 | [6 empty] | J BLACKWOOD & SONS | 1458499 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 40141645 Valve stem | TYPE:ADAPTER,LARGE-STANDARD BORE,PNEUMATIC TYRE,M/M THREAD |  | STEM | VALVE | VALVE TYPE |  | VALVE SIZE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1111713 | 1111713 | 1435670 | AU_QM_000796433 |  | ERSA | M | 4900 | 1435670GZPCLNT100 | EA |  | CIP LIFT AIRCORD CABLE 2;WEIGHT CLOSER; | CIP LIFT AIRCORD CABLE 2;WEIGHT CLOSER; | WIRE ROPE ASSY: CIP LIFT AIRCORD CABLE 2;WEIGHT CLOSER; CU SMELTER CIP OTIS LIFT |  | WIRE ROPE ASSY: CIP LIFT AIRCORD CABLE 2;WEIGHT CLOSER; |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | S0174BP4 | [14 empty] | OTIS ELEVATOR CO. PTY LTD | S0174BP4 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31151505 Wire rope | ASSEMBLY,CIP LIFT AIRCORD CABLE 2,WEIGHT CLOSER,CU SMELTER OTIS |  | ROPE | WIRE | TYPE |  | STRUCTURE |  | DIAMETER |  | LENGTH |  | LOAD RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1111714 | 1111714 | 1435669 | AU_QM_000796425 |  | ERSA | M | 4900 | 1435669GZPCLNT100 | EA |  | CIP LIFT AIRCORD CABLE 1;HOISTWAY DOOR; | CIP LIFT AIRCORD CABLE 1;HOISTWAY DOOR; | WIRE ROPE ASSY: CIP LIFT AIRCORD CABLE 1;HOISTWAY DOOR; CU SMELTER CIP OTIS LIFT |  | WIRE ROPE ASSY: CIP LIFT AIRCORD CABLE 1;HOISTWAY DOOR; |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | S0174BL1 | [14 empty] | OTIS ELEVATOR CO. PTY LTD | S0174BL1 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31151505 Wire rope | ASSEMBLY,CIP LIFT AIRCORD CABLE 1,CU SMELTER OTIS |  | ROPE | WIRE | TYPE | HOISTWAY DOOR | STRUCTURE |  | DIAMETER |  | LENGTH |  | LOAD RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1111967 | 1111967 | 1420395 | AU_QM_000266538 |  | ERSA | M | 5915 | 1420395GZPCLNT100 | EA |  | COMPRESSOR;ZP50K3E-TFD-522 | COMPRESSOR;ZP50K3E-TFD-522 | COMPRESSOR;MNFR: ,PTNO:ZP50K3E-TFD-522 |  | COMPRESSOR;ZP50K3E-TFD-522COMPRESSOR;ZP50K3E-TFD-522 |  |  | 1071809 @@ ASHDOWN ENTERPRISES | ZP50K3E-TFD-522 | 1068087 @@ ASHDOWN INGRAM | 1420395 | [10 empty] | COPELAND | ZP50K3E-TFD-522 | ASHDOWN INGRAM | 1420395 | [14 empty] | https://www.copeland.com/en-us/shop/1/copeland-sku-zp50k3e-tfd-522 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R-410A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1112780 | 1112780 |  |  |  | ERSA | M | 4090 | 1573842GZPCLNT100 | EA |  | CLEANER,BLT;IPS AIR TEN SS FAB 600 COMP | LIMPIADOR,CORREA; | CLEANER,BELT;ADDITIONAL FEATURES EN:IPS AIR TEN SS FAB 600 COMP | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 39712060SW | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 39712060SW | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | FOR IPS AIR TEN FAB 600 COMP |  | CLEANER | BELT | TYPE |  | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1112959 | 1112959 |  |  |  | ERSA | M | 4090 | 1573583GZPCLNT100 | EA |  | ATTACHMENT;STL,FORKLIFT POCKETS | ADJUNTO ARCHIVO; | ATTACHMENT;MATERIAL:STEEL,ADDITIONAL FEATURES EN:FORKLIFT POCKETS,SUIT HIGH DENSITY VERTICAL DRAWERS | ADJUNTO ARCHIVO; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | CHPD-TFP | [12 empty] | CONTAIN IT SOLUTIONS | CHPD-TFP | [16 empty] | https://www.containit.com.au/product/optional-bolt-forklift-pockets-top-unit-move-position/ | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR HIGH DENSITY VERTICAL DRAWERS |  | ATTACHMENT | NO MODIFIER | TYPE | BOLT ON FORKLIFT POCKETS | SIZE |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1115602 | 1115602 | 1350774 | AU_QM_000134795 |  | ERSA | M | 5700 | 1350774GZPCLNT100 | EA |  | CLEANER,BLT;CONVEYOR,RUBBER | CLEANER,BLT;CONVEYOR,RUBBER | CLEANER,BELT;TYPE:CONVEYOR,SIZE:WD 50 X LG 150 X THK 12 MM,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:SCRAPER WIPER,MNFR:01)MULTOTEC, PTNO:01)900/HR/RW/50 |  | SCRAPER,CONVEYOR BELTING: WIPER;RUBBER;CONVEYOR;;150 X 50 X 12MM; |  |  | 1068642 @@ MULTOTEC PTY LTD | 900/HR/RW/50 | [14 empty] | MULTOTEC PTY LTD | 900/HR/RW/50 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper |  |  | CLEANER | BELT | TYPE | CONVEYOR,SCRAPER WIPER | BELT WIDTH |  | SIZE | 150 LGX50 WDX12 THK MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1116327 | 1116327 |  |  |  | ERSA | M | 4020 | 1615540GZPCLNT100 | EA |  | CLEANER,BLT;XHD PRIMARY,CLEANER AIR TENS | LIMPIADOR,CORREA; | CLEANER,BELT;TYPE:XHD PRIMARY,ADDITIONAL FEATURES EN:CLEANER AIR TENS,S/S URETHANE 1200 | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 35302120S | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 35302120S | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | FOR AIR TENS,URETHANE 1200 |  | CLEANER | BELT | TYPE | XHD PRIMARY | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1116328 | 1116328 |  |  |  | ERSA | M | 4020 | 1615541GZPCLNT100 | EA |  | CLEANER,BLT;IPS CLEANER TEN S/S 1200 | LIMPIADOR,CORREA; | CLEANER,BELT;TYPE:IPS CLEANER TEN S/S 1200,ADDITIONAL FEATURES EN:C/W T/C BLADES | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 39712120SWT | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 39712120SWT | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | FOR IPS TEN 1200,C/W T/C BLADES |  | CLEANER | BELT | TYPE |  | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1116329 | 1116329 |  |  |  | ERSA | M | 4020 | 1615542GZPCLNT100 | EA |  | CLEANER,BLT;RBC URETHANE,STAINLESS STEEL | LIMPIADOR,CORREA; | CLEANER,BELT;TYPE:RBC URETHANE,MATERIAL:STAINLESS STEEL | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 61120120S | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 61120120S | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | RBC URETHANE |  | CLEANER | BELT | TYPE |  | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1116330 | 1116330 |  |  |  | ERSA | M | 4020 | 1615543GZPCLNT100 | EA |  | CLEANER,BLT;AIR TEN CONT COMPACT BOX | LIMPIADOR,CORREA; | CLEANER,BELT;TYPE:AIR TEN CONT COMPACT BOX,ADDITIONAL FEATURES EN:CONT COMPACT BOX S/S 2 CLNR NO SOL | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 09000124M | [13 empty] | 09000124M | ESS ENGINEERING SERV SUP PTY LTD | [15 empty] | https://irp-cdn.multiscreensite.com/38ca115f/files/uploaded/XHD%2020-Ten%20Manual.pdf | [9 empty] | Cleansed | 24101742 External belt scraper | FOR AIR TEN CONTOL COMPACT BOX,2,NO SOL |  | CLEANER | BELT | TYPE |  | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1119280 | 1119280 |  |  |  | ERSA | M | 4020 | 1615492GZPCLNT100 | EA |  | CLEANER;DGRSER,20 LITRE,CITRA-FORCE | LIMPIADOR; | CLEANER;TYPE:DEGREASER,CONTAINER:20 LITRE,ADDITIONAL FEATURES EN:CITRA-FORCE,LANOTEC | LIMPIADOR; |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9325592000322 | [12 empty] | LANOTEC | 9325592000322 | ELLIOTT TIMBER SALES PTY LTD | [15 empty] | https://www.mrfilter.com.au/lanotec-citra-force-20lt | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | BRAND:CITRA-FORCE |  | CLEANER | NO MODIFIER | TYPE | DEGREASER | CONTAINER | 20 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1120624 | 1120624 |  |  |  | ERSA | M | 4020 | 1615429GZPCLNT100 | EA |  | CLEANER;VACCUM/MOP | LIMPIADOR; | CLEANER;TYPE:VACCUM/MOP,CONTAINER:,ADDITIONAL FEATURES EN:ROBOROCK S8 PRO ULTRA,WHITE,ROBOTIC | LIMPIADOR; |  |  |  | 1068493 @@ HARVEY NORMAN AV/IT TOWNSVILLE | S8PROULTRA | [12 empty] | ROBOROCK | S8 PRO ULTRA | HARVEY NORMAN AV/IT TOWNSVILLE | [15 empty] | https://us.roborock.com/pages/roborock-s8-pro-ultra | [9 empty] | Cleansed | 47121602 Vacuum cleaners | COLOUR:WHITE,CONTAINER |  | VACUUM CLEANER | NO MODIFIER | TYPE | MOP,ROBOTIC | CAPACITY |  | FILTER TYPE |  | INPUT RATING |  | POWER RATING |  | AIR FLOW |  | CLEANING PATH |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1136787 | 1136787 | 1427119 | AU_QM_000435479 |  | ERSA | M | 4000 | 1427119GZPCLNT100 | EA |  | AIR MOTOR;2-TON ARO HOIST; | AIR MOTOR;2-TON ARO HOIST; | VANE,ROTARY: AIR MOTOR;2-TON ARO HOIST; |  | VANE,ROTARY:AIR MOTOR;2-TON ARO HOIST; |  |  | 1068652 @@ J BLACKWOOD & SONS | 1427119 | [26 empty] | J BLACKWOOD & SONS | 1427119 |  |  | URL NOT FOUND |  |  | AIR MOTOR,2-TON ARO HOIST | [6 empty] | Cleansed | 40151700 Pump parts and accessories |  |  | VANE | NO MODIFIER | TYPE | ROTARY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1137036 | 1137036 | 1352417 | AU_QM_000139766 |  | ERSA | M | 4005 | 1352417GZPCLNT100 | EA |  | CORE TOOL;LARGE BORE TYRES; | CORE TOOL;LARGE BORE TYRES; | TOOL,TYRE VALVE CORE: CORE TOOL;LARGE BORE TYRES; |  | TOOL,TYRE VALVE CORE: CORE TOOL;LARGE BORE TYRES; |  |  | 1068174 @@ BRIDGESTONE MINING SOLUTIONS | N-1710 | [13 empty] | N-1710 | BRIDGESTONE MINING SOLUTIONS | [15 empty] | https://tiresupplynetwork.com/products/haltec-large-bore-core-tool-1?variant=7471619670063 | [9 empty] | Cleansed | 27112800 Tool attachments and accessories |  |  | TOOL | NO MODIFIER | TYPE | VALVE,LARGE BORE CORE TYRES | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1137209 | 1137209 | 1366633 | AU_QM_000169446 |  | ERSA | M | 4020 | 1366633GZPCLNT100 | EA |  | AIRFLOW RIPSTOP SHIRT | AIRFLOW RIPSTOP SHIRT | SHIRT,MEN'S: AIRFLOW RIPSTOP SHIRT |  | SHIRT,MEN'S:AIRFLOW RIPSTOP SHIRT |  |  | 1068178 @@ TOTALLY WORKWEAR | BS6414CHSML | [12 empty] | BISLEY WORKWEAR | BS6414CHSML | TOTALLY WORKWEAR | [15 empty] | https://www.bisleyworkwear.com.au/BS6414x-airflow-ripstop-shirt/ | [9 empty] | Enriched | 53101602 Mens shirts | BRAND:AIRFLOW |  | SHIRT | NO MODIFIER | TYPE | RIPSTOP | SIZE DESIGNATION |  | GENDER | MEN'S | SLEEVE TYPE |  | MATERIAL | COTTON | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1137210 | 1137210 | 1366628 | AU_QM_000169440 |  | ERSA | M | 4020 | 1366628GZPCLNT100 | EA |  | AIRFLOW RIPSTOP SHIRT; | AIRFLOW RIPSTOP SHIRT; | SHIRT,MEN'S: AIRFLOW RIPSTOP SHIRT; |  | SHIRT,MEN'S:AIRFLOW RIPSTOP SHIRT; |  |  | 1068178 @@ TOTALLY WORKWEAR | BS6414CHXLG | [12 empty] | BISLEY WORKWEAR | BS6414CHXLG | TOTALLY WORKWEAR | [15 empty] | https://www.bisleyworkwear.com.au/BS6414x-airflow-ripstop-shirt/ | [9 empty] | Enriched | 53101602 Mens shirts | BRAND:AIRFLOW |  | SHIRT | NO MODIFIER | TYPE | RIPSTOP | SIZE DESIGNATION |  | GENDER | MEN'S | SLEEVE TYPE |  | MATERIAL | COTTON | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1138020 | 1138020 | 1466411 | AU_QM_007125086 |  | ERSA | M | 4000 | 1466411GZPCLNT100 | EA |  | BOYLES 94P ROTOR VANE;NYLON; | BOYLES 94P ROTOR VANE;NYLON; | VANE,ROTARY: BOYLES 94P ROTOR VANE;NYLON; BOYLES 94P VANE AIR MOTOR |  | VANE,ROTARY:BOYLES 94P ROTOR VANE;NYLON; |  |  | 1068229 @@ RUSSELL MINERAL EQUIPMENT P/L | 2503319 | [14 empty] | RUSSELL MINERAL EQUIPMENT P/L | 2503319 | [14 empty] | URL NOT FOUND |  |  | AIR MOTOR | BOYLES | 94P |  |  |  |  | Cleansed | 40151700 Pump parts and accessories |  |  | VANE | NO MODIFIER | TYPE | ROTARY | SIZE |  | MATERIAL | NYLON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1139137 | 1139137 | 1357904 | AU_QM_000151883 |  | ERSA | M | 5910 | 1357904GZPCLNT100 | EA |  | COMPRESSED AIR 1 IN S/S UNION M/M; MINE | COMPRESSED AIR 1 IN S/S UNION M/M; MINE | UNION,PIPE: COMPRESSED AIR 1 IN S/S UNION M/M; MINE ARC REFUGE CHAMBER (ERB) |  | UNION,PIPE: COMPRESSED AIR 1 IN S/S UNION M/M;MINE |  |  | 1068246 @@ MINEARC SYSTEMS PTY LTD | UNION1-MALESS | [14 empty] | MINEARC SYSTEMS PTY LTD | UNION1-MALESS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40174900 Pipe unions | FOR MINE ARC REFUGE CHAMBER (ERB) |  | UNION | PIPE | TYPE | COMPRESSED AIR | NOMINAL SIZE | 1 IN | END CONNECTION | MALE | SCHEDULE/WALL THICKNESS |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1140108 | 1140108 | 1362164 | AU_QM_000161188 |  | ERSA | M | 1500 | 1362164GZPCLNT100 | EA |  | ANTI SLIP STEP TREADS; 85MM LONG;DEPTH 2 | ANTI SLIP STEP TREADS; 85MM LONG;DEPTH 2 | TREAD,NONSKID: ANTI SLIP STEP TREADS; 85MM LONG;DEPTH 2 5MM; U-TREADS;GALVANISED AND POWDER COAT ED; PACK SIZE = 100 |  | TREAD,NONSKID:ANTI SLIP STEP TREADS; 85MM LONG;DEPTH 2 |  |  | 1069174 @@ AMCO INDUSTRIES | 1362164 | [14 empty] | AMCO INDUSTRIES | 1362164 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24113000 Slip sheets | DEPTH:25 MM,PACKAGE QUANTITY:100 |  | TREAD | NO MODIFIER | TYPE | NONSKID,ANTI SLIP STEP,U | PATTERN |  | LENGTH | 85 MM | WIDTH |  | HEIGHT |  | MOUNTING SIZE |  | MATERIAL |  | COATING/FINISH | GALVANISED,POWDER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1140255 | 1140255 | 1447724 | AU_QM_001070382 |  | ERSA | M | 4000 | 1447724GZPCLNT100 | EA |  | COMPAIR MODEL L250 / 7.5 BAR / EP 1000V; | COMPAIR MODEL L250 / 7.5 BAR / EP 1000V; | COMPRESSOR,ROTARY: COMPAIR MODEL L250 / 7.5 BAR / EP 1000V; ELECTRICS TO XSTRATA SPECIFICATIONS; IGFCOMP |  | COMPRESSOR,ROTARY:COMPAIR MODEL L250 / 7.5 BAR / EP 1000V; |  |  | 1068378 @@ GARDNER DENVER INDUSTRIES PTY | 1447724 | [12 empty] | COMPARE | L250 | GARDNER DENVER INDUSTRIES PTY | 1447724 | [14 empty] | https://www.directair.co.uk/air-compressors/l250/ | [9 empty] | Enriched | 40151608 Rotary compressors | ELECTRICS TO XSTRATA SPECIFICATIONS,IGFCOMP |  | COMPRESSOR | ROTARY | TYPE |  | FLOW RATING |  | INLET PRESSURE RATING | 7.5 BAR | OUTLET PRESSURE RATING |  | POWER RATING | 250 KW | VOLTAGE RATING | 1000 V | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1140293 | 1140293 | 1444986 | AU_QM_001007388 |  | ERSA | M | 5810 | 1444986GZPCLNT100 | EA |  | AG MILL TO MILL ADAPTOR FLANGE; | AG MILL TO MILL ADAPTOR FLANGE; | TROMMEL; AG MILL TO MILL ADAPTOR FLANGE; |  | TROMMEL;AG MILL TO MILL ADAPTOR FLANGE; |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 340090-02 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 340090-02 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23152100 Separation machinery and equipment | FOR AG MILL TO MILL ADAPTOR FLANGE |  | SCREEN | NO MODIFIER | TYPE | TROMMEL | SCREEN SIZE |  | WIRE SIZE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1140941 | 1140941 | 1471535 | AU_QM_009232338 |  | ERSA | M | 4090 | 1471535GZPCLNT100 | EA |  | BUFFER,50'ROLL,SUIT SCREENS | BUFFER,50'ROLL,SUIT SCREENS | RUBBER STRIP: BUFFER,50'ROLL,SUIT SCREENS |  | RUBBER STRIP: BUFFER,50'ROLL,SUIT SCREENS |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 26-100-183-002 | [13 empty] | 26-100-183-002 | METSO OUTOTEC AUSTRALIA LIMITED | [15 empty] | https://nationalstocknumber.info/nsn-and-fsc-catalog/fsc/3820/page/26/ | [9 empty] | Cleansed | 31162800 Miscellaneous hardware | FOR SCREENS |  | STRIP | NO MODIFIER | TYPE | BUFFER | SIZE | 50 FT ROLL | MATERIAL | RUBBER | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1145795 | 1145795 |  |  |  | ERSA | M | 1600 | 1539498GZPCLNT100 | EA |  | CLEANER;COIL,JET,CJ-125,SCLCJ-125 | CLEANER;COIL,JET,CJ-125,SCLCJ-125 | CLEANER;ADDITIONAL FEATURES:COIL,JET,CJ-125,SCLCJ-125 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | SCLCJ-125 | 1068740 @@ METAL MANUFACTURES PTY LTD | SCLCJ-125 | [10 empty] | SPEED SCLEAN | CJ-125 | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.raptorsupplies.com/pd/speedclean/cj-125 | https://www.grainger.com/product/SPEEDCLEAN-Battery-Operated-Coil-Washer-38G224 | [8 empty] | Enriched | 47121800 Cleaning equipment | BRAND:COILJET |  | WASHER | PRESSURE CLEANING | TYPE | BATTERY OPERATED COIL | FLOW RATE |  | PRESSURE RATING | 125 PSI | ELECTRICAL RATING | 12 VDC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1147039 | 1147039 |  |  |  | ERSA | M | 4090 | 1530619GZPCLNT100 | EA |  | CLEANER;SUGAR SOAP CONCENTRATE 5,8005221 | CLEANER;SUGAR SOAP CONCENTRATE 5,8005221 | CLEANER;ADDITIONAL FEATURES:SUGAR SOAP CONCENTRATE 5,8005221 |  |  |  |  | 1068619 @@ PAINT & DECOR | 8005221 | [14 empty] | PAINT & DECOR | 8005221 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | 5 |  | CLEANER | NO MODIFIER | TYPE | SUGAR SOAP CONCENTRATE | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1147114 | 1147114 |  |  |  | ERSA | M | 4005 | 1529807GZPCLNT100 | EA |  | CLEANER;VACUUM,L CLASS,COMPACT,M18FCVL-0 | CLEANER;VACUUM,L CLASS,COMPACT,M18FCVL-0 | CLEANER;ADDITIONAL FEATURES:VACUUM,L CLASS,COMPACT,M18FCVL-0 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | M18FCVL-0 | [12 empty] | MILWAUKEE | M18FCVL-0 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.milwaukeetool.com.au/power-tools/job-site-clean-up/vacuums/M18FCVL-0.html | [9 empty] | Enriched | 47121602 Vacuum cleaners | L CLASS |  | VACUUM CLEANER | NO MODIFIER | TYPE | COMPACT | CAPACITY | 0.95 L | FILTER TYPE |  | INPUT RATING | 18 V | POWER RATING |  | AIR FLOW | 964 LPM | CLEANING PATH |  | SIZE | 1.11 LG MX150 WDX290 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1147115 | 1147115 |  |  |  | ERSA | M | 4005 | 1529806GZPCLNT100 | EA |  | CLEANER;VACUUM,L CLASS,WET & ,M12FWDVL-0 | CLEANER;VACUUM,L CLASS,WET & ,M12FWDVL-0 | CLEANER;ADDITIONAL FEATURES:VACUUM,L CLASS,WET & ,M12FWDVL-0 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | M12FWDVL-0 | [12 empty] | MILWAUKEE | M12FWDVL-0 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.milwaukeetool.com.au/power-tools/job-site-clean-up/vacuums/M12FWDVL-0.html | [9 empty] | Enriched | 47121602 Vacuum cleaners | L CLASS |  | VACUUM CLEANER | NO MODIFIER | TYPE | WET/DRY | CAPACITY | 6.1 L WET,5.7 L DRY | FILTER TYPE |  | INPUT RATING | 12 V | POWER RATING |  | AIR FLOW | 1275 LPM | CLEANING PATH |  | SIZE | 348 LGX221 WDX302 GT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1147119 | 1147119 |  |  |  | ERSA | M | 4005 | 1529801GZPCLNT100 | EA |  | COMPRESSOR;AIR,BRUSHLESS,TOOL O,M18FAC-0 | COMPRESSOR;AIR,BRUSHLESS,TOOL O,M18FAC-0 | COMPRESSOR;ADDITIONAL FEATURES:AIR,BRUSHLESS,TOOL O,M18FAC-0 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | M18FAC-0 | [12 empty] | MILWAUKEE | M18FAC-0 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://www.milwaukeetool.com.au/power-tools/speciality-tools/M18FAC-0.html | [9 empty] | Enriched | 40151600 Compressors | TOOL ONLY |  | COMPRESSOR | NO MODIFIER | TYPE | AIR,BRUSHLESS | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY | 7.6 L | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE | 413 LGX470 WDX262 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1147208 | 1147208 |  |  |  | ERSA | M | 4090 | 1529477GZPCLNT100 | EA |  | CLEANER;PRESS,SWWV-24-10-23-18-3/BULLDOG | CLEANER;PRESS,SWWV-24-10-23-18-3/BULLDOG | CLEANER;ADDITIONAL FEATURES:PRESS,SWWV-24-10-23-18-3/BULLDOG |  |  |  |  | 1068342 @@ ISADRAULICS | SWWV-24-10-23-18-3/BULLDOG | [14 empty] | ISADRAULICS | SWWV-24-10-23-18-3/BULLDOG | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | PRESS |  | CLEANER | NO MODIFIER | TYPE |  | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147288 | 1147288 |  |  |  | ERSA | M | 4005 | 1528027GZPCLNT100 | EA |  | ATTACHMENT;REACTION ARM,RETAINING ,21474 | ATTACHMENT;REACTION ARM,RETAINING ,21474 | ATTACHMENT;ADDITIONAL FEATURES:REACTION ARM,RETAINING ,21474 |  |  |  |  | 1068342 @@ ISADRAULICS | 21474 | [13 empty] | 21474 | ISADRAULICS | [15 empty] | https://www.radtorque.com/rad_accessories/reaction-arms/ | [9 empty] | Cleansed | 31163202 Retaining rings | FOR REACTION ARM |  | RING | RETAINING | TYPE |  | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147289 | 1147289 |  |  |  | ERSA | M | 4005 | 1528026GZPCLNT100 | EA |  | ATTACHMENT;REACTION ARM,DOUBLE END,25016 | ATTACHMENT;REACTION ARM,DOUBLE END,25016 | ATTACHMENT;ADDITIONAL FEATURES:REACTION ARM,DOUBLE END,25016 |  |  |  |  | 1068342 @@ ISADRAULICS | 25016 | [13 empty] | 25016 | ISADRAULICS | [15 empty] | https://www.radtorque.com/rad_accessories/reaction-arms/ | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR REACTION ARM |  | BLANK | NO MODIFIER | TYPE | DOUBLE ENDED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147290 | 1147290 |  |  |  | ERSA | M | 4005 | 1528025GZPCLNT100 | EA |  | ATTACHMENT;REACTION ARM,WELDABLE B,24813 | ATTACHMENT;REACTION ARM,WELDABLE B,24813 | ATTACHMENT;ADDITIONAL FEATURES:REACTION ARM,WELDABLE B,24813 |  |  |  |  | 1068342 @@ ISADRAULICS | 24813 | [13 empty] | 24813 | ISADRAULICS | [15 empty] | https://www.radtorque.com/rad_accessories/reaction-arms/ | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR REACTION ARM |  | BLANK | NO MODIFIER | TYPE | WELDABLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147291 | 1147291 |  |  |  | ERSA | M | 4005 | 1528024GZPCLNT100 | EA |  | ATTACHMENT;REACTION ARM,DOUBLE END,25437 | ATTACHMENT;REACTION ARM,DOUBLE END,25437 | ATTACHMENT;ADDITIONAL FEATURES:REACTION ARM,DOUBLE END,25437 |  |  |  |  | 1068342 @@ ISADRAULICS | 25437 | [13 empty] | 25437 | ISADRAULICS | [15 empty] | https://www.radtorque.com/rad_accessories/reaction-arms/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE | DOUBLE END,REACTION | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147292 | 1147292 |  |  |  | ERSA | M | 4005 | 1528023GZPCLNT100 | EA |  | ATTACHMENT;REACTION ARM,90 DEEP,27231 | ATTACHMENT;REACTION ARM,90 DEEP,27231 | ATTACHMENT;ADDITIONAL FEATURES:REACTION ARM,90 DEEP,27231 |  |  |  |  | 1068342 @@ ISADRAULICS | 27231 | [13 empty] | 27231 | ISADRAULICS | [15 empty] | https://torquetoolsinc.com/products-2/rad/rad-reaction-arms/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ANGLE:90 DEG DEEP |  | ARM | NO MODIFIER | TYPE | REACTION | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147293 | 1147293 |  |  |  | ERSA | M | 4005 | 1528022GZPCLNT100 | EA |  | ATTACHMENT;90 STANDARD,25981 | ATTACHMENT;90 STANDARD,25981 | ATTACHMENT;ADDITIONAL FEATURES:90 STANDARD,25981 |  |  |  |  | 1068342 @@ ISADRAULICS | 25981 | [13 empty] | 25981 | ISADRAULICS | [15 empty] | https://www.radicaltorque.com.au/products/rad-torque-tool-accessories/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ANGLE:90 DEG STANDARD |  | ARM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147294 | 1147294 |  |  |  | ERSA | M | 4005 | 1528021GZPCLNT100 | EA |  | ATTACHMENT;DEEP ANGLED,24814 | ATTACHMENT;DEEP ANGLED,24814 | ATTACHMENT;ADDITIONAL FEATURES:DEEP ANGLED,24814 |  |  |  |  | 1068342 @@ ISADRAULICS | 24814 | [13 empty] | 24814 | ISADRAULICS | [15 empty] | https://www.radicaltorque.com.au/products/rad-torque-tool-accessories/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE | DEEP ANGLED | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1147295 | 1147295 |  |  |  | ERSA | M | 4005 | 1528020GZPCLNT100 | EA |  | ATTACHMENT;STANDARD ANGLED,21482 | ATTACHMENT;STANDARD ANGLED,21482 | ATTACHMENT;ADDITIONAL FEATURES:STANDARD ANGLED,21482 |  |  |  |  | 1068342 @@ ISADRAULICS | 21482 | [13 empty] | 21482 | ISADRAULICS | [15 empty] | https://www.radicaltorque.com.au/products/rad-torque-tool-accessories/#Reaction_Arms | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ARM | NO MODIFIER | TYPE | STANDARD ANGLED | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1148446 | 1148446 |  |  |  | ERSA | M | 4015 | 1517045GZPCLNT100 | EA |  | COMPRESSOR;AIRCON,4025158 | COMPRESSOR;AIRCON,4025158 | COMPRESSOR;ADDITIONAL FEATURES:AIRCON,4025158 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | 4025158 | [13 empty] | 4025158 | MOBILISE GROUP PTY LTD | [15 empty] | https://b2b.daikin.com.sg/shop/product/4025158-compressor-64949#attr= | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1148513 | 1148513 |  |  |  | ERSA | M | 4015 | 1516574GZPCLNT100 | EA |  | COMPRESSOR,REFRIGERATION;A/C,,MOB2707482 | COMPRESSOR,REFRIGERATION;A/C,,MOB2707482 | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES:A/C,,MOB2707482 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2707482 | [14 empty] | MOBILISE GROUP PTY LTD | MOB2707482 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1148514 | 1148514 |  |  |  | ERSA | M | 4015 | 1516573GZPCLNT100 | EA |  | COMPRESSOR,REFRIGERATION;A/C,,MOB2706561 | COMPRESSOR,REFRIGERATION;A/C,,MOB2706561 | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES:A/C,,MOB2706561 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2706561 | [14 empty] | MOBILISE GROUP PTY LTD | MOB2706561 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1148515 | 1148515 |  |  |  | ERSA | M | 4015 | 1516572GZPCLNT100 | EA |  | COMPRESSOR,REFRIGERATION;A/C,,MOB2703053 | COMPRESSOR,REFRIGERATION;A/C,,MOB2703053 | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES:A/C,,MOB2703053 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2703053 | [14 empty] | MOBILISE GROUP PTY LTD | MOB2703053 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1148518 | 1148518 |  |  |  | ERSA | M | 4015 | 1516567GZPCLNT100 | EA |  | CLEANER;A/C,RECTORSEAL FOAM-,MOB3415037 | CLEANER;A/C,RECTORSEAL FOAM-,MOB3415037 | CLEANER;ADDITIONAL FEATURES:A/C,RECTORSEAL FOAM-,MOB3415037 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB3415037 | [10 empty] | RECTORSEAL |  |  |  | MOBILISE GROUP PTY LTD | MOB3415037 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | FOAM |  | CLEANER | NO MODIFIER | TYPE | A/C | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1149107 | 1149107 |  |  |  | ERSA | M | 4020 | 1532064GZPCLNT100 | EA |  | CLEANER;ISOPROPYL,500ML,1560549 | CLEANER;ISOPROPYL,500ML,1560549 | CLEANER;ADDITIONAL FEATURES:ISOPROPYL,500ML,1560549 |  |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1560549 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 1560549 | [16 empty] | https://www.bunnings.com.au/diggers-500ml-isopropyl-alcohol-cleaner_p1560549 | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | ISOPROPYL ALCOHOL | CONTAINER | 500 ML | FORM | LIQUID | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1149975 | 1149975 |  |  |  | ERSA | M | 2620 | 1530667GZPCLNT100 | EA |  | CLEANER;TIP,12 PCE,KWYPO | CLEANER;TIP,12 PCE,KWYPO | CLEANER;ADDITIONAL FEATURES:TIP,12 PCE,KWYPO |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | KWYPO | [14 empty] | WELDERS PRO SHOP | KWYPO | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42282000 Instrument cleaning devices and accessories | PACKAGE QUANTITY:12 PIECE |  | CLEANER | NO MODIFIER | TYPE | TIP | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1149990 | 1149990 |  |  |  | ERSA | M | 3020 | 1530538GZPCLNT100 | EA |  | COMPRESSOR;A/C,SCROLL,3PH,S,MOBSM161-4VA | COMPRESSOR;A/C,SCROLL,3PH,S,MOBSM161-4VA | COMPRESSOR;ADDITIONAL FEATURES:A/C,SCROLL,3PH,S,MOBSM161-4VA |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOBSM161-4VA | [13 empty] | SM161-4VA | MOBILISE GROUP PTY LTD | [15 empty] | https://www.aspneumatic.com/index.php?route=product/product&path=7&product_id=447 | [9 empty] | Cleansed | 40151607 Refrigerant compressors | NUMBER OF PHASE:3 |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER,SCROLL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1150272 | 1150272 |  |  |  | ERSA | M | 4020 | 1517113GZPCLNT100 | EA |  | CLEANER;WHITEBOARD,19032501 | CLEANER;WHITEBOARD,19032501 | CLEANER;ADDITIONAL FEATURES:WHITEBOARD,19032501 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 19032501 | [12 empty] | WINC AUSTRALIA PTY LTD | 19032501 | [16 empty] | https://www.winc.com.au/main-catalogue-productdetail/quartet-whiteboard-cleaner-250ml/19032501 | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | WHITEBOARD | CONTAINER | 250 ML BOTTLE | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1152250 | 1152250 |  |  |  | ERSA | M | 4075 | 1534762GZPCLNT100 | EA |  | CLEANER;VIPER HEAVY DUTY 3.79LT,2706115 | CLEANER;VIPER HEAVY DUTY 3.79LT,2706115 | CLEANER;ADDITIONAL FEATURES:VIPER HEAVY DUTY 3.79LT,2706115 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2706115 | [14 empty] | REECE PTY LTD | 2706115 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | VIPER,HEAVY DUTY | CONTAINER | 3.79 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1153009 | 1153009 |  |  |  | ERSA | M | 4075 | 1534781GZPCLNT100 | EA |  | CLEANER;RECTORSEAL COIL-RITE NSF,3415035 | CLEANER;RECTORSEAL COIL-RITE NSF,3415035 | CLEANER;ADDITIONAL FEATURES:RECTORSEAL COIL-RITE NSF,3415035 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3415035 | [12 empty] | RECTORSEAL | 3415035 | REECE PTY LTD | [15 empty] | https://www.reece.com.au/product/rectorseal-coil-rite-nsf-approved-evaporator-abd-3415035 | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions | BRAND:COIL-RITE |  | CLEANER | NO MODIFIER | TYPE |  | CONTAINER | 5 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NSF | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1153384 | 1153384 |  |  |  | ERSA | M | 4075 | 1534154GZPCLNT100 | EA |  | CLEANER;MOMAR BOWL GUARD 1L,7101001 | CLEANER;MOMAR BOWL GUARD 1L,7101001 | CLEANER;ADDITIONAL FEATURES:MOMAR BOWL GUARD 1L,7101001 |  |  |  |  | 1068155 @@ REECE PTY LTD | 7101001 | [10 empty] | MOMAR |  |  |  | REECE PTY LTD | 7101001 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | BOWL GUARD | CONTAINER | 1 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1153390 | 1153390 |  |  |  | ERSA | M | 4075 | 1534130GZPCLNT100 | EA |  | CLEANER;DRAIN,1 LTR,1906225 | CLEANER;DRAIN,1 LTR,1906225 | CLEANER;ADDITIONAL FEATURES:DRAIN,1 LTR,1906225 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1906225 | [14 empty] | REECE PTY LTD | 1906225 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | DRAIN | CONTAINER | 1 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1154413 | 1154413 |  |  |  | ERSA | M | 4090 | 1514016GZPCLNT100 | EA |  | CLEANER;H/PRESS CORDED K,6270795 | CLEANER;H/PRESS CORDED K,6270795 | CLEANER;ADDITIONAL FEATURES:H/PRESS CORDED K,6270795 |  |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 6270795 | [14 empty] | BUNNINGS WAREHOUSE MT ISA | 6270795 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47121800 Cleaning equipment | K |  | CLEANER | NO MODIFIER | TYPE | HIGH PRESSURE,CORDED | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1155138 | 1155138 |  |  |  | ERSA | M | 5380 | 1515165GZPCLNT100 | EA |  | CLEANER;FERROUS CLEAN MA,20KG,16-03-0816 | CLEANER;FERROUS CLEAN MA,20KG,16-03-0816 | CLEANER;ADDITIONAL FEATURES:FERROUS CLEAN MA,20KG,16-03-0816 |  |  |  |  | 1069821 @@ MINEHAN AGENCIES PTY LTD | 16-03-0816 | [12 empty] | MINEHAN AGENCIES PTY LTD | 16-03-0816 | [16 empty] | https://minehanagencies.com.au/index.php?id_product=5726&controller=product | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | FERROUS | CONTAINER | 20 KG | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1155246 | 1155246 |  |  |  | ERSA | M | 4020 | 1514017GZPCLNT100 | EA |  | CLEANER;CLEANSER SOLOPOL LIME 2L,9967634 | CLEANER;CLEANSER SOLOPOL LIME 2L,9967634 | CLEANER;ADDITIONAL FEATURES:CLEANSER SOLOPOL LIME 2L,9967634 |  |  |  |  | 1069714 @@ BLACKWOODS | 9967634 | 1068652 @@ J BLACKWOOD & SONS | 9967634 | [10 empty] | SC JOHNSON | LIM2LT | [12 empty] | J BLACKWOOD & SONS | 09967634 |  |  | https://www.blackwoods.com.au/hygiene-cleaning/hand-body-cleaning/sc-johnson-cleanser-solopol/cleanser-solopol-lime-lim2lt-2l/p/09967634 | https://www.scjp.com/en-au/products/solopol-lime | [8 empty] | Enriched | 53131627 Hand cleaner | BRAND:SOLOPOL |  | CLEANER | HAND | TYPE | CLEANSER,LIME,MEDIUM-HEAVY DUTY HAND | CONTAINER | 2 L | FRAGRANCE |  | FORM |  | TRADE NAME |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | GECA | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1155773 | 1155773 | 1474421 | AU_QM_000162619 |  | ERSA | M | 4020 | 1474421GZPCLNT100 | EA |  | CLEANER,SOLVENT;AUTOBARN,MO812 | CLEANER,SOLVENT;AUTOBARN,MO812 |  |  | CLEANER,SOLVENT:COCKPIT PROTECTOR; APPLE COBRA COTE |  |  | 1068144 @@ AUTOBARN MOUNT ISA | CC03572 | [14 empty] | AUTOBARN MOUNT ISA | CC03572 | COBRA COTE | MO812 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | APPLE |  | CLEANER | NO MODIFIER | TYPE | SOLVENT,COCKPIT PROTECTOR | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1174219 | 1174219 | 1436121 | AU_QM_000824912 |  | ERSA | M | 4000 | 1436121GZPCLNT100 | EA |  | COMPRESSOR,REFRG;AIR CONDITIONER,24 VDC | COMPRESSOR,REFRG;AIR CONDITIONER,24 VDC | COMPRESSOR,REFRIGERATION;TYPE:AIR CONDITIONER,VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:ASSY, AIT MODIFIED SYSTEM, A-SECTION PULLEY |  | COMPRESSOR,REFRIGERATION: AIRCONDITIONING COMPRESSOR ASSY; |  |  | 1068542 @@ KNORR-BREMSE AUSTRALIA PTY LTD | 1436121 | [14 empty] | KNORR-BREMSE AUSTRALIA PTY LTD | 1436121 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40151607 Refrigerant compressors | ASSEMBLY,C/W AIT MODIFIED SYSTEM,A-SECTION PULLEY |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 VDC | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1176733 | 1176733 | 1448863 | AU_QM_001096924 |  | ERSA | M | 1600 | 1448863GZPCLNT100 | EA |  | ADAPTER,PIPE;GAUGES,BOC,105766 | ADAPTER,PIPE;GAUGES,BOC,105766 | INLET STEM AND NUT NITROGEN TYPE 50 PTNO: 105766 |  | ADAPTER,CONNECTOR:NITROGEN BOTTLE/ACCUMULATOR GUAGES; |  |  | 1068135 @@ BOC LIMITED | 105766 | [12 empty] | BOC LIMITED | 105766 | [16 empty] | https://www.boc.com.au/shop/en/au/boc-inlet-stem---nut-nitrogen-regulators | [9 empty] | Cleansed | 40171700 Pipe adapters | C/W INLET STEM AND NUT,FOR NITROGEN TYPE 50 ACCUMULATOR GUAGES,NITROGEN BOTTLE |  | ADAPTER | PIPE | TYPE | CONNECTOR | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1179107 | 1179107 |  |  |  | ERSA | M | 1600 | 1544136GZPCLNT100 | EA |  | CLEANER;AIR,AEROSOL,AIR DUSTER,200 ML | LIMPIADOR; | CLEANER;TYPE:AIR,CONTAINER:AEROSOL,ADDITIONAL FEATURES EN:AIR DUSTER,200 ML | LIMPIADOR; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 7444609 | [26 empty] | RS COMPONENTS PTY LTD | 7444609 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | AIR DUSTER | CONTAINER | 200 ML AEROSOL | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1179108 | 1179108 |  |  |  | ERSA | M | 1600 | 1544135GZPCLNT100 | EA |  | CLEANER;AIR,AEROSOL,AIR DUSTER,420 ML | LIMPIADOR; | CLEANER;TYPE:AIR,CONTAINER:AEROSOL,ADDITIONAL FEATURES EN:AIR DUSTER,420 ML | LIMPIADOR; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 880-1482 | [26 empty] | RS COMPONENTS PTY LTD | 880-1482 |  |  | https://docs.rs-online.com/3d82/0900766b814536fc.pdf | https://www.photomart.co.uk/rs-pro-eco-air-duster-420-ml-invertible.html | [8 empty] | Enriched | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | AIR DUSTER,NON FLAMMABLE | CONTAINER | 420 ML AEROSOL | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1179519 | 1179519 |  |  |  | ERSA | M | 3770 | 1542976GZPCLNT100 | EA |  | COMPRESSOR;A/C,10S15C | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:A/C,10S15C | COMPRESOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | CXD6213 | 1072013 @@ METAL MANUFACTURES PTY LTD | 1542976 | [10 empty] | ASHDOWN INGRAM | CXD6213 | METAL MANUFACTURES PTY LTD | 1542976 | [14 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | Cleansed | 40151607 Refrigerant compressors | SERIES:10S15C |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1179726 | 1179726 |  |  |  | ERSA | M | 4015 | 1513361GZPCLNT100 | EA |  | COMPRESSOR;AIRCON,24V,CXS7866 | COMPRESOR; | COMPRESSOR;ADDITIONAL FEATURES EN:AIRCON,24V,CXS7866 | COMPRESOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | CXS7866 | [12 empty] | ASHDOWN INGRAM | CXS7866 | [16 empty] | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | AIR CONDITIONER | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 24 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1181512 | 1181512 |  |  |  | ERSA | M | 5955 | 1567636GZPCLNT100 | EA |  | CLEANER;UPHOLSTERY,PK | LIMPIADOR; | CLEANER;TYPE:UPHOLSTERY,CONTAINER:PK,ADDITIONAL FEATURES EN:FOAM WAX,APPLICATOR PAD,4PK | LIMPIADOR; |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | MFP206 | [14 empty] | AUTOBARN MOUNT ISA | MFP206 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | PACKAGE QUANTITY:4 PER PACK |  | CLEANER | NO MODIFIER | TYPE | UPHOLSTERY,FOAM WAX,APPLICATOR PAD | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1181513 | 1181513 |  |  |  | ERSA | M | 5955 | 1567635GZPCLNT100 | EA |  | CLEANER;VINYL,500ML,CARE | LIMPIADOR; | CLEANER;TYPE:VINYL,CONTAINER:500ML,ADDITIONAL FEATURES EN:CARE | LIMPIADOR; |  |  |  | 1068144 @@ AUTOBARN MOUNT ISA | BOVC | [14 empty] | AUTOBARN MOUNT ISA | BOVC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | VINYL,CARE | CONTAINER | 500 ML | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1183003 | 1183003 |  |  |  | ERSA | M | 5700 | 1564123GZPCLNT100 | EA |  | CLEANER,BLT;IN-LN,PREM,AIR TEN,S/S,FAB 7 | LIMPIADOR,CORREA; | CLEANER,BELT;ADDITIONAL FEATURES EN:INLINE,PREM,AIR TEN,S/S,FAB 750 | LIMPIADOR,CORREA; |  |  |  | 1068638 @@ ESS ENGINEERING SERV SUP PTY LTD | 39702075SW | [14 empty] | ESS ENGINEERING SERV SUP PTY LTD | 39702075SW | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24101742 External belt scraper | PREM,AIR TEN,FAB 750 |  | CLEANER | BELT | TYPE | INLINE | BELT WIDTH |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1184480 | 1184480 |  |  |  | ERSA | M | 4015 | 1559002GZPCLNT100 | EA |  | COMPRESSOR,REFRG;SCROLL,415V,3PH,COPELAN | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:SCROLL,415V,3PH,COPELAND,ZP61KCE-TFD-522 | COMPRESOR REFRIGERACION; |  |  |  | 1068500 @@ ACTROL PARTS PTY LTD | 1559002 | [12 empty] | COPELAND | ZP61KCE-TFD-522 | ACTROL PARTS PTY LTD | 1559002 | [14 empty] | https://frigopartners.com/compressor-copeland-zp61kce-tfd-522 | [9 empty] | Enriched | 40151607 Refrigerant compressors | NUMBER OF PHASE:3 |  | COMPRESSOR | REFRIGERATION | TYPE | SCROLL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING |  | POWER RATING | 5 HP | VOLTAGE RATING | 415 V | SPEED RATING |  | TEMPERATURE RATING | 40 DEG C | SIZE | 24.5 LGX24.9 WDX44 HT CM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1184745 | 1184745 |  |  |  | ERSA | M | 4015 | 1558676GZPCLNT100 | EA |  | COMPRESSOR,REFRG;SCROLL,ZP57K3E-TFD-522 | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:SCROLL,ZP57K3E-TFD-522 | COMPRESOR REFRIGERACION; |  |  |  | 1068500 @@ ACTROL PARTS PTY LTD | 1558676 | [12 empty] | COPELAND | ZP57K3E-TFD-522 | ACTROL PARTS PTY LTD | 1558676 | [14 empty] | https://www.copeland.com/en-us/shop/1/copeland-sku-zp57k3e-tfd-522 | https://www.qishanrcompressor.com/products/copeland-scroll-compressor-zp-tf5-series.html | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | SCROLL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING |  | POWER RATING | 4.8 HP | VOLTAGE RATING | 380 TO 420 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1185117 | 1185117 |  |  |  | ERSA | M | 1600 | 1557541GZPCLNT100 | EA | 3000422 | CLEANER;CNW,TOTET3203A,30L VEVOR ULTRASO | LIMPIADOR;CNW,TOTET3203A | CLEANER;MNFR:CNW,PTNO:TOTET3203A,ADDITIONAL FEATURES EN:30L VEVOR ULTRASONIC,600W | LIMPIADOR;MNFR:CNW,PTNO:TOTET3203A |  | CNW | TOTET3203A | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | TOTET3203A | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | TOTET3203A |  |  | VEVOR | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47121800 Cleaning equipment | POWER RATING:600 W |  | CLEANER | NO MODIFIER | TYPE | ULTRASONIC | CONTAINER | 30 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1185333 | 1185333 |  |  |  | ERSA | M | 4020 | 1557281GZPCLNT100 | EA |  | CLEANER,HND;ALL PURPOSE,HAND SANITISER,5 | LIMPIADOR MANUAL; | CLEANER,HAND;ADDITIONAL FEATURES EN:ALL PURPOSE,HAND SANITISER,500ML | LIMPIADOR MANUAL; |  |  |  | 1068093 @@ BLACKWOODS & SONS | 1154185 | [26 empty] | BLACKWOODS & SONS | 01154185 |  |  | URL NOT FOUND | [9 empty] | Cleansed | 53131627 Hand cleaner |  |  | CLEANER | HAND | TYPE | ALL PURPOSE,HAND SANITISER,MANUAL | CONTAINER | 500 ML | FRAGRANCE |  | FORM |  | TRADE NAME |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1186264 | 1186264 |  |  |  | ERSA | M | 5930 | 1552965GZPCLNT100 | EA |  | COMPRESSOR,REFRG;COPELAND,SCROLL | COMPRESOR REFRIGER; | COMPRESSOR,REFRIGERATION;ADDITIONAL FEATURES EN:COPELAND,SCROLL | COMPRESOR REFRIGERACION; |  |  |  | 1069619 @@ CAPRICORN AIR CONDITIONING | ZP61KCE-TFD-522 | [12 empty] | COPELAND | ZP61KCETFD522 | CAPRICORN AIR CONDITIONING | [15 empty] | https://frigopartners.com/compressor-copeland-zp61kce-tfd-522 | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | SCROLL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING |  | POWER RATING | 5 HP | VOLTAGE RATING | 380 V | SPEED RATING |  | TEMPERATURE RATING | 40 DEG C | SIZE | 24.5 LGX24.9 WDX44 HT CM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1189282 | 1189282 |  |  |  | ERSA | M | 5905 | 1576131GZPCLNT100 | EA |  | CLEANER;PRE,FILTER BOWL,5 IN,SUIT FRANNA | LIMPIADOR; | CLEANER;TYPE:PRE,CONTAINER:FILTER BOWL,ADDITIONAL FEATURES EN:5 IN,SUIT FRANNA | LIMPIADOR; |  |  |  | 1068585 @@ Jacon Equipment Pty Ltd | JSFS-H002043 | [13 empty] | JSFS-H002043 | JACON EQUIPMENT PTY LTD | [15 empty] | https://www.scribd.com/doc/124807405/ROBOSHOT-MIDJET-MK4 | [9 empty] | Cleansed | 26101700 Engine components and accessories | FOR FRANNA,SIZE:5 IN |  | PRE-CLEANER | ENGINE | TYPE | FILTER BOWL | OUTLET SIZE |  | OVERALL HEIGHT |  | BODY DIAMETER |  | MATERIAL |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 | NM BASED ON WEB SOURCE | 1189629 | 1189629 |  |  |  | ERSA | M | 4020 | 1575713GZPCLNT100 | EA |  | CLEANER;CDDY,PLSTC,EZY CLEAN FBA30661 | LIMPIADOR; | CLEANER;TYPE:CADDY,CONTAINER:PLASTIC,ADDITIONAL FEATURES EN:EZY CLEAN FBA30661 | LIMPIADOR; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | FBA30661 4560056 | [10 empty] | EZY STORAGE |  | BUNNINGS WAREHOUSE MT ISA | FBA30661 4560056 | [16 empty] | https://www.bunnings.com.au/ezy-storage-cleaning-caddy_p4560056 | [9 empty] | Enriched | 24112000 Bins and baskets |  |  | BASKET | NO MODIFIER | TYPE | CLEANER,CADDY | CAPACITY |  | SIZE | 420 LGX280 WDX180 HT MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1189651 | 1189651 |  |  |  | ERSA | M | 4020 | 1575691GZPCLNT100 | EA |  | CLEANER;HND,SUPREGA PLUS,4L,CART 5000 | LIMPIADOR; | CLEANER;TYPE:HAND,SUPREGA PLUS,CONTAINER:4L,ADDITIONAL FEATURES EN:CART 5000 | LIMPIADOR; |  |  |  | 1068502 @@ ATOM SUPPLY | 88889817 | [13 empty] | 5000 | [12 empty] | ATOM SUPPLY | 88889817 |  |  | https://www.atom.com.au/suprega-plus-hand-cleaner-with-grit-cartridge-4l-88889817 | [9 empty] | Enriched | 53131627 Hand cleaner | BRAND:SUPREGA PLUS,CART 5000 |  | CLEANER | HAND | TYPE |  | CONTAINER | 4 L | FRAGRANCE |  | FORM |  | TRADE NAME |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1189655 | 1189655 |  |  |  | ERSA | M | 4020 | 1575687GZPCLNT100 | EA |  | CLEANER;GL,WINDEX,750ML | LIMPIADOR; | CLEANER;TYPE:GLASS,WINDEX,CONTAINER:750ML | LIMPIADOR; |  |  |  | 1068502 @@ ATOM SUPPLY | 79011783 | [13 empty] | 318217 | [12 empty] | ATOM SUPPLY | 79011783 |  |  | https://www.atom.com.au/catalog/product/view/id/2206657/s/type-310-coupling-79011783/ | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | GLASS,WINDOW | CONTAINER | 750 ML | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1189656 | 1189656 |  |  |  | ERSA | M | 4020 | 1575686GZPCLNT100 | EA |  | CLEANER;GUMPTION PASTE,500G | LIMPIADOR; | CLEANER;TYPE:GUMPTION PASTE,CONTAINER:500G | LIMPIADOR; |  |  |  | 1068502 @@ ATOM SUPPLY | 90280045 | [13 empty] | 00750 | [12 empty] | ATOM SUPPLY | 90280045 |  |  | https://www.atom.com.au/surface-cleaner-gumption-paste-500g-clorox-90280045 | [9 empty] | Enriched | 47131800 Cleaning and disinfecting solutions | BRAND:GUMPTION |  | CLEANER | NO MODIFIER | TYPE | SURFACE,PASTE | CONTAINER | 500 G | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1189809 | 1189809 |  |  |  | ERSA | M | 5905 | 1575465GZPCLNT100 | EA |  | CLEANER;PRE,PLSTC,SEIV13 | LIMPIADOR; | CLEANER;TYPE:PRE,CONTAINER:PLASTIC,ADDITIONAL FEATURES EN:SEIV13 | LIMPIADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | SEIV13 | [14 empty] | ASHDOWN ENTERPRISES | SEIV13 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42282000 Instrument cleaning devices and accessories | MATERIAL:PLASTIC |  | CLEANER | NO MODIFIER | TYPE | PRE | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1203359 | 1203359 |  |  |  | ERSA | M | 5920 | 270737MRM | EA |  | CLEANER,SOLVENT:ENDEAVOUR ULTRASONIC CLE | CLEANER,SOLVENT:ENDEAVOUR ULTRASONIC CLE | CLEANER,SOLVENT:ENDEAVOUR ULTRASONIC CLEANER POWDER;1KG |  |  |  |  | 1068813 @@ SUPERCHEAP AUTO (NT ONLY) | ET3204-1KG | [12 empty] | ENDEAVOUR | ET3204-1KG | SUPERCHEAP AUTO (NT ONLY) | [15 empty] | https://www.endeavourtools.com.au/ET3204-1KG-ultrasonic-cleaning-powder | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | ULTRASONIC CLEANER,SOLVENT | CONTAINER | 1 KG | FORM | POWDER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1203837 | 1203837 |  |  |  | ERSA | M | 1600 | 271017MRM | EA |  | CLEANER,SOLVENT:ICE MACHINE CLEANER;20LT | CLEANER,SOLVENT:ICE MACHINE CLEANER;20LT | CLEANER,SOLVENT:ICE MACHINE CLEANER;20LTR |  |  |  |  | 1070937 @@ ACTROL PARTS PTY LTD | 2750200 | [14 empty] | ACTROL PARTS PTY LTD | 2750200 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions |  |  | CLEANER | NO MODIFIER | TYPE | ICE MACHINE | CONTAINER | 20 L | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1204029 | 1204029 |  |  |  | ERSA | M | 4000 | 271045MRM | EA |  | COMPRESSOR,REFRIGERATION:COMP SCROLL;ZPT | COMPRESSOR,REFRIGERATION:COMP SCROLL;ZPT | COMPRESSOR,REFRIGERATION:COMP SCROLL;ZPT206;KCE-TFD |  |  |  |  | 1071038 @@ RINNAI AUSTRALIA PTY LTD | ZPT206 KCE-TFD | [12 empty] | COPELAND | ZPT206KCE TFD | RINNAI AUSTRALIA PTY LTD | [15 empty] | https://www.acrcuk.com/product/scroll-refrigeration-compressor-zpt206kce-tfd/ | [9 empty] | Cleansed | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | SCROLL | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING |  | SPEED RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1204030 | 1204030 |  |  |  | ERSA | M | 4000 | 271046MRM | EA |  | COMPRESSOR,REFRIGERATION:ZR250KCE-TWD-52 | COMPRESSOR,REFRIGERATION:ZR250KCE-TWD-52 | COMPRESSOR,REFRIGERATION:ZR250KCE-TWD-522;BRAZED SCROLL HERMETICCOMPRESSOR |  |  |  |  | 1070937 @@ ACTROL PARTS PTY LTD | 3502521 | [12 empty] | COPELAND | ZR250KCE-TWD-522 | ACTROL PARTS PTY LTD | 3502521 | [14 empty] | https://www.copeland.com/en-gb/shop/1/copeland-eu-sku-8044191-en-gb | https://www.sktech.ru/en/refrigeration/compressors/zr250kce-twd-522/ | [8 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | BRAZED SCROLL HERMETIC | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R-407C,R-134A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 380 TO 420 V | SPEED RATING |  | TEMPERATURE RATING |  | SIZE | 432 LGX376 WDX717 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 28-10-2023 | 10-11-2023 |  | 1204038 | 1204038 |  |  |  | ERSA | M | 4000 | 271055MRM | EA |  | COMPRESSOR,REFRIGERATION:SCROLL COMPRESS | COMPRESSOR,REFRIGERATION:SCROLL COMPRESS | COMPRESSOR,REFRIGERATION:SCROLL COMPRESSOR;SINGLE;BRAZED;SY240A4CBE/SY240A4CBI |  |  |  |  | 1070937 @@ ACTROL PARTS PTY LTD | 3216330 | [12 empty] | DANFOSS | SY240A4CBE | ACTROL PARTS PTY LTD | 3216330 |  | SY240A4CBI | [12 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Compressors/Compressors-for-air-conditioning/Scroll-compressors/Scroll-compressor%2C-SY240A4CBE/p/SY240A4CBI | [9 empty] | Enriched | 40151607 Refrigerant compressors |  |  | COMPRESSOR | REFRIGERATION | TYPE | SCROLL,SINGLE,BRAZED | NUMBER OF STAGES |  | FLOW RATING |  | REFRIGERANT TYPE | R134A,R22,R407C,R513A | PRESSURE RATING |  | POWER RATING |  | VOLTAGE RATING | 400 V | SPEED RATING | 2900 RPM | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,UKCA | [48 empty] | Production Completed