## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1215953 | 1215953 |  |  |  | ERSA | M | 5915 | 140857MRM | EA |  | BRUSH,ROTARY SWEEPER:MAIN BRUSH PPL/STEE | BRUSH,ROTARY SWEEPER:MAIN BRUSH PPL/STEE | BRUSH,ROTARY SWEEPER:MAIN BRUSH PPL/STEEL (D200) BODY MOPLEN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131605 Cleaning brushes | D200 BODY MOPLEN,MATERIAL:POLYPROPYLENE,STEEL |  | BRUSH | CLEANING | TYPE | ROTARY SWEEPER,MAIN | OVERALL LENGTH |  | TRIM LENGTH |  | BRISTLE MATERIAL |  | DIAMETER |  | SIZE |  | BRISTLE SIZE |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1215952 | 1215952 |  |  |  | ERSA | M | 5915 | 140856MRM | EA |  | BRUSH,ROTARY SWEEPER:SIDE BRUSH PPL/STEE | BRUSH,ROTARY SWEEPER:SIDE BRUSH PPL/STEE | BRUSH,ROTARY SWEEPER:SIDE BRUSH PPL/STEEL (D200) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 47131605 Cleaning brushes | D200,MATERIAL:POLYPROPYLENE,STEEL |  | BRUSH | CLEANING | TYPE | ROTARY SWEEPER,SIDE | OVERALL LENGTH |  | TRIM LENGTH |  | BRISTLE MATERIAL |  | DIAMETER |  | SIZE |  | BRISTLE SIZE |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1203753 | 1203753 |  |  |  | ERSA | M | 4010 | 595959MRM | EA |  | BRUSH,ROTARY,FIBRE;250MM X 25MM NB;6 ROW | BRUSH,ROTARY,FIBRE;250MM X 25MM NB;6 ROW | BRUSH,ROTARY,FIBRE;250MM X 25MM NB;6 ROW;75MM BRISTLE LGTH;DOUBLE ROW HALF HELICAL BRISTLES; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27113000 Brushes | NUMBER OF ROW:6,BRISTLE LENGTH:75 MM,DOUBLE ROW HALF HELICAL BRISTLES |  | BRUSH | NO MODIFIER | TYPE | ROTARY | SIZE | 250X25 MM NB | MATERIAL | FIBRE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1215215 | 1215215 |  |  |  | ERSA | M | 5955 | 778046MRM | EA |  | BUTTON,PLUG:PLUTON 30 CONTROL BUTTON;CON | BUTTON,PLUG:PLUTON 30 CONTROL BUTTON;CON | BUTTON,PLUG:PLUTON 30 CONTROL BUTTON;CONTROL ASSY;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL NOT FOUND |  |  | ROCK BOLTER |  | SECOMA PLUTON 30 |  |  |  |  | Cleansed | 39122200 Electrical switches and accessories | ASSEMBLY,FOR PLUTON 30 CONTROL |  | BUTTON | NO MODIFIER | TYPE | PLUG | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1206982 | 1206982 |  |  |  | ERSA | M | 5920 | 132695MRM | EA |  | BUTTON:BUTTON;LUBRICATING DEVICE;C160 JA | BUTTON:BUTTON;LUBRICATING DEVICE;C160 JA | BUTTON:BUTTON;LUBRICATING DEVICE;C160 JAW CRUSHER; | [36 empty] | URL NOT FOUND |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | FOR LUBRICATING DEVICE |  | BUTTON | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1214466 | 1214466 |  |  |  | ERSA | M | 5920 | 171763MRM | EA |  | BUTTON:E STOP;PUSH-PULL;30.5MM;CORROSION | BUTTON:E STOP;PUSH-PULL;30.5MM;CORROSION | BUTTON:E STOP;PUSH-PULL;30.5MM;CORROSION RESISTANT;LINER HANDLER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122200 Electrical switches and accessories | E STOP BUTTON,CORROSION RESISTANT,LINER HANDLER |  | SWITCH | PUSH PULL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE | 30.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1111927 | 1111927 | 1421040 | AU_QM_000267231 |  | ERSA | M | 5915 | 1421040GZPCLNT100 | EA |  | BUTTON;1906150 | BUTTON;1906150 | BUTTON;MNFR: ,PTNO:1906150 |  | BUTTON;1906150BUTTON;1906150 | [16 empty] | REECE | 1906150 | [16 empty] | https://www.reece.com.au/product/basin-button-stainless-steel-1906150 | [9 empty] | Enriched | 42141600 Basins and bedpans and urinals and admission kits |  |  | BUTTON | NO MODIFIER | TYPE | BASIN | SIZE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1111350 | 1111350 | 1410757 | AU_QM_000256072 |  | ERSA | M | 5915 | 1410757GZPCLNT100 | EA |  | BUTTON;2E.TEZB4BD2 | BUTTON;2E.TEZB4BD2 | BUTTON;MNFR: ,PTNO:2E.TEZB4BD2 |  | BUTTON;2E.TEZB4BD2BUTTON;2E.TEZB4BD2 | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BUTTON | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1017290 | 1017290 |  |  |  | ERSA | M | 5100 | 1256171GZPCLNT100 | EA | 3000226 | BUTTON;AB,800TC-A2D1,PUSH,MOM,30 MM | BOTON;AB,800TC-A2D1,PRES,MOMENTARY,30 MM | BUTTON;MNFR:ALLEN BRADLEY,PTNO:800TC-A2D1,TYPE:PUSH,MOMENTARY,SIZE:30 MM,MATERIAL:METAL,COLOUR:BLACK | BOTON;MNFR:ALLEN BRADLEY,PTNO:800TC-A2D1,TIPO:PRESION,MOMENTARY,TAMAÃ‘O:30 MM,MATERIAL:METAL,TONO:NEGRO |  | ALLEN BRADLEY | 800TC-A2D1 | [14 empty] | ALLEN BRADLEY | 800TC-A2D1 | [16 empty] | https://www.mc-mc.com/Product/allen-bradley-800tc-a2d1?option=ALBR800TCA2D1 | [9 empty] | Enriched | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | MOMENTARY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 1NO | ACTION |  | MOUNTING TYPE | FLUSH | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | METAL | COLOUR | BLACK | SIZE | 30 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1102268 | 1102268 |  |  |  | ERSA | M | 1600 | 1505848GZPCLNT100 | EA |  | BUTTON;EATM22DS | BUTTON;EATM22DS | [19 empty] | EATON | M22-D-S | [16 empty] | https://datasheet.eaton.com/datasheet.php?model=216590&locale=en_GB | [9 empty] | Enriched | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | MOMENTARY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS | 1 | CONTACT CONFIGURATION |  | ACTION | SPRING RETURN | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC BEZEL | COLOUR | CHROME BEZEL,BLACK | SIZE | 30 LGX30 WDX30 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,IEC/EN 60947,CE,VDE 0660,IEC/EN 60947-5,CSA-C22.2,UL E29184,UL,NKCR,LR,GL,DNV | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1102265 | 1102265 |  |  |  | ERSA | M | 1600 | 1505852GZPCLNT100 | EA |  | BUTTON;EATY7-216925 | BUTTON;EATY7-216925 | [18 empty] | M22-DL-R | EATON | Y7-216925 | [16 empty] | https://www.eaton.com/content/dam/eaton/products/low-voltage-power-distribution-controls-systems/aussie-series-distribution-boards/eaton-aussie-series-distribution-boards-brochure-en-gb-anz.pdf | https://datasheet.eaton.com/datasheet.php?model=216925 | [8 empty] | Enriched | 39122216 Push button switch |  | OPENING DIAMETER:22.5 MM | SWITCH | PUSHBUTTON | TYPE | ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS | 1 | CONTACT CONFIGURATION |  | ACTION | SPRING RETURN | MOUNTING TYPE | FLUSH | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC BEZEL | COLOUR | TITANIUM BEZEL,RED | SIZE | 30 LGX30 WDX30 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,IEC/EN 60947,CE,VDE 0660,IEC/EN 60947-5,CSA-C22.2,UL E29184,UL,NKCR,LR,GL,DNV | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1102259 | 1102259 |  |  |  | ERSA | M | 1600 | 1505858GZPCLNT100 | EA |  | BUTTON;EATY7-216931 | BUTTON;EATY7-216931 | [19 empty] | EATON | Y7-216931 | [16 empty] | https://www.eaton.com/content/dam/eaton/products/low-voltage-power-distribution-controls-systems/aussie-series-distribution-boards/eaton-aussie-series-distribution-boards-brochure-en-gb-anz.pdf | https://datasheet.eaton.com/datasheet.php?model=216931 | [8 empty] | Enriched | 39122216 Push button switch |  | OPENING DIAMETER:22.5 MM | SWITCH | PUSHBUTTON | TYPE | ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS | 1 | CONTACT CONFIGURATION |  | ACTION | SPRING RETURN | MOUNTING TYPE | FLUSH | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | PLASTIC BEZEL | COLOUR | TITANIUM BEZEL,BLUE | SIZE | 30 LGX30 WDX30 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,IEC/EN 60947,CE,VDE 0660,IEC/EN 60947-5,CSA-C22.2,UL E29184,UL,NKCR,LR,GL,DNV | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1189152 | 1189152 |  |  |  | ERSA | M | 5000 | 1576297GZPCLNT100 | EA |  | BUTTON;EMRGNCY STOP,HIAB,9858962 | BOTON; | BUTTON;TYPE:EMERGENCY STOP,SIZE:,ADDITIONAL FEATURES EN:HIAB,9858962 | BOTON; | [17 empty] | HIAB | 9858962 | [16 empty] | https://webshop.hiab.com/en/ecom/item/emergency-stop-button/9858962/ | [9 empty] | Enriched | 39121500 Electrical controls and accessories |  |  | BUTTON | NO MODIFIER | TYPE | EMERGENCY STOP | SIZE | 57 LGX40 WDX40 HT MM | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1068990 | 1068990 | 1428124 | AU_QM_000488098 |  | ERSA | M | 1600 | 1428124GZPCLNT100 | EA |  | BUTTON;PUSH, ILLUMINATING GREEN,GREEN | BUTTON;PUSH, ILLUMINATING GREEN,GREEN | BUTTON;PUSH, ILLUMINATING GREEN,COLOUR:GREEN,ADDITIONAL FEATURES EN:24VDC, 1N,MNFR:01)CNW,PTNO:01)FUJAR30EOL-10E3G |  | PUSH BUTTON:ILLUMINATED;GREEN;24VDC;1N/O CONTACT | [16 empty] | FUJI ELECTRIC | AR30E0L-10E3G | [16 empty] | https://www.allworldmachinery.com/itemdetail/AR30E0L-10E3G | [9 empty] | Enriched | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | ILLUMINATING | VOLTAGE RATING | 24 VAC/VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 1NO | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR | GREEN | SIZE | 30 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1154479 | 1154479 |  |  |  | ERSA | M | 5915 | 1509441GZPCLNT100 | EA |  | BUTTON;RESET PUSH BUTTON C/W BAS,T4-A-06 | BUTTON;RESET PUSH BUTTON C/W BAS,T4-A-06 | BUTTON;ADDITIONAL FEATURES:RESET PUSH BUTTON C/W BAS,T4-A-06 | [17 empty] | T4-A-06 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122216 Push button switch | C/W BAS |  | SWITCH | PUSHBUTTON | TYPE | RESET | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1080655 | 1080655 |  |  |  | ERSA | M | 5000 | 1611866GZPCLNT100 | EA | 3000010 | BUTTON;SAN,61509595 | BOTON;SAN,61420809 | BUTTON;SAN,61509595 | BOTON;MNFR:SANDVIK,PTNO:61420809 |  | SANDVIK | 61509595 | [14 empty] | SANDVIK | 61509595 | [16 empty] | https://www.rockser.com.tr/export/6 | [9 empty] | Cleansed | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1151325 | 1151325 |  |  |  | ERSA | M | 1600 | 1475279GZPCLNT100 | EA |  | CB TEST PUSHBUTTON;NON-ILLUMATED;22.5MM | CB TEST PUSHBUTTON;NON-ILLUMATED;22.5MM | [37 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | CB TEST,NON-ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE | 22.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1010753 | 1010753 |  |  |  | ERSA | M | 4090 | 1610803GZPCLNT100 | EA | 3000438 | BUTTON;NRMT,100016485,PUSH | BOTON;NRMT,100016485 | BUTTON;MNFR:NORMET,PTNO:100016485,ADDITIONAL FEATURES EN:PUSH | BOTON;MNFR:NORMET,PTNO:100016485 |  | NORMET | 100016485 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100016485 | [10 empty] | NORMET | 100016485 |  |  | NORMET ASIA PACIFIC PTY LTD | 100016485 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1016372 | 1016372 | 1197612 | AU_QM_000146851 |  | ERSA | M | 1600 | 1197612GZPCLNT100 | EA | 3000000 | BUTTON;ATL,5541019600,HORN,OPERRATOR CAB | BUTTON;ATL,5541019600,HORN,OPERRATOR CAB | BUTTON;MNFR:ATLAS COPCO,PTNO:5541019600,ADDITIONAL FEATURES EN:HORN,OPERRATOR CAB |  | BUTTON:HORN BUTTON FOR ATLAS COPCO MT6020 TRUCK | ATLAS COPCO | 5541019600 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5541019600 | [12 empty] | ATLAS COPCO | 5541019600 | EPIROC AUSTRALIA PTY LTD | 5541019600 | [14 empty] | https://www.aga-parts.com/atlas-copco/part/5541019600_horn/ |  |  | TRUCK | ATLAS COPCO | MT6020 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | HORN | NO MODIFIER | TYPE |  | SOUND INTENSITY |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | MOUNTING TYPE |  | MATERIAL |  | COLOUR |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1035862 | 1035862 |  |  |  | ERSA | M | 4075 | 1534248GZPCLNT100 | PAA |  | BUTTON;RAM FIESTA H&B CHROME,100352 | BUTTON;RAM FIESTA H&B CHROME,100352 | BUTTON;ADDITIONAL FEATURES:RAM FIESTA H&B CHROME,100352 |  |  |  |  | 1068155 @@ REECE PTY LTD | 100352 | [14 empty] | REECE PTY LTD | 100352 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | RAM FIESTA H&B CHROME |  | BUTTON | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1051283 | 1051283 |  |  |  | ERSA | M | 4090 | 1581586GZPCLNT100 | EA |  | BRUSH;WIRE,TWISTKNOT CUP,75MM | CEPILLO; | BRUSH;TYPE:WIRE,SIZE:,MATERIAL:,ADDITIONAL FEATURES EN:TWISTKNOT CUP,75MM | CEPILLO; |  |  |  | 1068373 @@ BUNNINGS FAIRFIELD WATERS | 6326282 | [14 empty] | BUNNINGS FAIRFIELD WATERS | 6326282 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111907 Wire brushes | TWISTKNOT CUP,75 MM |  | BRUSH | WIRE | TYPE |  | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL |  | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1057745 | 1057745 |  |  |  | ERSA | M | 4090 | 1615079GZPCLNT100 | EA |  | BUTTON;HOT/ COLD,5 MM,CHROME | BOTON; | BUTTON;TYPE:HOT/ COLD,SIZE:5 MM,COLOUR:CHROME,ADDITIONAL FEATURES EN:PERFORMA TAP | BOTON; |  |  |  | 1068155 @@ REECE PTY LTD | 1842795 | [12 empty] | REECE PTY LTD | 1842795 | [16 empty] | https://www.reece.com.au/product/performa-tap-buttons-x-5mm-hot-cold-chrome-2-1842795 | [9 empty] | Cleansed | 30181800 Faucet and shower heads, jets and parts and accessories |  |  | BUTTON | NO MODIFIER | TYPE | HOT/COLD,PERFORMA TAP | SIZE | 5 MM | MATERIAL |  | COLOUR | CHROME | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1058984 | 1058984 |  |  |  | ERSA | M | 2700 | 1583910GZPCLNT100 | PAC |  | BUTTON;MGNTC,30 MM,PACK 10 | BOTON; | BUTTON;TYPE:MAGNETIC,SIZE:30 MM,ADDITIONAL FEATURES EN:PACK 10,QUARTET WHITEBOARD,ASSORTED COLOUR | BOTON; |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 66664019 | [12 empty] | QUARTET | QTTMB30ASSTD | WINC AUSTRALIA PTY LTD | 66664019 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/quartet-whiteboard-magnetic-buttons-30mm-assorted-pack-10/66664019 | [9 empty] | Cleansed | 44111911 Interactive whiteboards or accessories | PACKAGE QUANTITY:10/PK,FOR WHITEBOARD |  | BUTTON | NO MODIFIER | TYPE | MAGNETIC | SIZE | 30 MM | MATERIAL |  | COLOUR | ASSORTED | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1060853 | 1060853 |  |  |  | ERSA | M | 4090 | 1615944GZPCLNT100 | EA |  | BUTTON;DUAL FLASH,5202,CR,DURA | BOTON; | BUTTON;TYPE:DUAL FLASH,SIZE:5202,ADDITIONAL FEATURES EN:CHROME,DURA | BOTON; |  |  |  | 1068155 @@ REECE PTY LTD | 1817015 | [12 empty] | REECE PTY LTD | 1817015 | [16 empty] | https://www.reece.com.au/product/dura-dual-flush-button-5202-chrome-1817015 | [9 empty] | Cleansed | 47131705 Urinal or toilet accessories | 5202 |  | BUTTON | NO MODIFIER | TYPE | DUAL FLUSH,DURA | SIZE |  | MATERIAL |  | COLOUR | CHROME | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1064263 | 1064263 | 1465858 | AU_QM_007124097 |  | ERSA | M | 4500 | 1465858GZPCLNT100 | EA |  | CASTING CONTROL CENTRAL PROCESSOR; | CASTING CONTROL CENTRAL PROCESSOR; | PROCESSOR,COMPUTER: CASTING CONTROL CENTRAL PROCESSOR; ANODE CASTING CONTROL SYSTEM |  | PROCESSOR,COMPUTER: CASTING CONTROL CENTRAL PROCESSOR; |  |  | 1068243 @@ OUTOTEC PTY LTD | 825672-4 | 1070670 @@ METSO OUTOTEC FINLAND OY | 825672-4 | [12 empty] | OUTOTEC PTY LTD | 825672-4 |  | 825672-4 | [12 empty] | URL NOT FOUND |  |  | ANODE CASTING CONTROL SYSTEM | [6 empty] | Cleansed | 43201503 Central processing unit CPU processors |  |  | PROCESSOR | NO MODIFIER | TYPE | COMPUTER,CENTRAL | MEMORY |  | PROCESSOR SPEED |  | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1088288 | 1088288 |  |  |  | ERSA | M | 4050 | 1586165GZPCLNT100 | PAC |  | BUTTON;MGNTC,20 MM,BLUE,10/PACK | BOTON;AZUL | BUTTON;TYPE:MAGNETIC,SIZE:20 MM,COLOUR:BLUE,ADDITIONAL FEATURES EN:10/PACK,BRAND: OFFICEMAX,PTNO:WB20-160002AB(OMX) | BOTON;TONO:AZUL,PTNO:WB20-160002AB(OMX) |  |  | WB20-160002AB(OMX) | 1068167 @@ WINC AUSTRALIA PTY LTD | 25090752 | [10 empty] | OFFICEMAX | WB20-160002AB(OMX) |  |  | WINC AUSTRALIA PTY LTD | 25090752 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 44111911 Interactive whiteboards or accessories | PACKAGE QUANTITY:10/PK |  | BUTTON | NO MODIFIER | TYPE | MAGNETIC | SIZE | 20 MM | MATERIAL |  | COLOUR | BLUE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1102098 | 1102098 |  |  |  | ERSA | M | 4090 | 1530740GZPCLNT100 | EA |  | BRUSH;POWER,YELLOW,VOR-TSL-KBP-6/16 X 90 | BRUSH;POWER,YELLOW,VOR-TSL-KBP-6/16 X 90 | BRUSH;ADDITIONAL FEATURES:POWER,YELLOW,VOR-TSL-KBP-6/16 X 90 |  |  |  |  | 1069877 @@ KEITH PRICE | VOR-TSL-KBP-6/16 X 90 | [12 empty] | KEITH PRICE | VOR-TSL-KBP-6/16 X 90 | [16 empty] | https://www.keithprice.com.au/PowerBrushesTypeVOR-KBP.pdf | [9 empty] | Enriched | 26112000 Clutch parts and accessories | COLOR:YELLOW | INSERTION LENGTH:90 MM | BRUSH | NO MODIFIER | TYPE | POWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1103029 | 1103029 | 1476136 | AU_QM_000462671 |  | ERSA | M | 2700 | 1476136GZPCLNT100 | EA |  | 4 HOLE,23 SHEET,OPEN NO.888 | 4 HOLE,23 SHEET,OPEN NO.888 |  |  | PUNCH,PAPER,HAND: 4 HOLE,23 SHEET,OPEN NO.888 |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 1476136 | [14 empty] | WINC AUSTRALIA PTY LTD | 1476136 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 44121611 Paper or eyelet punches | NO.888 |  | PUNCH | PAPER | TYPE | HAND,OPEN | NUMBER OF HOLES/SLOTS | 4 | HOLE/SLOT SIZE |  | PAPER CAPACITY | 23 SHEET | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1104015 | 1104015 |  |  |  | ERSA | M | 4005 | 1514165GZPCLNT100 | EA |  | BRUSH;WHEEL WIRE CRIMP 200X23 UN,4377904 | BRUSH;WHEEL WIRE CRIMP 200X23 UN,4377904 | BRUSH;ADDITIONAL FEATURES:WHEEL WIRE CRIMP 200X23 UN,4377904 |  |  |  |  | 1069714 @@ BLACKWOODS | 4377904 | 1068652 @@ J BLACKWOOD & SONS | 4377904 | [10 empty] | SIT | 9072 | BLACKWOODS | 4377904 |  | 4377904 | [12 empty] | https://www.blackwoods.com.au/abrasives/wire-brushes/crimped-wire-brush/wheel-wire-crimped-200mmx23mm-x-unibore/p/04377904 | [9 empty] | Enriched | 27111907 Wire brushes |  | SPEED RATING:4500 RPM | BRUSH | WIRE | TYPE | WHEEL,CRIMPED,UNI BORE | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL | STEEL | FACE WIDTH | 23 MM | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER | 200 MM | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 1083 | [38 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1104270 | 1104270 |  |  |  | ERSA | M | 3750 | 1505784GZPCLNT100 | EA |  | BUTTON;SAN,G134020 | BUTTON;SAN,G134020 | BUTTON;ADDITIONAL FEATURES:SAN,G134020 |  |  |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | G134020 | 1068652 @@ J BLACKWOOD & SONS | 1505784 | 1068502 @@ ATOM SUPPLY | 1505784 | 1075601 @@ DRILLING EQUIPMENT MANUFACTURERS | 1505784 | [8 empty] | SANDVIK MINING & CONSTRUCTION | G134020 | 1068502 @@ ATOM SUPPLY | 1505784 | 1075601 @@ DRILLING EQUIPMENT MANUFACTURERS | 1505784 | [10 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BUTTON | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1104995 | 1104995 |  |  |  | ERSA | M | 5700 | 1535883GZPCLNT100 | EA |  | BRUSH;RUB,BES-K-CLE-ROTA-R50-BRU-0800-AS | BRUSH;RUB,BES-K-CLE-ROTA-R50-BRU-0800-AS | [5 empty] | 1068293 @@ BRITRAC (AUST) PTY LTD | BES-K-CLE-ROTA-R50-BRU-0800-AS | [14 empty] | BRITRAC (AUST) PTY LTD | BES-K-CLE-ROTA-R50-BRU-0800-AS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27113000 Brushes |  |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1112719 | 1112719 |  |  |  | ERSA | M | 1600 | 1573905GZPCLNT100 | EA | 3000422 | BUTTON;CNW,NHPD716YE112,EMERGENCY STOP | BOTON;CNW,NHPD716YE112 | BUTTON;MNFR:CNW,PTNO:NHPD716YE112,ADDITIONAL FEATURES EN:EMERGENCY STOP 90MM | BOTON;MNFR:CNW,PTNO:NHPD716YE112 |  | CNW | NHPD716YE112 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHPD716YE112 | [10 empty] | CNW | NHPD716YE112 | NHP | D716YE112 | CNW (MOUNT ISA) ELECT WHOLESALER | NHPD716YE112 | [14 empty] | https://nhpnz.co.nz/product/d716ye112 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/D716YE112-5617-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [8 empty] | Enriched | 39122200 Electrical switches and accessories |  | LEGEND:EMERGENCY STOP,COLOR:YELLOW PLATE,BLACK TEXT,IP RATING:IP65/66 | RING | NO MODIFIER | TYPE | SELF ADHESIVE | DIMENSIONS | 90 MM DIA | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1119631 | 1119631 |  |  |  | ERSA | M | 1600 | 1616620GZPCLNT100 | EA | 3000344 | BUTTON;SCHN,ZB5AP4S,RED SPRING RETURN PU | BOTON;SCHN,ZB5AP4S | BUTTON;MNFR:SCHNEIDER INC,PTNO:ZB5AP4S,ADDITIONAL FEATURES EN:RED SPRING RETURN PUSH,22MM CUTOUT,IP66,IP67,IP69K,HARMONY XB5 SERIES | BOTON;MNFR:SCHNEIDER INC,PTNO:ZB5AP4S |  | SCHNEIDER INC | ZB5AP4S | 1068206 @@ RS COMPONENTS PTY LTD | ZB5AP4S | [10 empty] | SCHNEIDER INC | ZB5AP4S | SCHNEIDER ELECTRIC | ZB5AP4S | RS COMPONENTS PTY LTD | ZB5AP4S | [14 empty] | https://docs.rs-online.com/4d3b/0900766b81055862.pdf | [9 empty] | Enriched | 39122200 Electrical switches and accessories |  | COLOR:RED,TEMPERATURE RATING:-40 TO 70 DEG C | HEAD | PUSHBUTTON | TYPE | NON ILLUMINATED | SIZE | 22 MM DIA | MATERIAL | PLASTIC BEZEL | IP RATING | IP66,IP67,IP69 | MOUNTING TYPE | FLUSH | CERTIFICATION/STANDARD | BV,CSA,DNV,GL,LROS,RINA,UL | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1119632 | 1119632 |  |  |  | ERSA | M | 1600 | 1616621GZPCLNT100 | EA | 3000344 | BUTTON;SCHN,ZB5AP3S,GREEN SPRING RETURN2 | BOTON;SCHN,ZB5AP3S | BUTTON;MNFR:SCHNEIDER INC,PTNO:ZB5AP3S,ADDITIONAL FEATURES EN:GREEN SPRING RETURN PUSH,22MM CUTOUT,IP66,IP67,IP69K,HARMONY XB5 SERIES | BOTON;MNFR:SCHNEIDER INC,PTNO:ZB5AP3S |  | SCHNEIDER INC | ZB5AP3S | 1068206 @@ RS COMPONENTS PTY LTD | ZB5AP3S | [10 empty] | SCHNEIDER INC | ZB5AP3S | SCHNEIDER ELECTRIC | ZB5AP3S | RS COMPONENTS PTY LTD | ZB5AP3S | [14 empty] | https://docs.rs-online.com/e4b4/0900766b81055860.pdf | [9 empty] | Enriched | 39122200 Electrical switches and accessories |  | COLOR:GREEN,TEMPERATURE RATING:-40 TO 70 DEG C | HEAD | PUSHBUTTON | TYPE | NON ILLUMINATED | SIZE | 22 MM DIA | MATERIAL | PLASTIC BEZEL | IP RATING | IP66,IP67,IP69 | MOUNTING TYPE | FLUSH | CERTIFICATION/STANDARD | BV,CSA,DNV,GL,LROS,RINA,UL | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1144379 | 1144379 | 1439687 | AU_QM_000982563 |  | ERSA | M | 1600 | 1439687GZPCLNT100 | EA |  | BUTTON;DOUBLE INSULATED BOOTED PUSH | BUTTON;DOUBLE INSULATED BOOTED PUSH | BUTTON;TYPE:DOUBLE INSULATED BOOTED PUSH,SIZE:22 MM,MATERIAL:PLASTIC,COLOUR:BLACK,MNFR:01)CNW,PTNO:01)ZB5AP2 |  | PUSH BUTTON:22MM;BLACK;BOOTED;DOUBLE INSULATED; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ZA2BP2 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | ZB5AP2 | [10 empty] | SCHNEIDER ELECTRIC | ZA2BP2 | CNW (MOUNT ISA) ELECT WHOLESALER | ZA2BP2 |  | ZB5AP2 | [12 empty] | https://www.se.com/in/en/product/ZA2BP2/pushbutton-head-diameter-%C3%B8-22-black-booted/ | [9 empty] | Enriched | 39122200 Electrical switches and accessories |  | COLOR:BLACK,TEMPERATURE RATING:-25 TO 70 DEG C | HEAD | PUSHBUTTON | TYPE |  | SIZE | 22 MM DIA | MATERIAL |  | IP RATING | IP65 | MOUNTING TYPE | FRONT | CERTIFICATION/STANDARD | UL,CSA,EN/IEC | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1144761 | 1144761 | 1457284 | AU_QM_001297654 |  | ERSA | M | 1600 | 1457284GZPCLNT100 | EA |  | BUTTON;PUSH, MUSHROOM | BUTTON;PUSH, MUSHROOM | BUTTON;MNFR:NORMET,PTNO:100016408,ADDITIONAL FEATURES EN:PUSH, MUSHROOM |  | PUSH BUTTON:MUSHROOM PUSH BUTTON; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100016408 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 100016408 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | MUSHROOM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1146711 | 1146711 |  |  |  | ERSA | M | 1600 | 1505972GZPCLNT100 | EA |  | BUTTON;E-STOP,M22-PV | BUTTON;E-STOP,M22-PV | BUTTON;ADDITIONAL FEATURES:E-STOP,M22-PV |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | 1505972 | [12 empty] | EATON | M22-PV | METAL MANUFACTURES PTY LTD | 1505972 | [14 empty] | https://datasheet.eaton.com/datasheet.php?model=216876 | [9 empty] | Enriched | 39122216 Push button switch |  | IP RATING:IP66 | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP,MUSHROOM,NON ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR | YELLOW BASE,RED | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,IEC,CSA,UL,EN 60947-5,VDE,DNV,GL,LR | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1146772 | 1146772 |  |  |  | ERSA | M | 1600 | 1505348GZPCLNT100 | EA |  | BUTTON;PUSH,HEAD,22MM,1SFA611100R3102 | BUTTON;PUSH,HEAD,22MM,1SFA611100R3102 | BUTTON;ADDITIONAL FEATURES:PUSH,HEAD,22MM,1SFA611100R3102 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 1505348 | [12 empty] | ABB | 1SFA611100R3102 | MOUNT ISA MINING SUPPLIES P/L | 1505348 | [14 empty] | https://om.rsdelivers.com/product/abb/1sfa611100r3102-mp1-31g/abb-modular-series-green-momentary-push-button/7578780 | [9 empty] | Enriched | 39122200 Electrical switches and accessories |  | COLOR:GREEN | HEAD | PUSHBUTTON | TYPE | MOMENTARY | SIZE | 22 MM DIA | MATERIAL |  | IP RATING | IP66 | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1152171 | 1152171 |  |  |  | ERSA | M | 4075 | 1534886GZPCLNT100 | EA |  | BUTTON;BASIN,S/S,1906150 | BUTTON;BASIN,S/S,1906150 | BUTTON;ADDITIONAL FEATURES:BASIN,S/S,1906150 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1906150 | [12 empty] | REECE PTY LTD | 1906150 | [16 empty] | https://www.reece.com.au/product/basin-button-stainless-steel-1906150 | [9 empty] | Cleansed | 42141600 Basins and bedpans and urinals and admission kits |  |  | BUTTON | NO MODIFIER | TYPE | BASIN | SIZE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1153317 | 1153317 |  |  |  | ERSA | M | 4075 | 1534273GZPCLNT100 | EA |  | BUTTON;BASE HOT,CHROME,2205292 | BUTTON;BASE HOT,CHROME,2205292 | BUTTON;ADDITIONAL FEATURES:BASE HOT,CHROME,2205292 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2205292 | [12 empty] | REECE PTY LTD | 2205292 | [16 empty] | https://www.reece.com.au/product/posh-bristol-base-hot-button-chrome-2205292 | [9 empty] | Enriched | 30181800 Faucet and shower heads, jets and parts and accessories |  |  | BUTTON | NO MODIFIER | TYPE | POSH BRISTOL/BASE HOT | SIZE |  | MATERIAL |  | COLOUR | CHROME | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1153318 | 1153318 |  |  |  | ERSA | M | 4075 | 1534272GZPCLNT100 | EA |  | BUTTON;BASE COLD,CHROME,2205290 | BUTTON;BASE COLD,CHROME,2205290 | BUTTON;ADDITIONAL FEATURES:BASE COLD,CHROME,2205290 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2205290 | [12 empty] | REECE PTY LTD | 2205290 | [16 empty] | https://www.reece.com.au/product/posh-bristol-base-cold-button-chrome-2205290 | [9 empty] | Enriched | 30181800 Faucet and shower heads, jets and parts and accessories |  |  | BUTTON | NO MODIFIER | TYPE | POSH BRISTOL/BASE COLD | SIZE |  | MATERIAL |  | COLOUR | CHROME | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1164839 | 1164839 | 1373455 | AU_QM_000201517 |  | ERSA | M | 1600 | 1373455GZPCLNT100 | EA |  | BUTTON;PUSH, MUSHROOM,CNW,CUTT140 | BUTTON;PUSH, MUSHROOM,CNW,CUTT140 | BUTTON;PUSH, MUSHROOM,ADDITIONAL FEATURES EN:BARE SHAFT OPERATOR,MNFR:01)CNW,PTNO:01)CUTT140 |  | PUSH BUTTON:BARE SHAFT OPERATOR;MUSHROOM OR PALM |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | T140 | [10 empty] | CNW | CUTT140 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | T140 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39122216 Push button switch | BARE SHAFT OPERATOR |  | SWITCH | PUSHBUTTON | TYPE | MUSHROOM,PALM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1182853 | 1182853 |  |  |  | ERSA | M | 4010 | 1564342GZPCLNT100 | EA |  | BRUSH,WIRE;WELDERS,HANDL WOOD,STEEL | CEPILLO ALAM;,ASA MTRL MADERA,ACERO | BRUSH,WIRE;TYPE:WELDERS,HANDLE MATERIAL:WOOD,BRISTLE MATERIAL:STEEL,ADDITIONAL FEATURES EN:HAND,STEEL,3 ROW,WOOD HANDLE | CEPILLO ALAMBRE;MATERIAL ASA:MADERA,MATERIAL CERDA:ACERO |  |  |  | 1068502 @@ ATOM SUPPLY | 722001 | [12 empty] | TODO | 001.133.523 | ATOM SUPPLY | 722001 | [14 empty] | https://www.atom.com.au/steel-wire-hand-brush-3-row-wood-handle-722001 | [9 empty] | Enriched | 27111907 Wire brushes | NUMBER OF ROW:3 ROW |  | BRUSH | WIRE | TYPE | HAND,WELDERS | HANDLE MATERIAL | TIMBER WOOD | OVERALL LENGTH |  | BRISTLE MATERIAL | STEEL | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1206445 | 1206445 |  |  |  | ERSA | M | 1600 | 333151MRM | SET |  | BRUSH SET,ELEC CONTACT:CARBON BRUSH 25MM | BRUSH SET,ELEC CONTACT:CARBON BRUSH 25MM | BRUSH SET,ELEC CONTACT:CARBON BRUSH 25MM X 32MM X 50 H230; SET= 30 BRUSHES |  |  |  |  | 1070060 @@ CORTELA CARBON PTY LTD | 12-1422-634 | [14 empty] | CORTELA CARBON PTY LTD | 12-1422-634 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27113000 Brushes | ELECTRIC CONTACT,H230,PACKAGE QUANTITY:30/SET |  | BRUSH | CARBON | TYPE |  | THICKNESS | 25 MM | WIDTH | 32 MM | LENGTH | 50 MM | CONNECTION TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1215894 | 1215894 |  |  |  | ERSA | M | 4010 | 508176MRM | EA |  | BRUSH,WIRE,ROTARY WHEEL:CIRCULAR CRIMPED | BRUSH,WIRE,ROTARY WHEEL:CIRCULAR CRIMPED | BRUSH,WIRE,ROTARY WHEEL:CIRCULAR CRIMPED;150MM 20MM;UNI BORE;BRUSH NO.5152;CARBON STEEL WIRE; |  |  |  |  | 1068502 @@ ATOM SUPPLY | PN1215894 | [14 empty] | ATOM SUPPLY | PN1215894 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111907 Wire brushes | UNI BORE,BRUSH NO.5152 |  | BRUSH | WIRE | TYPE | ROTARY WHEEL,CIRCULAR CRIMPED,UNI BORE | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL | CARBON STEEL | FACE WIDTH | 20 MM | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER | 150 MM | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1205933 | 1205933 |  |  |  | ERSA | M | 4090 | 89409MRM | EA |  | ANTISEPTIC POWDER:SAVLON;20GM SINGLE UNI | ANTISEPTIC POWDER:SAVLON;20GM SINGLE UNI | ANTISEPTIC POWDER:SAVLON;20GM SINGLE UNIT; | [16 empty] | SAVLON | [19 empty] | Url Not Found | [9 empty] | Cleansed | 12164701 Antiseptic additive | SINGLE UNIT |  | POWDER | NO MODIFIER | TYPE |  | CONTAINER | 20 G | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1112401 | 1112401 | 1426259 | AU_QM_000371773 |  | ERSA | M | 2700 | 1426259GZPCLNT100 | EA |  | BLACK;HP 1600CM COLOUR PRINTER; | BLACK;HP 1600CM COLOUR PRINTER; | INK,PRINTING,CARTRIDGE: BLACK;HP 1600CM COLOUR PRINTER; |  | INK,PRINTING,CARTRIDGE: BLACK;HP 1600CM COLOUR PRINTER; | [17 empty] | HP 1600CM | [16 empty] | https://www.cartridgepeople.com/HP/DeskJet/DeskJet-1600-CM-Ink-Cartridges | [9 empty] | Cleansed | 44103105 Ink cartridges | PRINTER |  | CARTRIDGE | INK | TYPE | PRINTING | COLOUR | BLACK | CAPACITY |  | MATERIAL |  | INK TYPE |  | AVERAGE YIELD |  | SIZE |  | COMPATIBLE HARDWARE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1088724 | 1088724 | 1393311 | AU_QM_000236697 |  | ERSA | M | 5955 | 1393311GZPCLNT100 | EA | 3000438 | BRAKE;NRMT,EXHAUST BRAKE CYLINDER | FRENO; | FRENO;MNFR:NORMET,PTNO:EXHAUST BRAKE CYLINDER | FRENO;,MNFR:NORMET,PTNO:EXHAUST BRAKE CYLINDER | OEM-E-LISTBRAKE;NOR,EXHAUST BRAKE CYLINDER | NORMET | EXHAUST BRAKE CYLINDER | [12 empty] | FRENO |  |  |  | NORMET | [15 empty] | Url Not Found | [9 empty] | Cleansed | 25171710 Master cylinders |  |  | CYLINDER | NO MODIFIER | TYPE | EXHAUST BRAKE | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1204910 | 1204910 |  |  |  | ERSA | M | 4010 | 51052MRM | EA |  | BRUSH,SCRUB:HAND,200MM X 75MM,NYLON BRIS | BRUSH,SCRUB:HAND,200MM X 75MM,NYLON BRIS | BRUSH,SCRUB:HAND,200MM X 75MM,NYLON BRISTLES | [36 empty] | Url Not Found | [9 empty] | Cleansed | 47131605 Cleaning brushes |  |  | BRUSH | CLEANING | TYPE | HAND SCRUB | OVERALL LENGTH | 200 MM | TRIM LENGTH | 75 MM | BRISTLE MATERIAL | NYLON | DIAMETER |  | SIZE |  | BRISTLE SIZE |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1207614 | 1207614 |  |  |  | ERSA | M | 5920 | 154950MRM | EA |  | BRUSH:BEVEL BRUSH; CRIMPED STAINLESS STE | BRUSH:BEVEL BRUSH; CRIMPED STAINLESS STE | BRUSH:BEVEL BRUSH; CRIMPED STAINLESS STEEL DIAMETER 95MM MOUNT 14X2.0MM; SIT BC090.03SS | [18 empty] | SIT | BC090.03SS | [16 empty] | https://www.blackwoods.com.au/abrasives/wire-brushes/crimped-wire-brush/brush-bevel-crimped-s-s-90mm-m14x2-0mm/p/06857399 | [9 empty] | Enriched | 27111907 Wire brushes |  | THREAD SIZE:M14X2 MM PITCH | BRUSH | WIRE | TYPE | CRIMPED,BEVEL | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL | STAINLESS STEEL | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER | 0.35 MM | DIAMETER | 95 MM | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE | THREAD | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1217486 | 1217486 |  |  |  | ERSA | M | 4090 | 241893MRM | BOX |  | DRESSING GEL:INTRASITE GEL;15G TUBE;10 P | DRESSING GEL:INTRASITE GEL;15G TUBE;10 P | DRESSING GEL:INTRASITE GEL;15G TUBE;10 PER BOX;DEBRIDER <(>&<)> DESLOUGHER; | [36 empty] | Url Not Found | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products | BRAND:INTRASITE,DEBRIDER AND DESLOUGHER |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | DRESSING GEL | SIZE | 15 G | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 10 TUBE/BX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1203460 | 1203460 |  |  |  | ERSA | M | 4090 | 981751MRM | EA |  | DRESSING PACK,BASIC:STERILE;SINGLE USE;1 | DRESSING PACK,BASIC:STERILE;SINGLE USE;1 | DRESSING PACK,BASIC:STERILE;SINGLE USE;1 X STERILE FIELD;1 X DRESSING TRAY;1 X DRESSING TOWEL;5 COTTON BALLS;3 X FORCEPS;2 X GAUZE SWABS; | [36 empty] | Url Not Found | [9 empty] | Cleansed | 42311500 Bandages and dressings and related products | SINGLE USE,BASIC CONTAINS:(1) STERILE FIELD,(1) DRESSING TRAY,(1) DRESSING TOWEL,(5) COTTON BALLS,(3) FORCEPS,(2) GAUZE SWABS |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | DRESSING | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | PK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1112345 | 1112345 | 1439090 | AU_QM_000978460 |  | ERSA | M | 4000 | 1439090GZPCLNT100 | EA |  | DRIER HEAT EXCHANGER INSULATION; | DRIER HEAT EXCHANGER INSULATION; | INSULATION,THERMAL: DRIER HEAT EXCHANGER INSULATION; R22 REFRIGERANT GAS SERVICE; FOR COMPAIR S/NO.147596002 SCM422 REFRIGERATED AIR DRYER |  | INSULATION,THERMAL: DRIER HEAT EXCHANGER INSULATION; | [34 empty] | Url Not Found |  |  | REFRIGERATED AIR DRYER HEATEXCHANGER | COMPAIR | SCM422 | 147596002 |  |  |  | Cleansed | 30141500 Thermal insulation | FOR COMPAIR |  | INSULATION | THERMAL | TYPE | DRIER | FORM |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1002608 | 1002608 |  |  |  | ERSA | M | 5000 | 1560288GZPCLNT100 | EA | 3000010 | ALARM;SAN,56004392 | BOCINA;SAN,56004392 | HORN;MNFR:SANDVIK,PTNO:56004392,ADDITIONAL FEATURES EN:FIELD CABINET,AUTOMATION | BOCINA;MNFR:SANDVIK,PTNO:56004392 |  | SANDVIK | 56004392 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56004392 | [14 empty] | SANDVIK MINING & CONSTRUCTION | 56004392 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 46181500 Safety apparel | FIELD CABINET,HORN |  | ALARM | NO MODIFIER | TYPE | AUTOMATION | SOUND INTENSITY |  | ALARM TONE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1015136 | 1015136 | 1471587 | AU_QM_009240632 |  | ERSA | M | 4075 | 1471587GZPCLNT100 | EA |  | COMMUTATION-300UH | COMMUTATION-300UH | INDUCTOR; COMMUTATION-300UH FOR VARIABLE SPEED DRIVE |  | INDUCTOR; COMMUTATION-300UH |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1471587 | [14 empty] | ABB AUSTRALIA PTY LTD | 1471587 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121702 Inductors | FOR VARIABLE SPEED DRIVE |  | INDUCTOR | NO MODIFIER | TYPE | COMMUTATORS | INDUCTANCE RATING | 300 UH | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | CORE MATERIAL |  | WINDING MATERIAL |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1028460 | 1028460 | 1371873 | AU_QM_000196294 |  | ERSA | M | 4005 | 1371873GZPCLNT100 | EA | 3000450 | BRUSH;TECH,1155423944000,TECH,1155423944 | CEPILLO;TECH,1155423944000, | BRUSH;MNFR:TECNICAS HIDRAULICAS,PTNO:1155423944000,ADDITIONAL FEATURES EN:TECH,1155423944000 | CEPILLO;MNFR:TECNICAS HIDRAULICAS,PTNO:1155423944000 | BRUSH;TECH,1155423944000,TECH,1155423944BRUSH;TEC,1155423944000 | TECNICAS HIDRAULICAS | 1155423944000 | 1070715 @@ TECNICAS HIDRAULICAS S.A. | 1155423944000 | [10 empty] | TECNICAS HIDRAULICAS | 1155423944000 |  |  | TECNICAS HIDRAULICAS S.A. | 1155423944000 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 27113000 Brushes |  |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1037051 | 1037051 | 1450925 | AU_QM_001143916 |  | ERSA | M | 4200 | 1450925GZPCLNT100 | CAR |  | ASEPTIC FROM INJECTION MOLDING WITHOUT, | ASEPTIC FROM INJECTION MOLDING WITHOUT, | PETRI DISH; ASEPTIC FROM INJECTION MOLDING WITHOUT, PAD;47MM FILTER; (600 PER CARTON) |  | PETRI DISH; ASEPTIC FROM INJECTION MOLDING WITHOUT, |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | PD2004705 | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | PD2004705 | [12 empty] | ROWE SCIENTIFIC PTY LTD | PD2004705 | [14 empty] | https://www.merckmillipore.com/IN/en/product/Petri-dish-aseptic-from-injection-molding-47-mm,MM_NF-PD2004705 | [9 empty] | Enriched | 41121812 Laboratory dishes | ASEPTIC FROM INJECTION MOLDING WITHOUT PAD,FILTER |  | DISH | LABORATORY | TYPE | PETRI,STERILIZED | SIZE | 47 MM | MATERIAL |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1085211 | 1085211 |  |  |  | ERSA | M | 1600 | 1577032GZPCLNT100 | EA | 3000422 | BRUSH;CNW,SYD61806,SET,FESTOOL PT 627033 | CEPILLO;CNW,SYD61806 | BRUSH;MNFR:CNW,PTNO:SYD61806,ADDITIONAL FEATURES EN:SET,FESTOOL PT 627033 | CEPILLO;MNFR:CNW,PTNO:SYD61806 |  | CNW | SYD61806 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SYD61806 | [10 empty] | CNW | SYD61806 | FESTOOL | PT 627033 | CNW (MOUNT ISA) ELECT WHOLESALER | SYD61806 | [14 empty] | https://spares.unitedtoolsburleigh.com.au/collections/festool-spare-parts/products/festool-brush-agp-150-16-ab-q-0-627033 | [9 empty] | Cleansed | 27113000 Brushes |  |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1097893 | 1097893 | 1392739 | AU_QM_000236049 |  | ERSA | M | 1540 | 1392739GZPCLNT100 | EA | 3000438 | BOLT,MACH;NRMT,52001997 | PERNO MAQ; | PERNO MAQUINA;MNFR:NORMET,PTNO:52001997 | PERNO MAQUINA;,MNFR:NORMET,PTNO:52001997 | OEM-E-LISTBOLT,MACHINE;NOR, 52001997 | NORMET | 52001997 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 52001997 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 52001997 | [16 empty] | https://www.zakupki.ru/lot_view/115152989 | [9 empty] | Enriched | 31161600 Bolts |  |  | BOLT | MACHINE | TYPE |  | HEAD TYPE |  | THREAD DIAMETER | M6 | OVERALL LENGTH |  | THREAD LENGTH | 16 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HEAD SIZE |  | THREAD PITCH |  | THREAD SERIES |  | COATING/FINISH |  | THREAD DIRECTION |  | TENSILE STRENGTH |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 912 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1102908 | 1102908 | 1475324 | AU_QM_000195407 |  | ERSA | M | 4200 | 1475324GZPCLNT100 | EA |  | AUTO SAMPLER RACKS;4EACH 60POSITION;17MM | AUTO SAMPLER RACKS;4EACH 60POSITION;17MM |  |  | RACK,TEST TUBE,LABORATORY AUTO SAMPLER RACKS;4EACH 60POSITION;17MM |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | THI942347003931 | [14 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | THI942347003931 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 41122804 Test tube racks | 4 EA,FOR TEST TUBE |  | RACK | STORAGE | TYPE | AUTO SAMPLER | CAPACITY |  | SIZE | 17 MM | NUMBER OF COMPARTMENTS | 60 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1103073 | 1103073 | 1475328 | AU_QM_000195411 |  | ERSA | M | 4040 | 1475328GZPCLNT100 | EA |  | CAPILLARY QUARTZ INJECTOR;GLASS EXPANSIO | CAPILLARY QUARTZ INJECTOR;GLASS EXPANSIO |  |  | INJECTOR,TUBE CAPILLARY QUARTZ INJECTOR;GLASS EXPANSIO |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | 31-808-2836 | [10 empty] | GLASS EXPANSIO |  |  |  | THERMO FISHER SCIENTIFIC AUSTRAL | 31-808-2836 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 41115715 Injectors | QUARTZ |  | INJECTOR | NO MODIFIER | TYPE | TUBE CAPILLARY | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | NOZZLE SIZE |  | OVERALL SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1104008 | 1104008 |  |  |  | ERSA | M | 4005 | 1514158GZPCLNT100 | EA |  | BRUSH;WHEEL TWIST KNOT 40KX8MM S,3259996 | BRUSH;WHEEL TWIST KNOT 40KX8MM S,3259996 | BRUSH;ADDITIONAL FEATURES:WHEEL TWIST KNOT 40KX8MM S,3259996 |  |  |  |  | 1069714 @@ BLACKWOODS | 3259996 | [12 empty] | SIT | UZ125 | [12 empty] | BLACKWOODS | 3259996 |  |  | https://www.blackwoods.com.au/abrasives/wire-brushes/twist-knot-wire-brush/wheel-twist-knot-40kx8mm-sit-steel-125mm/p/03259996 | [9 empty] | Enriched | 27111907 Wire brushes |  | TRIM LENGTH:40 MM | BRUSH | WIRE | TYPE | WHEEL TWIST KNOT | HANDLE MATERIAL |  | OVERALL LENGTH |  | BRISTLE MATERIAL | STEEL | FACE WIDTH | 8 MM | BRISTLE LENGTH |  | BRISTLE DIAMETER | 0.5 MM | DIAMETER | 125 MM | SPEED RATING | 20000 RPM | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1109110 | 1109110 | 1360914 | AU_QM_000158458 |  | ERSA | M | 2800 | 1360914GZPCLNT100 | EA |  | CHAIN LUBRICANT FOR MOFFETT FORKLIFT | CHAIN LUBRICANT FOR MOFFETT FORKLIFT | LUBRICANT: CHAIN LUBRICANT FOR MOFFETT FORKLIFT |  | LUBRICANT:CHAIN LUBRICANT FOR MOFFETT FORKLIFT |  |  | 1070278 @@ CAREY INDUSTRIAL PTY LTD | 1360914 | [14 empty] | CAREY INDUSTRIAL PTY LTD | 1360914 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 15121500 Lubricating preparations | FOR MOFFETT FORKLIFT |  | LUBRICANT | NO MODIFIER | TYPE | CHAIN | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1109209 | 1109209 | 1401305 | AU_QM_000245811 |  | ERSA | M | 2620 | 1401305GZPCLNT100 | EA |  | CODE 072;10% METHANE IN ARGON P-10; | CODE 072;10% METHANE IN ARGON P-10; | METHANE / ARGON G SIZE PTNO: 072G |  | ARGON-METHANE:CODE 072;10% METHANE IN ARGON P-10; |  |  | 1068135 @@ BOC LIMITED | PN1109209 | [13 empty] | 072 | BOC LIMITED | PN1109209 | [14 empty] | https://www.boc.com.au/shop/en/au/methane---argon-g-size-072g | [9 empty] | Enriched | 12142100 Industrial use gases | CODE 072 |  | GAS | INDUSTRIAL | TYPE | METHANE IN ARGON,COMPRESSED | CONCENTRATION/PURITY | 10 PCT | PACK SIZE |  | PACK TYPE |  | APPEARANCE |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 | Series Match | 1136500 | 1136500 | 1444380 | AU_QM_001004767 |  | ERSA | M | 3000 | 1444380GZPCLNT100 | EA |  | COMPLETE UNIT | COMPLETE UNIT | FILTER-REGULATOR,AIRLINE; COMPLETE UNIT |  | FILTER-REGULATOR,AIRLINE; COMPLETE UNIT |  |  | 1070664 @@ MESCO Inc | W3000-8-F-B3(CKD) | [14 empty] | MESCO INC | W3000-8-F-B3(CKD) | [14 empty] | https://in.misumi-ec.com/vona2/detail/221000495878/?HissuCode=W3000-8-W-T8 | [9 empty] | Cleansed | 27131604 Pneumatic lubricators | AIRLINE |  | UNIT | FRL | TYPE |  | FILTER RATING |  | FLOW RATING |  | SIZE |  | PORT SIZE |  | PRESSURE ADJUSTMENT RANGE |  | TEMPERATURE RATING |  | OPERATOR TYPE |  | ELEMENT MATERIAL |  | FILTER BOWL MATERIAL |  | LUBRICATOR BOWL MATERIAL |  | FILTER BOWL CAPACITY |  | LUBRICATOR BOWL CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1137929 | 1137929 | 1450986 | AU_QM_001144757 |  | ERSA | M | 4050 | 1450986GZPCLNT100 | EA |  | CAUTION LABEL,TOYOTA A/C; | CAUTION LABEL,TOYOTA A/C; | LABEL: CAUTION LABEL,TOYOTA A/C; |  | LABEL: CAUTION LABEL,TOYOTA A/C; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8752950010A | [14 empty] | BELL & MOIR - PARTS ORDERS ONLY | 8752950010A | [14 empty] | Url Not Found |  |  | AIR CONDITIONER | TOYOTA | [5 empty] | Cleansed | 55121700 Signage |  |  | LABEL | SAFETY | TYPE | CAUTION | SIZE |  | LEGEND |  | MATERIAL |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1140459 | 1140459 | 1437430 | AU_QM_000950949 |  | ERSA | M | 5800 | 1437430GZPCLNT100 | EA |  | EIMCO CELL DISPERSER HOOD; | EIMCO CELL DISPERSER HOOD; | HOOD; EIMCO CELL DISPERSER HOOD; 5 PER SET; CU CONCENTRATOR FLOTATION TANK CELLS |  | HOOD;EIMCO CELL DISPERSER HOOD; |  |  | 1068162 @@ FLSMIDTH PTY LTD | 01407163-1 | [10 empty] | EMICO |  |  |  | FLSMIDTH PTY LTD | 01407163-1 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed |  | CONCENTRATOR FLOTATION TANK CELLS,PACKAGE QUANTITY:5/SET |  | HOOD | NO MODIFIER | TYPE | DISPENSER | SIZE |  | MATERIAL | COPPER | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1146993 | 1146993 |  |  |  | ERSA | M | 4090 | 1531219GZPCLNT100 | EA |  | BRUSH;CUTTER,BUSHRANGER BCH35H,BPM231886 | BRUSH;CUTTER,BUSHRANGER BCH35H,BPM231886 | BRUSH;ADDITIONAL FEATURES:CUTTER,BUSHRANGER BCH35H,BPM231886 |  |  |  |  | 1068132 @@ ATLAS BATTERIES MOUNT ISA | BPM231886 (QUOTE REQ) | [12 empty] | BUSHRANGER | BCH35H | ATLAS BATTERIES MOUNT ISA | BPM231886 | [14 empty] | https://bushrangerpe.com.au/browse-products/brushcutters/bch35h-brushcutter-pubch35h | [9 empty] | Enriched | 23151901 Cutters | (QUOTE REQ) | ENGINE:35 CC,HONDA GX35 FOUR STROKE | CUTTER | NO MODIFIER | TYPE | STRAIGHT SHAFT BULL HANDLE BRUSH | ELECTRICAL RATING | 1.1 KW | CUTTING CAPACITY |  | JAW SIZE |  | SIZE |  | CUTTER TYPE |  | HANDLE TYPE | ALUMINUM | BLADE MATERIAL |  | HANDLE MATERIAL |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1147042 | 1147042 |  |  |  | ERSA | M | 4090 | 1530616GZPCLNT100 | EA |  | BRUSH,PNT;63MM,GEM PRECISION,WAL,8004747 | BRUSH,PNT;63MM,GEM PRECISION,WAL,8004747 | BRUSH,PNT;ADDITIONAL FEATURES:63MM,GEM PRECISION,WAL,8004747 |  |  |  |  | 1068619 @@ PAINT & DECOR | 8004747 | [10 empty] | GEM PRECISION |  |  |  | PAINT & DECOR | 8004747 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31211904 Paint brushes | WAL |  | BRUSH | PAINT | TYPE |  | SIZE | 63 MM | BRISTLE MATERIAL |  | HANDLE MATERIAL |  | BRISTLE LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1154012 | 1154012 |  |  |  | ERSA | M | 4005 | 1534090GZPCLNT100 | EA |  | BRUSH,PNT;BRIDGLAND PAINT BRUSH,9502314 | BRUSH,PNT;BRIDGLAND PAINT BRUSH,9502314 | BRUSH,PNT;ADDITIONAL FEATURES:BRIDGLAND PAINT BRUSH,9502314 |  |  |  |  | 1068155 @@ REECE PTY LTD | 9502314 | [12 empty] | BRIDGLAND | 9502314 | REECE PTY LTD | 9502314 | [14 empty] | https://www.reece.com.au/product/bridgland-paint-brush-50mm-9502314 | [9 empty] | Enriched | 31211904 Paint brushes |  |  | BRUSH | PAINT | TYPE |  | SIZE | 50 MM | BRISTLE MATERIAL |  | HANDLE MATERIAL |  | BRISTLE LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1154809 | 1154809 |  |  |  | ERSA | M | 4090 | 1507067GZPCLNT100 | EA |  | BRUSH;STAINLESS STEEL ALGAE BRU,MSPS0079 | BRUSH;STAINLESS STEEL ALGAE BRU,MSPS0079 | BRUSH;ADDITIONAL FEATURES:STAINLESS STEEL ALGAE BRU,MSPS0079 |  |  |  |  | 1068148 @@ MILES STREET POOL SUPPLIES | MSPS0079 | [14 empty] | MILES STREET POOL SUPPLIES | MSPS0079 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 27113000 Brushes | ALGAE BRU |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1181446 | 1181446 |  |  |  | ERSA | M | 5000 | 1567711GZPCLNT100 | EA | 3000001 | BRUSH;EPI,3217000220,BUSHG | CEPILLO;EPI,3217000220 | BRUSH;MNFR:EPIROC,PTNO:3217000220,ADDITIONAL FEATURES EN:BUSHING | CEPILLO;MNFR:EPIROC,PTNO:3217000220 |  | EPIROC | 3217000220 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3217000220 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 3217000220 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 27113000 Brushes | BUSHING |  | BRUSH | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184240 | 1184240 |  |  |  | ERSA | M | 1600 | 1560173GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C95,6T,CABLE SIZE 95MM2 | TROQUEL;CNW,ALCK6-C95 | DIE;MNFR:CNW,PTNO:ALCK6-C95,ADDITIONAL FEATURES EN:6T,CABLE SIZE 95MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C95 |  | CNW | ALCK6-C95 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C95 | [10 empty] | CNW | ALCK6-C95 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C95 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-95mm-cable-wattmaster-alck6-c71 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 95 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184241 | 1184241 |  |  |  | ERSA | M | 1600 | 1560172GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C70,6T,CABLE SIZE 70MM2 | TROQUEL;CNW,ALCK6-C70 | DIE;MNFR:CNW,PTNO:ALCK6-C70,ADDITIONAL FEATURES EN:6T,CABLE SIZE 70MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C70 |  | CNW | ALCK6-C70 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C70 | [10 empty] | CNW | ALCK6-C70 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C70 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-70mm-cable-wattmaster-alck6-c70 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 70 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184242 | 1184242 |  |  |  | ERSA | M | 1600 | 1560171GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C50,6T,CABLE SIZE 50MM2 | TROQUEL;CNW,ALCK6-C50 | DIE;MNFR:CNW,PTNO:ALCK6-C50,ADDITIONAL FEATURES EN:6T,CABLE SIZE 50MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C50 |  | CNW | ALCK6-C50 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C50 | [10 empty] | CNW | ALCK6-C50 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C50 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-50mm-cable-wattmaster-alck6-c50 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 50 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184243 | 1184243 |  |  |  | ERSA | M | 1600 | 1560170GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C35,6T,CABLE SIZE 35MM2 | TROQUEL;CNW,ALCK6-C35 | DIE;MNFR:CNW,PTNO:ALCK6-C35,ADDITIONAL FEATURES EN:6T,CABLE SIZE 35MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C35 |  | CNW | ALCK6-C35 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C35 | [10 empty] | CNW | ALCK6-C35 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C35 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-36mm-cable-wattmaster-alck6-c35 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 35 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184244 | 1184244 |  |  |  | ERSA | M | 1600 | 1560169GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C25,6T,CABLE SIZE 25MM2 | TROQUEL;CNW,ALCK6-C25 | DIE;MNFR:CNW,PTNO:ALCK6-C25,ADDITIONAL FEATURES EN:6T,CABLE SIZE 25MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C25 |  | CNW | ALCK6-C25 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C25 | [10 empty] | CNW | ALCK6-C25 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C25 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-25mm-cable-wattmaster-alck6-c25 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 25 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184245 | 1184245 |  |  |  | ERSA | M | 1600 | 1560168GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C185,6T,CABLE SIZE 185MM2 | TROQUEL;CNW,ALCK6-C185 | DIE;MNFR:CNW,PTNO:ALCK6-C185,ADDITIONAL FEATURES EN:6T,CABLE SIZE 185MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C185 |  | CNW | ALCK6-C185 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C185 | [10 empty] | CNW | ALCK6-C185 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C185 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-185mm-cable-wattmaster-alck6-c185 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 185 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184246 | 1184246 |  |  |  | ERSA | M | 1600 | 1560167GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C16,6T,CABLE SIZE 16MM2 | TROQUEL;CNW,ALCK6-C16 | DIE;MNFR:CNW,PTNO:ALCK6-C16,ADDITIONAL FEATURES EN:6T,CABLE SIZE 16MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C16 |  | CNW | ALCK6-C16 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C16 | [10 empty] | CNW | ALCK6-C16 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C16 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-16mm-cable-wattmaster-alck6-c16 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 16 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | done | 2023-10-28 | 2023-11-15 |  | 1184247 | 1184247 |  |  |  | ERSA | M | 1600 | 1560166GZPCLNT100 | EA | 3000422 | DIE;CNW,ALCK6-C150,6T,CABLE SIZE 150MM2 | TROQUEL;CNW,ALCK6-C150 | DIE;MNFR:CNW,PTNO:ALCK6-C150,ADDITIONAL FEATURES EN:6T,CABLE SIZE 150MM2 | TROQUEL;MNFR:CNW,PTNO:ALCK6-C150 |  | CNW | ALCK6-C150 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C150 | [10 empty] | CNW | ALCK6-C150 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | ALCK6-C150 | [14 empty] | https://www.tradetools.com/alco-6-ton-copper-die-to-suit-150mm-cable-wattmaster-alck6-c150 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | CAPACITY:6 TON | MATERIAL:COPPER | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL | 150 MM2 CABLE | CERTIFICATION/STANDARD | [63 empty] | Production Completed