## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026185 | 1026185 | 1392577 | AU_QM_000235864 |  | ERSA | M | 4075 | 1392577GZPCLNT100 | EA | 3000035 | BEND,PIPE;WAR,PS9189-17 | BEND,PIPE;WAR,PS9189-17 | BEND,PIPE;MNFR:WARMAN,PTNO:PS9189-17 |  | OEM-E-LISTBEND,PIPE;WEI,PS9189-17 | WARMAN | PS9189-17 | [12 empty] | WARMAN | PS9189-17 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026184 | 1026184 | 1392578 | AU_QM_000235865 |  | ERSA | M | 4075 | 1392578GZPCLNT100 | EA | 3000035 | BEND,PIPE;WAR,PS9189-25 | BEND,PIPE;WAR,PS9189-25 | BEND,PIPE;MNFR:WARMAN,PTNO:PS9189-25 |  | OEM-E-LISTBEND,PIPE;WEI,PS9189-25 | WARMAN | PS9189-25 | [12 empty] | WARMAN | PS9189-25 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1208118 | 1208118 |  |  |  | ERSA | M | 5920 | 133093MRM | EA |  | BEND,TUBE,RETURN:PRESSURE RELIEF RETURN | BEND,TUBE,RETURN:PRESSURE RELIEF RETURN | BEND,TUBE,RETURN:PRESSURE RELIEF RETURN TUBE;HYD POWER UNIT;100 SERIES ROCKBREAKER;MRM1400RB002; | [17 empty] | MRM1400RB002 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | Hydraulic POWER UNIT,100 SERIES ROCKBREAKER |  | BEND | TUBE | TYPE | PRESSURE RELIEF RETURN | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1142415 | 1142415 | 1406733 | AU_QM_000251726 |  | ERSA | M | 5915 | 1406733GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 108 MM,PRESS CRIMP | BEND,TUBE;45 DEG,NOM 108 MM,PRESS CRIMP | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:108 MM,END CONNECTION:PRESS CRIMP,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:F/F HT,MNFR: 0 |  | BEND,TUBE;45 DEG,NOM 108 MM,PRESS CRIMPBEND,TUBE;45DEG,108MM,PRESS CRIMP,F/F | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | F/F HT |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 108 MM | END CONNECTION | PRESS CRIMP | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026349 | 1026349 | 1376148 | AU_QM_000215230 |  | ERSA | M | 4075 | 1376148GZPCLNT100 | EA | 3000001 | BEND;EPI,3177 0001 82 | BEND;EPI,3177 0001 82 | BEND;MNFR:EPIROC,PTNO:3177 0001 82 |  | BEND;EPI,3177 0001 82BEND;EPI,3177 0001 82 | EPIROC | 3177 0001 82 | [14 empty] | EPIROC | 3177 0001 82 | [16 empty] | https://gzbosenjx.en.made-in-china.com/product/hxXRMebGaQkP/China-Epiroc-BS-Atlas-Copco-BS-Sandvil-BS-for-Gold-Mining-Chine-Briquette-Machine-Stone-Crusher-Price-Mining-Machine-Stone-Crushing-Machine-Gas-Spring-26800930.html | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE |  | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026345 | 1026345 | 1376589 | AU_QM_000215718 |  | ERSA | M | 4075 | 1376589GZPCLNT100 | EA | 3000001 | BEND;EPI,5112 3311 59 | BEND;EPI,5112 3311 59 | BEND;MNFR:EPIROC,PTNO:5112 3311 59 |  | BEND;EPI,5112 3311 59BEND;EPI,5112 3311 59 | EPIROC | 5112 3311 59 | [14 empty] | EPIROC | 5112 3311 59 | [16 empty] | https://gzbosenjx.en.made-in-china.com/product/dJjRMIkKZmcL/China-Epiroc-BS-Atlas-Copco-BS-Sandvil-BS-for-Gold-Mining-Chine-Briquette-Machine-Stone-Crusher-Price-Mining-Machine-Caterpillarbs-5562254000.html | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE | EXHAUST | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026344 | 1026344 | 1376594 | AU_QM_000215724 |  | ERSA | M | 4075 | 1376594GZPCLNT100 | EA | 3000001 | BEND;EPI,5112 3311 60 | BEND;EPI,5112 3311 60 | BEND;MNFR:EPIROC,PTNO:5112 3311 60 |  | BEND;EPI,5112 3311 60BEND;EPI,5112 3311 60 | EPIROC | 5112 3311 60 | [14 empty] | EPIROC | 5112 3311 60 | [16 empty] | https://gzbosenjx.en.made-in-china.com/product/dJjRMIkKZmcL/China-Epiroc-BS-Atlas-Copco-BS-Sandvil-BS-for-Gold-Mining-Chine-Briquette-Machine-Stone-Crusher-Price-Mining-Machine-Caterpillarbs-5562254000.html | [9 empty] | ENRICHED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE | EXHAUST | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1026302 | 1026302 | 1382231 | AU_QM_000222310 |  | ERSA | M | 4075 | 1382231GZPCLNT100 | EA | 3000001 | BEND;EPI,9106217443 | BEND;EPI,9106217443 | BEND;MNFR:EPIROC,PTNO:9106217443 |  | BEND;EPI,9106217443BEND;EPI,9106217443 | EPIROC | 9106217443 | [12 empty] | EPIROC | 9106217443 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE |  | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1206578 | 1206578 |  |  |  | ERSA | M | 5955 | 681831MRM | EA |  | CYLINDER HEAD,DIESEL:CAT 8N0426 CYL.HEAD | CYLINDER HEAD,DIESEL:CAT 8N0426 CYL.HEAD | CYLINDER HEAD,DIESEL:CAT 8N0426 CYL.HEAD; | [16 empty] | CAT | 8N0426 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101713 Cylinder heads |  |  | HEAD | CYLINDER | TYPE | DIESEL | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1205099 | 1205099 |  |  |  | ERSA | M | 5955 | 627846MRM | EA |  | CYLINDER HEAD,DIESEL:CAT 9Y8510 CYL HEAD | CYLINDER HEAD,DIESEL:CAT 9Y8510 CYL HEAD | CYLINDER HEAD,DIESEL:CAT 9Y8510 CYL HEAD ASSY | [16 empty] | CAT | 9Y8510 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101713 Cylinder heads | ASSEMBLY |  | HEAD | CYLINDER | TYPE | DIESEL | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1204134 | 1204134 |  |  |  | ERSA | M | 5955 | 599753MRM | EA |  | CYLINDER HEAD,DIESEL:CYL HEAD GRP; | CYLINDER HEAD,DIESEL:CYL HEAD GRP; | CYLINDER HEAD,DIESEL:CYL HEAD GRP; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101713 Cylinder heads | GROUP |  | HEAD | CYLINDER | TYPE | DIESEL | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1139163 | 1139163 | 1374384 | AU_QM_000203851 |  | ERSA | M | 5910 | 1374384GZPCLNT100 | EA |  | DN400;3D RADIUS;STEEL;RUBBER LINED | DN400;3D RADIUS;STEEL;RUBBER LINED | BEND,PIPE: DN400;3D RADIUS;STEEL;RUBBER LINED "REPAIRABLE ITEM" |  | BEND,PIPE:DN400;3D RADIUS;STEEL;RUBBER LINED | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | RUBBER LINED | ANGLE |  | NOMINAL SIZE | DN400 | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | 3D | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1012237 | 1012237 |  |  |  | ERSA | M | 2210 | 1606950GZPCLNT100 | EA |  | BEND,PIPE;PVC,SMOOTH SW,90 DEG | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:PVC,SMOOTH SW,90 DEG,PTNO:1503501 | TUBERIA CURVA;,PTNO:1503501 |  |  | 1503501 | 1068155 @@ REECE PTY LTD | 1503501 | [11 empty] | 1503501 |  |  | REECE PTY LTD | 1503501 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SMOOTH SW | ANGLE | 90 DEG | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1017269 | 1017269 |  |  |  | ERSA | M | 3730 | 1149377GZPCLNT100 | EA | 3000003 | CORE;CAT,2368745,ASSY,OIL COOLR MOT | NUCLEO;CAT,2368745,ENSAMBLE,MOTOR DE | ENFRIADOR;MNFR:CATERPILLAR,PTNO:2368745 | NUCLEO;MNFR:CATERPILLAR,PTNO:2368745,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,MOTOR DE ENFRIADOR DE ACEITE |  | CATERPILLAR | 2368745 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2368745 | [12 empty] | CATERPILLAR | 236-8745 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/236-8745 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories | ASSEMBLY |  | CORE | OIL COOLER | TYPE | ENGINE | CORE SIZE |  | MATERIAL |  | END CONNECTION |  | MOUNTING TYPE |  | SIZE | 386.1 LGX218.4 WDX218.4 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1050114 | 1050114 |  |  |  | ERSA | M | 2200 | 1607789GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM NB 50,BUTT WELD | TUBERIA CURVA;90 GRAD,NOM ,ACERO | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:NB 50,END CONNECTION:BUTT WELD,MATERIAL:STEEL,RADIUS:50.8 MM | TUBERIA CURVA;ANGULO:90 GRAD,MATERIAL:ACERO |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 100 | 1068455 @@ VULCAN STEEL PTY LTD | 1607789 | [12 empty] | BLUESCOPE DISTRIBUTION | 100 | VULCAN STEEL PTY LTD | 1607789 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | NB 50 | END CONNECTION | BUTT WELD | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | 50.8 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1053388 | 1053388 |  |  |  | ERSA | M | 4075 | 1581486GZPCLNT100 | EA |  | BEND,PIPE;DWV,150X45 DEG F&F PLAIN | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:DWV,150X45 DEG F&F PLAIN | TUBERIA CURVA; |  |  |  | 1068155 @@ REECE PTY LTD | 1407610 | [12 empty] | REECE PTY LTD | 1407610 | [16 empty] | https://www.reece.com.au/product/dwv-bend-150mm-x-45-degree-female-female-plain-1407610 | [9 empty] | CLEANSED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 150 MM | END CONNECTION | FemalexFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1054786 | 1054786 |  |  |  | ERSA | M | 4075 | 1605135GZPCLNT100 | EA |  | BEND,PIPE;85 DEG,NOM 100 MM,F&F | TUBERIA CURVA;,NOM 100 MM | BEND,PIPE;ANGLE:85 DEG,NOMINAL SIZE:100 MM,END CONNECTION:F&F,ADDITIONAL FEATURES EN:APPLICATION:DWV | TUBERIA CURVA;TAMAÃ‘O NOMINAL:100 MM |  |  |  | 1068155 @@ REECE PTY LTD | 1403440 | [12 empty] | REECE PTY LTD | 1403440 | REECE PTY LTD | 1403440 | [14 empty] | https://www.reece.com.au/product/dwv-bend-100mm-x-85-degree-io-female-female-1403440 | [9 empty] | CLEANSED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 100 MM | END CONNECTION | FemalexFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1056603 | 1056603 |  |  |  | ERSA | M | 4075 | 1613881GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 1.6 IN,LG 3 IN | TUBO CURVO;90 DEG,NOM ,LG | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:1.6 IN,LENGTH:3 IN,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:3" (80) x1.6 T316 90 DEG TUBE BEND POLISHED | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1068445 @@ MIDWAY METALS PTY LTD | TFBD169016080P | [13 empty] | TFBD169016080P | MIDWAY METALS PTY LTD | [15 empty] | https://www.316shop.com.au/product/20028-tube-bend-90-76-2mm-316 | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 1-19/32 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH | 3 IN | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH | POLISHED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1058522 | 1058522 |  |  |  | ERSA | M | 2200 | 1609044GZPCLNT100 | EA |  | BEND,PIPE;50MI X 50C,BRS | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:50MI X 50C,BRASS | TUBERIA CURVA; |  |  |  | 1068155 @@ REECE PTY LTD | 420031 | [14 empty] | REECE PTY LTD | 420031 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | 50MI X 50C |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1058523 | 1058523 |  |  |  | ERSA | M | 2200 | 1609045GZPCLNT100 | EA |  | BEND,PIPE;50FI X 50C,BRS | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:50FI X 50C,BRASS | TUBERIA CURVA; |  |  |  | 1068155 @@ REECE PTY LTD | 420051 | [14 empty] | REECE PTY LTD | 420051 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | 50FI X 50C |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060065 | 1060065 |  |  |  | ERSA | M | 2200 | 1613628GZPCLNT100 | EA |  | BEND,TUBE;MANDREL,50.8X1.6MM,90DEG,SS316 | CODO TUBO;90 DEG,NOM | BEND,TUBE;TYPE:MANDREL,DIMENSIONS:NOM 50.8 X THK 1.6 MM,ANGLE:90 DEG,MATERIAL:STAINLESS STEEL 316 | CODO TUBO;ANGULO:90 DEG |  |  |  | 1068653 @@ WOODFIELDS ENGINEERING | 50831690 | [14 empty] | WOODFIELDS ENGINEERING | 50831690 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | thickness:1.6 MM |  | BEND | TUBE | TYPE | MANDREL | ANGLE | 90 DEG | NOMINAL SIZE | 50.8 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060080 | 1060080 |  |  |  | ERSA | M | 2200 | 1614966GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 54 MM,FXM,X95455 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95455 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95455 | [12 empty] | KEMBLA WIRE & ROD | X95455 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060081 | 1060081 |  |  |  | ERSA | M | 2200 | 1614967GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 54 MM,FXF,X95505 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95505 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95505 | [12 empty] | KEMBLA WIRE & ROD | X95505 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060082 | 1060082 |  |  |  | ERSA | M | 2200 | 1614968GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,1 IN,X95602 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,RADIUS:1 IN,ADDITIONAL FEATURES EN:X95602,MALE BSPT/F | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95602 | [12 empty] | KEMBLA WIRE & ROD | X95602 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | MBSPT/FBSPT | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS | 1 IN | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060083 | 1060083 |  |  |  | ERSA | M | 2200 | 1614969GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 54 MM,2 IN,X95605 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,RADIUS:2 IN,ADDITIONAL FEATURES EN:X95605,MALE BSPT/F | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95605 | [12 empty] | KEMBLA WIRE & ROD | X95605 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | MBSPT/FBSPT | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS | 2 IN | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060084 | 1060084 |  |  |  | ERSA | M | 2200 | 1614980GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,1 IN,X95552 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,RADIUS:1 IN,ADDITIONAL FEATURES EN:X95552,FEMALE BSPP/RP | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95552 | [12 empty] | KEMBLA WIRE & ROD | X95552 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FBSPP/BSPT | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS | 1 IN | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060085 | 1060085 |  |  |  | ERSA | M | 2200 | 1614981GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 28 MM,FXM,X95652 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95652 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95652 | [12 empty] | KEMBLA WIRE & ROD | X95652 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060086 | 1060086 |  |  |  | ERSA | M | 2200 | 1614982GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 28 MM,FXF,X95702 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95702 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95702 | [12 empty] | KEMBLA WIRE & ROD | X95702 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060087 | 1060087 |  |  |  | ERSA | M | 2200 | 1614983GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 54 MM,FXF,X95705 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95705 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95705 | [12 empty] | KEMBLA WIRE & ROD | X95705 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060137 | 1060137 |  |  |  | ERSA | M | 2200 | 1615277GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,FXM,X95462 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95462 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95462 | [12 empty] | KEMBLA WIRE & ROD | X95462 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060138 | 1060138 |  |  |  | ERSA | M | 2200 | 1615278GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 54 MM,FXM,X95465 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95465 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95465 | [12 empty] | KEMBLA WIRE & ROD | X95465 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060139 | 1060139 |  |  |  | ERSA | M | 2200 | 1615279GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,FXF,X95512 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95512 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95512 | [12 empty] | KEMBLA WIRE & ROD | X95512 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060140 | 1060140 |  |  |  | ERSA | M | 2200 | 1615280GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 54 MM,FXF,X95515 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95515 | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95515 | [12 empty] | KEMBLA WIRE & ROD | X95515 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060141 | 1060141 |  |  |  | ERSA | M | 2200 | 1615281GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,1 IN,X95612 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,RADIUS:1 IN,ADDITIONAL FEATURES EN:X95612,MALE BSPT/F | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95612 | [12 empty] | KEMBLA WIRE & ROD | X95612 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | MBSPT/FBSPT | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060142 | 1060142 |  |  |  | ERSA | M | 2200 | 1615282GZPCLNT100 | EA |  | BEND,TUBE;90 DEG,NOM 28 MM,1 IN,X95562 | TUBO CURVO;90 DEG,NOM | BEND,TUBE;ANGLE:90 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,RADIUS:1 IN,ADDITIONAL FEATURES EN:X95562,FEMALE BSPP/RP | TUBO CURVO;ANGULO:90 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95562 | [14 empty] | KEMBLA WIRE & ROD | X95562 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FBSPP/BSPT | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060143 | 1060143 |  |  |  | ERSA | M | 2200 | 1615283GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 28 MM,FXM,X95662 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95662 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95662 | [12 empty] | KEMBLA WIRE & ROD | X95662 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060144 | 1060144 |  |  |  | ERSA | M | 2200 | 1615284GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 54 MM,FXM,X95665 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXM,X95665 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95665 | [12 empty] | KEMBLA WIRE & ROD | X95665 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXMale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060145 | 1060145 |  |  |  | ERSA | M | 2200 | 1615285GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 28 MM,FXF,X95712 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:28 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95712 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95712 | [12 empty] | KEMBLA WIRE & ROD | X95712 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 28 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1060146 | 1060146 |  |  |  | ERSA | M | 2200 | 1615286GZPCLNT100 | EA |  | BEND,TUBE;45 DEG,NOM 54 MM,FXF,X95715 | TUBO CURVO;45 DEG,NOM | BEND,TUBE;ANGLE:45 DEG,NOMINAL SIZE:54 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:FXF,X95715 | TUBO CURVO;ANGULO:45 DEG |  |  |  | 1069275 @@ KEMBLA WIRE & ROD | X95715 | [12 empty] | KEMBLA WIRE & ROD | X95715 | [16 empty] | https://www.kembla.com/wp-content/uploads/2019/03/KemPress-Stainless-Design-Installation-Guide-LR.pdf | [9 empty] | CLEANSED | 40183100 Tube fittings |  |  | BEND | TUBE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 54 MM | END CONNECTION | FemaleXFemale | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070586 | 1070586 |  |  |  | ERSA | M | 5910 | 1440784GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1440784 | [14 empty] | HEAVYMECH PTY LTD | 1440784 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070587 | 1070587 |  |  |  | ERSA | M | 5910 | 1440785GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1440785 | [14 empty] | HEAVYMECH PTY LTD | 1440785 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070588 | 1070588 |  |  |  | ERSA | M | 5910 | 1440786GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1440786 | [14 empty] | HEAVYMECH PTY LTD | 1440786 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070589 | 1070589 |  |  |  | ERSA | M | 5910 | 1440787GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1440787 | [14 empty] | HEAVYMECH PTY LTD | 1440787 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070590 | 1070590 |  |  |  | ERSA | M | 5910 | 1440788GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1440788 | [14 empty] | HEAVYMECH PTY LTD | 1440788 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1070643 | 1070643 |  |  |  | ERSA | M | 5910 | 1441092GZPCLNT100 | EA |  | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;RTRN,NOM 19 MM | BEND,TUBE;TYPE:RETURN,NOMINAL SIZE:19 MM,ADDITIONAL FEATURES EN:1.65 MM WALL THK |  |  |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1441092 | [14 empty] | HEAVYMECH PTY LTD | 1441092 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40183100 Tube fittings | WALL thickness:1.65 MM |  | BEND | TUBE | TYPE | RETURN | ANGLE |  | NOMINAL SIZE | 19 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | RADIUS |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1104923 | 1104923 |  |  |  | ERSA | M | 2210 | 1530634GZPCLNT100 | EA |  | BEND,PIPE;SWEEP,63MM,45',PN16,PE,5063645 | BEND,PIPE;SWEEP,63MM,45',PN16,PE,5063645 | BEND,PIPE;ADDITIONAL FEATURES:SWEEP,63MM,45',PN16,PE,5063645 |  |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 5063645 | [14 empty] | BUTLER AGENCIES PTY LTD | 5063645 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SWEEP | ANGLE | 45 DEG | NOMINAL SIZE | 63 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN 16 | LENGTH |  | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1104924 | 1104924 |  |  |  | ERSA | M | 2210 | 1530635GZPCLNT100 | EA |  | BEND,PIPE;SWEEP,50MM,90',PN16,PE,5050690 | BEND,PIPE;SWEEP,50MM,90',PN16,PE,5050690 | BEND,PIPE;ADDITIONAL FEATURES:SWEEP,50MM,90',PN16,PE,5050690 |  |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 5050690 | [14 empty] | BUTLER AGENCIES PTY LTD | 5050690 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SWEEP | ANGLE | 50 DEG | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN 16 | LENGTH |  | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1104925 | 1104925 |  |  |  | ERSA | M | 2210 | 1530636GZPCLNT100 | EA |  | BEND,PIPE;SWEEP,63MM,90',PN16,PE,5063690 | BEND,PIPE;SWEEP,63MM,90',PN16,PE,5063690 | BEND,PIPE;ADDITIONAL FEATURES:SWEEP,63MM,90',PN16,PE,5063690 |  |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 5063690 | [14 empty] | BUTLER AGENCIES PTY LTD | 5063690 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SWEEP | ANGLE | 90 DEG | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN 16 | LENGTH |  | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1104927 | 1104927 |  |  |  | ERSA | M | 2210 | 1530638GZPCLNT100 | EA |  | BEND,PIPE;SWEEP,50MM,45',PN16,PE,5050645 | BEND,PIPE;SWEEP,50MM,45',PN16,PE,5050645 | BEND,PIPE;ADDITIONAL FEATURES:SWEEP,50MM,45',PN16,PE,5050645 |  |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | 5050645 | [14 empty] | BUTLER AGENCIES PTY LTD | 5050645 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SWEEP | ANGLE | 45 DEG | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | PN 16 | LENGTH |  | MATERIAL | POLYETHYLENE | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1143780 | 1143780 | 1461240 | AU_QM_002621105 |  | ERSA | M | 5910 | 1461240GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM 3/4 IN,GALVANIZED | BEND,PIPE;90 DEG,NOM 3/4 IN,GALVANIZED | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:3/4 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR:01) |  | BEND,PIPE:20NB X 90-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000015205 | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1461240 | 1068289 @@ INFRABUILD STEEL CENTRE | 113726 | [10 empty] | MRC GLOBAL AUSTRALIA PTY LTD | 1000015205 | BUNNINGS WAREHOUSE MT ISA | 1461240 | INFRABUILD STEEL CENTRE | 113726 | [10 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 3/4 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1143781 | 1143781 | 1461239 | AU_QM_002621104 |  | ERSA | M | 5910 | 1461239GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM 1/2 IN,GALVANIZED | BEND,PIPE;90 DEG,NOM 1/2 IN,GALVANIZED | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:1/2 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR:01) |  | BEND,PIPE:15NB X 90-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000003808 | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1461239 | 1068289 @@ INFRABUILD STEEL CENTRE | FMG-BMF-15 | [9 empty] | FMG-BMF-15 | MRC GLOBAL AUSTRALIA PTY LTD | 1000003808 | BUNNINGS WAREHOUSE MT ISA | 1461239 | INFRABUILD STEEL CENTRE | [11 empty] | https://australia.dixonvalve.com/en/products/bsp-screwed-90deg-male-x-female-bend | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1144654 | 1144654 | 1461235 | AU_QM_002621091 |  | ERSA | M | 5910 | 1461235GZPCLNT100 | EA |  | BEND,PIPE;45 DEG,NOM 3/4 IN,GALVANIZED | BEND,PIPE;45 DEG,NOM 3/4 IN,GALVANIZED | BEND,PIPE;ANGLE:45 DEG,NOMINAL SIZE:3/4 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR:01) |  | BEND,PIPE:20NB X 45-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000329968 | 1068289 @@ INFRABUILD STEEL CENTRE | 165506 | [12 empty] | MRC GLOBAL AUSTRALIA PTY LTD | 1000329968 | INFRABUILD STEEL CENTRE | 165506 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 3/4 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1144655 | 1144655 | 1461234 | AU_QM_002621090 |  | ERSA | M | 5910 | 1461234GZPCLNT100 | EA |  | BEND,PIPE;45 DEG,NOM 1/2 IN,GALVANIZED | BEND,PIPE;45 DEG,NOM 1/2 IN,GALVANIZED | BEND,PIPE;ANGLE:45 DEG,NOMINAL SIZE:1/2 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR:01) |  | BEND,PIPE:15NB X 45-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000034534 | 1068289 @@ INFRABUILD STEEL CENTRE | FMG-BMF45-15 | [12 empty] | MRC GLOBAL AUSTRALIA PTY LTD | 1000034534 | INFRABUILD STEEL CENTRE | FMG-BMF45-15 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 45 DEG | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147914 | 1147914 |  |  |  | ERSA | M | 2200 | 1539397GZPCLNT100 | EA |  | BEND,PIPE;DN150XR750 LG RAD,5RBMIMBEND90 | BEND,PIPE;DN150XR750 LG RAD,5RBMIMBEND90 | BEND,PIPE;ADDITIONAL FEATURES:DN150XR750 LG RAD,5RBMIMBEND90 |  |  |  |  | 1068435 @@ FIELD FURNACE REFRACTORIES P/L | 5RBMIMBEND90 | [14 empty] | FIELD FURNACE REFRACTORIES P/L | 5RBMIMBEND90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | DN150 | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | R750 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147967 | 1147967 |  |  |  | ERSA | M | 4400 | 1539249GZPCLNT100 | EA |  | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT45 | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT45 | BEND,PIPE;ADDITIONAL FEATURES:200NB,ALUMINA,MCA-RX3000-AT45 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-RX3000-AT45 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-RX3000-AT45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147968 | 1147968 |  |  |  | ERSA | M | 4400 | 1539248GZPCLNT100 | EA |  | BEND,PIPE;200NB,ALUMIN,MCA-RX3000-AT22.5 | BEND,PIPE;200NB,ALUMIN,MCA-RX3000-AT22.5 | BEND,PIPE;ADDITIONAL FEATURES:200NB,ALUMIN,MCA-RX3000-AT22.5 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-RX3000-AT22.5 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-RX3000-AT22.5 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147969 | 1147969 |  |  |  | ERSA | M | 4400 | 1539247GZPCLNT100 | EA |  | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT10 | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT10 | BEND,PIPE;ADDITIONAL FEATURES:200NB,ALUMINA,MCA-RX3000-AT10 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-RX3000-AT10 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-RX3000-AT10 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147971 | 1147971 |  |  |  | ERSA | M | 4400 | 1539245GZPCLNT100 | EA |  | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT2.5 | BEND,PIPE;200NB,ALUMINA,MCA-RX3000-AT2.5 | BEND,PIPE;ADDITIONAL FEATURES:200NB,ALUMINA,MCA-RX3000-AT2.5 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-RX3000-AT2.5 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-RX3000-AT2.5 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147974 | 1147974 |  |  |  | ERSA | M | 4400 | 1539242GZPCLNT100 | EA |  | BEND,PIPE;200NB,SET 10O,MCA-RX3000-10 | BEND,PIPE;200NB,SET 10O,MCA-RX3000-10 | BEND,PIPE;ADDITIONAL FEATURES:200NB,SET 10O,MCA-RX3000-10 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-RX3000-10 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-RX3000-10 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | SET 10O |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147976 | 1147976 |  |  |  | ERSA | M | 4400 | 1539240GZPCLNT100 | EA |  | BEND,PIPE;200NB,SET 2.5O,MC-RX3000-2.5 | BEND,PIPE;200NB,SET 2.5O,MC-RX3000-2.5 | BEND,PIPE;ADDITIONAL FEATURES:200NB,SET 2.5O,MC-RX3000-2.5 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MC-RX3000-2.5 | [14 empty] | MCA ENGINEERING PTY LTD | MC-RX3000-2.5 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | SET 2.5O |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 200NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1147999 | 1147999 |  |  |  | ERSA | M | 4400 | 1539217GZPCLNT100 | EA |  | BEND,PIPE;150NB,ALUMINA TILE,MCA-IPS-45 | BEND,PIPE;150NB,ALUMINA TILE,MCA-IPS-45 | BEND,PIPE;ADDITIONAL FEATURES:150NB,ALUMINA TILE,MCA-IPS-45 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-IPS-45 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-IPS-45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | TILE |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 150NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1148000 | 1148000 |  |  |  | ERSA | M | 4400 | 1539216GZPCLNT100 | EA |  | BEND,PIPE;150NB,ALUMINA TIL,MCA-IPS-22.5 | BEND,PIPE;150NB,ALUMINA TIL,MCA-IPS-22.5 | BEND,PIPE;ADDITIONAL FEATURES:150NB,ALUMINA TIL,MCA-IPS-22.5 |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-IPS-22.5 | [14 empty] | MCA ENGINEERING PTY LTD | MCA-IPS-22.5 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | TILE |  | BEND | PIPE | TYPE |  | ANGLE |  | NOMINAL SIZE | 150NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Aluminium | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1148210 | 1148210 |  |  |  | ERSA | M | 2200 | 1538819GZPCLNT100 | EA |  | BEND,PIPE;HORIZ CLOSURE,32NB,GAL,121894 | BEND,PIPE;HORIZ CLOSURE,32NB,GAL,121894 | BEND,PIPE;ADDITIONAL FEATURES:HORIZ CLOSURE,32NB,GAL,121894 |  |  |  |  | 1068289 @@ INFRABUILD STEEL CENTRE | FMO-STANCHION-HC-BEND-32-GAL | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 121894 | 1072117 @@ INFRABUILD TRADING P/L T/A | 1538819 | [10 empty] | INFRABUILD STEEL CENTRE | FMO-STANCHION-HC-BEND-32-GAL | TONKIN STEEL (NQ) PTY LTD | 121894 | INFRABUILD TRADING P/L T/A | 1538819 | [10 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Horizontal CLOSURE | ANGLE |  | NOMINAL SIZE | 32 NB | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | galvanized | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1171490 | 1171490 | 1461243 | AU_QM_002621108 |  | ERSA | M | 5910 | 1461243GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM 1-1/2 IN,GALVANIZED | BEND,PIPE;90 DEG,NOM 1-1/2 IN,GALVANIZED | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:1-1/2 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR: |  | BEND,PIPE:40NB X 90-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000001903 | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1461243 | 1068289 @@ INFRABUILD STEEL CENTRE | FMG-BMF-40 | [9 empty] | FMG-BMF-40 | MRC GLOBAL AUSTRALIA PTY LTD | 1000001903 | BUNNINGS WAREHOUSE MT ISA | 1461243 | INFRABUILD STEEL CENTRE | [11 empty] | https://australia.dixonvalve.com/en/products/bsp-screwed-90deg-male-x-female-bend | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 1-1/2 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1171491 | 1171491 | 1461242 | AU_QM_002621107 |  | ERSA | M | 5910 | 1461242GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM 1-1/4 IN,GALVANIZED | BEND,PIPE;90 DEG,NOM 1-1/4 IN,GALVANIZED | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:1-1/4 IN,MATERIAL:MALLEABLE IRON,COATING/FINISH:GALVANIZED,ADDITIONAL FEATURES EN:M AND F,MNFR: |  | BEND,PIPE:32NB X 90-DEG (M & F) |  |  | 1068325 @@ MRC GLOBAL AUSTRALIA PTY LTD | 1000015206 | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 1461242 | 1068289 @@ INFRABUILD STEEL CENTRE | FMG-BMF-32 | [9 empty] | FMG-BMF-32 | MRC GLOBAL AUSTRALIA PTY LTD | 1000015206 | BUNNINGS WAREHOUSE MT ISA | 1461242 | INFRABUILD STEEL CENTRE | [11 empty] | https://australia.dixonvalve.com/en/products/bsp-screwed-90deg-male-x-female-bend | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 1-1/4 IN | END CONNECTION | MALEXFEMALE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | MALLEABLE IRON | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | GALVANIZED | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179535 | 1179535 |  |  |  | ERSA | M | 2200 | 1542960GZPCLNT100 | EA |  | BEND,PIPE;DN150XR750,LG RAD,SLIPON FLANG | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:DN150XR750,LG RAD,SLIPON FLANGES | TUBERIA CURVA; |  |  |  | 1068435 @@ FIELD FURNACE REFRACTORIES P/L | 5RBMIMBEND90 | [14 empty] | FIELD FURNACE REFRACTORIES P/L | 5RBMIMBEND90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | DN150 | END CONNECTION | SLIPON FLANGES | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS | R750 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179971 | 1179971 |  |  |  | ERSA | M | 1600 | 1569069GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3B1504S,N3 BEND 15 | BANDEJA CURV CABL;CNW,EZYN3B1504S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3B1504S,ADDITIONAL FEATURES EN:N3 BEND 150X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3B1504S |  | CNW | EZYN3B1504S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3B1504S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3B1504S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-bend/n3bs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE |  | WIDTH | 150 MM | LENGTH | 600 MM | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179973 | 1179973 |  |  |  | ERSA | M | 1600 | 1569067GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3IR1504S,N3 I/RISE | BANDEJA CURV CABL;CNW,EZYN3IR1504S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3IR1504S,ADDITIONAL FEATURES EN:N3 I/RISER 150X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3IR1504S |  | CNW | EZYN3IR1504S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3IR1504S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3IR1504S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-internal-riser/n3irs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder Internal Riser | WIDTH | 150 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179976 | 1179976 |  |  |  | ERSA | M | 1600 | 1569064GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3B3004S,N3 BEND 30 | BANDEJA CURV CABL;CNW,EZYN3B3004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3B3004S,ADDITIONAL FEATURES EN:N3 BEND 300X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3B3004S |  | CNW | EZYN3B3004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3B3004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3B3004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-bend/n3bs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE |  | WIDTH | 300 MM | LENGTH | 750 mm | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179977 | 1179977 |  |  |  | ERSA | M | 1600 | 1569063GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3ER3004S,N3 E/RISE | BANDEJA CURV CABL;CNW,EZYN3ER3004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3ER3004S,ADDITIONAL FEATURES EN:N3 E/RISER 300X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3ER3004S |  | CNW | EZYN3ER3004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3ER3004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3ER3004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-external-riser/n3ers/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder External Riser | WIDTH | 300 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179978 | 1179978 |  |  |  | ERSA | M | 1600 | 1569062GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3IR3004S,N3 I/RISE | BANDEJA CURV CABL;CNW,EZYN3IR3004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3IR3004S,ADDITIONAL FEATURES EN:N3 I/RISER 300X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3IR3004S |  | CNW | EZYN3IR3004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3IR3004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3IR3004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-internal-riser/n3irs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder Internal Riser | WIDTH | 300 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179981 | 1179981 |  |  |  | ERSA | M | 1600 | 1569059GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3B4504S,N3 BEND 45 | BANDEJA CURV CABL;CNW,EZYN3B4504S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3B4504S,ADDITIONAL FEATURES EN:N3 BEND 450X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3B4504S |  | CNW | EZYN3B4504S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3B4504S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3B4504S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-bend/n3bs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE |  | WIDTH | 450 mm | LENGTH | 900 mm | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179982 | 1179982 |  |  |  | ERSA | M | 1600 | 1569058GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3ER4504S,N3 E/RISE | BANDEJA CURV CABL;CNW,EZYN3ER4504S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3ER4504S,ADDITIONAL FEATURES EN:N3 E/RISER 450X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3ER4504S |  | CNW | EZYN3ER4504S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3ER4504S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3ER4504S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-external-riser/n3ers/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder External Riser | WIDTH | 450 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179983 | 1179983 |  |  |  | ERSA | M | 1600 | 1569057GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3IR4504S,N3 I/RISE | BANDEJA CURV CABL;CNW,EZYN3IR4504S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3IR4504S,ADDITIONAL FEATURES EN:N3 I/RISER 450X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3IR4504S |  | CNW | EZYN3IR4504S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3IR4504S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3IR4504S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-internal-riser/n3irs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder Internal Riser | WIDTH | 450 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179986 | 1179986 |  |  |  | ERSA | M | 1600 | 1569054GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3B6004S,N3 BEND 60 | BANDEJA CURV CABL;CNW,EZYN3B6004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3B6004S,ADDITIONAL FEATURES EN:N3 BEND 600X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3B6004S |  | CNW | EZYN3B6004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3B6004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3B6004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-bend/n3bs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE |  | WIDTH | 600 mm | LENGTH | 1.05 m | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179987 | 1179987 |  |  |  | ERSA | M | 1600 | 1569053GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3ER6004S,N3 E/RISE | BANDEJA CURV CABL;CNW,EZYN3ER6004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3ER6004S,ADDITIONAL FEATURES EN:N3 E/RISER 600X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3ER6004S |  | CNW | EZYN3ER6004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3ER6004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3ER6004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-external-riser/n3ers/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder External Riser | WIDTH | 600 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1179988 | 1179988 |  |  |  | ERSA | M | 1600 | 1569052GZPCLNT100 | EA | 3000422 | BEND,CBL TRAY;CNW,EZYN3IR6004S,N3 I/RISE | BANDEJA CURV CABL;CNW,EZYN3IR6004S | BEND,CABLE TRAY;MNFR:CNW,PTNO:EZYN3IR6004S,ADDITIONAL FEATURES EN:N3 I/RISER 600X450R 90' SS GR316 | BANDEJA CABLES CURVA;MNFR:CNW,PTNO:EZYN3IR6004S |  | CNW | EZYN3IR6004S | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | EZYN3IR6004S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EZYSTRUT | N3IR6004S | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/steel-cable-ladder/nema-3-cable-ladder/cable-ladder-internal-riser/n3irs/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE | Ladder Internal Riser | WIDTH | 600 MM | LENGTH |  | DEPTH | 112 MM | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL 316 | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1189541 | 1189541 |  |  |  | ERSA | M | 2210 | 1575806GZPCLNT100 | EA |  | BEND,PIPE;160 90D SWP SDR11 LSP | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:160 90D SWP SDR11 LSP | TUBERIA CURVA; |  |  |  | 1068228 @@ VINIDEX PTY LTD | 62564 | [12 empty] | VINIDEX PTY LTD | 62564 | [16 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/spigot-fittings-for-butt-weld-electrofusion/90d-sweep-bend/ | [9 empty] | CLEANSED | 40172100 Pipe bends | RATING:SDR11,LSP |  | BEND | PIPE | TYPE | Sweep | ANGLE | 90 DEG | NOMINAL SIZE | 160 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1189542 | 1189542 |  |  |  | ERSA | M | 2210 | 1575805GZPCLNT100 | EA |  | BEND,PIPE;110 90D SWP SDR11 LSP | TUBERIA CURVA; | BEND,PIPE;ADDITIONAL FEATURES EN:110 90D SWP SDR11 LSP | TUBERIA CURVA; |  |  |  | 1068228 @@ VINIDEX PTY LTD | 62561 | [12 empty] | VINIDEX PTY LTD | 62561 | [16 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/spigot-fittings-for-butt-weld-electrofusion/90d-sweep-bend/ | [9 empty] | CLEANSED | 40172100 Pipe bends | RATING:SDR11,LSP |  | BEND | PIPE | TYPE | Sweep | ANGLE | 90 DEG | NOMINAL SIZE | 110 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-03 |  | 1212250 | 1212250 |  |  |  | ERSA | M | 1845 | 167717MRM | EA |  | BEND,PIPE:OVERFLOW BEND, A=500 B=550 | BEND,PIPE:OVERFLOW BEND, A=500 B=550 | BEND,PIPE:OVERFLOW BEND, A=500 B=550 |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | PN1212250 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | PN1212250 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | A:500,B:550 |  | BEND | PIPE | TYPE | OVERFLOW | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed