## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1103026 | 1103026 | 1476166 | AU_QM_000642439 |  | ERSA | M | 1600 | 1476166GZPCLNT100 | EA |  | 25MM W;WHITE PLASTIC;NON ADHESIVE; | 25MM W;WHITE PLASTIC;NON ADHESIVE; |  |  | TAPE,INSULATION:25MM W;WHITE PLASTIC;NON ADHESIVE; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30141500 Thermal insulation |  |  | TAPE | INSULATION | TYPE | NON ADHESIVE | LENGTH |  | WIDTH | 25 MM | THICKNESS |  | ADHESIVE TYPE |  | MATERIAL | PLASTIC | COLOR | WHITE | INSULATION CLASS |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1155781 | 1155781 |  |  |  | ERSA | M | 1000 | 1068705GZPCLNT100 | EA |  | 30m Extension Lead | 30m Extension Lead | [37 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 44121902 Lead refills |  |  | LEAD | NO MODIFIER | TYPE | Extension | SIZE |  | LENGTH | 30 M | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1063686 | 1063686 | 1441717 | AU_QM_000988905 |  | ERSA | M | 4100 | 1441717GZPCLNT100 | EA |  | 400W METAL HALIDE LAMP;BRITELINE 2000; | 400W METAL HALIDE LAMP;BRITELINE 2000; | FLOODLIGHT,ELECTRIC: 400W METAL HALIDE LAMP;BRITELINE 2000; SYLVANIA;INTEGRAL TYPE; |  | FLOODLIGHT,ELECTRIC:400W METAL HALIDE LAMP;BRITELINE 2000; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39111611 Flood light | BRITELINE 2000,SYLVANIA |  | LIGHT | FLOOD | TYPE | METAL HALIDE LAMP,INTEGRAL | LAMP WATTAGE | 400 W | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1063685 | 1063685 | 1441731 | AU_QM_000988941 |  | ERSA | M | 4100 | 1441731GZPCLNT100 | EA |  | 400W;METAL HALIDE LAMP;BRITELINE 2000; | 400W;METAL HALIDE LAMP;BRITELINE 2000; | FLOODLIGHT,ELECTRIC: 400W;METAL HALIDE LAMP;BRITELINE 2000; SYLVANIA;INTEGRAL TYPE; |  | FLOODLIGHT,ELECTRIC:400W;METAL HALIDE LAMP;BRITELINE 2000; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39111611 Flood light | BRITELINE 2000,SYLVANIA |  | LIGHT | FLOOD | TYPE | METAL HALIDE LAMP,INTEGRAL | LAMP WATTAGE | 400 W | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1109654 | 1109654 | 1426371 | AU_QM_000377903 |  | ERSA | M | 2200 | 1426371GZPCLNT100 | EA |  | ACTUATOR;PLUG VALVE; | ACTUATOR;PLUG VALVE; | HANDWHEEL: ACTUATOR;PLUG VALVE; |  | HANDWHEEL:ACTUATOR;PLUG VALVE; | [34 empty] | URL NOT FOUND |  |  | PLUG VALVE | [6 empty] | CLEANSED | 31171800 Industrial wheels |  |  | HANDWHEEL | NO MODIFIER | TYPE | ACTUATOR | BORE SIZE |  | BORE TYPE |  | WHEEL DIAMETER |  | HUB DIAMETER |  | HUB LENGTH |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1152464 | 1152464 | 1478927 | AU_QM_000135498 |  | ERSA | M | 4050 | 1478927GZPCLNT100 | EA |  | ADDITIONAL INFORMATION FORM;;FRM 302003; | ADDITIONAL INFORMATION FORM;;FRM 302003; |  |  | FORM,PRINTED: ADDITIONAL INFORMATION FORM;;FRM 302003; | [15 empty] | 302003 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 14111500 Printing and writing paper |  |  | FORM | PRINTED | TYPE |  | SIZE |  | LEGEND COLOR |  | BACKGROUND COLOR |  | PAPER WEIGHT |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1213731 | 1213731 |  |  |  | ERSA | M | 1600 | 366421MRM | EA |  | BELL,ELECTRICAL:12/24VDC;0.125A;150MM DI | BELL,ELECTRICAL:12/24VDC;0.125A;150MM DI | BELL,ELECTRICAL:12/24VDC;0.125A;150MM DIA; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 60104911 Electric bells or accessories |  |  | BELL | ELECTRICAL | TYPE |  | MOUNTING TYPE |  | SOUND LEVEL |  | ELECTRICAL RATING | 12/24 VDC,0.125 A | MATERIAL |  | COLOR |  | NUMBER OF TONES |  | DEGREE OF PROTECTION |  | SIZE | 150 MM DIA | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1060914 | 1060914 |  |  |  | ERSA | M | 1500 | 1513212GZPCLNT100 | EA |  | BEND,CBL TRAY;COVER INTERN,EZYCIR6006H | BANDEJA CURV CABL; | BEND,CABLE TRAY;ADDITIONAL FEATURES EN:COVER INTERN,EZYCIR6006H | BANDEJA CABLES CURVA; | [18 empty] | EZYCIR6006H | [16 empty] | https://www.ezystrut.com.au/products/cable-support-systems/cable-ladder/covers/fitting/internal-riser/cirh/ | [9 empty] | ENRICHED | 39131705 Cable tray fitting and accessories |  |  | COVER | CABLE TRAY | TYPE | Cable Ladder Internal Riser,BEND | WIDTH | 600 MM | LENGTH |  | DEPTH |  | MATERIAL | Stainless Steel | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1060916 | 1060916 |  |  |  | ERSA | M | 1500 | 1513210GZPCLNT100 | EA |  | BEND,CBL TRAY;FIRE RAT,EZYFR60IR6006H# | BANDEJA CURV CABL; | BEND,CABLE TRAY;ADDITIONAL FEATURES EN:FIRE RAT,EZYFR60IR6006H# | BANDEJA CABLES CURVA; | [16 empty] | EZYFR60IR6006H | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131705 Cable tray fitting and accessories | FIRE RAT |  | BEND | CABLE TRAY | TYPE |  | WIDTH |  | LENGTH |  | DEPTH |  | ANGLE |  | MATERIAL |  | SHAPE |  | RADIUS |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1060913 | 1060913 |  |  |  | ERSA | M | 1500 | 1513213GZPCLNT100 | EA |  | BEND,CBL TRAY;FIRE RATE,EZYFR60B3003H# | BANDEJA CURV CABL; | BEND,CABLE TRAY;ADDITIONAL FEATURES EN:FIRE RATE,EZYFR60B3003H# | BANDEJA CABLES CURVA; | [16 empty] | EZYFR60B3003H | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131705 Cable tray fitting and accessories | FIRE RAT |  | BEND | CABLE TRAY | TYPE |  | WIDTH |  | LENGTH |  | DEPTH |  | ANGLE |  | MATERIAL |  | SHAPE |  | RADIUS |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1060917 | 1060917 |  |  |  | ERSA | M | 1500 | 1513209GZPCLNT100 | EA |  | BEND,CBL TRAY;FIRE RATE,EZYFR60B6006H# | BANDEJA CURV CABL; | BEND,CABLE TRAY;ADDITIONAL FEATURES EN:FIRE RATE,EZYFR60B6006H# | BANDEJA CABLES CURVA; | [16 empty] | EZYFR60B6006H | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131705 Cable tray fitting and accessories | FIRE RAT |  | BEND | CABLE TRAY | TYPE |  | WIDTH |  | LENGTH |  | DEPTH |  | ANGLE |  | MATERIAL |  | SHAPE |  | RADIUS |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1106037 | 1106037 | 1413755 | AU_QM_000259280 |  | ERSA | M | 5915 | 1413755GZPCLNT100 | EA |  | BEND,CBL TRAY;WD 300 MM,90 DEG,450 MM | BEND,CBL TRAY;WD 300 MM,90 DEG,450 MM | BEND,CABLE TRAY;WIDTH:300 MM,ANGLE:90 DEG,MATERIAL:STAINLESS STEEL,RADIUS:450 MM,MNFR:01)CNW,PTNO:01)UNILUK113R4 |  | BEND,CBL TRAY;WD 300 MM,90 DEG,450 MMBEND,CBL TRAY;300MM,90DEG,450MM | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | UNILUK113R4 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131705 Cable tray fitting and accessories |  |  | BEND | CABLE TRAY | TYPE |  | WIDTH | 300 MM | LENGTH |  | DEPTH |  | ANGLE | 90 DEG | MATERIAL | STAINLESS STEEL | SHAPE |  | RADIUS | 450 MM | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1203694 | 1203694 |  |  |  | ERSA | M | 1600 | 25353MRM | EA |  | BEND,ELEC CONDUIT:20MM,PVC,90 DEG,ORANGE | BEND,ELEC CONDUIT:20MM,PVC,90 DEG,ORANGE | BEND,ELEC CONDUIT:20MM,PVC,90 DEG,ORANGE,MED SWEEP.STD PACK OF 20 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | PACKAGE QUANTITY:20,COLOUR:ORANGE |  | BEND | CONDUIT | TYPE | electrical,MED SWEEP,Standard | NOMINAL SIZE | 20 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1218082 | 1218082 |  |  |  | ERSA | M | 1600 | 952241MRM | EA |  | BEND,ELEC CONDUIT:32MM,PVC,90 DEG,ORANGE | BEND,ELEC CONDUIT:32MM,PVC,90 DEG,ORANGE | BEND,ELEC CONDUIT:32MM,PVC,90 DEG,ORANGE,MED SWEEP, | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow |  |  | BEND | CONDUIT | TYPE | electrical,MED SWEEP,Standard | NOMINAL SIZE | 32 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1216722 | 1216722 |  |  |  | ERSA | M | 2200 | 146684MRM | EA |  | BEND,PIPE:DN450;7.27 DEGREE;STEEL FLANGE | BEND,PIPE:DN450;7.27 DEGREE;STEEL FLANGE | BEND,PIPE:DN450;7.27 DEGREE;STEEL FLANGES;CERAMICLINED SPOOL;SP215PIPE; | [17 empty] | SP215 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | CERAMICLINED SPOOL | ANGLE | 7.27 DEG | NOMINAL SIZE | DN450 | END CONNECTION | FLANGES | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1047032 | 1047032 | 1423267 | AU_QM_000269684 |  | ERSA | M | 5915 | 1423267GZPCLNT100 | EA |  | BEND,PIPE;90 DEG,NOM 20 MM | BEND,PIPE;90 DEG,NOM 20 MM | BEND,PIPE;ANGLE:90 DEG,NOMINAL SIZE:20 MM,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:WD 300, SERIES NO: 600R,MNFR:01)CNW, PTNO:01)LUK113R6 |  | BEND,PIPE;90 DEG,NOM 20 MMBEND,PIPE;90DEG,20MM,WD 300; SERIES NO | [34 empty] | URL NOT FOUND | [5 empty] | 600R |  |  |  | CLEANSED | 40172100 Pipe bends | WD 300 |  | BEND | PIPE | TYPE |  | ANGLE | 90 DEG | NOMINAL SIZE | 20 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1047124 | 1047124 |  |  |  | ERSA | M | 5915 | 1421476GZPCLNT100 | EA |  | BEND,PIPE;LINED,ZIRCONIA CERAMIC,C/W 3MM | BEND,PIPE;LINED,ZIRCONIA CERAMIC,C/W 3MM | BEND,PIPE;TYPE:LINED,MATERIAL:ZIRCONIA CERAMIC,ADDITIONAL FEATURES EN:C/W 3MM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | LINED | ANGLE |  | NOMINAL SIZE | 3 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | ZIRCONIA CERAMIC | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1016909 | 1016909 |  |  |  | ERSA | M | 2200 | 1265252GZPCLNT100 | EA |  | BEND,PIPE;SPOL,NOM 38 IN,LG 270-5/32 IN | TUBERIA CURVA;MADEJA,NOM 38 IN,LG | BEND,PIPE;TYPE:SPOOL,NOMINAL SIZE:38 IN,LENGTH:270-5/32 IN,ADDITIONAL FEATURES EN:0310-PPS3-RL-04,MNFR:WEIRMPE,PTNO:A1-C-VA-CMA-55-5 | TUBERIA CURVA;TIPO:MADEJA,TAMAÃƒâ€˜O NOMINAL:38 IN,LONGITUD:270-5/32 IN,CARACTERISTICAS ADICIONALES ES:0310-PPS3-RL-04,MNFR:WEIRMPE,PTN :A1-C-VA-CMA-55-5 |  |  | A1-C-VA-CMA-55-5 | [13 empty] | A1-C-VA-CMA-55-5 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | SPOOL | ANGLE |  | NOMINAL SIZE | 38 IN | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH | 270-5/32 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1046573 | 1046573 |  |  |  | ERSA | M | 5915 | 1411467GZPCLNT100 | EA |  | BEND,PIPE;SWEEP,45 DEG,NOM 90 MM,10.1 MM | BEND,PIPE;SWEEP,45 DEG,NOM 90 MM,10.1 MM | BEND,PIPE;TYPE:SWEEP,ANGLE:45 DEG,NOMINAL SIZE:90 MM,SCHEDULE/WALL THICKNESS:10.1 MM,PRESSURE CLASS/RATING:PN 20,LENGTH:232 MM, MATERIAL:PE100,ADDITIONAL FEATURES EN:EXT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40172100 Pipe bends | EXT |  | BEND | PIPE | TYPE | SWEEP | ANGLE | 45 DEG | NOMINAL SIZE | 90 MM | END CONNECTION |  | SCHEDULE/WALL THICKNESS | 10.1 MM | PRESSURE CLASS/RATING | PN 20 | LENGTH | 232 MM | MATERIAL | HDPE PE100 | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1026202 | 1026202 | 1390759 | AU_QM_000232465 |  | ERSA | M | 4075 | 1390759GZPCLNT100 | EA | 3000000 | BEND;ATL,1017912 | BEND;ATL,1017912 | BEND;MNFR:ATLAS COPCO,PTNO:1017912 |  | BEND;ATL,1017912BEND;ATL,1017912 | ATLAS COPCO | 1017912 | [12 empty] | ATLAS COPCO | 1017912 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE |  | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1038061 | 1038061 | 1418495 | AU_QM_000264452 |  | ERSA | M | 5915 | 1418495GZPCLNT100 | EA |  | BEND;DENSE PHASE VENT,SERIES NO: MK3 | BEND;DENSE PHASE VENT,SERIES NO: MK3 | BEND;TYPE:DENSE PHASE VENT,ADDITIONAL FEATURES EN:SERIES NO: MK3,MNFR:01)PARTS,PTNO:01)PB8623/3 |  | BEND;DENSE PHASE VENT,SERIES NO: MK3BEND;DENSE PHASE VENT,SERIES NO: MK3 | [15 empty] | PB8623/3 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | SERIES NO:MK3 |  | BEND | NO MODIFIER | TYPE | DENSE PHASE VENT | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1095261 | 1095261 | 1383473 | AU_QM_000223856 |  | ERSA | M | 5920 | 1383473GZPCLNT100 | EA | 3000438 | CAM;NRMT,55138705 | CAME;NRMT,55138705 | LEVA;MNFR:NORMET,PTNO:55138705 | LEVA;,MNFR:NORMET,PTNO:55138705 | CAM;NRMT,55138705CAM;NOR,55138705 | NORMET | 55138705 | [12 empty] | NORMET | 55138705 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111530 Transmission cam | LEVA |  | CAM | NO MODIFIER | TYPE |  | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1101059 | 1101059 | 1389280 | AU_QM_000230738 |  | ERSA | M | 1500 | 1389280GZPCLNT100 | EA | 3000438 | CASE;NRMT,100066594 | ESTUCHE; | ESTUCHE;MNFR:NORMET,PTNO:100066594 | ESTUCHE;,MNFR:NORMET,PTNO:100066594 | CASE;NRMT,100066594CASE;NOR,100066594 | NORMET | 100066594 | [12 empty] | NORMET | 100066594 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings | ESTUCHE |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1100234 | 1100234 | 1384152 | AU_QM_000224682 |  | ERSA | M | 1500 | 1384152GZPCLNT100 | EA | 3000438 | CASE;NRMT,55156630 | CAISSES;NRMT,55156630 | ESTUCHE;MNFR:NORMET,PTNO:55156630 | ESTUCHE;,MNFR:NORMET,PTNO:55156630 | CASE;NRMT,55156630CASE;NOR,55156630 | NORMET | 55156630 | [12 empty] | NORMET | 55156630 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings | ESTUCHE |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1138685 | 1138685 | 1431572 | AU_QM_000735753 |  | ERSA | M | 5915 | 1431572GZPCLNT100 | EA |  | CAT EQUALIZER BAR SUSPENSION PAD; | CAT EQUALIZER BAR SUSPENSION PAD; | MOUNT,RESILIENT: CAT EQUALIZER BAR SUSPENSION PAD; |  | MOUNT,RESILIENT:CAT EQUALIZER BAR SUSPENSION PAD; | [14 empty] | Caterpillar | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162300 Mounting hardware | RESILIENT |  | MOUNT | NO MODIFIER | TYPE | RESILIENT,EQUALIZER BAR SUSPENSION PAD | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1138684 | 1138684 |  |  |  | ERSA | M | 5915 | 1431573GZPCLNT100 | EA |  | CAT EQUALIZER BAR SUSPENSION PAD; | CAT EQUALIZER BAR SUSPENSION PAD; | MOUNT,RESILIENT: CAT EQUALIZER BAR SUSPENSION PAD; | [16 empty] | Caterpillar | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162300 Mounting hardware | RESILIENT |  | MOUNT | NO MODIFIER | TYPE | RESILIENT,EQUALIZER BAR SUSPENSION PAD | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1138686 | 1138686 | 1431565 | AU_QM_000735290 |  | ERSA | M | 5915 | 1431565GZPCLNT100 | EA |  | CAT MIRROR GROUP PLATE; | CAT MIRROR GROUP PLATE; | PANEL,BODY,VEH: CAT MIRROR GROUP PLATE; |  | PANEL,BODY,VEH: CAT MIRROR GROUP PLATE; | [14 empty] | Caterpillar | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43201610 Backplane or panels or assemblies | MIRROR GROUP |  | PANEL | VEHICULAR | TYPE | BODY,PLATE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | SUITABLE NM NOT FOUND | 1209129 | 1209129 |  |  |  | ERSA | M | 2200 | 133581MRM | EA |  | COCK,PLUG:COCK;ATLAS COPCO GR200; | COCK,PLUG:COCK;ATLAS COPCO GR200; | COCK,PLUG:COCK;ATLAS COPCO GR200; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1068455 | 1068455 | 1468123 | AU_QM_007607003 |  | ERSA | M | 1600 | 1468123GZPCLNT100 | EA |  | CONTROL | CONTROL | KNOB: CONTROL |  | KNOB:CONTROL | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162801 Handles or knobs |  |  | KNOB | NO MODIFIER | TYPE | CONTROL | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1099034 | 1099034 | 1387036 | AU_QM_000228105 |  | ERSA | M | 5100 | 1387036GZPCLNT100 | EA | 3000438 | COOLER;NRMT,100022707 | ENFRIADOR; | ENFRIADOR;MNFR:NORMET,PTNO:100022707 | ENFRIADOR;,MNFR:NORMET,PTNO:100022707 | COOLER;NRMT,100022707COOLER;NOR,100022707 | NORMET | 100022707 | [12 empty] | NORMET | 100022707 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | ENFRIADOR |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1099048 | 1099048 | 1386497 | AU_QM_000227459 |  | ERSA | M | 5100 | 1386497GZPCLNT100 | EA | 3000438 | COOLER;NRMT,100023138 | ENFRIADOR; | ENFRIADOR;MNFR:NORMET,PTNO:100023138 | ENFRIADOR;,MNFR:NORMET,PTNO:100023138 | COOLER;NRMT,100023138COOLER;NOR,100023138 | NORMET | 100023138 | [12 empty] | NORMET | 100023138 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | ENFRIADOR |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1099009 | 1099009 | 1387579 | AU_QM_000228747 |  | ERSA | M | 5100 | 1387579GZPCLNT100 | EA | 3000438 | COOLER;NRMT,54921720 | ENFRIADOR; | ENFRIADOR;MNFR:NORMET,PTNO:54921720 | ENFRIADOR;,MNFR:NORMET,PTNO:54921720 | COOLER;NRMT,54921720COOLER;NOR,54921720 | NORMET | 54921720 | [12 empty] | NORMET | 54921720 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | ENFRIADOR |  | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | SUITABLE NM NOT FOUND | 1137688 | 1137688 | 1466249 | AU_QM_007124883 |  | ERSA | M | 4700 | 1466249GZPCLNT100 | EA |  | CUSM CONVERTER POURING LIP; | CUSM CONVERTER POURING LIP; | LIP,POURING; CUSM CONVERTER POURING LIP; |  | LIP,POURING;CUSM CONVERTER POURING LIP; | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | SUITABLE NM NOT FOUND | 1217955 | 1217955 |  |  |  | ERSA | M | 2920 | 944058MRM | EA |  | DEFIBBILLATOR:HEARTSTART FR2-S; | DEFIBBILLATOR:HEARTSTART FR2-S; | DEFIBBILLATOR:HEARTSTART FR2-S; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1107716 | 1107716 | 1463331 | AU_QM_004817043 |  | ERSA | M | 1600 | 1463331GZPCLNT100 | EA |  | DEPTH GAUGE | DEPTH GAUGE | KNOB: DEPTH GAUGE |  | KNOB:DEPTH GAUGE | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162801 Handles or knobs |  |  | KNOB | NO MODIFIER | TYPE | DEPTH GAUGE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | NM TAKEN BASED ON URL | 1025511 | 1025511 | 1381640 | AU_QM_000221596 |  | ERSA | M | 5380 | 1381640GZPCLNT100 | EA | 3000024 | DESICCANT;ISU,8982263280 | DESICCANT;ISU,8982263280 | DESICCANT;MNFR:ISUZU,PTNO:8982263280 |  | DESICCANT;ISU,8982263280DESICCANT;ISU,8982263280 | ISUZU | 8982263280 | [14 empty] | ISUZU | 8982263280 | [16 empty] | https://partsouq.com/shop/product/8982263280-isuzu-repair-kit-air/16595016 | [9 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories |  |  | KIT | NO MODIFIER | TYPE | REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | NM TAKEN BASED ON URL | 1025501 | 1025501 | 1381835 | AU_QM_000221832 |  | ERSA | M | 5380 | 1381835GZPCLNT100 | EA | 3000028 | DESICCANT;MIT,MK529542 | DESICCANT;MIT,MK529542 | DESICCANT;MNFR:MITSUBISHI,PTNO:MK529542 |  | DESICCANT;MIT,MK529542DESICCANT;MIT,MK529542 | MITSUBISHI | MK529542 | [14 empty] | MITSUBISHI | MK529542 | [16 empty] | https://partsouq.com/shop/product/MK529542-mitsubishi-repair-kit/17770775 | [9 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories |  |  | KIT | NO MODIFIER | TYPE | REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | SUITABLE NM NOT FOUND | 1066089 | 1066089 | 1469017 | AU_QM_007915018 |  | ERSA | M | 1510 | 1469017GZPCLNT100 | EA |  | ECCENTRIC: | ECCENTRIC: | ECCENTRIC: |  | ECCENTRIC: | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1036667 | 1036667 |  |  |  | ERSA | M | 4075 | 1570330GZPCLNT100 | EA |  | BEND;PVC,S/W,150X45 DEG,M&F | CURVATURA; | BEND;ADDITIONAL FEATURES EN:PVC,S/W,150X45 DEG,M&F | CURVATURA; |  |  |  | 1068155 @@ REECE PTY LTD | 1500470 | [12 empty] | REECE PTY LTD | 1500470 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-150mm-x-45-degree-male-1500470?query=1500470 | [9 empty] | ENRICHED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Stormwater | ANGLE | 45 Deg | NOMINAL SIZE | 150 mm | END CONNECTION | MaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Female | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1036668 | 1036668 |  |  |  | ERSA | M | 4075 | 1570329GZPCLNT100 | EA |  | BEND;PVC,S/W,150X45 DEG,F&F | CURVATURA; | BEND;ADDITIONAL FEATURES EN:PVC,S/W,150X45 DEG,F&F | CURVATURA; |  |  |  | 1068155 @@ REECE PTY LTD | 1500471 | [12 empty] | REECE PTY LTD | 1500471 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-150mm-x-45-degree-female-1500471?query=1500471 | [9 empty] | ENRICHED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Stormwater | ANGLE | 45 Deg | NOMINAL SIZE | 150 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | Female | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1051231 | 1051231 |  |  |  | ERSA | M | 4090 | 1581230GZPCLNT100 | EA |  | BEND;SCKT,DWV IN M&F 40 X 88 DEG | CURVATURA; | BEND;ADDITIONAL FEATURES EN:SOCKET,DWV IN M&F 40 X 88 DEG | CURVATURA; |  |  |  | 1068155 @@ REECE PTY LTD | 1403704 | [14 empty] | REECE PTY LTD | 1403704 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | DWV |  | BEND | NO MODIFIER | TYPE | SOCKET | DIMENSIONS | 40 mm | ANGLE | 88 deg | MATERIAL | MaleXFemale | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1061272 | 1061272 |  |  |  | ERSA | M | 1600 | 1584804GZPCLNT100 | EA |  | BEND,CONDT;SOLID,NOM 40 MM,PVC,GREY | CONDUCT CURVO;SÓLIDO,NOM 40 MM | BEND,CONDUIT;TYPE:SOLID,NOMINAL SIZE:40 MM,MATERIAL:PVC,ADDITIONAL FEATURES EN:GREY | CONDUCTO CURVO;TIPO:SÃ“LIDO,TAMAÃ‘O NOMINAL:40 MM,MATERIAL:CLORURO DE POLIVINILO |  |  |  | 1071835 @@ REXEL AUSTRALIA | MLY12.40G | [14 empty] | REXEL AUSTRALIA | MLY12.40G | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | COLOUR:GREY |  | BEND | CONDUIT | TYPE | SOLID | NOMINAL SIZE | 40 MM | ANGLE |  | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1094912 | 1094912 | 1393479 | AU_QM_000236928 |  | ERSA | M | 5920 | 1393479GZPCLNT100 | EA | 3000438 | CAM;NRMT,100111851 | LEVA; | LEVA;MNFR:NORMET,PTNO:100111851 | LEVA;,MNFR:NORMET,PTNO:100111851 | OEM-E-LISTCAM;NOR,100111851 | NORMET | 100111851 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100111851 | [10 empty] | NORMET | 100111851 |  |  | NORMET ASIA PACIFIC PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111530 Transmission cam | LEVA |  | CAM | NO MODIFIER | TYPE |  | BORE SIZE |  | THICKNESS |  | KEYWAY SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1109164 | 1109164 | 1369088 | AU_QM_000173328 |  | ERSA | M | 5920 | 1369088GZPCLNT100 | EA |  | CAT RADIATOR LOWER MOUNT ASSY; | CAT RADIATOR LOWER MOUNT ASSY; | MOUNT,RESILIENT: CAT RADIATOR LOWER MOUNT ASSY; ELPHINSTONE R1300/R1700/R2900 LOADERS ELPHINSTONE AD40 SER.I/II DUMP TRUCKS |  | MOUNT,RESILIENT:CAT RADIATOR LOWER MOUNT ASSY; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1369088 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2S1212 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 2S1212 | [8 empty] | Caterpillar | 2S-1212 | CNW (MOUNT ISA) ELECT WHOLESALER | 1369088 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/2S-1212 |  |  | ELPHINSTONE,LOADERS,SER.I/II DUMP TRUCKS | Caterpillar | R1300/R1700/R2900,AD40 |  |  |  |  | enriched | 31162300 Mounting hardware | RADIATOR LOWER MOUNT ASSemblY |  | MOUNT | NO MODIFIER | TYPE | RESILIENT | OVERALL SIZE | 14.4 idx50.88 odx63.2 lg mm | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1109399 | 1109399 | 1442695 | AU_QM_000996879 |  | ERSA | M | 5920 | 1442695GZPCLNT100 | EA |  | CAT ENGINE/TRANSMISSION MOUNT ASSY; | CAT ENGINE/TRANSMISSION MOUNT ASSY; | MOUNT,RESILIENT: CAT ENGINE/TRANSMISSION MOUNT ASSY; ELPHINSTONE R1700 AND R1700G LOADERS CATERPILLAR D250E ARTICULATED TRUCK |  | MOUNT,RESILIENT:CAT ENGINE/TRANSMISSION MOUNT ASSY; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1442695 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9W9930 | [10 empty] | Caterpillar | 9W-9930 | CNW (MOUNT ISA) ELECT WHOLESALER | 1442695 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/9W-9930 |  |  | ELPHINSTONE,LOADERS,ARTICULATED TRUCK |  | R1700/R1700G,D250E |  |  |  |  | enriched | 31162300 Mounting hardware | RESILIENT,ENGINE/TRANSMISSION MOUNT ASSemblY |  | MOUNT | NO MODIFIER | TYPE | TWO PIECE ASYMMETRIC ISOLATION | OVERALL SIZE | 21.5 idx72.5 ht mm | MATERIAL | Rubber | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1146302 | 1146302 |  |  |  | ERSA | M | 1600 | 1535496GZPCLNT100 | EA |  | BEND,CONDT;150MM,90D,HD,1200R,VIN30985 | BEND,CONDT;150MM,90D,HD,1200R,VIN30985 | BEND,CONDT;ADDITIONAL FEATURES:150MM,90D,HD,1200R,VIN30985 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 30985 | [13 empty] | VIN30985 | CNW (MOUNT ISA) ELECT WHOLESALER | 30985 | [14 empty] | https://dw.mmem.com.au/vin30985 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | HD |  | BEND | CONDUIT | TYPE | Heavy Duty | NOMINAL SIZE | 150 MM | ANGLE | 90 deg | LENGTH | 2.385 M | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 1.2 M | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1146303 | 1146303 |  |  |  | ERSA | M | 1600 | 1535495GZPCLNT100 | EA |  | BEND,CONDT;125MM,90D,HD,635R,VIN30950 | BEND,CONDT;125MM,90D,HD,635R,VIN30950 | BEND,CONDT;ADDITIONAL FEATURES:125MM,90D,HD,635R,VIN30950 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 30950 | [13 empty] | VIN30950 | CNW (MOUNT ISA) ELECT WHOLESALER | 30950 | [14 empty] | https://dw.mmem.com.au/vin30950 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | HD |  | BEND | CONDUIT | TYPE | Heavy Duty | NOMINAL SIZE | 635 mm | ANGLE | 90 deg | LENGTH | 1.895 M | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 635 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1146304 | 1146304 |  |  |  | ERSA | M | 1600 | 1535494GZPCLNT100 | EA |  | BEND,CONDT;100MM,90D,HD,460R,VIN30900 | BEND,CONDT;100MM,90D,HD,460R,VIN30900 | BEND,CONDT;ADDITIONAL FEATURES:100MM,90D,HD,460R,VIN30900 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 30900 | [13 empty] | VIN30900 | CNW (MOUNT ISA) ELECT WHOLESALER | 30900 | [14 empty] | https://dw.mmem.com.au/vin30900 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | HD |  | BEND | CONDUIT | TYPE | Heavy Duty | NOMINAL SIZE | 100 MM | ANGLE | 90 deg | LENGTH | 1.067 M | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 460 mm | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1152014 | 1152014 |  |  |  | ERSA | M | 4075 | 1535070GZPCLNT100 | EA |  | BEND;FERRULE & NUT MALE 50MM,106920 | BEND;FERRULE & NUT MALE 50MM,106920 | BEND;ADDITIONAL FEATURES:FERRULE & NUT MALE 50MM,106920 |  |  |  |  | 1068155 @@ REECE PTY LTD | 106920 | [14 empty] | REECE PTY LTD | 106920 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | FERRULE & NUT MALE |  | BEND | NO MODIFIER | TYPE |  | DIMENSIONS | 50 MM | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1152109 | 1152109 |  |  |  | ERSA | M | 4075 | 1534975GZPCLNT100 | EA |  | BEND;CONETITE,25C X 25C BRASS,420007 | BEND;CONETITE,25C X 25C BRASS,420007 | BEND;ADDITIONAL FEATURES:CONETITE,25C X 25C BRASS,420007 |  |  |  |  | 1068155 @@ REECE PTY LTD | 420007 | [14 empty] | REECE PTY LTD | 420007 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | CONETITE,25C X 25C |  | BEND | NO MODIFIER | TYPE |  | DIMENSIONS |  | ANGLE |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153188 | 1153188 |  |  |  | ERSA | M | 4075 | 1534409GZPCLNT100 | EA |  | BEND;PVC S/W,225 X 90 DEG F&F,1500574 | BEND;PVC S/W,225 X 90 DEG F&F,1500574 | BEND;ADDITIONAL FEATURES:PVC S/W,225 X 90 DEG F&F,1500574 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500574 | [12 empty] | REECE PTY LTD | 1500574 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-225mm-x-90-degree-female-1500574 | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE |  | ANGLE | 90 deg | NOMINAL SIZE | 225 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | pvc | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153195 | 1153195 |  |  |  | ERSA | M | 4075 | 1534402GZPCLNT100 | EA |  | BEND;PVC S/W,90 DEG F&F 90MM,1500120 | BEND;PVC S/W,90 DEG F&F 90MM,1500120 | BEND;ADDITIONAL FEATURES:PVC S/W,90 DEG F&F 90MM,1500120 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500120 | [12 empty] | REECE PTY LTD | 1500120 | [16 empty] | https://www.reece.com.au/product/pvc-socketed-stormwater-bend-90-degree-female-1500120?query=1500120 | [9 empty] | ENRICHED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Socketed Stormwater | ANGLE | 90 deg | NOMINAL SIZE | 90 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | pvc | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153196 | 1153196 |  |  |  | ERSA | M | 4075 | 1534401GZPCLNT100 | EA |  | BEND;PVC S/W,PLN,45 DEG,90 MM,F&,1500115 | BEND;PVC S/W,PLN,45 DEG,90 MM,F&,1500115 | BEND;ADDITIONAL FEATURES:PVC S/W,PLN,45 DEG,90 MM,F&,1500115 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500115 | [12 empty] | REECE PTY LTD | 1500115 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-plain-45-degree-female-1500115?query=1500115 | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Stormwater | ANGLE | 45 Deg | NOMINAL SIZE | 90 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | pvc | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153197 | 1153197 |  |  |  | ERSA | M | 4075 | 1534400GZPCLNT100 | EA |  | BEND;PVC S/W,PLN,22 1/2 DEG,90 M,1500106 | BEND;PVC S/W,PLN,22 1/2 DEG,90 M,1500106 | BEND;ADDITIONAL FEATURES:PVC S/W,PLN,22 1/2 DEG,90 M,1500106 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500106 | [12 empty] | REECE PTY LTD | 1500106 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-plain-22-1-2-degree-female-1500106?query=1500106 | [9 empty] | ENRICHED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Stormwater | ANGLE | 22.5 deg | NOMINAL SIZE | 90 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | pvc | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153198 | 1153198 |  |  |  | ERSA | M | 4075 | 1534399GZPCLNT100 | EA |  | BEND;PVC S/W,PLN,15 DEG,90 MM,F&,1500101 | BEND;PVC S/W,PLN,15 DEG,90 MM,F&,1500101 | BEND;ADDITIONAL FEATURES:PVC S/W,PLN,15 DEG,90 MM,F&,1500101 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1500101 | [12 empty] | REECE PTY LTD | 1500101 | [16 empty] | https://www.reece.com.au/product/pvc-stormwater-bend-plain-15-degree-female-1500101?query=1500101 | [9 empty] | CLEANSED | 40172100 Pipe bends |  |  | BEND | PIPE | TYPE | Stormwater | ANGLE | 15 DEG | NOMINAL SIZE | 90 mm | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL | pvc | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153229 | 1153229 |  |  |  | ERSA | M | 4075 | 1534368GZPCLNT100 | EA |  | BEND;DWV,100 X 5 DEG F&F PLAIN,1407630 | BEND;DWV,100 X 5 DEG F&F PLAIN,1407630 | BEND;ADDITIONAL FEATURES:DWV,100 X 5 DEG F&F PLAIN,1407630 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1407630 | [12 empty] | REECE PTY LTD | 1407630 | [16 empty] | https://www.reece.com.au/product/dwv-bend-100mm-x-5-degree-female-female-1407630?query=1407630 | [9 empty] | CLEANSED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 5 DEG | NOMINAL SIZE | 100 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153266 | 1153266 |  |  |  | ERSA | M | 4075 | 1534330GZPCLNT100 | EA |  | BEND;DWV,50 X 45 DEG (42DEG) M&F,1403710 | BEND;DWV,50 X 45 DEG (42DEG) M&F,1403710 | BEND;ADDITIONAL FEATURES:DWV,50 X 45 DEG (42DEG) M&F,1403710 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403710 | [12 empty] | REECE PTY LTD | 1403710 | [16 empty] | https://www.reece.com.au/product/dwv-bend-50mm-x-45-degree-42-degree-male-1403710?query=1403710 | [9 empty] | CLEANSED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 45 DEG(42 DEG) | NOMINAL SIZE | 50 MM | END CONNECTION | MaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153267 | 1153267 |  |  |  | ERSA | M | 4075 | 1534329GZPCLNT100 | EA |  | BEND;DWV,65 X 85 DEG PLAIN,1403220 | BEND;DWV,65 X 85 DEG PLAIN,1403220 | BEND;ADDITIONAL FEATURES:DWV,65 X 85 DEG PLAIN,1403220 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403220 | [12 empty] | REECE PTY LTD | 1403220 | [16 empty] | https://www.reece.com.au/product/dwv-bend-65mm-x-85-degree-plain-1403220?query=1403220 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 65 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153268 | 1153268 |  |  |  | ERSA | M | 4075 | 1534328GZPCLNT100 | EA |  | BEND;DWV,65 X 45 DEG PLAIN,1403210 | BEND;DWV,65 X 45 DEG PLAIN,1403210 | BEND;ADDITIONAL FEATURES:DWV,65 X 45 DEG PLAIN,1403210 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403210 | [12 empty] | REECE PTY LTD | 1403210 | [16 empty] | https://www.reece.com.au/product/dwv-bend-65mm-x-45-degree-plain-1403210?query=1403210 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 45 Deg | NOMINAL SIZE | 65 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153269 | 1153269 |  |  |  | ERSA | M | 4075 | 1534327GZPCLNT100 | EA |  | BEND;DWV,50 X 85 DEG IO,1403125 | BEND;DWV,50 X 85 DEG IO,1403125 | BEND;ADDITIONAL FEATURES:DWV,50 X 85 DEG IO,1403125 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403125 | [12 empty] | REECE PTY LTD | 1403125 | [16 empty] | https://www.reece.com.au/product/dwv-bend-50mm-x-85-degree-io-1403125?query=1403125 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV,IO |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 50 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153270 | 1153270 |  |  |  | ERSA | M | 4075 | 1534326GZPCLNT100 | EA |  | BEND;DWV,50 X 85 DEG PLAIN,1403120 | BEND;DWV,50 X 85 DEG PLAIN,1403120 | BEND;ADDITIONAL FEATURES:DWV,50 X 85 DEG PLAIN,1403120 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403120 | [12 empty] | REECE PTY LTD | 1403120 | [16 empty] | https://www.reece.com.au/product/dwv-bend-50mm-x-85-degree-plain-1403120?query=1403120 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 50 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153272 | 1153272 |  |  |  | ERSA | M | 4075 | 1534324GZPCLNT100 | EA |  | BEND;DWV,40 X 85 DEG IO,1403035 | BEND;DWV,40 X 85 DEG IO,1403035 | BEND;ADDITIONAL FEATURES:DWV,40 X 85 DEG IO,1403035 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403035 | [12 empty] | REECE PTY LTD | 1403035 | [16 empty] | https://www.reece.com.au/product/dwv-bend-40mm-x-85-degree-io-1403035?query=1403035 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV,IO |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 40 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153273 | 1153273 |  |  |  | ERSA | M | 4075 | 1534323GZPCLNT100 | EA |  | BEND;DWV,40 X 85 DEG PLAIN,1403030 | BEND;DWV,40 X 85 DEG PLAIN,1403030 | BEND;ADDITIONAL FEATURES:DWV,40 X 85 DEG PLAIN,1403030 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403030 | [12 empty] | REECE PTY LTD | 1403030 | [16 empty] | https://www.reece.com.au/product/dwv-bend-40mm-x-85-degree-plain-1403030?query=1403030 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 85 DEG | NOMINAL SIZE | 40 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1153274 | 1153274 |  |  |  | ERSA | M | 4075 | 1534322GZPCLNT100 | EA |  | BEND;DWV,40 X 45 DEG PLAIN,1403020 | BEND;DWV,40 X 45 DEG PLAIN,1403020 | BEND;ADDITIONAL FEATURES:DWV,40 X 45 DEG PLAIN,1403020 |  |  |  |  | 1068155 @@ REECE PTY LTD | 1403020 | [12 empty] | REECE PTY LTD | 1403020 | [16 empty] | https://www.reece.com.au/product/dwv-bend-40mm-x-45-degree-plain-1403020?query=1403020 | [9 empty] | ENRICHED | 40172100 Pipe bends | DWV |  | BEND | PIPE | TYPE |  | ANGLE | 45 Deg | NOMINAL SIZE | 40 MM | END CONNECTION | FemaleXFemale | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH | PLAIN | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1180385 | 1180385 |  |  |  | ERSA | M | 2000 | 1543897GZPCLNT100 | EA |  | BEND;ANGLE CLOSURE,37DEG,32NB | CURVATURA; | BEND;ADDITIONAL FEATURES EN:ANGLE CLOSURE,37DEG,32NB | CURVATURA; |  |  |  | 1068289 @@ INFRABUILD STEEL CENTRE | 224795 | [14 empty] | INFRABUILD STEEL CENTRE | 224795 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | BEND | NO MODIFIER | TYPE | ANGLE CLOSURE | DIMENSIONS | 32 NB | ANGLE | 37 DEG | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1186348 | 1186348 |  |  |  | ERSA | M | 4500 | 1552869GZPCLNT100 | EA | 3000422 | BEND,CONDT;CNW,CLIC247L20WE,BEND SWEEP C | CONDUCT CURVO;CNW,CLIC247L20WE | BEND,CONDUIT;MNFR:CNW,PTNO:CLIC247L20WE,ADDITIONAL FEATURES EN:BEND SWEEP CONDUIT 20MM 90DEG COMMS | CONDUCTO CURVO;MNFR:CNW,PTNO:CLIC247L20WE |  | CNW | CLIC247L20WE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLIC247L20WE | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CLIC247L20WE | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/Conduit-Fittings/Conduit-Bend/BEND-SWEEP-CONDUIT-20MM-90DEG-COMMS/p/CLIC247L20WEC17 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow |  |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,BEND SWEEP | NOMINAL SIZE | 20 MM | ANGLE | 90 DEG | LENGTH | 185 mm | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 150 mm | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188496 | 1188496 |  |  |  | ERSA | M | 1600 | 1585647GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 100 MM,90 DEG,PVC | CONDUCT CURVO;,NOM 100 MM,90 DEG,600 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:100 MM,ANGLE:90 DEG,MATERIAL:PVC,RADIUS:600 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX100COM600R90 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:100 MM,ANGULO:90 DEG,MATERIAL:CLORURO DE POLIVINILO,RADIO:600 MM,PTNO:CONX100COM600R90 |  |  | CONX100COM600R90 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX100COM600R90 | [11 empty] | CONX100COM600R90 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX100COM600R90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 100 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188497 | 1188497 |  |  |  | ERSA | M | 1600 | 1585646GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 100 MM,45 DEG,PVC | CONDUCT CURVO;,NOM 100 MM,600 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:100 MM,ANGLE:45 DEG,MATERIAL:PVC,RADIUS:600 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX100COM600R45 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:100 MM,MATERIAL:CLORURO DE POLIVINILO,RADIO:600 MM,PTNO:CONX100COM600R45 |  |  | CONX100COM600R45 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX100COM600R45 | [11 empty] | CONX100COM600R45 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX100COM600R45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 100 MM | ANGLE | 45 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188498 | 1188498 |  |  |  | ERSA | M | 1600 | 1585645GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 100 MM,30 DEG,PVC | CONDUCT CURVO;,NOM 100 MM,600 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:100 MM,ANGLE:30 DEG,MATERIAL:PVC,RADIUS:600 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX100COM600R30 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:100 MM,MATERIAL:CLORURO DE POLIVINILO,RADIO:600 MM,PTNO:CONX100COM600R30 |  |  | CONX100COM600R30 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX100COM600R30 | [11 empty] | CONX100COM600R30 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX100COM600R30 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 100 MM | ANGLE | 30 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188499 | 1188499 |  |  |  | ERSA | M | 1600 | 1585644GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 100 MM,15 DEG,PVC | CONDUCT CURVO;,NOM 100 MM,600 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:100 MM,ANGLE:15 DEG,MATERIAL:PVC,RADIUS:600 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX100COM600R15 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:100 MM,MATERIAL:CLORURO DE POLIVINILO,RADIO:600 MM,PTNO:CONX100COM600R15 |  |  | CONX100COM600R15 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX100COM600R15 | [11 empty] | CONX100COM600R15 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX100COM600R15 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 100 MM | ANGLE | 15 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 600 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188502 | 1188502 |  |  |  | ERSA | M | 1600 | 1585641GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 50 MM,90 DEG,PVC | CONDUCT CURVO;,NOM ,90 DEG | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:50 MM,ANGLE:90 DEG,MATERIAL:PVC,RADIUS:300 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX50COM300R90 | CONDUCTO CURVO;ANGULO:90 DEG,MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX50COM300R90 |  |  | CONX50COM300R90 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX50COM300R90 | [11 empty] | CONX50COM300R90 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX50COM300R90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 50 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188503 | 1188503 |  |  |  | ERSA | M | 1600 | 1585640GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 50 MM,45 DEG,PVC | CONDUCT CURVO;,NOM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:50 MM,ANGLE:45 DEG,MATERIAL:PVC,RADIUS:300 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX50COM300R45 | CONDUCTO CURVO;MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX50COM300R45 |  |  | CONX50COM300R45 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX50COM300R45 | [11 empty] | CONX50COM300R45 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX50COM300R45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 50 MM | ANGLE | 45 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188504 | 1188504 |  |  |  | ERSA | M | 1600 | 1585639GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 50 MM,30 DEG,PVC | CONDUCT CURVO;,NOM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:50 MM,ANGLE:30 DEG,MATERIAL:PVC,RADIUS:300 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX50COM300R30 | CONDUCTO CURVO;MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX50COM300R30 |  |  | CONX50COM300R30 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX50COM300R30 | [11 empty] | CONX50COM300R30 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX50COM300R30 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 50 MM | ANGLE | 30 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188508 | 1188508 |  |  |  | ERSA | M | 1600 | 1585635GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 32 MM,45 DEG,PVC | CONDUCT CURVO;,NOM 32 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:32 MM,ANGLE:45 DEG,MATERIAL:PVC,RADIUS:300 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX32COM300R45 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:32 MM,MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX32COM300R45 |  |  | CONX32COM300R45 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX32COM300R45 | [11 empty] | CONX32COM300R45 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX32COM300R45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 32 MM | ANGLE | 45 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188509 | 1188509 |  |  |  | ERSA | M | 1600 | 1585634GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 32 MM,90 DEG,PVC | CONDUCT CURVO;,NOM 32 MM,90 DEG | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:32 MM,ANGLE:90 DEG,MATERIAL:PVC,RADIUS:300 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX32COM300R90 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:32 MM,ANGULO:90 DEG,MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX32COM300R90 |  |  | CONX32COM300R90 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX32COM300R90 | [11 empty] | CONX32COM300R90 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX32COM300R90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 32 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188513 | 1188513 |  |  |  | ERSA | M | 1600 | 1585630GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 20 MM,45 DEG,PVC | CONDUCT CURVO;,NOM 20 MM | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:20 MM,ANGLE:45 DEG,MATERIAL:PVC,RADIUS:150 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX20COM150R45 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:20 MM,MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX20COM150R45 |  |  | CONX20COM150R45 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX20COM150R45 | [11 empty] | CONX20COM150R45 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX20COM150R45 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 20 MM | ANGLE | 45 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 150 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1188514 | 1188514 |  |  |  | ERSA | M | 1600 | 1585629GZPCLNT100 | EA |  | BEND,CONDT;SWEEP,NOM 20 MM,90 DEG,PVC | CONDUCT CURVO;,NOM 20 MM,90 DEG | BEND,CONDUIT;TYPE:SWEEP,NOMINAL SIZE:20 MM,ANGLE:90 DEG,MATERIAL:PVC,RADIUS:150 MM,ADDITIONAL FEATURES EN:COMMUNICATIONS,COLOUR: WHITE,BRAND: CON-X,PTNO:CONX20COM150R90 | CONDUCTO CURVO;TAMAÃ‘O NOMINAL:20 MM,ANGULO:90 DEG,MATERIAL:CLORURO DE POLIVINILO,PTNO:CONX20COM150R90 |  |  | CONX20COM150R90 | 1072013 @@ METAL MANUFACTURES PTY LTD | CNXCONX20COM150R90 | [11 empty] | CONX20COM150R90 |  |  | METAL MANUFACTURES PTY LTD | CNXCONX20COM150R90 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39131717 Electrical conduit elbow | BRAND:CON-X,COLOUR:WHITE |  | BEND | CONDUIT | TYPE | COMMUNICATIONS,SWEEP | NOMINAL SIZE | 20 MM | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 150 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1190342 | 1190342 |  |  |  | ERSA | M | 1600 | 1574802GZPCLNT100 | EA | 3000422 | BEND,CONDT;CNW,CLI247L20EO,90DEG L/SWP | CONDUCT CURVO;CNW,CLI247L20EO | BEND,CONDUIT;MNFR:CNW,PTNO:CLI247L20EO,ADDITIONAL FEATURES EN:90DEG L/SWP 20 MM SWEEP ORG | CONDUCTO CURVO;MNFR:CNW,PTNO:CLI247L20EO |  | CNW | CLI247L20EO | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI247L20EO | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CLI247L20EO | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit-%26-Fittings/Rigid-Corrugated-Conduit-Fittings/BEND-SWEEP-90DEG-L-SWP-20MM-ORANGE/p/CLI247L20EOC17 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | COLOUR:ORANGE |  | BEND | CONDUIT | TYPE | Underground,L/SWEEP | NOMINAL SIZE | 20 MM | ANGLE | 90 DEG | LENGTH | 185 mm | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 150 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 |  | 1190345 | 1190345 |  |  |  | ERSA | M | 1600 | 1574799GZPCLNT100 | EA | 3000422 | BEND,CONDT;CNW,CLI247/16GY,16 MM SOLID G | CONDUCT CURVO;CNW,CLI247/16GY | BEND,CONDUIT;MNFR:CNW,PTNO:CLI247/16GY,ADDITIONAL FEATURES EN:16 MM SOLID GREY | CONDUCTO CURVO;MNFR:CNW,PTNO:CLI247/16GY |  | CNW | CLI247/16GY | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CLI247/16GY | [12 empty] | CNW | CLI247/16GY | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Conduit/Conduit-Fittings/BEND-CONDUIT-PVC-SOLID-16MM-GREY/p/CLI247=16GYC20 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | COLOUR:GREY |  | BEND | CONDUIT | TYPE | SOLID | NOMINAL SIZE | 16 MM | ANGLE | 90 DEG | LENGTH | 68 mm | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS | 41 mm | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-06 | SUITABLE NM NOT FOUND | 1207350 | 1207350 |  |  |  | ERSA | M | 5920 | 132810MRM | EA |  | ECCENTRIC:ECCENTRIC SUB ASSEMBLY;ECCENTR | ECCENTRIC:ECCENTRIC SUB ASSEMBLY;ECCENTR | ECCENTRIC:ECCENTRIC SUB ASSEMBLY;ECCENTRIC ASSEMBLY;METSO HP 5 CONE CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1207350 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1207350 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed