## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1066552 | 1066552 | 1429794 | AU_QM_000627737 |  | ERSA | M | 1600 | 1429794GZPCLNT100 | EA |  | 35MM2 (19/1.53MM),CRIMP,NON-INSUL, | 35MM2 (19/1.53MM),CRIMP,NON-INSUL, | SPLICE,CONDUCTOR: 35MM2 (19/1.53MM),CRIMP,NON-INSUL, TINNED,COPPER,SOLID BARRIER,10/PKT |  | SPLICE,CONDUCTOR: 35MM2 (19/1.53MM),CRIMP,NON-INSUL, |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4BURBS35B | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 4BURBS35B | [12 empty] | LAWRENCE & HANSON PTY. LTD. | 4BURBS35B | CNW (TOWNSVILLE) ELECT SUPPLIES | 4BURBS35B | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121449 Wire or cable compression splice | PACKAGE QUANTITY:10/PACK |  | SPLICE | WIRE | TYPE | CONDUCTOR,CRIMP,NON-insulated,TINNED,SOLID BARRIER | CONDUCTOR SIZE | 35 MM2 (19/1.53 MM) | MATERIAL | COPPER | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1066716 | 1066716 | 1452693 | AU_QM_001193184 |  | ERSA | M | 5920 | 1452693GZPCLNT100 | EA |  | CROSS TRAVEL DRIVE;AME30TD;0.9L OIL; | CROSS TRAVEL DRIVE;AME30TD;0.9L OIL; | GEARBOX,MECHANICAL: CROSS TRAVEL DRIVE;AME30TD;0.9L OIL; MOUNT M0-45-0/86.4;S/N 19102088; PBSM SP 15T MOORE GANTRY CRANE |  | GEARBOX,MECHANICAL: CROSS TRAVEL DRIVE;AME30TD;0.9L OIL; |  |  | 1070075 @@ JASON ALLEY CRANES & ELECTRICAL | AME30TD | [13 empty] | AME30TD | JASON ALLEY CRANES & ELECTRICAL | [15 empty] | https://www.cranehoistparts.com/product/demag-motor-zbf71a4-b007-with-demag-gearbox-ame30td-i156-0/ |  |  | PBSM 15 T MOORE GANTRY CRANE | SP |  | 19102088 |  |  |  | CLEANSED | 20101617 Gearmotors | 0.9 L OIL,MOUNT M0-45-0/86.4 |  | GEARMOTOR | NO MODIFIER | TYPE | GEARBOX,MECHANICAL,CROSS TRAVEL DRIVE | POWER RATING |  | SPEED |  | FRAME SIZE |  | VOLTAGE RATING |  | SPEED RATIO |  | TORQUE RATING |  | ENCLOSURE |  | INSULATION CLASS |  | SHAFT ROTATION |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 | NM TAKEN BASED ON URL | 1067350 | 1067350 | 1350953 | AU_QM_000135084 |  | ERSA | M | 5100 | 1350953GZPCLNT100 | EA |  | DETECTOR A;APNSIX40C SLURRY PUMP POSITIO | DETECTOR A;APNSIX40C SLURRY PUMP POSITIO | SENSOR: DETECTOR A;APNSIX40C SLURRY PUMP POSITIO N SENSOR XS630B1MBL2; |  | SENSOR:DETECTOR A;APNSIX40C SLURRY PUMP POSITIO |  |  | 1070715 @@ TECNICAS HIDRAULICAS S.A. | 1350953 | [13 empty] | XS630B1MBL2 | TECNICAS HIDRAULICAS S.A. | 1350953 | [14 empty] | https://media.distributordatasolutions.com/schneider2/2019q3/6c413674411627698b9b5c3219f66318a821d6ad.pdf |  |  | SLURRY PUMP |  | APNSIX40C |  |  |  | N | ENRICHED | 41111926 Proximity sensors |  |  | SENSOR | PROXIMITY | TYPE | Inductive | SENSING RANGE | 15 MM | OUTPUT TYPE | 1 NC | CONNECTION TYPE | Cable | ELECTRICAL RATING | 20 TO 264 VAC/VDC,50/60 HZ | CABLE LENGTH | 2 m | ENCLOSURE | IP68,IP69K | MATERIAL | Metal | SWITCHING FREQUENCY |  | MOUNTING TYPE | FLUSH | SIZE | 62 mm LG | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 | NM TAKEN BASED ON URL | 1103040 | 1103040 | 1476087 | AU_QM_000270005 |  | ERSA | M | 5910 | 1476087GZPCLNT100 | EA |  | BEND SWEEP 90DEG L/SWP 32MM ORANGE | BEND SWEEP 90DEG L/SWP 32MM ORANGE |  |  | BEND BEND SWEEP 90DEG L/SWP 32MM ORANGE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 247L32EO | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 247L32EO | [10 empty] | Clipsal | 247L32-EO | CNW (MOUNT ISA) ELECT WHOLESALER |  | CNW (TOWNSVILLE) ELECT SUPPLIES | [13 empty] | https://www.clipsal.com/products/detail?CatNo=247L32&itemno=247L32-EO&tab-document-1=0 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow | COLOUR:ORANGE |  | BEND | CONDUIT | TYPE | Large Sweep | NOMINAL SIZE | 32 MM | ANGLE | 90 DEG | LENGTH | 350 mm | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1103098 | 1103098 | 1474807 | AU_QM_000176348 |  | ERSA | M | 1600 | 1474807GZPCLNT100 | EA |  | 24VDC OUTUT VOLTAGE;2.2A OUTPUT CURRENT; | 24VDC OUTUT VOLTAGE;2.2A OUTPUT CURRENT; |  |  | POWER SUPPLY: 24VDC OUTUT VOLTAGE;2.2A OUTPUT CURRENT; |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 136-8310 | [12 empty] | RS COMPONENTS PTY LTD | 136-8310 | [16 empty] | https://sg.rs-online.com/web/p/din-rail-power-supplies/1368310 | [9 empty] | ENRICHED | 39121004 Power supply units |  |  | POWER SUPPLY | NO MODIFIER | TYPE | Switch Mode | INPUT RATING | 230 Vac | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 2.2 A | NUMBER OF OUTPUTS | 1 | POWER RATING | 50 W | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CE,cUL,cULus Recognised,FCC,UL | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1103112 | 1103112 | 1476142 | AU_QM_000468082 |  | ERSA | M | 4090 | 1476142GZPCLNT100 | EA |  | 16MM,ZINC PLATED,1/4"DIA FIX HOLE,HALF | 16MM,ZINC PLATED,1/4"DIA FIX HOLE,HALF |  |  | STRAP,RETAINING:16MM,ZINC PLATED,1/4"DIA FIX HOLE,HALF |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 180A16 | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | CLI180A16 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | CLI180A16 | [8 empty] | Clipsal | 180A16 | CNW (MOUNT ISA) ELECT WHOLESALER | 180A16 | LAWRENCE & HANSON PTY. LTD. |  | CNW (TOWNSVILLE) ELECT SUPPLIES | [11 empty] | https://www.clipsal.com/products/detail?CatNo=180A16&itemno=180A16&tab-document-1=0 | [9 empty] | ENRICHED | 23153000 Holding and positioning and guiding systems and devices | FINISH:ZINC PLATED,1/4 IN DIA FIX HOLE |  | SADDLE | NO MODIFIER | TYPE | Half | SIZE | 16 DIAX46 LGX19 WDX18 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 | NM TAKEN BASED ON URL | 1103119 | 1103119 | 1476278 | AU_QM_000982200 |  | ERSA | M | 1600 | 1476278GZPCLNT100 | EA |  | 20MM THD,PVC | 20MM THD,PVC |  |  | NIPPLE,ELEC CONDUIT:20MM THD,PVC |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | CLI243/20 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1476278 | [10 empty] | Clipsal | 243/20-GY | CNW (TOWNSVILLE) ELECT SUPPLIES | 1476278 | LAWRENCE & HANSON PTY. LTD. | [13 empty] | https://www.clipsal.com/products/detail?CatNo=243/20&itemno=243/20-GY&tab-document-1=0 | [9 empty] | ENRICHED | 40173300 Pipe nipples | COLOUR:GREY,THREAD SIZE:20 MM |  | NIPPLE | PIPE | TYPE | electrical CONDUIT | NOMINAL SIZE |  | END CONNECTION |  | LENGTH | 30 mm | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 2053 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1103120 | 1103120 | 1476279 | AU_QM_000982206 |  | ERSA | M | 1600 | 1476279GZPCLNT100 | EA |  | 32MM;SCREWED;BLACK NYLON;HEX; | 32MM;SCREWED;BLACK NYLON;HEX; |  |  | LOCKNUT,ELEC CONDUIT: 32MM;SCREWED;BLACK NYLON;HEX; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 259/32BK | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | CLI259/32 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | CLI259/32 | [8 empty] | Clipsal | 259/32-BK | CNW (MOUNT ISA) ELECT WHOLESALER | 259/32BK | LAWRENCE & HANSON PTY. LTD. |  | CNW (TOWNSVILLE) ELECT SUPPLIES | [11 empty] | https://www.clipsal.com/products/detail?CatNo=259/32&itemno=259/32-BK&tab-document-1=0 | [9 empty] | ENRICHED | 31161716 Locknuts | COLOUR:BLACK |  | NUT | LOCK | TYPE | electrical CONDUIT,Hexagonal | LOCKING METHOD | SCREWED | THREAD SIZE | 32 MM | THREAD TYPE |  | WIDTH ACROSS FLAT |  | MATERIAL | Nylon | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1104696 | 1104696 |  |  |  | ERSA | M | 1600 | 1495380GZPCLNT100 | EA |  | BEND,CONDUIT;BEND LONG SWE,CLI247PH100EO | BEND,CONDUIT;BEND LONG SWE,CLI247PH100EO | [5 empty] | 1071835 @@ REXEL AUSTRALIA | CLI247PH100EO | [12 empty] | REXEL AUSTRALIA | CLI247PH100EO | [16 empty] | https://www.rexel.com.au/are/category/Cable-Management/Rigid-Conduit/Bend-for-installation-tubes/BEND-LONG-SWEEP-45-DEGREEPVC-100MM-CONDUIT-FITTING-ORANGE/CLI247PH100EO/p/10080098 | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow |  |  | BEND | CONDUIT | TYPE | LONG SWEEP | NOMINAL SIZE | 100 MM DIA | ANGLE | 45 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | Plastic | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1104697 | 1104697 |  |  |  | ERSA | M | 1600 | 1495378GZPCLNT100 | EA |  | BEND,CONDUIT;90DEG L,RGSWEE,CLI247P100EO | BEND,CONDUIT;90DEG L,RGSWEE,CLI247P100EO | [5 empty] | 1071835 @@ REXEL AUSTRALIA | CLI247P100EO | [12 empty] | REXEL AUSTRALIA | CLI247P100EO | [16 empty] | https://www.rexel.com.au/are/category/Cable-Management/Rigid-Conduit/Bend-for-installation-tubes/BEND-LONG-SWEEP-PVC-100MM-CONDUIT-FITTING-ORANGE/CLI247P100EO/p/10080094?showBackLink=false | [9 empty] | ENRICHED | 39131717 Electrical conduit elbow |  |  | BEND | CONDUIT | TYPE | Large Sweep | NOMINAL SIZE | 100 MM DIA | ANGLE | 90 DEG | LENGTH |  | END CONNECTION |  | MATERIAL | PVC | TEMPERATURE RATING |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1108018 | 1108018 | 1467592 | AU_QM_007127702 |  | ERSA | M | 5620 | 1467592GZPCLNT100 | EA |  | ABB WINDER ROPE SLEEP WHEEL; | ABB WINDER ROPE SLEEP WHEEL; | WHEEL: ABB WINDER ROPE SLEEP WHEEL; ABB 2.420M FRICTION WINDER; ENTERPRISE MINE M62 WINDER |  | WHEEL: ABB WINDER ROPE SLEEP WHEEL; |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1467592 | [14 empty] | ABB AUSTRALIA PTY LTD | 1467592 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25171900 Wheels and wheel trims | 2.420 M FRICTION WINDER,ENTERPRISE MINE M62 |  | WHEEL | NO MODIFIER | TYPE | WINDER ROPE SLEEP | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1108820 | 1108820 | 1457222 | AU_QM_001296870 |  | ERSA | M | 5100 | 1457222GZPCLNT100 | EA |  | COOLANT LEVEL SENSOR; | COOLANT LEVEL SENSOR; | SENSOR,LEVEL; COOLANT LEVEL SENSOR; |  | SENSOR,LEVEL; COOLANT LEVEL SENSOR; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55153490 | [13 empty] | 55153490 | NORMET ASIA PACIFIC PTY LTD | [15 empty] | https://www.zauba.com/import-/hs-code-9026/fp-FINLAND/ip-INDEL4/month-2015-04-01T00%3A00%3A00Z/unit-PCS-hs-code.html | [9 empty] | CLEANSED | 41111938 Level sensors or transmitters |  |  | SENSOR | LEVEL | TYPE | COOLANT | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1109197 | 1109197 | 1363969 | AU_QM_000164558 |  | ERSA | M | 4700 | 1363969GZPCLNT100 | EA |  | CLAY GUN TAPHOLE DRILL WHEEL ASSEMBLY; | CLAY GUN TAPHOLE DRILL WHEEL ASSEMBLY; | WHEEL ASSY,SUPPORT: CLAY GUN TAPHOLE DRILL WHEEL ASSEMBLY; DANIELI CORUS REF:2983021 ITEMS 2,6,7,8,10,11,12,13,15,19 AND 26; CU ISAS |  | WHEEL ASSY,SUPPORT: CLAY GUN TAPHOLE DRILL WHEEL ASSEMBLY; |  |  | 1068756 @@ QUINTA RADDISON LTD | 1363969 | [14 empty] | QUINTA RADDISON LTD | 1363969 | DANIELI CORUS | 2983021 | [12 empty] | URL NOT FOUND |  | 2,6,7,8,10,11,12,13,15,19 AND 26 | [7 empty] | CLEANSED | 25171900 Wheels and wheel trims | ASSEMBLY,CU ISAS |  | WHEEL | NO MODIFIER | TYPE | SUPPORT,CLAY GUN TAPHOLE DRILL | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1109459 | 1109459 | 1437676 | AU_QM_000958975 |  | ERSA | M | 5810 | 1437676GZPCLNT100 | EA |  | CENTRE STRAP;SCHENCK BANANA SCREEN; | CENTRE STRAP;SCHENCK BANANA SCREEN; | STRAP,RETAINING: CENTRE STRAP;SCHENCK BANANA SCREEN; PAINTED MIM SPEC:2005-WHITE; PBZN CRUSHING CIRCUIT VIBRATING SCREEN |  | STRAP,RETAINING:CENTRE STRAP;SCHENCK BANANA SCREEN; |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1437676 | [14 empty] | HEAVYMECH PTY LTD | 1437676 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31151900 Straps | FOR SCHENCK BANANA SCREEN |  | STRAP | NO MODIFIER | TYPE | RETAINING,CENTRE | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | CONNECTION TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1109557 | 1109557 | 1430958 | AU_QM_000682606 |  | ERSA | M | 1540 | 1430958GZPCLNT100 | EA |  | CAT TURBOCHARGER NUT; | CAT TURBOCHARGER NUT; | LOCKNUT: CAT TURBOCHARGER NUT; 3/8INCH UNC X 13/32INCH H;STEEL; CAT 3508 DIESEL ENGINE GRP |  | LOCKNUT:CAT TURBOCHARGER NUT; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1430958 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2N2766 | [10 empty] | Caterpillar | 2N-2766 | CNW (MOUNT ISA) ELECT WHOLESALER | 1430958 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/2N-2766 | [9 empty] | ENRICHED | 31161716 Locknuts | 3508 DIESEL ENGINE GROUP |  | NUT | LOCK | TYPE | TURBOCHARGER,CONE,Hexagonal Flange Head | LOCKING METHOD |  | THREAD SIZE | 3/8 IN-16 TPI | THREAD TYPE | UNC | WIDTH ACROSS FLAT |  | MATERIAL | STAINLESS STEEL 410 | MATERIAL SPECIFICATION |  | COATING/FINISH | SILVER FLASH PLATE + LUBRICANT TOPCOAT | HEIGHT | 13/32 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 | NM TAKEN BASED ON URL | 1110883 | 1110883 | 1425994 | AU_QM_000361586 |  | ERSA | M | 2500 | 1425994GZPCLNT100 | EA |  | CUT OFF;102 X 2.5 X 16MM;SPEC.FH38; | CUT OFF;102 X 2.5 X 16MM;SPEC.FH38; | WHEEL,ABRASIVE: CUT OFF;102 X 2.5 X 16MM;SPEC.FH38; GENERAL PURPOSE FERROUS METALS; |  | WHEEL,ABRASIVE: CUT OFF;102 X 2.5 X 16MM;SPEC.FH38; |  |  | 1068502 @@ ATOM SUPPLY | 92600041 | 1068652 @@ J BLACKWOOD & SONS | 226402 | 1068200 @@ J.BLACKWOOD & SON LIMITED | 226402 | 1068093 @@ BLACKWOODS & SONS | 226402 | 1068590 @@ ATOM SUPPLY MACKAY | 92600041 |  |  |  |  | ATOM SUPPLY | 92600041 | J.BLACKWOOD & SON LIMITED | 226402 | [14 empty] | https://www.atom.com.au/flat-cut-off-disc-100-x-2-5-x-16mm-92600041 | [9 empty] | enriched | 31191506 Abrasive discs | THICKNESS:2.5 MM,SIZE:16 MM,GENERAL PURPOSE FERROUS METALS,SPEC FH38 |  | DISC | ABRASIVE | TYPE | WHEEL,Flat CUT OFF | OUTSIDE DIAMETER | 100 MM | FACE WIDTH |  | ARBOR SIZE |  | INSIDE DIAMETER |  | MOUNTING TYPE |  | GRIT | 36 | ABRASIVE MATERIAL | Aluminium Oxide | BACKING MATERIAL |  | COLOR |  | SPEED RATING | 15300 RPM | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 | SUITABLE NM NOT FOUND | 1111044 | 1111044 | 1466723 | AU_QM_007126312 |  | ERSA | M | 1600 | 1466723GZPCLNT100 | EA |  | CRANE ISOLATION SECTION; | CRANE ISOLATION SECTION; | SECTION; CRANE ISOLATION SECTION; CONVERTER AISLE CRANE |  | SECTION;CRANE ISOLATION SECTION; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 081394-2 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 081394-2 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1111686 | 1111686 | 1398053 | AU_QM_000242149 |  | ERSA | M | 4200 | 1398053GZPCLNT100 | EA |  | ALALYSER CELL MEMBRANE;CHLORINATION | ALALYSER CELL MEMBRANE;CHLORINATION | MEMBRANE: ALALYSER CELL MEMBRANE;CHLORINATION PLANT; CHLORINE DOSING INSTALLATION |  | MEMBRANE: ALALYSER CELL MEMBRANE;CHLORINATION |  |  | 1069400 @@ SIEMENS LTD. | U95641 | [14 empty] | SIEMENS LTD. | U95641 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40161507 Filter membranes | CHLORINATION PLANT,CHLORINE DOSING INSTALLATION |  | MEMBRANE | NO MODIFIER | TYPE | ALALYSER CELL | MEMBRANE AREA |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1137045 | 1137045 | 1349495 | AU_QM_000126268 |  | ERSA | M | 2200 | 1349495GZPCLNT100 | EA |  | D250E/R2900 HYDRAULIC TANK DRAIN; | D250E/R2900 HYDRAULIC TANK DRAIN; | COCK,DRAIN: D250E/R2900 HYDRAULIC TANK DRAIN; 1238158 TANK GRP; CATERPILLAR D250E ARTICULATED TRUCK ELPHINSTONE R2900 LHD |  | COCK,DRAIN: D250E/R2900 HYDRAULIC TANK DRAIN; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8J8783 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1349495 | [10 empty] | Caterpillar | 8J-8783 | CNW (MOUNT ISA) ELECT WHOLESALER | 1349495 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/8J-8783 |  |  | ARTICULATED TRUCK,LHD | CATERPILLAR ELPHINSTONE | D250E/R2900 |  |  |  |  | ENRICHED | 40141600 Valves | 1238158 TANK GROUP |  | VALVE | DRAIN | TYPE | COCK,HYDRAULIC | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | BODY MATERIAL | PLASTIC | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1138916 | 1138916 | 1455212 | AU_QM_001247691 |  | ERSA | M | 1600 | 1455212GZPCLNT100 | EA |  | COUPLER;VDV KSKSC NICKEL COATED; | COUPLER;VDV KSKSC NICKEL COATED; | SPLICE,CONDUCTOR: COUPLER;VDV KSKSC NICKEL COATED; VDV LEAKY FEEDER SYSTEMS; |  | SPLICE,CONDUCTOR: COUPLER;VDV KSKSC NICKEL COATED; |  |  | 1068116 @@ MINE SITE TECHNOLOGIES PTY LTD | 20455 | [14 empty] | MINE SITE TECHNOLOGIES PTY LTD | 20455 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121449 Wire or cable compression splice | VDV LEAKY FEEDER SYSTEMS,KSKSC,COATED:NICKEL |  | SPLICE | WIRE | TYPE | CONDUCTOR,COUPLER | CONDUCTOR SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1139301 | 1139301 | 1447126 | AU_QM_001054063 |  | ERSA | M | 5910 | 1447126GZPCLNT100 | EA |  | BUSH AXEL BREATHER; | BUSH AXEL BREATHER; | FITTING: BUSH AXEL BREATHER; ELPHINSTONE AD55 |  | FITTING:BUSH AXEL BREATHER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1447126 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1979109 | [10 empty] | Caterpillar | 197-9109 | CNW (MOUNT ISA) ELECT WHOLESALER | 1447126 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/197-9109 |  |  |  | Caterpillar ELPHINSTONE | AD55 |  |  |  |  | ENRICHED | 40171700 Pipe adapters |  |  | ADAPTER | PIPE | TYPE | BUSH AXEL BREATHER,REDUCER,Straight | NOMINAL SIZE |  | END CONNECTION | NPTF | LENGTH | 18 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | Plated Steel | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1140205 | 1140205 | 1364519 | AU_QM_000165849 |  | ERSA | M | 5810 | 1364519GZPCLNT100 | EA |  | BALL MILL SPIDER MOTOR HUB; PILOT BORE; | BALL MILL SPIDER MOTOR HUB; PILOT BORE; | HUB,BODY: BALL MILL SPIDER MOTOR HUB; PILOT BORE; EATON 46VC1200 |  | HUB,BODY: BALL MILL SPIDER MOTOR HUB; PILOT BORE; |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | 1364519 | [12 empty] | EATON | 46VC1200 | APPLIED INDUSTRIAL TECHNOLOGIES | 1364519 | [14 empty] | https://www.eaton.com/ecm/groups/public/@pub/@eaton/@airflex/documents/content/ct_125867.pdf | [9 empty] | CLEANSED | 26111534 Transmission hubs |  |  | HUB | NO MODIFIER | TYPE | BALL MILL SPIDER MOTOR,BODY,PILOT BORE | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1140450 | 1140450 | 1438685 | AU_QM_000973321 |  | ERSA | M | 4100 | 1438685GZPCLNT100 | EA |  | CLEAR;PLASTIC;30.5MM T RANGE; | CLEAR;PLASTIC;30.5MM T RANGE; | LENS,INDICATOR LIGHT: CLEAR;PLASTIC;30.5MM T RANGE; |  | LENS,INDICATOR LIGHT: CLEAR;PLASTIC;30.5MM T RANGE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | E34V0 | [12 empty] | EATON | E34V0 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.eaton.com/us/en-us/skuPage.E34V0.html | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | 30.5 MM T RANGE |  | LENS | PUSHBUTTON | TYPE | INDICATOR LIGHT | COLOUR | CLEAR | SIZE | 5/64 LGX4 WDX5 HT IN | MATERIAL | Plastic | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1151456 | 1151456 | 1474755 | AU_QM_000165350 |  | ERSA | M | 1600 | 1474755GZPCLNT100 | EA |  | CABLE LEAD; CONNECTION TECHNOLOGY; SOCKE | CABLE LEAD; CONNECTION TECHNOLOGY; SOCKE |  |  | CABLE ASSY: CABLE LEAD; CONNECTION TECHNOLOGY; SOCKE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1474755 | [10 empty] | CONNECTION TECHNOLOGY |  |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1474755 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121600 Electrical cable and accessories | ASSEMBLY |  | CABLE | NO MODIFIER | TYPE | LEAD,SOCKET | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-02 | 2023-11-09 |  | 1205938 | 1205938 |  |  |  | ERSA | M | 4090 | 89532MRM | EA |  | COCK,PLUG:3 WAY STOPCOCK;DISPOSABLE UNIT | COCK,PLUG:3 WAY STOPCOCK;DISPOSABLE UNIT | COCK,PLUG:3 WAY STOPCOCK;DISPOSABLE UNIT; |  |  |  |  | 1079214 @@ ST JOHN AMBULANCE | 6360000 | [14 empty] | ST JOHN AMBULANCE | 6360000 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | DISPOSABLE UNIT |  | PLUG | NO MODIFIER | TYPE | 3 WAY STOPCOCK | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed