## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1218234 | 1218234 |  |  |  | ERSA | M | 2920 | 959577MRM | PAC |  | AIR,MEDICAL:CODE 470;SIZE MAN15(QUAD)BRE | AIR,MEDICAL:CODE 470;SIZE MAN15(QUAD)BRE | AIR,MEDICAL:CODE 470;SIZE MAN15(QUAD)BREATHING AIR;COMPRISES:15 SIZE G(7.0M3)CYL;MANIFOLDED<(>&<)> PALLETISED;COLOUR CODE-GREEN GREY BODYBLACK/WHITE QUADRANTS ON SHOULDER; | [46 empty] | CLEANSED | 42272223 Breathing apparatus accessories or supplies | CODE 470,SIZE MAN15(QUAD),G(7.0M3)CYL,MANIFOLDED,PALLETISED,COLOUR CODE:GREEN GREY BODY,BLACK/WHITE QUADRANTS ON SHOULDER |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | BREATHING AIR,COMPRISES | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1141723 | 1141723 | 1421078 | AU_QM_000267271 |  | ERSA | M | 5915 | 1421078GZPCLNT100 | EA |  | AIRBAG;5 KG CHARGES | AIRBAG;5 KG CHARGES | AIRBAG;ADDITIONAL FEATURES EN:5 KG CHARGES,MNFR:01)PARTS,PTNO:01)AIRBAGS5 |  | AIRBAG;5 KG CHARGESAIRBAG;5 KG CHARGES,AIRBAGS5 | [15 empty] | AIRBAGS5 | [28 empty] | CLEANSED | 25172101 Airbags | 5 KG CHARGES |  | AIRBAG | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1111468 | 1111468 | 1409673 | AU_QM_000254891 |  | ERSA | M | 5915 | 1409673GZPCLNT100 | EA |  | AIRBAG;AIRBAG | AIRBAG;AIRBAG | AIRBAG;MNFR: ,PTNO:AIRBAG |  | AIRBAG;AIRBAGAIRBAG;AIRBAG | [15 empty] | AIRBAG | [28 empty] | CLEANSED | 25172101 Airbags |  |  | AIRBAG | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1051977 | 1051977 |  |  |  | ERSA | M | 2920 | 1578830GZPCLNT100 | EA |  | BLANKET;THRM,FAC EMERGENCY | MANTA; | BLANKET;MATERIAL:THERMAL,ADDITIONAL FEATURES EN:FAC EMERGENCY | MANTA; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 856760 | [12 empty] | ALLIANCE SAFETY EQUIPMENT P/L | 856760 | [16 empty] | https://alliancesafety.com.au/product/emergency-thermal-blanket/856760?search=856760 | https://cj.officechoice.com.au/kitchen-cleaning-safety/first-aid/trafalgar-thermal-blanket-fac-emergency-thermal-blanket.html | [8 empty] | ENRICHED | 52121508 Blankets |  |  | BLANKET | NO MODIFIER | TYPE | EMERGENCY THERMAL | SIZE | 185X129 CM | MATERIAL | POLYESTER FILM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1054540 | 1054540 |  |  |  | ERSA | M | 4090 | 1584448GZPCLNT100 | EA |  | BOAT;BUG,LG 2500 X WD 1400 MM,ALUMINIUM | BOTE;,ALUMINIO | BOAT;TYPE:BUG,DIMENSIONS:LG 2500 X WD 1400 MM,HULL MATERIAL:ALUMINIUM,MAX WEIGHT:45 KG | BOTE;MATERIAL CASCO:ALUMINIO |  |  |  | 1068256 @@ TOOL 'N' TACKLE | BUGBOAT | [10 empty] | TOOL 'N' TACKLE | [29 empty] | CLEANSED | 25110000 Marine transport |  |  | BOAT | NO MODIFIER | TYPE | BUG | DIMENSIONS | 2500 LGX1400 WD MM | HULL MATERIAL | ALUMINIUM | MAX WEIGHT | 45 KG | KEEL |  | SEATING CONFIGURATION |  | PROPULTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1056623 | 1056623 |  |  |  | ERSA | M | 1000 | 1614060GZPCLNT100 | EA |  | BOAT;RECTANGLE,2.5 M,POLY,25 KG | BOTE; | BOAT;TYPE:RECTANGLE,DIMENSIONS:2.5 M,HULL MATERIAL:POLY,MAX WEIGHT:25 KG,ADDITIONAL FEATURES EN:2.5 meter poly boat with 2 oars and 2 life jackets | BOTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | MINING | [10 empty] | MOUNT ISA MINING SUPPLIES P/L | [29 empty] | CLEANSED | 25110000 Marine transport | C/W 2 OARS AND 2 LIFE JACKETS |  | BOAT | NO MODIFIER | TYPE | RECTANGLE | DIMENSIONS | 2.5 M | HULL MATERIAL | POLY | MAX WEIGHT | 25 KG | KEEL |  | SEATING CONFIGURATION |  | PROPULTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1059030 | 1059030 |  |  |  | ERSA | M | 4020 | 1588829GZPCLNT100 | EA |  | CHLORINATOR;K-CHLOR DIGITAL,KAWANA | CLORADOR; | CHLORINATOR;TYPE:K-CHLOR DIGITAL,ADDITIONAL FEATURES EN:SALTWATER GOLD SERIES 25GR,KAWANA | CLORADOR; |  |  |  | 1068155 @@ REECE PTY LTD | 1545792 | [10 empty] | REECE PTY LTD | 1545792 |  |  |  |  | KAWANA | [23 empty] | CLEANSED | 47101500 Water treatment and supply equipment | SALT WATER GOLD SERIES 25 GR |  | CHLORINATOR | NO MODIFIER | TYPE | K-CHLOR DIGITAL | VOLTAGE RATING |  | PRESSURE RATING |  | DIAPHRAGM MATERIAL |  | BALL MATERIAL |  | SIZE |  | SUCTION LIFT |  | TURNDOWN RATIO |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov | SOURCE URL NOT OPENING | 1059224 | 1059224 |  |  |  | ERSA | M | 2920 | 1609326GZPCLNT100 | EA |  | BLANKET,FIR;GLASS FIBRE,AS/NZS 3504 | MANTA IGNI; | BLANKET,FIRE;MATERIAL:GLASS FIBRE,CERTIFICATION/STANDARD:AS/NZS 3504,ADDITIONAL FEATURES EN:1.2 X 1.8M,MODEL NUMBER:FP-FBKTL,FOR ERBS | MANTA IGNIFUGA; |  |  |  | 1068230 @@ BUNNINGS WAREHOUSE MT ISA | 4211479 | [12 empty] | BUNNINGS WAREHOUSE MT ISA | 4211479 | [16 empty] | https://www.bunnings.com.au/firepro-1-2-x-1-8m-fire-blanket_p4211479 | [9 empty] | CLEANSED | 46191604 Fire blankets | MODEL NUMBER:FP-FBKTL,FOR ERBS |  | BLANKET | FIRE | TYPE |  | TEMPERATURE RATING |  | WIDTH | 1.2 M | LENGTH | 1.8 M | THICKNESS |  | MATERIAL | GLASS FIBRE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3504 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1061475 | 1061475 |  |  |  | ERSA | M | 4090 | 1614755GZPCLNT100 | EA |  | CLOCK;DGTL,LCD,HRS/MINS,PN:CRISTALYS 14 | RELOJ;LCD | CLOCK;TYPE:DIGITAL,DISPLAY TYPE:LCD,TIME FORMAT:HRS/MINS,ADDITIONAL FEATURES EN:PN:CRISTALYS 14,CHARACTER HEIGHT:14 CM,DIMENSIONS: 50.4X27 CM SPECIALITY ITEM FOR TANK HOUSE; ZERO ALUMINIUM AREA; NO ALUMINIUM COMPONENTS. | RELOJ;TIPO PANTALLA:LCD |  |  |  | 1068238 @@ SAFE OPTION SOLUTIONS | CRISTALYS - 14 | [10 empty] | SAFE OPTION SOLUTIONS |  | BODET | CRISTALYS - 14 | [16 empty] | https://static.bodet-time.com/images/stories/Pdfs/EN/Technical-features/Cristalys/643521-Digital-clock-Cristalys-14.pdf | https://www.advance-net.com.au/product/cristalys-7-14-lcd-digital-clocks/ | [8 empty] | ENRICHED | 54111600 Clocks | CHARACTER HEIGHT:14 CM,SPECIALITY ITEM FOR TANK HOUSE,ZERO ALUMINIUM AREA,NO ALUMINIUM COMPONENTS |  | CLOCK | NO MODIFIER | TYPE | DIGITAL | DISPLAY TYPE | LCD | TIME FORMAT | HRS/MINS | BATTERY DETAILS |  | MATERIAL | ABS PLASTIC CASING | SIZE | 50.4X27 CM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1062609 | 1062609 | 1461818 | AU_QM_002723679 |  | ERSA | M | 2200 | 1461818GZPCLNT100 | EA |  | C/W NUT;250MM A-TYPE VALVE; | C/W NUT;250MM A-TYPE VALVE; | SPINDLE,VALVE: C/W NUT;250MM A-TYPE VALVE; |  | SPINDLE,VALVE:C/W NUT;250MM A-TYPE VALVE; |  |  | 1068289 @@ INFRABUILD STEEL CENTRE | 1461818 | [10 empty] | INFRABUILD STEEL CENTRE | 1461818 | [28 empty] | CLEANSED | 40141616 Valve parts or accessories | FOR 250 MMA-TYPE VALVE,C/W NUT |  | SPINDLE | NO MODIFIER | TYPE | VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1062610 | 1062610 | 1461816 | AU_QM_002723613 |  | ERSA | M | 2200 | 1461816GZPCLNT100 | EA |  | C/W NUT;SAUNDERS 250NB KB-TYPE STRAIGHT | C/W NUT;SAUNDERS 250NB KB-TYPE STRAIGHT | SPINDLE,VALVE: C/W NUT;SAUNDERS 250NB KB-TYPE STRAIGHT THROUGH FULL BORE VALVE; |  | SPINDLE,VALVE:C/W NUT;SAUNDERS 250NB KB-TYPE STRAIGHT |  |  | 1068289 @@ INFRABUILD STEEL CENTRE | VSKB-SPIND-250 | [10 empty] | INFRABUILD STEEL CENTRE | VSKB-SPIND-250 | [28 empty] | CLEANSED | 40141616 Valve parts or accessories | FOR SAUNDERS 250 NB KB-TYPE STRAIGHT VALVE,C/W NUT |  | SPINDLE | NO MODIFIER | TYPE | VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1063602 | 1063602 | 1428291 | AU_QM_000491944 |  | ERSA | M | 4900 | 1428291GZPCLNT100 | EA |  | APM RIGHT CONVEYOR CHAIN WHEEL; | APM RIGHT CONVEYOR CHAIN WHEEL; | SPROCKET WHEEL: APM RIGHT CONVEYOR CHAIN WHEEL; SPACING CONVEYOR; ANODE PREPARATION MACHINE; |  | SPROCKET WHEEL: APM RIGHT CONVEYOR CHAIN WHEEL; |  |  | 1069346 @@ TSUBAKI AUSTRALIA PTY LTD | 818134-3 | [10 empty] | TSUBAKI AUSTRALIA PTY LTD | 818134-3 | [28 empty] | CLEANSED | 31171901 Roller chain sprockets | FOR APM RIGHT CONVEYOR CHAIN |  | WHEEL | NO MODIFIER | TYPE | SPROCKET | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1063620 | 1063620 | 1440220 | AU_QM_000983212 |  | ERSA | M | 4900 | 1440220GZPCLNT100 | EA |  | APM SPACING CONVEYOR; | APM SPACING CONVEYOR; | SPROCKET WHEEL: APM SPACING CONVEYOR; ANODE PREPARATION MACHINE; |  | SPROCKET WHEEL: APM SPACING CONVEYOR; |  |  | 1069346 @@ TSUBAKI AUSTRALIA PTY LTD | 818121-3 | [10 empty] | TSUBAKI AUSTRALIA PTY LTD | 818121-3 | [28 empty] | CLEANSED | 31171901 Roller chain sprockets | FOR APM SPACING CONVEYOR |  | WHEEL | NO MODIFIER | TYPE | SPROCKET | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1063621 | 1063621 | 1440209 | AU_QM_000983197 |  | ERSA | M | 4900 | 1440209GZPCLNT100 | EA |  | APM ANODE INFEED CONVEYOR; | APM ANODE INFEED CONVEYOR; | SPROCKET WHEEL: APM ANODE INFEED CONVEYOR; ANODE PREPARATION MACHINE; |  | SPROCKET WHEEL: APM ANODE INFEED CONVEYOR; |  |  | 1069346 @@ TSUBAKI AUSTRALIA PTY LTD | 818182-2 | [10 empty] | TSUBAKI AUSTRALIA PTY LTD | 818182-2 | [28 empty] | CLEANSED | 31171901 Roller chain sprockets | FOR APM ANODE INFEED CONVEYOR |  | WHEEL | NO MODIFIER | TYPE | SPROCKET | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1063725 | 1063725 | 1455730 | AU_QM_001263052 |  | ERSA | M | 3300 | 1455730GZPCLNT100 | EA |  | BUCKET POINT;HEAVY DUTY ABRASION; | BUCKET POINT;HEAVY DUTY ABRASION; | TOOTH,SURFACE RIPPING: BUCKET POINT;HEAVY DUTY ABRASION; KOMATSU PC1250 BUCKET; |  | TOOTH,SURFACE RIPPING:BUCKET POINT;HEAVY DUTY ABRASION; |  |  | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | 70SV2SD | [12 empty] | ESCO AUSTRALIA HOLDINGS PTY LTD | 70SV2SD | [16 empty] | https://bateyandsanders.com/70sv2sd/ |  |  | BUCKET | KOMATSU | PC1250 |  |  |  |  | CLEANSED | 22101700 Heavy equipment components | BUCKET POINT,HEAVY DUTY ABRASION |  | TOOTH | RIPPER | TYPE | SURFACE | MACHINE WEIGHT |  | SHANK THICKNESS |  | MOUNTING TYPE |  | APPROXIMATE WORK DEPTH |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1063758 | 1063758 | 1359452 | AU_QM_000155937 |  | ERSA | M | 3300 | 1359452GZPCLNT100 | EA |  | D11 RIPPER TIP;CENTRELINE;SHORT LGTH; | D11 RIPPER TIP;CENTRELINE;SHORT LGTH; | TOOTH,SURFACE RIPPING: D11 RIPPER TIP;CENTRELINE;SHORT LGTH; CATERPILLAR D11SS DOZER |  | TOOTH,SURFACE RIPPING:D11 RIPPER TIP;CENTRELINE;SHORT LGTH;C |  |  | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | 4278893 | [10 empty] | ESCO AUSTRALIA HOLDINGS PTY LTD | 4278893 | [21 empty] | DOZER | CATERPILLAR | D11SS |  |  |  |  | CLEANSED | 22101700 Heavy equipment components | D11 RIPPER TIP,CENTRELINE,SHORT LENGTH |  | TOOTH | RIPPER | TYPE | SURFACE | MACHINE WEIGHT |  | SHANK THICKNESS |  | MOUNTING TYPE |  | APPROXIMATE WORK DEPTH |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1064658 | 1064658 | 1355212 | AU_QM_000145076 |  | ERSA | M | 1600 | 1355212GZPCLNT100 | EA |  | BENDER INSULATION MONITOR;A-ISOMETER;FOR | BENDER INSULATION MONITOR;A-ISOMETER;FOR | MONITOR: BENDER INSULATION MONITOR;A-ISOMETER;FOR GFM L72 WINDER CONVERTER |  | MONITOR:BENDER INSULATION MONITOR;A-ISOMETER;FOR |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1355212 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1355212 | [21 empty] | WINDER CONVERTER | GFM | L72 |  |  |  |  | CLEANSED | 41111900 Indicating and recording instruments | A-ISOMETER |  | MONITOR | NO MODIFIER | TYPE | BENDER INSULATION | MEASURING RANGE |  | ACCURACY |  | DISPLAY TYPE |  | DISPLAY SIZE |  | ELECTRICAL RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1065069 | 1065069 | 1450563 | AU_QM_001137090 |  | ERSA | M | 5920 | 1450563GZPCLNT100 | EA |  | BENZLER HELICAL WORM;212:1 RATIO;C/W | BENZLER HELICAL WORM;212:1 RATIO;C/W | GEARCASE-MOTOR: BENZLER HELICAL WORM;212:1 RATIO;C/W TORQUE ARM AND TECO 6P,D132S-38;440V,3PH, 50HZ;TEFC BRAKE MOTOR,IP56; HMP TRIPP |  | GEARCASE-MOTOR: BENZLER HELICAL WORM;212:1 RATIO;C/W |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | C1021212GEF5+D132S-38-6P | [10 empty] | APPLIED INDUSTRIAL TECHNOLOGIES | C1021212GEF5+D132S-38-6P | [28 empty] | CLEANSED | 20101617 Gearmotors | BENZLER HELICAL WORM,D132S-38,TEFC BRAKE MOTOR,HMP TRIPP,C/W TORQUE ARM AND TECO 6P |  | MOTOR | GEAR | TYPE |  | POWER RATING |  | OUTPUT SPEED RATING |  | VOLTAGE RATING | 440 V | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO | 212:1 | SERVICE FACTOR |  | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP56 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1066547 | 1066547 | 1356400 | AU_QM_000147515 |  | ERSA | M | 1600 | 1356400GZPCLNT100 | EA |  | CONSOLE - V/BANK PC1500, 2700 3800 | CONSOLE - V/BANK PC1500, 2700 3800 | CONSOLE: CONSOLE - V/BANK PC1500, 2700 AND 3800 |  | CONSOLE:CONSOLE - V/BANK PC1500, 2700 & 3800 |  |  | 1068253 @@ PALFINGER AUSTRALIA | 1356400 | [14 empty] | PALFINGER AUSTRALIA | 1356400 | [102 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1067070 | 1067070 | 1355413 | AU_QM_000145395 |  | ERSA | M | 5920 | 1355413GZPCLNT100 | EA |  | DUETZ ENGINE TDC2013 LO4;TURBOCHARGER; | DUETZ ENGINE TDC2013 LO4;TURBOCHARGER; | TURBOCHARGER,ENGINE: DUETZ ENGINE TDC2013 LO4;TURBOCHARGER; |  | TURBOCHARGER,ENGINE:DUETZ ENGINE TDC2013 LO4;TURBOCHARGER; |  |  | 1068812 @@ TURBO SUPPLIES & SERVICE PTY LTD | 1355413 | [10 empty] | TURBO SUPPLIES & SERVICE PTY LTD | 1355413 | [21 empty] | ENGINE | DUETZ | TDC2013 LO4 |  |  |  |  | CLEANSED | 26101720 Turbocharger |  |  | TURBOCHARGER | NO MODIFIER | TYPE | ENGINE | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1067490 | 1067490 | 1427709 | AU_QM_000475400 |  | ERSA | M | 5920 | 1427709GZPCLNT100 | EA |  | 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; | 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; | GEARCASE-MOTOR: 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; HELICAL BEVEL GEARED BRAKE MOTOR ASSY; C/W HAND RELEASE;BRAKE VOLTAGE = BRAKE TORQUE = |  | GEARCASE-MOTOR: 23.08 TO 1;11KW @ 62RPM;B3A+B MTG; |  |  | 1068232 @@ SEW EURODRIVE PTY LTD | 1427709 | [10 empty] | SEW EURODRIVE PTY LTD | 1427709 | [28 empty] | CLEANSED | 20101617 Gearmotors | 23.08 TO 1,SPEED:62 RPM,B3A+B MOUNTING,HELICAL BEVEL GEARED BRAKE MOTOR ASSEMBLY,C/W HAND RELEASE,BRAKE VOLTAGE EQUALS BRAKE TORQUE |  | MOTOR | GEAR | TYPE |  | POWER RATING | 11 KW | OUTPUT SPEED RATING |  | VOLTAGE RATING |  | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO |  | SERVICE FACTOR |  | CURRENT RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1068394 | 1068394 | 1452662 | AU_QM_001192640 |  | ERSA | M | 4000 | 1452662GZPCLNT100 | EA |  | CRANE ROPE GUIDE;DH1000 HOIST; PBSM SP | CRANE ROPE GUIDE;DH1000 HOIST; PBSM SP | GUIDE,CABLE PULL: CRANE ROPE GUIDE;DH1000 HOIST; PBSM SP 15T MOORE GANTRY CRANE |  | GUIDE,CABLE PULL: CRANE ROPE GUIDE;DH1000 HOIST;PBSM SP |  |  | 1070075 @@ JASON ALLEY CRANES & ELECTRICAL | 82480233 | [10 empty] | JASON ALLEY CRANES & ELECTRICAL |  | DEMAG | 82480233 | [16 empty] | https://store.konecranes.com/dcu/en/ROPE-GUIDE-LEFT/p?p=v2sRNJQwi0m9O4cOd17ZNA%3D%3D_82480233 | https://heben-sichern-shop.de/demag-rope-guide-dh1000 |  | HOIST |  | DH1000 |  |  |  |  | CLEANSED | 26121630 Cable accessories | PBSM SP 15T MOORE GANTRY CRANE |  | GUIDE | CABLE | TYPE | PULL,CRANE ROPE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1069394 | 1069394 | 1440048 | AU_QM_000983014 |  | ERSA | M | 5100 | 1440048GZPCLNT100 | EA |  | CONTROL STATION,PENDT;REMOTE SWITCHING | CONTROL STATION,PENDT;REMOTE SWITCHING | CONTROL STATION,PENDANT;TYPE:REMOTE SWITCHING,MNFR:01)CNW,PTNO:01)NHPNPA8 |  | CONTROL,REMOTE SWITCHING: PENDANT SWITCH;CSM |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | COB84 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440048 | [8 empty] | CNW | NHPNPA8 |  |  | LAWRENCE & HANSON PTY. LTD. | COB84 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440048 | [22 empty] | CLEANSED | 39121561 Pendant control station | CSM |  | CONTROL STATION | PENDANT | TYPE | REMOTE SWITCHING | VOLTAGE RATING |  | CONTACT CONFIGURATION |  | NUMBER OF OPERATORS |  | CURRENT RATING |  | MATERIAL |  | ENCLOSURE |  | TERMINAL TYPE |  | SIZE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1071291 | 1071291 |  |  |  | ERSA | M | 5955 | 1514657GZPCLNT100 | EA | 3000438 | ATOMIZER;NRMT,55156580 | ATOMIZER;NRMT,55156580 | ATOMIZER;MNFR:NORMET,PTNO:55156580 |  |  | NORMET | 55156580 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55156580 | [10 empty] | NORMET | 55156580 |  |  | NORMET ASIA PACIFIC PTY LTD | [25 empty] | CLEANSED | 40141742 Atomizers |  |  | ATOMIZER | NO MODIFIER | TYPE |  | NOZZLE SIZE |  | PRESSURE RATING |  | AIR CONSUMPTION |  | THREAD SIZE |  | MATERIAL |  | SPRAY PATTERN |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov | Processed as per websource,conflict wrt input | 1072798 | 1072798 |  |  |  | ERSA | M | 3730 | 1616570GZPCLNT100 | EA | 3000003 | CANISTER;CAT,308-0857,GP | GARRAFA;CAT,308-0857 | CANISTER;MNFR:CATERPILLAR,PTNO:308-0857,ADDITIONAL FEATURES EN:GP | GARRAFA;MNFR:CATERPILLAR,PTNO:308-0857 |  | CATERPILLAR | 308-0857 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 308-0857 | [12 empty] | CATERPILLAR | 308-0857 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/308-0857 | [9 empty] | ENRICHED | 40161530 Cabin air filter |  |  | FILTER | AIR | TYPE | CABIN | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1084602 | 1084602 |  |  |  | ERSA | M | 1600 | 1581609GZPCLNT100 | EA | 3000422 | CALIBRATOR;CNW,GVS-AT-2030,PORTABLE VIB | CALIBRADOR;CNW,GVS-AT-2030 | CALIBRATOR;MNFR:CNW,PTNO:GVS-AT-2030,ADDITIONAL FEATURES EN:PORTABLE VIB | CALIBRADOR;MNFR:CNW,PTNO:GVS-AT-2030 |  | CNW | GVS-AT-2030 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | GVS-AT-2030 | [10 empty] | CNW | GVS-AT-2030 | AGATE TECNOLOGY | AT-2030 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.agatetechnology.com/at-2030-shaker-table/ | https://gvsensors.com.au/proud-distributor-for-agate-technologies-portable-vibration-shakers-and-calibrators/ | [8 empty] | ENRICHED | 41113647 Frequency calibrator or simulator |  | C/W SHAKER TABLE | CALIBRATOR | NO MODIFIER | TYPE | PORTABLE VIBRATION | MEASUREMENT TYPE |  | MEASURING RANGE | 5 TO 10000 HZ | ACCURACY |  | DISPLAY TYPE | LCD | RESOLUTION |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/IEC17025:2017 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1086934 | 1086934 |  |  |  | ERSA | M | 1600 | 1578787GZPCLNT100 | EA | 3000422 | CALIBRATOR;CNW,MAJMT990,PROCESS CURRENT | CALIBRADOR;CNW,MAJMT990 | CALIBRATOR;MNFR:CNW,PTNO:MAJMT990,ADDITIONAL FEATURES EN:PROCESS CURRENT | CALIBRADOR;MNFR:CNW,PTNO:MAJMT990 |  | CNW | MAJMT990 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAJMT990 | [10 empty] | CNW | MAJMT990 | MAJOR TECH | MT990 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.major-tech.com/product/digital-process-current-calibrator/ | https://haymans.mmem.com.au/beaudesert/majmt990 | [8 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments |  |  | CALIBRATOR | NO MODIFIER | TYPE | DIGITAL PROCESS CURRENT | MEASUREMENT TYPE |  | MEASURING RANGE | '-199.9 TO +199.9 MV DCV | ACCURACY |  | DISPLAY TYPE | LCD | RESOLUTION |  | VOLTAGE RATING | 9 V | CURRENT RATING | 0 TO 24 MA | SIZE | 150X70X40 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1088940 | 1088940 | 1387752 | AU_QM_000228939 |  | ERSA | M | 5955 | 1387752GZPCLNT100 | EA | 3000438 | AXLE;NRMT,57025250 | ARBOL; | ARBOL;MNFR:NORMET,PTNO:57025250 | ARBOL;,MNFR:NORMET,PTNO:57025250 | AXLE;NRMT,57025250AXLE;NOR,57025250 | NORMET | 57025250 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57025250 | [12 empty] | NORMET | 57025250 | [16 empty] | https://supply.parts/request/view?id=235512 | [9 empty] | CLEANSED | 31171500 Bearings |  |  | BEARING | NO MODIFIER | TYPE | AXLE SUPPORT | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1088941 | 1088941 | 1387750 | AU_QM_000228937 |  | ERSA | M | 5955 | 1387750GZPCLNT100 | EA | 3000438 | AXLE;NRMT,57025860 | ARBOL; | ARBOL;MNFR:NORMET,PTNO:57025860 | ARBOL;,MNFR:NORMET,PTNO:57025860 | AXLE;NRMT,57025860AXLE;NOR,57025860 | NORMET | 57025860 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57025860 | [10 empty] | NORMET | 57025860 | [28 empty] | CLEANSED | 26111512 Axles |  |  | AXLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1096907 | 1096907 | 1390413 | AU_QM_000232051 |  | ERSA | M | 5620 | 1390413GZPCLNT100 | EA | 3000438 | BAR;NRMT,45442480 | BARRA; | BARRA;MNFR:NORMET,PTNO:45442480 | BARRA;,MNFR:NORMET,PTNO:45442480 | BAR;NRMT,45442480BAR;NOR,45442480 | NORMET | 45442480 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 45442480 | [10 empty] | NORMET | 45442480 | [18 empty] | https://pdfcoffee.com/spare-part-manual-normet-utilift-6605-b-pdf-free.html | [9 empty] | CLEANSED | 30260000 Structural materials |  |  | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1103081 | 1103081 | 1475319 | AU_QM_000195401 |  | ERSA | M | 1500 | 1475319GZPCLNT100 | EA |  | DUO RADIAL PLASMA VIEW;PERISCOPE WINDOW; | DUO RADIAL PLASMA VIEW;PERISCOPE WINDOW; |  |  | WINDOW,OBSERVATION: DUO RADIAL PLASMA VIEW;PERISCOPE WINDOW; |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | 8423-120-51591 | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | 8423 120 51591 | [16 empty] | https://www.chromatographyspares.com/component/virtuemart/icp-parts/torches-icp-parts/thermofisher-torches-icp-parts/quartz-torch,-icap-6000-radial-33-34-35-36-37-detail?Itemid=0 | [9 empty] | CLEANSED | 30171600 Windows | FOR DUO RADIAL PLASMA VIEW,PERISCOPE WINDOW |  | WINDOW | NO MODIFIER | TYPE | OBSERVATION | SIZE |  | MATERIAL |  | FRAME MATERIAL |  | FRAME SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1107457 | 1107457 | 1428742 | AU_QM_000533323 |  | ERSA | M | 1540 | 1428742GZPCLNT100 | EA |  | ADJUSTER PLATE | ADJUSTER PLATE | WEDGE,METAL: ADJUSTER PLATE |  | WEDGE,METAL:ADJUSTER PLATE |  |  | 1069358 @@ HAULMARK TRAILERS (AUSTRALIA) | 3123-1 | [12 empty] | HAULMARK TRAILERS (AUSTRALIA) | 3123-1 | [16 empty] | https://www.jittruckparts.com/SAF-Holland-Wedge-Adjustment-XD-3123-1 | [9 empty] | CLEANSED | 27112504 Wedges |  |  | WEDGE | NO MODIFIER | TYPE | ADJUSTER PLATE | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1108111 | 1108111 | 1393560 | AU_QM_000237024 |  | ERSA | M | 5915 | 1393560GZPCLNT100 | EA |  | AN42A AXLE BRAKE FACING; | AN42A AXLE BRAKE FACING; | LINING,FRICTION: AN42A AXLE BRAKE FACING; JOHN DEERE AN42A RIGID AXLE |  | LINING,FRICTION:AN42A AXLE BRAKE FACING; |  |  | 1069852 @@ DRIVETRAIN AUSTRALIA | R26969 | [10 empty] | DRIVETRAIN AUSTRALIA | R26969 | [21 empty] | AXLE BRAKE FACING |  | AN42A |  |  |  |  | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | LINING | NO MODIFIER | TYPE | FRICTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1109288 | 1109288 | 1445828 | AU_QM_001018175 |  | ERSA | M | 1600 | 1445828GZPCLNT100 | EA |  | CHARGE CAR CONDUCTOR BAR;TYPE 813; | CHARGE CAR CONDUCTOR BAR;TYPE 813; | BUS,CONDUCTOR: CHARGE CAR CONDUCTOR BAR;TYPE 813; 500A;HI-TEMP;PH; PB SMELTER CHARGE CAR RAIL LINE |  | BUS,CONDUCTOR:CHARGE CAR CONDUCTOR BAR;TYPE 813; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1445828 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1445828 | [21 empty] | PB SMELTER CHARGE CAR RAIL LINE | [6 empty] | CLEANSED | 39121117 Buss bar | HIGH TEMPERATURE,PH,FOR CHARGE CAR,TYPE 813 |  | BUS BAR | NO MODIFIER | TYPE | CONDUCTOR | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 500 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1109470 | 1109470 | 1437499 | AU_QM_000952369 |  | ERSA | M | 5935 | 1437499GZPCLNT100 | EA |  | DEMAG CROSS TRAVEL/CREEP BRAKE LINING. | DEMAG CROSS TRAVEL/CREEP BRAKE LINING. | LINING,FRICTION: DEMAG CROSS TRAVEL/CREEP BRAKE LINING. |  | LINING,FRICTION:DEMAG CROSS TRAVEL/CREEP BRAKE LINING. |  |  | 1069356 @@ MHE-DEMAG AUSTRALIA PTY LTD | 1437499 | [10 empty] | MHE-DEMAG AUSTRALIA PTY LTD | 1437499 | [21 empty] | CROSS TRAVEL/CREEP BRAKE | DEMAG | [5 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | LINING | NO MODIFIER | TYPE | FRICTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1109579 | 1109579 |  |  |  | ERSA | M | 5920 | 1429810GZPCLNT100 | EA |  | CAT 3412 FUEL TANK FILTER ELEMENT; | CAT 3412 FUEL TANK FILTER ELEMENT; | STRAINER ELEMENT,SEDIMENT: CAT 3412 FUEL TANK FILTER ELEMENT; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4B5949 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 4B-5949 | [16 empty] | https://parts.cat.com/en/catcorp/4B-5949 |  |  | FUEL TANK | CATERPILLAR | 3412 |  |  |  |  | ENRICHED | 40161807 Filter element |  |  | ELEMENT | FILTER | TYPE | SEDIMENT,STRAINER | FILTER RATING |  | SERVICE |  | MATERIAL | POLYESTER URETHANE FOAM | SIZE | 19 IDX54 ODX25 THK MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1109977 | 1109977 | 1468038 | AU_QM_007553040 |  | ERSA | M | 5915 | 1468038GZPCLNT100 | EA |  | BRAKE | BRAKE | LINING,FRICTION: BRAKE FOR DEMAG 16/8K4 (16-TON HOIST) |  | LINING,FRICTION:BRAKE |  |  | 1069356 @@ MHE-DEMAG AUSTRALIA PTY LTD | 616654.44 | [10 empty] | MHE-DEMAG AUSTRALIA PTY LTD | 616654.44 | [21 empty] | 16/8K4 (16 TON HOIST) | DEMAG | [5 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | LINING | NO MODIFIER | TYPE | BRAKE,FRICTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1112634 | 1112634 | 1457068 | AU_QM_001293919 |  | ERSA | M | 4900 | 1457068GZPCLNT100 | EA |  | BOLT LATCH | BOLT LATCH | LATCH: BOLT LATCH FEED FRAME ASSY BOART DIAMOND DRILL |  | LATCH: BOLT LATCH |  |  | 1068617 @@ BOART LONGYEAR PTY LTD | 94889 | [10 empty] | BOART LONGYEAR PTY LTD | 94889 | [28 empty] | CLEANSED | 31162407 Latch | FEED FRAME ASSEMBLY BOART DIAMOND DRILL |  | LATCH | NO MODIFIER | TYPE | BOLT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1114240 | 1114240 |  |  |  | ERSA | M | 5100 | 1571559GZPCLNT100 | EA |  | CHASSIS;3500,1/2S,INTL | CHASIS; | CHASSIS;ADDITIONAL FEATURES EN:3500,1/2S,INTL | CHASIS; |  |  |  | 1068304 @@ NVMS PTY LTD | 125388-01 | [10 empty] | NVMS PTY LTD |  | BENTLY NEVADA | 125388-01 | [16 empty] | https://www.newgenplc.com/products/125388-01-bently-nevada-half-height-module-internal-chassis-in-stock | [9 empty] | CLEANSED | 23153400 Assembly machines | SERIES:3500,HALF-HEIGHT MODULE INTERNAL |  | CHASSIS | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov | Processed as per websource,conflict wrt input | 1123366 | 1123366 |  |  |  | ERSA | M | 5000 | 1597495GZPCLNT100 | EA | 3000010 | CENTER;SAN,81741409 | CENTRAL;SAN,81741409 | CENTER;MNFR:SANDVIK,PTNO:81741409 | CENTRAL;MNFR:SANDVIK,PTNO:81741409 |  | SANDVIK | 81741409 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 81741409 | [12 empty] | SANDVIK | 81741409 | SANDVIK MINING & CONSTRUCTION | [15 empty] | https://www.aga-parts.com/ru/sandvik/part/81741409_valve/ | [9 empty] | CLEANSED | 40141600 Valves |  |  | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1134655 | 1134655 |  |  |  | ERSA | M | 5915 | 1442674GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | LATCH: CAT EQUIPMENT SERVICE; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1V6755 | [12 empty] | CATERPILLAR | 1V-6755 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/1V-6755 | [9 empty] | ENRICHED | 31162407 Latch | EQUIPMENT SERVICE |  | LATCH | NO MODIFIER | TYPE | LIGHT DUTY | SIZE | 76.2 LGX57.2 WDX8.7 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1135938 | 1135938 | 1472037 | AU_QM_009411052 |  | ERSA | M | 1540 | 1472037GZPCLNT100 | EA |  | ANODE MASTER MOULD; | ANODE MASTER MOULD; | WEDGE,METAL: ANODE MASTER MOULD; TO DRAWING REVISION "A"; MIM COPPER SMELTER |  | WEDGE,METAL:ANODE MASTER MOULD; |  |  | 1072016 @@ BUNDABERG FOUNDRY ENGINEERS LTD | 148-6-0346/ , | 1068544 @@ HEAVYMECH PTY LTD | 1472037 | [8 empty] | BUNDABERG FOUNDRY ENGINEERS LTD | 148-6-0346 |  |  |  |  | HEAVYMECH PTY LTD | 1472037 | [22 empty] | CLEANSED | 27112504 Wedges |  |  | WEDGE | NO MODIFIER | TYPE | ANODE MASTER MOULD | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1136692 | 1136692 | 1435029 | AU_QM_000772251 |  | ERSA | M | 3000 | 1435029GZPCLNT100 | EA |  | AIR2000 FLAP VALVE WEDGE;HYTREL MAT'L; | AIR2000 FLAP VALVE WEDGE;HYTREL MAT'L; | WEDGE: AIR2000 FLAP VALVE WEDGE;HYTREL MAT'L; 50MM FLAP VALVE DBL DIAPHRAGM PUMP; AIR2000 50MM PNEUMATIC SLURRY PUMP |  | WEDGE: AIR2000 FLAP VALVE WEDGE;HYTREL MAT'L; |  |  | 1068187 @@ PUMPS 2000 | 1435029 | 1069393 @@ KELAIR PUMPS AUSTRALIA PTY LTD | 1435029 | [8 empty] | PUMPS 2000 | 1435029 |  |  |  |  | KELAIR PUMPS AUSTRALIA PTY LTD | 1435029 | [15 empty] | DOUBLE DIAPHRAGM PUMP,PNEUMATIC SLURRY PUMP |  | AIR2000 |  |  |  |  | CLEANSED | 27112504 Wedges |  |  | WEDGE | VALVE | TYPE | FLAP | MATERIAL |  | VALVE SIZE | 50 MM | PRESSURE RATING |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1137225 | 1137225 | 1365229 | AU_QM_000167500 |  | ERSA | M | 4100 | 1365229GZPCLNT100 | EA |  | BEACON MONOFLASH XENON STROBE 24VAC AMBE | BEACON MONOFLASH XENON STROBE 24VAC AMBE | LIGHT,WARNING: BEACON MONOFLASH XENON STROBE 24VAC AMBE R IP65; FLASHING LED; 1000V-22KW BOOSTER PUMP STARTER |  | LIGHT,WARNING:BEACON MONOFLASH XENON STROBE 24VAC AMBE |  |  | 1068150 @@ CRISTAUDO'S INDUSTRIAL ELECTRICS | 1365229 | [10 empty] | CRISTAUDO'S INDUSTRIAL ELECTRICS | 1365229 | [21 empty] | BOOSTER PUMP STARTER | [6 empty] | CLEANSED | 39111706 Strobe or warning lights | FLASHING LED |  | LIGHT | WARNING | TYPE | BEACON MONOFLASH XENON STROBE | LAMP WATTAGE | 22 KW | VOLTAGE RATING | 1000 V,24 VAC | BASE TYPE |  | INTENSITY |  | COLOUR | AMBER | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION | IP65 | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1137451 | 1137451 | 1438433 | AU_QM_000970266 |  | ERSA | M | 3300 | 1438433GZPCLNT100 | EA |  | D9-D11 RIPPER TIP;LONG PENETRATION; | D9-D11 RIPPER TIP;LONG PENETRATION; | TOOTH,SURFACE RIPPING: D9-D11 RIPPER TIP;LONG PENETRATION; CATERPILLAR D9,D10 AND D11 DOZERS |  | TOOTH,SURFACE RIPPING:D9-D11 RIPPER TIP;LONG PENETRATION; |  |  | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | 1438433 | 1071153 @@ BRADKEN RESOURCES PTY LTD | E4T5503A | [8 empty] | ESCO AUSTRALIA HOLDINGS PTY LTD | 1438433 |  |  |  |  | BRADKEN RESOURCES PTY LTD | E4T5503A | [15 empty] | DOZERS | CATERPILLAR | D9,D10 AND D11 |  |  |  |  | CLEANSED | 22101700 Heavy equipment components | RIPPER TIP,LONG PENETRATION |  | TOOTH | RIPPER | TYPE | SURFACE | MACHINE WEIGHT |  | SHANK THICKNESS |  | MOUNTING TYPE |  | APPROXIMATE WORK DEPTH |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1138057 | 1138057 | 1349288 | AU_QM_000110775 |  | ERSA | M | 5915 | 1349288GZPCLNT100 | EA |  | CAT TRANSMISSION OIL SCREEN; | CAT TRANSMISSION OIL SCREEN; | STRAINER,SUCTION: CAT TRANSMISSION OIL SCREEN; 9EL6226 OUTPUT GEAR CASE GRP; ELPHINSTONE AD40 SER.II DUMP TRUCK ELPHINSTONE R1300/1700/2900 LHD UNITS |  | STRAINER,SUCTION: CAT TRANSMISSION OIL SCREEN; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1349288 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4S8598 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1349288 |  |  |  |  | HASTINGS DEERING(AUSTRALIA) LTD | 4S8598 | [15 empty] | TRANSMISSION OIL SCREEN,DUMP TRUCK,LHD UNITS | CATERPILLAR,ELPHINSTONE | AD40 SER.II,R1300/1700/2900 |  |  |  |  | CLEANSED | 40142500 Traps and strainers | FOR 9EL6226 OUTPUT GEAR CASE GRP |  | STRAINER | NO MODIFIER | TYPE | SUCTION | MESH SIZE |  | PRESSURE CLASS/RATING |  | END CONNECTION |  | MESH MATERIAL |  | BODY MATERIAL |  | DRAIN SIZE |  | OVERALL SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1152708 | 1152708 | 1476075 | AU_QM_000243055 |  | ERSA | M | 2620 | 1476075GZPCLNT100 | EA |  | CODE 052;COMPRESSED AIR;SIZE D;(1.4M3); | CODE 052;COMPRESSED AIR;SIZE D;(1.4M3); |  |  | AIR,INDUSTRIAL; CODE 052;COMPRESSED AIR;SIZE D;(1.4M3); |  |  | 1068135 @@ BOC LIMITED | 052D | [14 empty] | BOC LIMITED | 052D | [102 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1189555 | 1189555 |  |  |  | ERSA | M | 4090 | 1575792GZPCLNT100 | EA |  | DEODORIZER;INTERCLEAN,CUCUMBER MELON,GRN | DESODORIZANTE; | DEODORIZER;ADDITIONAL FEATURES EN:INTERCLEAN,CUCUMBER MELON,GREEN,02452445 | DESODORIZANTE; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2452445 | [12 empty] | INTERCLEAN | RC30CM | [12 empty] | J BLACKWOOD & SONS | 2452445 |  |  | https://www.interclean.com.au/odour-control/elipsis | https://www.blackwoods.com.au/hygiene-cleaning/cleaning-chemicals/deodorisers-interclean/deodoriser-remind-air-cucumber-melon-grn/p/02452445 | [8 empty] | ENRICHED | 47131816 Deodorizers |  |  | DEODORIZER | NO MODIFIER | TYPE | FRESH AIR | FORM | LIQUID | CONTAINER |  | BLOCK SIZE |  | FRAGRANCE | CUCUMBER MELON | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1204343 | 1204343 |  |  |  | ERSA | M | 5700 | 271169MRM | EA |  | BELT ALIGNER,CONVEYOR:BELT GUIDE ASSEMBL | BELT ALIGNER,CONVEYOR:BELT GUIDE ASSEMBL | BELT ALIGNER,CONVEYOR:BELT GUIDE ASSEMBLY;IMPACT BED;300 DIA X430 BHC'S |  |  |  |  | 1069989 @@ TRANSMIN LTD | 50712 | [10 empty] | TRANSMIN LTD | 50712 | [28 empty] | CLEANSED | 24101715 Conveyor belting | GUIDE ASSEMBLY,IMPACT BED,300 DIAX430 BHC'S |  | BELT | CONVEYOR | TYPE | ALIGNER | WIDTH |  | LENGTH |  | THICKNESS |  | NUMBER OF PLYS |  | COVER MATERIAL |  | CARCASS MATERIAL |  | BREAKING STRENGTH |  | BELT TENSION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-Nov |  | 1210628 | 1210628 |  |  |  | ERSA | M | 4010 | 355276MRM | EA |  | CHISEL,COLD,HAND:ENGINEERS;25MM FLAT BLA | CHISEL,COLD,HAND:ENGINEERS;25MM FLAT BLA | CHISEL,COLD,HAND:ENGINEERS;25MM FLAT BLADE;250MM LG;ALLOY STEEL; |  |  |  |  | 1068502 @@ ATOM SUPPLY | 2525016 | [12 empty] | ATOM SUPPLY | 2525016 | [26 empty] | ENRICHED | 27111901 Cold chisels | BLADE TYPE:FLAT |  | CHISEL | NO MODIFIER | TYPE | COLD,HAND,ENGINEERS | BLADE WIDTH | 25 MM | LENGTH | 250 MM | SHANK TYPE |  | MATERIAL | ALLOY STEEL | MATERIAL SPECIFICATION |  | FINISH |  | HANDLE MATERIAL |  | HANDLE COLOR |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1210945 | 1210945 |  |  |  | ERSA | M | 4075 | 165404MRM | EA |  | CISTERN;CISTERN SLIMLINE WITH SEAT LL 4 | CISTERN;CISTERN SLIMLINE WITH SEAT LL 4 | CISTERN;CISTERN SLIMLINE WITH SEAT LL 4 STAR |  |  |  |  | 1070514 @@ SAMIOS PLUMBING PTY LTD | PN1210945 | [14 empty] | SAMIOS PLUMBING PTY LTD | PN1210945 | [102 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1211588 | 1211588 |  |  |  | ERSA | M | 4010 | 359581MRM | EA |  | CHISEL,COLD,HAND:ENGINEERS;19MM FLAT BLA | CHISEL,COLD,HAND:ENGINEERS;19MM FLAT BLA | CHISEL,COLD,HAND:ENGINEERS;19MM FLAT BLADE;200MM LG;ALLOY STEEL |  |  |  |  | 1068502 @@ ATOM SUPPLY | 2525012 | [14 empty] | ATOM SUPPLY | 2525012 | [102 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1214532 | 1214532 |  |  |  | ERSA | M | 4090 | 367701MRM | PAC |  | ARGON,TECH:CODE 062;HIGH PURITY;154,800M | ARGON,TECH:CODE 062;HIGH PURITY;154,800M | ARGON,TECH:CODE 062;HIGH PURITY;154,800M GAS;>99.997% HIGH PURITY;<(> <<)>12PPM MOISTURE;<(><<)>10PPM OXYGEN |  |  |  |  | 1068135 @@ BOC LIMITED | 062KAY9 | [14 empty] | BOC LIMITED | 062KAY9 | [102 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | CIR | ok | 2023-11-02 | 9th-nov | SUITABLE NM NOT FOUND | 1217822 | 1217822 |  |  |  | ERSA | M | 4090 | 270171MRM | PAC |  | ARGON,TECH:CODE 062; K15 SIZE | ARGON,TECH:CODE 062; K15 SIZE | ARGON,TECH:CODE 062; K15 SIZE |  |  |  |  | 1068135 @@ BOC LIMITED | 062KAY15 | [14 empty] | BOC LIMITED | 062KAY15 | [102 empty] | Production Completed