## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1146805 | 1146805 |  |  |  | ERSA | M | 1600 | 1495107GZPCLNT100 | EA |  | ACCELEROMETER;420 SERIES,HS-420L0255002 | ACCELEROMETER;420 SERIES,HS-420L0255002 | ACCELEROMETER;ADDITIONAL FEATURES:420 SERIES,HS-420L0255002 |  |  |  |  | 1068454 @@ GVS RELIABILITY PRODUCTS PTY LTD | 1495107 | [12 empty] | HANSFORD SENSORS | HS-420L0255002 | GVS RELIABILITY PRODUCTS PTY LTD | 1495107 | [14 empty] | https://www.hansfordsensors.com/wp-content/uploads/datasheets/TS029.pdf | [9 empty] | Enriched | 41113639 Accelerometers | SERIES:420 | CONNECTOR TYPE:M12,2-PIN MS,MOUNTING THREAD:1/4 IN-28 UNF MALE,CASE MATERIAL:STAINLESS STEEL 316 | ACCELEROMETER | NO MODIFIER | TYPE |  | MEASURING RANGE | 0 TO 25 MM/SEC | ACCURACY |  | SENSITIVITY | LESS THAN 5 PCT | INPUT RATING | 15 TO 30 VDC | OUTPUT TYPE | 4 TO 20 MA VELOCITY | MOUNTING TYPE |  | FREQUENCY RATING | 10 TO 1 KHZ | BANDWIDTH |  | SIZE | 28 DIAX68 LG MM | INTERFACE TYPE |  | TEMPERATURE RATING | -25 TO 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61326-1 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1055118 | 1055118 |  |  |  | ERSA | M | 4090 | 1610725GZPCLNT100 | EA |  | ACCELEROMETER;20 MM/SEC | ACELEROMETRO;20 MM/SEC | ACCELEROMETER;MEASURING RANGE:20 MM/SEC,ADDITIONAL FEATURES EN:420 SERIES CONNECTOR,1/4 IN,28UNF,MALE MOUNTING | ACELEROMETRO;RANGO MEDICION:20 MM/SEC |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | GVSHS-4200205002 | [12 empty] | HANSFORD SENSORS | HS-4200205002 | CNW (MOUNT ISA) ELECT WHOLESALER | GVSHS-4200205002 | [14 empty] | https://www.hansfordsensors.com/wp-content/uploads/datasheets/TS029.pdf | [9 empty] | Enriched | 41113639 Accelerometers | SERIES:420 | CONNECTOR TYPE:M12,2-PIN MS,MOUNTING THREAD:1/4 IN-28 UNF MALE,CASE MATERIAL:STAINLESS STEEL 316 | ACCELEROMETER | NO MODIFIER | TYPE |  | MEASURING RANGE | 0 TO 20 MM/SEC | ACCURACY |  | SENSITIVITY | LESS THAN 5 PCT | INPUT RATING | 15 TO 30 VDC | OUTPUT TYPE | 4 TO 20 MA VELOCITY | MOUNTING TYPE |  | FREQUENCY RATING | 10 TO 1 KHZ | BANDWIDTH |  | SIZE | 28 DIAX68 LG MM | INTERFACE TYPE |  | TEMPERATURE RATING | -25 TO 90 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61326-1 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1060283 | 1060283 |  |  |  | ERSA | M | 5100 | 1616419GZPCLNT100 | EA |  | ACCELEROMETER;PREMIUM,+-80 G,100 MV/G | ACELEROMETRO;,+-80 G,100 MV/G | ACCELEROMETER;TYPE:PREMIUM,MEASURING RANGE:+-80 G,SENSITIVITY:100 MV/G,FREQUENCY RATING:30 KHZ | ACELEROMETRO;RANGO MEDICION:+-80 G,SENSIBILIDAD:100 MV/G |  |  |  | 1075562 @@ JSLJ GROUP PTY LTD | FED0109 | [10 empty] | JSLJ GROUP PTY LTD | FED0109 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41113639 Accelerometers |  |  | ACCELEROMETER | NO MODIFIER | TYPE | PREMIUM | MEASURING RANGE | +/-80 G | ACCURACY |  | SENSITIVITY | 100 MV/G | INPUT RATING |  | OUTPUT TYPE |  | MOUNTING TYPE |  | FREQUENCY RATING | 30 KHZ | BANDWIDTH |  | SIZE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1067048 | 1067048 | 1354566 | AU_QM_000143754 |  | ERSA | M | 5915 | 1354566GZPCLNT100 | EA |  | ARM REST KIT;OPERATOR;;SUIT KAB KSS565-F | ARM REST KIT;OPERATOR;;SUIT KAB KSS565-F | ARM REST,VEH: ARM REST KIT;OPERATOR;;SUIT KAB KSS565-F 001 SEAT;;ATLAS COPCO MT6020 HAUL TRUCK; |  | ARM REST,VEH: ARM REST KIT;OPERATOR;;SUIT KAB KSS565-F |  |  | 1068303 @@ ALFAGOMMA AUSTRALIA PTY LTD | 190295 | [10 empty] | ALFAGOMMA AUSTRALIA PTY LTD | 190295 | [18 empty] | URL NOT FOUND |  |  | HAUL TRUCK | ATLAS COPCO | MT6020 |  |  |  |  | Cleansed | 25170000 Transportation components and systems | FOR KAB KSS565-F 001 SEAT |  | KIT | NO MODIFIER | TYPE | VEHICLE ARM REST,OPERATOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1210946 | 1210946 |  |  |  | ERSA | M | 5915 | 165410MRM | EA |  | ARM REST,VEH:ARM REST TOYOTA LANDCRUISER | ARM REST,VEH:ARM REST TOYOTA LANDCRUISER | ARM REST,VEH:ARM REST TOYOTA LANDCRUISER UTES <(>&<)> DOUBLE DOOR CABS | [36 empty] | URL NOT FOUND |  |  | LANDCRUISER UTES,DOUBLE DOOR CABS | TOYOTA | [5 empty] | Cleansed | 56101533 Armrests |  |  | ARM REST | NO MODIFIER | TYPE | VEHICLE | SIZE |  | MATERIAL |  | TILT ANGLE |  | MOUNTING TYPE |  | COLOR |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1214627 | 1214627 |  |  |  | ERSA | M | 5920 | 137966MRM | EA |  | ARM REST,VEH:ARMREST;DPI1500; | ARM REST,VEH:ARMREST;DPI1500; | ARM REST,VEH:ARMREST;DPI1500; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 56101533 Armrests | FOR DPI1500 |  | ARM REST | NO MODIFIER | TYPE | VEHICLE | SIZE |  | MATERIAL |  | TILT ANGLE |  | MOUNTING TYPE |  | COLOR |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1186676 | 1186676 |  |  |  | ERSA | M | 2920 | 1551990GZPCLNT100 | EA |  | CARTRIDGE,TAPE;SPM,FLX,CC,SP,HYDRIDES | CARTUCHO CINTA; | CARTRIDGE,TAPE;ADDITIONAL FEATURES EN:SPM,FLEX,CC,SP,HYDRIDES | CARTUCHO CINTA; |  |  |  | 1068512 @@ BUNZL BRANDS & OPERATIONS PTY LIMIT | NNMDT1265-4000 | [10 empty] | BUNZL BRANDS & OPERATIONS PTY LIMIT | NNMDT1265-4000 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 55121612 Printer labels | FOR SPM FLEX CC-SP HYDRIDES |  | CARTRIDGE | TAPE | TYPE |  | SIZE |  | CAPACITY |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1207606 | 1207606 |  |  |  | ERSA | M | 5920 | 154908MRM | EA |  | CARTRIDGE,WELDING:CARTRIDGE; OPTREL NOVA | CARTRIDGE,WELDING:CARTRIDGE; OPTREL NOVA | CARTRIDGE,WELDING:CARTRIDGE; OPTREL NOVA SHADE AUTO 501-220; SPERIAN | [18 empty] | OPTREL | 501-220 | [16 empty] | http://www.berniga.co.id/gallery/safety%20welding%20equipment_blackwoods.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | NOVA,SPERIAN |  | CARTRIDGE | NO MODIFIER | TYPE | LASER,OXYGEN-GAS WELDING,SHADE,AUTO DARKING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1067373 | 1067373 | 1364071 | AU_QM_000164738 |  | ERSA | M | 4075 | 1364071GZPCLNT100 | EA |  | CARTRIDGE ; COUNTER BALANCE VALVE; ACCRE | CARTRIDGE ; COUNTER BALANCE VALVE; ACCRE | CARTRIDGE: CARTRIDGE ; COUNTER BALANCE VALVE; ACCRE TION MACHINE; PBSM |  | CARTRIDGE:CARTRIDGE ; COUNTER BALANCE VALVE; ACCRE |  |  | 1068342 @@ ISADRAULICS | 1364071 | [10 empty] | ISADRAULICS | 1364071 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | FOR ACCRETION MACHINE,PBSM |  | CARTRIDGE | COUNTERBALANCE | TYPE | VALVE | CAVITY |  | CAPACITY |  | PILOT RATIO |  | MAXIMUM PRESSURE SETTING |  | VALVE NOMINAL SIZE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1140864 | 1140864 | 1454845 | AU_QM_001240449 |  | ERSA | M | 5955 | 1454845GZPCLNT100 | EA |  | CHECK VALVE CARTRIDGE; | CHECK VALVE CARTRIDGE; | CARTRIDGE: CHECK VALVE CARTRIDGE; KA78 TRUCK CHUTE HYD SYSTEM; |  | CARTRIDGE:CHECK VALVE CARTRIDGE; |  |  | 1070708 @@ NORDIC MINESTEEL TECHNOLOGIES IN | 1454845 | 1068342 @@ ISADRAULICS | NMT-0098-1022 | [8 empty] | NORDIC MINESTEEL TECHNOLOGIES IN | 1454845 |  |  | ISADRAULICS | NMT-0098-1022 | [14 empty] | URL NOT FOUND |  |  | TRUCK |  | KA78 |  |  |  |  | Cleansed | 40141616 Valve parts or accessories | FOR CHUTE HYDRAULIC SYSTEM |  | CARTRIDGE | NO MODIFIER | TYPE | CHECK VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1140865 | 1140865 | 1454840 | AU_QM_001240399 |  | ERSA | M | 5955 | 1454840GZPCLNT100 | EA |  | CHECK VALVE; | CHECK VALVE; | CARTRIDGE: CHECK VALVE; KA78 TRUCK CHUTE SYSTEM; |  | CARTRIDGE:CHECK VALVE; |  |  | 1070708 @@ NORDIC MINESTEEL TECHNOLOGIES IN | 1454840 | 1068342 @@ ISADRAULICS | NT-0098-1017 | [8 empty] | NORDIC MINESTEEL TECHNOLOGIES IN | 1454840 |  |  | ISADRAULICS | NT-0098-1017 | [14 empty] | URL NOT FOUND |  |  | TRUCK |  | KA78 |  |  |  |  | Cleansed | 40141616 Valve parts or accessories | FOR CHUTE SYSTEM |  | CARTRIDGE | NO MODIFIER | TYPE | CHECK VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1207613 | 1207613 |  |  |  | ERSA | M | 5920 | 154933MRM | EA |  | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FI | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FI | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FILTER CB052; PURETEC; 12 PCS PER PACK | [18 empty] | PURETEC | CB052 | [16 empty] | https://www.puretec.com.au/CB052 | https://directwholesale.com.au/products/puretec-cb052-carbon-block-5-micron-water-filter-cartridge-2-5-x-20/ | [8 empty] | Enriched | 40161809 Filter cartridge | PACKAGE QUANTITY:12 PCS/PACK |  | CARTRIDGE | FILTER | TYPE | CARBON BLOCK,STANDARD | FILTRATION RATE |  | MICRON RATING | 5 UM | SIZE | 2-1/5 DIAX20 LG IN | SERVICE | WATER | MATERIAL | CARBON | COLOUR |  | FLOW RATING | 30 LPM | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1207612 | 1207612 |  |  |  | ERSA | M | 5920 | 154932MRM | EA |  | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FI | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FI | CARTRIDGE:CARTRIDGE; STANDARD 20 INCH FILTER PX202; PURETEC; 20 PCS PER PACK | [18 empty] | PURETEC | PX202 | [16 empty] | https://www.puretec.co.nz/PX202 | https://www.filterdiscounters.com.au/px202-puretec-px202-puretec-polyspun-standard-dia-2-5-cartridge-20-inch-20um/ | [8 empty] | Enriched | 40161809 Filter cartridge | PACKAGE QUANTITY:20 PCS/PACK |  | CARTRIDGE | FILTER | TYPE | SEDIMENT REMOVAL,STANDARD | FILTRATION RATE |  | MICRON RATING | 20 UM | SIZE | 2-1/5 DIAX20 LG IN | SERVICE | WATER | MATERIAL | VIRGIN POLYPROPYLENE | COLOUR |  | FLOW RATING | 67 LPM | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1205962 | 1205962 |  |  |  | ERSA | M | 3000 | 271731MRM | EA |  | CARTRIDGE:FLTR-GS-GR-325 | CARTRIDGE:FLTR-GS-GR-325 | CARTRIDGE:FLTR-GS-GR-325 | [18 empty] | CAMFIL | FLTR-GS-GR-325 | [16 empty] | https://www.camfil.com/product/documents/dam/50251/Data-sheets-Gold-Cone-Cartridge-Filters.pdf | [9 empty] | Enriched | 40161809 Filter cartridge |  | MEDIA TYPE:STANDARD GREEN,FILTER AREA:30.2 M2,TEMPERATURE RATING:71 DEG C,SERIES:GOLD | CARTRIDGE | FILTER | TYPE | DUST COLLECTOR | FILTRATION RATE |  | MICRON RATING |  | SIZE |  | SERVICE |  | MATERIAL |  | COLOUR |  | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1155008 | 1155008 |  |  |  | ERSA | M | 4050 | 1539312GZPCLNT100 | EA |  | CARTRIDGE;BLACK,ORIGINAL,HP 955,25001247 | CARTRIDGE;BLACK,ORIGINAL,HP 955,25001247 | CARTRIDGE;ADDITIONAL FEATURES:BLACK,ORIGINAL,HP 955,25001247 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 25001247 | [12 empty] | HP | L0S60AA | WINC AUSTRALIA PTY LTD | 25001247 | [14 empty] | https://www.winc.com.au/main-catalogue-productdetail/hp-955-black-original-ink-cartridge/25001247 | [9 empty] | Enriched | 44103105 Ink cartridges | SERIES:955 | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | STANDARD CAPACITY,ORIGINAL | COLOUR | BLACK | CAPACITY | 23.5 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 1000 PG | SIZE | 119 WDX36 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 8210/8216/8218,7740/8710/8720/8730/8740 SERIES ALL-IN-ONE PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1146906 | 1146906 |  |  |  | ERSA | M | 4090 | 1532191GZPCLNT100 | EA |  | CARTRIDGE;BREATHER DESI,1299653/ISADRAUL | CARTRIDGE;BREATHER DESI,1299653/ISADRAUL | CARTRIDGE;ADDITIONAL FEATURES:BREATHER DESI,1299653/ISADRAUL |  |  |  |  | 1068342 @@ ISADRAULICS | 1299653/ISADRAUL | [12 empty] | HYDAC | 1299653 | ISADRAULICS | 1299653 | [14 empty] | https://catalog.hydac.com/en-us/item/breathers-desiccant/desiccant-breathers---bde/1299653 | [9 empty] | Enriched | 40142512 Breather | CONFIGURATION:CARTRIDGE | FILTER TYPE:BDE,FLOW RATING:110 GPM | BREATHER | NO MODIFIER | TYPE | DESICCANT | CONNECTION SIZE |  | FILTRATION RATE | 2 UM | MATERIAL | SILICA GEL | FILTER MEDIA | AIR | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 200 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1155011 | 1155011 |  |  |  | ERSA | M | 4050 | 1539309GZPCLNT100 | EA |  | CARTRIDGE;CYAN OFFICEJET,HP 951,18818491 | CARTRIDGE;CYAN OFFICEJET,HP 951,18818491 | CARTRIDGE;ADDITIONAL FEATURES:CYAN OFFICEJET,HP 951,18818491 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18818491 | [12 empty] | HP | CN046AA | WINC AUSTRALIA PTY LTD | 18818491 | [14 empty] | https://www.hp.com/in-en/shop/hp-951xl-high-yield-cyan-original-ink-cartridge-cn046aa.html | https://www.winc.com.au/main-catalogue-productdetail/hp-951xl-cyan-ink-cartridge-cn046aa/18818491 | [8 empty] | Enriched | 44103105 Ink cartridges | SERIES:951 | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | HIGH YIELD,HIGH CAPACITY,ORIGINAL,OFFICEJET | COLOUR | CYAN | CAPACITY | 24 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 1500 PG | SIZE | 114 WDX25 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 8100/8600 E-ALL-IN-ONE SERIES PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1146726 | 1146726 |  |  |  | ERSA | M | 1600 | 1505801GZPCLNT100 | EA |  | CARTRIDGE;FLOWMETER,D674A905U01 | CARTRIDGE;FLOWMETER,D674A905U01 | CARTRIDGE;ADDITIONAL FEATURES:FLOWMETER,D674A905U01 | [18 empty] | ABB | D674A905U01 | [16 empty] | https://new.abb.com/products/D674A905U01/d674a905u01?IN | https://aeliyamarinetech.com/product/abb-d674a905u01-cartridge-for-process-hygienic-master-300 | [8 empty] | Enriched | 41110000 Measuring and observing and testing instruments |  | COMMUNICATION PROTOCOL:HART,POWER SUPPLY:24 VAC/DC | CARTRIDGE | NO MODIFIER | TYPE | FLOWMETER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1146725 | 1146725 |  |  |  | ERSA | M | 1600 | 1505802GZPCLNT100 | EA |  | CARTRIDGE;FLOWMETER,D674A906U01 | CARTRIDGE;FLOWMETER,D674A906U01 | CARTRIDGE;ADDITIONAL FEATURES:FLOWMETER,D674A906U01 | [18 empty] | ABB | D674A906U01 | [16 empty] | https://new.abb.com/products/D674A906U01/d674a906u01?IN | https://synchronics.co.in/items/magnetic-flow-meter-cartridge-d674a906u01/ | [8 empty] | Enriched | 41110000 Measuring and observing and testing instruments |  | COMMUNICATION PROTOCOL:HART | CARTRIDGE | NO MODIFIER | TYPE | FLOWMETER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1148394 | 1148394 |  |  |  | ERSA | M | 4050 | 1526809GZPCLNT100 | EA |  | CARTRIDGE;INK,BLACK,62XL | CARTRIDGE;INK,BLACK,62XL | CARTRIDGE;ADDITIONAL FEATURES:INK,BLACK,62XL |  |  |  |  | 1068349 @@ ACENET LASER PRINTER SERVICES P/ | 62XL | [12 empty] | HP | 62XL | ACENET LASER PRINTER SERVICES P/ | 62XL | [14 empty] | https://www.hp.com/in-en/shop/hp-62xl-high-yield-black-original-ink-cartridge-c2p05aa.html | [9 empty] | Enriched | 44103105 Ink cartridges |  | TEMPERATURE RATING:15 TO 32 DEG C | CARTRIDGE | INK | TYPE | HIGH YIELD,HIGH CAPACITY,ORIGINAL | COLOUR | BLACK | CAPACITY | 12 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 600 PG | SIZE | 100 WDX37 HTX116 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET 8040 WITH NEAT E-ALL-IN-ONE, ENVY 8000/7640/5740/5660/5640 E-ALL-IN-ONE SERIES PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1155010 | 1155010 |  |  |  | ERSA | M | 4050 | 1539310GZPCLNT100 | EA |  | CARTRIDGE;MAGENTA OFFICEJET,HP,18818492 | CARTRIDGE;MAGENTA OFFICEJET,HP,18818492 | CARTRIDGE;ADDITIONAL FEATURES:MAGENTA OFFICEJET,HP,18818492 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18818492 | [12 empty] | HP | CN047AA | WINC AUSTRALIA PTY LTD | 18818492 | [14 empty] | https://www.hp.com/in-en/shop/hp-951xl-high-yield-magenta-original-ink-cartridge-cn047aa.html | https://www.winc.com.au/main-catalogue-productdetail/hp-951xl-magenta-ink-cartridge-cn047aa/18818492 | [8 empty] | Enriched | 44103105 Ink cartridges |  | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | HIGH YIELD,HIGH CAPACITY,ORIGINAL | COLOUR | MAGENTA | CAPACITY | 17 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 1500 PG | SIZE | 114 WDX25 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 8100/8600 E-ALL-IN-ONE SERIES PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1147934 | 1147934 |  |  |  | ERSA | M | 4050 | 1539328GZPCLNT100 | EA |  | CARTRIDGE;MAGENTA,ORIGINAL INK,25001249 | CARTRIDGE;MAGENTA,ORIGINAL INK,25001249 | CARTRIDGE;ADDITIONAL FEATURES:MAGENTA,ORIGINAL INK,25001249 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 25001249 | [12 empty] | HP | L0S54AA | WINC AUSTRALIA PTY LTD | 25001249 | [14 empty] | https://www.hp.com/my-en/shop/hp-955-magenta-original-ink-cartridge-l0s54aa.html | https://www.winc.com.au/main-catalogue-productdetail/hp-955-magenta-ink-cartridge-l0s54aa/25001249 | [8 empty] | Enriched | 44103105 Ink cartridges |  | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | STANDARD CAPACITY,ORIGINAL | COLOUR | MAGENTA | CAPACITY | 10 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 700 PG | SIZE | 114 WDX25 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 7700/8200/8700 SERIES PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1149251 | 1149251 |  |  |  | ERSA | M | 2920 | 1531252GZPCLNT100 | EA |  | CARTRIDGE;WELDING CASSETTE,SR84,170-1538 | CARTRIDGE;WELDING CASSETTE,SR84,170-1538 | CARTRIDGE;ADDITIONAL FEATURES:WELDING CASSETTE,SR84,170-1538 |  |  |  |  | 1068301 @@ WELDERS PRO SHOP | 170-1538 | [10 empty] | WELDERS PRO SHOP | 170-1538 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SERIES:SR84 |  | CARTRIDGE | NO MODIFIER | TYPE | WELDING CASSETTE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1155009 | 1155009 |  |  |  | ERSA | M | 4050 | 1539311GZPCLNT100 | EA |  | CARTRIDGE;YELLOW OFFICEJET,HP 9,18818493 | CARTRIDGE;YELLOW OFFICEJET,HP 9,18818493 | CARTRIDGE;ADDITIONAL FEATURES:YELLOW OFFICEJET,HP 9,18818493 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 18818493 | [12 empty] | HP | CN048AA | WINC AUSTRALIA PTY LTD | 18818493 | [14 empty] | https://www.hp.com/in-en/shop/hp-951xl-high-yield-yellow-original-ink-cartridge-cn048aa.html | https://www.winc.com.au/main-catalogue-productdetail/hp-951xl-yellow-ink-cartridge-cn048aa/18818493 | [8 empty] | Enriched | 44103105 Ink cartridges | REF:9 | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | HIGH YIELD,HIGH CAPACITY,ORIGINAL | COLOUR | YELLOW | CAPACITY | 17 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 1500 PG | SIZE | 114 WDX25 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 8100/8600 E-ALL-IN-ONE SERIES PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1147935 | 1147935 |  |  |  | ERSA | M | 4050 | 1539327GZPCLNT100 | EA |  | CARTRIDGE;YELLOW,ORIGINAL INK,H,25001251 | CARTRIDGE;YELLOW,ORIGINAL INK,H,25001251 | CARTRIDGE;ADDITIONAL FEATURES:YELLOW,ORIGINAL INK,H,25001251 |  |  |  |  | 1068167 @@ WINC AUSTRALIA PTY LTD | 25001251 | [12 empty] | HP | L0S57AA | WINC AUSTRALIA PTY LTD | 25001251 | [14 empty] | https://www.hp.com/in-en/shop/hp-955-yellow-original-ink-cartridge-l0s57aa.html | https://www.winc.com.au/main-catalogue-productdetail/hp-955-yellow-ink-cartridge-l0s57aa/25001251 | [8 empty] | Enriched | 44103105 Ink cartridges |  | TEMPERATURE RATING:5 TO 35 DEG C | CARTRIDGE | INK | TYPE | STANDARD CAPACITY,ORIGINAL | COLOUR | YELLOW | CAPACITY | 10 ML | MATERIAL |  | INK TYPE | PIGMENT BASED | AVERAGE YIELD | 700 PG | SIZE | 114 WDX25 HTX126 DP MM | COMPATIBLE HARDWARE | HP THERMAL INKJET,OFFICEJET PRO 8210/8216/8218,7740/8710/8720/8730/8740 SERIES ALL-IN-ONE PRINTER | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1012513 | 1012513 |  |  |  | ERSA | M | 2600 | 1610255GZPCLNT100 | EA | 3000418 | CARTRIDGE;BORT,5308315,HYD RELIEF ELECTR | CARTUCHO;BORT,5308315 | CARTRIDGE;MNFR:BOART LONGYEAR,PTNO:5308315,ADDITIONAL FEATURES EN:HYD RELIEF ELECTRO-PROP INV 24VDC DEUTSCH 350BAR | CARTUCHO;MNFR:BOART LONGYEAR,PTNO:5308315 |  | BOART LONGYEAR | 5308315 | 1068617 @@ BOART LONGYEAR PTY LTD | 5308315 | [10 empty] | BOART LONGYEAR PTY LTD | 5308315 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR DEUTSCH 24 VDC,350 BAR HYDRAULIC RELIEF ELECTRO-PROP INVESTOR |  | CARTRIDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1012514 | 1012514 |  |  |  | ERSA | M | 2600 | 1610256GZPCLNT100 | EA | 3000418 | CARTRIDGE;BORT,5308407,HYD PRESSURE REDU | CARTUCHO;BORT,5308407 | CARTRIDGE;MNFR:BOART LONGYEAR,PTNO:5308407,ADDITIONAL FEATURES EN:HYD PRESSURE REDUCING 70-280 BAR | CARTUCHO;MNFR:BOART LONGYEAR,PTNO:5308407 |  | BOART LONGYEAR | 5308407 | 1068617 @@ BOART LONGYEAR PTY LTD | 5308407 | [10 empty] | BOART LONGYEAR PTY LTD | 5308407 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | PRESSURE RATING:70 TO 280 BAR |  | CARTRIDGE | NO MODIFIER | TYPE | HYDRAULIC PRESSURE REDUCING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1101281 | 1101281 | 1381576 | AU_QM_000221526 |  | ERSA | M | 3000 | 1381576GZPCLNT100 | EA | 3000024 | CARTRIDGE;ISU,DS163 | CARTRIDGE;ISU,DS163 | CARTRIDGE;MNFR:ISUZU,PTNO:DS163 |  | CARTRIDGE;ISU,DS163CARTRIDGE;ISU,DS163 | ISUZU | DS163 | [12 empty] | ISUZU | DS163 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CARTRIDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1101267 | 1101267 | 1382174 | AU_QM_000222229 |  | ERSA | M | 3000 | 1382174GZPCLNT100 | EA | 3000013 | CARTRIDGE;VOL,17418113 | CARTRIDGE;VOL,17418113 | CARTRIDGE;MNFR:VOLVO,PTNO:17418113 |  | CARTRIDGE;VOL,17418113CARTRIDGE;VOL,17418113 | VOLVO | 17418113 | [14 empty] | VOLVO | 17418113 | [16 empty] | https://avspare.com/spare/volvo.heavy/voe17418113/ | https://www.alibaba.com/product-detail/Excavator-Volvo-VOE-17418113-Filter-cartridge_62547336165.html | [8 empty] | Enriched | 40161809 Filter cartridge |  |  | CARTRIDGE | FILTER | TYPE |  | FILTRATION RATE |  | MICRON RATING |  | SIZE |  | SERVICE |  | MATERIAL | STEEL | COLOUR |  | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1188659 | 1188659 |  |  |  | ERSA | M | 4090 | 1584936GZPCLNT100 | BOX |  | CARTRIDGE;CABLE SPIKER,GRAIN 10,YEL | CARTUCHO; | CARTRIDGE;TYPE:CABLE SPIKER,SIZE:GRAIN 10,ADDITIONAL FEATURES EN:YELLOW,POWERLOADS,44IN CALIBRE,BRAND: ACVOKE,PTNO:7925 | CARTUCHO;,PTNO:7925 |  |  | 7925 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAC7925 | [12 empty] | ACVOKE | 7925 | CNW (MOUNT ISA) ELECT WHOLESALER | MAC7925 | [14 empty] | https://www.accles-shelvoke.com/media/3797/frontmatec-acvoke-heavy-duty-cable-spiker-web.pdf | https://www.tester.co.uk/acvoke-cartridges-box-of-25-yellow-silver-green-red | [8 empty] | Enriched | 27112800 Tool attachments and accessories | COLOUR:YELLOW,CALIBRE:0.44 IN,GRAIN SIZE:10,POWERLOAD |  | CARTRIDGE | NO MODIFIER | TYPE | CABLE SPIKER,EXTRA LIGHT CHARGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1188658 | 1188658 |  |  |  | ERSA | M | 4090 | 1584937GZPCLNT100 | BOX |  | CARTRIDGE;CABLE SPIKER,GRAIN 12,AG | CARTUCHO; | CARTRIDGE;TYPE:CABLE SPIKER,SIZE:GRAIN 12,ADDITIONAL FEATURES EN:SILVER,POWERLOADS,44IN CALIBRE,BRAND: ACVOKE,PTNO:7920 | CARTUCHO;,PTNO:7920 |  |  | 7920 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAC7920 | [12 empty] | ACVOKE | 7920 | CNW (MOUNT ISA) ELECT WHOLESALER | MAC7920 | [14 empty] | https://www.accles-shelvoke.com/media/3797/frontmatec-acvoke-heavy-duty-cable-spiker-web.pdf | https://www.tester.co.uk/acvoke-cartridges-box-of-25-yellow-silver-green-red | [8 empty] | Enriched | 27112800 Tool attachments and accessories | COLOUR:SILVER,CALIBRE:0.44 IN,GRAIN SIZE:12,POWERLOAD |  | CARTRIDGE | NO MODIFIER | TYPE | CABLE SPIKER,LIGHT CHARGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1188657 | 1188657 |  |  |  | ERSA | M | 4090 | 1584938GZPCLNT100 | BOX |  | CARTRIDGE;CABLE SPIKER,GRAIN 16,GRN | CARTUCHO; | CARTRIDGE;TYPE:CABLE SPIKER,SIZE:GRAIN 16,ADDITIONAL FEATURES EN:GREEN,POWERLOADS,44IN CALIBRE,BRAND: ACVOKE,PTNO:7900 | CARTUCHO;,PTNO:7900 |  |  | 7900 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAC7900 | [12 empty] | ACVOKE | 7900 | CNW (MOUNT ISA) ELECT WHOLESALER | MAC7900 | [14 empty] | https://www.accles-shelvoke.com/media/3797/frontmatec-acvoke-heavy-duty-cable-spiker-web.pdf | https://www.tester.co.uk/acvoke-cartridges-box-of-25-yellow-silver-green-red | [8 empty] | Enriched | 27112800 Tool attachments and accessories | COLOUR:GREEN,CALIBRE:0.44 IN,GRAIN SIZE:16,POWERLOAD |  | CARTRIDGE | NO MODIFIER | TYPE | CABLE SPIKER,MEDIUM CHARGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1188656 | 1188656 |  |  |  | ERSA | M | 4090 | 1584939GZPCLNT100 | BOX |  | CARTRIDGE;CABLE SPIKER,GRAIN 20,RED | CARTUCHO; | CARTRIDGE;TYPE:CABLE SPIKER,SIZE:GRAIN 20,ADDITIONAL FEATURES EN:RED,POWERLOADS,44IN CALIBRE,BRAND: ACVOKE,PTNO:7910 | CARTUCHO;,PTNO:7910 |  |  | 7910 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MAC7910 | [12 empty] | ACVOKE | 7910 | CNW (MOUNT ISA) ELECT WHOLESALER | MAC7910 | [14 empty] | https://www.accles-shelvoke.com/media/3797/frontmatec-acvoke-heavy-duty-cable-spiker-web.pdf | https://www.tester.co.uk/acvoke-cartridges-box-of-25-yellow-silver-green-red | [8 empty] | Enriched | 27112800 Tool attachments and accessories | COLOUR:RED,CALIBRE:0.44 IN,GRAIN SIZE:20,POWERLOAD |  | CARTRIDGE | NO MODIFIER | TYPE | CABLE SPIKER,HEAVY CHARGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1038349 | 1038349 |  |  |  | ERSA | M | 5915 | 1411438GZPCLNT100 | EA |  | CARTRIDGE;DUMP,STEEL HARDENED,40K | CARTRIDGE;DUMP,STEEL HARDENED,40K | CARTRIDGE;TYPE:DUMP,MATERIAL:STEEL HARDENED,ADDITIONAL FEATURES EN:40K | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | REF:40K |  | CARTRIDGE | NO MODIFIER | TYPE | DUMP | SIZE |  | MATERIAL | HARDENED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1149668 | 1149668 |  |  |  | ERSA | M | 1510 | 1496121GZPCLNT100 | EA |  | CHANNEL;100579 | CHANNEL;100579 | CHANNEL;ADDITIONAL FEATURES:100579 |  |  |  |  | 1069014 @@ TONKIN STEEL (NQ) PTY LTD | 1496121 | [10 empty] | TONKIN STEEL (NQ) PTY LTD | 1496121 |  |  |  | 100579 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHANNEL | NO MODIFIER | TYPE |  | SIZE |  | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1102752 | 1102752 |  |  |  | ERSA | M | 1510 | 1517198GZPCLNT100 | EA |  | CHANNEL;80,40,5MM,CHS0800405G316+0600 | CHANNEL;80,40,5MM,CHS0800405G316+0600 | CHANNEL;ADDITIONAL FEATURES:80,40,5MM,CHS0800405G316+0600 |  |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | CHS0800405G316+0600 | [12 empty] | VULCAN STEEL PTY LTD | CHS0800405G316+0600 | [16 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Enriched | 30101805 Stainless steel channels |  | PROCESS:HRAP(HOT ROLLED ANNEALED AND PICKLED),WEIGHT:6.15 KG/M | CHANNEL | STRUCTURAL | TYPE |  | WIDTH | 80 MM | LENGTH | 6 M | HEIGHT | 40 MM | MATERIAL | STAINLESS STEEL 316 ASTM A276/A484 | FLANGE THICKNESS |  | WEB THICKNESS | 5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1103887 | 1103887 |  |  |  | ERSA | M | 1510 | 1507148GZPCLNT100 | EA |  | CHANNEL;BLU,134616,134616 | CHANNEL;BLU,134616,134616 | CHANNEL;ADDITIONAL FEATURES:BLU,134616,134616 |  |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 134616 | [10 empty] | BLUESCOPE DISTRIBUTION | 134616 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHANNEL | NO MODIFIER | TYPE |  | SIZE |  | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1102214 | 1102214 |  |  |  | ERSA | M | 1600 | 1527867GZPCLNT100 | EA |  | CHANNEL;CABLE,PROTECT,3 X 63MM,BRA859908 | CHANNEL;CABLE,PROTECT,3 X 63MM,BRA859908 | CHANNEL;ADDITIONAL FEATURES:CABLE,PROTECT,3 X 63MM,BRA859908 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | BRA859908 | 1068740 @@ METAL MANUFACTURES PTY LTD | BRA859908 | [8 empty] | METAL MANUFACTURES PTY LTD | BRA859908 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHANNEL | NO MODIFIER | TYPE | CABLE PROTECT | SIZE | 3X63 MM | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | SIZE UPDATED BASED ON PART NUMBER | 1102800 | 1102800 |  |  |  | ERSA | M | 2600 | 1527842GZPCLNT100 | EA |  | CHANNEL;CH-380-100-L300-9000 CHAN,102067 | CHANNEL;CH-380-100-L300-9000 CHAN,102067 | CHANNEL;ADDITIONAL FEATURES:CH-380-100-L300-9000 CHAN,102067 |  |  |  |  | 1069512 @@ BLUESCOPE DISTRIBUTION | 102067 | 1068184 @@ BLUESCOPE DISTRIBUTION PTY LTD | 1527842 | [8 empty] | BLUESCOPE DISTRIBUTION | 102067 |  |  | BLUESCOPE DISTRIBUTION PTY LTD | 1527842 |  | CH-380-100-L300-9000 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30101800 Channels |  |  | CHANNEL | STRUCTURAL | TYPE |  | WIDTH | 380 MM | LENGTH | 9 M | HEIGHT | 100 MM | MATERIAL |  | FLANGE THICKNESS |  | WEB THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1102758 | 1102758 |  |  |  | ERSA | M | 1510 | 1517186GZPCLNT100 | EA |  | CHANNEL;G304,150 MM,CHS1500756G304+0600 | CHANNEL;G304,150 MM,CHS1500756G304+0600 | CHANNEL;ADDITIONAL FEATURES:G304,150 MM,CHS1500756G304+0600 |  |  |  |  | 1068455 @@ VULCAN STEEL PTY LTD | CHS1500756G304+0600 | [12 empty] | VULCAN STEEL PTY LTD | CHS1500756G304+0600 | [16 empty] | https://vulcan.co/wp-content/uploads/2022/12/Vulcan_Stainless_AUS_Product_Guide_2020_web.pdf | [9 empty] | Enriched | 30101805 Stainless steel channels |  | PROCESS:HRAP(HOT ROLLED ANNEALED AND PICKLED),WEIGHT:14.17 KG/M | CHANNEL | STRUCTURAL | TYPE |  | WIDTH | 150 MM | LENGTH | 6 M | HEIGHT | 75 MM | MATERIAL | STAINLESS STEEL 304 ASTM A276/A484 | FLANGE THICKNESS |  | WEB THICKNESS | 6 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1035977 | 1035977 |  |  |  | ERSA | M | 4090 | 1530660GZPCLNT100 | M |  | CHANNEL;PINCHWELD,8X5MM,31733 | CHANNEL;PINCHWELD,8X5MM,31733 | CHANNEL;ADDITIONAL FEATURES:PINCHWELD,8X5MM,31733 |  |  |  |  | 1071696 @@ CLARK RUBBER TOWNSVILLE | 31733 | [12 empty] | CLARK RUBBER TOWNSVILLE | 31733 | [16 empty] | https://www.clarkrubber.com.au/products/31733-pvc-black-pinchweld-small-8mm-x-5-5mm | [9 empty] | Enriched | 31410000 Seals |  | COLOUR:BLACK,GRIP RANGE: 1 TO 2 MM | SEAL | NO MODIFIER | TYPE | PINCHWELD | DIMENSIONS | 5 WDX8 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1104498 | 1104498 |  |  |  | ERSA | M | 4015 | 1538958GZPCLNT100 | EA |  | CHANNEL;SPRAY,SUPPLY W/BOLTS,QC36SC | CHANNEL;SPRAY,SUPPLY W/BOLTS,QC36SC | CHANNEL;ADDITIONAL FEATURES:SPRAY,SUPPLY W/BOLTS,QC36SC |  |  |  |  | 1069696 @@ CUMMING AIRCONDITIONING | QC36SC | 1075942 @@ WARDYS VENTURES PTY LTD | QC36SC | [8 empty] | CUMMING AIRCONDITIONING | QC36SC |  |  | WARDYS VENTURES PTY LTD | QC36SC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SUPPLY C/W BOLTS |  | CHANNEL | NO MODIFIER | TYPE | SPRAY | SIZE |  | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1112004 | 1112004 | 1419401 | AU_QM_000265449 |  | ERSA | M | 5915 | 1419401GZPCLNT100 | EA |  | CHANNEL;CH-230-075-L300-09000 | CHANNEL;CH-230-075-L300-09000 | CHANNEL;MNFR: ,PTNO:CH-230-075-L300-09000 |  | CHANNEL;CH-230-075-L300-09000CHANNEL;CH-230-075-L300-09000 | [15 empty] | CH-230-075-L300-09000 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 30101800 Channels |  |  | CHANNEL | STRUCTURAL | TYPE |  | WIDTH | 230 MM | LENGTH | 9 M | HEIGHT | 75 MM | MATERIAL |  | FLANGE THICKNESS |  | WEB THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1084693 | 1084693 |  |  |  | ERSA | M | 4500 | 1610042GZPCLNT100 | EA | 3000027 | CHANNEL;MET,41001019,SPCTRMTR,1000 MBAR | CANAL;MET,41001019 | CHANNEL;MNFR:METSO,PTNO:41001019,ADDITIONAL FEATURES EN:SPECTROMETER,1000 MBAR,SCS 2031,SET | CANAL;MNFR:METSO,PTNO:41001019 |  | METSO | 41001019 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 41001019 | [12 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 41001019 | METSO | 41001019 | [14 empty] | https://www.volza.com/p/channel-spectrometer/export/export-from-germany/ | [9 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | PRESSURE RATING:1000 MBAR,FOR MODEL SCS 2031,PACKAGE TYPE:SET |  | CHANNEL | NO MODIFIER | TYPE | SPECTROMETER | SIZE |  | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1084694 | 1084694 |  |  |  | ERSA | M | 4500 | 1610043GZPCLNT100 | EA | 3000027 | CHANNEL;MET,41001045,SPCTRMTR,3000 MBAR | CANAL;MET,41001045 | CHANNEL;MNFR:METSO,PTNO:41001045,ADDITIONAL FEATURES EN:SPECTROMETER,3000 MBAR,SET,SCS 2373 | CANAL;MNFR:METSO,PTNO:41001045 |  | METSO | 41001045 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 41001045 | [12 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 41001045 | METSO | 41001045 | [14 empty] | https://www.volza.com/p/channel-spectrometer/export/export-from-germany/ | [9 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | PRESSURE RATING:3000 MBAR,FOR MODEL SCS 2373,PACKAGE TYPE:SET |  | CHANNEL | NO MODIFIER | TYPE | SPECTROMETER | SIZE |  | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1055575 | 1055575 |  |  |  | ERSA | M | 1600 | 1585962GZPCLNT100 | EA |  | CHANNEL;CLEAR,1 M,PVC,LED ROPE LIGHT | CANAL;,PVC | CHANNEL;TYPE:CLEAR,SIZE:1 M,MATERIAL:PVC,ADDITIONAL FEATURES EN:LED ROPE LIGHT | CANAL;MATERIAL:PVC |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FIRLRL-CHANNEL-PVC-1M | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FIRLRL-CHANNEL-PVC-1M | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COLOUR:CLEAR |  | CHANNEL | NO MODIFIER | TYPE | LED ROPE LIGHT | SIZE | 1 M LG | SHANK SIZE |  | MATERIAL | PVC | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1055368 | 1055368 |  |  |  | ERSA | M | 4090 | 1615995GZPCLNT100 | EA |  | CHANNEL;U,5 M,PVC,METAL CAGED,PINCHWELD | CANAL;U,PVC | CHANNEL;TYPE:U,SIZE:5 M,MATERIAL:PVC,ADDITIONAL FEATURES EN:METAL CAGED,PINCHWELD | CANAL;TIPO:U,MATERIAL:PVC |  |  |  | 1068391 @@ BOSS | REPINCH60055RC | [12 empty] | REDCAT | REPINCH60055RC | BOSS | REPINCH60055RC | [14 empty] | https://www.rcidistribution.com.au/pinchweld-no.-055n-large-side-bulb-5mtr-redcat | https://www.cdaets.com.au/pdf/2020EOY_Brochure_INDUSTRIAL_Web_CDA.pdf | [8 empty] | Enriched | 31410000 Seals | METAL CAGED | C/W EPDM SPONGE SIDE BULB | SEAL | NO MODIFIER | TYPE | U CHANNEL,PINCHWELD | DIMENSIONS | 5 M LG | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1050708 | 1050708 |  |  |  | ERSA | M | 4090 | 1583365GZPCLNT100 | EA |  | CHANNEL;U,5X8MMX5M,PINCHWELD MTL CAGED | CANAL;U | CHANNEL;TYPE:U,SIZE:5X8MMX5M,ADDITIONAL FEATURES EN:PINCHWELD MTL CAGED,PVC | CANAL;TIPO:U |  |  |  | 1068391 @@ BOSS | REPINCH60059R | [12 empty] | REDCAT | REPINCH60059R | BOSS | REPINCH60059R | [14 empty] | https://www.rcidistribution.com.au/pinchweld-no.-059r-pvc-small-section-5mtr-redcat | [9 empty] | Enriched | 31410000 Seals | METAL CAGED | GRIP RANGE: 1 TO 2 MM | SEAL | NO MODIFIER | TYPE | U CHANNEL,PINCHWELD | DIMENSIONS | 5 LG MX5 WDX8 HT MM | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1050709 | 1050709 |  |  |  | ERSA | M | 4090 | 1583366GZPCLNT100 | EA |  | CHANNEL;U,6.5X9MMX5M,EDGE PROTECTOR | CANAL;U | CHANNEL;TYPE:U,SIZE:6.5X9MMX5M,ADDITIONAL FEATURES EN:EDGE PROTECTOR | CANAL;TIPO:U |  |  |  | 1068391 @@ BOSS | REPINCH60063R | [12 empty] | REDCAT | REPINCH60063R | BOSS | REPINCH60063R | [14 empty] | https://www.rcidistribution.com.au/pinchweld-063r-u-channel-edge-protector-5mt-redcat | [9 empty] | Enriched | 31410000 Seals |  | GRIP RANGE: 1 TO 2.5 MM,METAL CAGED | SEAL | NO MODIFIER | TYPE | U CHANNEL,PINCHWELD,EDGE PROTECTOR | DIMENSIONS | 5 LG MX6.5 WDX9 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1066481 | 1066481 | 1362583 | AU_QM_000162027 |  | ERSA | M | 4500 | 1362583GZPCLNT100 | EA |  | C/WEIGHT H/G INTERFACE | C/WEIGHT H/G INTERFACE | DISPLAY UNIT: C/WEIGHT H/G INTERFACE |  | DISPLAY UNIT: C/WEIGHT H/G INTERFACE |  |  | 1070724 @@ ECAM PTY LTD | 1362583 | [10 empty] | ECAM PTY LTD | 1362583 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | UNIT,C/WEIGHT H/G |  | DISPLAY | OPERATOR INTERFACE | TYPE |  | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1066491 | 1066491 | 1362561 | AU_QM_000162003 |  | ERSA | M | 4500 | 1362561GZPCLNT100 | EA |  | DIGICOM REMOTE INSPECTION UNIT; RIU; PEN | DIGICOM REMOTE INSPECTION UNIT; RIU; PEN | DISPLAY UNIT: DIGICOM REMOTE INSPECTION UNIT; RIU; PEN DANT |  | DISPLAY UNIT: DIGICOM REMOTE INSPECTION UNIT; RIU; PEN |  |  | 1070724 @@ ECAM PTY LTD | 1362561 | [10 empty] | ECAM PTY LTD | 1362561 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays |  |  | DISPLAY | NO MODIFIER | TYPE | DIGICOM REMOTE INSPECTION UNIT | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE | PENDENT | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1066756 | 1066756 | 1366356 | AU_QM_000169023 |  | ERSA | M | 4500 | 1366356GZPCLNT100 | EA |  | DISPLAY EXTENDER; BOX PRODUCT,USB,CAT X | DISPLAY EXTENDER; BOX PRODUCT,USB,CAT X | DISPLAY UNIT: DISPLAY EXTENDER; BOX PRODUCT,USB,CAT X |  | DISPLAY UNIT: DISPLAY EXTENDER; BOX PRODUCT,USB,CAT X |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1366356 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1366356 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43210000 Computer Equipment and Accessories | BOX PRODUCT,INTERFACE:USB,CAT X |  | EXTENSION | NO MODIFIER | TYPE | DISPLAY UNIT | EXTENDED SIZE |  | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1203850 | 1203850 |  |  |  | ERSA | M | 3700 | 271032MRM | EA |  | DISPLAY UNIT:PVP7 STD;7INCH;TFT COLOUR;T | DISPLAY UNIT:PVP7 STD;7INCH;TFT COLOUR;T | DISPLAY UNIT:PVP7 STD;7INCH;TFT COLOUR;TOUCH;ENET;24VDC |  |  |  |  | 1068083 @@ NHP ELECTRICAL ENGINEERING PROD | PN1203850 | [12 empty] | NHP | PVP7 STD | NHP ELECTRICAL ENGINEERING PROD | PN1203850 | [14 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-373/NHP_AU_Catalog-676/NHP_AU_Catalog-677/2711PT12W21D8S | [9 empty] | Enriched | 32151900 Automation control connectivity devices | UNIT |  | DISPLAY | OPERATOR INTERFACE | TYPE | TOUCH PANEL,WIDESCREEN | DISPLAY TYPE | TFT COLOUR | DISPLAY SIZE | 12 IN | RESOLUTION | 1280X800 PIXEL | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | ETHERNET,USB | MEMORY | 100 MB | MOUNTING TYPE |  | ENCLOSURE | IP54/IP66 | SIZE | 340 WDX240 HTX56.5 DP MM | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX, CE, CSA, RCM, ROHS,C-UL-US, KC,AS/NZS CISPR 11, CSA C22.2 NO.213, EC EMC, EC 2006/95/EC, EN 61000-6-4, EN 61000-6-2, EN 61131-2, IEC 60529, ISA 12.12.01 CLASS 1 DIV 2, NEMA 4X, UL 13, UL 50 | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1207911 | 1207911 |  |  |  | ERSA | M | 4500 | 1103936MRM | EA |  | DISPLAY UNIT:SAMSUNG;C300 19.5IN WIDE;(1 | DISPLAY UNIT:SAMSUNG;C300 19.5IN WIDE;(1 | DISPLAY UNIT:SAMSUNG;C300 19.5IN WIDE;(16:9); LED;1600 X 900;5MS;DSUB;TILT;3YR; ANALOGUE <(>&<)>DVI; | [46 empty] | Cleansed | 32151900 Automation control connectivity devices | UNIT FOR SAMSUNG C300,TIME:5 MS,WARRANTY:3 YR,TILT |  | DISPLAY | OPERATOR INTERFACE | TYPE | ANALOGUE,DVI | DISPLAY TYPE | LED | DISPLAY SIZE | 19.5 IN | RESOLUTION | 1600X900 PIXEL | ELECTRICAL RATING |  | INTERFACE TYPE | DSUB | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1216744 | 1216744 |  |  |  | ERSA | M | 1600 | 147094MRM | EA |  | DISPLAY UNIT:VEGA REMOTE DISPLAY;VEGDIS8 | DISPLAY UNIT:VEGA REMOTE DISPLAY;VEGDIS8 | DISPLAY UNIT:VEGA REMOTE DISPLAY;VEGDIS81.IXIKIMACX REMOTE DISPLAY | [18 empty] | VEGA | VEGDIS81.IXIKIMACX | [16 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/indicating-instruments/vegadis-81 | https://au.rs-online.com/web/p/sensor-accessories/9010286 | [8 empty] | Enriched | 32151900 Automation control connectivity devices | UNIT | C/W ADJUSTMENT UNIT | DISPLAY | OPERATOR INTERFACE | TYPE | DIGITAL,EXTERNAL REMOTE | DISPLAY TYPE | LCD | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE | 4-WIRE SERIAL | MEMORY |  | MOUNTING TYPE | WALL | ENCLOSURE | IP66/IP67 | SIZE |  | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,CCC,FM,EAC (GOST),IEC,UKEX | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Part Number Updated as per Websource | 1052041 | 1052041 |  |  |  | ERSA | M | 1600 | 1579455GZPCLNT100 | EA |  | DISPLAY,OPER I/F;SIMATIC HMI TP1200 COMF | INTERFAZ VISUALIZ OPER; | DISPLAY,OPERATOR INTERFACE;ADDITIONAL FEATURES EN:SIMATIC HMI TP1200 COMFORT,COMFORT PANEL | INTERFAZ VISUALIZ OPERADOR; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | APS6AV2124OMC01OAX0 | [12 empty] | SIEMENS | 6AV2124-0MC01-0AX0 |  |  | METAL MANUFACTURES PTY LTD | APS6AV2124OMC01OAX0 | [12 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6AV2124-0MC01-0AX0 | https://media.distributordatasolutions.com/siemensdi/2019q4/c988591edac84227a79f074307db96e35f04b75a.pdf | [8 empty] | Enriched | 32151900 Automation control connectivity devices | SIMATIC TP1200 COMFORT PANEL |  | DISPLAY | OPERATOR INTERFACE | TYPE | HMI | DISPLAY TYPE | TFT | DISPLAY SIZE | 12 IN | RESOLUTION | 800X1280 PIXEL | ELECTRICAL RATING | 24 VDC,0.85 A,20 W | INTERFACE TYPE | PROFINET,MPI/PROFIBUS DP | MEMORY | 12 MB | MOUNTING TYPE | VERTICAL | ENCLOSURE | IP65 | SIZE | 330 WDX241 HTX65 DP MM | TEMPERATURE RATING | 0 TO 50 DEG C | HAZARD CLASS | ATEX ZONE 2, ATEX ZONE 22,IECEX ZONE 2,IECEX ZONE 22,CLASS I ZONE 1,CLASS I ZONE 2 DIVISION 2 | CERTIFICATION/STANDARD | CE,UL,RCM,KC | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1051665 | 1051665 |  |  |  | ERSA | M | 1600 | 1583681GZPCLNT100 | EA |  | DISPLAY,OPER I/F;VEGADIS 81,SS,REMT | INTERFAZ VISUALIZ OPER; | DISPLAY,OPERATOR INTERFACE;ADDITIONAL FEATURES EN:VEGADIS 81,SS,REMOTE | INTERFAZ VISUALIZ OPERADOR; |  |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | DIS81.IXIVNMKDX | [12 empty] | VEGA | VEGADIS 81 | MARCON AGENCIES PTY LTD | DIS81.IXIVNMKDX | [14 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/indicating-instruments/vegadis-81 | [9 empty] | Enriched | 32151900 Automation control connectivity devices | CASE MATERIAL:STAINLESS STEEL | C/W ADJUSTMENT UNIT | DISPLAY | OPERATOR INTERFACE | TYPE | DIGITAL,EXTERNAL REMOTE | DISPLAY TYPE | LCD | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE | IP66/IP67 | SIZE |  | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,CCC,FM,EAC (GOST),IEC,UKEX | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Series Match | 1042833 | 1042833 | 1404741 | AU_QM_000249555 |  | ERSA | M | 5915 | 1404741GZPCLNT100 | EA |  | DISPLAY,OPER I/F;WEIGHER,RELY | DISPLAY,OPER I/F;WEIGHER,RELY | DISPLAY,OPERATOR INTERFACE;TYPE:WEIGHER,ADDITIONAL FEATURES EN:RELAY,MNFR:01)PARTS,PTNO:01)PM4-SG-110-5E-A |  | DISPLAY,OPER I/F;WEIGHER,RELYDISPLAY,OPER I/F;WEIGHER,RELAY,PM4SG | [16 empty] | AMALGAMATED INSTRUMENT CO | PM4-SG-110-5E-A | [16 empty] | https://www.aicpl.com/pdf/pm4sgman.pdf | [9 empty] | Enriched | 32151900 Automation control connectivity devices | OUTPUT TYPE:RELAY |  | DISPLAY | OPERATOR INTERFACE | TYPE | WEIGHER | DISPLAY TYPE | LED/LCD | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING | 110 VAC | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE | PANEL | ENCLOSURE |  | SIZE | 44X92X120 MM | TEMPERATURE RATING | -10 TO 50 DEG C/-10 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1066893 | 1066893 | 1366198 | AU_QM_000168838 |  | ERSA | M | 1600 | 1366198GZPCLNT100 | EA |  | DISPLAY; RCS; ATLAS COPCO EASER L | DISPLAY; RCS; ATLAS COPCO EASER L | DISPLAY,OPTOELECTRONIC: DISPLAY; RCS; ATLAS COPCO EASER L |  | DISPLAY,OPTOELECTRONIC: DISPLAY; RCS; ATLAS COPCO EASER L |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1366198 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 1366198 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | RCS,FOR ATLAS COPCO EASER L |  | DISPLAY | OPERATOR INTERFACE | TYPE | OPTOELECTRONIC | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1149904 | 1149904 |  |  |  | ERSA | M | 1600 | 1538851GZPCLNT100 | EA |  | DISPLAY;ANALOG SIGNALS,DP2200 | DISPLAY;ANALOG SIGNALS,DP2200 | DISPLAY;ADDITIONAL FEATURES:ANALOG SIGNALS,DP2200 |  |  |  |  | 1069796 @@ IFM EFECTOR PTY LTD | DP2200 | [12 empty] | IFM EFECTOR PTY LTD | DP2200 | [16 empty] | https://www.ifm.com/mounting/80235112UK.pdf | https://www.ifm.com/in/en/product/DP2200 | [8 empty] | Enriched | 32151900 Automation control connectivity devices |  |  | DISPLAY | OPERATOR INTERFACE | TYPE | ANALOG SIGNAL | DISPLAY TYPE | LED | DISPLAY SIZE | 3.8 WDX6.8 HT MM | RESOLUTION |  | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | IO-LINK | MEMORY |  | MOUNTING TYPE | CLIP | ENCLOSURE | IP67 | SIZE |  | TEMPERATURE RATING | -25 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1146444 | 1146444 |  |  |  | ERSA | M | 1600 | 1527268GZPCLNT100 | EA |  | DISPLAY;DIGITAL INPUT MES,LD-DIP-DC-38D6 | DISPLAY;DIGITAL INPUT MES,LD-DIP-DC-38D6 | DISPLAY;ADDITIONAL FEATURES:DIGITAL INPUT MES,LD-DIP-DC-38D6 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LD-DIP-DC-38D6 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LD-DIP-DC-38D6 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays |  |  | DISPLAY | NO MODIFIER | TYPE | DIGITAL INPUT MES | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1150230 | 1150230 |  |  |  | ERSA | M | 4500 | 1525118GZPCLNT100 | EA |  | DISPLAY;INTERACTIVE,DELL,4K,C5522QT | DISPLAY;INTERACTIVE,DELL,4K,C5522QT | DISPLAY;ADDITIONAL FEATURES:INTERACTIVE,DELL,4K,C5522QT |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | SCPC5522QT | [12 empty] | DELL | C5522QT | METAL MANUFACTURES PTY LTD | SCPC5522QT | [14 empty] | https://www.dell.com/support/kbdoc/en-in/000185119/dell-c5522qt-monitor-usage-and-troubleshooting-guide | https://www.dell.com/en-au/shop/dell-55-4k-interactive-touch-monitor-c5522qt/apd/210-azdw/monitors-monitor-accessories | [8 empty] | Enriched | 32151900 Automation control connectivity devices | DISPLAY FORMAT:4K UHD | ASPECT RATIO:16:9,RESPONSE TIME:9 MS,VIEWING ANGLE:178 DEG | DISPLAY | OPERATOR INTERFACE | TYPE | FLAT,INTERACTIVETOUCHSCREEN | DISPLAY TYPE | LED BACKLIT LCD | DISPLAY SIZE | 55 IN | RESOLUTION | 3840X2160 PIXEL | ELECTRICAL RATING | 100 TO 240 VAC,50/60 HZ | INTERFACE TYPE | RS232,RJ45,HDMI,USB | MEMORY |  | MOUNTING TYPE | PANEL | ENCLOSURE |  | SIZE | 129.898 WDX76.978 HTX7.87 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EPEAT,CEL,WEEE,ERP,UL | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1155172 | 1155172 |  |  |  | ERSA | M | 1500 | 1514843GZPCLNT100 | EA |  | DISPLAY;STAND,TIMBER450250 | DISPLAY;STAND,TIMBER450250 | DISPLAY;ADDITIONAL FEATURES:STAND,TIMBER450250 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1514843 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1514843 | [18 empty] | URL NOT FOUND |  |  | TIMBER |  | 450250 |  |  |  |  | Cleansed | 56121902 Display stand |  |  | STAND | NO MODIFIER | TYPE | DISPLAY | SIZE |  | MATERIAL |  | NUMBER OF LEGS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1058463 | 1058463 |  |  |  | ERSA | M | 5100 | 1608591GZPCLNT100 | EA |  | DISPLAY;20 MA/HART | DISPLAY; | DISPLAY;ELECTRICAL RATING:20 MA/HART,ADDITIONAL FEATURES EN:Controller/display instrument/level sensors | DISPLAY; |  |  |  | 1069378 @@ VEGA AUSTRALIA PTY LTD | MET624.XXX | [12 empty] | VEGA AUSTRALIA PTY LTD | MET624.XXX | [16 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/controllers/vegamet-624 | https://www.blackwoods.com.au/electrical/test-measurement/leads-probes-clips/vega-signal-conditioning-unit-for-level-sensors-vegamet-624-met624-xxx/p/01091795 | [8 empty] | Enriched | 39121020 Signal conditioners | CONTROLLER/DISPLAY INSTRUMENT FOR LEVEL SENSOR | COMMUNICATION PROTOCOL:HART,DISPLAY TYPE:LCD,DEGREE OF PROTECTION:IP20/IP30,TERMINAL:SCREW | CONDITIONER | SIGNAL | TYPE |  | INPUT RATING | 20 TO 253 VAC/DC,50/60 HZ,7.5 W | OUTPUT RATING | 4 TO 20 MA | ISOLATION |  | ACCURACY | 0.1 PCT AT 20 MA | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,EAC (GOST),IEC,RINA | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1188619 | 1188619 |  |  |  | ERSA | M | 1600 | 1585098GZPCLNT100 | EA |  | DISPLAY;24 VDC,SPEED SWITCH,MINPROVISE | DISPLAY; | DISPLAY;ELECTRICAL RATING:24 VDC,ADDITIONAL FEATURES EN:SPEED SWITCH,MINPROVISE | DISPLAY; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MONPL60-24VDC | [10 empty] | MINPROVISE | MONPL60-24VDC |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | MONPL60-24VDC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays |  |  | DISPLAY | NO MODIFIER | TYPE | SPEED SWITCH | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING | 24 VDC | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1181244 | 1181244 |  |  |  | ERSA | M | 4500 | 1567929GZPCLNT100 | EA |  | DISPLAY;240V,SAMSUNG CT55,LC32T550FDEXXY | DISPLAY; | DISPLAY;ELECTRICAL RATING:240V,ADDITIONAL FEATURES EN:SAMSUNG CT55,LC32T550FDEXXY,CURVED FTD | DISPLAY; |  |  |  | 1070300 @@ HARVEY NORMAN FURNITURE MT ISA | LC32T550FDEXXY | 1068599 @@ MTI AVIT PTY LIMITED T/A MTI | 1567929 | 1068502 @@ ATOM SUPPLY | 1567929 | [8 empty] | SAMSUNG | LC32T550FDEXXY | HARVEY NORMAN FURNITURE MT ISA | LC32T550FDEXXY | MTI AVIT PTY LIMITED T/A MTI | 1567929 | ATOM SUPPLY | 1567929 | [10 empty] | https://www.samsung.com/au/monitors/curved/curved-monitor-with-optimal-curvature-1000r-32-inch-lc32t550fdexxy/ | [9 empty] | Enriched | 41111900 Indicating and recording instruments | SERIES:CT55 | ASPECT RATIO:16:9,ACTIVE DISPLAY SIZE (HXV):698.4X392.85 MM,COLOUR:DARK BLUE GRAY,COLOR SUPPORT:MAX 16.7 HDMI VERSION:1.4,M,ELECTRICAL RATING:100 TO 240 VAC,50/60 HZ,43.6 W,SCREEN CURVATURE:1000R,RESPONSE TIME:4(GTG),SIZE:708.8 WDX514.4 HTX271.7 DP MM( C/W STAND) ,708.8 WDX426 HTX133.5 DP MM( W/O STAND) | MONITOR | VIDEO | TYPE | CURVED FTD | SCREEN SIZE | 32 IN | MAX RESOLUTION | 1920X1080 | CONTRAST RATIO | 3000:1 | VERTICAL RESOLUTION |  | HORIZONTAL RESOLUTION |  | VERTICAL VIEWING ANGLE | 178 DEG | HORIZONTAL VIEWING ANGLE | 178 DEG | TEMPERATURE RATING | 10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | TUV | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1051499 | 1051499 |  |  |  | ERSA | M | 1600 | 1574959GZPCLNT100 | EA |  | DISPLAY;3.5 DIGITS,DIG VOLTMETER,DC,LED | DISPLAY; | DISPLAY;ELECTRICAL RATING:3.5 DIGITS,ADDITIONAL FEATURES EN:DIG VOLTMETER,DC,LED | DISPLAY; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 563633 | [26 empty] | RS COMPONENTS PTY LTD | 563-633 |  |  | https://in.rsdelivers.com/product/rs-pro/rs-pro-500ma-t-glass-cartridge-fuse-5-x-20mm/0563633 | [9 empty] | Enriched | 39121606 Cartridge fuses |  | FUSE SPEED:T | FUSE | CARTRIDGE | TYPE |  | CURRENT RATING | 500 MA | VOLTAGE RATING | 250 VAC | INTERRUPT RATING |  | SIZE | 5 DIAX20 LG MM | CLASS |  | MATERIAL | GLASS | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1056950 | 1056950 |  |  |  | ERSA | M | 5100 | 1558704GZPCLNT100 | EA |  | DISPLAY;IP66/IP67 | DISPLAY; | DISPLAY;ELECTRICAL RATING:IP66/IP67,ADDITIONAL FEATURES EN:EXTERNAL,INDICATING & ADJUSTMENT UNIT,VEGA DIS81 | DISPLAY; |  |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | 1558704 | [12 empty] | VEGA | VEGADIS 81 | MARCON AGENCIES PTY LTD | 1558704 | [14 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/indicating-instruments/vegadis-81 | [9 empty] | Enriched | 32151900 Automation control connectivity devices | DEGREE OF PROTECTION:IP66/IP67,FOR INDICATING, C/W ADJUSTMENT UNIT |  | DISPLAY | OPERATOR INTERFACE | TYPE | DIGITAL,EXTERNAL | DISPLAY TYPE | LCD | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE | IP66/IP67 | SIZE |  | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,CCC,FM,EAC (GOST),IEC,UKEX | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1184698 | 1184698 |  |  |  | ERSA | M | 5935 | 1558745GZPCLNT100 | EA |  | DISPLAY;310154 | DISPLAY; | DISPLAY;ELECTRICAL RATING:TBC,ADDITIONAL FEATURES EN:DIGITAL,LOAD READOUT,LED MATRIX,ILS200SMC3 | DISPLAY; |  |  |  | 1068072 @@ EILBECK CRANES | 310154 | [10 empty] | EILBECK CRANES | 310154 |  |  | ILS200SMC3 | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays | TBC |  | DISPLAY | NO MODIFIER | TYPE | DIGITAL,LOAD READOUT,LED MATRIX | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1086223 | 1086223 |  |  |  | ERSA | M | 5955 | 1578407GZPCLNT100 | EA | 3000410 | DISPLAY;ADLF,2066485,CLSTR | DISPLAY;ADLF,2066485 | DISPLAY;MNFR:ADAPT-A-LIFT,PTNO:2066485,ADDITIONAL FEATURES EN:CLUSTER | DISPLAY;MNFR:ADAPT-A-LIFT,PTNO:2066485 |  | ADAPT-A-LIFT | 2066485 | [14 empty] | HYSTER | 2066485 | ADAPT-A-LIFT | 2066485 | [14 empty] | https://intellaparts.com/p/HY-SO-2066485/BEZEL_DISPLAY_CLUST.html | [9 empty] | Cleansed | 43211900 Computer displays |  |  | DISPLAY | NO MODIFIER | TYPE | CLUSTER | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1013577 | 1013577 |  |  |  | ERSA | M | 3750 | 1555513GZPCLNT100 | EA | 3000418 | DISPLAY;BORT,5303273,FRAMEA,MNTA,KIT | DISPLAY;BORT,5303273 | DISPLAY;MNFR:BOART LONGYEAR,PTNO:5303273,ADDITIONAL FEATURES EN:FRAMEA,MNTA,KIT | DISPLAY;MNFR:BOART LONGYEAR,PTNO:5303273 |  | BOART LONGYEAR | 5303273 | 1069364 @@ BOART LONGYEAR | 5303273 | [10 empty] | BOART LONGYEAR PTY LTD | 5303273 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays | FRAMEA,MNTA,KIT |  | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1080637 | 1080637 |  |  |  | ERSA | M | 5100 | 1615500GZPCLNT100 | EA | 3000418 | DISPLAY;BORT,5307960,CTRL PNL,LM DCI MK2 | DISPLAY;BORT,5307960 | DISPLAY;MNFR:BOART LONGYEAR,PTNO:5307960,ADDITIONAL FEATURES EN:CONTROL PANEL,LM DCI MK2 | DISPLAY;MNFR:BOART LONGYEAR,PTNO:5307960 |  | BOART LONGYEAR | 5307960 | 1068617 @@ BOART LONGYEAR PTY LTD | 5307960 | [10 empty] | BOART LONGYEAR PTY LTD | 5307960 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays | LM DCI MK2 |  | DISPLAY | NO MODIFIER | TYPE | CONTROL PANEL | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1086076 | 1086076 |  |  |  | ERSA | M | 3730 | 1580729GZPCLNT100 | EA | 3000003 | DISPLAY;CAT,484-9763,LOAD SENSING IND | DISPLAY;CAT,484-9763 | DISPLAY;MNFR:CATERPILLAR,PTNO:484-9763,ADDITIONAL FEATURES EN:LOAD SENSING IND | DISPLAY;MNFR:CATERPILLAR,PTNO:484-9763 |  | CATERPILLAR | 484-9763 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4849763 | [12 empty] | CATERPILLAR | 484-9763 | HASTINGS DEERING(AUSTRALIA) LTD | 4849763 | [14 empty] | https://parts.cat.com/en/catcorp/484-9763 | [9 empty] | Enriched | 43211900 Computer displays | LOAD SENSING IND | MATERIAL:PLASTIC | DISPLAY | NO MODIFIER | TYPE | LARGE SCALE INTEGRATION | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING | 10.5 TO 15 V,0.3 A | MOUNTING TYPE |  | SIZE | 199 LGX85 WDX43 HT MM | TEMPERATURE RATING | -30 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1011852 | 1011852 |  |  |  | ERSA | M | 5810 | 1614264GZPCLNT100 | EA | 3000027 | DISPLAY;MET,MM0498257,UNT | DISPLAY;MET,MM0498257 | DISPLAY;MNFR:METSO,PTNO:MM0498257,ADDITIONAL FEATURES EN:UNIT | DISPLAY;MNFR:METSO,PTNO:MM0498257 |  | METSO | MM0498257 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | MM0498257 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | MM0498257 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays | UNIT |  | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1100307 | 1100307 | 1382448 | AU_QM_000222559 |  | ERSA | M | 5100 | 1382448GZPCLNT100 | EA | 3000012 | DISPLAY;TOY,PZQ6000525PA | DISPLAY;TOY,PZQ6000525PA | DISPLAY;MNFR:TOYOTA,PTNO:PZQ6000525PA |  | DISPLAY;TOY,PZQ6000525PADISPLAY;BEL,PZQ6000525PA | TOYOTA | PZQ6000525PA | [14 empty] | TOYOTA | PZQ6000525PA | BEL | [15 empty] | https://shop.cessnocktoyota.com.au/shop/audio-electrical/genuine-toyota-6-1-display-audio-single-cd-mp3-radio-w-bluetooth-usb-ipod-compatible-pzq6000525pa/ | [9 empty] | Enriched | 43211900 Computer displays |  | AUDIO-SINGLE CD MP3,RADIO C/W BLUETOOTH,USB-IPOD | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE | 6.1 IN | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE | 28X29X21 CM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Processed based on Websource, Conflict w.r.t Input | 1116814 | 1116814 | 1360158 | AU_QM_000157110 |  | ERSA | M | 1600 | 1360158GZPCLNT100 | EA |  | DISPLAY;OPTOELECTRONIC, LED,12-24 VDC | DISPLAY;OPTOELECTRONIC, LED,12-24 VDC | DISPLAY;OPTOELECTRONIC, LED,ELECTRICAL RATING:12-24 VDC,MNFR:01)CNW,PTNO:01)N208.533A101 |  | DISPLAY,OPTOELECTRONIC: LED DISPLAY; 12-24VDC; CRUSHER JAW GAP A |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ISI32.013AB01 | [12 empty] | BAUMER | ISI32.013AB01 | CNW | N208.533A101 | CNW (MOUNT ISA) ELECT WHOLESALER | ISI32.013AB01 | [12 empty] | https://www.baumer.com/medias/__secure__/Baumer_ISI30_ISI31_ISI32_ISI33_DS_EN.pdf?mediaPK=8801107050526 | [9 empty] | Enriched | 41111901 Counters |  |  | COUNTER | NO MODIFIER | TYPE | UP/DOWN,SMALL IMPLUSE | COUNTING RANGE | -9999999 TO 99999999 | DISPLAY TYPE | LCD | POWER SUPPLY | 10 TO 260 VAC/DC | MATERIAL |  | RESET TYPE | BUTTON,ELECTRIC | TEMPERATURE RATING | 10 TO 60 DEG C | SIZE | 48 LGX48 WDX24 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 61000-6-4,DIN EN 61000-6-2,UL | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 | Part Number Updated as per Websource | 1170593 | 1170593 | 1455420 | AU_QM_001255256 |  | ERSA | M | 4500 | 1455420GZPCLNT100 | EA |  | DISPLAY;TOUCHSCREEN, COLOR,113/32 IN,CNW | DISPLAY;TOUCHSCREEN, COLOR,113/32 IN,CNW | DISPLAY;TOUCHSCREEN, COLOR,DISPLAY SIZE:113/32 IN,ADDITIONAL FEATURES EN:UNIT, MEMORY: 128 MB,MNFR:01)CNW,PTNO:01)2711-RDT10C |  | DISPLAY UNIT: PANELVIEW 1000;TOUCH DISPLAY;COLOUR; | [16 empty] | ALLEN-BRADLEY | 2711P-RDT10C | [16 empty] | https://www.rockwellautomation.com/en-us/products/details.2711P-RDT10C.html | [9 empty] | Enriched | 32151900 Automation control connectivity devices | UNIT,PANELVIEW 1000,MEMORY: 128 MB | FLASH MEMORY:20 MB | MODULE | DISPLAY | TYPE | TOUCHSCREEN,COLOR | DISPLAY TYPE | COLOR ACTIVE MATRIX, THIN-FILM TRANSISTOR (TFT) C/W LCD | DISPLAY SIZE | 10-13/32 IN | POWER SUPPLY | 85 TO 264 VAC,47 HZ | RESOLUTION | 480X640 PIXEL | CONNECTION TYPE |  | SIZE | 329 WDX248 WDX55 HT MM | MOUNTING TYPE |  | ENCLOSURE TYPE | IP54/IP65 | TEMPERATURE RATING | 0 TO -25 DEG C | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1056652 | 1056652 |  |  |  | ERSA | M | 4500 | 1614346GZPCLNT100 | EA |  | DISPLAY;LED,640X480X200 MM,1920x1080 | DISPLAY; | DISPLAY;TYPE:LED,DISPLAY SIZE:640X480X200 MM,RESOLUTION:1920x1080,ELECTRICAL RATING:,ADDITIONAL FEATURES EN:HIGH RESOLUTION 5MM PITCH SIGN,SINGLE SIDED RGB (FULL COLOUR) | DISPLAY; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SIG640X480MM-P5 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | SIG640X480MM-P5 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 43211900 Computer displays | HIGH RESOLUTION 5 MM PITCH SIGN,SINGLE SIDED RGB (FULL COLOUR) |  | DISPLAY | NO MODIFIER | TYPE | LED | DISPLAY SIZE | 640X480X200 MM | RESOLUTION | 1920X1080 PIXEL | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1106549 | 1106549 | 1402273 | AU_QM_000246883 |  | ERSA | M | 5915 | 1402273GZPCLNT100 | EA |  | DISPLAY;MODL,REFERENCE NO: VU340 | DISPLAY;MODL,REFERENCE NO: VU340 | DISPLAY;TYPE:MODULE,ADDITIONAL FEATURES EN:REFERENCE NO: VU340,MNFR:01)PARTS,PTNO:01)71091670 |  | DISPLAY;MODL,REFERENCE NO: VU340DISPLAY;MODULE,REFERENCE NO: VU340 | [16 empty] | ENDRESS+HAUSER | VU340 |  | 71091670 | [14 empty] | https://portal.endress.com/dla/5000509/0280/000/00/EA0015P-a2_0909.pdf | https://industrie-24-de.myshopify.com/products/endress-hauser-vu340-anzeigenmodul?shpxid=e6d79921-635d-4232-9056-6be738483857 | [8 empty] | Enriched | 32151900 Automation control connectivity devices |  |  | MODULE | DISPLAY | TYPE |  | DISPLAY TYPE |  | DISPLAY SIZE |  | POWER SUPPLY |  | RESOLUTION |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | CSA,FM | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | PVJ | OK | 2023-11-02 | 2023-10-11 |  | 1152745 | 1152745 | 1475624 | AU_QM_000234246 |  | ERSA | M | 3020 | 1475624GZPCLNT100 | EA |  | DESICCANT BREATHER CARTRIDGE;BDE;1000 SI | DESICCANT BREATHER CARTRIDGE;BDE;1000 SI |  |  | BREATHER: DESICCANT BREATHER CARTRIDGE;BDE;1000 SI |  |  | 1068342 @@ ISADRAULICS | 1299655 | [12 empty] | HYDAC | 1299655 | ISADRAULICS | 1299655 | [14 empty] | https://catalog.hydac.com/item/breathers-desiccant/desiccant-breathers---bde/1299655 | https://www.mrostop.com/1299655-hydac-breather | [8 empty] | Enriched | 40142512 Breather | FILTER TYPE:BDE | CONFIGURATION:CARTRIDGE,FLOW RATING:110 GPM | BREATHER | NO MODIFIER | TYPE | DESICCANT | CONNECTION SIZE |  | FILTRATION RATE | 2 UM | MATERIAL | SILICA GEL | FILTER MEDIA | AIR | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 1000 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed