## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212739 | 1212739 |  |  |  | ERSA | M | 1600 | 137401MRM | EA |  | CONTROLLER,MOTOR:2.2KW VSD;SEC CRUSHING | CONTROLLER,MOTOR:2.2KW VSD;SEC CRUSHING | CONTROLLER,MOTOR:2.2KW VSD;SEC CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND |  |  | SECONDARY CRUSHING SWITCHROOM | [6 empty] | CLEANSED | 39121500 Electrical controls and accessories | MOTOR POWER:2.2 KW |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,VARIABLE SPEED DRIVE | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212033 | 1212033 |  |  |  | ERSA | M | 1600 | 136602MRM | EA |  | CONTROLLER,MOTOR:30KW;VSD;2200-FE-002;22 | CONTROLLER,MOTOR:30KW;VSD;2200-FE-002;22 | CONTROLLER,MOTOR:30KW;VSD;2200-FE-002;2200-FE-003;VSD'S; | [17 empty] | 2200-FE-003 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | MOTOR POWER:30 KW |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,VARIABLE SPEED DRIVE | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212738 | 1212738 |  |  |  | ERSA | M | 1600 | 137400MRM | EA |  | CONTROLLER,MOTOR:45KW VSD;SEC CRUSHING S | CONTROLLER,MOTOR:45KW VSD;SEC CRUSHING S | CONTROLLER,MOTOR:45KW VSD;SEC CRUSHING SWITCHROOM; | [36 empty] | URL NOT FOUND |  |  | SECONDARY CRUSHING SWITCHROOM | [6 empty] | CLEANSED | 39121500 Electrical controls and accessories | MOTOR POWER:45 KW |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,VARIABLE SPEED DRIVE | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1211908 | 1211908 |  |  |  | ERSA | M | 1600 | 167099MRM | EA |  | CONTROLLER,MOTOR:CONTROLLER: MOTOR SPEED | CONTROLLER,MOTOR:CONTROLLER: MOTOR SPEED | CONTROLLER,MOTOR:CONTROLLER: MOTOR SPEED: E3 IP66 0.37KW,1PH INPUT 3 PH OUTPUT 200-240V INTERNALEMC FILTER (OUTDOOR RATED) | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | MOTOR SPEED:E3,DEGREE OF PROTECTION:IP66,POWER RATING:0.37 KW,FOR INTERNALEMC FILTER (OUTDOOR RATED) |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR | FUNCTION |  | INPUT RATING | 200 TO 240 V,1 PH | OUTPUT RATING | 3 PH | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212605 | 1212605 |  |  |  | ERSA | M | 1600 | 364411MRM | EA |  | CONTROLLER,MOTOR:GREASE PUMP TIMER CONTR | CONTROLLER,MOTOR:GREASE PUMP TIMER CONTR | CONTROLLER,MOTOR:GREASE PUMP TIMER CONTROLLER;JAQUES MOTAY953 GREASE PUMP | [36 empty] | URL NOT FOUND |  |  | GREASE PUMP | JAQUES | MOTAY953 |  |  |  |  | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,TIMER | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212031 | 1212031 |  |  |  | ERSA | M | 1600 | 136600MRM | EA |  | CONTROLLER,MOTOR:IP20;VSD;0.75KW;2900-BU | CONTROLLER,MOTOR:IP20;VSD;0.75KW;2900-BU | CONTROLLER,MOTOR:IP20;VSD;0.75KW;2900-BU-024; | [17 empty] | 2900-BU-024 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | MOTOR POWER:0.75 KW,DEGREE OF PROTECTION:IP20 |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,VARIABLE SPEED DRIVE | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1210512 | 1210512 |  |  |  | ERSA | M | 4090 | 162614MRM | EA |  | CONTROLLER,PLC:24V DC SIGMA PLC ; CURREN | CONTROLLER,PLC:24V DC SIGMA PLC ; CURREN | CONTROLLER,PLC:24V DC SIGMA PLC ; CURRENT DRAW 500 MA;INCLUDES 24V DC DIGITAL INPUTS 24V DC DIGITAL OUTPUTS; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 32151700 Programmable Logic Controllers | CURRENT DRAW:500 MA |  | PLC | NO MODIFIER | TYPE | SIGMA | MODULE TYPE |  | INPUT SIGNAL | 24 VDC DIGITAL | OUTPUT SIGNAL | 24 VDC DIGITAL | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1206475 | 1206475 |  |  |  | ERSA | M | 1600 | 333676MRM | EA |  | CONTROLLER,PLC:MITSUBISHI PLC FX 64MR-ES | CONTROLLER,PLC:MITSUBISHI PLC FX 64MR-ES | CONTROLLER,PLC:MITSUBISHI PLC FX 64MR-ES | [18 empty] | MITSUBISHI | FX-64MR-ES | [16 empty] | https://docs.rs-online.com/ee23/0900766b8002fba4.pdf | http://www.inverter-plc.com/plc/FX_PLC/FX-64MR-ES-UL.html | [8 empty] | ENRICHED | 32151700 Programmable Logic Controllers |  | SIZE:270X140X95 MM,POWER RATING:60 VA | PLC | NO MODIFIER | TYPE | MICRO PC | MODULE TYPE |  | INPUT SIGNAL | 24 VDC,7 MA | OUTPUT SIGNAL |  | ELECTRICAL RATING | 100 TO 240 VAC | NUMBER OF INPUTS | 32 DIGITAL | NUMBER OF OUTPUTS | 32 RELAY | MEMORY |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1207486 | 1207486 |  |  |  | ERSA | M | 1600 | 684686MRM | EA |  | CONTROLLER,PLC:OMRON C200H-CPU-21-E2 PLC | CONTROLLER,PLC:OMRON C200H-CPU-21-E2 PLC | CONTROLLER,PLC:OMRON C200H-CPU-21-E2 PLC ASSY; | [18 empty] | OMRON | C200H-CPU-21-E2 | [16 empty] | https://www.edata.omron.com.au/eData/PLCs/C200H/W217-E1-2.pdf | [9 empty] | CLEANSED | 32151700 Programmable Logic Controllers | ASSEMBLY |  | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1214633 | 1214633 |  |  |  | ERSA | M | 1600 | 137973MRM | EA |  | CONTROLLER,PLC:PLC;MOBILE;DPI1500; | CONTROLLER,PLC:PLC;MOBILE;DPI1500; | CONTROLLER,PLC:PLC;MOBILE;DPI1500; | [36 empty] | URL NOT FOUND |  |  | MOBILE |  | DPI1500 |  |  |  |  | CLEANSED | 32151700 Programmable Logic Controllers |  |  | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1162870 | 1162870 | 1412452 | AU_QM_000257911 |  | ERSA | M | 5915 | 1412452GZPCLNT100 | EA |  | CONTROLLER,PRES;NARROW DIFFERENTIAL,IP20 | CONTROLLER,PRES;NARROW DIFFERENTIAL,IP20 | CONTROLLER,PRESSURE;TYPE:NARROW DIFFERENTIAL,PRESSURE RANGE:0.025-0.35 MPA,ENCLOSURE:IP20,ADDITIONAL FEATURES EN:DP SWITCH,MNFR: 01)KUBOTA,PTNO:01)190-1018-01-6 |  | CONTROLLER,PRES;NARROW DIFFERENTIAL,IP20CONTROLLER,PRES;NARROW DIFFERENTIAL,DP | [14 empty] | KUBOTA | 190-1018-01-6 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41112411 Pressure controllers | FOR DP SWITCH |  | CONTROLLER | PRESSURE | TYPE | NARROW DIFFERENTIAL | PRESSURE RANGE | 0.025 TO 0.35 MPA | ACCURACY |  | OUTPUT SIGNAL |  | POWER SUPPLY |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE |  | MATERIAL |  | ENCLOSURE | IP20 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 | Processed based on Websource, Conflict w.r.t Input | 1078125 | 1078125 | 1439910 | AU_QM_000982869 |  | ERSA | M | 5920 | 1439910GZPCLNT100 | EA | 3000028 | CONTROLLER;MIT,MR-H700A | CONTROLLER;MIT,MR-H700A | CONTROLLER;MNFR:MITSUBISHI,PTNO:MR-H700A |  | CONTROLLER,MOTOR: CSM AC SERVO MOTOR/REDUCER,7KW | MITSUBISHI | MR-H700A | [14 empty] | MITSUBISHI | MR-H700A | [16 empty] | https://www.radwell.co.uk/Buy/MITSUBISHI/MITSUBISHI/MR-H700A/?redirect=true | [9 empty] | ENRICHED | 32101514 Amplifiers |  |  | AMPLIFIER | NO MODIFIER | TYPE | SERVO | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY | 200 TO 220 VAC AT 50 HZ,200 TO 230 V AT 60 HZ,37 A,7 KW | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 | Processed based on Websource, Conflict w.r.t Input | 1005199 | 1005199 |  |  |  | ERSA | M | 5920 | 1355242GZPCLNT100 | EA | 3000014 | CONTROLLER;ABB,3BSE018104R1 | CONTROLLER;ABB,3BSE018104R1 | CONTROLLER;MNFR:ABB,PTNO:3BSE018104R1 |  |  | ABB | 3BSE018104R1 | 1068321 @@ ABB AUSTRALIA PTY LTD | 3BSE018104R1 | [12 empty] | ABB AUSTRALIA PTY LTD | 3BSE018104R1 | [16 empty] | https://www.maxodeals.com/mdenglish/abb-3bse018104r1-used-ump | [9 empty] | CLEANSED | 39121552 Electrical control modules |  |  | MODULE | PROCESSOR | TYPE |  | NUMBER OF PROCESSOR |  | PROCESSOR CORE CLOCK |  | MEMORY CLOCK |  | POWER RATING |  | CONNECTION TYPE |  | INTERFACE TYPE |  | SIZE |  | ENCLOSURE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1010044 | 1010044 |  |  |  | ERSA | M | 1600 | 1605242GZPCLNT100 | EA | 3000247 | CONTROLLER,PWR;CARG,125-0691 | REGULADOR POTEN;CARG,125-0691 | CONTROLLER,POWER;MNFR:CARLO GAVAZZI INC,PTNO:125-0691 | REGULADOR POTENCIA;MNFR:CARLO GAVAZZI INC,PTNO:125-0691 |  | CARLO GAVAZZI INC | 125-0691 | 1068206 @@ RS COMPONENTS PTY LTD | 125-0691 | [12 empty] | CARLO GAVAZZI INC | RGC1P23V30ED | [12 empty] | RS COMPONENTS PTY LTD | 125-0691 |  |  | https://www.gavazzionline.com/pdf/SSR_RGC1P.pdf | https://uk.rs-online.com/web/p/temperature-controllers/1250691 | [8 empty] | ENRICHED | 39121106 Power monitoring or control systems |  | SHORT CIRCUIT CURRENT:100 KA,NUMBER OF POLE:1 | CONTROLLER | POWER | TYPE |  | VOLTAGE RATING | 660 VAC | CURRENT RATING | 30 A | OUTPUT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | NUMBER OF PHASE |  | MOUNTING TYPE | DIN RAIL,PANEL | INTERFACE TYPE |  | OPERATOR INTERFACE TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CUL | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 | Processed based on Websource, Conflict w.r.t Input | 1013822 | 1013822 |  |  |  | ERSA | M | 1600 | 1569076GZPCLNT100 | EA | 3000422 | CONTROLLER,SPD;CNW,KFU8-DW-1.D,PEPPERL + | CONTROLADOR VELOC;CNW,KFU8-DW-1.D | CONTROLLER,SPEED;MNFR:CNW,PTNO:KFU8-DW-1.D,ADDITIONAL FEATURES EN:PEPPERL + FUCHS ROTATION SPEED MONITOR - KFU8-DW-1.D - 24, 110, 240 | CONTROLADOR VELOCIDAD;MNFR:CNW,PTNO:KFU8-DW-1.D |  | CNW | KFU8-DW-1.D | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | KFU8-DW-1.D | [12 empty] | PEPPERL + FUCHS | KFU8-DW-1.D | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.pepperl-fuchs.com/india/hi/classid_244.htm?view=productdetails&prodid=30923 | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments |  | CONNECTION:TERMINAL,TEMPERATURE RATING:-25 TO 40 DEG C | MONITOR | NO MODIFIER | TYPE | ROTATION SPEED | MEASURING RANGE |  | ACCURACY |  | DISPLAY TYPE |  | DISPLAY SIZE |  | ELECTRICAL RATING | 200 TO 230/100 TO 130 VAC,20 TO 30 VDC,50/60 HZ | MATERIAL |  | MOUNTING TYPE | SNAP-ON | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 50081-2/EN 50082-2 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1027827 | 1027827 | 1430994 | AU_QM_000683501 |  | ERSA | M | 5920 | 1430994GZPCLNT100 | EA | 3000021 | CONTROLLER;MOT,ADJ,CNW,FLY840341 | CONTROLLER;MOT,ADJ,CNW,FLY840341 | CONTROLLER;TYPE:MOTOR,ADDITIONAL FEATURES EN:ADJ,MNFR:FLYGT,PTNO:FPC-80 110VAC,MNFR:01)CNW,PTNO:01)FLY840341 |  | CONTROLLER,MOTOR: FLYGT PUMP;110VAC;ADJUSTABLE TIME DELAY; | FLYGT | FPC-80 110VAC | 1072013 @@ METAL MANUFACTURES PTY LTD | EMTRON EL-FIP2 110V | 1068118 @@ XYLEM WATER SOLUTIONS AUSTRALIA LIM | 840341 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 840341 | [6 empty] | FLYGT | FPC-80 110VAC |  |  | METAL MANUFACTURES PTY LTD | EL-FIP2 110V | XYLEM WATER SOLUTIONS AUSTRALIA LIM | 840341 | CNW (MOUNT ISA) ELECT WHOLESALER |  | EMTRON | [9 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | ADJ |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1032287 | 1032287 |  |  |  | ERSA | M | 1600 | 1538896GZPCLNT100 | EA | 3000446 | CONTROLLER;YOKG,AFV30D-A41152 | CONTROLLER;YOKG,AFV30D-A41152 | CONTROLLER;MNFR:YOKOGAWA,PTNO:AFV30D-A41152 |  |  | YOKOGAWA | AFV30D-A41152 | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | AFV30D-A41152 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | AFV30D-A41152 | [16 empty] | http://www.tek-international.com/tek-international_Product_2063312124_Yokogawa-AFV30D-A41152.html | https://www.everest-instruments.com/product/yokogawa-afv30d-a41152/ | [8 empty] | ENRICHED | 39121500 Electrical controls and accessories |  |  | UNIT | CONTROL | TYPE | DUPLEXED FIELD | SIZE |  | ELECTRICAL RATING | 100 TO 120 VAC,50/60 HZ | CERTIFICATION/STANDARD | [65 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1035432 | 1035432 | 1475049 | AU_QM_000176783 |  | ERSA | M | 1600 | 1475049GZPCLNT100 | EA |  | DTM;2WAY KIT | DTM;2WAY KIT |  |  | CONNECTOR,PLUG,ELEC:DTM;2WAY KIT |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2900 | [12 empty] | DEUTSCH | ACX2900 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/product.php?category=&product=ACX2900 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SERIES:DTM | CURRENT RATING:7.5 A | KIT | NO MODIFIER | TYPE | 2-WAY,CONNECTOR PLUG | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1036272 | 1036272 | 1475157 | AU_QM_000190310 |  | ERSA | M | 1600 | 1475157GZPCLNT100 | PAC |  | DTM;20PCS | DTM;20PCS |  |  | SOCKET:DTM;20PCS |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2998 | [12 empty] | DEUTSCH | ACX2998 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/product.php?category=&product=ACX2998 | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | SERIES:DTM,PACKAGING QUANTITY:20 PCS |  | SOCKET | ELECTRICAL | TYPE |  | CONFIGURATION |  | NUMBER OF POLES |  | VOLTAGE RATING |  | CURRENT RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1036273 | 1036273 | 1475156 | AU_QM_000190309 |  | ERSA | M | 1600 | 1475156GZPCLNT100 | PAC |  | DTM;20PCS;SOLID | DTM;20PCS;SOLID |  |  | PIN: DTM;20PCS;SOLID |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2997 | [12 empty] | DEUTSCH | ACX2998 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/product.php?category=&product=ACX2997 | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/electrical-connectors-crimp-terminals/deutsch-20awg-solid-gold-dtm-pins-20-pce-acx2997/p/A1194193 | [8 empty] | CLEANSED | 39121700 Electrical hardware and supplies | SERIES:DTM,PACKAGING QUANTITY:20 PCS |  | PIN | NO MODIFIER | TYPE | SOLID | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1036274 | 1036274 | 1475155 | AU_QM_000190308 |  | ERSA | M | 1600 | 1475155GZPCLNT100 | PAC |  | DTM;BLANKS;20PCS | DTM;BLANKS;20PCS |  |  | PLUG:DTM;BLANKS;20PCS |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2963 | [12 empty] | DEUTSCH | ACX2963 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/product.php?category=cable_accessories_connectors&product=ACX2963 | [9 empty] | CLEANSED | 20121301 Blanking plugs | SERIES:DTM,PACKAGING QUANTITY:20 PCS |  | PLUG | BLANKING | TYPE |  | NIPPLE PROFILE SIZE |  | ACTIVE FLOW WET MATERIAL YS |  | OVERALL LENGTH |  | MIN INSIDE DIAMETER |  | MAX OUTSIDE DIAMETER |  | UPPER CONNECTION |  | LOWER CONNECTION |  | WORKING TEMPERATURE |  | SERVICE NACE |  | QUALITY CONTROL PLAN |  | OUTSIDE DIAMETER |  | INSIDE DIAMETER |  | O-RING MATERIAL |  | APPROXIMATE WEIGHT |  | APPLICATION |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1050227 | 1050227 |  |  |  | ERSA | M | 1600 | 1607815GZPCLNT100 | EA |  | CONTROLLER,VOLT;SMARTSOLAR CHARGE,20 A | CONTROLADOR VOLT; | CONTROLLER,VOLTAGE;TYPE:SMARTSOLAR CHARGE,INPUT RATING:12/24/48 V,POWER RATING:20 A,ADDITIONAL FEATURES EN:BLUE LED:BULK,IP43, BRAND:VICTRON | CONTROLADOR VOLTAJE; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | VBSMPPT100/20R | [12 empty] | VICTRON | VBSMPPT100/20R | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://a1batterypro.com.au/product/victron-20a-122448v-smartsolar-charge-controller-mppt-10020/vbsmppt100%2F20r | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories |  | SIZE:113 LGX60 WDX100 HT MM | CONTROLLER | ELECTRICAL | TYPE | SMART SOLAR CHARGE | FUNCTION |  | INPUT RATING | 12/24/48 V,20 A | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1051663 | 1051663 |  |  |  | ERSA | M | 1600 | 1583637GZPCLNT100 | EA |  | CONTROLLER;B10 | CONTROLADOR; | CONTROLLER;TYPE:B10 | CONTROLADOR; |  |  |  | 1068100 @@ BERENDSEN FLUID POWER | B0010 | [10 empty] | BERENDSEN FLUID POWER | B0010 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | B10 |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1054248 | 1054248 |  |  |  | ERSA | M | 1600 | 1610570GZPCLNT100 | EA |  | CONTROLLER,SPD;VARIABLE,PN:QC36VSCO | CONTROLADOR VELOC;VARIABLE | CONTROLLER,SPEED;TYPE:VARIABLE,OUTPUT SIGNAL:,ADDITIONAL FEATURES EN:PN:QC36VSCO,PREWIRED,QUIETAIRE | CONTROLADOR VELOCIDAD;TIPO:VARIABLE |  |  |  | 1068391 @@ BOSS | QC36VSCO | [12 empty] | BOSS | QC36VSCO | [16 empty] | https://www.thebossshop.com.au/quietaire-variable-speed-controller-prewired | [9 empty] | ENRICHED | 26111544 Speed controller |  |  | CONTROLLER | SPEED | TYPE | PRE-WIRED VARIABLE | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT SIGNAL |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1055566 | 1055566 |  |  |  | ERSA | M | 5920 | 1585804GZPCLNT100 | EA |  | CONTROLLER;DUAL FUEL CAP ISOLATION | CONTROLADOR; | CONTROLLER;TYPE:DUAL FUEL CAP ISOLATION | CONTROLADOR; |  |  |  | 1068102 @@ REMOTE CONTROL TECHNOLOGIES P/L | 10133 | [12 empty] | REMOTE CONTROL TECHNOLOGIES P/L | 10133 | [16 empty] | https://rct-global.com/part/dual-fuel-cap-isolation-controller-to-suit-10136/ | [9 empty] | CLEANSED | 25172400 Fuel tanks and systems |  |  | CONTROLLER | NO MODIFIER | TYPE | DUAL FUEL CAP ISOLATION | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1056258 | 1056258 |  |  |  | ERSA | M | 5920 | 1606709GZPCLNT100 | EA |  | CONTROLLER,SRVO;ROTARY,22 MM | REGULADOR SERVO; | CONTROLLER,SERVO;TYPE:ROTARY,SIZE:22 MM,ADDITIONAL FEATURES EN:FLOW RATE :1100 L/H,CONNECTION THREAD:M22X1.5,BRAND:KARCHER | REGULADOR SERVO; |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 47754710 | [12 empty] | KARCHER | 47754710 | CAVA HYDRAULICS & ENGINEERING PTY L | [15 empty] | https://www.kaercher.com/in/accessory/servo-control-1100-l-h-47754710.html | [9 empty] | CLEANSED | 26111515 Servo controller | CONNECTION THREAD:M22 X 1.5 MM,FLOW RATE:1100 L/HR |  | CONTROLLER | SERVO | TYPE | ROTARY | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1056366 | 1056366 |  |  |  | ERSA | M | 5100 | 1608323GZPCLNT100 | EA |  | CONTROLLER;HOTPLATE PART | CONTROLADOR; | CONTROLLER;TYPE:HOTPLATE PART,ADDITIONAL FEATURES EN:CONTROLLER FOR LSHP2.2A (LSHP_CONT2.2A) | CONTROLADOR; |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | IH0075 | [10 empty] | ROWE SCIENTIFIC PTY LTD | IH0075 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | FOR LSHP2.2A (LSHP_CONT2.2A) |  | CONTROLLER | NO MODIFIER | TYPE | HOTPLATE PART | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1060037 | 1060037 |  |  |  | ERSA | M | 5100 | 1614254GZPCLNT100 | EA |  | CONTROLLER,LVL;ROBUST,VEGAMET 861 | CONTROLADOR NIVEL; | CONTROLLER,LEVEL;TYPE:ROBUST,VEGAMET 861,ADDITIONAL FEATURES EN:FOR LEVEL SENSORS,1X 4 TO 20 MA/HART SENSOR INPUT,2X DIGITAL INPUTS,1X 4 TO 20 MA CURRENT OUTPUT,4X OPERATING RELAYS,1X FAIL SAFE RELAY (INSTEAD OF OPERATING RELAY),ON-SITE DISPLAY,4-KEY AND SMARTPHONE OPERATION,WALL MOUNTING,CABLE ENTRY:M20X1.5 | CONTROLADOR NIVEL; |  |  |  | 1069378 @@ VEGA AUSTRALIA PTY LTD | CR - 222 22M | [12 empty] | VEGA | VEGAMET 861 |  | CR - 222 22M | [14 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/controllers/vegamet-861 | [9 empty] | ENRICHED | 41112407 Liquid level controls or instruments | INPUT:1X 4 TO 20 MA/HART SENSOR,2X DIGITAL,OUTPUT:1X 0/4 TO 20 MA CURRENT,1X FAIL SAFE RELAY (INSTEAD OF OPERATING RELAY),4X OPERATING RELAY,ON-SITE DISPLAY,4-KEY AND SMARTPHONE OPERATION,MOUNTING:WALL,CABLE ENTRY:M20 X 1.5 MM,FOR LEVEL SENSORS |  | CONTROLLER | LEVEL | TYPE | ROBUST | POWER SUPPLY |  | POWER RATING |  | OUTPUT TYPE |  | SIZE |  | ENCLOSURE | IP66/IP67, TYPE 4X | TEMPERATURE RATING | -40 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IEC,UKEX | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1060038 | 1060038 |  |  |  | ERSA | M | 5100 | 1614255GZPCLNT100 | EA |  | CONTROLLER,LVL;ROBUST,VEGAMET 862 | CONTROLADOR NIVEL; | CONTROLLER,LEVEL;TYPE:ROBUST,VEGAMET 862,ADDITIONAL FEATURES EN:FOR LEVEL SENSORS,2X 4 TO 20 MA/HART SENSOR INPUT,4X DIGITAL INPUT,3X 4 TO 20 MA CURRENT OUTPUT,6X OPERATING RELAY,1X FAIL SAFE RELAY(INSTEAD OF OPERATING RELAY),ON-SITE DISPLAY,4-KEY AND SMARTPHONE OPERATION,WALL MOUNTING,CABLE ENTRY:M20X1.5 | CONTROLADOR NIVEL; |  |  |  | 1069378 @@ VEGA AUSTRALIA PTY LTD | CR - 222 22K | [12 empty] | VEGA | VEGAMET 862 |  | CR - 222 22K | [14 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/controllers/vegamet-862 | https://docs.rs-online.com/d66c/A700000007112248.pdf | [8 empty] | ENRICHED | 41112407 Liquid level controls or instruments | INPUT:2X 4 TO 20 MA/HART SENSOR,4X DIGITAL,OUTPUT:3X 4 TO 20 MA CURRENT,6X OPERATING RELAY,1X FAIL SAFE RELAY(INSTEAD OF OPERATING RELAY),ON-SITE DISPLAY,4-KEY AND SMARTPHONE OPERATION,MOUNTING:WALL,CABLE ENTRY:M20 X 1.5 MM,FOR LEVEL SENSORS |  | CONTROLLER | LEVEL | TYPE | ROBUST | POWER SUPPLY | 100 TO 230 VAC,24 TO 65 VDC,50/60 HZ | POWER RATING | 19 VA,7 W | OUTPUT TYPE |  | SIZE | 200 LGX89.5 WDX136 HT MM | ENCLOSURE | IP66/IP67,TYPE 4X | TEMPERATURE RATING | -40 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1060897 | 1060897 |  |  |  | ERSA | M | 5935 | 1616371GZPCLNT100 | EA |  | CONTROLLER;REMT,PN:181724-26 | CONTROLADOR; | CONTROLLER;TYPE:REMOTE,ADDITIONAL FEATURES EN:PN:181724-26 | CONTROLADOR; |  |  |  | 1068072 @@ EILBECK CRANES | 181724-26 | [10 empty] | EILBECK CRANES | 181724-26 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | NO MODIFIER | TYPE | REMOTE | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1060899 | 1060899 |  |  |  | ERSA | M | 5935 | 1616373GZPCLNT100 | EA |  | CONTROLLER;XFMR,400/110 V,PN:181724-28 | CONTROLADOR; | CONTROLLER;TYPE:TRANSFORMER,ELECTRICAL RATING:400/110 V,ADDITIONAL FEATURES EN:PN:181724-28 | CONTROLADOR; |  |  |  | 1068072 @@ EILBECK CRANES | 181724-28 | [10 empty] | EILBECK CRANES | 181724-28 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | NO MODIFIER | TYPE | TRANSFORMER | ELECTRICAL RATING | 400/110 V | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1061153 | 1061153 |  |  |  | ERSA | M | 4090 | 1481080GZPCLNT100 | EA |  | CONTROLLER,PWR;CTRLR,POWER;SCH,860016310 | REGULADOR POTEN; | CONTROLLER,POWER;ADDITIONAL FEATURES EN:CONTROLLER,POWER;SCH,8600163100 | REGULADOR POTENCIA; |  |  |  | 1068239 @@ SCHNEIDER ELECTRIC (AUS) PTY LTD | 1481080 | [12 empty] | SCHNEIDER ELECTRIC | 8600163100 |  | 1481080 | [14 empty] | https://www.se.com/au/en/product/8600163100/ultra-controller-advc-intps-ftim-flexvue-230v-gpo-lrg-batteries-english/ | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories |  | INTERFACE:RS232,RJ45,USB 2.0,DISPLAY:LCD,SIZE:450 WDX960 HTX302 DP MM | CONTROLLER | ELECTRICAL | TYPE |  | FUNCTION |  | INPUT RATING | 230 VAC,800 A | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE | FLEXVUE | MOUNTING TYPE |  | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1061813 | 1061813 |  |  |  | ERSA | M | 4090 | 1564360GZPCLNT100 | EA |  | CONTROLLER,RADIO;HND HELD | CONTROLADOR RADIO; | CONTROLLER,RADIO;ADDITIONAL FEATURES EN:HAND HELD | CONTROLADOR RADIO; |  |  |  | 1068282 @@ BRETT TWYFORD ENTERPRISES | 1564360 | [10 empty] | BRETT TWYFORD ENTERPRISES | 1564360 | [28 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | RADIO | TYPE | HAND-HELD | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1063318 | 1063318 | 1430225 | AU_QM_000643155 |  | ERSA | M | 1630 | 1430225GZPCLNT100 | EA |  | CLEAVER BROOKS BOILER; | CLEAVER BROOKS BOILER; | CONTROLLER,MOTOR: CLEAVER BROOKS BOILER; BOILER TYPE CBA:621:600:250. H/WELL M9484F1031 24V: |  | CONTROLLER,MOTOR: CLEAVER BROOKS BOILER; |  |  | 1070004 @@ HONEYWELL PTY LTD | 1430225 | [10 empty] | HONEYWELL PTY LTD | 1430225 | [18 empty] | URL NOT FOUND |  |  |  | HONEYWELL | M9484F1031 |  |  |  |  | CLEANSED | 39121500 Electrical controls and accessories | FOR CLEAVER BROOKS BOILER TYPE CBA:621:600:250 |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR | FUNCTION |  | INPUT RATING | 24 V | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1067293 | 1067293 | 1457764 | AU_QM_001308113 |  | ERSA | M | 5315 | 1457764GZPCLNT100 | EA |  | CONCRETE PUMP FILTER; | CONCRETE PUMP FILTER; | SCRUBBER AND WASHER,AGGREGATE: CONCRETE PUMP FILTER; |  | SCRUBBER AND WASHER,AGGREGATE:CONCRETE PUMP FILTER; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57959017 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 57959017 | [16 empty] | https://supply.parts/request/view?id=243135 | [9 empty] | ENRICHED | 40151700 Pump parts and accessories | SCRUBBER AND WASHER,AGGREGATE |  | FILTER | NO MODIFIER | TYPE | PRESSURE,CONCRETE PUMP | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1072987 | 1072987 |  |  |  | ERSA | M | 1600 | 1573948GZPCLNT100 | EA | 3000025 | CONTROLLER;JOH,AT303489,STEERNG | CONTROLADOR;JOH,AT303489 | CONTROLLER;MNFR:JOHN DEERE,PTNO:AT303489,ADDITIONAL FEATURES EN:STEERING | CONTROLADOR;MNFR:JOHN DEERE,PTNO:AT303489 |  | JOHN DEERE | AT303489 | 1068592 @@ RDO EQUIPMENT PTY LTD | AT303489 | [12 empty] | JOHN DEERE | AT303489 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/AT303489%3A-Steering-Control-Valve/p/AT303489 | [9 empty] | ENRICHED | 40141609 Control valves |  |  | VALVE | NO MODIFIER | TYPE | STEERING CONTROL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1084422 | 1084422 |  |  |  | ERSA | M | 1600 | 1578360GZPCLNT100 | EA | 3000422 | CONTROLLER,VOLT;CNW,SPILG7S-LEAD1,LIFEGU | CONTROLADOR VOLT;CNW,SPILG7S-LEAD1 | CONTROLLER,VOLTAGE;MNFR:CNW,PTNO:SPILG7S-LEAD1,ADDITIONAL FEATURES EN:LIFEGUARD 7 SPECIAL | CONTROLADOR VOLTAJE;MNFR:CNW,PTNO:SPILG7S-LEAD1 |  | CNW | SPILG7S-LEAD1 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SPILG7S-LEAD1 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | SPILG7S-LEAD1 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | LIFEGUARD 7 SPECIAL |  | CONTROLLER | VOLTAGE | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | POWER RATING |  | DISPLAY TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | CONTROL MODE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1116741 | 1116741 | 1356579 | AU_QM_000148243 |  | ERSA | M | 5100 | 1356579GZPCLNT100 | EA |  | CONTROLLER;DPB1 PORTABLE PROGRAMMING BOX | CONTROLLER;DPB1 PORTABLE PROGRAMMING BOX | CONTROLLER;TYPE:DPB1 PORTABLE PROGRAMMING BOX,MNFR:01)CNW,PTNO:01)BAN71036 |  | CONTROLLER: DPB1 PORTABLE PROGRAMMING BOX FOR S18M S |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 71036 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 71036 |  |  |  | BAN71036 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | NO MODIFIER | TYPE | DPB1 PORTABLE PROGRAMMING BOX | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1139243 | 1139243 | 1363244 | AU_QM_000163019 |  | ERSA | M | 5100 | 1363244GZPCLNT100 | EA |  | CONTROLLER,MOTOR; 3.7KW VARIABLE SPEED D | CONTROLLER,MOTOR; 3.7KW VARIABLE SPEED D | CONTROLLER,MOTOR: CONTROLLER,MOTOR; 3.7KW VARIABLE SPEED D RIVE; FRENIC G1E 380/440V HD 150% O/LOAD ; SUITS 25/7T; STREET CRANE NQ2364; SER. NO.Z03480.1; PBSM. |  | CONTROLLER,MOTOR: CONTROLLER,MOTOR; 3.7KW VARIABLE SPEED D |  |  | 1068268 @@ NQCRANES PTY LTD | 1363244 | [10 empty] | NQCRANES PTY LTD | 1363244 | [18 empty] | URL NOT FOUND |  |  | 25/7T STREET CRANE |  | NQ2364 | Z03480.1 |  |  |  | CLEANSED | 39122000 Electrical Variable Speed Drives | FRENIC G1E 150 PCT OVERLOAD,PBSM |  | DRIVE | VARIABLE FREQUENCY | TYPE | MOTOR | POWER RATING | 3.7 KW | INPUT VOLTAGE | 380/440 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1140197 | 1140197 | 1367116 | AU_QM_000170335 |  | ERSA | M | 2200 | 1367116GZPCLNT100 | EA |  | ANFO ACTUATOR INSTALLATION KIT | ANFO ACTUATOR INSTALLATION KIT | PARTS KIT,ACTUATOR: ANFO ACTUATOR INSTALLATION KIT |  | PARTS KIT,ACTUATOR: ANFO ACTUATOR INSTALLATION KIT |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 56024615 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 56024615 | [16 empty] | https://www.scribd.com/document/561738027/Spare-Part-Manual | [9 empty] | ENRICHED | 31251515 Actuator kit | FOR ANFO,PARTS | SIZE:40 MM | KIT | NO MODIFIER | TYPE | ACTUATOR INSTALLATION | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1146375 | 1146375 |  |  |  | ERSA | M | 1600 | 1532458GZPCLNT100 | EA |  | CONTROLLER,VOLT;LIFEGUARD,SPILG7L | CONTROLLER,VOLT;LIFEGUARD,SPILG7L | CONTROLLER,VOLT;ADDITIONAL FEATURES:LIFEGUARD,SPILG7L |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | SPILG7L | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | SPILG7L | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | LIFEGUARD |  | CONTROLLER | VOLTAGE | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | POWER RATING |  | DISPLAY TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | CONTROL MODE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1146831 | 1146831 |  |  |  | ERSA | M | 4005 | 1535426GZPCLNT100 | EA |  | CONTROLLER;EA/PA,TIMER,21579010011 | CONTROLLER;EA/PA,TIMER,21579010011 | CONTROLLER;ADDITIONAL FEATURES:EA/PA,TIMER,21579010011 |  |  |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 21579010011 | [10 empty] | PIRTEK ISA FLUID CONNECTIONS PTY LT | 21579010011 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121523 Timer controls | EA/PA |  | CONTROLLER | NO MODIFIER | TYPE | TIMER | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1151351 | 1151351 | 1475246 | AU_QM_000195248 |  | ERSA | M | 5100 | 1475246GZPCLNT100 | EA |  | CONTROLLER AND DISPLAY;SIGNAL;20MA;-20 D | CONTROLLER AND DISPLAY;SIGNAL;20MA;-20 D |  |  | CONTROLLER: CONTROLLER AND DISPLAY;SIGNAL;20MA;-20 D |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | VEGAMET 391 | [12 empty] | VEGA | VEGAMET 391 | MARCON AGENCIES PTY LTD | [15 empty] | https://www.vega.com/en-in/products/product-catalog/signal-conditioning/controllers/vegamet-391 | [9 empty] | ENRICHED | 41112407 Liquid level controls or instruments | C/W DISPLAY,SIGNAL |  | CONTROLLER | LEVEL | TYPE |  | POWER SUPPLY | 4 TO 20 MA | POWER RATING |  | OUTPUT TYPE |  | SIZE |  | ENCLOSURE | IP20/IP65 | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1151384 | 1151384 | 1475161 | AU_QM_000190315 |  | ERSA | M | 1600 | 1475161GZPCLNT100 | EA |  | DTM 8 WAY KIT;W/SOLID TERMINALS | DTM 8 WAY KIT;W/SOLID TERMINALS |  |  | CONNECTOR:DTM 8 WAY KIT;W/SOLID TERMINALS |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2904 | [12 empty] | DEUTSCH | ACX2904 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SERIES:DTM,C/W SOLID TERMINALS | CURRENT RATING:7.5 A | KIT | NO MODIFIER | TYPE | 8-WAY | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1151385 | 1151385 | 1475160 | AU_QM_000190313 |  | ERSA | M | 1600 | 1475160GZPCLNT100 | EA |  | DTM 6 WAY KIT;W/SOLID TERMINALS | DTM 6 WAY KIT;W/SOLID TERMINALS |  |  | CONNECTOR:DTM 6 WAY KIT;W/SOLID TERMINALS |  |  | 1068087 @@ ASHDOWN INGRAM | ACX2903 | [12 empty] | DEUTSCH | ACX2903 | ASHDOWN INGRAM | [15 empty] | http://www.indotek-bpn.com/download/Cable_Connectors_&_Accessories.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SERIES:DTM,C/W SOLID TERMINALS | CURRENT RATING:7.5 A | KIT | NO MODIFIER | TYPE | 6-WAY | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1151639 | 1151639 |  |  |  | ERSA | M | 1825 | 1474499GZPCLNT100 | EA |  | CHESTERTON MECHANICAL SEAL KIT FACES (15 | CHESTERTON MECHANICAL SEAL KIT FACES (15 | [5 empty] | 1068142 @@ FITT RESOURCES PTY LTD | 1474499 | [10 empty] | FITT RESOURCES PTY LTD | 1474499 |  |  | CHESTERTON | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31411703 Mechanical seal kit | FACES 15 |  | KIT | NO MODIFIER | TYPE | MECHANICAL SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 | Insufficient Information, Unable to Identify the NM | 1152661 | 1152661 | 1476356 | AU_QM_001009982 |  | ERSA | M | 4000 | 1476356GZPCLNT100 | EA |  | BOC (EX CIG) | BOC (EX CIG) |  |  | PETTY CASH PURCHASE;BOC (EX CIG) |  |  | 1068135 @@ BOC LIMITED | QTY MUST EQUAL GST EXCL PRICE | [118 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1155142 | 1155142 |  |  |  | ERSA | M | 5820 | 1515064GZPCLNT100 | EA |  | CONTROLLER;VH412 CABINER C/W AW/,XDZ7112 | CONTROLLER;VH412 CABINER C/W AW/,XDZ7112 | CONTROLLER;ADDITIONAL FEATURES:VH412 CABINER C/W AW/,XDZ7112 |  |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | 1515064 | [10 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | 1515064 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | VH412 CABINER C/W AW,XDZ7112 |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1155182 | 1155182 |  |  |  | ERSA | M | 4500 | 1514590GZPCLNT100 | EA |  | CONTROLLER,INTERFACE;HORNER XL7,HE-XW1E6 | CONTROLLER,INTERFACE;HORNER XL7,HE-XW1E6 | CONTROLLER,INTERFACE;ADDITIONAL FEATURES:HORNER XL7,HE-XW1E6 |  |  |  |  | 1071236 @@ AUTECH CONTROL GROUP PTY LTD | HE-XW1E6 | [12 empty] | HORNER | HE-XW1E6 | AUTECH CONTROL GROUP PTY LTD | [15 empty] | https://hornerautomation.com/product/xl7/ | https://www.logic-control.com/horner-he-xw1e6 | [8 empty] | ENRICHED | 32151702 Control network PC interface | SERIES:XL7 | DISLAY TYPE:LCD TFT, | CONTROLLER | INTERFACE | TYPE |  | DATA TRANSFER RATE |  | ELECTRICAL RATING | 12/24 VDC | INTERFACE TYPE | USB 2.0,RS-232/485 | NUMBER OF PORTS | 4 | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | CONNECTION TYPE |  | INDICATION TYPE |  | HOUSING MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1185509 | 1185509 |  |  |  | ERSA | M | 4015 | 1556714GZPCLNT100 | EA | 3000422 | CONTROLLER;CNW,MHIRC-EXZ3A,WIRED REMOTE | CONTROLADOR;CNW,MHIRC-EXZ3A | CONTROLLER;MNFR:CNW,PTNO:MHIRC-EXZ3A,ADDITIONAL FEATURES EN:WIRED REMOTE | CONTROLADOR;MNFR:CNW,PTNO:MHIRC-EXZ3A |  | CNW | MHIRC-EXZ3A | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MHIRC-EXZ3A | [12 empty] | MITSUBISHI | RC-EXZ3A | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.mhi-mth.co.jp/en/products/pdf/pjz012a180_english.pdf | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | ELECTRICAL | TYPE | WIRED REMOTE | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1186287 | 1186287 |  |  |  | ERSA | M | 1600 | 1552937GZPCLNT100 | EA |  | CONTROLLER;SGNL | CONTROLADOR; | CONTROLLER;TYPE:SIGNAL,ADDITIONAL FEATURES EN:FIELD MOUNTABLE,24-65VDC/100-230VAC SUPPLY | CONTROLADOR; |  |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | MET841.XXXSC | [12 empty] | VEGA | MET841.XXXSC | MARCON AGENCIES PTY LTD | [15 empty] | https://www.automation24.com/control-unit-with-process-display-vega-vegamet-841-met841-xxxsc | [9 empty] | ENRICHED | 43201542 Control unit | MOUNTING:FIELD,WALL | FUNCTION:PROCESS CONTROL,CONNECTION:M20 GLAND ENTRY,MATERIAL:POLYAMIDE,INPUT:4 TO 20 MA,OUTPUT:3 X RELAY 4 TO 20 MA,TEMPERATURE RATING:-40 TO 60 DEG C,DEGREE OF PROTECTION:IP66/IP67,INTERFACE:BLUETOOTH | UNIT | CONTROL | TYPE | SIGNAL | SIZE | 162 WDX111 HTX75 DP MM | ELECTRICAL RATING | 100 TO 230 VAC/24 TO 65 VDC | CERTIFICATION/STANDARD | CE, UKCA, CULUS, RCM, EAC | [64 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1186431 | 1186431 |  |  |  | ERSA | M | 4500 | 1552782GZPCLNT100 | EA | 3000422 | CONTROLLER;CNW,LEAU6-LITE,UBIQUITI UNIFI | CONTROLADOR;CNW,LEAU6-LITE | CONTROLLER;MNFR:CNW,PTNO:LEAU6-LITE,ADDITIONAL FEATURES EN:UBIQUITI UNIFI WI-FI 6 LITE DUAL BAND AP 2X2 HIGH-EFFICENCY WI-FI 6 | CONTROLADOR;MNFR:CNW,PTNO:LEAU6-LITE |  | CNW | LEAU6-LITE | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | LEAU6-LITE | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | LEAU6-LITE | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | FOR UBIQUITI UNIFI WI-FI 6 LITE DUAL BAND AP 2X2 HIGH-EFFICENCY WI-FI 6 |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1186447 | 1186447 |  |  |  | ERSA | M | 1600 | 1552766GZPCLNT100 | EA |  | CONTROLLER;FLW | CONTROLADOR; | CONTROLLER;TYPE:FLOW,ADDITIONAL FEATURES EN:TUBE MOUNT,DISPLAY INSTRUMENT,VEGAMET 861 | CONTROLADOR; |  |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | MET861.XXXSE | [12 empty] | VEGA | VEGAMET 861 | MARCON AGENCIES PTY LTD | MET861.XXXSE | [14 empty] | https://in.rsdelivers.com/product/vega/cr-222-22e/vega-vegamet-861-series-level-controller-wall-100/2067060 | [9 empty] | ENRICHED | 41112407 Liquid level controls or instruments | MOUNTING:TUBE,DISPLAY INSTRUMENT |  | CONTROLLER | LEVEL | TYPE | FLOW | POWER SUPPLY | 100 TO 230 V | POWER RATING |  | OUTPUT TYPE | ANALOGUE,RELAY | SIZE | 200 LGX76 DP MM | ENCLOSURE | IP65 | TEMPERATURE RATING | -40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1187484 | 1187484 |  |  |  | ERSA | M | 5100 | 1614603GZPCLNT100 | EA |  | CONTROLLER;DSPLY,M5 MATRIX | CONTROLADOR; | CONTROLLER;TYPE:DISPLAY,ADDITIONAL FEATURES EN:M5 MATRIX | CONTROLADOR; |  |  |  | 1055084 @@ REMOTE CONTROL TECHNOLOGIES PTY LTD | CR8006 | [10 empty] | REMOTE CONTROL TECHNOLOGIES PTY LTD | CR8006 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | M5 MATRIX |  | CONTROLLER | NO MODIFIER | TYPE | DISPLAY | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1190203 | 1190203 |  |  |  | ERSA | M | 1600 | 1574961GZPCLNT100 | EA |  | CONTROLLER;4 X VALVE VH412 CABINET | CONTROLADOR; | CONTROLLER;TYPE:4 X VALVE VH412 CABINET,ADDITIONAL FEATURES EN:C/W AF/AL | CONTROLADOR; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | XDY7009 | [10 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | XDY7009 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141616 Valve parts or accessories | FOR 4 X VALVE VH412 CABINET,C/W AF/AL |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1203335 | 1203335 |  |  |  | ERSA | M | 1600 | 270703MRM | EA |  | CONTROLLER,PLC:RDCO-03C OPTION/SP KIT;CO | CONTROLLER,PLC:RDCO-03C OPTION/SP KIT;CO | CONTROLLER,PLC:RDCO-03C OPTION/SP KIT;COMMUNICATION MODULE |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 64606964 | [12 empty] | ABB AUSTRALIA PTY LTD | 64606964 |  | RDCO-03C | [14 empty] | https://new.abb.com/products/64606964/64606964 | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COMMUNICATION MODULE |  | KIT | NO MODIFIER | TYPE | OPTION/SP | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1212032 | 1212032 |  |  |  | ERSA | M | 1600 | 136601MRM | EA |  | CONTROLLER,MOTOR:110KW;VSD;1400-CV-008;1 | CONTROLLER,MOTOR:110KW;VSD;1400-CV-008;1 | CONTROLLER,MOTOR:110KW;VSD;1400-CV-008;1400-CV-009;1400-CV-015;1400-CV-0 13;1400-CV-006;2300-CV-001;2500-PU-115;2500-PU-116;2500-PU-117;VSD'S; |  |  |  |  | 1069483 @@ INTERGRATED SWITCHGEAR & SYSTEMS | ATV930C16N4C | [12 empty] | SCHNEIDER ELECTRIC | ATV930C16N4C | INTERGRATED SWITCHGEAR & SYSTEMS | [15 empty] | https://www.se.com/in/en/product/ATV930C16N4C/variable-speed-drive-altivar-process-atv900-atv930-160kw-400-to-480v-without-braking-unit-ip00/ | [9 empty] | ENRICHED | 39122000 Electrical Variable Speed Drives | 1400-CV-008,1400-CV-009,1400-CV-015,1400-CV-0 13,1400-CV-006,2300-CV-001,2500-PU-115,2500-PU-116,2500-PU-117 |  | DRIVE | VARIABLE FREQUENCY | TYPE | MOTOR | POWER RATING | 132 KW | INPUT VOLTAGE | 380 TO 480 VAC | NUMBER OF PHASE | 3 | OUTPUT CURRENT RATING | 302 A | OUTPUT FREQUENCY RATING | 599 HZ | DEGREE OF PROTECTION | IP21 | TERMINAL TYPE | SCREW | MOUNTING TYPE | WALL | SIZE | 320 WDX852 HTX393 DP MM | TEMPERATURE RATING | -15 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 508C,EN/IEC 61800-3,EN/IEC 61800-5-1,IEC 61000-3-12,IEC 60721-3,IEC 61508,IEC 13849-1,TÜV,CSA | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | K | 2023-11-03 | 2023-11-14 |  | 1218425 | 1218425 |  |  |  | ERSA | M | 1600 | 270693MRM | EA |  | CONTROLLER,MOTOR:ABB VARIABLE SPEED DRIV | CONTROLLER,MOTOR:ABB VARIABLE SPEED DRIV | CONTROLLER,MOTOR:ABB VARIABLE SPEED DRIVE;BALL MILL CYCLONE FEED PUMP;ACS880-37-0950A-7+B054+H359+K475+L500+5L506+P902+P904+P912;600MM OUTPUT CONTRACTOR UNIT;CUSTOMER DEFINED CA |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 3AUA0000159710 | [12 empty] | ABB AUSTRALIA PTY LTD | 3AUA0000159710 |  | ACS880-37-0950A-7+B054+H359+K475+L500+5L506+P902+P904+P912 | [14 empty] | https://new.abb.com/products/3AUA0000159710/3aua0000159710 |  |  | BALL MILL CYCLONE FEED PUMP | [6 empty] | ENRICHED | 39122000 Electrical Variable Speed Drives | 600 MM OUTPUT CONTRACTOR UNIT,CUSTOMER DEFINED CA |  | DRIVE | VARIABLE FREQUENCY | TYPE | MOTOR | POWER RATING | 160 TO 3200 KW | INPUT VOLTAGE |  | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed