## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1053875 | 1053875 |  |  |  | ERSA | M | 4500 | 1583568GZPCLNT100 | EA |  | CONTROLLER;WEBEX ROOM NAVIGATOR | CONTROLADOR; | CONTROLLER;TYPE:WEBEX ROOM NAVIGATOR,ADDITIONAL FEATURES EN:WALL MOUNT,CISCO | CONTROLADOR; |  |  |  | 1068639 @@ DATA #3 GROUP | CS-T10-WM-K9 | [12 empty] | CISCO | CS-T10-WM-K9 | DATA #3 GROUP | [15 empty] | https://www.cisco.com/c/en/us/products/collateral/collaboration-endpoints/webex-room-series/datasheet-c78-744228.html | [9 empty] | ENRICHED | 41113700 Electronic and communication measuring and testing instruments | MOUNTING TYPE:WALL | PROTOCOL:TCP/IP,RESOLUTION:1920 X 1200,MEMORY:4 GB,SIZE:9-17/32 LGX2-51/64 HTX6-19/64 DP IN,TEMPERATURE RATING:-20 TO 60 DEG C | CONTROLLER | COMMUNICATION | TYPE | WEBEX ROOM NAVIGATOR | DATA TRANSFER RATE |  | INTERFACE TYPE | 1 X ETHERNET RJ-45,1 X MICRO USB,1 X FACTORY RESET PIN HOLE | DISPLAY TYPE | LCD | NUMBER OF PORTS |  | ELECTRICAL RATING | 100 TO 240 VAC,0.5 A,50/60 HZ | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NRTL,EMC:EN 55032-CLASS A,EN 55024,EN 60950-1,EN 62479 | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1060305 | 1060305 |  |  |  | ERSA | M | 1600 | 1605446GZPCLNT100 | EA |  | CONTROLLER;DIN RAIL MOUNT RELAY,LED | CONTROLADOR; | CONTROLLER;TYPE:DIN RAIL MOUNT RELAY,INPUT SIGNAL:LOAD CELL/STRAIN BRIDGE:4WIRE,OUTPUT SIGNAL:2XFORM A RELAY,DISPLAY TYPE:LED, ADDITIONAL FEATURES EN:DISPLAY:5 DIGIT,7.6MM,KEYPAD,ALARM,SUPPLY:12-48V DC ISOLATED | CONTROLADOR; |  |  |  | 1070607 @@ AMALGAMATED INSTRUMENT GROUP P/L | RM4-WT-DC-5E-232 | [12 empty] | AMALGAMATED INSTRUMENT GROUP P/L | RM4-WT-DC-5E-232 | [16 empty] | https://4dcontrols.com/shop/rm4-wt-dc-5e-232-amalgamated-instrument-rm4-wt-load-cell-monitor/ | [9 empty] | CLEANSED | 41111900 Indicating and recording instruments | MOUNTING TYPE:DIN RAIL MOUNT RELAY,INPUT SIGNAL:STRAIN BRIDGE:4WIRE,OUTPUT SIGNAL:2XFORM A RELAY,DISPLAY:5 DIGIT,SIZE:7.6 MM,KEYPAD,ALARM |  | MONITOR | NO MODIFIER | TYPE | LOAD CELL | MEASURING RANGE |  | ACCURACY |  | DISPLAY TYPE | LED | DISPLAY SIZE |  | ELECTRICAL RATING | 12 TO 48 VDC | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1060851 | 1060851 |  |  |  | ERSA | M | 5100 | 1615942GZPCLNT100 | EA |  | CONTROLLER;OUTPT,FILCONTROL TIME 1-6 WAY | CONTROLADOR; | CONTROLLER;TYPE:OUTPUT,ADDITIONAL FEATURES EN:FILCONTROL TIME 1-6 WAY | CONTROLADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FILMCERTS06N000 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FILMCERTS06N000 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | NO MODIFIER | TYPE | OUTPUT,FILCONTROL TIME 1-6 WAY | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 | Processed based on Websource, Conflict w.r.t Input | 1062243 | 1062243 |  |  |  | ERSA | M | 4090 | 1481081GZPCLNT100 | EA |  | CONTROLLER,PWR | REGULADOR POTEN; | CONTROLLER,POWER;ADDITIONAL FEATURES EN:M_CONTROLLER_POWER | REGULADOR POTENCIA; |  |  |  | 1068239 @@ SCHNEIDER ELECTRIC (AUS) PTY LTD | 1481081 | [12 empty] | SCHNEIDER ELECTRIC | 1481081 | [16 empty] | https://www.sonepar.no/catalog/nb-no/products/schneider-electric-exxact-1-pv-kappe-hoy-ip44-hv-1481081 | [9 empty] | ENRICHED | 39121303 Electrical boxes |  | COLOR:WHITE,MOUNTING:HORIZONTAL,VERTICAL | BOX | ELECTRICAL | TYPE | WALL | HUB SIZE |  | NUMBER OF HUBS |  | MATERIAL | PLASTIC | NUMBER OF GANGS |  | SIZE | 85 WDX85 HTX44 DP MM | ENCLOSURE RATING | IP44 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1062263 | 1062263 |  |  |  | ERSA | M | 2240 | 1613995GZPCLNT100 | EA |  | CONTROLLER,SPD;AIR,BSP,8 MM,9 BAR | CONTROLADOR VELOC; | CONTROLLER,SPEED;TYPE:AIR,OUTPUT SIGNAL:,CONNECTION TYPE:BSP,SIZE:8 MM,ADDITIONAL FEATURES EN:9 BAR | CONTROLADOR VELOCIDAD; |  |  |  | 1070101 @@ SPIRAX SARCO PTY LTD | AIR-SET-89 | [10 empty] | SPIRAX SARCO PTY LTD | AIR-SET-89 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111544 Speed controller | PRESSURE RATING:9 BAR |  | CONTROLLER | SPEED | TYPE | AIR | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT SIGNAL |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | BSP | SIZE | 8 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1065373 | 1065373 | 1470421 | AU_QM_009146188 |  | ERSA | M | 5100 | 1470421GZPCLNT100 | EA |  | CURRENT | CURRENT | CONTROLLER: CURRENT SUIT WINDER AT R62 |  | CONTROLLER: CURRENT |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470421 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470421 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | FOR WINDER AT R62 |  | CONTROLLER | ELECTRICAL | TYPE | CURRENT | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1113369 | 1113369 |  |  |  | ERSA | M | 1600 | 1572856GZPCLNT100 | EA |  | CONTROLLER;UNIVSL,230V-12V,R4-6N0C0 | CONTROLADOR; | CONTROLLER;TYPE:UNIVERSAL,ADDITIONAL FEATURES EN:230V-12V,R4-6N0C0,8A.NTC | CONTROLADOR; |  |  |  | 1068391 @@ BOSS | UNIV-R4-6N0C0 | [12 empty] | DIXELL | R4-6N0C0 | BOSS | [15 empty] | https://mfmref.com/en/dixell/17358-r4-dixell-6n0c0-universal-controller.html | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories | NTC PROBES |  | CONTROLLER | ELECTRICAL | TYPE | UNIVERSAL | FUNCTION |  | INPUT RATING | 12 TO 230 VAC/DC | OUTPUT RATING | 8 A | NUMBER OF INPUTS | 2 | NUMBER OF OUTPUTS | 4 | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1114452 | 1114452 |  |  |  | ERSA | M | 4090 | 1571341GZPCLNT100 | EA |  | CONTROLLER;IRRIGATION | CONTROLADOR; | CONTROLLER;TYPE:IRRIGATION,ADDITIONAL FEATURES EN:NODE 2,STATION,BATT OP,HUNGER | CONTROLADOR; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | NODE-200 | [12 empty] | HUNTER INDUSTRIES | NODE-200 | BUTLER AGENCIES PTY LTD | [15 empty] | https://www.hunterindustries.com/en-metric/irrigation-product/node/node-200 | https://www.hunterindustries.com/en-metric/print/pdf/node/426376 | [8 empty] | ENRICHED | 21102500 Irrigation systems and equipment | NUMBER OF STATIONS:2 | ENCLOSURE:WATERPROOF | CONTROLLER | NO MODIFIER | TYPE | BATTERY OPERATED,ITTIGATION | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1114453 | 1114453 |  |  |  | ERSA | M | 4090 | 1571340GZPCLNT100 | EA |  | CONTROLLER;IRRIGATION | CONTROLADOR; | CONTROLLER;TYPE:IRRIGATION,ADDITIONAL FEATURES EN:NODE 1,STATION,BATT OP,HUNTER | CONTROLADOR; |  |  |  | 1068205 @@ BUTLER AGENCIES PTY LTD | NODE-100 | [12 empty] | HUNTER INDUSTRIES | NODE-100 | BUTLER AGENCIES PTY LTD | [15 empty] | https://www.hunterindustries.com/en-metric/print/pdf/node/426356 | [9 empty] | ENRICHED | 21102500 Irrigation systems and equipment | NUMBER OF STATIONS:1 | ENCLOSURE:WATERPROOF | CONTROLLER | NO MODIFIER | TYPE | BATTERY OPERATED,ITTIGATION | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1118587 | 1118587 | 1350600 | AU_QM_000133990 |  | ERSA | M | 5100 | 1350600GZPCLNT100 | EA |  | CONTROLLER;PLC,2 MB, DUAL ENET | CONTROLLER;PLC,2 MB, DUAL ENET | CONTROLLER;TYPE:PLC,ADDITIONAL FEATURES EN:2 MB, DUAL ENET,MNFR:01)CNW,PTNO:01)NHPALB1769-L33ER |  | CONTROLLER,PLC: 2MB PLC CONTROLLER;DUAL ENET;;GFM NTH RO |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1769L33ER | [12 empty] | ALLEN-BRADLEY | 1769-L33ER | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rockwellautomation.com/en-us/products/details.1769-L33ER.html | https://www.dosupply.com/automation/allen-bradley-plc/compactlogix-1769/1769-L33ER | [8 empty] | ENRICHED | 41113700 Electronic and communication measuring and testing instruments | MEMORY:2 MB,COMMUNICATION:ETHERNET | PROTOCOL:ETHERNET I/P,NUMBER OF MODULES:32,NUMBER OF BANKS:3,WIRE SIZE:22 TO 14 AWG,TEMPERATURE RATING:0 TO 60 DEG C,MOUNTING:DIN RAIL,PANEL | CONTROLLER | COMMUNICATION | TYPE | PROGRAMMABLE AUTOMATION | DATA TRANSFER RATE |  | INTERFACE TYPE | USB | DISPLAY TYPE |  | NUMBER OF PORTS | 2 | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,CE,C-TICK,CI | [54 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1121885 | 1121885 | 1363564 | AU_QM_000163591 |  | ERSA | M | 5100 | 1363564GZPCLNT100 | EA |  | CONTROLLER;REMOTE SWITCHING,CNW | CONTROLLER;REMOTE SWITCHING,CNW | CONTROLLER;TYPE:REMOTE SWITCHING,ADDITIONAL FEATURES EN:MAINTENANCE LCU,MNFR:01)CNW,PTNO:01)CA20B-AU006693-E-AUS0001 |  | CONTROL,REMOTE SWITCHING: REMOTE/MAINTENANCE LCU SWITCH |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1363564 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1363564 |  |  |  | CA20B-AU006693-E-AUS0001 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | MAINTENANCE LCU |  | CONTROLLER | NO MODIFIER | TYPE | REMOTE SWITCHING | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1122035 | 1122035 |  |  |  | ERSA | M | 4015 | 1616676GZPCLNT100 | EA |  | CONTROLLER;ESY,230 V,CAREL,PJEZS0H000 | CONTROLADOR; | CONTROLLER;TYPE:EASY,ELECTRICAL RATING:230 V,ADDITIONAL FEATURES EN:CAREL,PJEZS0H000 | CONTROLADOR; |  |  |  | 1071038 @@ RINNAI AUSTRALIA PTY LTD | 2707874 | [12 empty] | CAREL | PJEZS0H000 | RINNAI AUSTRALIA PTY LTD | 2707874 | [14 empty] | https://www.i-acs.co.uk/store/pjezs0h000-carel-refrigeration-controller-1-relay-compressor-2-hp-2-ntc-probes-not-included.html | https://darment.eu/product/carel-pjez-controller-230v-pjezs0h000/ | [8 empty] | ENRICHED | 39121500 Electrical controls and accessories |  | DEGREE OF PROTECTION:IP65,INPUT SIGNAL:NTC | CONTROLLER | ELECTRICAL | TYPE | REFRIGERATION,EASY | FUNCTION |  | INPUT RATING | 230 VAC,1 PH,50 HZ | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1139497 | 1139497 | 1439068 | AU_QM_000978189 |  | ERSA | M | 5100 | 1439068GZPCLNT100 | EA |  | DELCOS 3000/3100-L ELECTRONICS; | DELCOS 3000/3100-L ELECTRONICS; | CONTROLLER,MOTOR: DELCOS 3000/3100-L ELECTRONICS; |  | CONTROLLER,MOTOR: DELCOS 3000/3100-L ELECTRONICS; |  |  | 1068378 @@ GARDNER DENVER INDUSTRIES PTY | 100005506 | 1079156 @@ GARDNER DENVER INDUSTRIES P/L | PN1139497 | [10 empty] | GARDNER DENVER INDUSTRIES PTY | 100005506 |  | 1139497 | [14 empty] | https://compressornow.com/online-store/parts/gardner-denver-oem-electronic-delcos-3100-l-series-part-100005506/ | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories | FOR DELCOS 3000/3100-L ELECTRONICS |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1139902 | 1139902 | 1454878 | AU_QM_001240837 |  | ERSA | M | 3000 | 1454878GZPCLNT100 | EA |  | CYLINDER BODY AND PISTON; | CYLINDER BODY AND PISTON; | PARTS KIT,SEAL REPLACEMENT: CYLINDER BODY AND PISTON; KA78 TRUCK CHUTE HYD SYSTEM; |  | PARTS KIT,SEAL REPLACEMENT: CYLINDER BODY AND PISTON; |  |  | 1070708 @@ NORDIC MINESTEEL TECHNOLOGIES IN | 1454878 | 1068342 @@ ISADRAULICS | NMT-0098-1053 | [8 empty] | NORDIC MINESTEEL TECHNOLOGIES IN | 1454878 |  |  | ISADRAULICS | NMT-0098-1053 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | FOR KA78 TRUCK CHUTE HYDRAULIC SYSTEM |  | KIT | NO MODIFIER | TYPE | SEAL REPLACEMENT PARTS,CYLINDER BODY AND PISTON | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 | Processed based on Websource, Conflict w.r.t Input | 1150009 | 1150009 |  |  |  | ERSA | M | 1600 | 1530025GZPCLNT100 | EA |  | CONTROLLER;ADVANCE CONTROL U,TEELUCB12BL | CONTROLLER;ADVANCE CONTROL U,TEELUCB12BL | CONTROLLER;ADDITIONAL FEATURES:ADVANCE CONTROL U,TEELUCB12BL |  |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | TEELUCB12BL | 1072013 @@ METAL MANUFACTURES PTY LTD | TEELUCB12BL | [10 empty] | SCHNEIDER ELECTRIC | LUCB12BL | METAL MANUFACTURES PTY LTD | [15 empty] | https://www.se.com/in/en/product/LUCA12BL/standard-control-unit-tesys-u-312a-3p-motors-thermal-magnetic-protection-class-10-coil-24v-dc/ | https://www.mouser.in/ProductDetail/Schneider-Electric/LUCA12BL?qs=QCBj0mi9odrhccvbImVgIg%3D%3D | [8 empty] | ENRICHED | 39121500 Electrical controls and accessories |  | TEMPERATURE RATING:-25 TO 70 DEG C | UNIT | CONTROL | TYPE | STANDARD,ADVANCE | SIZE | 45 WDX66 HTX60 DP MM | ELECTRICAL RATING | 690 VAC,3 TO 12 A,3 PH,40 TO 60 HZ | CERTIFICATION/STANDARD | EN 60947-6-2,IEC 60947-6-2,UL 60947-4-1,CSA C22.2,CE,UL,CSA,CCC,EAC,ASEFA,ATEX,MARINE | [64 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1151290 | 1151290 | 1475654 | AU_QM_000234279 |  | ERSA | M | 5100 | 1475654GZPCLNT100 | EA |  | CONTROLLER;SCHNEID,TBURQHHSC-01A | CONTROLLER;SCHNEID,TBURQHHSC-01A |  |  | CONTROLLER: Q HOT;STANDBY CONTROLLER;TYPE 1A |  |  | 1069347 @@ SCHNEIDER ELECTRIC SYSTEMS AUST | TBURQHHSC-01A | [12 empty] | SCHNEIDER ELECTRIC SYSTEMS AUST | TBURQHHSC-01A | [16 empty] | https://www.scribd.com/document/515336954/SE-DataSheets-Trio-QH-Letter-v32 | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | RADIO | TYPE | Q HOT STANDBY,TYPE 1A | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1153428 | 1153428 |  |  |  | ERSA | M | 1600 | 1533012GZPCLNT100 | EA |  | CONTROLLER,VOLT;AVC,TWO PIECE,S,100 0236 | CONTROLLER,VOLT;AVC,TWO PIECE,S,100 0236 | CONTROLLER,VOLT;ADDITIONAL FEATURES:AVC,TWO PIECE,S,100 0236 |  |  |  |  | 1070476 @@ PRECIPITATOR TECHNOLOGIES P/L | 100 0236 | [10 empty] | PRECIPITATOR TECHNOLOGIES P/L | 100 0236 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | VOLTAGE | TYPE | TWO PIECE AUTOMATIC | INPUT RATING |  | OUTPUT RATING |  | POWER RATING |  | DISPLAY TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | CONTROL MODE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1174919 | 1174919 | 1365069 | AU_QM_000167306 |  | ERSA | M | 1630 | 1365069GZPCLNT100 | EA |  | CONTROLLER;MOT,415 V 60 A 3 PH 30 KW | CONTROLLER;MOT,415 V 60 A 3 PH 30 KW | CONTROLLER;TYPE:MOTOR,ELECTRICAL RATING:415 V 60 A 3 PH 30 KW,ADDITIONAL FEATURES EN:VARIABLE FREQUENCY, HEAVY DUTY, VARIABLE OUTPUT |  | CONTROLLER,MOTOR: VARIABLE FREQUENCY CONTROLLER; HEAVY DUT |  |  | 1068620 @@ CSE-UNISERVE PTY LIMITED | 1365069 | [10 empty] | CSE-UNISERVE PTY LIMITED | 1365069 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121500 Electrical controls and accessories |  |  | CONTROLLER | ELECTRICAL | TYPE | MOTOR,VARIABLE FREQUENCY,HEAVY DUTY,VARIABLE OUTPUT | FUNCTION |  | INPUT RATING | 415 V,60 A,3 PH,30 KW | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | VNE | KK | 2023-11-03 | 2023-11-17 |  | 1186436 | 1186436 |  |  |  | ERSA | M | 4500 | 1552777GZPCLNT100 | EA |  | CONTROLLER;NETWRK | CONTROLADOR; | CONTROLLER;TYPE:NETWORK,ADDITIONAL FEATURES EN:WIFI, ACCESS POINT,C9130AXI-Z PKGCISCO | CONTROLADOR; |  |  |  | 1068639 @@ DATA #3 GROUP | C9130AXI-Z | [12 empty] | CISCO | C9130AXI-Z | DATA #3 GROUP | [15 empty] | https://www.cisco.com/c/en/us/td/docs/wireless/access_point/9130ax/quick/guide/ap9130ax-getstart.html | https://www.router-switch.com/c9130axi-z.html | [8 empty] | CLEANSED | 41113700 Electronic and communication measuring and testing instruments |  |  | CONTROLLER | COMMUNICATION | TYPE | NETWORK,WIFI,ACCESS POINT | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed