## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1037016 | 1037016 |  |  |  | ERSA | M | 5820 | 1478558GZPCLNT100 | PAC |  | BLANK,POLE FILLER,DIN-T POLE FILLER,12PK | BLANK,POLE FILLER,DIN-T POLE FILLER,12PK | BLANK,POLE FILLER,DIN-T POLE FILLER,12PK | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31160000 Hardware | PACKAGE QUANTITY:12 |  | BLANK | NO MODIFIER | TYPE | POLE FILLER,DIN-T | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1026305 | 1026305 | 1381916 | AU_QM_000221928 |  | ERSA | M | 5820 | 1381916GZPCLNT100 | EA | 3000012 | BLANK;TOY,AERPRO | BLANK;TOY,AERPRO | BLANK;MNFR:TOYOTA,PTNO:AERPRO |  | BLANK;TOY,AERPROBLANK;TOY,AERPRO | TOYOTA | AERPRO | [12 empty] | TOYOTA | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31160000 Hardware |  |  | BLANK | NO MODIFIER | TYPE | AERPRO | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1112586 | 1112586 | 1465605 | AU_QM_007123684 |  | ERSA | M | 5620 | 1465605GZPCLNT100 | EA |  | BONFIGLIOLI 307L2 GEARBOX; | BONFIGLIOLI 307L2 GEARBOX; | RING,RETAINING: BONFIGLIOLI 307L2 GEARBOX; INTERNAL TYPE; |  | RING,RETAINING: BONFIGLIOLI 307L2 GEARBOX; | [34 empty] | URL NOT FOUND |  |  | GEARBOX | BONFIGLIOLI | 307L2 |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | INTERNAL | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1211033 | 1211033 |  |  |  | ERSA | M | 3300 | 135601MRM | EA |  | BOSS:C SIZE BOSS;DEFENDER;PC5500;BRADKEN | BOSS:C SIZE BOSS;DEFENDER;PC5500;BRADKEN | BOSS:C SIZE BOSS;DEFENDER;PC5500;BRADKEN TYPE; | [36 empty] | URL NOT FOUND |  |  |  |  | PC5500 |  |  |  |  | CLEANSED | 31162800 Miscellaneous hardware | C SIZE |  | BOSS | NO MODIFIER | TYPE | BRADKEN,DEFENDER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MOUNTING METHOD |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137448 | 1137448 | 1438539 | AU_QM_000971267 |  | ERSA | M | 5620 | 1438539GZPCLNT100 | EA |  | BSFG408 BRAKE CYLINDER CIRCLIP; | BSFG408 BRAKE CYLINDER CIRCLIP; | RING,RETAINING: BSFG408 BRAKE CYLINDER CIRCLIP; ITEM 32;SPEC 90 X 3.0 DIN472/1; HAGGLUNDS BSFG408E000100 BRAKE |  | RING,RETAINING: BSFG408 BRAKE CYLINDER CIRCLIP; | [34 empty] | URL NOT FOUND |  | 32 |  | HAGGLUNDS | BSFG408E000100 |  |  |  |  | CLEANSED | 31163202 Retaining rings | SPEC 90 X 3.0 DIN472/1 |  | RING | RETAINING | TYPE | BRAKE CYLINDER CIRCLIP | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137450 | 1137450 | 1438515 | AU_QM_000970954 |  | ERSA | M | 5620 | 1438515GZPCLNT100 | EA |  | BSFG408 BRAKE PISTON CIRCLIP; | BSFG408 BRAKE PISTON CIRCLIP; | RING,RETAINING: BSFG408 BRAKE PISTON CIRCLIP; ITEM 27;SPEC SB85 X 2.0; |  | RING,RETAINING: BSFG408 BRAKE PISTON CIRCLIP; | [34 empty] | URL NOT FOUND |  | 27 | [7 empty] | CLEANSED | 31163202 Retaining rings | SPEC SB85 X 2.0 |  | RING | RETAINING | TYPE | BRAKE PISTON CIRCLIP | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1215481 | 1215481 |  |  |  | ERSA | M | 4090 | 175398MRM | EA |  | CANNULA,INTRAVENOUS:14GMEDICAL CENTRE | CANNULA,INTRAVENOUS:14GMEDICAL CENTRE | CANNULA,INTRAVENOUS:14GMEDICAL CENTRE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 42293515 Medical or surgical suction tubings | 14G MEDICAL CENTRE |  | TUBING | MEDICAL | TYPE | CANNULA,INTRAVENOUS | DIMENSIONS |  | GAUGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1215482 | 1215482 |  |  |  | ERSA | M | 4090 | 175406MRM | EA |  | CANNULA,INTRAVENOUS:16GMEDICAL CENTRE | CANNULA,INTRAVENOUS:16GMEDICAL CENTRE | CANNULA,INTRAVENOUS:16GMEDICAL CENTRE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 42293515 Medical or surgical suction tubings | 16G MEDICAL CENTRE |  | TUBING | MEDICAL | TYPE | CANNULA,INTRAVENOUS | DIMENSIONS |  | GAUGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1215483 | 1215483 |  |  |  | ERSA | M | 4090 | 175414MRM | EA |  | CANNULA,INTRAVENOUS:18GMEDICAL CENTRE | CANNULA,INTRAVENOUS:18GMEDICAL CENTRE | CANNULA,INTRAVENOUS:18GMEDICAL CENTRE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 42293515 Medical or surgical suction tubings | 18G MEDICAL CENTRE |  | TUBING | MEDICAL | TYPE | CANNULA,INTRAVENOUS | DIMENSIONS |  | GAUGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1215484 | 1215484 |  |  |  | ERSA | M | 4090 | 175422MRM | EA |  | CANNULA,INTRAVENOUS:20GMEDICAL CENTRE | CANNULA,INTRAVENOUS:20GMEDICAL CENTRE | CANNULA,INTRAVENOUS:20GMEDICAL CENTRE | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 42293515 Medical or surgical suction tubings | 20G MEDICAL CENTRE |  | TUBING | MEDICAL | TYPE | CANNULA,INTRAVENOUS | DIMENSIONS |  | GAUGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1206244 | 1206244 |  |  |  | ERSA | M | 4090 | 89730MRM | EA |  | CANNULA,INTRAVENOUS:IV INTERLINK SYRINGE | CANNULA,INTRAVENOUS:IV INTERLINK SYRINGE | CANNULA,INTRAVENOUS:IV INTERLINK SYRINGE CANNULA;DISPOSABLE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 42293515 Medical or surgical suction tubings |  |  | TUBING | MEDICAL | TYPE | IV INTERLINK SYRINGE CANNULA,INTRAVENOUS,DISPOSABLE | DIMENSIONS |  | GAUGE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1207627 | 1207627 |  |  |  | ERSA | M | 5920 | 154999MRM | EA |  | CASE:CASE; GREY PELICAN SPACECASE 55X55X | CASE:CASE; GREY PELICAN SPACECASE 55X55X | CASE:CASE; GREY PELICAN SPACECASE 55X55X31CM;PELICAN | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE | PELICAN SPACE | SIZE | 55X55X31 CM | MATERIAL |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205203 | 1205203 |  |  |  | ERSA | M | 3000 | 271483MRM | EA |  | CASE:CASING FOR 40VCH-GPS SUMP PUMP | CASE:CASING FOR 40VCH-GPS SUMP PUMP | CASE:CASING FOR 40VCH-GPS SUMP PUMP | [36 empty] | URL NOT FOUND |  |  | GPS SUMP PUMP |  | 40VCH |  |  |  |  | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205204 | 1205204 |  |  |  | ERSA | M | 3000 | 271484MRM | EA |  | CASE:CASING FOR 40VCH-SPR SUMP PUMP | CASE:CASING FOR 40VCH-SPR SUMP PUMP | CASE:CASING FOR 40VCH-SPR SUMP PUMP | [36 empty] | URL NOT FOUND |  |  | SPR SUMP PUMP |  | 40VCH |  |  |  |  | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1073464 | 1073464 |  |  |  | ERSA | M | 3730 | 1086926GZPCLNT100 | EA | 3000003 | CASE;CAT,1349817,ASSY,XFR | ESTUCHE;CAT,1349817,ENSAMBLE | CASE;MNFR:CATERPILLAR,PTNO:1349817,ADDITIONAL FEATURES EN:ASSEMBLY,TRANSFER | ESTUCHE;MNFR:CATERPILLAR,PTNO:1349817,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,TRANSFERENCIA |  | CATERPILLAR | 1349817 | [14 empty] | CATERPILLAR | 134-9817 | [16 empty] | https://parts.cat.com/en/catcorp/134-9817 | [9 empty] | CLEANSED | 31261600 Shells and casings | ASSEMBLY |  | CASE | NO MODIFIER | TYPE | TRANSFER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1074846 | 1074846 |  |  |  | ERSA | M | 3730 | 1092015GZPCLNT100 | EA | 3000003 | CASE;CAT,2087534,ASSY,DIFFRNTL | ESTUCHE;CAT,2087534,ENSAMBLE,DIFERENCIAL | CASE;MNFR:CATERPILLAR,PTNO:2087534,ADDITIONAL FEATURES EN:ASSEMBLY,DIFFERENTIAL | ESTUCHE;MNFR:CATERPILLAR,PTNO:2087534,CARACTERISTICAS ADICIONALES ES:ENSAMBLE,DIFERENCIAL |  | CATERPILLAR | 2087534 | [14 empty] | CATERPILLAR | 208-7534 | [16 empty] | https://parts.cat.com/en/catcorp/208-7534 | [9 empty] | CLEANSED | 31261600 Shells and casings | ASSEMBLY |  | CASE | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1099897 | 1099897 | 1393588 | AU_QM_000237054 |  | ERSA | M | 1500 | 1393588GZPCLNT100 | EA | 3000003 | CASE;CAT,2584273 | CASE;CAT,2584273 | CASE;MNFR:CATERPILLAR,PTNO:2584273 |  | OEM-E-LISTCASE;CAT,2584273 | CATERPILLAR | 2584273 | [14 empty] | CATERPILLAR | 258-4273 | [16 empty] | https://parts.cat.com/en/catcorp/258-4273 | [9 empty] | ENRICHED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE | AIR CONDITIONER | SIZE | 515.6 LGX495.3 WDX193 HT MM | MATERIAL |  | COLOUR | Black | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1099896 | 1099896 | 1393589 | AU_QM_000237055 |  | ERSA | M | 1500 | 1393589GZPCLNT100 | EA | 3000003 | CASE;CAT,284-2430 | CASE;CAT,284-2430 | CASE;MNFR:CATERPILLAR,PTNO:284-2430 |  | OEM-E-LISTCASE;CAT,284-2430 | CATERPILLAR | 284-2430 | [14 empty] | CATERPILLAR | 284-2430 | [16 empty] | https://parts.cat.com/en/catcorp/284-2430 | [9 empty] | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1099895 | 1099895 | 1393590 | AU_QM_000237056 |  | ERSA | M | 1500 | 1393590GZPCLNT100 | EA | 3000003 | CASE;CAT,287-8222 | CASE;CAT,287-8222 | CASE;MNFR:CATERPILLAR,PTNO:287-8222 |  | OEM-E-LISTCASE;CAT,287-8222 | CATERPILLAR | 287-8222 | [14 empty] | CATERPILLAR | 287-8222 | [16 empty] | https://parts.cat.com/en/catcorp/287-8222 | [9 empty] | ENRICHED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1100374 | 1100374 | 1380825 | AU_QM_000220379 |  | ERSA | M | 1500 | 1380825GZPCLNT100 | EA | 3000001 | CASE;EPI,5590 0038 73 | CASE;EPI,5590 0038 73 | CASE;MNFR:EPIROC,PTNO:5590 0038 73 |  | CASE;EPI,5590 0038 73CASE;EPI,5590 0038 73 | EPIROC | 5590 0038 73 | [12 empty] | EPIROC | 5590 0038 73 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1100554 | 1100554 | 1377013 | AU_QM_000216185 |  | ERSA | M | 1500 | 1377013GZPCLNT100 | EA | 3000001 | CASE;EPI,9110 8969 05 | CASE;EPI,9110 8969 05 | CASE;MNFR:EPIROC,PTNO:9110 8969 05 |  | CASE;EPI,9110 8969 05CASE;EPI,9110 8969 05 | EPIROC | 9110 8969 05 | [12 empty] | EPIROC | 9110 8969 05 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137519 | 1137519 | 1435481 | AU_QM_000778126 |  | ERSA | M | 5620 | 1435481GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | RING,RETAINING: CAT EQUIPMENT SERVICE; |  | RING,RETAINING: CAT EQUIPMENT SERVICE; | [14 empty] | CATERPILLAR | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EQUIPMENT SERVICE |  | RING | RETAINING | TYPE |  | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137518 | 1137518 |  |  |  | ERSA | M | 5620 | 1435482GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | RING,RETAINING: CAT EQUIPMENT SERVICE; | [16 empty] | CATERPILLAR | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EQUIPMENT SERVICE |  | RING | RETAINING | TYPE |  | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1108113 | 1108113 | 1380959 | AU_QM_000220525 |  | ERSA | M | 1825 | 1380959GZPCLNT100 | EA |  | CLAMP | CLAMP | RING: CLAMP |  | RING:CLAMP | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | RING | NO MODIFIER | TYPE | CLAMP | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1088989 | 1088989 | 1387097 | AU_QM_000228177 |  | ERSA | M | 5955 | 1387097GZPCLNT100 | EA | 3000438 | COUPLING;NRMT,100006630 | ACOPLAMIENTO; | ACOPLAMIENTO;MNFR:NORMET,PTNO:100006630 | ACOPLAMIENTO;,MNFR:NORMET,PTNO:100006630 | COUPLING;NRMT,100006630COUPLING;NOR,100006630 | NORMET | 100006630 | [12 empty] | NORMET | 100006630 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1089082 | 1089082 | 1385400 | AU_QM_000226172 |  | ERSA | M | 5955 | 1385400GZPCLNT100 | EA | 3000438 | COUPLING;NRMT,100083340 | ACOPLAMIENTO; | ACOPLAMIENTO;MNFR:NORMET,PTNO:100083340 | ACOPLAMIENTO;,MNFR:NORMET,PTNO:100083340 | COUPLING;NRMT,100083340COUPLING;NOR,100083340 | NORMET | 100083340 | [12 empty] | NORMET | 100083340 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1089052 | 1089052 | 1386112 | AU_QM_000227002 |  | ERSA | M | 5955 | 1386112GZPCLNT100 | EA | 3000438 | COUPLING;NRMT,55156680 | ACOPLAMIENTO; | ACOPLAMIENTO;MNFR:NORMET,PTNO:55156680 | ACOPLAMIENTO;,MNFR:NORMET,PTNO:55156680 | COUPLING;NRMT,55156680COUPLING;NOR,55156680 | NORMET | 55156680 | [12 empty] | NORMET | 55156680 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1089031 | 1089031 | 1386505 | AU_QM_000227468 |  | ERSA | M | 5955 | 1386505GZPCLNT100 | EA | 3000438 | COUPLING;NRMT,57952244 | ACOPLAMIENTO; | ACOPLAMIENTO;MNFR:NORMET,PTNO:57952244 | ACOPLAMIENTO;,MNFR:NORMET,PTNO:57952244 | COUPLING;NRMT,57952244COUPLING;NOR,57952244 | NORMET | 57952244 | [12 empty] | NORMET | 57952244 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163000 Couplings |  |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1209834 | 1209834 |  |  |  | ERSA | M | 3300 | 1162528MRM | EA |  | CUTTING EDGE,BUCKET:992G BUCKET;CATERPIL | CUTTING EDGE,BUCKET:992G BUCKET;CATERPIL | CUTTING EDGE,BUCKET:992G BUCKET;CATERPILLAR 992G LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER | CATERPILLAR | 992G |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1212673 | 1212673 |  |  |  | ERSA | M | 3300 | 1264514MRM | EA |  | CUTTING EDGE,BUCKET:CENTER LIP PROTECTOR | CUTTING EDGE,BUCKET:CENTER LIP PROTECTOR | CUTTING EDGE,BUCKET:CENTER LIP PROTECTOR;CENTER BOLT ON LOADER EDGE;CAT 972G | [36 empty] | URL NOT FOUND |  |  | LOADER | CATERPILLAR | 972G |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,CENTER LIP PROTECTOR,BOLT ON | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1216951 | 1216951 |  |  |  | ERSA | M | 3300 | 147362MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1216952 | 1216952 |  |  |  | ERSA | M | 3300 | 147364MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1216953 | 1216953 |  |  |  | ERSA | M | 3300 | 147365MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1216954 | 1216954 |  |  |  | ERSA | M | 3300 | 147366MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | CUTTING EDGE,BUCKET:EDGE SEGMENT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1209578 | 1209578 |  |  |  | ERSA | M | 3300 | 1159508MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT;CENTRE; | CUTTING EDGE,BUCKET:EDGE SEGMENT;CENTRE; | CUTTING EDGE,BUCKET:EDGE SEGMENT;CENTRE;CATERPILLAR 992G LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER | CATERPILLAR | 992G |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT,CENTRE | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1209580 | 1209580 |  |  |  | ERSA | M | 3300 | 1159524MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT;LH;CATE | CUTTING EDGE,BUCKET:EDGE SEGMENT;LH;CATE | CUTTING EDGE,BUCKET:EDGE SEGMENT;LH;CATERPILLAR 992G LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER | CATERPILLAR | 992G |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT,LEFT HAND | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1209579 | 1209579 |  |  |  | ERSA | M | 3300 | 1159516MRM | EA |  | CUTTING EDGE,BUCKET:EDGE SEGMENT;RH;CATE | CUTTING EDGE,BUCKET:EDGE SEGMENT;RH;CATE | CUTTING EDGE,BUCKET:EDGE SEGMENT;RH;CATERPILLAR 992G LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER | CATERPILLAR | 992G |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET,SEGMENT,RIGHT HAND | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205842 | 1205842 |  |  |  | ERSA | M | 5955 | 1024553MRM | EA |  | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HAND;325MM W;3 BOLT;KEECH WEARPACT SYSTEM;ELPHINSTONE/TORO LHD SERVICE | [36 empty] | URL NOT FOUND |  |  | LHD SERVICE | Caterpillar ELPHINSTONE/TORO | [5 empty] | CLEANSED | 27112203 Edgers | 3 BOLT,KEECH WEARPACT SYSTEM |  | EDGE | CUTTING | TYPE | BUCKET,LEFT HAND | SIZE | 325 MM WD | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205847 | 1205847 |  |  |  | ERSA | M | 5955 | 1024603MRM | EA |  | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HAND;END EDGE WRAP;KEECH WEARPACT SYSTEM;ELPHINSTONE/TORO LHD SERVICE | [36 empty] | URL NOT FOUND |  |  | LHD SERVICE | Caterpillar ELPHINSTONE/TORO | [5 empty] | CLEANSED | 27112203 Edgers | KEECH WEARPACT SYSTEM |  | EDGE | CUTTING | TYPE | BUCKET,LEFT HAND,END | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205850 | 1205850 |  |  |  | ERSA | M | 5955 | 1024785MRM | EA |  | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;L/HAND;430MM W;4 BOLT;KEECH WEARPACT SYSTEM;ELPHINSTONE/TORO LHD SERVICE | [36 empty] | URL NOT FOUND |  |  | LHD SERVICE | Caterpillar ELPHINSTONE/TORO | [5 empty] | CLEANSED | 27112203 Edgers | 4 BOLT,KEECH WEARPACT SYSTEM |  | EDGE | CUTTING | TYPE | BUCKET,LEFT HAND | SIZE | 430 MM WD | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1205843 | 1205843 |  |  |  | ERSA | M | 5955 | 1024561MRM | EA |  | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;R/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;R/HA | CUTTING EDGE,BUCKET:LHD BUCKET EDGE;R/HAND;325MM W;3 BOLT;KEECH WEARPACT SYSTEM;ELPHINSTONE/TORO LHD SERVICE | [36 empty] | URL NOT FOUND |  |  | LHD SERVICE | Caterpillar ELPHINSTONE/TORO | [5 empty] | CLEANSED | 27112203 Edgers | 3 BOLT,KEECH WEARPACT SYSTEM |  | EDGE | CUTTING | TYPE | BUCKET,RIGHT HAND | SIZE | 325 MM WD | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1023588 | 1023588 | 1381483 | AU_QM_000221405 |  | ERSA | M | 4090 | 1381483GZPCLNT100 | EA | 3000003 | EDGE;CAT,100-4043 | EDGE;CAT,100-4043 | EDGE;MNFR:CATERPILLAR,PTNO:100-4043 |  | EDGE;CAT,100-4043EDGE;CAT,100-4043 | CATERPILLAR | 100-4043 | [12 empty] | CATERPILLAR | 100-4043 | CATERPILLAR | 100-4043 | [16 empty] | https://parts.cat.com/en/catcorp/100-4043 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | HEAVY DUTY,END | SIZE | 556 lgx45 wdx265 ht mm | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1023587 | 1023587 | 1381485 | AU_QM_000221407 |  | ERSA | M | 4090 | 1381485GZPCLNT100 | EA | 3000003 | EDGE;CAT,100-4043+30 | EDGE;CAT,100-4043+30 | EDGE;MNFR:CATERPILLAR,PTNO:100-4043+30 |  | EDGE;CAT,100-4043+30EDGE;CAT,100-4043+30 | CATERPILLAR | 100-4043+30 | [12 empty] | CATERPILLAR | 100-4043+30 | CATERPILLAR | 100-4043+30 | [16 empty] | https://parts.cat.com/en/catcorp/100-4043 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | HEAVY DUTY,END | SIZE | 556 lgx45 wdx265 ht mm | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1074739 | 1074739 |  |  |  | ERSA | M | 3300 | 1098342GZPCLNT100 | EA | 3000003 | EDGE;CAT,2804068,END | BORDE;CAT,2804068,EXTREMO | EDGE;MNFR:CATERPILLAR,PTNO:2804068,ADDITIONAL FEATURES EN:END | BORDE;MNFR:CATERPILLAR,PTNO:2804068,CARACTERISTICAS ADICIONALES ES:EXTREMO |  | CATERPILLAR | 2804068 | [12 empty] | CATERPILLAR | 2804068 | CATERPILLAR | 280-4068 | [16 empty] | https://parts.cat.com/en/catcorp/280-4068 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | HEAVY DUTY,END | SIZE | 562 LGX265 WDX40 HT MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1014580 | 1014580 |  |  |  | ERSA | M | 3730 | 1584073GZPCLNT100 | EA | 3000003 | EDGE;CAT,134-1773,CTNG | BORDE;CAT,134-1773 | EDGE;MNFR:CATERPILLAR,PTNO:134-1773,ADDITIONAL FEATURES EN:CUTTING | BORDE;MNFR:CATERPILLAR,PTNO:134-1773 |  | CATERPILLAR | 134-1773 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1341773 | [10 empty] | CATERPILLAR | 134-1773 | CATERPILLAR | 134-1773 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/134-1773 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 1.21666 LG MX203.20 WDX15.88 HT MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1061983 | 1061983 |  |  |  | ERSA | M | 2800 | 1513218GZPCLNT100 | EA |  | ACTIVATOR;TYPE 1 YE,FUTURA-1 | ACTIVADOR; | ACTIVATOR;ADDITIONAL FEATURES:TYPE 1 YE,FUTURA-1 |  |  |  |  | 1068621 @@ COOPER FLUID SYSTEMS | FUTURA-1 | [14 empty] | COOPER FLUID SYSTEMS | FUTURA-1 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201615 Adhesive activators | 1 YE |  | ACTIVATOR | NO MODIFIER | TYPE |  | CONCENTRATION |  | CONTAINER |  | TRADE NAME |  | COLOUR |  | SPECIFIC GRAVITY |  | FLASH POINT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1063543 | 1063543 | 1365849 | AU_QM_000168364 |  | ERSA | M | 4090 | 1365849GZPCLNT100 | EA |  | CIRCLIP DERRICK; ATLAS COPCO EASER L | CIRCLIP DERRICK; ATLAS COPCO EASER L | RING,RETAINING: CIRCLIP DERRICK; ATLAS COPCO EASER L |  | RING,RETAINING: CIRCLIP DERRICK; ATLAS COPCO EASER L |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365849 | [10 empty] | ATLAS COPCO |  |  |  | EPIROC AUSTRALIA PTY LTD | 1365849 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EASER L |  | RING | RETAINING | TYPE | CIRCLIP DERRICK | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1063906 | 1063906 | 1363862 | AU_QM_000164306 |  | ERSA | M | 5620 | 1363862GZPCLNT100 | EA |  | ANNULUS; 560OD X 420ID X 30THICK; 10 EQU | ANNULUS; 560OD X 420ID X 30THICK; 10 EQU | RING,RETAINING: ANNULUS; 560OD X 420ID X 30THICK; 10 EQU I SPACED HOLES; 26MM DIA ON 488.95MM PCD ; PBSM CRUSHERS; MIMDWG 163-6-1345REV02/ ANNULUS |  | RING,RETAINING: ANNULUS; 560OD X 420ID X 30THICK; 10 EQU |  |  | 1068131 @@ HARDROK ENGINEERING PTY LTD | 1363862 | [14 empty] | HARDROK ENGINEERING PTY LTD | 1363862 | [14 empty] | URL NOT FOUND |  |  | PBSM CRUSHERS |  |  |  | 163-6-1345 | 02 |  | CLEANSED | 31163202 Retaining rings | ANNULUS,OUTSIDE DIAMETER:560 MM,10 EQU I SPACED HOLES,26 MM DIA ON 488.95 MM PCD |  | RING | RETAINING | TYPE |  | NOMINAL DIAMETER | 420 MM ID | THICKNESS | 30 MM | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1064721 | 1064721 |  |  |  | ERSA | M | 4090 | 1365851GZPCLNT100 | EA |  | CIRCLIP DERRICK; ATLAS COPCO EASER L | CIRCLIP DERRICK; ATLAS COPCO EASER L | RING,RETAINING: CIRCLIP DERRICK; ATLAS COPCO EASER L |  |  |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365851 | [10 empty] | ATLAS COPCO |  |  |  | EPIROC AUSTRALIA PTY LTD | 1365851 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EASER L |  | RING | RETAINING | TYPE | CIRCLIP DERRICK | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1084764 | 1084764 |  |  |  | ERSA | M | 3730 | 1584072GZPCLNT100 | EA | 3000003 | EDGE;CAT,9J-7701,CTNG | BORDE;CAT,9J-7701 | EDGE;MNFR:CATERPILLAR,PTNO:9J-7701,ADDITIONAL FEATURES EN:CUTTING | BORDE;MNFR:CATERPILLAR,PTNO:9J-7701 |  | CATERPILLAR | 9J-7701 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9J7701 | [10 empty] | CATERPILLAR | 9J-7701 | CATERPILLAR | 9J-7701 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/9J-7701 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 203.2 WDX16.002 THK MM | MATERIAL | Through Hardened | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1104939 | 1104939 |  |  |  | ERSA | M | 4090 | 1535778GZPCLNT100 | EA |  | ABSORBENT;DRAIN WARDEN,1.2X1.,AES DW 1.2 | ABSORBENT;DRAIN WARDEN,1.2X1.,AES DW 1.2 | [5 empty] | 1068225 @@ ABSORB ENVIRONMENTAL SOLUTIONS | AES DW 1.2 | [14 empty] | ABSORB ENVIRONMENTAL SOLUTIONS | AES DW 1.2 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 47131900 Absorbents |  |  | ABSORBENT | NO MODIFIER | TYPE | DRAIN WARDEN | FORM |  | SIZE | 1.2X1 | ABSORBING CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1107513 | 1107513 | 1427277 | AU_QM_000451179 |  | ERSA | M | 5620 | 1427277GZPCLNT100 | EA |  | CAT PLANETARY;FINAL DRIVE GRP; | CAT PLANETARY;FINAL DRIVE GRP; | RING,RETAINING: CAT PLANETARY;FINAL DRIVE GRP; CATERPILLAR EQUIPMENT SERVICE |  | RING,RETAINING: CAT PLANETARY;FINAL DRIVE GRP; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1427277 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1427277 | [8 empty] | CATERPILLAR |  |  |  | HASTINGS DEERING(AUSTRALIA) LTD | 1427277 | CNW (MOUNT ISA) ELECT WHOLESALER | 1427277 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EQUIPMENT SERVICE,FINAL DRIVE GRP |  | RING | RETAINING | TYPE | PLANETARY | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1107547 | 1107547 | 1426665 | AU_QM_000402396 |  | ERSA | M | 5620 | 1426665GZPCLNT100 | EA |  | E0407S PUMP SNAP RING; | E0407S PUMP SNAP RING; | RING,RETAINING: E0407S PUMP SNAP RING; |  | RING,RETAINING: E0407S PUMP SNAP RING; |  |  | 1071823 @@ PROMINENT FLUID CONTROLS P/L | 1426665 | [14 empty] | PROMINENT FLUID CONTROLS P/L | 1426665 | [14 empty] | URL NOT FOUND |  |  |  |  | E0407S |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | PUMP SNAP | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1107810 | 1107810 | 1449153 | AU_QM_001103480 |  | ERSA | M | 5620 | 1449153GZPCLNT100 | EA |  | BEARING RETAINING RING; | BEARING RETAINING RING; | RING,RETAINING: BEARING RETAINING RING; |  | RING,RETAINING: BEARING RETAINING RING; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8T7567 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1449153 | [10 empty] | CATERPILLAR | 8T-7567 | CNW (MOUNT ISA) ELECT WHOLESALER | 1449153 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/8T-7567 | [9 empty] | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | PISTON PUMP,BEARING | NOMINAL DIAMETER |  | THICKNESS | 4 MM | DESIGNATION |  | MATERIAL | steel | MATERIAL SPECIFICATION |  | GROOVE SIZE | 109 DIAX4.15 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 | NM TAKEN BASED ON URL | 1110882 | 1110882 | 1426152 | AU_QM_000366583 |  | ERSA | M | 4090 | 1426152GZPCLNT100 | EA |  | BUCKET TOOTH TIP RETAINER; | BUCKET TOOTH TIP RETAINER; | RING,RETAINING: BUCKET TOOTH TIP RETAINER; CAT LOADERS AND GRADERS |  | RING,RETAINING: BUCKET TOOTH TIP RETAINER; |  |  | 1068308 @@ HASTINGS DEERING (AUSTRALIA) LTD | 3G9549 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1140359 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1426152 | 1071153 @@ BRADKEN RESOURCES PTY LTD | E3G9549A | 1068127 @@ KONNECT FASTENING SYSTEMS | 1426152 | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | 4252473 |  |  | CATERPILLAR | 3G-9549 | HASTINGS DEERING(AUSTRALIA) LTD | 1140359 | CNW (MOUNT ISA) ELECT WHOLESALER | 1426152 | BRADKEN RESOURCES PTY LTD | E3G9549A | KONNECT FASTENING SYSTEMS | 1426152 | ESCO AUSTRALIA HOLDINGS PTY LTD | 4252473 | [6 empty] | https://parts.cat.com/en/catcorp/3G-9549 |  |  | LOADERS AND GRADERS | CATERPILLAR | [5 empty] | CLEANSED | 31163200 Retaining hardware |  |  | RETAINER | NO MODIFIER | TYPE | BUCKET TOOTH TIP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1112091 | 1112091 | 1348306 | AU_QM_000000307 |  | ERSA | M | 5620 | 1348306GZPCLNT100 | EA |  | AM282 PROBE BACK UP WINDOW RING; | AM282 PROBE BACK UP WINDOW RING; | RING,RETAINING: AM282 PROBE BACK UP WINDOW RING; STD PKT OF 2 |  | RING,RETAINING: AM282 PROBE BACK UP WINDOW RING; |  |  | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 34177 | [14 empty] | THERMO GAMMA-METRICS PTY LTD | 34177 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | AM282,PACKAGE QUANTITY:standard PACK OF 2 |  | RING | RETAINING | TYPE | PROBE BACK UP WINDOW | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1113376 | 1113376 |  |  |  | ERSA | M | 2800 | 1572849GZPCLNT100 | EA |  | ACTIVATOR;PERMA CLASSIC,12 MTH GREY | ACTIVADOR; | ACTIVATOR;ADDITIONAL FEATURES EN:PERMA CLASSIC,12 MTH GREY | ACTIVADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1150516 | [12 empty] | Perma | PERMA12CLASSIC | [12 empty] | J BLACKWOOD & SONS | 01150516 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/automatic-lubricators-and-accessories/htl-perma-activator-suits-classic-and-futura-lubricators/activator-perma-classic-12month-grey/p/01150516 | [9 empty] | ENRICHED | 31201615 Adhesive activators | 12 MTH |  | ACTIVATOR | NO MODIFIER | TYPE | Electrochemical | CONCENTRATION |  | CONTAINER |  | TRADE NAME |  | COLOUR | GREY | SPECIFIC GRAVITY |  | FLASH POINT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1113377 | 1113377 |  |  |  | ERSA | M | 2800 | 1572848GZPCLNT100 | EA |  | ACTIVATOR;PERMA CLASSIC,6 MTH RED | ACTIVADOR; | ACTIVATOR;ADDITIONAL FEATURES EN:PERMA CLASSIC,6 MTH RED | ACTIVADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 975042 | [12 empty] | Perma | PERMA6CLASSIC | [12 empty] | J BLACKWOOD & SONS | 00975042 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/automatic-lubricators-and-accessories/htl-perma-activator-suits-classic-and-futura-lubricators/activator-perma-classic-6month-red/p/00975042 | [9 empty] | ENRICHED | 31201615 Adhesive activators | 6 MTH |  | ACTIVATOR | NO MODIFIER | TYPE | Electrochemical | CONCENTRATION |  | CONTAINER |  | TRADE NAME |  | COLOUR | RED | SPECIFIC GRAVITY |  | FLASH POINT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1113378 | 1113378 |  |  |  | ERSA | M | 2800 | 1572847GZPCLNT100 | EA |  | ACTIVATOR;PERMA CLASSIC,3 MTH GREEN | ACTIVADOR; | ACTIVATOR;ADDITIONAL FEATURES EN:PERMA CLASSIC,3 MTH GREEN | ACTIVADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 975025 | [12 empty] | Perma | PERMA3CLASSIC | [12 empty] | J BLACKWOOD & SONS | 00975025 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/automatic-lubricators-and-accessories/htl-perma-activator-suits-classic-and-futura-lubricators/activator-perma-classic-3month-green/p/00975025 | [9 empty] | ENRICHED | 31201615 Adhesive activators | 3 MTH |  | ACTIVATOR | NO MODIFIER | TYPE | Electrochemical | CONCENTRATION |  | CONTAINER |  | TRADE NAME |  | COLOUR | GREEN | SPECIFIC GRAVITY |  | FLASH POINT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1113379 | 1113379 |  |  |  | ERSA | M | 2800 | 1572846GZPCLNT100 | EA |  | ACTIVATOR;PERMA CLASSIC,1 MTH YELLOW | ACTIVADOR; | ACTIVATOR;ADDITIONAL FEATURES EN:PERMA CLASSIC,1 MTH YELLOW | ACTIVADOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 899164 | [12 empty] | Perma | PERMA1CLASSIC | [12 empty] | J BLACKWOOD & SONS | 00899164 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/automatic-lubricators-and-accessories/htl-perma-activator-suits-classic-and-futura-lubricators/activator-perma-classic-1month-yellow/p/00899164 | [9 empty] | ENRICHED | 31201615 Adhesive activators | 1 MTH |  | ACTIVATOR | NO MODIFIER | TYPE | Electrochemical | CONCENTRATION |  | CONTAINER |  | TRADE NAME |  | COLOUR | YELLOW | SPECIFIC GRAVITY |  | FLASH POINT |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1114197 | 1114197 |  |  |  | ERSA | M | 4090 | 1571617GZPCLNT100 | EA |  | BLANK;PLTE,VP544-5D1-03A,PELLETISER LUBE | EN BLANCO; | BLANK;ADDITIONAL FEATURES EN:PLATE,VP544-5D1-03A,PELLETISER LUBE SYS | EN BLANCO; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | VP500-25-1A | [12 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | VP500-25-1A | [16 empty] | https://www.smcpneumatics.com/VP500-25-1A.html | [9 empty] | CLEANSED | 30102200 Plate | PELLETISER Lubrication System |  | PLATE | NO MODIFIER | TYPE | BLANK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1114237 | 1114237 |  |  |  | ERSA | M | 5100 | 1571562GZPCLNT100 | EA |  | BLANK;3500,1/2,F/P | EN BLANCO; | BLANK;ADDITIONAL FEATURES EN:3500,1/2,F/P | EN BLANCO; |  |  |  | 1068304 @@ NVMS PTY LTD | 131151-01 | [13 empty] | 131151-01 | NVMS PTY LTD | [15 empty] | https://www.quicktimeonline.com/131151-01 | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | 3500,1/2 |  | COVER | NO MODIFIER | TYPE | height Blank Front Panel | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1135032 | 1135032 | 1352478 | AU_QM_000140658 |  | ERSA | M | 5620 | 1352478GZPCLNT100 | EA |  | BUCKET TOOTH TIP RETAINER;CAT LOADERS _ | BUCKET TOOTH TIP RETAINER;CAT LOADERS _ | RING,RETAINING: BUCKET TOOTH TIP RETAINER;CAT LOADERS AND GRADERS |  | RING,RETAINING: BUCKET TOOTH TIP RETAINER;CAT LOADERS & |  |  | 1068305 @@ DON CLARK TRACTORS PTY LTD | 1352478 | [14 empty] | DON CLARK TRACTORS PTY LTD | 1352478 | [14 empty] | URL NOT FOUND |  |  | LOADERS AND GRADERS | caterpillar | [5 empty] | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | BUCKET TOOTH TIP | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1135569 | 1135569 | 1436372 | AU_QM_000847467 |  | ERSA | M | 5620 | 1436372GZPCLNT100 | EA |  | CIRCLIP;STABILIZER CYLINDER; | CIRCLIP;STABILIZER CYLINDER; | RING,RETAINING: CIRCLIP;STABILIZER CYLINDER; NORMET BLAST VEHICLE |  | RING,RETAINING: CIRCLIP;STABILIZER CYLINDER; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 52231479 | [14 empty] | NORMET ASIA PACIFIC PTY LTD | 52231479 | [14 empty] | URL NOT FOUND |  |  | BLAST VEHICLE | NORMET | [5 empty] | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | CIRCLIP,STABILIZER CYLINDER | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 | NM TAKEN BASED ON URL | 1136070 | 1136070 | 1348677 | AU_QM_000017590 |  | ERSA | M | 4090 | 1348677GZPCLNT100 | EA |  | BUCKET TIP PIN RETAINER; | BUCKET TIP PIN RETAINER; | RING,RETAINING: BUCKET TIP PIN RETAINER; CAT 992 AND 988 LOADERS |  | RING,RETAINING: BUCKET TIP PIN RETAINER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1348677 | 1071153 @@ BRADKEN RESOURCES PTY LTD | E8E5559 | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | 8E5559 | [8 empty] | CATERPILLAR | 8E5559 | CNW (MOUNT ISA) ELECT WHOLESALER | 1348677 | BRADKEN RESOURCES PTY LTD | E8E5559 | ESCO AUSTRALIA HOLDINGS PTY LTD | [11 empty] | https://parts.cat.com/en/catcorp/8E-5559 |  |  | LOADERS | CATERPILLAR | 992 AND 988 |  |  |  |  | ENRICHED | 31163200 Retaining hardware |  |  | RETAINER | NO MODIFIER | TYPE | GROUND ENGAGING TOOL,BUCKET TIP PIN | SIZE | 52.58 LGX52.58 WDX10.16 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1136276 | 1136276 | 1365857 | AU_QM_000168373 |  | ERSA | M | 4090 | 1365857GZPCLNT100 | EA |  | CIRCLIP DRIVE TRAIN; ATLAS COPCO EASER | CIRCLIP DRIVE TRAIN; ATLAS COPCO EASER | RING,RETAINING: CIRCLIP DRIVE TRAIN; ATLAS COPCO EASER L |  | RING,RETAINING: CIRCLIPDRIVE TRAIN; ATLAS COPCO EASER |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365857 | [10 empty] | ATLAS COPCO |  |  |  | EPIROC AUSTRALIA PTY LTD | 1365857 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings | EASER L |  | RING | RETAINING | TYPE | CIRCLIP DRIVE TRAIN | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137635 | 1137635 | 1426125 | AU_QM_000366001 |  | ERSA | M | 5620 | 1426125GZPCLNT100 | EA |  | CV JOINT CIRCLIP; | CV JOINT CIRCLIP; | RING,RETAINING: CV JOINT CIRCLIP; TOYOTA HZJ75 LANDCRUISER |  | RING,RETAINING: CV JOINT CIRCLIP; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 90520-28036 | 1068087 @@ ASHDOWN INGRAM | 90520-28036 | 1071809 @@ ASHDOWN ENTERPRISES | 90520-28036 | [9 empty] | 90520-28036 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN INGRAM |  | ASHDOWN ENTERPRISES | [11 empty] | https://www.toyotapartsdeal.com/oem/toyota~ring~shaft~snap~for~front~drive~inner~shaft~90520-28036.html |  |  | LANDCRUISER | TOYOTA | HZJ75 |  |  |  |  | ENRICHED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | CV JOINT CIRCLIP,Shaft Snap | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137691 | 1137691 | 1466173 | AU_QM_007124619 |  | ERSA | M | 5620 | 1466173GZPCLNT100 | EA |  | D34KSL OUTER IMPELLER SHAFT RING; | D34KSL OUTER IMPELLER SHAFT RING; | RING,RETAINING: D34KSL OUTER IMPELLER SHAFT RING; ITEM 67; TRANSFLUID D-34-KSL FLUID COUPLING |  | RING,RETAINING: D34KSL OUTER IMPELLER SHAFT RING; |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 67 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL | [14 empty] | URL NOT FOUND |  | 67 | FLUID COUPLING | TRANSFLUID | D34KSL |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | OUTER IMPELLER SHAFT | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137693 | 1137693 | 1466163 | AU_QM_007124608 |  | ERSA | M | 5620 | 1466163GZPCLNT100 | EA |  | D34KSL INNER IMPELLER SHAFT BEARING RING | D34KSL INNER IMPELLER SHAFT BEARING RING | RING,RETAINING: D34KSL INNER IMPELLER SHAFT BEARING RING ITEM 45; TRANSFLUID D-34-KSL FLUID COUPLING |  | RING,RETAINING: D34KSL INNER IMPELLER SHAFT BEARING RING |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 45 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL | [14 empty] | URL NOT FOUND |  | 45 | FLUID COUPLING | TRANSFLUID | D34KSL |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | INNER IMPELLER SHAFT BEARING | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137694 | 1137694 | 1466159 | AU_QM_007124604 |  | ERSA | M | 5620 | 1466159GZPCLNT100 | EA |  | D34KSL OUTER IMPELLER SHAFT RING; | D34KSL OUTER IMPELLER SHAFT RING; | RING,RETAINING: D34KSL OUTER IMPELLER SHAFT RING; ITEM 25; TRANSFLUID D-34-KSL FLUID COUPLING |  | RING,RETAINING: D34KSL OUTER IMPELLER SHAFT RING; |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 25 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL | [14 empty] | URL NOT FOUND |  | 25 | FLUID COUPLING | TRANSFLUID | D34KSL |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | OUTER IMPELLER SHAFT | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137695 | 1137695 | 1466157 | AU_QM_007124602 |  | ERSA | M | 5620 | 1466157GZPCLNT100 | EA |  | D34KSL INNER IMPELLER SHAFT RING; | D34KSL INNER IMPELLER SHAFT RING; | RING,RETAINING: D34KSL INNER IMPELLER SHAFT RING; ITEM 7; TRANSFLUID D-34-KSL FLUID COUPLING |  | RING,RETAINING: D34KSL INNER IMPELLER SHAFT RING; |  |  | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | D-34-KSL ITEM 7 | [14 empty] | CONSOLIDATED BEARING CO (QLD) | D-34-KSL | [14 empty] | URL NOT FOUND |  | 7 | FLUID COUPLING | TRANSFLUID | D34KSL |  |  |  |  | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | INNER IMPELLER SHAFT | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1137729 | 1137729 | 1465564 | AU_QM_007123643 |  | ERSA | M | 5620 | 1465564GZPCLNT100 | EA |  | BOSH TANK TAKE-OFF CYLINDERS; | BOSH TANK TAKE-OFF CYLINDERS; | RING,RETAINING: BOSH TANK TAKE-OFF CYLINDERS; |  | RING,RETAINING: BOSH TANK TAKE-OFF CYLINDERS; |  |  | 1068243 @@ OUTOTEC PTY LTD | 17407 | [10 empty] | BOSH |  |  |  | OUTOTEC PTY LTD | 17407 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31163202 Retaining rings |  |  | RING | RETAINING | TYPE | TANK TAKE-OFF CYLINDERS | NOMINAL DIAMETER |  | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1150997 | 1150997 | 1476552 | AU_QM_002014060 |  | ERSA | M | 1600 | 1476552GZPCLNT100 | EA |  | DIN RAIL;STEEL;G TYPE PROFILE; | DIN RAIL;STEEL;G TYPE PROFILE; |  |  | MOUNTING RAIL,ELEC: DIN RAIL;STEEL;G TYPE PROFILE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 676200000 | [13 empty] | 676200000 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://pacificautomation.com.au/electrical-components/din-rail-and-cable-management/din-rail/weidmuller-0676200000-din-rail-ts35-x-7-5mm-1012066 | [9 empty] | ENRICHED | 39121708 Din rail | G TYPE PROFILE |  | RAIL | MOUNTING | TYPE | electrical | LENGTH | 200 CM | WIDTH |  | HEIGHT |  | MATERIAL | STEEL | LOAD RATING |  | COATING/FINISH | Zinc Plated | HOLE/SLOT SIZE |  | CENTER SPACING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1151323 | 1151323 |  |  |  | ERSA | M | 1600 | 1475281GZPCLNT100 | EA |  | EARTH LEAKAGE TRIP INDICATOR;ILLUMINATED | EARTH LEAKAGE TRIP INDICATOR;ILLUMINATED | [5 empty] | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D7P-LF5-PN3Y-X10 | [13 empty] | D7P-LF5-PN3Y-X10 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://urbanutilities.com.au/-/media/quu/pdfs/suppliers-info/technical-manuals-waste-water/tms154.pdf?la=en&hash=EF77807A4270DB8B3BA36E019833F78E22F11A3D | [9 empty] | ENRICHED | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | Illuminated,EARTH LEAKAGE TRIP INDICATOR | VOLTAGE RATING | 24 VAC/VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1151335 | 1151335 | 1475266 | AU_QM_000195270 |  | ERSA | M | 1600 | 1475266GZPCLNT100 | EA |  | EARTH LEAKAGE TRIP INDICATOR;ILLUMINATED | EARTH LEAKAGE TRIP INDICATOR;ILLUMINATED |  |  | PUSH BUTTON:EARTH LEAKAGE TRIP INDICATOR;ILLUMINATED |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D7P-LF5-PN3Y-X10 YELLOW | [13 empty] | D7P-LF5-PN3Y-X10 YELLOW | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://urbanutilities.com.au/-/media/quu/pdfs/suppliers-info/technical-manuals-waste-water/tms154.pdf?la=en&hash=EF77807A4270DB8B3BA36E019833F78E22F11A3D | [9 empty] | ENRICHED | 39122216 Push button switch |  |  | SWITCH | PUSHBUTTON | TYPE | Illuminated,EARTH LEAKAGE TRIP INDICATOR | VOLTAGE RATING | 24 VAC/VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR | YELLOW | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1151435 | 1151435 | 1474801 | AU_QM_000176231 |  | ERSA | M | 5620 | 1474801GZPCLNT100 | EA |  | DRIVE;R62 MAIN CAGE | DRIVE;R62 MAIN CAGE |  |  | SHAFT: DRIVE;R62 MAIN CAGE |  |  | 1069497 @@ CROWN ENGINEERING | 103281 | [14 empty] | CROWN ENGINEERING | 103281 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | R62 MAIN CAGE |  | DRIVE | NO MODIFIER | TYPE | SHAFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1151703 | 1151703 | 1474338 | AU_QM_000148224 |  | ERSA | M | 1825 | 1474338GZPCLNT100 | EA |  | BACK-UP RING - 210 FOR SIBS 4 BRAKE SYST | BACK-UP RING - 210 FOR SIBS 4 BRAKE SYST |  |  | RING,BACKING: BACK-UP RING - 210 FOR SIBS 4 BRAKE SYST |  |  | 1069986 @@ ADVANCED BRAKING PTY LTD | 1474338 | [14 empty] | ADVANCED BRAKING PTY LTD | 1474338 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31181705 Seal backup ring | 210 FOR SIBS 4 BRAKE SYSTEM |  | RING | BACK-UP | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1151878 | 1151878 | 1473508 | AU_QM_000365957 |  | ERSA | M | 5920 | 1473508GZPCLNT100 | EA |  | CAT WATER TEMPERATURE REGULATOR GRP; | CAT WATER TEMPERATURE REGULATOR GRP; |  |  | THERMOSTAT,FLOW CONTROL:CAT WATER TEMPERATURE REGULATOR GRP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1473508 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1118010 | [10 empty] | CATERPILLAR | 111-8010 | CNW (MOUNT ISA) ELECT WHOLESALER | 1473508 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/111-8010 | [9 empty] | CLEANSED | 41112205 Temperature regulators | GROUP |  | REGULATOR | TEMPERATURE | TYPE | WATER,FLOW CONTROL,THERMOSTAT | SET POINT RANGE |  | MAX TEMPERATURE |  | NOMINAL SIZE |  | MATERIAL |  | SENSOR TYPE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1152618 | 1152618 | 1476602 | AU_QM_005113515 |  | ERSA | M | 2000 | 1476602GZPCLNT100 | EA |  | CASE,CORE LIFTER; | CASE,CORE LIFTER; |  |  | CASE,CORE LIFTER; |  |  | 1068360 @@ FORDIA (SOUTH EAST ASIA) PTY LTD | 1476602 | 1068617 @@ BOART LONGYEAR PTY LTD | 24892 | [12 empty] | FORDIA (SOUTH EAST ASIA) PTY LTD | 1476602 | BOART LONGYEAR PTY LTD | 24892 | [12 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31261600 Shells and casings |  |  | CASE | NO MODIFIER | TYPE | CORE LIFTER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-10 |  | 1177023 | 1177023 | 1368305 | AU_QM_000172164 |  | ERSA | M | 1600 | 1368305GZPCLNT100 | EA |  | BLANK;POLE FILLER,12PK, DIN-T | BLANK;POLE FILLER,12PK, DIN-T | BLANK;TYPE:POLE FILLER,ADDITIONAL FEATURES EN:12PK, DIN-T,MNFR:01)CNW,PTNO:01)NHPDTLLB |  | BLANK: LOCKING;POLE FILLER;DIN-T;12PK |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTLLB | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | NHPDTLLB | [16 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/POLE-FILLEr-DIN-T-LOCKING-BLANK-12PK/p/NHPDTLLBI19 | [9 empty] | ENRICHED | 31160000 Hardware | PACKAGE QUANTITY:12 |  | BLANK | NO MODIFIER | TYPE | POLE FILLER,DIN-T,Locking | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed