## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1217819 | 1217819 |  |  |  | ERSA | M | 5920 | 270168MRM | EA |  | DRIVE:DC;DCS800 | DRIVE:DC;DCS800 | DRIVE:DC;DCS800 | [18 empty] | ABB | DCS800 | [16 empty] | https://new.abb.com/drives/dc/dcs800-s | [9 empty] | ENRICHED | 39122002 Motor control drive DC |  |  | DRIVE | DC | TYPE | industrial | MOTOR POWER RATING |  | NUMBER OF AXES |  | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER SUPPLY | 400 to 1200 V,20 to 5200 A, | MOUNTING TYPE |  | IP RATING |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1028598 | 1028598 | 1371321 | AU_QM_000195681 |  | ERSA | M | 5800 | 1371321GZPCLNT100 | EA | 3000284 | DRIVE;GLE,401016010008 | DRIVE;GLE,401016010008 | DRIVE;MNFR:GLENCORE,PTNO:401016010008 |  | DRIVE;GLE,401016010008DRIVE;GLE,401016010008 | GLENCORE | 401016010008 | [12 empty] | GLENCORE | 401016010008 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1024416 | 1024416 | 1381598 | AU_QM_000221550 |  | ERSA | M | 5800 | 1381598GZPCLNT100 | EA | 3000024 | DRIVE;ISU,8973778180 | DRIVE;ISU,8973778180 | DRIVE;MNFR:ISUZU,PTNO:8973778180 |  | DRIVE;ISU,8973778180DRIVE;ISU,8973778180 | ISUZU | 8973778180 | [14 empty] | ISUZU | 8973778180 | [16 empty] | https://partsouq.com/en/search/all?q=8973778180 | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1028380 | 1028380 | 1372178 | AU_QM_000196628 |  | ERSA | M | 5800 | 1372178GZPCLNT100 | EA | 3000030 | DRIVE;OUT,S.T.HY.G.PR.D | DRIVE;OUT,S.T.HY.G.PR.D | DRIVE;MNFR:OUTOTEC,PTNO:S.T.HY.G.PR.D |  | DRIVE;OUT,S.T.HY.G.PR.DDRIVE;OUT,S.T.HY.G.PR.D | OUTOTEC | S.T.HY.G.PR.D | [12 empty] | OUTOTEC | S.T.HY.G.PR.D | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings |  |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1102548 | 1102548 |  |  |  | ERSA | M | 5920 | 1525323GZPCLNT100 | EA |  | DRIVE;PLT,SUIT A11VO260&VO75,10173788 | DRIVE;PLT,SUIT A11VO260&VO75,10173788 | DRIVE;ADDITIONAL FEATURES:PLT,SUIT A11VO260&VO75,10173788 | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141700 Hardware and fittings | for A11VO260&VO75,10173788 |  | DRIVE | NO MODIFIER | TYPE | plate | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 | NM TAKEN BASED ON URL | 1028744 | 1028744 | 1435391 | AU_QM_000775898 |  | ERSA | M | 5800 | 1435391GZPCLNT100 | EA | 3000012 | DRIVE;TOY,43405-60016(NG) | DRIVE;TOY,43405-60016(NG) | DRIVE;MNFR:TOYOTA,PTNO:43405-60016(NG) |  | DRIVE SHAFT ASSY,CV,VEH:LN106 FRONT OUTER CV ASSY; | TOYOTA | 43405-60016(NG) | [14 empty] | TOYOTA | 43405-60016(NG) | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~shaft~sub~assy~front~axle~outer~43405-60016.html | [9 empty] | ENRICHED | 26111510 Transmission shafts |  |  | SHAFT | NO MODIFIER | TYPE | DRIVE | SIZE | 28-13/64X7-19/32X6-45/64 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 | NM TAKEN BASED ON URL | 1024846 | 1024846 | 1373992 | AU_QM_000202864 |  | ERSA | M | 5800 | 1373992GZPCLNT100 | EA | 3000012 | DRIVE;TOY,9017920018 | DRIVE;TOY,9017920018 | DRIVE;MNFR:TOYOTA,PTNO:9017920018 |  | DRIVE;TOY,9017920018DRIVE;BEL,9017920018 | TOYOTA | 9017920018 | [14 empty] | TOYOTA | 9017920018 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~nut~for~drive~pinion~companion~flange~rear~90179-20018.html | [9 empty] | CLEANSED | 31161700 Nuts |  |  | NUT | NO MODIFIER | TYPE |  | THREAD SIZE |  | THREAD TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1023182 | 1023182 | 1394498 | AU_QM_000238098 |  | ERSA | M | 4090 | 1394498GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,1187110 | EDGE,CUTNG;CAT,1187110 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:1187110 |  | OEM-E-LISTEDGE,CUTTING;CAT,1187110 | CATERPILLAR | 1187110 | [14 empty] | CATERPILLAR | 118-7110 | [16 empty] | https://parts.cat.com/en/catcorp/118-7110 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | CENTER | SIZE | 1.199 LG MX19 WDX203.2 HT MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1009122 | 1009122 |  |  |  | ERSA | M | 5000 | 1612515GZPCLNT100 | EA | 3000010 | EDGE,CUTNG;SAN,E2CE7-5386L | CUCHILLA;SAN,E2CE7-5386L | EDGE,CUTTING;MNFR:SANDVIK,PTNO:E2CE7-5386L,ADDITIONAL FEATURES EN:LOADER, LH,EIMCO 913 | CUCHILLA;MNFR:SANDVIK,PTNO:E2CE7-5386L |  | SANDVIK | E2CE7-5386L | [12 empty] | SANDVIK | E2CE7-5386L | [18 empty] | URL NOT FOUND |  |  | LOADER | EIMCO | 913 |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | LEFT HAND | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1023491 | 1023491 | 1385111 | AU_QM_000225817 |  | ERSA | M | 4090 | 1385111GZPCLNT100 | EA | 3000006 | EDGE;KOM,31060000 | EDGE;KOM,31060000 | EDGE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:31060000 |  | EDGE;KOM,31060000EDGE;KOM,31060000 | KOMATSU MINING SYSTEMS INC. | 31060000 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 31060000 | [18 empty] | https://my.komatsu.com.au/shop/edge_5637144802/5637330309_edge-pc40-%28get2628%29_31060000 | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 | NM TAKEN BASED ON URL | 1023278 | 1023278 | 1390904 | AU_QM_000232638 |  | ERSA | M | 4090 | 1390904GZPCLNT100 | EA | 3000006 | EDGE;KOM,69398LP | EDGE;KOM,69398LP | EDGE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:69398LP |  | EDGE;KOM,69398LPEDGE;KOM,69398LP | KOMATSU MINING SYSTEMS INC. | 69398LP | [12 empty] | KOMATSU MINING SYSTEMS INC. | 69398LP | [18 empty] | https://my.komatsu.com.au/shop/edge_5637144802/5637479118_cutting-edge-kit_69398lp | [9 empty] | CLEANSED | 20000000 Mining and Well Drilling Machinery and Accessories |  |  | KIT | NO MODIFIER | TYPE | CUTTING EDGE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1023582 | 1023582 | 1381772 | AU_QM_000221750 |  | ERSA | M | 4090 | 1381772GZPCLNT100 | EA | 3000006 | EDGE;KOM,KENAMETAL | EDGE;KOM,KENAMETAL | EDGE;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:KENAMETAL |  | EDGE;KOM,KENAMETALEDGE;KOM,KENAMETAL | KOMATSU MINING SYSTEMS INC. | KENAMETAL | [12 empty] | KOMATSU MINING SYSTEMS INC. | KENAMETAL | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1009674 | 1009674 | 1457582 | AU_QM_001305226 |  | ERSA | M | 4090 | 1457582GZPCLNT100 | EA | 3000013 | EDGE;VOL,V11045808 | EDGE;VOL,V11045808 | EDGE;MNFR:VOLVO,PTNO:V11045808 |  | CUTTING EDGE,MOULDBOARD:CUTTING EDGE;ENDS; | VOLVO | V11045808 | 1068233 @@ ISA DIESEL & EARTHMOVING REPAIRS | V11045808 | [12 empty] | VOLVO | V11045808 | ISA DIESEL & EARTHMOVING REPAIRS | V11045808 | [14 empty] | https://www.fh-nd.com/product/volvo-11045808-loader-end-edge-30mm/ | [9 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | NO MODIFIER | TYPE |  | SIZE | 30 MM | MATERIAL | HIGH CARBON STEEL,BORON STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1010421 | 1010421 |  |  |  | ERSA | M | 3730 | 1607238GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,4T-2231,25MM THICK OPTION | CUCHILLA;CAT,4T-2231 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:4T-2231,ADDITIONAL FEATURES EN:25MM THICK OPTION,MACHINE:MOTOR GRADER,MATERIAL:THROUGH HARDENED (DH2) | CUCHILLA;MNFR:CATERPILLAR,PTNO:4T-2231 |  | CATERPILLAR | 4T-2231 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4T2231 | [12 empty] | CATERPILLAR | 4T-2231 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/4T-2231 |  |  | MOTOR GRADER | [6 empty] | ENRICHED | 27112203 Edgers | OPTION |  | EDGE | CUTTING | TYPE | SECTION | SIZE | 203.2 WDX25.4 THK MM | MATERIAL | THROUGH HARDENED (DH2) | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1010426 | 1010426 |  |  |  | ERSA | M | 3730 | 1607260GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,1359397 | CUCHILLA;CAT,1359397 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:1359397 | CUCHILLA;MNFR:CATERPILLAR,PTNO:1359397 |  | CATERPILLAR | 1359397 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1359397 | [12 empty] | CATERPILLAR | 1359397 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/135-9397 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 2.045 LG MX16 WDX165 HT MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1012444 | 1012444 |  |  |  | ERSA | M | 3730 | 1609663GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,135-9395 | CUCHILLA;CAT,135-9395 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:135-9395 | CUCHILLA;MNFR:CATERPILLAR,PTNO:135-9395 |  | CATERPILLAR | 135-9395 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 135-9395 | [12 empty] | CATERPILLAR | 135-9395 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/135-9395 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 1.74 LG MX16 WDX165 HT MM | MATERIAL | STEEL | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1015802 | 1015802 | 1470566 | AU_QM_009146750 |  | ERSA | M | 5610 | 1470566GZPCLNT100 | EA |  | CURRENT, 800/5 AMP 50 CYCLE | CURRENT, 800/5 AMP 50 CYCLE | TRANSFORMER: CURRENT, 800/5 AMP 50 CYCLE FOR ITEM B2:30-05 FOR K57 WINDERS |  | TRANSFORMER:CURRENT, 800/5 AMP 50 CYCLE |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470566 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470566 | [14 empty] | URL NOT FOUND |  | B2:30-05 | WINDERS |  | K57 |  |  |  |  | CLEANSED | 39121032 Current transformer | NUMBER OF CYCLE:50 |  | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING |  | CURRENT RATING | 800/5 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1015803 | 1015803 | 1470565 | AU_QM_009146749 |  | ERSA | M | 5610 | 1470565GZPCLNT100 | EA |  | CURRENT, 600/5AMP 50 CYCLES | CURRENT, 600/5AMP 50 CYCLES | TRANSFORMER: CURRENT, 600/5AMP 50 CYCLES FOR ITEM BI:03-05 FOR K57 WINDERS |  | TRANSFORMER:CURRENT, 600/5AMP 50 CYCLES |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470565 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470565 | [14 empty] | URL NOT FOUND |  | BI:03-05 | WINDERS |  | K57 |  |  |  |  | CLEANSED | 39121032 Current transformer | NUMBER OF CYCLE:50 |  | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING |  | CURRENT RATING | 600/5 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1017091 | 1017091 |  |  |  | ERSA | M | 3300 | 1038216GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,1359394 | EDGE,CUTNG;CAT,1359394 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:1359394 |  |  | CATERPILLAR | 1359394 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1359394 | [12 empty] | CATERPILLAR | 135-9394 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/135-9394 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 1.586 LG MX16 WDX165 HT MM | MATERIAL | STEEL | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1017434 | 1017434 | 1208181 | AU_QM_000165661 |  | ERSA | M | 3300 | 1208181GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,9W6656,FNE POINTE | EDGE,CUTNG;CAT,9W6656,FNE POINTE | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:9W6656,ADDITIONAL FEATURES EN:FINE POINTE |  | CUTTING EDGE,MOULDBOARD:Cutting Edge | CATERPILLAR | 9W6656 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9W6656 | [12 empty] | CATERPILLAR | 9W-6656 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/9W-6656 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | MOULDBOARD | SIZE | 992 MM LG | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 | NM TAKEN BASED ON URL | 1026030 | 1026030 | 1431065 | AU_QM_000685031 |  | ERSA | M | 5800 | 1431065GZPCLNT100 | EA | 3000012 | DRIVE;TOY,43405-60040(NG) | DRIVE;TOY,43405-60040(NG) | DRIVE;MNFR:TOYOTA,PTNO:43405-60040(NG) |  | DRIVE SHAFT ASSY,CV,VEH:HZJ75 CV JOINT/SHAFT ASSY;1991 ONWARDS; | TOYOTA | 43405-60040(NG) | 1068534 @@ HARDY SPICER | CV436 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | CV436 | [10 empty] | TOYOTA | 43405-60040(NG) | HARDY SPICER | CV436 | BELL & MOIR - PARTS ORDERS ONLY | CV436 | [12 empty] | https://www.toyotapartsdeal.com/oem/toyota~shaft~sub~assy~front~axle~outer~43405-60040.html | [9 empty] | ENRICHED | 25173811 Drive shafts |  |  | SHAFT | ASSEMBLY | TYPE | SUB,Front Axle Outer | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1033822 | 1033822 |  |  |  | ERSA | M | 3760 | 1532167GZPCLNT100 | EA | 3000013 | EDGE,CUTNG;VOL,11045808 | EDGE,CUTNG;VOL,11045808 | EDGE,CUTNG;MNFR:VOLVO,PTNO:11045808 |  |  | VOLVO | 11045808 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11045808 | [12 empty] | VOLVO | 11045808 | SMH EQUIPMENT PTY LTD | [15 empty] | https://www.fh-nd.com/product/volvo-shovel-cutting-edge-11045808-40mm/ | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | SHOVEL | SIZE | 624 LGX461 WD MM | MATERIAL | HIGH CARBON STEEL,BORON STEEL | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1033823 | 1033823 |  |  |  | ERSA | M | 3760 | 1532166GZPCLNT100 | EA | 3000013 | EDGE,CUTNG;VOL,11045809 | EDGE,CUTNG;VOL,11045809 | EDGE,CUTNG;MNFR:VOLVO,PTNO:11045809 |  |  | VOLVO | 11045809 | 1068317 @@ SMH EQUIPMENT PTY LTD | 11045809 | [12 empty] | VOLVO | 11045809 | SMH EQUIPMENT PTY LTD | [15 empty] | https://www.sj-get.com/product/11045809-volvo-cutting-edge/ | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 1.624 M LGX350 WDX25 THK MM | MATERIAL | HIGH SPEC ALLOY STEEL | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO9001:2008 | [60 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036015 | 1036015 |  |  |  | ERSA | M | 4090 | 1527781GZPCLNT100 | BAG |  | AGGREGATE;10MM MINUS,1,BLUE STONE< 10 MM | AGGREGATE;10MM MINUS,1,BLUE STONE< 10 MM | AGGREGATE;ADDITIONAL FEATURES:10MM MINUS,1,BLUE STONE< 10 MM |  |  |  |  | 1068608 @@ ISA QUARRY PTY LTD | BLUE STONE< 10 MM | [14 empty] | ISA QUARRY PTY LTD | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30111800 Aggregates | 10 MM MINUS,1 |  | AGGREGATE | NO MODIFIER | TYPE | BLUE STONE | SIZE | 10 MM | CONTAINER SIZE |  | CONTAINER TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036363 | 1036363 | 1475800 | AU_QM_000234509 |  | ERSA | M | 5620 | 1475800GZPCLNT100 | BAG |  | CIRCLIP;S/S;EXTERNAL;18MM SHAFT DIA X 17 | CIRCLIP;S/S;EXTERNAL;18MM SHAFT DIA X 17 |  |  | RING,RETAINING: CIRCLIP;S/S;EXTERNAL;18MM SHAFT DIA X 17 |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6665 | [26 empty] | RS COMPONENTS PTY LTD | 209-6665 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-external-circlip-18mm-shaft-17mm/2096665 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:18 MM,Groove Diameter:17 MM |  | CLIP | RETAINING | TYPE | CIR,RING,External | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036364 | 1036364 | 1475799 | AU_QM_000234508 |  | ERSA | M | 5620 | 1475799GZPCLNT100 | BAG |  | CIRCLIP;S/S;EXTERNAL;14MM SHAFT DIA X 13 | CIRCLIP;S/S;EXTERNAL;14MM SHAFT DIA X 13 |  |  | RING,RETAINING: CIRCLIP;S/S;EXTERNAL;14MM SHAFT DIA X 13 |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6643 | [26 empty] | RS COMPONENTS PTY LTD | 209-6643 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-external-circlip-14mm-shaft-134mm/2096643 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:14 MM,Groove Diameter:13 MM |  | CLIP | RETAINING | TYPE | CIR,RING,External | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036365 | 1036365 | 1475798 | AU_QM_000234507 |  | ERSA | M | 5620 | 1475798GZPCLNT100 | BAG |  | CIRCLIP;S/S;E TYPE;20MM SHAFT DIA X 15MM | CIRCLIP;S/S;E TYPE;20MM SHAFT DIA X 15MM |  |  | RING,RETAINING: CIRCLIP;S/S;E TYPE;20MM SHAFT DIA X 15MM |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6924 | [26 empty] | RS COMPONENTS PTY LTD | 209-6924 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-e-type-circlip-15mm-shaft-diameter/2096924 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:15.5 MM |  | CLIP | RETAINING | TYPE | CIR,RING,E | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036366 | 1036366 | 1475797 | AU_QM_000234506 |  | ERSA | M | 5620 | 1475797GZPCLNT100 | BAG |  | CIRCLIP;S/S;E TYPE;15.5MM SHAFT DIA X 12 | CIRCLIP;S/S;E TYPE;15.5MM SHAFT DIA X 12 |  |  | RING,RETAINING: CIRCLIP;S/S;E TYPE;15.5MM SHAFT DIA X 12 |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6918 | [26 empty] | RS COMPONENTS PTY LTD | 209-6918 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-e-type-circlip-12mm-shaft-diameter/2096918 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:15 MM,Groove Diameter:12 MM |  | CLIP | RETAINING | TYPE | CIR,RING,E | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036367 | 1036367 | 1475796 | AU_QM_000234505 |  | ERSA | M | 5620 | 1475796GZPCLNT100 | BAG |  | CIRCLIP;S/S;E TYPE;9.5MM SHAFT DIA X 7MM | CIRCLIP;S/S;E TYPE;9.5MM SHAFT DIA X 7MM |  |  | RING,RETAINING: CIRCLIP;S/S;E TYPE;9.5MM SHAFT DIA X 7MM |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6873 | [26 empty] | RS COMPONENTS PTY LTD | 209-6873 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-e-type-circlip-7mm-shaft-diameter/2096873 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:9.5 MM,Groove Diameter:7 MM |  | CLIP | RETAINING | TYPE | CIR,RING,E | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1036368 | 1036368 | 1475795 | AU_QM_000234504 |  | ERSA | M | 5620 | 1475795GZPCLNT100 | BAG |  | CIRCLIP;S/S;E TYPE;6MM SHAFT DIA X 4MM G | CIRCLIP;S/S;E TYPE;6MM SHAFT DIA X 4MM G |  |  | RING,RETAINING: CIRCLIP;S/S;E TYPE;6MM SHAFT DIA X 4MM G |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 209-6851 | [26 empty] | RS COMPONENTS PTY LTD | 209-6851 |  |  | https://in.rsdelivers.com/product/rs-pro/stainless-steel-e-type-circlip-4mm-shaft-diameter/2096851 | [9 empty] | CLEANSED | 31163211 Retaining clips | SHAFT DIAMTER:6 MM,Groove Diameter:4 MM |  | CLIP | RETAINING | TYPE | CIR,RING,E | SIZE |  | MATERIAL | Stainless Steel | SHAPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1051925 | 1051925 |  |  |  | ERSA | M | 4005 | 1578551GZPCLNT100 | EA |  | ANALYZER;FREQUENCY TENSION TESTER | ANALIZADOR; | ANALYZER;TYPE:FREQUENCY TENSION TESTER,MEASURING RANGE:,ADDITIONAL FEATURES EN:OPTIBELT TT 3-B | ANALIZADOR; |  |  |  | 1068409 @@ APPLIED INDUSTRIAL TECHNOLOGIES | OPTIBELT-TT | [14 empty] | APPLIED INDUSTRIAL TECHNOLOGIES | OPTIBELT-TT | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41110000 Measuring and observing and testing instruments | OPTIBELT TT 3-B |  | ANALYZER | NO MODIFIER | TYPE | FREQUENCY TENSION TESTER | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE |  | INTERFACE TYPE |  | ENCLOSURE TYPE |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1053974 | 1053974 |  |  |  | ERSA | M | 1500 | 1200095GZPCLNT100 | MT |  | AGGREGATE;25 TO 50 MM | AGGREGATE;25 TO 50 MM | AGGREGATE;SIZE:25 TO 50 MM |  |  |  |  | 1068359 @@ QCRUSH PTY LTD | 1200095 | [14 empty] | QCRUSH PTY LTD | 1200095 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30111800 Aggregates |  |  | AGGREGATE | NO MODIFIER | TYPE |  | SIZE | 25 TO 50 MM | CONTAINER SIZE |  | CONTAINER TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1054236 | 1054236 |  |  |  | ERSA | M | 4090 | 1613702GZPCLNT100 | ROL |  | ABSORBENT,MAT;91 CM X 33M,STICKY BACK | TAPETE ABS; | ABSORBENT,MAT;SIZE:91 CM X 33M,ADDITIONAL FEATURES EN:STICKY BACK,BRAND:STRATEX,COLOUR:GREY | TAPETE ABSORBENTE; |  |  |  | 1071801 @@ STRATEX P/L | MR1210 | [12 empty] | STRATEX P/L | MR1210 | [16 empty] | https://stratex.com.au/product/individual-roll-91cm-x-33m-mr1210/ | [9 empty] | CLEANSED | 47131901 Absorbent mats | COLOUR:GREY |  | ABSORBENT | MAT | TYPE | STICKY BACK | PACKAGE QUANTITY |  | SIZE | 91 CMX33 M | ABSORBING CAPACITY |  | MEDIA FOR WHICH DESIGNED |  | MATERIAL |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1056051 | 1056051 |  |  |  | ERSA | M | 4090 | 1616025GZPCLNT100 | EA |  | BURNER;DRYR,PN:M412025P | QUEMADOR; | BURNER;TYPE:DRYER,ADDITIONAL FEATURES EN:PN:M412025P,MNFR:ALLIANCE LAUNDRY SYSTEMS | QUEMADOR; |  |  |  | 1068433 @@ NQ LAUNDRY TECH SERVICES PTY LTD | M412025P | [12 empty] | ALLIANCE LAUNDRY SYSTEMS | M412025P | NQ LAUNDRY TECH SERVICES PTY LTD | [15 empty] | https://parts.alliancelaundry.com/i-13090758-alliance-m412025p-dryer-burner-120-170-200-pkg.html | [9 empty] | CLEANSED | 40101834 Burners |  |  | BURNER | NO MODIFIER | TYPE | DRYER | CAPACITY |  | FUEL TYPE |  | POWER SUPPLY |  | END CONNECTION |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1060205 | 1060205 |  |  |  | ERSA | M | 4090 | 1615697GZPCLNT100 | EA |  | EDGE,CUTNG;1550 MM L X 200 MM W X 20 MM | CUCHILLA; | EDGE,CUTTING;SIZE:1550 MM L X 200 MM W X 20 MM,ADDITIONAL FEATURES EN:3/4 IN BOLT | CUCHILLA; |  |  |  | 1068356 @@ HONEYCOMBES SALES & SERVICE P/L | DB200X20X1550X34 | [13 empty] | DB200X20X1550X34 | HONEYCOMBES SALES & SERVICE P/L | [15 empty] | https://www.mrfilter.com.au/cutting-edge-1550l-x-200w-x-20mm-3-4-bolt | [9 empty] | CLEANSED | 27112203 Edgers | FOR 3/4 IN BOLT |  | EDGE | CUTTING | TYPE |  | SIZE | 1.55 LG MX 200 WDX 20 THK MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1060822 | 1060822 |  |  |  | ERSA | M | 4090 | 1615050GZPCLNT100 | EA |  | BURNER;SOFT FLAME,STEEL,38 MM | QUEMADOR;ACERO | BURNER;TYPE:SOFT FLAME,MATERIAL:STEEL,OVERALL SIZE:38 MM | QUEMADOR;MATERIAL:ACERO |  |  |  | 1068135 @@ BOC LIMITED | 215212 | [12 empty] | BOC LIMITED | 215212 | [16 empty] | https://www.boc.co.nz/shop/en/nz/tradeflame-professional-auto-soft-flame-burner-38mm-215212-p | [9 empty] | CLEANSED | 40101834 Burners |  |  | BURNER | NO MODIFIER | TYPE | SOFT FLAME | CAPACITY |  | FUEL TYPE |  | POWER SUPPLY |  | END CONNECTION |  | TEMPERATURE RATING |  | MATERIAL | STEEL | MOUNTING TYPE |  | OVERALL SIZE | 38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1063256 | 1063256 | 1440847 | AU_QM_000984983 |  | ERSA | M | 3000 | 1440847GZPCLNT100 | EA |  | CLYDE MORRIS 2JC11 SLURRY PUMP; | CLYDE MORRIS 2JC11 SLURRY PUMP; | RING,LANTERN: CLYDE MORRIS 2JC11 SLURRY PUMP; SER.NO.CM6601321; TEFLON GLAND; |  | RING,LANTERN: CLYDE MORRIS 2JC11 SLURRY PUMP; |  |  | 1068652 @@ J BLACKWOOD & SONS | 1440847 | [26 empty] | J BLACKWOOD & SONS | 1440847 |  |  | URL NOT FOUND |  |  | SLURRY PUMP | CLYDE MORRIS | 2JC11 | CM6601321 |  |  |  | CLEANSED | 31162800 Miscellaneous hardware |  |  | RING | LANTERN | TYPE | GLAND | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL | TEFLON | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | PH RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1063431 | 1063431 | 1468546 | AU_QM_007825826 |  | ERSA | M | 3000 | 1468546GZPCLNT100 | EA |  | BRONZE AS 1565 935B | BRONZE AS 1565 935B | RING,LANTERN: BRONZE AS 1565 935B FOR 4" VERTICAL SPINDLE PUMP S/N 22130/1 |  | RING,LANTERN: BRONZE AS 1565 935B |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 49403-Q | [14 empty] | FLOWSERVE PUMP DIVISION | 49403-Q | [14 empty] | URL NOT FOUND |  |  | 4 IN VERTICAL SPINDLE PUMP |  |  | 22130/1 |  |  |  | CLEANSED | 31162800 Miscellaneous hardware |  |  | RING | LANTERN | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL | BRONZE | MATERIAL SPECIFICATION | GRADE 935B | PRESSURE RATING |  | TEMPERATURE RATING |  | PH RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS1565 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1063440 | 1063440 | 1468320 | AU_QM_007809166 |  | ERSA | M | 4090 | 1468320GZPCLNT100 | EA |  | CASING (STANDARD) | CASING (STANDARD) | RING,SEALING: CASING (STANDARD) FOR 7" X 10" M.S.S., 5-STAGE PUMP |  | RING,SEALING: CASING (STANDARD) |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 1468320 | [14 empty] | FLOWSERVE PUMP DIVISION | 1468320 | [14 empty] | URL NOT FOUND |  |  | 7X10 IN M.S.S 5-STAGE PUMP | [6 empty] | CLEANSED | 31181705 Seal backup ring |  |  | RING | SEALING | TYPE | CASING,STANDARD | SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | PIPE SCHEDULE |  | THICKNESS |  | RATING |  | MATERIAL |  | PACKAGING UNIT |  | SPECIAL REQUIREMENT |  | APPLICATION |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1063472 | 1063472 | 1430914 | AU_QM_000680678 |  | ERSA | M | 3000 | 1430914GZPCLNT100 | EA |  | ASH 14/12 LANTERN RING;2 PIECE; | ASH 14/12 LANTERN RING;2 PIECE; | RING,LANTERN: ASH 14/12 LANTERN RING;2 PIECE; ASH 14X12 SRH PUMP |  | RING,LANTERN: ASH 14/12 LANTERN RING;2 PIECE; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 1430914 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | 1430914 | [14 empty] | URL NOT FOUND |  |  | ASH 14X12 SRH PUMP | [6 empty] | CLEANSED | 31162800 Miscellaneous hardware | PACKAGE QUANTITY:2 PIECE |  | RING | LANTERN | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | PH RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1065255 | 1065255 |  |  |  | ERSA | M | 4090 | 1468323GZPCLNT100 | EA |  | CASING (STANDARD) | CASING (STANDARD) | RING,SEALING: CASING (STANDARD) FOR 7" X 10" M.S.S., 5-STAGE PUMP |  |  |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 86349/1170 STANDARD | [14 empty] | FLOWSERVE PUMP DIVISION | 86349/1170 | [14 empty] | URL NOT FOUND |  |  | 7X10 IN M.S.S 5-STAGE PUMP | [6 empty] | CLEANSED | 31181705 Seal backup ring |  |  | RING | SEALING | TYPE | CASING,STANDARD | SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | PIPE SCHEDULE |  | THICKNESS |  | RATING |  | MATERIAL |  | PACKAGING UNIT |  | SPECIAL REQUIREMENT |  | APPLICATION |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1065384 | 1065384 | 1470436 | AU_QM_009146237 |  | ERSA | M | 1630 | 1470436GZPCLNT100 | EA |  | C/W DIAPHRAGM | C/W DIAPHRAGM | ARMATURE,MOTOR: C/W DIAPHRAGM USED AT R62 WINDER, ELECTRICAL |  | ARMATURE,MOTOR: C/W DIAPHRAGM |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470436 | [14 empty] | ABB AUSTRALIA PTY LTD | 1470436 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101401 Armature | C/W DIAPHRAGM USED AT R62 WINDER |  | ARMATURE | MOTOR | TYPE | ELECTRICAL | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SPEED RATING |  | NUMBER OF PHASE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1065899 | 1065899 | 1468466 | AU_QM_007817403 |  | ERSA | M | 4090 | 1468466GZPCLNT100 | EA |  | BRONZE (AS1565,GRADE 935B) | BRONZE (AS1565,GRADE 935B) | RING,SEALING: BRONZE (AS1565,GRADE 935B) (SET = 2) FOR 250X300-425 SUPER-TITAN PUMP |  | RING,SEALING: BRONZE (AS1565,GRADE 935B) |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1468466 | [14 empty] | HEAVYMECH PTY LTD | 1468466 | [14 empty] | URL NOT FOUND |  |  | 250X300-425 SUPER-TITAN PUMP | [6 empty] | CLEANSED | 31181705 Seal backup ring | SET:2 |  | RING | SEALING | TYPE |  | SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | PIPE SCHEDULE |  | THICKNESS |  | RATING |  | MATERIAL | BRONZE GRADE 935B | PACKAGING UNIT |  | SPECIAL REQUIREMENT |  | APPLICATION |  | CERTIFICATION/STANDARD | AS1565 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1067498 | 1067498 | 1439536 | AU_QM_000982316 |  | ERSA | M | 5610 | 1439536GZPCLNT100 | EA |  | BURNER IGNITION TRANSFORMER; | BURNER IGNITION TRANSFORMER; | TRANSFORMER,POWER: BURNER IGNITION TRANSFORMER; BURNER HD100 62BC75 CCW |  | TRANSFORMER,POWER:BURNER IGNITION TRANSFORMER; |  |  | 1072005 @@ HUNT BOILERS | 1439536 | [14 empty] | HUNT BOILERS | 1439536 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121001 Distribution power transformers | HD100 62BC75 CCW |  | TRANSFORMER | POWER | TYPE | BURNER IGNITION | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | INSULATION CLASS |  | WINDING TYPE |  | TERMINAL TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | COOLING TYPE |  | BUSHING TYPE |  | NUMBER OF TAPS |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1077504 | 1077504 | 1198723 | AU_QM_000175423 |  | ERSA | M | 3300 | 1198723GZPCLNT100 | EA | 3000003 | EDGE,CUTNG;CAT,1359396 | FILO CORTANTE,CAT,1359396 | EDGE,CUTTING;MNFR:CATERPILLAR,PTNO:1359396 | FILO CORTANTE,MNFR:CATERPILLAR,PTNO:1359396 | CUTTING EDGE,BUCKET:BUCKET;16MM X 1893MM;CATERPILLAR;SKID ST | CATERPILLAR | 1359396 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1359396 | [12 empty] | CATERPILLAR | 135-9396 | HASTINGS DEERING(AUSTRALIA) LTD | 1359396 | [14 empty] | https://parts.cat.com/en/catcorp/135-9396 |  |  | SKID ST | CATERPILLAR | [5 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | BUCKET | SIZE | 1.893 LG MX16 WDX165 HT MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1079316 | 1079316 |  |  |  | ERSA | M | 4020 | 1613970GZPCLNT100 | EA |  | AGGREGATE;JOTUN ANTI SKID FINE,3 KG | AGREGADO; | AGGREGATE;TYPE:JOTUN ANTI SKID FINE,ADDITIONAL FEATURES EN:3 KG,PTNO:8004286 | AGREGADO;,PTNO:8004286 |  |  | 8004286 | 1068619 @@ PAINT & DECOR | 8004286 | [14 empty] | PAINT & DECOR | 8004286 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30111800 Aggregates | PACKAGE QUANTITY:3 KG |  | AGGREGATE | NO MODIFIER | TYPE | JOTUN ANTI SKID FINE | SIZE |  | CONTAINER SIZE |  | CONTAINER TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1079317 | 1079317 |  |  |  | ERSA | M | 4020 | 1613971GZPCLNT100 | EA |  | AGGREGATE;JOTUN ANTI SKID MEDIUM,3 KG | AGREGADO; | AGGREGATE;TYPE:JOTUN ANTI SKID MEDIUM,ADDITIONAL FEATURES EN:3 KG,PTNO:8004285 | AGREGADO;,PTNO:8004285 |  |  | 8004285 | 1068619 @@ PAINT & DECOR | 8004285 | [14 empty] | PAINT & DECOR | 8004285 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 30111800 Aggregates | PACKAGE QUANTITY:3 KG |  | AGGREGATE | NO MODIFIER | TYPE | JOTUN ANTI SKID MEDIUM | SIZE |  | CONTAINER SIZE |  | CONTAINER TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1108019 | 1108019 | 1467591 | AU_QM_007127700 |  | ERSA | M | 1600 | 1467591GZPCLNT100 | EA |  | ABB TEMPERATURE TRANSMITTER TRANSFORMER; | ABB TEMPERATURE TRANSMITTER TRANSFORMER; | TRANSFORMER,POWER: ABB TEMPERATURE TRANSMITTER TRANSFORMER; FOR ABB TPT-300CFLT; ABB 2.420M FRICTION WINDER; ENTERPRISE MINE M62 WINDER |  | TRANSFORMER,POWER:ABB TEMPERATURE TRANSMITTER TRANSFORMER; |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1467591 | [14 empty] | ABB AUSTRALIA PTY LTD | 1467591 | [14 empty] | URL NOT FOUND |  |  | 2.420 M FRICTION WINDER |  | TPT-300CFLT |  |  |  |  | CLEANSED | 39121001 Distribution power transformers | ENTERPRISE MINE M62 WINDER |  | TRANSFORMER | POWER | TYPE | TEMPERATURE TRANSMITTER | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | INSULATION CLASS |  | WINDING TYPE |  | TERMINAL TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | COOLING TYPE |  | BUSHING TYPE |  | NUMBER OF TAPS |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1108577 | 1108577 | 1428662 | AU_QM_000529867 |  | ERSA | M | 1630 | 1428662GZPCLNT100 | EA |  | ARMATURE,MOTOR: | ARMATURE,MOTOR: | ARMATURE,MOTOR: |  | ARMATURE,MOTOR: |  |  | 1071809 @@ ASHDOWN ENTERPRISES | 16-11489 | 1068087 @@ ASHDOWN INGRAM | 16-11489 | [12 empty] | ASHDOWN ENTERPRISES | 16-11489 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101401 Armature |  |  | ARMATURE | MOTOR | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SPEED RATING |  | NUMBER OF PHASE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1108997 | 1108997 | 1468541 | AU_QM_007825631 |  | ERSA | M | 4090 | 1468541GZPCLNT100 | EA |  | CASING (CU/MO/CI) | CASING (CU/MO/CI) | RING,SEALING: CASING (CU/MO/CI) TO AS1830-T250 FOR 8"/10" C-PUMP SERIAL NO.19319/19644/5/6 |  | RING,SEALING: CASING (CU/MO/CI) |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 64221-B | [14 empty] | FLOWSERVE PUMP DIVISION | 64221-B | [14 empty] | URL NOT FOUND |  |  | 8/10 IN C-PUMP |  |  | 19319/19644/5/6 |  |  |  | CLEANSED | 31181705 Seal backup ring |  |  | RING | SEALING | TYPE | CASING | SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | PIPE SCHEDULE |  | THICKNESS |  | RATING |  | MATERIAL | CU/MO/CI | PACKAGING UNIT |  | SPECIAL REQUIREMENT |  | APPLICATION |  | CERTIFICATION/STANDARD | AS1830-T250 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1109800 | 1109800 | 1460154 | AU_QM_002303433 |  | ERSA | M | 4100 | 1460154GZPCLNT100 | EA |  | CHOKE;660W;HP SODIUM;240V; | CHOKE;660W;HP SODIUM;240V; | BALLAST,LAMP: CHOKE;660W;HP SODIUM;240V; EYE CONTROL GEAR EQUIPMENT; |  | BALLAST,LAMP: CHOKE;660W;HP SODIUM;240V; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 510268 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 510268 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39111801 Lamp ballasts | FOR EYE CONTROL GEAR EQUIPMENT |  | BALLAST | NO MODIFIER | TYPE | LAMP,CHOKE,HP SODIUM | VOLTAGE RATING | 240 V | CURRENT RATING |  | LAMP WATTAGE | 660 W | LAMP TYPE |  | NUMBER OF LAMPS |  | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1112657 | 1112657 |  |  |  | ERSA | M | 3020 | 1471953GZPCLNT100 | EA |  | CYLINDER HEAD | CYLINDER HEAD | RING,PISTON: CYLINDER HEAD |  |  |  |  | 1070551 @@ QUARRY MINING & CONSTRUCTION | HG9 | [14 empty] | QUARRY MINING & CONSTRUCTION | HG9 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26101727 Piston rings |  |  | RING | PISTON | TYPE | CYLINDER HEAD | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | NUMBER IN SET |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1112667 | 1112667 | 1470915 | AU_QM_009182107 |  | ERSA | M | 1630 | 1470915GZPCLNT100 | EA |  | ARMATURE,MOTOR; POLE PITCH P49 | ARMATURE,MOTOR; POLE PITCH P49 | ARMATURE,MOTOR: POLE PITCH INCLUDING SLOT WEDGES AND PACKERS FOR F58 AND P49 WINDERS MOTOR DCL144/75 |  | ARMATURE,MOTOR: POLE PITCH |  |  | 1071835 @@ REXEL AUSTRALIA | DLC-144/75;POLE PITCH | [14 empty] | REXEL AUSTRALIA | DLC-144/75 | [14 empty] | URL NOT FOUND |  |  | WINDERS MOTOR |  | F58 AND P49,DCL144/75 |  |  |  |  | CLEANSED | 26101401 Armature | POLE PITCH INCLUDING SLOT WEDGES AND PACKERS |  | ARMATURE | MOTOR | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SPEED RATING |  | NUMBER OF PHASE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1114226 | 1114226 |  |  |  | ERSA | M | 1700 | 1571579GZPCLNT100 | EA |  | APPLICATOR;PENTEX D | UTENSILIO APLICAR ALGO; | APPLICATOR;ADDITIONAL FEATURES EN:PENTEXâ„¢ D | UTENSILIO APLICAR ALGO; |  |  |  | 1070667 @@ ORICA AUSTRALIA PTY LTD | 1005648 | [14 empty] | ORICA AUSTRALIA PTY LTD | 1005648 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24122006 Applicators | PENTEXA,C D |  | APPLICATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1135813 | 1135813 | 1461166 | AU_QM_002599897 |  | ERSA | M | 1825 | 1461166GZPCLNT100 | EA |  | BODY SEAT (1/4" O/S ON OD) | BODY SEAT (1/4" O/S ON OD) | RING: BODY SEAT (1/4" O/S ON OD) UNTHREADED |  | RING:BODY SEAT (1/4" O/S ON OD) |  |  | 1068289 @@ INFRABUILD STEEL CENTRE | C/AC337 | [14 empty] | INFRABUILD STEEL CENTRE | C/AC337 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40141646 Valve seat | 1/4 IN OVERSIZE ON OD |  | RING | SEAT | TYPE | BODY,UNTHREADED | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1136326 | 1136326 | 1448275 | AU_QM_001085828 |  | ERSA | M | 5955 | 1448275GZPCLNT100 | EA |  | CUTTING EDGE,HARD FACED; | CUTTING EDGE,HARD FACED; | CUTTING EDGE,MOULDBOARD: CUTTING EDGE,HARD FACED; CATERPILLAR 140H GRADER |  | CUTTING EDGE,MOULDBOARD:CUTTING EDGE,HARD FACED; |  |  | 1068152 @@ NORTH QLD HARD FACING | MIM-HFGB-C781075 | [14 empty] | NORTH QLD HARD FACING | MIM-HFGB-C781075 | [14 empty] | URL NOT FOUND |  |  | GRADER | CATERPILLAR | 140H |  |  |  |  | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | MOULDBOARD,CUTTING EDGE,HARD FACED | SIZE |  | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1136465 | 1136465 | 1445237 | AU_QM_001009096 |  | ERSA | M | 3000 | 1445237GZPCLNT100 | EA |  | ASH 5/4 PUMP LANTERN RING; | ASH 5/4 PUMP LANTERN RING; | RING,LANTERN: ASH 5/4 PUMP LANTERN RING; ASH 5/4 SRH PUMP |  | RING,LANTERN: ASH 5/4 PUMP LANTERN RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | ASH102800-459 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | ASH102800-459 | [14 empty] | URL NOT FOUND |  |  | ASH 5/4 SRH PUMP | [6 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | RING | LANTERN | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | PH RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1138899 | 1138899 | 1459224 | AU_QM_002210002 |  | ERSA | M | 1600 | 1459224GZPCLNT100 | EA |  | BELL, 240V PRIMARY | BELL, 240V PRIMARY | TRANSFORMER,POWER: BELL, 240V PRIMARY 5-8-12-16V @ 1A SECONDARY |  | TRANSFORMER,POWER:BELL, 240V PRIMARY |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1459224 | [10 empty] | BELL & MOIR - PARTS ORDERS ONLY |  |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1459224 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 39121001 Distribution power transformers | 1 A SECONDARY |  | TRANSFORMER | POWER | TYPE |  | PRIMARY VOLTAGE | 240 V | SECONDARY VOLTAGE | 5,8,12,16 V | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | INSULATION CLASS |  | WINDING TYPE |  | TERMINAL TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | COOLING TYPE |  | BUSHING TYPE |  | NUMBER OF TAPS |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [37 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1139329 | 1139329 | 1445236 | AU_QM_001009095 |  | ERSA | M | 3000 | 1445236GZPCLNT100 | EA |  | ASH 18/16 PUMP LANTERN RING; | ASH 18/16 PUMP LANTERN RING; | RING,LANTERN: ASH 18/16 PUMP LANTERN RING; ASH 18/16 SRH PUMP |  | RING,LANTERN: ASH 18/16 PUMP LANTERN RING; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | ASH 104530-459 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | ASH 104530-459 | [14 empty] | URL NOT FOUND |  |  | ASH 18/16 SRH PUMP | [6 empty] | CLEANSED | 31162800 Miscellaneous hardware |  |  | RING | LANTERN | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | PH RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1139810 | 1139810 | 1423668 | AU_QM_000280826 |  | ERSA | M | 4090 | 1423668GZPCLNT100 | EA |  | CASING | CASING | RING,SEALING: CASING MATERIAL 316SS |  | RING,SEALING: CASING |  |  | 1069568 @@ FLOWSERVE PUMP DIVISION | 1423668 | [14 empty] | FLOWSERVE PUMP DIVISION | 1423668 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31181705 Seal backup ring |  |  | RING | SEALING | TYPE | CASING | SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | PIPE SCHEDULE |  | THICKNESS |  | RATING |  | MATERIAL | STAINLESS STEEL 316 | PACKAGING UNIT |  | SPECIAL REQUIREMENT |  | APPLICATION |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1149280 | 1149280 |  |  |  | ERSA | M | 5100 | 1527835GZPCLNT100 | EA |  | DATALOGGER;CO/CO2/TEMP/HU,DL-303-IP65 CR | DATALOGGER;CO/CO2/TEMP/HU,DL-303-IP65 CR | DATALOGGER;ADDITIONAL FEATURES:CO/CO2/TEMP/HU,DL-303-IP65 CR |  |  |  |  | 1071474 @@ ICP ELECTRONICS AUSTRALIA | DL-303-IP65 CR | [12 empty] | ICP ELECTRONICS AUSTRALIA | DL-303-IP65 CR | [16 empty] | https://www.icpdas.com/en/product/DL-303-IP65 | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments |  |  | DATALOGGER | NO MODIFIER | TYPE | CO,CO2,Temperature,Humidity | DATA RANGE |  | NUMBER OF CHANNELS |  | STORAGE TIME |  | MEMORY CAPACITY |  | SAMPLING RATE |  | POWER SUPPLY |  | INTERFACE TYPE |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UKCA,CE | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1149310 | 1149310 |  |  |  | ERSA | M | 5100 | 1527690GZPCLNT100 | EA |  | ANALYZER;DISTANCE,LASER,LEICA D,LG850833 | ANALYZER;DISTANCE,LASER,LEICA D,LG850833 | ANALYZER;ADDITIONAL FEATURES:DISTANCE,LASER,LEICA D,LG850833 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | LG850833 | [12 empty] | LEICA D | LG850833 | MOUNT ISA MINING SUPPLIES P/L | [15 empty] | https://survey.crkennedy.com.au/products/lg850833/leica-disto-x3-laser-distance-meter | [9 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments |  |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE | 150 M | ACCURACY | +/- 1/16 IN | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1153975 | 1153975 |  |  |  | ERSA | M | 4090 | 1496216GZPCLNT100 | EA |  | ANALYZER;MB120 | ANALYZER;MB120 | ANALYZER;ADDITIONAL FEATURES:MB120 |  |  |  |  | 1071271 @@ NATIONAL WEIGHING & INSTRUMENTS | 1496216 | [13 empty] | MB120 | NATIONAL WEIGHING & INSTRUMENTS | 1496216 | [14 empty] | https://asiapacific.ohaus.com/en-ap/products/balances-scales/moisture-analyzers/mb120/moisture-analyzer-mb120 | [9 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments |  |  | ANALYZER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY | 230 V | DISPLAY TYPE | Full-Color 4.3 in Touchscreen WQVGA | INTERFACE TYPE |  | ENCLOSURE TYPE |  | SIZE | 355 LGX211 WDX180 HT MM | MOUNTING TYPE |  | TEMPERATURE RATING | 40 TO 230 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1179224 | 1179224 |  |  |  | ERSA | M | 1600 | 1543304GZPCLNT100 | EA |  | DATALOGGER;DT80,SER4,GEN PURPOSE | REGISTRADOR DATOS; | DATALOGGER;ADDITIONAL FEATURES EN:DT80,SER4,GEN PURPOSE | REGISTRADOR DATOS; |  |  |  | 1070399 @@ PACIFIC DATA SYSTEMS AUSTRALIA | TFS-DT4DT80 | [11 empty] | DT80 |  | TFS-DT4DT80 | PACIFIC DATA SYSTEMS AUSTRALIA | [15 empty] | https://shop.elkome.com/en/dt4dt80-universal-input-datalogger | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments | SER4 |  | DATALOGGER | NO MODIFIER | TYPE | GEN PURPOSE,Universal Input | DATA RANGE |  | NUMBER OF CHANNELS |  | STORAGE TIME |  | MEMORY CAPACITY |  | SAMPLING RATE |  | POWER SUPPLY |  | INTERFACE TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1180531 | 1180531 |  |  |  | ERSA | M | 2800 | 1522803GZPCLNT100 | EA |  | APPLICATOR;STAR VARIO 2,PSF731SVL250COMP | UTENSILIO APLICAR ALGO; | APPLICATOR;ADDITIONAL FEATURES EN:STAR VARIO 2,PSF731SVL250COMP | UTENSILIO APLICAR ALGO; |  |  |  | 1068622 @@ PERMA INDUSTRIAL DIST P/L | PSF731SVL250COMP | [14 empty] | PERMA INDUSTRIAL DIST P/L | PSF731SVL250COMP | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24122006 Applicators | STAR VARIO 2 |  | APPLICATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1180532 | 1180532 |  |  |  | ERSA | M | 2800 | 1522802GZPCLNT100 | EA |  | APPLICATOR;STAR VARIO,250,SF01SVL250COMP | UTENSILIO APLICAR ALGO; | APPLICATOR;ADDITIONAL FEATURES EN:STAR VARIO,250,SF01SVL250COMP | UTENSILIO APLICAR ALGO; |  |  |  | 1068622 @@ PERMA INDUSTRIAL DIST P/L | SF01SVL250COMP | [14 empty] | PERMA INDUSTRIAL DIST P/L | SF01SVL250COMP | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24122006 Applicators | STAR VARIO,250 |  | APPLICATOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1180929 | 1180929 |  |  |  | ERSA | M | 5100 | 1568902GZPCLNT100 | EA |  | ANALYZER;SPECTRUM,3600 - 6000MHZ | ANALIZADOR; | ANALYZER;TYPE:SPECTRUM,MEASURING RANGE:3600 - 6000MHZ,ADDITIONAL FEATURES EN:HANDHELD,PSA5,10MHZ-3.6GHZ,TTI | ANALIZADOR; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 7180857 | [12 empty] | TE Connectivity | 1241380-3 | [12 empty] | RS COMPONENTS PTY LTD | 7180857 |  |  | https://in.rsdelivers.com/product/te-connectivity/1241380-3/te-connectivity-amp-mcp-15k-female-crimp-terminal/7180857 | [9 empty] | ENRICHED | 39121432 Electrical terminals | MEASURING RANGE:3600 TO 6000 MHZ,PSA5,10 MHZ TO 3.6 GHZ,TTI |  | TERMINAL | NO MODIFIER | TYPE | SPECTRUM,HANDHELD,Female Crimp | VOLTAGE RATING |  | CURRENT RATING |  | WIRE SIZE | 1 mm2 | SIZE |  | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1181081 | 1181081 |  |  |  | ERSA | M | 5955 | 1568341GZPCLNT100 | EA | 3000025 | EDGE,CUTNG;JOH,T202940,DURA-MAX | CUCHILLA;JOH,T202940 | EDGE,CUTTING;MNFR:JOHN DEERE,PTNO:T202940,ADDITIONAL FEATURES EN:DURA-MAX | CUCHILLA;MNFR:JOHN DEERE,PTNO:T202940 |  | JOHN DEERE | T202940 | 1068592 @@ RDO EQUIPMENT PTY LTD | T202940 | [12 empty] | JOHN DEERE | T202940 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T202940%3A-Overlay-Reversible-DURA-MAX%E2%84%A2-Cutting-Edge/p/T202940 | [9 empty] | ENRICHED | 27112203 Edgers | DURA-MAX |  | EDGE | CUTTING | TYPE |  | SIZE | 15-15/16 LGX8-55/64 WD IN | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1184695 | 1184695 |  |  |  | ERSA | M | 5935 | 1558748GZPCLNT100 | EA |  | DATALOGGER;110VAC,DATA PRO,63C AT 42-48V | REGISTRADOR DATOS; | DATALOGGER;ADDITIONAL FEATURES EN:110VAC,DATA PRO,63C AT 42-48VAC/DC,110VAC ONLY | REGISTRADOR DATOS; |  |  |  | 1068072 @@ EILBECK CRANES | DC PRO63C | [14 empty] | EILBECK CRANES | DC PRO63C | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111900 Indicating and recording instruments | 63C |  | DATALOGGER | NO MODIFIER | TYPE | DATA PRO | DATA RANGE |  | NUMBER OF CHANNELS |  | STORAGE TIME |  | MEMORY CAPACITY |  | SAMPLING RATE |  | POWER SUPPLY | 110 VAC,42 TO 48 VAC/DC | INTERFACE TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1184738 | 1184738 |  |  |  | ERSA | M | 5930 | 1558683GZPCLNT100 | EA |  | BURNER;BBQ | QUEMADOR; | BURNER;TYPE:BBQ,ADDITIONAL FEATURES EN:6 BURNER,BLACK,V2,W/COVER,MASPORT MB6600 | QUEMADOR; |  |  |  | 1075963 @@ HARVEY NORMAN AVIT | 553084 | 1068599 @@ MTI AVIT PTY LIMITED T/A MTI | 1558683 | [10 empty] | HARVEY NORMAN AVIT | MB6600 | MTI AVIT PTY LIMITED T/A MTI | 1558683 |  | 553084 | [12 empty] | https://www.harveynorman.com.au/masport-mb6600-mk3-6-burner-bbq-black.html | [9 empty] | CLEANSED | 40101834 Burners | 6,C/W COVER,MASPORT,COLOUR:BLACK,V2 |  | BURNER | NO MODIFIER | TYPE | BBQ | CAPACITY |  | FUEL TYPE |  | POWER SUPPLY |  | END CONNECTION |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1186778 | 1186778 |  |  |  | ERSA | M | 5955 | 1551587GZPCLNT100 | EA | 3000025 | EDGE,CUTNG;JOH,T223802 | CUCHILLA;JOH,T223802 | EDGE,CUTTING;MNFR:JOHN DEERE,PTNO:T223802 | CUCHILLA;MNFR:JOHN DEERE,PTNO:T223802 |  | JOHN DEERE | T223802 | 1068592 @@ RDO EQUIPMENT PTY LTD | T223802 | [12 empty] | JOHN DEERE | T223802 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T223802%3A-DURA-MAX%E2%84%A2-Standard-Duty-Cutting-Edge/p/T223802 | [9 empty] | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE |  | SIZE | 42-23/32 LGX12-63/64 WD MM | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1189353 | 1189353 |  |  |  | ERSA | M | 3300 | 1576020GZPCLNT100 | EA | 3000025 | EDGE,CUTNG;JOH,T202876,DURA-MAX | CUCHILLA;JOH,T202876 | EDGE,CUTTING;MNFR:JOHN DEERE,PTNO:T202876,ADDITIONAL FEATURES EN:DURA-MAX | CUCHILLA;MNFR:JOHN DEERE,PTNO:T202876 |  | JOHN DEERE | T202876 | 1068592 @@ RDO EQUIPMENT PTY LTD | T202876 | [12 empty] | JOHN DEERE | T202876 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/T202876%3A-DURA-MAX%E2%84%A2-Cutting-Edge/p/T202876 | [9 empty] | ENRICHED | 27112203 Edgers | DURA-MAX |  | EDGE | CUTTING | TYPE |  | SIZE | 15-1/4 LGX6 WD IN | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1190399 | 1190399 |  |  |  | ERSA | M | 4090 | 1574661GZPCLNT100 | EA |  | BURNER;ROF,RHF 1 | QUEMADOR; | BURNER;TYPE:ROOF,ADDITIONAL FEATURES EN:RHF 1 | QUEMADOR; |  |  |  | 1068653 @@ WOODFIELDS ENGINEERING | 148-8-1397 | [14 empty] | WOODFIELDS ENGINEERING | 148-8-1397 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101834 Burners | RHF 1 |  | BURNER | NO MODIFIER | TYPE | ROOF | CAPACITY |  | FUEL TYPE |  | POWER SUPPLY |  | END CONNECTION |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1206397 | 1206397 |  |  |  | ERSA | M | 2800 | 1041326MRM | BT |  | BRAKE FLUID,AUTO:MOBIL HYDRAULIC BRAKE F | BRAKE FLUID,AUTO:MOBIL HYDRAULIC BRAKE F | BRAKE FLUID,AUTO:MOBIL HYDRAULIC BRAKE FLUID;4L BOTTLE;DOT 4 SYNTHETIC BRAKE FLUID;CTN = 4 X 4L BOTLS |  |  |  |  | 1079321 @@ EAST COAST LUBES PTY LTD | 135244 | [14 empty] | EAST COAST LUBES PTY LTD | 135244 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations | CTN:4 X 4L BOTLES |  | FLUID | NO MODIFIER | TYPE | AUTO MOBIL HYDRAULIC,DOT 4 SYNTHETIC BRAKE | CONTAINER | 4 L BOTTLE | BASE OIL TYPE |  | COLOUR |  | SPECIFIC GRAVITY |  | FLASH POINT |  | VISCOSITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1208780 | 1208780 |  |  |  | ERSA | M | 3300 | 1128933MRM | EA |  | CUTTING EDGE,MOULDBOARD:GRADER CUTTING E | CUTTING EDGE,MOULDBOARD:GRADER CUTTING E | CUTTING EDGE,MOULDBOARD:GRADER CUTTING EDGE;8FT LG,10IN W,1-3/8IN THK;CAT 16M GRADER |  |  |  |  | 1068385 @@ ESCO AUSTRALIA HOLDINGS PTY LTD | PN1208780 | [14 empty] | ESCO AUSTRALIA HOLDINGS PTY LTD | PN1208780 | [14 empty] | URL NOT FOUND |  |  | 16M GRADER | CATERPILLAR | [5 empty] | CLEANSED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | MOULDBOARD,GRADER CUTTING EDGE | SIZE | 8 FT LGX10 WDX1-3/8 THK IN | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1209705 | 1209705 |  |  |  | ERSA | M | 4090 | 772232MRM | BAG |  | ABSORBENT,OIL & WATER:DRY UP OIL ABSORBE | ABSORBENT,OIL & WATER:DRY UP OIL ABSORBE | ABSORBENT,OIL <(>&<)> WATER:DRY UP OIL ABSORBENT;DIATOMITE; DIATOMACEOUS EARTH;NON COMBUSTIBLE; 20KG BAG |  |  |  |  | 1068502 @@ ATOM SUPPLY | 262196 | [12 empty] | ATOM SUPPLY | 262196 | [16 empty] | https://www.atom.com.au/absorbent-20kg-diatomite-earth-septone-262196 | [9 empty] | CLEANSED | 47131900 Absorbents | DIATOMACEOUS EARTH,PACKAGE QUANTITY:20 KG BAG |  | ABSORBENT | NO MODIFIER | TYPE | DRY UP,NON COMBUSTIBLE,DIATOMITE | FORM | OIL,WATER | SIZE |  | ABSORBING CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1209934 | 1209934 |  |  |  | ERSA | M | 4090 | 773240MRM | CAR |  | ABSORBENT,OIL & WATER:ABSORB SHEETS;48CM | ABSORBENT,OIL & WATER:ABSORB SHEETS;48CM | ABSORBENT,OIL <(>&<)> WATER:ABSORB SHEETS;48CM X 43CM;175GSM; POLYPROPYLENE; SMALL LEAKS AND MAINTENANCE SPILLS OLIOPHILIC <(>&<)> HYDROPHOBIC; 200 SHEETS PER CASE |  |  |  |  | 1068225 @@ ABSORB ENVIRONMENTAL SOLUTIONS | PN1209934 | [14 empty] | ABSORB ENVIRONMENTAL SOLUTIONS | PN1209934 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 47131900 Absorbents | SMALL LEAKS AND MAINTENANCE SPILLS OLIOPHILIC HYDROPHOBIC,PACKAGE QUANTITY:200 SHEETS/CASE |  | ABSORBENT | NO MODIFIER | TYPE | SHEETS | FORM | OIL,WATER | SIZE | 48X43 CM | ABSORBING CAPACITY | 17 GSM | MATERIAL | POLYPROPYLENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1216714 | 1216714 |  |  |  | ERSA | M | 5100 | 145301MRM | EA |  | BUFFER SOLUTION,STD:PH7 CALIBRATION SOLU | BUFFER SOLUTION,STD:PH7 CALIBRATION SOLU | BUFFER SOLUTION,STD:PH7 CALIBRATION SOLUTION;5LTR |  |  |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | PN1216714 | [14 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | PN1216714 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 47101613 Buffer solutions |  |  | SOLUTION | BUFFER | TYPE | Standerd,CALIBRATION | PH VALUE | 7 | CONTAINER | 5 L | COMPOSITION |  | SPECIFIC GRAVITY |  | COLOUR |  | ODOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1216715 | 1216715 |  |  |  | ERSA | M | 5100 | 145302MRM | EA |  | BUFFER SOLUTION,STD:PH10 CALIBRATION SOL | BUFFER SOLUTION,STD:PH10 CALIBRATION SOL | BUFFER SOLUTION,STD:PH10 CALIBRATION SOLUTION;5LTR |  |  |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | PN1216715 | [14 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | PN1216715 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 47101613 Buffer solutions |  |  | SOLUTION | BUFFER | TYPE | Standerd,CALIBRATION | PH VALUE | 10 | CONTAINER | 5 L | COMPOSITION |  | SPECIFIC GRAVITY |  | COLOUR |  | ODOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | KIB | OK | 2023-11-08 | 2023-11-13 |  | 1217487 | 1217487 |  |  |  | ERSA | M | 3300 | 241901MRM | EA |  | CUTTING EDGE,MOULDBOARD:D9G TRACKED DOZE | CUTTING EDGE,MOULDBOARD:D9G TRACKED DOZE | CUTTING EDGE,MOULDBOARD:D9G TRACKED DOZER |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4T6386 | [12 empty] | CATERPILLAR | 4T-6386 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/4T-6386 |  |  | TRACKED DOZER |  | D9G |  |  |  |  | ENRICHED | 27112203 Edgers |  |  | EDGE | CUTTING | TYPE | MOULDBOARD | SIZE | 1.0394 M LG | MATERIAL |  | CUT MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed