## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1139019 | 1139019 | 1467395 | AU_QM_007127199 |  | ERSA | M | 1600 | 1467395GZPCLNT100 | EA |  | ABUS CRANE;K65; | ABUS CRANE;K65; | RECTIFIER,UNITIZED: ABUS CRANE;K65; ABUS 20T X 7.3M ELK GIRDER CRANE |  | RECTIFIER,UNITIZED: ABUS CRANE;K65; | [34 empty] | URL NOT FOUND |  |  | 20T X 7.3M ELK GIRDER CRANE | ABUS | [5 empty] | Cleansed | 32121701 Rectifiers | K65 |  | RECTIFIER | NO MODIFIER | TYPE | UNITIZED | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1139018 | 1139018 | 1467396 | AU_QM_007127200 |  | ERSA | M | 1600 | 1467396GZPCLNT100 | EA |  | ABUS CRANE;V61; | ABUS CRANE;V61; | RECTIFIER,UNITIZED: ABUS CRANE;V61; ABUS 20T X 7.3M ELK GIRDER CRANE |  | RECTIFIER,UNITIZED: ABUS CRANE;V61; | [34 empty] | URL NOT FOUND |  |  | 20T X 7.3M ELK GIRDER CRANE | ABUS | [5 empty] | Cleansed | 32121701 Rectifiers | V61 |  | RECTIFIER | NO MODIFIER | TYPE | UNITIZED | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1210306 | 1210306 |  |  |  | ERSA | M | 1600 | 134598MRM | EA |  | AMPLIFIER,ELECTRONIC CONTROL:AMPLIFIER V | AMPLIFIER,ELECTRONIC CONTROL:AMPLIFIER V | AMPLIFIER,ELECTRONIC CONTROL:AMPLIFIER VT-VPCD-1-1X/V0/1-0-1 PF48;HYDRAULIC UNIT;LAROX PF144; | [19 empty] | VT-VPCD-1-1X/V0/1-0-1 | [16 empty] | https://rodavigo.net/en/p/digital-amplifier-vt-vpcd-1-1xv01-0-1-ref-rexroth-hidraulica-r901044346/573R901044346 |  |  |  | LAROX | PF144,PF48 |  |  |  |  | Enriched | 32101514 Amplifiers | HYDRAULIC UNIT |  | AMPLIFIER | NO MODIFIER | TYPE | DIGITAL,ELECTRONIC CONTROL | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1214167 | 1214167 |  |  |  | ERSA | M | 1600 | 367476MRM | EA |  | AMPLIFIER,ELECTRONIC CONTROL:VICKERS PRO | AMPLIFIER,ELECTRONIC CONTROL:VICKERS PRO | AMPLIFIER,ELECTRONIC CONTROL:VICKERS PROPORTIONAL AMPLIFIER CARD;FOR PROPORTIONAL CONTROL VALVE; | [16 empty] | VICKERS | [19 empty] | URL NOT FOUND |  |  | PROPORTIONAL CONTROL VALVE | [6 empty] | Cleansed | 32101514 Amplifiers | PROPORTIONAL CARD |  | AMPLIFIER | NO MODIFIER | TYPE | ELECTRONIC CONTROL | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1138290 | 1138290 | 1402625 | AU_QM_000247267 |  | ERSA | M | 5915 | 1402625GZPCLNT100 | EA |  | AMPLIFIER,ISLN;14.38581498 | AMPLIFIER,ISLN;14.38581498 | AMPLIFIER,ISLN;MNFR: ,PTNO:14.38581498 |  | AMPLIFIER,ISLN;14.38581498AMPLIFIER,ISLN;14.38581498 | [15 empty] | 14.3858 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101514 Amplifiers |  |  | AMPLIFIER | ISOLATION | TYPE |  | NUMBER OF CHANNELS |  | ISOLATION VOLTAGE |  | ISOLATION TYPE |  | GAIN |  | BANDWIDTH |  | POWER SUPPLY |  | MOUNTING TYPE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1209763 | 1209763 |  |  |  | ERSA | M | 1600 | 134384MRM | EA |  | AMPLIFIER:AMPLIFIER;KAE400;BALL MILL DAV | AMPLIFIER:AMPLIFIER;KAE400;BALL MILL DAV | AMPLIFIER:AMPLIFIER;KAE400;BALL MILL DAVIT CRANE; | [19 empty] | KAE400 | [16 empty] | https://store.konecranes.com/cpp/en/AMPLIFIER/p?p=NFdRRf5A8QG9O4cOd17ZNA%3D%3D_KAE400 |  |  | BALL MILL DAVIT CRANE | [6 empty] | Cleansed | 32101514 Amplifiers |  |  | AMPLIFIER | NO MODIFIER | TYPE |  | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1218227 | 1218227 |  |  |  | ERSA | M | 1600 | 958686MRM | EA |  | AMPLIFIER:MULTICOM LINE SPLITTER AMPLIFI | AMPLIFIER:MULTICOM LINE SPLITTER AMPLIFI | AMPLIFIER:MULTICOM LINE SPLITTER AMPLIFIER;UNDERGROUND RADIO COMMUNICATIONS | [16 empty] | MULTICOM | [19 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101514 Amplifiers | FOR UNDERGROUND RADIO COMMUNICATIONS |  | AMPLIFIER | NO MODIFIER | TYPE | LINE SPLITTER | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1218092 | 1218092 |  |  |  | ERSA | M | 1600 | 953976MRM | EA |  | AMPLIFIER:UNIVERSAL VIDEO LINE AMPLIFIER | AMPLIFIER:UNIVERSAL VIDEO LINE AMPLIFIER | AMPLIFIER:UNIVERSAL VIDEO LINE AMPLIFIER;MINING REMOTE COMMS | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101514 Amplifiers | FOR MINING REMOTE COMMUNICATIONS |  | AMPLIFIER | NO MODIFIER | TYPE | UNIVERSAL VIDEO LINE | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1214133 | 1214133 |  |  |  | ERSA | M | 1600 | 367156MRM | EA |  | AMPLIFIER-OSCILLATOR:VARIS LINE AMP/RETU | AMPLIFIER-OSCILLATOR:VARIS LINE AMP/RETU | AMPLIFIER-OSCILLATOR:VARIS LINE AMP/RETURN OSCILLATOR;5.5-16VDC INPUT;15mhZ F/R BANDWIDTH(3dB)C/W REMOTE/LOCAL DIAGNOSTICS;UNDERGROUND COMMS SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101544 Frequency oscillator | BANDWIDTH:3DB,C/W REMOTE/LOCAL DIAGNOSTICS,FOR UNDERGROUND COMMUNICATION SYSTEM,VARIS LINE |  | OSCILLATOR | NO MODIFIER | TYPE | RETURN,AMPLIFIER | FREQUENCY RATING | 15 MHZ | SIZE |  | ADJUSTABLE RANGE |  | ELECTRICAL RATING | 5.5 TO 16 VDC | STABILITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205930 | 1205930 |  |  |  | ERSA | M | 4090 | 89375MRM | BT |  | ANTIBIOTIC:ABBOCILLIN VK TABLET;500MG;25 | ANTIBIOTIC:ABBOCILLIN VK TABLET;500MG;25 | ANTIBIOTIC:ABBOCILLIN VK TABLET;500MG;25 TABLETS PER BOTTLE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42000000 Medical Equipment and Accessories and Supplies | WEIGHT:500 MG |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,ABBOCILLIN VK TABLET | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 25 TABLETS PER BOTTLE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205926 | 1205926 |  |  |  | ERSA | M | 4090 | 89334MRM | BOX |  | ANTIBIOTIC:AMOXICILLIN/CLAVULANATE DUO C | ANTIBIOTIC:AMOXICILLIN/CLAVULANATE DUO C | ANTIBIOTIC:AMOXICILLIN/CLAVULANATE DUO CAPSULES;10 CAPSULES PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51281702 Amoxicillin |  |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,AMOXICILLIN/CLAVULANATE DUO CAPSULES | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 10 CAPSULES PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205927 | 1205927 |  |  |  | ERSA | M | 4090 | 89342MRM | BOX |  | ANTIBIOTIC:AMOXICILLIN;500MG CAPSULE; ( | ANTIBIOTIC:AMOXICILLIN;500MG CAPSULE; ( | ANTIBIOTIC:AMOXICILLIN;500MG CAPSULE; (BOX = 20) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51281702 Amoxicillin | WEIGHT:500 MG CAPSULE |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,AMOXICILLIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 20 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1203649 | 1203649 |  |  |  | ERSA | M | 4090 | 985918MRM | EA |  | ANTIBIOTIC:CEFTRIAXONE;1G VIAL;SINGLE IV | ANTIBIOTIC:CEFTRIAXONE;1G VIAL;SINGLE IV | ANTIBIOTIC:CEFTRIAXONE;1G VIAL;SINGLE IVOR INJECTION; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51284119 Ceftriaxone | WEIGHT:1G VIAL |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,CEFTRIAXONE,SINGLE IVOR INJECTION | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1203647 | 1203647 |  |  |  | ERSA | M | 4090 | 985916MRM | BOX |  | ANTIBIOTIC:CEPHALEXIN;500MG TABLET; (BO | ANTIBIOTIC:CEPHALEXIN;500MG TABLET; (BO | ANTIBIOTIC:CEPHALEXIN;500MG TABLET; (BOX = 20) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51282503 Cefalexin or cephalexin | WEIGHT:500 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,CEPHALEXIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 20 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1203643 | 1203643 |  |  |  | ERSA | M | 4090 | 985911MRM | BOX |  | ANTIBIOTIC:DOXYCYCLINE;100MG TABLET; (B | ANTIBIOTIC:DOXYCYCLINE;100MG TABLET; (B | ANTIBIOTIC:DOXYCYCLINE;100MG TABLET; (BOX = 7) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51284006 Doxycycline | WEIGHT:100 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,DOXYCYCLINE | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 7 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205918 | 1205918 |  |  |  | ERSA | M | 4090 | 89094MRM | BOX |  | ANTIBIOTIC:FLUCLOXACILLIN;500MG CAPSULE; | ANTIBIOTIC:FLUCLOXACILLIN;500MG CAPSULE; | ANTIBIOTIC:FLUCLOXACILLIN;500MG CAPSULE;24 PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51282110 Floxacillin or flucloxacillin | WEIGHT:500 MG CAPSULE |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,FLUCLOXACILLIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 24 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205917 | 1205917 |  |  |  | ERSA | M | 4090 | 89086MRM | BOX |  | ANTIBIOTIC:FLUCLOXACILLIN;500MG VIAL;5 P | ANTIBIOTIC:FLUCLOXACILLIN;500MG VIAL;5 P | ANTIBIOTIC:FLUCLOXACILLIN;500MG VIAL;5 PER BOX;INTRAMUSCULAR OR INTRAVENOUS USE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51282110 Floxacillin or flucloxacillin | WEIGHT:500 MG VIAL,INTRAMUSCULAR OR INTRAVENOUS USE |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,FLUCLOXACILLIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 5 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1203641 | 1203641 |  |  |  | ERSA | M | 4090 | 985909MRM | BOX |  | ANTIBIOTIC:GENTAMYCIN;80MG/2ML AMPOULE;5 | ANTIBIOTIC:GENTAMYCIN;80MG/2ML AMPOULE;5 | ANTIBIOTIC:GENTAMYCIN;80MG/2ML AMPOULE;5 AMPOULES PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42000000 Medical Equipment and Accessories and Supplies | WEIGHT:80 MG/2 ML AMPOULE |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,GENTAMYCIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 5 AMPOULES PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205906 | 1205906 |  |  |  | ERSA | M | 4090 | 88898MRM | EA |  | ANTIBIOTIC:PROCAINE PENICILLIN;1.5GM SYR | ANTIBIOTIC:PROCAINE PENICILLIN;1.5GM SYR | ANTIBIOTIC:PROCAINE PENICILLIN;1.5GM SYRINGE;1.5GM/3.4ML;AQUEOUS SOLUTION FOR IMI;5 SYRINGES PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42000000 Medical Equipment and Accessories and Supplies | AQUEOUS SOLUTION FOR IMI,SYRINGE WEIGHT:1.5 G,1.5 GM/3.4 ML |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,PROCAINE PENICILLIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 5 SYRINGES PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1203970 | 1203970 |  |  |  | ERSA | M | 4090 | 988504MRM | BOX |  | ANTIBIOTIC:ROXITHROMYCIN;300MG TABLET;5 | ANTIBIOTIC:ROXITHROMYCIN;300MG TABLET;5 | ANTIBIOTIC:ROXITHROMYCIN;300MG TABLET;5 PER BOX | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51282308 Roxithromycin | WEIGHT:300 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,ROXITHROMYCIN | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 5 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205889 | 1205889 |  |  |  | ERSA | M | 4090 | 88559MRM | BOX |  | ANTIBIOTIC:TINIDAZOLE;500MG TABLET;4 PER | ANTIBIOTIC:TINIDAZOLE;500MG TABLET;4 PER | ANTIBIOTIC:TINIDAZOLE;500MG TABLET;4 PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51282801 Tinidazole | WEIGHT:500 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,TINIDAZOLE | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 4 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205888 | 1205888 |  |  |  | ERSA | M | 4090 | 88542MRM | BOX |  | ANTIBIOTIC:TRIMETHOPRIM;300MG TABLET;10 | ANTIBIOTIC:TRIMETHOPRIM;300MG TABLET;10 | ANTIBIOTIC:TRIMETHOPRIM;300MG TABLET;10 PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 51285203 Trimethoprim | WEIGHT:300 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,TRIMETHOPRIM | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 10 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1205922 | 1205922 |  |  |  | ERSA | M | 4090 | 89193MRM | BOX |  | ANTIBIOTIC:ZITHROMAX;500MG TABLET;2 PER | ANTIBIOTIC:ZITHROMAX;500MG TABLET;2 PER | ANTIBIOTIC:ZITHROMAX;500MG TABLET;2 PER BOX; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 42000000 Medical Equipment and Accessories and Supplies | WEIGHT:500 MG TABLET |  | MEDICAL SUPPLIES | NO MODIFIER | TYPE | ANTIBIOTIC,ZITHROMAX | SIZE |  | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE | 2 PER BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 | NM BASED ON WEB SOURCE | 1026359 | 1026359 | 1374617 | AU_QM_000205258 |  | ERSA | M | 4500 | 1374617GZPCLNT100 | EA | 3000006 | ARRESTER;KOM,3EB-03-53710 | ARRESTER;KOM,3EB-03-53710 | ARRESTER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-03-53710 |  | ARRESTER;KOM,3EB-03-53710ARRESTER;KOM,3EB-03-53710 | KOMATSU MINING SYSTEMS INC. | 3EB-03-53710 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-03-53710 | [16 empty] | https://777parts.org/part-komatsu/muffler/3eb0353710/ | [9 empty] | Cleansed | 25173702 Mufflers or resonators |  |  | MUFFLER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 | NM BASED ON WEB SOURCE | 1026358 | 1026358 | 1374634 | AU_QM_000205276 |  | ERSA | M | 4500 | 1374634GZPCLNT100 | EA | 3000006 | ARRESTER;KOM,3EB-03-64760 | ARRESTER;KOM,3EB-03-64760 | ARRESTER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-03-64760 |  | ARRESTER;KOM,3EB-03-64760ARRESTER;KOM,3EB-03-64760 | KOMATSU MINING SYSTEMS INC. | 3EB-03-64760 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-03-64760 | [16 empty] | https://k-part.777parts.org/spare/komatsu/3eb-03-64760/ | [9 empty] | Cleansed | 25173702 Mufflers or resonators |  |  | MUFFLER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1067102 | 1067102 | 1356709 | AU_QM_000148719 |  | ERSA | M | 2000 | 1356709GZPCLNT100 | EA |  | ATLAS COPCO M2D JUMBO DRIFTER CRADLE ASS | ATLAS COPCO M2D JUMBO DRIFTER CRADLE ASS | CRADLE ASSY: ATLAS COPCO M2D JUMBO DRIFTER CRADLE ASS EMBLY |  | CRADLE ASSY:ATLAS COPCO M2D JUMBO DRIFTER CRADLE ASS | [34 empty] | URL NOT FOUND |  |  | JUMBO DRIFTER | ATLAS COPCO | M2D |  |  |  |  | Cleansed | 40141700 Hardware and fittings | ASSEMBLY |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1149320 | 1149320 |  |  |  | ERSA | M | 4200 | 1527677GZPCLNT100 | EA |  | BEAKER,LAB;TALL FRM,300 ML,CB1162 | BEAKER,LAB;TALL FRM,300 ML,CB1162 | BEAKER,LAB;ADDITIONAL FEATURES:TALL FRM,300 ML,CB1162 | [17 empty] | CB1162 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers |  |  | BEAKER | LAB | TYPE | TALL FORM | CAPACITY | 300 ML | GRADUATION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1207384 | 1207384 |  |  |  | ERSA | M | 4090 | 1075936MRM | EA |  | BEAKER,LABORATORY;100ML;TALL FORM;GLASS | BEAKER,LABORATORY;100ML;TALL FORM;GLASS | BEAKER,LABORATORY;100ML;TALL FORM;GLASS BOROSILICATE;C/W SPOUT ,GRADUATIONS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers | C/W SPOUT |  | BEAKER | LAB | TYPE | TALL FORM,GRADUATED | CAPACITY | 100 ML | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1206337 | 1206337 |  |  |  | ERSA | M | 5380 | 293431MRM | EA |  | BEAKER,LABORATORY;TALL FORM,600ML,GRADUA | BEAKER,LABORATORY;TALL FORM,600ML,GRADUA | BEAKER,LABORATORY;TALL FORM,600ML,GRADUATED,POURING SPOUT;BORCSILISATE GLASS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers | C/W POURING SPOUT |  | BEAKER | LAB | TYPE | TALL FORM,GRADUATED | CAPACITY | 600 ML | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1217798 | 1217798 |  |  |  | ERSA | M | 4090 | 933408MRM | EA |  | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT;GRADUATIONS;GLASS BOROSILICATE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers | C/W SPOUT |  | BEAKER | LAB | TYPE | TALL FORM,GRADUATED | CAPACITY | 100 ML | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1217799 | 1217799 |  |  |  | ERSA | M | 4090 | 933416MRM | EA |  | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;100ML;SPOUT;GRADUATIONS;GLASS BOROSILICATE; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers | C/W SPOUT |  | BEAKER | LAB | TYPE | TALL FORM,GRADUATED | CAPACITY | 100 ML | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1217942 | 1217942 |  |  |  | ERSA | M | 4090 | 941575MRM | EA |  | BEAKER,LABORATORY;TALL FORM;150ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;150ML;SPOUT; | BEAKER,LABORATORY;TALL FORM;150ML;SPOUT;GRADUATIONS50 75 100ML;GLASS BOROSILICATE;55MM OD BASE;90MM H; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41121803 Laboratory beakers |  |  | BEAKER | LAB | TYPE | TALL FORM,GRADUATED | CAPACITY | 150 ML | GRADUATION | 50,75,100 ML | MATERIAL | BOROSILICATE GLASS | SIZE | 55 ODX90 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 | SUITABLE NM NOT FOUND | 1207688 | 1207688 |  |  |  | ERSA | M | 4090 | 1089911MRM | BAG |  | BEVERAGE BASE:FRUIT PUNCH;ELECTROLYTE RE | BEVERAGE BASE:FRUIT PUNCH;ELECTROLYTE RE | BEVERAGE BASE:FRUIT PUNCH;ELECTROLYTE REPLACEMENT,DRINK;SINGLE SERVE;CONSENTRATE SUGAR FREE POWDER;(BAG = 50 SACHETS) | [36 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 | SUITABLE NM NOT FOUND | 1203976 | 1203976 |  |  |  | ERSA | M | 4090 | 988512MRM | BOX |  | BEVERAGE BASE:GASTROLYTE SACHET;ORANGE F | BEVERAGE BASE:GASTROLYTE SACHET;ORANGE F | BEVERAGE BASE:GASTROLYTE SACHET;ORANGE FLAVOUR;10 SACHETS PER BOX; | [36 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1097940 | 1097940 | 1391479 | AU_QM_000233344 |  | ERSA | M | 1540 | 1391479GZPCLNT100 | EA | 3000438 | BOLT;NRMT,100031685 | PERNO; | PERNO;MNFR:NORMET,PTNO:100031685 | PERNO;,MNFR:NORMET,PTNO:100031685 | BOLT;NRMT,100031685BOLT;NOR,100031685 | NORMET | 100031685 | [12 empty] | NORMET | 100031685 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1097764 | 1097764 | 1392986 | AU_QM_000236341 |  | ERSA | M | 1540 | 1392986GZPCLNT100 | EA | 3000438 | BOLT;NRMT,100034640 | PERNO; | PERNO;MNFR:NORMET,PTNO:100034640 | PERNO;,MNFR:NORMET,PTNO:100034640 | OEM-E-LISTBOLT;NOR,100034640 | NORMET | 100034640 | [12 empty] | NORMET | 100034640 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1098056 | 1098056 | 1389805 | AU_QM_000231364 |  | ERSA | M | 1540 | 1389805GZPCLNT100 | EA | 3000438 | BOLT;NRMT,45911769 | PERNO; | PERNO;MNFR:NORMET,PTNO:45911769 | PERNO;,MNFR:NORMET,PTNO:45911769 | BOLT;NRMT,45911769BOLT;NOR,45911769 | NORMET | 45911769 | [12 empty] | NORMET | 45911769 | [18 empty] | https://www.scribd.com/document/435160846/Spare-Parts-Manual-CG-4 | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1098163 | 1098163 | 1385348 | AU_QM_000226111 |  | ERSA | M | 1540 | 1385348GZPCLNT100 | EA | 3000438 | BOLT;NRMT,52091220 | PERNO; | PERNO;MNFR:NORMET,PTNO:52091220 | PERNO;,MNFR:NORMET,PTNO:52091220 | BOLT;NRMT,52091220BOLT;NOR,52091220 | NORMET | 52091220 | [12 empty] | NORMET | 52091220 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1098167 | 1098167 | 1385174 | AU_QM_000225907 |  | ERSA | M | 1540 | 1385174GZPCLNT100 | EA | 3000438 | BOLT;NRMT,57977076 | PERNO; | PERNO;MNFR:NORMET,PTNO:57977076 | PERNO;,MNFR:NORMET,PTNO:57977076 | BOLT;NRMT,57977076BOLT;NOR,57977076 | NORMET | 57977076 | [12 empty] | NORMET | 57977076 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1097110 | 1097110 | 1386110 | AU_QM_000227000 |  | ERSA | M | 1540 | 1386110GZPCLNT100 | EA | 3000438 | BOLT;NRMT,57983736 | PERNO; | PERNO;MNFR:NORMET,PTNO:57983736 | PERNO;,MNFR:NORMET,PTNO:57983736 | BOLT;NRMT,57983736BOLT;NOR,57983736 | NORMET | 57983736 | [12 empty] | NORMET | 57983736 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1138755 | 1138755 | 1427061 | AU_QM_000429373 |  | ERSA | M | 1600 | 1427061GZPCLNT100 | EA |  | BRIDGE;1 PHASE;ENCAPSULATED; | BRIDGE;1 PHASE;ENCAPSULATED; | RECTIFIER,UNITIZED: BRIDGE;1 PHASE;ENCAPSULATED; MALLARD TYPE BYW46-800 NO 54384ZR (R.S.6.6A 800V NO 262-062) VACUUM CONTACTORS |  | RECTIFIER,UNITIZED: BRIDGE;1 PHASE;ENCAPSULATED; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121708 Bridge rectifier | NUMBER OF PHASE:1,FOR MALLARD TYPE BYW46-800 NO 54384ZR (R.S.6.6A 800V NO 262-062) VACUUM CONTACTORS |  | RECTIFIER | BRIDGE | TYPE | UNITIZED,ENCAPSULATED | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1111722 | 1111722 | 1427065 | AU_QM_000429506 |  | ERSA | M | 1600 | 1427065GZPCLNT100 | EA |  | BRIDGE;RS COMPONENTS 264-894 | BRIDGE;RS COMPONENTS 264-894 | RECTIFIER,UNITIZED: BRIDGE;RS COMPONENTS 264-894 VACUUM CONTACTORS |  | RECTIFIER,UNITIZED: BRIDGE;RS COMPONENTS 264-894 | [30 empty] | RS COMPONENTS | 264-894 |  |  | https://www.aerospaceorbit.com/nsn/rfq/rs-components-ltd/6130014232470/264-894/ | [9 empty] | Cleansed | 32121708 Bridge rectifier | FOR VACUUM CONTACTORS |  | RECTIFIER | BRIDGE | TYPE | UNITIZED | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1111721 | 1111721 | 1427067 | AU_QM_000429548 |  | ERSA | M | 1600 | 1427067GZPCLNT100 | EA |  | BRIDGE;VGB0494-MY7 BIN NO | BRIDGE;VGB0494-MY7 BIN NO | RECTIFIER,UNITIZED: BRIDGE;VGB0494-MY7 BIN NO 28613-7533 AUTO HOIST CIR REF X1 (THORN) |  | RECTIFIER,UNITIZED: BRIDGE;VGB0494-MY7BIN NO | [17 empty] | VGB0494MY7 | [16 empty] | http://www.datasheet.es/PDF/1065957/VGB0494MY7-pdf.html | [9 empty] | Cleansed | 32121708 Bridge rectifier | BIN NO:28613-7533,AUTO HOIST CIR REF:X1 (THORN) |  | RECTIFIER | BRIDGE | TYPE | UNITIZED | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1065039 | 1065039 | 1456481 | AU_QM_001284801 |  | ERSA | M | 1600 | 1456481GZPCLNT100 | EA |  | BUSPLUG | BUSPLUG | PLUG: BUSPLUG GFM SURFACE CRUSHING PLANT |  | PLUG:BUSPLUG | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121402 Electrical plugs | FOR GFM SURFACE CRUSHING PLANT |  | PLUG | ELECTRICAL | TYPE | BUS | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1109281 | 1109281 | 1446723 | AU_QM_001044700 |  | ERSA | M | 3300 | 1446723GZPCLNT100 | EA |  | CALIPER CRADLE;REAR BRAKE ASSY; | CALIPER CRADLE;REAR BRAKE ASSY; | CRADLE: CALIPER CRADLE;REAR BRAKE ASSY; |  | CRADLE:CALIPER CRADLE;REAR BRAKE ASSY; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | ASSEMBLY |  | CRADLE | NO MODIFIER | TYPE | CALIPER,REAR BRAKE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1136867 | 1136867 | 1460710 | AU_QM_002542196 |  | ERSA | M | 5100 | 1460710GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 1 OHM 1W,5% TOLERANCE MAX |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 1 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1108754 | 1108754 | 1460712 | AU_QM_002542200 |  | ERSA | M | 5100 | 1460712GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 1.5 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 1.5 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1064464 | 1064464 | 1460722 | AU_QM_002542220 |  | ERSA | M | 5100 | 1460722GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 10 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 10 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1065596 | 1065596 | 1460734 | AU_QM_002542248 |  | ERSA | M | 5100 | 1460734GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 150 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 150 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1064450 | 1064450 | 1460750 | AU_QM_002542298 |  | ERSA | M | 5100 | 1460750GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 18K OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 18 K OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1108753 | 1108753 | 1460714 | AU_QM_002542204 |  | ERSA | M | 5100 | 1460714GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 2.2 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 2.2 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1065597 | 1065597 | 1460751 | AU_QM_002542300 |  | ERSA | M | 5100 | 1460751GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 22K OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 22 K OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1064469 | 1064469 | 1460752 | AU_QM_002542302 |  | ERSA | M | 5100 | 1460752GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 27K OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 27 K OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1136865 | 1136865 | 1460738 | AU_QM_002542260 |  | ERSA | M | 5100 | 1460738GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 470 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 470 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1136862 | 1136862 | 1460753 | AU_QM_002542308 |  | ERSA | M | 5100 | 1460753GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 47K OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 47 K OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1108746 | 1108746 | 1460739 | AU_QM_002542262 |  | ERSA | M | 5100 | 1460739GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 560 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 560 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1108741 | 1108741 | 1460746 | AU_QM_002542288 |  | ERSA | M | 5100 | 1460746GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 6.8K OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 6.8 K OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1064463 | 1064463 | 1460721 | AU_QM_002542218 |  | ERSA | M | 5100 | 1460721GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 8.2 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 8.2 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1065595 | 1065595 | 1460731 | AU_QM_002542242 |  | ERSA | M | 5100 | 1460731GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 82 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 82 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1137583 | 1137583 | 1429868 | AU_QM_000629806 |  | ERSA | M | 5620 | 1429868GZPCLNT100 | EA |  | CAT 4N2931 FLYWHEEL HSG;PIPE PLUG | CAT 4N2931 FLYWHEEL HSG;PIPE PLUG | PLUG,MACHINE THREAD: CAT 4N2931 FLYWHEEL HSG;PIPE PLUG |  | PLUG,MACHINE THREAD:CAT 4N2931 FLYWHEEL HSG;PIPE PLUG | [34 empty] | URL NOT FOUND |  |  | FLYWHEEL HOUSING | CATERPILLAR | 4N2931 |  |  |  |  | Cleansed | 40173500 Pipe plugs |  |  | PLUG | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION | MACHINE THREAD | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEAD TYPE |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1137582 | 1137582 | 1429871 | AU_QM_000629816 |  | ERSA | M | 5620 | 1429871GZPCLNT100 | EA |  | CAT 4N7657 WATER PUMP;PLUG | CAT 4N7657 WATER PUMP;PLUG | PLUG,MACHINE THREAD: CAT 4N7657 WATER PUMP;PLUG |  | PLUG,MACHINE THREAD:CAT 4N7657 WATER PUMP;PLUG | [34 empty] | URL NOT FOUND |  |  | WATER PUMP | CATERPILLAR | 4N7657 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION | MACHINE THREAD | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1139691 | 1139691 | 1429823 | AU_QM_000628281 |  | ERSA | M | 5910 | 1429823GZPCLNT100 | EA |  | CAT 7E3266 AIR LINES PLUG | CAT 7E3266 AIR LINES PLUG | PLUG,PIPE: CAT 7E3266 AIR LINES PLUG |  | PLUG,PIPE:CAT 7E3266 AIR LINES PLUG | [34 empty] | URL NOT FOUND |  |  |  | CATERPILLAR | [5 empty] | Cleansed | 40173500 Pipe plugs | FOR 7E3266 AIR LINES |  | PLUG | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEAD TYPE |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1139682 | 1139682 | 1429881 | AU_QM_000629921 |  | ERSA | M | 5910 | 1429881GZPCLNT100 | EA |  | CAT 9Y7150 AFTERCOOLER;PLUG | CAT 9Y7150 AFTERCOOLER;PLUG | PLUG,PIPE: CAT 9Y7150 AFTERCOOLER;PLUG |  | PLUG,PIPE:CAT 9Y7150 AFTERCOOLER;PLUG | [34 empty] | URL NOT FOUND |  |  | AFTERCOOLER | CATERPILLAR | 9Y7150 |  |  |  |  | Cleansed | 40173500 Pipe plugs |  |  | PLUG | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEAD TYPE |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1139604 | 1139604 | 1435530 | AU_QM_000785188 |  | ERSA | M | 5910 | 1435530GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | PLUG: CAT EQUIPMENT SERVICE; |  | PLUG:CAT EQUIPMENT SERVICE; | [34 empty] | URL NOT FOUND |  |  |  | CATERPILLAR | [5 empty] | Cleansed | 40141700 Hardware and fittings | FOR EQUIPMENT SERVICE |  | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1211356 | 1211356 |  |  |  | ERSA | M | 5980 | 1215383MRM | EA |  | COLLECTOR:COLLECTOR PPFPLATE PACKLAROX P | COLLECTOR:COLLECTOR PPFPLATE PACKLAROX P | COLLECTOR:COLLECTOR PPFPLATE PACKLAROX PF144 | [36 empty] | URL NOT FOUND |  |  |  | LAROX | PF144 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | PLATE PACK |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1210021 | 1210021 |  |  |  | ERSA | M | 5980 | 134522MRM | EA |  | COLLECTOR:COLLECTOR;PLATE PACK;BOTTOM PL | COLLECTOR:COLLECTOR;PLATE PACK;BOTTOM PL | COLLECTOR:COLLECTOR;PLATE PACK;BOTTOM PLATE;LAROXPF144; | [36 empty] | URL NOT FOUND |  |  |  | LAROX | PF144 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | PACK |  | COLLECTOR | NO MODIFIER | TYPE | BOTTOM PLATE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1210020 | 1210020 |  |  |  | ERSA | M | 5980 | 134521MRM | EA |  | COLLECTOR:COLLECTOR;PLATE PACK;TOP PLATE | COLLECTOR:COLLECTOR;PLATE PACK;TOP PLATE | COLLECTOR:COLLECTOR;PLATE PACK;TOP PLATE;LAROX PF144; | [36 empty] | URL NOT FOUND |  |  |  | LAROX | PF144 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | PACK |  | COLLECTOR | NO MODIFIER | TYPE | TOP PLATE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1110361 | 1110361 | 1412919 | AU_QM_000258407 |  | ERSA | M | 5915 | 1412919GZPCLNT100 | EA |  | COLLECTOR;BHE1362 | COLLECTOR;BHE1362 | COLLECTOR;MNFR: ,PTNO:BHE1362 |  | COLLECTOR;BHE1362COLLECTOR;BHE1362 | [17 empty] | BHE1362 | [16 empty] | https://www.scribd.com/document/401024985/Dieci-1901784-Parts-Catalogue | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1110360 | 1110360 | 1412920 | AU_QM_000258408 |  | ERSA | M | 5915 | 1412920GZPCLNT100 | EA |  | COLLECTOR;BWM1503 | COLLECTOR;BWM1503 | COLLECTOR;MNFR: ,PTNO:BWM1503 |  | COLLECTOR;BWM1503COLLECTOR;BWM1503 | [17 empty] | BWM1503 | [16 empty] | https://www.scribd.com/document/500415230/MANUAL-ICARUS-38-14-LLC1763038 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1110359 | 1110359 | 1412921 | AU_QM_000258409 |  | ERSA | M | 5915 | 1412921GZPCLNT100 | EA |  | COLLECTOR;BWM1509 | COLLECTOR;BWM1509 | COLLECTOR;MNFR: ,PTNO:BWM1509 |  | COLLECTOR;BWM1509COLLECTOR;BWM1509 | [17 empty] | BWM1509 | [16 empty] | https://www.scribd.com/document/500415230/MANUAL-ICARUS-38-14-LLC1763038 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1110662 | 1110662 | 1410443 | AU_QM_000255732 |  | ERSA | M | 5915 | 1410443GZPCLNT100 | EA |  | COLLECTOR;MOE0000185 | COLLECTOR;MOE0000185 | COLLECTOR;MNFR: ,PTNO:MOE0000185 |  | COLLECTOR;MOE0000185COLLECTOR;MOE0000185 | [15 empty] | MOE0000185 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1213855 | 1213855 |  |  |  | ERSA | M | 1845 | 1280197MRM | EA |  | CRADLE ASSY:CRADLE - SPECIAL DESIGN | CRADLE ASSY:CRADLE - SPECIAL DESIGN | CRADLE ASSY:CRADLE - SPECIAL DESIGN | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | ASSEMBLY,SPECIAL DESIGN |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1216889 | 1216889 |  |  |  | ERSA | M | 5955 | 773921RMRM | EA |  | CRADLE ASSY:H205D BOOM CRADLE ASSY; [ | CRADLE ASSY:H205D BOOM CRADLE ASSY; [ | CRADLE ASSY:H205D BOOM CRADLE ASSY; [ REP'D ]ZRU700-94 BOOM ASSY;"REPAIRED ITEM"H205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | POWER CLASS MINIMATIC JUMBO |  | H205D,ZRU700-94 |  |  |  |  | Cleansed | 40141700 Hardware and fittings | BOOM ASSEMBLY,REPAIRED ITEM |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 13-11-2023 |  | 1210230 | 1210230 |  |  |  | ERSA | M | 5955 | 773921MRM | EA |  | CRADLE ASSY:H205D BOOM CRADLE ASSY;ZRU70 | CRADLE ASSY:H205D BOOM CRADLE ASSY;ZRU70 | CRADLE ASSY:H205D BOOM CRADLE ASSY;ZRU700-94 BOOM ASSY;H205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | POWER CLASS MINIMATIC JUMBO |  | H205D,ZRU700-94 |  |  |  |  | Cleansed | 40141700 Hardware and fittings | BOOM ASSEMBLY |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed