## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1217578 | 1217578 |  |  |  | ERSA | M | 3700 | 256974MRM | EA |  | BLADDER,ACCUMULATOR,HYD:10L CAPACITY;LAR | BLADDER,ACCUMULATOR,HYD:10L CAPACITY;LAR | BLADDER,ACCUMULATOR,HYD:10L CAPACITY;LAROX PRESSURE FILTER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27131510 Accumulator bladders or bags | FOR HYDRAULIC,LAROX PRESSURE FILTER |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY | 10 L | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1207577 | 1207577 |  |  |  | ERSA | M | 5920 | 337251MRM | EA |  | BLADDER,ACCUMULATOR,HYD:CHRISTIE EXP K50 | BLADDER,ACCUMULATOR,HYD:CHRISTIE EXP K50 | BLADDER,ACCUMULATOR,HYD:CHRISTIE EXP K50 | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27131510 Accumulator bladders or bags | FOR HYDRAULIC,CHRISTIE EXP K50 |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1101008 | 1101008 | 1390242 | AU_QM_000231854 |  | ERSA | M | 1500 | 1390242GZPCLNT100 | EA | 3000003 | BLADDER;CAT,1296262 | BLADDER;CAT,1296262 | BLADDER;MNFR:CATERPILLAR,PTNO:1296262 |  | BLADDER;CAT,1296262BLADDER;HAS,1296262 | CATERPILLAR | 1296262 | [14 empty] | CATERPILLAR | 129-6262 | [16 empty] | https://parts.cat.com/en/catcorp/129-6262 | [9 empty] | Cleansed | 40151700 Pump parts and accessories |  |  | BLADDER | NO MODIFIER | TYPE |  | SIZE |  | PRESSURE RATING |  | CAPACITY |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1204316 | 1204316 |  |  |  | ERSA | M | 3700 | 41145MRM | EA |  | CHAMBER:CYCLONIC SPRAY CHAMBER;INDUCTIVE | CHAMBER:CYCLONIC SPRAY CHAMBER;INDUCTIVE | CHAMBER:CYCLONIC SPRAY CHAMBER;INDUCTIVELY COUPLED PLASMA TORCH;ANALYTICAL LABORATORY | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR INDUCTIVELY COUPLED PLASMA TORCH,ANALYTICAL LABORATORY |  | CHAMBER | NO MODIFIER | TYPE | CYCLONIC SPRAY | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1204538 | 1204538 |  |  |  | ERSA | M | 5820 | 149402MRM | EA |  | CHAMBER:ISA CHARGER MIXING CHAMBER (200N | CHAMBER:ISA CHARGER MIXING CHAMBER (200N | CHAMBER:ISA CHARGER MIXING CHAMBER (200NB) | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR ISA CHARGER |  | CHAMBER | NO MODIFIER | TYPE | MIXING | CAPACITY |  | SIZE | 200 NB | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1024414 | 1024414 | 1381643 | AU_QM_000221600 |  | ERSA | M | 4300 | 1381643GZPCLNT100 | EA | 3000024 | CHAMBER;ISU,IS-1482509140 | CHAMBER;ISU,IS-1482509140 | CHAMBER;MNFR:ISUZU,PTNO:IS-1482509140 |  | CHAMBER;ISU,IS-1482509140CHAMBER;ISU,IS-1482509140 | ISUZU | IS-1482509140 | [12 empty] | ISUZU | IS-1482509140 | ISUZU | 1482509140 | [16 empty] | https://partsouq.com/shop/product/1482509140-isuzu-chamber-asm-sp/17624131 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1024413 | 1024413 | 1381644 | AU_QM_000221601 |  | ERSA | M | 4300 | 1381644GZPCLNT100 | EA | 3000024 | CHAMBER;ISU,IS-1482509150 | CHAMBER;ISU,IS-1482509150 | CHAMBER;MNFR:ISUZU,PTNO:IS-1482509150 |  | CHAMBER;ISU,IS-1482509150CHAMBER;ISU,IS-1482509150 | ISUZU | IS-1482509150 | [12 empty] | ISUZU | IS-1482509150 | ISUZU | 1482509150 | [16 empty] | http://www.autospares.eu/search.html?article=1482509150&sort___search_results_by=final_price&smode=A | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1024085 | 1024085 | 1393615 | AU_QM_000237089 |  | ERSA | M | 4300 | 1393615GZPCLNT100 | EA | 3000035 | CHAMBER;WAR,RSL30556A05 | CHAMBER;WAR,RSL30556A05 | CHAMBER;MNFR:WARMAN,PTNO:RSL30556A05 |  | OEM-E-LISTCHAMBER;WEI,RSL30556A05 | WARMAN | RSL30556A05 | [12 empty] | WARMAN | RSL30556A05 |  |  | WEI | [15 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1112522 | 1112522 | 1424563 | AU_QM_000337246 |  | ERSA | M | 5620 | 1424563GZPCLNT100 | EA |  | CHRISTIE 011 00A 00 341 ACCUMULATOR KIT | CHRISTIE 011 00A 00 341 ACCUMULATOR KIT | BLADDER,ACCUMULATOR,HYD: CHRISTIE 011 00A 00 341 ACCUMULATOR KIT |  | BLADDER,ACCUMULATOR,HYD:CHRISTIE 011 00A 00 341 ACCUMULATOR KIT | [16 empty] | PARKER HANNIFIN | 01100A-00-341 | [16 empty] | https://ph.parker.com/in/en/product/high-pressure-bladder-accumulator-uk/01100a-00-341 | [9 empty] | Enriched | 27121802 Hydraulic accumulators | BRAND:CHRISTIE |  | ACCUMULATOR | HYDRAULIC | TYPE | HIGH PRESSURE | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING | 345 BAR | END CONNECTION | G 1/4X3/4 IN FBSP | SHELL MATERIAL | CARBON STEEL | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING | 80 DEG C | FLOW RATING | 109 L/MIN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1204254 | 1204254 |  |  |  | ERSA | M | 5920 | 990386MRM | EA |  | CHUCK,DRILL:CHUCK;BOAR ROCKDRILL MODEL M | CHUCK,DRILL:CHUCK;BOAR ROCKDRILL MODEL M | CHUCK,DRILL:CHUCK;BOAR ROCKDRILL MODEL MFD90 DI; | [36 empty] | URL NOT FOUND |  |  | BOAR ROCKDRILL |  | MFD90 DI |  |  |  |  | Cleansed | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE |  | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1214188 | 1214188 |  |  |  | ERSA | M | 5920 | 137850MRM | EA |  | CHUCK,DRILL:CHUCK;DPI1500; | CHUCK,DRILL:CHUCK;DPI1500; | CHUCK,DRILL:CHUCK;DPI1500; | [36 empty] | URL NOT FOUND |  |  |  |  | DPI1500 |  |  |  |  | Cleansed | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE |  | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1215200 | 1215200 |  |  |  | ERSA | M | 5955 | 777989MRM | EA |  | CHUCK,DRILL:HL500S DRIFTER CHUCK;CABOLT | CHUCK,DRILL:HL500S DRIFTER CHUCK;CABOLT | CHUCK,DRILL:HL500S DRIFTER CHUCK;CABOLT H520 CABLE BOLTERH205D POWER CLASS MINIMATIC JUMBO | [36 empty] | URL NOT FOUND |  |  | DRIFTER,CABOLT CABLE BOLTER,POWER CLASS MINIMATIC JUMBO |  | HL500S,H520,H205D |  |  |  |  | Cleansed | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE |  | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1111523 | 1111523 | 1407393 | AU_QM_000252434 |  | ERSA | M | 5915 | 1407393GZPCLNT100 | EA |  | CHUCK;64 242 321 | CHUCK;64 242 321 | CHUCK;MNFR: ,PTNO:64 242 321 |  | CHUCK;64 242 321CHUCK;64 242 321 | [16 empty] | SIG | 64 242 321 | [16 empty] | https://kaneshire.com.au/images/manuals/hire_manuals/232_SIG.au_PLB_241_DI_Rockdrill_Booklet.pdf | [9 empty] | Enriched | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE | RIGHT HAND | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1021823 | 1021823 | 1375391 | AU_QM_000214398 |  | ERSA | M | 5955 | 1375391GZPCLNT100 | EA | 3000001 | CHUCK;EPI,3115 5708 80 | CHUCK;EPI,3115 5708 80 | CHUCK;MNFR:EPIROC,PTNO:3115 5708 80 |  | CHUCK;EPI,3115 5708 80CHUCK;EPI,3115 5708 80 | EPIROC | 3115 5708 80 | [14 empty] | EPIROC | 3115 5708 80 | [16 empty] | https://www.aircompressorstrade.com/3719020022-epiroc-rotation-unit-catalog-by-reliable-china-top-supplier/ | [9 empty] | Cleansed | 27112807 Chucks |  |  | CHUCK | NO MODIFIER | TYPE | ROTATION | CHUCK CAPACITY |  | MATERIAL |  | SHANK SIZE |  | SHANK TYPE |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1186738 | 1186738 |  |  |  | ERSA | M | 5955 | 1551791GZPCLNT100 | EA | 3000001 | CHUCK;EPI,3715934787,JAW KIT NQ | CEPO;EPI,3715934787 | CHUCK;MNFR:EPIROC,PTNO:3715934787,ADDITIONAL FEATURES EN:JAW KIT NQ | CEPO;MNFR:EPIROC,PTNO:3715934787 |  | EPIROC | 3715934787 | [14 empty] | EPIROC | 3715934787 | [16 empty] | https://www.aircompressorstrade.com/genuine-atlas-air-compressor-accessories-model-catalog-section1-from-chinese-supplier/ | [9 empty] | Cleansed | 27112807 Chucks | KIT,NQ |  | CHUCK | JAWED | TYPE |  | MATERIAL |  | CAPACITY |  | MOUNTING TYPE |  | SIZE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1009216 | 1009216 |  |  |  | ERSA | M | 5000 | 1612955GZPCLNT100 | EA | 3000010 | CHUCK;SAN,15272368 | CEPO;SAN,15272368 | CHUCK;MNFR:SANDVIK,PTNO:15272368 | CEPO;MNFR:SANDVIK,PTNO:15272368 |  | SANDVIK | 15272368 | [14 empty] | SANDVIK | 15272368 | [16 empty] | https://atecmakarios.com/products/5929315598497?_pos=9&_sid=9189229e2&_ss=r | [9 empty] | Enriched | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE | SLEEVE | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1207438 | 1207438 |  |  |  | ERSA | M | 1600 | 683791MRM | EA |  | CONTROL-MONITOR:110VAC CONVERTER/INDICAT | CONTROL-MONITOR:110VAC CONVERTER/INDICAT | CONTROL-MONITOR:110VAC CONVERTER/INDICATOR;C/W4-20MA OUTPUT CARD <(>&<)> OPEN COLLECTOROUTPUT CARD | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | FOR 110 VAC CONVERTER/INDICATOR,C/W 4 TO 20 MA OUTPUT CARD,OPEN COLLECTOR OUTPUT CARD |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1208469 | 1208469 |  |  |  | ERSA | M | 5955 | 687020MRM | EA |  | CONTROL-MONITOR:CAT FUEL CONTROL;ELECTRO | CONTROL-MONITOR:CAT FUEL CONTROL;ELECTRO | CONTROL-MONITOR:CAT FUEL CONTROL;ELECTRONIC;ELPHINSTONE R1700/R2900 LOADERS | [36 empty] | URL NOT FOUND |  |  | LOADERS | CATERPILLAR,ELPHINSTONE | R1700/R2900 |  |  |  |  | Cleansed | 39121500 Electrical controls and accessories | FUEL |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1210563 | 1210563 |  |  |  | ERSA | M | 5920 | 163987MRM | EA |  | CONTROL-MONITOR:CONTROLLER" BRAKE" REDAR | CONTROL-MONITOR:CONTROLLER" BRAKE" REDAR | CONTROL-MONITOR:CONTROLLER" BRAKE" REDARC | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | BRAKE,REDARC |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1207171 | 1207171 |  |  |  | ERSA | M | 1600 | 683176MRM | EA |  | CONTROL-MONITOR:DCB "D" NET CONTROLLER; | CONTROL-MONITOR:DCB "D" NET CONTROLLER; | CONTROL-MONITOR:DCB "D" NET CONTROLLER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121500 Electrical controls and accessories |  |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR,DCB D NET | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1207443 | 1207443 |  |  |  | ERSA | M | 1600 | 683891MRM | EA |  | CONTROL-MONITOR:DCS OPERATOR STATION ASS | CONTROL-MONITOR:DCS OPERATOR STATION ASS | CONTROL-MONITOR:DCS OPERATOR STATION ASSY;"REPAIRABLE ITEM"YOKOGAWA DCS SYSTEM | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | FOR YOKOGAWA DCS SYSTEM OPERATOR STATION ASSEMBLY,REPAIRABLE ITEM |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1212478 | 1212478 |  |  |  | ERSA | M | 1600 | 137293MRM | EA |  | CONTROL-MONITOR:PROCESS MONITOR RED LION | CONTROL-MONITOR:PROCESS MONITOR RED LION | CONTROL-MONITOR:PROCESS MONITOR RED LION;BED LEVEL;BED MASS;RAKE TORQUE;CONTROL PANEL;SLIMES HIGH RATE THICKENER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | PROCESS MONITOR RED LION,BED LEVEL,BED MASS,RAKE TORQUE,CONTROL PANEL,SLIMES HIGH RATE THICKENER |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1100516 | 1100516 | 1377732 | AU_QM_000216977 |  | ERSA | M | 5100 | 1377732GZPCLNT100 | EA | 3000001 | CRATE;EPI,3217 0000 36 | CRATE;EPI,3217 0000 36 | CRATE;MNFR:EPIROC,PTNO:3217 0000 36 |  | CRATE;EPI,3217 0000 36CRATE;EPI,3217 0000 36 | EPIROC | 3217 0000 36 | [14 empty] | EPIROC | 3217 0000 36 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-boomer-t1d-spare-parts-catalog-2/ | [9 empty] | Cleansed | 52151603 Domestic graters |  |  | GRATER | NO MODIFIER | TYPE |  | NUMBER OF SIDES |  | DIMENSIONS |  | BLADE TYPES |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1184650 | 1184650 |  |  |  | ERSA | M | 4090 | 1558824GZPCLNT100 | EA |  | CRATE;SCRTY,BLACK BASE,W/RED LID,34L | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:SECURITY,BLACK BASE,W/RED LID,34L | RECIPIENTE; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | C/W RED LID,CAPACITY:34 L |  | CRATE | NO MODIFIER | TYPE | SECURITY | SIZE |  | MATERIAL |  | COLOUR | BLACK BASE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1184649 | 1184649 |  |  |  | ERSA | M | 4090 | 1558825GZPCLNT100 | EA |  | CRATE;SCRTY,BLACK BASE,W/RED LID,68L | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:SECURITY,BLACK BASE,W/RED LID,68L | RECIPIENTE; | [35 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | C/W RED LID,CAPACITY:68 L |  | CRATE | NO MODIFIER | TYPE | SECURITY | SIZE |  | MATERIAL |  | COLOUR | BLACK BASE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1063608 | 1063608 | 1441510 | AU_QM_000987338 |  | ERSA | M | 4500 | 1441510GZPCLNT100 | EA |  | DOSING PUMP SERVO CONTROL UNIT; | DOSING PUMP SERVO CONTROL UNIT; | CONTROL-MONITOR: DOSING PUMP SERVO CONTROL UNIT; D.G.ELECTRONICS P/L |  | CONTROL-MONITOR:DOSING PUMP SERVO CONTROL UNIT; | [14 empty] | D.G.ELECTRONICS P/L | [19 empty] | URL NOT FOUND |  |  | DOSING PUMP SERVO CONTROL UNIT | [6 empty] | Cleansed | 39121500 Electrical controls and accessories |  |  | CONTROLLER | ELECTRICAL | TYPE | MONITOR | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1011904 | 1011904 |  |  |  | ERSA | M | 5920 | 1614389GZPCLNT100 | EA | 3000620 | CHAMBER;IVEC,IT4043030SC,BRAKE,SINGLE CL | CAMARA INDUST;IVEC,IT4043030SC | CHAMBER;MNFR:IVECO,PTNO:IT4043030SC,ADDITIONAL FEATURES EN:BRAKE,SINGLE CLAMP 3030 | CAMARA INDUSTRIAL;MNFR:IVECO,PTNO:IT4043030SC |  | IVECO | IT4043030SC | 1068356 @@ HONEYCOMBES SALES & SERVICE P/L | IT4043030SC | [12 empty] | IVECO | IT4043030SC | HONEYCOMBES SALES & SERVICE P/L | IT4043030SC | [14 empty] | https://static.iveco.com.au/download/media%2Fb5a5e840-af88-4abc-afe8-eb10b65e1118.pdf/IVECO%20in%20Motion%20-%202021%20Q4%20Offers.pdf | [9 empty] | Cleansed | 25171700 Braking systems and components | 3030 |  | CHAMBER | NO MODIFIER | TYPE | BRAKE,SINGLE CLAMP | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1012795 | 1012795 |  |  |  | ERSA | M | 4300 | 1478668GZPCLNT100 | EA | 3000418 | CHAMBER;BORT,5009142 | CHAMBER;BORT,5009142 | CHAMBER;MNFR:BOART LONGYEAR,PTNO:5009142 |  |  | BOART LONGYEAR | 5009142 | 1068617 @@ BOART LONGYEAR PTY LTD | 5009142 | [10 empty] | BOART LONGYEAR | 5009142 |  |  | BOART LONGYEAR PTY LTD | 5009142 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1012796 | 1012796 |  |  |  | ERSA | M | 4300 | 1478667GZPCLNT100 | EA | 3000418 | CHAMBER;BORT,5009241 | CHAMBER;BORT,5009241 | CHAMBER;MNFR:BOART LONGYEAR,PTNO:5009241 |  |  | BOART LONGYEAR | 5009241 | 1068617 @@ BOART LONGYEAR PTY LTD | 5009241 | [10 empty] | BOART LONGYEAR | 5009241 |  |  | BOART LONGYEAR PTY LTD | 5009241 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1028109 | 1028109 | 1351774 | AU_QM_000136886 |  | ERSA | M | 1500 | 1351774GZPCLNT100 | EA | 3000011 | BLADDER,ACCUM;PRONAL | BLADDER,ACCUM;PRONAL | BLADDER,ACCUMULATOR;TYPE:PRONAL,MNFR:TEREX,PTNO:FSC0070-1-01-01 |  | BLADDER,ACCUMULATOR,HYD:PRONAL BLADDER; BREVINI HYDRAULIC DRIVE; | TEREX | FSC0070-1-01-01 | 1068393 @@ TEREX LIFTING T/A TEREX JAQUES | FSC0070-1-01-01 | [10 empty] | TEREX | FSC0070-1-01-01 |  |  | TEREX LIFTING T/A TEREX JAQUES | FSC0070-1-01-01 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27131510 Accumulator bladders or bags | BREVINI HYDRAULIC DRIVE |  | BLADDER | ACCUMULATOR | TYPE | PRONAL | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1028929 | 1028929 | 1456411 | AU_QM_001280437 |  | ERSA | M | 4300 | 1456411GZPCLNT100 | EA | 3000035 | CHAMBER;WAR,50032CVXE02 | CHAMBER;WAR,50032CVXE02 | CHAMBER;MNFR:WARMAN,PTNO:50032CVXE02 |  | CHAMBER:FEED CHAMBER;OUTER; | WARMAN | 50032CVXE02 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | 50032CVXE02 | [10 empty] | WARMAN | 50032CVXE02 |  |  | WEIR MINERALS AUSTRALIA LTD | 50032CVXE02 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHAMBER | NO MODIFIER | TYPE | FEED,OUTER | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1050845 | 1050845 |  |  |  | ERSA | M | 4090 | 1577140GZPCLNT100 | EA |  | CRATE;NESTING STACKABLE,PP,13.5L | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:NESTING STACKABLE,POLYPROPYLENE,13.5L | RECIPIENTE; |  |  |  | 1068502 @@ ATOM SUPPLY | 90560119á | [14 empty] | ATOM SUPPLY | 90560119á | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112902 Plastic crate | CAPACITY:13.5 L |  | CRATE | NO MODIFIER | TYPE | NESTING STACKABLE | SIZE |  | MATERIAL | POLYPROPYLENE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1050848 | 1050848 |  |  |  | ERSA | M | 4090 | 1577293GZPCLNT100 | EA |  | CHUCK;LTHE,125 MM 3 JAW,C202 | CEPO; | CHUCK;TYPE:LATHE,ADDITIONAL FEATURES EN:125 MM 3 JAW,C202 | CEPO; |  |  |  | 1068290 @@ HARE & FORBES | C202 | [12 empty] | HARE & FORBES | C202 | [16 empty] | https://www.machineryhouse.com.au/c202?s=C202 | [9 empty] | Enriched | 27112807 Chucks |  | SPEED RATING:3000 RPM | CHUCK | LATHE | TYPE | SELF CENTRING | CHUCK DIAMETER | 125 MM | OVERALL LENGTH |  | OVERALL WIDTH |  | MATERIAL |  | OVERALL HEIGHT | 84 MM | NUMBER OF JAWS | 3 | MOUNTING TYPE | BACK PLATE | THROUGH HOLE DIAMETER | 30 MM | CENTER SPACING |  | CHUCK JAW STYLE |  | COATING/FINISH |  | CERTIFICATION/STANDARD | ISO 9001 | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Suitable NM not Found | 1050894 | 1050894 |  |  |  | ERSA | M | 4090 | 1577802GZPCLNT100 | EA |  | CRATE;STILLAGE,1160X1160X1100MM,1000KG | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:STILLAGE,1160X1160X1100MM,1000KG SWL EVENLY DISTRIBUTED | RECIPIENTE; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | .CPPS-1100 | [12 empty] | CONTAIN IT SOLUTIONS | CPPS-1100 | [16 empty] | https://www.containit.com.au/product/post-and-pipe-stillage-pallets/ | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Suitable NM not Found | 1050895 | 1050895 |  |  |  | ERSA | M | 4090 | 1577803GZPCLNT100 | EA |  | CRATE;STILLAGE,1160X1160X750MM,1000KG | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:STILLAGE,1160X1160X750MM,1000KG SWL EVENLY DISTRI | RECIPIENTE; |  |  |  | 1068926 @@ CONTAIN IT SOLUTIONS | .CPPS-750 | [12 empty] | CONTAIN IT SOLUTIONS | CPPS-750 | [16 empty] | https://www.containit.com.au/product/post-and-pipe-stillage-pallets/ | [9 empty] | Exception | [77 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1051090 | 1051090 |  |  |  | ERSA | M | 4090 | 1579484GZPCLNT100 | EA |  | CRATE;PLSTC,BLU,32L,645X413X210MM | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PLASTIC,BLUE,32L,645X413X210MM | RECIPIENTE; |  |  |  | 1068502 @@ ATOM SUPPLY | 91368002 | [12 empty] | ATOM SUPPLY | 91368002 | [16 empty] | https://www.atom.com.au/plastic-crate-32l-blue-645-x-413-x-210mm-stack-nest-inc-lid-540934 | [9 empty] | Cleansed | 24112902 Plastic crate | CAPACITY:32 L |  | CRATE | NO MODIFIER | TYPE |  | SIZE | 645X413X210 MM | MATERIAL | PLASTIC | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1051525 | 1051525 |  |  |  | ERSA | M | 4005 | 1581133GZPCLNT100 | EA |  | CHUCK,DRIL;MT3 MORSE TAPER KEYED | PORTABROCAS; | CHUCK,DRILL;ADDITIONAL FEATURES EN:MT3 MORSE TAPER KEYED | PORTABROCAS; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | A0107385 | [12 empty] | LLAMBRICH | A0107385 | MOUNT ISA MINING SUPPLIES P/L | A0107385 | [14 empty] | https://www.aimsindustrial.com.au/llambrich-mt3-morse-taper-keyed-drill-chuck-1-16mm | [9 empty] | Enriched | 27112807 Chucks | MORSE TAPER SIZE:3 MM |  | CHUCK | DRILL | TYPE | MORSE TAPER KEYED | CHUCK CAPACITY | 1 TO 16 MM | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER | 20.2 MM | OVERALL LENGTH | 99 MM | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1052217 | 1052217 |  |  |  | ERSA | M | 4005 | 1581443GZPCLNT100 | EA |  | CHUCK;B/BEARING,H/D,3-16MM-3JT,CBB-16-JS | CEPO; | CHUCK;TYPE:B/BEARING,ADDITIONAL FEATURES EN:H/D,3-16MM-3JT,CBB-16-JS | CEPO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 6826107 | [12 empty] | LLAMBRICH | CBB-16-J3 | J BLACKWOOD & SONS | 6826107 | [14 empty] | https://www.blackwoods.com.au/tools-cutting-threading-carbide/chucks/heavy-duty-ball-bearing-chucks/chuck-ball-brg-1-16mm-3jt/p/06826107 | [9 empty] | Cleansed | 27112807 Chucks | FOR BALL BEARING,3JT |  | CHUCK | DRILL | TYPE | HEAVY DUTY | CHUCK CAPACITY | 3 TO 16 MM | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1053386 | 1053386 |  |  |  | ERSA | M | 4200 | 1581378GZPCLNT100 | EA |  | CRATE;COLLAPSIBLE,1000KG,750L,GREY | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:COLLAPSIBLE,1000KG,750L,GREY | RECIPIENTE; |  |  |  | 1069031 @@ DYNAMICS G-EX PTY LTD | 1 | [14 empty] | DYNAMICS G-EX PTY LTD | 1 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | CAPACITY:1000 KG,750 L |  | CRATE | NO MODIFIER | TYPE | COLLAPSIBLE | SIZE |  | MATERIAL |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1053840 | 1053840 |  |  |  | ERSA | M | 5000 | 1583236GZPCLNT100 | EA |  | CHUCK;MAX,R/H,307.05.027-R | CEPO; | CHUCK;TYPE:MAX,ADDITIONAL FEATURES EN:R/H,307.05.027-R | CEPO; |  |  |  | 1069307 @@ DOWNUNDER MINING | 307.05.027-R | [14 empty] | DOWNUNDER MINING | 307.05.027-R | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112807 Chucks |  |  | CHUCK | NO MODIFIER | TYPE | MAX,RIGHT HAND | CHUCK CAPACITY |  | MATERIAL |  | SHANK SIZE |  | SHANK TYPE |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1053842 | 1053842 |  |  |  | ERSA | M | 5000 | 1583238GZPCLNT100 | EA |  | CHUCK;ROTTN,COMPLT,R/H,89.307.05.003 | CEPO; | CHUCK;TYPE:ROTATION,ADDITIONAL FEATURES EN:COMPLETE,R/H,89.307.05.003 | CEPO; |  |  |  | 1069307 @@ DOWNUNDER MINING | 89.307.05.003 | [13 empty] | 89.307.05.003 | DOWNUNDER MINING | 89.307.05.003 | [14 empty] | https://www.volza.com/p/drilling-chuck/import/hsn-code-84679200/ | [9 empty] | Cleansed | 27112807 Chucks | COMPLETE |  | CHUCK | DRILL | TYPE | ROTATION,RIGHT HAND | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1057241 | 1057241 |  |  |  | ERSA | M | 4305 | 1542566GZPCLNT100 | EA |  | CHAMBER;BURNR | CAMARA INDUST; | CHAMBER;ADDITIONAL FEATURES EN:BURNER | CAMARA INDUSTRIAL; |  |  |  | 1072034 @@ ACCUTHERM INTERNATIONAL P/L | 1542566 | [14 empty] | ACCUTHERM INTERNATIONAL P/L | 1542566 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR BURNER |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1066878 | 1066878 | 1354724 | AU_QM_000144057 |  | ERSA | M | 4700 | 1354724GZPCLNT100 | EA |  | COLLECTION CHAMBER;STUFFING BOX;WARMAN 6 | COLLECTION CHAMBER;STUFFING BOX;WARMAN 6 | CHAMBER: COLLECTION CHAMBER;STUFFING BOX;WARMAN 6 E-AHF CARS PUMP; |  | CHAMBER:COLLECTION CHAMBER;STUFFING BOX;WARMAN 6 |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | EAM556A05 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | EAM556A05 | [14 empty] | URL NOT FOUND |  |  | CARS PUMP | WARMAN | 6 E-AHF |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | FOR STUFFING BOX |  | CHAMBER | NO MODIFIER | TYPE | COLLECTION | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1067933 | 1067933 |  |  |  | ERSA | M | 5910 | 1439949GZPCLNT100 | EA |  | CSM WASHING CHAMBER | CSM WASHING CHAMBER | NOZZLE,SPRAY: CSM WASHING CHAMBER |  |  |  |  | 1070677 @@ SPRAYING SYSTEMS CO. PTY LTD | HB1/4U-316SS 9560 | [12 empty] | SPRAYING SYSTEMS CO. PTY LTD | HB1/4U-316SS9560 | [16 empty] | https://datasheets.globalspec.com/ds/spraying-systems/hb1-4u-316ss9560/ecae0461-b857-4cf3-9df1-8a2f14250fc3 | [9 empty] | Enriched | 23153143 Spray nozzle | FOR CSM WASHING CHAMBER | PATTERN:FAN,SOLID STREAM,FLAT,ANGLE:0 TO 110 DEG | NOZZLE | SPRAY | TYPE | STANDARD VEE JET | ORIFICE SIZE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | FLOW RATING | 2.12 TO 21.21 GPH | PRESSURE RATING | 5 TO 500 PSI | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1067934 | 1067934 |  |  |  | ERSA | M | 5910 | 1439950GZPCLNT100 | EA |  | CSM WASHING CHAMBER | CSM WASHING CHAMBER | NOZZLE,SPRAY: CSM WASHING CHAMBER |  |  |  |  | 1070677 @@ SPRAYING SYSTEMS CO. PTY LTD | HB1/4VV-316SS 9503 | [12 empty] | SPRAYING SYSTEMS CO. PTY LTD | HB1/4VV-316SS9503 | [16 empty] | https://datasheets.globalspec.com/ds/spraying-systems/hb1-4vv-316ss9503/c3a04c4f-7641-4c31-9888-c5a44400d7f4 | [9 empty] | Enriched | 23153143 Spray nozzle | FOR CSM WASHING CHAMBER | PATTERN:FAN,SOLID STREAM,FLAT,ANGLE:0 TO 110 DEG | NOZZLE | SPRAY | TYPE | STANDARD VEE JET | ORIFICE SIZE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | FLOW RATING | 0.1061 TO 1.06 GPH | PRESSURE RATING | 5 TO 500 PSI | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1088525 | 1088525 |  |  |  | ERSA | M | 5955 | 1609063GZPCLNT100 | EA | 3000024 | CHAMBER;ISU,D873276D30,ASM | CAMARA INDUST;ISU,D873276D30 | CHAMBER;MNFR:ISUZU,PTNO:D873276D30,ADDITIONAL FEATURES EN:ASM | CAMARA INDUSTRIAL;MNFR:ISUZU,PTNO:D873276D30 |  | ISUZU | D873276D30 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | IS-D873276D30 | [10 empty] | ISUZU | D873276D30 |  |  | AP TOWNSVILLE P/L T/A TONY IRELA | IS-D873276D30 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | CHAMBER | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1089511 | 1089511 | 1427254 | AU_QM_000449108 |  | ERSA | M | 5955 | 1427254GZPCLNT100 | EA | 3000000 | CHUCK;ATL,4150104988 | CHUCK;ATL,4150104988 | CHUCK;MNFR:ATLAS COPCO,PTNO:4150104988 |  | CHUCK,DRILL:1/4, SUIT PENCIL GRINDER; | ATLAS COPCO | 4150104988 | 1068652 @@ J BLACKWOOD & SONS | 6486518 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 4150-1049-88 | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | 4150104988 | [8 empty] | ATLAS COPCO | 4150104988 | J BLACKWOOD & SONS | 6486518 | EPIROC AUSTRALIA PTY LTD | 4150-1049-88 | AIR & ALLIED SALES (PACIFIC) P/L | 4150104988 | [10 empty] | https://servaid.atlascopco.com/AssertWeb/en-US/AtlasCopco/Catalogue/11006 | https://www.blackwoods.com.au/power-tools/air-tools/collet-set-atlas-copco/collet-set-1-4-atlas-copco-4150104988/p/06486518 | [8 empty] | Enriched | 27112808 Collets |  | NOMINAL SIZE:1/4 IN | COLLET | NO MODIFIER | TYPE |  | HOLDING CAPACITY |  | COLLET SERIES |  | THREAD SIZE |  | SHAPE |  | MATERIAL | STEEL | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1089515 | 1089515 | 1426356 | AU_QM_000377390 |  | ERSA | M | 5955 | 1426356GZPCLNT100 | EA | 3000000 | CHUCK;ATL,4150-1049-83 | CHUCK;ATL,4150-1049-83 | CHUCK;MNFR:ATLAS COPCO,PTNO:4150-1049-83 |  | CHUCK,DRILL:6MM | ATLAS COPCO | 4150-1049-83 | 1068652 @@ J BLACKWOOD & SONS | 6486615 | 1069739 @@ AIR & ALLIED SALES (PACIFIC) P/L | 4150-1049-83 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 4150-1049-83 | 1068574 @@ SWANSTON TASMANIA PTY LTD | 1426356 | [6 empty] | ATLAS COPCO | 4150104983 | J BLACKWOOD & SONS | 6486615 | AIR & ALLIED SALES (PACIFIC) P/L | 4150-1049-83 | EPIROC AUSTRALIA PTY LTD | 4150-1049-83 | SWANSTON TASMANIA PTY LTD | 1426356 | [8 empty] | https://servaid.atlascopco.com/AssertWeb/en-US/AtlasCopco/Catalogue/11000 | https://www.blackwoods.com.au/power-tools/air-tools/collet-set-atlas-copco/collet-set-6mm-atlas-copco-4150104983/p/06486615 | [8 empty] | Enriched | 27112808 Collets |  | NOMINAL SIZE:6 MM | COLLET | NO MODIFIER | TYPE |  | HOLDING CAPACITY |  | COLLET SERIES |  | THREAD SIZE |  | SHAPE |  | MATERIAL | STEEL | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1101822 | 1101822 | 1394243 | AU_QM_000237790 |  | ERSA | M | 2900 | 1394243GZPCLNT100 | EA | 3000438 | COVER;NRMT,100137978 | CUBIERTA; | CUBIERTA;MNFR:NORMET,PTNO:100137978 | CUBIERTA;,MNFR:NORMET,PTNO:100137978 | OEM-E-LISTCOVER;NOR,100137978 | NORMET | 100137978 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100137978 | [10 empty] | NORMET | 100137978 |  |  | NORMET ASIA PACIFIC PTY LTD | 100137978 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103817 | 1103817 |  |  |  | ERSA | M | 4045 | 1570376GZPCLNT100 | EA |  | CRATE;PICKING BIN,380X380X910MM,BLU | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING BIN,380X380X910MM,BLUE | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550690B | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550690B | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING BIN | SIZE | 380X380X910 MM | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103818 | 1103818 |  |  |  | ERSA | M | 4045 | 1570375GZPCLNT100 | EA |  | CRATE;PICKING BIN,380X380X910MM,GRN | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING BIN,380X380X910MM,GREEN | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550690G | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550690G | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING BIN | SIZE | 380X380X910 MM | MATERIAL |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103819 | 1103819 |  |  |  | ERSA | M | 4045 | 1570374GZPCLNT100 | EA |  | CRATE;PICKING BIN,380X380X910MM,RED | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING BIN,380X380X910MM,RED | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550690R | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550690R | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING BIN | SIZE | 380X380X910 MM | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103820 | 1103820 |  |  |  | ERSA | M | 4045 | 1570373GZPCLNT100 | EA |  | CRATE;PICKING BIN,380X380X910MM,YEL | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING BIN,380X380X910MM,YELLOW | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550690Y | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550690Y | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING BIN | SIZE | 380X380X910 MM | MATERIAL |  | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103823 | 1103823 |  |  |  | ERSA | M | 4045 | 1570370GZPCLNT100 | EA |  | CRATE;PICKING PALLET,1200X1200MM,GRN | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING PALLET,1200X1200MM,GREEN | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550590G | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550590G | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING PALLET | SIZE | 1.2X1.2 M | MATERIAL |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103824 | 1103824 |  |  |  | ERSA | M | 4045 | 1570369GZPCLNT100 | EA |  | CRATE;PICKING PALLET,1200X1200MM,RED | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING PALLET,1200X1200MM,RED | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550590R | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550590R | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING PALLET | SIZE | 1.2X1.2 M | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1103825 | 1103825 |  |  |  | ERSA | M | 4045 | 1570368GZPCLNT100 | EA |  | CRATE;PICKING PALLET,1200X1200MM,BLU | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:PICKING PALLET,1200X1200MM,BLUE | RECIPIENTE; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 550590B | [14 empty] | MOUNT ISA MINING SUPPLIES P/L | 550590B | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | PICKING PALLET | SIZE | 1.2X1.2 M | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1104062 | 1104062 |  |  |  | ERSA | M | 3750 | 1523911GZPCLNT100 | EA |  | CHUCK;89 307 05 003 | CHUCK;89 307 05 003 | CHUCK;ADDITIONAL FEATURES:89 307 05 003 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 89 307 05 003 | [13 empty] | 89.307.05.003 | DOWNUNDER MINING | 89 307 05 003 | [14 empty] | https://www.volza.com/p/drilling-chuck/import/hsn-code-84679200/ | [9 empty] | Enriched | 27112807 Chucks |  |  | CHUCK | DRILL | TYPE | ROTATION | CHUCK CAPACITY |  | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1104192 | 1104192 |  |  |  | ERSA | M | 3750 | 1523854GZPCLNT100 | EA |  | CHUCK;307 05 027 | CHUCK;307 05 027 | CHUCK;ADDITIONAL FEATURES:307 05 027 |  |  |  |  | 1069307 @@ DOWNUNDER MINING | 307 05 027 | [14 empty] | DOWNUNDER MINING | 307 05 027 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27112807 Chucks |  |  | CHUCK | NO MODIFIER | TYPE |  | CHUCK CAPACITY |  | MATERIAL |  | SHANK SIZE |  | SHANK TYPE |  | CHUCK DIAMETER |  | OVERALL LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1112633 | 1112633 | 1457215 | AU_QM_001296763 |  | ERSA | M | 1600 | 1457215GZPCLNT100 | EA |  | ALARM; | ALARM; | ALARM: ALARM; |  | ALARM: ALARM; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55134365 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 55134365 | [16 empty] | https://www.globalbuyersonline.com/tradeleads/details.asp?xpyr=1082213&obj=SGDFGDFUJJ453BJHJ34JVBJBJ234BJ5H | [9 empty] | Cleansed | 46171604 Alarm systems |  |  | ALARM | NO MODIFIER | TYPE |  | SOUND INTENSITY |  | ALARM TONE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1114266 | 1114266 |  |  |  | ERSA | M | 4005 | 1571532GZPCLNT100 | EA |  | CRATE;1200MM WORKSTATION | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:1200MM WORKSTATION | RECIPIENTE; |  |  |  | 1068778 @@ MARC TECHNOLOGIES PTY LTD | 130005 | [14 empty] | MARC TECHNOLOGIES PTY LTD | 130005 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | WORKSTATION |  | CRATE | NO MODIFIER | TYPE |  | SIZE | 1.2 M | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1123067 | 1123067 |  |  |  | ERSA | M | 5000 | 1602863GZPCLNT100 | EA | 3000010 | BLADDER;SAN,BG01048550 | CAMARA AIR;SAN,BG01048550 | BLADDER;MNFR:SANDVIK,PTNO:BG01048550 | CAMARA AIRE;MNFR:SANDVIK,PTNO:BG01048550 |  | SANDVIK | BG01048550 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01048550 | [10 empty] | SANDVIK | BG01048550 | SANDVIK MINING & CONSTRUCTION | BG01048550 | [16 empty] | https://www.volza.com/p/diaphragm-accumulator/import/import-in-peru/ | https://www.aga-parts.com/es/sandvik/part/bg01048550_accumulator-di/ | [8 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE | DIAPHRAGM | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147304 | 1147304 |  |  |  | ERSA | M | 4090 | 1527995GZPCLNT100 | EA |  | CRATE;BLUE,52L,159292003 | CRATE;BLUE,52L,159292003 | CRATE;ADDITIONAL FEATURES:BLUE,52L,159292003 |  |  |  |  | 1069714 @@ BLACKWOODS | 159292003 | 1068652 @@ J BLACKWOOD & SONS | 159292003 | [12 empty] | BLACKWOODS | 159292003 | J BLACKWOOD & SONS | 159292003 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | CAPACITY:52 L |  | CRATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147305 | 1147305 |  |  |  | ERSA | M | 4090 | 1527994GZPCLNT100 | EA |  | CRATE;BLACK,52L,81462001 | CRATE;BLACK,52L,81462001 | CRATE;ADDITIONAL FEATURES:BLACK,52L,81462001 |  |  |  |  | 1069714 @@ BLACKWOODS | 81462001 | 1068652 @@ J BLACKWOOD & SONS | 81462001 | [12 empty] | BLACKWOODS | 81462001 | J BLACKWOOD & SONS | 81462001 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 24112900 Crates | CAPACITY:52 L |  | CRATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147344 | 1147344 |  |  |  | ERSA | M | 4090 | 1527658GZPCLNT100 | EA |  | CRATE;STORAGE,NO. 4,NATURAL,SIH089NAT | CRATE;STORAGE,NO. 4,NATURAL,SIH089NAT | CRATE;ADDITIONAL FEATURES:STORAGE,NO. 4,NATURAL,SIH089NAT |  |  |  |  | 1069398 @@ MATERIALS HANDLING PTY LTD | SIH089NAT | [12 empty] | MATERIALS HANDLING PTY LTD | SIH089NAT | [16 empty] | https://www.materialshandling.com.au/products/nesting-and-spacesaving-containers/ | [9 empty] | Enriched | 24112900 Crates | NO.4 | CAPACITY:13 L | CRATE | NO MODIFIER | TYPE | NATURAL,STORAGE | SIZE | 430X323X127 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147345 | 1147345 |  |  |  | ERSA | M | 4090 | 1527657GZPCLNT100 | EA |  | CRATE;STORAGE,SIH009 | CRATE;STORAGE,SIH009 | CRATE;ADDITIONAL FEATURES:STORAGE,SIH009 |  |  |  |  | 1069398 @@ MATERIALS HANDLING PTY LTD | SIH009 | [12 empty] | MATERIALS HANDLING PTY LTD | SIH009 | [16 empty] | https://www.materialshandling.com.au/products/nesting-and-spacesaving-containers/ | [9 empty] | Enriched | 24112900 Crates |  |  | CRATE | NO MODIFIER | TYPE | CONFECTIONARY,STORAGE | SIZE | 456X318X57 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147977 | 1147977 |  |  |  | ERSA | M | 4400 | 1539239GZPCLNT100 | EA |  | BLADDER;PRESSURE SPOOL,MCA-PFSB | BLADDER;PRESSURE SPOOL,MCA-PFSB | BLADDER;ADDITIONAL FEATURES:PRESSURE SPOOL,MCA-PFSB |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFSB | [14 empty] | MCA ENGINEERING PTY LTD | MCA-PFSB | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | PRESSURE SPOOL |  | BLADDER | NO MODIFIER | TYPE |  | SIZE |  | PRESSURE RATING |  | CAPACITY |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1147987 | 1147987 |  |  |  | ERSA | M | 4400 | 1539229GZPCLNT100 | EA |  | BLADDER;23D,DUMP SPOOL,MCA-PFB | BLADDER;23D,DUMP SPOOL,MCA-PFB | BLADDER;ADDITIONAL FEATURES:23D,DUMP SPOOL,MCA-PFB |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-PFB | [14 empty] | MCA ENGINEERING PTY LTD | MCA-PFB | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | 23D,DUMP SPOOL |  | BLADDER | NO MODIFIER | TYPE |  | SIZE |  | PRESSURE RATING |  | CAPACITY |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1148023 | 1148023 |  |  |  | ERSA | M | 4400 | 1539193GZPCLNT100 | EA |  | BLADDER;15L,DUMP SPOOL,MCA-WFB | BLADDER;15L,DUMP SPOOL,MCA-WFB | BLADDER;ADDITIONAL FEATURES:15L,DUMP SPOOL,MCA-WFB |  |  |  |  | 1068523 @@ MCA ENGINEERING PTY LTD | MCA-WFB | [14 empty] | MCA ENGINEERING PTY LTD | MCA-WFB | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | DUMP SPOOL |  | BLADDER | NO MODIFIER | TYPE |  | SIZE |  | PRESSURE RATING |  | CAPACITY | 15 L | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1149309 | 1149309 |  |  |  | ERSA | M | 2920 | 1527692GZPCLNT100 | EA |  | BLADDER;3L,HI-VIS,ORAN,CAMELBAK,CB60938 | BLADDER;3L,HI-VIS,ORAN,CAMELBAK,CB60938 | BLADDER;ADDITIONAL FEATURES:3L,HI-VIS,ORAN,CAMELBAK,CB60938 |  |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | CB60938 | [12 empty] | CAMELBACK | CB60938 | MOUNT ISA MINING SUPPLIES P/L | CB60938 | [14 empty] | https://www.greentrails.com.au/wp-content/uploads/Camelbak-Tactical-2018-LR-Final.pdf | [9 empty] | Enriched | 48101700 Food and beverage dispensing equipment | COLOR:ORANGE |  | BLADDER | NO MODIFIER | TYPE | HI-VIS | SIZE | 450X260X130 MM | PRESSURE RATING |  | CAPACITY | 3 L | MATERIAL | NYLON FABRIC | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1179664 | 1179664 |  |  |  | ERSA | M | 5910 | 1513462GZPCLNT100 | EA |  | BLADDER,ACCUM;M50x1,5/VG5 NBR20/1.457 | ACUMULADOR CAM; | BLADDER,ACCUM;ADDITIONAL FEATURES:M50x1,5/VG5 NBR20/1.457 |  |  |  |  | 1068342 @@ ISADRAULICS | M50X1,5/VG5 NBR20/1.457 | [14 empty] | ISADRAULICS | M50X1,5/VG5 NBR20/1.457 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1180404 | 1180404 |  |  |  | ERSA | M | 2920 | 1543866GZPCLNT100 | EA |  | ALARM;SMK,PHOTOELECT,SMK,230V | ALARMA; | ALARM;TYPE:SMOKE,ADDITIONAL FEATURES EN:PHOTOELECT,SMOKE,230V | ALARMA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BROEIB3016 | [12 empty] | BROOKS | EIB3016 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.brooks.com.au/home-smoke-alarms/mains-powered/photoelectric-230-volt-smoke-alarm-with-10-year-lithium-battery-backup-eib3016/ | https://www.brooks.com.au/index.cfm/_api/render/file/?method=inline&fileID=8FAA272D-72D6-4A8C-8F696D2B253E3712 | [8 empty] | Enriched | 46171604 Alarm systems |  |  | ALARM | NO MODIFIER | TYPE | PHOTOELECTRIC,SMOKE | SOUND INTENSITY | 85 DB AT 3 M | ALARM TONE |  | VOLTAGE RATING | 230 VAC | CURRENT RATING |  | SIZE | 150X55 MM | MATERIAL | PLASTIC | COATING/FINISH |  | MOUNTING |  | ENCLOSURE |  | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS3786,ISO 9001 | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1182829 | 1182829 |  |  |  | ERSA | M | 4045 | 1564367GZPCLNT100 | EA |  | CRATE;BLK,PP,32 LTR | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:BLACK,POLYPROPYLENE,32 LTR | RECIPIENTE; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 7896745 | [12 empty] | A PLUS PLASTICS | AP7 BLACK | J BLACKWOOD & SONS | 7896745 | [14 empty] | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/a-plus-plastics-food-grade-crate/crate-black-polypropylene-32-ltr/p/07896745 | [9 empty] | Enriched | 24112902 Plastic crate | CAPACITY:32 L |  | CRATE | NO MODIFIER | TYPE | FOOD GRADE,STACK N NEST | SIZE | 645X413X200 MM | MATERIAL | POLYPROPYLENE | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1187799 | 1187799 |  |  |  | ERSA | M | 4090 | 1608917GZPCLNT100 | EA |  | CRATE;FOOD GR CRATE, WHITE,PLSTC, 13.5 L | RECIPIENTE; | CRATE;ADDITIONAL FEATURES EN:FOOD GR CRATE, WHITE,PLASTIC, 13.5 LTR | RECIPIENTE; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 7896558 | [12 empty] | A PLUS PLASTICS | AP4 WHITE | J BLACKWOOD & SONS | 7896558 | [14 empty] | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/a-plus-plastics-food-grade-crate/crate-white-polypropylene-13-5-ltr/p/07896558 | [9 empty] | Enriched | 24112902 Plastic crate | CAPACITY:13.5 L |  | CRATE | NO MODIFIER | TYPE | FOOD GRADE,STACK N NEST | SIZE | 430X323X127 MM | MATERIAL | POLYPROPYLENE | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1187808 | 1187808 |  |  |  | ERSA | M | 4090 | 1608894GZPCLNT100 | EA |  | CRATE;STACKING NESTING,POLYPROPYLENE | RECIPIENTE; | CRATE;TYPE:STACKING NESTING,MATERIAL:POLYPROPYLENE,COLOUR:WHITE,ADDITIONAL FEATURES EN:CAPACITY:15.5 L | RECIPIENTE; |  |  |  | 1068093 @@ BLACKWOODS & SONS | 7896558 | [12 empty] | A PLUS PLASTICS | AP4 WHITE | BLACKWOODS & SONS | 7896558 | [14 empty] | https://www.blackwoods.com.au/manual-handling-storage/storage-containers/a-plus-plastics-food-grade-crate/crate-white-polypropylene-13-5-ltr/p/07896558 | [9 empty] | Enriched | 24112902 Plastic crate |  | CAPACITY:13.5 L | CRATE | NO MODIFIER | TYPE | FOOD GRADE,STACK N NEST | SIZE | 430X323X127 MM | MATERIAL | POLYPROPYLENE | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1189609 | 1189609 |  |  |  | ERSA | M | 2600 | 1575733GZPCLNT100 | EA |  | CHUCK,DRIL;WRENCH SUIT ER32 COLLET CHUCK | PORTABROCAS; | CHUCK,DRILL;ADDITIONAL FEATURES EN:WRENCH SUIT ER32 COLLET CHUCK C932 | PORTABROCAS; |  |  |  | 1068290 @@ HARE & FORBES | C932 | [12 empty] | HARE & FORBES | C932 | [16 empty] | https://www.machineryhouse.com.au/c932?s=C932 | [9 empty] | Enriched | 27111700 Wrenches and drivers |  |  | WRENCH | NO MODIFIER | TYPE | COLLET,CHUCK | SIZE | 75X253 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1189612 | 1189612 |  |  |  | ERSA | M | 2600 | 1575730GZPCLNT100 | EA |  | CHUCK,DRIL;COLLET CHUCK NT30XER32 M12DB | PORTABROCAS; | CHUCK,DRILL;ADDITIONAL FEATURES EN:COLLET CHUCK NT30XER32 M12DB C110 | PORTABROCAS; |  |  |  | 1068290 @@ HARE & FORBES | C110 | [12 empty] | HARE & FORBES | C110 | [16 empty] | https://www.machineryhouse.com.au/c110?s=C110 | [9 empty] | Enriched | 27112807 Chucks | TAPER:NT30,COLLET SERIES:ER32,DRAW BAR SIZE:M12X1.75 |  | CHUCK | DRILL | TYPE | COLLET | CHUCK CAPACITY | 20 MM | MOUNTING SIZE |  | SHANK TYPE |  | MATERIAL |  | CHUCK DIAMETER | 50 MM | OVERALL LENGTH |  | SPEED RATING | 10000 RPM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1204843 | 1204843 |  |  |  | ERSA | M | 4005 | 149569MRM | EA |  | CHAMBER:COLLECTION CHAMBER;CHAMBER;CARS | CHAMBER:COLLECTION CHAMBER;CHAMBER;CARS | CHAMBER:COLLECTION CHAMBER;CHAMBER;CARS |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | PN1204843 | [14 empty] | WEIR MINERALS AUSTRALIA LTD | PN1204843 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR CARS |  | CHAMBER | NO MODIFIER | TYPE | COLLECTION | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1206005 | 1206005 |  |  |  | ERSA | M | 1600 | 271784MRM | EA |  | ALARM:OVERFILL ALARM BATTERY OPERATED PE | ALARM:OVERFILL ALARM BATTERY OPERATED PE | ALARM:OVERFILL ALARM BATTERY OPERATED PETRO LOA-IS. K3 TANKPART-P J3-D |  |  |  |  | 1078931 @@ PETRO INDUSTRIAL (BNE) PTY LTD | LOA-IS | [14 empty] | PETRO INDUSTRIAL (BNE) PTY LTD | LOA-IS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 46171604 Alarm systems | BATTERY OPERATED,K3 TANKPART-P J3-D |  | ALARM | NO MODIFIER | TYPE | OVERFILL | SOUND INTENSITY |  | ALARM TONE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  |  | 1206699 | 1206699 |  |  |  | ERSA | M | 4090 | 131890MRM | DR |  | CHEMICAL AGENT:ANTISCALANT;REVERSE OSMOS | CHEMICAL AGENT:ANTISCALANT;REVERSE OSMOS | CHEMICAL AGENT:ANTISCALANT;REVERSE OSMOSIS;;SOLCARE; |  |  |  |  | 1079164 @@ ROTECH WATER | MSI410 | [12 empty] | LENNTECH | MSI410 | ROTECH WATER | MSI410 | [14 empty] | https://www.lenntech.com/Data-sheets/SUEZ-Hypersperse-MSI410-L.pdf | [9 empty] | Enriched | 47101602 Antiscalants | CHEMICAL AGENT,REVERSE OSMOSIS,SOLCARE |  | ANTISCALANT | NO MODIFIER | TYPE |  | PACK SIZE |  | PACK TYPE |  | COMPOSITION |  | GRADE |  | APPEARANCE | LIQUID | USAGE DOSAGE | 3 TO 6 PPM,10 PPM PORTABLE | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NSF/ANSI 60 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | BHJ | OK | 2023-11-09 |  | Processed based on Websource, Conflict w.r.t Input | 1211287 | 1211287 |  |  |  | ERSA | M | 5980 | 135797MRM | PAC |  | BLADDER,ACCUMULATOR,HYD:BLADDER;POLYETHE | BLADDER,ACCUMULATOR,HYD:BLADDER;POLYETHE | BLADDER,ACCUMULATOR,HYD:BLADDER;POLYETHELENE;;SAMPLE PRO;;PACK =10 EACH; |  |  |  |  | 1068312 @@ THERMO FISHER SCIENTIFIC AUSTRAL | QED38360 | [12 empty] | THERMO FISHER SCIENTIFIC AUSTRAL | QED 38360 | [16 empty] | https://assets.thermofisher.com/TFS-Assets/ANZ/brochures/qed-groundwater-sampling.pdf | https://www.premiersafety.com/qed-38360-replacement-bladder-kit-for-sample-pro-1-3-4-in-portable-micropurge-pump-38360/ |  |  |  | SAMPLE PRO |  |  |  |  | Enriched | 27131510 Accumulator bladders or bags | FOR HYDRAULIC,PACKAGE QUANTITY:10/PK |  | BLADDER | NO MODIFIER | TYPE | DISPOSABLE | SIZE |  | PRESSURE RATING |  | CAPACITY |  | MATERIAL | POLYETHLENE | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed