## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 | SUITABLE NM NOT FOUND | 1203972 | 1203972 |  |  |  | ERSA | M | 4090 | 988506MRM | BOX |  | BEVERAGE BASE:URAL SACHETS;SUGAR FREE,EF | BEVERAGE BASE:URAL SACHETS;SUGAR FREE,EF | BEVERAGE BASE:URAL SACHETS;SUGAR FREE,EFFERVESCENTGRANULES;28 X 4GM SACHETS PER BOX; | [36 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1213865 | 1213865 |  |  |  | ERSA | M | 1845 | 1280296MRM | EA |  | CRADLE ASSY:INSTALLATION CRADLE | CRADLE ASSY:INSTALLATION CRADLE | CRADLE ASSY:INSTALLATION CRADLE | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings | ASSEMBLY |  | CRADLE | NO MODIFIER | TYPE | INSTALLATION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1211568 | 1211568 |  |  |  | ERSA | M | 5955 | 775166MRM | EA |  | CRADLE ASSY:PLUTON 30 DRIFTER CRADLE;DRI | CRADLE ASSY:PLUTON 30 DRIFTER CRADLE;DRI | CRADLE ASSY:PLUTON 30 DRIFTER CRADLE;DRILL BOOM SUBASSY;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL NOT FOUND |  |  | DRIFTER,ROCK BOLTER | SECOMA | PLUTON 30 |  |  |  |  | Cleansed | 40141700 Hardware and fittings | DRILL BOOM SUB ASSEMBLY |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1210977 | 1210977 |  |  |  | ERSA | M | 5955 | 134924MRM | EA |  | CRADLE:DRILL CRADLE/ACTUATOR FRAME;MODUL | CRADLE:DRILL CRADLE/ACTUATOR FRAME;MODUL | CRADLE:DRILL CRADLE/ACTUATOR FRAME;MODULE 328 830 01 POS 1;TAMROCK 205-40 MINIMATIC DRILL RIG | [19 empty] | 328 830 01 | [16 empty] | https://orglobal.com.tr/urun/og152-716-38-15271638-special-bolt/ |  |  | MINIMATIC DRILL RIG | TAMROCK | 205-40 |  |  |  | POS 1 | Cleansed | 40141700 Hardware and fittings | MODULE |  | CRADLE | NO MODIFIER | TYPE | DRILL,ACTUATOR FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 | NM BASED ON WEB SOURCE | 1018323 | 1018323 | 1381423 | AU_QM_000221334 |  | ERSA | M | 5955 | 1381423GZPCLNT100 | EA | 3000000 | CRADLE;ATL,3128305977 | CRADLE;ATL,3128305977 | CRADLE;MNFR:ATLAS COPCO,PTNO:3128305977 |  | CRADLE;ATL,3128305977CRADLE;ATL,3128305977 | ATLAS COPCO | 3128305977 | [14 empty] | ATLAS COPCO | 3128305977 | [16 empty] | https://www.nordmac.com/3128305977/ | [9 empty] | Cleansed | 30102200 Plate |  |  | PLATE | NO MODIFIER | TYPE | CRADLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1018621 | 1018621 | 1375585 | AU_QM_000214611 |  | ERSA | M | 5955 | 1375585GZPCLNT100 | EA | 3000001 | CRADLE;EPI,3128 0032 15 | CRADLE;EPI,3128 0032 15 | CRADLE;MNFR:EPIROC,PTNO:3128 0032 15 |  | CRADLE;EPI,3128 0032 15CRADLE;EPI,3128 0032 15 | EPIROC | 3128 0032 15 | [14 empty] | EPIROC | 3128 0032 15 | [16 empty] | https://www.aircompressorstrade.com/5574921400-genuine-original-atlas-copco-epiroc-spare-parts-catalog/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1018590 | 1018590 | 1375999 | AU_QM_000215068 |  | ERSA | M | 5955 | 1375999GZPCLNT100 | EA | 3000001 | CRADLE;EPI,3128 3095 56 | CRADLE;EPI,3128 3095 56 | CRADLE;MNFR:EPIROC,PTNO:3128 3095 56 |  | CRADLE;EPI,3128 3095 56CRADLE;EPI,3128 3095 56 | EPIROC | 3128 3095 56 | [14 empty] | EPIROC | 3128309556 | [16 empty] | https://www.szpfg.com/index.php/2021/09/08/52/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1017771 | 1017771 | 1376983 | AU_QM_000216152 |  | ERSA | M | 5955 | 1376983GZPCLNT100 | EA | 3000001 | CRADLE;EPI,3217 9206 48 | CRADLE;EPI,3217 9206 48 | CRADLE;MNFR:EPIROC,PTNO:3217 9206 48 |  | CRADLE;EPI,3217 9206 48CRADLE;EPI,3217 9206 48 | EPIROC | 3217 9206 48 | [14 empty] | EPIROC | 3217 9206 48 | [16 empty] | https://www.aircompressorstrade.com/atlas-copco-epiroc-boomer-t1d-spare-parts-catalogue-5/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1008555 | 1008555 |  |  |  | ERSA | M | 5000 | 1613080GZPCLNT100 | EA | 3000010 | CRADLE;SAN,BG00376223 | CUNA;SAN,BG00376223 | CRADLE;MNFR:SANDVIK,PTNO:BG00376223 | CUNA;MNFR:SANDVIK,PTNO:BG00376223 |  | SANDVIK | BG00376223 | [14 empty] | SANDVIK | BG00376223 | [16 empty] | https://www.sparepower.co.za/parts/geographe-pins-bushes/bg00376223-aftermarket/ | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1068362 | 1068362 | 1436601 | AU_QM_000880955 |  | ERSA | M | 5100 | 1436601GZPCLNT100 | EA |  | CRANE GANTRY SLIPRING MOTOR; | CRANE GANTRY SLIPRING MOTOR; | RESISTOR ASSY: CRANE GANTRY SLIPRING MOTOR; GRID;3 BANK;80HP DUTY; DEER PARK PORTAINER CRANE |  | RESISTOR ASSY:CRANE GANTRY SLIPRING MOTOR; | [34 empty] | URL NOT FOUND |  |  | CRANE GANTRY SLIPRING MOTOR,DEER PARK PORTAINER CRANE | [6 empty] | Cleansed | 32121600 Resistors | ASSEMBLY,NUMBER OF BANK:3 |  | RESISTOR | BANK | TYPE | GRID | RESISTANCE |  | POWER RATING | 80 HP | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1209642 | 1209642 |  |  |  | ERSA | M | 2200 | 158970MRM | EA |  | DAMPENER,FLUID PRESSURE:PULSATION DAMPEN | DAMPENER,FLUID PRESSURE:PULSATION DAMPEN | DAMPENER,FLUID PRESSURE:PULSATION DAMPENER;10 GALLON;37.85LTRS;DN80 FLANGES PN25;EPDM BLADDER;SUIT FLOWROX LPPT80 HOSE PUMP | [36 empty] | URL NOT FOUND |  |  | HOSE PUMP | FLOWROX | LPPT80 |  |  |  |  | Cleansed | 26101700 Engine components and accessories | CAPACITY:10 GAL,37.85 L,BLADDER MATERIAL:EPDM,PRESSURE RATING:PN25,FLANGE SIZE:DN80 |  | DAMPER | PULSATION | TYPE | FLUID PRESSURE | NOMINAL SIZE |  | PRESSURE RATING |  | HOUSING MATERIAL |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1216718 | 1216718 |  |  |  | ERSA | M | 4090 | 145571MRM | EA |  | DAMPENER,FLUID PRESSURE:PULSATION DAMPEN | DAMPENER,FLUID PRESSURE:PULSATION DAMPEN | DAMPENER,FLUID PRESSURE:PULSATION DAMPENER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101700 Engine components and accessories |  |  | DAMPER | PULSATION | TYPE | FLUID PRESSURE | NOMINAL SIZE |  | PRESSURE RATING |  | HOUSING MATERIAL |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1206579 | 1206579 |  |  |  | ERSA | M | 5955 | 681836MRM | EA |  | DAMPENER,VIBRATION:CAT 3N2885 DAMPER;CRA | DAMPENER,VIBRATION:CAT 3N2885 DAMPER;CRA | DAMPENER,VIBRATION:CAT 3N2885 DAMPER;CRANKSHAFT;ELPHINSTONE 1500CAT D250E ARTICULATED TRUCK | [18 empty] | CATERPILLAR | 3N2885 | [16 empty] | https://avspare.com/caterpillar/damper/3n2885/ |  |  | ARTICULATED TRUCK | CATERPILLAR ELPHINSTONE | 1500 D250E |  |  |  |  | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,CRANKSHAFT | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1215612 | 1215612 |  |  |  | ERSA | M | 5920 | 138595MRM | EA |  | DAMPENER,VIBRATION:VIBRATION DAMPER; | DAMPENER,VIBRATION:VIBRATION DAMPER; | DAMPENER,VIBRATION:VIBRATION DAMPER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1209130 | 1209130 |  |  |  | ERSA | M | 3000 | 133582MRM | EA |  | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATLAS COPCO GR200; | [36 empty] | URL NOT FOUND |  |  |  | ATLAS COPCO | GR200 |  |  |  |  | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1209131 | 1209131 |  |  |  | ERSA | M | 3000 | 133583MRM | EA |  | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATLAS COPCO GR200; | [36 empty] | URL NOT FOUND |  |  |  | ATLAS COPCO | GR200 |  |  |  |  | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1209132 | 1209132 |  |  |  | ERSA | M | 3000 | 133584MRM | EA |  | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATL | DAMPENER,VIBRATION:VIBRATION DAMPERS;ATLAS COPCO GR200; | [36 empty] | URL NOT FOUND |  |  |  | ATLAS COPCO | GR200 |  |  |  |  | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1209145 | 1209145 |  |  |  | ERSA | M | 5920 | 133666MRM | PAA |  | DAMPER ASSYDAMPER BLADES;FILTER 3 SCRUBB | DAMPER ASSYDAMPER BLADES;FILTER 3 SCRUBB | DAMPER ASSYDAMPER BLADES;FILTER 3 SCRUBBER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23241600 Metal cutting tools | ASSEMBLY,FOR FILTER 3 SCRUBBER |  | BLADE | NO MODIFIER | TYPE | DAMPER | SIZE |  | CUT MATERIAL |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1206951 | 1206951 |  |  |  | ERSA | M | 5920 | 132659MRM | EA |  | DAMPER ASSYDAMPER;STOPPER;SUPPORT MOUNTI | DAMPER ASSYDAMPER;STOPPER;SUPPORT MOUNTI | DAMPER ASSYDAMPER;STOPPER;SUPPORT MOUNTING;C160 JAWCRUSHER; | [36 empty] | URL NOT FOUND |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | STOPPER,SUPPORT MOUNTING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1206950 | 1206950 |  |  |  | ERSA | M | 5920 | 132658MRM | EA |  | DAMPER ASSYDAMPER;SUPPORT MOUNTING;C160 | DAMPER ASSYDAMPER;SUPPORT MOUNTING;C160 | DAMPER ASSYDAMPER;SUPPORT MOUNTING;C160 JAW CRUSHER; | [36 empty] | URL NOT FOUND |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | SUPPORT MOUNTING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1208401 | 1208401 |  |  |  | ERSA | M | 5920 | 133211MRM | EA |  | DAMPER ASSYDAMPER;VIBRATING GRIZZLY FEED | DAMPER ASSYDAMPER;VIBRATING GRIZZLY FEED | DAMPER ASSYDAMPER;VIBRATING GRIZZLY FEEDER; | [36 empty] | URL NOT FOUND |  |  | VIBRATING GRIZZLY FEED | [6 empty] | Cleansed | 26101765 Vibration dampers | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1063671 | 1063671 | 1366041 | AU_QM_000168625 |  | ERSA | M | 4500 | 1366041GZPCLNT100 | EA |  | DAMPER BLADE;VERTICAL;3CR12 STEEL; | DAMPER BLADE;VERTICAL;3CR12 STEEL; | DAMPER,FLUE; DAMPER BLADE;VERTICAL;3CR12 STEEL; 1380MM H X 900MM W; CUSM CONVERTERS ACID PLANT GAS DUCTING |  | DAMPER,FLUE;DAMPER BLADE;VERTICAL;3CR12 STEEL; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23241600 Metal cutting tools | FOR CUSM CONVERTERS ACID PLANT GAS DUCTING,FLUE |  | BLADE | NO MODIFIER | TYPE | DAMPER,VERTICAL | SIZE | 900 WD MMX1.38 HT M | CUT MATERIAL |  | MATERIAL | STEEL GRADE 3CR12 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1215718 | 1215718 |  |  |  | ERSA | M | 5955 | 778229MRM | EA |  | DAMPER,INERTIA:TORO 50D COMPRESSOR DAMPE | DAMPER,INERTIA:TORO 50D COMPRESSOR DAMPE | DAMPER,INERTIA:TORO 50D COMPRESSOR DAMPER ASSY;COMPRESSOR UNIT ASSY;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TRUCK | TAMROCK TORO | 50D |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | UNIT ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | INERTIA,COMPRESSOR | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1213953 | 1213953 |  |  |  | ERSA | M | 5955 | 776789MRM | EA |  | DAMPER,INERTIA:TORO 50D ENGINE DAMPENER; | DAMPER,INERTIA:TORO 50D ENGINE DAMPENER; | DAMPER,INERTIA:TORO 50D ENGINE DAMPENER;MOUNTING OF CABIN;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TRUCK | TAMROCK TORO | 50D |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | MOUNTING OF CABIN |  | DAMPER | NO MODIFIER | TYPE | INERTIA,ENGINE | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1212544 | 1212544 |  |  |  | ERSA | M | 5955 | 775874MRM | EA |  | DAMPER,SHIMMY:HZJ75 STEERING DAMPER CYLI | DAMPER,SHIMMY:HZJ75 STEERING DAMPER CYLI | DAMPER,SHIMMY:HZJ75 STEERING DAMPER CYLINDER; | [36 empty] | URL NOT FOUND |  |  |  |  | HZJ75 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | CYLINDER |  | DAMPER | NO MODIFIER | TYPE | SHIMMY,STEERING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1212545 | 1212545 |  |  |  | ERSA | M | 5955 | 775877MRM | EA |  | DAMPER,SHIMMY:STEERING DAMPER;TOYOTA LN1 | DAMPER,SHIMMY:STEERING DAMPER;TOYOTA LN1 | DAMPER,SHIMMY:STEERING DAMPER;TOYOTA LN106/LN565 | [36 empty] | URL NOT FOUND |  |  |  | TOYOTA | LN106/LN565 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | SHIMMY,STEERING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1106585 | 1106585 | 1400654 | AU_QM_000245094 |  | ERSA | M | 5915 | 1400654GZPCLNT100 | EA |  | DAMPER;BR777 | DAMPER;BR777 | DAMPER;ADDITIONAL FEATURES EN:BR777,MNFR:01)PARTS,PTNO:01)RAM161593 |  | DAMPER;BR777DAMPER;BR777,RAM161593 | [15 empty] | RAM161593 | [18 empty] | URL NOT FOUND |  |  |  |  | BR777 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | PARTS |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1106584 | 1106584 | 1400655 | AU_QM_000245095 |  | ERSA | M | 5915 | 1400655GZPCLNT100 | EA |  | DAMPER;BR777 | DAMPER;BR777 | DAMPER;ADDITIONAL FEATURES EN:BR777,MNFR:01)PARTS,PTNO:01)RAM161594 |  | DAMPER;BR777DAMPER;BR777,RAM161594 | [15 empty] | RAM161594 | [18 empty] | URL NOT FOUND |  |  |  |  | BR777 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | PARTS |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1073891 | 1073891 |  |  |  | ERSA | M | 3730 | 1089476GZPCLNT100 | EA | 3000003 | DAMPER;CAT,1678125,ASSY | AMORTIGUADOR;CAT,1678125,ENSAMBLE | DAMPER;MNFR:CATERPILLAR,PTNO:1678125,ADDITIONAL FEATURES EN:ASSEMBLY | AMORTIGUADOR;MNFR:CATERPILLAR,PTNO:1678125,CARACTERISTICAS ADICIONALES ES:ENSAMBLE |  | CATERPILLAR | 1678125 | [14 empty] | CATERPILLAR | 167-8125 | [16 empty] | https://parts.cat.com/en/catcorp/167-8125 | [9 empty] | Enriched | 26101765 Vibration dampers | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | CRANKSHAFT | ELECTRICAL RATING |  | OVERALL SIZE | 350.5 LGX350.5 WDX45.7 HT MM | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021435 | 1021435 | 1383596 | AU_QM_000224007 |  | ERSA | M | 5955 | 1383596GZPCLNT100 | EA | 3000003 | DAMPER;CAT,3813643 | DAMPER;CAT,3813643 | DAMPER;MNFR:CATERPILLAR,PTNO:3813643 |  | DAMPER;CAT,3813643DAMPER;HAS,3813643 | CATERPILLAR | 3813643 | [14 empty] | CATERPILLAR | 381-3643 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/381-3643 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE | 820 MM LG | CONNECTION TYPE |  | MATERIAL | STEEL | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021627 | 1021627 | 1379038 | AU_QM_000218413 |  | ERSA | M | 5955 | 1379038GZPCLNT100 | EA | 3000001 | DAMPER;EPI,0392 1100 26 | DAMPER;EPI,0392 1100 26 | DAMPER;MNFR:EPIROC,PTNO:0392 1100 26 |  | DAMPER;EPI,0392 1100 26DAMPER;EPI,0392 1100 26 | EPIROC | 0392 1100 26 | [14 empty] | EPIROC | 0392110026 | [16 empty] | https://www.tractor-part.com/parts/3921100 | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021537 | 1021537 | 1380101 | AU_QM_000219581 |  | ERSA | M | 5955 | 1380101GZPCLNT100 | EA | 3000001 | DAMPER;EPI,0392 1100 60 | DAMPER;EPI,0392 1100 60 | DAMPER;MNFR:EPIROC,PTNO:0392 1100 60 |  | DAMPER;EPI,0392 1100 60DAMPER;EPI,0392 1100 60 | EPIROC | 0392 1100 60 | [14 empty] | EPIROC | 0392110060 | [16 empty] | https://www.tractor-part.com/parts/3921100 | [9 empty] | Enriched | 23153130 Machine mounts or vibration isolators |  |  | PAD | VIBRATION | TYPE | ANTI | SIZE |  | MATERIAL |  | DESIGN |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021591 | 1021591 | 1379488 | AU_QM_000218911 |  | ERSA | M | 5955 | 1379488GZPCLNT100 | EA | 3000001 | DAMPER;EPI,0392 1100 67 | DAMPER;EPI,0392 1100 67 | DAMPER;MNFR:EPIROC,PTNO:0392 1100 67 |  | DAMPER;EPI,0392 1100 67DAMPER;EPI,0392 1100 67 | EPIROC | 0392 1100 67 | [14 empty] | EPIROC | 0392110067 | [16 empty] | https://www.tractor-part.com/parts/3921100 | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021689 | 1021689 | 1377755 | AU_QM_000217004 |  | ERSA | M | 5955 | 1377755GZPCLNT100 | EA | 3000001 | DAMPER;EPI,0392 1110 02 | DAMPER;EPI,0392 1110 02 | DAMPER;MNFR:EPIROC,PTNO:0392 1110 02 |  | DAMPER;EPI,0392 1110 02DAMPER;EPI,0392 1110 02 | EPIROC | 0392 1110 02 | [14 empty] | EPIROC | 0392111002 | [16 empty] | https://www.finditparts.com/products/15427899/epiroc-0392111002 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021723 | 1021723 | 1377351 | AU_QM_000216559 |  | ERSA | M | 5955 | 1377351GZPCLNT100 | EA | 3000001 | DAMPER;EPI,0399 9999 09 | DAMPER;EPI,0399 9999 09 | DAMPER;MNFR:EPIROC,PTNO:0399 9999 09 |  | DAMPER;EPI,0399 9999 09DAMPER;EPI,0399 9999 09 | EPIROC | 0399 9999 09 | [14 empty] | EPIROC | 0399999909 | [16 empty] | https://drisan.com/overlook/6390798JSRKsLDNGr | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 | NM BASED ON WEB SOURCE | 1021328 | 1021328 | 1386983 | AU_QM_000228043 |  | ERSA | M | 5955 | 1386983GZPCLNT100 | EA | 3000001 | DAMPER;EPI,3115586600 | DAMPER;EPI,3115586600 | DAMPER;MNFR:EPIROC,PTNO:3115586600 |  | DAMPER;EPI,3115586600DAMPER;EPI,3115586600 | EPIROC | 3115586600 | [14 empty] | EPIROC | 3115586600 | [16 empty] | https://expa-parts.com/epiroc/damper/3115586600/ | [9 empty] | Cleansed | 31410000 Seals |  |  | SEAL | NO MODIFIER | TYPE | DAMPER | DIMENSIONS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021814 | 1021814 |  |  |  | ERSA | M | 5955 | 1375692GZPCLNT100 | EA | 3000001 | DAMPER;EPI,3176 5409 00 | DAMPER;EPI,3176 5409 00 | DAMPER;MNFR:EPIROC,PTNO:3176 5409 00 |  |  | EPIROC | 3176 5409 00 | [14 empty] | EPIROC | 3176540900 | [16 empty] | https://expa-parts.com/epiroc/damper/3176540900/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021774 | 1021774 | 1376500 | AU_QM_000215619 |  | ERSA | M | 5955 | 1376500GZPCLNT100 | EA | 3000001 | DAMPER;EPI,5112 0126 42 | DAMPER;EPI,5112 0126 42 | DAMPER;MNFR:EPIROC,PTNO:5112 0126 42 |  | DAMPER;EPI,5112 0126 42DAMPER;EPI,5112 0126 42 | EPIROC | 5112 0126 42 | [14 empty] | EPIROC | 5112012642 | [16 empty] | https://drisan.com/search/3222994788-vibr-damper | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021775 | 1021775 | 1376498 | AU_QM_000215617 |  | ERSA | M | 5955 | 1376498GZPCLNT100 | EA | 3000001 | DAMPER;EPI,5112 0130 51 | DAMPER;EPI,5112 0130 51 | DAMPER;MNFR:EPIROC,PTNO:5112 0130 51 |  | DAMPER;EPI,5112 0130 51DAMPER;EPI,5112 0130 51 | EPIROC | 5112 0130 51 | [14 empty] | EPIROC | 5112013051 | [16 empty] | https://expa-parts.com/epiroc/vibr/5112013051/ | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021426 | 1021426 | 1383998 | AU_QM_000224497 |  | ERSA | M | 5955 | 1383998GZPCLNT100 | EA | 3000001 | DAMPER;EPI,5112370093 | DAMPER;EPI,5112370093 | DAMPER;MNFR:EPIROC,PTNO:5112370093 |  | DAMPER;EPI,5112370093DAMPER;EPI,5112370093 | EPIROC | 5112370093 | [14 empty] | EPIROC | 5112370093 | [16 empty] | https://drisan.com/search/3222318187-vibr-damper | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021095 | 1021095 | 1394354 | AU_QM_000237924 |  | ERSA | M | 5955 | 1394354GZPCLNT100 | EA | 3000001 | DAMPER;EPI,5112999409 | DAMPER;EPI,5112999409 | DAMPER;MNFR:EPIROC,PTNO:5112999409 |  | OEM-E-LISTDAMPER;EPI,5112999409 | EPIROC | 5112999409 | [14 empty] | EPIROC | 5112999409 | [16 empty] | https://www.aircompressorstrade.com/5112265100-atlas-copco-epiroc-spare-parts-update-catalog-by-cpmc/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1021616 | 1021616 | 1379114 | AU_QM_000218497 |  | ERSA | M | 5955 | 1379114GZPCLNT100 | EA | 3000001 | DAMPER;EPI,5590 0019 26 | DAMPER;EPI,5590 0019 26 | DAMPER;MNFR:EPIROC,PTNO:5590 0019 26 |  | DAMPER;EPI,5590 0019 26DAMPER;EPI,5590 0019 26 | EPIROC | 5590 0019 26 | [14 empty] | EPIROC | 5590001926 | [16 empty] | https://expa-parts.com/epiroc/damper/5590001926/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1170987 | 1170987 |  |  |  | ERSA | M | 1600 | 1445521GZPCLNT100 | EA |  | DAMPER;INERTIA | DAMPER;INERTIA | DAMPER;TYPE:INERTIA | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | INERTIA | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 | NM BASED ON WEB SOURCE | 1089225 | 1089225 | 1381737 | AU_QM_000221710 |  | ERSA | M | 5955 | 1381737GZPCLNT100 | EA | 3000025 | DAMPER;JOH,RE522932 | DAMPER;JOH,RE522932 | DAMPER;MNFR:JOHN DEERE,PTNO:RE522932 |  | DAMPER;JOH,RE522932DAMPER;JOH,RE522932 | JOHN DEERE | RE522932 | [14 empty] | JOHN DEERE | RE522932 | [16 empty] | https://shop.deere.com/us/product/RE522932%3A-Engine-Crankshaft-Pulley-with-Dampener/p/RE522932 | https://www.rdoequipment.com/product-details/john-deere-pulley-with-dampener-re522932 | [8 empty] | Enriched | 31171804 Sheaves or pulleys | C/W DAMPER |  | PULLEY | NO MODIFIER | TYPE | ENGINE CRANKSHAFT | BORE DIAMETER |  | OUTSIDE DIAMETER |  | HUB DIAMETER |  | HUB LENGTH |  | NUMBER OF GROOVES |  | WIDTH | 4-25/32 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1089226 | 1089226 | 1381736 | AU_QM_000221709 |  | ERSA | M | 5955 | 1381736GZPCLNT100 | EA | 3000025 | DAMPER;JOH,RE57604 | DAMPER;JOH,RE57604 | DAMPER;MNFR:JOHN DEERE,PTNO:RE57604 |  | DAMPER;JOH,RE57604DAMPER;JOH,RE57604 | JOHN DEERE | RE57604 | [14 empty] | JOHN DEERE | RE57604 | [16 empty] | https://shop.deere.com/us/product/RE57604%3A-Dual-Heavy-Duty-Torsional-Damper/p/RE57604 | https://www.rdoequipment.com/product-details/john-deere-torsional-damper-dual-heavy-duty-re57604 | [8 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | HEAVY DUTY,TORSIONAL | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1089033 | 1089033 | 1386491 | AU_QM_000227451 |  | ERSA | M | 5955 | 1386491GZPCLNT100 | EA | 3000006 | DAMPER;KOM,2015471180 | DAMPER;KOM,2015471180 | DAMPER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:2015471180 |  | DAMPER;KOM,2015471180DAMPER;KOM,2015471180 | KOMATSU MINING SYSTEMS INC. | 2015471180 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 201-54-71180 | [16 empty] | https://my.komatsu.co.nz/shop/guardrelated_5637145296/5637253182_damper-gas_201-54-71180 | https://k-part.777parts.org/spare/komatsu/201-54-71180/ | [8 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1089305 | 1089305 | 1374917 | AU_QM_000205588 |  | ERSA | M | 5955 | 1374917GZPCLNT100 | EA | 3000006 | DAMPER;KOM,3EC-50-31130 | DAMPER;KOM,3EC-50-31130 | DAMPER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EC-50-31130 |  | DAMPER;KOM,3EC-50-31130DAMPER;KOM,3EC-50-31130 | KOMATSU MINING SYSTEMS INC. | 3EC-50-31130 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EC-50-31130 | [16 empty] | https://k-part.777parts.org/spare/komatsu/3ec-50-31130/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1074009 | 1074009 |  |  |  | ERSA | M | 3770 | 1078111GZPCLNT100 | EA | 3000006 | DAMPER;KOM,561-33-62260 | AMORTIGUADOR;KOM,561-33-62260 | DAMPER;MNFR:KOMATSU,PTNO:561-33-62260 | AMORTIGUADOR;MNFR:KOMATSU,PTNO:561-33-62260 |  | KOMATSU MINING SYSTEMS INC. | ZZ - 561-33-62260 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 561-33-62260 | [16 empty] | https://my.komatsu.co.nz/shop/wetdiscbrake_5637145100/5637415441_damper_561-33-62260 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1110734 | 1110734 | 1401225 | AU_QM_000245724 |  | ERSA | M | 5915 | 1401225GZPCLNT100 | EA |  | DAMPER;QMK573092 | DAMPER;QMK573092 | DAMPER;MNFR: ,PTNO:QMK573092 |  | DAMPER;QMK573092DAMPER;QMK573092 | [15 empty] | QMK573092 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1111465 | 1111465 |  |  |  | ERSA | M | 5915 | 1409719GZPCLNT100 | EA |  | DAMPER;QMK573092 | DAMPER;QMK573092 | DAMPER;MNFR: ,PTNO:QMK573092 | [17 empty] | QMK573092 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1088699 | 1088699 | 1394355 | AU_QM_000237927 |  | ERSA | M | 5955 | 1394355GZPCLNT100 | EA | 3000012 | DAMPER;TOY,1356175020 | DAMPER;TOY,1356175020 | DAMPER;MNFR:TOYOTA,PTNO:1356175020 |  | OEM-E-LISTDAMPER;TOY,1356175020 | TOYOTA | 1356175020 | [14 empty] | TOYOTA | 1356175020 | [16 empty] | https://partsouq.com/en/search/all?q=1356175020 | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | CHAIN VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1088871 | 1088871 | 1389149 | AU_QM_000230576 |  | ERSA | M | 5955 | 1389149GZPCLNT100 | EA | 3000012 | DAMPER;TOY,2569364010 | DAMPER;TOY,2569364010 | DAMPER;MNFR:TOYOTA,PTNO:2569364010 |  | DAMPER;TOY,2569364010DAMPER;BEL,2569364010 | TOYOTA | 2569364010 | [14 empty] | TOYOTA | 2569364010 | BELL & MOIR | [15 empty] | https://partsouq.com/en/search/all?q=2569364010 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | VACUUM MODULATOR | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1088890 | 1088890 | 1388986 | AU_QM_000230364 |  | ERSA | M | 5955 | 1388986GZPCLNT100 | EA | 3000012 | DAMPER;TOY,4570069115 | DAMPER;TOY,4570069115 | DAMPER;MNFR:TOYOTA,PTNO:4570069115 |  | DAMPER;TOY,4570069115DAMPER;BEL,4570069115 | TOYOTA | 4570069115 | [14 empty] | TOYOTA | 4570069115 | BELL & MOIR | [15 empty] | https://www.amayama.com/en/part/toyota/4570069115 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | STEERING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1105900 | 1105900 | 1416764 | AU_QM_000262564 |  | ERSA | M | 5915 | 1416764GZPCLNT100 | EA |  | DAMPER;VIBRATION | DAMPER;VIBRATION | DAMPER;TYPE:VIBRATION,ADDITIONAL FEATURES EN:7/3.00 AAC AND AAAC, 7/3.75 AAC AND AAAC, 7/.134 AA, 6/1/3.00 ACSR/GZ, 3/4/.134 ACSR/GZ |  | DAMPER;VIBRATIONDAMPER;VIBRATION,7/3.00 AAC & AAAC | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers | C/W 7/3.00 AAC AND AAAC,7/3.75 AAC AND AAAC,7/.134 AA, 6/1/3.00 ACSR/GZ,3/4/.134 ACSR/GZ |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1089200 | 1089200 | 1382085 | AU_QM_000222128 |  | ERSA | M | 5955 | 1382085GZPCLNT100 | EA | 3000013 | DAMPER;VOL,16835582 | DAMPER;VOL,16835582 | DAMPER;MNFR:VOLVO,PTNO:16835582 |  | DAMPER;VOL,16835582DAMPER;VOL,16835582 | VOLVO | 16835582 | [14 empty] | VOLVO | 16835582 | [16 empty] | https://spare.avspart.com/spare/volvo.heavy/voe16835582/ | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL | RUBBER | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1217770 | 1217770 |  |  |  | ERSA | M | 1600 | 931980MRM | EA |  | DRIER,AIR/GAS,DESICCANT:105 X 43MM;1/4"M | DRIER,AIR/GAS,DESICCANT:105 X 43MM;1/4"M | DRIER,AIR/GAS,DESICCANT:105 X 43MM;1/4"MALE FLARE;SMALL DRYER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,DESICCANT,SMALL | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 1/4 IN | OUTLET SIZE |  | CONNECTION TYPE | MALE FLARE | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE | 105X43 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1210508 | 1210508 |  |  |  | ERSA | M | 5920 | 162609MRM | EA |  | DRIER,AIR/GAS,DESICCANT:INLET 3/8 INCH M | DRIER,AIR/GAS,DESICCANT:INLET 3/8 INCH M | DRIER,AIR/GAS,DESICCANT:INLET 3/8 INCH MALE FLARE; 76MM BODY HEIGHT 165MM BODY DIAMETER OUTLET CONNECTIONS; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers | OUTLET CONNECTIONS |  | DRYER | AIR | TYPE | GAS,DESICCANT | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 3/8 IN | OUTLET SIZE |  | CONNECTION TYPE | MALE FLARE | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE | 165 ODX76 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1217783 | 1217783 |  |  |  | ERSA | M | 2200 | 932137MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:1/4"COPPER SP | DRIER,AIR-GAS,REFRIGERATED:1/4"COPPER SP | DRIER,AIR-GAS,REFRIGERATED:1/4"COPPER SPUN DRIER; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED,SPUN | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 1/4 IN | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL | COPPER | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1217784 | 1217784 |  |  |  | ERSA | M | 2200 | 932145MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:1/4"FLARE LIQ | DRIER,AIR-GAS,REFRIGERATED:1/4"FLARE LIQ | DRIER,AIR-GAS,REFRIGERATED:1/4"FLARE LIQUID LINE DRIER;R22REFRIGERANT; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers | REFRIGERANT TYPE:R22,LIQUID LINE |  | DRYER | AIR | TYPE | GAS,REFRIGERATED | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 1/4 IN | OUTLET SIZE |  | CONNECTION TYPE | FLARE | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1213017 | 1213017 |  |  |  | ERSA | M | 5920 | 137584MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:DRIER;DR460; | DRIER,AIR-GAS,REFRIGERATED:DRIER;DR460; | DRIER,AIR-GAS,REFRIGERATED:DRIER;DR460; | [17 empty] | DR460 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1211712 | 1211712 |  |  |  | ERSA | M | 5920 | 1218544MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:DRYER RECEIVE | DRIER,AIR-GAS,REFRIGERATED:DRYER RECEIVE | DRIER,AIR-GAS,REFRIGERATED:DRYER RECEIVER | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED,RECEIVER | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1208913 | 1208913 |  |  |  | ERSA | M | 1600 | 133498MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:FILTER DRIER | DRIER,AIR-GAS,REFRIGERATED:FILTER DRIER | DRIER,AIR-GAS,REFRIGERATED:FILTER DRIER REPLACEMENT CORE;BALL MILLCHILLER; | [36 empty] | URL NOT FOUND |  |  | BALL MILL CHILLER | [6 empty] | Cleansed | 23201202 Air dryers | C/W FILTER DRIER REPLACEMENT CORE |  | DRYER | AIR | TYPE | GAS,REFRIGERATED | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1217443 | 1217443 |  |  |  | ERSA | M | 5955 | 835298MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIE | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIE | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIER;AIR CONDITIONER;TAMROCK TORO 1400 LOADER | [36 empty] | URL NOT FOUND |  |  | LOADER | TAMROCK TORO | 1400 |  |  |  |  | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED,RECEIVER,CONDITIONER | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1217987 | 1217987 |  |  |  | ERSA | M | 3020 | 270291MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIE | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIE | DRIER,AIR-GAS,REFRIGERATED:RECEIVER DRIER AIR CON;WAS 26-0018 | [19 empty] | 26-0018 | [16 empty] | https://carclimat.pl/en_US/p/Air-conditioning-dryer-MCC-26-0018/302 | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED,RECEIVER,CONDITIONER | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1203445 | 1203445 |  |  |  | ERSA | M | 5955 | 980944MRM | EA |  | DRIER,AIR-GAS,REFRIGERATED:TORO AIRCONDI | DRIER,AIR-GAS,REFRIGERATED:TORO AIRCONDI | DRIER,AIR-GAS,REFRIGERATED:TORO AIRCONDITIONING RECEIVER DRIER;TAMROCK TORO 50D TRUCK <(>&<)> 450D LOADER | [36 empty] | URL NOT FOUND |  |  | TRUCK,LOADER | TAMROCK TORO | 50D,450D |  |  |  |  | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,REFRIGERATED,RECEIVER,CONDITIONER | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1137267 | 1137267 | 1448582 | AU_QM_001089952 |  | ERSA | M | 4000 | 1448582GZPCLNT100 | EA |  | DUAL CHANNEL VIDEO TRANSMITTER; | DUAL CHANNEL VIDEO TRANSMITTER; | TRANSMITTER,DIGITAL IMAGE: DUAL CHANNEL VIDEO TRANSMITTER; UNDERGROUND REMOTE CONTROL SYSTEM |  | TRANSMITTER,DIGITAL IMAGE:DUAL CHANNEL VIDEO TRANSMITTER; | [34 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41111900 Indicating and recording instruments | FOR UNDERGROUND REMOTE CONTROL SYSTEM |  | TRANSMITTER | NO MODIFIER | TYPE | DIGITAL IMAGE,DUAL CHANNEL VIDEO | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1001576 | 1001576 |  |  |  | ERSA | M | 5000 | 1597597GZPCLNT100 | EA | 3000010 | DAMPER;SAN,85162009 | AMORTIGUADOR;SAN,85162009 | DAMPER;MNFR:SANDVIK,PTNO:85162009 | AMORTIGUADOR;MNFR:SANDVIK,PTNO:85162009 |  | SANDVIK | 85162009 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 85162009 | [12 empty] | SANDVIK | 85162009 | [16 empty] | https://www.datosperu.org/comercio-exterior-de-sandvik-del-peru-sa-20100134706-en-la-partida-84-en-la-operacion-de-exportaciones-pagina-116.php | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1001833 | 1001833 |  |  |  | ERSA | M | 5000 | 1593591GZPCLNT100 | EA | 3000010 | DAMPER;SAN,55187695 | AMORTIGUADOR;SAN,55187695 | DAMPER;MNFR:SANDVIK,PTNO:55187695 | AMORTIGUADOR;MNFR:SANDVIK,PTNO:55187695 |  | SANDVIK | 55187695 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55187695 | [12 empty] | SANDVIK | 55187695 | [16 empty] | https://www.rockser.com.tr/export/5 | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1008374 | 1008374 |  |  |  | ERSA | M | 5000 | 1597395GZPCLNT100 | EA | 3000010 | DAMPER;SAN,81228209 | AMORTIGUADOR;SAN,81228209 | DAMPER;MNFR:SANDVIK,PTNO:81228209 | AMORTIGUADOR;MNFR:SANDVIK,PTNO:81228209 |  | SANDVIK | 81228209 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 81228209 | [12 empty] | SANDVIK | 81228209 | [16 empty] | https://picclick.co.uk/Genuine-Sandvik-81228209-Damper-174592825882.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1008854 | 1008854 |  |  |  | ERSA | M | 5000 | 1598244GZPCLNT100 | EA | 3000010 | AMPLIFIER;SAN,88780929 | AMPLIFICADOR;SAN,88780929 | AMPLIFIER;MNFR:SANDVIK,PTNO:88780929 | AMPLIFICADOR;MNFR:SANDVIK,PTNO:88780929 |  | SANDVIK | 88780929 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 88780929 | [12 empty] | SANDVIK MINING & CONSTRUCTION | 88780929 | [16 empty] | https://www.aga-parts.com/sandvik/part/88780929_amplifier/ | [9 empty] | Cleansed | 32101514 Amplifiers |  |  | AMPLIFIER | NO MODIFIER | TYPE |  | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1010941 | 1010941 |  |  |  | ERSA | M | 2200 | 1616516GZPCLNT100 | EA | 3000280 | DAMPER;GARD,100005407 | AMORTIGUADOR;GARD,100005407 | DAMPER;MNFR:GARDNER DENVER,PTNO:100005407 | AMORTIGUADOR;MNFR:GARDNER DENVER,PTNO:100005407 |  | GARDNER DENVER | 100005407 | 1068378 @@ GARDNER DENVER INDUSTRIES PTY | 100005407 | [12 empty] | GARDNER DENVER | 100005407 | [16 empty] | https://compressornow.com/online-store/parts/gardner-denver-oem-damper-part-100005407/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1013361 | 1013361 |  |  |  | ERSA | M | 3700 | 1615382GZPCLNT100 | EA | 3000438 | DAMPER;NRMT,54923420,VIB | AMORTIGUADOR;NRMT,54923420 | DAMPER;MNFR:NORMET,PTNO:54923420,ADDITIONAL FEATURES EN:VIBRATION | AMORTIGUADOR;MNFR:NORMET,PTNO:54923420 |  | NORMET | 54923420 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 54923420 | [10 empty] | NORMET |  |  | 54923420 | [16 empty] | https://pt.scribd.com/document/566874480/Spare-Part-Manual-Oficial | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1013756 | 1013756 |  |  |  | ERSA | M | 5000 | 1560314GZPCLNT100 | EA | 3000010 | DAMPER;SAN,BG00741357,THREAD MNT,MALE-MA | AMORTIGUADOR;SAN,BG00741357 | DAMPER;MNFR:SANDVIK,PTNO:BG00741357,ADDITIONAL FEATURES EN:THREAD MNT,MALE-MALE,M10 | AMORTIGUADOR;MNFR:SANDVIK,PTNO:BG00741357 |  | SANDVIK | BG00741357 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00741357 | [10 empty] | SANDVIK |  |  | BG00741357 | [16 empty] | https://shanghaisanto.com/sandvik-spare-parts-list-632/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | MOUNT:THREAD,THREAD SIZE:M10 |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE | MALE TO MALE | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1013991 | 1013991 |  |  |  | ERSA | M | 5000 | 1581107GZPCLNT100 | EA | 3000010 | CRADLE;SAN,BG00875187,CRG | CUNA;SAN,BG00875187 | CRADLE;MNFR:SANDVIK,PTNO:BG00875187,ADDITIONAL FEATURES EN:CARRIAGE | CUNA;MNFR:SANDVIK,PTNO:BG00875187 |  | SANDVIK | BG00875187 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00875187 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG00875187 | [8 empty] | SANDVIK | BG00875187 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE | CARRIAGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1015957 | 1015957 |  |  |  | ERSA | M | 5000 | 1616856GZPCLNT100 | EA | 3000010 | DAMPER;SAN,04000032 | AMORTIGUADOR;SAN,04000032 | DAMPER;MNFR:SANDVIK,PTNO:04000032 | AMORTIGUADOR;MNFR:SANDVIK,PTNO:04000032 |  | SANDVIK | 04000032 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 4000032 | [12 empty] | SANDVIK | 04000032 | [16 empty] | https://www.groupe-premium.com/blog/2021/07/12/liquidation-massive-pieces-dorigine-sandvik/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1017962 | 1017962 | 1392011 | AU_QM_000234024 |  | ERSA | M | 5955 | 1392011GZPCLNT100 | EA | 3000001 | CRADLE;EPI,3128309562 | CRADLE;EPI,3128309562 | CRADLE;MNFR:EPIROC,PTNO:3128309562 |  | CRADLE;EPI,3128309562CRADLE;EPI,3128309562 | EPIROC | 3128309562 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3128309562 | [12 empty] | EPIROC | 3128309562 | [16 empty] | https://drisan.com/overlook/6400124uZ90Dxphh9 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1030400 | 1030400 | 1388553 | AU_QM_000229883 |  | ERSA | M | 1540 | 1388553GZPCLNT100 | EA | 3000438 | BOLT;NRMT,57004764 | PERNO; | PERNO;MNFR:NORMET,PTNO:57004764 | PERNO;,MNFR:NORMET,PTNO:57004764 | BOLT;NRMT,57004764BOLT;NOR,57004764 | NORMET | 57004764 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57004764 | [10 empty] | NORMET | 57004764 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1068146 | 1068146 | 1358135 | AU_QM_000152580 |  | ERSA | M | 4000 | 1358135GZPCLNT100 | EA |  | DRIER;RECEIVER, VOLVO, IT183 | DRIER;RECEIVER, VOLVO, IT183 | DRIER,AIR/GAS,DESICCANT: DRIER;RECEIVER, VOLVO, IT183 |  | DRIER,AIR/GAS,DESICCANT:DRIER;RECEIVER, VOLVO, IT183 |  |  | 1068317 @@ SMH EQUIPMENT PTY LTD | 11164457 | [12 empty] | VOLVO | 11164457 | SMH EQUIPMENT PTY LTD | [15 empty] | https://slp.se/en/specifications/volvo/11164457 | [9 empty] | Cleansed | 23201202 Air dryers | IT183 |  | DRYER | AIR | TYPE | RECEIVER,GAS,DESICCANT | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1136272 | 1136272 | 1366078 | AU_QM_000168700 |  | ERSA | M | 4000 | 1366078GZPCLNT100 | EA |  | AIR DRYER DESSICANT | AIR DRYER DESSICANT | DRIER,AIR/GAS,DESICCANT: AIR DRYER DESSICANT |  | DRIER,AIR/GAS,DESICCANT:AIR DRYER DESSICANT |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1366078 | [14 empty] | HASTINGS DEERING(AUSTRALIA) LTD | 1366078 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | GAS,DESICCANT | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 14-11-2023 |  | 1203905 | 1203905 |  |  |  | ERSA | M | 5915 | 148029MRM | EA |  | DRIER,AIR/GAS,DESICCANT:AIR DRIER FILTER | DRIER,AIR/GAS,DESICCANT:AIR DRIER FILTER | DRIER,AIR/GAS,DESICCANT:AIR DRIER FILTER WITH SEPARATOR |  |  |  |  | 1079378 @@ RGM Maintenance | PN1203905 | [14 empty] | RGM Maintenance | 1203905 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23201202 Air dryers | FILTER C/W SEPARATOR |  | DRYER | AIR | TYPE | GAS,DESICCANT | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed