## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1030654 | 1030654 | 1383244 | AU_QM_000223583 |  | ERSA | M | 1540 | 1383244GZPCLNT100 | EA | 3000438 | BOLT;NRMT,45497980 | BOULON;NRMT,45497980 | PERNO;MNFR:NORMET,PTNO:45497980 | PERNO;,MNFR:NORMET,PTNO:45497980 | BOLT;NRMT,45497980BOLT;NOR,45497980 | NORMET | 45497980 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 45497980 | [10 empty] | NORMET | 45497980 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1031591 | 1031591 | 1427270 | AU_QM_000450239 |  | ERSA | M | 5955 | 1427270GZPCLNT100 | EA | 3000000 | DAMPER;ATL,3128005500 | DAMPER;ATL,3128005500 | DAMPER;MNFR:ATLAS COPCO,PTNO:3128005500 |  | DAMPER,INERTIA: 1238 DRIFTER DAMPER; | ATLAS COPCO | 3128005500 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3128005500 | [12 empty] | ATLAS COPCO | 3128005500 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aircompressorstrade.com/3128309130-genuine-atlas-copco-epiroc-spare-parts-catalog-by-cpmc-china/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | INERTIA:1238 |  | DAMPER | NO MODIFIER | TYPE | DRIFTER | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1031821 | 1031821 | 1457116 | AU_QM_001295187 |  | ERSA | M | 5955 | 1457116GZPCLNT100 | EA | 3000027 | DAMPER;MET,7004205209 | DAMPER;MET,7004205209 | DAMPER;MNFR:METSO,PTNO:7004205209 |  | DAMPER ASSY VIBRATION DAMPER; | METSO | 7004205209 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 7004205209 | [12 empty] | METSO | 7004205209 | METSO OUTOTEC AUSTRALIA LIMITED | [15 empty] | https://www.cncrusher.net/chinese/parts-database/L22,metso-GP500S-cone-crusher/88 | https://stonefgt.com/product/7004205209-vibration-damper-saw-300-60-irh-81449/ | [8 empty] | Cleansed | 26101765 Vibration dampers | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | SUITABLE NM NOT FOUND | 1036040 | 1036040 |  |  |  | ERSA | M | 2920 | 1526203GZPCLNT100 | PAC |  | BEVERAGE BASE;HYDRATION,MIXED,1717-00047 | BEVERAGE BASE;HYDRATION,MIXED,1717-00047 | BEVERAGE BASE;ADDITIONAL FEATURES:HYDRATION,MIXED,1717-00047 |  |  |  |  | 1068802 @@ WESTERNEX PTY LTD | 1717-00047 | [14 empty] | WESTERNEX PTY LTD | 1717-00047 | [14 empty] | URL NOT FOUND | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1036968 | 1036968 |  |  |  | ERSA | M | 4200 | 1532133GZPCLNT100 | CRA |  | CRUCIBLE,LAB;55G,FIRE ASSAY,YC1007 | CRUCIBLE,LAB;55G,FIRE ASSAY,YC1007 | CRUCIBLE,LAB;ADDITIONAL FEATURES:55G,FIRE ASSAY,YC1007 |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | YC1007 | [14 empty] | ROWE SCIENTIFIC PTY LTD | YC1007 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles | WEIGHT:55 G |  | CRUCIBLE | LAB | TYPE | FIRE ASSAY | SIZE |  | MATERIAL |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1050534 | 1050534 |  |  |  | ERSA | M | 4090 | 1575025GZPCLNT100 | EA |  | CRADLE;COMPLETE 3060,MT3128001643 | CUNA; | CRADLE;ADDITIONAL FEATURES EN:COMPLETE 3060,MT3128001643 | CUNA; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128001643 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 0016 43 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2021/09/MT-Feed-E7C-3060-Poster-1.pdf | [9 empty] | Cleansed | 40141700 Hardware and fittings | COMPLETE 3060 |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1050536 | 1050536 |  |  |  | ERSA | M | 4090 | 1575027GZPCLNT100 | EA |  | CRADLE;DRIVER 3060,MT3128309829 | CUNA; | CRADLE;ADDITIONAL FEATURES EN:DRIVER 3060,MT3128309829 | CUNA; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128309829 | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 3098 29 | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2021/09/MT-Feed-E7C-3060-Poster-1.pdf | [9 empty] | Cleansed | 27110000 Hand tools | COMPLETE 3060 |  | DRIVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1052033 | 1052033 |  |  |  | ERSA | M | 4005 | 1579425GZPCLNT100 | EA |  | BURR;BALL NOSE,CARBIDE 2.5MM,SHANK 3MM | REBABA; | BURR;SHAPE:BALL NOSE,ADDITIONAL FEATURES EN:CARBIDE 2.5MM,SHANK 3MM | REBABA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | SC-41MDC | [13 empty] | SC-41MDC | TOOL 'N' TACKLE | [15 empty] | https://www.tools.com/alpha-2-5mm-cylindrical-ball-nose-carbide-burr-sc-41mdc.html | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | CYLINDRICAL BALL NOSE | TOOTH STYLE |  | CUTTER DIAMETER | 2.5 MM | SHANK SIZE | 3 MM | LENGTH OF CUT |  | OVERALL LENGTH |  | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING |  | SHANK MATERIAL |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1052034 | 1052034 |  |  |  | ERSA | M | 4005 | 1579426GZPCLNT100 | EA |  | BURR;BALL NOSE,CARBIDE 3MM,SHANK 3MM | REBABA; | BURR;SHAPE:BALL NOSE,ADDITIONAL FEATURES EN:CARBIDE 3MM,SHANK 3MM | REBABA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | SC-42MDC | [13 empty] | SC-42MDC | TOOL 'N' TACKLE | [15 empty] | https://www.tools.com/alpha-3mm-cylindrical-ball-nose-carbide-burr-sc-42mdc.html | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | CYLINDRICAL BALL NOSE | TOOTH STYLE |  | CUTTER DIAMETER | 3 MM | SHANK SIZE | 3 MM | LENGTH OF CUT |  | OVERALL LENGTH |  | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING |  | SHANK MATERIAL |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1052035 | 1052035 |  |  |  | ERSA | M | 4005 | 1579427GZPCLNT100 | EA |  | BURR;BALL,CARBIDE 3.18MM,SHANK 3MM | REBABA; | BURR;SHAPE:BALL,ADDITIONAL FEATURES EN:CARBIDE 3.18MM,SHANK 3MM | REBABA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | SD-42MDC | [13 empty] | SD-42MDC | TOOL 'N' TACKLE | [15 empty] | https://www.tools.com/alpha-3-18mm-ball-carbide-burr-3mm-shank-sd-42mdc.html | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | BALL | TOOTH STYLE |  | CUTTER DIAMETER | 3.18 MM | SHANK SIZE | 3 MM | LENGTH OF CUT |  | OVERALL LENGTH |  | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING |  | SHANK MATERIAL |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1052036 | 1052036 |  |  |  | ERSA | M | 4005 | 1579428GZPCLNT100 | EA |  | BURR;OVL,CARBIDE 6MM,SHANK 3MM | REBABA; | BURR;SHAPE:OVAL,ADDITIONAL FEATURES EN:CARBIDE 6MM,SHANK 3MM | REBABA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | SE-51MDC | [13 empty] | SE-51MDC | TOOL 'N' TACKLE | [15 empty] | https://www.tools.com/alpha-6mm-oval-carbide-burr-3mm-shank-se-51mdc.html | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | OVAL | TOOTH STYLE |  | CUTTER DIAMETER | 6 MM | SHANK SIZE | 3 MM | LENGTH OF CUT |  | OVERALL LENGTH |  | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING |  | SHANK MATERIAL |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1052037 | 1052037 |  |  |  | ERSA | M | 4005 | 1579429GZPCLNT100 | EA |  | BURR;TREE POINTED,CARBIDE 6MM,SHANK 3MM | REBABA; | BURR;SHAPE:TREE POINTED,ADDITIONAL FEATURES EN:CARBIDE 6MM,SHANK 3MM | REBABA; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | SG-51MDC | [13 empty] | SG-51MDC | TOOL 'N' TACKLE | [15 empty] | https://www.tools.com/alpha-6mm-tree-pointed-nose-carbide-burr-3mm-shank-sg-51mdc.html | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | TREE POINTED NOSE | TOOTH STYLE |  | CUTTER DIAMETER | 6 MM | SHANK SIZE | 3 MM | LENGTH OF CUT |  | OVERALL LENGTH |  | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING |  | SHANK MATERIAL |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1053704 | 1053704 |  |  |  | ERSA | M | 4090 | 1578909GZPCLNT100 | EA |  | COLLECTOR;FROTH CROWDER HDPE BLACK | COLECTOR; | COLLECTOR;ADDITIONAL FEATURES EN:FROTH CROWDER HDPE BLACK | COLECTOR; |  |  |  | 1068138 @@ GOUGH PLASTICS | MIM-FC-002-C | [14 empty] | GOUGH PLASTICS | MIM-FC-002-C | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COLOUR:BLACK,FOR FROTH CROWDER |  | COLLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | HDPE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | SUITABLE NM NOT FOUND | 1054818 | 1054818 |  |  |  | ERSA | M | 4090 | 1586283GZPCLNT100 | PAC |  | BEVERAGE BASE;HYDRATION,LEMON LIME,PACK | BASE BEBIDAS;,LEMON LIME,PACK,600 ML | BEVERAGE BASE;PRODUCT TYPE:HYDRATION,FLAVOUR:LEMON LIME,BASIC INGREDIENT:MAGNESIUM/POTASSIUM/SODIUM,CONTAINER TYPE:PACK,CONTAINER CAPACITY:600 ML,ADDITIONAL FEATURES EN:PN:SSSFLL,BRAND:THORZT,SUGAR FREE,PHYSICAL FORM:POWDER,3 GM SOLO SHOTS,50 SACHETS PER PACK | BASE BEBIDAS;AROMA:LEMON LIME,INGREDIENTE BASICO:MAGNESIO / POTASIO / SODIO,TIPO CONTENEDOR:PACK,CAPACIDAD CONTENEDOR:600 ML |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | SSSFLL | [12 empty] | THORZT | SSSFLL | ALLIANCE SAFETY EQUIPMENT P/L | [15 empty] | https://www.blackwoods.com.au/health-wellbeing/hydration/thorzt-sugar-free-solo-shot/thorzt-sssfll-sugar-free-solo-shot-pack-lemon-lime-50-x-3g/p/01615004 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | SUITABLE NM NOT FOUND | 1054819 | 1054819 |  |  |  | ERSA | M | 4090 | 1586284GZPCLNT100 | PAC |  | BEVERAGE BASE;HYDRATION,ORANGE,PACK | BASE BEBIDAS;,ORANGE,PACK,600 ML | BEVERAGE BASE;PRODUCT TYPE:HYDRATION,FLAVOUR:ORANGE,BASIC INGREDIENT:MAGNESIUM/POTASSIUM/SODIUM,CONTAINER TYPE:PACK,CONTAINER CAPACITY:600 ML,ADDITIONAL FEATURES EN:PN:SSSFOR,BRAND:THORZT,SUGAR FREE,PHYSICAL FORM:POWDER,3 GM SOLO SHOTS,50 SACHETS PER PACK | BASE BEBIDAS;AROMA:ORANGE,INGREDIENTE BASICO:MAGNESIO / POTASIO / SODIO,TIPO CONTENEDOR:PACK,CAPACIDAD CONTENEDOR:600 ML |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | SSSFOR | [12 empty] | THORZT | SSSFOR | ALLIANCE SAFETY EQUIPMENT P/L | [15 empty] | https://www.blackwoods.com.au/health-wellbeing/hydration/thorzt-sugar-free-solo-shot/thorzt-sssfor-sugar-free-solo-shot-pack-orange-50-x-3g/p/01615021 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1055211 | 1055211 |  |  |  | ERSA | M | 4090 | 1614625GZPCLNT100 | EA |  | CRADLE;2 MTR,LIGHT WEIGHT,DUAL FITTING | CUNA; | CRADLE;ADDITIONAL FEATURES EN:2 MTR,LIGHT WEIGHT,DUAL FITTING | CUNA; |  |  |  | 1071435 @@ ABSAFE PTY LTD | 8888888 | [14 empty] | ABSAFE PTY LTD | 8888888 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE | LIGHT WEIGHT,DUAL FITTING | SIZE | 2 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1057272 | 1057272 |  |  |  | ERSA | M | 4200 | 1542604GZPCLNT100 | EA |  | CRUCIBLE,LAB;C | CRISOL LABO; | CRUCIBLE,LAB;SIZE:CARBON | CRISOL LABORATORIO; |  |  |  | 1068653 @@ WOODFIELDS ENGINEERING | 1542604 | [14 empty] | WOODFIELDS ENGINEERING | 1542604 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles |  |  | CRUCIBLE | LAB | TYPE |  | SIZE |  | MATERIAL | CARBON | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1058683 | 1058683 |  |  |  | ERSA | M | 1600 | 1583981GZPCLNT100 | EA |  | AMPLIFIER;AIR,8 IN,DELUXE SUPER KIT | AMPLIFICADOR; | AMPLIFIER;TYPE:AIR,ADDITIONAL FEATURES EN:8 IN,DELUXE SUPER KIT,KIT CONSIST SUPER AIR AMPLIFIER,SHIM SET,FILTER SEPARATOR AND, PRESSURE REGULATOR (WITH COUPLER) | AMPLIFICADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PNE120228DX | [12 empty] | PNEUMA | 120228DX | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.pneuma.pl/wp-content/uploads/2019/09/Exair-Complete-Catalog-32.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | OUTLET DIAMETER:8 IN |  | KIT | NO MODIFIER | TYPE | DELUXE SUPER | CONTENTS | SUPER AIR AMPLIFIER,SHIM SET,FILTER SEPARATOR AND PRESSURE REGULATOR (C/W COUPLER) | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1058684 | 1058684 |  |  |  | ERSA | M | 1600 | 1583982GZPCLNT100 | EA |  | AMPLIFIER;AIR,2 IN,DELUXE SUPER KIT | AMPLIFICADOR; | AMPLIFIER;TYPE:AIR,ADDITIONAL FEATURES EN:2 IN,DELUXE SUPER KIT,KIT CONSIST SUPER AIR AMPLIFIER,SHIM SET,FILTER SEPARATOR AND, PRESSURE REGULATOR (WITH COUPLER) | AMPLIFICADOR; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | PNE120222DX | [12 empty] | PNEUMA | 120222DX | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.pneuma.pl/wp-content/uploads/2019/09/Exair-Complete-Catalog-32.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | OUTLET DIAMETER:2 IN |  | KIT | NO MODIFIER | TYPE | DELUXE SUPER | CONTENTS | SUPER AIR AMPLIFIER,SHIM SET,FILTER SEPARATOR AND PRESSURE REGULATOR (C/W COUPLER) | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1059137 | 1059137 |  |  |  | ERSA | M | 4090 | 1608075GZPCLNT100 | EA |  | DAMPER;PN:256162001,PRIMUS FS1000 | AMORTIGUADOR; | DAMPER;ADDITIONAL FEATURES EN:PN:256162001,PRIMUS FS1000 | AMORTIGUADOR; |  |  |  | 1068433 @@ NQ LAUNDRY TECH SERVICES PTY LTD | 256162001 | [13 empty] | 256162001 | NQ LAUNDRY TECH SERVICES PTY LTD | [15 empty] | https://parts.alliancelaundry.com/i-23181082-alliance-sp256162001-damper-ka1190-fs1200-1000-800.html |  |  |  | PRIMUS | FS1000 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1060791 | 1060791 |  |  |  | ERSA | M | 4090 | 1614638GZPCLNT100 | EA |  | DAMPER,PULSN;NOM 5 MM DIA,HP,TOMAL | AMORTIGUADOR PULSA;NOM | DAMPER,PULSATION;NOMINAL SIZE:5 MM DIA,ADDITIONAL FEATURES EN:HP,TOMAL | AMORTIGUADOR PULSACIONES; |  |  |  | 1071751 @@ HYDROFLUX UTILITIES PTY LTD | STOM-PDAMP-P210-HPPP/5 | [14 empty] | HYDROFLUX UTILITIES PTY LTD | STOM-PDAMP-P210-HPPP/5 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101700 Engine components and accessories | HP,TOMAL |  | DAMPER | PULSATION | TYPE |  | NOMINAL SIZE | 5 MM DIA | PRESSURE RATING |  | HOUSING MATERIAL |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1062158 | 1062158 |  |  |  | ERSA | M | 4700 | 1588830GZPCLNT100 | EA |  | CRUCIBLE;XXL,REFRC,TYPE 2 REAR BLOCK,GRN | CRISOL; | CRUCIBLE;SIZE:XXL,ADDITIONAL FEATURES EN:REFRACTORY,TYPE 2 REAR BLOCK,GREEN,MATERIAL:SHIRACRETE 90 | CRISOL; |  |  |  | 1068967 @@ GALWAY REFRACTORIES | SHIRACRETE 90 CR | [14 empty] | GALWAY REFRACTORIES | SHIRACRETE 90 CR | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles | TYPE 2 REAR BLOCK,GREEN |  | CRUCIBLE | NO MODIFIER | TYPE | REFRACTORY | CAPACITY |  | SIZE | XXL | MATERIAL | SHIRACRETE 90 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1062159 | 1062159 |  |  |  | ERSA | M | 4700 | 1588799GZPCLNT100 | EA |  | CRUCIBLE;XXL,REFRC,TYPE 2 FRONT BLOCK | CRISOL; | CRUCIBLE;SIZE:XXL,ADDITIONAL FEATURES EN:REFRACTORY,TYPE 2 FRONT BLOCK,MATERIAL:SHIRACRETE 90 | CRISOL; |  |  |  | 1068967 @@ GALWAY REFRACTORIES | SHIRACRETE 90 TS | [14 empty] | GALWAY REFRACTORIES | SHIRACRETE 90 TS | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles | TYPE 2 FRONT BLOCK |  | CRUCIBLE | NO MODIFIER | TYPE | REFRACTORY | CAPACITY |  | SIZE | XXL | MATERIAL | SHIRACRETE 90 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1062334 | 1062334 | 1429870 | AU_QM_000629811 |  | ERSA | M | 5620 | 1429870GZPCLNT100 | EA |  | CAT 4N2931 FLYWHEEL HSG;PIPE PLUG | CAT 4N2931 FLYWHEEL HSG;PIPE PLUG | PLUG,MACHINE THREAD: CAT 4N2931 FLYWHEEL HSG;PIPE PLUG |  | PLUG,MACHINE THREAD:CAT 4N2931 FLYWHEEL HSG;PIPE PLUG |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429870 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 7H3171 | [10 empty] | CATERPILLAR | 7H-3171 | CNW (MOUNT ISA) ELECT WHOLESALER | 1429870 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/7H-3171 |  |  | FLYWHEEL HSG | CATERPILLAR | 4N2931 |  |  |  |  | Enriched | 40141700 Hardware and fittings |  |  | PLUG | PIPE | TYPE |  | NOMINAL SIZE | 1/4 IN-18 TPI | END CONNECTION | NPTF MACHINE THREAD | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | PLATED STEEL | MATERIAL SPECIFICATION |  | HEAD TYPE | HEXAGON | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1062784 | 1062784 | 1430091 | AU_QM_000637512 |  | ERSA | M | 1600 | 1430091GZPCLNT100 | EA |  | BRIDGE | BRIDGE | RECTIFIER: BRIDGE |  | RECTIFIER:BRIDGE |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4SEMSKB30/16A1 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | ELESKB30/16A1 (1761329) | [11 empty] | SKB 30/16 A1 | LAWRENCE & HANSON PTY. LTD. | 4SEMSKB30/16A1 | CNW (TOWNSVILLE) ELECT SUPPLIES | [13 empty] | https://in.element14.com/semikron/skb-30-16-a1/bridge-rectifier-1-ph-30a-1600v/dp/1761329 | [9 empty] | Enriched | 41113600 Electrical measuring and testing equipment and accessories | ORDER CODE:1761329 |  | BRIDGE | ELECTRICAL | TYPE | RECTIFIER | NUMBER OF POSITION |  | VOLTAGE RATING | 2.2 V | CURRENT RATING | 30 A | PITCH |  | CONNECTION TYPE |  | MOUNTING TYPE | PANEL | SIZE |  | MATERIAL |  | TEMPERATURE RATING | 150 DEG C | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1063442 | 1063442 | 1467892 | AU_QM_007501570 |  | ERSA | M | 5100 | 1467892GZPCLNT100 | EA |  | CONTROL PANEL | CONTROL PANEL | RESISTOR,FIXED: CONTROL PANEL |  | RESISTOR,FIXED: CONTROL PANEL |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | RT-8 | [14 empty] | OTIS ELEVATOR CO. PTY LTD | RT-8 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors | FOR CONTROL PANEL |  | RESISTOR | FIXED | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1063577 | 1063577 |  |  |  | ERSA | M | 5100 | 1467893GZPCLNT100 | EA |  | CONTROL PANEL | CONTROL PANEL | RESISTOR,FIXED: CONTROL PANEL |  |  |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | RT-16 | [14 empty] | OTIS ELEVATOR CO. PTY LTD | RT-16 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors | FOR CONTROL PANEL |  | RESISTOR | FIXED | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1063672 | 1063672 | 1442535 | AU_QM_000996112 |  | ERSA | M | 5955 | 1442535GZPCLNT100 | EA |  | CAT 769 DUMP TRUCK | CAT 769 DUMP TRUCK | PLUG: CAT 769 DUMP TRUCK |  | PLUG:CAT 769 DUMP TRUCK |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1442535 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1442535 | [12 empty] | HASTINGS DEERING(AUSTRALIA) LTD | 1442535 | CNW (MOUNT ISA) ELECT WHOLESALER | 1442535 | [12 empty] | URL NOT FOUND |  |  | DUMP TRUCK |  | 769 |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1063948 | 1063948 | 1354581 | AU_QM_000143777 |  | ERSA | M | 1600 | 1354581GZPCLNT100 | EA |  | DUAL DRIVER MODULE;MULTIPURPOSE;;PROPORT | DUAL DRIVER MODULE;MULTIPURPOSE;;PROPORT | ELECTRONIC MODULE: DUAL DRIVER MODULE;MULTIPURPOSE;;PROPORT IONAL VALVE;;LOAD CONVEYOR HYDRAULIC POW ER PACK; |  | ELECTRONIC MODULE:DUAL DRIVER MODULE;MULTIPURPOSE;;PROPORT |  |  | 1068095 @@ PIRTEK ISA FLUID CONNECTIONS PTY LT | 027-22071-0 | [13 empty] | 027-22071-0 | PIRTEK ISA FLUID CONNECTIONS PTY LT | [15 empty] | http://www.parker.sh.cn/catalogs/027-22071-0.pdf | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR LOAD CONVEYOR HYDRAULIC POWER PACK,PROPORTIONAL VALVE |  | MODULE | ELECTRONIC | TYPE | DUAL DRIVER,MULTIPURPOSE | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1064136 | 1064136 | 1350954 | AU_QM_000135085 |  | ERSA | M | 5100 | 1350954GZPCLNT100 | EA |  | DETECTOR B;APNSIX40C SLURRY PUMP POSITIO | DETECTOR B;APNSIX40C SLURRY PUMP POSITIO | TRANSMITTER,POSITION: DETECTOR B;APNSIX40C SLURRY PUMP POSITIO N SENSOR XS630B1MAL2; |  | TRANSMITTER,POSITION: DETECTOR B;APNSIX40C SLURRY PUMP POSITIO |  |  | 1070715 @@ TECNICAS HIDRAULICAS S.A. | 1350954 | [14 empty] | TECNICAS HIDRAULICAS S.A. | 1350954 | [14 empty] | URL NOT FOUND |  |  | SLURRY PUMP |  | APNSIX40C |  |  |  |  | Cleansed | 41111900 Indicating and recording instruments | FOR POSITIO N SENSOR XS630B1MAL2 |  | TRANSMITTER | POSITION | TYPE | DETECTOR | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1064845 | 1064845 | 1360852 | AU_QM_000158371 |  | ERSA | M | 5620 | 1360852GZPCLNT100 | EA |  | CAB PRESSURISER GROUP | CAB PRESSURISER GROUP | PLUG,MACHINE THREAD: CAB PRESSURISER GROUP |  | PLUG,MACHINE THREAD:CAB PRESSURISER GROUP |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1360852 | [12 empty] | CATERPILLAR | 136-0852 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/136-0852 | [9 empty] | Cleansed | 40180000 Tubes tubing and tube fittings | CAB PRESSURISER GROUP |  | TUBE | NO MODIFIER | TYPE | MACHINE THREAD | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1065129 | 1065129 | 1452659 | AU_QM_001192582 |  | ERSA | M | 5100 | 1452659GZPCLNT100 | EA |  | COMMUNICATION MODULE; | COMMUNICATION MODULE; | ELECTRONIC MODULE: COMMUNICATION MODULE; SUIT TYCO VALVE POSITION CONTROLLER; ZINC FILTER PLANT; |  | ELECTRONIC MODULE:COMMUNICATION MODULE; |  |  | 1068471 @@ EMERSON AUTOMATION SOLUTIONS | 1452659 | 1068546 @@ KEYFLO PACIFIC PTY LTD | 1452659 | [12 empty] | EMERSON AUTOMATION SOLUTIONS | 1452659 | KEYFLO PACIFIC PTY LTD | 1452659 | [12 empty] | URL NOT FOUND |  |  |  | TYCO | [5 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR VALVE POSITION CONTROLLER,ZINC FILTER PLANT |  | MODULE | COMMUNICATION | TYPE | ELECTRONIC | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1065992 | 1065992 | 1362029 | AU_QM_000160963 |  | ERSA | M | 5100 | 1362029GZPCLNT100 | EA |  | AICM MODULE INTERFACE FOR COMMAND MXY;CA | AICM MODULE INTERFACE FOR COMMAND MXY;CA | ELECTRONIC MODULE: AICM MODULE INTERFACE FOR COMMAND MXY;CA T EQUIPMENT; |  | ELECTRONIC MODULE:AICM MODULE INTERFACE FOR COMMAND MXY;CA |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1362029 | [12 empty] | CATERPILLAR | 136-2029 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/136-2029 | [9 empty] | Cleansed | 30101500 Angles | ELECTRONIC MODULE AICM MODULE INTERFACE FOR COMMAND MXY,EQUIPMENT |  | ANGLE | NO MODIFIER | TYPE |  | SIZE |  | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1066942 | 1066942 | 1363111 | AU_QM_000162856 |  | ERSA | M | 2200 | 1363111GZPCLNT100 | EA |  | DART PLUG | DART PLUG | PLUG,VALVE: DART PLUG |  | PLUG,VALVE: DART PLUG |  |  | 1068642 @@ MULTOTEC PTY LTD | 1363111 | [14 empty] | MULTOTEC PTY LTD | 1363111 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | TYPE:DART |  | PLUG | VALVE | VALVE SIZE |  | PLUG MATERIAL |  | SIZE |  | FLOW RATING |  | PRESSURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1066954 | 1066954 | 1369551 | AU_QM_000174096 |  | ERSA | M | 5920 | 1369551GZPCLNT100 | EA |  | CRANKSHAFT;PULLEY;JOHN DEERE;GRADER | CRANKSHAFT;PULLEY;JOHN DEERE;GRADER | DAMPER: CRANKSHAFT;PULLEY;JOHN DEERE;GRADER |  | DAMPER:CRANKSHAFT;PULLEY;JOHN DEERE;GRADER |  |  | 1068592 @@ RDO EQUIPMENT PTY LTD | RE522932 | [12 empty] | JOHN DEERE | RE522932 | RDO EQUIPMENT PTY LTD | [15 empty] | https://shop.deere.com/us/product/RE522932%3A-Engine-Crankshaft-Pulley-with-Dampener/p/RE522932 |  |  | GRADER | JOHN DEERE | [5 empty] | Enriched | 31171804 Sheaves or pulleys | C/W DAMPER |  | PULLEY | NO MODIFIER | TYPE | CRANKSHAFT | BORE DIAMETER |  | OUTSIDE DIAMETER |  | HUB DIAMETER |  | HUB LENGTH |  | NUMBER OF GROOVES |  | WIDTH | 4-25/32 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1067975 | 1067975 | 1362581 | AU_QM_000162025 |  | ERSA | M | 5100 | 1362581GZPCLNT100 | EA |  | DIGICOM P49 CAGE SUBMARINE OUTER | DIGICOM P49 CAGE SUBMARINE OUTER | ELECTRONIC MODULE: DIGICOM P49 CAGE SUBMARINE OUTER |  | ELECTRONIC MODULE:DIGICOM P49 CAGE SUBMARINE OUTER |  |  | 1070724 @@ ECAM PTY LTD | 1362581 | [14 empty] | ECAM PTY LTD | 1362581 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR DIGICOM P49 CAGE SUBMARINE OUTER |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1068060 | 1068060 | 1430294 | AU_QM_000646406 |  | ERSA | M | 5100 | 1430294GZPCLNT100 | EA |  | 10 TURN,1/4"SHAFT | 10 TURN,1/4"SHAFT | RESISTOR,VARIABLE: 10 TURN,1/4"SHAFT |  | RESISTOR,VARIABLE:10 TURN,1/4"SHAFT |  |  | 1070061 @@ NORDSON AUSTRALIA PTY LTD | 1K-7285 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430294 | [12 empty] | NORDSON AUSTRALIA PTY LTD | 1K-7285 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1430294 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121603 Variable resistors or varistors | NUMBER OF TURN:10,SHAFT SIZE:1/4 IN |  | RESISTOR | VARIABLE | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | NUMBER OF PINS |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | PACKAGE/CASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1068407 | 1068407 | 1370723 | AU_QM_000180703 |  | ERSA | M | 5100 | 1370723GZPCLNT100 | EA |  | 6MM WAFER MAGMASTER;ELECTROMAGNETIC; | 6MM WAFER MAGMASTER;ELECTROMAGNETIC; | TRANSMITTER,RATE OF FLOW: 6MM WAFER MAGMASTER;ELECTROMAGNETIC; 240VAC;POLYPROPYLENE LINING SS316 ELECTRODE;;4-20MA OUTPUT; REMOTE ELECTRONICS;5M SENSOR CABLE |  | TRANSMITTER,RATE OF FLOW: 6MM WAFER MAGMASTER;ELECTROMAGNETIC; |  |  | 1071976 @@ ABB INSTRUMENTATION | MF/E06042111055ER1301111 | 1068212 @@ ABB AUSTRALIA PTY LTD | MF/E06042111055ER1301111 | [12 empty] | ABB INSTRUMENTATION | MF/E06042111055ER1301111 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41111900 Indicating and recording instruments | RATE OF FLOW:6 MM WAFER MAGMASTER,C/W 5 M SENSOR CABLE |  | TRANSMITTER | NO MODIFIER | TYPE | ELECTROMAGNETIC,REMOTE ELECTRONICS | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA | INPUT RATING |  | SUPPLY VOLTAGE | 240 VAC | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL | POLYPROPYLENE LINING,STAINLESS STEEL 316 ELECTRODE | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1068408 | 1068408 | 1370724 | AU_QM_000180711 |  | ERSA | M | 5100 | 1370724GZPCLNT100 | EA |  | 40MM WAFER MAGMASTER;ELECTROMAGNETIC; | 40MM WAFER MAGMASTER;ELECTROMAGNETIC; | TRANSMITTER,RATE OF FLOW: 40MM WAFER MAGMASTER;ELECTROMAGNETIC; 240VAC;POLYPROPYLENE LINING SS316 ELECTRODE;4-20MA OUTPUT; REMOTE ELECTRONICS;5M SENSOR CABLE |  | TRANSMITTER,RATE OF FLOW: 40MM WAFER MAGMASTER;ELECTROMAGNETIC; |  |  | 1071976 @@ ABB INSTRUMENTATION | MF/E40042111055ER1301111 | 1068212 @@ ABB AUSTRALIA PTY LTD | MF/E40042111055ER1301111 | [12 empty] | ABB INSTRUMENTATION | MF/E40042111055ER1301111 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41111900 Indicating and recording instruments | RATE OF FLOW:40 MM WAFER MAGMASTER,C/W 5 M SENSOR CABLE |  | TRANSMITTER | NO MODIFIER | TYPE | ELECTROMAGNETIC,REMOTE ELECTRONICS | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA | INPUT RATING |  | SUPPLY VOLTAGE | 240 VAC | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL | POLYPROPYLENE LINING,STAINLESS STEEL 316 ELECTRODE | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1068409 | 1068409 | 1370726 | AU_QM_000180737 |  | ERSA | M | 5100 | 1370726GZPCLNT100 | EA |  | 100MM WAFER MAGMASTER;ELECTROMAGNETIC; | 100MM WAFER MAGMASTER;ELECTROMAGNETIC; | TRANSMITTER,RATE OF FLOW: 100MM WAFER MAGMASTER;ELECTROMAGNETIC; 240VAC;POLYPROPYLENE LINING SS316 ELECTRODE;4-20MA OUTPUT; REMOTE ELECTRONICS;5M SENSOR CABLE |  | TRANSMITTER,RATE OF FLOW: 100MM WAFER MAGMASTER;ELECTROMAGNETIC; |  |  | 1071976 @@ ABB INSTRUMENTATION | MF/E10142111055ER1301111 | 1068212 @@ ABB AUSTRALIA PTY LTD | MF/E10142111055ER1301111 | [12 empty] | ABB INSTRUMENTATION | MF/E10142111055ER1301111 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41111900 Indicating and recording instruments | RATE OF FLOW:100 MM WAFER MAGMASTER,C/W 5 M SENSOR CABLE |  | TRANSMITTER | NO MODIFIER | TYPE | ELECTROMAGNETIC,REMOTE ELECTRONICS | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA | INPUT RATING |  | SUPPLY VOLTAGE | 240 VAC | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL | POLYPROPYLENE LINING,STAINLESS STEEL 316 ELECTRODE | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1068524 | 1068524 | 1350983 | AU_QM_000135122 |  | ERSA | M | 5620 | 1350983GZPCLNT100 | EA |  | DAMPNER BAR;SUIT ELECTRIC MOTOR.; | DAMPNER BAR;SUIT ELECTRIC MOTOR.; | DAMPENER,VIBRATION: DAMPNER BAR;SUIT ELECTRIC MOTOR.; |  | DAMPENER,VIBRATION: DAMPNER BAR;SUIT ELECTRIC MOTOR.; |  |  | 1068342 @@ ISADRAULICS | 1350983 | [14 empty] | ISADRAULICS | 1350983 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers | FOR ELECTRIC MOTOR |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,BAR | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1070694 | 1070694 |  |  |  | ERSA | M | 1600 | 1537352GZPCLNT100 | EA |  | ARRESTER;SAFELINK KIT,YURIKA,2443828 | ARRESTER;SAFELINK KIT,YURIKA,2443828 | ARRESTER;ADDITIONAL FEATURES:SAFELINK KIT,YURIKA,2443828 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2443828 | [14 empty] | YURIKA PTY LTD | 2443828 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | SAFELINK KIT |  | ARRESTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1076482 | 1076482 | 1052446 | AU_QM_001039486 |  | ERSA | M | 5915 | 1052446GZPCLNT100 | EA | 3000012 | DAMPER;TOY,45700-69135,ASSY,STEERING | DAMPER;TOY,45700-69135,ASSY,STEERING | DAMPER;MNFR:TOYOTA,PTNO:45700-69135,ADDITIONAL FEATURES EN:ASSEMBLY,STEERING |  | DAMPER,INERTIA: STEERING DAMPER | TOYOTA | 45700-69135 | 1071809 @@ ASHDOWN ENTERPRISES | 23.T3003 | 1068112 @@ DRIVELINE SERVICES AUSTRALIA PTY LT | DAM024 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4570069135 | [8 empty] | TOYOTA | 45700-69135 | ASHDOWN ENTERPRISES | 23.T3003 | DRIVELINE SERVICES AUSTRALIA PTY LT | DAM024 | BELL & MOIR - PARTS ORDERS ONLY | [11 empty] | https://www.toyotapartsdeal.com/oem/toyota~damper-assy-steering~45700-69135.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | STEERING,INERTIA | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1077215 | 1077215 |  |  |  | ERSA | M | 3730 | 1210191GZPCLNT100 | EA | 3000003 | DAMPER;CAT,1678126,ASSY,AMORTISSEUR | DAMPER;CAT,1678126,ASSY,AMORTISSEUR | DAMPER;MNFR:CATERPILLAR,PTNO:1678126,ADDITIONAL FEATURES EN:ASSEMBLY,AMORTISSEUR |  |  | CATERPILLAR | 1678126 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1678126 | [12 empty] | CATERPILLAR | 167-8126 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/167-8126 | [9 empty] | Enriched | 26101765 Vibration dampers | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,AMORTISSEUR | ELECTRICAL RATING |  | OVERALL SIZE | 388.6 LGX383.5 WDX58.4 HT MM | CONNECTION TYPE |  | MATERIAL | STEEL | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1077304 | 1077304 |  |  |  | ERSA | M | 3730 | 1207068GZPCLNT100 | EA | 3000003 | DAMPER;CAT,5D6328,ASSY | DAMPER;CAT,5D6328,ASSY | DAMPER;MNFR:CATERPILLAR,PTNO:5D6328,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | CATERPILLAR | 5D6328 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5D6328 | [12 empty] | CATERPILLAR | 5D-6328 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/5D-6328 | [9 empty] | Enriched | 26101765 Vibration dampers | ASSEMBLY |  | DAMPER | NO MODIFIER | TYPE | EXTERNAL SPLINE | ELECTRICAL RATING |  | OVERALL SIZE | 328.7 IDX518.3 ODX6.9 THK MM | CONNECTION TYPE |  | MATERIAL | STEEL | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1082996 | 1082996 |  |  |  | ERSA | M | 5000 | 1557727GZPCLNT100 | EA | 3000010 | DAMPER;SAN,56208939 | AMORTIGUADOR;SAN,56208939 | DAMPER;MNFR:SANDVIK,PTNO:56208939,ADDITIONAL FEATURES EN:VIBRATION,SCANNER MOUNT;AUTOMATION | AMORTIGUADOR;MNFR:SANDVIK,PTNO:56208939 |  | SANDVIK | 56208939 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56208939 | [10 empty] | SANDVIK |  |  | 56208939 | [16 empty] | https://www.scribd.com/document/407850565/Control-Remoto-LH-410-pdf | [9 empty] | Cleansed | 26101765 Vibration dampers | AUTOMATION |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,SCANNER MOUNT | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1083970 | 1083970 |  |  |  | ERSA | M | 4200 | 1507869GZPCLNT100 | EA | 3000293 | CRUCIBLE,LAB;INDT,1810560 | CRISOL LABO;INDT,1810560 | CRUCIBLE,LAB;MNFR:INDUCTOTHERM CORP,PTNO:1810560 | CRISOL LABORATORIO;NOMBRE DEL FABRICANTE:INDUCTOTHERM CORP,NUMERO DE PIEZA DEL FABRICANTE:1810560 |  | INDUCTOTHERM CORP | 1810560 | 1071998 @@ INDUCTOTHERM (MELTING) PTY LTD | 1810560 | [10 empty] | INDUCTOTHERM CORP | 1810560 |  |  | INDUCTOTHERM (MELTING) PTY LTD | 1810560 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles |  |  | CRUCIBLE | LAB | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1083971 | 1083971 |  |  |  | ERSA | M | 4200 | 1507870GZPCLNT100 | EA | 3000293 | CRUCIBLE,LAB;INDT,1810500 | CRISOL LABO;INDT,1810500 | CRUCIBLE,LAB;MNFR:INDUCTOTHERM CORP,PTNO:1810500 | CRISOL LABORATORIO;NOMBRE DEL FABRICANTE:INDUCTOTHERM CORP,NUMERO DE PIEZA DEL FABRICANTE:1810500 |  | INDUCTOTHERM CORP | 1810500 | 1071998 @@ INDUCTOTHERM (MELTING) PTY LTD | 1810500 | [10 empty] | INDUCTOTHERM CORP | 1810500 |  |  | INDUCTOTHERM (MELTING) PTY LTD | 1810500 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles |  |  | CRUCIBLE | LAB | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1085503 | 1085503 |  |  |  | ERSA | M | 5000 | 1580795GZPCLNT100 | EA | 3000010 | DAMPER;SAN,55212597,VIB | AMORTIGUADOR;SAN,55212597 | DAMPER;MNFR:SANDVIK,PTNO:55212597,ADDITIONAL FEATURES EN:VIBRATION | AMORTIGUADOR;MNFR:SANDVIK,PTNO:55212597 |  | SANDVIK | 55212597 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 55212597 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55212597 | [8 empty] | SANDVIK |  |  | 55212597 | [16 empty] | https://www.sancatmakina.com/en/spare-parts-2/ | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1085571 | 1085571 |  |  |  | ERSA | M | 5000 | 1581057GZPCLNT100 | EA | 3000010 | CRADLE;SAN,77020242,CRG | CUNA;SAN,77020242 | CRADLE;MNFR:SANDVIK,PTNO:77020242,ADDITIONAL FEATURES EN:CARRIAGE | CUNA;MNFR:SANDVIK,PTNO:77020242 |  | SANDVIK | 77020242 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 77020242 | [12 empty] | SANDVIK | 77020242 | [16 empty] | https://www.rockser.com.tr/export/8 | [9 empty] | Cleansed | 40141700 Hardware and fittings |  |  | CRADLE | NO MODIFIER | TYPE | CARRIAGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1087257 | 1087257 | 1349753 | AU_QM_000131467 |  | ERSA | M | 5955 | 1349753GZPCLNT100 | EA | 3000000 | DAMPER;ATL,3719 0000 32 | DAMPER;ATL,3719 0000 32 | DAMPER;MNFR:ATLAS COPCO,PTNO:3719 0000 32 |  | DAMPER,INERTIA: FEED FRAME END CUSHION;FEED FRAME;ATLAS | ATLAS COPCO | 3719 0000 32 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3719000032 | [12 empty] | ATLAS COPCO | 3719 0000 32 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aircompressorstrade.com/genuine-original-atlas-copco-air-compressors-spare-parts-list-2022-section-10/ | [9 empty] | Cleansed | 24141603 Cushioning |  |  | CUSHION | NO MODIFIER | TYPE | FEED FRAME END,INERTIA | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1087258 | 1087258 | 1349754 | AU_QM_000131468 |  | ERSA | M | 5955 | 1349754GZPCLNT100 | EA | 3000000 | DAMPER;ATL,3719 0000 33 | DAMPER;ATL,3719 0000 33 | DAMPER;MNFR:ATLAS COPCO,PTNO:3719 0000 33 |  | DAMPER,INERTIA: INTERMEDIATE CUSHION;FEED FRAME;ATLAS CO | ATLAS COPCO | 3719 0000 33 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3719000033 | [12 empty] | ATLAS COPCO | 3719 0000 33 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aircompressorstrade.com/genuine-original-atlas-copco-air-compressors-spare-parts-list-2022-section-10/ | https://www.scribd.com/document/591063382/6991-5084-62e-Diamec-U6-PHC | [8 empty] | Cleansed | 24141603 Cushioning |  |  | CUSHION | NO MODIFIER | TYPE | INTERMEDIATE,INERTIA,FEED FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1089348 | 1089348 | 1374022 | AU_QM_000202896 |  | ERSA | M | 5955 | 1374022GZPCLNT100 | EA | 3000000 | DAMPER;ATL,9111413234 | DAMPER;ATL,9111413234 | DAMPER;MNFR:ATLAS COPCO,PTNO:9111413234 |  | DAMPER;ATL,9111413234DAMPER;ATL,9111413234 | ATLAS COPCO | 9111413234 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9111413234 | [12 empty] | ATLAS COPCO | 9111413234 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/9111413234_vibr-damper/ | [9 empty] | Enriched | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1089355 | 1089355 | 1373860 | AU_QM_000202718 |  | ERSA | M | 5955 | 1373860GZPCLNT100 | EA | 3000000 | DAMPER;ATL,399999909 | DAMPER;ATL,399999909 | DAMPER;MNFR:ATLAS COPCO,PTNO:399999909 |  | DAMPER;ATL,399999909DAMPER;ATL,399999909 | ATLAS COPCO | 399999909 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 399999909 | [12 empty] | ATLAS COPCO | 399999909 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/ru/atlas-copco/part/399999909_damper/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1089497 | 1089497 | 1442237 | AU_QM_000994855 |  | ERSA | M | 5955 | 1442237GZPCLNT100 | EA | 3000000 | DAMPER;ATL,5112232200 | DAMPER;ATL,5112232200 | DAMPER;MNFR:ATLAS COPCO,PTNO:5112232200 |  | DAMPER,INERTIA: BOOMER DAMPER | ATLAS COPCO | 5112232200 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112232200 | [12 empty] | ATLAS COPCO | 5112232200 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/ru/atlas-copco/part/5112232200_damper/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | INERTIA,BOOMER | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1089508 | 1089508 | 1437507 | AU_QM_000952478 |  | ERSA | M | 5955 | 1437507GZPCLNT100 | EA | 3000012 | DAMPER;TOY,45700-69025(NG) | DAMPER;TOY,45700-69025(NG) | DAMPER;MNFR:TOYOTA,PTNO:45700-69025(NG) |  | DAMPER,SHIMMY:HJ75 STEERING DAMPER; | TOYOTA | 45700-69025(NG) | 1071809 @@ ASHDOWN ENTERPRISES | 45700-69025(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 45700-69025 | 1068087 @@ ASHDOWN INGRAM | 45700-69025(NG) | [8 empty] | TOYOTA | 45700-69025 | ASHDOWN ENTERPRISES | 45700-69025(NG) | BELL & MOIR - PARTS ORDERS ONLY | [13 empty] | https://www.toyotapartsdeal.com/oem/toyota~damper~assy~steering~45700-69025.html |  |  |  |  | HJ75 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | STEERING,SHIMMY | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1097994 | 1097994 | 1390908 | AU_QM_000232642 |  | ERSA | M | 1540 | 1390908GZPCLNT100 | EA | 3000438 | BOLT;NRMT,100022257 | PERNO; | PERNO;MNFR:NORMET,PTNO:100022257 | PERNO;,MNFR:NORMET,PTNO:100022257 | BOLT;NRMT,100022257BOLT;NOR,100022257 | NORMET | 100022257 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | [11 empty] | NORMET | 100022257 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 31161600 Bolts |  |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1102661 | 1102661 |  |  |  | ERSA | M | 4200 | 1495077GZPCLNT100 | EA |  | CRUCIBLE,LAB;CLAY GRAPHITE,A3,1810578 | CRUCIBLE,LAB;CLAY GRAPHITE,A3,1810578 | [5 empty] | 1071998 @@ INDUCTOTHERM (MELTING) PTY LTD | 1810578 | [14 empty] | INDUCTOTHERM (MELTING) PTY LTD | 1810578 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41122200 Crucibles | A3 |  | CRUCIBLE | LAB | TYPE |  | SIZE |  | MATERIAL | CLAY GRAPHITE | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1108161 | 1108161 | 1366436 | AU_QM_000169119 |  | ERSA | M | 5910 | 1366436GZPCLNT100 | EA |  | ADDRESS PLUG; M4C; M6C SIMBA; D104 | ADDRESS PLUG; M4C; M6C SIMBA; D104 | PLUG: ADDRESS PLUG; M4C; M6C SIMBA; D104 |  | PLUG:ADDRESS PLUG; M4C; M6C SIMBA; D104 |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9106220703 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 9106220703 | [16 empty] | https://drisan.com/search/9106220701-address-plug | [9 empty] | Cleansed | 40141700 Hardware and fittings | FOR M4C,M6C SIMBA,D104 |  | PLUG | NO MODIFIER | TYPE | ADDRESS | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1108197 | 1108197 | 1398174 | AU_QM_000242289 |  | ERSA | M | 5100 | 1398174GZPCLNT100 | EA |  | DUAL PROPORTIONAL SOLENOID CONTROL; | DUAL PROPORTIONAL SOLENOID CONTROL; | AMPLIFIER,ELECTRONIC CONTROL: DUAL PROPORTIONAL SOLENOID CONTROL; 24VDC OPER.VOLTS;WALL MOUNT;25-PIN AMP-PLUG CONNECT; |  | AMPLIFIER,ELECTRONIC CONTROL: DUAL PROPORTIONAL SOLENOID CONTROL; |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | MHVA2A1X/G24F | [14 empty] | BOSCH REXROTH PTY LTD | MHVA2A1X/G24F | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32101514 Amplifiers | OPER VOLTS |  | AMPLIFIER | NO MODIFIER | TYPE | ELECTRONIC,DUAL PROPORTIONAL SOLENOID CONTROL | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE | AMP-PLUG | MOUNTING TYPE | WALL | POWER SUPPLY | 24 VDC | NUMBER OF PINS | 25 | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1108507 | 1108507 | 1433130 | AU_QM_000764759 |  | ERSA | M | 5100 | 1433130GZPCLNT100 | EA |  | CRITEC LSAC4-150 TRANSIENT BARRIER; | CRITEC LSAC4-150 TRANSIENT BARRIER; | ELECTRONIC MODULE: CRITEC LSAC4-150 TRANSIENT BARRIER; 110VAC; ALLIED COLLOIDS C200H CLAROMETER Q109 |  | ELECTRONIC MODULE:CRITEC LSAC4-150 TRANSIENT BARRIER; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1433130 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1433130 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR ALLIED COLLOIDS C200H CLAROMETER Q109,CRITEC LSAC4-150 TRANSIENT BARRIER |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING | 110 VAC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109119 | 1109119 | 1360351 | AU_QM_000157696 |  | ERSA | M | 5810 | 1360351GZPCLNT100 | EA |  | CONNECTOR 9/16-18-THD; SHORT FRONT WATER | CONNECTOR 9/16-18-THD; SHORT FRONT WATER | PLUG ASSEMBLY: CONNECTOR 9/16-18-THD; SHORT FRONT WATER PUMP AND SMALL DIAMETER PULLEY; 12H GRA DER |  | PLUG ASSEMBLY:CONNECTOR 9/16-18-THD; SHORT FRONT WATER |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3603679 | [12 empty] | CATERPILLAR | 360-3679 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/360-3679 |  |  | GRADER |  | 12H |  |  |  |  | Cleansed | 40141700 Hardware and fittings | ASSEMBLY,FOR SHORT FRONT WATER,SHORT FRONT WATER PUMP AND SMALL DIAMETER PULLEY |  | PLUG | NO MODIFIER | TYPE | HEAVY DUTY STRAIGHT THREAD O RING CONNECTOR | SIZE | 9/16 IN-18 TPI | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109449 | 1109449 |  |  |  | ERSA | M | 5620 | 1438531GZPCLNT100 | EA |  | COLLET PLUG;BOOM ASSY; | COLLET PLUG;BOOM ASSY; | PLUG: COLLET PLUG;BOOM ASSY; |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9G7516 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1438531 | [10 empty] | CATERPILLAR | 9G-7516 | HASTINGS DEERING(AUSTRALIA) LTD |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1438531 | [12 empty] | https://parts.cat.com/en/catcorp/9G-7516 | [9 empty] | Enriched | 40141700 Hardware and fittings | BOOM ASSEMBLY |  | PLUG | NO MODIFIER | TYPE | COLLET,SCREW | SIZE | 29.2 ODX35 LG MM | END CONNECTION |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109508 | 1109508 | 1436370 | AU_QM_000847384 |  | ERSA | M | 2200 | 1436370GZPCLNT100 | EA |  | EIMCO CELL DART VALVE PLUG;360MM DIA; | EIMCO CELL DART VALVE PLUG;360MM DIA; | PLUG,VALVE: EIMCO CELL DART VALVE PLUG;360MM DIA; CU CONCENTRATOR EIMCO TANK CELLS |  | PLUG,VALVE: EIMCO CELL DART VALVE PLUG;360MM DIA; |  |  | 1068162 @@ FLSMIDTH PTY LTD | 1407331-1 | [14 empty] | FLSMIDTH PTY LTD | 1407331-1 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | TYPE:DART,FOR CU CONCENTRATOR EIMCO TANK CELLS |  | PLUG | VALVE | VALVE SIZE |  | PLUG MATERIAL |  | SIZE | 360 MM DIA | FLOW RATING |  | PRESSURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109513 | 1109513 | 1436363 | AU_QM_000847319 |  | ERSA | M | 2200 | 1436363GZPCLNT100 | EA |  | EIMCO CELL DART VALVE PLUG;520MM DIA; | EIMCO CELL DART VALVE PLUG;520MM DIA; | PLUG,VALVE: EIMCO CELL DART VALVE PLUG;520MM DIA; CU CONCENTRATOR EIMCO TANK CELLS |  | PLUG,VALVE: EIMCO CELL DART VALVE PLUG;520MM DIA; |  |  | 1068162 @@ FLSMIDTH PTY LTD | 01407330-1 | [14 empty] | FLSMIDTH PTY LTD | 01407330-1 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 40141616 Valve parts or accessories | TYPE:DART,FOR CU CONCENTRATOR EIMCO TANK CELLS |  | PLUG | VALVE | VALVE SIZE |  | PLUG MATERIAL |  | SIZE | 520 MM DIA | FLOW RATING |  | PRESSURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1109567 | 1109567 | 1429911 | AU_QM_000630606 |  | ERSA | M | 1825 | 1429911GZPCLNT100 | EA |  | CAT 612356 GOVERNOR/INJECTION PUMP | CAT 612356 GOVERNOR/INJECTION PUMP | PLUG,PROTECTIVE,DUST AND MOISTURE SEAL: CAT 612356 GOVERNOR/INJECTION PUMP WIRING SEAL ELPHINSTONE R1300/R1700/R1700G LOADERS |  | PLUG,PROTECTIVE,DUST AND MOISTURE SEAL: CAT 612356 GOVERNOR/INJECTION PUMP |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429911 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8T8737 | [10 empty] | CATERPILLAR | 8T-8737 | CNW (MOUNT ISA) ELECT WHOLESALER | 1429911 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/8T-8737 |  |  | GOVERNOR/INJECTION PUMP,LOADERS | CATERPILLAR ELPHINSTONE | 612356,R1300/R1700/R1700G |  |  |  |  | Enriched | 31162800 Miscellaneous hardware |  |  | CAP | DUST AND MOISTURE SEAL | TYPE | PROTECTIVE,WIRING | SIZE | 4 DIAX15 LG MM | MATERIAL | PLASTIC | CONNECTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109571 | 1109571 | 1429867 | AU_QM_000629801 |  | ERSA | M | 5620 | 1429867GZPCLNT100 | EA |  | CAT FLYWHEEL HSG DRAIN PLUG; | CAT FLYWHEEL HSG DRAIN PLUG; | PLUG,MACHINE THREAD: CAT FLYWHEEL HSG DRAIN PLUG; |  | PLUG,MACHINE THREAD:CAT FLYWHEEL HSG DRAIN PLUG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429867 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5F0304 | [10 empty] | CATERPILLAR | 5F-0304 | CNW (MOUNT ISA) ELECT WHOLESALER | 1429867 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/5F-0304 | [9 empty] | Enriched | 40141738 Drain plugs | FLYWHEEL HSG |  | PLUG | DRAIN | TYPE | MACHINE THREAD | NOMINAL SIZE |  | THREAD TYPE |  | LENGTH |  | MATERIAL | PLATED STEEL | PRESSURE CLASS/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1109853 | 1109853 | 1450982 | AU_QM_001144716 |  | ERSA | M | 4500 | 1450982GZPCLNT100 | EA |  | AIR AMPLIFIER ASSEMBLY,TOYOTA A/C; | AIR AMPLIFIER ASSEMBLY,TOYOTA A/C; | AMPLIFIER ASSY: AIR AMPLIFIER ASSEMBLY,TOYOTA A/C; |  | AMPLIFIER ASSY: AIR AMPLIFIER ASSEMBLY,TOYOTA A/C; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8865060C30 | 1071809 @@ ASHDOWN ENTERPRISES | 8865060C30 | 1068087 @@ ASHDOWN INGRAM | 8865060C30 | [8 empty] | TOYOTA | 8865060C30 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN ENTERPRISES | [13 empty] | https://partsouq.com/en/catalog/genuine/diagram?c=Toyota&ssd=%24%2AKwEFMSA6UAdEVgd3aQJeKV1JaW5wAQ4DAhAWFVN2ShJeQhMJTDA9ZXd8EhsUUlBMWl4ADgADAAYTH0wNHxUME2ZzfAYKPE0ofXt_aWYFEx9MBhVTFAsDBxoTRQ1CRhUFCAdgFEwAAAAAGi8QIw%24&number=8856860030 | [9 empty] | Cleansed | 32101514 Amplifiers | ASSEMBLY |  | AMPLIFIER | NO MODIFIER | TYPE | AIR CONDITIONER | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1111726 | 1111726 | 1426803 | AU_QM_000412262 |  | ERSA | M | 5100 | 1426803GZPCLNT100 | EA |  | DIFFERENTIAL | DIFFERENTIAL | TRANSMITTER,PRESSURE: DIFFERENTIAL |  | TRANSMITTER,PRESSURE: DIFFERENTIAL |  |  | 1071813 @@ EMERSON PROCESS MANAGEMENT | 1151DP-3-E-22-B1-T-00-85 | [14 empty] | EMERSON PROCESS MANAGEMENT | 1151DP-3-E-22-B1-T-00-85 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 41112410 Pressure transmitters |  |  | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1112088 | 1112088 | 1348319 | AU_QM_000000455 |  | ERSA | M | 5100 | 1348319GZPCLNT100 | EA |  | BIAS SUPPLY AM062/02; | BIAS SUPPLY AM062/02; | ELECTRONIC MODULE: BIAS SUPPLY AM062/02; SIGNAL ANALYSER AM084/10 |  | ELECTRONIC MODULE:BIAS SUPPLY AM062/02; |  |  | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 34184 | [14 empty] | THERMO GAMMA-METRICS PTY LTD | 34184 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR SIGNAL ANALYSER AM084/10,BIAS SUPPLY AM062/02 |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1112089 | 1112089 | 1348313 | AU_QM_000000398 |  | ERSA | M | 5100 | 1348313GZPCLNT100 | EA |  | COMMS ADAPTOR AM093/10; | COMMS ADAPTOR AM093/10; | ELECTRONIC MODULE: COMMS ADAPTOR AM093/10; SIGNAL ANALYSER AM084/10 |  | ELECTRONIC MODULE:COMMS ADAPTOR AM093/10; |  |  | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 24764 | [14 empty] | THERMO GAMMA-METRICS PTY LTD | 24764 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR SIGNAL ANALYSER AM084/10,COMMS ADAPTOR AM093/10 |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1112090 | 1112090 | 1348311 | AU_QM_000000364 |  | ERSA | M | 5100 | 1348311GZPCLNT100 | EA |  | BIAS CONTROL AM963/20.2; | BIAS CONTROL AM963/20.2; | ELECTRONIC MODULE: BIAS CONTROL AM963/20.2; SIGNAL ANALYSER AM084/10 |  | ELECTRONIC MODULE:BIAS CONTROL AM963/20.2; |  |  | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 23480 | [14 empty] | THERMO GAMMA-METRICS PTY LTD | 23480 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR SIGNAL ANALYSER AM084/10,BIAS CONTROL AM963/20.2 |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1112340 | 1112340 | 1441999 | AU_QM_000993275 |  | ERSA | M | 5100 | 1441999GZPCLNT100 | EA |  | DH485 COMMUNICATIONS INTERFACE; | DH485 COMMUNICATIONS INTERFACE; | ELECTRONIC MODULE: DH485 COMMUNICATIONS INTERFACE; |  | ELECTRONIC MODULE:DH485 COMMUNICATIONS INTERFACE; |  |  | 1068122 @@ MARCON AGENCIES PTY LTD | BI1747UIC | [14 empty] | MARCON AGENCIES PTY LTD | BI1747UIC | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32151900 Automation control connectivity devices | FOR DH485 COMMUNICATIONS INTERFACE |  | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1112590 | 1112590 | 1465522 | AU_QM_007123557 |  | ERSA | M | 5100 | 1465522GZPCLNT100 | EA |  | ANODE WHEEL BRAKE | ANODE WHEEL BRAKE | RESISTOR: ANODE WHEEL BRAKE |  | RESISTOR: ANODE WHEEL BRAKE |  |  | 1068243 @@ OUTOTEC PTY LTD | 34140 | [14 empty] | OUTOTEC PTY LTD | 34140 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121600 Resistors |  |  | RESISTOR | BRAKING | TYPE | ANODE WHEEL | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1113214 | 1113214 |  |  |  | ERSA | M | 2620 | 1573216GZPCLNT100 | EA |  | ARRESTER;SPRK,ADFLO | PROTECCION PARARRAYOS; | ARRESTER;ADDITIONAL FEATURES EN:SPARK,ADFLO | PROTECCION PARARRAYOS; |  |  |  | 1068301 @@ WELDERS PRO SHOP | 836000 | [12 empty] | 3M | 836000 | WELDERS PRO SHOP | [15 empty] | https://www.3m.co.uk/3M/en_GB/p/d/v000074046/ | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BRAND:ADFLO |  | ARRESTER | NO MODIFIER | TYPE | SPARK,LIGHTNING ROD PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 | NM BASED ON WEB SOURCE | 1115932 | 1115932 | 1369115 | AU_QM_000173370 |  | ERSA | M | 1600 | 1369115GZPCLNT100 | EA |  | ARRESTER,ELEC;SURG,415 VAC,CNW | ARRESTER,ELEC;SURG,415 VAC,CNW | ARRESTER,ELECTRICAL;TYPE:SURGE,NOMINAL VOLTAGE:415 VAC,OVERALL SIZE:WD 238 X HT 447 X 324 DP MM,ADDITIONAL FEATURES EN:1PH,2KW, MULTI TAP CONDITIONER 2 KVA,MNFR:01)CNW,PTNO:01)EAT26052000M |  | ARRESTER,ELEC SURGE:2KVA;1PH;2KW;415VAC;447MM H X 238MM W X |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | T800P-02000-5 | [12 empty] | EATON | T800P-02000-5 | CNW (MOUNT ISA) ELECT WHOLESALER | EAT26052000M | [14 empty] | https://rspsupply.com/p-444115-eaton-t800p-02000-5-power-conditioner-single-phase-2-kva.aspx | [9 empty] | Enriched | 39121000 Power conditioning equipment | VOLTAGE RATING:415 VAC,2 KVA,NUMBER OF PHASE:1,POWER RATING:2 KW |  | CONDITIONER | NO MODIFIER | TYPE | MULTI TAP,ELECTRICAL,SURGE | SIZE | 238 WDX447 HTX324 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CUL | [62 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1136240 | 1136240 | 1366435 | AU_QM_000169118 |  | ERSA | M | 5910 | 1366435GZPCLNT100 | EA |  | ADDRESS PLUG; M4C; M6C SIMBA; D102 D503 | ADDRESS PLUG; M4C; M6C SIMBA; D102 D503 | PLUG: ADDRESS PLUG; M4C; M6C SIMBA; D102 D503 |  | PLUG:ADDRESS PLUG; M4C; M6C SIMBA; D102D503 |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9106220701 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 9106220701 |  | D102D503 | [14 empty] | https://drisan.com/search/9106220701-address-plug |  |  |  |  | M4C,M6C SIMBA |  |  |  |  | Cleansed | 40141700 Hardware and fittings |  |  | PLUG | NO MODIFIER | TYPE | ADDRESS | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1136866 | 1136866 | 1460724 | AU_QM_002542228 |  | ERSA | M | 5100 | 1460724GZPCLNT100 | EA |  | CARBON | CARBON | RESISTOR,FIXED: CARBON 22 OHM 1W,5% MAX TOLERANCE |  | RESISTOR,FIXED: CARBON |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1460724 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1460724 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32121609 Fixed resistors |  |  | RESISTOR | FIXED | TYPE |  | RESISTANCE | 22 OHM | POWER RATING | 1 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL | CARBON | TOLERANCE | 5 PCT MAX | COLOUR CODE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1136895 | 1136895 | 1457221 | AU_QM_001296862 |  | ERSA | M | 5100 | 1457221GZPCLNT100 | EA |  | CHARGE PRESSURE SENSOR; | CHARGE PRESSURE SENSOR; | TRANSMITTER,PRESSURE: CHARGE PRESSURE SENSOR; |  | TRANSMITTER,PRESSURE: CHARGE PRESSURE SENSOR; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55121701 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 55121701 | [16 empty] | https://www.formine.com/404.html | [9 empty] | Cleansed | 41112410 Pressure transmitters |  |  | TRANSMITTER | PRESSURE | TYPE | CHARGE SENSOR | PRESSURE RANGE |  | OUTPUT RATING |  | POWER SUPPLY |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ACCURACY |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 15-11-2023 |  | 1138071 | 1138071 | 1348770 | AU_QM_000028050 |  | ERSA | M | 5915 | 1348770GZPCLNT100 | EA |  | CAT POWERTRAIN DRAIN PLUG; | CAT POWERTRAIN DRAIN PLUG; | PLUG,MACHINE,MAGNETIC: CAT POWERTRAIN DRAIN PLUG; CATERPILLAR MOBILE EQUIPMENT |  | PLUG,MACHINE,MAGNETIC:CAT POWERTRAIN DRAIN PLUG; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1348770 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5P4484 | [10 empty] | CATERPILLAR | 5P-4484 | CNW (MOUNT ISA) ELECT WHOLESALER | 1348770 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/5P-4484 | [9 empty] | Enriched | 40141738 Drain plugs | FOR MOBILE EQUIPMENT,POWERTRAIN |  | PLUG | DRAIN | TYPE | MACHINE,MAGNETIC | NOMINAL SIZE | 1-5/16 IN-12 TPI | THREAD TYPE |  | LENGTH | 38.1 MM | MATERIAL |  | PRESSURE CLASS/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed