## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1180279 | 1180279 |  |  |  | ERSA | M | 4090 | 1544125GZPCLNT100 | EA |  | BOOSTER,AIR;PRESS,REGLTR | REFORZADOR AIRE; | BOOSTER,AIR;ADDITIONAL FEATURES EN:PRESSURE,REGULATOR | REFORZADOR AIRE; |  |  |  | 1068330 @@ SMC CORPORATION (AUST) PTY LTD | XDZ7176 | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | 1544125 | [8 empty] | SMC CORPORATION (AUST) PTY LTD | XDZ7176 |  |  | SMC CORPORATION (AUSTRALIA) PTY LTD | 1544125 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | C/W PRESSURE REGULATOR |  | BOOSTER | AIR | TYPE |  | BOOSTER RATIO |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | INLET CONNECTION SIZE |  | OUTLET CONNECTION SIZE |  | FLOW RATING |  | MATERIAL |  | DRIVE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1218351 | 1218351 |  |  |  | ERSA | M | 2920 | 270608MRM | EA |  | BOOSTER,DEMOLITION CHARGE:JUMPSTARTER;22 | BOOSTER,DEMOLITION CHARGE:JUMPSTARTER;22 | BOOSTER,DEMOLITION CHARGE:JUMPSTARTER;2200A;12-24V;PROJECTA | [36 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | C/W 2200 A,12 TO 24 V JUMP STARTER,PROJECTA |  | BOOSTER | NO MODIFIER | TYPE | DEMOLITION CHARGE | NOMINAL WEIGHT |  | DIAMETER |  | LENGTH |  | SHELL MATERIAL |  | COLOUR |  | DENSITY |  | VELOCITY OF DETONATION |  | DETONATION PRESSURE |  | PACKAGE QUANTITY |  | CASE SIZE |  | MSDS UN NUMBER |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1021138 | 1021138 | 1393031 | AU_QM_000236388 |  | ERSA | M | 5955 | 1393031GZPCLNT100 | EA | 3000003 | BOOSTER,PRES;CAT,5413406 | BOOSTER,PRES;CAT,5413406 | BOOSTER,PRESSURE;MNFR:CATERPILLAR,PTNO:5413406 |  | OEM-E-LISTBOOSTER,PRESSURE;CAT,5413406 | CATERPILLAR | 5413406 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1393031 | [12 empty] | CATERPILLAR | 541-3406 | HASTINGS DEERING(AUSTRALIA) LTD | 1393031 | [14 empty] | https://parts.cat.com/es/catcorp/541-3406 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | BOOSTER | PRESSURE | TYPE |  | PORT SIZE |  | BOOSTER RATIO |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1086554 | 1086554 |  |  |  | ERSA | M | 5915 | 1582714GZPCLNT100 | EA | 3000012 | BOOSTER;TOY,4461060A00,BRAKE | REFORZADOR;TOY,4461060A00 | BOOSTER;MNFR:TOYOTA,PTNO:4461060A00,ADDITIONAL FEATURES EN:BRAKE | REFORZADOR;MNFR:TOYOTA,PTNO:4461060A00 |  | TOYOTA | 4461060A00 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4461060A00 | [12 empty] | TOYOTA | 44610-60A00 | BELL & MOIR | [15 empty] | https://afyal.com/en/part_4461060A00_Toyota | [9 empty] | Cleansed | 25171719 Brake booster |  |  | BOOSTER | NO MODIFIER | TYPE | BRAKE | NOMINAL WEIGHT |  | DIAMETER |  | LENGTH |  | SHELL MATERIAL |  | COLOUR |  | DENSITY |  | VELOCITY OF DETONATION |  | DETONATION PRESSURE |  | PACKAGE QUANTITY |  | CASE SIZE |  | MSDS UN NUMBER |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1212535 | 1212535 |  |  |  | ERSA | M | 5955 | 775799MRM | EA |  | BRAKE BOOSTER:HZJ75 BRAKE POWER BOOSTER; | BRAKE BOOSTER:HZJ75 BRAKE POWER BOOSTER; | BRAKE BOOSTER:HZJ75 BRAKE POWER BOOSTER; | [36 empty] | URL Not Found |  |  |  |  | HZJ75 |  |  |  |  | Cleansed | 25171719 Brake booster |  |  | BOOSTER | POWER | TYPE | BRAKE | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1212563 | 1212563 |  |  |  | ERSA | M | 1600 | 776003MRM | EA |  | BUZZER:INTERMITTENT REVERSING 12V | BUZZER:INTERMITTENT REVERSING 12V | BUZZER:INTERMITTENT REVERSING 12V | [36 empty] | URL Not Found | [9 empty] | Cleansed | 46171607 Buzzers |  |  | BUZZER | NO MODIFIER | TYPE | INTERMITTENT REVERSING | SOUND INTENSITY |  | ELECTRICAL RATING | 12 V | OPERATING FREQUENCY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1190230 | 1190230 |  |  |  | ERSA | M | 1600 | 1574916GZPCLNT100 | EA |  | BUZZER;ALM,24V 85DB 2 IN,HELLA 6022 | ZUMBIDO; | BUZZER;ADDITIONAL FEATURES EN:ALARM,24V 85DB 2 IN,HELLA 6022 | ZUMBIDO; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | 6022 | [12 empty] | HELLA | 6022 | ASHDOWN ENTERPRISES | [15 empty] | https://www.ozautoelectrics.com/hella-warning-buzzer-24v-dc.html | [9 empty] | Enriched | 46171607 Buzzers |  |  | BUZZER | NO MODIFIER | TYPE | WARNING,ALARM | SOUND INTENSITY | 85 DB | ELECTRICAL RATING | 24 V | OPERATING FREQUENCY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 49.5X23 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1190231 | 1190231 |  |  |  | ERSA | M | 1600 | 1574915GZPCLNT100 | EA |  | BUZZER;WRNG,SLOW PULSE 12-48V,ACX5112 | ZUMBIDO; | BUZZER;ADDITIONAL FEATURES EN:WARNING,SLOW PULSE 12-48V,ACX5112 | ZUMBIDO; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | ACX5112 | [12 empty] | ECCO | ACX5112 | ASHDOWN ENTERPRISES | [15 empty] | https://www.tinkr.co.nz/product/479771/warning-buzzer-slow-pulse-12-to-48v-80db | [9 empty] | Enriched | 46171607 Buzzers |  |  | BUZZER | NO MODIFIER | TYPE | WARNING,SLOW PULSE | SOUND INTENSITY | 80 DB | ELECTRICAL RATING | 12 TO 48 V | OPERATING FREQUENCY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1104529 | 1104529 |  |  |  | ERSA | M | 1610 | 1508156GZPCLNT100 | EA |  | BUZZER;855P PANEL MOUNT SOUN,855PB30ME22 | BUZZER;855P PANEL MOUNT SOUN,855PB30ME22 | BUZZER;ADDITIONAL FEATURES:855P PANEL MOUNT SOUN,855PB30ME22 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 855PB30ME22 | [12 empty] | ROCKWELL AUTOMATION | 855P-B30ME22 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.rockwellautomation.com/en-gb/products/details.855P-B30ME22.html | [9 empty] | Enriched | 46171607 Buzzers | DEGREE OF PROTECTION:IP65,SOUND MAIN FREQUENCY:3300 HZ |  | BUZZER | NO MODIFIER | TYPE |  | SOUND INTENSITY | 100 DB | ELECTRICAL RATING | 12 TO 24 VAC/DC | OPERATING FREQUENCY | 50/60 HZ | TERMINAL TYPE | PLUG-IN | MOUNTING TYPE | PANEL | SIZE | 45 ODX60 HT MM | MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1111333 | 1111333 | 1410952 | AU_QM_000256278 |  | ERSA | M | 5915 | 1410952GZPCLNT100 | EA |  | BUZZER;30324-00035 | BUZZER;30324-00035 | BUZZER;MNFR: ,PTNO:30324-00035 |  | BUZZER;30324-00035BUZZER;30324-00035 | [17 empty] | 30324-00035 | [16 empty] | https://scanlift.no/wp-content/uploads/2022/09/FB-EL-FB13-16-20T-PM-CN-EN-06-2020.xlsx.pdf | [9 empty] | Cleansed | 46171607 Buzzers |  |  | BUZZER | NO MODIFIER | TYPE |  | SOUND INTENSITY |  | ELECTRICAL RATING |  | OPERATING FREQUENCY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Container Size Conflict,Processed based on Websource | 1206780 | 1206780 |  |  |  | ERSA | M | 2800 | 1051580MRM | DR |  | COOLANT,LIQUID COOLING SYSTEM:(DRUM = 20 | COOLANT,LIQUID COOLING SYSTEM:(DRUM = 20 | COOLANT,LIQUID COOLING SYSTEM:(DRUM = 205L) |  |  |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3658397 | [12 empty] | CATERPILLAR | 365-8397 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/cat-category-not-to-display/365-8397 | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING | TRADE NAME |  | CONTAINER SIZE | 200 L | CONTAINER TYPE | DRUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1206763 | 1206763 |  |  |  | ERSA | M | 5955 | 1047638MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:CAT SERVIC | COOLANT,LIQUID COOLING SYSTEM:CAT SERVIC | COOLANT,LIQUID COOLING SYSTEM:CAT SERVICE EQUIPMENT;1000L IBC; | [36 empty] | URL Not Found |  |  | SERVICE EQUIPMENT | CATERPILLAR | [5 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING | TRADE NAME |  | CONTAINER SIZE | 1000 L | CONTAINER TYPE | IBC | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1207081 | 1207081 |  |  |  | ERSA | M | 2800 | 1056688MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:NALCOOL 41 | COOLANT,LIQUID COOLING SYSTEM:NALCOOL 41 | COOLANT,LIQUID COOLING SYSTEM:NALCOOL 4100 H/D PREMIXED LONG LIFE ,COOLANT;50/50 PREMIX H.D. COOLANT;MEETING TMC RP 329;(IBC = 1000L) |  |  |  |  | 1079321 @@ EAST COAST LUBES PTY LTD | PN1207081 | [12 empty] | NALCOOL | 4100 | EAST COAST LUBES PTY LTD | PN1207081 | [14 empty] | https://www.yumpu.com/en/document/view/26703217/product-bulletin-nalcool-4100-statewide-oil | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING,50/50 PREMIX HEAVY DUTY,LONG LIFE | TRADE NAME |  | CONTAINER SIZE | 1000 L | CONTAINER TYPE | IBC | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1206350 | 1206350 |  |  |  | ERSA | M | 2800 | 153298MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:PCOOL CMF; | COOLANT,LIQUID COOLING SYSTEM:PCOOL CMF; | COOLANT,LIQUID COOLING SYSTEM:PCOOL CMF; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 15121500 Lubricating preparations | PCOOL CMF |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | URL for Reference | 1203446 | 1203446 |  |  |  | ERSA | M | 2800 | 980946MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:PROTECTACO | COOLANT,LIQUID COOLING SYSTEM:PROTECTACO | COOLANT,LIQUID COOLING SYSTEM:PROTECTACOOL 50;950L POD;PREMIX;DIESEL ENGINES; | [19 empty] | PROTECTACOOL 50 | [16 empty] | https://www.gofuel.co.nz/products/shell-protectacool-50-d205l |  |  | DIESEL ENGINES | [6 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING,PREMIX | TRADE NAME |  | CONTAINER SIZE | 950 L | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1212288 | 1212288 |  |  |  | ERSA | M | 3700 | 168208MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:SENDER UNI | COOLANT,LIQUID COOLING SYSTEM:SENDER UNI | COOLANT,LIQUID COOLING SYSTEM:SENDER UNIT LOW COOLANT |  |  |  |  | 1070871 @@ BRITEFORCE PTY LTD | PN1212288 | [10 empty] | BRITEFORCE PTY LTD | PN1212288 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LIQUID COOLING,SENDER UNIT LOW | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1216470 | 1216470 |  |  |  | ERSA | M | 2800 | 142009MRM | EA |  | COOLANT,LIQUID COOLING SYSTEM:TECTALOY X | COOLANT,LIQUID COOLING SYSTEM:TECTALOY X | COOLANT,LIQUID COOLING SYSTEM:TECTALOY XTRA COOL GOLD;INHIBITOR;CONCENTRATE; |  |  |  |  | 1078769 @@ DUNDEE BEACH ENGINEERING SERVICE | TECTALOY XTRA COOL GOL | [12 empty] | TECTALOY | XTRA COOL GOLD | DUNDEE BEACH ENGINEERING SERVICE | [15 empty] | https://www.tectaloy.com.au/corrosion-inhibitor-concentrates | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | INHIBITOR | NO MODIFIER | TYPE | CORROSION | PROPELLANT |  | CONTAINER TYPE |  | CONTAINER SIZE |  | APPEARANCE |  | DRYING TIME |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1060961 | 1060961 |  |  |  | ERSA | M | 2800 | 1544345GZPCLNT100 | EA |  | COOLANT;OIL SOLUBLE,205L | LIQUIDO REFRIG; | COOLANT;ADDITIONAL FEATURES EN:OIL SOLUBLE,205L | LIQUIDO REFRIGERANTE; |  |  |  | 1069714 @@ BLACKWOODS | 4427401 | 1068652 @@ J BLACKWOOD & SONS | 4427401 | [24 empty] | BLACKWOODS | 04427401 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/cutting-lubricant-and-machine-oils/fuchs-soluble-metal-working-fluids/oil-soluble-ecocool-400-205l/p/04427401 | [9 empty] | Enriched | 15121500 Lubricating preparations |  |  | LUBRICANT | NO MODIFIER | TYPE | CUTTING,SOLUBLE | GRADE |  | CONTAINER | 205 L DRUM | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1150235 | 1150235 |  |  |  | ERSA | M | 5955 | 1525095GZPCLNT100 | EA |  | COOLANT;KUB,10001-P0008 | COOLANT;KUB,10001-P0008 | COOLANT;ADDITIONAL FEATURES:KUB,10001-P0008 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1525095 | 1068342 @@ ISADRAULICS | 1525095 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1525095 |  |  | ISADRAULICS | 1525095 | KUBOTA | 10001-P0008 | [12 empty] | URL Not Found | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE |  | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1150234 | 1150234 |  |  |  | ERSA | M | 5955 | 1525096GZPCLNT100 | EA |  | COOLANT;LONG LIFE,KUB,10019-P0001 | COOLANT;LONG LIFE,KUB,10019-P0001 | COOLANT;ADDITIONAL FEATURES:LONG LIFE,KUB,10019-P0001 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1525096 | 1068342 @@ ISADRAULICS | 1525096 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1525096 | HI-TEC OILS | 10019-P0001 | ISADRAULICS | 1525096 | KUBOTA | [13 empty] | https://www.mobileenergyaustralia.com.au/material-safety-data-sheets/ | [9 empty] | Cleansed | 15121500 Lubricating preparations |  | COLOR:RED,PHYSICAL STATE:LIQUID | COOLANT | NO MODIFIER | TYPE | LONG-LIFE | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1025937 | 1025937 | 1374225 | AU_QM_000203119 |  | ERSA | M | 5380 | 1374225GZPCLNT100 | EA | 3000003 | COOLANT;CAT,3244128 | COOLANT;CAT,3244128 | COOLANT;MNFR:CATERPILLAR,PTNO:3244128 |  | COOLANT;CAT,3244128COOLANT;CAT,3244128 | CATERPILLAR | 3244128 | [14 empty] | CATERPILLAR | 324-4128 | [16 empty] | https://parts.cat.com/en/catcorp/324-4128 | [9 empty] | Enriched | 41112205 Temperature regulators | SIZE:73 DIAX62 HT MM |  | REGULATOR | TEMPERATURE | TYPE | COOLANT | SET POINT RANGE |  | MAX TEMPERATURE |  | NOMINAL SIZE |  | MATERIAL |  | SENSOR TYPE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1025258 | 1025258 | 1388911 | AU_QM_000230280 |  | ERSA | M | 5380 | 1388911GZPCLNT100 | EA | 3000003 | COOLANT;CAT,5I7699 | COOLANT;CAT,5I7699 | COOLANT;MNFR:CATERPILLAR,PTNO:5I7699 |  | COOLANT;CAT,5I7699COOLANT;HAS,5I7699 | CATERPILLAR | 5I7699 | [14 empty] | CATERPILLAR | 5I-7699 | [16 empty] | https://parts.cat.com/en/catcorp/5I-7699 | [9 empty] | Enriched | 40142020 Hydraulic hose |  |  | HOSE | HYDRAULIC | TYPE | WATER | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 27 MM | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1081157 | 1081157 | 1365674 | AU_QM_000168090 |  | ERSA | M | 5380 | 1365674GZPCLNT100 | EA | 3000004 | COOLANT;HIT,RE537637 | COOLANT;HIT,RE537637 | COOLANT;MNFR:HITACHI,PTNO:RE537637 |  | COOLANT,LIQUID COOLING SYSTEM:COOLANT TEMPERATURE | HITACHI | RE537637 | 1068352 @@ HITACHI | RE537637 | 1068592 @@ RDO EQUIPMENT PTY LTD | RE537637 | [10 empty] | JOHN DEERE | RE537637 | HITACHI |  | RDO EQUIPMENT PTY LTD | [13 empty] | https://wdpart.com/products/coolant-temperature-sensor-re537637-for-john-deere-130g-160glc-180glc-210g-250glc-290glc-300glc-350glc-380glc | [9 empty] | Cleansed | 41111970 Temperature sensor |  |  | SENSOR | TEMPERATURE | TYPE | COOLANT | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1025500 | 1025500 | 1381839 | AU_QM_000221836 |  | ERSA | M | 5380 | 1381839GZPCLNT100 | EA | 3000028 | COOLANT;MIT,MR936572 | COOLANT;MIT,MR936572 | COOLANT;MNFR:MITSUBISHI,PTNO:MR936572 |  | COOLANT;MIT,MR936572COOLANT;MIT,MR936572 | MITSUBISHI | MR936572 | [14 empty] | MITSUBISHI | MR936572 | [16 empty] | https://www.genuineedge.com.au/genuine-mitsubishi-pre-mix-green-coolant-5l-part-m~85303 | [9 empty] | Enriched | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LONG LIFE | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1025497 | 1025497 | 1381854 | AU_QM_000221854 |  | ERSA | M | 5380 | 1381854GZPCLNT100 | EA | 3000029 | COOLANT;NIS,10120LLC005 | COOLANT;NIS,10120LLC005 | COOLANT;MNFR:NISSAN,PTNO:10120LLC005 |  | COOLANT;NIS,10120LLC005COOLANT;NIS,10120LLC005 | NISSAN | 10120LLC005 | [14 empty] | NISSAN | 10120LLC005 | [16 empty] | https://www.onlinecarparts.com.au/NI10120-LLC005 | [9 empty] | Enriched | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | LONG LIFE | TRADE NAME |  | CONTAINER SIZE | 5 L | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1025347 | 1025347 | 1386706 | AU_QM_000227708 |  | ERSA | M | 5380 | 1386706GZPCLNT100 | EA | 3000012 | COOLANT;TOY,0888980077 | COOLANT;TOY,0888980077 | COOLANT;MNFR:TOYOTA,PTNO:0888980077 |  | COOLANT;TOY,0888980077COOLANT;BEL | TOYOTA | 0888980077 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 888980431 | [12 empty] | TOYOTA | 0888980077 | BELL & MOIR | 888980431 | [14 empty] | https://www.nunawadingtoyotaparts.com.au/new-genuine-toyota-super-long-life-coolant-anti-fr | [9 empty] | Enriched | 15121500 Lubricating preparations |  | COLOR:PINK | COOLANT | NO MODIFIER | TYPE | LONG LIFE,ANTI FREEZE,ANTI BOIL,50/ 50 PRE-MIXED | TRADE NAME |  | CONTAINER SIZE | 5 L | CONTAINER TYPE | BOTTLE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1033467 | 1033467 | 1382336 | AU_QM_000222435 |  | ERSA | M | 5380 | 1382336GZPCLNT100 | EA | 3000012 | COOLANT;TOY,NG0888980078 | COOLANT;TOY,NG0888980078 | COOLANT;MNFR:TOYOTA,PTNO:NG0888980078 |  | COOLANT;TOY,NG0888980078COOLANT;BEL,NG0888980078 | TOYOTA | NG0888980078 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 888980432 | [10 empty] | TOYOTA | NG0888980078 |  |  | BELL & MOIR | 888980432 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE |  | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1025487 | 1025487 | 1382143 | AU_QM_000222194 |  | ERSA | M | 5380 | 1382143GZPCLNT100 | EA | 3000013 | COOLANT;VOL,11715726 | COOLANT;VOL,11715726 | COOLANT;MNFR:VOLVO,PTNO:11715726 |  | COOLANT;VOL,11715726COOLANT;VOL,11715726 | VOLVO | 11715726 | [14 empty] | VOLVO | 11715726 | [16 empty] | https://logistikportalen.fmv.se/tjansterprodukter/drivmedel/Drivmedelskatalog_EN/datablad/M0758-8290XX_Glykol.pdf | https://srp.com.tr/volvo/11715726/ | [8 empty] | Enriched | 15121500 Lubricating preparations |  | COLOR:YELLOW | COOLANT | NO MODIFIER | TYPE | CONCENTRATED | TRADE NAME |  | CONTAINER SIZE | 20 L | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1087230 | 1087230 | 1370104 | AU_QM_000175382 |  | ERSA | M | 5380 | 1370104GZPCLNT100 | EA | 3000013 | COOLANT;VOL,22567335 | COOLANT;VOL,22567335 | COOLANT;MNFR:VOLVO,PTNO:22567335 |  | COOLANT,LIQUID COOLING SYSTEM:VCS;ENGINE;READY MIXED;20L;YLW;ANTI-FREE | VOLVO | 22567335 | 1068317 @@ SMH EQUIPMENT PTY LTD | 22567335 | [12 empty] | VOLVO | 22567335 | SMH EQUIPMENT PTY LTD | 22567335 | [14 empty] | https://marinedustrie.com/en-us/products/20l-volvo-penta-coolant-ready-mixed-yellow-22567335 | [9 empty] | Enriched | 15121500 Lubricating preparations |  |  | COOLANT | NO MODIFIER | TYPE | READY MIXED | TRADE NAME |  | CONTAINER SIZE | 20 L | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065035 | 1065035 |  |  |  | ERSA | M | 1600 | 1456492GZPCLNT100 | EA |  | DIN FUSE | DIN FUSE | FUSE SWITCH; DIN FUSE GFM SURFACE CRUSHING PLANT |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | OFAF00H125 | [12 empty] | ABB | OFAF00H125 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://new.abb.com/products/1SCA022627R1630/ofaf00h125 |  |  | GFM SURFACE CRUSHING PLANT | [6 empty] | Enriched | 39121617 Fuse parts or accessories |  | DIMENSION:60 LGX30 WDX79 HT MM | LINK | FUSE | TYPE | DIN | CURRENT RATING | 125 A | INTERRUPT RATING |  | VOLTAGE RATING | 500 V | SIZE | NH00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60269 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065036 | 1065036 | 1456491 | AU_QM_001284918 |  | ERSA | M | 1600 | 1456491GZPCLNT100 | EA |  | DIN FUSE | DIN FUSE | FUSE SWITCH; DIN FUSE GFM SURFACE CRUSHING PLANT |  | FUSE SWITCH;DIN FUSE |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | OFAF000H40 | [12 empty] | ABB | OFAF000H40 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://new.abb.com/products/1SCA022627R1120/ofaf000h40 |  |  | GFM SURFACE CRUSHING PLANT | [6 empty] | Enriched | 39121617 Fuse parts or accessories |  | DIMENSION:53 LGX21 WDX79 HT MM | LINK | FUSE | TYPE | DIN | CURRENT RATING | 40 A | INTERRUPT RATING |  | VOLTAGE RATING | 500 V | SIZE | NH000 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60269 | [58 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1107779 | 1107779 | 1458322 | AU_QM_001704620 |  | ERSA | M | 5920 | 1458322GZPCLNT100 | EA |  | AIR STARTER SERVICE; | AIR STARTER SERVICE; | GUIDE PIECE: AIR STARTER SERVICE; |  | GUIDE PIECE:AIR STARTER SERVICE; | [34 empty] | URL Not Found | [9 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SERVICE |  | GUIDE | NO MODIFIER | TYPE | AIR STARTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1063452 | 1063452 | 1463359 | AU_QM_004848038 |  | ERSA | M | 5915 | 1463359GZPCLNT100 | EA |  | BALL,TUBE,SUIT SECO GRINDER | BALL,TUBE,SUIT SECO GRINDER | GUIDE PIECE: BALL,TUBE,SUIT SECO GRINDER |  | GUIDE PIECE:BALL,TUBE,SUIT SECO GRINDER | [34 empty] | URL Not Found |  |  | GRINDER | SECO | [5 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices |  |  | GUIDE | NO MODIFIER | TYPE | BALL,TUBE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1137236 | 1137236 | 1364246 | AU_QM_000165202 |  | ERSA | M | 2000 | 1364246GZPCLNT100 | EA |  | CUTTINGS GUIDE | CUTTINGS GUIDE | GUIDE PIECE: CUTTINGS GUIDE |  | GUIDE PIECE:CUTTINGS GUIDE |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3128304781 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 3128304781 | [16 empty] | https://drisan.com/overlook/6400112wNxDTjTE90 | [9 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices |  |  | GUIDE | NO MODIFIER | TYPE | CUTTING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1138037 | 1138037 | 1351240 | AU_QM_000135529 |  | ERSA | M | 1600 | 1351240GZPCLNT100 | EA |  | BRUSH HOLDER; EARTH ASSEMBLY;;500CB FRAM | BRUSH HOLDER; EARTH ASSEMBLY;;500CB FRAM | HOLDER ASSY,ELEC CONTACT BRUSH: BRUSH HOLDER; EARTH ASSEMBLY;;500CB FRAM E TECO; |  | HOLDER ASSY,ELEC CONTACT BRUSH: BRUSH HOLDER; EARTH ASSEMBLY;;500CB FRAM |  |  | 1068121 @@ TECO AUSTRALIA PTY LTD | 108/BRUSHEARTH | [10 empty] | TECO AUSTRALIA PTY LTD | 108/BRUSHEARTH | [18 empty] | URL Not Found |  |  | 500CB FRAME | TECO AUSTRALIA PTY LTD | [5 empty] | Cleansed | 26101400 Motor or generator components | EARTH ASSEMBLY |  | HOLDER | BRUSH ELECTRICAL | TYPE |  | BRUSH SIZE |  | MATERIAL |  | NUMBER OF LEGS |  | MAX CURRENT RATING |  | CONNECTION SCREW |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065113 | 1065113 | 1457313 | AU_QM_001298207 |  | ERSA | M | 1600 | 1457313GZPCLNT100 | EA |  | COMPLETE SET BRUSH GEAR ASSEMBLY; | COMPLETE SET BRUSH GEAR ASSEMBLY; | HOLDER ASSY,ELEC CONTACT BRUSH: COMPLETE SET BRUSH GEAR ASSEMBLY; SUIT TECO AEJS;450KW;4 POLE;440V;50HZ; ELECTRIC MOTOR;HP5 CRUSHER MOTOR; GFMS SURFACE CRUSHING PLANT; |  | HOLDER ASSY,ELEC CONTACT BRUSH: COMPLETE SET BRUSH GEAR ASSEMBLY; |  |  | 1068121 @@ TECO AUSTRALIA PTY LTD | BQ7255(TAC6488) ITEM 5 | [10 empty] | TECO AUSTRALIA PTY LTD | BQ7255(TAC6488) ITEM 5 | [18 empty] | URL Not Found |  | 5 | ELECTRIC MOTOR,450 KW,4P,440 V,50 HZ,CRUSHER MOTOR,SURFACE CRUSHING PLANT | TECO AUSTRALIA PTY LTD | AEJS,HP5,GFMS |  |  |  |  | Cleansed | 26101400 Motor or generator components | COMPLETE SET BRUSH GEAR ASSEMBLY |  | HOLDER | BRUSH ELECTRICAL | TYPE |  | BRUSH SIZE |  | MATERIAL |  | NUMBER OF LEGS |  | MAX CURRENT RATING |  | CONNECTION SCREW |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1109106 | 1109106 | 1362128 | AU_QM_000161138 |  | ERSA | M | 2620 | 1362128GZPCLNT100 | EA |  | ALTERNATOR BRUSH; TOYOTA J807 | ALTERNATOR BRUSH; TOYOTA J807 | HOLDER ASSY; ALTERNATOR BRUSH; TOYOTA J807 |  | HOLDER ASSY;ALTERNATOR BRUSH; TOYOTA J807 |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1362128 | [10 empty] | BELL & MOIR | 1362128 |  |  | TOYOTA | J807 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | ASSEMBLY |  | HOLDER | BRUSH | TYPE | ALTERNATOR | BRUSH SIZE |  | MATERIAL |  | NUMBER OF LEGS |  | MAX CURRENT RATING |  | CONNECTION SCREW |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1066854 | 1066854 | 1364449 | AU_QM_000165767 |  | ERSA | M | 1600 | 1364449GZPCLNT100 | EA |  | BRUSH HOLDER; AC WINGED - WEAR IND 40MM | BRUSH HOLDER; AC WINGED - WEAR IND 40MM | HOLDER,CARBON BRUSH: BRUSH HOLDER; AC WINGED - WEAR IND 40MM X 25MM SUITS BM04 MILL MOTOR |  | HOLDER,CARBON BRUSH:BRUSH HOLDER; AC WINGED - WEAR IND 40MM |  |  | 1070060 @@ CORTELA CARBON PTY LTD | 1364449 | [10 empty] | CORTELA CARBON PTY LTD | 1364449 | [18 empty] | URL Not Found |  |  | MILL MOTOR |  | BM04 |  |  |  |  | Cleansed | 23153000 Holding and positioning and guiding systems and devices | WEAR IND |  | HOLDER | BRUSH | TYPE | CARBON,AC WINGED | BRUSH SIZE | 40X25 MM | MATERIAL |  | NUMBER OF LEGS |  | MAX CURRENT RATING |  | CONNECTION SCREW |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1134572 | 1134572 | 1445764 | AU_QM_001014687 |  | ERSA | M | 2200 | 1445764GZPCLNT100 | EA |  | CRANE AIRCON TX VALVE CAGE;M7 SIGMA | CRANE AIRCON TX VALVE CAGE;M7 SIGMA | HOLDER,VALVE: CRANE AIRCON TX VALVE CAGE;M7 SIGMA UNIT; CU SMELTER CRANE AIR CONDITIONER |  | HOLDER,VALVE: CRANE AIRCON TX VALVE CAGE;M7 SIGMA |  |  | 1068542 @@ KNORR-BREMSE AUSTRALIA PTY LTD | 1445764 | [10 empty] | KNORR-BREMSE AUSTRALIA PTY LTD | 1445764 | [18 empty] | URL Not Found |  |  | CU SMELTER CRANE AIR CONDITIONER | [6 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | FOR AIRCON TX VALVE CAGE,M7 SIGMA UNIT |  | HOLDER | NO MODIFIER | TYPE | VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1134545 | 1134545 | 1447572 | AU_QM_001067628 |  | ERSA | M | 2200 | 1447572GZPCLNT100 | EA |  | DRY HOLE PQ/HWT; | DRY HOLE PQ/HWT; | HOLDER,VALVE: DRY HOLE PQ/HWT; LONGYEAR LM37 DIAMIOND DRILL |  | HOLDER,VALVE: DRY HOLE PQ/HWT; |  |  | 1068842 @@ AUSTRALASIAN MINING SERVICES | 1447572 | 1068617 @@ BOART LONGYEAR PTY LTD | 3540153 | [10 empty] | BOART LONGYEAR PTY LTD | 3540153 | AUSTRALASIAN MINING SERVICES | 1447572 | [14 empty] | https://www.unitools.ru/images/chisel_tool_id_64/9.pdf | https://www.distribucionespako.com/galeria_inf/i91_245.pdf |  | DIAMIOND DRILL | BOART LONGYEAR PTY LTD | LM37 |  |  |  |  | Cleansed | 23153000 Holding and positioning and guiding systems and devices | PQ/HWT |  | HOLDER | NO MODIFIER | TYPE | DRY HOLE VALVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1137447 | 1137447 | 1438560 | AU_QM_000971475 |  | ERSA | M | 4100 | 1438560GZPCLNT100 | EA |  | BC;BATTEN TYPE;LONG SKIRT; | BC;BATTEN TYPE;LONG SKIRT; | LAMPHOLDER: BC;BATTEN TYPE;LONG SKIRT; 3-PCE STRAIGHT;4 SCREW TERMINALS; STANDARD,68MM DIA BASE |  | LAMPHOLDER: BC;BATTEN TYPE;LONG SKIRT; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 530WE | [12 empty] | CLIPSAL | 530-WE | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://shop.cnw.com.au/medias/CLI530WE.pdf?context=bWFzdGVyfHJvb3R8NDM4NzN8YXBwbGljYXRpb24vcGRmfGgzNy9oZjgvOTkwOTI0MDc1ODMwMi9DTEk1MzBXRS5wZGZ8MzRiYTYxNmNmNzA0MzkyNjgxNzgzMzQzMjI2YWM1ZTk3YmE2Njg1MmM0NWVmY2UxZWExODhhY2M4MmI4M2VhZA | [9 empty] | Enriched | 39111803 Lamp sockets | C/W LONG SAFETY SKIRT | COLOR:WHITE | HOLDER | LAMP | TYPE | BC,BATTEN,3-PIECE STRAIGHT,STANDARD | LAMP TYPE |  | POWER RATING |  | VOLTAGE RATING |  | LAMP BASE |  | HOLDER MATERIAL |  | SIZE | 68 MM DIA BASE | MOUNTING TYPE | SURFACE | TERMINAL TYPE | 4 SCREW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1063332 | 1063332 | 1430065 | AU_QM_000636787 |  | ERSA | M | 5100 | 1430065GZPCLNT100 | EA |  | 110VAC COIL | 110VAC COIL | RELAY,ELECTROMAGNETIC: 110VAC COIL |  | RELAY,ELECTROMAGNETIC:110VAC COIL |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 9T-ECA2-AN4F | [10 empty] | LAWRENCE & HANSON PTY. LTD. | 9T-ECA2-AN4F | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE | 110 VAC | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1063336 | 1063336 | 1430039 | AU_QM_000635656 |  | ERSA | M | 5100 | 1430039GZPCLNT100 | EA |  | 110VDC COIL,N/O,16A CONTACTS,C/W BASE | 110VDC COIL,N/O,16A CONTACTS,C/W BASE | RELAY,ELECTROMAGNETIC: 110VDC COIL,N/O,16A CONTACTS,C/W BASE |  | RELAY,ELECTROMAGNETIC:110VDC COIL,N/O,16A CONTACTS,C/W BASE |  |  | 1068652 @@ J BLACKWOOD & SONS | 1430039 | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4S-SCS1110 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430039 | 1068093 @@ BLACKWOODS & SONS | 1430039 |  |  |  |  | LAWRENCE & HANSON PTY. LTD. | 4S-SCS1110 |  |  | CNW (TOWNSVILLE) ELECT SUPPLIES | [11 empty] | J BLACKWOOD & SONS | 1430039 |  |  | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay | C/W BASE |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING |  | COIL VOLTAGE | 110 VDC | CONTACT CONFIGURATION | NO | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1108960 | 1108960 |  |  |  | ERSA | M | 5100 | 1470597GZPCLNT100 | EA |  | 220VDC | 220VDC | RELAY,ELECTROMAGNETIC: 220VDC RXMM |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470597 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470597 |  |  | ABB AUSTRALIA PTY LTD | RXMM | [14 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE | 220 VDC | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1063333 | 1063333 | 1430064 | AU_QM_000636761 |  | ERSA | M | 5100 | 1430064GZPCLNT100 | EA |  | 24VDC COIL | 24VDC COIL | RELAY,ELECTROMAGNETIC: 24VDC COIL |  | RELAY,ELECTROMAGNETIC:24VDC COIL |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | T-ECA3KN22BD | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430064 | [10 empty] | SCHNEIDER ELECTRIC | T-ECA3KN22BD | LAWRENCE & HANSON PTY. LTD. |  | CNW (TOWNSVILLE) ELECT SUPPLIES | 1430064 | [12 empty] | https://rexel.it/prodotto/rele-di-controllo-schneider-electric-configurazione-2na-2nc-47234 | [9 empty] | Enriched | 39122331 Control relay |  |  | RELAY | NO MODIFIER | TYPE | ELECTRIC CONTROL | COIL RATING |  | CONTACT RATING | 24 VDC,10 A | CONTACT CONFIGURATION | 2 NO 2 NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL/SCREW | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1063331 | 1063331 | 1430069 | AU_QM_000636852 |  | ERSA | M | 5100 | 1430069GZPCLNT100 | EA |  | 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW | 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW | RELAY,ELECTROMAGNETIC: 24VDC COIL,PLUG IN,2 POLE DOUBLE THROW |  | RELAY,ELECTROMAGNETIC:24VDC COIL,PLUG IN,2 POLE DOUBLE THROW |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4NATHL2-H-DC24V | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430069 | [8 empty] | LAWRENCE & HANSON PTY. LTD. | 4NATHL2-H-DC24V |  |  | CNW (TOWNSVILLE) ELECT SUPPLIES | 1430069 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE | 24 VDC | CONTACT CONFIGURATION | DPDT | MOUNTING TYPE |  | TERMINAL TYPE | PLUG-N | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1068322 | 1068322 | 1430051 | AU_QM_000636118 |  | ERSA | M | 5100 | 1430051GZPCLNT100 | EA |  | 24VDC COIL;3PDT;INDICATOR; | 24VDC COIL;3PDT;INDICATOR; | RELAY,ELECTROMAGNETIC: 24VDC COIL;3PDT;INDICATOR; 11 PIN PLUG IN TERMINAL; |  | RELAY,ELECTROMAGNETIC:24VDC COIL;3PDT;INDICATOR; |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | 4OMRMK3P24VDC | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430051 | [8 empty] | LAWRENCE & HANSON PTY. LTD. | 4OMRMK3P24VDC |  |  | CNW (TOWNSVILLE) ELECT SUPPLIES | 1430051 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE | 24 VDC | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE | 11-PIN PLUG-IN | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1064307 | 1064307 |  |  |  | ERSA | M | 5100 | 1470473GZPCLNT100 | EA |  | AUXILIARY | AUXILIARY | RELAY,ELECTROMAGNETIC: AUXILIARY |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470473 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470473 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065400 | 1065400 |  |  |  | ERSA | M | 5100 | 1470475GZPCLNT100 | EA |  | AUXILIARY | AUXILIARY | RELAY,ELECTROMAGNETIC: AUXILIARY |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470475 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470475 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065401 | 1065401 |  |  |  | ERSA | M | 5100 | 1470476GZPCLNT100 | EA |  | AUXILIARY | AUXILIARY | RELAY,ELECTROMAGNETIC: AUXILIARY |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470476 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470476 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065402 | 1065402 |  |  |  | ERSA | M | 5100 | 1470477GZPCLNT100 | EA |  | AUXILIARY | AUXILIARY | RELAY,ELECTROMAGNETIC: AUXILIARY |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470477 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470477 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065403 | 1065403 |  |  |  | ERSA | M | 5100 | 1470478GZPCLNT100 | EA |  | AUXILIARY | AUXILIARY | RELAY,ELECTROMAGNETIC: AUXILIARY |  |  |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470478 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470478 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | AUXILIARY | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065408 | 1065408 | 1470483 | AU_QM_009146515 |  | ERSA | M | 5100 | 1470483GZPCLNT100 | EA |  | CURRENT (DIRECTIONAL) | CURRENT (DIRECTIONAL) | RELAY,ELECTROMAGNETIC: CURRENT (DIRECTIONAL) |  | RELAY,ELECTROMAGNETIC:CURRENT (DIRECTIONAL) |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1470483 | [10 empty] | ABB AUSTRALIA PTY LTD | 1470483 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay |  |  | RELAY | ELECTROMAGNET | TYPE | CURRENT,DIRECTIONAL | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1063981 | 1063981 | 1424373 | AU_QM_000334986 |  | ERSA | M | 5100 | 1424373GZPCLNT100 | EA |  | 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 | 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 | RELAY,THERMAL OVERLOAD: 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 *REPLACED BY S/C 989350 CA3 SERIES REPLACED BY CA7 SERIES* |  | RELAY,THERMAL OVERLOAD: 1-1.6A;0.35-0.6KW;CONTACTOR CA3-9/12/16 |  |  | 1068652 @@ J BLACKWOOD & SONS | 1424373 | 1068093 @@ BLACKWOODS & SONS | 1424373 | [24 empty] | J BLACKWOOD & SONS | 1424373 |  |  | URL Not Found | [9 empty] | Cleansed | 39122330 Overload relay | FOR CONTACTOR CA3-9/12/16 REPLACED BY S/C 989350 CA3 SERIES REPLACED BY CA7 SERIES |  | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 1 TO 1.6 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 | Processed based on Websource, Conflict w.r.t Input | 1139915 | 1139915 | 1453227 | AU_QM_001206630 |  | ERSA | M | 5100 | 1453227GZPCLNT100 | EA |  | CIRCUIT BREAKER 2 POLE 4A 10KA C CURVE; | CIRCUIT BREAKER 2 POLE 4A 10KA C CURVE; | RELAY,THERMAL OVERLOAD: CIRCUIT BREAKER 2 POLE 4A 10KA C CURVE; |  | RELAY,THERMAL OVERLOAD: CIRCUIT BREAKER 2 POLE 4A 10KA C CURVE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | DTCB10204C | [12 empty] | NHP | DTCB10204C | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTCB10204C-6510-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 39121603 Miniature circuit breakers |  |  | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 12 TO 440 VAC,12 TO 120 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | IEC 60898,IEC 60077-16-3,IEC 60947-2,IEC 60068-2,DIN 40046,UL 94 V-2,AS/NZS 3111:2009 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1064327 | 1064327 | 1365866 | AU_QM_000168383 |  | ERSA | M | 5100 | 1365866GZPCLNT100 | EA |  | EARTH FAULT RELAY ELECTRICAL; ATLAS COPC | EARTH FAULT RELAY ELECTRICAL; ATLAS COPC | RELAY,THERMAL OVERLOAD: EARTH FAULT RELAY ELECTRICAL; ATLAS COPC O EASER L |  | RELAY,THERMAL OVERLOAD: EARTH FAULT RELAY ELECTRICAL; ATLAS COPC |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365866 | [10 empty] | EPIROC AUSTRALIA PTY LTD | 1365866 | [18 empty] | URL Not Found |  |  | EASER L | ATLAS COPCO | [5 empty] | Cleansed | 39122330 Overload relay |  |  | RELAY | OVERLOAD | TYPE | THERMAL,EARTH FAULT | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1064328 | 1064328 |  |  |  | ERSA | M | 5100 | 1365867GZPCLNT100 | EA |  | EARTH FAULT RELAY ELECTRICAL; ATLAS COPC | EARTH FAULT RELAY ELECTRICAL; ATLAS COPC | RELAY,THERMAL OVERLOAD: EARTH FAULT RELAY ELECTRICAL; ATLAS COPC O EASER L |  |  |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1365867 | [10 empty] | EPIROC AUSTRALIA PTY LTD | 1365867 | [18 empty] | URL Not Found |  |  | EASER L | ATLAS COPCO | [5 empty] | Cleansed | 39122330 Overload relay |  |  | RELAY | OVERLOAD | TYPE | THERMAL,EARTH FAULT | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1140153 | 1140153 | 1392121 | AU_QM_000235150 |  | ERSA | M | 2200 | 1392121GZPCLNT100 | EA |  | DISC HOLDER ASSY;ITEM 13;SER.299HS PRESS | DISC HOLDER ASSY;ITEM 13;SER.299HS PRESS | RETAINER,DISC,VALVE: DISC HOLDER ASSY;ITEM 13;SER.299HS PRESS REDUC.REGULATOR;PCV 45024.5 AND 6;TO DWG 145-8-1039 LAUNDER NAT.GAS PR |  | RETAINER,DISC,VALVE:DISC HOLDER ASSY;ITEM 13;SER.299HS PRESS |  |  | 1071812 @@ PACIFIC CONTROLS PTY LIMITED | 1P7349000A2 | [12 empty] | EMERSON | 1P7349000A2 | PACIFIC CONTROLS PTY LIMITED | [15 empty] | https://www.emerson.com/documents/automation/s201p-s202p-gas-regulators-instruction-manual-en-140930.pdf | https://www.eindustrialsolutions.com/aftermarket-fisher-1p7349000a2-disk-holder-assembly | 13 |  |  |  |  | 145-8-1039 |  |  | Enriched | 40141616 Valve parts or accessories | ASSEMBLY,FOR SER.299HS PRESSURE REDUCING REGULATOR,PCV 45024.5 AND 6 |  | HOLDER | DISC | TYPE | VALVE | DISC DIAMETER | 1-1/2 TO 2 IN | SHANK SIZE |  | MATERIAL |  | SHANK TYPE |  | DISC TYPE |  | SPEED RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1134063 | 1134063 | 1392124 | AU_QM_000235226 |  | ERSA | M | 2200 | 1392124GZPCLNT100 | EA |  | DISC HOLDER ASSY;ITEM 9;TYPE 627 PRESS. | DISC HOLDER ASSY;ITEM 9;TYPE 627 PRESS. | RETAINER,DISC,VALVE: DISC HOLDER ASSY;ITEM 9;TYPE 627 PRESS. REDUC.REGULATOR;PCV 45002-25NB;TO DWG 145-8-1039 LAUNDER NAT.GAS PRESS.CONTROL CIP LAUNDER HOOD BURNERS |  | RETAINER,DISC,VALVE:DISC HOLDER ASSY;ITEM 9;TYPE 627 PRESS. |  |  | 1071812 @@ PACIFIC CONTROLS PTY LIMITED | 1C4248X0212 | [12 empty] | EMERSON | 1C4248X0212 | PACIFIC CONTROLS PTY LIMITED | [15 empty] | https://www.emerson.com/documents/automation/manuals-627-series-pressure-reducing-regulators-instruction-manual-fisher-en-en-6106180.pdf | https://www.regulatorparts.com/Qstore/p000069.htm | 9 |  |  |  |  | 145-8-1039 |  |  | Enriched | 40141616 Valve parts or accessories | ASSEMBLY,FOR 627 PRESSURE REDUCING REGULATOR,PCV 45002-25NB,145-8-1039 LAUNDER NATURAL GAS PRESSURE CONTROL CIP LAUNDER HOOD BURNERS |  | HOLDER | DISC | TYPE | VALVE | DISC DIAMETER |  | SHANK SIZE |  | MATERIAL | ALUMINUM/NITRILE | SHANK TYPE |  | DISC TYPE |  | SPEED RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065744 | 1065744 |  |  |  | ERSA | M | 1600 | 1459569GZPCLNT100 | EA |  | 15 - 100KPA RANGE | 15 - 100KPA RANGE | SWITCH,PRESSURE: 15 - 100KPA RANGE | [36 empty] | URL Not Found | [9 empty] | Cleansed | 39122210 Pressure switch |  |  | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 15 TO 100 KPA | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1066982 | 1066982 |  |  |  | ERSA | M | 1600 | 1368615GZPCLNT100 | EA |  | 2 ENGINE ASSY:CHARMEC MC 605 D(V) | 2 ENGINE ASSY:CHARMEC MC 605 D(V) | SWITCH,PRESSURE: 2 ENGINE ASSY:CHARMEC MC 605 D(V) |  |  |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 55121719 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 55121719 | [18 empty] | URL Not Found |  |  | ENGINE |  | CHARMEC MC 605 D(V) |  |  |  |  | Cleansed | 39122210 Pressure switch | ASSEMBLY |  | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1064663 | 1064663 | 1357288 | AU_QM_000150365 |  | ERSA | M | 5100 | 1357288GZPCLNT100 | EA |  | DANFOSS MP54 DIFFERENTIAL PRESSURE CONTR | DANFOSS MP54 DIFFERENTIAL PRESSURE CONTR | SWITCH,PRESSURE: DANFOSS MP54 DIFFERENTIAL PRESSURE CONTR OL;FOR GFM L72 WINDER DRIVE CHILLER SYST EM |  | SWITCH,PRESSURE:DANFOSS MP54 DIFFERENTIAL PRESSURE CONTR |  |  | 1068321 @@ ABB AUSTRALIA PTY LTD | 1357288 | [12 empty] | DANFOSS | MP54 | ABB AUSTRALIA PTY LTD | 1357288 | [14 empty] | https://store.danfoss.com/sg/en/Climate-Solutions-for-cooling/Switches/Differential-pressure-switches/Differential-pressure-switch%2C-MP54/p/060B016866 |  |  | WINDER DRIVE CHILLER SYSTEM | GFM | L72 |  |  |  |  | Enriched | 39122210 Pressure switch |  | MAXIMUM WORKING PRESSURE:17 BAR | SWITCH | PRESSURE | TYPE | DIFFERENTIAL | MEASURING RANGE | -1 TO 12 BAR | PROCESS CONNECTION | 1/4 IN | CONTACT CONFIGURATION |  | ENCLOSURE | IP20 | TEMPERATURE RATING | -40 TO 60 DEG C | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CMIM,EAC,GL,LLC CDC EURO-TYSK,LVD,ROHS,ROHS CHINA,TYSK,UKCA | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1138779 | 1138779 | 1425981 | AU_QM_000361477 |  | ERSA | M | 1600 | 1425981GZPCLNT100 | EA |  | DELTA TYPE 201;SS BELLOWS;5-120MB; | DELTA TYPE 201;SS BELLOWS;5-120MB; | SWITCH,PRESSURE: DELTA TYPE 201;SS BELLOWS;5-120MB; WEATHERPROOF NO 3 COWPER STOVE (ISF) |  | SWITCH,PRESSURE:DELTA TYPE 201;SS BELLOWS;5-120MB; | [16 empty] | DELTA CONTROLS | 201 | [16 empty] | https://www.environmental-expert.com/products/delta-controls-model-201-pressure-switch-496395 |  |  | NO 3 COWPER STOVE (ISF) | [6 empty] | Cleansed | 39122210 Pressure switch |  |  | SWITCH | PRESSURE | TYPE | WEATHER PROOF | MEASURING RANGE | 5 TO 12 MBAR | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP66 | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL | STAINLESS STEEL BELLOWS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065745 | 1065745 | 1459571 | AU_QM_002220210 |  | ERSA | M | 1600 | 1459571GZPCLNT100 | EA |  | DIFFERENTIAL | DIFFERENTIAL | SWITCH,PRESSURE: DIFFERENTIAL |  | SWITCH,PRESSURE:DIFFERENTIAL | [34 empty] | URL Not Found | [9 empty] | Cleansed | 39122210 Pressure switch |  |  | SWITCH | PRESSURE | TYPE | DIFFERENTIAL | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1112344 | 1112344 | 1439093 | AU_QM_000978494 |  | ERSA | M | 1600 | 1439093GZPCLNT100 | EA |  | DRIER FAN PRESSURE SWITCH (PV); | DRIER FAN PRESSURE SWITCH (PV); | SWITCH,PRESSURE: DRIER FAN PRESSURE SWITCH (PV); R22 REFRIGERANT GAS SERVICE; FOR COMPAIR S/NO.147596002 SCM422 REFRIGERATED AIR DRYER |  | SWITCH,PRESSURE:DRIER FAN PRESSURE SWITCH (PV); | [34 empty] | URL Not Found |  |  | REFRIGERATED AIR DRYER,FAN | COMPAIR | SCM422 | 147596002 |  |  |  | Cleansed | 39122210 Pressure switch | FOR R22 REFRIGERANT GAS SERVICE |  | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-15 |  | 1065741 | 1065741 | 1459522 | AU_QM_002218675 |  | ERSA | M | 1600 | 1459522GZPCLNT100 | EA |  | ACTUATOR; | ACTUATOR; | SWITCH,PUSH: ACTUATOR; |  | SWITCH,PUSH:ACTUATOR; | [34 empty] | URL Not Found | [9 empty] | Cleansed | 39122216 Push button switch | FOR ACTUATOR |  | SWITCH | PUSH | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed