## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1138581 | 1138581 | 1438387 | AU_QM_000969345 |  | ERSA | M | 1600 | 1438387GZPCLNT100 | EA |  | BRIDGE;1 PHASE;15 AMP; | BRIDGE;1 PHASE;15 AMP; | RECTIFIER: BRIDGE;1 PHASE;15 AMP; |  | RECTIFIER:BRIDGE;1 PHASE;15 AMP; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | GBPC2510 | [13 empty] | GBPC2510 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.mouser.in/ProductDetail/onsemi-Fairchild/GBPC2510?qs=v%252BzX%252B9xpeP6a1icPyzzFUg%3D%3D | https://www.global-ic.com/productdetail/AMI-Semiconductor-onsemi-GBPC2510-13453608?gclid=Cj0KCQiAr8eqBhD3ARIsAIe-buM1nlwnSxqlkMbHy7xfRGxKgSeowJz1CVP5R2MNf4DsQIkSt7eebQwaApE7EALw_wcB | [8 empty] | Enriched | 32121708 Bridge rectifier | NUMBER OF PHASE:1,CURRENT RATING:15 A |  | RECTIFIER | BRIDGE | TYPE |  | MAX PEAK REVERSE VOLTAGE | 1 KV | MAX DC FORWARD CURRENT | 25 A | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE | 1.1 KV | POWER DISSIPATION |  | TEMPERATURE RATING | -55 TO 150 DEG C | CONNECTION TYPE |  | MOUNTING TYPE | SCREW | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1138675 | 1138675 |  |  |  | ERSA | M | 1600 | 1432570GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | PLUG: CAT EQUIPMENT SERVICE; |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1432570 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9S8006 | [10 empty] | CATERPILLAR | 9S-8006 | CNW (MOUNT ISA) ELECT WHOLESALER | 1432570 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/9S-8006 | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR EQUIPMENT SERVICE |  | PLUG | NO MODIFIER | TYPE | DRIVE | SIZE | 26.67 LGX26.67 WDX16.51 HT MM | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1139065 | 1139065 | 1349402 | AU_QM_000119966 |  | ERSA | M | 5920 | 1349402GZPCLNT100 | EA |  | CAT ENGINE VIBRATION DAMPER; | CAT ENGINE VIBRATION DAMPER; | DAMPENER,VIBRATION: CAT ENGINE VIBRATION DAMPER; 4P5893 DAMPER GRP; ELPHINSTONE R2900 LHD |  | DAMPENER,VIBRATION: CAT ENGINE VIBRATION DAMPER; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 7E9520 | [12 empty] | CATERPILLAR | 7E-9520 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/7E-9520 |  |  | LHD | CATERPILLAR ELPHINSTONE | R2900 |  |  |  |  | Cleansed | 26101765 Vibration dampers | GROUP |  | DAMPER | NO MODIFIER | TYPE | ENGINE VIBRATION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | NM BASED ON WEB SOURCE | 1139416 | 1139416 | 1442821 | AU_QM_000997730 |  | ERSA | M | 5100 | 1442821GZPCLNT100 | EA |  | AD40/D250E POWERTRAIN CONTROL MODULE; | AD40/D250E POWERTRAIN CONTROL MODULE; | ELECTRONIC MODULE: AD40/D250E POWERTRAIN CONTROL MODULE; TRANSMISSION POSITION SENSOR GROUP; CATERPILLAR D250E ARTICULATED TRUCK ELPHINSTONE AD40 I/II DUMP TRUCKS |  | ELECTRONIC MODULE:AD40/D250E POWERTRAIN CONTROL MODULE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1442821 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1267896 | [10 empty] | CATERPILLAR | 126-7896 | CNW (MOUNT ISA) ELECT WHOLESALER | 1442821 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/126-7896 |  |  | ARTICULATED,DUMP TRUCKS | CATERPILLAR ELPHINSTONE | D250E,AD40 I/II |  |  |  |  | Enriched | 41111900 Indicating and recording instruments | ELECTRONIC POWERTRAIN CONTROL MODULE,TRANSMISSION POSITION SENSOR GROUP |  | SENSOR | POSITION | TYPE | TRANSMISSION CONTROL SWITCH | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE | 4 PIN | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1139585 | 1139585 |  |  |  | ERSA | M | 5910 | 1436455GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | PLUG: CAT EQUIPMENT SERVICE; |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1436455 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 9S8003 | [10 empty] | CATERPILLAR | 9S-8003 | CNW (MOUNT ISA) ELECT WHOLESALER | 1436455 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/9S-8003 | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR EQUIPMENT SERVICE |  | PLUG | NO MODIFIER | TYPE | DRIVE | SIZE | 1/2 IN-20 TPI | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1139820 | 1139820 | 1466143 | AU_QM_007124584 |  | ERSA | M | 5100 | 1466143GZPCLNT100 | EA |  | CIP FAN DUCTING RTD;PT100 OHM; | CIP FAN DUCTING RTD;PT100 OHM; | TRANSMITTER,TEMP,ELEC: CIP FAN DUCTING RTD;PT100 OHM; 100 OHM @ 0 DEG C; MIMDWG 149-6-6355 ITEM 23; INDUSTRIAL THERMOCOUPLE SUPPLIES |  | TRANSMITTER,TEMP,ELEC:CIP FAN DUCTING RTD;PT100 OHM; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4INDITS-ALH-001 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 4INDITS-ALH-001 | INDUSTRIAL THERMOCOUPLE SUPPLIES | [13 empty] | URL NOT FOUND |  | 23 |  |  |  |  | 149-6-6355 |  |  | Cleansed | 41111900 Indicating and recording instruments | RESISTANCE:PT100 OHM,100 OHM AT 0 DEG C,CIP FAN DUCTING RTD |  | TRANSMITTER | TEMPERATURE | TYPE | ELECTRICAL | MEASURING RANGE |  | ACCURACY |  | INPUT TYPE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | MATERIAL |  | SUPPLY VOLTAGE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1140545 | 1140545 | 1429866 | AU_QM_000629796 |  | ERSA | M | 5620 | 1429866GZPCLNT100 | EA |  | CAT 4N2452 WATER LINES; | CAT 4N2452 WATER LINES; | PLUG,MACHINE THREAD: CAT 4N2452 WATER LINES; |  | PLUG,MACHINE THREAD:CAT 4N2452 WATER LINES; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1429866 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 5M6214 | [10 empty] | CATERPILLAR | 5M-6214 | CNW (MOUNT ISA) ELECT WHOLESALER | 1429866 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | https://parts.cat.com/en/catcorp/5M-6214 | [9 empty] | Enriched | 40141700 Hardware and fittings | FOR 4N2452 WATER LINES |  | PLUG | NO MODIFIER | TYPE | DRIVE,MACHINE THREAD | SIZE | 1/8 IN-27 TPI | END CONNECTION |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1140783 | 1140783 | 1461501 | AU_QM_002703430 |  | ERSA | M | 2200 | 1461501GZPCLNT100 | EA |  | ASTM GRADE.416 STAINLESS STEEL | ASTM GRADE.416 STAINLESS STEEL | PLUG,VALVE: ASTM GRADE.416 STAINLESS STEEL |  | PLUG,VALVE: ASTM GRADE.416 STAINLESS STEEL |  |  | 1071812 @@ PACIFIC CONTROLS PTY LIMITED | 1V657546172 | [13 empty] | 1V657546172 | PACIFIC CONTROLS PTY LIMITED | [15 empty] | https://www.eindustrialsolutions.com/aftermarket-fisher-1v657546172-valve-plug | [9 empty] | Cleansed | 40141616 Valve parts or accessories |  |  | PLUG | VALVE | VALVE SIZE |  | PLUG MATERIAL | STAINLESS STEEL ASTM GRADE 416 | SIZE |  | FLOW RATING |  | PRESSURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1140859 | 1140859 | 1455053 | AU_QM_001245172 |  | ERSA | M | 4090 | 1455053GZPCLNT100 | EA |  | DAMPER,SHIMMY: | DAMPER,SHIMMY: | DAMPER,SHIMMY: |  | DAMPER,SHIMMY: |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 45700-69015 | 1071809 @@ ASHDOWN ENTERPRISES | 45700-69015 | 1068087 @@ ASHDOWN INGRAM | 45700-69015 | [8 empty] | TOYOTA | 45700-69015 | BELL & MOIR - PARTS ORDERS ONLY |  | ASHDOWN ENTERPRISES | [13 empty] | https://www.toyotapartsdeal.com/oem/toyota~damper~assy~steering~45700-69015.html | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | DAMPER | NO MODIFIER | TYPE | STEERING,SHIMMY | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145198 | 1145198 |  |  |  | ERSA | M | 1600 | 1537004GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMIS,YURIKA,2403599 | DAMPER;VIBRATION,TRANSMIS,YURIKA,2403599 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMIS,YURIKA,2403599 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2403599 | [14 empty] | YURIKA PTY LTD | 2403599 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145203 | 1145203 |  |  |  | ERSA | M | 1600 | 1536999GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,33KV,YURIKA,2403490 | ARRESTER;ELEC,SURGE,33KV,YURIKA,2403490 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,33KV,YURIKA,2403490 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2403490 | [14 empty] | YURIKA PTY LTD | 2403490 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121634 Surge arrestor |  |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE | 33 KV | SURGE CURRENT |  | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145204 | 1145204 |  |  |  | ERSA | M | 1600 | 1536998GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,11KV,YURIKA,2403488 | ARRESTER;ELEC,SURGE,11KV,YURIKA,2403488 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,11KV,YURIKA,2403488 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2403488 | [13 empty] | 2403488 | YURIKA PTY LTD | [15 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0003/8481/RSMO2-UDC-Compatible-Materials-Listing.pdf | [9 empty] | Enriched | 39121634 Surge arrestor |  |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE | 11 KV | SURGE CURRENT | 10 KA | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145512 | 1145512 |  |  |  | ERSA | M | 1600 | 1536433GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMISS,YURIKA,417604 | DAMPER;VIBRATION,TRANSMISS,YURIKA,417604 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMISS,YURIKA,417604 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 417604 | [14 empty] | YURIKA PTY LTD | 417604 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145513 | 1145513 |  |  |  | ERSA | M | 1600 | 1536432GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMISS,YURIKA,417558 | DAMPER;VIBRATION,TRANSMISS,YURIKA,417558 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMISS,YURIKA,417558 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 417558 | 1070799 @@ YURIKA PTY LTD | 1536432 | [12 empty] | YURIKA PTY LTD | 417558 | YURIKA PTY LTD | 1536432 | [12 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145514 | 1145514 |  |  |  | ERSA | M | 1600 | 1536431GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMISS,YURIKA,417523 | DAMPER;VIBRATION,TRANSMISS,YURIKA,417523 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMISS,YURIKA,417523 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 417523 | [14 empty] | YURIKA PTY LTD | 417523 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145515 | 1145515 |  |  |  | ERSA | M | 1600 | 1536430GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMISS,YURIKA,417515 | DAMPER;VIBRATION,TRANSMISS,YURIKA,417515 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMISS,YURIKA,417515 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 417515 | [14 empty] | YURIKA PTY LTD | 417515 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145741 | 1145741 |  |  |  | ERSA | M | 1600 | 1536192GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMISS,YURIKA,104195 | DAMPER;VIBRATION,TRANSMISS,YURIKA,104195 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMISS,YURIKA,104195 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 104195 | [14 empty] | YURIKA PTY LTD | 104195 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145900 | 1145900 |  |  |  | ERSA | M | 1600 | 1537245GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,LDC3,YURIKA,2429751 | ARRESTER;ELEC,SURGE,LDC3,YURIKA,2429751 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,LDC3,YURIKA,2429751 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2429751 | [14 empty] | YURIKA PTY LTD | 2429751 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121634 Surge arrestor | LDC3 |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE |  | SURGE CURRENT |  | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145953 | 1145953 |  |  |  | ERSA | M | 1600 | 1537189GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMIS,YURIKA,2419497 | DAMPER;VIBRATION,TRANSMIS,YURIKA,2419497 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMIS,YURIKA,2419497 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2419497 | [14 empty] | YURIKA PTY LTD | 2419497 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145990 | 1145990 |  |  |  | ERSA | M | 1600 | 1537129GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407138 | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407138 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMIS,YURIKA,2407138 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407138 | [14 empty] | YURIKA PTY LTD | 2407138 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145991 | 1145991 |  |  |  | ERSA | M | 1600 | 1537128GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407129 | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407129 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMIS,YURIKA,2407129 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407129 | [14 empty] | YURIKA PTY LTD | 2407129 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1145992 | 1145992 |  |  |  | ERSA | M | 1600 | 1537127GZPCLNT100 | EA |  | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407126 | DAMPER;VIBRATION,TRANSMIS,YURIKA,2407126 | DAMPER;ADDITIONAL FEATURES:VIBRATION,TRANSMIS,YURIKA,2407126 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2407126 | [14 empty] | YURIKA PTY LTD | 2407126 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101765 Vibration dampers |  |  | DAMPER | NO MODIFIER | TYPE | VIBRATION,TRANSMISSION | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1146199 | 1146199 |  |  |  | ERSA | M | 1600 | 1536607GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,33KV,YURIKA,701155 | ARRESTER;ELEC,SURGE,33KV,YURIKA,701155 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,33KV,YURIKA,701155 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 701155 | [14 empty] | YURIKA PTY LTD | 701155 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121634 Surge arrestor |  |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE | 33 KV | SURGE CURRENT |  | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1146200 | 1146200 |  |  |  | ERSA | M | 1600 | 1536606GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,22KV,YURIKA,701112 | ARRESTER;ELEC,SURGE,22KV,YURIKA,701112 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,22KV,YURIKA,701112 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 701112 | [14 empty] | YURIKA PTY LTD | 701112 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121634 Surge arrestor |  |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE | 22 KV | SURGE CURRENT |  | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1146201 | 1146201 |  |  |  | ERSA | M | 1600 | 1536605GZPCLNT100 | EA |  | ARRESTER;ELEC,SURGE,11KV,YURIKA,701082 | ARRESTER;ELEC,SURGE,11KV,YURIKA,701082 | ARRESTER;ADDITIONAL FEATURES:ELEC,SURGE,11KV,YURIKA,701082 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 701082 | [14 empty] | YURIKA PTY LTD | 701082 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121634 Surge arrestor |  |  | ARRESTER | ELECTRICAL | TYPE | SURGE | NOMINAL VOLTAGE | 11 KV | SURGE CURRENT |  | MAX VOLTAGE |  | MATERIAL |  | MECHANICAL STRENGTH |  | OVERALL SIZE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149188 | 1149188 |  |  |  | ERSA | M | 2620 | 1531552GZPCLNT100 | EA |  | ARRESTER;FLASH BACK,TWIN PACK,TESFRQD4D | ARRESTER;FLASH BACK,TWIN PACK,TESFRQD4D | ARRESTER;ADDITIONAL FEATURES:FLASH BACK,TWIN PACK,TESFRQD4D |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TESFRQD4D | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TESFRQD4D | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23271717 Flashback arrestor | TWIN PACK |  | ARRESTER | FLASHBACK | TYPE |  | FLOW RATING |  | NOMINAL SIZE |  | GAS TYPE |  | PRESSURE RATING |  | CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149189 | 1149189 |  |  |  | ERSA | M | 2620 | 1531551GZPCLNT100 | EA |  | ARRESTER;FLASH BACK,OXYGEN,RE,TESFRSOQD4 | ARRESTER;FLASH BACK,OXYGEN,RE,TESFRSOQD4 | ARRESTER;ADDITIONAL FEATURES:FLASH BACK,OXYGEN,RE,TESFRSOQD4 |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TESFRSOQD4 | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TESFRSOQD4 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23271717 Flashback arrestor | RE |  | ARRESTER | FLASHBACK | TYPE | OXYGEN | FLOW RATING |  | NOMINAL SIZE |  | GAS TYPE |  | PRESSURE RATING |  | CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149190 | 1149190 |  |  |  | ERSA | M | 2620 | 1531550GZPCLNT100 | EA |  | ARRESTER;FLASH BACK,FUEL,REG,TESFRSFQD4 | ARRESTER;FLASH BACK,FUEL,REG,TESFRSFQD4 | ARRESTER;ADDITIONAL FEATURES:FLASH BACK,FUEL,REG,TESFRSFQD4 |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TESFRSFQD4 | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TESFRSFQD4 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23271717 Flashback arrestor | REG |  | ARRESTER | FLASHBACK | TYPE | FUEL | FLOW RATING |  | NOMINAL SIZE |  | GAS TYPE |  | PRESSURE RATING |  | CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149191 | 1149191 |  |  |  | ERSA | M | 2620 | 1531549GZPCLNT100 | EA |  | ARRESTER;FLASH BACK,TORCH,AC,TES07012123 | ARRESTER;FLASH BACK,TORCH,AC,TES07012123 | ARRESTER;ADDITIONAL FEATURES:FLASH BACK,TORCH,AC,TES07012123 |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TES07012123 | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TES07012123 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23271717 Flashback arrestor | AC |  | ARRESTER | FLASHBACK | TYPE | TORCH | FLOW RATING |  | NOMINAL SIZE |  | GAS TYPE |  | PRESSURE RATING |  | CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149192 | 1149192 |  |  |  | ERSA | M | 2620 | 1531548GZPCLNT100 | EA |  | ARRESTER;FLASH BACK,TORCH,OX,TES07012128 | ARRESTER;FLASH BACK,TORCH,OX,TES07012128 | ARRESTER;ADDITIONAL FEATURES:FLASH BACK,TORCH,OX,TES07012128 |  |  |  |  | 1068264 @@ GLOBAL WELDING SUPPLIES (MT ISA) | TES07012128 | [14 empty] | GLOBAL WELDING SUPPLIES (MT ISA) | TES07012128 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 23271717 Flashback arrestor | OX |  | ARRESTER | FLASHBACK | TYPE | TORCH | FLOW RATING |  | NOMINAL SIZE |  | GAS TYPE |  | PRESSURE RATING |  | CONNECTION |  | MATERIAL |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149325 | 1149325 |  |  |  | ERSA | M | 4200 | 1527672GZPCLNT100 | EA |  | BEAKER,LAB;LOW FRM,5 L,GB3110 | BEAKER,LAB;LOW FRM,5 L,GB3110 | BEAKER,LAB;ADDITIONAL FEATURES:LOW FRM,5 L,GB3110 |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | GB3110 | [12 empty] | ROWE SCIENTIFIC PTY LTD | GB3110 | [16 empty] | https://www.rowe.com.au/rowe/Products-Simax_Glassware.htm | [9 empty] | Enriched | 41121803 Laboratory beakers |  |  | BEAKER | LAB | TYPE | LOW FORM | CAPACITY | 5 L | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1149327 | 1149327 |  |  |  | ERSA | M | 4200 | 1527670GZPCLNT100 | EA |  | BEAKER,LAB;LOW FRM,600 ML,GB2310 | BEAKER,LAB;LOW FRM,600 ML,GB2310 | BEAKER,LAB;ADDITIONAL FEATURES:LOW FRM,600 ML,GB2310 |  |  |  |  | 1068082 @@ ROWE SCIENTIFIC PTY LTD | GB2310 | [12 empty] | ROWE SCIENTIFIC PTY LTD | GB2310 | [16 empty] | https://www.rowe.com.au/rowe/Products-Simax_Glassware.htm?cms%2Erm=Page&pageNo=4 | [9 empty] | Enriched | 41121803 Laboratory beakers |  |  | BEAKER | LAB | TYPE | LOW FORM | CAPACITY | 600 ML | GRADUATION |  | MATERIAL | BOROSILICATE GLASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | NM BASED ON WEB SOURCE | 1150311 | 1150311 |  |  |  | ERSA | M | 5820 | 1516695GZPCLNT100 | EA |  | CRADLE;MANIFOLD COMPL,MT3128 L660 75C | CRADLE;MANIFOLD COMPL,MT3128 L660 75C | CRADLE;ADDITIONAL FEATURES:MANIFOLD COMPL,MT3128 L660 75C |  |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128 L660 75C | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 L660 75C | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2019/10/200701CATALOGUE-POSITIONING-_-FEED-ASSEMBLY-MTL6-RHS27-CA.pdf | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | COMPLETE |  | BLOCK | MANIFOLD | TYPE | CRADLE COLLECT | NOMINAL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COATING/FINISH |  | PRESSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLET PORTS |  | FLOW RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1151361 | 1151361 | 1475236 | AU_QM_000195238 |  | ERSA | M | 1600 | 1475236GZPCLNT100 | EA |  | BUSPLUG;PLUG IN CHASIS;TYPE HBC;3P;63A T | BUSPLUG;PLUG IN CHASIS;TYPE HBC;3P;63A T |  |  | CONNECTOR,PLUG,ELEC:BUSPLUG;PLUG IN CHASIS;TYPE HBC;3P;63A T |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HBCOS 3250/125 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | HBCOS 3250/125 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 39121400 Electrical lugs plugs and connectors |  |  | CONNECTOR | ELECTRICAL | TYPE | BUS PLUG,PLUG IN CHASSIS, HBC | CONDUCTOR SIZE |  | ELECTRICAL RATING | 63 A,3 P | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1151705 | 1151705 | 1474333 | AU_QM_000148159 |  | ERSA | M | 5100 | 1474333GZPCLNT100 | EA |  | ALLEN-BRADLEY 32 CHANNEL DIGITAL INPUT M | ALLEN-BRADLEY 32 CHANNEL DIGITAL INPUT M |  |  | ELECTRONIC MODULE:ALLEN-BRADLEY 32 CHANNEL DIGITAL INPUT M |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1769IQ32T | [12 empty] | ALLEN BRADLEY | 1769-IQ32T | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/1769-in072_-en-p.pdf | [9 empty] | Enriched | 32151900 Automation control connectivity devices | NUMBER OF CHANNEL:32 |  | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING | 24 VDC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 35 WDX118 HTX87 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,C-UL | [56 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1152637 | 1152637 |  |  |  | ERSA | M | 4010 | 1476510GZPCLNT100 | EA |  | CARBIDE BURR;MASTER CUT; | CARBIDE BURR;MASTER CUT; | [5 empty] | 1068652 @@ J BLACKWOOD & SONS | 6588005 | 1068502 @@ ATOM SUPPLY | 5501008 | [8 empty] | MASTER CUT |  | WIDIA | M41219 | [12 empty] | J BLACKWOOD & SONS | 06588005 | ATOM SUPPLY | 5501008 | https://www.blackwoods.com.au/tools-cutting-threading-carbide/carbide/carbide-burrs-master-cut-double-cut-gso/bur-mr-m41219-cb1c-5-8-x-1-x1-4/p/06588005 | https://www.wfsltd.com/en/640m41219.html | [8 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | BURR | CARBIDE | SHAPE | CYLINDRICAL | TOOTH STYLE |  | CUTTER DIAMETER | 5/8 IN | SHANK SIZE | 1/4 IN | LENGTH OF CUT | 1 IN | OVERALL LENGTH | 2-3/4 IN | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING | 40000 RPM | SHANK MATERIAL | STEEL | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1152638 | 1152638 | 1476509 | AU_QM_001212976 |  | ERSA | M | 4010 | 1476509GZPCLNT100 | EA |  | CARBIDE BURR;MASTER CUT; | CARBIDE BURR;MASTER CUT; |  |  | FILE,ROTARY:CARBIDE BURR;MASTER CUT; |  |  | 1068652 @@ J BLACKWOOD & SONS | 6587909 | 1068502 @@ ATOM SUPPLY | 5501007 | [8 empty] | MASTER CUT |  | WIDIA | M41217 | [12 empty] | J BLACKWOOD & SONS | 06587909 | ATOM SUPPLY | 5501007 | https://www.blackwoods.com.au/tools-cutting-threading-carbide/carbide/carbide-burrs-master-cut-double-cut-gso/bur-mr-m41217-cb1c-1-2-x-1-x1-4/p/06587909 | https://www.wfsltd.com/en/640m41217.html | [8 empty] | Enriched | 27111500 Cutting and crimping and punching tools | TYPE:FILE,ROTARY |  | BURR | CARBIDE | SHAPE | CYLINDRICAL | TOOTH STYLE |  | CUTTER DIAMETER | 1/2 IN | SHANK SIZE | 1/4 IN | LENGTH OF CUT | 1 IN | OVERALL LENGTH | 2-3/4 IN | CUT TYPE |  | MATERIAL SPECIFICATION |  | SPEED RATING | 50000 RPM | SHANK MATERIAL | HARDENED STEEL | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1176335 | 1176335 | 1445711 | AU_QM_001013390 |  | ERSA | M | 1600 | 1445711GZPCLNT100 | EA |  | COLLECTOR,CUR;CRANE HEAD | COLLECTOR,CUR;CRANE HEAD | COLLECTOR,CURRENT;TYPE:CRANE HEAD,ADDITIONAL FEATURES EN:AISLE,C/WCABLE,(Q.REF:19229) CU SMELTER,MNFR:01)CNW,PTNO:01)08-S265-0364 |  | CURRENT COLLECTOR:AISLE CRANE CURRENT COLLECTOR HEAD;C/W |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 08-S265-0364 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 08-S265-0364 | [14 empty] | URL NOT FOUND |  |  | CU SMELTER | [6 empty] | Cleansed | 25173900 Electrical components | AISLE,C/W CABLE,Q.REF:19229 |  | COLLECTOR | CURRENT | TYPE | CRANE HEAD | CURRENT RATING |  | VOLTAGE RATING |  | MOUNTING TYPE |  | SIZE |  | SHOE MATERIAL |  | COLLECTOR MOVEMENT |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1179773 | 1179773 |  |  |  | ERSA | M | 5920 | 1513287GZPCLNT100 | EA |  | CRADLE;ASSY,4050,COM,MT3128 0016 74C | CUNA; | CRADLE;ADDITIONAL FEATURES:ASSY,4050,COM,MT3128 0016 74C |  |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT3128 0016 74C | [12 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT3128 0016 74C | [16 empty] | https://www.mtunderground.com/wp-content/uploads/2019/10/200701CATALOGUE-POSITIONING-_-FEED-ASSEMBLY-MTL6-RHS27-CA.pdf | [9 empty] | Cleansed | 40141700 Hardware and fittings | ASSEMBLY,4050 COMPLETE |  | CRADLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | NM BASED ON WEB SOURCE | 1190218 | 1190218 |  |  |  | ERSA | M | 4090 | 1574943GZPCLNT100 | EA |  | DAMPER;ELEM,77800019 | AMORTIGUADOR; | DAMPER;ADDITIONAL FEATURES EN:ELEMENT,77800019 | AMORTIGUADOR; |  |  |  | 1068295 @@ JUNGHEINRICH AUSTRALIA | 77800019 | [12 empty] | JUNGHEINRICH AUSTRALIA | 77800019 | [16 empty] | https://directparts.eu/jungheinrich/7932-gas-spring-eme-112-jungheinrich-77800019-6569.html | [9 empty] | Enriched | 31161900 Springs | ELEMENT |  | SPRING | NO MODIFIER | TYPE | GAS | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1205563 | 1205563 |  |  |  | ERSA | M | 5920 | 271628MRM | EA |  | DAMPENER,FLUID PRESSURE:DAMPENER;EXPULSE | DAMPENER,FLUID PRESSURE:DAMPENER;EXPULSE | DAMPENER,FLUID PRESSURE:DAMPENER;EXPULSE PULSATION;DN32;ANSI 150/A316L FLANGES;PN10;NATRUAL RUBBER AND AISI 316 |  |  |  |  | 1078845 @@ NELES AUSTRALIA FLOW CONTROL PTY | 99866 | [14 empty] | NELES AUSTRALIA FLOW CONTROL PTY | 99866 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 26101700 Engine components and accessories | BRAND:EXPULSE,MATERIAL:ANSI 150/A316L FLANGES,NATRUAL RUBBER AND AISI 316 |  | DAMPER | PULSATION | TYPE | FLUID PRESSURE | NOMINAL SIZE | DN32 | PRESSURE RATING | PN10 | HOUSING MATERIAL |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | NM BASED ON WEB SOURCE | 1206120 | 1206120 |  |  |  | ERSA | M | 1600 | 153113MRM | EA |  | AMPLIFIER,RADIO FREQ:MINITRAC 31,RADIATI | AMPLIFIER,RADIO FREQ:MINITRAC 31,RADIATI | AMPLIFIER,RADIO FREQ:MINITRAC 31,RADIATION BASED SENSOR FOR DENSITY MEASUREMENT,VEGA |  |  |  |  | 1069378 @@ VEGA AUSTRALIA PTY LTD | MT31.XX1VDMXX | [12 empty] | VEGA AUSTRALIA PTY LTD | MT31.XX1VDMXX | [16 empty] | https://www.vega.com/en-in/products/product-catalog/switching/radiation-based/minitrac-31 | https://www.im-tek.com.tr/en-us/product/vega-minitrac-31mt31xx1vdmxx-radiation-based-sensor-for-density-measurement-7425511 | [8 empty] | Enriched | 41111900 Indicating and recording instruments | SERIES:MINITRAC 31,FOR DENSITY MEASUREMENT |  | SENSOR | NO MODIFIER | TYPE | RADIO FREQUENCY,RADIATION | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING | 4 TO 20 MA/HART | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,EAC,IEC,NEPSI,INMETRO | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | SUITABLE NM NOT FOUND | 1206220 | 1206220 |  |  |  | ERSA | M | 4090 | 1031566MRM | BOX |  | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DR | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DR | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DRINK;180ML;SINGLE SERVE SACHET'S;LEMON/LIME FLAVOUR |  |  |  |  | 1068512 @@ BUNZL BRANDS & OPERATIONS PTY LIMIT | SQ0066-LI | [12 empty] | SQWINCHER | SQ0066 | BUNZL BRANDS & OPERATIONS PTY LIMIT | [15 empty] | https://www.blackwoods.com.au/health-wellbeing/hydration/sqwincher-fast-pack-sachets/sqwincher-sachet-lemon-lime-18ml-50/p/03154221 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | SUITABLE NM NOT FOUND | 1206221 | 1206221 |  |  |  | ERSA | M | 2920 | 1031772MRM | BOX |  | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DR | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DR | BEVERAGE BASE:ELECTROLYTE REPLACEMENT DRINK;180ML;SINGLE SERVE SACHET'S;TROPICAL FLAVOUR; |  |  |  |  | 1068502 @@ ATOM SUPPLY | 91520344 | [26 empty] | ATOM SUPPLY | 91520344 |  |  | https://www.atom.com.au/fast-pack-reg-hydration-sachet-tropical-cooler-18ml-50-pk-91520344 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1206991 | 1206991 |  |  |  | ERSA | M | 5920 | 132707MRM | EA |  | DAMPER ASSYDAMPER ELEMENT;FLEXIBLE DRIVE | DAMPER ASSYDAMPER ELEMENT;FLEXIBLE DRIVE | DAMPER ASSYDAMPER ELEMENT;FLEXIBLE DRIVE COUPLING;C160 JAW CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | MM0304815 | [12 empty] | METSO OUTOTEC AUSTRALIA LIMITED | MM0304815 | [16 empty] | https://industra.group/p/drobilki/metso/mm0304815-damper-element-rotex-satz-dz-125-95-shor/ |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories | ASSEMBLY,ELEMENT |  | DAMPER | NO MODIFIER | TYPE | FLEXIBLE DRIVE COUPLING | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | SUITABLE NM NOT FOUND | 1207687 | 1207687 |  |  |  | ERSA | M | 4090 | 1089903MRM | BAG |  | BEVERAGE BASE:MIXED BERRY;ELECTROLYTE RE | BEVERAGE BASE:MIXED BERRY;ELECTROLYTE RE | BEVERAGE BASE:MIXED BERRY;ELECTROLYTE REPLACEMENT, DRINK;SINGLE SERVE; CONSENTRATE SUGAR FREE POWDER; (BAG = 50 SACHETS) |  |  |  |  | 1068502 @@ ATOM SUPPLY | 91528126 | [26 empty] | ATOM SUPPLY | 91528126 |  |  | https://www.atom.com.au/qwik-stik-trade-pre-mix-hydration-powder-single-serve-mixed-berry-50-pk-91528126 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 | SUITABLE NM NOT FOUND | 1207689 | 1207689 |  |  |  | ERSA | M | 4090 | 1089929MRM | BAG |  | BEVERAGE BASE:LEAMONADE;ELECTROLYTE REPL | BEVERAGE BASE:LEAMONADE;ELECTROLYTE REPL | BEVERAGE BASE:LEAMONADE;ELECTROLYTE REPLACEMENT, DRINK;SINGLE SERVE; CONSENTRATE SUGAR FREEPOWDER; (BAG = 50 SACHETS) |  |  |  |  | 1068502 @@ ATOM SUPPLY | 91528489 | [26 empty] | ATOM SUPPLY | 91528489 |  |  | https://www.atom.com.au/qwik-stik-trade-pre-mix-hydration-powder-single-serve-lemonade-50-pk-91528489 | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MKV | OK | 09-11-2023 | 16-11-2023 |  | 1215791 | 1215791 |  |  |  | ERSA | M | 1600 | 175488MRM | EA |  | CONNECTING MODULE,WIRING,VOICE-DATAETHER | CONNECTING MODULE,WIRING,VOICE-DATAETHER | CONNECTING MODULE,WIRING,VOICE-DATAETHERNET;COMM;POINT-TO-POINT;RJ-45;10 MBPS;1-PORT;0.5A;TRANSMISSION DISTANCE:1 SEGMENT,100M |  |  |  |  | 1068101 @@ YOKOGAWA AUSTRALIA PTY LTD | ALE111-S50 | [12 empty] | YOKOGAWA AUSTRALIA PTY LTD | ALE111-S50 | [16 empty] | https://web-material3.yokogawa.com/GS33K50G11-50E.pdf | https://www.quicktimeonline.com/ale111-s50 | [8 empty] | Cleansed | 32151900 Automation control connectivity devices | TRANSMISSION DISTANCE:1 SEGMENT 100 M,CONNECTOR:RJ-45,FOR VOICE-DATA ETHERNET,WIRING |  | MODULE | COMMUNICATION | TYPE | CONNECTING | INPUT RATING | 0.5 A | NUMBER OF PORTS | 1 | INTERFACE TYPE |  | DATA TRANSFER RATE | 10 MBPS | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | POINT-TO-POINT | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed