## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1208348 | 1208348 |  |  |  | ERSA | M | 5920 | 155230MRM | EA |  | CENTERING PIECE:CENTER HEAD; 26537 CENTE | CENTERING PIECE:CENTER HEAD; 26537 CENTE | CENTERING PIECE:CENTER HEAD; 26537 CENTERING HEAD FOR ARIDGED PIPE | [18 empty] | RIDGID | 26537 | [16 empty] | https://www.toolup.com/Ridgid-26537-Centering-head | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | FOR ARIDGED PIPE |  | HEAD | NO MODIFIER | TYPE | CENTE RING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1209340 | 1209340 |  |  |  | ERSA | M | 1600 | 761540MRM | EA |  | CONTROL,PRESSURE:0.3 - 1.5 BAR ADJ SET;G | CONTROL,PRESSURE:0.3 - 1.5 BAR ADJ SET;G | CONTROL,PRESSURE:0.3 - 1.5 BAR ADJ SET;G1/4 THD CONNECT;IP65;1 SWITCHING CONTACT;NBR DIAPHRAGM;GALV STEEL HSG;POLYAMIDE COUPLER;AS PER FLENDER STD W5925; | [18 empty] | FLENDER | W5925 | [16 empty] | https://baumuller.kz/product/120719?locale=ru | [9 empty] | Cleansed | 39122210 Pressure switch | NUMBER OF SWITCHING CONTACT:1 |  | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 0.3 TO 1.5 BAR AJUSTABLE | PROCESS CONNECTION | G1/4 IN | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL | STEEL GALVANIZED,NBR DIAPHRAGM,POLYAMIDE COUPLER | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1210906 | 1210906 |  |  |  | ERSA | M | 1600 | 164482MRM | EA |  | CONTROL,PRESSURE:COMPRESSOR PRESSURE 500 | CONTROL,PRESSURE:COMPRESSOR PRESSURE 500 | CONTROL,PRESSURE:COMPRESSOR PRESSURE 500 TO 3000KPA | [36 empty] | URL Not Found | [9 empty] | Cleansed | 39122210 Pressure switch |  |  | SWITCH | PRESSURE | TYPE | COMPRESSOR | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1209339 | 1209339 |  |  |  | ERSA | M | 1600 | 761537MRM | EA |  | CONTROL,RATE OF FLOW,LIQUID:0 - 100% SCA | CONTROL,RATE OF FLOW,LIQUID:0 - 100% SCA | CONTROL,RATE OF FLOW,LIQUID:0 - 100% SCALE;ADJ 2 SWITCH CONTACTS;IP54;0.4A/30VDC/25W;VITON DIAPHRAGM;MAX 16BAR;CABLE CONNECT PG13.5;AS PER FLENDER STD W5927; | [18 empty] | FLENDER | W5927 | [16 empty] | https://www.yoycart.com/Product/553278531041/ | [9 empty] | Enriched | 41112501 Flowmeters | SCALE:0 TO 100 PCT,NUMBER OF SWITCHING CONTACT:2 ADJUSTABLE,CABLE CONNECT PG13.5 |  | FLOWMETER | NO MODIFIER | TYPE | LIQUID,DIFFERENTIAL PRESSURE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP54 | POWER SUPPLY | 30 VDC,0.4 A,25 W | TEMPERATURE RATING |  | MATERIAL | VITON DIAPHRAGM | ELECTRICAL CONNECTION |  | PRESSURE RATING | 16 BAR MAXIMUM | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1217821 | 1217821 |  |  |  | ERSA | M | 5920 | 270170MRM | EA |  | CONTROL,RATE OF FLOW,LIQUID:IFM;SR0151 | CONTROL,RATE OF FLOW,LIQUID:IFM;SR0151 | CONTROL,RATE OF FLOW,LIQUID:IFM;SR0151 | [18 empty] | IFM | SR0151 | [16 empty] | https://www.ifm.com/in/en/product/SR0151 | [9 empty] | Enriched | 41112501 Flowmeters |  | SIZE:100X25X103.5 MM | FLOWMETER | NO MODIFIER | TYPE | LIQUID | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP20 | POWER SUPPLY | 250/30 VAC/DC | TEMPERATURE RATING | 4 TO 120 DEG C | MATERIAL | POLYBUTYLENE TEREPHTHALATE | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | CE | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1211933 | 1211933 |  |  |  | ERSA | M | 1600 | 360501MRM | EA |  | CONTROL,REMOTE SWITCHING:2 BUTTON;PENDAN | CONTROL,REMOTE SWITCHING:2 BUTTON;PENDAN | CONTROL,REMOTE SWITCHING:2 BUTTON;PENDANT TYPE;IP65;MOULDED CASE;C/W GROMMET; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | ENCLOSURE RATING:IP65,C/W GROMMET |  | CONTROLLER | ELECTRICAL | TYPE | REMOTE SWITCHING,PENDANT,MOULDED CASE,2 BUTTON | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1206655 | 1206655 |  |  |  | ERSA | M | 1600 | 334766MRM | EA |  | CONTROL,REMOTE SWITCHING:COMPLETE;DOUBLE | CONTROL,REMOTE SWITCHING:COMPLETE;DOUBLE | CONTROL,REMOTE SWITCHING:COMPLETE;DOUBLE INSULATED; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | COMPLETE |  | CONTROLLER | ELECTRICAL | TYPE | REMOTE SWITCHING,DOUBLE INSULATED | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1218415 | 1218415 |  |  |  | ERSA | M | 3700 | 270682MRM | EA |  | CONTROL,REMOTE SWITCHING:RS232 OR RS485 | CONTROL,REMOTE SWITCHING:RS232 OR RS485 | CONTROL,REMOTE SWITCHING:RS232 OR RS485 COMMS MODULE FOR STERIDIUM OVEN | [36 empty] | URL Not Found | [9 empty] | Cleansed | 39121500 Electrical controls and accessories | RS232 OR RS485 COMMS MODULE FOR STERIDIUM OVEN |  | CONTROLLER | ELECTRICAL | TYPE | REMOTE SWITCHING | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1209341 | 1209341 |  |  |  | ERSA | M | 1600 | 761543MRM | EA |  | CONTROL,TEMP,INDICATING:MINUS 20 TO + 10 | CONTROL,TEMP,INDICATING:MINUS 20 TO + 10 | CONTROL,TEMP,INDICATING:MINUS 20 TO + 100 DEG C ADJ;1/2 THD;IP54;100MM DIP TUBE;2 SWITCH CONTACTS;0.25A/250VDC/60W;DIECAST HSG;VITON RINAS PER FLENDER STD W5926; | [18 empty] | FLENDER | W5926 | [16 empty] | https://autosimatic.com/produto/ffa000000361807-flender/ | [9 empty] | Enriched | 41112200 Temperature and heat measuring instruments |  |  | CONTROLLER | TEMPERATURE | TYPE |  | TEMPERATURE SETTING RANGE |  | SENSOR TYPE |  | OUTPUT TYPE |  | POWER SUPPLY |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 1/2 IN BSPP | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Suitable NM Not Found | 1107867 | 1107867 | 1471008 | AU_QM_009184481 |  | ERSA | M | 3000 | 1471008GZPCLNT100 | EA |  | AXIAL PLUNGER PUMP,REF.9/26/AP19 | AXIAL PLUNGER PUMP,REF.9/26/AP19 | DISTANCE PIECE; AXIAL PLUNGER PUMP,REF.9/26/AP19 SUIT WINDER AT U62 |  | DISTANCE PIECE; AXIAL PLUNGER PUMP,REF.9/26/AP19 |  |  | 1069477 @@ IPD GROUP LTD | 3L6934 | [10 empty] | IPD GROUP LTD | 3L6934 | [18 empty] | URL Not Found | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Suitable NM Not Found | 1112107 | 1112107 | 1374375 | AU_QM_000203661 |  | ERSA | M | 5700 | 1374375GZPCLNT100 | EA |  | CABLEBELT CONVEYOR SERVICE; | CABLEBELT CONVEYOR SERVICE; | DISTANCE PIECE; CABLEBELT CONVEYOR SERVICE; |  | DISTANCE PIECE; CABLEBELT CONVEYOR SERVICE; |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 3241-007 | [10 empty] | METSO OUTOTEC AUSTRALIA LIMITED | 3241-007 | [18 empty] | URL Not Found | [87 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Suitable NM Not Found | 1107891 | 1107891 | 1470628 | AU_QM_009150595 |  | ERSA | M | 5920 | 1470628GZPCLNT100 | EA |  | CENTRE;DEUTZ ENGINE; | CENTRE;DEUTZ ENGINE; | PIECE; CENTRE;DEUTZ ENGINE; |  | PIECE; CENTRE;DEUTZ ENGINE; | [34 empty] | URL Not Found |  |  | ENGINE | DEUTZ | [83 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1063224 | 1063224 | 1427362 | AU_QM_000457713 |  | ERSA | M | 5100 | 1427362GZPCLNT100 | EA |  | 3 X 38VAC COILS,UNDERVOLTAGE TYPE | 3 X 38VAC COILS,UNDERVOLTAGE TYPE | RELAY ASSY: 3 X 38VAC COILS,UNDERVOLTAGE TYPE |  | RELAY ASSY: 3 X 38VAC COILS,UNDERVOLTAGE TYPE |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1427362 | [12 empty] | COOPER ELECTRIC | 1427362 | ABB AUSTRALIA PTY LTD | [15 empty] | https://www.cooper-electric.com/product/detail/1427362/square-d-schneider-783xcxc24d | [9 empty] | Enriched | 39122324 Power relay | ASSEMBLY,NUMBER OF COIL:3 |  | RELAY | POWER | TYPE | UNDERVOLTAGE | COIL VOLTAGE | 24 VDC | NUMBER OF POLES | 3 | CONTACT CONFIGURATION | 3PDT | CONTACT VOLTAGE RATING | 277 VAC | CONTACT CURRENT RATING | 15 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SQUARE BASE | FREQUENCY RATING |  | SIZE | 30.6 WDX34.8 HTX27.3 DP MM | TERMINAL TYPE |  | MATERIAL | SILVER ALLOY CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL | [42 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1063330 | 1063330 | 1430073 | AU_QM_000636910 |  | ERSA | M | 5100 | 1430073GZPCLNT100 | EA |  | DOUBLE,24VDC COIL,2 N/O,1 N/C,RXMM1 TYPE | DOUBLE,24VDC COIL,2 N/O,1 N/C,RXMM1 TYPE | RELAY ASSY: DOUBLE,24VDC COIL,2 N/O,1 N/C,RXMM1 TYPE |  | RELAY ASSY: DOUBLE,24VDC COIL,2 N/O,1 N/C,RXMM1 TYPE |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | 1430073 | [12 empty] | ABB AUSTRALIA PTY LTD | RXMM 1 | ABB AUSTRALIA PTY LTD | 1430073 | [14 empty] | https://new.abb.com/products/RK214002-AD/rxmm-1 | https://library.e.abb.com/public/7a60b06bdeab4caab3c3a574e2aaaa05/NextECMUpload_1415460_20210122064910.pdf?x-sign=FeJqPAhyOcdlOlXTLu26guRVwQ0u+ZeI5mFETDONMMJ+dMc0zDmXhnT13Lsvb5PC | [8 empty] | Enriched | 39122300 Electrical relays and accessories | ASSEMBLY |  | RELAY | NO MODIFIER | TYPE | AUXILIARY,DOUBLE | COIL RATING | 24 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 2NO + 1NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1065740 | 1065740 | 1459422 | AU_QM_002217311 |  | ERSA | M | 5100 | 1459422GZPCLNT100 | EA |  | DELAY RELAY (SPECIAL) | DELAY RELAY (SPECIAL) | RELAY,MOTOR DRIVEN: DELAY RELAY (SPECIAL) 110V AC MOTOR IDENTICAL TO SERIAL NO.015673E |  | RELAY,MOTOR DRIVEN: DELAY RELAY (SPECIAL) |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1459422 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1459422 | [18 empty] | URL Not Found | [5 empty] | 015673E |  |  |  | Cleansed | 39122329 Time relay |  |  | RELAY | TIME | TYPE | MOTOR DRIVEN,DELAY | TIMING RANGE |  | COIL VOLTAGE |  | CONTACT RATING |  | VOLTAGE RATING | 110 VAC | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1063335 | 1063335 | 1430046 | AU_QM_000635961 |  | ERSA | M | 5100 | 1430046GZPCLNT100 | EA |  | 0 SEC TO 30 SEC,110VAC,PLUG IN | 0 SEC TO 30 SEC,110VAC,PLUG IN | RELAY,TIME DELAY: 0 SEC TO 30 SEC,110VAC,PLUG IN |  | RELAY,TIME DELAY: 0 SEC TO 30 SEC,110VAC,PLUG IN |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1430046 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1430046 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122329 Time relay |  |  | RELAY | TIME | TYPE | DELAY | TIMING RANGE | 0 TO 30 SEC | COIL VOLTAGE |  | CONTACT RATING |  | VOLTAGE RATING | 110 VAC | CONTACT CONFIGURATION |  | TERMINAL TYPE | PLUG-IN | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1064754 | 1064754 | 1456475 | AU_QM_001284744 |  | ERSA | M | 1600 | 1456475GZPCLNT100 | EA |  | ABB DEVICENET RELAY | ABB DEVICENET RELAY | RELAY: ABB DEVICENET RELAY GFM SURFACE CRUSHING PLANT |  | RELAY: ABB DEVICENET RELAY | [34 empty] | URL Not Found | [9 empty] | Cleansed | 39122300 Electrical relays and accessories |  |  | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1014924 | 1014924 | 1457358 | AU_QM_001299072 |  | ERSA | M | 5100 | 1457358GZPCLNT100 | EA |  | ALARM;MINICAS II;SUMP PUMP CONTROL; | ALARM;MINICAS II;SUMP PUMP CONTROL; | RELAY: ALARM;MINICAS II;SUMP PUMP CONTROL; BM04 SAG MILL - FLOAT SUMP PUMPS; |  | RELAY: ALARM;MINICAS II;SUMP PUMP CONTROL; |  |  | 1068118 @@ XYLEM WATER SOLUTIONS AUSTRALIA LIM | 40-50101098 | [10 empty] | XYLEM WATER SOLUTIONS AUSTRALIA LIM | 40-50101098 | [18 empty] | URL Not Found |  |  | SAG MILL,FLOAT SUMP PUMPS |  | BM04 | MINICAS II |  |  |  | Cleansed | 39122300 Electrical relays and accessories |  |  | RELAY | NO MODIFIER | TYPE | ALARM | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1112632 | 1112632 | 1458049 | AU_QM_001311158 |  | ERSA | M | 1825 | 1458049GZPCLNT100 | EA |  | DRIVE PINION BEARING OIL SEAL; | DRIVE PINION BEARING OIL SEAL; | RETAINER,OIL SEAL: DRIVE PINION BEARING OIL SEAL; |  | RETAINER,OIL SEAL:DRIVE PINION BEARING OIL SEAL; | [34 empty] | URL Not Found | [9 empty] | Cleansed | 31163200 Retaining hardware |  |  | RETAINER | NO MODIFIER | TYPE | DRIVE PINION BEARING OIL SEAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1062957 | 1062957 | 1440859 | AU_QM_000985123 |  | ERSA | M | 1825 | 1440859GZPCLNT100 | EA |  | 4FRB141 CAGE HALVES; | 4FRB141 CAGE HALVES; | RETAINER,PACKING: 4FRB141 CAGE HALVES; KANDL WORTHINGTON 4FRB141 PUMP |  | RETAINER,PACKING: 4FRB141 CAGE HALVES; | [34 empty] | URL Not Found |  |  | PUMP | KANDL WORTHINGTON | 4FRB141 |  |  |  |  | Cleansed | 31163200 Retaining hardware | CAGE HALVES |  | RETAINER | NO MODIFIER | TYPE | PACKING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1064287 | 1064287 | 1362084 | AU_QM_000161033 |  | ERSA | M | 1825 | 1362084GZPCLNT100 | EA |  | BACK-UP RING SLOTTED; 200 X 191.8X 1.9; | BACK-UP RING SLOTTED; 200 X 191.8X 1.9; | RETAINER,PACKING: BACK-UP RING SLOTTED; 200 X 191.8X 1.9; BLOB PASTE PLANT PUMP; PUMPING CYLINDERS / WATER BOX / DIFFERENTIAL ASSEMBLY |  | RETAINER,PACKING: BACK-UP RING SLOTTED; 200 X 191.8X 1.9; |  |  | 1070054 @@ SCHWING AUSTRALIA PTY LTD | 10104231 | [12 empty] | SCHWING AUSTRALIA PTY LTD | 10104231 | [16 empty] | https://motto-tr.com/en/schwing-spare-parts/ |  |  | BLOB PASTE PLANT PUMP,PUMPING CYLINDERS/WATER BOX/DIFFERENTIAL ASSEMBLY | [6 empty] | Cleansed | 31181705 Seal backup ring |  |  | RING | BACK-UP | TYPE | SLOTTED | INSIDE DIAMETER | 191.8 MM | OUTSIDE DIAMETER | 200 MM | THICKNESS | 1.9 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1137515 | 1137515 | 1435574 | AU_QM_000788562 |  | ERSA | M | 5620 | 1435574GZPCLNT100 | EA |  | CAT EQUIPMENT SERVICE; | CAT EQUIPMENT SERVICE; | RETAINER: CAT EQUIPMENT SERVICE; |  | RETAINER: CAT EQUIPMENT SERVICE; | [34 empty] | URL Not Found |  |  | EQUIPMENT SERVICE | CATERPILLAR | [5 empty] | Cleansed | 31163200 Retaining hardware |  |  | RETAINER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Suitable NM Not Found | 1063644 | 1063644 | 1461155 | AU_QM_002599842 |  | ERSA | M | 4000 | 1461155GZPCLNT100 | EA |  | CAR SLIPPER; | CAR SLIPPER; | SLIDE PIECE: CAR SLIPPER; LAKE JULIUS PUMPING STATION |  | SLIDE PIECE:CAR SLIPPER; |  |  | 1069379 @@ OTIS ELEVATOR CO. PTY LTD | GCT-7 | [10 empty] | OTIS ELEVATOR CO. PTY LTD | GCT-7 | [18 empty] | URL Not Found |  |  | LAKE JULIUS PUMPING STATION | [84 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Suitable NM Not Found | 1140285 | 1140285 | 1445491 | AU_QM_001010577 |  | ERSA | M | 2200 | 1445491GZPCLNT100 | EA |  | DUST VALVE SLIDING BLOCK; | DUST VALVE SLIDING BLOCK; | SLIDE PIECE: DUST VALVE SLIDING BLOCK; MIMDWG 163-B6-598 MK4; 250NB DOUBLE DUMP DUST FLAP VALVE |  | SLIDE PIECE:DUST VALVE SLIDING BLOCK; |  |  | 1068544 @@ HEAVYMECH PTY LTD | 1445491 | [10 empty] | HEAVYMECH PTY LTD | 1445491 | [18 empty] | URL Not Found |  |  | 250 NB DOUBLE DUMP DUST FLAP VALVE | [84 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1068556 | 1068556 | 1459205 | AU_QM_002209125 | X | ERSA | M | 1600 | 1459205GZPCLNT100 | EA |  | COMPLETE | COMPLETE | SWITCH ASSEMBLY: COMPLETE FOR CKME CONTROLLER-CAMS-WAFERS SPRINGS-CONTACTS |  | SWITCH ASSEMBLY:COMPLETE |  |  | 1068212 @@ ABB AUSTRALIA PTY LTD | [11 empty] | ABB AUSTRALIA PTY LTD | [19 empty] | URL Not Found | [9 empty] | Cleansed | 39122200 Electrical switches and accessories | ASSEMBLY,COMPLETE FOR CKME CONTROLLER-CAMS-WAFERS SPRINGS-CONTACTS |  | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1139502 | 1139502 | 1438911 | AU_QM_000975920 |  | ERSA | M | 5100 | 1438911GZPCLNT100 | EA |  | COMBINED LOW OIL LEVEL SWITCH | COMBINED LOW OIL LEVEL SWITCH | SWITCH,FLOAT,LIQUID LEVEL: COMBINED LOW OIL LEVEL SWITCH AND OIL LEVEL CONTROLLER;SS304 FLOAT; 1/2\"NPT OIL CONNECT;TENZALLOY CASE; |  | SWITCH,FLOAT,LIQUID LEVEL:COMBINED LOW OIL LEVEL SWITCH |  |  | 1068100 @@ BERENDSEN FLUID POWER | LR589 | [12 empty] | MURCAL | LR589 | 1068100 @@ BERENDSEN FLUID POWER | [15 empty] | http://shopping.murcal.com/Catalog/Level-Maintainers-Lube/LR589-Oil-Level-Regulator | [9 empty] | Enriched | 40142200 Fluid and gas regulators | MATERIAL:STAINLESS STEEL 304 FLOAT,C/W COMBINED LOW OIL LEVEL SWITCH AND OIL LEVEL CONTROLLER |  | REGULATOR | NO MODIFIER | TYPE | LIQUID LEVEL | CONNECTION TYPE/PORT SIZE | 1/2 IN NPT | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL | TENZALLOY CASE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Processed based on Websource, Conflict w.r.t Input | 1135720 | 1135720 | 1426236 | AU_QM_000369157 |  | ERSA | M | 1600 | 1426236GZPCLNT100 | EA |  | CAPACITANCE SWITCH | CAPACITANCE SWITCH | SWITCH,PROXIMITY: CAPACITANCE SWITCH |  | SWITCH,PROXIMITY: CAPACITANCE SWITCH |  |  | 1069660 @@ PACIFIC RIM TECHNICAL SERVICES | KI-2015-ABOA | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | KI0016 | [10 empty] | IFM | KI0016 | PACIFIC RIM TECHNICAL SERVICES | KI-2015-ABOA | CNW (MOUNT ISA) ELECT WHOLESALER | [13 empty] | https://www.ifm.com/us/en/product/KI0016 | [9 empty] | Enriched | 41111926 Proximity sensors | CONNECTION SIZE:M30X1.5 MM |  | SENSOR | PROXIMITY | TYPE | CAPACITANCE | SENSING RANGE | 15 MM | OUTPUT TYPE |  | CONNECTION TYPE | THREADED | ELECTRICAL RATING | 20 TO 250 AC/DC | CABLE LENGTH | 2 M | ENCLOSURE | IP65 | MATERIAL | POLYBUTYLENE TEREPHTHALATE | SWITCHING FREQUENCY | 25 HZ AC,40 HZ DC | MOUNTING TYPE | NON-FLUSH | SIZE | 81 MM LG | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC,CULUS | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 | Processed based on Websource, Conflict w.r.t Input | 1135267 | 1135267 | 1448056 | AU_QM_001081405 |  | ERSA | M | 1600 | 1448056GZPCLNT100 | EA |  | CORD SWITCH; | CORD SWITCH; | SWITCH,PULL: CORD SWITCH; MINEGEM,TELE REMOTE LASER GUIDED SYSTEM |  | SWITCH,PULL:CORD SWITCH; |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1448056 | [12 empty] | CATERPILLAR | 144-8056 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/pt/catcorp/144-8056 | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | PROTECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1107754 | 1107754 | 1459636 | AU_QM_002223585 |  | ERSA | M | 1600 | 1459636GZPCLNT100 | EA |  | DOUBLE PRESSURE,2 SPEED,FOR DWSA PENDANT | DOUBLE PRESSURE,2 SPEED,FOR DWSA PENDANT | SWITCH,PUSH: DOUBLE PRESSURE,2 SPEED,FOR DWSA PENDANT |  | SWITCH,PUSH:DOUBLE PRESSURE,2 SPEED,FOR DWSA PENDANT |  |  | 1069356 @@ MHE-DEMAG AUSTRALIA PTY LTD | 1459636 | [10 empty] | MHE-DEMAG AUSTRALIA PTY LTD | 1459636 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122216 Push button switch | FOR DWSA PENDANT |  | SWITCH | PUSH | TYPE | DOUBLE PRESSURE,2 SPEED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1111693 | 1111693 | 1444885 | AU_QM_001007179 |  | ERSA | M | 1600 | 1444885GZPCLNT100 | EA |  | AIRCON FAN 3 SPEED SWITCH; | AIRCON FAN 3 SPEED SWITCH; | SWITCH,ROTARY: AIRCON FAN 3 SPEED SWITCH; |  | SWITCH,ROTARY:AIRCON FAN 3 SPEED SWITCH; |  |  | 1068542 @@ KNORR-BREMSE AUSTRALIA PTY LTD | 1444885 | [10 empty] | KNORR-BREMSE AUSTRALIA PTY LTD | 1444885 |  |  | AIRCON | [15 empty] | URL Not Found | [9 empty] | Cleansed | 39122217 Rotary switch |  |  | SWITCH | ROTARY | TYPE | 3 SPEED FAN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1066148 | 1066148 | 1470091 | AU_QM_009107370 |  | ERSA | M | 1600 | 1470091GZPCLNT100 | EA |  | COMPLETE | COMPLETE | SWITCH,ROTARY: COMPLETE FOR 550 HP GEC WINDER |  | SWITCH,ROTARY:COMPLETE |  |  | 1071835 @@ REXEL AUSTRALIA | D66 | [10 empty] | REXEL AUSTRALIA | D66 | [18 empty] | URL Not Found |  |  | WINDER |  | 550 HP GEC |  |  |  |  | Cleansed | 39122217 Rotary switch |  |  | SWITCH | ROTARY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1141201 | 1141201 | 1445391 | AU_QM_001009745 |  | ERSA | M | 1600 | 1445391GZPCLNT100 | EA |  | DUMP VALVE REVERSING SWITCH;\"REV OFF FW | DUMP VALVE REVERSING SWITCH;\"REV OFF FW | SWITCH,ROTARY: DUMP VALVE REVERSING SWITCH;\"REV OFF FWD ON\";C/W SHAFT SEAL AND AU3004N ENGRAVING; PB SMELTER SINTER MACHINE |  | SWITCH,ROTARY:DUMP VALVE REVERSING SWITCH;"REV OFF FWD |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | C26 AU86R9 - 600 KD1 AUS0001 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | C26 AU86R9 - 600 KD1 AUS0001 | [18 empty] | URL Not Found |  |  | PB SMELTER SINTER MACHINE | [6 empty] | Cleansed | 39122217 Rotary switch | C/W SHAFT SEAL AND AU3004N ENGRAVING |  | SWITCH | ROTARY | TYPE | DUMP VALVE REVERSING,REV OFF FWD ON | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1067100 | 1067100 | 1356573 | AU_QM_000148230 |  | ERSA | M | 1600 | 1356573GZPCLNT100 | EA |  | CONVEYOR BELT DRIFT SWITCH | CONVEYOR BELT DRIFT SWITCH | SWITCH,SENSITIVE: CONVEYOR BELT DRIFT SWITCH |  | SWITCH,SENSITIVE: CONVEYOR BELT DRIFT SWITCH |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1356573 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1356573 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122203 Sensitive switch |  |  | SWITCH | SENSITIVE | TYPE | CONVEYOR BELT DRIFT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1108236 | 1108236 | 1446643 | AU_QM_001041128 |  | ERSA | M | 5920 | 1446643GZPCLNT100 | EA |  | BOOT;TOGGLE SWITCH;RUBBER; | BOOT;TOGGLE SWITCH;RUBBER; | SWITCH,TOGGLE: BOOT;TOGGLE SWITCH;RUBBER; |  | SWITCH,TOGGLE:BOOT;TOGGLE SWITCH;RUBBER; |  |  | 1068087 @@ ASHDOWN INGRAM | 1446643 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | RCT0976 | 1071809 @@ ASHDOWN ENTERPRISES | 1446643 | [6 empty] | ASHDOWN INGRAM | 1446643 |  |  | BELL & MOIR | RCT0976 | ASHDOWN ENTERPRISES | [13 empty] | URL Not Found | [9 empty] | Cleansed | 39122211 Toggle switch |  |  | SWITCH | TOGGLE | TYPE | BOOT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL | RUBBER | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1062889 | 1062889 | 1428555 | AU_QM_000519678 |  | ERSA | M | 1600 | 1428555GZPCLNT100 | EA |  | CAT START SWITCH ASSY;INSTRUMENT PANEL | CAT START SWITCH ASSY;INSTRUMENT PANEL | SWITCH: CAT START SWITCH ASSY;INSTRUMENT PANEL GRP; CATERPILLAR EQUIPMENT SERVICE |  | SWITCH:CAT START SWITCH ASSY;INSTRUMENT PANEL |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1428555 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1428555 | [8 empty] | HASTINGS DEERING(AUSTRALIA) LTD | 1428555 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 1428555 | [14 empty] | URL Not Found |  |  | EQUIPMENT SERVICE | CATERPILLAR | [5 empty] | Cleansed | 39122200 Electrical switches and accessories | INSTRUMENT PANEL GROUP,ASSEMBLY |  | SWITCH | NO MODIFIER | TYPE | START | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1067930 | 1067930 | 1439946 | AU_QM_000982907 |  | ERSA | M | 1600 | 1439946GZPCLNT100 | EA |  | CSM SAMPLER | CSM SAMPLER | SWITCH: CSM SAMPLER |  | SWITCH:CSM SAMPLER |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1439946 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1439946 | [18 empty] | URL Not Found |  |  | SAMPLER | CSM | [5 empty] | Cleansed | 39122200 Electrical switches and accessories |  |  | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1138194 | 1138194 | 1366947 | AU_QM_000170041 |  | ERSA | M | 1600 | 1366947GZPCLNT100 | EA |  | CUSTOMIZED NETWORK SWITCH | CUSTOMIZED NETWORK SWITCH | SWITCH: CUSTOMIZED NETWORK SWITCH |  | SWITCH:CUSTOMIZED NETWORK SWITCH |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | RSP25-11003Z6TT-SCCZ9HPE2SXX.X | [12 empty] | HIRSCHMANN | RSP25-11003Z6TT-SCCZ9HPE2SXX.X | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://www.mouser.com/ProductDetail/Hirschmann/RSP25-11003Z6TT-SCCZ9HPE2SXXX?qs=Imq1NPwxi74nWK7dKBDH8A%3D%3D | [9 empty] | Cleansed | 39122200 Electrical switches and accessories |  |  | SWITCH | NETWORK | TYPE | CUSTOMIZED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PORTS |  | DATA TRANSFER RATE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | CONNECTION TYPE |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1102891 | 1102891 | 1475728 | AU_QM_000234395 |  | ERSA | M | 5100 | 1475728GZPCLNT100 | EA |  | 100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER | 100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER |  |  | RELAY,SOLID STATE:100260VAC,35A,DC TRIG;ALTABLUE 30 MELTER |  |  | 1070061 @@ NORDSON AUSTRALIA PTY LTD | 7400070 | [12 empty] | NORDSON AUSTRALIA PTY LTD | 7400070 | [16 empty] | https://nc-p-001.sitecorecontenthub.cloud/api/public/content/7d299e861c474b1dba4be720f6588d22?v=746559c4 |  |  | 30 L MELTER | ALTABLUE | [5 empty] | Cleansed | 39122333 Solid state relay |  |  | RELAY | SOLID STATE | TYPE | DC TRIG | CURRENT RATING | 35 A | VOLTAGE RATING | 100 TO 260 VAC | CONTACT VOLTAGE RATING |  | CONTACT CONFIGURATION |  | NUMBER OF PHASE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1102951 | 1102951 |  |  |  | ERSA | M | 5905 | 1528833GZPCLNT100 | EA |  | BREATHER;SILICA GEL,BLUE,BOTTLE,TMS2 | BREATHER;SILICA GEL,BLUE,BOTTLE,TMS2 | [5 empty] | 1073691 @@ CBR Power Services Pty Ltd | 1528833 | [12 empty] | EZI-DRY | TMS-2 | CBR POWER SERVICES PTY LTD | 1528833 | [14 empty] | http://ezi-dry.com.au/wp-content/uploads/2012/11/Disposable-Breather-Manual.pdf | [9 empty] | Enriched | 25172407 Breather elements | CONTAINER:1 KG BOTTLE,COLOR:BLUE |  | BREATHER | NO MODIFIER | TYPE | SILICA GEL,DISPOSABLE | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1103113 | 1103113 | 1476165 | AU_QM_000635748 |  | ERSA | M | 5100 | 1476165GZPCLNT100 | EA |  | 240VAC COIL;DPDT;LED INDICATOR; | 240VAC COIL;DPDT;LED INDICATOR; |  |  | RELAY,ELECTROMAGNETIC:240VAC COIL;DPDT;LED INDICATOR; |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1476165 | [10 empty] | CNW (TOWNSVILLE) ELECT SUPPLIES | 1476165 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122315 Electromagnetic relay | C/W LED INDICATOR |  | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE | 240 VAC | CONTACT CONFIGURATION | DPDT | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1151315 | 1151315 | 1475295 | AU_QM_000195364 |  | ERSA | M | 5620 | 1475295GZPCLNT100 | EA |  | AIR BREATHER;1/4IN;CRUSHER TOGGLE TENSIO | AIR BREATHER;1/4IN;CRUSHER TOGGLE TENSIO |  |  | BREATHER: AIR BREATHER;1/4IN;CRUSHER TOGGLE TENSIO |  |  | 1068342 @@ ISADRAULICS | BFP4G3W1.0 | [12 empty] | HYDAC | BFP4G3W1.0 | ISADRAULICS | [15 empty] | https://www.mrostop.com/309287-hydac-breather |  |  | CRUSHER | [6 empty] | Enriched | 25172407 Breather elements | FLOW RATE:90 GPM |  | BREATHER | NO MODIFIER | TYPE | AIR | CONNECTION SIZE | 1/4 IN BSPP | FILTRATION RATE | 3 UM | MATERIAL | PHENOLIC RESIN IMPREGNATED PAPER | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 44 ODX62 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1151329 | 1151329 | 1475275 | AU_QM_000195285 |  | ERSA | M | 1600 | 1475275GZPCLNT100 | EA |  | AUTO/MANUAL SELECTOR SWITCH;690V;S1;25A; | AUTO/MANUAL SELECTOR SWITCH;690V;S1;25A; |  |  | SWITCH:AUTO/MANUAL SELECTOR SWITCH;690V;S1;25A; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA20BA720EAUS0007 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CA20BA720EAUS0007 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122217 Rotary switch |  |  | SWITCH | SELECTOR | TYPE | AUTO/MANUAL,S1 | VOLTAGE RATING | 690 V | CURRENT RATING | 25 A | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1151331 | 1151331 | 1475273 | AU_QM_000195283 |  | ERSA | M | 1600 | 1475273GZPCLNT100 | EA |  | AUTO/MANUAL SELECTOR SWITCH;690V;20A;IP4 | AUTO/MANUAL SELECTOR SWITCH;690V;20A;IP4 |  |  | SWITCH:AUTO/MANUAL SELECTOR SWITCH;690V;20A;IP4 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CA10A220EAUS0003 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CA10A220EAUS0003 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 39122217 Rotary switch |  |  | SWITCH | SELECTOR | TYPE | AUTO/MANUAL | VOLTAGE RATING | 690 V | CURRENT RATING | 20 A | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE | IP4 | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1151347 | 1151347 | 1475252 | AU_QM_000195254 |  | ERSA | M | 1600 | 1475252GZPCLNT100 | EA |  | DRY REED SWITCH;BELT RIP SWITCH;2 X SPDT | DRY REED SWITCH;BELT RIP SWITCH;2 X SPDT |  |  | SWITCH,REED:DRY REED SWITCH;BELT RIP SWITCH;2 X SPDT |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | STR-P-3RH | [12 empty] | SAFE-T-PRODUCTS | STR-P-3RH | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | https://safe-t-products.com.au/safe-t-rip/ | [9 empty] | Enriched | 39122241 Reed switch |  |  | SWITCH | REED | TYPE | BELT TIP | VOLTAGE RATING | 120 VAC,175 VDC SWITCHING | CURRENT RATING | 0.25 A SWITCHING,1.5 A CARRYING | CONTACT CONFIGURATION | 2 X SPDT | ENCLOSURE |  | BREAKDOWN VOLTAGE |  | INSULATION RESISTANCE |  | MATERIAL | RUTHENIUM CONTACT | TERMINAL TYPE |  | OPERATING AMPERE TURNS |  | COLOUR |  | LEAD SIZE |  | POWER RATING |  | FREQUENCY RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [39 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | NGB | ok | 2023-11-09 | 2023-11-17 |  | 1152784 | 1152784 | 1475193 | AU_QM_000190411 |  | ERSA | M | 5315 | 1475193GZPCLNT100 | EA |  | ABSORBER;PROTEXP,ABS-04-SH | ABSORBER;PROTEXP,ABS-04-SH |  |  | ABSORBERHANGING;1KG;950MM LG X 135MM W X 30MM D; |  |  | 1071780 @@ PROTECTION EXPERTS AUSTRALIA | ABS-04-SH | [10 empty] | PROTECTION EXPERTS AUSTRALIA | ABS-04-SH | [18 empty] | URL Not Found | [9 empty] | Cleansed | 47130000 Cleaning and janitorial supplies | WEIGHT:1 KG |  | ABSORBER | NO MODIFIER | TYPE |  | ABSORBING CAPACITY |  | SIZE | 950 LGX135 WDX30 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed