## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1015963 | 1015963 |  |  |  | ERSA | M | 5000 | 1616862GZPCLNT100 | EA | 3000010 | ANTENNA;SAN,BG00298705 | ANTENA;SAN,BG00298705 | ANTENNA;MNFR:SANDVIK,PTNO:BG00298705 | ANTENA;MNFR:SANDVIK,PTNO:BG00298705 |  | SANDVIK | BG00298705 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00298705 | [12 empty] | SANDVIK | BG00298705 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00298705_antenna/ | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components |  |  | ANTENNA | NO MODIFIER | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1008874 | 1008874 |  |  |  | ERSA | M | 5000 | 1600436GZPCLNT100 | EA | 3000010 | ANTENNA;SAN,BG00493078 | ANTENA;SAN,BG00493078 | ANTENNA;MNFR:SANDVIK,PTNO:BG00493078 | ANTENA;MNFR:SANDVIK,PTNO:BG00493078 |  | SANDVIK | BG00493078 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00493078 | [12 empty] | SANDVIK | BG00493078 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00493078_antenna/ | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components |  |  | ANTENNA | NO MODIFIER | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1211730 | 1211730 |  |  |  | ERSA | M | 5920 | 1218726MRM | EA |  | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DI | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DI | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DISC BRAKE LEFT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25171708 Disc brake | ASSEMBLY |  | BRAKE | DISC | TYPE | CALIPER FRONT LEFT | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE |  | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1211729 | 1211729 |  |  |  | ERSA | M | 5920 | 1218718MRM | EA |  | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DI | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DI | CALIPER ASSY,DISC BRAKE:CALIPER FRONT DISC BRAKE RIGHT | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25171708 Disc brake | ASSEMBLY |  | BRAKE | DISC | TYPE | CALIPER FRONT RIGHT | TORQUE RATING |  | MATERIAL |  | SPEED RATING |  | SHAFT DIAMETER |  | INPUT RATING |  | OVERALL SIZE |  | TERMINAL TYPE |  | LEVER TYPE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1092772 | 1092772 | 1390229 | AU_QM_000231839 |  | ERSA | M | 5910 | 1390229GZPCLNT100 | EA | 3000012 | CALIPER;TOY,4773060101 | CALIPER;TOY,4773060101 | CALIPER;MNFR:TOYOTA,PTNO:4773060101 |  | CALIPER;TOY,4773060101CALIPER;BEL,4773060101 | TOYOTA | 4773060101 | [14 empty] | TOYOTA | 4773060101 | [16 empty] | https://parts.toyotaofcoloradosprings.com/oem-parts/toyota-caliper-4773060101 | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~rear~disc~brake~rh~47730-60101.html | [8 empty] | ENRICHED | 25171706 Brake calipers |  |  | CALIPER | BRAKE | TYPE | REAR DISC RH | NUMBER OF PISTONS |  | PISTON AREA | RIGHT | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1035021 | 1035021 | 1442097 | AU_QM_000993693 |  | ERSA | M | 5955 | 1442097GZPCLNT100 | EA | 3000000 | CONDENSER;ATL,5580003887 | CONDENSER;ATL,5580003887 | CONDENSER;MNFR:ATLAS COPCO,PTNO:5580003887 |  | CONDENSER UNIT,AIRCON:ST7 AIRCON CONDENSER; | ATLAS COPCO | 5580003887 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5540107200 | [10 empty] | ATLAS COPCO |  | EPIROC AUSTRALIA PTY LTD | 5540107200 | [16 empty] | https://www.aga-parts.com/epiroc/part/5540107200_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1009332 | 1009332 | 1355642 | AU_QM_000145844 |  | ERSA | M | 5955 | 1355642GZPCLNT100 | EA | 3000000 | CONDENSER;ATL,5580082253 | CONDENSER;ATL,5580082253 | CONDENSER;MNFR:ATLAS COPCO,PTNO:5580082253 |  | CONDENSER,REFRIGERATION:CONDENSER | ATLAS COPCO | 5580082253 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5580082253 | [10 empty] | ATLAS COPCO |  | EPIROC AUSTRALIA PTY LTD | 5580082253 | [16 empty] | https://www.aga-parts.com/epiroc/part/5580082253_condensor/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1021567 | 1021567 | 1379622 | AU_QM_000219059 |  | ERSA | M | 5955 | 1379622GZPCLNT100 | EA | 3000001 | CONDENSER;EPI,5580 1012 73 | CONDENSER;EPI,5580 1012 73 | CONDENSER;MNFR:EPIROC,PTNO:5580 1012 73 |  | CONDENSER;EPI,5580 1012 73CONDENSER;EPI,5580 1012 73 | EPIROC | 5580 1012 73 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5580101273 | [12 empty] | EPIROC AUSTRALIA PTY LTD | 5580 1012 73 | [16 empty] | https://www.aga-parts.com/epiroc/part/5580101273_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1080050 | 1080050 |  |  |  | ERSA | M | 5955 | 1587719GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,56002244 | CONDENSADOR;SAN,56002244 | CONDENSER;MNFR:SANDVIK,PTNO:56002244 | CONDENSADOR;MNFR:SANDVIK,PTNO:56002244 |  | SANDVIK | 56002244 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56002244 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 56002244 | [10 empty] | SANDVIK | 56002244 | [16 empty] | https://www.aga-parts.com/sandvik/part/56002244_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1008907 | 1008907 |  |  |  | ERSA | M | 5000 | 1611872GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,88091209 | CONDENSADOR;SAN,88091209 | CONDENSER;MNFR:SANDVIK,PTNO:88091209,ADDITIONAL FEATURES EN:AIR CONDITIONER,TC200 | CONDENSADOR;MNFR:SANDVIK,PTNO:88091209 |  | SANDVIK | 88091209 | [32 empty] | https://www.aga-parts.com/sandvik/part/88091209_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | FOR AIR CONDITIONER,TC200 |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1079682 | 1079682 |  |  |  | ERSA | M | 5955 | 1588167GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,BG00847228 | CONDENSADOR;SAN,BG00847228 | CONDENSER;MNFR:SANDVIK,PTNO:BG00847228 | CONDENSADOR;MNFR:SANDVIK,PTNO:BG00847228 |  | SANDVIK | BG00847228 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00847228 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG00847228 | [10 empty] | SANDVIK | BG00847228 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00847228_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1080390 | 1080390 |  |  |  | ERSA | M | 5000 | 1612049GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,BG01204155 | CONDENSADOR;SAN,BG01204155 | CONDENSER;MNFR:SANDVIK,PTNO:BG01204155 | CONDENSADOR;MNFR:SANDVIK,PTNO:BG01204155 |  | SANDVIK | BG01546211 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01546211 | [12 empty] | SANDVIK | BG01546211 | [16 empty] | https://shop.aramine.com/en/hydraulic-pneumatic/596411-condenser.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1030218 | 1030218 | 1393881 | AU_QM_000237399 |  | ERSA | M | 5955 | 1393881GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8845026120 | CONDENSER;TOY,8845026120 | CONDENSER;MNFR:TOYOTA,PTNO:8845026120 |  | OEM-E-LISTCONDENSER;TOY,8845026120 | TOYOTA | 8845026120 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8845026120 | 1068649 @@ BELL & MOIR TOYOTA - LEASES ONLY | 8845026120 | [10 empty] | TOYOTA | 8845026120 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~w~receiver~88450-26120.html | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | 37.3X23.2X9.2 IN | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1089400 | 1089400 | 1366540 | AU_QM_000169285 |  | ERSA | M | 5955 | 1366540GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,884600K010 | CONDENSER;TOY,884600K010 | CONDENSER;MNFR:TOYOTA,PTNO:884600K010 |  | CONDENSER UNIT,AIRCON:CONDENSOR; HILUX DIES | TOYOTA | 884600K010 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 884600K010 | [12 empty] | TOYOTA | 884600K010 | [16 empty] | https://partsouq.com/en/search/all?q=884600K010 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1029996 | 1029996 | 1366549 | AU_QM_000169296 |  | ERSA | M | 5955 | 1366549GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,884600K020 | CONDENSER;TOY,884600K020 | CONDENSER;MNFR:TOYOTA,PTNO:884600K020 |  | CONDENSER UNIT,AIRCON:CONDENSOR; HILUX | TOYOTA | 884600K020 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 884600K020 | [12 empty] | TOYOTA | 884600K020 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~88460-0k020.html | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | 27.6X19X4.9 IN | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1029267 | 1029267 | 1390722 | AU_QM_000232420 |  | ERSA | M | 5955 | 1390722GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,884600K350 | CONDENSER;TOY,884600K350 | CONDENSER;MNFR:TOYOTA,PTNO:884600K350 |  | CONDENSER;TOY,884600K350CONDENSER;BEL,884600K350 | TOYOTA | 884600K350 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 884600K350 | [12 empty] | TOYOTA | 884600K350 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~88460-0k350.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1030217 | 1030217 |  |  |  | ERSA | M | 5955 | 1393884GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,884600K350 | CONDENSER;TOY,884600K350 | CONDENSER;MNFR:TOYOTA,PTNO:884600K350 |  |  | TOYOTA | ZZ - 884600K350 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 884600K350 | [12 empty] | TOYOTA | 884600K350 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~88460-0k350.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1070802 | 1070802 | 1446217 | AU_QM_001035146 |  | ERSA | M | 5955 | 1446217GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060180 | CONDENSER;TOY,8846060180 | CONDENSER;MNFR:TOYOTA,PTNO:8846060180 |  | CONDENSER UNIT,AIRCON:AIRCONDITIONER CONDENSER; | TOYOTA | 8846060180 | [32 empty] | https://www.amayama.com/en/part/toyota/8846060180 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1035342 | 1035342 | 1446595 | AU_QM_001040484 |  | ERSA | M | 5955 | 1446595GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060190 | CONDENSER;TOY,8846060190 | CONDENSER;MNFR:TOYOTA,PTNO:8846060190 |  | CONDENSER UNIT,AIRCON:CONDENSOR AIR CONDITIONER AFTER 1999 78S | TOYOTA | 8846060190 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846060190 | [12 empty] | TOYOTA | 8846060190 | [16 empty] | https://partsouq.com/en/search/all?q=8846060190 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1031052 | 1031052 | 1450957 | AU_QM_001144435 |  | ERSA | M | 5955 | 1450957GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060390 | CONDENSER;TOY,8846060390 | CONDENSER;MNFR:TOYOTA,PTNO:8846060390 |  | CONDENSER UNIT,AIRCON:TOYOTA A/C CONDENSOR ASSY; | TOYOTA | 8846060390 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846060390 | [12 empty] | TOYOTA | 8846060390 | [16 empty] | https://www.newtowntoyota.parts/8846060390/CONDENSOR-ASSY | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | X | CONDENSER | NO MODIFIER | TYPE | AIR CONDITIONER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1035156 | 1035156 | 1351153 | AU_QM_000135369 |  | ERSA | M | 5955 | 1351153GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060460 | CONDENSER;TOY,8846060460 | CONDENSER;MNFR:TOYOTA,PTNO:8846060460 |  | CONDENSER UNIT,AIRCON:CONDENSOR AIR CON IMPORT;TOYOTA LANDCRUI | TOYOTA | 8846060460 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846060460 | [12 empty] | TOYOTA | 8846060460 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~88460-60460.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  | X | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1088712 | 1088712 | 1393885 | AU_QM_000237403 |  | ERSA | M | 5955 | 1393885GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060470 | CONDENSER;TOY,8846060470 | CONDENSER;MNFR:TOYOTA,PTNO:8846060470 |  | OEM-E-LISTCONDENSER;TOY,8846060470 | TOYOTA | 8846060470 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846060470 | [12 empty] | TOYOTA | 8846060470 | [16 empty] | https://partsouq.com/en/search/all?q=8846060470 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | X | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1021987 | 1021987 | 1361437 | AU_QM_000159550 |  | ERSA | M | 5955 | 1361437GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846160081 | CONDENSER;TOY,8846160081 | CONDENSER;MNFR:TOYOTA,PTNO:8846160081 |  | CONDENSER,REFRIGERATION:TOYOTA HZJ105 100 SERIES LANDCRUISER | TOYOTA | 8846160081 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846160081 | [10 empty] | BELL & MOIR - PARTS ORDERS ONLY | 8846160081 | TOYOTA | 8846160081 | [16 empty] | https://partsouq.com/en/search/all?q=8846160080 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | CORE COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187434 | 1187434 |  |  |  | ERSA | M | 5100 | 1614862GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 0.5 M,AQA | CABLE CONEX;LG 0.5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:0.5 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990757,MNFR:WARREN & BROWN, PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:0.5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990757 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990757 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-5m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 0.5 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187410 | 1187410 |  |  |  | ERSA | M | 5100 | 1614886GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 0.5 M,VIO | CABLE CONEX;LG 0.5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:0.5 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991073,MNFR:WARREN & BROWN, PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:0.5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991073 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991073 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-5m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 0.5 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187433 | 1187433 |  |  |  | ERSA | M | 5100 | 1614863GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 1 M,AQA | CABLE CONEX;LG 1 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:1 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990758,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:1 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990758 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990758 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-1m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187409 | 1187409 |  |  |  | ERSA | M | 5100 | 1614887GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 1 M,VIO | CABLE CONEX;LG 1 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:1 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991074,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:1 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991074 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991074 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-1m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187400 | 1187400 |  |  |  | ERSA | M | 5100 | 1614896GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 10 M,VIO | CABLE CONEX;LG 10 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:10 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991083,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:10 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991083 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991083 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-10m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 10 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187422 | 1187422 |  |  |  | ERSA | M | 5100 | 1614874GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 10M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:10M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990767,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990767 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990767 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-10m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 10 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187431 | 1187431 |  |  |  | ERSA | M | 5100 | 1614865GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 2 M,AQA | CABLE CONEX;LG 2 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:2 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990759,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:2 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990759 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990759 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-2m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187408 | 1187408 |  |  |  | ERSA | M | 5100 | 1614888GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 2 M,VIO | CABLE CONEX;LG 2 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:2 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991075,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:2 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991075 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991075 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-2m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187429 | 1187429 |  |  |  | ERSA | M | 5100 | 1614867GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 3 M,AQA | CABLE CONEX;LG 3 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:3 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990760,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:3 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990760 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990760 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-3m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 3 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187407 | 1187407 |  |  |  | ERSA | M | 5100 | 1614889GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 3 M,VIO | CABLE CONEX;LG 3 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:3 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991076,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:3 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991076 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991076 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-3m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 3 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187428 | 1187428 |  |  |  | ERSA | M | 5100 | 1614868GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 4 M,AQA | CABLE CONEX;LG 4 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:4 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990761,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:4 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990761 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990761 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-4m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 4 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187406 | 1187406 |  |  |  | ERSA | M | 5100 | 1614890GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 4 M,VIO | CABLE CONEX;LG 4 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:4 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991077,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:4 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991077 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991077 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-4m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 4 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187427 | 1187427 |  |  |  | ERSA | M | 5100 | 1614869GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 5 M,AQA | CABLE CONEX;LG 5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:5 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990762,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990762 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990762 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-5meters.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187405 | 1187405 |  |  |  | ERSA | M | 5100 | 1614891GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 5 M,VIO | CABLE CONEX;LG 5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:5 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991078,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991078 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991078 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-5meters.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187426 | 1187426 |  |  |  | ERSA | M | 5100 | 1614870GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 6 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:6 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990763,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990763 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990763 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-6m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 6 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187425 | 1187425 |  |  |  | ERSA | M | 5100 | 1614871GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 7 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:7 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990764,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990764 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990764 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-7m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 7 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187403 | 1187403 |  |  |  | ERSA | M | 5100 | 1614893GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 7 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:7 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991080,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991080 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991080 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-7m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 7 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187424 | 1187424 |  |  |  | ERSA | M | 5100 | 1614872GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 8 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:8 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990765,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990765 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990765 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-8m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 8 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187402 | 1187402 |  |  |  | ERSA | M | 5100 | 1614894GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 8 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:8 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991081,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991081 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991081 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-8m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 8 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187423 | 1187423 |  |  |  | ERSA | M | 5100 | 1614873GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 9 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:9 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990766,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990766 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990766 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-aqua-fibre-optic-patch-cord-9m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 9 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187401 | 1187401 |  |  |  | ERSA | M | 5100 | 1614895GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 9 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:9 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T991082,MNFR:WARREN & BROWN,PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T991082 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T991082 | [16 empty] | https://wbnetworks.com.au/lc-lc-push-a-pull-tab-duplex-uniboot-multimode-om4-violet-fibre-optic-patch-cord-9m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 9 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187421 | 1187421 |  |  |  | ERSA | M | 5100 | 1614875GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG .5M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:.5M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990484,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990484 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990484 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-5m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 0.5 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187399 | 1187399 |  |  |  | ERSA | M | 5100 | 1614897GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG .5M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:.5M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990799,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990799 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990799 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-5m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 0.5 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187420 | 1187420 |  |  |  | ERSA | M | 5100 | 1614876GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 1 M,AQA | CABLE CONEX;LG 1 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:1 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990485,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:1 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990485 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990485 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-1m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187398 | 1187398 |  |  |  | ERSA | M | 5100 | 1614898GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 1 M,VIO | CABLE CONEX;LG 1 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:1 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990800,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:1 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990800 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990800 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-1m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187411 | 1187411 |  |  |  | ERSA | M | 5100 | 1614885GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 10M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:10M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990494,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990494 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990494 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-10m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 10 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187389 | 1187389 |  |  |  | ERSA | M | 5100 | 1614907GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 10M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:10M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990809,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990809 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990809 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-10m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 10 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187419 | 1187419 |  |  |  | ERSA | M | 5100 | 1614877GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 2 M,AQA | CABLE CONEX;LG 2 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:2 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990486,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:2 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990486 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990486 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-2m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187397 | 1187397 |  |  |  | ERSA | M | 5100 | 1614899GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 2 M,VIO | CABLE CONEX;LG 2 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:2 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990801,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:2 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990801 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990801 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-2m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187396 | 1187396 |  |  |  | ERSA | M | 5100 | 1614900GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 3 M,VIO | CABLE CONEX;LG 3 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:3 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990802,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:3 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990802 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990802 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-3m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 3 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187417 | 1187417 |  |  |  | ERSA | M | 5100 | 1614879GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 4 M,AQA | CABLE CONEX;LG 4 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:4 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990488,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:4 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990488 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990488 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-4m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 4 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187395 | 1187395 |  |  |  | ERSA | M | 5100 | 1614901GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 4 M,VIO | CABLE CONEX;LG 4 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:4 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990803,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:4 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990803 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990803 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-4m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 4 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187416 | 1187416 |  |  |  | ERSA | M | 5100 | 1614880GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 5 M,AQA | CABLE CONEX;LG 5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:5 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990489,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990489 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990489 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-5meters.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187394 | 1187394 |  |  |  | ERSA | M | 5100 | 1614902GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 5 M,VIO | CABLE CONEX;LG 5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:5 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990804,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990804 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990804 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-5meters.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187415 | 1187415 |  |  |  | ERSA | M | 5100 | 1614881GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 6 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:6 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990490,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990490 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990490 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-6m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 6 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187393 | 1187393 |  |  |  | ERSA | M | 5100 | 1614903GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 6 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:6 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990805,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990805 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990805 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-6m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 6 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187414 | 1187414 |  |  |  | ERSA | M | 5100 | 1614882GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 7 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:7 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990491,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990491 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990491 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-7m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 7 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187392 | 1187392 |  |  |  | ERSA | M | 5100 | 1614904GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 7 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:7 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990806,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990806 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990806 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-7m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 7 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187413 | 1187413 |  |  |  | ERSA | M | 5100 | 1614883GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 8 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:8 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990492,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990492 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990492 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-8m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 8 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187391 | 1187391 |  |  |  | ERSA | M | 5100 | 1614905GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 8 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:8 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990807,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990807 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990807 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-8m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 8 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187412 | 1187412 |  |  |  | ERSA | M | 5100 | 1614884GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 9 M,AQA | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:9 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T990493,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990493 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990493 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-aqua-fibre-optic-patch-cord-9m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 9 M | JACKET MATERIAL | LSZH | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1187390 | 1187390 |  |  |  | ERSA | M | 5100 | 1614906GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,SIMPLEX,LG 9 M,VIO | CABLE CONEX;LG | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,SIMPLEX,LENGTH:9 M,COLOUR:VIO,ADDITIONAL FEATURES EN:T990808,MNFR:WARREN & BROWN, FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION; |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T990808 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T990808 | [16 empty] | https://wbnetworks.com.au/lc-lc-simplex-multimode-om4-violet-fibre-optic-patch-cord-9m.html | [9 empty] | ENRICHED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:SIMPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 1 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC | DIAMETER |  | LENGTH | 9 M | JACKET MATERIAL | LSZH | COLOUR | VIOLET | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025704 | 1025704 | 1378355 | AU_QM_000217663 |  | ERSA | M | 5380 | 1378355GZPCLNT100 | EA | 3000001 | DRUM;EPI,5112 3188 19 | DRUM;EPI,5112 3188 19 | DRUM;MNFR:EPIROC,PTNO:5112 3188 19 |  | DRUM;EPI,5112 3188 19DRUM;EPI,5112 3188 19 | EPIROC | 5112 3188 19 | [14 empty] | EPIROC | 5112 3188 19 | [16 empty] | https://www.aga-parts.com/epiroc/part/5112318819_drum/ | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025918 | 1025918 | 1374831 | AU_QM_000205494 |  | ERSA | M | 5380 | 1374831GZPCLNT100 | EA | 3000006 | DRUM;KOM,3EB-21-42230 | DRUM;KOM,3EB-21-42230 | DRUM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-21-42230 |  | DRUM;KOM,3EB-21-42230DRUM;KOM,3EB-21-42230 | KOMATSU MINING SYSTEMS INC. | 3EB-21-42230 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-21-42230 | [16 empty] | https://intellaparts.com/p/Kom-3EB2142230/komatsu-3eb2142230-drum-brake.html | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025917 | 1025917 | 1374832 | AU_QM_000205495 |  | ERSA | M | 5380 | 1374832GZPCLNT100 | EA | 3000006 | DRUM;KOM,3EB-21-42230SZ | DRUM;KOM,3EB-21-42230SZ | DRUM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-21-42230SZ |  | DRUM;KOM,3EB-21-42230SZDRUM;KOM,3EB-21-42230SZ | KOMATSU MINING SYSTEMS INC. | 3EB-21-42230SZ | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-21-42230 | [16 empty] | https://intellaparts.com/p/Kom-3EB2142230/komatsu-3eb2142230-drum-brake.html | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025916 | 1025916 | 1374854 | AU_QM_000205519 |  | ERSA | M | 5380 | 1374854GZPCLNT100 | EA | 3000006 | DRUM;KOM,3EB-21-52730 | DRUM;KOM,3EB-21-52730 | DRUM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-21-52730 |  | DRUM;KOM,3EB-21-52730DRUM;KOM,3EB-21-52730 | KOMATSU MINING SYSTEMS INC. | 3EB-21-52730 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-21-52730 | [16 empty] | https://www.sourcefy.com/3eb-21-52730-brake-drum-for-komatsu/ | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025915 | 1025915 | 1374855 | AU_QM_000205520 |  | ERSA | M | 5380 | 1374855GZPCLNT100 | EA | 3000006 | DRUM;KOM,3EB-21-52730SZ | DRUM;KOM,3EB-21-52730SZ | DRUM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EB-21-52730SZ |  | DRUM;KOM,3EB-21-52730SZDRUM;KOM,3EB-21-52730SZ | KOMATSU MINING SYSTEMS INC. | 3EB-21-52730SZ | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EB-21-52730SZ | [16 empty] | https://sxkomatsu.com/part-forklift/drum/3eb2152730sz/ | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025141 | 1025141 | 1391721 | AU_QM_000233655 |  | ERSA | M | 5380 | 1391721GZPCLNT100 | EA | 3000006 | DRUM;KOM,3EC-21-53201 | DRUM;KOM,3EC-21-53201 | DRUM;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:3EC-21-53201 |  | DRUM;KOM,3EC-21-53201DRUM;KOM,3EC-21-53201 | KOMATSU MINING SYSTEMS INC. | 3EC-21-53201 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 3EC-21-53201 | [16 empty] | https://www.truparforkliftparts.com/KOMATSU-3EC-21-53201-DRUM-ASSY-p/ko3ec-21-53201.htm | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025271 | 1025271 | 1388548 | AU_QM_000229877 |  | ERSA | M | 5380 | 1388548GZPCLNT100 | EA | 3000012 | DRUM;TOY,424310K080 | DRUM;TOY,424310K080 | DRUM;MNFR:TOYOTA,PTNO:424310K080 |  | DRUM;TOY,424310K080DRUM;BEL,424310K080 | TOYOTA | 424310K080 | [14 empty] | TOYOTA | 424310K080 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~drum~sub~assy~rear~brake~42431-0k080.html | [9 empty] | ENRICHED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE | REAR | CAPACITY |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025444 | 1025444 | 1383647 | AU_QM_000224074 |  | ERSA | M | 5380 | 1383647GZPCLNT100 | EA | 3000012 | DRUM;TOY,4243126190 | DRUM;TOY,4243126190 | DRUM;MNFR:TOYOTA,PTNO:4243126190 |  | DRUM;TOY,4243126190DRUM;BEL,4243126190 | TOYOTA | 4243126190 | [14 empty] | TOYOTA | 4243126190 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~drum~sub~assy~rear~brake~42431-26190.html | [9 empty] | ENRICHED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE | REAR | CAPACITY |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1025283 | 1025283 | 1388025 | AU_QM_000229261 |  | ERSA | M | 5380 | 1388025GZPCLNT100 | EA | 3000012 | DRUM;TOY,4243135151 | DRUM;TOY,4243135151 | DRUM;MNFR:TOYOTA,PTNO:4243135151 |  | DRUM;TOY,4243135151DRUM;BEL,4243135151 | TOYOTA | 4243135151 | [14 empty] | TOYOTA | 4243135151 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~drum~sub~assy~rear~brake~42431-35151.html | [9 empty] | ENRICHED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE | REAR | CAPACITY |  | CONNECTION TYPE |  | MATERIAL |  | SIZE | 17.5X17.2X5.1 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1095145 | 1095145 | 1386391 | AU_QM_000227335 |  | ERSA | M | 5920 | 1386391GZPCLNT100 | EA | 3000000 | DRYER;ATL,2202737301 | DRYER;ATL,2202737301 | DRYER;MNFR:ATLAS COPCO,PTNO:2202737301 |  | DRYER;ATL,2202737301DRYER;ATL,2202737301 | ATLAS COPCO | 2202737301 | [14 empty] | ATLAS COPCO | 2202737301 | [16 empty] | https://www.atlascopco.com/en-uk/compressors/service/parts/air-compressor-parts/2202737301 | [9 empty] | ENRICHED | 40101604 Fans |  |  | FAN | ELECTRICAL | TYPE | MOTOR | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING | 230/254 VAC,50/60 HZ | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE |  | OVERALL SIZE |  | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1009463 | 1009463 | 1350569 | AU_QM_000133940 |  | ERSA | M | 5920 | 1350569GZPCLNT100 | EA | 3000000 | DRYER;ATL,5541087600 | DRYER;ATL,5541087600 | DRYER;MNFR:ATLAS COPCO,PTNO:5541087600 |  | DRIER,AIR-GAS,REFRIGERATED: RECIEVER DRIER;AIR CONDITIONING;;ATLAS C | ATLAS COPCO | 5541087600 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5541087600 | [10 empty] | ATLAS COPCO |  | EPIROC AUSTRALIA PTY LTD | 5541087600 | [16 empty] | https://www.aga-parts.com/epiroc/part/5541087600_dryer/ | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1008653 | 1008653 |  |  |  | ERSA | M | 5000 | 1568208GZPCLNT100 | EA | 3000010 | DRYER;SAN,56010118 | SECADORA;SAN,56010118 | DRYER;MNFR:SANDVIK,PTNO:56010118,ADDITIONAL FEATURES EN:PATRONE | SECADORA;MNFR:SANDVIK,PTNO:56010118 |  | SANDVIK | 56010118 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 56010118 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56010118 | [10 empty] | SANDVIK | 56010118 | [16 empty] | https://www.aga-parts.com/sandvik/part/56010118_dryer/ | [9 empty] | CLEANSED | 23201200 Industrial drying equipment | PATTERN |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1080063 | 1080063 |  |  |  | ERSA | M | 5955 | 1587736GZPCLNT100 | EA | 3000010 | DRYER;SAN,56011846 | SECADORA;SAN,56011846 | DRYER;MNFR:SANDVIK,PTNO:56011846 | SECADORA;MNFR:SANDVIK,PTNO:56011846 |  | SANDVIK | 56011846 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56011846 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 56011846 | [10 empty] | SANDVIK | 56011846 | [16 empty] | https://www.aga-parts.com/sandvik/part/56011846_dryer/ | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1079787 | 1079787 |  |  |  | ERSA | M | 5955 | 1587960GZPCLNT100 | EA | 3000010 | DRYER;SAN,88321789 | SECADORA;SAN,88321789 | DRYER;MNFR:SANDVIK,PTNO:88321789 | SECADORA;MNFR:SANDVIK,PTNO:88321789 |  | SANDVIK | 88321789 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 88321789 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 88321789 | [10 empty] | SANDVIK | 88321789 | [16 empty] | https://www.aga-parts.com/sandvik/part/88321789_dryer/ | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | ok | 2023-11-10 | 2023-11-10 |  | 1079658 | 1079658 |  |  |  | ERSA | M | 5955 | 1588125GZPCLNT100 | EA | 3000010 | DRYER;SAN,BG00669895 | SECADORA;SAN,BG00669895 | DRYER;MNFR:SANDVIK,PTNO:BG00669895 | SECADORA;MNFR:SANDVIK,PTNO:BG00669895 |  | SANDVIK | BG00669895 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00669895 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | BG00669895 | [10 empty] | SANDVIK | BG00669895 | [16 empty] | https://www.aga-parts.com/sandvik/part/bg00669895_dryer/ | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed