## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1140319 | 1140319 | 1444355 | AU_QM_001004721 |  | ERSA | M | 2200 | 1444355GZPCLNT100 | EA |  | AG MILL - ISA COPPER CONCENTRATOR; | AG MILL - ISA COPPER CONCENTRATOR; | DIVIDER,VALVE FLOW: AG MILL - ISA COPPER CONCENTRATOR; |  | DIVIDER,VALVE FLOW: AG MILL - ISA COPPER CONCENTRATOR; | [34 empty] | U | [11 empty] | FOR AG MILL - ISA COPPER CONCENTRATOR |  | DIVIDER | NO MODIFIER | TYPE | VALVE FLOW | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1067108 | 1067108 | 1456663 | AU_QM_001287119 |  | ERSA | M | 5920 | 1456663GZPCLNT100 | EA |  | ALTERNATOR | ALTERNATOR | ALTERNATOR: ALTERNATOR |  | ALTERNATOR: ALTERNATOR | [34 empty] | U | [13 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1151252 | 1151252 | 1475703 | AU_QM_000234354 |  | ERSA | M | 5920 | 1475703GZPCLNT100 | EA |  | ALTERNATOR T/S DEUTZ ENGINE | ALTERNATOR T/S DEUTZ ENGINE |  |  | GENERATOR,ENGINE ACCESSORY: ALTERNATOR T/S DEUTZ ENGINE |  |  | 1068211 @@ PENSKE POWER SYSTEMS | DE-1183618 | [10 empty] | PENSKE POWER SYSTEMS | DE-1183618 | [18 empty] | U |  |  | ENGINE | T/S DEUTZ | [7 empty] | GENERATOR,ENGINE ACCESSORY |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1067084 | 1067084 | 1356519 | AU_QM_000148123 |  | ERSA | M | 5920 | 1356519GZPCLNT100 | EA |  | ALTERNATOR TO SUIT 2.5 LTR MAHINDRA | ALTERNATOR TO SUIT 2.5 LTR MAHINDRA | ALTERNATOR: ALTERNATOR TO SUIT 2.5 LTR MAHINDRA |  | ALTERNATOR: ALTERNATOR TO SUIT 2.5 LTR MAHINDRA | [34 empty] | U | [11 empty] | FOR 2.5 L MAHINDRA |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1206229 | 1206229 |  |  |  | ERSA | M | 5955 | 1032952MRM | EA |  | ALTERNATOR:100A RECONDITIONED ALTERNATOR | ALTERNATOR:100A RECONDITIONED ALTERNATOR | ALTERNATOR:100A RECONDITIONED ALTERNATOR;(REP'D)REMAN CORE TO BE RETURNED TOCATERPILLER;CAT R2900 <(>&<)> R1700 LOADER/ AD45 / AD55 | [36 empty] | U |  |  | LOADER | CATERPILLER | R2900/R1700,AD45/AD55 | [6 empty] | RECONDITIONED,(REP'D)REMAN CORE TO BE RETURNED TO CATERPILLER |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 100 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1217738 | 1217738 |  |  |  | ERSA | M | 5955 | 918334MRM | EA |  | ALTERNATOR:12VDC;65AMP; | ALTERNATOR:12VDC;65AMP; | ALTERNATOR:12VDC;65AMP; | [36 empty] | U | [13 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 VDC | CURRENT RATING | 65 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1206755 | 1206755 |  |  |  | ERSA | M | 5955 | 1045830MRM | EA |  | ALTERNATOR:12VDC;SUITABLE FOR U/G MINE U | ALTERNATOR:12VDC;SUITABLE FOR U/G MINE U | ALTERNATOR:12VDC;SUITABLE FOR U/G MINE USE;TOYOTA L/CRUISER;REPAIRABLE ITEM) |  |  |  |  | 1078981 @@ ASHDOWN INGRAM DARWIN | DXA433 | [14 empty] | ASHDOWN INGRAM DARWIN | DXA433 | [14 empty] | U |  |  | LAND CRUISER | TOYOTA | [7 empty] | FOR U/G MINE USE,REPAIRABLE ITEM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 VDC | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1204111 | 1204111 |  |  |  | ERSA | M | 5920 | 271139MRM | EA |  | ALTERNATOR:24V;70A;SUITS FK206 | ALTERNATOR:24V;70A;SUITS FK206 | ALTERNATOR:24V;70A;SUITS FK206 |  |  |  |  | 1068288 @@ UNITED EQUIPMENT | 5318117 | [12 empty] | CUMMINS | 5318117 | UNITED EQUIPMENT | 5318117 | [14 empty] | https://enginepartssuperstore.com/Category/5318117/Cummins-Alternator/ | [9 empty] | E |  | FOR MODEL FK206 |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING | 70 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1217471 | 1217471 |  |  |  | ERSA | M | 1600 | 843672MRM | EA |  | ALTERNATOR:24VDC;"REPAIRABLE ITEM"FRANNA | ALTERNATOR:24VDC;"REPAIRABLE ITEM"FRANNA | ALTERNATOR:24VDC;"REPAIRABLE ITEM"FRANNA 16 TONNE CRANE | [36 empty] | U |  |  | 16 TON CRANE | FRANNA | [7 empty] | REPAIRABLE ITEM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1217428 | 1217428 |  |  |  | ERSA | M | 5955 | 834184MRM | EA |  | ALTERNATOR:24VDC;100A;"REPAIRABLE ITEM"T | ALTERNATOR:24VDC;100A;"REPAIRABLE ITEM"T | ALTERNATOR:24VDC;100A;"REPAIRABLE ITEM"TORO 1400 LOADER | [36 empty] | U |  |  | LOADER |  | TORO 1400 | [6 empty] | REPAIRABLE ITEM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 100 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1216890 | 1216890 |  |  |  | ERSA | M | 5955 | 774479RMRM | EA |  | ALTERNATOR:24VDC;45A;RECONDITIONED;NORME | ALTERNATOR:24VDC;45A;RECONDITIONED;NORME | ALTERNATOR:24VDC;45A;RECONDITIONED;NORMET CHARMEC 1310F CHARGE VEHICLE | [36 empty] | U |  |  | CHARGE VEHICLE | NORMET | CHARMEC 1310F | [6 empty] | RECONDITIONED |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 45 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1203512 | 1203512 |  |  |  | ERSA | M | 5955 | 23713MRM | EA |  | ALTERNATOR:24VDC;55A;ISKRA AAK1381-11.20 | ALTERNATOR:24VDC;55A;ISKRA AAK1381-11.20 | ALTERNATOR:24VDC;55A;ISKRA AAK1381-11.201.742;"REPAIRABLE ITEM"SECOMA PLUTON 30 ROCK BOLTER | [18 empty] | ISKRA | 11.201.742 AAK1381 | [16 empty] | U |  |  | ROCK BOLTER | SECOMA | PLUTON 30 |  |  |  |  | C |  | REPAIRABLE ITEM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 55 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1205887 | 1205887 |  |  |  | ERSA | M | 5955 | 8821RMRM | EA |  | ALTERNATOR:24VDC;75A;BRUSHLESS;RECONDITI | ALTERNATOR:24VDC;75A;BRUSHLESS;RECONDITI | ALTERNATOR:24VDC;75A;BRUSHLESS;RECONDITIONED; | [36 empty] | U | [11 empty] | RECONDITIONED |  | ALTERNATOR | NO MODIFIER | TYPE | BRUSHLESS | VOLTAGE RATING | 24 VDC | CURRENT RATING | 75 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1204274 | 1204274 |  |  |  | ERSA | M | 5955 | 990952MRM | EA |  | ALTERNATOR:50D 24VDC,140A ALTERNATOR;TOR | ALTERNATOR:50D 24VDC,140A ALTERNATOR;TOR | ALTERNATOR:50D 24VDC,140A ALTERNATOR;TORO DUALALTERNATOR SYSTEM;TAMROCK TORO 50D TRUCKS | [36 empty] | U |  |  | TRUCK | TAMROCK | TORO 50D | [6 empty] | DUAL ALTERNATOR SYSTEM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 140 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1216930 | 1216930 |  |  |  | ERSA | M | 3700 | 147337MRM | EA |  | ALTERNATOR:ALTERNATOR G | ALTERNATOR:ALTERNATOR G | ALTERNATOR:ALTERNATOR G | [36 empty] | U | [11 empty] | G |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1210570 | 1210570 |  |  |  | ERSA | M | 5920 | 163995MRM | EA |  | ALTERNATOR:ALTERNATOR" 24V" MITSUBISHI | ALTERNATOR:ALTERNATOR" 24V" MITSUBISHI | ALTERNATOR:ALTERNATOR" 24V" MITSUBISHI | [16 empty] | MITSUBISHI | [19 empty] | U | [13 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1205633 | 1205633 |  |  |  | ERSA | M | 5955 | 152068MRM | EA |  | ALTERNATOR:ALTERNATOR, ATLAS SIMBA L6C; | ALTERNATOR:ALTERNATOR, ATLAS SIMBA L6C; | ALTERNATOR:ALTERNATOR, ATLAS SIMBA L6C; | [36 empty] | U |  |  |  | ATLAS COPCO | SIMBA L6C | [8 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1203543 | 1203543 |  |  |  | ERSA | M | 5915 | 270830MRM | EA |  | ALTERNATOR:ALTERNATOR;12V;50A;TOYOTA 2.5 | ALTERNATOR:ALTERNATOR;12V;50A;TOYOTA 2.5 | ALTERNATOR:ALTERNATOR;12V;50A;TOYOTA 2.5T FORKLIFT |  |  |  |  | 1068341 @@ COOLDRIVE DISTRIBUTION | 65-8365 | [12 empty] | COOLDRIVE DISTRIBUTION | 65-8365 | [16 empty] | https://automotivesuperstore.com.au/jaylec-65-8365 |  |  | 2.5 TON FORKLIFT | TOYOTA | [5 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 50 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1203904 | 1203904 |  |  |  | ERSA | M | 1600 | 148028MRM | EA |  | ALTERNATOR:ALTERNATOR;MERCEDES | ALTERNATOR:ALTERNATOR;MERCEDES | ALTERNATOR:ALTERNATOR;MERCEDES |  |  |  |  | 1079378 @@ RGM Maintenance | 150845001 | [10 empty] | RGM Maintenance | 150845001 | [18 empty] | U | [11 empty] | FOR MERCEDES |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1211713 | 1211713 |  |  |  | ERSA | M | 5955 | 1218551MRM | EA |  | ALTERNATOR:GENERATOR ASM | ALTERNATOR:GENERATOR ASM | ALTERNATOR:GENERATOR ASM | [36 empty] | U | [11 empty] | ASM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1205562 | 1205562 |  |  |  | ERSA | M | 5920 | 271626MRM | EA |  | ALTERNATOR:SB REPLACEMENT;PGM | ALTERNATOR:SB REPLACEMENT;PGM | ALTERNATOR:SB REPLACEMENT;PGM | [36 empty] | U | [11 empty] | SB REPLACEMENT,PGM |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1206515 | 1206515 |  |  |  | ERSA | M | 5955 | 109017MRM | EA |  | ALTERNATOR:TC200 CARRIER;H205-40 MINIMAT | ALTERNATOR:TC200 CARRIER;H205-40 MINIMAT | ALTERNATOR:TC200 CARRIER;H205-40 MINIMATIC;CABOLT H520 CABLE BOLTER | [36 empty] | U |  |  | CARRIER,CABLE BOLTER |  | TC200, CABOLT H205-40 MINIMATIC | [8 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1055889 | 1055889 |  |  |  | ERSA | M | 5920 | 1609448GZPCLNT100 | EA |  | ALTERNATOR;12 V,120 A,LG 17 CM,M8X1.25 | ALTERNADOR;12 V,120 A,LG | ALTERNATOR;VOLTAGE RATING:12 V,CURRENT RATING:120 A,LENGTH:17 CM,ADDITIONAL FEATURES EN:M8X1.25,MOUNT LEG THICKNESS:51MM,PIN CODE: IR165,PIVOT HOLD DIA:10,SHAFT DIA:17 MM,SUIT UNIT MAKE:BOSCH STYLE,MOUNT:SINGLE LEG,BRAND:0EX | ALTERNADOR;VOLTAJE:12 V,CORRIENTE NOMINAL:120 A |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | BXA002 | [12 empty] | ASHDOWN ENTERPRISES | BXA002 | [16 empty] | http://www.indotek-bpn.com/download/Alternators_to_suit_Bosch.pdf | [9 empty] | C |  | BRAND:0EX,BOLT SIZE:M8X1.25,MOUNT LEG THICKNESS:51 MM,PIN CODE:IR165,PIVOT HOLD DIAMETER:10,SHAFT DIAMTER:17 MM,SUIT UNIT,MOUNT:SINGLE LEG |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 120 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH | 170 MM | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1055204 | 1055204 |  |  |  | ERSA | M | 1630 | 1614579GZPCLNT100 | EA |  | ALTERNATOR;12 V,120 A,MFR:MAHLE,PN:MG274 | ALTERNADOR;12 V,120 A | ALTERNATOR;VOLTAGE RATING:12 V,CURRENT RATING:120 A,ADDITIONAL FEATURES EN:MFR:MAHLE,PN:MG274 | ALTERNADOR;VOLTAJE:12 V,CORRIENTE NOMINAL:120 A |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | MG274 | [12 empty] | MAHLE | MG274 | ASHDOWN ENTERPRISES | MG274 | [14 empty] | https://smithcoelectric.com/products/mg274-new-oe-mahle-letrika-alternator-12v-120a | [9 empty] | E |  |  | MOUNTING TYPE:SPOOL | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 120 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1180710 | 1180710 |  |  |  | ERSA | M | 5955 | 1574289GZPCLNT100 | EA |  | ALTERNATOR;12 V,40 AMP,DXA487 | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:12 V,40 AMP,DXA487,SUIT KOMATSU F/LIFT | ALTERNADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | DXA487 | 1068087 @@ ASHDOWN INGRAM | 1574289 | [10 empty] | ASHDOWN ENTERPRISES | DXA487 | ASHDOWN INGRAM | 1574289 | [14 empty] | http://www.indotek-bpn.com/download/Alternators_to_suit_Denso.pdf |  |  | FORK LIFT | KOMATSU | [5 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 40 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1058082 | 1058082 |  |  |  | ERSA | M | 1600 | 1584787GZPCLNT100 | EA |  | ALTERNATOR;12 V,90 A,PN:DXA4094,DENSO | ALTERNADOR;12 V,90 A | ALTERNATOR;VOLTAGE RATING:12 V,CURRENT RATING:90 A,ADDITIONAL FEATURES EN:PN:DXA4094,DENSO | ALTERNADOR;VOLTAJE:12 V,CORRIENTE NOMINAL:90 A |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | DXA4094 | [12 empty] | DENSO | DXA4094 | ASHDOWN ENTERPRISES | DXA4094 | [14 empty] | https://www.sparesbox.com.au/products/denso-alternator-12v-90a-internal-type-dxa4094 | [9 empty] | E |  |  | Mount Leg Thickness:58 MM | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 90 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1052225 | 1052225 |  |  |  | ERSA | M | 1600 | 1581633GZPCLNT100 | EA |  | ALTERNATOR;12V,110A,DENSO,DXA433M | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:12V,110A,DENSO,DXA433M | ALTERNADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | DXA433M | [12 empty] | DENSO | DXA433M | ASHDOWN ENTERPRISES | DXA433M | [14 empty] | https://www.repco.com.au/parts-service/electrical-parts-vehicle-management/alternators/oex-alternator-12v-110a-denso-style-dxa433m/p/A5603998 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 110 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1102717 | 1102717 |  |  |  | ERSA | M | 3700 | 1533159GZPCLNT100 | EA |  | ALTERNATOR;12V,60A,DENSO,DXA4053 | ALTERNATOR;12V,60A,DENSO,DXA4053 | ALTERNATOR;ADDITIONAL FEATURES:12V,60A,DENSO,DXA4053 |  |  |  |  | 1068087 @@ ASHDOWN INGRAM | DXA4053 | [12 empty] | DENSO | DXA4053 | ASHDOWN INGRAM | DXA4053 | [14 empty] | https://www.sparesbox.com.au/products/oex-alternator-12v-60a-denso-style-dxa4053 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 60 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1181366 | 1181366 |  |  |  | ERSA | M | 5955 | 1567800GZPCLNT100 | EA |  | ALTERNATOR;12V,65A,LXA119 | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:12V,65A,LXA119 | ALTERNADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | LXA119 | [12 empty] | ASHDOWN INGRAM | LXA119 | [16 empty] | https://www.repco.com.au/parts-service/electrical-parts-vehicle-management/alternators/oex-alternator-12v-65a-lucas-style-lxa119/p/A9414030 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 65 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1053318 | 1053318 |  |  |  | ERSA | M | 5955 | 1583631GZPCLNT100 | EA |  | ALTERNATOR;12V,80A,DXA4058 | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:12V,80A,DXA4058 | ALTERNADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | DXA4058 | [12 empty] | DENSO | DXA4058 | ASHDOWN ENTERPRISES | DXA4058 | [14 empty] | https://www.repco.com.au/parts-service/electrical-parts-vehicle-management/alternators/denso-alternator-12v-80a-dxa4058/p/A5348201 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 80 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1150160 | 1150160 |  |  |  | ERSA | M | 5915 | 1527301GZPCLNT100 | EA |  | ALTERNATOR;12V,95A,DELCO 11SI,19020208 | ALTERNATOR;12V,95A,DELCO 11SI,19020208 | ALTERNATOR;ADDITIONAL FEATURES:12V,95A,DELCO 11SI,19020208 |  |  |  |  | 1068306 @@ CUMMINS SOUTH PACIFIC PTY LTD | 1527301 | 1071809 @@ ASHDOWN ENTERPRISES | 1527301 | [10 empty] | DELCO | 19020208 | CUMMINS SOUTH PACIFIC PTY LTD | 1527301 | ASHDOWN ENTERPRISES | 1527301 | [12 empty] | https://www.repco.com.au/parts-service/electrical-parts-vehicle-management/alternators/delco-alternator-12v-95a-11si-19020208/p/A9449781 | [9 empty] | C |  | SERIES:11SI |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 95 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1060779 | 1060779 |  |  |  | ERSA | M | 1610 | 1614360GZPCLNT100 | EA |  | ALTERNATOR;170 A,W/ F/IS | ALTERNADOR; | ALTERNATOR;CURRENT RATING:170 A,ADDITIONAL FEATURES EN:W/ F/IS | ALTERNADOR; |  |  |  | 1068559 @@ WESTERN TRUCK GROUP PTY LTD | 2132-LBA2287ISO | [12 empty] | PRESTOLITE | LBA2287 | WESTERN TRUCK GROUP PTY LTD | 2132-LBA2287ISO | [14 empty] | https://datasheets.globalspec.com/ds/prestolite-electric/lba2287/b24d3f2d-d4d3-4da3-bb8e-72d7080cfe7f | [9 empty] | E |  | W/ F/IS |  | ALTERNATOR | NO MODIFIER | TYPE | HIGH OUTPUT | VOLTAGE RATING | 12 V | CURRENT RATING | 170 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1111467 | 1111467 | 1409674 | AU_QM_000254892 |  | ERSA | M | 5915 | 1409674GZPCLNT100 | EA |  | ALTERNATOR;1F.504225814 | ALTERNATOR;1F.504225814 | ALTERNATOR;MNFR: ,PTNO:1F.504225814 |  | ALTERNATOR;1F.504225814ALTERNATOR;1F.504225814 | [16 empty] | Ifparts | 504225814 | [16 empty] | https://www.ifparts.com/searchdb?partnumber=504225814&gclid=CjwKCAiAxreqBhAxEiwAfGfndO_pm5-jJqSszE3vreU2j527aiQVQ5I9tMThIKZs1o7TXrRnlIQHzRoC1KoQAvD_BwE | [9 empty] | E |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 90 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 | Conflict w.r.t VOLTAGE RATING,Processed based on Websource | 1182855 | 1182855 |  |  |  | ERSA | M | 5955 | 1564340GZPCLNT100 | EA |  | ALTERNATOR;21V,55A | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:21V,55A | ALTERNADOR; |  |  |  | 1068087 @@ ASHDOWN INGRAM | 120488185 | [12 empty] | BOSCH REXROTH | 0-120-488-185 | ASHDOWN INGRAM | 120488185 | [14 empty] | https://enginepartssuperstore.com/Category/0-120-488-185/Bosch-New-Alternator-12V-55A | https://dwdiesel.com/c/EngineComponents-StartingCharging-Alternators/p/9967410 | [12 empty] | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 55 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1113123 | 1113123 |  |  |  | ERSA | M | 3700 | 1573342GZPCLNT100 | EA |  | ALTERNATOR;24V 70 A,HYSTER 16T,DELCO | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:24V 70 A,HYSTER 16T,DELCO | ALTERNADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | 8600017 | [12 empty] | DELCO | 8600017 | ASHDOWN ENTERPRISES | 8600017 | [14 empty] | https://www.delcoremy.com/find-a-part/product-details/8600017 | [9 empty] | C |  | FOR HYSTER 16 TON |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING | 70 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1150196 | 1150196 |  |  |  | ERSA | M | 5915 | 1525299GZPCLNT100 | EA |  | ALTERNATOR;ALT 12V 50A DENSO STYLE | ALTERNATOR;ALT 12V 50A DENSO STYLE | ALTERNATOR;ADDITIONAL FEATURES:ALT 12V 50A DENSO STYLE |  |  |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1525299 | 1068087 @@ ASHDOWN INGRAM | DXA4040 | [10 empty] | DENSO | DXA4040 | EPIROC AUSTRALIA PTY LTD | 1525299 | ASHDOWN INGRAM | DXA4040 | [12 empty] | https://www.sparesbox.com.au/products/oex-alternator-12v-50a-denso-style-dxa4040 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 50 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1027071 | 1027071 |  |  |  | ERSA | M | 5920 | 1355677GZPCLNT100 | EA | 3000000 | ALTERNATOR;ATL,5542028200 | ALTERNATOR;ATL,5542028200 | ALTERNATOR;MNFR:ATLAS COPCO,PTNO:5542028200 |  |  | ATLAS COPCO | 5542028200 | 1068274 @@ EPIROC AUSTRALIA-SERVICE &REPAIR | 5542028200 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5542028200 | [10 empty] | ATLAS COPCO | 5542028200 | EPIROC AUSTRALIA-SERVICE &REPAIR | 5542028200 | EPIROC AUSTRALIA PTY LTD | 5542028200 | [12 empty] | https://www.aga-parts.com/atlas-copco/part/5542028200_alternator/ | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1012583 | 1012583 |  |  |  | ERSA | M | 1600 | 1613932GZPCLNT100 | EA | 3000419 | ALTERNATOR;BREX,124655189,24 V,100 A | ALTERNADOR;BREX,124655189,24 V,100 A | ALTERNATOR;MNFR:BOSCH REXROTH,PTNO:124655189,VOLTAGE RATING:24 V,CURRENT RATING:100 A | ALTERNADOR;MNFR:BOSCH REXROTH,PTNO:124655189,VOLTAJE:24 V,CORRIENTE NOMINAL:100 A |  | BOSCH REXROTH | 124655189 | 1068087 @@ ASHDOWN INGRAM | 124655189 | [12 empty] | BOSCH REXROTH | 124655189 | ASHDOWN INGRAM | 124655189 | [14 empty] | https://motoparts24.pl/make.asp?t=7&idm=1705576 | [9 empty] | C |  | BREX |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING | 100 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1074560 | 1074560 |  |  |  | ERSA | M | 3730 | 1109454GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,10R9097,GR | ALTERNADOR;CAT,10R9097,GR | ALTERNATOR;MNFR:CATERPILLAR,PTNO:10R9097,ADDITIONAL FEATURES EN:GR | ALTERNADOR;MNFR:CATERPILLAR,PTNO:10R9097,CARACTERISTICAS ADICIONALES ES:GR |  | CATERPILLAR | 10R9097 | [14 empty] | CATERPILLAR | 10R-9097 | [16 empty] | https://parts.cat.com/en/catcorp/10R-9097 | [9 empty] | E |  | GR | Number of Poles: 16 | ALTERNATOR | NO MODIFIER | TYPE | Brushless | VOLTAGE RATING | 24 V | CURRENT RATING | 150 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1010897 | 1010897 |  |  |  | ERSA | M | 3730 | 1615791GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,200-8281,GP-CHARGING | ALTERNADOR;CAT,200-8281 | ALTERNATOR;MNFR:CATERPILLAR,PTNO:200-8281,ADDITIONAL FEATURES EN:GP-CHARGING | ALTERNADOR;MNFR:CATERPILLAR,PTNO:200-8281 |  | CATERPILLAR | 200-8281 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 0R9938á | [12 empty] | CATERPILLAR | 200-8281 | HASTINGS DEERING(AUSTRALIA) LTD | 0R9938á | [14 empty] | https://parts.cat.com/en/catcorp/200-8281 | [9 empty] | E |  | GrouP | Number of Poles: 16 | ALTERNATOR | NO MODIFIER | TYPE | Brushless,CHARGING | VOLTAGE RATING | 24 V | CURRENT RATING | 75 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1076403 | 1076403 |  |  |  | ERSA | M | 1610 | 1055170GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,2267683,GP | ALTERNADOR,CAT,2267683 | ALTERNATOR;MNFR:CATERPILLAR,PTNO:2267683,ADDITIONAL FEATURES EN:GROUP | ALTERNADOR,MNFR:CATERPILLAR,PTNO:2267683 |  | CATERPILLAR | 2267683 | [14 empty] | CATERPILLAR | 226-7683 | [16 empty] | https://parts.cat.com/en/catcorp/226-7683 | [9 empty] | E |  | GROUP | Number of Poles: 16 | ALTERNATOR | NO MODIFIER | TYPE | Brushless,CHARGING | VOLTAGE RATING | 24 V | CURRENT RATING | 95 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1074790 | 1074790 |  |  |  | ERSA | M | 3730 | 1094937GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,2490313,GP,CHRGG 24 V,150 | ALTERNADOR;CAT,2490313,GRUPO,CARGA 24 V | ALTERNATOR;MNFR:CATERPILLAR,PTNO:2490313,ADDITIONAL FEATURES EN:GROUP,CHARGING 24 V,150 A | ALTERNADOR;MNFR:CATERPILLAR,PTNO:2490313,CARACTERISTICAS ADICIONALES ES:GRUPO,CARGA 24 V,150 A |  | CATERPILLAR | 2490313 | [14 empty] | CATERPILLAR | 249-0313 | [16 empty] | https://parts.cat.com/en/catcorp/249-0313 | [9 empty] | E |  | GROUP | Number of Poles: 16 | ALTERNATOR | NO MODIFIER | TYPE | Brushless,CHARGING | VOLTAGE RATING | 24 V | CURRENT RATING | 150 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1087346 | 1087346 |  |  |  | ERSA | M | 3730 | 1318463GZPCLNT100 | EA |  | ALTERNATOR;CAT,32A6810201, | ALTERNADOR;CAT,32A6810201, | ALTERNATOR;MNFR:CATERPILLAR,PTNO:32A6810201 | ALTERNADOR;MNFR:CATERPILLAR,PTNO:32A6810201 |  |  | 32A6810201 | [14 empty] | CATERPILLAR | 32A6810201 | [16 empty] | https://www.orangeparts.com/cat-32a6810201-alternator-assy-12v-50a/ | [9 empty] | E |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 50 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1076392 | 1076392 |  |  |  | ERSA | M | 1610 | 1055243GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,3445081 | ALTERNATOR;CAT,3445081 | ALTERNATOR;MNFR:CATERPILLAR,PTNO:3445081 |  |  | CATERPILLAR | 3445081 | [14 empty] | CATERPILLAR | 344-5081 | [16 empty] | https://parts.cat.com/en/catcorp/344-5081 | [9 empty] | E |  |  | Number of Poles: 12 | ALTERNATOR | NO MODIFIER | TYPE | BRUSH | VOLTAGE RATING | 24 V | CURRENT RATING | 115 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1010857 | 1010857 |  |  |  | ERSA | M | 3730 | 1615146GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,377-6966,5.24KG | ALTERNADOR;CAT,377-6966 | ALTERNATOR;MNFR:CATERPILLAR,PTNO:377-6966,ADDITIONAL FEATURES EN:5.24KG | ALTERNADOR;MNFR:CATERPILLAR,PTNO:377-6966 |  | CATERPILLAR | 377-6966 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 377-6966 | [12 empty] | CATERPILLAR | 377-6966 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/377-6966 | [9 empty] | E |  | WEIGHT:5.24 KG |  | ALTERNATOR | NO MODIFIER | TYPE | CHARGING | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 | Conflict in CURRENT RATING, Processed based on Websource | 1075267 | 1075267 |  |  |  | ERSA | M | 1610 | 1048388GZPCLNT100 | EA | 3000003 | ALTERNATOR;CAT,3832557,12 V,120 A | ALTERNATOR;CAT,3832557,12 V,120 A | ALTERNATOR;MNFR:CATERPILLAR,PTNO:3832557,ADDITIONAL FEATURES EN:12 V,120 A |  |  | CATERPILLAR | 3832557 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1048388 | [12 empty] | CATERPILLAR | 383-2557 | HASTINGS DEERING(AUSTRALIA) LTD | 1048388 | [14 empty] | https://parts.cat.com/en/catcorp/383-2557 | [9 empty] | E |  |  | Number of Poles: 16 | ALTERNATOR | NO MODIFIER | TYPE | BRUSH | VOLTAGE RATING | 12 V | CURRENT RATING | 100 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | [46 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1053124 | 1053124 |  |  |  | ERSA | M | 5955 | 1580677GZPCLNT100 | EA |  | ALTERNATOR;DENSO,12V,60A | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:DENSO,12V,60A | ALTERNADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | DXA4156 | [12 empty] | DENSO | DXA4156 | ASHDOWN ENTERPRISES | DXA4156 | [14 empty] | https://www.repco.com.au/parts-service/electrical-parts-vehicle-management/alternators/denso-alternator-12v-60a-dxa4156/p/A5420028 | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 60 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1084598 | 1084598 |  |  |  | ERSA | M | 1600 | 1580941GZPCLNT100 | EA |  | ALTERNATOR;DENSO,211-8008,24V,150A | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:DENSO,211-8008,24V,150A,PTNO:211-8008 | ALTERNADOR;,PTNO:211-8008 |  |  | 211-8008 | 1071809 @@ ASHDOWN ENTERPRISES | 211-8008 | [12 empty] | DENSO | 211-8008 | ASHDOWN ENTERPRISES | 211-8008 | [14 empty] | https://www.sparesbox.com.au/products/denso-alternator-24v-150a-internal-type-brushless-211-8008 | [9 empty] | E |  |  |  | ALTERNATOR | NO MODIFIER | TYPE | Brushless | VOLTAGE RATING | 24 V | CURRENT RATING | 150 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 | Conflict w.r.t MATERIAL,Processed based on Websource | 1058769 | 1058769 |  |  |  | ERSA | M | 5920 | 1584663GZPCLNT100 | EA |  | ALTERNATOR;DGW400-500 | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:DGW400-500 | ALTERNADOR; |  |  |  | 1068301 @@ WELDERS PRO SHOP | K1K57164010 | [12 empty] | WELDERS PRO SHOP | K1K57164010 |  | DGW400-500 | [14 empty] | https://www.t-s-c.ru/shop/catalog/249/206555/ | [9 empty] | C |  |  |  | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1077716 | 1077716 |  |  |  | ERSA | M | 1610 | 1190490GZPCLNT100 | EA | 3000023 | ALTERNATOR;HYS,44055704/4128902 | ALTERNATOR;HYS,44055704/4128902 | ALTERNATOR;MNFR:HYSTER,PTNO:44055704/4128902,ADDITIONAL FEATURES EN:H16.00XM-6 ABYDFHJ019E02208M |  |  | HYSTER | 44055704/4128902 | [14 empty] | HYSTER | 4128902 | HYSTER | 44055704 | [14 empty] | https://www.orangeparts.com/hyster-4128902-alternator/ |  |  |  |  | H16.00XM-6 |  |  |  |  | C |  | ABYDFHJ019E02208M |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1136311 | 1136311 | 1364253 | AU_QM_000165213 |  | ERSA | M | 5920 | 1364253GZPCLNT100 | EA |  | ALTERNATOR;MANITOU;TELEHANDLER | ALTERNATOR;MANITOU;TELEHANDLER | ALTERNATOR: ALTERNATOR;MANITOU;TELEHANDLER |  | ALTERNATOR: ALTERNATOR;MANITOU;TELEHANDLER |  |  | 1068295 @@ JUNGHEINRICH AUSTRALIA | 1364253 | [10 empty] | JUNGHEINRICH AUSTRALIA | 1364253 | [21 empty] | TELEHANDLER | MANITOU | [5 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1008183 | 1008183 |  |  |  | ERSA | M | 5935 | 1614103GZPCLNT100 | EA | 3000028 | ALTERNATOR;MIT,34368-02300 | ALTERNADOR;MIT,34368-02300 | ALTERNATOR;MNFR:MITSUBISHI,PTNO:34368-02300 | ALTERNADOR;MNFR:MITSUBISHI,PTNO:34368-02300 |  | MITSUBISHI | 34368-02300 | 1068943 @@ FORK FORCE AUSTRALIA PTY LTD | 34368-02300 | [12 empty] | MITSUBISHI | 34368-02300 | FORK FORCE AUSTRALIA PTY LTD | 34368-02300 | [14 empty] | https://wagendass.com/en/alternator/16231-alternator-replacing-10r-2576-2128561-5i8085-a004tu3586-34368-02300-a4tu3586.html | [9 empty] | E |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 28 V | CURRENT RATING | 50 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1011908 | 1011908 |  |  |  | ERSA | M | 1600 | 1614825GZPCLNT100 | EA | 3000028 | ALTERNATOR;MIT,A4TR5591AMA,24V,110A | ALTERNADOR;MIT,A4TR5591AMA | ALTERNATOR;MNFR:MITSUBISHI,PTNO:A4TR5591AMA,ADDITIONAL FEATURES EN:24V,110A | ALTERNADOR;MNFR:MITSUBISHI,PTNO:A4TR5591AMA |  | MITSUBISHI | A4TR5591AMA | 1068087 @@ ASHDOWN INGRAM | A4TR5591AMA | [12 empty] | MITSUBISHI | A4TR5591AMA | ASHDOWN INGRAM | A4TR5591AMA | [14 empty] | https://www.tokopedia.com/sumberberkataba/mitsubishi-a4tr5591ama-a004tr5591-a4tr5591-alternator-24v-110a-asli?utm_source=google&utm_medium=organic&utm_campaign=pdp-seo | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING | 110 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1056391 | 1056391 |  |  |  | ERSA | M | 5955 | 1608880GZPCLNT100 | EA |  | ALTERNATOR;NEW ALTERNATOR,24 V,275 A | ALTERNADOR;,24 V | ALTERNATOR;TYPE:NEW ALTERNATOR,VOLTAGE RATING:24 V,CURRENT RATING:275 A,ADDITIONAL FEATURES EN:MOUNTING TYPE:PAD 80MM,SHAFT DIAMETER:22MM,SERIES:55SI,BRAND:DELCO REMY | ALTERNADOR;VOLTAJE:24 V |  |  |  | 1068087 @@ ASHDOWN INGRAM | 61006083 | [12 empty] | DELCO REMY | 61006083 | ASHDOWN INGRAM | 61006083 | [14 empty] | https://www.delcoremy.com/find-a-part/product-details/61006083 | [9 empty] | C |  | MOUNTING TYPE:PAD 80 MM,SHAFT DIAMETER:22 MM,SERIES:55SI |  | ALTERNATOR | NO MODIFIER | TYPE | NEW ALTERNATOR | VOLTAGE RATING | 24 V | CURRENT RATING | 275 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1052990 | 1052990 |  |  |  | ERSA | M | 5955 | 1579273GZPCLNT100 | EA |  | ALTERNATOR;PULY | ALTERNADOR; | ALTERNATOR;ADDITIONAL FEATURES EN:PULLEY | ALTERNADOR; |  |  |  | 1068410 @@ MAINTENANCE TECHNIQUE PTY LTD | MT4612110 | [10 empty] | MAINTENANCE TECHNIQUE PTY LTD | MT4612110 | [28 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE | PULLEY | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1082930 | 1082930 |  |  |  | ERSA | M | 5000 | 1611253GZPCLNT100 | EA | 3000010 | ALTERNATOR;SAN,08000982 REP'D | ALTERNADOR;SAN,08000982 REP'D | ALTERNATOR;MNFR:SANDVIK,PTNO:08000982 REP'D,ADDITIONAL FEATURES EN:VOLTAGE RATING:24 VDC,CURRENT RATING:110 A, SPEED RATING:8000 R/MIN,REP'D, NOTE: SUPPLIED WITHOUT PULLEY | ALTERNADOR;MNFR:SANDVIK,PTNO:08000982 REP'D |  | SANDVIK | 08000982 REP'D | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 8000982 | [12 empty] | SANDVIK | 08000982 | SANDVIK MINING & CONSTRUCTION | 08000982 | [14 empty] | https://www.aga-parts.com/sandvik/part/08000982_alternator/ | [9 empty] | C |  | REPAIRED, NOTE: SUPPLIED W/O PULLEY |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 110 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING | 8000 RPM | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 | Processed based on Websource, Conflict w.r.t Input | 1009194 | 1009194 |  |  |  | ERSA | M | 5000 | 1612865GZPCLNT100 | EA | 3000010 | ALTERNATOR;SAN,25248888 | ALTERNADOR;SAN,25248888 | ALTERNATOR;MNFR:SANDVIK,PTNO:25248888 | ALTERNADOR;MNFR:SANDVIK,PTNO:25248888 |  | SANDVIK | 25248888 | [14 empty] | SANDVIK | 25248888 | [16 empty] | https://www.aga-parts.com/sandvik/part/25248888_mounting-kit/ | [9 empty] | E |  |  |  | KIT | NO MODIFIER | TYPE | MOUNTING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1079521 | 1079521 |  |  |  | ERSA | M | 5955 | 1587847GZPCLNT100 | EA | 3000010 | ALTERNATOR;SAN,56050001 | ALTERNADOR;SAN,56050001 | ALTERNATOR;MNFR:SANDVIK,PTNO:56050001 | ALTERNADOR;MNFR:SANDVIK,PTNO:56050001 |  | SANDVIK | 56050001 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56050001 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 56050001 | [10 empty] | SANDVIK | 56050001 | SANDVIK MINING & CONSTRUCTION | 56050001 | SANDVIK MINING & CONSTRUCTION | 56050001 | [12 empty] | https://www.aga-parts.com/sandvik/part/56050001_alternator/ | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1015980 | 1015980 |  |  |  | ERSA | M | 5000 | 1616879GZPCLNT100 | EA | 3000010 | ALTERNATOR;SAN,BG00554948 | ALTERNADOR;SAN,BG00554948 | ALTERNATOR;MNFR:SANDVIK,PTNO:BG00554948 | ALTERNADOR;MNFR:SANDVIK,PTNO:BG00554948 |  | SANDVIK | BG00554948 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG00554948 | [12 empty] | SANDVIK | BG00554948 | SANDVIK MINING & CONSTRUCTION | BG00554948 | [14 empty] | https://www.aga-parts.com/sandvik/part/bg00554948_alternator/ | [9 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1017127 | 1017127 |  |  |  | ERSA | M | 1610 | 1186104GZPCLNT100 | EA | 3000012 | ALTERNATOR;TOY,1903-01/270607820371,ASSY | ALTERNATOR;TOY,1903-01/270607820371,ASSY | ALTERNATOR;MNFR:TOYOTA,PTNO:1903-01/270607820371,ADDITIONAL FEATURES EN:ASSEMBLY |  |  | TOYOTA | 1903-01/270607820371 | [14 empty] | TOYOTA | 270607820371 | TOYOTA | 1903-01 | [14 empty] | https://www.dfjauto.com/oe-number/toyota-270607820371/ | [9 empty] | E |  | ASSEMBLY |  | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING | 50 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1056740 | 1056740 |  |  |  | ERSA | M | 1600 | 1614971GZPCLNT100 | EA |  | ALTERNATOR;WATER COOLED,12 V,150 A | ALTERNADOR;,12 V,150 A | ALTERNATOR;TYPE:WATER COOLED,VOLTAGE RATING:12 V,CURRENT RATING:150 A,ADDITIONAL FEATURES EN:DXA570WC-79 ALT12V150A WATERCOOLED | ALTERNADOR;VOLTAJE:12 V,CORRIENTE NOMINAL:150 A |  |  |  | 1068087 @@ ASHDOWN INGRAM | DXA570WC-79 | [12 empty] | Denso | DXA570WC-79 | ASHDOWN INGRAM | DXA570WC-79 | [24 empty] | C |  |  |  | ALTERNATOR | NO MODIFIER | TYPE | WATER COOLED | VOLTAGE RATING | 12 V | CURRENT RATING | 150 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1152459 | 1152459 | 1479823 | AU_QM_001240233 |  | ERSA | M | 4100 | 1479823GZPCLNT100 | EA |  | BEACON;110VAC;SQUARE LED;YELLOW; | BEACON;110VAC;SQUARE LED;YELLOW; |  |  | LIGHT,WARNING:BEACON;110VAC;SQUARE LED;YELLOW; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1479823 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1479823 | [28 empty] | C |  | LAMP TYPE:SQUARE LED |  | LIGHT | WARNING | TYPE | BEACON | LAMP WATTAGE |  | VOLTAGE RATING | 110 VAC | BASE TYPE |  | INTENSITY |  | COLOUR | YELLOW | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1150262 | 1150262 |  |  |  | ERSA | M | 5915 | 1517159GZPCLNT100 | EA |  | BEACON;-5 LED,AMBER,60,JT-16LED | BEACON;-5 LED,AMBER,60,JT-16LED | BEACON;ADDITIONAL FEATURES:-5 LED,AMBER,60,JT-16LED |  |  |  |  | 1068087 @@ ASHDOWN INGRAM | JT-16LED | [12 empty] | ASHDOWN INGRAM | JT-16LED | [16 empty] | https://www.repco.com.au/brands/britax/led-beacon-amber-12-to-110v-permanent-mount-jt-16led/p/A9781405 | https://www.dcpowersolutions.com.au/led-beacon-amber-12-to-110v-permanent-mount | [10 empty] | 60 |  | BEACON | NO MODIFIER | TYPE |  | LAMP TYPE | 5 LED | FLASH RATE |  | VOLTAGE RATING | 12 TO 110 V | CAP/LENS COLOUR | AMBER | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE | PERMANENT | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 | SERIES MATCH | 1085740 | 1085740 |  |  |  | ERSA | M | 1600 | 1583361GZPCLNT100 | EA | 3000422 | BEACON;CNW,APSECCO-EB8300A,LED,BATRY,AMB | FARO;CNW,APSECCO-EB8300A | BEACON;MNFR:CNW,PTNO:APSECCO-EB8300A,ADDITIONAL FEATURES EN:LED,BATTERY,AMBER,MAG,FLASHING LIGHT | FARO;MNFR:CNW,PTNO:APSECCO-EB8300A |  | CNW | APSECCO-EB8300A | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | APSECCO-EB8300A | [12 empty] | ECCO | EB8300A | CNW (MOUNT ISA) ELECT WHOLESALER | APSECCO-EB8300A | [14 empty] | https://www.eccoesg.com/au/en/products/beacons/led-beacons/EB8300-series | [9 empty] | E |  | INTEGRATED FUNCTION:FLASHLIGHT |  | BEACON | NO MODIFIER | TYPE | Magnetic Battery Powered | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING |  | CAP/LENS COLOUR | AMBER | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 105 LGX120 HT MM | MOUNTING TYPE | MAGNET | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1085206 | 1085206 |  |  |  | ERSA | M | 1600 | 1577027GZPCLNT100 | EA | 3000422 | BEACON;CNW,FIR531024FULL-0060,RED,XENON | FARO;CNW,FIR531024FULL-0060 | BEACON;MNFR:CNW,PTNO:FIR531024FULL-0060,ADDITIONAL FEATURES EN:RED,XENON FULLEON SOLEX 60VDC FLASHING SURFACE MOUNT | FARO;MNFR:CNW,PTNO:FIR531024FULL-0060 |  | CNW | FIR531024FULL-0060 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FIR531024FULL-0060 | [12 empty] | EATON | 531024FULL-0060 | CNW (MOUNT ISA) ELECT WHOLESALER | FIR531024FULL-0060 | [14 empty] | https://www.eaton.com/gb/en-gb/skuPage.531024FULL-0060.html | [11 empty] | INTEGRATED FUNCTION:FLASHLIGHT |  | BEACON | NO MODIFIER | TYPE | Solex Xenon fire alarm | LAMP TYPE | Incandescent | FLASH RATE |  | VOLTAGE RATING | 60 VDC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 65 LGX93 WDX93 HT MM | MOUNTING TYPE | SURFACE | HOUSING/BASE MATERIAL | PC | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1077162 | 1077162 |  |  |  | ERSA | M | 3730 | 1214120GZPCLNT100 | EA | 3000003 | COLLET;CAT,8R3932 | COLLET;CAT,8R3932 | COLLET;MNFR:CATERPILLAR,PTNO:8R3932 |  |  | CATERPILLAR | 8R3932 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8R3932 | [12 empty] | CATERPILLAR | 8R-3932 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8R-3932 | [9 empty] | e |  |  |  | COLLET | NO MODIFIER | TYPE | REMAN PIN RETAINER | HOLDING CAPACITY | 121 MM | COLLET SERIES |  | THREAD SIZE |  | SHAPE | ROUND | MATERIAL | Ductile Iron | OVERALL SIZE | 140 odx90 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1017185 | 1017185 |  |  |  | ERSA | M | 3730 | 1218713GZPCLNT100 | EA | 3000003 | COLLET;CAT,8R3938 | COLLET;CAT,8R3938 | COLLET;MNFR:CATERPILLAR,PTNO:8R3938 |  |  | CATERPILLAR | 8R3938 | [14 empty] | CATERPILLAR | 8R-3938 | [16 empty] | https://parts.cat.com/en/catcorp/8R-3938 | [9 empty] | e |  |  |  | COLLET | NO MODIFIER | TYPE | REMAN PIN RETAINER | HOLDING CAPACITY | 112 MM | COLLET SERIES |  | THREAD SIZE |  | SHAPE | ROUND | MATERIAL | Ductile Iron | OVERALL SIZE | 127 odx74 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1017180 | 1017180 |  |  |  | ERSA | M | 3730 | 1192687GZPCLNT100 | EA | 3000003 | COLLET;CAT,8R3939 | COLLET;CAT,8R3939 | COLLET;MNFR:CATERPILLAR,PTNO:8R3939 |  |  | CATERPILLAR | 8R3939 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8R3939 | [12 empty] | CATERPILLAR | 8R-3939 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8R-3939 | [9 empty] | e |  |  |  | COLLET | NO MODIFIER | TYPE | REMAN PIN RETAINER | HOLDING CAPACITY | 112 MM | COLLET SERIES |  | THREAD SIZE |  | SHAPE | ROUND | MATERIAL | Ductile Iron | OVERALL SIZE | 127 odx74 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1017183 | 1017183 |  |  |  | ERSA | M | 3730 | 1214678GZPCLNT100 | EA | 3000003 | COLLET;CAT,8R3942 | COLLET;CAT,8R3942 | COLLET;MNFR:CATERPILLAR,PTNO:8R3942 |  |  | CATERPILLAR | 8R3942 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 8R3942 | [12 empty] | CATERPILLAR | 8R-3942 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/8R-3942 | [9 empty] | e |  |  |  | COLLET | NO MODIFIER | TYPE | REMAN PIN RETAINER | HOLDING CAPACITY | 111 MM | COLLET SERIES |  | THREAD SIZE |  | SHAPE | ROUND | MATERIAL | Ductile Iron | OVERALL SIZE | 133 odx90 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1066912 | 1066912 | 1449632 | AU_QM_001116995 |  | ERSA | M | 2200 | 1449632GZPCLNT100 | EA |  | COMMERCIAL ROTARY GEAR FLOW DIVIDER; | COMMERCIAL ROTARY GEAR FLOW DIVIDER; | DIVIDER,VALVE FLOW: COMMERCIAL ROTARY GEAR FLOW DIVIDER; 4-STAGE;1.25IN GEAR SETS;40.4CC/REV DISP 1.5IN SAE 61 INLET;1-1/16IN UNO OUTLET; BM03 LUBRICATION SYSTEM |  | DIVIDER,VALVE FLOW: COMMERCIAL ROTARY GEAR FLOW DIVIDER; |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | FD330L-239625 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | FD330L-239625 | [18 empty] | U | [11 empty] | 4-STAGE,1-1/4 IN GEAR SETS,DISPLACEMENT:40.4 CC/REV, DISPLAY SIZE: 1-1/2 IN, INLET:SAE 61,OUTLET:1-1/16 IN UNO, FOR BM03 LUBRICATION SYSTEM |  | DIVIDER | NO MODIFIER | TYPE | VALVE FLOW,COMMERCIAL ROTARY GEAR FLOW | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1026284 | 1026284 | 1383282 | AU_QM_000223631 |  | ERSA | M | 2800 | 1383282GZPCLNT100 | EA | 3000003 | COUPLER;CAT,1766247 | COUPLER;CAT,1766247 | COUPLER;MNFR:CATERPILLAR,PTNO:1766247 |  | COUPLER;CAT,1766247COUPLER;HAS,1766247 | CATERPILLAR | 1766247 | [14 empty] | CATERPILLAR | 176-6247 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/176-6247 | [9 empty] | C |  |  |  | COUPLER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1026224 | 1026224 | 1388961 | AU_QM_000230336 |  | ERSA | M | 2800 | 1388961GZPCLNT100 | EA | 3000003 | COUPLER;CAT,2357401 | COUPLER;CAT,2357401 | COUPLER;MNFR:CATERPILLAR,PTNO:2357401 |  | COUPLER;CAT,2357401COUPLER;HAS,2357401 | CATERPILLAR | 2357401 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2357401 | [12 empty] | CATERPILLAR | 235-7401 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/235-7401 | [9 empty] | E |  |  |  | COUPLER | NO MODIFIER | TYPE | WORK TOOL QUICK | SIZE | 698 LGX522.9 WDX835.7 HT MM | MATERIAL | PAINTED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1026464 | 1026464 | 1372559 | AU_QM_000197036 |  | ERSA | M | 2800 | 1372559GZPCLNT100 | EA | 3000003 | COUPLER;CAT,287-4300 | COUPLER;CAT,287-4300 | COUPLER;MNFR:CATERPILLAR,PTNO:287-4300 |  | COUPLER;CAT,287-4300COUPLER;HAS,287-4300 | CATERPILLAR | 287-4300 | [14 empty] | CATERPILLAR | 287-4300 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/287-4300 | [9 empty] | E |  |  | Color: Medium Gloss Black | COUPLER | NO MODIFIER | TYPE | QUICK | SIZE | 1.125 M LGX207 WDX433.5 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1017094 | 1017094 |  |  |  | ERSA | M | 3730 | 1074976GZPCLNT100 | EA | 3000003 | COUPLER;CAT,4233676,QCK | COUPLER;CAT,4233676,QCK | COUPLER;MNFR:CATERPILLAR,PTNO:4233676,ADDITIONAL FEATURES EN:QUICK |  |  | CATERPILLAR | 4233676 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4233676 | [12 empty] | CATERPILLAR | 423-3676 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/423-3676 | [9 empty] | E |  |  |  | COUPLER | NO MODIFIER | TYPE | LIFT ARM QUICK | SIZE | 1.15 M LGX222.7 WDX434.8 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1034914 | 1034914 | 1372508 | AU_QM_000196983 |  | ERSA | M | 2800 | 1372508GZPCLNT100 | EA | 3000003 | COUPLER;CAT,4264051 | COUPLER;CAT,4264051 | COUPLER;MNFR:CATERPILLAR,PTNO:4264051 |  | COUPLER;CAT,4264051COUPLER;HAS,4264051 | CATERPILLAR | 4264051 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 4264051 | [12 empty] | CATERPILLAR | 426-4051 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/426-4051 | [9 empty] | E |  |  |  | COUPLER | NO MODIFIER | TYPE | QUICK DISCONNECT | SIZE |  | MATERIAL | PLATED STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1186638 | 1186638 |  |  |  | ERSA | M | 2700 | 1552490GZPCLNT100 | EA |  | DIVIDER,L/OUT;CITI DESK CLAMP-ON PANEL,4 | DIVISOR DISEÑO; | DIVIDER,LAYOUT;ADDITIONAL FEATURES EN:CITI DESK CLAMP-ON PANEL,480 H,1200 W,FABRIC,CITI CHARCOAL,FRAME WHITE30,INCLUDES 2 END TRIMS | DIVISOR DISEÃ‘O; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | CTDC0512.CH | [12 empty] | EMPIRE OFFICE FURNITURE | CTDC0512.CH | [16 empty] | https://www.slideshare.net/empirefurniture/empire-office-furniture-brochure | [9 empty] | C |  | CITI CHARCOAL,30,INCLUDES 2 END TRIMS |  | DIVIDER | NO MODIFIER | TYPE | LAYOUT,CITI DESK CLAMP-ON PANEL | SIZE | 1.2 M WDX400 HT MM | MATERIAL | FABRIC | COLOUR | WHITE FRAME | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1186637 | 1186637 |  |  |  | ERSA | M | 2700 | 1552491GZPCLNT100 | EA |  | DIVIDER,L/OUT;CITI DESK MOUNT SCREEN,480 | DIVISOR DISEÑO; | DIVIDER,LAYOUT;ADDITIONAL FEATURES EN:CITI DESK MOUNT SCREEN,480 H,600 W,PINNABLE FABRIC,WHITE FRAME,CHARCOAL FABRIC (15-13L) INCLUDES MOUNT | DIVISOR DISEÃ‘O; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | CTADDM | [10 empty] | EMPIRE OFFICE FURNITURE | CTADDM | [18 empty] | U | [9 empty] | C |  | CHARCOAL FABRIC (15-13L) INCLUDES MOUNT |  | DIVIDER | NO MODIFIER | TYPE | LAYOUT,CITI DESK MOUNT SCREEN | SIZE | 600 WDX480 HT MM | MATERIAL | PINNABLE FABRIC | COLOUR | WHITE FRAME | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1186636 | 1186636 |  |  |  | ERSA | M | 2700 | 1552492GZPCLNT100 | EA |  | DIVIDER,L/OUT;CITI SCREENS,BOTTOM PANEL | DIVISOR DISEÑO; | DIVIDER,LAYOUT;ADDITIONAL FEATURES EN:CITI SCREENS,BOTTOM PANEL WHITE MELAMINE,TOP 6MM PINNABLE FOAM CHARCOAL FABRIC,ADJUSTABLE FEET BRACKETS INCL | DIVISOR DISEÃ‘O; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | CCLS1218P.CHWH | [14 empty] | EMPIRE OFFICE FURNITURE | CCLS1218P.CHWH | [14 empty] | https://empirefurniture.com.au/wp-content/uploads/2022/03/EMP0490_Citi_Catalogue_LR.pdf | [9 empty] | E |  | TOP 6 MM PINNABLE FOAM CHARCOAL FABRIC,ADJUSTABLE FEET BRACKETS INCLUDED |  | DIVIDER | NO MODIFIER | TYPE | LAYOUT,CITI SCREENS,BOTTOM PANEL | SIZE | 1.8 WDX1.2 M HT | MATERIAL | powdercoated aluminium FRAME | COLOUR | WHITE MELAMINE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1186639 | 1186639 |  |  |  | ERSA | M | 2700 | 1552489GZPCLNT100 | EA |  | DIVIDER,L/OUT;TOP 6MM PINNABLE FOAM CHAR | DIVISOR DISEÑO; | DIVIDER,LAYOUT;ADDITIONAL FEATURES EN:TOP 6MM PINNABLE FOAM CHARCOAL FABRIC,BRACKETS INCLUDED,CORNER POLE,CITI SCREENS,BOTTOM PANEL WHITE MELAMINE | DIVISOR DISEÃ‘O; |  |  |  | 1068126 @@ EMPIRE OFFICE FURNITURE | CCLS1218P.CHWH | [14 empty] | EMPIRE OFFICE FURNITURE | CCLS1218P.CHWH | [14 empty] | https://empirefurniture.com.au/wp-content/uploads/2022/03/EMP0490_Citi_Catalogue_LR.pdf | [9 empty] | E |  | TOP 6 MM PINNABLE FOAM CHARCOAL FABRIC,BRACKETS INCLUDED |  | DIVIDER | NO MODIFIER | TYPE | LAYOUT,CORNER POLE,CITI SCREENS,BOTTOM PANEL | SIZE | 1.8 WDX1.2 M HT | MATERIAL | powdercoated aluminium FRAME | COLOUR | WHITE MELAMINE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | MUF | OK | 2023-11-10 | 2023-11-10 |  | 1064994 | 1064994 | 1452093 | AU_QM_001169184 |  | ERSA | M | 2200 | 1452093GZPCLNT100 | EA |  | DIVIDER,VALVE FLOW: | DIVIDER,VALVE FLOW: | DIVIDER,VALVE FLOW: PBZN BM04 LUBE SYSTEM |  | DIVIDER,VALVE FLOW: PBZN BM04 LUBE SYSTEM |  |  | 1068156 @@ BOSCH REXROTH PTY LTD | KV1DF/7.8X4,SHAFT FOR TACO | [12 empty] | BOSCH REXROTH PTY LTD | KV1 DF/7.8X4 | [16 empty] | https://www.vivoil.com/files/vivoil_d_en.pdf | [9 empty] | E |  | SHAFT FOR TACO,FOR PBZN BM04 LUBE SYSTEM | CONNECTION TYPE:3/8 IN BSPP | DIVIDER | NO MODIFIER | TYPE | VALVE FLOW | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed