## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1057790 | 1057790 |  |  |  | ERSA | M | 5100 | 1588542GZPCLNT100 | EA |  | ANTENNA,RADIO;EXTERNAL ANTENNA,W/2M LEAD | ANTENA RADIO; | ANTENNA,RADIO;POLARIZATION:EXTERNAL ANTENNA,ADDITIONAL FEATURES EN:W/2M LEAD | ANTENA RADIO; |  |  |  | 1068634 @@ CTS CRANE TECHNICAL SERVICES P/L | MOD | [10 empty] | CTS CRANE TECHNICAL SERVICES P/L | MOD | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas | C/W 2 M LEAD |  | ANTENNA | RADIO | TYPE | EXTERNAL POLARIZATION | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211224 | 1211224 |  |  |  | ERSA | M | 1600 | 358641MRM | SET |  | ANTENNA:2 WAY RADIO;162-174 MHZ RANGE;RO | ANTENNA:2 WAY RADIO;162-174 MHZ RANGE;RO | ANTENNA:2 WAY RADIO;162-174 MHZ RANGE;ROOF MTD;VEHICLE TYPE;C/W MTG KIT; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas | MOUNT:ROOF,VEHICLE TYPE,C/W MOUNTING KIT |  | ANTENNA | RADIO | TYPE | 2-WAY | GAIN |  | FREQUENCY RATING | 162 TO 174 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206912 | 1206912 |  |  |  | ERSA | M | 5955 | 154290MRM | EA |  | ANTENNA:AERIAL ANTENNA ASSY; W/HOLDER; V | ANTENNA:AERIAL ANTENNA ASSY; W/HOLDER; V | ANTENNA:AERIAL ANTENNA ASSY; W/HOLDER; VDJ78/79,HZJ79 | [36 empty] | URL NOT FOUND |  |  |  |  | VDJ78/79,HZJ79 |  |  |  |  | CLEANSED | 43221706 Radio antennas | ASSEMBLY,C/W HOLDER |  | ANTENNA | RADIO | TYPE | AERIAL | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1210567 | 1210567 |  |  |  | ERSA | M | 5920 | 163992MRM | EA |  | ANTENNA:ANTENNA" GNSS" LEICA" CGA60 | ANTENNA:ANTENNA" GNSS" LEICA" CGA60 | ANTENNA:ANTENNA" GNSS" LEICA" CGA60 | [18 empty] | LEICA | CGA60 | [16 empty] | https://leica-geosystems.com/-/media/files/leicageosystems/products/other/leica_icon_gps_eql.ashx?la=es-cl&hash=8FD7E924F928F752D324C705CE8CCF94 | [9 empty] | ENRICHED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | ROBUST TRIPLE FREQUENCY GNSS | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1203499 | 1203499 |  |  |  | ERSA | M | 1600 | 22343MRM | EA |  | ANTENNA:G300 2-WAY RADIO;CUT TO OUR FREQ | ANTENNA:G300 2-WAY RADIO;CUT TO OUR FREQ | ANTENNA:G300 2-WAY RADIO;CUT TO OUR FREQUENCY; | [19 empty] | G300 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | 2-WAY,CUT TO OUR FREQUENCY | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1218012 | 1218012 |  |  |  | ERSA | M | 5100 | 270319MRM | EA |  | ANTENNA:G6;SPARE | ANTENNA:G6;SPARE | ANTENNA:G6;SPARE |  |  |  |  | 1070234 @@ GEOMOTION (AUSTRALIA) PTY. LTD. | LS-SP-AER-G6 | [30 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components | G6 SPARE |  | ANTENNA | NO MODIFIER | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1216956 | 1216956 |  |  |  | ERSA | M | 4090 | 147468MRM | EA |  | ANTENNA:MOTOROLA HELICAL ANTENNA TO SUIT | ANTENNA:MOTOROLA HELICAL ANTENNA TO SUIT | ANTENNA:MOTOROLA HELICAL ANTENNA TO SUIT 4000 SERIES HANDHELD RADIOS | [16 empty] | MOTOROLA | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas | FOR 4000 SERIES |  | ANTENNA | RADIO | TYPE | HAND HELD HELICAL | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211766 | 1211766 |  |  |  | ERSA | M | 4090 | 1219708MRM | EA |  | ANTENNA:TRIMBLE GPS ANTENNA;DIGITAL RADI | ANTENNA:TRIMBLE GPS ANTENNA;DIGITAL RADI | ANTENNA:TRIMBLE GPS ANTENNA;DIGITAL RADIO | [16 empty] | TRIMBLE | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | DIGITAL GPS | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1210991 | 1210991 |  |  |  | ERSA | M | 4090 | 135550MRM | EA |  | ANTENNA:UHF ANTENNA MONOPOLE;RTK ANTENNA | ANTENNA:UHF ANTENNA MONOPOLE;RTK ANTENNA | ANTENNA:UHF ANTENNA MONOPOLE;RTK ANTENNA; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | UHF MONOPOLE,RTK | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1203267 | 1203267 |  |  |  | ERSA | M | 5955 | 980329MRM | EA |  | ANTENNA:VEHICLE;SPRING BASE;NONRETRACTAB | ANTENNA:VEHICLE;SPRING BASE;NONRETRACTAB | ANTENNA:VEHICLE;SPRING BASE;NONRETRACTABLE;STD MOUNT; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas | STANDARD MOUNT |  | ANTENNA | RADIO | TYPE | NON-RETRACTABLE,VEHICLE | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211756 | 1211756 |  |  |  | ERSA | M | 4090 | 1219575MRM | EA |  | ANTENNA:VHF & GPS HELICAL ANTENNA;17CM, | ANTENNA:VHF & GPS HELICAL ANTENNA;17CM, | ANTENNA:VHF <(>&<)> GPS HELICAL ANTENNA;17CM, 160-174MHZ;DIGITAL RADIO | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | VHF AND GPS HELICAL DIGITAL | GAIN |  | FREQUENCY RATING | 160 TO 174 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE | 17 CM | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211757 | 1211757 |  |  |  | ERSA | M | 4090 | 1219583MRM | EA |  | ANTENNA:VHF WIDEBAND ANTENNA;136-174MHZ; | ANTENNA:VHF WIDEBAND ANTENNA;136-174MHZ; | ANTENNA:VHF WIDEBAND ANTENNA;136-174MHZ;DIGITAL RADIO | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | DIGITAL VHF WIDE BAND | GAIN |  | FREQUENCY RATING | 136 TO 174 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1055656 | 1055656 |  |  |  | ERSA | M | 5100 | 1584166GZPCLNT100 | EA |  | ANTENNA;EXTRNL,W/1M LEAD | ANTENA; | ANTENNA;TYPE:EXTERNAL,ADDITIONAL FEATURES EN:W/1M LEAD | ANTENA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MOD EXTERNAL ANTENNA | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components | C/W 1 M LEAD |  | ANTENNA | NO MODIFIER | TYPE | EXTENAL | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1204121 | 1204121 |  |  |  | ERSA | M | 4090 | 596916MRM | EA |  | ANTISEIZE COMPOUND:COPPER-GRAPHITE GEN.P | ANTISEIZE COMPOUND:COPPER-GRAPHITE GEN.P | ANTISEIZE COMPOUND:COPPER-GRAPHITE GEN.PURPOSE LUBRICANT;230G(8-OZ)BRUSH TOP CAN;CSIS REF - GP 17 |  |  |  |  | 1068502 @@ ATOM SUPPLY | 90360266 | [12 empty] | ATOM SUPPLY | 90360266 | [16 empty] | https://www.atom.com.au/bostik-never-seez-anti-seize-regular-grade-227-2g-90360266 | [9 empty] | ENRICHED | 12350000 Compounds and mixtures | REF:GP 17,BRUSH TOP CAN,CSIS |  | ANTI-SEIZE | COMPOUND | TYPE | GENERAL PURPOSE | BASE MATERIAL | COPPER,GRAPHITE | CONTAINER | 227.2 G | COLOR |  | TEMPERATURE RATING | -183 TO 982 DEG C | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206686 | 1206686 |  |  |  | ERSA | M | 5920 | 130971MRM | DR |  | ANTISEIZE COMPOUND:DRILL BIT THREAD GREA | ANTISEIZE COMPOUND:DRILL BIT THREAD GREA | ANTISEIZE COMPOUND:DRILL BIT THREAD GREASE; DRUM OF 20KG; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 12350000 Compounds and mixtures |  |  | ANTI-SEIZE | COMPOUND | TYPE | BIT THREAD CREASE | BASE MATERIAL |  | CONTAINER | 20 KG DRUM | COLOR |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1217002 | 1217002 |  |  |  | ERSA | M | 4090 | 786566MRM | EA |  | ANTISEIZE COMPOUND:ROCOL J166;2.5KG TIN | ANTISEIZE COMPOUND:ROCOL J166;2.5KG TIN | ANTISEIZE COMPOUND:ROCOL J166;2.5KG TIN |  |  |  |  | 1068502 @@ ATOM SUPPLY | 1138002 | [12 empty] | ATOM SUPPLY | 1138002 | [16 empty] | https://www.atom.com.au/copper-anti-seize-compound-2-5kg-1138002 | [9 empty] | ENRICHED | 12350000 Compounds and mixtures | BRAND:ROCOL |  | ANTI-SEIZE | COMPOUND | TYPE |  | BASE MATERIAL | COPPER | CONTAINER | 2.5 KG DRUM | COLOR |  | TEMPERATURE RATING | 1100 DEG C | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1203881 | 1203881 |  |  |  | ERSA | M | 5915 | 147998MRM | EA |  | BRAKE DRUM:DRUM;BRAKE | BRAKE DRUM:DRUM;BRAKE | BRAKE DRUM:DRUM;BRAKE |  |  |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | TO424310K120 | [10 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 424310K120 | [16 empty] | https://spareto.com/oe/424310k120 | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211594 | 1211594 |  |  |  | ERSA | M | 4010 | 359636MRM | EA |  | CALIPER,INSIDE:150MM SIZE;C/W QUICK ACT | CALIPER,INSIDE:150MM SIZE;C/W QUICK ACT | CALIPER,INSIDE:150MM SIZE;C/W QUICK ACT NUT;STEEL; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers | C/W QUICK ACT NUT,STEEL |  | CALIPER | NO MODIFIER | TYPE | INSIDE | SIZE | 150 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1211595 | 1211595 |  |  |  | ERSA | M | 4010 | 359641MRM | EA |  | CALIPER,OUTSIDE:150MM SIZE;C/W QUICK ACT | CALIPER,OUTSIDE:150MM SIZE;C/W QUICK ACT | CALIPER,OUTSIDE:150MM SIZE;C/W QUICK ACT NUT;STEEL; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers | C/W QUICK ACT NUT,STEEL |  | CALIPER | NO MODIFIER | TYPE | OUTSIDE | SIZE | 150 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1181352 | 1181352 |  |  |  | ERSA | M | 4010 | 1567816GZPCLNT100 | EA |  | CALIPER;DGTL,8IN'/200MM,0.0005''-0.01MM, | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:DIGITAL,8IN'/200MM,0.0005''-0.01MM,MITUTOYO | GALIBO; |  |  |  | 1068502 @@ ATOM SUPPLY | 92150071 | [10 empty] | ATOM SUPPLY | 92150071 | MITUTOYO | 500-753-20 | [16 empty] | https://shop.mitutoyo.eu/web/mitutoyo/en/mitutoyo/01.03.03A/Digital%20ABS%20Caliper%20CoolantProof%20IP67/$catalogue/mitutoyoData/PR/500-753-20/index.xhtml | https://www.blackwoods.com.au/tools-hand-measuring-precision/measuring-tools/digimatic-vernier-calipers-mitutoyo/digimatic-vnier-8-200mm-cprf-500-753-20/p/03464947 | [8 empty] | ENRICHED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | COOLANT PROOF DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.0005 IN/0.01 MM | ACCURACY | +/-0.001 IN | DISPLAY TYPE | LCD | JAW DEPTH | 50 MM | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 290 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN60529 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1049715 | 1049715 |  |  |  | ERSA | M | 4005 | 1581865GZPCLNT100 | EA |  | CALIPER;INSIDE SPRING JOINT,150MM | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:INSIDE SPRING JOINT,150MM | GALIBO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1086525 | [12 empty] | MOORE AND WRIGHT | MW-51/6 | [12 empty] | J BLACKWOOD & SONS | 01086525 |  |  | https://www.spearandjackson.com.au/products/MW-51%2F6 | https://www.blackwoods.com.au/tools-hand-measuring-precision/measuring-tools/inside-outside-calipers-dividers-solid-nut-spring-type-moore-wright/moore-wright-caliper-inside-spring-joint-150mm-mw-51-6/p/01086525 | [8 empty] | ENRICHED | 41111621 Calipers |  |  | CALIPER | NO MODIFIER | TYPE | INSIDE SPRING JOINT | SIZE | 150 MM | MATERIAL | POLISHED TOOL STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1049727 | 1049727 |  |  |  | ERSA | M | 4005 | 1581878GZPCLNT100 | EA |  | CALIPER;INSD,SPR,SOLID NUT 51,300MM | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:INSIDE,SPRING,SOLID NUT 51,300MM | GALIBO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 6969501 | [12 empty] | TOLEDO | 51300 | [12 empty] | J BLACKWOOD & SONS | 06969501 |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/measuring-tools/inside-outside-calipers-dividers-solid-nut-spring-type/caliper-ins-spring-solid-nut-51-300mm/p/06969501 | [9 empty] | ENRICHED | 41111621 Calipers | C/W SOLID NUT, #51 |  | CALIPER | NO MODIFIER | TYPE | INSIDE SPRING | SIZE | 300 MM | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1184765 | 1184765 |  |  |  | ERSA | M | 4010 | 1558656GZPCLNT100 | EA |  | CALIPER;VRNR,8/200MM,CPRF,500-753-20,DIG | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:VERNIER,8/200MM,CPRF,500-753-20,DIGIMATIC | GALIBO; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 3464947 | [12 empty] | MITUTOYO | 500-753-20 | [12 empty] | J BLACKWOOD & SONS | 03464947 |  |  | https://shop.mitutoyo.eu/web/mitutoyo/en/mitutoyo/01.03.03A/Digital%20ABS%20Caliper%20CoolantProof%20IP67/$catalogue/mitutoyoData/PR/500-753-20/index.xhtml | https://www.blackwoods.com.au/tools-hand-measuring-precision/measuring-tools/digimatic-vernier-calipers-mitutoyo/digimatic-vnier-8-200mm-cprf-500-753-20/p/03464947 | [8 empty] | ENRICHED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | DIGITAL ABS | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.0005 IN/0.01 MM | ACCURACY | +/-0.001 IN | DISPLAY TYPE | LCD | JAW DEPTH | 50 MM | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 290 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN60529 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1035187 | 1035187 | 1348491 | AU_QM_000008029 |  | ERSA | M | 5910 | 1348491GZPCLNT100 | EA | 3000012 | CALIPER;TOY,47730-35080(NG) | CALIPER;TOY,47730-35080(NG) | CALIPER;MNFR:TOYOTA,PTNO:47730-35080(NG) |  | CALIPER ASSY,DISC BRAKE:HZJ75 RIGHT FRONT; | TOYOTA | 47730-35080(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 47730-35080 | 1071809 @@ ASHDOWN ENTERPRISES | 47730-35080 | 1068087 @@ ASHDOWN INGRAM | 47730-35080 | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 47730-35080(NG) | ASHDOWN ENTERPRISES |  | ASHDOWN INGRAM | [13 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~front~disc~brake~rh~47730-35080.html | [9 empty] | CLEANSED | 25171706 Brake calipers |  |  | CALIPER | BRAKE | TYPE |  | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1030104 | 1030104 | 1453743 | AU_QM_001216126 |  | ERSA | M | 5910 | 1453743GZPCLNT100 | EA | 3000012 | CALIPER;TOY,4773060090 | CALIPER;TOY,4773060090 | CALIPER;MNFR:TOYOTA,PTNO:4773060090 |  | CALIPER ASSY,DISC BRAKE:RIGHT HAND FRONT CALIPER; | TOYOTA | 4773060090 | 1071809 @@ ASHDOWN ENTERPRISES | 4773060090 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4773060090 | [8 empty] | ASHDOWN ENTERPRISES |  | TOYOTA | 4773060090 | BELL & MOIR | [15 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~front~disc~brake~rh~47730-60090.html | [9 empty] | CLEANSED | 25171706 Brake calipers | ASSEMBLY |  | CALIPER | BRAKE | TYPE | FRONT DISC RIGHT HAND | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1035247 | 1035247 | 1389278 | AU_QM_000230735 |  | ERSA | M | 5910 | 1389278GZPCLNT100 | EA | 3000012 | CALIPER;TOY,477500K190 | CALIPER;TOY,477500K190 | CALIPER;MNFR:TOYOTA,PTNO:477500K190 |  | CALIPER;TOY,477500K190CALIPER;BEL,477500K190 | TOYOTA | 477500K190 | [12 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 477500K190 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~disc~47750-0k190.html | https://autoparts.toyota.com/products/product/cylinder-assy-disc-brake-lh-477500k190 | [8 empty] | ENRICHED | 25171706 Brake calipers |  |  | CALIPER | BRAKE | TYPE | LEFT DISC | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1093625 | 1093625 | 1427333 | AU_QM_000455410 |  | ERSA | M | 5910 | 1427333GZPCLNT100 | EA | 3000012 | CALIPER;TOY,47750-35080(NG) | CALIPER;TOY,47750-35080(NG) | CALIPER;MNFR:TOYOTA,PTNO:47750-35080(NG) |  | CALIPER ASSY,DISC BRAKE:HZJ75 FRONT LEFT HAND CALIPER; | TOYOTA | 47750-35080(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 47750-35080 | [10 empty] | BELL & MOIR - PARTS ORDERS ONLY | 47750-35080 | TOYOTA | 47750-35080(NG) | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~disc~brake~lh~47750-35080.html |  |  |  |  | HZJ75 |  |  |  |  | CLEANSED | 25171706 Brake calipers | ASSEMBLY |  | CALIPER | BRAKE | TYPE | FRONT DISC LEFT HAND | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1027962 | 1027962 | 1455058 | AU_QM_001245190 |  | ERSA | M | 5910 | 1455058GZPCLNT100 | EA | 3000012 | CALIPER;TOY,47750-60021(NG) | CALIPER;TOY,47750-60021(NG) | CALIPER;MNFR:TOYOTA,PTNO:47750-60021(NG) |  | CALIPER ASSY,DISC BRAKE:LANDCRUISER LEFT HAND;NO.1; | TOYOTA | 47750-60021(NG) | [14 empty] | TOYOTA | 47750-60021(NG) | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~disc~brake~lh~47750-60021.html |  |  | LANDCRUISER LEFT HAND,NO.1 | [6 empty] | CLEANSED | 25171706 Brake calipers | ASSEMBLY |  | CALIPER | BRAKE | TYPE | DISC LEFT HAND | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1031578 | 1031578 | 1429056 | AU_QM_000560961 |  | ERSA | M | 5910 | 1429056GZPCLNT100 | EA | 3000012 | CALIPER;TOY,47750-60070(NG) | CALIPER;TOY,47750-60070(NG) | CALIPER;MNFR:TOYOTA,PTNO:47750-60070(NG) |  | CALIPER ASSY,DISC BRAKE:HZJ45 LEFT HAND BRAKE CALIPER; | TOYOTA | 47750-60070(NG) | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 4775060110 | 1071809 @@ ASHDOWN ENTERPRISES | 47750-60070 | 1068087 @@ ASHDOWN INGRAM | 47750-60070 | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY | 4775060110 | TOYOTA | 47750-60070(NG) | ASHDOWN ENTERPRISES | 47750-60070 | ASHDOWN INGRAM | 47750-60070 | [12 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~disc~brake~rear~lh~47750-60110.html | [9 empty] | CLEANSED | 25171706 Brake calipers | ASSEMBLY |  | CALIPER | BRAKE | TYPE | DISC REAR LEFT HAND | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1092771 | 1092771 | 1390249 | AU_QM_000231863 |  | ERSA | M | 5910 | 1390249GZPCLNT100 | EA | 3000012 | CALIPER;TOY,4775060101 | CALIPER;TOY,4775060101 | CALIPER;MNFR:TOYOTA,PTNO:4775060101 |  | CALIPER;TOY,4775060101CALIPER;BEL,4775060101 | TOYOTA | 4775060101 | [14 empty] | TOYOTA | 4775060101 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~disc~brake~rear~lh~47750-60101.html | [9 empty] | ENRICHED | 25171706 Brake calipers | ASSEMBLY |  | CALIPER | BRAKE | TYPE | DISC REAR LEFT HAND | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1031493 | 1031493 | 1435381 | AU_QM_000775844 |  | ERSA | M | 5910 | 1435381GZPCLNT100 | EA | 3000012 | CALIPER;TOY,NG4775035080 | CALIPER;TOY,NG4775035080 | CALIPER;MNFR:TOYOTA,PTNO:NG4775035080 |  | CALIPER ASSY,DISC BRAKE:HZJ75 FRONT LEFT HAND CALIPER; | TOYOTA | NG4775035080 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | NG4775035080 | 1071809 @@ ASHDOWN ENTERPRISES | NG4775035080 | 1068087 @@ ASHDOWN INGRAM | NG4775035080 | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 47730-35080(NG) | ASHDOWN ENTERPRISES |  | ASHDOWN INGRAM | [13 empty] | https://www.toyotapartsdeal.com/oem/toyota~cylinder~assy~front~disc~brake~rh~47730-35080.html | [9 empty] | CLEANSED | 25171706 Brake calipers |  |  | CALIPER | BRAKE | TYPE |  | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1217436 | 1217436 |  |  |  | ERSA | M | 5955 | 834432MRM | EA |  | CONDENSER,REFRIGERATION:CONDENSER CORE;A | CONDENSER,REFRIGERATION:CONDENSER CORE;A | CONDENSER,REFRIGERATION:CONDENSER CORE;AIR CONDITIONING;TAMROCK TORO 50D TRUCK | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO TRUCK |  | 50D |  |  |  |  | CLEANSED | 40101700 Cooling equipment and parts and accessories | FOR AIR CONDITIONER |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1112142 | 1112142 | 1416184 | AU_QM_000261924 |  | ERSA | M | 5915 | 1416184GZPCLNT100 | EA |  | CONDENSER;14749666 | CONDENSER;14749666 | CONDENSER;MNFR: ,PTNO:14749666 |  | CONDENSER;14749666CONDENSER;14749666 |  |  | 1070370 @@ CJD EQUIPMENT PTY LTD | 1416184 | [13 empty] | 14749666 | [16 empty] | https://www.fixparts-online.com/en/volvo-construction-condenser-voe14749666.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1111443 | 1111443 | 1409832 | AU_QM_000255064 |  | ERSA | M | 5915 | 1409832GZPCLNT100 | EA |  | CONDENSER;4M.0250771DIE | CONDENSER;4M.0250771DIE | CONDENSER;MNFR: ,PTNO:4M.0250771DIE |  | CONDENSER;4M.0250771DIECONDENSER;4M.0250771DIE | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1111879 | 1111879 | 1421861 | AU_QM_000268124 |  | ERSA | M | 5915 | 1421861GZPCLNT100 | EA |  | CONDENSER;4M-022027 | CONDENSER;4M-022027 | CONDENSER;MNFR: ,PTNO:4M-022027 |  | CONDENSER;4M-022027CONDENSER;4M-022027 |  |  | 1068302 @@ AWD EQUIPMENT SALES PTY LTD | 1421861 | [10 empty] | AWD EQUIPMENT SALES PTY LTD | 1421861 | DIECI | 4M.022027 | [16 empty] | https://goldytech.com.ua/ua/p1222839767-4m022027-kondensator-diyechi.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1134500 | 1134500 | 1401234 | AU_QM_000245733 |  | ERSA | M | 5915 | 1401234GZPCLNT100 | EA |  | CONDENSER;87410101 | CONDENSER;87410101 | CONDENSER;MNFR: ,PTNO:87410101 |  | CONDENSER;87410101CONDENSER;87410101 | [16 empty] | CNH | 87410101 | [16 empty] | https://www.aga-parts.com/case-new-holland/part/87410101_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1138345 | 1138345 | 1401235 | AU_QM_000245734 |  | ERSA | M | 5915 | 1401235GZPCLNT100 | EA |  | CONDENSER;9EQ-2630 | CONDENSER;9EQ-2630 | CONDENSER;MNFR: ,PTNO:9EQ-2630 |  | CONDENSER;9EQ-2630CONDENSER;9EQ-2630 | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1111880 | 1111880 | 1421818 | AU_QM_000268076 |  | ERSA | M | 5915 | 1421818GZPCLNT100 | EA |  | CONDENSER;CNX819 | CONDENSER;CNX819 | CONDENSER;MNFR: ,PTNO:CNX819 |  | CONDENSER;CNX819CONDENSER;CNX819 | [16 empty] | OEX | CNX819 | [16 empty] | https://www.repco.com.au/parts-service/climate-control/condensers/oex-conditioning-condenser-parallel-flow-inlet-pad-outlet-pad-cnx819/p/A9448199 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | INLET AND OUTLET FITING:PAD | CONDENSER | NO MODIFIER | TYPE | PARALLE FLOW | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | 465 LGX435 HTX15 THK MM | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1026936 | 1026936 | 1424747 | AU_QM_000339606 |  | ERSA | M | 5955 | 1424747GZPCLNT100 | EA | 3000000 | CONDENSER;ATL,1202 5991 00 | CONDENSER;ATL,1202 5991 00 | CONDENSER;MNFR:ATLAS COPCO,PTNO:1202 5991 00 |  | CONDENSER,REFRIGERATION:ATCO FD40 AIR DRIER; | ATLAS COPCO | 1202 5991 00 | [14 empty] | ATLAS COPCO | 1202599100 | [16 empty] | https://www.szpfg.com/index.php/2021/09/29/atlas-air-compressor-15/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | FOR ATCO FD40 AIR DRIER |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1034171 | 1034171 | 1360991 | AU_QM_000158712 |  | ERSA | M | 5955 | 1360991GZPCLNT100 | EA | 3000000 | CONDENSER;ATL,5590016753 | CONDENSER;ATL,5590016753 | CONDENSER;MNFR:ATLAS COPCO,PTNO:5590016753 |  | CONDENSER,REFRIGERATION:AIRCONDITIONING SYSTEM;ATLAS COPCO MT65 | ATLAS COPCO | 5590016753 | 1068274 @@ EPIROC AUSTRALIA-SERVICE &REPAIR | 5590016753 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5590016753 | [8 empty] | EPIROC AUSTRALIA-SERVICE &REPAIR |  | ATLAS COPCO | 5590016753 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.aga-parts.com/atlas-copco/part/5590016753_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1021233 | 1021233 | 1389598 | AU_QM_000231123 |  | ERSA | M | 5955 | 1389598GZPCLNT100 | EA | 3000003 | CONDENSER;CAT,1997041 | CONDENSER;CAT,1997041 | CONDENSER;MNFR:CATERPILLAR,PTNO:1997041 |  | CONDENSER;CAT,1997041CONDENSER;HAS,1997041 | CATERPILLAR | 1997041 | [14 empty] | CATERPILLAR | 199-7041 | [16 empty] | https://parts.cat.com/en/catcorp/199-7041 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | CONNECTION:3/4 IN-16 MALE INLET STOR X 5/8 IN-18 MALE OUTLET STOR | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT | R134A,R1234YF | POWER SUPPLY | 24 VAC | SIZE | 340 WDX640 LGX222 HT MM | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1021122 | 1021122 | 1393879 | AU_QM_000237397 |  | ERSA | M | 5955 | 1393879GZPCLNT100 | EA | 3000003 | CONDENSER;CAT,7W5112 | CONDENSER;CAT,7W5112 | CONDENSER;MNFR:CATERPILLAR,PTNO:7W5112 |  | OEM-E-LISTCONDENSER;CAT,7W5112 | CATERPILLAR | 7W5112 | [14 empty] | CATERPILLAR | 7W5112 | [16 empty] | https://parts.cat.com/en/catcorp/7W-5112 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | CONNECTION:3/4 IN-16 MALE INLET STOR X 5/8 IN-18 MALE OUTLET STOR | CONDENSER | NO MODIFIER | TYPE | CORE | CAPACITY |  | BTUH RATING |  | REFRIGERANT | R134A | POWER SUPPLY |  | SIZE | 471.4 WDX1239 LGX31.8 HT MM | MATERIAL | ALUMINIUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1009857 | 1009857 |  |  |  | ERSA | M | 5920 | 1615215GZPCLNT100 | EA | 3000018 | CONDENSER;CUM,4004165,ASSY | CONDENSADOR;CUM,4004165 | CONDENSER;MNFR:CUMMINS,PTNO:4004165,ADDITIONAL FEATURES EN:ASSEMBLY | CONDENSADOR;MNFR:CUMMINS,PTNO:4004165 |  | CUMMINS | 4004165 | 1068511 @@ ADAPT-A-LIFT GROUP PTY LTD | 4004165 | [10 empty] | ADAPT-A-LIFT GROUP PTY LTD | 4004165 | CUMMINS | 4004165 | [16 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sOkjQAE/cummins-heating-element-4004165 | [9 empty] | CLEANSED | 40101830 Heater elements | ASSEMBLY |  | ELEMENT | HEATER | TYPE | CONDENSER | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1188936 | 1188936 |  |  |  | ERSA | M | 5955 | 1576534GZPCLNT100 | EA | 3000024 | CONDENSER;ISU,8973792310 | CONDENSADOR;ISU,8973792310 | CONDENSER;MNFR:ISUZU,PTNO:8973792310 | CONDENSADOR;MNFR:ISUZU,PTNO:8973792310 |  | ISUZU | 8973792310 | 1068416 @@ S & K PYE PTY LTD T/AS SUPERIOR | 8973792310 | [10 empty] | S & K PYE PTY LTD T/AS SUPERIOR | 8973792310 | ISUZU | 8973792310 | [16 empty] | https://autoparts.beforward.jp/detail/Cooling-Components/A-C-Condensers/PA00949491/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1103449 | 1103449 |  |  |  | ERSA | M | 5955 | 1570780GZPCLNT100 | EA | 3000024 | CONDENSER;ISU,IS-1835350970,DRYR,ASM | CONDENSADOR;ISU,IS-1835350970 | CONDENSER;MNFR:ISUZU,PTNO:IS-1835350970,ADDITIONAL FEATURES EN:DRYER,ASM | CONDENSADOR;MNFR:ISUZU,PTNO:IS-1835350970 |  | ISUZU | IS-1835350970 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | IS-1835350970 | [10 empty] | AP TOWNSVILLE P/L T/A TONY IRELA | IS-1835350970 | ISUZU | 1835350970 | [16 empty] | https://www.isuzureplacementparts.com/sale-10947339-1835350970-1-83535097-0-condenser-dryer-assembly-for-isuzu-vc46.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | ASSEMBLY |  | CONDENSER | NO MODIFIER | TYPE | DRYER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1071074 | 1071074 |  |  |  | ERSA | M | 5915 | 1538399GZPCLNT100 | EA | 3000024 | CONDENSER;ISU,IS-8980424561,AIRCOND | CONDENSER;ISU,IS-8980424561,AIRCOND | CONDENSER;MNFR:ISUZU,PTNO:IS-8980424561 |  |  | ISUZU | IS-8980424561 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | IS-8980424561 | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | IS-8980424561 | [8 empty] | BELL & MOIR |  | ISUZU | 8980424561 | AP TOWNSVILLE P/L T/A TONY IRELA | IS-8980424561 | [14 empty] | https://www.okisuzu.com/en/index.php?m=product&id=15901 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | AIR CONDITIONER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1089352 | 1089352 | 1373980 | AU_QM_000202850 |  | ERSA | M | 5955 | 1373980GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846035290 | CONDENSER;TOY,8846035290 | CONDENSER;MNFR:TOYOTA,PTNO:8846035290 |  | CONDENSER;TOY,8846035290CONDENSER;BEL,8846035290 | TOYOTA | 8846035290 | 1068087 @@ ASHDOWN INGRAM | 8846035290 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8846035290 | [8 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 8846035290 | [16 empty] | https://www.megazip.net/zapchasti-dlya/toyota/condenser-assy-cooler-8846035290?shipper=japan | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1034506 | 1034506 | 1388691 | AU_QM_000230035 |  | ERSA | M | 5955 | 1388691GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,8846060903 | CONDENSER;TOY,8846060903 | CONDENSER;MNFR:TOYOTA,PTNO:8846060903 |  | CONDENSER;TOY,8846060903CONDENSER;BEL,8846060903 | TOYOTA | 8846060903 | [14 empty] | TOYOTA | 8846060903 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~condenser~assy~cooler~88460-60903.html | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1034736 | 1034736 | 1382072 | AU_QM_000222114 |  | ERSA | M | 5955 | 1382072GZPCLNT100 | EA | 3000013 | CONDENSER;VOL,15053410 | CONDENSER;VOL,15053410 | CONDENSER;MNFR:VOLVO,PTNO:15053410 |  | CONDENSER;VOL,15053410CONDENSER;VOL,15053410 | VOLVO | 15053410 | [14 empty] | VOLVO | 15053410 | [16 empty] | https://www.aga-parts.com/volvo/part/15053410_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1049482 | 1049482 |  |  |  | ERSA | M | 4015 | 1609275GZPCLNT100 | EA |  | CONDENSER;ROOFTOP UNIT,25000 BTU,R9777 | CONDENSADOR; | CONDENSER;TYPE:ROOFTOP UNIT,BTUH RATING:25000 BTU,SIZE:555X352X22 MM,ADDITIONAL FEATURES EN:CONDENSER TYPE:PARALLEL FLOW,R9777, INLET FITTING:8 MIOR,OUTLET FITTING:6 MIOR,BRAND:REDDOT,CFM:355 | CONDENSADOR; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | RD453780P | [10 empty] | ASHDOWN ENTERPRISES |  | RED DOT | RD453780P | [16 empty] | https://www.repco.com.au/parts-service/climate-control/condensers/red-dot-air-conditioning-condenser-parallel-flow-inlet-8-mior-outlet-6-mior-rd453780p/p/A9333236 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | INLET AND OUTLET FITING:MIOR | CONDENSER | NO MODIFIER | TYPE | PARALLE FLOW | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | 555 LGX352 HTX22 THK MM | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1099888 | 1099888 | 1393994 | AU_QM_000237528 |  | ERSA | M | 1500 | 1393994GZPCLNT100 | EA | 3000028 | CORD,COMM;MIT,5M | CORD,COMM;MIT,5M | CORD,COMMUNICATION;MNFR:MITSUBISHI,PTNO:5M |  | OEM-E-LISTCORD,COMMUNICATION;MIT,5M | MITSUBISHI | 5M | [12 empty] | MITSUBISHI | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE |  | CONNECTION TYPE |  | LENGTH | 5 M | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1042425 | 1042425 | 1414018 | AU_QM_000259563 |  | ERSA | M | 5915 | 1414018GZPCLNT100 | EA |  | CORD,COMM;MITSUBISHI CAMERA TO TRANSMITT | CORD,COMM;MITSUBISHI CAMERA TO TRANSMITT | CORD,COMMUNICATION;TYPE:MITSUBISHI CAMERA TO TRANSMITTER,LENGTH:5 M,ADDITIONAL FEATURES EN:INC CONNECTION,MNFR:01)PARTS,PTNO:01) CAMERA TO TRANSMITTER |  | CORD,COMM;MITSUBISHI CAMERA TO TRANSMITTCORD,COMM;5M,INC CONNECTION | [14 empty] | MITSUBISHI | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE | CAMERA TO TRANSMITTER | CONNECTION TYPE |  | LENGTH | 5 M | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1186633 | 1186633 |  |  |  | ERSA | M | 4500 | 1552558GZPCLNT100 | EA |  | CORD,PTCH;RJ45,FIBRE OPT | CABLE CONEX; | CORD,PATCH;CONNECTION TYPE:RJ45,ADDITIONAL FEATURES EN:FIBRE OPT | CABLE CONEXION; | [35 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR |  | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | RJ45 | DIAMETER |  | LENGTH |  | JACKET MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1058364 | 1058364 |  |  |  | ERSA | M | 4500 | 1604874GZPCLNT100 | EA |  | CORD,PTCH;DPLX,LC-LC,DIA 2 MM,LG 1 M | CABLE CONEX;DIA ,LG 1 M,AMARILLO | CORD,PATCH;TYPE:DUPLEX,CONNECTION TYPE:LC-LC,DIAMETER:2 MM,LENGTH:1 M,COLOUR:YELLOW,CERTIFICATION/STANDARD:G.657.A1,ADDITIONAL FEATURES EN:HALOGEN FREE | CABLE CONEXION;LONGITUD:1 M,TONO:AMARILLO |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | AFLD1LCLC1M-YL-SA1-2 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1LCLC1M-YL-SA1-2 | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord | HALOGEN FREE |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC CLIPPED | DIAMETER | 2 MM | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1187432 | 1187432 |  |  |  | ERSA | M | 5100 | 1614864GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 1.5 M,AQA | CABLE CONEX;LG 1.5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:1.5 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T012192,MNFR:WARREN & BROWN, PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:1.5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T012192 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T012192 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 1.5 M | JACKET MATERIAL |  | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1187430 | 1187430 |  |  |  | ERSA | M | 5100 | 1614866GZPCLNT100 | EA |  | CORD,PTCH;F/OPT,LC-LC,DPLX,LG 2.5 M,AQA | CABLE CONEX;LG 2.5 M | CORD,PATCH;TYPE:F/OPT,CONNECTION TYPE:LC-LC,DUPLEX,LENGTH:2.5 M,COLOUR:AQA,ADDITIONAL FEATURES EN:T012193,MNFR:WARREN & BROWN, PUSH & PULL TAB,UNIBOOT,FIBRE TYPE:MULTIMODE OM4 | CABLE CONEXION;LONGITUD:2.5 M |  |  |  | 1073096 @@ WARREN & BROWN TECHNOLOGIES PTY LTD | T012193 | [12 empty] | WARREN & BROWN TECHNOLOGIES PTY LTD | T012193 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43223303 Datacom patch cord | FIBRE TYPE:MULTIMODE OM4,FIBER COUNT:DUPLEX |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | LC-LC PUSH AND PULL TAB UNIBOOT | DIAMETER |  | LENGTH | 2.5 M | JACKET MATERIAL |  | COLOUR | AQUA | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150163 | 1150163 |  |  |  | ERSA | M | 4500 | 1527275GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1SCSC1M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1SCSC1M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1SCSC1M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1SCSC1M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1SCSC1M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | SC-SC CLIPPED | DIAMETER | 2 MM | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150162 | 1150162 |  |  |  | ERSA | M | 4500 | 1527276GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1SCSC2M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1SCSC2M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1SCSC2M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1SCSC2M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1SCSC2M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | SC-SC CLIPPED | DIAMETER | 2 MM | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150161 | 1150161 |  |  |  | ERSA | M | 4500 | 1527277GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1SCSC5M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1SCSC5M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1SCSC5M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1SCSC5M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1SCSC5M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | SC-SC CLIPPED | DIAMETER | 2 MM | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150165 | 1150165 |  |  |  | ERSA | M | 4500 | 1527273GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1SCST2M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1SCST2M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1SCST2M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1SCST2M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1SCST2M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | SC-SC CLIPPED | DIAMETER | 2 MM | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150164 | 1150164 |  |  |  | ERSA | M | 4500 | 1527274GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1SCST5M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1SCST5M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1SCST5M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1SCST5M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1SCST5M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | SC-SC CLIPPED | DIAMETER | 2 MM | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150169 | 1150169 |  |  |  | ERSA | M | 4500 | 1527269GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1STST1M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1STST1M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1STST1M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1STST1M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1STST1M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | ST-ST CLIPPED | DIAMETER | 2 MM | LENGTH | 1 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150168 | 1150168 |  |  |  | ERSA | M | 4500 | 1527270GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1STST2M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1STST2M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1STST2M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1STST2M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1STST2M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | ST-ST CLIPPED | DIAMETER | 2 MM | LENGTH | 2 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1150167 | 1150167 |  |  |  | ERSA | M | 4500 | 1527271GZPCLNT100 | EA |  | CORD,PTCH;FIBRE OPT,D1STST5M-YL-SA1-2L-S | CORD,PTCH;FIBRE OPT,D1STST5M-YL-SA1-2L-S | CORD,PTCH;ADDITIONAL FEATURES:FIBRE OPT,D1STST5M-YL-SA1-2L-S |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | D1STST5M-YL-SA1-2L-S | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | AFL | D1STST5M-YL-SA1-2L-S | [16 empty] | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h75/hdd/9091151691806/1890-Data-Fibre-Optic-Patch-Cords-16.03.20.pdf | [9 empty] | ENRICHED | 43223303 Datacom patch cord |  |  | CORD | PATCH | TYPE | FIBER OPTIC | NUMBER OF FIBRE/CONDUCTOR | 2 | FIBRE/CONDUCTOR SIZE |  | CONNECTION TYPE | ST-ST CLIPPED | DIAMETER | 2 MM | LENGTH | 5 M | JACKET MATERIAL | LSZH | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | G.657.A1,IEC 60332-1 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1100940 | 1100940 | 1391444 | AU_QM_000233303 |  | ERSA | M | 1500 | 1391444GZPCLNT100 | EA | 3000012 | CORD;TOY,8155560410 | CORD;TOY,8155560410 | CORD;MNFR:TOYOTA,PTNO:8155560410 |  | CORD;TOY,8155560410CORD;BEL,8155560410 | TOYOTA | 8155560410 | [12 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 8155560410 | [16 empty] | https://burjauto.com/product/8155560410-toyota/9281402 | [9 empty] | ENRICHED | 26121636 Power cord |  |  | CORD | POWER | TYPE | REAR COMBINATION LAMP | VOLTAGE RATING |  | CURRENT RATING |  | PLUG TYPE |  | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | LENGTH |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206023 | 1206023 |  |  |  | ERSA | M | 5700 | 271804MRM | EA |  | DRUM | DRUM | DRUM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206024 | 1206024 |  |  |  | ERSA | M | 5700 | 271805MRM | EA |  | DRUM | DRUM | DRUM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206027 | 1206027 |  |  |  | ERSA | M | 5700 | 271808MRM | EA |  | DRUM | DRUM | DRUM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1206029 | 1206029 |  |  |  | ERSA | M | 5700 | 271811MRM | EA |  | DRUM | DRUM | DRUM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1179706 | 1179706 |  |  |  | ERSA | M | 4005 | 1513385GZPCLNT100 | EA |  | DRUM;BRUTE CONTAINER 208 L GRAY (,966416 | TAMBOR; | DRUM;ADDITIONAL FEATURES EN:BRUTE CONTAINER 208 L GRAY (,966416 | TAMBOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 966416 | 1068093 @@ BLACKWOODS & SONS | 966416 | [10 empty] | RUBBERMAID COMMERCIAL | FG265500GRAY | [12 empty] | J BLACKWOOD & SONS | 00966416 |  |  | https://rubbermaidproducts.co.uk/rubbermaid-brute-container-208-2-l-grey/ | https://www.blackwoods.com.au/hygiene-cleaning/garbage-bags-bin-liners/rubbermaid-commercial-brute-container/bin-brute-208l-container-gray/p/00966416 | [8 empty] | ENRICHED | 24110000 Containers and storage | BRAND:BRUTE |  | CONTAINER | NO MODIFIER | TYPE |  | CAPACITY | 208 L | MATERIAL | POLYETHYLENE | OVERALL SIZE | 670 WDX835 LGX843 HT MM | COLOUR | GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1016337 | 1016337 |  |  |  | ERSA | M | 3730 | 1056218GZPCLNT100 | EA | 3000003 | DRUM;CAT,1117085 | DRUM;CAT,1117085 | DRUM;MNFR:CATERPILLAR,PTNO:1117085 |  |  | CATERPILLAR | 1117085 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1117085 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 1117085 | [16 empty] | https://parts.cat.com/en/catcorp/111-7085 | [9 empty] | ENRICHED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE | FRICTION DISC | CAPACITY |  | CONNECTION TYPE |  | MATERIAL | CAST IRON | SIZE | 223 IDX350 OD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1030469 | 1030469 | 1388099 | AU_QM_000229349 |  | ERSA | M | 5380 | 1388099GZPCLNT100 | EA | 3000003 | DRUM;CAT,196-7559 | DRUM;CAT,196-7559 | DRUM;MNFR:CATERPILLAR,PTNO:196-7559 |  | DRUM;CAT,196-7559DRUM;HAS,196-7559 | CATERPILLAR | 196-7559 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1967559 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 196-7559 | [16 empty] | https://parts.cat.com/en/catcorp/196-7559 | [9 empty] | ENRICHED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE |  | CAPACITY |  | CONNECTION TYPE |  | MATERIAL | STEEL | SIZE | 533.4 IDX669.9 ODX239.8 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1025646 | 1025646 | 1380456 | AU_QM_000219973 |  | ERSA | M | 5380 | 1380456GZPCLNT100 | EA | 3000001 | DRUM;EPI,5541 1934 00 | DRUM;EPI,5541 1934 00 | DRUM;MNFR:EPIROC,PTNO:5541 1934 00 |  | DRUM;EPI,5541 1934 00DRUM;EPI,5541 1934 00 | EPIROC | 5541 1934 00 | [12 empty] | EPIROC | 5541193400 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1025647 | 1025647 | 1380414 | AU_QM_000219926 |  | ERSA | M | 5380 | 1380414GZPCLNT100 | EA | 3000001 | DRUM;EPI,5541 7339 00 | DRUM;EPI,5541 7339 00 | DRUM;MNFR:EPIROC,PTNO:5541 7339 00 |  | DRUM;EPI,5541 7339 00DRUM;EPI,5541 7339 00 | EPIROC | 5541 7339 00 | [12 empty] | EPIROC | 5541733900 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1025150 | 1025150 | 1391475 | AU_QM_000233340 |  | ERSA | M | 5380 | 1391475GZPCLNT100 | EA | 3000011 | DRUM;TER,T135941 | DRUM;TER,T135941 | DRUM;MNFR:TEREX,PTNO:T135941 |  | DRUM;TER,T135941DRUM;TER,T135941 | TEREX | T135941 | [14 empty] | TEREX | T135941 | [16 empty] | https://www.cranepartssupply.com/en/cranes/terex-demag-lmi-reeling-drum-t135941 | [9 empty] | ENRICHED | 24101633 Hoist drums |  |  | DRUM | HOIST | TYPE | REELING | SIZE |  | LOAD RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1057688 | 1057688 |  |  |  | ERSA | M | 4045 | 1614279GZPCLNT100 | EA |  | DRUM;RECONDITIONED OPEN HEAD,205 L,STEEL | TAMBOR;,ACERO | DRUM;TYPE:RECONDITIONED OPEN HEAD,CAPACITY:205 L,MATERIAL:STEEL,ADDITIONAL FEATURES EN:WITH LID | TAMBOR;MATERIAL:ACERO |  |  |  | 1068502 @@ ATOM SUPPLY | 88853939 | [12 empty] | ATOM SUPPLY | 88853939 | [16 empty] | https://www.atom.com.au/drum-metal-205l-reconditioned-open-head-lid-88853939 | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums | C/W LID |  | DRUM | STORAGE | TYPE | RECONDITIONED OPEN HEAD | CAPACITY | 205 L | MATERIAL | STEEL | DIAMETER |  | SIZE |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 | Conflict in Description,Processed Based on Websource | 1027890 | 1027890 | 1457951 | AU_QM_001310036 |  | ERSA | M | 5920 | 1457951GZPCLNT100 | EA | 3000000 | DRYER;ATL,5580090907 | DRYER;ATL,5580090907 | DRYER;MNFR:ATLAS COPCO,PTNO:5580090907 |  | DRIER,AIR-GAS,REFRIGERATED: RECEIVER/DRYER; | ATLAS COPCO | 5580090907 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5580090907 | [10 empty] | ATLAS COPCO |  | EPIROC AUSTRALIA PTY LTD | 5580090907 | [16 empty] | https://www.aga-parts.com/epiroc/part/5580090907_filter/ | [9 empty] | CLEANSED | 40161500 Filters |  |  | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1094880 | 1094880 | 1394494 | AU_QM_000238094 |  | ERSA | M | 5920 | 1394494GZPCLNT100 | EA | 3000012 | DRYER;TOY,8847150020 | DRYER;TOY,8847150020 | DRYER;MNFR:TOYOTA,PTNO:8847150020 |  | OEM-E-LISTDRYER;TOY,8847150020 | TOYOTA | 8847150020 | [14 empty] | TOYOTA | 8847150020 | [16 empty] | https://www.toyotapartsdeal.com/oem/toyota~receiver~and~dryer~assy~cooler~88471-50020.html | [9 empty] | ENRICHED | 26131800 Power generation control equipment |  |  | DRIER | RECEIVER | TYPE | COOLER | INLET SIZE |  | OUTLET SIZE |  | SWITCH PORT SIZE |  | MATERIAL |  | SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1071055 | 1071055 | 1450956 | AU_QM_001144427 |  | ERSA | M | 5920 | 1450956GZPCLNT100 | EA | 3000012 | DRYER;TOY,8847417010 | DRYER;TOY,8847417010 | DRYER;MNFR:TOYOTA,PTNO:8847417010 |  | DRIER,AIR-GAS,REFRIGERATED: TOYOTA A/C DRIER COOLER; | TOYOTA | 8847417010 | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 8847417010 | 1071809 @@ ASHDOWN ENTERPRISES | 88474-17010 | [8 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 8847417010 | ASHDOWN ENTERPRISES | [15 empty] | https://www.toyotapartsdeal.com/oem/toyota~dryer~cooler~88474-17010.html | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | REFRIGERANT | TYPE | AIR-GAS COOLER | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-13 |  | 1094957 | 1094957 | 1392081 | AU_QM_000234117 |  | ERSA | M | 5920 | 1392081GZPCLNT100 | EA | 3000012 | DRYER;TOY,88474YC020 | DRYER;TOY,88474YC020 | DRYER;MNFR:TOYOTA,PTNO:88474YC020 |  | DRYER;TOY,88474YC020DRYER;BEL,88474YC020 | TOYOTA | 88474YC020 | [12 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 88474YC020 | [16 empty] | https://burjauto.com/product/88474yc020-toyota/9491237 | [9 empty] | ENRICHED | 23201200 Industrial drying equipment |  |  | DRYER | REFRIGERANT | TYPE | COOLER | FLOW RATING |  | REFRIGERANT TYPE |  | PRESSURE RATING |  | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed