## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1108142 | 1108142 | 1369855 | AU_QM_000174787 |  | ERSA | M | 5915 | 1369855GZPCLNT100 | EA |  | BRAKE;VOLVO;L120F | BRAKE;VOLVO;L120F | ACCUMULATOR BRAKE;VOLVO;L120F |  | ACCUMULATOR BRAKE;VOLVO;L120F |  |  | 1068317 @@ SMH EQUIPMENT PTY LTD | 17258321 | [10 empty] | SMH EQUIPMENT PTY LTD |  | VOLVO | 17258321 | [16 empty] | https://www.vomaparts.com/product/17258321-accumulator/ |  |  |  |  | L120F |  |  |  |  | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE | BRAKE | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1214006 | 1214006 |  |  |  | ERSA | M | 5955 | 777002MRM | EA |  | ACCUMULATOR,HYDRAULIC:2.0L SIZE;PRESSURE | ACCUMULATOR,HYDRAULIC:2.0L SIZE;PRESSURE | ACCUMULATOR,HYDRAULIC:2.0L SIZE;PRESSURE;EMERGENCY BRAKE;TAMROCK TORO 0011/50D/501DL | [16 empty] | TAMROCK | [19 empty] | URL Not Found |  |  |  |  | TORO 0011/50D/501DL |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | PRESSURE,EMERGENCY BRAKE | CAPACITY | 2 L | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1075356 | 1075356 |  |  |  | ERSA | M | 5920 | 1022837GZPCLNT100 | EA | 3000013 | ACCUMULATOR,HYDR;VOL,11716860 | ACCUMULATOR,HYDR;VOL,11716860 | ACCUMULATOR,HYDRAULIC;MNFR:VOLVO,PTNO:11716860 |  |  | VOLVO | 11716860 | [14 empty] | VOLVO | 11716860 | [16 empty] | https://www.vomaparts.com/product/11716860-accumulator/ | [9 empty] | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1009144 | 1009144 |  |  |  | ERSA | M | 5000 | 1612601GZPCLNT100 | EA | 3000010 | ACCUMULATOR,PNEU;SAN,64119590,TYPE:AIR | ACUMULADOR NEUM;SAN,64119590 | ACCUMULATOR,PNEUMATIC;MNFR:SANDVIK,PTNO:64119590,ADDITIONAL FEATURES EN:TYPE:AIR | ACUMULADOR NEUMATICO;MNFR:SANDVIK,PTNO:64119590 |  | SANDVIK | 64119590 | [14 empty] | SANDVIK | 64119590 | [16 empty] | https://www.rockser.com.tr/export/17 | [9 empty] | Cleansed | 27131509 Pneumatic accumulators |  |  | ACCUMULATOR | PNEUMATIC | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | PISTON MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1073173 | 1073173 |  |  | X | ERSA | M | 5000 | 1612602GZPCLNT100 | EA | 3000010 | ACCUMULATOR,PNEU;SAN,65864051,AIR | ACUMULADOR NEUM;SAN,65864051 | ACCUMULATOR,PNEUMATIC;MNFR:SANDVIK,PTNO:65864051,ADDITIONAL FEATURES EN:AIR | ACUMULADOR NEUMATICO;MNFR:SANDVIK,PTNO:65864051 |  | SANDVIK | [13 empty] | SANDVIK | 65864051 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 27131509 Pneumatic accumulators |  |  | ACCUMULATOR | PNEUMATIC | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | PISTON MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1009192 | 1009192 |  |  |  | ERSA | M | 5000 | 1612860GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,15374708-REP | ACUMULADOR;SAN,15374708-REP | ACCUMULATOR;MNFR:SANDVIK,PTNO:15374708-REP | ACUMULADOR;MNFR:SANDVIK,PTNO:15374708-REP |  | SANDVIK | 15374708-REP | [14 empty] | SANDVIK | 15374708-REP | [16 empty] | https://www.salvex.com/listings/listing_detail.cfm/aucid/182981931/ | [9 empty] | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1007958 | 1007958 |  |  |  | ERSA | M | 5000 | 1611564GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,55038354 | ACUMULADOR;SAN,55038354 | ACCUMULATOR;MNFR:SANDVIK,PTNO:55038354 | ACUMULADOR;MNFR:SANDVIK,PTNO:55038354 |  | SANDVIK | 55038354 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 1611564 | [12 empty] | SANDVIK | 55038354 | SANDVIK MINING & CONSTRUCTION | 1611564 | [14 empty] | https://www.rockser.com.tr/export/3 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1016078 | 1016078 |  |  |  | ERSA | M | 5000 | 1616977GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,56203804 | ACUMULADOR;SAN,56203804 | ACCUMULATOR;MNFR:SANDVIK,PTNO:56203804 | ACUMULADOR;MNFR:SANDVIK,PTNO:56203804 |  | SANDVIK | 56203804 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 56203804 | [12 empty] | SANDVIK | 56203804 | [16 empty] | https://k-part.777parts.org/search/?q=56203804 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1009025 | 1009025 |  |  |  | ERSA | M | 5000 | 1612160GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,77008559 | ACUMULADOR;SAN,77008559 | ACCUMULATOR;MNFR:SANDVIK,PTNO:77008559 | ACUMULADOR;MNFR:SANDVIK,PTNO:77008559 |  | SANDVIK | 77008559 | [14 empty] | SANDVIK | 77008559 | [16 empty] | https://www.rockser.com.tr/export/7 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE | PRESSURE | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1016072 | 1016072 |  |  |  | ERSA | M | 5000 | 1616971GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,BG01048551,DIAPH | ACUMULADOR;SAN,BG01048551 | ACCUMULATOR;MNFR:SANDVIK,PTNO:BG01048551,ADDITIONAL FEATURES EN:DIAPHRAGM | ACUMULADOR;MNFR:SANDVIK,PTNO:BG01048551 |  | SANDVIK | BG01048551 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | BG01048551 | [12 empty] | SANDVIK | BG01048551 | [16 empty] | https://www.volza.com/p/diaphragm-accumulator/import/import-in-peru/ | [9 empty] | Cleansed | 27121802 Hydraulic accumulators | DIAPHRAGM |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1008961 | 1008961 |  |  |  | ERSA | M | 5000 | 1611998GZPCLNT100 | EA | 3000010 | ACCUMULATOR;SAN,G9112-00006 | ACUMULADOR;SAN,G9112-00006 | ACCUMULATOR;MNFR:SANDVIK,PTNO:G9112-00006 | ACUMULADOR;MNFR:SANDVIK,PTNO:G9112-00006 |  | SANDVIK | G9112-00006 | [12 empty] | SANDVIK | G9112-00006 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | ok | 2023-11-10 | 2023-11-14 |  | 1137118 | 1137118 | 1357116 | AU_QM_000149969 |  | ERSA | M | 5905 | 1357116GZPCLNT100 | EA |  | AIR CLEANER TO TURBO SUCTION HOSE | AIR CLEANER TO TURBO SUCTION HOSE | AIR CLEANER,INTAKE: AIR CLEANER TO TURBO SUCTION HOSE |  | AIR CLEANER,INTAKE: AIR CLEANER TO TURBO SUCTION HOSE |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57415060 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 57415060 | [18 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | INTAKE,TURBO SUCTION HOSE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1068173 | 1068173 | 1452951 | AU_QM_001197565 |  | ERSA | M | 5920 | 1452951GZPCLNT100 | EA |  | AIR CLEANER,INTAKE;C508;CUMMINS ISX ENG | AIR CLEANER,INTAKE;C508;CUMMINS ISX ENG | AIR CLEANER,INTAKE: CUMMINS ISX ENGINE; KENWORTH C508; |  | AIR CLEANER,INTAKE: CUMMINS ISX ENGINE; |  |  | 1068211 @@ PENSKE POWER SYSTEMS | EAF5117 | [10 empty] | PENSKE POWER SYSTEMS |  | DONALDSON | EAF5117 | [16 empty] | https://www.purvisindustries.com/ASSETS/DOCUMENTS/ITEMS/EN/Donaldson_P165705_Catalog.pdf |  |  | ISX ENGINE | CUMMINS,KENWORTH | C508 |  |  |  |  | Enriched | 40161505 Air filters |  |  | FILTER | AIR | TYPE | INTAKE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | CELLULOSE | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1213975 | 1213975 |  |  |  | ERSA | M | 5955 | 776873MRM | EA |  | AIR CLEANER,INTAKE:2-STAGE;16"BODY DIA;7 | AIR CLEANER,INTAKE:2-STAGE;16"BODY DIA;7 | AIR CLEANER,INTAKE:2-STAGE;16"BODY DIA;7"OUTLET;19.69"LG;HEAVY DUST SERVICE; | [36 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | INTAKE,2-STAGE,HEAVY DUST SERVICE | FILTER RATING |  | SIZE | 16 DIA (BODY)X19-11/16 LG IN | PORT SIZE | 7 IN (OUTLET) | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207213 | 1207213 |  |  |  | ERSA | M | 5920 | 154808MRM | EA |  | AIR CLEANER,INTAKE:CLEANER; VACUUM DRY N | AIR CLEANER,INTAKE:CLEANER; VACUUM DRY N | AIR CLEANER,INTAKE:CLEANER; VACUUM DRY NILFISK IVB 7H NAK 240V; NILFISK ADVANCE | [36 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters | FOR VACUUM DRY NILFISK IVB 7H NAK 240 V,NILFISK ADVANCE |  | FILTER | AIR | TYPE | INTAKE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1215630 | 1215630 |  |  |  | ERSA | M | 5920 | 138667MRM | SET |  | AIR CLEANER,INTAKE:HEPA RADIAL FILTER 16 | AIR CLEANER,INTAKE:HEPA RADIAL FILTER 16 | AIR CLEANER,INTAKE:HEPA RADIAL FILTER 16;PRIMARY;FOR INSTALL ON KOMATSU ON 5500; | [36 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters | REF:16,FOR INSTALL ON KOMATSU ON 5500 |  | FILTER | AIR | TYPE | INTAKE,HEPA RADIAL,PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1203431 | 1203431 |  |  |  | ERSA | M | 5955 | 980474MRM | EA |  | AIR CLEANER,INTAKE:PRECLEANER;EIMCO 913 | AIR CLEANER,INTAKE:PRECLEANER;EIMCO 913 | AIR CLEANER,INTAKE:PRECLEANER;EIMCO 913 SERVICE; | [36 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters | FOR EIMCO 913 SERVICE |  | FILTER | AIR | TYPE | PRE,INTAKE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207282 | 1207282 |  |  |  | ERSA | M | 5920 | 336446MRM | EA |  | AIR CLEANER,INTAKE:VILAIR MULTICELL MC64 | AIR CLEANER,INTAKE:VILAIR MULTICELL MC64 | AIR CLEANER,INTAKE:VILAIR MULTICELL MC64/ID FILTER ASSY;610X610X400MM;TO AS1132 @ 2.5M/S FACE VEGALV MS FRAME;COMPLETE | [16 empty] | VILAIR | MC64/ID | [18 empty] | url not found | [9 empty] | Cleansed | 40161505 Air filters | FACE VELOCITY:2.5 M/S FACE VEGALV,COMPLETE,ASSEMBLY |  | FILTER | AIR | TYPE | INTAKE,MULTICELL | FILTER RATING |  | SIZE | 610X610X400 MM | PORT SIZE |  | MATERIAL | MILD STEEL FRAME | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1132 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1067413 | 1067413 | 1460998 | AU_QM_002589120 |  | ERSA | M | 1600 | 1460998GZPCLNT100 | EA |  | CHUTE,ARC: | CHUTE,ARC: | CHUTE,ARC: |  | CHUTE,ARC: |  |  | 1069477 @@ IPD GROUP LTD | 46/579 | [10 empty] | IPD GROUP LTD | 46/579 | [18 empty] | url not found | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | CHUTE | ARC | TYPE |  | ELECTRICAL RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065712 | 1065712 | 1458950 | AU_QM_002202714 |  | ERSA | M | 1600 | 1458950GZPCLNT100 | EA |  | C9-1200A AIR CIRCUIT BREAKER | C9-1200A AIR CIRCUIT BREAKER | CHUTE,ARC: C9-1200A AIR CIRCUIT BREAKER |  | CHUTE,ARC:C9-1200A AIR CIRCUIT BREAKER |  |  | 1070409 @@ OHMIC RESISTORS PTY LTD | 4453056 | [10 empty] | OHMIC RESISTORS PTY LTD | 4453056 | [18 empty] | url not found | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FOR C9-1200 A AIR CIRCUIT BREAKER |  | CHUTE | ARC | TYPE |  | ELECTRICAL RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065713 | 1065713 | 1458951 | AU_QM_002202716 |  | ERSA | M | 1600 | 1458951GZPCLNT100 | EA |  | C9-1600A + 2000A | C9-1600A + 2000A | CHUTE,ARC: C9-1600A + 2000A AIR CIRCUIT BREAKERS |  | CHUTE,ARC:C9-1600A + 2000A |  |  | 1070409 @@ OHMIC RESISTORS PTY LTD | 4453058 | [10 empty] | OHMIC RESISTORS PTY LTD | 4453058 | [18 empty] | url not found | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FOR C9-1600 A + 2000 A AIR CIRCUIT BREAKER |  | CHUTE | ARC | TYPE |  | ELECTRICAL RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065711 | 1065711 | 1458949 | AU_QM_002202712 |  | ERSA | M | 1600 | 1458949GZPCLNT100 | EA |  | C9-800A AIR CIRCUIT BREAKER | C9-800A AIR CIRCUIT BREAKER | CHUTE,ARC: C9-800A AIR CIRCUIT BREAKER |  | CHUTE,ARC:C9-800A AIR CIRCUIT BREAKER |  |  | 1070409 @@ OHMIC RESISTORS PTY LTD | 4453054 | [10 empty] | OHMIC RESISTORS PTY LTD | 4453054 | [18 empty] | url not found | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FOR C9-800 A AIR CIRCUIT BREAKER |  | CHUTE | ARC | TYPE |  | ELECTRICAL RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1067151 | 1067151 | 1457297 | AU_QM_001297787 |  | ERSA | M | 4090 | 1457297GZPCLNT100 | EA |  | CHUTE; | CHUTE; | CHUTE: CHUTE; |  | CHUTE: CHUTE; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100020893 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 100020893 | [18 empty] | url not found | [9 empty] | Cleansed | 39121600 Circuit protection devices and accessories |  |  | CHUTE | ARC | TYPE |  | ELECTRICAL RATING |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207520 | 1207520 |  |  |  | ERSA | M | 5920 | 132926MRM | EA |  | CHUTE:INLET CHUTE ASSEMBLY;PRIMARY SCREE | CHUTE:INLET CHUTE ASSEMBLY;PRIMARY SCREE | CHUTE:INLET CHUTE ASSEMBLY;PRIMARY SCREEN 14SN01;5648 JOEST FEEDER; | [36 empty] | url not found | [9 empty] | Cleansed | 22101700 Heavy equipment components | ASSEMBLY,PRIMARY SCREEN 14SN01,5648 FOR JOEST FEEDER |  | CHUTE | FEED | TYPE | INLET | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207523 | 1207523 |  |  |  | ERSA | M | 5920 | 132930MRM | EA |  | CHUTE:INLET CHUTE ASSEMBLY;SECONDARY SCR | CHUTE:INLET CHUTE ASSEMBLY;SECONDARY SCR | CHUTE:INLET CHUTE ASSEMBLY;SECONDARY SCREEN 14SN02;5649 JOEST FEEDER; | [36 empty] | url not found | [9 empty] | Cleansed | 22101700 Heavy equipment components | ASSEMBLY,SECONDARY SCREEN 14SN02,5649 FOR JOEST FEEDER |  | CHUTE | FEED | TYPE | INLET | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207849 | 1207849 |  |  |  | ERSA | M | 5920 | 132986MRM | EA |  | CHUTE:INLET CHUTE DISCHARGE END;FUF/1400 | CHUTE:INLET CHUTE DISCHARGE END;FUF/1400 | CHUTE:INLET CHUTE DISCHARGE END;FUF/1400/300X4800 JOEST FEEDER; | [36 empty] | url not found | [9 empty] | Cleansed | 22101700 Heavy equipment components | FOR FUF/1400/300X4800 JOEST FEEDER |  | CHUTE | FEED | TYPE | INLET,DISCHARGE END | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207542 | 1207542 |  |  |  | ERSA | M | 5920 | 132952MRM | EA |  | CHUTE:INLET CHUTE FEED END;FUF 1000/250X | CHUTE:INLET CHUTE FEED END;FUF 1000/250X | CHUTE:INLET CHUTE FEED END;FUF 1000/250X4800 JOEST FEEDER; | [36 empty] | url not found | [9 empty] | Cleansed | 22101700 Heavy equipment components | FOR FUF/1000/250X4800 JOEST FEEDER |  | CHUTE | FEED | TYPE | INLET,END | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1207848 | 1207848 |  |  |  | ERSA | M | 5920 | 132984MRM | EA |  | CHUTE:INLET CHUTE FEED END;FUF/1400/300X | CHUTE:INLET CHUTE FEED END;FUF/1400/300X | CHUTE:INLET CHUTE FEED END;FUF/1400/300X4800 JOEST FEEDER; | [36 empty] | url not found | [9 empty] | Cleansed | 22101700 Heavy equipment components | FOR FUF/1400/300X4800 JOEST FEEDER |  | CHUTE | FEED | TYPE | INLET,END | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1057981 | 1057981 |  |  |  | ERSA | M | 4090 | 1507751GZPCLNT100 | EA |  | CHUTE;06661412 | TOLVA; | CHUTE;ADDITIONAL FEATURES EN:06661412 | TOLVA; |  |  |  | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 6661412 | [10 empty] | WULGURU STEEL FABRICATORS P/L | 06661412 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1119232 | 1119232 |  |  |  | ERSA | M | 4090 | 1578699GZPCLNT100 | EA |  | CHUTE;ASSY,CHC85XA01 | TOLVA; | CHUTE;ADDITIONAL FEATURES EN:ASSEMBLY,CHC85XA01 | TOLVA; |  |  |  | 1071623 @@ ENHANCED MINING SOLUTIONS PTY LT | 1578699 | [10 empty] | ENHANCED MINING SOLUTIONS PTY LT | 1578699 |  |  |  | CHC85XA01 | [14 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1102810 | 1102810 |  |  |  | ERSA | M | 5820 | 1527738GZPCLNT100 | EA |  | CHUTE;1 SHORT,HALF PLA,034-508427- WHITE | CHUTE;1 SHORT,HALF PLA,034-508427- WHITE | CHUTE;ADDITIONAL FEATURES:1 SHORT,HALF PLA,034-508427- WHITE |  |  |  |  | 1071114 @@ CESCO AUSTRALIA LIMITED | 034-508427- WHITE | [12 empty] | CESCO AUSTRALIA LIMITED | 034-508427- WHITE | [16 empty] | https://www.cescoaustralia.com/wp-content/uploads/2020/09/Cesco-Concrete-Mixer-Spare-Parts-Section-6.pdf | [9 empty] | Cleansed | 22101700 Heavy equipment components | COLOUR:WHITE,1 SHORT |  | CHUTE | FEED | TYPE | HALF PLACEMENT LIGHT WEIGHT | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1035480 | 1035480 |  |  |  | ERSA | M | 5820 | 1527737GZPCLNT100 | EA |  | CHUTE;3 LONG,EXTENSION,034-508428- WHITE | CHUTE;3 LONG,EXTENSION,034-508428- WHITE | CHUTE;ADDITIONAL FEATURES:3 LONG,EXTENSION,034-508428- WHITE |  |  |  |  | 1071114 @@ CESCO AUSTRALIA LIMITED | 034-508428- WHITE | [12 empty] | CESCO AUSTRALIA LIMITED | 034-508428- WHITE | [16 empty] | https://www.cescoaustralia.com/wp-content/uploads/2020/09/Cesco-Concrete-Mixer-Spare-Parts-Section-6.pdf | [9 empty] | Cleansed | 22101700 Heavy equipment components | COLOUR:WHITE,3 LONG |  | CHUTE | FEED | TYPE | EXTENSION LIGHT WEIGHT | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1102811 | 1102811 |  |  |  | ERSA | M | 5820 | 1527736GZPCLNT100 | EA |  | CHUTE;3 LONG,SWIVEL- 4M,031-508401-WHITE | CHUTE;3 LONG,SWIVEL- 4M,031-508401-WHITE | CHUTE;ADDITIONAL FEATURES:3 LONG,SWIVEL- 4M,031-508401-WHITE |  |  |  |  | 1071114 @@ CESCO AUSTRALIA LIMITED | 031-508401-WHITE | [12 empty] | CESCO AUSTRALIA LIMITED | 031-508401-WHITE | [16 empty] | https://www.cescoaustralia.com/wp-content/uploads/2020/09/Cesco-Concrete-Mixer-Spare-Parts-Section-6.pdf | [9 empty] | Cleansed | 22101700 Heavy equipment components | COLOUR:WHITE,3 LONG |  | CHUTE | FEED | TYPE | SWIVEL | SIZE | 4 MM | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104512 | 1104512 |  |  |  | ERSA | M | 4090 | 1508173GZPCLNT100 | EA |  | CHUTE;CV0035,06661412 | CHUTE;CV0035,06661412 | CHUTE;ADDITIONAL FEATURES:CV0035,06661412 |  |  |  |  | 1068379 @@ WULGURU STEEL FABRICATORS P/L | 6661412 | [10 empty] | WULGURU STEEL FABRICATORS P/L | 06661412 |  |  |  | CV0035 | [14 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1102809 | 1102809 |  |  |  | ERSA | M | 5820 | 1527739GZPCLNT100 | EA |  | CHUTE;LOADING CONE,SQUA,030-508414-WHITE | CHUTE;LOADING CONE,SQUA,030-508414-WHITE | CHUTE;ADDITIONAL FEATURES:LOADING CONE,SQUA,030-508414-WHITE |  |  |  |  | 1071114 @@ CESCO AUSTRALIA LIMITED | 030-508414-WHITE | [12 empty] | CESCO AUSTRALIA LIMITED | 030-508414-WHITE | [16 empty] | https://www.cescoaustralia.com/wp-content/uploads/2015/03/section6.pdf | [9 empty] | Cleansed | 22101700 Heavy equipment components | COLOUR:WHITE |  | CHUTE | FEED | TYPE | SQUARE,LOADING CONE | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104033 | 1104033 |  |  |  | ERSA | M | 4090 | 1507082GZPCLNT100 | EA |  | CHUTE;MUL,289270,289270 | CHUTE;MUL,289270,289270 | CHUTE;ADDITIONAL FEATURES:MUL,289270,289270 |  |  |  |  | 1068642 @@ MULTOTEC PTY LTD | 289270 | [10 empty] | MULTOTEC PTY LTD | 289270 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104034 | 1104034 |  |  |  | ERSA | M | 4090 | 1507083GZPCLNT100 | EA |  | CHUTE;MUL,289271,289271 | CHUTE;MUL,289271,289271 | CHUTE;ADDITIONAL FEATURES:MUL,289271,289271 |  |  |  |  | 1068642 @@ MULTOTEC PTY LTD | 289271 | [10 empty] | MULTOTEC PTY LTD | 289271 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104035 | 1104035 |  |  |  | ERSA | M | 4090 | 1507084GZPCLNT100 | EA |  | CHUTE;MUL,289272,289272 | CHUTE;MUL,289272,289272 | CHUTE;ADDITIONAL FEATURES:MUL,289272,289272 |  |  |  |  | 1068642 @@ MULTOTEC PTY LTD | 289272 | [10 empty] | MULTOTEC PTY LTD | 289272 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104036 | 1104036 |  |  |  | ERSA | M | 4090 | 1507085GZPCLNT100 | EA |  | CHUTE;MUL,289273,289273 | CHUTE;MUL,289273,289273 | CHUTE;ADDITIONAL FEATURES:MUL,289273,289273 |  |  |  |  | 1068642 @@ MULTOTEC PTY LTD | 289273 | [10 empty] | MULTOTEC PTY LTD | 289273 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1104037 | 1104037 |  |  |  | ERSA | M | 4090 | 1507086GZPCLNT100 | EA |  | CHUTE;MUL,289274,289274 | CHUTE;MUL,289274,289274 | CHUTE;ADDITIONAL FEATURES:MUL,289274,289274 |  |  |  |  | 1068642 @@ MULTOTEC PTY LTD | 289274 | [10 empty] | MULTOTEC PTY LTD | 289274 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1023242 | 1023242 | 1393629 | AU_QM_000237104 |  | ERSA | M | 4090 | 1393629GZPCLNT100 | EA | 3000001 | CHUTE;EPI,9772998821 | CHUTE;EPI,9772998821 | CHUTE;MNFR:EPIROC,PTNO:9772998821 |  | OEM-E-LISTCHUTE;EPI,9772998821 | EPIROC | 9772998821 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9772998821 | [10 empty] | EPIROC | 9772998821 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1028610 | 1028610 | 1369667 | AU_QM_000174478 |  | ERSA | M | 4090 | 1369667GZPCLNT100 | EA | 3000284 | CHUTE;GLE,231616000503 | CHUTE;GLE,231616000503 | CHUTE;MNFR:GLENCORE,PTNO:231616000503 |  | CHUTE,MATERIALS HANDLINGFEED;316L S/S;ISASMELT | GLENCORE | 231616000503 | [12 empty] | GLENCORE | 231616000503 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 22101700 Heavy equipment components | FOR ISASMELT |  | CHUTE | FEED | TYPE | MATERIAL HANDLING | SIZE |  | MATERIAL | STAINLESS STEEL 316L | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1028609 | 1028609 | 1369668 | AU_QM_000174479 |  | ERSA | M | 4090 | 1369668GZPCLNT100 | EA | 3000284 | CHUTE;GLE,231616000505 | CHUTE;GLE,231616000505 | CHUTE;MNFR:GLENCORE,PTNO:231616000505 |  | CHUTE,MATERIALS HANDLINGEXTENSION;316L S/S;ISASMELT | GLENCORE | 231616000505 | [12 empty] | GLENCORE | 231616000505 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 22101700 Heavy equipment components | FOR ISASMELT |  | CHUTE | FEED | TYPE | MATERIAL HANDLING EXTENSION | SIZE |  | MATERIAL | STAINLESS STEEL 316L | COATING/FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1083519 | 1083519 | 1453076 | AU_QM_001202514 |  | ERSA | M | 4090 | 1453076GZPCLNT100 | EA | 3000027 | CHUTE;MET,03-436800 | CHUTE;MET,03-436800 | CHUTE;MNFR:METSO,PTNO:03-436800 |  | CHUTE: CHUTE EXTENSION;SPOUT EXTENSION 25 ID; | METSO | 03-436800 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 03-436800 | [10 empty] | METSO | 03-436800 |  |  | METSO OUTOTEC AUSTRALIA LIMITED | [15 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE | SPOUT EXTENSION | SIZE | 25 MM ID | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1069840 | 1069840 | 1457298 | AU_QM_001297795 |  | ERSA | M | 4090 | 1457298GZPCLNT100 | EA |  | CHUTE;EXTENSION | CHUTE;EXTENSION | CHUTE;MNFR:NORMET,PTNO:100006908,ADDITIONAL FEATURES EN:EXTENSION |  | CHUTE: CHUTE EXTENSION; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100006908 | [10 empty] | NORMET ASIA PACIFIC PTY LTD | 100006908 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE | EXTENSION | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1028539 | 1028539 | 1371510 | AU_QM_000195895 |  | ERSA | M | 4090 | 1371510GZPCLNT100 | EA | 3000030 | CHUTE;OUT,3600 | CHUTE;OUT,3600 | CHUTE;MNFR:OUTOTEC,PTNO:3600 |  | CHUTE;OUT,3600CHUTE;OUT,3600 | OUTOTEC | 3600 | [12 empty] | OUTOTEC | 3600 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1028540 | 1028540 | 1371509 | AU_QM_000195894 |  | ERSA | M | 4090 | 1371509GZPCLNT100 | EA | 3000030 | CHUTE;OUT,3610 | CHUTE;OUT,3610 | CHUTE;MNFR:OUTOTEC,PTNO:3610 |  | CHUTE;OUT,3610CHUTE;OUT,3610 | OUTOTEC | 3610 | [12 empty] | OUTOTEC | 3610 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1028535 | 1028535 | 1371522 | AU_QM_000195907 |  | ERSA | M | 4090 | 1371522GZPCLNT100 | EA | 3000030 | CHUTE;OUT,3615 | CHUTE;OUT,3615 | CHUTE;MNFR:OUTOTEC,PTNO:3615 |  | CHUTE;OUT,3615CHUTE;OUT,3615 | OUTOTEC | 3615 | [12 empty] | OUTOTEC | 3615 | [18 empty] | url not found | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories |  |  | CHUTE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 | Processed Based Websource, Conflict w.r.t Input | 1002496 | 1002496 |  |  |  | ERSA | M | 5000 | 1591577GZPCLNT100 | EA | 3000010 | CRIMPER;SAN,55019299 | CRIMPADORA;SAN,55019299 | CRIMPER;MNFR:SANDVIK,PTNO:55019299 | CRIMPADORA;MNFR:SANDVIK,PTNO:55019299 |  | SANDVIK | 55019299 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 55019299 | [12 empty] | SANDVIK | 55019299 | [16 empty] | https://www.rockser.com.tr/export/3 | [9 empty] | Enriched | 46171500 Locks and security hardware and accessories |  |  | LOCK | NO MODIFIER | TYPE | PRESSURE | LOCKING MECHANISM |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1210469 | 1210469 |  |  |  | ERSA | M | 1600 | 1198084MRM | EA |  | DIODE ASSY:DIODE BLOCK;SUIT - RXZE RELAY | DIODE ASSY:DIODE BLOCK;SUIT - RXZE RELAY | DIODE ASSY:DIODE BLOCK;SUIT - RXZE RELAY BASE; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes | ASSEMBLY,BLOCK,FOR RXZE RELAY BASE |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065580 | 1065580 |  |  |  | ERSA | M | 1600 | 1460432GZPCLNT100 | EA |  | DIODE: | DIODE: | DIODE: |  |  |  |  | 1071814 @@ CONNECTOR-TECH ALS PTY LTD | SWO6PCRO30 | [12 empty] | CONNECTOR-TECH ALS PTY LTD | SWO6PCRO30 | [16 empty] | https://pdf.searchdatasheet.com/7c725fca/westcode.com/SW14PCN030.txt | [9 empty] | Enriched | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE | 600 V | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065584 | 1065584 |  |  |  | ERSA | M | 1600 | 1460462GZPCLNT100 | EA |  | DIODE: | DIODE: | DIODE: |  |  |  |  | 1071814 @@ CONNECTOR-TECH ALS PTY LTD | 1460462 | [10 empty] | CONNECTOR-TECH ALS PTY LTD | 1460462 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065591 | 1065591 |  |  |  | ERSA | M | 1600 | 1460556GZPCLNT100 | EA |  | DIODE: | DIODE: | DIODE: |  |  |  |  | 1071835 @@ REXEL AUSTRALIA | S-1101-PX-D10 | [10 empty] | REXEL AUSTRALIA | S-1101-PX-D10 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065592 | 1065592 |  |  |  | ERSA | M | 1600 | 1460557GZPCLNT100 | EA |  | DIODE: | DIODE: | DIODE: |  |  |  |  | 1071835 @@ REXEL AUSTRALIA | S-1101-PX-U.10 | [10 empty] | REXEL AUSTRALIA | S-1101-PX-U.10 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1065718 | 1065718 | 1459055 | AU_QM_002205043 |  | ERSA | M | 1600 | 1459055GZPCLNT100 | EA |  | DIODE: | DIODE: | DIODE: |  | DIODE: |  |  | 1071814 @@ CONNECTOR-TECH ALS PTY LTD | 1459055 | [10 empty] | CONNECTOR-TECH ALS PTY LTD | 1459055 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1136429 | 1136429 | 1446341 | AU_QM_001036847 |  | ERSA | M | 5920 | 1446341GZPCLNT100 | EA |  | DIODE | DIODE | DIODE: DIODE |  | DIODE: DIODE |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 82345-12050 | 1071809 @@ ASHDOWN ENTERPRISES | 82345-12050 | 1068087 @@ ASHDOWN INGRAM | 82345-12050 | [6 empty] | BELL & MOIR - PARTS ORDERS ONLY |  | TOYOTA | 82345-12050 | ASHDOWN ENTERPRISES |  | ASHDOWN INGRAM | [13 empty] | https://www.toyotapartsdeal.com/oem/toyota~diode~82345-12050.html | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1209731 | 1209731 |  |  |  | ERSA | M | 1600 | 134349MRM | EA |  | DIODE:DIODE 6-250VDC FOR RXZE SOCKET;CON | DIODE:DIODE 6-250VDC FOR RXZE SOCKET;CON | DIODE:DIODE 6-250VDC FOR RXZE SOCKET;CONSUMABLE SPARE; | [36 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes | FOR RXZE SOCKET,CONSUMABLE SPARE |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE | 6 TO 250 VDC | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1099765 | 1099765 | 1349731 | AU_QM_000131445 |  | ERSA | M | 5100 | 1349731GZPCLNT100 | EA | 3000000 | DIODE;ATL,3137 1671 00 | DIODE;ATL,3137 1671 00 | DIODE;MNFR:ATLAS COPCO,PTNO:3137 1671 00 |  | DIODE: SWITCH PANEL DIODE UNIT;LOW VOLTAGE ELEC | ATLAS COPCO | 3137 1671 00 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3137167100 | [12 empty] | ATLAS COPCO | 3137167100 | EPIROC AUSTRALIA PTY LTD | 3137167100 | [14 empty] | https://www.aircompressorstrade.com/5112287827-genuine-atlas-copco-epiroc-spare-parts-catalog-by-cpmc-china/ | [9 empty] | Cleansed | 32111500 Diodes | UNIT |  | DIODE | NO MODIFIER | TYPE | SWITCH PANEL,LOW VOLTAGE ELECTRIC | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1031086 | 1031086 | 1472163 | AU_QM_009912126 |  | ERSA | M | 5100 | 1472163GZPCLNT100 | EA | 3000000 | DIODE;ATL,3176437500 | DIODE;ATL,3176437500 | DIODE;MNFR:ATLAS COPCO,PTNO:3176437500 |  | DIODE: 1038 DRIFTER SERVICE; | ATLAS COPCO | 3176437500 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3176437500 | [12 empty] | ATLAS COPCO | 3176437500 | EPIROC AUSTRALIA PTY LTD | 3176437500 | [14 empty] | https://pv271.com/index.php/2022/05/24/%D1%8D%D0%BF%D0%B8%D1%80%D0%BE%D0%BA-%D0%BA%D0%B0%D1%82%D0%B0%D0%BB%D0%BE%D0%B3-%D0%B7%D0%B0%D0%BF%D1%87%D0%B0%D1%81%D1%82%D0%B5%D0%B9-%EF%BC%88%D0%B4%D0%B2%D0%B0%D0%B4%D1%86%D0%B0%D1%82%D1%8C-%D1%87/ | [9 empty] | Cleansed | 32111500 Diodes | FOR 1038 DRIFTER SERVICE |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1077369 | 1077369 | 1204598 | AU_QM_000993645 |  | ERSA | M | 5100 | 1204598GZPCLNT100 | EA | 3000000 | DIODE;ATL,5112304333,UNT | DIODE;ATL,5112304333,UNT | DIODE;MNFR:ATLAS COPCO,PTNO:5112304333,ADDITIONAL FEATURES EN:UNIT |  | DIODE ASSY: DC17B CONTROL DIODE UNIT; | ATLAS COPCO | 5112304333 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5112304333 | [12 empty] | ATLAS COPCO | 5112304333 | EPIROC AUSTRALIA PTY LTD | 5112304333 | [14 empty] | https://www.aga-parts.com/zh-hans/atlas-copco/part/5112304333_diode-unit/ |  |  |  |  | DC17B |  |  |  |  | Cleansed | 32111500 Diodes | UNIT,ASSEMBLY |  | DIODE | NO MODIFIER | TYPE | CONTROL | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1030972 | 1030972 | 1429460 | AU_QM_000611376 |  | ERSA | M | 5100 | 1429460GZPCLNT100 | EA | 3000000 | DIODE;ATL,5540305500 | DIODE;ATL,5540305500 | DIODE;MNFR:ATLAS COPCO,PTNO:5540305500 |  | DIODE: | ATLAS COPCO | 5540305500 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5540305500 | [12 empty] | ATLAS COPCO | 5540305500 | EPIROC AUSTRALIA PTY LTD | 5540305500 | [14 empty] | https://www.tractorspare.ru/atlas-copco/5540305500/ | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1099884 | 1099884 | 1394402 | AU_QM_000237981 |  | ERSA | M | 5100 | 1394402GZPCLNT100 | EA | 3000003 | DIODE;CAT,1868312 | DIODE;CAT,1868312 | DIODE;MNFR:CATERPILLAR,PTNO:1868312 |  | OEM-E-LISTDIODE;CAT,1868312 | CATERPILLAR | 1868312 | [14 empty] | CATERPILLAR | 186-8312 | [16 empty] | https://parts.cat.com/en/catcorp/186-8312 | [9 empty] | Cleansed | 32111500 Diodes | OEM-E-LIST |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1013393 | 1013393 |  |  |  | ERSA | M | 1600 | 1615725GZPCLNT100 | EA | 3000003 | DIODE;CAT,352-1145 | DIODO;CAT,352-1145 | DIODE;MNFR:CATERPILLAR,PTNO:352-1145 | DIODO;MNFR:CATERPILLAR,PTNO:352-1145 |  | CATERPILLAR | 352-1145 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3521145 | [12 empty] | CATERPILLAR | 352-1145 | HASTINGS DEERING(AUSTRALIA) LTD | [15 empty] | https://parts.cat.com/en/catcorp/352-1145 | [9 empty] | Enriched | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT | 6 A | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL | THERMOPLASTIC | TOLERANCE |  | SIZE | 14 LGX6 WDX36 HT MM | TERMINAL | BLADE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1100497 | 1100497 | 1378041 | AU_QM_000217316 |  | ERSA | M | 5100 | 1378041GZPCLNT100 | EA | 3000001 | DIODE;EPI,5112 3043 56 | DIODE;EPI,5112 3043 56 | DIODE;MNFR:EPIROC,PTNO:5112 3043 56 |  | DIODE;EPI,5112 3043 56DIODE;EPI,5112 3043 56 | EPIROC | 5112 3043 56 | [14 empty] | EPIROC | 5112 3043 56 | [16 empty] | https://www.aircompressorstrade.com/5112320700-atlas-copco-epiroc-simba-m7c-spare-parts-catalog/ | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1100570 | 1100570 | 1376294 | AU_QM_000215393 |  | ERSA | M | 5100 | 1376294GZPCLNT100 | EA | 3000001 | DIODE;EPI,9111 4090 17 | DIODE;EPI,9111 4090 17 | DIODE;MNFR:EPIROC,PTNO:9111 4090 17 |  | DIODE;EPI,9111 4090 17DIODE;EPI,9111 4090 17 | EPIROC | 9111 4090 17 | [14 empty] | EPIROC | 9111 4090 17 | [16 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1013922 | 1013922 |  |  |  | ERSA | M | 5000 | 1581074GZPCLNT100 | EA | 3000010 | DIODE;SAN,85827419,RECTIFIER | DIODO;SAN,85827419 | DIODE;MNFR:SANDVIK,PTNO:85827419,ADDITIONAL FEATURES EN:RECTIFIER | DIODO;MNFR:SANDVIK,PTNO:85827419 |  | SANDVIK | 85827419 | 1068089 @@ SANDVIK MINING & CONSTRUCTION | 85827419 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 85827419 | [8 empty] | SANDVIK | 85827419 | [18 empty] | URL Not Found | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1136947 | 1136947 | 1450585 | AU_QM_001137421 |  | ERSA | M | 5920 | 1450585GZPCLNT100 | EA |  | AIR CLEANER; | AIR CLEANER; | FILTER ELEMENT,AIR: AIR CLEANER; MITSUBISHI FK600 TIPPER TRUCK; |  | FILTER ELEMENT,AIR: AIR CLEANER; |  |  | 1068259 @@ RGM MAINTENANCE PTY LTD | MH-ME291563 | [10 empty] | RGM MAINTENANCE PTY LTD |  | MITSUBISHI | ME291563 | [16 empty] | https://surefilter.us/onlinecatalogue/pdfs/heavy-duty/SURE_FILTER_MITSUBISHI_2016.PDF |  |  | TIPPER TRUCK |  | FK600 |  |  |  |  | Enriched | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE | SECONDARY | MEDIUM | AIR | DIMENSIONS | 110.8 IDX133 ODX400 MM HT | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063114 | 1063114 | 1366083 | AU_QM_000168705 |  | ERSA | M | 5920 | 1366083GZPCLNT100 | EA |  | AIR FILTER - INNER | AIR FILTER - INNER | FILTER ELEMENT,AIR: AIR FILTER - INNER |  | FILTER ELEMENT,AIR: AIR FILTER - INNER |  |  | 1068652 @@ J BLACKWOOD & SONS | 3256035 | 1069516 @@ ALLCLASS CONSTRUCTION EQUIPMENT | 1366083 | [10 empty] | KUBOTA | 3A111-19130 | ALLCLASS CONSTRUCTION EQUIPMENT | 1366083 | [10 empty] | J BLACKWOOD & SONS | 03256035 |  |  | https://www.blackwoods.com.au/automotive/spare-parts-automotive/air-filters/filter-air-inner-kubota-3a111-19130/p/03256035 | [9 empty] | Enriched | 40161505 Air filters |  | COLOUR:BLUE | FILTER | AIR | TYPE | INNER | FILTER RATING |  | SIZE | 62.7 IDX84.1 ODX319.1 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063112 | 1063112 | 1366088 | AU_QM_000168711 |  | ERSA | M | 5920 | 1366088GZPCLNT100 | EA |  | AIR FILTER - OUTER | AIR FILTER - OUTER | FILTER ELEMENT,AIR: AIR FILTER - OUTER |  | FILTER ELEMENT,AIR: AIR FILTER - OUTER |  |  | 1068652 @@ J BLACKWOOD & SONS | 3256052 | 1069516 @@ ALLCLASS CONSTRUCTION EQUIPMENT | 1366088 | [10 empty] | KUBOTA | 859800-26110 | ALLCLASS CONSTRUCTION EQUIPMENT | 1366088 | [10 empty] | J BLACKWOOD & SONS | 03256052 |  |  | https://www.blackwoods.com.au/automotive/spare-parts-automotive/air-filters/filter-air-outer-kubota-859800-26110/p/03256052 | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | OUTER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1136954 | 1136954 | 1449056 | AU_QM_001101302 |  | ERSA | M | 5920 | 1449056GZPCLNT100 | EA |  | AIR FILTER ELEMENT; | AIR FILTER ELEMENT; | FILTER ELEMENT,AIR: AIR FILTER ELEMENT; DETROIT VM 6 CYLINDER ENGINE; ISUZU ROAD SWEEPER |  | FILTER ELEMENT,AIR: AIR FILTER ELEMENT; |  |  | 1068114 @@ BELL & MOIR - PARTS ORDERS ONLY | 1449056 | [10 empty] | BELL & MOIR - PARTS ORDERS ONLY | 1449056 | [18 empty] | URL Not Found |  |  | VM 6 CYLINDER ENGINE,ROAD SWEEPER | ISUZU,DETROIT | [5 empty] | Cleansed | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE |  | MEDIUM | AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063508 | 1063508 | 1358304 | AU_QM_000152968 |  | ERSA | M | 5920 | 1358304GZPCLNT100 | EA |  | AIR FILTER OUTER; | AIR FILTER OUTER; | FILTER ELEMENT,AIR: AIR FILTER OUTER; |  | FILTER ELEMENT,AIR: AIR FILTER OUTER; |  |  | 1068511 @@ ADAPT-A-LIFT GROUP PTY LTD | 2040365 | [10 empty] | ADAPT-A-LIFT GROUP PTY LTD |  | HYSTER | 2040365 | [16 empty] | https://www.orangeparts.com/hyster-2040365-filter-element/ | [9 empty] | Cleansed | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE | OUTER | MEDIUM | AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063122 | 1063122 | 1365163 | AU_QM_000167414 |  | ERSA | M | 5920 | 1365163GZPCLNT100 | EA |  | AIR FILTER, CABIN; MT-X: MANITOU | AIR FILTER, CABIN; MT-X: MANITOU | FILTER ELEMENT,AIR: AIR FILTER, CABIN; MT-X: MANITOU |  | FILTER ELEMENT,AIR: AIR FILTER, CABIN; MT-X: MANITOU |  |  | 1068295 @@ JUNGHEINRICH AUSTRALIA | 282619 | [10 empty] | JUNGHEINRICH AUSTRALIA |  | MANITOU | 282619 | [16 empty] | https://www.filtersplus.co/product/sc40094/ | https://www.liftfinder.com/newsimages/domnickmueller/110615-2.pdf |  |  |  | MT-X |  |  |  |  | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | CABIN | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063121 | 1063121 | 1365164 | AU_QM_000167415 |  | ERSA | M | 5920 | 1365164GZPCLNT100 | EA |  | AIR FILTER, OUTER; MT-X: MANITOU | AIR FILTER, OUTER; MT-X: MANITOU | FILTER ELEMENT,AIR: AIR FILTER, OUTER; MT-X: MANITOU |  | FILTER ELEMENT,AIR: AIR FILTER, OUTER; MT-X: MANITOU |  |  | 1068295 @@ JUNGHEINRICH AUSTRALIA | 563416 | [10 empty] | JUNGHEINRICH AUSTRALIA |  | MANITOU | 563416 | [16 empty] | https://puntopartes.com/en/product/manitou-primary-air-filter/ | https://shop.equipmentshare.com/products/manitou-air-filter-j563416 |  |  |  | MT-X |  |  |  |  | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | PRIMARY,OUTER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1139582 | 1139582 | 1436508 | AU_QM_000875252 |  | ERSA | M | 5920 | 1436508GZPCLNT100 | EA |  | D11R SECONDARY(INNER)AIR ELEMENT; | D11R SECONDARY(INNER)AIR ELEMENT; | FILTER ELEMENT,AIR: D11R SECONDARY(INNER)AIR ELEMENT; CATERPILLAR D11R DOZER |  | FILTER ELEMENT,AIR: D11R SECONDARY(INNER)AIR ELEMENT; | [14 empty] | CATERPILLAR | [19 empty] | URL Not Found |  |  | DOZER |  | D11R |  |  |  |  | Cleansed | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE | SECONDARY,INNER | MEDIUM | AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1111735 | 1111735 | 1425875 | AU_QM_000360180 |  | ERSA | M | 5905 | 1425875GZPCLNT100 | EA |  | EIMCO 913 LOADER; | EIMCO 913 LOADER; | FILTER ELEMENT,FLUID: EIMCO 913 LOADER; |  | FILTER ELEMENT,FLUID: EIMCO 913 LOADER; |  |  | 1068336 @@ SANDVIK MINING & CONSTRUCTION | G3RK-23012 | [10 empty] | SANDVIK MINING & CONSTRUCTION | G3RK-23012 | [18 empty] | URL Not Found |  |  | LOADER |  | EIMCO 913 |  |  |  |  | Cleansed | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE | FLUID | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1112648 | 1112648 |  |  |  | ERSA | M | 4500 | 1450516GZPCLNT100 | EA |  | AIR FILTER | AIR FILTER | FILTER,AIR; AIR FILTER |  |  |  |  | 1068295 @@ JUNGHEINRICH AUSTRALIA | 20801-03511 | [10 empty] | JUNGHEINRICH AUSTRALIA |  | TCM | 20801-03511 | [16 empty] | https://lifttrucksupplyinc.com/product/tcm-forklift-air-filters-20801-03511/ | [9 empty] | Enriched | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 92.4 IDX163.24 ODX354.4 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1067119 | 1067119 | 1457243 | AU_QM_001297241 |  | ERSA | M | 5920 | 1457243GZPCLNT100 | EA |  | AIR FILTER; | AIR FILTER; | FILTER,AIR; AIR FILTER; |  | FILTER,AIR; AIR FILTER; |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 57983165 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 57983165 | [16 empty] | https://www.kdfilter.cz/filtr/2261405/normet-57983165 | [9 empty] | Enriched | 40161505 Air filters |  |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | (150X280) DIAX524 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063133 | 1063133 | 1357753 | AU_QM_000151561 |  | ERSA | M | 5920 | 1357753GZPCLNT100 | EA |  | AIR INNER, FILTER; | AIR INNER, FILTER; | FILTER,AIR; AIR INNER, FILTER; |  | FILTER,AIR; AIR INNER, FILTER; |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 12890229 | [12 empty] | FINLAY SCREENING & CRUSHING | 12890229 | [16 empty] | https://www.tradicia-k.ru/product/filtr-vozdushnyy-zamena-dlya-15-04-6855-12890229/ | [9 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | INNER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063134 | 1063134 | 1357752 | AU_QM_000151560 |  | ERSA | M | 5920 | 1357752GZPCLNT100 | EA |  | AIR OUTER, FILTER; | AIR OUTER, FILTER; | FILTER,AIR; AIR OUTER, FILTER; |  | FILTER,AIR; AIR OUTER, FILTER; |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 12890228 | [12 empty] | FINLAY SCREENING & CRUSHING | 12890228 | [16 empty] | https://www.tradicia-k.ru/product/filtr-vozdushnyy-zamena-dlya-15-04-6854-12890228/ | https://www.airfilter-crossreference.com/convert/TEREX/12890228 | [8 empty] | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | OUTER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SPC | OK | 2023-11-10 | 2023-11-14 |  | 1063530 | 1063530 | 1367954 | AU_QM_000171644 |  | ERSA | M | 5920 | 1367954GZPCLNT100 | EA |  | CARTRIDGE;CLEANER ELEMENT KIT;83.82MM LG | CARTRIDGE;CLEANER ELEMENT KIT;83.82MM LG | FILTER,AIR; CARTRIDGE;CLEANER ELEMENT KIT;83.82MM LG X 83.82MM W X 137.16MM H |  | FILTER,AIR; CARTRIDGE;CLEANER ELEMENT KIT;83.82MM LG |  |  | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100048354 | [12 empty] | NORMET ASIA PACIFIC PTY LTD | 100048354 | [16 empty] | https://www.filtersplus.com.au/product/x770691-donaldson-air-filter-kit/ | [9 empty] | Cleansed | 40161505 Air filters | SIZE:83.82 LGX83.82 WDX137.16 HT MM |  | KIT | NO MODIFIER | TYPE | AIR FILTER ELEMENT/CARTRIDGE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed