## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1060241 | 1060241 |  |  |  | ERSA | M | 5100 | 1616104GZPCLNT100 | EA |  | ANTENNA,RADIO;COLLNR,9 DBD,850-930 MHZ | ANTENA RADIO; | ANTENNA,RADIO;TYPE:COLLINEAR,GAIN:9 DBD,FREQUENCY RATING:850-930 MHZ,POLARIZATION:VERTICAL,ADDITIONAL FEATURES EN:-150 DBC PIM, 4. 3-10 FEMALE CONNECTOR | ANTENA RADIO; |  |  |  | 1068120 @@ R F INDUSTRIES PTY LTD | COL811-930-P | [12 empty] | R F INDUSTRIES PTY LTD | COL811-930-P | [16 empty] | https://www.rfiamericas.com/product/800900-mhz-meandertm-collinear-9dbd-850-930mhz-pim-rated/ | [9 empty] | ENRICHED | 43221706 Radio antennas | Passive IM 3rd Order (2x20W) dBc:150 DBC,TERMINATION:4.3-10 Female |  | ANTENNA | RADIO | TYPE | COLLINEAR | GAIN | 9 DBD | FREQUENCY RATING | 850 TO 930 MHZ | BANDWIDTH |  | POLARIZATION | VERTICAL | CONNECTION TYPE |  | MATERIAL |  | SIZE | LG 126 IN | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1057672 | 1057672 |  |  |  | ERSA | M | 4500 | 1610982GZPCLNT100 | EA |  | ANTENNA;DUAL-BAND OMNI,4-7 DBI,2-5 GHZ | ANTENA; | ANTENNA;TYPE:DUAL-BAND OMNI,GAIN:4-7 DBI,FREQUENCY RATING:2-5 GHZ,SIZE:25X180 MM,ADDITIONAL FEATURES EN:BRAND:MERAKI | ANTENA; |  |  |  | 1068639 @@ DATA #3 GROUP | MA-ANT-20 | [12 empty] | MERAKI | MA-ANT-20 | [16 empty] | https://meraki.cisco.com/product-collateral/dual-band-omni-antennas-4-7-dbi-datasheet/?file | [9 empty] | ENRICHED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | DUAL BAND OMNI | GAIN | 4 TO 7 DBI | FREQUENCY RATING | 2.4 TO 5.8 GHZ | BANDWIDTH |  | POLARIZATION | VERTICAL | CONNECTION TYPE | N-TYPE | MATERIAL | ABS PLASTIC | SIZE | 25X180 MM | ACCEPTANCE ANGLE |  | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1060275 | 1060275 |  |  |  | ERSA | M | 1600 | 1616408GZPCLNT100 | EA |  | ANTENNA;GPS,27 DB,DOME,SMA CONNECTOR | ANTENA;,HAZME | ANTENNA;TYPE:GPS,GAIN:27 DB,SHAPE:DOME,CONNECTION TYPE:SMA CONNECTOR,ADDITIONAL FEATURES EN:ANT-GPSPUKS,MNFR:RF SOLUTIONS | ANTENA;FORMA:HAZME |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 704-3451 | [12 empty] | RF SOLUTION | ANT-GPSPUKS | [12 empty] | RS COMPONENTS PTY LTD | 704-3451 |  |  | https://uk.rs-online.com/web/p/gps-antennas/7043451 | [9 empty] | ENRICHED | 43221706 Radio antennas | SHAPE:DOME |  | ANTENNA | RADIO | TYPE |  | GAIN | 27 DBI | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE | SMA | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING | -35 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1184711 | 1184711 |  |  |  | ERSA | M | 5915 | 1558713GZPCLNT100 | EA |  | ANTENNA;RADIO,UHF,F/GLASS,BLK,720MM | ANTENA; | ANTENNA;TYPE:RADIO,ADDITIONAL FEATURES EN:UHF,F/GLASS,BLK,720MM | ANTENA; |  |  |  | 1068087 @@ ASHDOWN INGRAM | AK5R | [10 empty] | ASHDOWN INGRAM |  | AXIS | AK5R | [16 empty] | https://www.prestigecom.net.au/axis-ch5t-black-5db-720mm-fibreglass-uhf-cb-antenna | https://bigrigaccessories.com.au/products/axis-ak5r-uhf-antenna | [8 empty] | ENRICHED | 43221706 Radio antennas | COLOR:BLACK,FOR GLASS |  | ANTENNA | RADIO | TYPE | UHF | GAIN | 5 DB | FREQUENCY RATING | 477 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE | LG 750 MM | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1211409 | 1211409 |  |  |  | ERSA | M | 5920 | 1218387MRM | EA |  | BRAKE DRUM:DRUM BRAKE,RR | BRAKE DRUM:DRUM BRAKE,RR | BRAKE DRUM:DRUM BRAKE,RR |  |  |  |  | 1079079 @@ AIRPOWER NT Pty Ltd | PN1211409 | [10 empty] | AIRPOWER NT Pty Ltd | PN1211409 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25171714 Brake drum |  |  | DRUM | BRAKE | TYPE | REAR | CAPACITY |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1203650 | 1203650 |  |  |  | ERSA | M | 4090 | 985920MRM | TB |  | BURN COMPOUND:BUTESIN PICRATE WITH METHA | BURN COMPOUND:BUTESIN PICRATE WITH METHA | BURN COMPOUND:BUTESIN PICRATE WITH METHAPEN OINTMENT;20G TUBE; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1105044 | 1105044 |  |  |  | ERSA | M | 4005 | 1529598GZPCLNT100 | EA |  | CALIPER,VERN;DIGITAL,200MM MET,IM,K11106 | CALIPER,VERN;DIGITAL,200MM MET,IM,K11106 | CALIPER,VERN;ADDITIONAL FEATURES:DIGITAL,200MM MET,IM,K11106 |  |  |  |  | 1068256 @@ TOOL 'N' TACKLE | K11106 | [10 empty] | TOOL 'N' TACKLE |  | KINCROME | K11106 | [16 empty] | https://www.kincrome.com.au/verniers/200mm-digital-vernier-k11106 | https://www.toolmart.com.au/kincrome-k11106.html | [8 empty] | ENRICHED | 41111622 Micrometer calipers | INCREMENT:METRIC,IMPERIAL |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION |  | ACCURACY |  | DISPLAY TYPE | LCD | JAW DEPTH |  | BODY MATERIAL | HARDENED STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 200 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1051959 | 1051959 |  |  |  | ERSA | M | 4005 | 1578625GZPCLNT100 | EA |  | CALIPER,VERN;150 MM FINE ADJUSTMENT | CALIBRADOR VERN; | CALIPER,VERNIER;ADDITIONAL FEATURES EN:150 MM FINE ADJUSTMENT | CALIBRADOR VERNIER; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | MT002-150 | [12 empty] | TOOL 'N' TACKLE | MT002-150 | [16 empty] | https://www.tetools.com/dual-vernier-caliper-150mm | [9 empty] | ENRICHED | 41111622 Micrometer calipers | FINE ADJUSTMENT |  | CALIPER | VERNIER | TYPE | DUAL | MEASURING RANGE | 0 TO 150 MM | GRADUATION | 0.01 MM | ACCURACY |  | DISPLAY TYPE |  | JAW DEPTH |  | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1180418 | 1180418 |  |  |  | ERSA | M | 4010 | 1542929GZPCLNT100 | EA |  | CALIPER,VERN;150MM,DGTL | CALIBRADOR VERN; | CALIPER,VERNIER;ADDITIONAL FEATURES EN:150MM,DIGITAL | CALIBRADOR VERNIER; |  |  |  | 1068091 @@ MOUNT ISA HIRE SERVICE | 1542929 | [10 empty] | MOUNT ISA HIRE SERVICE | 1542929 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 150 MM | GRADUATION |  | ACCURACY |  | DISPLAY TYPE |  | JAW DEPTH |  | BODY MATERIAL |  | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1052347 | 1052347 |  |  |  | ERSA | M | 4005 | 1583334GZPCLNT100 | EA |  | CALIPER,VERN;200MM,DUEL SCALE,DGTL,0-200 | CALIBRADOR VERN; | CALIPER,VERNIER;ADDITIONAL FEATURES EN:200MM,DUEL SCALE,DIGITAL,0-200 MM/0-8,0.01MM/0.0005 | CALIBRADOR VERNIER; |  |  |  | 1068342 @@ ISADRAULICS | AC-111-008-12 | 1068256 @@ TOOL 'N' TACKLE | 1583334 | [8 empty] | ISADRAULICS | AC-111-008-12 | ACCUD | AC-111-008-12 | TOOL 'N' TACKLE | 1583334 | [14 empty] | https://accud.com.au/series-111-digital-caliper-3 | https://sydneytools.com.au/product/accud-ac11100812-200mm-8-dual-scale-digital-caliper | [8 empty] | ENRICHED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.01 MM | ACCURACY | +/-0.03 MM | DISPLAY TYPE | LCD | JAW DEPTH | 50 MM | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 286 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 862 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1182917 | 1182917 |  |  |  | ERSA | M | 4010 | 1564220GZPCLNT100 | EA |  | CALIPER,VERN;DIGIMATIC,12"/300MM | CALIBRADOR VERN; | CALIPER,VERNIER;ADDITIONAL FEATURES EN:DIGIMATIC,12"/300MM | CALIBRADOR VERNIER; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 315983 | [26 empty] | J BLACKWOOD & SONS | 00315983 |  |  | https://www.mitutoyo.com/webfoo/wp-content/uploads/D_section.pdf ¦ https://www.hroberts-di.com/all-metrology-c49/calipers-c155/mitutoyo-500-764-10-absolute-digimatic-coolant-proof-caliper-0-300mm-0-12-p199 | https://www.blackwoods.com.au/tools-hand-measuring-precision/measuring-tools/digimatic-calipers-series-500/mitutoyo-venier-digimatic-12-quot-300mm-500-764-10/p/00315983 | [8 empty] | ENRICHED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | DIGIMATIC | MEASURING RANGE | 0 TO 300 MM | GRADUATION | 0.01 MM | ACCURACY |  | DISPLAY TYPE | DIGITAL | JAW DEPTH |  | BODY MATERIAL |  | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1056408 | 1056408 |  |  |  | ERSA | M | 4005 | 1609203GZPCLNT100 | EA |  | CALIPER,VERN;DIGITAL 200MM,8 IN, METRIC, | CALIBRADOR VERN; | CALIPER,VERNIER;ADDITIONAL FEATURES EN:DIGITAL 200MM,8 IN, METRIC,IMPERIAL DISPLAY | CALIBRADOR VERNIER; |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | SCMT26116 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L |  | SIDCHROME | SCMT26116 | [16 empty] | https://www.toolmart.com.au/sidchrome-scmt26116.html | [9 empty] | ENRICHED | 41111622 Micrometer calipers | INCREMENT:METRIC,IMPERIAL |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.01 MM | ACCURACY |  | DISPLAY TYPE |  | JAW DEPTH |  | BODY MATERIAL | HARDENED STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 862 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1141655 | 1141655 | 1422334 | AU_QM_000268648 |  | ERSA | M | 5915 | 1422334GZPCLNT100 | EA |  | CALIPER,VERN;STAINLESS STEEL | CALIPER,VERN;STAINLESS STEEL | CALIPER,VERNIER;BODY MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:RANGE : 0-200MM, REQUIRED TOOLING FOR JOB DELIV,C KATEN DCM, MA |  | CALIPER,VERN;STAINLESS STEELCALIPER,VERN;STAINLESS STEEL,RANGE | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111622 Micrometer calipers | REQUIRED TOOLING FOR JOB DELIV,C KATEN DCM, MA |  | CALIPER | VERNIER | TYPE |  | MEASURING RANGE | 0 TO 200 MM | GRADUATION |  | ACCURACY |  | DISPLAY TYPE |  | JAW DEPTH |  | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1187488 | 1187488 |  |  |  | ERSA | M | 5100 | 1614555GZPCLNT100 | EA |  | CALIPER,VERN;DGTL,0-200 MM,+/-0.03 MM | CALIBRADOR VERN;0-200 MM,LCD | CALIPER,VERNIER;TYPE:DIGITAL,MEASURING RANGE:0-200 MM,ACCURACY:+/-0.03 MM,DISPLAY TYPE:LCD,BODY MATERIAL:STAINLESS STEEL,SIZE:LG 286 MM,ADDITIONAL FEATURES EN:IP54 | CALIBRADOR VERNIER;RANGO MEDICION:0-200 MM,TIPO PANTALLA:LCD,MATERIAL CUERPO:ACERO INOXIDABLE |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | AC-111-008-11 | [30 empty] | https://gamer.com.au/store/brochure/AC-111-008-11/ | [9 empty] | ENRICHED | 41111622 Micrometer calipers | ENCLOSURE:IP54 |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.01 MM | ACCURACY | +/-0.03 MM | DISPLAY TYPE |  | JAW DEPTH | 50 MM | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 286 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 862 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1057633 | 1057633 |  |  |  | ERSA | M | 5100 | 1608149GZPCLNT100 | EA |  | CALIPER,VERN;DGTL,200 MM,0.01 MM,LCD | CALIBRADOR VERN;200 MM,0.01 MM,LCD | CALIPER,VERNIER;TYPE:DIGITAL,MEASURING RANGE:200 MM,ACCURACY:0.01 MM,DISPLAY TYPE:LCD,BODY MATERIAL:HARDENED STAINLESS STEEL, ADDITIONAL FEATURES EN:BRAND:KING TONY | CALIBRADOR VERNIER;RANGO MEDICION:200 MM,EXACTITUD:0.01 MM,TIPO PANTALLA:LCD,MATERIAL CUERPO:ACERO INOXIDABLE DURADO |  |  |  | 1068590 @@ ATOM SUPPLY MACKAY | 92140099 | [12 empty] | ATOM SUPPLY MACKAY | 92140099 | [16 empty] | https://www.atom.com.au/digital-vernier-caliper-metric-imperial-200mm-0-01mm-92140099 | [9 empty] | ENRICHED | 41111622 Micrometer calipers | BRAND:KING TONY |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.01 MM | ACCURACY |  | DISPLAY TYPE | LCD | JAW DEPTH |  | BODY MATERIAL | HARDENED STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 200 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1184761 | 1184761 |  |  |  | ERSA | M | 4010 | 1558660GZPCLNT100 | EA |  | CALIPER;VRNR,200MM,MITUTOYO,IP67 WATERPR | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:VERNIER,200MM,MITUTOYO,IP67 WATERPROOF RATING | GALIBO; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | RSC794-3617 | [10 empty] | METAL MANUFACTURES PTY LTD |  | MITUTOYO | 500-713-20 | [12 empty] | RS COMPONENTS | 794-3617 |  |  | https://shop.mitutoyo.eu/web/mitutoyo/en/mitutoyo/01.03.03A/Digital%20ABS%20Caliper%20CoolantProof%20IP67/$catalogue/mitutoyoData/PR/500-713-20/index.xhtml | https://in.rsdelivers.com/product/mitutoyo/500-713-20/mitutoyo-200mm-digital-caliper-001-mm-resolution/7943617 | [8 empty] | ENRICHED | 41111622 Micrometer calipers | ENCLOSURE:IP67 WATERPROOF |  | CALIPER | VERNIER | TYPE | DIGITAL ABS | MEASURING RANGE | 0 TO 200 MM | GRADUATION | 0.01 MM | ACCURACY | +/-0.02 MM | DISPLAY TYPE | LCD | JAW DEPTH | 50 MM | BODY MATERIAL |  | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1092769 | 1092769 | 1390421 | AU_QM_000232061 |  | ERSA | M | 5910 | 1390421GZPCLNT100 | EA | 3000003 | CALIPER;CAT,0210_450 | CALIPER;CAT,0210_450 | CALIPER;MNFR:CATERPILLAR,PTNO:0210_450 |  | CALIPER;CAT,0210_450CALIPER;HAS,0210_450 | CATERPILLAR | 0210_450 | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers |  |  | CALIPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1027963 | 1027963 | 1455057 | AU_QM_001245189 |  | ERSA | M | 5910 | 1455057GZPCLNT100 | EA | 3000012 | CALIPER;TOY,47730-60021(NG) | CALIPER;TOY,47730-60021(NG) | CALIPER;MNFR:TOYOTA,PTNO:47730-60021(NG) |  | CALIPER ASSY,DISC BRAKE:LANDCRUISER RIGHT HAND;NO.1; | TOYOTA | 47730-60021(NG) | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers |  |  | CALIPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1093062 | 1093062 | 1381936 | AU_QM_000221954 |  | ERSA | M | 5910 | 1381936GZPCLNT100 | EA | 3000012 | CALIPER;TOY,90240-06024K | CALIPER;TOY,90240-06024K | CALIPER;MNFR:TOYOTA,PTNO:90240-06024K |  | CALIPER;TOY,90240-06024KCALIPER;TOY,90240-06024K | TOYOTA | 90240-06024K | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers |  |  | CALIPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1054096 | 1054096 |  |  |  | ERSA | M | 1500 | 1608614GZPCLNT100 | EA |  | COMPOUND;BASECOTE,20 MIN,BAG,20 KG | COMPUESTO;BOLSA,20 KG | COMPOUND;TYPE:BASECOTE,20 MIN,CONTAINER TYPE:BAG,CONTAINER SIZE:20 KG,ADDITIONAL FEATURES EN:BRAND:KNAUF | COMPUESTO;TIPO CONTENEDOR:BOLSA,TAMAÃ‘O CONTENEDOR:20 KG |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 30000004 | [12 empty] | ELLIOTT TIMBER SALES PTY LTD | 30000004 | [16 empty] | https://www.mitre10.com.au/usg-boral-20-kg-bag-basecoat-45 | [9 empty] | CLEANSED | 31201705 Sealing compound | BRAND:KNAUF |  | COMPOUND | SEALING | TYPE | BASCOTE | CONTAINER | 20 KG BAG | COLOUR |  | SETTING TIME | 20 MIN | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1054095 | 1054095 |  |  |  | ERSA | M | 1500 | 1608613GZPCLNT100 | EA |  | COMPOUND;BASECOTE,60 MIN,BAG,20 KG | COMPUESTO;BOLSA,20 KG | COMPOUND;TYPE:BASECOTE,60 MIN,CONTAINER TYPE:BAG,CONTAINER SIZE:20 KG,ADDITIONAL FEATURES EN:BRAND:KNAUF | COMPUESTO;TIPO CONTENEDOR:BOLSA,TAMAÃ‘O CONTENEDOR:20 KG |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9351065000025 | [12 empty] | ELLIOTT TIMBER SALES PTY LTD | 9351065000025 | [16 empty] | https://glyndemitre10.com.au/product/cement-joint-basecote-60-20kg-2 | [9 empty] | CLEANSED | 31201705 Sealing compound | BRAND:KNAUF |  | COMPOUND | SEALING | TYPE | BASCOTE | CONTAINER | 20 KG BAG | COLOUR |  | SETTING TIME | 60 MIN | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1054093 | 1054093 |  |  |  | ERSA | M | 1500 | 1608611GZPCLNT100 | EA |  | COMPOUND;FNSHG,TOPCOTE,BUCKET,20 KG | COMPUESTO;,20 KG | COMPOUND;TYPE:FINISHING,TOPCOTE,CONTAINER TYPE:BUCKET,CONTAINER SIZE:20 KG,ADDITIONAL FEATURES EN:BRAND:KNAUF | COMPUESTO;TAMAÃ‘O CONTENEDOR:20 KG |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | PBCBTOP550 | [12 empty] | ELLIOTT TIMBER SALES PTY LTD | PBCBTOP550 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations | BRAND:KNAUF |  | COMPOUND | NO MODIFIER | TYPE | FINISHING,TOPCOTE | GRADE |  | CONTAINER TYPE | BUCKET | CONTAINER SIZE | 20 KG | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1054094 | 1054094 |  |  |  | ERSA | M | 1500 | 1608612GZPCLNT100 | EA |  | COMPOUND;PREMIX,BUCKET,18 KG | COMPUESTO;,18 KG | COMPOUND;TYPE:PREMIX,CONTAINER TYPE:BUCKET,CONTAINER SIZE:18 KG,ADDITIONAL FEATURES EN:BRAND:KNAUF,ALL PURPOSE | COMPUESTO;TAMAÃ‘O CONTENEDOR:18 KG |  |  |  | 1068115 @@ ELLIOTT TIMBER SALES PTY LTD | 9351065000186 | [12 empty] | ELLIOTT TIMBER SALES PTY LTD | 9351065000186 | [16 empty] | https://www.mitre10.com.au/usg-boral-18-kg-pail-all-purpose-pre-mixed-compound | [9 empty] | CLEANSED | 31201705 Sealing compound | BRAND:KNAUF |  | COMPOUND | SEALING | TYPE | PREMIX ALL PURPOSE | CONTAINER | 18 KG BUCKET | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1217449 | 1217449 |  |  |  | ERSA | M | 5955 | 836130MRM | EA |  | CONDENSER UNIT,AIRCON:1400 AIR CONDITION | CONDENSER UNIT,AIRCON:1400 AIR CONDITION | CONDENSER UNIT,AIRCON:1400 AIR CONDITIONING CONDENSOR COIL;TAMROCK TORO 1400 LOADER | [36 empty] | URL NOT FOUND |  |  | TAMROCK TORO LOADER |  | 1400 |  |  |  |  | CLEANSED | 40101800 Heating equipment and parts and accessories | FOR AIR CONDITIONER,CONDENSER UNIT |  | COIL | HEAT TRANSFER | TYPE | CONDENSER | COIL RATING |  | CONNECTION TYPE |  | FLOW RATING |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1217660 | 1217660 |  |  |  | ERSA | M | 1600 | 270070MRM | EA |  | CONDENSER UNIT,AIRCON:CONDENSER FAN;450M | CONDENSER UNIT,AIRCON:CONDENSER FAN;450M | CONDENSER UNIT,AIRCON:CONDENSER FAN;450MM | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101604 Fans | FOR AIR CONDITIONER,CONDENSER UNIT |  | FAN | ELECTRICAL | TYPE |  | BLADE DIAMETER | 450 MM | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE |  | OVERALL SIZE |  | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1217662 | 1217662 |  |  |  | ERSA | M | 1600 | 270072MRM | EA |  | CONDENSER UNIT,AIRCON:CONDENSER FAN;SPEE | CONDENSER UNIT,AIRCON:CONDENSER FAN;SPEE | CONDENSER UNIT,AIRCON:CONDENSER FAN;SPEED CONTROLLER | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26111544 Speed controller | FOR AIR CONDITIONER,CONDENSER UNIT |  | CONTROLLER | SPEED | TYPE | CONDENSER FAN | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT SIGNAL |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1203862 | 1203862 |  |  |  | ERSA | M | 5915 | 147972MRM | EA |  | CONDENSER UNIT,AIRCON:CONDENSOR HILUX DI | CONDENSER UNIT,AIRCON:CONDENSOR HILUX DI | CONDENSER UNIT,AIRCON:CONDENSOR HILUX DIES | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | FOR AIR CONDITIONER,HILIUX DIES |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1206904 | 1206904 |  |  |  | ERSA | M | 5920 | 154156MRM | EA |  | CONDENSER UNIT,AIRCON:COOLER; AIR-CONDI | CONDENSER UNIT,AIRCON:COOLER; AIR-CONDI | CONDENSER UNIT,AIRCON:COOLER; AIR-CONDITIONER; VDJ7# | [36 empty] | URL NOT FOUND |  |  |  |  | VDJ7 |  |  |  |  | CLEANSED | 40101700 Cooling equipment and parts and accessories | FOR AIR CONDITIONER |  | CONDENSER | NO MODIFIER | TYPE | COOLER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1208911 | 1208911 |  |  |  | ERSA | M | 1600 | 133495MRM | EA |  | CONDENSER,REFRIGERATION:CONDENSER MODULE | CONDENSER,REFRIGERATION:CONDENSER MODULE | CONDENSER,REFRIGERATION:CONDENSER MODULE;5R1C 1226 X 900 6FPI;BALL MILL CHILLER; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1089341 | 1089341 | 1374133 | AU_QM_000203016 |  | ERSA | M | 5955 | 1374133GZPCLNT100 | EA | 1068410 | CONDENSER;MTC,MT5112 3199 76 | CONDENSER;MTC,MT5112 3199 76 | CONDENSER;MNFR:ATLAS COPCO,PTNO:MT5112 3199 76 |  | CONDENSER;MTC,MT5112 3199 76CONDENSER;ATL,MT5112 3199 76 | MAINTENANCE TECHNIQUE PTY LTD | MT5112 3199 76 | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1010469 | 1010469 |  |  |  | ERSA | M | 3730 | 1607716GZPCLNT100 | EA | 3000003 | CONDENSER;CAT,235-3167,CORE ASSEMBLY | CONDENSADOR;CAT,235-3167 | CONDENSER;MNFR:CATERPILLAR,PTNO:235-3167,ADDITIONAL FEATURES EN:CORE ASSEMBLY | CONDENSADOR;MNFR:CATERPILLAR,PTNO:235-3167 |  | CATERPILLAR | 235-3167 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2353167 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 2353167 | [16 empty] | https://parts.cat.com/en/catcorp/235-3167 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories | ASSEMBLY | CONNECTION:3/4 IN-16 MALE INLET X 5/8 IN-18 MALE OUTLET | CONDENSER | NO MODIFIER | TYPE | CORE | CAPACITY |  | BTUH RATING |  | REFRIGERANT | R134A | POWER SUPPLY |  | SIZE | 1322 LGX343 WDX103 HT MM | MATERIAL | ALUMINIUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1021182 | 1021182 | 1390721 | AU_QM_000232419 |  | ERSA | M | 5955 | 1390721GZPCLNT100 | EA | 3000003 | CONDENSER;CAT,2735355 | CONDENSER;CAT,2735355 | CONDENSER;MNFR:CATERPILLAR,PTNO:2735355 |  | CONDENSER;CAT,2735355CONDENSER;HAS,2735355 | CATERPILLAR | 2735355 | [14 empty] | CATERPILLAR | 2735355 | [16 empty] | https://parts.cat.com/en/catcorp/273-5355 | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | 541 LGX390 HT MM | MATERIAL | ALUMINIUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1035292 | 1035292 | 1370168 | AU_QM_000175452 |  | ERSA | M | 5955 | 1370168GZPCLNT100 | EA | 3000003 | CONDENSER;CAT,284-6041 | CONDENSER;CAT,284-6041 | CONDENSER;MNFR:CATERPILLAR,PTNO:284-6041 |  | CONDENSER,REFRIGERATION:AIR CONDITIONER;CATERPILLAR;SKID STEER | CATERPILLAR | 284-6041 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2846041 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 2846041 | [16 empty] | https://parts.cat.com/en/catcorp/284-6041 |  |  | SKID STEER | [6 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories | FOR AIR CONDITIONER |  | CONDENSER | NO MODIFIER | TYPE | REFRIGERATION | CAPACITY |  | BTUH RATING |  | REFRIGERANT | R134A/R1234YF | POWER SUPPLY |  | SIZE | 660.4 LGX330.2 WDX73.7 HT MM | MATERIAL | ALUMINIUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1089230 | 1089230 | 1381699 | AU_QM_000221662 |  | ERSA | M | 5955 | 1381699GZPCLNT100 | EA | 3000024 | CONDENSER;ISU,8982751890 | CONDENSER;ISU,8982751890 | CONDENSER;MNFR:ISUZU,PTNO:8982751890 |  | CONDENSER;ISU,8982751890CONDENSER;ISU,8982751890 | ISUZU | 8982751890 | [14 empty] | ISUZU | 8982751890 | [16 empty] | https://burjauto.com/product/8982751890-isuzu/175342960 | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1188881 | 1188881 |  |  |  | ERSA | M | 5955 | 1576612GZPCLNT100 | EA | 3000025 | CONDENSER;JOH,AT314928,VAPOR | CONDENSADOR;JOH,AT314928 | CONDENSER;MNFR:JOHN DEERE,PTNO:AT314928,ADDITIONAL FEATURES EN:VAPOR | CONDENSADOR;MNFR:JOHN DEERE,PTNO:AT314928 |  | JOHN DEERE | AT314928 | 1068592 @@ RDO EQUIPMENT PTY LTD | AT314928 | [30 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1089167 | 1089167 | 1382955 | AU_QM_000223224 |  | ERSA | M | 5955 | 1382955GZPCLNT100 | EA | 3000006 | CONDENSER;KOM,56E-07-21133 | CONDENSER;KOM,56E-07-21133 | CONDENSER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:56E-07-21133 |  | CONDENSER;KOM,56E-07-21133CONDENSER;KOM,56E-07-21133 | KOMATSU MINING SYSTEMS INC. | 56E-07-21133 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 56E-07-21133 | [16 empty] | https://777parts.org/part-komatsu/condenser/56e0721133/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1075400 | 1075400 |  |  |  | ERSA | M | 3770 | 1176739GZPCLNT100 | EA | 3000006 | CONDENSER;KOM,208-979-7520,ASSY | CONDENSADOR;KOM,208-979-7520,ENSAMBLE | CONDENSER;MNFR:KOMATSU,PTNO:208-979-7520,ADDITIONAL FEATURES EN:ASSEMBLY | CONDENSADOR;MNFR:KOMATSU,PTNO:208-979-7520,CARACTERISTICAS ADICIONALES ES:ENSAMBLE |  | KOMATSU MINING SYSTEMS INC. | 208-979-7520 | [14 empty] | KOMATSU MINING SYSTEMS INC. | 208-979-7520 | [16 empty] | https://777parts.org/part-komatsu/condenser/2089797520/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | ASSEMBLY |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1086566 | 1086566 |  |  |  | ERSA | M | 5915 | 1582969GZPCLNT100 | EA | 3000028 | CONDENSER;MIT,MK513535,ASSY SIDE | CONDENSADOR;MIT,MK513535 | CONDENSER;MNFR:MITSUBISHI,PTNO:MK513535,ADDITIONAL FEATURES EN:ASSY SIDE | CONDENSADOR;MNFR:MITSUBISHI,PTNO:MK513535 |  | MITSUBISHI | MK513535 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMK513535 | [30 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1173931 | 1173931 | 1368683 | AU_QM_000172814 |  | ERSA | M | 4000 | 1368683GZPCLNT100 | EA |  | CONDENSER;NRMT,100019563 | CONDENSER;NRMT,100019563 | CONDENSER;MNFR:NORMET,PTNO:100019563,ADDITIONAL FEATURES EN:AIR CONDITIONER,5.1 |  | CONDENSER:5.1 A/C:CHARMEC MC 605 D(V) |  |  | 1069143 @@ PAPWORTHS CONSTRUCTION TESTING | 1368683 | 1068143 @@ NORMET ASIA PACIFIC PTY LTD | 100019563 | [28 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1087800 | 1087800 |  |  |  | ERSA | M | 3720 | 1565335GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,BG01542298,HVAC | CONDENSADOR;SAN,BG01542298 | CONDENSER;MNFR:SANDVIK,PTNO:BG01542298,ADDITIONAL FEATURES EN:HVAC | CONDENSADOR;MNFR:SANDVIK,PTNO:BG01542298 |  | SANDVIK | BG01542298 | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1073307 | 1073307 |  |  | X | ERSA | M | 5000 | 1611984GZPCLNT100 | EA | 3000010 | CONDENSER;SAN,G605786-05 | CONDENSADOR;SAN,G605786-05 | CONDENSER;MNFR:SANDVIK,PTNO:G605786-05 | CONDENSADOR;MNFR:SANDVIK,PTNO:G605786-05 |  | SANDVIK | [33 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1032942 | 1032942 |  |  |  | ERSA | M | 5915 | 1496027GZPCLNT100 | EA | 3000012 | CONDENSER;TOY,CNX2740 | CONDENSER;TOY,CNX2740 | CONDENSER;MNFR:TOYOTA,PTNO:CNX2740 |  |  | TOYOTA | CNX2740 | 1068087 @@ ASHDOWN INGRAM | CNX2740 | [10 empty] | ASHDOWN INGRAM |  | TOYOTA | CNX2740 | [16 empty] | https://www.repco.com.au/parts-service/climate-control/condensers/denso-air-conditioning-condenser-parallel-flow-subcooled-inlet-pad-outlet-pad-cnx2740/p/A5422595?kwSearch=leak | [9 empty] | ENRICHED | 40101700 Cooling equipment and parts and accessories |  | INLET AND OUTLET FITTING:PAD | CONDENSER | NO MODIFIER | TYPE | PARALLE FLOW | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE | LG 607XHT 531XTHK 14 MM | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1111514 | 1111514 | 1407862 | AU_QM_000252928 |  | ERSA | M | 5915 | 1407862GZPCLNT100 | EA |  | CORD,COMM;AB1747-CP3 | CORD,COMM;AB1747-CP3 | CORD,COMM;MNFR: ,PTNO:AB1747-CP3 |  | CORD,COMM;AB1747-CP3CORD,COMM;AB1747-CP3 | [16 empty] | ALLEN BRADLEY | 1747-CP3 | [16 empty] | https://www.rockwellautomation.com/en-nz/products/details.1747-CP3.html | https://eg.rsdelivers.com/product/allen-bradley/1747-cp3/allen-bradley-1747-series-plc-cable-for-use-with/7140082 | [8 empty] | ENRICHED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE | PLC | CONNECTION TYPE | RS 232 | LENGTH | 3 M | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1134479 | 1134479 | 1402641 | AU_QM_000247284 |  | ERSA | M | 5915 | 1402641GZPCLNT100 | EA |  | CORD,COMM;ALI 3.581-2 | CORD,COMM;ALI 3.581-2 | CORD,COMM;MNFR: ,PTNO:ALI 3.581-2 |  | CORD,COMM;ALI 3.581-2CORD,COMM;ALI 3.581-2 | [16 empty] | ROTALIGN | ALI 3.581-2 | [16 empty] | https://www.nriparts.com/products/rotalign-ali-3581-2-cordset-cables/438881 | [9 empty] | ENRICHED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE | RECEIVER | CONNECTION TYPE |  | LENGTH | 2 M | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1134478 | 1134478 | 1402642 | AU_QM_000247285 |  | ERSA | M | 5915 | 1402642GZPCLNT100 | EA |  | CORD,COMM;ALI 4.502-2 | CORD,COMM;ALI 4.502-2 | CORD,COMM;MNFR: ,PTNO:ALI 4.502-2 |  | CORD,COMM;ALI 4.502-2CORD,COMM;ALI 4.502-2 | [16 empty] | ROTALIGN | ALI 4.502-2 | [16 empty] | https://www.hifraser.com.au/product/1111120-7631-30088/ | [9 empty] | ENRICHED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE | USB TO PC | CONNECTION TYPE |  | LENGTH |  | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1100488 | 1100488 | 1378150 | AU_QM_000217437 |  | ERSA | M | 1500 | 1378150GZPCLNT100 | EA | 3000001 | CORD;EPI,9106 2458 18 | CORD;EPI,9106 2458 18 | CORD;MNFR:EPIROC,PTNO:9106 2458 18 |  | CORD;EPI,9106 2458 18CORD;EPI,9106 2458 18 | EPIROC | 9106 2458 18 | [32 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31152100 Cords |  |  | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1214774 | 1214774 |  |  |  | ERSA | M | 5920 | 1284306MRM | EA |  | DRUM ASSY;DRUM HEAD (DRIVE END) | DRUM ASSY;DRUM HEAD (DRIVE END) | DRUM ASSY;DRUM HEAD (DRIVE END) | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | HEAD | NO MODIFIER | TYPE | DRUM (DRIVE END) | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1214775 | 1214775 |  |  |  | ERSA | M | 5920 | 1284314MRM | EA |  | DRUM ASSY;DRUM HEAD (NON DRIVE END) | DRUM ASSY;DRUM HEAD (NON DRIVE END) | DRUM ASSY;DRUM HEAD (NON DRIVE END) | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23153100 Industrial machinery components and accessories |  |  | HEAD | NO MODIFIER | TYPE | DRUM (NON-DRIVE END) | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 | Conflict in Description,Processed Based on Websource | 1063498 | 1063498 | 1362889 | AU_QM_000162507 |  | ERSA | M | 5915 | 1362889GZPCLNT100 | EA |  | DRUM ASS; SUITS WHEEL TRACTOR SCRAPERS 6 | DRUM ASS; SUITS WHEEL TRACTOR SCRAPERS 6 | DRUM,CLUTCH: DRUM ASS; SUITS WHEEL TRACTOR SCRAPERS 6 21G; 621F |  | DRUM,CLUTCH:DRUM ASS; SUITS WHEEL TRACTOR SCRAPERS 6 |  |  | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1362889 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 1362889 | [16 empty] | URL NOT FOUND |  |  | WHEEL TRACTOR SCRAPERS |  | 621G, 621F |  |  |  |  | ENRICHED | 31171707 Spur gears | ASSEMBLY |  | GEAR | SPUR | TYPE |  | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER | 128.82 MM | NUMBER OF TEETH | 23 | MATERIAL | STEEL | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | HUB DIAMETER |  | HUB LENGTH | 47 MM | MOUNTING TYPE |  | SCREW SIZE |  | KEYWAY SIZE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [41 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1065127 | 1065127 | 1453100 | AU_QM_001202845 |  | ERSA | M | 5700 | 1453100GZPCLNT100 | EA |  | DRIVE DRUM; | DRIVE DRUM; | DRUM,MOTORISED,CONVEYOR: DRIVE DRUM; SIDE CONVEYOR; FINLAY 693+ SCREEN; |  | DRUM,MOTORISED,CONVEYOR:DRIVE DRUM; |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 532.18.01 | [12 empty] | FINLAY SCREENING & CRUSHING | 532.18.01 | [16 empty] | https://www.parts.powerscreensales.com/532-18-01/ | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums | FINLAY 693+ SCREEN |  | DRUM | NO MODIFIER | TYPE | MOTORISED SIDE CONVEYOR DRIVE | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1051426 | 1051426 |  |  |  | ERSA | M | 4090 | 1573364GZPCLNT100 | DR |  | DRUM;20LT,MTL,LID & LOCKING RING INC | TAMBOR; | DRUM;ADDITIONAL FEATURES EN:20LT,METAL,LID & LOCKING RING INC | TAMBOR; |  |  |  | 1068357 @@ TOPFIRE CONSTRUCTIONS PTY LTD | PAIL-LID-LOCKRING-20L | [12 empty] | TOPFIRE CONSTRUCTIONS PTY LTD | [17 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums | C/W LID,LOCKRING |  | DRUM | STORAGE | TYPE |  | CAPACITY | 20 L PAIL | MATERIAL | METAL | DIAMETER |  | SIZE |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1103613 | 1103613 |  |  |  | ERSA | M | 4090 | 1570591GZPCLNT100 | DR |  | DRUM;GLYCERINE,200L | TAMBOR; | DRUM;ADDITIONAL FEATURES EN:GLYCERINE,200L | TAMBOR; |  |  |  | 1076069 @@ VALMET PTY LTD | 1570591 | 1075281 @@ Neles Australia Flow Control Pty Lt | 1570591 | [8 empty] | VALMET PTY LTD | 1570591 |  |  | Neles Australia Flow Control Pty Lt | 1570591 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE | GLYCERINE | CAPACITY | 200 L | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148393 | 1148393 |  |  |  | ERSA | M | 4050 | 1526810GZPCLNT100 | EA |  | DRUM;HP RE,HP RECYCLE DRUM 1 SET OF DRUM | DRUM;HP RE,HP RECYCLE DRUM 1 SET OF DRUM | DRUM;ADDITIONAL FEATURES:HP RE,HP RECYCLE DRUM 1 SET OF DRUM |  |  |  |  | 1068349 @@ ACENET LASER PRINTER SERVICES P/ | HP RECYCLE DRUM 1 SET OF DRUM | [10 empty] | HP |  |  |  | ACENET LASER PRINTER SERVICES P | [15 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 44103109 Printer or facsimile or photocopier drums | PACKAGE QUANTITY:1 SET OF DRUM |  | DRUM | PRINTER | TYPE | RECYCLE | COMPATIBILITY |  | CAPACITY |  | SIZE |  | MATERIAL |  | COLOR |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1016524 | 1016524 |  |  |  | ERSA | M | 4055 | 1240154GZPCLNT100 | EA |  | DRUM;WIDE MTH,200 L,3206 | TAMBOR;BOCA ANCHA,200 L,3206 | DRUM;TYPE:WIDE MOUTH,CAPACITY:200 L,PTNO:3206 | TAMBOR;TIPO:BOCA ANCHA,CAPACIDAD:200 L,PTNO:3206 |  |  | 3206 | [13 empty] | 3206 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | STORAGE | TYPE | WIDE MOUTH | CAPACITY | 200 L | MATERIAL |  | DIAMETER |  | SIZE |  | COLOUR |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1187241 | 1187241 |  |  |  | ERSA | M | 5000 | 1544480GZPCLNT100 | EA |  | DRYER,AIR;REFRIGERATED | SECADOR AIRE; | DRYER,AIR;ADDITIONAL FEATURES EN:REFRIGERATED | SECADOR AIRE; |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | KA400E | [10 empty] | MOBILISE GROUP PTY LTD | [19 empty] | URL NOT FOUND |  |  |  |  | KA400E |  |  |  |  | CLEANSED | 23201202 Air dryers | REFRIGERATED |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1152242 | 1152242 |  |  |  | ERSA | M | 4075 | 1534770GZPCLNT100 | EA |  | DRYER,AIR;EMERSON BI-FLO DRIER 5,2708454 | DRYER,AIR;EMERSON BI-FLO DRIER 5,2708454 | DRYER,AIR;ADDITIONAL FEATURES:EMERSON BI-FLO DRIER 5,2708454 |  |  |  |  | 1068155 @@ REECE PTY LTD | 2708454 | [10 empty] | REECE PTY LTD |  | EMERSON | 2708454 | [16 empty] | https://www.actrol.com.au/product/emerson-bi-flow-drier-5-8-solder-bfk165s-2708454 | [9 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:5/8 IN SOLDER |  | DRYER | REFRIGERANT | TYPE | BI-FLOW | FLOW RATING |  | REFRIGERANT TYPE | R22/R407C/R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING | 30 DEG C | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1111532 | 1111532 | 1407014 | AU_QM_000252037 |  | ERSA | M | 5915 | 1407014GZPCLNT100 | EA |  | DRYER,AIR;PRICE AS PER QUOTE 143143 | DRYER,AIR;PRICE AS PER QUOTE 143143 | DRYER,AIR;MNFR: ,PTNO:PRICE AS PER QUOTE 143143 |  | DRYER,AIR;PRICE AS PER QUOTE 143143DRYER,AIR;PRICE AS PER QUOTE 143143 | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201202 Air dryers | PRICE AS PER QUOTE 143143 |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1073893 | 1073893 |  |  |  | ERSA | M | 3730 | 1089319GZPCLNT100 | EA | 3000003 | DRYER,AIR;CAT,1655648 | SECADOR AIRE;CAT,1655648 | DRYER,AIR;MNFR:CATERPILLAR,PTNO:1655648 | SECADOR AIRE;MNFR:CATERPILLAR,PTNO:1655648 |  | CATERPILLAR | 1655648 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 1655648 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 1655648 | [16 empty] | https://parts.cat.com/en/catcorp/165-5648 | [9 empty] | CLEANSED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1113114 | 1113114 |  |  |  | ERSA | M | 4015 | 1573351GZPCLNT100 | EA |  | DRYER;RECVR,160H X 76D,RD594191P | SECADORA; | DRYER;ADDITIONAL FEATURES EN:RECEIVER,160H X 76D,RD594191P | SECADORA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | RD594191P | [10 empty] | ASHDOWN ENTERPRISES |  | REDDOT | RD594191P | [16 empty] | https://www.repco.com.au/brands/reddot/reddot-receiver-drier-mior-mior-diameter-76mm-rd594191p/p/A5447731 | [9 empty] | CLEANSED | 26131800 Power generation control equipment |  |  | DRIER | RECEIVER | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | SWITCH PORT SIZE |  | MATERIAL |  | SIZE | 76 DIAX160 HT MM | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1113115 | 1113115 |  |  |  | ERSA | M | 4015 | 1573350GZPCLNT100 | EA |  | DRYER;RECVR,KENWORTH TRUCK 1998> | SECADORA; | DRYER;ADDITIONAL FEATURES EN:RECEIVER,KENWORTH TRUCK 1998> | SECADORA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | RD5105911P | [10 empty] | ASHDOWN ENTERPRISES |  | REDDOT | RD5105911P | [16 empty] | https://www.repco.com.au/parts-service/climate-control/receiver-driers/reddot-receiver-drier-mior-mior-diameter-76mm-rd5105911p/p/A5359411?kwSearch=RD5105911P | [9 empty] | ENRICHED | 26131800 Power generation control equipment |  | INLET AND OUTLET FITTING:MIOR | DRIER | RECEIVER | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | SWITCH PORT SIZE |  | MATERIAL |  | SIZE | 76 DIAX210 HT MM | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148500 | 1148500 |  |  |  | ERSA | M | 4015 | 1516587GZPCLNT100 | EA |  | DRYER;A/C,1 1/8ODS SFD27S9-V,MOB2708510 | DRYER;A/C,1 1/8ODS SFD27S9-V,MOB2708510 | DRYER;ADDITIONAL FEATURES:A/C,1 1/8ODS SFD27S9-V,MOB2708510 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708510 | [10 empty] | EMERSON | SFD27S9-VV | EMERSON | 2708510 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-suction-line-drier-1-1-8-solder-2708510 | https://digitalassets.reecegroup.com.au/m/180431a43c096357/original/Technical-Guide-Emerson-Suction-Line-Drier-SFD.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:1-1/8 IN ODF SOLDER,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | SUCTION LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING | 500 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.64XLG 7.63 IN | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148499 | 1148499 |  |  |  | ERSA | M | 4015 | 1516588GZPCLNT100 | EA |  | DRYER;A/C,1/2FL SFD13F4-VV ,MOB2708503 | DRYER;A/C,1/2FL SFD13F4-VV ,MOB2708503 | DRYER;ADDITIONAL FEATURES:A/C,1/2FL SFD13F4-VV ,MOB2708503 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708503 | [10 empty] | EMERSON | SFD13F4-VV | EMERSON | 2708503 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-suction-line-drier-1-2-flare-2708503?query=2708503 | https://digitalassets.reecegroup.com.au/m/180431a43c096357/original/Technical-Guide-Emerson-Suction-Line-Drier-SFD.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:1/2 IN SAE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | SUCTION LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING | 500 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.64XLG 5.75 IN | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148504 | 1148504 |  |  |  | ERSA | M | 4015 | 1516583GZPCLNT100 | EA |  | DRYER;A/C,1/4IN SOLDER EK032S,MOB2708402 | DRYER;A/C,1/4IN SOLDER EK032S,MOB2708402 | DRYER;ADDITIONAL FEATURES:A/C,1/4IN SOLDER EK032S,MOB2708402 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708402 | [10 empty] | EMERSON | EK032S | EMERSON | 2708402 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-liquid-line-drier-1-4-solder-ek032s-2708402?query=2708402 | https://digitalassets.reecegroup.com.au/m/72dea23ea5535bb4/original/Technical-Guide-Emerson-Liquid-Line-Drier-EK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:1/4 IN SOLDER,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | LIQUID LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R12/R134A/R22/R404A/R407C/R410A/R500/R502/R507 | PRESSURE RATING | 680 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 1.75XLG 3.83 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148503 | 1148503 |  |  |  | ERSA | M | 4015 | 1516584GZPCLNT100 | EA |  | DRYER;A/C,3/4ODS EK306S ,MOB2708430 | DRYER;A/C,3/4ODS EK306S ,MOB2708430 | DRYER;ADDITIONAL FEATURES:A/C,3/4ODS EK306S ,MOB2708430 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708430 | [10 empty] | EMERSON | EK036S | EMERSON | 2708430 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-liquid-line-drier-3-4-solder-ek306s-2708430?query=2708430 | https://digitalassets.reecegroup.com.au/m/72dea23ea5535bb4/original/Technical-Guide-Emerson-Liquid-Line-Drier-EK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:3/4 IN ODF,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | LIQUID LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R12/R134A/R22/R404A/R407C/R410A/R500/R502/R507 | PRESSURE RATING | 680 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.14XLG 9.73 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148502 | 1148502 |  |  |  | ERSA | M | 4015 | 1516585GZPCLNT100 | EA |  | DRYER;A/C,3/8FL EK053 ,MOB2708408 | DRYER;A/C,3/8FL EK053 ,MOB2708408 | DRYER;ADDITIONAL FEATURES:A/C,3/8FL EK053 ,MOB2708408 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708408 | [10 empty] | EMERSON | EK053 | EMERSON | 2708408 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-liquid-line-drier-3-8-flare-ek053-2708408 | https://digitalassets.reecegroup.com.au/m/72dea23ea5535bb4/original/Technical-Guide-Emerson-Liquid-Line-Drier-EK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:3/8 IN SAE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | LIQUID LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R12/R134A/R22/R404A/R407C/R410A/R500/R502/R507 | PRESSURE RATING | 680 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 2.64XLG 5.14 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148501 | 1148501 |  |  |  | ERSA | M | 4015 | 1516586GZPCLNT100 | EA |  | DRYER;A/C,5/8FL EK305 ,MOB2708428 | DRYER;A/C,5/8FL EK305 ,MOB2708428 | DRYER;ADDITIONAL FEATURES:A/C,5/8FL EK305 ,MOB2708428 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708428 | [10 empty] | EMERSON | EK305 | EMERSON | 2708428 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-liquid-line-drier-5-8-flare-ek305-2708428 | https://digitalassets.reecegroup.com.au/m/72dea23ea5535bb4/original/Technical-Guide-Emerson-Liquid-Line-Drier-EK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:5/8 IN SAE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | LIQUID LINE FILTER | FLOW RATING |  | REFRIGERANT TYPE | R12/R134A/R22/R404A/R407C/R410A/R500/R502/R507 | PRESSURE RATING | 680 PSIG | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.14XLG 10.34 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148510 | 1148510 |  |  |  | ERSA | M | 4015 | 1516577GZPCLNT100 | EA |  | DRYER;A/C,EMERSON BI-FLO DRI,MOB2708443 | DRYER;A/C,EMERSON BI-FLO DRI,MOB2708443 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON BI-FLO DRI,MOB2708443 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708443 | [10 empty] | EMERSON | BFK053 | EMERSON | 2708443 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-bi-flow-drier-3-8-flare-bfk053-2708443?query=2708443 | [9 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:3/8 IN MALE FLARE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | BI-FLOW | FLOW RATING |  | REFRIGERANT TYPE | R22/R407C/R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING | 30 DEG C | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148509 | 1148509 |  |  |  | ERSA | M | 4015 | 1516578GZPCLNT100 | EA |  | DRYER;A/C,EMERSON BI-FLO DRI,MOB2708454 | DRYER;A/C,EMERSON BI-FLO DRI,MOB2708454 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON BI-FLO DRI,MOB2708454 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708454 | [10 empty] | EMERSON | BFK165S | EMERSON | 2708454 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-bi-flow-drier-5-8-solder-bfk165s-2708454 | [9 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:5/8 IN SOLDER,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | BI-FLOW | FLOW RATING |  | REFRIGERANT TYPE | R22/R407C/R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING | 30 DEG C | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148508 | 1148508 |  |  |  | ERSA | M | 4015 | 1516579GZPCLNT100 | EA |  | DRYER;A/C,EMERSON BURN OUT D,MOB2708463 | DRYER;A/C,EMERSON BURN OUT D,MOB2708463 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON BURN OUT D,MOB2708463 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708463 | [10 empty] | EMERSON | BOK165 | EMERSON | 2708463 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-burn-out-drier-5-8-flare-bok165-2708463?query=2708463 | https://digitalassets.reecegroup.com.au/m/f8ddfb0550f448b0/original/Technical-Guide-Emerson-Burn-Out-Drier-BOK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:5/8 IN FLARE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | BURN OUT | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.14XLG 7.4 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148507 | 1148507 |  |  |  | ERSA | M | 4015 | 1516580GZPCLNT100 | EA |  | DRYER;A/C,EMERSON BURN OUT D,MOB2708464 | DRYER;A/C,EMERSON BURN OUT D,MOB2708464 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON BURN OUT D,MOB2708464 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708464 | [10 empty] | EMERSON | BOK305 | EMERSON | 2708464 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-burn-out-drier-5-8-flare-bok305-2708464?query=2708464 | https://digitalassets.reecegroup.com.au/m/f8ddfb0550f448b0/original/Technical-Guide-Emerson-Burn-Out-Drier-BOK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:5/8 IN FLARE,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | BURN OUT | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 10.34XLG 7.54 IN | TEMPERATURE RATING | 86 DEG F | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1148506 | 1148506 |  |  |  | ERSA | M | 4015 | 1516581GZPCLNT100 | EA |  | DRYER;A/C,EMERSON BURN OUT D,MOB2708468 | DRYER;A/C,EMERSON BURN OUT D,MOB2708468 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON BURN OUT D,MOB2708468 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2708468 | [10 empty] | EMERSON | BOK417S | EMERSON | 2708468 | MOBILISE GROUP PTY LTD | [15 empty] | https://www.actrol.com.au/product/emerson-burn-out-drier-7-8-solder-bok417s-2708468 | https://digitalassets.reecegroup.com.au/m/f8ddfb0550f448b0/original/Technical-Guide-Emerson-Burn-Out-Drier-BOK.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment | CONNECTION:7/8 IN SOLDER,FOR AIR CONDITIONER |  | DRYER | REFRIGERANT | TYPE | BURN OUT | FLOW RATING |  | REFRIGERANT TYPE | R410A | PRESSURE RATING | 7 KPA | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL | SOLID COPPER (CONNECTION) | SIZE | DIA 3.64XLG 9.96 IN | TEMPERATURE RATING | 30 DEG C | CERTIFICATION/STANDARD | SA 3124 | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1095244 | 1095244 | 1384125 | AU_QM_000224648 |  | ERSA | M | 5920 | 1384125GZPCLNT100 | EA | 3000000 | DRYER;ATL,8102226159 | DRYER;ATL,8102226159 | DRYER;MNFR:ATLAS COPCO,PTNO:8102226159 |  | DRYER;ATL,8102226159DRYER;ATL,8102226159 | ATLAS COPCO | 8102226159 | [14 empty] | ATLAS COPCO | 8102226159 | [16 empty] | https://aircompressorhub.ru/catalog/podgotovka_vozdukha/refrizheratornye_osushiteli_vozdukha_atlas_copco/refrizheratornye_osushiteli_atlas_copco_fx/osushitel_vozdukha_refrizheratornyy_atlas_copco_fx12/ | https://www.nold.de/hersteller-prospekte.html?file=files/download/AtlasCopco/AtlasCopco-Kompressoren-Werkstaetten-Handwerk-2019.pdf | [8 empty] | ENRICHED | 23201200 Industrial drying equipment |  |  | DRYER | REFRIGERANT | TYPE | AIR CONDITIONER | FLOW RATING | 128 L/S | REFRIGERANT TYPE | R404A | PRESSURE RATING | 14 BAR | INTAKE TEMPERATURE | 3 DEG C | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE | 580 WDX560 LGX939 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1030939 | 1030939 | 1442158 | AU_QM_000994154 |  | ERSA | M | 5920 | 1442158GZPCLNT100 | EA | 3000000 | DRYER;ATL,9772 0101 02 | DRYER;ATL,9772 0101 02 | DRYER;MNFR:ATLAS COPCO,PTNO:9772 0101 02 |  | DRIER,AIR-GAS,REFRIGERATED: BOOMER/BOLTEC INCLINE DRIER; | ATLAS COPCO | 9772 0101 02 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9772 0101 02 | [10 empty] | ATLAS COPCO |  | EPIROC | 9772010102 | [16 empty] | URL NOT FOUND |  |  | BOOMER/BOLTEC INCLINE DRIER | [6 empty] | CLEANSED | 23201202 Air dryers | GAS,REFRIGERATED |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1030940 | 1030940 | 1442157 | AU_QM_000994153 |  | ERSA | M | 5920 | 1442157GZPCLNT100 | EA | 3000000 | DRYER;ATL,9772010101 | DRYER;ATL,9772010101 | DRYER;MNFR:ATLAS COPCO,PTNO:9772010101 |  | DRIER,AIR-GAS,REFRIGERATED: BOOMER/BOLTEC RECEIVER DRIER; | ATLAS COPCO | 9772010101 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 9772 0101 01 | [10 empty] | ATLAS COPCO |  | EPIROC | 9772010101 | [16 empty] | URL NOT FOUND |  |  | BOOMER/BOLTEC RECEIVER DRIER | [6 empty] | CLEANSED | 23201202 Air dryers | GAS,REFRIGERATED |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1095030 | 1095030 | 1390073 | AU_QM_000231657 |  | ERSA | M | 5920 | 1390073GZPCLNT100 | EA | 3000003 | DRYER;CAT,1841614 | DRYER;CAT,1841614 | DRYER;MNFR:CATERPILLAR,PTNO:1841614 |  | DRYER;CAT,1841614DRYER;HAS,1841614 | CATERPILLAR | 1841614 | [14 empty] | CATERPILLAR | 1841614 | [16 empty] | https://parts.cat.com/en/catcorp/184-1614 | [9 empty] | CLEANSED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1011591 | 1011591 |  |  |  | ERSA | M | 3730 | 1609094GZPCLNT100 | EA | 3000003 | DRYER;CAT,257-3227 | SECADORA;CAT,257-3227 | DRYER;MNFR:CATERPILLAR,PTNO:257-3227 | SECADORA;MNFR:CATERPILLAR,PTNO:257-3227 |  | CATERPILLAR | 257-3227 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2573226 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 257-3227 | [16 empty] | https://parts.cat.com/en/catcorp/257-3227 | https://www.acparts.com/product/receiver-drier-109/ | [8 empty] | ENRICHED | 26131800 Power generation control equipment |  |  | DRIER | RECEIVER | TYPE |  | INLET SIZE | 1/2 IN | OUTLET SIZE | 3/8 IN | SWITCH PORT SIZE |  | MATERIAL | STEEL | SIZE | 7-3/4 IN | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1094883 | 1094883 | 1394489 | AU_QM_000238088 |  | ERSA | M | 5920 | 1394489GZPCLNT100 | EA | 3000003 | DRYER;CAT,2834236 | DRYER;CAT,2834236 | DRYER;MNFR:CATERPILLAR,PTNO:2834236 |  | OEM-E-LISTDRYER;CAT,2834236 | CATERPILLAR | 2834236 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 2834236 | [10 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 2834236 | [16 empty] | https://parts.cat.com/en/catcorp/283-4236 | [9 empty] | ENRICHED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 5/8 IN-18 | OUTLET SIZE | 3/4 IN-16 | CONNECTION TYPE | STOR MALE X FEMALE | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE | HT 280 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1017544 | 1017544 | 1223985 | AU_QM_000167443 |  | ERSA | M | 3730 | 1223985GZPCLNT100 | EA | 3000003 | DRYER;CAT,3200562,REFRIGERANT ASSY | DRYER;CAT,3200562,REFRIGERANT ASSY | DRYER;MNFR:CATERPILLAR,PTNO:3200562,ADDITIONAL FEATURES EN:REFRIGERANT ASSEMBLY |  | ASSEMBLY KIT: DRYER ASSEMBLY | CATERPILLAR | 3200562 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3200562 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 3200562 | [8 empty] | HASTINGS DEERING(AUSTRALIA) LTD |  | CATERPILLAR | 3200562 | [16 empty] | https://parts.cat.com/en/catcorp/320-0562 | [9 empty] | ENRICHED | 23201200 Industrial drying equipment | ASSEMBLY |  | DRYER | REFRIGERANT | TYPE |  | FLOW RATING |  | REFRIGERANT TYPE | R12 AND R134A | PRESSURE RATING |  | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE | HT 274 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1094882 | 1094882 | 1394491 | AU_QM_000238091 |  | ERSA | M | 5920 | 1394491GZPCLNT100 | EA | 3000003 | DRYER;CAT,4503729 | DRYER;CAT,4503729 | DRYER;MNFR:CATERPILLAR,PTNO:4503729 |  | OEM-E-LISTDRYER;CAT,4503729 | CATERPILLAR | 4503729 | [14 empty] | CATERPILLAR | 4503729 | [16 empty] | https://parts.cat.com/en/catcorp/450-3729 | [9 empty] | ENRICHED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE | 1/2 IN-14 | OUTLET SIZE | 1/2 IN-18 | CONNECTION TYPE | NPT | MATERIAL | STEEL | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE | 285 LGX146 WDX136 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-14 |  | 1095331 | 1095331 | 1381507 | AU_QM_000221434 |  | ERSA | M | 5920 | 1381507GZPCLNT100 | EA | 3000001 | DRYER;EPI,8092266322 | DRYER;EPI,8092266322 | DRYER;MNFR:EPIROC,PTNO:8092266322 |  | DRYER;EPI,8092266322DRYER;EPI,8092266322 | EPIROC | 8092266322 | [14 empty] | EPIROC | 8092266322 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed