## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1205467 | 1205467 |  |  |  | ERSA | M | 4090 | 1011691MRM | EA |  | ACCELERATING COMPOUND,CONCRETE:SIGUNIT S | ACCELERATING COMPOUND,CONCRETE:SIGUNIT S | ACCELERATING COMPOUND,CONCRETE:SIGUNIT SHOTCRETE ACCELERATOR;1000L POD;ALKALI FREE;MAXI JET FIBRECRETE APPLICATION | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations | CONCRETE:SIGUNIT SHOTCRETE ACCELERATOR,ALKALI FREE,FOR MAXI JET FIBRECRETE |  | COMPOUND | NO MODIFIER | TYPE | ACCELERATING | GRADE |  | CONTAINER TYPE | POD | CONTAINER SIZE | 1000 L | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1112001 | 1112001 | 1419489 | AU_QM_000265545 |  | ERSA | M | 5915 | 1419489GZPCLNT100 | EA |  | ANTENNA,RADIO;RVS-AERIAL-RF | ANTENNA,RADIO;RVS-AERIAL-RF | ANTENNA,RADIO;MNFR: ,PTNO:RVS-AERIAL-RF |  | ANTENNA,RADIO;RVS-AERIAL-RFANTENNA,RADIO;RVS-AERIAL-RF | [15 empty] | RVS-AERIAL-RF | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1061880 | 1061880 |  |  |  | ERSA | M | 4090 | 1558834GZPCLNT100 | EA |  | ANTENNA,RADIO;VRTCL | ANTENA RADIO; | ANTENNA,RADIO;POLARIZATION:VERTICAL,ADDITIONAL FEATURES EN:DOME,2.4GHZ-2.5GHZ,2.1VSWR,3DB GAIN | ANTENA RADIO; |  |  |  | 1068110 @@ ELEMENT14 PTY LTD | 1689882 | [10 empty] | ELEMENT14 PTY LTD | 1689882 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE |  | GAIN | 3 DB | FREQUENCY RATING | 2.4 TO 2.5 GHZ | BANDWIDTH |  | POLARIZATION | VERTICAL | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1187364 | 1187364 |  |  |  | ERSA | M | 1600 | 1615740GZPCLNT100 | EA |  | ANTENNA,RADIO;RFI WIRELESS,148-174 MHZ | ANTENA RADIO; | ANTENNA,RADIO;TYPE:RFI WIRELESS,FREQUENCY RATING:148-174 MHZ,POLARIZATION:VHF,ADDITIONAL FEATURES EN:GROUND INDEPENDENT MOPOLE | ANTENA RADIO; |  |  |  | 1068443 @@ RCS TELECOMMUNICATIONS PTY LTD | ANT-VHF-BASE | 1070470 @@ CSE CROSSCOM PTY LTD | 1615740 | [8 empty] | RCS TELECOMMUNICATIONS PTY LTD | ANT-VHF-BASE |  |  | CSE CROSSCOM PTY LTD | 1615740 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas | GROUND INDEPENDENT MOPOLE |  | ANTENNA | RADIO | TYPE | RFI WIRELESS | GAIN |  | FREQUENCY RATING | 148 TO 174 MHZ | BANDWIDTH |  | POLARIZATION | VHF | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1210989 | 1210989 |  |  |  | ERSA | M | 4090 | 135548MRM | EA |  | ANTENNA:APS L1/L2 GPS+GLONASS ANTENNA; | ANTENNA:APS L1/L2 GPS+GLONASS ANTENNA; | ANTENNA:APS L1/L2 GPS+GLONASS ANTENNA; | [36 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components | FREQUENCY BAND:L1/L2 |  | ANTENNA | NO MODIFIER | TYPE | GPS/GLONASS | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1211011 | 1211011 |  |  |  | ERSA | M | 5920 | 135575MRM | EA |  | ANTENNA:UHF MAGNETIC MOUNT ANTENNA (GE-3 | ANTENNA:UHF MAGNETIC MOUNT ANTENNA (GE-3 | ANTENNA:UHF MAGNETIC MOUNT ANTENNA (GE-392); | [17 empty] | GE-392 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | UHF MAGNETIC MOUNT | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1207409 | 1207409 |  |  |  | ERSA | M | 4090 | 1080621MRM | EA |  | ANTENNA:UHF;GROUND PLAIN INDEPENDANT;HIG | ANTENNA:UHF;GROUND PLAIN INDEPENDANT;HIG | ANTENNA:UHF;GROUND PLAIN INDEPENDANT;HIGH GAIN 6.5DB;CB ANTENNA; |  |  |  |  | 1069683 @@ GLOBAL COMMUNICATION SERVICES | CD931-71-75 | [12 empty] | GLOBAL COMMUNICATION SERVICES | CD931-71-75 | [16 empty] | http://ok1ike.c-a-v.com/soubory/ant_txt/RFI-antenna-catalogue.pdf | [9 empty] | ENRICHED | 43221706 Radio antennas |  |  | ANTENNA | RADIO | TYPE | MOBILE | GAIN | 6.5 DB | FREQUENCY RATING | 470 TO 490 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE | UHF ADAPTER | MATERIAL |  | SIZE | LG 5 M | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1102807 | 1102807 |  |  |  | ERSA | M | 5820 | 1527741GZPCLNT100 | EA |  | ANTENNA;ANTENNA KIT-915HZ,074-504852 | ANTENNA;ANTENNA KIT-915HZ,074-504852 | ANTENNA;ADDITIONAL FEATURES:ANTENNA KIT-915HZ,074-504852 |  |  |  |  | 1071114 @@ CESCO AUSTRALIA LIMITED | 074-504852 | [12 empty] | CESCO AUSTRALIA LIMITED | 074-504852 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components | KIT |  | ANTENNA | NO MODIFIER | TYPE |  | GAIN |  | FREQUENCY RATING | 915 HZ | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1146484 | 1146484 |  |  |  | ERSA | M | 1600 | 1526949GZPCLNT100 | EA |  | ANTENNA;ANTENNA VHF(6-12)/U,MAT01MM-DG27 | ANTENNA;ANTENNA VHF(6-12)/U,MAT01MM-DG27 | ANTENNA;ADDITIONAL FEATURES:ANTENNA VHF(6-12)/U,MAT01MM-DG27 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 01MM-DG27 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | MATCHMASTER | 01MM-DG27 | [16 empty] | https://www.matchmaster.com.au/digital-tv-antennas/01mm-dg27/ | [9 empty] | ENRICHED | 43221700 Fixed network equipment and components | CHANNEL:6 TO 12 |  | ANTENNA | NO MODIFIER | TYPE | DIGITAL VHF/UHF | GAIN | 7 DB | FREQUENCY RATING | 694 MHZ | BANDWIDTH | B3 | POLARIZATION | VERTICAL | SHAPE |  | SIZE | LG 1305 MM | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1055367 | 1055367 |  |  |  | ERSA | M | 4500 | 1615993GZPCLNT100 | EA |  | ANTENNA;AIRMAX,13 DBI,5400-5850 MHZ,DUAL | ANTENA;,5400-5850 MHZ,EL DOBLE | ANTENNA;TYPE:AIRMAX,GAIN:13 DBI,FREQUENCY RATING:5400-5850 MHZ,POLARIZATION:DUAL,ADDITIONAL FEATURES EN:BRAND:UBIQUITI | ANTENA;VALOR FRECUENCIA:5400-5850 MHZ,POLARIZACION:EL DOBLE |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CABUB.AMO.5G13 | [12 empty] | UBIQUITI | AMO-5G13 | CNW (MOUNT ISA) ELECT WHOLESALER | [15 empty] | URL NOT FOUND | [9 empty] | ENRICHED | 43221706 Radio antennas | BRAND:AIRMAX |  | ANTENNA | RADIO | TYPE | 2X2 DUAL-POLARITY | GAIN | 13 DBI | FREQUENCY RATING | 5.45 TO 5.85 GHZ | BANDWIDTH | 5 GHZ | POLARIZATION | DUAL LINEAR | CONNECTION TYPE |  | MATERIAL |  | SIZE | 799X90X65 MM | ACCEPTANCE ANGLE | 7 DEG | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 302 326 DN2 | [48 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1188162 | 1188162 |  |  |  | ERSA | M | 5100 | 1586840GZPCLNT100 | EA |  | ANTENNA;EXTRNL,MERAKI,MG41,CELLULAR | ANTENA; | ANTENNA;TYPE:EXTERNAL,ADDITIONAL FEATURES EN:MERAKI,MG41,CELLULAR,GATEWAY | ANTENA; |  |  |  | 1068639 @@ DATA #3 GROUP | MG41E-HW | [10 empty] | DATA #3 GROUP | MG41E-HW | [18 empty] | https://meraki.cisco.com/product/cellular/external-antenna/mg41e/ | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components |  |  | ANTENNA | NO MODIFIER | TYPE | EXTENAL | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1050388 | 1050388 |  |  |  | ERSA | M | 5100 | 1584647GZPCLNT100 | EA |  | ANTENNA;MOD EXTERNAL,W/1M LEAD | ANTENA; | ANTENNA;TYPE:MOD EXTERNAL,ADDITIONAL FEATURES EN:W/1M LEAD | ANTENA; |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HBCSA00052 | [12 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | HBCSA00052 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components | C/W 1 M LEAD |  | ANTENNA | NO MODIFIER | TYPE | MOD EXTENAL | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1055525 | 1055525 |  |  |  | ERSA | M | 4500 | 1584556GZPCLNT100 | EA |  | ANTENNA;UHF FLEXIBLE,BLU | ANTENA; | ANTENNA;TYPE:UHF FLEXIBLE,BLUE,ADDITIONAL FEATURES EN:SUITS IC-41S/IC-41W/IC-41PRO,470-520MHZ | ANTENA; |  |  |  | 1069244 @@ RICOM ELECTRONICS PTY LTD | FASC72U | [12 empty] | RICOM ELECTRONICS PTY LTD | FASC72U | [16 empty] | https://www.grainger.com/product/ICOM-Antenna-Whip-460T73 | https://www.commex.net.au/product/fasc72u-uhf-antenna-to-fit-ic41pro/ | [8 empty] | ENRICHED | 43221706 Radio antennas | FOR IC-41S/IC-41W/IC-41PRO | COLOR:BLACK | ANTENNA | RADIO | TYPE | UHF FLEXIBLE WHIP | GAIN | 25 DB | FREQUENCY RATING | 470 TO 520 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL | METAL,RUBBER | SIZE | LG 5-3/8 IN | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1056754 | 1056754 |  |  |  | ERSA | M | 4500 | 1615185GZPCLNT100 | EA |  | ANTENNA;VHF YAGI,6DBD,109-250 MHZ | ANTENA; | ANTENNA;TYPE:VHF YAGI,GAIN:6DBD,FREQUENCY RATING:109-250 MHZ,POLARIZATION:CIRCULAR,MATERIAL:STAINLESS STEEL 304,ADDITIONAL FEATURES EN:HIGH POWERED 3 ELEMENT YAGI,SPECIFY 4 PER,2KW,7/16IN,DIN FEMALE,6 DBD PER PLANE-1.5 M-CENTRE,FREQUENCY 160.360MHZ | ANTENA; |  |  |  | 1069902 @@ ZCG SCALAR | Y303CPSS-HP | [10 empty] | ZCG SCALAR | Y303CPSS-HP | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 43221700 Fixed network equipment and components |  |  | ANTENNA | NO MODIFIER | TYPE |  | GAIN | 6 DBD | FREQUENCY RATING | 109 TO 250 MHZ | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1138330 | 1138330 | 1401368 | AU_QM_000245880 |  | ERSA | M | 5915 | 1401368GZPCLNT100 | EA |  | CALIPER,BRK;7740014 | CALIPER,BRK;7740014 | CALIPER,BRK;MNFR: ,PTNO:7740014 |  | CALIPER,BRK;7740014CALIPER,BRK;7740014 |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | 1401368 | [10 empty] | CAVA HYDRAULICS & ENGINEERING PTY L | 1401368 |  |  |  | 740014 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 25171706 Brake calipers |  |  | CALIPER | BRAKE | TYPE |  | NUMBER OF PISTONS |  | PISTON AREA |  | ROTOR SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CLAMP FORCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1106859 | 1106859 | 1417751 | AU_QM_000263631 |  | ERSA | M | 5915 | 1417751GZPCLNT100 | EA |  | CALIPER,VERN;ELEK,STAINLESS STEEL | CALIPER,VERN;ELEK,STAINLESS STEEL | CALIPER,VERNIER;TYPE:ELECTRONIC,BODY MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:REQUIRED TOOLING FOR JOB DELIVER TO 20L I516, A |  | CALIPER,VERN;ELEK,STAINLESS STEELCALIPER,VERN;ELECTRONIC,STAINLESS STEEL | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111622 Micrometer calipers | REQUIRED TOOLING FOR JOB DELIVER TO 20L I516, A |  | CALIPER | VERNIER | TYPE | ELECTRONIC | MEASURING RANGE |  | GRADUATION |  | ACCURACY |  | DISPLAY TYPE |  | JAW DEPTH |  | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1053759 | 1053759 |  |  |  | ERSA | M | 5900 | 1580561GZPCLNT100 | EA |  | CALIPER;1700 SER WITH TRI MTG,APB3-0020 | GALIBO; | CALIPER;ADDITIONAL FEATURES EN:1700 SER WITH TRI MTG,APB3-0020 | GALIBO; |  |  |  | 1070853 @@ PROREMAN P/L T/A HY-PERFORMANCE | APB3-0020 | [10 empty] | PROREMAN P/L T/A HY-PERFORMANCE | APB3-0020 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 41111621 Calipers | 1700 SER C/W TRI MOUNTING |  | CALIPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1103484 | 1103484 |  |  |  | ERSA | M | 4010 | 1570737GZPCLNT100 | EA | 3000422 | CALIPER;CNW,TOT50019630,VRNR,150MM/6IN,D | GALIBO;CNW,TOT50019630 | CALIPER;MNFR:CNW,PTNO:TOT50019630,ADDITIONAL FEATURES EN:VERNIER,150MM/6IN,DIGIMATIC | GALIBO;MNFR:CNW,PTNO:TOT50019630 |  | CNW | TOT50019630 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | TOT50019630 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | MITUTOYO | 50019630 | [16 empty] | https://shop.mitutoyo.eu/web/mitutoyo/en/mitutoyo/01.03.05a/Digital%20ABS%20AOS%20Caliper/$catalogue/mitutoyoData/PR/500-196-30/index.xhtml | [9 empty] | ENRICHED | 41111622 Micrometer calipers |  |  | CALIPER | VERNIER | TYPE | DIGITAL ABS | MEASURING RANGE | 0 TO 150 MM | GRADUATION | 0.01 MM | ACCURACY |  | DISPLAY TYPE | LCD | JAW DEPTH |  | BODY MATERIAL |  | CONTACT POINT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1103485 | 1103485 |  |  |  | ERSA | M | 4010 | 1570736GZPCLNT100 | EA | 3000422 | CALIPER;CNW,WATTD2082,LCD,VRNR,ENGINEERS | GALIBO;CNW,WATTD2082 | CALIPER;MNFR:CNW,PTNO:WATTD2082,ADDITIONAL FEATURES EN:LCD,VERNIER,ENGINEERS | GALIBO;MNFR:CNW,PTNO:WATTD2082 |  | CNW | WATTD2082 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | WATTD2082 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | WATTMASTER | WATTD2082 | [16 empty] | https://www.wattmaster.com.au/sites/default/files/2021-06/Wattmaster%20Catalogue_Book%203%20-%20Hand%20Tools%2C%20Holemaking%2C%20Everyday%20Needs19_FC.pdf | [9 empty] | ENRICHED | 41111622 Micrometer calipers | ENGINEERS |  | CALIPER | VERNIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 150 MM | GRADUATION |  | ACCURACY |  | DISPLAY TYPE | LCD | JAW DEPTH |  | BODY MATERIAL | STAINLESS STEEL | CONTACT POINT MATERIAL |  | SIZE | LG 150 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1213672 | 1213672 |  |  |  | ERSA | M | 1500 | 171141MRM | EA |  | COATING COMPOUND,CERAMIC:WEARSTOP RAPID; | COATING COMPOUND,CERAMIC:WEARSTOP RAPID; | COATING COMPOUND,CERAMIC:WEARSTOP RAPID; SET 1; BOX= 2 TUBS |  |  |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | WS-RS7KG | [10 empty] | WEIR MINERALS AUSTRALIA LTD |  | ATOM SUPPLY | WS-RS7KG | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1145163 | 1145163 |  |  |  | ERSA | M | 1600 | 1537075GZPCLNT100 | EA |  | COMPOUND,SEAL;SIKA 11FC,YURIKA,2406020 | COMPOUND,SEAL;SIKA 11FC,YURIKA,2406020 | COMPOUND,SEAL;ADDITIONAL FEATURES:SIKA 11FC,YURIKA,2406020 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2406020 | [10 empty] | YURIKA PTY LTD | 2406020 | SIKA | 11FC | [16 empty] | https://aus.sika.com/en/construction/sealants-adhesives/expansion-perimeterjoints/sikaflex-11-fc.html | https://ind.sika.com/dms/getdocument.get/33d66487-7b77-43f0-8fe9-ed28254373a6/sikaflex_-11_fc.pdf | [8 empty] | ENRICHED | 31201705 Sealing compound |  |  | COMPOUND | SEALING | TYPE | ADHESIVE | CONTAINER | 310 ML | COLOUR | WHITE | SETTING TIME | 1 TO 2 HR | TEMPERATURE RATING | -40 TO 170 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1110903 | 1110903 | 1422113 | AU_QM_000268403 |  | ERSA | M | 5915 | 1422113GZPCLNT100 | EA |  | COMPOUND,SEAL;BSC0242 | COMPOUND,SEAL;BSC0242 | COMPOUND,SEAL;MNFR: ,PTNO:BSC0242 |  | COMPOUND,SEAL;BSC0242COMPOUND,SEAL;BSC0242 | [15 empty] | BSC0242 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201705 Sealing compound |  |  | COMPOUND | SEALING | TYPE |  | CONTAINER |  | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1056723 | 1056723 |  |  |  | ERSA | M | 1500 | 1614695GZPCLNT100 | PAC |  | COMPOUND,SEAL;PLASTIC WEATHERPROOF,0.5KG | COMPUESTO SELLADOR; | COMPOUND,SEALING;TYPE:PLASTIC WEATHERPROOF,CONTAINER:0.5KG,TEMPERATURE RATING:-20 TO 80 DEG C,ADDITIONAL FEATURES EN:COMPOUND HV TERMINATIONS PLASTIC-PUTTY | COMPUESTO SELLADOR; |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | BICR391 | [10 empty] | METAL MANUFACTURES PTY LTD | BICR391 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201705 Sealing compound | FOR HV TERMINATIONS |  | COMPOUND | SEALING | TYPE | PLASTIC PUTTY WEATHERPROOF | CONTAINER | 0.5 KG | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING | -20 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1180880 | 1180880 |  |  |  | ERSA | M | 4005 | 1568955GZPCLNT100 | EA |  | COMPOUND;CUTTING PASTE,XDP905,500G | COMPUESTO; | COMPOUND;ADDITIONAL FEATURES EN:CUTTING PASTE,XDP905,500G | COMPUESTO; |  |  |  | 1068256 @@ TOOL 'N' TACKLE | 83905-500 | [10 empty] | TOOL 'N' TACKLE | 83905-500 |  | XDP905 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE | 500 G | FORM | PASTE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1035890 | 1035890 |  |  |  | ERSA | M | 4075 | 1534137GZPCLNT100 | BAG |  | COMPOUND;BITUMEN COLD MIX ASPHAL,3300740 | COMPOUND;BITUMEN COLD MIX ASPHAL,3300740 | COMPOUND;ADDITIONAL FEATURES:BITUMEN COLD MIX ASPHAL,3300740 |  |  |  |  | 1068155 @@ REECE PTY LTD | 3300740 | [12 empty] | REECE PTY LTD | 3300740 | [16 empty] | https://www.reece.com.au/resources/themes/civil/assets/Civil-Product-Guide-V7.pdf | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE | BITUMEN COLD MIX ASPHAL | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1036954 | 1036954 |  |  |  | ERSA | M | 1600 | 1537067GZPCLNT100 | BAG |  | COMPOUND;NT COMPOUND,EART,YURIKA,2405324 | COMPOUND;NT COMPOUND,EART,YURIKA,2405324 | COMPOUND;ADDITIONAL FEATURES:NT COMPOUND,EART,YURIKA,2405324 |  |  |  |  | 1068560 @@ YURIKA PTY LTD | 2405324 | 1070799 @@ YURIKA PTY LTD | 1537067 | [8 empty] | YURIKA PTY LTD | 2405324 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations | NT,EART |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1021967 | 1021967 | 1454328 | AU_QM_001230432 |  | ERSA | M | 5955 | 1454328GZPCLNT100 | EA | 3000003 | COMPOUND;CAT,38364_400 | COMPOUND;CAT,38364_400 | COMPOUND;MNFR:CATERPILLAR,PTNO:38364_400 |  | SEALING COMPOUND: SEAL ASSY; | CATERPILLAR | 38364_400 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 38364_400 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 38364_400 | [8 empty] | CATERPILLAR | 38364_400 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | 38364_400 | HASTINGS DEERING(AUSTRALIA) LTD | [13 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201705 Sealing compound | ASSEMBLY |  | COMPOUND | SEALING | TYPE |  | CONTAINER |  | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1189709 | 1189709 |  |  |  | ERSA | M | 1600 | 1575583GZPCLNT100 | EA | 3000422 | COMPOUND;CNW,ELE101685,HTSK,DOW CORN 340 | COMPUESTO;CNW,ELE101685 | COMPOUND;MNFR:CNW,PTNO:ELE101685,ADDITIONAL FEATURES EN:HEAT SINK,DOW CORN 340,100G,WHITE | COMPUESTO;MNFR:CNW,PTNO:ELE101685 |  | CNW | ELE101685 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | ELE101685 | [10 empty] | CNW | ELE101685 | DOW CORN | 340 | [16 empty] | https://www.dow.com/en-us/pdp.dowsil-340-heat-sink-compound.01015443z.html#tech-content | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE | HEAT SINK | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE | 100 G | FORM |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1081762 | 1081762 | 1452143 | AU_QM_001169739 |  | ERSA | M | 5955 | 1452143GZPCLNT100 | EA | 3000027 | COMPOUND;MET,07-A12-081-001 | COMPOUND;MET,07-A12-081-001 | COMPOUND;MNFR:METSO,PTNO:07-A12-081-001 |  | SEALING COMPOUND: TWO PART EPOXY;KIT INC:10L COMPOUND & 1L | METSO | 07-A12-081-001 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 07-A12-081-001 | [10 empty] | METSO | 07-A12-081-001 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201705 Sealing compound | TWO PART EPOXY,KIT INCLUDES:10 L COMPOUND AND 1 L |  | COMPOUND | SEALING | TYPE |  | CONTAINER | 10 L | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1016897 | 1016897 | 1269035 | AU_QM_001257476 |  | ERSA | M | 5810 | 1269035GZPCLNT100 | EA | 3000027 | COMPOUND;MET,1095059960,LCKG AGT | COMPUESTO;MET,1095059960,AGENTE DE BLOQ | COMPOUND;MNFR:METSO,PTNO:1095059960,ADDITIONAL FEATURES EN:LOCKING AGENT | COMPUESTO;MNFR:METSO,PTNO:1095059960,CARACTERISTICAS ADICIONALES ES:AGENTE DE BLOQUEO | ADHESIVE: LOCKING COMPOUND; | METSO | 1095059960 | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | 1095059960 | [12 empty] | METSO | 1095059960 | [16 empty] | https://www.haladjian-minerals.com/mining-spare-parts/spare-parts-catalog/METSO/Cone-crusher-HP5/Eccentric-assembly-ME14/Locking-compound-1095059960-HMS/ | [9 empty] | CLEANSED | 31201705 Sealing compound |  |  | COMPOUND | SEALING | TYPE | LOCKING | CONTAINER |  | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1072933 | 1072933 |  |  |  | ERSA | M | 4090 | 1574163GZPCLNT100 | EA | 3000027 | COMPOUND;MET,60012022,RETNG | COMPUESTO;MET,60012022 | COMPOUND;MNFR:METSO,PTNO:60012022,ADDITIONAL FEATURES EN:RETAINING | COMPUESTO;MNFR:METSO,PTNO:60012022 |  | METSO | 60012022 | 1068729 @@ BRENTWOOD RECYCLING SYSTEMS | 60012022 | [10 empty] | METSO | 60012022 |  |  | BRENTWOOD RECYCLING SYSTEMS | 60012022 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE | RETAINING | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1073141 | 1073141 |  |  | X | ERSA | M | 5000 | 1612934GZPCLNT100 | DR | 3000010 | COMPOUND;SAN,GDS33 | COMPUESTO;SAN,GDS33 | COMPOUND;MNFR:SANDVIK,PTNO:GDS33 | COMPUESTO;MNFR:SANDVIK,PTNO:GDS33 |  | SANDVIK | [13 empty] | SANDVIK | GDS33 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1184329 | 1184329 |  |  |  | ERSA | M | 5810 | 1559551GZPCLNT100 | EA | 3000011 | COMPOUND;TER,31.PEGBACK,BCKNG,CONE CRUSH | COMPUESTO;TER,31.PEGBACK | COMPOUND;MNFR:TEREX,PTNO:31.PEGBACK,ADDITIONAL FEATURES EN:BACKING,CONE CRUSHER | COMPUESTO;MNFR:TEREX,PTNO:31.PEGBACK |  | TEREX | 31.PEGBACK | 1068354 @@ FINLAY SCREENING & CRUSHING | 31.PEGBACK | [10 empty] | TEREX | 31.PEGBACK |  |  | FINLAY SCREENING & CRUSHING | 31.PEGBACK | [14 empty] | URL NOT FOUND |  |  | CONE CRUSHER | [6 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE | BACKING | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1017449 | 1017449 | 1253711 | AU_QM_000345021 |  | ERSA | M | 3000 | 1253711GZPCLNT100 | EA | 3000035 | COMPOUND;WAR,D3110A05,COATNG,BOMBA | COMPUESTO;WAR,D3110A05,REVESTI,BOMBA | COMPOUND;MNFR:WARMAN,PTNO:D3110A05,ADDITIONAL FEATURES EN:COATING,BOMBA VOLUTA BOMBA WARMAN 4/3 DD-AH | COMPUESTO;MNFR:WARMAN,PTNO:D3110A05,CARACTERISTICAS ADICIONALES ES:REVESTIMIENTO,BOMBA VOLUTA BOMBA WARMAN 4/3 DD-AH | LINER,WEAR,METALLIC:4/3 VOLUTE LINER;A05 METAL; | WARMAN | D3110A05 | 1068226 @@ BRADKEN RESOURCES PTY LIMITED | D3110A05 | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | D3110A05 | [8 empty] | BRADKEN RESOURCES PTY LIMITED | D3110A05 |  |  | WEIR MINERALS AUSTRALIA LTD | D3110A05 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1158172 | 1158172 | 1438496 | AU_QM_000970707 |  | ERSA | M | 5380 | 1438496GZPCLNT100 | EA |  | COMPOUND;HEAT TRANSFER,TUBE 142 G,CNW | COMPOUND;HEAT TRANSFER,TUBE 142 G,CNW | COMPOUND;TYPE:HEAT TRANSFER,CONTAINER SIZE:TUBE 142 G,MNFR:01)CNW,PTNO:01)850-MKT340HS-0142 |  | HEAT TRANSFER COMPOUND: NO.340 HEAT SINK COMPOUND;142G TUBE; |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1438496 | 1068418 @@ CONSOLIDATED BEARING CO (QLD) | 142GM340 | [8 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1438496 |  |  | CONSOLIDATED BEARING CO (QLD) | 142GM340 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 15121500 Lubricating preparations |  |  | COMPOUND | NO MODIFIER | TYPE | HEAT TRANSFER | GRADE |  | CONTAINER TYPE | TUBE | CONTAINER SIZE | 142 G | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1188363 | 1188363 |  |  |  | ERSA | M | 1540 | 1585970GZPCLNT100 | EA |  | COMPOUND;THREADLOCKING,250 ML,RED | COMPUESTO;250 ML,ROJO | COMPOUND;TYPE:THREADLOCKING,CONTAINER SIZE:250 ML,COLOUR:RED,ADDITIONAL FEATURES EN:ULTRALOC,3271,MEDIUM VISCOSITY,ANAEROBIC HIGH STRENGTH PERMANENT,FASTENERS OVER 25MM, FIXTURE TIME: 10-MIN / 24 HRS,TEMP RANGE:-50C TO + 150 DEG C | COMPUESTO;TAMAÃ‘O CONTENEDOR:250 ML,TONO:ROJO |  |  |  | 1068254 @@ MOUNT ISA MINING SUPPLIES P/L | 327125 | [10 empty] | MOUNT ISA MINING SUPPLIES P/L |  | MOLYTEC | 327125 | [16 empty] | https://www.molytec.com.au/ultraloc | [9 empty] | ENRICHED | 31201705 Sealing compound | BRAND:ULTRALOC,VISCOSITY:MEDIUM,GRADE:ANAEROBIC HIGH STRENGTH PERMANENT,FASTENERS OVER 25 MM |  | COMPOUND | SEALING | TYPE | THREAD LOCKING | CONTAINER | 250 ML | COLOUR | RED | SETTING TIME | 10 MIN/24 HR | TEMPERATURE RATING | -50 TO 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1212847 | 1212847 |  |  |  | ERSA | M | 5915 | 170394MRM | EA |  | CONDENSER,REFRIGERATION:A/C; NPR400; FLA | CONDENSER,REFRIGERATION:A/C; NPR400; FLA | CONDENSER,REFRIGERATION:A/C; NPR400; FLAT TOP TRUCK: 5200cc; ISUZU |  |  |  |  | 1069100 @@ BRISBANE ISUZU | PN1212847 | [10 empty] | BRISBANE ISUZU | PN1212847 | [18 empty] | URL NOT FOUND |  |  | FLAT TOP TRUCK, 5200CC |  | NPR400 |  |  |  |  | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | REFRIGERATION | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1189874 | 1189874 |  |  |  | ERSA | M | 4015 | 1575387GZPCLNT100 | EA |  | CONDENSER;4KW,24VDC,TWIN FAN | CONDENSADOR; | CONDENSER;ADDITIONAL FEATURES EN:4KW,24VDC,TWIN FAN | CONDENSADOR; |  |  |  | 1068585 @@ Jacon Equipment Pty Ltd | JSDP-TCC40004 | [10 empty] | Jacon Equipment Pty Ltd | JSDP-TCC40004 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | TWIN FAN |  | CONDENSER | NO MODIFIER | TYPE |  | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY | 24 VDC,4 KW | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1183349 | 1183349 |  |  |  | ERSA | M | 5915 | 1563531GZPCLNT100 | EA |  | CONDENSER;A/C,LANDCRUISER,HZJ, 4.2D | CONDENSADOR; | CONDENSER;ADDITIONAL FEATURES EN:A/C,LANDCRUISER,HZJ, 4.2D | CONDENSADOR; |  |  |  | 1071533 @@ HIGHGATE INDUSTRIES WHOLESALE | 1563531 | [10 empty] | HIGHGATE INDUSTRIES WHOLESALE | 1563531 | [18 empty] | URL NOT FOUND |  |  | LANDCRUISER,HZJ, 4.2D | [6 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | AIR CONDITINER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1183910 | 1183910 |  |  |  | ERSA | M | 5955 | 1561391GZPCLNT100 | EA |  | CONDENSER;AIR COND | CONDENSADOR; | CONDENSER;ADDITIONAL FEATURES EN:AIR COND | CONDENSADOR; |  |  |  | 1068417 @@ MAK DIESEL & EARTHMOVING | 87314566 | [10 empty] | MAK DIESEL & EARTHMOVING |  | CNH | 87314566 | [16 empty] | https://www.aga-parts.com/case-new-holland/part/87314566_condenser/ | [9 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories |  |  | CONDENSER | NO MODIFIER | TYPE | AIR CONDITINER | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1043067 | 1043067 | 1420809 | AU_QM_000266990 |  | ERSA | M | 5915 | 1420809GZPCLNT100 | EA |  | CORD,COMM;MBC BASE,LG 5 M,RG58 | CORD,COMM;MBC BASE,LG 5 M,RG58 | CORD,COMMUNICATION;TYPE:MBC BASE,LENGTH:5 M,ADDITIONAL FEATURES EN:RG58,MNFR:01)PARTS,PTNO:01)MBC-00-53 |  | CORD,COMM;MBC BASE,LG 5 M,RG58CORD,COMM;MBC BASE,5M,RG58,MBC-00-53 |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 1420809 | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | 1420809 |  | MBC-00-53 | [16 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121666 Communication cable assembly |  |  | CORD | COMMUNICATION | TYPE |  | CONNECTION TYPE |  | LENGTH | 5 M | NUMBER OF CONDUCTORS |  | JACKET COLOUR |  | ELECTRICAL RATING |  | CONDUCTOR MATERIAL |  | INSULATION CLASS |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1107032 | 1107032 | 1413289 | AU_QM_000258782 |  | ERSA | M | 5915 | 1413289GZPCLNT100 | EA |  | CORD,EXTSN;EXTRA HEAVY DUTY LEAD,LG 30 M | CORD,EXTSN;EXTRA HEAVY DUTY LEAD,LG 30 M | CORD,EXTENSION;TYPE:EXTRA HEAVY DUTY LEAD,ELECTRICAL RATING:230/240VAC 10 A 50 HZ,LENGTH:30 M,COLOUR:RED,MNFR:01)CNW,PTNO:01) KIMELXHD30R |  | CORD,EXTSN;EXTRA HEAVY DUTY LEAD,LG 30 MCORD,EXTSN;EXTRA HEAVY DUTY LEAD,30M | [14 empty] | CNW | KIMELXHD30R | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121536 Extension cord |  |  | CORD | EXTENSION | TYPE | EXTRA HEAVY DUTY LEAD | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | ELECTRICAL RATING | 230/240 VAC,10 A,50 HZ | LENGTH | 30 M | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1054375 | 1054375 |  |  |  | ERSA | M | 1640 | 1616191GZPCLNT100 | EA |  | CORD,EXTSN;SJT,3,16 AWG,13 A,LG 3 M | CABLE PROLONG;,3,LG 3 M,NEGRO | CORD,EXTENSION;TYPE:SJT,NUMBER OF CONDUCTORS:3,CONDUCTOR SIZE:16 AWG,ELECTRICAL RATING:13 A,LENGTH:3 M,COLOUR:BLACK,ADDITIONAL FEATURES EN:MFR:TRIPP LITE,PN:P024-010-13A,CONNECTOR 1:NEMA 5-15P,CONNECTOR 2:NEMA 5-15R | CABLE PROLONGACION;NUMERO CONDUCTORES:3,LONGITUD:3 M,TONO:NEGRO |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | MOU545-P024-010-13A | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER |  | EATON | P024-010-13A | MOUSER | [15 empty] | URL NOT FOUND | [9 empty] | ENRICHED | 26121536 Extension cord |  |  | CORD | EXTENSION | TYPE | SJT POWER | CONNECTION TYPE | NEMA 5-15P X NEMA 5-15R | NUMBER OF CONDUCTORS | 3 | CONDUCTOR SIZE | 16 AWG | CONDUCTOR MATERIAL |  | ELECTRICAL RATING | 125 VAC,13 A | LENGTH | 10 FT | NUMBER OF OUTLETS |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | CUL,UL,ROHS | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1134215 | 1134215 | 1417383 | AU_QM_000263232 |  | ERSA | M | 5915 | 1417383GZPCLNT100 | EA |  | CORD,EXTSN;SW SURGE POWER BOARD,LG 1.8M | CORD,EXTSN;SW SURGE POWER BOARD,LG 1.8M | CORD,EXTSN;MNFR: ,PTNO:SW SURGE POWER BOARD,LG 1.8M |  | CORD,EXTSN;SW SURGE POWER BOARD,LG 1.8MCORD,EXTSN;SW SURGE POWER BOARD,LG 1.8M |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HPMD104PAWE | [10 empty] | CNW |  | HPM | D104PAWE | [16 empty] | https://awm.mmem.com.au/hpmd104pawe | https://hpm.com.au/product/4-outlet-switched-powerboard-with-usb-p/ | [8 empty] | ENRICHED | 26121536 Extension cord | C/W POWER BOARD |  | CORD | EXTENSION | TYPE | SWITCH SURGE PROTECTION | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | ELECTRICAL RATING | 230/240 VAC,10 A,2400 W,50 HZ | LENGTH | 1.8 M | NUMBER OF OUTLETS | 4 | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1058361 | 1058361 |  |  |  | ERSA | M | 1600 | 1588541GZPCLNT100 | EA |  | CORD,PWR;MALE INSERT,LEAD AND PLUG - 2M | CORDON ELEC; | CORD,POWER;CONNECTION TYPE:MALE INSERT,ADDITIONAL FEATURES EN:LEAD AND PLUG - 2M | CORDON ELECTRICO; |  |  |  | 1068634 @@ CTS CRANE TECHNICAL SERVICES P/L | HAN 24 | [10 empty] | CTS CRANE TECHNICAL SERVICES P/L | [19 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121636 Power cord | C/W LEAD AND PLUG HAN 24 |  | CORD | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | PLUG TYPE |  | CONNECTION TYPE | MALE INSERT | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | LENGTH | 2 M | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1072519 | 1072519 |  |  |  | ERSA | M | 1600 | 1574505GZPCLNT100 | EA | 3000422 | CORD,PWR;CNW,APCAP9870,C13 TO C14 2.5 M | CORDON ELEC;CNW,APCAP9870 | CORD,POWER;MNFR:CNW,PTNO:APCAP9870,ADDITIONAL FEATURES EN:C13 TO C14 2.5 M | CORDON ELECTRICO;MNFR:CNW,PTNO:APCAP9870 |  | CNW | APCAP9870 | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | APCAP9870 | [10 empty] | CNW |  | APC | AP9870 | [16 empty] | https://www.apc.com/in/en/product/AP9870/power-cord-c13-to-c14-2-5m/ | [9 empty] | ENRICHED | 26121636 Power cord |  |  | CORD | POWER | TYPE |  | VOLTAGE RATING | 90 TO 250 VAC | CURRENT RATING | 10 A | PLUG TYPE |  | CONNECTION TYPE | IEC 60320 C13 MALE X IEC 60320 C14 FEMALE | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | LENGTH | 2.5 M | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR | BLACK | TEMPERATURE RATING | 0 TO 45 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,VDE,IEC 60320 | [44 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1179820 | 1179820 |  |  |  | ERSA | M | 1600 | 1513217GZPCLNT100 | EA |  | CORD; | CORDON; | CORD;ADDITIONAL FEATURES: |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | NHP440EA17028 | [12 empty] | NHP | 440EA17028 | [16 empty] | https://www.nhp.com.au/product/440ea17028 | [9 empty] | CLEANSED | 31152100 Cords |  |  | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1028731 | 1028731 | 1437651 | AU_QM_000958413 |  | ERSA | M | 1500 | 1437651GZPCLNT100 | EA | 3000000 | CORD;ATL,6915205054 | CORD;ATL,6915205054 | CORD;MNFR:ATLAS COPCO,PTNO:6915205054 |  | RUBBER ROUND SECTION: ETB150NS ROUND CORD; | ATLAS COPCO | 6915205054 | 1068124 @@ ATLAS COPCO COMPRESSORS AUST | 6915205054 | [10 empty] | ATLAS COPCO | 6915205054 |  |  |  | ETB150NS | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31152100 Cords |  |  | CORD | NO MODIFIER | TYPE | ROUND SECTION | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL | RUBBER | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1012582 | 1012582 |  |  |  | ERSA | M | 1600 | 1613902GZPCLNT100 | EA | 3000278 | CORD;FLUK,FLUFLK-166X-MTC-AU,MAIN TEST,F | CORDON;FLUK,FLUFLK-166X-MTC-AU | CORD;MNFR:FLUKE,PTNO:FLUFLK-166X-MTC-AU,ADDITIONAL FEATURES EN:MAIN TEST,FOR 1664 FC | CORDON;MNFR:FLUKE,PTNO:FLUFLK-166X-MTC-AU |  | FLUKE | FLUFLK-166X-MTC-AU | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | FLUFLK-166X-MTC-AU | [10 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | FLUFLK-166X-MTC-AU | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31152100 Cords |  |  | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1141510 | 1141510 | 1403107 | AU_QM_000247790 |  | ERSA | M | 5915 | 1403107GZPCLNT100 | EA |  | CORD;PLUG WIRE CONTROL LINCOLN | CORD;PLUG WIRE CONTROL LINCOLN | CORD;TYPE:PLUG WIRE CONTROL LINCOLN,MNFR:01)PARTS,PTNO:01)IWSPXLAK354 |  | CORD;PLUG WIRE CONTROL LINCOLNCORD;PLUG WIRE CONTROL LINCOLN | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 26121636 Power cord |  |  | CORD | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | PLUG TYPE |  | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | LENGTH |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1065241 | 1065241 | 1453467 | AU_QM_001209808 |  | ERSA | M | 5700 | 1453467GZPCLNT100 | EA |  | DRUM;MAIN SIDE CONVEYOR DRIVE; | DRUM;MAIN SIDE CONVEYOR DRIVE; | DRUM ASSY; DRUM;MAIN SIDE CONVEYOR DRIVE; FINLAY 693+ SCREEN; |  | DRUM ASSY;DRUM;MAIN SIDE CONVEYOR DRIVE; |  |  | 1068354 @@ FINLAY SCREENING & CRUSHING | 694.18.03 | [10 empty] | FINLAY SCREENING & CRUSHING | 694.18.03 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1111413 | 1111413 | 1410179 | AU_QM_000255445 |  | ERSA | M | 5915 | 1410179GZPCLNT100 | EA |  | DRUM,BRK;HY-CPC30-QDQ-003 | DRUM,BRK;HY-CPC30-QDQ-003 | DRUM,BRK;MNFR: ,PTNO:HY-CPC30-QDQ-003 |  | DRUM,BRK;HY-CPC30-QDQ-003DRUM,BRK;HY-CPC30-QDQ-003 | [17 empty] | HY-CPC30-QDQ-003 | [16 empty] | https://xn----7sbajenieg7dfqjot0d8d.xn--p1ai/katalog-zapchastej/zapchasti-maximal/baraban-tormoznoj-rt-seriya-fd30-35t-cwe3/ | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1032690 | 1032690 |  |  |  | ERSA | M | 5915 | 1530220GZPCLNT100 | EA | 3000028 | DRUM,BRK;MIT,QMC865170 | DRUM,BRK;MIT,QMC865170 | DRUM,BRK;MNFR:MITSUBISHI,PTNO:QMC865170 |  |  | MITSUBISHI | QMC865170 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMC865170 | [10 empty] | RGM MAINTENANCE PTY LTD | QMC865170 | MITSUBISHI | QMC865170 | [16 empty] | https://www.fitinpart.sg/index.php?route=product/product&product_id=34583099 | [9 empty] | CLEANSED | 25171707 Drum brake |  |  | BRAKE | DRUM | TYPE |  | WHEEL DIAMETER |  | TORQUE RATING |  | WHEEL TYPE |  | BRAKE SURFACE DIAMETER |  | BRAKE SURFACE WIDTH |  | MOUNTING FLANGE DIAMETER |  | WEAR DIAMETER |  | MOUNTING HOLE/SLOT SIZE |  | DEPTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1184708 | 1184708 |  |  |  | ERSA | M | 5935 | 1558735GZPCLNT100 | EA |  | DRUM,HST;266.797.12 COMPL | TAMBOR POLIPA; | DRUM,HOIST;ADDITIONAL FEATURES EN:266.797.12 COMPL | TAMBOR POLIPASTO; |  |  |  | 1068072 @@ EILBECK CRANES | 34351 | [10 empty] | EILBECK CRANES | 34351 | KONECRANE | 266.797.12 | [16 empty] | https://store.konecranes.com/dcg/de/SEILTROMMEL/p?p=%2FNoWrO2iWyK9O4cOd17ZNA%3D%3D_52872098 | [9 empty] | ENRICHED | 24101633 Hoist drums |  |  | DRUM | HOIST | TYPE | CABLE | SIZE |  | LOAD RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1051163 | 1051163 |  |  |  | ERSA | M | 4090 | 1580392GZPCLNT100 | EA |  | DRUM,HST;DRUM CLAMP CRADLE TILT 1T 205L | TAMBOR POLIPA; | DRUM,HOIST;ADDITIONAL FEATURES EN:DRUM CLAMP CRADLE TILT 1T 205L | TAMBOR POLIPASTO; |  |  |  | 1068291 @@ BULLIVANTS PTY LIMITED | WDRC-V-0100-PDG100 | [10 empty] | BULLIVANTS PTY LIMITED | WDRC-V-0100-PDG100 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24101633 Hoist drums |  |  | DRUM | HOIST | TYPE |  | SIZE |  | LOAD RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1059151 | 1059151 |  |  |  | ERSA | M | 4090 | 1608089GZPCLNT100 | EA |  | DRUM;PN:802123475,PRIMUS FS1000 | TAMBOR; | DRUM;ADDITIONAL FEATURES EN:PN:802123475,PROFILED SEALING OF REAR PLATE,PRIMUS FS1000 | TAMBOR; |  |  |  | 1068433 @@ NQ LAUNDRY TECH SERVICES PTY LTD | 802123475 | [10 empty] | NQ LAUNDRY TECH SERVICES PTY LTD | 802123475 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1031803 | 1031803 | 1458224 | AU_QM_001512138 |  | ERSA | M | 5380 | 1458224GZPCLNT100 | EA | 3000000 | DRUM;ATL,5500529500 | DRUM;ATL,5500529500 | DRUM;MNFR:ATLAS COPCO,PTNO:5500529500 |  | DRUM,CLUTCH:TRANSMISSION FORWARD & REVERSE; | ATLAS COPCO | 5500529500 | 1068336 @@ SANDVIK MINING & CONSTRUCTION | 240204 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 5500-5295-00 | [8 empty] | SANDVIK MINING & CONSTRUCTION | 240204 | ATLAS COPCO | 5500529500 | EPIROC AUSTRALIA PTY LTD | [15 empty] | https://www.lesmachineriesst-amant.com/marques-brands/atlas-copco/ | [9 empty] | CLEANSED | 26111912 Mechanical clutch |  |  | CLUTCH | MECHANICAL | TYPE | TRANSMISSION FORWARD & REVERSE | TORQUE RATING |  | SPEED RATING |  | BORE SIZE |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1055350 | 1055350 |  |  |  | ERSA | M | 4090 | 1615781GZPCLNT100 | EA |  | DRUM;DOLLY,400 KG,PHENOLIC,584 MM,JBS | TAMBOR; | DRUM;TYPE:DOLLY,CAPACITY:400 KG,MATERIAL:PHENOLIC,SIZE:584 MM,ADDITIONAL FEATURES EN:JBS,MPN:584MM | TAMBOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2945989 | [12 empty] | JBS | BDL/140 | [12 empty] | J BLACKWOOD & SONS | 02945989 |  |  | https://www.blackwoods.com.au/lubricants-lubrication-equipment/grease-guns-pumps-accessories/jbs-grease-gun-couplers-accessories/dolly-drum-jbs-phen-castors-cap-400kg/p/02945989 | [9 empty] | ENRICHED | 31162701 Casters |  |  | CASTER | NO MODIFIER | TYPE | SWIVEL,DRUM DOLLY | LOAD RATING | 400 KG | OVERALL HEIGHT |  | WHEEL SIZE | DIA 75X32 WD MM | PLATE SIZE | 584 MM | MOUNTING TYPE |  | WHEEL MATERIAL | PHENOLIC | PLATE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1059481 | 1059481 |  |  |  | ERSA | M | 4090 | 1614304GZPCLNT100 | EA |  | DRUM;DOLLY,410 KG,STEEL,3 X 55 CM,HVYDTY | TAMBOR;,ACERO | DRUM;TYPE:DOLLY,CAPACITY:410 KG,MATERIAL:STEEL,SIZE:3 X 55 CM,ADDITIONAL FEATURES EN:HEAVY DUTY,WHEEL TYPE: CASTORS,WHEEL DIAMETER (MM): 75,TYRE/ WHEEL MATERIAL: URETHANE,ZINC PLATED | TAMBOR;MATERIAL:ACERO |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 1690879 | [26 empty] | J BLACKWOOD & SONS | 01690879 |  |  | https://www.blackwoods.com.au/manual-handling-storage/castors-wheels/dollies/dolly-drum-pu-castors-410kg/p/01690879 | [9 empty] | ENRICHED | 31162701 Casters |  |  | CASTER | NO MODIFIER | TYPE | HEAVY DUTY DRUM DOLLY | LOAD RATING | 410 KG | OVERALL HEIGHT |  | WHEEL SIZE | DIA 75 MM | PLATE SIZE | 3 X 55 MM | MOUNTING TYPE |  | WHEEL MATERIAL | URETHANE ZINC PLATED STEEL | PLATE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1059647 | 1059647 |  |  |  | ERSA | M | 3000 | 1584339GZPCLNT100 | EA |  | DRUM;OIL,20 L,GEAR | TAMBOR; | DRUM;TYPE:OIL,CAPACITY:20 L,ADDITIONAL FEATURES EN:GEAR | TAMBOR; |  |  |  | 1068652 @@ J BLACKWOOD & SONS | 2096380 | [10 empty] | J BLACKWOOD & SONS | 2096380 | [14 empty] | J BLACKWOOD & SONS | 02096380 |  |  | https://www.blackwoods.com.au/pumps/pumps-drum/hand-operated-oil-transfer-drum-pumps/pump-premium-gear-oil-alemlube-20ltr/p/02096380 | [9 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE |  | CAPACITY | 20 L | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1147357 | 1147357 |  |  |  | ERSA | M | 1600 | 1527588GZPCLNT100 | EA |  | DRYER,AIR;MEMBRANE,3/8,-20 ,IDG30AM4-03D | DRYER,AIR;MEMBRANE,3/8,-20 ,IDG30AM4-03D | DRYER,AIR;ADDITIONAL FEATURES:MEMBRANE,3/8,-20 ,IDG30AM4-03D |  |  |  |  | 1068330 @@ SMC CORPORATION (AUST) PTY LTD | IDG30AM4-03D | [30 empty] | https://sg.misumi-ec.com/vona2/detail/221300461481/?HissuCode=IDG30AM4-03D | https://ca01.smcworld.com/catalog/New-products-en/mpv/es30-7-idg/data/es30-7-idg.pdf | [8 empty] | CHECK | 23201202 Air dryers |  |  | DRYER | AIR | TYPE | MEMBRANE | FLOW RATING | 300 L/MIN | PRESSURE RATING | 0.3 TO 1 MPA | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE | RC | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1111619 | 1111619 | 1401648 | AU_QM_000246191 |  | ERSA | M | 5915 | 1401648GZPCLNT100 | EA |  | DRYER,AIR;QML226323 | DRYER,AIR;QML226323 | DRYER,AIR;MNFR: ,PTNO:QML226323 |  | DRYER,AIR;QML226323DRYER,AIR;QML226323 | [15 empty] | QML226323 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1187311 | 1187311 |  |  |  | ERSA | M | 5100 | 1616084GZPCLNT100 | EA | 3000468 | DRYER,AIR;THGM,30298,ASSY,WRS MEP300 | SECADOR AIRE;THGM,30298 | DRYER,AIR;MNFR:THERMO GAMMA-METRICS,PTNO:30298,ADDITIONAL FEATURES EN:ASSEMBLY,WRS MEP300 | SECADOR AIRE;MNFR:THERMO GAMMA-METRICS,PTNO:30298 |  | THERMO GAMMA-METRICS | 30298 | 1068217 @@ THERMO GAMMA-METRICS PTY LTD | 30298 | [10 empty] | THERMO GAMMA-METRICS PTY LTD | 30298 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1055801 | 1055801 |  |  |  | ERSA | M | 4090 | 1607967GZPCLNT100 | EA |  | DRYER,AIR;REFRIGERATED,C/W 3 MTR LEAD | SECADOR AIRE; | DRYER,AIR;TYPE:REFRIGERATED,ADDITIONAL FEATURES EN:C/W 3 MTR LEAD | SECADOR AIRE; |  |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | IDFA22E-23-LR-XAT6009 | [10 empty] | SMC CORPORATION (AUSTRALIA) PTY LTD | IDFA22E-23-LR-XAT6009 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201202 Air dryers |  |  | DRYER | AIR | TYPE |  | FLOW RATING |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | CONNECTION TYPE |  | MATERIAL |  | SPEED RATING |  | POWER SUPPLY |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1060457 | 1060457 |  |  |  | ERSA | M | 5955 | 1522816GZPCLNT100 | EA |  | DRYER;BOMAG,05579004 | SECADORA; | DRYER;ADDITIONAL FEATURES EN:BOMAG,05579004 | SECADORA; |  |  |  | 1071029 @@ TUTT BRYANT HIRE PTY LTD | 5579004 | [10 empty] | TUTT BRYANT HIRE PTY LTD | 5579004 | BOMAG | 05579004 | [16 empty] | https://www.ecoclim.net/en/receiver-dryer-filter/oem-receiver-dryer-filter/p221A17/detail.php | https://www.aga-parts.com/bomag/part/bm05579004_dryer/ | [8 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1062401 | 1062401 |  |  |  | ERSA | M | 4015 | 1571268GZPCLNT100 | EA |  | DRYER;HITACHI/CAT,EXCAVATOR | SECADORA; | DRYER;ADDITIONAL FEATURES EN:HITACHI/CAT,EXCAVATOR | SECADORA; |  |  |  | 1068087 @@ ASHDOWN INGRAM | RDX529 | [12 empty] | OEX | RDX529 | [16 empty] | https://www.repco.com.au/parts-service/climate-control/receiver-driers/receiver-drier-pad-pad-diameter-60mm-rdx529/p/A9333552 | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 | Conflict in Description,Processed Based on Websource | 1148505 | 1148505 |  |  |  | ERSA | M | 4015 | 1516582GZPCLNT100 | EA |  | DRYER;A/C,EMERSON H/P CONTRO,MOB3409011 | DRYER;A/C,EMERSON H/P CONTRO,MOB3409011 | DRYER;ADDITIONAL FEATURES:A/C,EMERSON H/P CONTRO,MOB3409011 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB3409011 | [10 empty] | MOBILISE GROUP PTY LTD |  | EMERSON | 3409011 | [16 empty] | https://www.actrol.com.au/product/emerson-high-pressure-control-auto-reset-1-4-male-3409011?query=3409011 | [9 empty] | ENRICHED | 41112411 Pressure controllers | FOR AIR CONDITIONER | RESET:AUTO | CONTROLLER | PRESSURE | TYPE | HIGH PRESSURE | PRESSURE RANGE | 6 TO 31 BAR | ACCURACY |  | OUTPUT SIGNAL |  | POWER SUPPLY |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | 1/4 IN FLARE MALE | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [45 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1185809 | 1185809 |  |  |  | ERSA | M | 5915 | 1555692GZPCLNT100 | EA | 3000024 | DRYER;ISU,is8982824820,ASM,COND | SECADORA;ISU,is8982824820 | DRYER;MNFR:ISUZU,PTNO:is8982824820,ADDITIONAL FEATURES EN:ASM,COND | SECADORA;MNFR:ISUZU,PTNO:is8982824820 |  | ISUZU | is8982824820 | 1068416 @@ S & K PYE PTY LTD T/AS SUPERIOR | IS8982824820 | [12 empty] | ISUZU | 8982824820 | [16 empty] | https://www.isuzuautopartsstore.com/product/8982824820-8-98282482-0-8-98282-482-0-%E2%80%ADdryer-asm-cond%E2%80%AC/ | https://parts.reynoldsisuzu.com/p/Isuzu__/DRYER-ASM/61583874/8-98282-482-0.html | [8 empty] | CLEANSED | 23201200 Industrial drying equipment | ASSEMBLY |  | DRYER | NO MODIFIER | TYPE | CONDENSER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1094881 | 1094881 | 1394492 | AU_QM_000238092 |  | ERSA | M | 5920 | 1394492GZPCLNT100 | EA | 3000006 | DRYER;KOM,42T56HOR38 | DRYER;KOM,42T56HOR38 | DRYER;MNFR:KOMATSU MINING SYSTEMS INC.,PTNO:42T56HOR38 |  | OEM-E-LISTDRYER;KOM,42T56HOR38 | KOMATSU MINING SYSTEMS INC. | 42T56HOR38 | [12 empty] | KOMATSU MINING SYSTEMS INC. | 42T56HOR38 | [18 empty] | https://my.komatsu.com.au/shop/cabrelated_5637145304/5637397037_tank-receiver-dryer--switch_42t-56-h0r38 | https://www.apairinc.com/shopping/productDetails.aspx?i=1107366 | [8 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1033926 | 1033926 |  |  |  | ERSA | M | 5915 | 1530082GZPCLNT100 | EA | 3000028 | DRYER;MIT,QMN179903 | DRYER;MIT,QMN179903 | DRYER;MNFR:MITSUBISHI,PTNO:QMN179903 |  |  | MITSUBISHI | QMN179903 | 1068259 @@ RGM MAINTENANCE PTY LTD | QMN179903 | [10 empty] | MITSUBISHI | QMN179903 |  |  | RGM MAINTENANCE PTY LTD | QMN179903 | [14 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1184938 | 1184938 |  |  |  | ERSA | M | 5955 | 1557770GZPCLNT100 | EA | 3000012 | DRYER;TOY,TQ530140TA | SECADORA;TOY,TQ530140TA | DRYER;MNFR:TOYOTA,PTNO:TQ530140TA | SECADORA;MNFR:TOYOTA,PTNO:TQ530140TA |  | TOYOTA | TQ530140TA | [12 empty] | TOYOTA | TQ530140TA | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1141353 | 1141353 | 1406816 | AU_QM_000251818 |  | ERSA | M | 5915 | 1406816GZPCLNT100 | EA |  | DRYER;FLTR, LIQUID LINE,AS 2971 | DRYER;FLTR, LIQUID LINE,AS 2971 | DRYER;TYPE:FILTER, LIQUID LINE,SIZE:DIA 46 X LG 85 MM,CONNECTION TYPE:SOLDER, ODF, DIA 3/8 IN,CERTIFICATION/STANDARD:AS 2971,MNFR: 0 |  | DRYER;FLTR, LIQUID LINE,AS 2971DRYER;FILTER, LIQUID LINE,AS 2971 | [34 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 23201200 Industrial drying equipment |  |  | DRYER | NO MODIFIER | TYPE |  | SIZE | DIA 46XLG 85 MM | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1180485 | 1180485 |  |  |  | ERSA | M | 5930 | 1524932GZPCLNT100 | EA |  | DRYER;TUMBLE,GAS,77KG,PRIMUS,DX77 REV | SECADORA; | DRYER;TYPE:TUMBLE,GAS,77KG,ADDITIONAL FEATURES EN:PRIMUS,DX77 REV | SECADORA; |  |  |  | 1068433 @@ NQ LAUNDRY TECH SERVICES PTY LTD | DX77 REV | [10 empty] | NQ LAUNDRY TECH SERVICES PTY LTD |  | PRIMUS | DX77 | [16 empty] | https://primuslaundry.com/en/tumbler-dryers/dx-line-radial-axial-airflowxq-control/dx77-industrial-axial-airflow-opl | https://hoffico.com/product/tumble-dryers-primus-dx77.html | [8 empty] | ENRICHED | 23201200 Industrial drying equipment |  |  | DRYER | LAUNDRY | TYPE | TUMBLE GAS | CAPACITY | 77 KG | POWER RATING | 116 KW | VOLTAGE RATING | 380 TO 440 VAC | CURRENT RATING |  | HEAT SELECTION |  | DRY TIME |  | DRUM TYPE | REVERSING | MATERIAL |  | COLOR |  | SIZE | 1345 WDX2510 HTX1870 DP MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1137230 | 1137230 | 1365065 | AU_QM_000167301 |  | ERSA | M | 5380 | 1365065GZPCLNT100 | EA |  | CLEANER TYRE SHINE MOTORTECH 400G EX005 | CLEANER TYRE SHINE MOTORTECH 400G EX005 | SILICONE COMPOUND: CLEANER TYRE SHINE MOTORTECH 400G EX005 |  | SILICONE COMPOUND:CLEANER TYRE SHINE MOTORTECH 400G EX005 |  |  | 1068144 @@ AUTOBARN MOUNT ISA | CC01646 | [10 empty] | AUTOBARN MOUNT ISA | CC01646 | [18 empty] | URL NOT FOUND | [9 empty] | CLEANSED | 31201705 Sealing compound |  |  | COMPOUND | SEALING | TYPE |  | CONTAINER |  | COLOUR |  | SETTING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1152875 | 1152875 | 1474492 | AU_QM_000163637 |  | ERSA | M | 4000 | 1474492GZPCLNT100 | EA |  | DRUM,MIXING;FENNER,FNQ-Q1143-02 | DRUM,MIXING;FENNER,FNQ-Q1143-02 |  |  | DRUM,MIXING;DRUM; AUX MILL CONVEYOR; TAIL PULLEY; AS |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145594 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145594 | [18 empty] | URL NOT FOUND |  |  | AUX MILL CONVEYOR, TAIL PULLEY; AS | [6 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE | MIXING | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SCV | OK | 2023-11-10 | 2023-11-15 |  | 1152876 | 1152876 | 1474491 | AU_QM_000163636 |  | ERSA | M | 4000 | 1474491GZPCLNT100 | EA |  | DRUM,MIXING;FENNER,FNQ-Q1143-03 | DRUM,MIXING;FENNER,FNQ-Q1143-03 |  |  | DRUM,MIXING;DRUM; AUX MILL CONVEYOR; BEND PULLEY; AS |  |  | 1068237 @@ FENNER DUNLOP AUSTRALIA PTY LTD | 145593 | [10 empty] | FENNER DUNLOP AUSTRALIA PTY LTD | 145593 | [18 empty] | URL NOT FOUND |  |  | AUX MILL CONVEYOR, BEND PULLEY; AS | [6 empty] | CLEANSED | 24112100 Casks and barrels and drums |  |  | DRUM | NO MODIFIER | TYPE | MIXING | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [61 empty] | Production Completed