## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1216204 | 1216204 |  |  |  | ERSA | M | 5920 | 336326RMRM | EA |  | ACCUMULATOR,HYDRAULIC:10L SIZE;G2 THD;ST | ACCUMULATOR,HYDRAULIC:10L SIZE;G2 THD;ST | ACCUMULATOR,HYDRAULIC:10L SIZE;G2 THD;STD BUILD;STEEL SHELL;BUNA N BLADDER;MAX 345BAR;* REPAIRABLE ITEM * | [36 empty] | Url Not Found | [9 empty] | Cleansed | 27121802 Hydraulic accumulators | REPAIRABLE ITEM |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY | 10 L | PRE CHARGE PRESSURE |  | PRESSURE RATING | 345 BAR | END CONNECTION | G2 THREADED | SHELL MATERIAL | STEEL | BLADDER MATERIAL | BUNA N | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input,Series Match | 1210318 | 1210318 |  |  |  | ERSA | M | 5920 | 134612MRM | EA |  | ACCUMULATOR,HYDRAULIC:ACC. CHARGING DEVI | ACCUMULATOR,HYDRAULIC:ACC. CHARGING DEVI | ACCUMULATOR,HYDRAULIC:ACC. CHARGING DEVICE FPU-1-250-F-2.5-;HYDRAULIC UNIT;G2-A3-K;LAROX PF144; | [18 empty] | HYDAC | FPU-1-250 F 2.5 | [16 empty] | https://hydronexgen.com/accumulators/hydac-standard-accumulator-charging-kit-fpu-1-250-f-2-5-g2-a3-h/ |  |  | HYDRAULIC ACCUMULATOR | [6 empty] | Enriched | 26131800 Power generation control equipment |  | PRESSURE RATING:350 BAR | KIT | NO MODIFIER | TYPE | CHARGING AND TESTING | CONTENTS | LAROX PF144 HYDRAULIC UNIT P/N G2-A3-K | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1208638 | 1208638 |  |  |  | ERSA | M | 5920 | 133380MRM | EA |  | ACCUMULATOR,HYDRAULIC:ACCUMULATOR REBUIL | ACCUMULATOR,HYDRAULIC:ACCUMULATOR REBUIL | ACCUMULATOR,HYDRAULIC:ACCUMULATOR REBUILD KIT;POWER PACK;THUNDERBOLT S3 RANGE; | [36 empty] | Url Not Found |  |  | HYDRAULIC ACCUMULATOR | [6 empty] | Cleansed | 26131800 Power generation control equipment | POWER PACK,THUNDER BOLT S3 RANGE |  | KIT | NO MODIFIER | TYPE | REBUILD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1208635 | 1208635 |  |  |  | ERSA | M | 5920 | 133377MRM | EA |  | ACCUMULATOR,HYDRAULIC:ACCUMULATOR;POWER | ACCUMULATOR,HYDRAULIC:ACCUMULATOR;POWER | ACCUMULATOR,HYDRAULIC:ACCUMULATOR;POWER PACK;THUNDERBOLT S3 RANGE; | [36 empty] | Url Not Found | [9 empty] | Cleansed | 27121802 Hydraulic accumulators | POWER PACK,THUNDER BOLT S3 RANGE |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1207744 | 1207744 |  |  |  | ERSA | M | 5955 | 685032MRM | EA |  | ACCUMULATOR,HYDRAULIC:DATASOLO PRESSURE | ACCUMULATOR,HYDRAULIC:DATASOLO PRESSURE | ACCUMULATOR,HYDRAULIC:DATASOLO PRESSURE ACCUMULATOR;DATASOLO 1020RAC DRILL RIG | [36 empty] | Url Not Found |  |  | DRILL RIG | DATASOLO | 1020RAC |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | PRESSURE | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1217517 | 1217517 |  |  |  | ERSA | M | 5955 | 847616MRM | EA |  | ACCUMULATOR,HYDRAULIC:DRIFTER HIGH PRESS | ACCUMULATOR,HYDRAULIC:DRIFTER HIGH PRESS | ACCUMULATOR,HYDRAULIC:DRIFTER HIGH PRESSURE ACCUMULATOR;REPAIRABLE ITEMTAMROCK AXERA D07 JUMBO | [36 empty] | Url Not Found |  |  | DRIFTER |  | TAMROCK AXERA D07 JUMBO |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | HIGH PRESSURE,REPAIRABLE | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1205137 | 1205137 |  |  |  | ERSA | M | 1600 | 1007533MRM | EA |  | ACCUMULATOR,HYDRAULIC:HL1000 HP ACCUMULA | ACCUMULATOR,HYDRAULIC:HL1000 HP ACCUMULA | ACCUMULATOR,HYDRAULIC:HL1000 HP ACCUMULATOR;TAMROCK DATASOLO 1020 DRILL RIG | [17 empty] | HL1000 HP | [18 empty] | Url Not Found |  |  | DRILL RIG | DATASOLO | TAMROCK 1020 |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1217925 | 1217925 |  |  |  | ERSA | M | 5920 | 937821MRM | EA |  | ACCUMULATOR,HYDRAULIC:HL1000 LP ACCUMULA | ACCUMULATOR,HYDRAULIC:HL1000 LP ACCUMULA | ACCUMULATOR,HYDRAULIC:HL1000 LP ACCUMULATOR; [ REP'D ]"REPAIRED ITEM"TAMROCK DATASOLO 1020 DRILL RIG | [17 empty] | HL1000 LP | [18 empty] | Url Not Found |  |  | DRILL RIG | DATASOLO | TAMROCK 1020 |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | REPAIRED | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1212655 | 1212655 |  |  |  | ERSA | M | 1600 | 1260942MRM | EA |  | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULAT | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULAT | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULATOR STABILIZER;HL1560;DATASOLO DL421-15C | [17 empty] | HL1560 | [18 empty] | Url Not Found |  |  | HYDRAULIC ACCUMULATOR | DATASOLO | DL421-15C |  |  |  |  | Cleansed | 24112111 Stabilizer |  |  | STABILIZER | NO MODIFIER | TYPE | PRESSURE | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | NUMBER OF OUTLETS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1216666 | 1216666 |  |  |  | ERSA | M | 5955 | 7128040MRM | EA |  | ACCUMULATOR,HYDRAULIC:TC200 PRESSURE;0.7 | ACCUMULATOR,HYDRAULIC:TC200 PRESSURE;0.7 | ACCUMULATOR,HYDRAULIC:TC200 PRESSURE;0.7L CAPACITY;TC200 CARRIER;CABOLT H520;H205D JUMBO;ROBOLT H320-30C ROOF BOLTER | [36 empty] | Url Not Found |  |  | ROOF BOLTER |  | H205D JUMBO,ROBOLT H320-30C,CABOLT H520,TC200 CARRIER |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators | CABOLT H520 |  | ACCUMULATOR | HYDRAULIC | TYPE | PRESSURE | CAPACITY | 0.7 L | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1211849 | 1211849 |  |  |  | ERSA | M | 5955 | 775360MRM | EA |  | ACCUMULATOR,HYDRAULIC:TORO T450D BRAKE H | ACCUMULATOR,HYDRAULIC:TORO T450D BRAKE H | ACCUMULATOR,HYDRAULIC:TORO T450D BRAKE HYD ACCUMULATOR;T450D BRAKE COMPONENTS;TAMROCK TORO T450D LOADER | [36 empty] | Url Not Found |  |  | LOADER |  | TAMROCK TORO T450D |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators | BRAKE COMPONENTS |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1111846 | 1111846 | 1422748 | AU_QM_000269109 |  | ERSA | M | 5915 | 1422748GZPCLNT100 | EA |  | ACCUMULATOR;490-9942-007 | ACCUMULATOR;490-9942-007 | ACCUMULATOR;MNFR: ,PTNO:490-9942-007 |  | ACCUMULATOR;490-9942-007ACCUMULATOR;490-9942-007 | [15 empty] | 490-9942-007 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1183725 | 1183725 |  |  |  | ERSA | M | 5910 | 1561806GZPCLNT100 | EA |  | ACCUMULATOR;50L,BLADR,400BAR,3262607 | ACUMULADOR; | ACCUMULATOR;ADDITIONAL FEATURES EN:50L,BLADDER,400BAR,3262607 | ACUMULADOR; | [17 empty] | HYDAC | SB400-50A1/212F-400A |  | 3262607 | [14 empty] | https://www.windusthydraulics.co.nz/Portals/0/PDFs/WHS-Web-Catalogue-Accumulators.pdf | https://www.hydac.com.au/bladder-accumulators-standard.html | [8 empty] | Enriched | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE | 400 BAR | CAPACITY | 50 L | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1110531 | 1110531 | 1411763 | AU_QM_000257156 |  | ERSA | M | 5915 | 1411763GZPCLNT100 | EA |  | ACCUMULATOR;BFG3102 | ACCUMULATOR;BFG3102 | ACCUMULATOR;MNFR: ,PTNO:BFG3102 |  | ACCUMULATOR;BFG3102ACCUMULATOR;BFG3102 | [16 empty] | EBAC | BFG 3102 | [16 empty] | http://www.ricambiebac.it/pdf/Flli%20Dieci.pdf | [9 empty] | Enriched | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE | BRAKE BUSTER | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1111248 | 1111248 | 1411918 | AU_QM_000257326 |  | ERSA | M | 5915 | 1411918GZPCLNT100 | EA |  | ACCUMULATOR;BFG3105 | ACCUMULATOR;BFG3105 | ACCUMULATOR;MNFR: ,PTNO:BFG3105 |  | ACCUMULATOR;BFG3105ACCUMULATOR;BFG3105 | [15 empty] | BFG3105 | [18 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1112538 | 1112538 | 1422462 | AU_QM_000268791 |  | ERSA | M | 5915 | 1422462GZPCLNT100 | EA |  | ACCUMULATOR;N210-120D _ KIT # A370538 | ACCUMULATOR;N210-120D _ KIT # A370538 | ACCUMULATOR;MNFR: ,PTNO:N210-120D _ KIT # A370538 |  | ACCUMULATOR;N210-120D _ KIT # A370538ACCUMULATOR;N210-120D & KIT # A370538 | [16 empty] | NIPPON | N210-120D | [16 empty] | https://www.unitecd.com/e-catalog/request-information/?lingua=GB&x_artnr=220886 | [9 empty] | Enriched | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1216088 | 1216088 |  |  |  | ERSA | M | 5820 | 190318MRM | EA |  | ACCUMULATORSIBRE;0.32;MANIFOLD V2 HPU | ACCUMULATORSIBRE;0.32;MANIFOLD V2 HPU | ACCUMULATORSIBRE;0.32;MANIFOLD V2 HPU | [16 empty] | SIBRE | [19 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment | MANIFOLD V2 HPU,0.32 |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1063233 | 1063233 | 1441560 | AU_QM_000987416 |  | ERSA | M | 3000 | 1441560GZPCLNT100 | EA |  | AJAX PUMP;MOTHER PLATE PLATING SHOP | AJAX PUMP;MOTHER PLATE PLATING SHOP | PUMP,CENTRIFUGAL: AJAX PUMP;MOTHER PLATE PLATING SHOP CIRCULATION PUMP; |  | PUMP,CENTRIFUGAL: AJAX PUMP;MOTHER PLATE PLATING SHOP | [14 empty] | AJAX PUMP | [29 empty] | Cleansed | 40151503 Centrifugal pumps | MOTHER PLATE PLATING SHOP |  | PUMP | CENTRIFUGAL | TYPE | CIRCULATION | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [35 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1063234 | 1063234 | 1441559 | AU_QM_000987415 |  | ERSA | M | 3000 | 1441559GZPCLNT100 | EA |  | ALLIS CHALMERS PUMP;NO.2 ELECTROLYTE | ALLIS CHALMERS PUMP;NO.2 ELECTROLYTE | PUMP,CENTRIFUGAL: ALLIS CHALMERS PUMP;NO.2 ELECTROLYTE SYSTEM CIRCULATION PUMP; |  | PUMP,CENTRIFUGAL: ALLIS CHALMERS PUMP;NO.2 ELECTROLYTE | [37 empty] | ELECTROLYTE SYSTEM | ALLIS CHALMERS | NO.2 |  |  |  |  | Cleansed | 40151503 Centrifugal pumps |  |  | PUMP | CENTRIFUGAL | TYPE | CIRCULATION | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [35 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1067542 | 1067542 | 1450010 | AU_QM_001125244 |  | ERSA | M | 3000 | 1450010GZPCLNT100 | EA |  | CI DOUBLE GEAR PUMP;1.25IN 14T SPLINED | CI DOUBLE GEAR PUMP;1.25IN 14T SPLINED | PUMP,ROTARY: CI DOUBLE GEAR PUMP;1.25IN 14T SPLINED SHAFT;2.5IN SUCT. AND 2 X 1.5IN DEL. SAE61 PORTS;188CC/REV AND 103.3CC/REV. SAG |  | PUMP,ROTARY:CI DOUBLE GEAR PUMP;1.25IN 14T SPLINED | [34 empty] | Url Not Found | [9 empty] | Cleansed | 40151521 Rotary pumps | 1.25 IN 14T SPLINED SHAFT,SAG |  | PUMP | ROTARY | TYPE | DOUBLE GEAR | HEAD RANGE |  | FLOW RATING | 188 CC/REV,103.3 CC/REV | POWER RATING |  | INLET SIZE | 2.5 IN | OUTLET SIZE | 2X1.5 IN | DRIVE DETAILS |  | PRESSURE RATING |  | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL | CAST IRON | SHAFT MATERIAL |  | PISTON MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 61 | [40 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1009771 | 1009771 |  |  |  | ERSA | M | 3730 | 1613931GZPCLNT100 | EA | 3000003 | ACCUMULATOR;CAT,20R-8275 | ACUMULADOR;CAT,20R-8275 | ACCUMULATOR;MNFR:CATERPILLAR,PTNO:20R-8275 | ACUMULADOR;MNFR:CATERPILLAR,PTNO:20R-8275 |  | CATERPILLAR | 20R-8275 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 20R-8275 | [10 empty] | CATERPILLAR | 20R-8275 | REMAN | 20R-8275 | HASTINGS DEERING(AUSTRALIA) LTD | 20R-8275 | [14 empty] | https://parts.cat.com/in/catcorp/20R-8275 | [9 empty] | Enriched | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | REMAN | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1013497 | 1013497 |  |  |  | ERSA | M | 3730 | 1314801GZPCLNT100 | EA | 3000003 | ACCUMULATOR;CAT,3607452 | ACCUMULATOR;CAT,3607452 | ACCUMULATOR;MNFR:CATERPILLAR,PTNO:3607452 | ACUMULADOR;MNFR:CATERPILLAR,PTNO:3607452 |  | CATERPILLAR | 3607452 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 3607452 | [10 empty] | CATERPILLAR | 3607452 | REMAN | 3607452 | HASTINGS DEERING(AUSTRALIA) LTD | 3607452 | [14 empty] | https://parts.cat.com/in/catcorp/20R-8275 | [9 empty] | Enriched | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | REMAN | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1014593 | 1014593 |  |  |  | ERSA | M | 3000 | 1614918GZPCLNT100 | EA | 3000292 | ACCUMULATOR;HYDA,3242294,SB400-10A1/212F | ACUMULADOR;HYDA,3242294 | ACCUMULATOR;MNFR:HYDAC,PTNO:3242294,ADDITIONAL FEATURES EN:SB400-10A1/212F-400A,BLADDER | ACUMULADOR;MNFR:HYDAC,PTNO:3242294 |  | HYDAC | 3242294 | 1068342 @@ ISADRAULICS | SB400-10A1/212F-400A | [10 empty] | HYDAC | 3242294 | HYDAC | SB400-10A1/212F-400A | ISADRAULICS | SB400-10A1/212F-400A | [14 empty] | https://www.windusthydraulics.co.nz/Portals/0/PDFs/WHS-Web-Catalogue-Accumulators.pdf | https://www.hydac.com.au/bladder-accumulators-standard.html | [8 empty] | Enriched | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE | HIGH TENSILE | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE | 400 BAR | CAPACITY | 10 L | SHELL MATERIAL | STEEL | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1054115 | 1054115 |  |  |  | ERSA | M | 3020 | 1609450GZPCLNT100 | EA |  | ACCUMULATOR;2.6 L,3/4 IN,BRAND:HELDON | ACUMULADOR; | ACCUMULATOR;CAPACITY:2.6 L,SIZE:3/4 IN,ADDITIONAL FEATURES EN:BRAND:HELDON | ACUMULADOR; |  |  |  | 1068391 @@ BOSS | 3100-125029 | [14 empty] | BOSS | 3100-125029 | [14 empty] | https://www.kirbyhvacr.com.au/product-detail/3100-125029 | [9 empty] | Enriched | 26131800 Power generation control equipment | BRAND:HELDON |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY | 2.6 L | PRESSURE RATING | 2500 KPA | END CONNECTION |  | SIZE | 3/4 IN | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1055318 | 1055318 |  |  |  | ERSA | M | 4090 | 1615405GZPCLNT100 | EA |  | ACCUMULATOR;DIAPHRAGM,0.5 L,210 BAR | ACUMULADOR;,210 BAR | ACCUMULATOR;TYPE:DIAPHRAGM,CAPACITY:0.5 L,PRESSURE RATING:210 BAR,SIZE:DIA 105 X HIGH 155MM,ADDITIONAL FEATURES EN:MODEL:EDA0. 5/210 | ACUMULADOR;VALOR PRESION:210 BAR |  |  |  | 1068137 @@ CAVA HYDRAULICS & ENGINEERING PTY L | G534507 | [12 empty] | EXOTECH | EDA0.5/210 | CAVA HYDRAULICS & ENGINEERING PTY L | G534507 | [14 empty] | https://exotech.com.au/wp-content/uploads/2023/01/EDA-EXOTECH.pdf | [9 empty] | Enriched | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE | DIAPHRAGM | CAPACITY | 0.5 L | PRESSURE RATING | 210 BAR | END CONNECTION | BSPP | SIZE | 1/2 INXM28X1.5 | MATERIAL | ECO | TEMPERATURE RATING | -20 TO 90 DEG C | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1064141 | 1064141 | 1362449 | AU_QM_000161743 |  | ERSA | M | 3000 | 1362449GZPCLNT100 | EA |  | BLACKMER LD17 4X6-13 DI BARESHAFT PUMP;1 | BLACKMER LD17 4X6-13 DI BARESHAFT PUMP;1 | PUMP,CENTRIFUGAL: BLACKMER LD17 4X6-13 DI BARESHAFT PUMP;1 50LB ANSI FLANGES C/W SPIRALTRAC;5980LPM AT 1750RPM; |  | PUMP,CENTRIFUGAL: BLACKMER LD17 4X6-13 DI BARESHAFT PUMP;1 |  |  | 1068142 @@ FITT RESOURCES PTY LTD | LD17/DI.4X6-13 | [12 empty] | FITT RESOURCES PTY LTD | LD17/DI.4X6-13 | [16 empty] | https://www.psgdover.com/docs/default-source/blackmer-docs/parts-lists/1301-c02-11.pdf?sfvrsn=fa4cbaa0_18 | [9 empty] | Cleansed | 40151503 Centrifugal pumps | BRAND:BLACKMER,SIZE:LD17 4X6-13 DI,PRESSURE RATING:150 LB,C/W SPIRALTRAC |  | PUMP | CENTRIFUGAL | TYPE | BARESHAFT | HEAD RANGE |  | POWER RATING |  | FLOW RATING | 5980 LPM | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | SPEED RATING | 1750 RPM | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | END CONNECTION | ANSI FLANGES | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [35 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1064262 | 1064262 | 1466064 | AU_QM_007124463 |  | ERSA | M | 5905 | 1466064GZPCLNT100 | EA |  | BREATHER ELEMENT;10 MICRON;SIZE 7; | BREATHER ELEMENT;10 MICRON;SIZE 7; | FILTER ELEMENT,FLUID: BREATHER ELEMENT;10 MICRON;SIZE 7; PAPER MEDIA; |  | FILTER ELEMENT,FLUID: BREATHER ELEMENT;10 MICRON;SIZE 7; |  |  | 1069434 @@ HYDAC PTY LTD | 310948 | [12 empty] | HYDAC | 0007 L 003 P | HYDAC PTY LTD | 310948 | [14 empty] | https://www.hydac.com/shop/en-in/310948 | [9 empty] | Cleansed | 40161807 Filter element | SIZE:7 |  | FILTER | ELEMENT | TYPE | BREATHER | MEDIUM | PAPER | DIMENSIONS |  | FILTERING RETENTION | 3 UM | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1064357 | 1064357 | 1366187 | AU_QM_000168826 |  | ERSA | M | 5915 | 1366187GZPCLNT100 | EA |  | ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS | ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS | ACCUMULATOR: ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS ER L |  | ACCUMULATOR:ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1366187 | [10 empty] | ATLAS COPCO | EAS ER L |  |  | EPIROC AUSTRALIA PTY LTD | 1366187 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE | DRIVERTAIN | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1064358 | 1064358 |  |  |  | ERSA | M | 5915 | 1366188GZPCLNT100 | EA |  | ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS | ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS | ACCUMULATOR: ACCUMULATOR; DRIVETRAIN; ATLAS COPCO EAS ER L |  |  |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 1366188 | [10 empty] | ATLAS COPCO | EAS ER L |  |  | EPIROC AUSTRALIA PTY LTD | 1366188 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE | DRIVERTAIN | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input | 1067024 | 1067024 | 1352318 | AU_QM_000138839 |  | ERSA | M | 5920 | 1352318GZPCLNT100 | EA |  | AIR FILTER;PRIMARY;;ISUZU FSS550 CREW; | AIR FILTER;PRIMARY;;ISUZU FSS550 CREW; | FILTER ELEMENT,AIR: AIR FILTER;PRIMARY;;ISUZU FSS550 CREW; |  | FILTER ELEMENT,AIR: AIR FILTER;PRIMARY;;ISUZU FSS550 CREW; |  |  | 1068352 @@ HITACHI | P821938 | 1068211 @@ PENSKE POWER SYSTEMS | P821938 | 1078785 @@ HITACHI CONSTRUCTION MACHINERY | P821938 | [10 empty] | HITACHI CONSTRUCTION MACHINERY | P821938 | PENSKE POWER SYSTEMS | P821938 | [12 empty] | https://shop.donaldson.com/store/en-in/product/P821938/22365?_requestid=1843075 |  |  | CREW | ISUZU | FSS550 |  |  |  |  | Cleansed | 40161505 Air filters |  |  | FILTER | AIR | TYPE | PRIMARY,RADIAL SEAL | FILTER RATING |  | SIZE | 130.9 IDX237 ODX357.2 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | [52 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1067630 | 1067630 | 1354073 | AU_QM_000142969 |  | ERSA | M | 5905 | 1354073GZPCLNT100 | EA |  | COOLING,LUBRICATION UNIT,SHAFT HOSTING S | COOLING,LUBRICATION UNIT,SHAFT HOSTING S | FILTER ELEMENT,FLUID: COOLING,LUBRICATION UNIT,SHAFT HOSTING S YSTEM |  | FILTER ELEMENT,FLUID: COOLING,LUBRICATION UNIT,SHAFT HOSTING S |  |  | 1068342 @@ ISADRAULICS | 0400DN006-BN4HC | [12 empty] | HYDAC | 0400 DN 006 BN4HC | ISADRAULICS | 0400DN006-BN4HC | [14 empty] | https://www.hydac.com/shop/en-in/1264929 |  |  | COOLING LUBRICATION UNIT,SHAFT HOSTING SYSTEM | [6 empty] | Enriched | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE | INLINE | MEDIUM | FLUID | DIMENSIONS | 400 MM | FILTERING RETENTION | 6 UM | MATERIAL | BETAMICRON | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input | 1067821 | 1067821 | 1365894 | AU_QM_000168414 |  | ERSA | M | 5905 | 1365894GZPCLNT100 | EA |  | AIR FILTER PRIMARY SAFETY SET; ATLAS C | AIR FILTER PRIMARY SAFETY SET; ATLAS C | FILTER ELEMENT,AIR: AIR FILTER PRIMARY AND SAFETY SET; ATLAS C OPCO EASER L |  | FILTER ELEMENT,AIR: AIR FILTER PRIMARY & SAFETY SET; ATLAS C |  |  | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3222188142 | [12 empty] | ATLAS COPCO | 3222188142 | EPIROC AUSTRALIA PTY LTD | 3222188142 | [14 empty] | https://ft-filters.com/atlas-copco/3222188142/D1E1-36/3779 | [9 empty] | Cleansed | 40161505 Air filters | PRIMARY & SAFETY SET |  | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1081191 | 1081191 |  |  |  | ERSA | M | 5920 | 1351984GZPCLNT100 | EA | 3000014 | ACCUMULATOR;ABB,0412824 | ACCUMULATOR;ABB,0412824 | ACCUMULATOR;MNFR:ABB,PTNO:0412824 |  |  | ABB | 0412824 | 1068212 @@ ABB AUSTRALIA PTY LTD | HPS10-250-080-0010TUBE | [10 empty] | ABB | 0412824 | ABB AUSTRALIA PTY LTD | HPS10-250-080-0010 | [16 empty] | https://www.hydroll.com/wp-content/uploads/2018/12/Hydroll_offering_hps10-18.pdf | [9 empty] | Enriched | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE | PISTON | CAPACITY | 1 L | PRESSURE RATING | 250 BAR | END CONNECTION |  | SIZE | 80 IDX90 ODX286 LG MM | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1081733 | 1081733 |  |  |  | ERSA | M | 5920 | 1365394GZPCLNT100 | EA | 3000014 | ACCUMULATOR;ABB,0412824 | ACCUMULATOR;ABB,0412824 | ACCUMULATOR;MNFR:ABB,PTNO:0412824 |  |  | ABB | 0412824 | 1068212 @@ ABB AUSTRALIA PTY LTD | 412824 | [10 empty] | ABB | 0412824 |  |  | ABB AUSTRALIA PTY LTD | 412824 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1084139 | 1084139 |  |  |  | ERSA | M | 3730 | 1615919GZPCLNT100 | EA | 3000003 | ACCUMULATOR;CAT,6E-3453 | ACUMULADOR;CAT,6E-3453 | ACCUMULATOR;MNFR:CATERPILLAR,PTNO:6E-3453 | ACUMULADOR;MNFR:CATERPILLAR,PTNO:6E-3453 |  | CATERPILLAR | 6E-3453 | 1068197 @@ HASTINGS DEERING (AUSTRALIA) LTD | 6E-3453 | 1068196 @@ HASTINGS DEERING(AUSTRALIA) LTD | 6E-3453 | [10 empty] | CATERPILLAR | 6E-3453 | HASTINGS DEERING (AUSTRALIA) LTD | 6E-3453 | HASTINGS DEERING(AUSTRALIA) LTD | 6E-3453 | [12 empty] | https://parts.cat.com/da/catcorp/6E-3453 | [9 empty] | Cleansed | 26131800 Power generation control equipment |  |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input,Series Match | 1114312 | 1114312 |  |  |  | ERSA | M | 5910 | 1571488GZPCLNT100 | EA |  | ACCUMULATOR;SEAL KIT 363272 | ACUMULADOR; | ACCUMULATOR;ADDITIONAL FEATURES EN:SEAL KIT 363272 | ACUMULADOR; |  |  |  | 1068342 @@ ISADRAULICS | SK210-80AA/212-112 | [11 empty] | 363272 | ABB | SK210-80AA/212-112 | ISADRAULICS | SK210-80AA/212-112 | [14 empty] | https://catalog.hydac.com/viewitems/piston-accumulators/sk-210-series-piston-accumulator | [9 empty] | Enriched | 26131800 Power generation control equipment | SEAL KIT |  | ACCUMULATOR | NO MODIFIER | TYPE | PISTON | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input | 1136922 | 1136922 | 1454979 | AU_QM_001244045 |  | ERSA | M | 5920 | 1454979GZPCLNT100 | EA |  | AIR FILTER NP/NLR; | AIR FILTER NP/NLR; | FILTER ELEMENT,AIR: AIR FILTER NP/NLR; ISUZU TR 156; |  | FILTER ELEMENT,AIR: AIR FILTER NP/NLR; |  |  | 1068514 @@ AP TOWNSVILLE P/L T/A TONY IRELA | 1454979 | 1078785 @@ HITACHI CONSTRUCTION MACHINERY | P543614 | [10 empty] | DONALDSON | P543614 | AP TOWNSVILLE P/L T/A TONY IRELA | 1454979 | HITACHI CONSTRUCTION MACHINERY | P543614 | [12 empty] | https://crossfilters.com/products/p543614-donaldson-air-filter-primary-radialseal?variant=30873151963183 |  |  |  | ISUZU | TR 156 |  |  |  |  | Enriched | 40161505 Air filters | AIR FILTER NP/NLR |  | FILTER | AIR | TYPE | PRIMARY,RADIAL SEAL | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1137089 | 1137089 | 1361496 | AU_QM_000159764 |  | ERSA | M | 5905 | 1361496GZPCLNT100 | EA |  | AMD550-10D-T COALESCING FILTER;0.01UM; | AMD550-10D-T COALESCING FILTER;0.01UM; | FILTER ELEMENT,AIR: AMD550-10D-T COALESCING FILTER;0.01UM; STANDBY INSTRUMENT AIR SUPPLY; MPS NO.2 AND 3 OXY PLANT SECONDARY FILTER |  | FILTER ELEMENT,AIR: AMD550-10D-T COALESCING FILTER;0.01UM; |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | AMD-EL550 | [11 empty] | AMD550-10D-T | SMC CORPORATION (AUSTRALIA) PTY LTD | AMD-EL550 | [16 empty] | https://www.smcin.com/content/amd-el550-filter-element-amd-micro-mist-separator-price-after-discount-18-gst |  |  | COALESCER | [6 empty] | Cleansed | 40161807 Filter element |  |  | FILTER | ELEMENT | TYPE |  | MEDIUM | AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1140110 | 1140110 | 1361492 | AU_QM_000159715 |  | ERSA | M | 5905 | 1361492GZPCLNT100 | EA |  | AMG650-14D-T WATER COALESCER FILTER; | AMG650-14D-T WATER COALESCER FILTER; | FILTER ELEMENT,AIR: AMG650-14D-T WATER COALESCER FILTER; STANDBY INSTRUMENT AIR SUPPLY; MPS NO.2 AND 3 OXYGEN PLANT PRIMARY FILTER |  | FILTER ELEMENT,AIR: AMG650-14D-T WATER COALESCER FILTER; |  |  | 1068125 @@ SMC CORPORATION (AUSTRALIA) PTY LTD | AMG-EL650 | [11 empty] | AMG650-14D-T | SMC CORPORATION (AUSTRALIA) PTY LTD | AMG-EL650 | [16 empty] | https://www.smcpneumatics.com/AMG-EL650.html |  |  | WATER COALESCER | [6 empty] | Cleansed | 40161807 Filter element | STANDBY INSTRUMENT AIR SUPPLY,MPS NO.2 AND 3 OXYGEN PLANT PRIMARY |  | FILTER | ELEMENT | TYPE |  | MEDIUM | AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1149555 | 1149555 |  |  |  | ERSA | M | 5910 | 1523782GZPCLNT100 | EA |  | ACCUMULATOR;HOSE GROUP - INTENSI,12R3120 | ACCUMULATOR;HOSE GROUP - INTENSI,12R3120 | ACCUMULATOR;ADDITIONAL FEATURES:HOSE GROUP - INTENSI,12R3120 |  |  |  |  | 1068229 @@ RUSSELL MINERAL EQUIPMENT P/L | 12R3120 | [14 empty] | RUSSELL MINERAL EQUIPMENT P/L | 12R3120 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 26131800 Power generation control equipment | HOSE GROUP - INTENSI |  | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1155683 | 1155683 |  |  |  | ERSA | M | 3760 | 1491953GZPCLNT100 | EA |  | ACCUMULATOR V17258321 | ACCUMULATOR V17258321 | [5 empty] | 1068317 @@ SMH EQUIPMENT PTY LTD | 1491953 | [11 empty] | V17258321 |  |  | SMH EQUIPMENT PTY LTD | 1491953 | [14 empty] | https://www.truck1.eu/spare-parts/hydraulics/volvo-accumulator-volvo-v17258321-a7250053.html | [9 empty] | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1187990 | 1187990 |  |  |  | ERSA | M | 5100 | 1606746GZPCLNT100 | EA |  | ACCUMULATOR;HYDRAULIC,TGL,AB20-6X-360 | ACUMULADOR; | ACCUMULATOR;TYPE:HYDRAULIC,ADDITIONAL FEATURES EN:TOGGLE,AB20-6X-360 | ACUMULADOR; |  |  |  | 1068342 @@ ISADRAULICS | AB20-6X-360 | [14 empty] | ISADRAULICS | AB20-6X-360 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 27121802 Hydraulic accumulators |  |  | ACCUMULATOR | HYDRAULIC | TYPE | TOGGLE | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1206974 | 1206974 |  |  |  | ERSA | M | 5920 | 132686MRM | EA |  | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULAT | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULAT | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUMULATOR;CYLINDER INSTALLATION;C160 JAW CRUSHER; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1206974 | [14 empty] | METSO OUTOTEC AUSTRALIA LIMITED | PN1206974 | [14 empty] | Url Not Found |  |  | JAW CRUSHER |  | C160 |  |  |  |  | Cleansed | 27121802 Hydraulic accumulators | FOR CYLINDER INSTALLATION |  | ACCUMULATOR | HYDRAULIC | TYPE |  | CAPACITY |  | PRE CHARGE PRESSURE |  | PRESSURE RATING |  | END CONNECTION |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | FLOW RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input | 1210316 | 1210316 |  |  |  | ERSA | M | 5920 | 134610MRM | EA |  | ACCUMULATOR,HYDRAULIC:ACCUMULATOR BLADDE | ACCUMULATOR,HYDRAULIC:ACCUMULATOR BLADDE | ACCUMULATOR,HYDRAULIC:ACCUMULATOR BLADDER 10LX7/8-14UNF/VG5;HYDRAULIC UNIT;NBR20/P460 10 L SBB PERBUNAN;LAROX PF144; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1210316 | [12 empty] | HYDAC | 10LX7/8-14UNF/VG5 | METSO OUTOTEC AUSTRALIA LIMITED | PN1210316 | [14 empty] | https://www.hydac.com/shop/en-in/236088 |  |  | HYDRAULIC UNIT |  | LAROX PF144 |  |  |  |  | Enriched | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE | 460 BAR | CAPACITY | 10 L | SHELL MATERIAL | CARBON STEEL | BLADDER MATERIAL | NBR | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 | Processed based on Websource, Conflict w.r.t Input,Series Match | 1210317 | 1210317 |  |  |  | ERSA | M | 5920 | 134611MRM | EA |  | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUM. SB | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUM. SB | ACCUMULATOR,HYDRAULIC:PRESSURE ACCUM. SB330-10A1/112F-330A;HYDRAULIC UNIT;LAROX PF144; |  |  |  |  | 1068104 @@ METSO OUTOTEC AUSTRALIA LIMITED | PN1210317 | [12 empty] | HYDAC | SB330-10A1/112F-330A | METSO OUTOTEC AUSTRALIA LIMITED | PN1210317 | [14 empty] | https://www.hydac.com/shop/en-in/3047172 |  |  | HYDRAULIC UNIT |  | LAROX PF144 |  |  |  |  | Enriched | 27131510 Accumulator bladders or bags |  |  | BLADDER | ACCUMULATOR | TYPE | PRESSURE | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1046024 | 1046024 | 1423427 | AU_QM_000269863 |  | ERSA | M | 5915 | 1423427GZPCLNT100 | EA |  | CRIMPER;BOOTLACE, SERRATED JAW,LG 170 MM | CRIMPER;BOOTLACE, SERRATED JAW,LG 170 MM | CRIMPER;TYPE:BOOTLACE, SERRATED JAW,CRIMPING RANGE:0.75-10 MM2,SIZE:LG 170 MM,ADDITIONAL FEATURES EN:DIELESS,MNFR:01)CNW,PTNO:01) CABHNKE10 |  | CRIMPER;BOOTLACE, SERRATED JAW,LG 170 MMCRIMPER;BOOTLACE, SERRATED JAW,LG 170MM | [14 empty] | CNW | CABHNKE10 | CABAC | HNKE10 | [16 empty] | https://www.cabac.com.au/p/tools-and-equipment/hand-tools/crimpers-dies/hnke10 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | NO MODIFIER | TYPE | BOOTLACE,SERRATED JAW,DIE LESS,SELF ADJUSTING | TRADE SIZE |  | CRIMPING RANGE | 0.08 TO 10 MM2 | MATERIAL |  | SIZE | 170 MM LG | HAZARD CLASS | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1045994 | 1045994 | 1401954 | AU_QM_000246530 |  | ERSA | M | 5915 | 1401954GZPCLNT100 | EA |  | CRIMPER;BOOTLACE,S,2.5-14 MM2 | CRIMPER;BOOTLACE,S,2.5-14 MM2 | CRIMPER;TYPE:BOOTLACE,TRADE SIZE:S,CRIMPING RANGE:2.5-14 MM2,MNFR:01)CNW,PTNO:01)CABHNKE3 |  | CRIMPER;BOOTLACE,S,2.5-14 MM2CRIMPER;BOOTLACE,S,2.5-14MM2,CABHNKE3 | [14 empty] | CNW | CABHNKE3 | CABAC | HNKE3 | [16 empty] | https://www.cabac.com.au/p/tools-and-equipment/hand-tools/crimpers-dies/hnke3 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | NO MODIFIER | TYPE | BOOTLACE | TRADE SIZE | SMALL | CRIMPING RANGE | 0.14 TO 2.5 MM2 | MATERIAL |  | SIZE | 195 MM LG | HAZARD CLASS | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1045495 | 1045495 | 1414288 | AU_QM_000259855 |  | ERSA | M | 5915 | 1414288GZPCLNT100 | EA |  | CRIMPER;COMPRESSION DIE | CRIMPER;COMPRESSION DIE | CRIMPER;TYPE:COMPRESSION DIE,MNFR:01)CNW,PTNO:01)CABHT-CACC |  | CRIMPER;COMPRESSION DIECRIMPER;COMPRESSION DIE,CABHT-CACC | [14 empty] | CNW | CABHT-CACC | CABAC | HT-CACC | [16 empty] | https://www.cabac.com.au/p/tools-and-equipment/hydraulic-tools/crimpers/ht-cacc | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  | MATERIAL:HEAT TREATED CARBON STEEL | DIE | CRIMPING | TYPE |  | WIRE SIZE |  | CRIMPING FORCE |  | FOR USE WITH TOOL |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1045493 | 1045493 | 1414432 | AU_QM_000260014 |  | ERSA | M | 5915 | 1414432GZPCLNT100 | EA |  | CRIMPER;COMPRESSION DIE | CRIMPER;COMPRESSION DIE | CRIMPER;TYPE:COMPRESSION DIE,MNFR:01)CNW,PTNO:01)CABHT-CAEC |  | CRIMPER;COMPRESSION DIECRIMPER;COMPRESSION DIE,CABHT-CAEC | [14 empty] | CNW | CABHT-CAEC | CABAC | HT-CAEC | [16 empty] | https://www.cabac.com.au/p/tools-and-equipment/hydraulic-tools/crimpers/ht-caec | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | DIE | COMPRESSION | TYPE |  | CAPACITY |  | DIE SIZE |  | SHAPE |  | MATERIAL | HEAT TREATED CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1208424 | 1208424 |  |  |  | ERSA | M | 1600 | 133239MRM | EA |  | DIODE ASSY:FORWARD DIODES;RECTIFIER CUBI | DIODE ASSY:FORWARD DIODES;RECTIFIER CUBI | DIODE ASSY:FORWARD DIODES;RECTIFIER CUBICLE;PRIMARYTRAMP METAL MAGNET;SER800 FC 65KW SC1; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32111500 Diodes | ASSEMBLY,PRIMARY TRAMP METAL MAGNET,SER800 FC 65 KW SC1 |  | DIODE | NO MODIFIER | TYPE | FORWARD,RECTIFIER CUBICLE | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1208425 | 1208425 |  |  |  | ERSA | M | 1600 | 133240MRM | EA |  | DIODE ASSY:HX REVERSE DIODES;RECTIFIER C | DIODE ASSY:HX REVERSE DIODES;RECTIFIER C | DIODE ASSY:HX REVERSE DIODES;RECTIFIER CUBICLE;PRIMARY TRAMP METAL MAGNET;SER800 FC 65KW SC1; | [36 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32111500 Diodes | ASSEMBLY,PRIMARY TRAMP METAL MAGNET,SER800 FC 65 KW SC1 |  | DIODE | NO MODIFIER | TYPE | HX REVERSE,RECTIFIER CUBICLE | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1212953 | 1212953 |  |  |  | ERSA | M | 5920 | 137514MRM | EA |  | DIODE:DIODE;RECTIFIER;DR460; | DIODE:DIODE;RECTIFIER;DR460; | DIODE:DIODE;RECTIFIER;DR460; | [17 empty] | DR460 | [18 empty] | URL NOT FOUND | [9 empty] | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE | RECTIFIER | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1211538 | 1211538 |  |  |  | ERSA | M | 5955 | 775058MRM | EA |  | DIODE:PLUTON 30 DRILL BOOM DIODE;SECOMA | DIODE:PLUTON 30 DRILL BOOM DIODE;SECOMA | DIODE:PLUTON 30 DRILL BOOM DIODE;SECOMA PLUTON 30 ROCK BOLTER | [36 empty] | URL NOT FOUND |  |  | ROCK BOLTER |  | SECOMA PLUTON 30 |  |  |  |  | Cleansed | 32111500 Diodes |  |  | DIODE | NO MODIFIER | TYPE | DRILL BOOM | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1214390 | 1214390 |  |  |  | ERSA | M | 5955 | 777236MRM | EA |  | DIODE:TORO 50D/500D INSTRUMENT DIODE;INS | DIODE:TORO 50D/500D INSTRUMENT DIODE;INS | DIODE:TORO 50D/500D INSTRUMENT DIODE;INSTRUMENT PANEL ASSY;TAMROCK TORO 50D TRUCK <(>&<)> 500D LOADER | [36 empty] | URL NOT FOUND |  |  | TRUCK,LOADER |  | TAMROCK TORO 50D/500D |  |  |  |  | Cleansed | 32111500 Diodes | PANEL ASSEMBLY |  | DIODE | NO MODIFIER | TYPE | INSTRUMENT | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1052049 | 1052049 |  |  |  | ERSA | M | 4005 | 1579497GZPCLNT100 | EA |  | CRIMPER;RATCHET PRE-INSU LUGS 0.5-6.0MM2 | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:RATCHET PRE-INSU LUGS 0.5-6.0MM2 | CRIMPADORA; |  |  |  | 1071835 @@ REXEL AUSTRALIA | BIZCRP00506 | [12 empty] | BIZLINE | BIZCRP00506 | REXEL AUSTRALIA | BIZCRP00506 | [14 empty] | https://www.rexel.com.au/are/category/Tools-%26-Instrumentation/Crimp-Tool/Crimp-tool-cable-lugs%2C-cable-end-sleeves%2C-screen-connection/CRIMPER-RATCHET-PRE-INS-0-5-6-0MM2/BIZCRP00506/p/10704332 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | FOR LUGS |  | CRIMPER | NO MODIFIER | TYPE | RATCHET,PRE-INSULATED | TRADE SIZE |  | CRIMPING RANGE | 0.5 TO 6 MM2 | MATERIAL |  | SIZE | 229 MM LG | HAZARD CLASS | [61 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1052171 | 1052171 |  |  |  | ERSA | M | 4005 | 1580970GZPCLNT100 | EA |  | CRIMPER;HYD,12T,44MM JAW INC CASE & DIES | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:HYD,12T,44MM JAW INC CASE & DIES 25-400MM | CRIMPADORA; |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | UTCHYCP-4413 | [12 empty] | UNIVERSAL TOOLS | HYCP-4413 | METAL MANUFACTURES PTY LTD | UTCHYCP-4413 | [14 empty] | https://www.uttco.com.au/wp-content/uploads/2019/08/HYCP-4413-Hydraulic-Copper-Lug-Crimper-Data-Sheet.pdf | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools | C/W CASE AND DIE,JAW OPENING:44 MM |  | CRIMPER | HYDRAULIC | TYPE |  | OUTPUT FORCE | 12.7 T | WIRE SIZE RANGE | 35 TO 400 MM2 | INLET SIZE |  | PRESSURE RATING |  | MATERIAL |  | HARDNESS |  | FINISH |  | SIZE | 641 MM LG | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1052340 | 1052340 |  |  |  | ERSA | M | 4005 | 1583327GZPCLNT100 | EA |  | CRIMPER;DEUTCH,D-SUB,4-WAY,INDENT,AWG 26 | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:DEUTCH,D-SUB,4-WAY,INDENT,AWG 26-20 TOLEDO | CRIMPADORA; |  |  |  | 1068342 @@ ISADRAULICS | 321024 | 1068256 @@ TOOL 'N' TACKLE | 1583327 | [10 empty] | TOLEDO | 321024 | ISADRAULICS | 321024 | TOOL 'N' TACKLE | 1583327 | [12 empty] | https://www.tridon.com.au/products/Toledo/24048/327599/crimping-cutting-nd-stripping-pliers/409551/crimping-pliers/430113/321024 | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | WIRE | TYPE | DEUTCH,D-SUB,4-WAY,INDENT | CRIMPING RANGE | 26 TO 20 AWG | JAW MATERIAL |  | HANDLE DETAILS |  | HANDLE MATERIAL |  | SIZE |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1052341 | 1052341 |  |  |  | ERSA | M | 4005 | 1583328GZPCLNT100 | EA |  | CRIMPER;DEUTCH,D-SUB,4-WAY,INDENT,AWG 20 | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:DEUTCH,D-SUB,4-WAY,INDENT,AWG 20-12 TOLEDO | CRIMPADORA; |  |  |  | 1068342 @@ ISADRAULICS | 321025 | 1068256 @@ TOOL 'N' TACKLE | 1583328 | 1068652 @@ J BLACKWOOD & SONS | 158019 | [8 empty] | TOLEDO | 321025 | ISADRAULICS | 321025 | TOOL 'N' TACKLE | 1583328 | J BLACKWOOD & SONS | 158019 | [10 empty] | https://www.tridon.com.au/products/Toledo/24048/327599/crimping-cutting-nd-stripping-pliers/409551/crimping-pliers/430114/321025 | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | WIRE | TYPE | DEUTCH,D-SUB,4-WAY,INDENT | CRIMPING RANGE | 20 TO 12 AWG | JAW MATERIAL |  | HANDLE DETAILS |  | HANDLE MATERIAL |  | SIZE |  | CERTIFICATION/STANDARD | [59 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1052913 | 1052913 |  |  |  | ERSA | M | 4010 | 1578513GZPCLNT100 | EA |  | CRIMPER;TOOL 484-798 | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:TOOL 484-798 | CRIMPADORA; |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 589761 | [12 empty] | ARCOLECTRIC (BULGIN) LTD | C027700NAT | RS COMPONENTS PTY LTD | 589761 | [14 empty] | https://in.rsdelivers.com/product/arcolectric-bulgin-ltd/c027700nat/arcolectric-bulgin-ltd-red-neon-panel-mount-110v/0589761 | [9 empty] | Enriched | 41111900 Indicating and recording instruments |  | VOLTAGE RATING:110 VAC,LIGHT OUTPUT COLOR:RED,MOUNTING HOLE SIZE:10 MM,LAMP TYPE:NEON,TERMINATION TYPE:SOLDER TAB,BEZEL STYLE:PROMINENT,BEZEL COLOR:CHROME | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1056721 | 1056721 |  |  |  | ERSA | M | 1600 | 1614630GZPCLNT100 | EA |  | DIODE;MODULE,1.5 V,82 A,1200 V | DIODO;1.5 V | DIODE;TYPE:MODULE,FORWARD VOLTAGE:1.5 V,FORWARD CURRENT:82 A,REVERSE VOLTAGE:1200 V,ADDITIONAL FEATURES EN:SILICON JUNCTION,PANEL MO MF:SEMIKRON,3PIN | DIODO;VOLTAJE DIRECTO:1.5 V |  |  |  | 1068206 @@ RS COMPONENTS PTY LTD | 620-755 | [12 empty] | SEMIKRON | SKKD 81/12 | RS COMPONENTS PTY LTD | 620-755 | [14 empty] | https://in.rsdelivers.com/product/semikron/skkd-81/12/semikron-1200v-82a-diode-3-pin-semipack1-skkd-81/12/0620755 | [9 empty] | Enriched | 32111504 Schottky diodes | SILICON JUNCTION,MOUNTING TYPE:PANEL,NUMBER OF PIN:3 |  | DIODE | NO MODIFIER | TYPE | MODULE | FORWARD VOLTAGE | 1.5 V | FORWARD CURRENT | 82 A | REVERSE VOLTAGE | 1200 V | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE | YES | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [43 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1056960 | 1056960 |  |  |  | ERSA | M | 5915 | 1558792GZPCLNT100 | EA |  | CRIMPER;HYDR,16MM2 - 300MM2 | CRIMPADORA; | CRIMPER;ADDITIONAL FEATURES EN:HYDRAULIC,16MM2 - 300MM2 | CRIMPADORA; |  |  |  | 1071809 @@ ASHDOWN ENTERPRISES | 1558792 | [14 empty] | ASHDOWN ENTERPRISES | 1558792 | [14 empty] | URL NOT FOUND | [9 empty] | Cleansed | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | HYDRAULIC | TYPE |  | OUTPUT FORCE |  | WIRE SIZE RANGE | 16 TO 300 MM2 | INLET SIZE |  | PRESSURE RATING |  | MATERIAL |  | HARDNESS |  | FINISH |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | rmz | Done 16 | 2023-11-10 | 2023-11-16 |  | 1057786 | 1057786 |  |  |  | ERSA | M | 4005 | 1605341GZPCLNT100 | EA |  | CRIMPER;DIE-LESS BOOTLACE,0.75-10 MM2 | CRIMPADORA; | CRIMPER;TYPE:DIE-LESS BOOTLACE,CRIMPING RANGE:0.75-10 MM2,ADDITIONAL FEATURES EN:MODEL:HNKE10 | CRIMPADORA; |  |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | CABHNKE10 | [12 empty] | CABAC | HNKE10 | CNW (TOWNSVILLE) ELECT SUPPLIES | CABHNKE10 | [14 empty] | https://www.cabac.com.au/p/tools-and-equipment/hand-tools/crimpers-dies/hnke10 | [9 empty] | Enriched | 27111500 Cutting and crimping and punching tools |  |  | CRIMPER | NO MODIFIER | TYPE | BOOTLACE,DIE-LESS,SELF ADJUSTING | TRADE SIZE |  | CRIMPING RANGE | 0.08 TO 10 MM2 | MATERIAL |  | SIZE | 170 MM LG | HAZARD CLASS | [61 empty] | Production Completed