## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | SAP MATERIAL NUMBER | ELLIPSE | LVORM | MTART | MBRSH | MATKL | BISMT | MEINS | MFRNR | MAKTX_EN | MAKTX_ES | TEXT_EN | TEXT_ES | ENRICHED DATA | Manufacturer Name | P/N | Manufacturer Name 1 | P/N 1 | Manufacturer Name 2 | P/N 2 | Manufacturer Name 3 | P/N 3 | Manufacturer Name 4 | P/N 4 | Manufacturer Name 5 | P/N 5 | Manufacturer Name 6 | P/N 6 | Input MNFR | Input PTNO | Verified MNFR from web | Verified MPN from Web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | MNFR 3 | PTNO 3 | MNFR 4 | PTNO 4 | MNFR 5 | PTNO 5 | MNFR 6 | PTNO 6 | Vendor NAME | Vendor Part Number | Vendor NAME1 | Vendor Part Number1 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Enriched/Cleansed | UNSPSC Ver.23.07 | ADDITIONAL FEATURES FROM INPUT | Additional Features from WEBSOURCE | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Status
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1108762 | 1108762 | 1460585 | AU_QM_002541006 |  | ERSA | M | 5100 | 1460585GZPCLNT100 | EA |  | AIR DIELECTRIC;2.2MFD 35V (TANTALUM); | AIR DIELECTRIC;2.2MFD 35V (TANTALUM); | CAPACITOR,FIXED; AIR DIELECTRIC;2.2MFD 35V (TANTALUM); |  | CAPACITOR,FIXED;AIR DIELECTRIC;2.2MFD 35V (TANTALUM); |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | R 2632A | [12 empty] | ALTRONICS | R2632A | CNW (MOUNT ISA) ELECT WHOLESALER | R 2632A | [14 empty] | https://www.altronics.com.au/p/r2632a-2.2uf-35v-5mm-tantalum-capacitor/ | [9 empty] | Enriched | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE | TANTALUM,AIR DIELECTRIC | VOLTAGE RATING | 35 V | CAPACITANCE | 2.2 MFD | TERMINAL TYPE |  | SIZE | 5 MM PITCH | BODY MATERIAL |  | TEMPERATURE RATING | -55 TO 125 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1108761 | 1108761 | 1460587 | AU_QM_002541020 |  | ERSA | M | 5100 | 1460587GZPCLNT100 | EA |  | AIR DIELECTRIC;22MFD 35V (TANTALUM); | AIR DIELECTRIC;22MFD 35V (TANTALUM); | CAPACITOR,FIXED; AIR DIELECTRIC;22MFD 35V (TANTALUM); |  | CAPACITOR,FIXED;AIR DIELECTRIC;22MFD 35V (TANTALUM); |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | R 2642A | [12 empty] | ALTRONICS | R2642A | CNW (MOUNT ISA) ELECT WHOLESALER | R 2642A | [14 empty] | https://www.altronics.com.au/p/r2642a-22uf-16v-5mm-tantalum-capacitor/ | [9 empty] | Enriched | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE | TANTALUM,AIR DIELECTRIC | VOLTAGE RATING | 35 V | CAPACITANCE | 22 MFD | TERMINAL TYPE |  | SIZE | 5 MM PITCH | BODY MATERIAL |  | TEMPERATURE RATING | -55 TO 125 DEG C | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1208619 | 1208619 |  |  |  | ERSA | M | 1600 | 133347MRM | SET |  | CAPACITOR ASSY:SURGE CAPACITOR;SURGE CAP | CAPACITOR ASSY:SURGE CAPACITOR;SURGE CAP | CAPACITOR ASSY:SURGE CAPACITOR;SURGE CAPACITOR SET 5475DW6?TAC4955;TAC4955 BALL MILL MOTOR; | [21 empty] | 5475DW6/TAC4955 | [14 empty] | Url Not Found |  |  | BALL MILL MOTOR | [6 empty] | Cleansed | 32121500 Capacitors | ASSEMBLY |  | SET | NO MODIFIER | TYPE | SURGE CAPACITOR | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1056635 | 1056635 |  |  |  | ERSA | M | 1600 | 1614185GZPCLNT100 | EA |  | CAPACITOR,BNK;24 V | BANCO CONDEN; | CAPACITOR,BANK;VOLTAGE RATING:24 V,ADDITIONAL FEATURES EN:SEALED UNIT WITH 6 PIN DEUTSCH PLUG IN/OUT | BANCO CONDENSADORES; |  |  |  | 1068102 @@ REMOTE CONTROL TECHNOLOGIES P/L | 11753 | [14 empty] | REMOTE CONTROL TECHNOLOGIES P/L | 11753 | [14 empty] | Url Not Found |  |  | CONDENSER | BANCO | [5 empty] | Cleansed | 32121500 Capacitors | SEALED UNIT C/W 6 PIN DEUTSCH PLUG IN/OUT |  | CAPACITOR | BANK | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | NUMBER OF CAPACITORS |  | CAPACITANCE |  | SIZE |  | CONNECTION TYPE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1068440 | 1068440 |  |  |  | ERSA | M | 5100 | 1462137GZPCLNT100 | EA |  | CAPACITOR,FIXED; | CAPACITOR,FIXED; | CAPACITOR,FIXED; |  |  |  |  | 1069783 @@ TOWNSVILLE WELDING SUPPLIES | T-11079 CONDENSOR | [14 empty] | TOWNSVILLE WELDING SUPPLIES | T-11079 CONDENSOR | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE |  | VOLTAGE RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1063454 | 1063454 | 1462136 | AU_QM_003305020 |  | ERSA | M | 5100 | 1462136GZPCLNT100 | EA |  | CAPACITOR,FIXED; | CAPACITOR,FIXED; | CAPACITOR,FIXED; |  | CAPACITOR,FIXED; |  |  | 1069783 @@ TOWNSVILLE WELDING SUPPLIES | T11577-37 | [12 empty] | LINCOLN ELECTRIC | T11577-37 | TOWNSVILLE WELDING SUPPLIES | T11577-37 | [14 empty] | https://www.lincolnelectric.com/assets/us/en/servicenavigator-public/LINCOLN3/IM274.pdf | [9 empty] | Cleansed | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE |  | VOLTAGE RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1214591 | 1214591 |  |  |  | ERSA | M | 1600 | 368101MRM | EA |  | CAPACITOR,FIXED;OVEN FAN MOTOR;RATED 6 M | CAPACITOR,FIXED;OVEN FAN MOTOR;RATED 6 M | CAPACITOR,FIXED;OVEN FAN MOTOR;RATED 6 MICRO FARAD;GOLDSTEIN COMBI OVEN CAS E 10 24440 | [36 empty] | Url Not Found | [9 empty] | Cleansed | 32121501 Fixed capacitors | FOR GOLDSTEIN COMBI OVEN CASE 10 24440 |  | CAPACITOR | FIXED | TYPE | FAN MOTOR | VOLTAGE RATING |  | CAPACITANCE | 6 MFD | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1214603 | 1214603 |  |  |  | ERSA | M | 1600 | 368181MRM | EA |  | CAPACITOR,FIXED;PFC8 OVEN FAN MOTOR CAPA | CAPACITOR,FIXED;PFC8 OVEN FAN MOTOR CAPA | CAPACITOR,FIXED;PFC8 OVEN FAN MOTOR CAPACITOR;GOLDSTEIN OVEN PFC 8 40E 24653 | [36 empty] | Url Not Found |  |  | OVEN | GOLDSTEIN | PFC 8 40E 24653 |  |  |  |  | Cleansed | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE | FAN MOTOR | VOLTAGE RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1214881 | 1214881 |  |  |  | ERSA | M | 1600 | 368256MRM | EA |  | CAPACITOR,FIXED;SLICER MOTOR CAPACITOR;H | CAPACITOR,FIXED;SLICER MOTOR CAPACITOR;H | CAPACITOR,FIXED;SLICER MOTOR CAPACITOR;HOBART MEAT SLICER 1612E 561-022-258 | [36 empty] | Url Not Found |  |  | MEAT SLICER | HOBART | 1612E 561-022-258 |  |  |  |  | Cleansed | 32121501 Fixed capacitors |  |  | CAPACITOR | FIXED | TYPE | MOTOR | VOLTAGE RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [53 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1147051 | 1147051 |  |  |  | ERSA | M | 1600 | 1530367GZPCLNT100 | EA |  | CAPACITOR; ABB,3ADC520015P0001,C,BI10920 | CAPACITOR; ABB,3ADC520015P0001,C,BI10920 | CAPACITOR;ADDITIONAL FEATURES: ABB,3ADC520015P0001,C,BI10920 |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BI10920 | [12 empty] | ABB | 3ADC520015P0001 | CNW (MOUNT ISA) ELECT WHOLESALER | BI10920 | [14 empty] | https://new.abb.com/products/3ADC520015P0001/3adc520015p0001 | https://www.quad-industry.com/catalog/abbcatalog/119837/849045.html | [8 empty] | Enriched | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 1700 VDC | KVAR RATING |  | CAPACITANCE | 1 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1111430 | 1111430 | 1410050 | AU_QM_000255304 |  | ERSA | M | 5915 | 1410050GZPCLNT100 | EA |  | CAPACITOR;012000125 | CAPACITOR;012000125 | CAPACITOR;MNFR: ,PTNO:012000125 |  | CAPACITOR;012000125CAPACITOR;012000125 | [17 empty] | 012000125 | [16 empty] | https://usp.temperzone.com/b2b/product-details.aspx?id=120&type=parts1 | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 18 MFD | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1146707 | 1146707 |  |  |  | ERSA | M | 1600 | 1506016GZPCLNT100 | EA |  | CAPACITOR;012-000-983 | CAPACITOR;012-000-983 | CAPACITOR;ADDITIONAL FEATURES:012-000-983 | [21 empty] | 012-000-983 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1072688 | 1072688 |  |  |  | ERSA | M | 3720 | 1318816GZPCLNT100 | EA |  | CAPACITOR;1000WMEC0054 | CAPACITADOR;1000WMEC0054 | CAPACITOR;ADDITIONAL FEATURES:1000W,MNFR:ALLIGHTSYKES,PTNO:MEC0054 | CAPACITADOR;CARACTERISTICAS ADICIONALES:1000W,MNFR:ALLIGHTSYKES,PTNO:MEC0054 |  |  | MEC0054 | [16 empty] | ALLIGHTSYKES | MEC0054 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | WATTAGE:1000 W |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1146637 | 1146637 |  |  |  | ERSA | M | 1600 | 1523733GZPCLNT100 | EA |  | CAPACITOR;14UF,400/450V,COMYL2140020A000 | CAPACITOR;14UF,400/450V,COMYL2140020A000 | CAPACITOR;ADDITIONAL FEATURES:14UF,400/450V,COMYL2140020A000 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | COMYL2140020A000 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | CNW (MOUNT ISA) ELECT WHOLESALER | COMYL2140020A000 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400/450 V | KVAR RATING |  | CAPACITANCE | 14 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1148519 | 1148519 |  |  |  | ERSA | M | 4015 | 1516566GZPCLNT100 | EA |  | CAPACITOR;A/C,ACPAR RUN CAP ,MOB2706937 | CAPACITOR;A/C,ACPAR RUN CAP ,MOB2706937 | CAPACITOR;ADDITIONAL FEATURES:A/C,ACPAR RUN CAP ,MOB2706937 |  |  |  |  | 1068568 @@ MOBILISE GROUP PTY LTD | MOB2706937 | [14 empty] | MOBILISE GROUP PTY LTD | MOB2706937 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE | A/C PARALLEL RUN | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1009822 | 1009822 |  |  |  | ERSA | M | 1600 | 1615102GZPCLNT100 | EA | 3000014 | CAPACITOR;ABB,3ADC520027P0001,AC 1700 V | CAPACITADOR;ABB,3ADC520027P0001 | CAPACITOR;MNFR:ABB,PTNO:3ADC520027P0001,ADDITIONAL FEATURES EN:AC 1700 V,1UO+-10 PCT FST,FOR DCS800 DRIVE | CAPACITADOR;MNFR:ABB,PTNO:3ADC520027P0001 |  | ABB | 3ADC520027P0001 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3ADC520027P0001 | [12 empty] | ABB AUSTRALIA PTY LTD | 3ADC520027P0001 | [16 empty] | https://new.abb.com/products/3ADC520027P0001/3adc520027p0001 | https://www.quad-industry.com/catalog/abbcatalog/119837/849045.html | [8 empty] | Cleansed | 32121500 Capacitors | TOLERANCE:+/-10 PCT,FST,FOR DCS800 DRIVE |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 1700 VAC | KVAR RATING |  | CAPACITANCE | 1 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1009820 | 1009820 |  |  |  | ERSA | M | 1600 | 1615100GZPCLNT100 | EA | 3000014 | CAPACITOR;ABB,3AXD50000006885,MSB MKP 12 | CAPACITADOR;ABB,3AXD50000006885 | CAPACITOR;MNFR:ABB,PTNO:3AXD50000006885,ADDITIONAL FEATURES EN:MSB MKP 12/603/E1679,600 MM,IP54,12ÎœF,UL,600 V,FOR DCS800 DRIVE | CAPACITADOR;MNFR:ABB,PTNO:3AXD50000006885 |  | ABB | 3AXD50000006885 | 1068212 @@ ABB AUSTRALIA PTY LTD | 3AXD50000006885 | [14 empty] | ABB AUSTRALIA PTY LTD | 3AXD50000006885 | [14 empty] | https://new.abb.com/products/3AXD50000006885/3axd50000006885 | https://eltra-trade.com/products/abb-3axd50000006885 | [8 empty] | Cleansed | 32121500 Capacitors | ENCLOSURE:IP54,DESIGNATION:MSB MKP 12/603/E1679,FOR DCS800 DRIVE |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 600 V | KVAR RATING |  | CAPACITANCE | 12 UF | TERMINAL TYPE |  | SIZE | 600 MM | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | [50 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1031696 | 1031696 | 1463845 | AU_QM_005144001 |  | ERSA | M | 5955 | 1463845GZPCLNT100 | EA | 3000000 | CAPACITOR;ATL,3715-6734-00 | CAPACITOR;ATL,3715-6734-00 | CAPACITOR;MNFR:ATLAS COPCO,PTNO:3715-6734-00 |  | CAPACITOR,FIXED;1000MFD | ATLAS COPCO | 3715-6734-00 | 1068108 @@ EPIROC AUSTRALIA PTY LTD | 3715-6734-00 | [14 empty] | EPIROC AUSTRALIA PTY LTD | 3715-6734-00 | ATLAS COPCO | 3715-6734-00 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE | 1000 MFD | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154908 | 1154908 |  |  |  | ERSA | M | 5915 | 1504589GZPCLNT100 | EA |  | CAPACITOR;CMMPRL400V15.0UF | CAPACITOR;CMMPRL400V15.0UF | CAPACITOR;ADDITIONAL FEATURES:CMMPRL400V15.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | 1504589 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | METAL MANUFACTURES PTY LTD | 1504589 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 15 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154907 | 1154907 |  |  |  | ERSA | M | 5915 | 1504590GZPCLNT100 | EA |  | CAPACITOR;CMMPRL400V16.0UF | CAPACITOR;CMMPRL400V16.0UF | CAPACITOR;ADDITIONAL FEATURES:CMMPRL400V16.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V16.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | 1504590 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V16.0UF | METAL MANUFACTURES PTY LTD | 1504590 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 16 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154905 | 1154905 |  |  |  | ERSA | M | 5915 | 1504592GZPCLNT100 | EA |  | CAPACITOR;CMMPRL400V20.0UF | CAPACITOR;CMMPRL400V20.0UF | CAPACITOR;ADDITIONAL FEATURES:CMMPRL400V20.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V20.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | 1504592 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V20.0UF | METAL MANUFACTURES PTY LTD | 1504592 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 20 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154903 | 1154903 |  |  |  | ERSA | M | 5915 | 1504594GZPCLNT100 | EA |  | CAPACITOR;CMMPRL400V30.0UF | CAPACITOR;CMMPRL400V30.0UF | CAPACITOR;ADDITIONAL FEATURES:CMMPRL400V30.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V30.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | 1504594 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V30.0UF | METAL MANUFACTURES PTY LTD | 1504594 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 30 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1184237 | 1184237 |  |  |  | ERSA | M | 1600 | 1560176GZPCLNT100 | EA | 3000422 | CAPACITOR;CNW,CAP8.0-450V,8UF,450V | CAPACITADOR;CNW,CAP8.0-450V | CAPACITOR;MNFR:CNW,PTNO:CAP8.0-450V,ADDITIONAL FEATURES EN:8UF,450V | CAPACITADOR;MNFR:CNW,PTNO:CAP8.0-450V |  | CNW | CAP8.0-450V | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | CAP8.0-450V | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | CAP8.0-450V | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 450 V | KVAR RATING |  | CAPACITANCE | 8 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1105365 | 1105365 |  |  |  | ERSA | M | 1600 | 1526969GZPCLNT100 | EA |  | CAPACITOR;CTU CAPACITOR TRIP UNIT,117545 | CAPACITOR;CTU CAPACITOR TRIP UNIT,117545 | CAPACITOR;ADDITIONAL FEATURES:CTU CAPACITOR TRIP UNIT,117545 |  |  |  |  | 1069411 @@ AMPCONTROL CSM PTY LIMITED | 117545 | [14 empty] | AMPCONTROL CSM PTY LIMITED | 117545 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | FOR CTU CAPACITOR TRIP UNIT |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1021699 | 1021699 | 1377691 | AU_QM_000216934 |  | ERSA | M | 5955 | 1377691GZPCLNT100 | EA | 3000001 | CAPACITOR;EPI,3217 0003 62 | CAPACITOR;EPI,3217 0003 62 | CAPACITOR;MNFR:EPIROC,PTNO:3217 0003 62 |  | CAPACITOR;EPI,3217 0003 62CAPACITOR;EPI,3217 0003 62 | EPIROC | 3217 0003 62 | [14 empty] | EPIROC | 3217 0003 62 | [16 empty] | https://www.pdjdw.com/2023-2024-newest-atlas-copco-epiroc-spare-parts-catalog-list-update/ | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1146627 | 1146627 |  |  |  | ERSA | M | 1600 | 1523953GZPCLNT100 | EA |  | CAPACITOR;FAN,COND,KMD-201AA,H,P00849-01 | CAPACITOR;FAN,COND,KMD-201AA,H,P00849-01 | CAPACITOR;ADDITIONAL FEATURES:FAN,COND,KMD-201AA,H,P00849-01 | [18 empty] | HOSHIZAKI | P00849-01 | [16 empty] | https://www.caterkwik.co.uk/shop/downloads/KMD210ABEHC_Hoshizaki-KMD-210-ABE-HC-Modular-Crescent-Ice-Machine-Parts-List.pdf |  |  | FAN CONDENSER |  | KMD-201AA |  |  |  |  | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154773 | 1154773 |  |  |  | ERSA | M | 5915 | 1507255GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMA250919,CMMA2509196P080 | CAPACITOR;HAY,CMMA250919,CMMA2509196P080 | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMA250919,CMMA2509196P080 |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMA2509196P080 | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMA2509196P080 | [12 empty] | METAL MANUFACTURES PTY LTD | CMMA2509196P080 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154779 | 1154779 |  |  |  | ERSA | M | 5915 | 1507249GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V15.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V15.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V15.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V15.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 15 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154778 | 1154778 |  |  |  | ERSA | M | 5915 | 1507250GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V16.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V16.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V16.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V16.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V16.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V16.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 16 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154777 | 1154777 |  |  |  | ERSA | M | 5915 | 1507251GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V18.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V18.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V18.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V18.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V18.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V18.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 18 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154776 | 1154776 |  |  |  | ERSA | M | 5915 | 1507252GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V20.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V20.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V20.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V20.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V20.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V20.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 20 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154775 | 1154775 |  |  |  | ERSA | M | 5915 | 1507253GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V25.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V25.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V25.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V25.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V25.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V25.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 25 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154774 | 1154774 |  |  |  | ERSA | M | 5915 | 1507254GZPCLNT100 | EA |  | CAPACITOR;HAY,CMMPRL400,CMMPRL400V30.0UF | CAPACITOR;HAY,CMMPRL400,CMMPRL400V30.0UF | CAPACITOR;ADDITIONAL FEATURES:HAY,CMMPRL400,CMMPRL400V30.0UF |  |  |  |  | 1072013 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V30.0UF | 1068740 @@ METAL MANUFACTURES PTY LTD | CMMPRL400V30.0UF | [12 empty] | METAL MANUFACTURES PTY LTD | CMMPRL400V30.0UF | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | HAY |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | KVAR RATING |  | CAPACITANCE | 30 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1083963 | 1083963 |  |  |  | ERSA | M | 1600 | 1512789GZPCLNT100 | EA | 3000293 | CAPACITOR;INDT,4504172 | CAPACITADOR;INDT,4504172 | CAPACITOR;MNFR:INDUCTOTHERM CORP,PTNO:4504172 | CAPACITADOR;NOMBRE DEL FABRICANTE:INDUCTOTHERM CORP,NUMERO DE PIEZA DEL FABRICANTE:4504172 |  | INDUCTOTHERM CORP | 4504172 | 1071998 @@ INDUCTOTHERM (MELTING) PTY LTD | 4504172 | [14 empty] | INDUCTOTHERM (MELTING) PTY LTD | 4504172 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1115937 | 1115937 | 1370257 | AU_QM_000175629 |  | ERSA | M | 5100 | 1370257GZPCLNT100 | EA |  | CAPACITOR;RESISTOR,CNW,BI10920 | CAPACITOR;RESISTOR,CNW,BI10920 | CAPACITOR;TYPE:RESISTOR,ADDITIONAL FEATURES EN:TBE, CAPFXD-40UF-450V-AL-CYL,MNFR:01)CNW,PTNO:01)BI10920 |  | CAPACITOR-RESISTOR: TBE;CAPFXD-40UF-450V-AL-CYL |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | BI10920 | [14 empty] | CNW (MOUNT ISA) ELECT WHOLESALER | BI10920 |  | CAPFXD-40UF-450V-AL-CYL | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 450 V | KVAR RATING |  | CAPACITANCE | 40 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 | Partially Match | 1057785 | 1057785 |  |  |  | ERSA | M | 1600 | 1605340GZPCLNT100 | EA |  | CAPACITOR;RUN,400/450 VAC,40 UF | CAPACITADOR;,40 UF | CAPACITOR;TYPE:RUN,VOLTAGE RATING:400/450 VAC,CAPACITANCE:40 UF | CAPACITADOR;CAPACITANCIA:40 UF |  |  |  | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | STOCAP040 CAPACITOR | [13 empty] | STOCAP040 | CNW (TOWNSVILLE) ELECT SUPPLIES | STOCAP040 CAPACITOR | [14 empty] | https://www.statewideapp.com.au/universal-capacitor-run-40uf-5-400v450v500v-cap040 | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE | RUN | VOLTAGE RATING | 400/450 VAC | KVAR RATING |  | CAPACITANCE | 40 UF | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1069388 | 1069388 | 1440023 | AU_QM_000982989 |  | ERSA | M | 1600 | 1440023GZPCLNT100 | EA |  | CAPACITOR;SPARK KILLER,250 V,800 V,L_H | CAPACITOR;SPARK KILLER,250 V,800 V,L_H | CAPACITOR;TYPE:SPARK KILLER,VOLTAGE RATING:250 V,KVAR RATING:800 V,CAPACITANCE:100 NF,SIZE:WD 23.5 X HT 17.5 X DP 8.5 MM, TEMPERATUR |  | SHIELD,ARC,SWITCH CONTACTS: SPARK KILLER;OKAYA EX-1201 (XE-1201) |  |  | 1070031 @@ LAWRENCE & HANSON PTY. LTD. | OKAEX1201 | 1072012 @@ CNW (TOWNSVILLE) ELECT SUPPLIES | 1440023 | [12 empty] | LAWRENCE & HANSON PTY. LTD. | OKAEX1201 | CNW (TOWNSVILLE) ELECT SUPPLIES | 1440023 | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors | TEMPERATURE SHIELD,ARC,SWITCH CONTACTS |  | CAPACITOR | NO MODIFIER | TYPE | SPARK KILLER | VOLTAGE RATING | 250/800 V | KVAR RATING |  | CAPACITANCE | 100 NF | TERMINAL TYPE |  | SIZE | 23.5 WD X 17.5 HT X 8.5 DP MM | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1149813 | 1149813 |  |  |  | ERSA | M | 5915 | 1495117GZPCLNT100 | EA |  | CAPACITOR;UNIPOLAR MULTI PUR,CAP0333801H | CAPACITOR;UNIPOLAR MULTI PUR,CAP0333801H | CAPACITOR;ADDITIONAL FEATURES:UNIPOLAR MULTI PUR,CAP0333801H |  |  |  |  | 1068740 @@ METAL MANUFACTURES PTY LTD | 1495117 | [14 empty] | METAL MANUFACTURES PTY LTD | 1495117 |  | CAP0333801H | [12 empty] | Url Not Found | [9 empty] | Cleansed | 32121500 Capacitors |  |  | CAPACITOR | NO MODIFIER | TYPE | UNIPOLAR MULTI-PURPOSE | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1135345 | 1135345 | 1444490 | AU_QM_001005202 |  | ERSA | M | 1825 | 1444490GZPCLNT100 | EA |  | ASH 14/12 PUMP GLAND; | ASH 14/12 PUMP GLAND; | GLAND,PACKING: ASH 14/12 PUMP GLAND; ASH 14/12 SRH PUMP |  | GLAND,PACKING:ASH 14/12 PUMP GLAND; |  |  | 1068227 @@ WEIR MINERALS AUSTRALIA LTD | AUS262Q26 | [12 empty] | BRIDGLAND | 4913033 | [12 empty] | REECE PTY LTD | 4913033 |  |  | https://www.reece.com.au/product/bridgland-drop-in-anchor-10mm-x-40mm-50-4913033 | [9 empty] | Enriched | 31162100 Anchors |  |  | ANCHOR | DROP-IN | TYPE | MEDIUM DUTY | NOMINAL SIZE | M10 | LENGTH | 40 MM | THREAD LENGTH |  | HEAD TYPE |  | DRILL SIZE | 12 MM | MIN EMBEDMENT |  | LOAD RATING | 4.5 KN | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1211387 | 1211387 |  |  |  | ERSA | M | 4500 | 1215797MRM | EA |  | COMPUTER,DIGITAL:DESK TOP;TEIR 2;TOWER O | COMPUTER,DIGITAL:DESK TOP;TEIR 2;TOWER O | COMPUTER,DIGITAL:DESK TOP;TEIR 2;TOWER ONLY; | [18 empty] | HILTI | 378430 | [12 empty] | REECE PTY LTD | 378430 |  |  | https://www.luckinslive.com/product/393763892/Hilti-GB-Ltd/378430 | [9 empty] | Enriched | 31162100 Anchors |  |  | ANCHOR | DROP-IN | TYPE | HKD FLUSH | NOMINAL SIZE | M10 | LENGTH | 40 MM | THREAD LENGTH |  | HEAD TYPE |  | DRILL SIZE |  | MIN EMBEDMENT |  | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | GALVANISED | HAZARD CLASS |  | CERTIFICATION/STANDARD | [47 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1211384 | 1211384 |  |  |  | ERSA | M | 4500 | 1215755MRM | EA |  | COMPUTER,DIGITAL:LAP TOP; TEIR 1; | COMPUTER,DIGITAL:LAP TOP; TEIR 1; | COMPUTER,DIGITAL:LAP TOP; TEIR 1; | [18 empty] | BRIDGLAND | 4913019 | [12 empty] | REECE PTY LTD | 4913019 |  |  | https://www.reece.com.au/product/bridgland-expandit-blue-8mm-x-38mm-25-4913019?query=4913019 | https://digitalassets.reecegroup.com.au/m/6f528597c6650c2f/original/Bridgland-Fasteners-Guide.pdf?_gl=1*10wmu1y*_gcl_au*MjAwNTUxMzcwLjE2OTU3OTA3MjU. | [8 empty] | Enriched | 31162103 Wall anchors | PACKAGE QUANTITY:25 |  | ANCHOR | HOLLOW WALL | TYPE | CONCRETE | NOMINAL SIZE | M8 | THREAD TYPE |  | LENGTH | 38 MM | DRILL SIZE | 8 MM | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | COATING/FINISH | BLUE | LOAD RATING | 0.9 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1211386 | 1211386 |  |  |  | ERSA | M | 4500 | 1215771MRM | EA |  | COMPUTER,DIGITAL:LAP TOP;TEIR 3; | COMPUTER,DIGITAL:LAP TOP;TEIR 3; | COMPUTER,DIGITAL:LAP TOP;TEIR 3; | [18 empty] | BRIDGLAND | 4913009 | [12 empty] | REECE PTY LTD | 4913009 |  |  | https://www.reece.com.au/product/bridgland-expandit-green-7mm-x-25mm-100-4913009 | https://digitalassets.reecegroup.com.au/m/6f528597c6650c2f/original/Bridgland-Fasteners-Guide.pdf?_gl=1*10wmu1y*_gcl_au*MjAwNTUxMzcwLjE2OTU3OTA3MjU. | [8 empty] | Enriched | 31162103 Wall anchors | PACKAGE QUANTITY:10 |  | ANCHOR | HOLLOW WALL | TYPE | CONCRETE | NOMINAL SIZE | M7 | THREAD TYPE |  | LENGTH | 25 MM | DRILL SIZE | 7 MM | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | COATING/FINISH | GREEN | LOAD RATING | 0.7 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1211385 | 1211385 |  |  |  | ERSA | M | 4500 | 1215763MRM | EA |  | COMPUTER,DIGITAL:LAP TOP;TIER 2; | COMPUTER,DIGITAL:LAP TOP;TIER 2; | COMPUTER,DIGITAL:LAP TOP;TIER 2; | [18 empty] | BRIDGLAND | 4913260 | [12 empty] | REECE PTY LTD | 4913260 |  |  | https://www.reece.com.au/product/bridgland-expandit-red-6mm-x-25mm-50-4913260 | https://digitalassets.reecegroup.com.au/m/6f528597c6650c2f/original/Bridgland-Fasteners-Guide.pdf?_gl=1*10wmu1y*_gcl_au*MjAwNTUxMzcwLjE2OTU3OTA3MjU. | [8 empty] | Enriched | 31162103 Wall anchors | PACKAGE QUANTITY:50 |  | ANCHOR | HOLLOW WALL | TYPE | CONCRETE | NOMINAL SIZE | M6 | THREAD TYPE |  | LENGTH | 25 MM | DRILL SIZE | 6 MM | MATERIAL | NYLON | MATERIAL SPECIFICATION |  | COATING/FINISH | RED | LOAD RATING | 0.4 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD | [51 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1184715 | 1184715 |  |  |  | ERSA | M | 4500 | 1558708GZPCLNT100 | EA |  | COMPUTER,PERSN;LPTP,i5-11,.,13 IN | COMPUTADORA PERS; | COMPUTER,PERSONAL;TYPE:LAPTOP,PROCESSOR TYPE:i5-11,DISPLAY TYPE:.,DISPLAY SIZE:13 IN,ADDITIONAL FEATURES EN:8GB,256SSD | COMPUTADORA PERSONAL; |  |  |  | 1072161 @@ XTRACOM | 1558708 | [12 empty] | KONNECT FASTENING SYSTEMS | KSA10100 | [16 empty] | https://artia.com.au/catalog/product/view/id/61003 | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE | MASONRY | NOMINAL SIZE | M10 | LENGTH | 100 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1210987 | 1210987 |  |  |  | ERSA | M | 4500 | 135546MRM | EA |  | COMPUTER:APS X20 MACHINE COMPUTER; | COMPUTER:APS X20 MACHINE COMPUTER; | COMPUTER:APS X20 MACHINE COMPUTER; | [18 empty] | KONNECT FASTENING SYSTEMS | KSA10050SS | [16 empty] | https://artia.com.au/catalog/product/view/id/63835/s/ksa10050ss-konnect-sleeve-anchor-hex-stainless-g316-10x50/ | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M10 | LENGTH | 50 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION | GRADE 316 | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1149704 | 1149704 |  |  |  | ERSA | M | 5100 | 1495483GZPCLNT100 | EA |  | COMPUTER;CLICKSHARE CS,100/SE,R9861510EU | COMPUTER;CLICKSHARE CS,100/SE,R9861510EU | COMPUTER;ADDITIONAL FEATURES:CLICKSHARE CS,100/SE,R9861510EU |  |  |  |  | 1068639 @@ DATA #3 GROUP | 1495483 | [12 empty] | KONNECT FASTENING SYSTEMS | KSA10075SS | [16 empty] | https://artia.com.au/sleeve-anchor-hex-head-stainless-steel-g316-a4-10-x-75mm.html | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M10 | LENGTH | 75 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1085743 | 1085743 |  |  |  | ERSA | M | 1600 | 1583417GZPCLNT100 | EA | 3000422 | COMPUTER;CNW,HP8XS84PA,HP T740 AMD RYZEN | COMPUTADORA;CNW,HP8XS84PA | COMPUTER;MNFR:CNW,PTNO:HP8XS84PA,ADDITIONAL FEATURES EN:HP T740 AMD RYZEN V1756B | COMPUTADORA;MNFR:CNW,PTNO:HP8XS84PA |  | CNW | HP8XS84PA | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | HP8XS84PA | [12 empty] | POWERS | HS12100-PWR | KONNECT FASTENING SYSTEMS | HS12100-PWR HS12100 | [14 empty] | https://masonrycp.com/data/documents/Masonry%20Cat%2020%20Lowres.pdf | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE | MEDIUM DUTY EXPANSION | NOMINAL SIZE | M12 | LENGTH | 100 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC YELLOW | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1148651 | 1148651 |  |  |  | ERSA | M | 4500 | 1505586GZPCLNT100 | EA |  | COMPUTER;DIGITAL,VTC 6210-BK,000635 | COMPUTER;DIGITAL,VTC 6210-BK,000635 | COMPUTER;ADDITIONAL FEATURES:DIGITAL,VTC 6210-BK,000635 |  |  |  |  | 1069082 @@ BANLAW PTY LIMITED | 635 | [12 empty] | POWERS | HS0865SS | KONNECT FASTENING SYSTEMS | HS0865SS-PWR HS0865SS | [14 empty] | https://mail.aerofast.com.au/masonry/Sleeve%20Anchors.pdf | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M8 | LENGTH | 65 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 35 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION | GRADE 316 | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1100158 | 1100158 | 1385619 | AU_QM_000226419 |  | ERSA | M | 5100 | 1385619GZPCLNT100 | EA | 3000001 | COMPUTER;EPI,9106206680 | COMPUTER;EPI,9106206680 | COMPUTER;MNFR:EPIROC,PTNO:9106206680 |  | COMPUTER;EPI,9106206680COMPUTER;EPI,9106206680 | EPIROC | 9106206680 | [14 empty] | POWERS | HS0865 | KONNECT FASTENING SYSTEMS | HS0865-PWR HS0865 | [14 empty] | https://mail.aerofast.com.au/masonry/Sleeve%20Anchors.pdf | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M8 | LENGTH | 65 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 35 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1050352 | 1050352 |  |  |  | ERSA | M | 4500 | 1607331GZPCLNT100 | EA |  | COMPUTER;IMPACT,AEROSCOUT TAG MGT,SUITG2 | COMPUTADORA; | COMPUTER;TYPE:IMPACT,PROCESSOR TYPE:,ADDITIONAL FEATURES EN:AEROSCOUT TAG MGT,SUITG2 | COMPUTADORA; |  |  |  | 1068116 @@ MINE SITE TECHNOLOGIES PTY LTD | 28151 | [12 empty] | POWERS | HS0885SS | KONNECT FASTENING SYSTEMS | HS0885SS-PWR HS0885SS | [14 empty] | https://mail.aerofast.com.au/masonry/Sleeve%20Anchors.pdf | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M8 | LENGTH | 85 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 35 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION | GRADE 316 | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154124 | 1154124 |  |  |  | ERSA | M | 4500 | 1522952GZPCLNT100 | EA |  | COMPUTER;LAPTOP,LENOVO, THINK,20TJS5X700 | COMPUTER;LAPTOP,LENOVO, THINK,20TJS5X700 | COMPUTER;ADDITIONAL FEATURES:LAPTOP,LENOVO, THINK,20TJS5X700 |  |  |  |  | 1068531 @@ LENOVO (AUSTRALIA & NEW ZEALAND) | 20TJS5X700 | [12 empty] | POWERS | HS0885 | KONNECT FASTENING SYSTEMS | HS0885-PWR HS0885 | [14 empty] | https://mail.aerofast.com.au/masonry/Sleeve%20Anchors.pdf | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M8 | LENGTH | 85 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 35 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154127 | 1154127 |  |  |  | ERSA | M | 4500 | 1522949GZPCLNT100 | EA |  | COMPUTER;LAPTOP,PANASONIC,T,FZ-55A400EVA | COMPUTER;LAPTOP,PANASONIC,T,FZ-55A400EVA | COMPUTER;ADDITIONAL FEATURES:LAPTOP,PANASONIC,T,FZ-55A400EVA |  |  |  |  | 1068541 @@ DATACOM SYSTEMS (AU) PTY LTD- | FZ-55A400EVA | [12 empty] | RAMSET DYNABOLT | DP06040 | KONNECT FASTENING SYSTEMS | DP06040 | [14 empty] | https://www.blackwoods.com.au/fasteners-fixings/masonry-anchors/sleeve-anchors-hex-nut-dynabolt/sleeve-anchors-hex-nut-zinc-plated-ramset-dynabolt-6x40mm-dp06040/p/01793604 | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M6 | LENGTH | 40 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1067904 | 1067904 | 1401910 | AU_QM_000246481 |  | ERSA | M | 5915 | 1401910GZPCLNT100 | EA |  | COMPUTER;T80 6180ADCBECABBBG | COMPUTER;T80 6180ADCBECABBBG | APL-A-LIST COMPUTER;T80 6180ADCBECABBBG |  | COMPUTER;T80 6180ADCBECABBBGCOMPUTER;T80 6180ADCBECABBBG | [16 empty] | RAMSET DYNABOLT | DP06060 | KONNECT FASTENING SYSTEMS | DP06060 | [14 empty] | https://www.blackwoods.com.au/fasteners-fixings/masonry-anchors/sleeve-anchors-hex-nut-dynabolt/sleeve-anchors-hex-nut-zinc-plated-ramset-dynabolt-6x60mm-dp06060/p/01793701 | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M6 | LENGTH | 60 MM/57 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1186472 | 1186472 |  |  |  | ERSA | M | 4500 | 1552741GZPCLNT100 | EA |  | COMPUTER;TBLT,CARSLON RT4,8010.010.003 | COMPUTADORA; | COMPUTER;TYPE:TABLET,PROCESSOR TYPE:TBC,ADDITIONAL FEATURES EN:CARSLON RT4 | COMPUTADORA; |  |  |  | 1070973 @@ CARLSON SOFTWARE AUSTRALIA P/L | 8010.010.003 | [13 empty] | HS6575SS-PWR | KONNECT FASTENING SYSTEMS | HS6575SS-PWR | POWERS | HS6575SS-PWR | [12 empty] | https://www.atom.com.au/anchor-sleeve-csk-head-phillips-316-stainless-steel-6-5-x-75mm-81006182 | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M6.5 | LENGTH | 75 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 50 MM | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION | GRADE 316 | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1100133 | 1100133 | 1386279 | AU_QM_000227201 |  | ERSA | M | 5100 | 1386279GZPCLNT100 | EA | 3000012 | COMPUTER;TOY,8966660380 | COMPUTER;TOY,8966660380 | COMPUTER;MNFR:TOYOTA,PTNO:8966660380 |  | COMPUTER;TOY,8966660380COMPUTER;BEL,8966660380 | TOYOTA | 8966660380 | [15 empty] | HS6575-PWR | KONNECT FASTENING SYSTEMS | HS6575-PWR | POWERS | HS6575-PWR | [12 empty] | https://www.atom.com.au/anchor-sleeve-hex-head-zinc-6-5-x-75mm-93168002 | [9 empty] | Enriched | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M6.5 | LENGTH | 75 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT | 30 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1100025 | 1100025 | 1388978 | AU_QM_000230355 |  | ERSA | M | 5100 | 1388978GZPCLNT100 | EA | 3000012 | COMPUTER;TOY,8970960300C0 | COMPUTER;TOY,8970960300C0 | COMPUTER;MNFR:TOYOTA,PTNO:8970960300C0 |  | COMPUTER;TOY,8970960300C0COMPUTER;BEL,8970960300C0 | TOYOTA | 8970960300C0 | [14 empty] | DEWALT | HS0885-PWR | KONNECT FASTENING SYSTEMS | HS0885-PWR | POWERS | HS0885-PWR | [12 empty] | https://www.bianco.com.au/product/31125-anchor-sleeve-8x85-hex-zinc-dewalt-hs0885-box-50- | [9 empty] | Cleansed | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M8 | LENGTH | 85 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1100184 | 1100184 | 1385133 | AU_QM_000225849 |  | ERSA | M | 5100 | 1385133GZPCLNT100 | EA | 3000012 | COMPUTER;TOY,8978071040 | COMPUTER;TOY,8978071040 | COMPUTER;MNFR:TOYOTA,PTNO:8978071040 |  | COMPUTER;TOY,8978071040COMPUTER;BEL,8978071040 | TOYOTA | 8978071040 | [32 empty] | Url Not Found | [9 empty] | Cleansed | 31162101 Concrete anchors |  |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE | M20 | LENGTH | 131.9 MM | HEAD TYPE | HEXAGON | MIN EMBEDMENT |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | HOT DIP GALVANIZED | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154418 | 1154418 |  |  |  | ERSA | M | 4500 | 1514002GZPCLNT100 | EA |  | COMPUTER;U FIBER GPON WITH,4CABUF-WIFI U | COMPUTER;U FIBER GPON WITH,4CABUF-WIFI U | COMPUTER;ADDITIONAL FEATURES:U FIBER GPON WITH,4CABUF-WIFI U |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABUF-WIFI U | [15 empty] | 602011 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 31162101 Concrete anchors | WALL STATION |  | ANCHOR | SLEEVE | TYPE |  | NOMINAL SIZE |  | LENGTH |  | HEAD TYPE |  | MIN EMBEDMENT |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LOAD RATING |  | THREAD LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [49 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154417 | 1154417 |  |  |  | ERSA | M | 4500 | 1514003GZPCLNT100 | EA |  | COMPUTER;U FIBER LOCO,4CABUF-LOCO | COMPUTER;U FIBER LOCO,4CABUF-LOCO | COMPUTER;ADDITIONAL FEATURES:U FIBER LOCO,4CABUF-LOCO |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABUF-LOCO | [15 empty] | S1250.200-RS/2-145 | [14 empty] | Url Not Found | [9 empty] | Cleansed | 26121600 Electrical cable and accessories | L72,BATCH LINKS |  | CARRIER | CABLE | TYPE |  | CAPACITY |  | SIZE |  | BEND RADIUS |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [57 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154416 | 1154416 |  |  |  | ERSA | M | 4500 | 1514004GZPCLNT100 | EA |  | COMPUTER;UBIQUITI LT,4CABLTU.LITE.AU POI | COMPUTER;UBIQUITI LT,4CABLTU.LITE.AU POI | COMPUTER;ADDITIONAL FEATURES:UBIQUITI LT,4CABLTU.LITE.AU POI |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABLTU.LITE.AU POI | [12 empty] | WEIDMULLER | 0292460000 | METAL MANUFACTURES PTY LTD | WEI0292460000 | [14 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=0292460000 | [9 empty] | Enriched | 39121700 Electrical hardware and supplies | COLOUR:BEIGE,PITCH:5 MM,F/RAIL TERMINAL | TEMPERATURE:-40 TO 100 DEG C | CARRIER | NO MODIFIER | TYPE | MARKER,GROUP TAG | SIZE | 44.5 HT X 19.5 WD MM | MATERIAL | POLYAMIDE 66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154415 | 1154415 |  |  |  | ERSA | M | 4500 | 1514005GZPCLNT100 | EA |  | COMPUTER;UBIQUITI LTU ,4CABLTU.PRO.AU LT | COMPUTER;UBIQUITI LTU ,4CABLTU.PRO.AU LT | COMPUTER;ADDITIONAL FEATURES:UBIQUITI LTU ,4CABLTU.PRO.AU LT |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABLTU.PRO.AU LT | [12 empty] | CATERPILLAR | 112-7308 | [16 empty] | https://parts.cat.com/en/catcorp/112-7308 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  | EXTERNAL SPLINE NUMBER OF TEETH:40,PITCH DIAMETER:295.349 MM | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154419 | 1154419 |  |  |  | ERSA | M | 4500 | 1514001GZPCLNT100 | EA |  | COMPUTER;UBIQUITI,4CABUB.AFI.P.HD AMP | COMPUTER;UBIQUITI,4CABUB.AFI.P.HD AMP | COMPUTER;ADDITIONAL FEATURES:UBIQUITI,4CABUB.AFI.P.HD AMP |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABUB.AFI.P.HD AMP | [12 empty] | CATERPILLAR | 153-9207 | [16 empty] | https://parts.cat.com/en/catcorp/153-9207 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | NO MODIFIER | TYPE | TORQUE CONVERTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1154420 | 1154420 |  |  |  | ERSA | M | 4500 | 1514000GZPCLNT100 | EA |  | COMPUTER;UBIQUITI,A,4CABUB.AFI.R AFI-R | COMPUTER;UBIQUITI,A,4CABUB.AFI.R AFI-R | COMPUTER;ADDITIONAL FEATURES:UBIQUITI,A,4CABUB.AFI.R AFI-R |  |  |  |  | 1068181 @@ CNW (MOUNT ISA) ELECT WHOLESALER | 4CABUB.AFI.R AFI-R | [12 empty] | CATERPILLAR | 159-1073 | [16 empty] | https://parts.cat.com/en/catcorp/159-1073 | [9 empty] | Enriched | 26111500 Kinetic power transmission | OEM-E-LIST |  | CARRIER | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1055454 | 1055454 |  |  |  | ERSA | M | 1600 | 1584317GZPCLNT100 | EA |  | COMPUTER;USB 3.0 SHARING SWITCH | COMPUTADORA; | COMPUTER;TYPE:USB 3.0 SHARING SWITCH,PROCESSOR TYPE:4 X USB TYPE B (FEMALE),ADDITIONAL FEATURES EN:4 PORT,BLACK | COMPUTADORA; |  |  |  | 1068961 @@ LINDY AUSTRALIA PTY LTD | 43144 | [12 empty] | CATERPILLAR | 159-1074 | [16 empty] | https://parts.cat.com/en/catcorp/159-1074 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | NO MODIFIER | TYPE | HITCH DRIVE SHAFT | SIZE | 250 MM OD | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1104641 | 1104641 |  |  |  | ERSA | M | 5100 | 1478552GZPCLNT100 | EA |  | DETECTOR,GAS,CARBONMONOXIDE,BWS-ML-Y | DETECTOR,GAS,CARBONMONOXIDE,BWS-ML-Y | DETECTOR,GAS,CARBONMONOXIDE,BWS-ML-Y |  |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | BWS-ML-Y | [12 empty] | CATERPILLAR | 161-8113 | [16 empty] | https://parts.cat.com/en/catcorp/161-8113 | [9 empty] | Enriched | 40151700 Pump parts and accessories | OEM-E-LIST |  | CARRIER | NO MODIFIER | TYPE | HYDRAULIC PUMP,MOTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1203840 | 1203840 |  |  |  | ERSA | M | 1600 | 271020MRM | EA |  | DETECTOR,GAS:SPM FLEX CHEMCASSETTE HYDRI | DETECTOR,GAS:SPM FLEX CHEMCASSETTE HYDRI | DETECTOR,GAS:SPM FLEX CHEMCASSETTE HYDRIDE;90 DAY DETECTION;ARSINE GAS DETECTION |  |  |  |  | 1079261 @@ TERRITORY INSTRUMENTS | 1265-3000 | [12 empty] | CATERPILLAR | 173-0545 | [16 empty] | https://parts.cat.com/en/catcorp/173-0545 | [9 empty] | Cleansed | 26111500 Kinetic power transmission | GROUP |  | CARRIER | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1186456 | 1186456 |  |  |  | ERSA | M | 4600 | 1552757GZPCLNT100 | EA |  | DETECTOR,GAS;12VDC | DETECTOR GAS; | DETECTOR,GAS;POWER SUPPLY:12VDC,ADDITIONAL FEATURES EN:MONITOR SYS,CL2,0-10 PPM | DETECTOR GAS; |  |  |  | 1069227 @@ EVOQUA WATER TECHNOLOGIES P/L | W2T11692 | [12 empty] | CATERPILLAR | 176-4114 | [16 empty] | https://parts.cat.com/en/catcorp/176-4114 | [9 empty] | Enriched | 26111500 Kinetic power transmission | ASSEMBLY | EXTERNAL SPLINE NUMBER OF TEETH:40,PITCH DIAMETER:84.66 MM | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL |  | MOUNTING TYPE |  | FINISH |  | SIZE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1086791 | 1086791 |  |  |  | ERSA | M | 2920 | 1579234GZPCLNT100 | EA |  | DETECTOR,GAS;BATRY,BACHARACH LEAKATOR 10 | DETECTOR GAS; | DETECTOR,GAS;POWER SUPPLY:BATTERY,ADDITIONAL FEATURES EN:BACHARACH LEAKATOR 10,PTNO:BA02009 | DETECTOR GAS;,PTNO:BA02009 |  |  | BA02009 | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | SP.GAS.DETECTION | [12 empty] | CATERPILLAR | 183-7445 | [16 empty] | https://parts.cat.com/en/catcorp/183-7445 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | NO MODIFIER | TYPE | TORQUE CONVERTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1102309 | 1102309 |  |  |  | ERSA | M | 2920 | 1530473GZPCLNT100 | EA |  | DETECTOR,GAS;CAL GAS H2S 15 PPM,,3500973 | DETECTOR,GAS;CAL GAS H2S 15 PPM,,3500973 | [5 empty] | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | 3500973 | [12 empty] | CATERPILLAR | 1T-1085 | [16 empty] | https://parts.cat.com/en/catcorp/1T-1085 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | NO MODIFIER | TYPE | STATOR | SIZE | 2.3/8 ID X 3-1/2 OD X 7-33/64 HT IN | MATERIAL | GRAY CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1055058 | 1055058 |  |  |  | ERSA | M | 5100 | 1609723GZPCLNT100 | EA |  | DETECTOR,GAS;REGULATOR,0.5/1 LPM | DETECTOR GAS; | DETECTOR,GAS;TYPE:REGULATOR,DETECTING RANGE:0.5/1 LPM,POWER SUPPLY:,ENCLOSURE MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN: BRAND:CAC,SERVICE PRESSURE:70 BAR,SUIT TO C10 VALVE | DETECTOR GAS; |  |  |  | 1068331 @@ ALLIANCE SAFETY EQUIPMENT P/L | FF-100-0.5 | [12 empty] | CATERPILLAR | 1T-1333 | [16 empty] | https://parts.cat.com/en/catcorp/1T-1333 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | NO MODIFIER | TYPE | TORQUE CONVERTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1180386 | 1180386 |  |  |  | ERSA | M | 2920 | 1543896GZPCLNT100 | EA |  | DETECTOR,SMK;INTELLIQUAD DETECTOR | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:INTELLIQUAD DETECTOR | DETECTOR HUMO; |  |  |  | 1068407 @@ LEWIE FIRE PROTECTION PTY LTD | FSC-851 | [12 empty] | CATERPILLAR | 210-3131 | [16 empty] | https://parts.cat.com/en/catcorp/210-3131 | [9 empty] | Enriched | 26111500 Kinetic power transmission | OEM-E-LIST |  | CARRIER | NO MODIFIER | TYPE | TORQUE CONVERTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1053678 | 1053678 |  |  |  | ERSA | M | 2900 | 1578751GZPCLNT100 | EA |  | DETECTOR,SMK;MAINS POWERED 230V RECHARGE | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:MAINS POWERED 230V RECHARGEABLE BATTERY BACK UP | DETECTOR HUMO; |  |  |  | 1071835 @@ REXEL AUSTRALIA | BKSEIB3016 | [12 empty] | CATERPILLAR | 242-9514 | [16 empty] | https://parts.cat.com/en/catcorp/242-9514 | [9 empty] | Enriched | 40141700 Hardware and fittings |  | CONNECTION:MALE X FEMALE | CARRIER | NO MODIFIER | TYPE | MAGNET | SIZE | 16X20 MM | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1180474 | 1180474 |  |  |  | ERSA | M | 2900 | 1527442GZPCLNT100 | EA |  | DETECTOR,SMK;OPTICAL,LEWIE,FSP-851AUS | DETECTOR HUMO;OPTICO | DETECTOR,SMOKE;TYPE:OPTICAL,ADDITIONAL FEATURES EN:LEWIE,FSP-851AUS | DETECTOR HUMO;TIPO:OPTICO |  |  |  | 1068407 @@ LEWIE FIRE PROTECTION PTY LTD | FSP-851AUS | [12 empty] | CATERPILLAR | 272-5444 | [16 empty] | https://parts.cat.com/en/catcorp/272-5444 | [9 empty] | Enriched | 26111500 Kinetic power transmission | OEM-E-LIST | INTERNAL SPLINE NUMBER OF TEETH:57,PITCH DIAMETER:90.48 MM | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1053680 | 1053680 |  |  |  | ERSA | M | 2900 | 1578754GZPCLNT100 | EA |  | DETECTOR,SMK;PHOTO ELECTRIC,WIRELSS,INTE | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:PHOTO ELECTRIC,WIRELESS,INTERCONNECT SURFACE | DETECTOR HUMO; |  |  |  | 1071835 @@ REXEL AUSTRALIA | CLI755LPSMA4 | [12 empty] | CATERPILLAR | 272-8009 | [16 empty] | https://parts.cat.com/en/catcorp/272-8009 | [9 empty] | Enriched | 26111500 Kinetic power transmission | OEM-E-LIST |  | CARRIER | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1053681 | 1053681 |  |  |  | ERSA | M | 2900 | 1578755GZPCLNT100 | EA |  | DETECTOR,SMK;PHOTO SURFACE 230VRECH LI | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:PHOTO SURFACE 230VRECH LI | DETECTOR HUMO; |  |  |  | 1071835 @@ REXEL AUSTRALIA | CLI755RLPSMA4 | [12 empty] | CATERPILLAR | 3Q-5993 | [16 empty] | https://parts.cat.com/en/catcorp/3Q-5993 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  | EXTERNAL SPLINE NUMBER OF TEETH:90,PITCH DIAMETER:228.6 MM | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1053679 | 1053679 |  |  |  | ERSA | M | 2900 | 1578752GZPCLNT100 | EA |  | DETECTOR,SMK;RADIO LINK PHOTO ELECTRIC | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:RADIO LINK PHOTO ELECTRIC WIRELESS | DETECTOR HUMO; |  |  |  | 1071835 @@ REXEL AUSTRALIA | BKSEIB650IRF | [12 empty] | CATERPILLAR | 3S-0123 | [16 empty] | https://parts.cat.com/en/catcorp/3S-0123 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  | EXTERNAL SPLINE NUMBER OF TEETH:101,PITCH DIAMETER:256.54 MM | CARRIER | GEAR | TYPE | ROTATING CLUTCH | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE |  | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1053677 | 1053677 |  |  |  | ERSA | M | 2900 | 1578750GZPCLNT100 | EA |  | DETECTOR,SMK;RF WIRELESS INTERCONNECTION | DETECTOR HUMO; | DETECTOR,SMOKE;ADDITIONAL FEATURES EN:RF WIRELESS INTERCONNECTION POWERED | DETECTOR HUMO; |  |  |  | 1071835 @@ REXEL AUSTRALIA | BKSEIB3000MRF | [12 empty] | CATERPILLAR | 463-9184 | [16 empty] | https://parts.cat.com/en/catcorp/463-9184 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE | 533 MM OD | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1208418 | 1208418 |  |  |  | ERSA | M | 1600 | 133233MRM | EA |  | DETECTOR:BRACKET;COROSS COIL SUPPORT;180 | DETECTOR:BRACKET;COROSS COIL SUPPORT;180 | DETECTOR:BRACKET;COROSS COIL SUPPORT;1800MM LG;CROSS COIL SUPPORTS;TRAMP METAL DETECTOR; | [18 empty] | CATERPILLAR | 467-4571 | [16 empty] | https://parts.cat.com/en/catcorp/467-4571 | [9 empty] | Enriched | 26111500 Kinetic power transmission |  |  | CARRIER | GEAR | TYPE | PLANETARY | GEAR RATIO |  | LOAD RATING |  | AXLE LOAD RATING |  | MATERIAL | CAST IRON | MOUNTING TYPE |  | FINISH |  | SIZE | 225 ID X 743 OD X 179.35 LG MM | CERTIFICATION/STANDARD | [55 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1208421 | 1208421 |  |  |  | ERSA | M | 1600 | 133236MRM | EA |  | DETECTOR:CLIP DETECTOR;OPTIONAL DEVICES; | DETECTOR:CLIP DETECTOR;OPTIONAL DEVICES; | DETECTOR:CLIP DETECTOR;OPTIONAL DEVICES;TRAMP METAL DETECTOR; | [18 empty] | CATERPILLAR | 6Y-1119 | [16 empty] | https://parts.cat.com/en/catcorp/6Y-1119 | [9 empty] | Enriched | 40141700 Hardware and fittings |  | NO OF GROOVES:3 | CARRIER | NO MODIFIER | TYPE | HEAVY DUTY SEAL RING | SIZE | 69.2 OD X 86.6 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed
STP_009 - Lot7 | Data Enrichment | SYC | OK | 2023-11-10 | 2023-11-16 |  | 1208412 | 1208412 |  |  |  | ERSA | M | 1600 | 133226MRM | EA |  | DETECTOR:STANDS;END;LEFT;STANDARD;TRAMP | DETECTOR:STANDS;END;LEFT;STANDARD;TRAMP | DETECTOR:STANDS;END;LEFT;STANDARD;TRAMP METAL DETECTOR; | [18 empty] | CATERPILLAR | 6Y-1414 | [16 empty] | https://parts.cat.com/en/catcorp/6Y-1414 | [9 empty] | Enriched | 40141700 Hardware and fittings | OEM-E-LIST |  | CARRIER | NO MODIFIER | TYPE | SEAL RING | SIZE | 84.99 ID X 120.25 OD X 38 WD MM | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD | [63 empty] | Production Completed