## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | BISMT | EXISTING CLASS 1 | MAKTX | TEXT | MFRPN | MFRNR | MNFR | PTNO | Verified MNFR from web | Verified PTNO from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | DWG | DRAWING VERSION | POS/TAG | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1237378 | 1237378 | EA | 000000000001440975GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,16 A,415 V | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:16 A,VOLTAGE RATING:415 V,INTERRUPT RATING:6 KA,NUMBER OF POLES:2P, MOUNTING TYPE:DIN RAIL,CERTIFICATION/STANDARD:AS 3111, 2184, 3947-2,ADDITIONAL FEATURES EN:C60N | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 V | NUMBER OF POLES | 2 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111,2184,3947-2 | ADDITIONAL FEATURES EN | CURVE:C,SERIES:C60N | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1237377 | 1237377 | EA | 000000000001440973GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,16 A,415 V | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:16 A,VOLTAGE RATING:415 V,INTERRUPT RATING:6 KA,NUMBER OF POLES:3P, MOUNTING TYPE:DIN RAIL,CERTIFICATION/STANDARD:AS 3111, 2184, 3947-2,ADDITIONAL FEATURES EN:C60N | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 V | NUMBER OF POLES | 3 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111,2184,3947-2 | ADDITIONAL FEATURES EN | CURVE:C,SERIES:C60N | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1289777 | 1289777 | EA | 000000000001452236GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,32 A,15 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:32 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:15 KA,NUMBER OF POLES:3P, OVERALL SIZE:DP 68 MM,MOUNTING TYPE:DIN RAIL,HAZARD CLASS:IP20,CERTIFICATION/STANDARD:AS/NZS 3947-2 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 15 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | DP 68 MM | CERTIFICATION/STANDARD | AS/NZS 3947-2 | ADDITIONAL FEATURES EN | CURVE:C,ENCLOSURE:IP20 | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1290003 | 1290003 | EA | 000000000001366245GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, K CURVE,6 A,6 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, K CURVE,CURRENT RATING:6 A,VOLTAGE RATING:72-253 VAC/DC,INTERRUPT RATING:6 KA,NUMBER OF POLES:1P, OVERALL SIZE:WD 17.5 X LG 88 X DP 75.8 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 72 TO 253 VAC/VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 17.5 WDX 88 LGX 75.8 DP MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:K | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292054 | 1292054 | EA | 000000000001355115GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,6 A,500 VDC | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:6 A,VOLTAGE RATING:500 VDC,INTERRUPT RATING:10 KA,NUMBER OF POLES:2P, OVERALL SIZE:WD 45 X HT 80 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 500 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 45 WDX 80 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292055 | 1292055 | EA | 000000000001355114GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINIATURE C CURVE,6 A,P 2P | BREAKER,CIRCUIT;TYPE:MINIATURE C CURVE,CURRENT RATING:6 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:15 KA,NUMBER OF POLES:2P, OVERALL SIZE:WD 45 X HT 80 MM,TERMINAL TYPE:TWIN PURPOSE,HAZARD CLASS:IP20, 40 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 15 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | TWIN PURPOSE | SIZE | 45 WDX 80 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C,ENCLOSURE:IP20,IP40 | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292056 | 1292056 | EA | 000000000001355113GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINIATURE C CURVE,6 A,P 1P | BREAKER,CIRCUIT;TYPE:MINIATURE C CURVE,CURRENT RATING:6 A,VOLTAGE RATING:240/415 V,INTERRUPT RATING:15 KA,NUMBER OF POLES:1P, OVERALL SIZE:WD 45 X HT 80 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 240/415 V | NUMBER OF POLES | 1 | INTERRUPT RATING | 15 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 45 WDX 80 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292057 | 1292057 | EA | 000000000001355112GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, THERMAL MAGNETIC, C | BREAKER,CIRCUIT;TYPE:MINIATURE, THERMAL MAGNETIC, C CURVE,CURRENT RATING:2 A,VOLTAGE RATING:440 VDC,INTERRUPT RATING:10 KA,NUMBER OF POLES:2P,OVERALL SIZE:WD 65.5 X LG 35.4 X DP 80 MM,TERMINAL TYPE:SCREW | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | THERMAL MAGNETIC | CURRENT RATING | 2 A | VOLTAGE RATING | 440 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | SCREW | SIZE | WD 65.5 X LG 35.4 X DP 80 MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292058 | 1292058 | EA | 000000000001355111GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINIATURE C CURVE,2 A,P 1P | BREAKER,CIRCUIT;TYPE:MINIATURE C CURVE,CURRENT RATING:2 A,VOLTAGE RATING:240/415 V,INTERRUPT RATING:15 KA,NUMBER OF POLES:1P, OVERALL SIZE:WD 45 X HT 45 MM,MOUNTING TYPE:TOP HAT RAIL | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING | 240/415 V | NUMBER OF POLES | 1 | INTERRUPT RATING | 15 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | TOP HAT RAIL | TERMINAL TYPE |  | SIZE | 45 WDX 45 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292059 | 1292059 | EA | 000000000001355110GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINIATURE C CURVE,10 A | BREAKER,CIRCUIT;TYPE:MINIATURE C CURVE,CURRENT RATING:10 A,VOLTAGE RATING:500 VDC,INTERRUPT RATING:15 KA,NUMBER OF POLES:2P, OVERALL SIZE:WD 45 X HT 80 MM,MOUNTING TYPE:TOP HAT RAIL,HAZARD CLASS:IP20, 40 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 500 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 15 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | TOP HAT RAIL | TERMINAL TYPE |  | SIZE | 45 WDX 80 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C,ENCLOSURE:IP20,IP40 | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1298768 | 1298768 | EA | 000000000001438964GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,4 A,8 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:4 A,INTERRUPT RATING:8 KA,NUMBER OF POLES:1P,MOUNTING TYPE:DIN RAIL, CERTIFICATION/STANDARD:AS 3111,ADDITIONAL FEATURES EN:TERRACOTTA | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 8 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111 | ADDITIONAL FEATURES EN | CURVE:C,TERRACOTTA | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300147 | 1300147 | EA | 000000000001431047GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,6 A,10 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:6 A,INTERRUPT RATING:10 KA,NUMBER OF POLES:1P,MOUNTING TYPE:DIN RAIL, CERTIFICATION/STANDARD:AS 3111, IEC 898 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111,IEC 898 | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1317740 | 1317740 | EA | 000000000001357211GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, RCD/RCBO, C CURVE | BREAKER,CIRCUIT;TYPE:MINIATURE, RCD/RCBO, C CURVE,CURRENT RATING:10 A,VOLTAGE RATING:240 VAC,INTERRUPT RATING:10 KA,NUMBER OF POLES:1P,OVERALL SIZE:WD 18 X LG 76 X HT 125 MM,TRIP SETTING:30 MA,MOUNTING TYPE:DIN RAIL,HAZARD CLASS:IP20, 40 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD/RCBO | CURRENT RATING | 10 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 30 MA | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX76 LGX 125 HT MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENCLOSURE:IP20,40 | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1344658 | 1344658 | EA | 000000000001449351GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,32 A,6 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:32 A,VOLTAGE RATING:240 VAC, 250 VDC,INTERRUPT RATING:6 KA,NUMBER OF POLES: 1P,MOUNTING TYPE:DIN RAIL | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC,250 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1344729 | 1344729 | EA | 000000000001424265GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,4 A,6 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:4 A,INTERRUPT RATING:6 KA,NUMBER OF POLES:1P,MOUNTING TYPE:DIN RAIL, CERTIFICATION/STANDARD:AS 3111, IEC 898 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111,IEC 898 | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1353394 | 1353394 | EA | 000000000001433452GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,10 A,10 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:10 A,INTERRUPT RATING:10 KA,NUMBER OF POLES:2P,MOUNTING TYPE:DIN RAIL, CERTIFICATION/STANDARD:AS 3111, IEC 898 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | AS 3111,IEC 898 | ADDITIONAL FEATURES EN | CURVE:C | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1352348 | 1352348 | EA | 000000000001459169GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR,1 A | BREAKER,CIRCUIT;TYPE:MINIATURE,CURRENT RATING:1 A | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 1 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1352349 | 1352349 | EA | 000000000001459170GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR,4 A | BREAKER,CIRCUIT;TYPE:MINIATURE,CURRENT RATING:4 A | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1352350 | 1352350 | EA | 000000000001459171GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR,10 A | BREAKER,CIRCUIT;TYPE:MINIATURE,CURRENT RATING:10 A | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1348323 | 1348323 | EA | 000000000001363201GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, RCD,160 A,250 V | BREAKER,CIRCUIT;TYPE:MINIATURE, RCD,CURRENT RATING:160 A,VOLTAGE RATING:250 V,INTERRUPT RATING:65 KA,NUMBER OF POLES:4P,TRIP SETTING:100-160 A | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD | CURRENT RATING | 160 A | VOLTAGE RATING | 250 V | NUMBER OF POLES | 4 | INTERRUPT RATING | 65 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | 100 TO 160 A | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1364445 | 1364445 | EA | 000000000001351545GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,0.5 A,6 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:0.5 A,VOLTAGE RATING:230/400 VAC,INTERRUPT RATING:6 KA,NUMBER OF POLES:1P, OVERALL SIZE:WD 18 X HT 86 X DP 76 MM,MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN:DC | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 0.5 A | VOLTAGE RATING | 230/400 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX 76 DP MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C,DC | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1364446 | 1364446 | EA | 000000000001351547GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, C CURVE,4 A,6 KA,DC | BREAKER,CIRCUIT;TYPE:MINIATURE, C CURVE,CURRENT RATING:4 A,INTERRUPT RATING:6 KA,NUMBER OF POLES:1P,OVERALL SIZE:DP 68 MM, MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN:DC | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | DP 68 MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:C,DC | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381390 | 1381390 | EA | 000000000001356866GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, D CURVE,100 A,10 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, D CURVE,CURRENT RATING:100 A,INTERRUPT RATING:10 KA,NUMBER OF POLES:2P | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 100 A | VOLTAGE RATING |  | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:D | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381391 | 1381391 | EA | 000000000001356865GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MINTR, D CURVE,25 A,10 KA | BREAKER,CIRCUIT;TYPE:MINIATURE, D CURVE,CURRENT RATING:25 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:10 KA,NUMBER OF POLES:2P, OVERALL SIZE:DP 68 MM,MOUNTING TYPE:DIN RAIL,HAZARD CLASS:IP20 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | DP 68 MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVE:D,ENCLOSURE:IP20 | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1234713 | 1234713 | EA | 000000000001440940GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;16-25 A,415 VAC,65 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:16-25 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:65 KA,NUMBER OF POLES:3P,MOUNTING TYPE:DIN RAIL, ADDITIONAL FEATURES EN:350 AMP MAGNETIC TRIP CURRENT,RATED 7.5/12.5KW AC2 AC3 400V, STARTE,R PROTECTOR | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 16 TO 25 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 65 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/STARTER PROTECTOR, 350 A MAGNETIC TRIP CURRENT,RATED 7.5/12.5 KW AC2 AC3 400 V | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1234714 | 1234714 | EA | 000000000001440941GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;25-40 A,415 VAC,65 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:25-40 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:65 KA,NUMBER OF POLES:3P,MOUNTING TYPE:DIN RAIL, ADDITIONAL FEATURES EN:560 AMP MAGNETIC TRIP CURRENT, RATED 10/11KW AC2 AC3 400V, STARTER,PROTECTOR | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 25 TO 40 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 65 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/STARTER,PROTECTOR, 560 A MAGNETIC TRIP CURRENT,RATED 10/11 KW AC2 AC3 400 V | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1265794 | 1265794 | EA | 000000000001393330GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;SCHN,LV431752,SCHN,LV43175 | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:LV431752,ADDITIONAL FEATURES EN:SCHN,LV431752 | LV431752 | 3000344 | SCHNEIDER INC | LV431752 | SCHNEIDER INC | LV431752 | [7 empty] | https://www.se.com/in/en/product/LV431752/circuit-breaker-compact-nsx250n-50-ka-at-415-vac-ma-trip-unit-220-a-3-poles-3d/ | https://www.one-elec.com/en/lv431752-circuit-breaker-compact-nsx250n-50ka-at-415vac-ma-trip-unit-220a-3-poles-3d-lv431752-schneider.html | [6 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 220 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 50 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | MAGNETIC | MOUNTING TYPE | FIXED BACKPLATE | TERMINAL TYPE |  | SIZE | 105 WDX161 HTX86 DP MM | CERTIFICATION/STANDARD | EN/IEC 60947 | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1281908 | 1281908 | EA | 000000000001420042GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;GAUGE BREAK BOX,1 KV | BREAKER,CIRCUIT;TYPE:GAUGE BREAK BOX,VOLTAGE RATING:1 KV,ADDITIONAL FEATURES EN:21C ELECTJUDI - JOHN PITMAN | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | GAUGE BREAK BOX | CURRENT RATING |  | VOLTAGE RATING | 1 KV | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 21C ELECTJUDI, JOHN PITMAN | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1289998 | 1289998 | EA | 000000000001444884GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;HEIN | BREAKER,CIRCUIT;ADDITIONAL FEATURES EN:HEIN | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEIN | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292060 | 1292060 | EA | 000000000001355109GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;16-20 A,690 VAC | BREAKER,CIRCUIT;CURRENT RATING:16-20 A,VOLTAGE RATING:690 VAC,OVERALL SIZE:WD 45 X LG 93 X DP 76 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 16 TO 20 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 45 WDX93 LGX76 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292370 | 1292370 | EA | 000000000001355240GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;CONV,6.3 A,6.3 VAC | BREAKER,CIRCUIT;TYPE:CONVERTER,CURRENT RATING:6.3 A,VOLTAGE RATING:6.3 VAC,OVERALL SIZE:WD 45 X HT 93 X DP 76 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | CONVERTER | CURRENT RATING | 6.3 A | VOLTAGE RATING | 6.3 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 45 WDX93 HTX76 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292371 | 1292371 | EA | 000000000001355239GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;690 VAC,2.5-4 A,SCREW | BREAKER,CIRCUIT;VOLTAGE RATING:690 VAC,TRIP SETTING:2.5-4 A,TERMINAL TYPE:SCREW | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING | 2.5 TO 4 A | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1292372 | 1292372 | EA | 000000000001355238GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;CONV,1.6 A,690 VAC | BREAKER,CIRCUIT;TYPE:CONVERTER,CURRENT RATING:1.6 A,VOLTAGE RATING:690 VAC,OVERALL SIZE:WD 45 X HT 93 X DP 45 MM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | CONVERTER | CURRENT RATING | 1.6 A | VOLTAGE RATING | 690 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 45 WDX93 HTX45 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 | Conflict in Description,Processed Based on Websource | 1293145 | 1293145 | EA | 000000000001355237GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;CONV,230 VAC | BREAKER,CIRCUIT;TYPE:CONVERTER,VOLTAGE RATING:230 VAC,ADDITIONAL FEATURES EN:KP-STARTER PKZ2/ZM-16/S, 50/60 HZ |  |  |  | PKZ2/ZM-16/S | EATON | PKZ2/ZM-16/S | [7 empty] | https://es-assets.eaton.com/DOCUMENTATION/PDF/OC/EN/Eaton-DS-040843-PKZ2_ZM-16-20130404.pdf | [7 empty] | ENRICHED | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | MANUAL | VOLTAGE RATING | 230 VAC | CURRENT RATING | 16 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP00 | MOUNTING TYPE |  | CERTIFICATION/STANDARD | UL 508,CSA C22.2 NO.14,IEC 60947-4-1,CE,CSA | ADDITIONAL FEATURES | CONVERTER | [47 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1316230 | 1316230 | EA | 000000000001357809GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;VACCUM,800 A,11 KV | BREAKER,CIRCUIT;TYPE:VACCUM,CURRENT RATING:800 A,VOLTAGE RATING:11 KV | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | VACCUM | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING | 11 KV | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | POLE CENTER DISTANCE |  | SOLENOID VOLTAGE RATING |  | SHUNT VOLTAGE RATING |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING SEQUENCES |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1299018 | 1299018 | EA | 000000000001434826GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;16 A,415 VAC,6 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:16 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:6 KA,NUMBER OF POLES:3P,MOUNTING TYPE:CLIP TRAY | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 6 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | CLIP TRAY | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1299019 | 1299019 | EA | 000000000001434824GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;10 A,240 VAC,6 A,P 1P | BREAKER,CIRCUIT;CURRENT RATING:10 A,VOLTAGE RATING:240 VAC,INTERRUPT RATING:6 A,NUMBER OF POLES:1P,OVERALL SIZE:DP 60 MM,MOUNTING TYPE:CLIP TRAY,ADDITIONAL FEATURES EN:250 V AC | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 240/250 VAC | FRAME RATING |  | INTERRUPT RATING | 6 A | NUMBER OF POLES | 1 | OVERALL SIZE | DP 60 MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | CLIP TRAY | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300148 | 1300148 | EA | 000000000001431039GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;250 A,415 VAC,35 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:250 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:35 KA,NUMBER OF POLES:3P,CERTIFICATION/STANDARD:AS 2184, 3858,ADDITIONAL FEATURES EN:THERMAL MAGNETIC, ADJ THERMAL TRIP,T ERMINAL SCREW CONNECTIONS | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121602 Magnetic circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | THERMAL MAGNETIC,ADJUSTABLE THERMAL TRIP | CURRENT RATING | 250 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 35 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS 2184,3858 | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300164 | 1300164 | EA | 000000000001365795GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;AIR,3.2 KA,P 4P | BREAKER,CIRCUIT;TYPE:AIR,CURRENT RATING:3.2 KA,NUMBER OF POLES:4P,ADDITIONAL FEATURES EN:AR3, STD VERTNE | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 3.2 KA | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES | 4 | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AR3,STD VERTNE | [35 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300165 | 1300165 | EA | 000000000001365794GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;2.5 KA,85 KA,P 4P | BREAKER,CIRCUIT;CURRENT RATING:2.5 KA,INTERRUPT RATING:85 KA,NUMBER OF POLES:4P,ADDITIONAL FEATURES EN:AR ACB BODY ONLY 3 | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2.5 KA | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING | 85 KA | NUMBER OF POLES | 4 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AR ACB BODY ONLY 3 | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300200 | 1300200 | EA | 000000000001355015GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;14.5-20 A,P 3P,DIN RAIL | BREAKER,CIRCUIT;CURRENT RATING:14.5-20 A,NUMBER OF POLES:3P,MOUNTING TYPE:DIN RAIL | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 14.5 TO 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1300231 | 1300231 | EA | 000000000001434389GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;20 A,415 VAC,30 KA,P 3P | BREAKER,CIRCUIT;CURRENT RATING:20 A,VOLTAGE RATING:415 VAC,INTERRUPT RATING:30 KA,NUMBER OF POLES:3P,CERTIFICATION/STANDARD:AS 2184, 3858,ADDITIONAL FEATURES EN:THERMAL MAGNETIC, ADJ THERMAL, FIXED MAGNETIC, CS 900 132V | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121602 Magnetic circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | THERMAL MAGNETIC,FIXED MAGNETIC | CURRENT RATING | 20 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 30 KA | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | AS 2184,3858 | ADDITIONAL FEATURES EN | CS 900 132V | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1321226 | 1321226 | EA | 000000000001441449GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;800 A,440 V | BREAKER,CIRCUIT;CURRENT RATING:800 A,VOLTAGE RATING:440 V,ADDITIONAL FEATURES EN:COMBINED FUSE SWITCH, ENGLISH ELECTRIC GENERAL | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING | 440 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBINED FUSE SWITCH,ENGLISH ELECTRIC GENERAL | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1346776 | 1346776 | EA | 000000000001460962GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;AIR,2.4 KA | BREAKER,CIRCUIT;TYPE:AIR,CURRENT RATING:2.4 KA,ADDITIONAL FEATURES EN:WITH DRAWABLE COMPLETE WITH STORED ENERGY SPRING CLOSING | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 2.4 KA | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W DRAWABLE COMPLETE W/STORED ENERGY SPRING CLOSING | [35 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1346862 | 1346862 | EA | 000000000001362909GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;0.3-30 A,200-440 VAC,P 3P | BREAKER,CIRCUIT;CURRENT RATING:0.3-30 A,VOLTAGE RATING:200-440 VAC,NUMBER OF POLES:3P,ADDITIONAL FEATURES EN:VIGI MB | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 0.3 TO 30 A | VOLTAGE RATING | 200 TO 440 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:VIGI MB | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1346863 | 1346863 | EA | 000000000001362911GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;0.03-10 A,200-440 VAC,P 3P | BREAKER,CIRCUIT;CURRENT RATING:0.03-10 A,VOLTAGE RATING:200-440 VAC,NUMBER OF POLES:3P,ADDITIONAL FEATURES EN:VIGI MH | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 0.3 TO 10 A | VOLTAGE RATING | 200 TO 440 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:VIGI MH | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1347630 | 1347630 | EA | 000000000001459152GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;AIR,1.6 KA | BREAKER,CIRCUIT;TYPE:AIR,CURRENT RATING:1.6 KA,ADDITIONAL FEATURES EN:AIRLOOSE C9 MOVING SECTION FOR C.P. C9, ACB TO | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 1.6 KA | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AIRLOOSE C9 MOVING SECTION F/C.P. C9 | [35 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1347631 | 1347631 | EA | 000000000001459153GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;AIR LOOSE C9 MOVING SECTIO | BREAKER,CIRCUIT;ADDITIONAL FEATURES EN:AIR LOOSE C9 MOVING SECTION FOR C.P. C9/2000 AM | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR LOOSE C9 MOVING SECTION, F/C.P. C9/2000 AM | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1347632 | 1347632 | EA | 000000000001459159GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;AIR,2.5 KA | BREAKER,CIRCUIT;TYPE:AIR,CURRENT RATING:2.5 KA,ADDITIONAL FEATURES EN:WITH STORED ENERGY SPRING CLOSE MANUAL CHARGE AND REL. SHUNT TRIP | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING | 2.5 KA | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W STORED ENERGY SPRING CLOSE MANUAL CHARGE AND RELEASE SHUNT TRIP | [35 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1349165 | 1349165 | EA | 000000000001442448GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;25 A,PLUG IN | BREAKER,CIRCUIT;CURRENT RATING:25 A,MOUNTING TYPE:PLUG IN,ADDITIONAL FEATURES EN:MACK TRUCKS, 20A |  |  | MACK TRUCKS |  | MACK TRUCKS | [8 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20/25 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | PLUG IN | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1349206 | 1349206 | EA | 000000000001428650GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;UNIVSL, RESETTABLE,10 A | BREAKER,CIRCUIT;UNIVERSAL, RESETTABLE,CURRENT RATING:10 A,VOLTAGE RATING:12 VDC,OVERALL SIZE:WD 13 X LG 30 X DP 12 MM,MOUNTING TYPE:FUSE BOX SNAP IN,ADDITIONAL FEATURES EN:CYCLING DESIGN | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 12 VDC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 13 WDX30 LGX12 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE | FUSE BOX SNAP IN | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CYCLING DESIGN | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1349435 | 1349435 | EA | 000000000001426804GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;800 A | BREAKER,CIRCUIT;CURRENT RATING:800 A | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 800 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1348812 | 1348812 | EA | 000000000001355262GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MAIN, MOULDED CASE,1.25 KA | BREAKER,CIRCUIT;TYPE:MAIN, MOULDED CASE,CURRENT RATING:1.25 KA,ADDITIONAL FEATURES EN:(F1-2) | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | MAIN | CURRENT RATING | 1.25 KA | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | F1-2 | [43 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1364444 | 1364444 | EA | 000000000001351544GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;MOULDED CASE,4 A,85 KA | BREAKER,CIRCUIT;TYPE:MOULDED CASE,CURRENT RATING:4 A,INTERRUPT RATING:85 KA,NUMBER OF POLES:3P | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING |  | NUMBER OF POLES | 2 | INTERRUPT RATING | 85 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1365170 | 1365170 | EA | 000000000001355000GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;PONY DRIVE,160 A | BREAKER,CIRCUIT;TYPE:PONY DRIVE,CURRENT RATING:160 A,ADDITIONAL FEATURES EN:LOAD BREAK CHANGE OVER SWITCH | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE | PONY DRIVE | CURRENT RATING | 160 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOAD BREAK CHANGE OVER SWITCH | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381504 | 1381504 | EA | 000000000001441506GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;60 A,500 V | BREAKER,CIRCUIT;CURRENT RATING:60 A,VOLTAGE RATING:500 V,ADDITIONAL FEATURES EN:COMBINED FUSE SWITCH, FARAD CFS | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 60 A | VOLTAGE RATING | 500 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FARAD CFS, COMBINED FUSE SWITCH | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381510 | 1381510 | EA | 000000000001441450GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;150 A,660 VAC,P 3P | BREAKER,CIRCUIT;CURRENT RATING:150 A,VOLTAGE RATING:660 VAC,NUMBER OF POLES:3P,ADDITIONAL FEATURES EN:NEUTRAL SWITCH-FUSE GENERAL POWER DISTRIBUTION | [13 empty] | URL NOT FOUND |  |  | NEUTRAL SWITCH-FUSE GENERAL POWER DISTRIBUTION |  |  |  |  | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 150 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381513 | 1381513 | EA | 000000000001441429GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;60 A,660 VAC | BREAKER,CIRCUIT;CURRENT RATING:60 A,VOLTAGE RATING:660 VAC,ADDITIONAL FEATURES EN:COMBINED FUSE SWITCH, ENGLISH ELECTRIC TYPE CH | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 60 A | VOLTAGE RATING | 660 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBINED FUSE SWITCH,ENGLISH ELECTRIC TYPE CH | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381514 | 1381514 | EA | 000000000001441428GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;80 KA,415 V,S | BREAKER,CIRCUIT;CURRENT RATING:80 KA,VOLTAGE RATING:415 V,ADDITIONAL FEATURES EN:COMBINED FUSE SWITCH, ENGLISH ELECTRIC TYPE CMP, NO.3 SUBSTATION CF,S | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 80 KA | VOLTAGE RATING | 415 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBINED FUSE SWITCH,ENGLISH ELECTRIC TYPE CMP,NO.3 SUBSTATION CF,S | [49 empty] | Production Completed
STP_009 | Data Enrichment | SCV | OK | 2023-06-20 | 2023-06-21 |  | 1381609 | 1381609 | EA | 000000000001436554GZPCLNT100 | M_BREAKER_CIRCUIT | BREAKER,CIRCT;1 KA,600 VAC,P 3P | BREAKER,CIRCUIT;CURRENT RATING:1 KA,VOLTAGE RATING:600 VAC,NUMBER OF POLES:3P,ADDITIONAL FEATURES EN:NEW ZINC SHED GANTRY | [13 empty] | URL NOT FOUND | [7 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 1 KA | VOLTAGE RATING | 600 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW ZINC SHED GANTRY | [49 empty] | Production Completed