## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1273592 | 1273592 | AIR CONDITIONER;RITL,3186930,UNT | AIR CONDITIONER;MNFR:RITTAL,PTNO:3186930,ADDITIONAL FEATURES EN:UNIT | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT3186930,AIR CONDITIONER,01)UNIT | 3186930 | 3000653 | RITTAL | RITTAL | 3186930 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0168KLIMA1/PG0169KLIMA1/PG0173KLIMA1/PRO44840?variantId=3186930 | https://in.rsdelivers.com/product/rittal/3186930/rittal-blue-e-series-air-conditioning-unit-2000w/h-1600-x-450-x-294mm/1243439 | [9 empty] | Enriched | 40101701 Air conditioners | AIR CONDITIONER | NO MODIFIER | TYPE |  | BTUH CAPACITY |  | REFRIGERANT TYPE | R134A | FLOW RATING | 1250 M3/HR | COOLING METHOD |  | POWER RATING | 0.73 KW | VOLTAGE RATING | 110 TO 240 VAC AT 1 PH,380 TO 480 VAC AT 3 PH | CURRENT RATING |  | TANK CAPACITY |  | POWER CORD LENGTH |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING TYPE:WALL,DIMENSION:450 WD MM X 1.6 HT M X 294 DP MM,,TEMPERATURE RATING:-20 TO 60 DEG C,MATERIAL:SHEET STEEL,UNIT | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1273299 | 1273299 | AIR CONDITIONER;RITL,3303500,BLU,500W,WA | AIR CONDITIONER;MNFR:RITTAL,PTNO:3303500,ADDITIONAL FEATURES EN:BLUE,500W,WALL MNT |  | 3303500 | 3000653 | RITTAL | RITTAL | 3303500 | [5 empty] | https://www.rittal.com/in-en/products/PG0168KLIMA1/PG0169KLIMA1/PG0173KLIMA1/PRO136367?variantId=3303500 | https://us.rs-online.com/product/rittal/3303500/70320642/ | [9 empty] | Enriched | 40101701 Air conditioners | AIR CONDITIONER | NO MODIFIER | TYPE |  | BTUH CAPACITY | 2400 BTU/HR | REFRIGERANT TYPE | R134A | FLOW RATING | 315 M3/HR EXTERNAL,265 M3/HR INTERNAL | COOLING METHOD |  | POWER RATING | 500 W | VOLTAGE RATING | 230 VAC | CURRENT RATING | 2.6 A | TANK CAPACITY |  | POWER CORD LENGTH |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING TYPE:WALL,DIMENSION:280 WDX550 HTX210 DP MM,COLOR:BLUE,TEMPERATURE RATING:10 TO 55 DEG C,MATERIAL:SHEET STEEL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1210003 | 1210003 | BEACON;NHP,KL2496R,SOUNDER,106DB,17-60 V | BEACON;MNFR:NHP,PTNO:KL2496R,ADDITIONAL FEATURES EN:SOUNDER,106DB,17-60 VDC,LED SONOS | 01)CNW (MOUNT ISA) ELECT WHO,01)KL2496R,BEACON,01)SOUNDER,106DB,02)17-60 VDC,03)LED SONOS | KL2496R | 3000664 | NHP | NHP | KL2496R | [5 empty] | https://www.nhp.com.au/product/kl2496r | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/KL2496R-7938-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | SONOS ELECTRONIC SOUNDER | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 17 TO 60 VDC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE | SURFACE | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOUND LEVEL:106 DB,DEGREE OF PROTECTION:IP65,NUMBER OF TONES:32,NUMBER OF ALARM:1 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1220281 | 1220281 | BEACON;NHP,KL980558,SOUNDER,NEXUS 110 | BEACON;MNFR:NHP,PTNO:KL980558,ADDITIONAL FEATURES EN:SOUNDER,NEXUS 110 230VAC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKL980558,BEACON,01)SOUNDER,NEXUS 110 230VAC | KL980558 | 3000664 | NHP | NHP | KL980558 | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-787/NHP_AU_Catalog-977/NHP_AU_Catalog-982/KL980558 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/KL980558-7979-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ELECTRONIC SOUNDER | LAMP TYPE | XENON | FLASH RATE |  | VOLTAGE RATING | 110/240 VAC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE | WALL | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEX | ADDITIONAL FEATURES EN | SOUND LEVEL:110 DB,DEGREE OF PROTECTION:IP66,NUMBER OF TONES:64,SERIES:NEXUS 110,CURRENT DRAWN:81 TO 93 MA,,NUMBER OF ALARM:3 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1272976 | 1272976 | BEACON;PHNX,850521405,LED,24VAC/DC,AMBR | BEACON;MNFR:PHOENIX CONTACT,PTNO:850521405,ADDITIONAL FEATURES EN:LED,24VAC/DC,AMBER,MULTIFUCTION,HIGH PERFORMANCE,AUER | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO850521405,BEACON,01)LED,24VAC/DC,AMBER,MULTIFUC | 850521405 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 850521405 | [5 empty] | https://www.distrelec.biz/en/led-signal-beacon-continuous-strobe-flashing-rotating-orange-24vac-dc-base-mount-rdmhp-auer-signal-850521405/p/30254399 | https://www.distrelec.biz/Web/Downloads/_t/ds/850521313_eng_tds.pdf | [9 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | HIGH PERFORMANCE,MULTIPLE EFFECT | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | AMBER | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 110 DIA BASE X 124 HT MM | MOUNTING TYPE | BASE | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEGREE OF PROTECTION:IP66,BRAND NAME:AUER SIGNAL,SERIES:RDMHP,LIGHT COLOR:ORANGE,TERMINATION TYPE:SCREW TERMINAL,CURRENT CONSUMPTION:1.8 A,CASE COLOR:BLACK | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1218548 | 1218548 | BEACON;SCHN,XVBC0M5,ORNG | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC0M5,ADDITIONAL FEATURES EN:ORANGE | 01)RS COMPONENTS PTY LTD,01)XVBC0M5,BEACON,01)ORANGE | XVBC0M5 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC0M5 | [5 empty] | https://www.se.com/uk/en/product/XVBC0M5/orange-led-unit/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE |  | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING |  | CAP/LENS COLOUR | ORANGE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1267346 | 1267346 | BEACON;SCHN,XVBC0M6,BLU | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC0M6,ADDITIONAL FEATURES EN:BLUE | 01)RS COMPONENTS PTY LTD,01)XVBC0M6,BEACON,01)BLUE | XVBC0M6 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC0M6 | [5 empty] | https://www.materielelectrique.com/etage-bleu-p-243578.html | https://www.nuovaelva.it/store/en/shop/brands/TEL/items/XVBC0M6 | [9 empty] | Cleansed | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE |  | LAMP TYPE |  | FLASH RATE |  | VOLTAGE RATING |  | CAP/LENS COLOUR | BLUE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1220272 | 1220272 | BEACON;SCHN,XVBC2B3,GRN | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC2B3,ADDITIONAL FEATURES EN:GREEN | 01)RS COMPONENTS PTY LTD,01)XVBC2B3,BEACON,01)GREEN | XVBC2B3 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC2B3 | [5 empty] | https://www.se.com/uk/en/product/XVBC2B3/illuminated-unit-for-modular-tower-lights-plastic-green-%C3%B870-steady-integral-led-24-v-ac-dc/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ILLUMINATED,STEADY SIGNALLING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 DIAX63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN | TEMPERATURE RATING:-25 TO 50 DEG C,DEGREE OF PROTECTION:IP65/IP66 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1218544 | 1218544 | BEACON;SCHN,XVBC2B4,RED | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC2B4,ADDITIONAL FEATURES EN:RED | 01)RS COMPONENTS PTY LTD,01)XVBC2B4,BEACON,01)RED | XVBC2B4 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC2B4 | [5 empty] | https://www.se.com/uk/en/product/XVBC2B4/illuminated-unit-for-modular-tower-lights-plastic-red-%C3%B870-steady-integral-led-24-v-ac-dc/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ILLUMINATED,STEADY SIGNALLING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 DIAX63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN | TEMPERATURE RATING:-25 TO 50 DEG C,DEGREE OF PROTECTION:IP65/IP66 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1218546 | 1218546 | BEACON;SCHN,XVBC2B5,ORNG | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC2B5,ADDITIONAL FEATURES EN:ORANGE | 01)RS COMPONENTS PTY LTD,01)XVBC2B5,BEACON,01)ORANGE | XVBC2B5 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC2B5 | [5 empty] | https://www.se.com/uk/en/product/XVBC2B5/illuminated-unit-for-modular-tower-lights-plastic-orange-%C3%B870-steady-integral-led-24-v-ac-dc/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ILLUMINATED,STEADY SIGNALLING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | ORANGE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 DIAX63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN | TEMPERATURE RATING:-25 TO 50 DEG C,DEGREE OF PROTECTION:IP65/IP66 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1218545 | 1218545 | BEACON;SCHN,XVBC2B6,BLU | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC2B6,ADDITIONAL FEATURES EN:BLUE | 01)RS COMPONENTS PTY LTD,01)XVBC2B6,BEACON,01)BLUE | XVBC2B6 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC2B6 | [5 empty] | https://www.se.com/uk/en/product/XVBC2B6/illuminated-unit-for-modular-tower-lights-plastic-blue-%C3%B870-steady-integral-led-24-v-ac-dc/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ILLUMINATED,STEADY SIGNALLING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | BLUE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 DIAX63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN | TEMPERATURE RATING:-25 TO 50 DEG C,DEGREE OF PROTECTION:IP65/IP66 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1218549 | 1218549 | BEACON;SCHN,XVBC2M3,GRN | BEACON;MNFR:SCHNEIDER INC,PTNO:XVBC2M3,ADDITIONAL FEATURES EN:GREEN | 01)RS COMPONENTS PTY LTD,01)XVBC2M3,BEACON,01)GREEN | XVBC2M3 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC2M3 | [5 empty] | https://www.se.com/uk/en/product/XVBC2M3/illuminated-unit-for-modular-tower-lights-plastic-green-%C3%B870-steady-integral-led-230-v-ac/ | [10 empty] | Enriched | 41112900 Navigational equipment and instruments | BEACON | NO MODIFIER | TYPE | ILLUMINATED,STEADY SIGNALLING | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 230 VAC | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 DIAX63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES EN | TEMPERATURE RATING:-25 TO 50 DEG C,DEGREE OF PROTECTION:IP65/IP66 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333381 | 1333381 | BEARING,BAL;DIEC,1F.4892732 | BEARING,BALL;MNFR:DIECI,PTNO:1F.4892732,ADDITIONAL FEATURES EN:INSIDE DIAMETER:34 MM,OUTSIDE DIAMETER:64 MM,OVERALL WIDTH:37 MM | BEARING,BALL,01)INSIDE DIAMETER:34 MM,OUTSIDE DIAMETER:64 MM,OV | 1F.4892732 | 3000511 | DIECI | DIECI | 1F.4892732 | [5 empty] | https://www.agropart.ru/catalog/dieci/1F.4892732/ | [10 empty] | Cleansed | 31171504 Ball bearings | BEARING | BALL | TYPE |  | INSIDE DIAMETER | 34 MM | OUTSIDE DIAMETER | 64 MM | OVERALL WIDTH | 37 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331466 | 1331466 | BEARING;ABB,1YMX241751M0001 | BEARING;MNFR:ABB,PTNO:1YMX241751M0001 | BEARING | 1YMX241751M0001 | 3000014 | ABB | ABB | 1YMX241751M0001 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331465 | 1331465 | BEARING;ABB,1YMX241751M0003 | BEARING;MNFR:ABB,PTNO:1YMX241751M0003 | BEARING | 1YMX241751M0003 | 3000014 | ABB | ABB | 1YMX241751M0003 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331464 | 1331464 | BEARING;ABB,1YMX241751M0009 | BEARING;MNFR:ABB,PTNO:1YMX241751M0009 | BEARING | 1YMX241751M0009 | 3000014 | ABB | ABB | 1YMX241751M0009 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331463 | 1331463 | BEARING;ABB,1YMX241751M0011 | BEARING;MNFR:ABB,PTNO:1YMX241751M0011 | BEARING | 1YMX241751M0011 | 3000014 | ABB | ABB | 1YMX241751M0011 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1217875 | 1217875 | BEARING;ASWP,DU B071306206 | BEARING;MNFR:AUSWEEP,PTNO:DU B071306206 | 01)AUSTRALIAN SWEEPER CORP P,01)DU B071306206,BEARING | DU B071306206 | 3000416 | AUSWEEP | AUSWEEP | DU B071306206 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1270557 | 1270557 | BEARING;ASWP,DU.DAK0000024 | BEARING;MNFR:AUSWEEP,PTNO:DU.DAK0000024 | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000024,BEARING | DU.DAK0000024 | 3000416 | AUSWEEP | AUSWEEP | DU.DAK0000024 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1270558 | 1270558 | BEARING;ASWP,DU.DAK0000025 | BEARING;MNFR:AUSWEEP,PTNO:DU.DAK0000025 | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000025,BEARING | DU.DAK0000025 | 3000416 | AUSWEEP | AUSWEEP | DU.DAK0000025 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1256104 | 1256104 | BEARING;CUM,206505 | BEARING;MNFR:CUMMINS,PTNO:206505 | BEARING | 206505 | 3000018 | CUMMINS | CUMMINS | 206505 | [5 empty] | https://s1partscenter.com/brands/cummins/bearing/206505 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213248 | 1213248 | BEARING;DRVT,IFI22933 | BEARING;MNFR:DRIVETRAIN,PTNO:IFI22933 | 01)DRIVETRAIN AUSTRALIA,01)IFI22933,BEARING | IFI22933 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI22933 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213395 | 1213395 | BEARING;DRVT,IFI31286 | BEARING;MNFR:DRIVETRAIN,PTNO:IFI31286 |  | IFI31286 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31286 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213396 | 1213396 | BEARING;DRVT,IFI31287 | BEARING;MNFR:DRIVETRAIN,PTNO:IFI31287 |  | IFI31287 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31287 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213401 | 1213401 | BEARING;DRVT,IFI31295 | BEARING;MNFR:DRIVETRAIN,PTNO:IFI31295 |  | IFI31295 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31295 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213513 | 1213513 | BEARING;DRVT,IFI33574 | BEARING;MNFR:DRIVETRAIN,PTNO:IFI33574 |  | IFI33574 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33574 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1214946 | 1214946 | BEARING;HYS,0030147 | BEARING;MNFR:HYSTER,PTNO:0030147 | BEARING | 30147 | 3000023 | HYSTER | HYSTER | 0030147 | [5 empty] | https://store.hgmforkliftparts.com/hyster_forklift_parts/HY0030147.aspx | [10 empty] | Enriched | 31171529 Bearing cups | CUP | BEARING | TYPE | TAPERED | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1214944 | 1214944 | BEARING;HYS,0230315,TAPER CONE | BEARING;MNFR:HYSTER,PTNO:0230315,ADDITIONAL FEATURES EN:TAPER CONE | BEARING,01)TAPER CONE,01)ROULEMENT A CONE CONIQUE | 230315 | 3000023 | HYSTER | HYSTER | 0230315 | [5 empty] | https://www.orangeparts.com/hyster-0230315-cone-bearing/ | https://www.liftpartswarehouse.com/product-p/hy230315.htm | [9 empty] | Enriched | 31171527 Bearing cones | CONE | BEARING | TYPE | TAPERED | INSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | CAGE MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1213692 | 1213692 | BEARING;SIE,02.007/ITEM 3 | BEARING;MNFR:SIEMENS,PTNO:02.007/ITEM 3 | BEARING | 02.007/ITEM 3 | 3000032 | SIEMENS | SIEMENS | 02.007 | [5 empty] | URL Not Found |  | 3 | [8 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1324008 | 1324008 | BEARING;SIE,06.006/ITEM 16 | BEARING;MNFR:SIEMENS,PTNO:06.006/ITEM 16 | BEARING | 06.006/ITEM 16 | 3000032 | SIEMENS | SIEMENS | 06.006 | [5 empty] | URL Not Found |  | 16 | [8 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1210770 | 1210770 | BEARING;SIE,13857315,430-595, DRAWING NO | BEARING;MNFR:SIEMENS,PTNO:13857315,ADDITIONAL FEATURES EN:430-595, DRAWING NO: 17856915, POSITION NO: 7 (INLET GUIDE VANE UNI | 01)SIEMENS ENERGY PTY LTD,01)13857315,BEARING,01)430-595, DRAWING NO: 178569 | 13857315 | 3000032 | SIEMENS | SIEMENS | 13857315 |  |  | 430-595 |  |  | URL Not Found |  |  | 178569 |  | POS 7 | [5 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INLET GUIDE VANE UNIT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331531 | 1331531 | BEARING;SIE,41EZLB11125 | BEARING;MNFR:SIEMENS,PTNO:41EZLB11125 | BEARING | 41EZLB11125 | 3000032 | SIEMENS | SIEMENS | 41EZLB11125 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1331530 | 1331530 | BEARING;SIE,41EZLB14140 | BEARING;MNFR:SIEMENS,PTNO:41EZLB14140 | BEARING | 41EZLB14140 | 3000032 | SIEMENS | SIEMENS | 41EZLB14140 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1335147 | 1335147 | BEARING;SIE,DIN51517 | BEARING;MNFR:SIEMENS,PTNO:DIN51517 | BEARING | DIN51517 | 3000032 | SIEMENS | SIEMENS | DIN51517 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1258298 | 1258298 | BEARING;SIE,J1005/01 | BEARING;MNFR:SIEMENS,PTNO:J1005/01 | BEARING | J1005/01 | 3000032 | SIEMENS | SIEMENS | J1005/01 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1258299 | 1258299 | BEARING;SIE,J1007/01 | BEARING;MNFR:SIEMENS,PTNO:J1007/01 | BEARING | J1007/01 | 3000032 | SIEMENS | SIEMENS | J1007/01 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1258300 | 1258300 | BEARING;SIE,J1201/05 | BEARING;MNFR:SIEMENS,PTNO:J1201/05 | BEARING | J1201/05 | 3000032 | SIEMENS | SIEMENS | J1201/05 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1241253 | 1241253 | BEARING;WEI,E009,MINERALS ROULEMENT,FAST | BEARING;MNFR:WEIR,PTNO:E009,ADDITIONAL FEATURES EN:MINERALS ROULEMENT ,FASTNERS 6/4 AH | BEARING,01)MINERALS ROULEMENT,FASTNERS 6/4 AH,01)ROULEMENT MINÉRAUX,FIXATIONS 6/4 AH | E009 | 3000036 | WEIR | WEIR | E009 | [5 empty] | https://weirafricastore.com/bearing-fastners-6-4-ah/ | https://www.slurrypumpsupply.com/metal-slurry-pump-parts/warman-slurry-pump-bearings.html | [6 empty] | 6/4 AH |  |  | Cleansed | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MINERALS ROULEMENT,FASTNERS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1252927 | 1252927 | CABINET;DIEC,ASM0000398/0D2 | CABINET;MNFR:DIECI,PTNO:ASM0000398/0D2,ADDITIONAL FEATURES EN:LATERAL CLOSING HOUSING | CABINET,01)LATERAL CLOSING HOUSING | ASM0000398/0D2 | 3000511 | DIECI | DIECI | ASM0000398/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 56101530 Storage cabinets | CABINET | NO MODIFIER | TYPE | LATERAL CLOSING HOUSING | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1253006 | 1253006 | CABINET;DIEC,BCG3240/0D2 | CABINET;MNFR:DIECI,PTNO:BCG3240/0D2,ADDITIONAL FEATURES EN:EMPTY,WITH GLASSES | CABINET,01)EMPTY,WITH GLASSES | BCG3240/0D2 | 3000511 | DIECI | DIECI | BCG3240/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 56101530 Storage cabinets | CABINET | NO MODIFIER | TYPE | EMPTY | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W GLASSES | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1252799 | 1252799 | CABINET;DIEC,BCG3263/0D2 | CABINET;MNFR:DIECI,PTNO:BCG3263/0D2,ADDITIONAL FEATURES EN:EMPTY,WITH GLASSES | CABINET,01)EMPTY,WITH GLASSES | BCG3263/0D2 | 3000511 | DIECI | DIECI | BCG3263/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 56101530 Storage cabinets | CABINET | NO MODIFIER | TYPE | EMPTY | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL |  | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W GLASSES | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1266770 | 1266770 | CABINET;RITL,5050067,800 X 2000 MM,TS | CABINET;MNFR:RITTAL,PTNO:5050067,ADDITIONAL FEATURES EN:800 X 2000 MM,TS SINGLE DOOR RAL7035 | 01)CNW (MOUNT ISA) ELECT WHO,01)5050067,CABINET,01)800 X 2000 MM,TS SINGLE D | 5050067 | 3000653 | RITTAL | RITTAL | 5050067 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/com-en/products/PG0002SCHRANK1/PGRP16662SCHRANK1/PGRP16861SCHRANK1/PGRP16862SCHRANK1/PRO45281?variantId=5050067 | [10 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | SINGLE DOOR | NEMA RATING |  | SIZE | 800 WD MMX2 HT M | MATERIAL |  | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR | LIGHT GRAY RAL 7035 | HAZARD CLASS |  | CERTIFICATION/STANDARD | GOST | ADDITIONAL FEATURES | C/WSINGLE DOOR,FOR TS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1266772 | 1266772 | CABINET;RITL,5503131,800 X 1200 X 800 MM | CABINET;MNFR:RITTAL,PTNO:5503131,ADDITIONAL FEATURES EN:800 X 1200 X 800 MM,TS IT RAL7035 WHD 24RU | 01)CNW (MOUNT ISA) ELECT WHO,01)5503131,CABINET,01)800 X 1200 X 800 MM,TS IT R | 5503131 | 3000653 | RITTAL | RITTAL | 5503131 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0800ITINFRA1/PG0039ITINFRA1/PGR10466ITINFRA1/PRO35233?variantId=5503131 | [10 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | NETWORK/SERVER | NEMA RATING |  | SIZE | 800 WD MMX1.2 HT MX800 DP MM | MATERIAL | SHEET STEEL,ALUMINIUM | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | GOST | ADDITIONAL FEATURES | UNIT:24,SERIES:TS IT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1266773 | 1266773 | CABINET;RITL,5504131,800 X 1200 X 1000MM | CABINET;MNFR:RITTAL,PTNO:5504131,ADDITIONAL FEATURES EN:800 X 1200 X 1000MM,TS IT WDH 24RU W/GLAZED DOOR | 01)CNW (MOUNT ISA) ELECT WHO,01)5504131,CABINET,01)800 X 1200 X 1000MM,TS IT W | 5504131 | 3000653 | RITTAL | RITTAL | 5504131 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0002SCHRANK1/PG0039SCHRANK1/PGR10466SCHRANK1/PRO35233?variantId=5504131 | [10 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | NETWORK/SERVER | NEMA RATING |  | SIZE | 800 WD MMX1.2 HTX1 DP M | MATERIAL | SHEET STEEL,ALUMINIUM | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR | LIGHT GRAY RAL 7035 FRAME AND PANEL,JET BLACK RAL 9005 INTERIAL ISTALLATION | HAZARD CLASS |  | CERTIFICATION/STANDARD | GOST,UL,CUL LISTED | ADDITIONAL FEATURES | C/W GLAZED DOOR,UNIT:24,SERIES:TS IT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1266774 | 1266774 | CABINET;RITL,5509131,800 X 2000 X 1000MM | CABINET;MNFR:RITTAL,PTNO:5509131,ADDITIONAL FEATURES EN:800 X 2000 X 1000MM,TS IT RAL7035 WHD 42RU | 01)CNW (MOUNT ISA) ELECT WHO,01)5509131,CABINET,01)800 X 2000 X 1000MM,TS IT R | 5509131 | 3000653 | RITTAL | RITTAL | 5509131 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0002SCHRANK1/PG0039SCHRANK1/PGR10466SCHRANK1/PRO35233?variantId=5509131 | [10 empty] | Enriched | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | NETWORK/SERVER | NEMA RATING |  | SIZE | 800 WD MMX2 HTX1 DP M | MATERIAL | SHEET STEEL,ALUMINIUM | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR | LIGHT GRAY RAL 7035 FRAME AND PANEL,JET BLACK RAL 9005 INTERIAL ISTALLATION | HAZARD CLASS |  | CERTIFICATION/STANDARD | GOST,UL,CUL LISTED | ADDITIONAL FEATURES | UNIT:42,SERIES:TS IT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333524 | 1333524 | CREAM;DIEC,BSC0097 | CREAM;MNFR:DIECI,PTNO:BSC0097,ADDITIONAL FEATURES EN:SUNSCREEN | CREAM,01)SUNSCREEN | BSC0097 | 3000511 | DIECI | DIECI | BSC0097 | [5 empty] | https://grassfield-zhytomyr.com.ua/ua/p1188152328-sontsezahisna-shtorka-bsc0097.html | [10 empty] | Cleansed | 53131609 Sun protection products | CREAM | NO MODIFIER | TYPE | SUNSCREEN | PACKAGE WEIGHT |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1252852 | 1252852 | FILTER,AIR;DIEC,2I.094123 | FILTER,AIR;MNFR:DIECI,PTNO:2I.094123,ADDITIONAL FEATURES EN:CABIN | FILTER,AIR,01)CABIN | 2I.094123 | 3000511 | DIECI | DIECI | 2I.094123 | [5 empty] | https://machineserve.co.uk/product/dieci-air-filter-cabin-2i-094123/ | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | CABIN | FILTER RATING |  | SIZE | 140 IDX160 ODX245 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333568 | 1333568 | FILTER,AIR;DIEC,BHC5027 | FILTER,AIR;MNFR:DIECI,PTNO:BHC5027,ADDITIONAL FEATURES EN:COMPLETE | FILTER,AIR,01)COMPLETE | BHC5027 | 3000511 | DIECI | DIECI | BHC5027 | [5 empty] | https://www.agrozet.cz/e-shop/dieci-bhc5027-sada-vzduchoveho-filtru-d16323.html | [10 empty] | Enriched | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE | AIR FILTER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1269929 | 1269929 | FILTER,AIR;DIEC,BHC5028 | FILTER,AIR;MNFR:DIECI,PTNO:BHC5028,ADDITIONAL FEATURES EN:PRIMARY, EXTERNAL | FILTER,AIR,01)PRIMARY, EXTERNAL | BHC5028 | 3000511 | DIECI | DIECI | BHC5028 | [5 empty] | https://excofilter.com/description/AX24960-FN/BHC5028-DIECI | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY,EXTERNAL | FILTER RATING |  | SIZE | 9.5 IDX241.3 ODX357.2 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/FINS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1217419 | 1217419 | FILTER,AIR;DIEC,BHC5029 | FILTER,AIR;MNFR:DIECI,PTNO:BHC5029,ADDITIONAL FEATURES EN:SECONDARY, INTERNAL | FILTER,AIR,01)SECONDARY, INTERNAL | BHC5029 | 3000511 | DIECI | DIECI | BHC5029 | [5 empty] | https://bartsparts.com/products/dieci-bhc5029/ | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | SECONDARY,INTERNAL | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1332952 | 1332952 | FILTER,AIR;DIEC,BHC5038 | FILTER,AIR;MNFR:DIECI,PTNO:BHC5038,ADDITIONAL FEATURES EN:INTAKE PRE | FILTER,AIR,01)INTAKE PRE | BHC5038 | 3000511 | DIECI | DIECI | BHC5038 | [5 empty] | https://www.lbr.ru/zapchasti/vozduhozabornik-bhc5038 | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | INTAKE,PRE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1258602 | 1258602 | FILTER,ELEM;DIEC,1F.1930010 | FILTER,ELEMENT;MNFR:DIECI,PTNO:1F.1930010,ADDITIONAL FEATURES EN:FLUID,FUEL,TELEHANDLER | FILTER,ELEMENT,01)FLUID,FUEL,TELEHANDLER | 1F.1930010 | 3000511 | DIECI | DIECI | 1F.1930010 | [5 empty] | https://www.malpasdirect.co.uk/partslist/index/oempartno/brand/dieci/sku/1f1930010 | [10 empty] | Enriched | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM | FUEL | DIMENSIONS | 85 ODX142 HT MM | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THREAD SIZE:M16X1.5 MM,TELEHANDLER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1219089 | 1219089 | FILTER,ELEM;DIEC,BHC5031 | FILTER,ELEMENT;MNFR:DIECI,PTNO:BHC5031,ADDITIONAL FEATURES EN:OIL | FILTER,ELEMENT,01)OIL | BHC5031 | 3000511 | DIECI | DIECI | BHC5031 | [5 empty] | https://www.malpasdirect.co.uk/partslist/index/oempartno/brand/dieci/sku/bhc5031 | [10 empty] | Enriched | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM | OIL | DIMENSIONS | 93 ODX175 HT MM | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THREAD SIZE:M27X2 MM | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333619 | 1333619 | FILTER,FLUD;DIEC,BHC0105 | FILTER,FLUID;MNFR:DIECI,PTNO:BHC0105,ADDITIONAL FEATURES EN:INTAKE,MEDIUM:HYDRAULIC,DIMENSIONS:ID 41.3 X OD 82.6 X LG 139.7 MM | FILTER,FLUID,01)INTAKE,MEDIUM:HYDRAULIC,DIMENSIONS:ID 41.3 X OD | BHC0105 | 3000511 | DIECI | DIECI | BHC0105 | [5 empty] | https://www.surplusstockworldwide.com/Product/dieci-HYDRAULIC-FILTER-meddi-bhc0105-92 | [10 empty] | Cleansed | 40161500 Filters | FILTER | FLUID | TYPE | HYDRAULIC,INTAKE | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS | 41.3 IDX82.6 ODX139.7 LG MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333408 | 1333408 | FILTER,FLUD;DIEC,BHC0107 | FILTER,FLUID;MNFR:DIECI,PTNO:BHC0107,ADDITIONAL FEATURES EN:INTAKE,MEDIUM:HYDRAULIC | FILTER,FLUID,01)INTAKE,MEDIUM:HYDRAULIC | BHC0107 | 3000511 | DIECI | DIECI | BHC0107 | [5 empty] | https://oxfil.com/en/eu/product/hydraulic-filter/dieci-bhc0107 | https://shehab.sa/en/eRgWVd | [9 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | HYDRAULIC,INTAKE,SUCTION | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333438 | 1333438 | FILTER,FLUD;DIEC,BHC0114 | FILTER,FLUID;MNFR:DIECI,PTNO:BHC0114,ADDITIONAL FEATURES EN:INTAKE,MEDIUM:HYDRAULIC | FILTER,FLUID,01)INTAKE,MEDIUM:HYDRAULIC | BHC0114 | 3000511 | DIECI | DIECI | BHC0114 | [5 empty] | https://www.agrozet.cz/e-shop/dieci-bhc0114-saci-filtr-dieci-d10759.html | https://fim.by/dieci/item/bhc0114 | [9 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | HYDRAULIC,INTAKE | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS | 130 ODX227 HT MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333434 | 1333434 | FLANGE;DIEC,BHA0913 | FLANGE;MNFR:DIECI,PTNO:BHA0913,ADDITIONAL FEATURES EN:NOMINAL SIZE:3/4 IN | FLANGE,01)NOMINAL SIZE:3/4 IN | BHA0913 | 3000511 | DIECI | DIECI | BHA0913 | [5 empty] | https://axial-parts.com/45-zapasni-chastyny-do-navantazhuvachiv/4500-zapasni-chastyny-do-navantazhuvachiv/flang-90o-3-4-gasxpompa-bosch-bha0913-483683 | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE | 3/4 IN | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333497 | 1333497 | FLANGE;DIEC,BHA0950 | FLANGE;MNFR:DIECI,PTNO:BHA0950,ADDITIONAL FEATURES EN:RUBBER HOSE HOLDER,NOMINAL SIZE:1-1/2 IN | FLANGE,01)RUBBER HOSE HOLDER,NOMINAL SIZE:1-1/2 IN | BHA0950 | 3000511 | DIECI | DIECI | BHA0950 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE | 1-1/2 IN | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUBBER HOSE HOLDER | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333339 | 1333339 | FLANGE;DIEC,BHA0975 | FLANGE;MNFR:DIECI,PTNO:BHA0975,ADDITIONAL FEATURES EN:HALF | FLANGE,01)HALF | BHA0975 | 3000511 | DIECI | DIECI | BHA0975 | [5 empty] | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE | HALF | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1252842 | 1252842 | LEVEL;DIEC,BCA6496/0D | LEVEL;MNFR:DIECI,PTNO:BCA6496/0D,ADDITIONAL FEATURES EN:FRAME | LEVEL,01)FRAME | BCA6496/0D | 3000511 | DIECI | DIECI | BCA6496/0D | [5 empty] | URL Not Found | [10 empty] | Cleansed | 27111802 Levels | LEVEL | NO MODIFIER | TYPE | FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1333554 | 1333554 | LEVEL;DIEC,BWD0000 | LEVEL;MNFR:DIECI,PTNO:BWD0000,ADDITIONAL FEATURES EN:SPIRIT | LEVEL,01)SPIRIT | BWD0000 | 3000511 | DIECI | DIECI | BWD0000 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 27111802 Levels | LEVEL | NO MODIFIER | TYPE | SPIRIT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1253064 | 1253064 | RESERVOIR;DIEC,BEQ2010 | RESERVOIR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:WINDSCREEN WASHER BOTTLE,PTNO 01:BEQ2010 | RESERVOIR,01)WINDSCREEN WASHER BOTTLE | BEQ2010 | 3000511 | DIECI | DIECI | BEQ2010 |  |  | ZEUS 33.1 |  |  | https://www.agrozet.cz/e-shop/dieci-beq2010-nadrzka-ostrikovace-agri-farmer-287-d4144.html | [7 empty] | SAMSON 70.10 |  |  | Cleansed | 24111801 Reservoirs | RESERVOIR | NO MODIFIER | TYPE | WINDSCREEN WASHER BOTTLE | SIZE |  | CAPACITY |  | MATERIAL |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-24 |  | 1253068 | 1253068 | RESERVOIR;DIEC,BVK0416 | RESERVOIR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:OVERFLOW RADIATOR EXPANSION BOTTLE,PTNO 01:BVK0416 | RESERVOIR,01)OVERFLOW RADIATOR EXPANSION BOTTLE | BVK0416 | 3000511 | DIECI | DIECI | BVK0416 |  |  | ZEUS 33.1 |  |  | https://parts.titanmachinery.ua/dieci/BVK0416 | [7 empty] | SAMSON 70.10 |  |  | Cleansed | 24111801 Reservoirs | RESERVOIR | NO MODIFIER | TYPE | OVERFLOW RADIATOR EXPANSION BOTTLE | SIZE |  | CAPACITY |  | MATERIAL |  | PRESSURE RATING |  | INLET SIZE |  | OUTLET SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed