## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1266472 | 1266472 | CARD,COMM;AB,A-B1756IB32,32 CHANNEL | CARD,COMMUNICATION;MNFR:ALLEN BRADLEY,PTNO:A-B1756IB32,ADDITIONAL FEATURES EN:32 CHANNEL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B1756IB32,CARD,COMMUNICATION,01)32 CHANNEL | A-B1756IB32 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-IB32 | ALLEN BRADLEY | CNW ELECTRICAL WHOLESALE |  |  |  | https://configurator.rockwellautomation.com/api/Doc/1756-td002_-en-e.pdf | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | DC DIGITAL | INPUT RATING | 10 TO 31.2 VDC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF CHANNEL:32 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1266495 | 1266495 | CARD,COMM;AB,A-B1756IF16,16PT ANA IN 36 | CARD,COMMUNICATION;MNFR:ALLEN BRADLEY,PTNO:A-B1756IF16,ADDITIONAL FEATURES EN:16PT ANA IN 36 | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B1756IF16,CARD,COMMUNICATION,01)16PT ANA IN 36 | A-B1756IF16 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-IF16 | ALLEN BRADLEY | CNW ELECTRICAL WHOLESALE |  |  |  | https://configurator.rockwellautomation.com/api/Doc/1756-td002_-en-e.pdf | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | ANALOG | INPUT RATING | +/-10 V, 0 TO 20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF CHANNEL:16 (36 PIN) | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267655 | 1267655 | CARD,COMM;ECAM,FIN-DIG-17010,PCB 1608090 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17010,ADDITIONAL FEATURES EN:PCB 16080902 DIGICOM LF CONVEYANCE STANDALONE | 01)ECAM (PTY) LTD,01)FIN-DIG-17010,CARD,COMMUNICATION,01)PCB 16080902 DIGICOM LF CON | FIN-DIG-17010 | 3000424 | ECAM | ECAM | FIN-DIG-17010 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16080902 DIGICOM LF CONVEYANCE STANDALONE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267656 | 1267656 | CARD,COMM;ECAM,FIN-DIG-17091,PCB 1509020 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17091,ADDITIONAL FEATURES EN:PCB 15090201 DIGICOM 8 I/O TERMINAL BOARD | 01)ECAM (PTY) LTD,01)FIN-DIG-17091,CARD,COMMUNICATION,01)PCB 15090201 DIGICOM 8 I/O | FIN-DIG-17091 | 3000424 | ECAM | ECAM | FIN-DIG-17091 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE | INPUT/OUTPUT | INPUT RATING |  | NUMBER OF PORTS | 8 | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 15090201 DIGICOM 8 I/O TERMINAL BOARD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267657 | 1267657 | CARD,COMM;ECAM,FIN-DIG-17093,PCB 1606090 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17093,ADDITIONAL FEATURES EN:PCB 16060901 DIGICOM 4 ANALOG INPUT CARD | 01)ECAM (PTY) LTD,01)FIN-DIG-17093,CARD,COMMUNICATION,01)PCB 16060901 DIGICOM 4 ANAL | FIN-DIG-17093 | 3000424 | ECAM | ECAM | FIN-DIG-17093 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE | ANALOG | INPUT RATING |  | NUMBER OF PORTS | 4 | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16060901 DIGICOM 4 ANALOG INPUT CARD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267658 | 1267658 | CARD,COMM;ECAM,FIN-DIG-17094,PCB 1607120 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17094,ADDITIONAL FEATURES EN:PCB 16071202 DIGICOM CMU ANALOG CONNEC CONVERSION | 01)ECAM (PTY) LTD,01)FIN-DIG-17094,CARD,COMMUNICATION,01)PCB 16071202 DIGICOM CMU AN | FIN-DIG-17094 | 3000424 | ECAM | ECAM | FIN-DIG-17094 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE | ANALOG | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16071202 DIGICOM CMU ANALOG CONNEC CONVERSION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267659 | 1267659 | CARD,COMM;ECAM,FIN-DIG-17095,PCB 1607100 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17095,ADDITIONAL FEATURES EN:PCB 16071001 DIGICOM RJ45 TO TERM. LAN CONVERTION | 01)ECAM (PTY) LTD,01)FIN-DIG-17095,CARD,COMMUNICATION,01)PCB 16071001 DIGICOM RJ45 T | FIN-DIG-17095 | 3000424 | ECAM | ECAM | FIN-DIG-17095 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE | RJ45 | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16071001 DIGICOM RJ45 TO TERM. LAN CONVERTION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267660 | 1267660 | CARD,COMM;ECAM,FIN-DIG-17251,PCB 1604040 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-DIG-17251,ADDITIONAL FEATURES EN:PCB 16040401 DIGICOM POE TERMINAL BOARD | 01)ECAM (PTY) LTD,01)FIN-DIG-17251,CARD,COMMUNICATION,01)PCB 16040401 DIGICOM POE TE | FIN-DIG-17251 | 3000424 | ECAM | ECAM | FIN-DIG-17251 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16040401 DIGICOM POE TERMINAL BOARD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267661 | 1267661 | CARD,COMM;ECAM,FIN-PCB-00112,PCB 1405020 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-PCB-00112,ADDITIONAL FEATURES EN:PCB 14050202 DIGICOM SPEECH UNIT CODEC (COMBINED) | 01)ECAM (PTY) LTD,01)FIN-PCB-00112,CARD,COMMUNICATION,01)PCB 14050202 DIGICOM SPEECH | FIN-PCB-00112 | 3000424 | ECAM | ECAM | FIN-PCB-00112 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 14050202 DIGICOM SPEECH UNIT CODEC (COMBINED) | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267662 | 1267662 | CARD,COMM;ECAM,FIN-PCB-00750,PCB 0203010 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-PCB-00750,ADDITIONAL FEATURES EN:PCB 02030103 LCD INTERFACE COMPLETE 20X4 SMALL | 01)ECAM (PTY) LTD,01)FIN-PCB-00750,CARD,COMMUNICATION,01)PCB 02030103 LCD INTERFACE | FIN-PCB-00750 | 3000424 | ECAM | ECAM | FIN-PCB-00750 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 02030103 LCD INTERFACE COMPLETE 20X4 SMALL | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1267663 | 1267663 | CARD,COMM;ECAM,FIN-PCB-00910,PCB 1609040 | CARD,COMMUNICATION;MNFR:ECAM,PTNO:FIN-PCB-00910,ADDITIONAL FEATURES EN:PCB 16090401 REMOTE 2X RELAY SWITCHING | 01)ECAM (PTY) LTD,01)FIN-PCB-00910,CARD,COMMUNICATION,01)PCB 16090401 REMOTE 2X RELA | FIN-PCB-00910 | 3000424 | ECAM | ECAM | FIN-PCB-00910 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 16090401 REMOTE 2X RELAY SWITCHING | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1271040 | 1271040 | CARD,COMM;OTIS,GDA25005B10 9693J,PBB,OTI | CARD,COMMUNICATION;MNFR:OTIS ELEVATOR CO LTD,PTNO:GDA25005B10 9693J,ADDITIONAL FEATURES EN:PBB,OTIS,LIFT CARDS | 01)OTIS ELEVATOR CO. PTY LTD,01)GDA25005B10 9693J,CARD,COMMUNICATION,01)PBB,OTIS,LIFT CARDS | GDA25005B10 9693J | 3000554 | OTIS ELEVATOR CO LTD | OTIS ELEVATOR CO LTD | GDA25005B10 9693J | [5 empty] | https://www.es-escalatorpart.com/elevatorparts/USE_FOR_otis/GDA25005B10_Elevator_Remote_Station_Board_32852.html | [10 empty] | ENRICHED | 43201400 System Cards | CARD | COMMUNICATION | TYPE | REMOTE STATION | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PBB,OTIS,LIFT CARDS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1266961 | 1266961 | CARD,COMM;THGM,30300,ASSY,MEP300 DEM BOX | CARD,COMMUNICATION;MNFR:THERMO GAMMA-METRICS,PTNO:30300,ADDITIONAL FEATURES EN:ASSY,MEP300 DEM BOX,AMCU/NITON | 01)THERMO GAMMA-METRICS PTY,01)30300,CARD,COMMUNICATION,01)ASSY,MEP300 DEM BOX,AMCU/NI | 30300 | 3000468 | THERMO GAMMA-METRICS | THERMO GAMMA-METRICS | 30300 | [16 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,MEP300 DEM BOX,AMCU/NITON | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1275795 | 1275795 | CARD,INTFC;FUCH,FLA-6215000,MICROLOGIX 1 | CARD,INTERFACE;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6215000,ADDITIONAL FEATURES EN:MICROLOGIX 1400,EXPANSION | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6215000,CARD,INTERFACE,01)MICROLOGIX 1400,EXPANSION | FLA-6215000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | FLA-6215000 | [16 empty] | CLEANSED | 43201404 Network interface cards | CARD | INTERFACE | TYPE | EXPANSION | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR MICROLOGIX 1400 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1218820 | 1218820 | CARD,INTFC;YOKG,ADV169-P00 | CARD,INTFC;MNFR:YOKOGAWA,PTNO:ADV169-P00 |  | ADV169-P00 | 3000446 | YOKOGAWA | YOKOGAWA | ADV169-P00 | [5 empty] | http://web-material3.yokogawa.com/GS33J60F70-01EN.pdf | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING | 5 VDC,20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1218821 | 1218821 | CARD,INTFC;YOKG,ADV569-P00 | CARD,INTFC;MNFR:YOKOGAWA,PTNO:ADV569-P00 |  | ADV569-P00 | 3000446 | YOKOGAWA | YOKOGAWA | ADV569-P00 | [5 empty] | http://web-material3.yokogawa.com/GS33J60F70-01EN.pdf | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 30 VDC,100 MA | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1216455 | 1216455 | CARD,INTFC;YOKG,VI702,VNET/IP | CARD,INTERFACE;MNFR:YOKOGAWA,PTNO:VI702,ADDITIONAL FEATURES EN:VNET/IP | 01)YOKOGAWA AUSTRALIA PTY LT,01)VI702,CARD,INTERFACE,01)VNET/IP | VI702 | 3000446 | YOKOGAWA | YOKOGAWA | VI702 | [5 empty] | https://web-material3.yokogawa.com/GS33J50C10-01EN.pdf | [10 empty] | ENRICHED | 43201404 Network interface cards | CARD | INTERFACE | TYPE | VNET/IP | POWER SUPPLY | 3.3 V,2.5 A | DATA TRANSFER RATE | 1 GBPS | POWER DISSIPATION |  | INTERFACE TYPE | RJ45 | NUMBER OF PORTS |  | SIZE | 180.97 LGX126.31 HTX21.59 DP MM | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1212907 | 1212907 | CARD,MEM;EXPNDR, COMPACT FLASH | CARD,MEMORY;TYPE:EXPANDER, COMPACT FLASH,ADDITIONAL FEATURES EN:SINAMICS S120, OHNE PERFORMANCE-ERWEITERUNG,EINSCHLIESSLICH LIZENZI,ERUNG,(CERT OF LIC)V4.07,MNFR:SIEMENS,PTNO:6SL3054-0EH00-1BA0 | EN_01)EXPANDER, COMPACT FLASH,01)SINAMICS S120, OHNE PERFORM,02)ERUNG,(CERT OF LIC)V4.07,EXPANDER | 6SL3054-0EH00-1BA0 | 3000032 | SIEMENS | SIEMENS | 6SL3054-0EH00-1BA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6SL3054-0EH00-1BA0 | [10 empty] | CLEANSED | 43201800 Media storage devices | CARD | MEMORY | TYPE | EXPANDER,COMPACT FLASH | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SINAMICS S120,W/O PERFORMANCE ENHANCEMENT,INCLUDING LICENSING,(CERTIFICATE OF LICENSE)V4.07 | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1212913 | 1212913 | CARD,MEM;EXPNDR, MICRO,2 MB | CARD,MEMORY;TYPE:EXPANDER, MICRO,MEMORY:2 MB,ADDITIONAL FEATURES EN:SIMATIC S7, P.S7-300/C7/ET 200,3.3 V N FLASH,MNFR:SIEMENS, PTNO:6ES7953-8LL31-0AA0 | EN_01)EXPANDER, MICRO,EN_01)2 MB,01)SIMATIC S7, P.S7-300/C7/ET,EXPANDER | 6ES7953-8LL31-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7953-8LL31-0AA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7953-8LL31-0AA0&language=en | [10 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE | EXPANDER,MICRO | MEMORY | 2 MB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE | 24 WDX32 HTX1.4 DP MM | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SIMATIC S7,FOR S7-300/C7/ET 200,3.3 V N FLASH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1214428 | 1214428 | CARD,MEM;EXPNDR, SIPLUS DP | CARD,MEMORY;TYPE:EXPANDER, SIPLUS DP,TEMPERATURE RATING:-25 TO 70 DEG C,ADDITIONAL FEATURES EN:ET200M IM153-1 -40.+70 DGR C,WITH CONFORMALCOATING,BASED,ON 6ES7153,-1AA03-0XB0,INTERFACE FOR ET 200M,FOR MAX,8 S7-300 MODULE,MNFR:SIEMENS,PTNO:6AG1153-1AA03-2XB0 | EN_01)EXPANDER, SIPLUS DP,-25 TO 70 DEG C,01)ET200M IM153-1 -40.+70 DGR,02)-1AA03-0XB0,INTERFACE FOR E,EXPANDER | 6AG1153-1AA03-2XB0 | 3000032 | SIEMENS | SIEMENS | 6AG1153-1AA03-2XB0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6AG1153-1AA03-2XB0&language=en | [10 empty] | ENRICHED | 45111807 Interfaces | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION |  | INPUT RATING | 24 VDC,350 MA | CONNECTION TYPE | 9-PIN | NUMBER OF PORTS |  | SIZE | 40 WDX125 HTX117 DP MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-40 TO 70 DEG C,SERIES:SIPLUS ET200M DP IM153-1,C/W CONFORMALCOATING,BASED,ON 6ES7153-1AA03-0XB0,FOR ET 200M,MAX,8 S7-300 MODULE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1272519 | 1272519 | CARD,MEM;SIE,RSC1769803,FLASH,SIMATIC S7 | CARD,MEMORY;MNFR:SIEMENS,PTNO:RSC1769803,ADDITIONAL FEATURES EN:FLASH,SIMATIC S7,3,3 V,4 MB,FOR S7-1X 00 CPU/SINAMICS |  | RSC1769803 | 3000032 | SIEMENS | SIEMENS | RSC1769803 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43201800 Media storage devices | CARD | MEMORY | TYPE | FLASH | MEMORY | 4 MB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SIMATIC S7,3,3 V,FOR S7-1X 00 CPU/SINAMICS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325319 | 1325319 | CARD;ABB,2668 006-890 | CARD;MNFR:ABB,PTNO:2668 006-890 | CARD | 2668 006-890 | 3000014 | ABB | ABB | 2668 006-890 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325332 | 1325332 | CARD;ABB,2668 170-370 | CARD;MNFR:ABB,PTNO:2668 170-370 | CARD | 2668 170-370 | 3000014 | ABB | ABB | 2668 170-370 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325318 | 1325318 | CARD;ABB,2668 170-418 | CARD;MNFR:ABB,PTNO:2668 170-418 | CARD | 2668 170-418 | 3000014 | ABB | ABB | 2668 170-418 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325315 | 1325315 | CARD;ABB,2668 171-133/2 | CARD;MNFR:ABB,PTNO:2668 171-133/2 | CARD | 2668 171-133/2 | 3000014 | ABB | ABB | 2668 171-133/2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325785 | 1325785 | CARD;ABB,2668 171-202 | CARD;MNFR:ABB,PTNO:2668 171-202 | CARD | 2668 171-202 | 3000014 | ABB | ABB | 2668 171-202 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325320 | 1325320 | CARD;ABB,2668 171-210 | CARD;MNFR:ABB,PTNO:2668 171-210 | CARD | 2668 171-210 | 3000014 | ABB | ABB | 2668 171-210 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325317 | 1325317 | CARD;ABB,2668 171-259 | CARD;MNFR:ABB,PTNO:2668 171-259 | CARD | 2668 171-259 | 3000014 | ABB | ABB | 2668 171-259 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325307 | 1325307 | CARD;ABB,2668 171-280 | CARD;MNFR:ABB,PTNO:2668 171-280 | CARD | 2668 171-280 | 3000014 | ABB | ABB | 2668 171-280 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325329 | 1325329 | CARD;ABB,2668 171-64/1 | CARD;MNFR:ABB,PTNO:2668 171-64/1 | CARD | 2668 171-64/1 | 3000014 | ABB | ABB | 2668 171-64/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325312 | 1325312 | CARD;ABB,2668 180-183/2 | CARD;MNFR:ABB,PTNO:2668 180-183/2 | CARD | 2668 180-183/2 | 3000014 | ABB | ABB | 2668 180-183/2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325284 | 1325284 | CARD;ABB,2668 180-35/6 | CARD;MNFR:ABB,PTNO:2668 180-35/6 | CARD | 2668 180-35/6 | 3000014 | ABB | ABB | 2668 180-35/6 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325313 | 1325313 | CARD;ABB,2668 180-4011 | CARD;MNFR:ABB,PTNO:2668 180-4011 | CARD | 2668 180-4011 | 3000014 | ABB | ABB | 2668 180-4011 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1325275 | 1325275 | CARD;ABB,2668 180-547/1 | CARD;MNFR:ABB,PTNO:2668 180-547/1 | CARD | 2668 180-547/1 | 3000014 | ABB | ABB | 2668 180-547/1 | ABB |  |  |  |  | https://smtnet.com/company/index.cfm?fuseaction=view_company&company_id=57729&component=catalog&catalog_id=32813 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | ANALOG | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325279 | 1325279 | CARD;ABB,2668 184-25 | CARD;MNFR:ABB,PTNO:2668 184-25 | CARD | 2668 184-25 | 3000014 | ABB | ABB | 2668 184-25 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1325271 | 1325271 | CARD;ABB,2668 18O-162/5 | CARD;MNFR:ABB,PTNO:2668 18O-162/5 | CARD | 2668 18O-162/5 | 3000014 | ABB | ABB | 2668 180-162/5 | ABB |  |  |  |  | http://www.drillingsolutionsltd.com/abb2.html | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325323 | 1325323 | CARD;ABB,2668 510-271 | CARD;MNFR:ABB,PTNO:2668 510-271 | CARD | 2668 510-271 | 3000014 | ABB | ABB | 2668 510-271 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1258198 | 1258198 | CARD;ABB,3ADT200007R0101 | CARD;MNFR:ABB,PTNO:3ADT200007R0101 | CARD | 3ADT200007R0101 | 3000014 | ABB | ABB | 3ADT200007R0101 | ABB |  |  |  |  | https://new.abb.com/products/3ADT200007R0101/3adt200007r0101 | [10 empty] | CLEANSED | 43201800 Media storage devices | CARD | MEMORY | TYPE |  | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1330071 | 1330071 | CARD;ABB,3ADT20005R0001 | CARD;MNFR:ABB,PTNO:3ADT20005R0001 | CARD | 3ADT20005R0001 | 3000014 | ABB | ABB | 3ADT20005R0001 | [5 empty] | https://www.volza.com/p/3adt20005r0001/export/export-from-poland/cod-india/ | [10 empty] | CLEANSED | 43201400 System Cards | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1258174 | 1258174 | CARD;ABB,3ADT315100R1012 | CARD;MNFR:ABB,PTNO:3ADT315100R1012 | CARD | 3ADT315100R1012 | 3000014 | ABB | ABB | 3ADT315100R1012 | [5 empty] | https://new.abb.com/products/3ADT315100R1012/3adt315100r1012 | [10 empty] | CLEANSED |  | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325347 | 1325347 | CARD;ABB,3AFE61320954P0001 | CARD;MNFR:ABB,PTNO:3AFE61320954P0001 | CARD | 3AFE61320954P0001 | 3000014 | ABB | ABB | 3AFE61320954P0001 | [5 empty] | https://www.drives-center.com/pm861ak01-3bse018157r1-processor-unit-new-p0329-p0566.html | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE | ENCODER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325335 | 1325335 | CARD;ABB,3BHB007211R0101 | CARD;MNFR:ABB,PTNO:3BHB007211R0101 | CARD | 3BHB007211R0101 | 3000014 | ABB | ABB | 3BHB007211R0101 | [5 empty] | https://www.swanplc.com/dcs-excitation-xv-c768-ae101-3bhb007211r0101-abb_p9356.html | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE | EXCITATION | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1271236 | 1271236 | CARD;ABB,3BHB009885R0032 | CARD;MNFR:ABB,PTNO:3BHB009885R0032 | CARD | 3BHB009885R0032 | 3000014 | ABB | ABB | 3BHB009885R0032 | [5 empty] | https://tianluowei01.jdzj.com/supplyinfo-3-8235160.html | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325261 | 1325261 | CARD;ABB,3BHE002677R0095 | CARD;MNFR:ABB,PTNO:3BHE002677R0095 | CARD | 3BHE002677R0095 | 3000014 | ABB | ABB | 3BHE002677R0095 | [5 empty] | https://wap.china.cn/Other-Electrical-Equipment/169221641.html | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE | CONTROL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1323488 | 1323488 | CARD;ABB,3BHE003604R0102 | CARD;MNFR:ABB,PTNO:3BHE003604R0102 | CARD | 3BHE003604R0102 | 3000014 | ABB | ABB | 3BHE003604R0102 | [5 empty] | https://www.jaescompany.com/catalogo_prodotti.php?lang=en&producerid=3&producer=ABB&pagenr=75 | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325342 | 1325342 | CARD;ABB,3BHE004573R0142 | CARD;MNFR:ABB,PTNO:3BHE004573R0142 | CARD | 3BHE004573R0142 | 3000014 | ABB | ABB | 3BHE004573R0142 | [5 empty] | https://new.abb.com/products/3BHE004573R0142/3bhe004573r0142 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | INTERFACE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325341 | 1325341 | CARD;ABB,3BHE004573R0143 | CARD;MNFR:ABB,PTNO:3BHE004573R0143 | CARD | 3BHE004573R0143 | 3000014 | ABB | ABB | 3BHE004573R0143 | [5 empty] | https://new.abb.com/products/3BHE004573R0143/3bhe004573r0143 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | INTERFACE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325346 | 1325346 | CARD;ABB,3BHE005555R0101 | CARD;MNFR:ABB,PTNO:3BHE005555R0101 | CARD | 3BHE005555R0101 | 3000014 | ABB | ABB | 3BHE005555R0101 | [5 empty] | https://www.rms-dcs.com/abb-ld-syn-101-3bhe005555r0101-sync-board-product/ | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | SYNCHRONIZE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325334 | 1325334 | CARD;ABB,3BHE006373R0101 | CARD;MNFR:ABB,PTNO:3BHE006373R0101 | CARD | 3BHE006373R0101 | 3000014 | ABB | ABB | 3BHE006373R0101 | [5 empty] | https://www.amikonplc.com/abb-3bhe006373r0101-xvc769ae101-brand-new_p23113.html?gclid=Cj0KCQjwqNqkBhDlARIsAFaxvwxYo5KfIjTffqIPWOM8p0t9ADDuQDwO5Rsu9KYv0ln4ZV2I1q1jn84aAgiTEALw_wcB | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | INTERFACE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325337 | 1325337 | CARD;ABB,3BHE009017R0102 | CARD;MNFR:ABB,PTNO:3BHE009017R0102 | CARD | 3BHE009017R0102 | 3000014 | ABB | ABB | 3BHE009017R0102 | [5 empty] | https://www.automationdcs.com/sale-14398009-3bhe009017r0102-xvc724be102-abb-circuit-board.html | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325339 | 1325339 | CARD;ABB,3BHE014023R0101 | CARD;MNFR:ABB,PTNO:3BHE014023R0101 | CARD | 3BHE014023R0101 | 3000014 | ABB | ABB | 3BHE014023R0101 | [5 empty] | https://www.automationdcs.com/sale-14180078-3bhe014023r0101-ufc789-ae101-abb-control-board.html | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325343 | 1325343 | CARD;ABB,3BHE034863R0001 | CARD;MNFR:ABB,PTNO:3BHE034863R0001 | CARD | 3BHE034863R0001 | 3000014 | ABB | ABB | 3BHE034863R0001 | [5 empty] | https://www.automationdcs.com/sale-11958625-3bhe034863r0001-abb-plc-module-3bhe034863r0001-new-in-stock.html | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE | PLC | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325403 | 1325403 | CARD;ABB,3BHT300011R1 | CARD;MNFR:ABB,PTNO:3BHT300011R1 | CARD | 3BHT300011R1 | 3000014 | ABB | ABB | 3BHT300011R1 | [5 empty] | https://www.automationdcs.com/sale-14395395-ai630-3bht300011r1-abb-analog-input-module.html | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | INPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325401 | 1325401 | CARD;ABB,3BHT300016R1 | CARD;MNFR:ABB,PTNO:3BHT300016R1 | CARD | 3BHT300016R1 | 3000014 | ABB | ABB | 3BHT300016R1 | [5 empty] | https://new.abb.com/products/3BHT300016R1/3bht300016r1 | [10 empty] | ENRICHED | 41111901 Counters | COUNTER | NO MODIFIER | TYPE | HIGH SPEED | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325402 | 1325402 | CARD;ABB,3BHT300051R1 | CARD;MNFR:ABB,PTNO:3BHT300051R1 | CARD | 3BHT300051R1 | 3000014 | ABB | ABB | 3BHT300051R1 | [5 empty] | https://new.abb.com/products/3BHT300051R1/3bht300051r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1213620 | 1213620 | CARD;ABB,3BHT610022R1 | CARD;MNFR:ABB,PTNO:3BHT610022R1 | CARD | 3BHT610022R1 | 3000014 | ABB | ABB | 3BHT610022R1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1213619 | 1213619 | CARD;ABB,3BSE001552R1 | CARD;MNFR:ABB,PTNO:3BSE001552R1 | CARD | 3BSE001552R1 | 3000014 | ABB | ABB | 3BSE001552R1 | [5 empty] | https://new.abb.com/products/3BSE001552R1/3bse001552r1 | [10 empty] | CLEANSED | 32151900 Automation control connectivity devices | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1274150 | 1274150 | CARD;ABB,3BSE008510R1 | CARD;MNFR:ABB,PTNO:3BSE006510R1 | CARD | 3BSE008510R1 | 3000014 | ABB | ABB | 3BSE006510R1 | [5 empty] | https://files.kempstoncontrols.com/files/5d279da2db068c8cca16c97cfcfae44f/3BSE008510R1.pdf | https://www.kempstoncontrols.co.uk/3BSE008510R1/ABB/sku/15056? | [9 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 24 VDC | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325398 | 1325398 | CARD;ABB,3BSE009895R2 | CARD;MNFR:ABB,PTNO:3BSE009895R2 | CARD | 3BSE009895R2 | 3000014 | ABB | ABB | 3BSE009895R2 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325821 | 1325821 | CARD;ABB,3BSE013231R1 | CARD;MNFR:ABB,PTNO:3BSE013231R1 | CARD | 3BSE013231R1 | 3000014 | ABB | ABB | 3BSE013231R1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1210683 | 1210683 | CARD;ABB,3BSE013232R1 | CARD;MNFR:ABB,PTNO:3BSE013232R1 | CARD | 3BSE013232R1 | 3000014 | ABB | ABB | 3BSE013232R1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325820 | 1325820 | CARD;ABB,3BSE013234R0001 | CARD;MNFR:ABB,PTNO:3BSE013234R0001 | CARD | 3BSE013234R0001 | 3000014 | ABB | ABB | 3BSE013234R0001 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1211528 | 1211528 | CARD;ABB,3BSE028586R1 | CARD;MNFR:ABB,PTNO:3BSE028586R1 | CARD | 3BSE028586R1 | 3000014 | ABB | ABB | 3BSE028586R1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1211529 | 1211529 | CARD;ABB,3BSE028602R1 | CARD;MNFR:ABB,PTNO:3BSE028602R1 | CARD | 3BSE028602R1 | 3000014 | ABB | ABB | 3BSE028602R1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325308 | 1325308 | CARD;ABB,4890023-ARK | CARD;MNFR:ABB,PTNO:4890023-ARK | CARD | 4890023-ARK | 3000014 | ABB | ABB | 4890023-ARK | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325331 | 1325331 | CARD;ABB,4890023-AYN/1 | CARD;MNFR:ABB,PTNO:4890023-AYN/1 | CARD | 4890023-AYN/1 | 3000014 | ABB | ABB | 4890023-AYN/1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1325309 | 1325309 | CARD;ABB,4890024-AR/1 | CARD;MNFR:ABB,PTNO:4890024-AR/1 | CARD | 4890024-AR/1 | 3000014 | ABB | ABB | 4890024-AR/1 | [16 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214309 | 1214309 | CARD;SIE,ARB-22N66-1 | CARD;MNFR:SIEMENS,PTNO:ARB-22N66-1 | CARD | ARB-22N66-1 | 3000032 | SIEMENS | SIEMENS | ARB-22N66-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214263 | 1214263 | CARD;SIE,ARB-26-PF5-E48-1 | CARD;MNFR:SIEMENS,PTNO:ARB-26-PF5-E48-1 | CARD | ARB-26-PF5-E48-1 | 3000032 | SIEMENS | SIEMENS | ARB-26-PF5-E48-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1213736 | 1213736 | CARD;SIE,ARB-99-P4G12-3 | CARD;MNFR:SIEMENS,PTNO:ARB-99-P4G12-3 | CARD | ARB-99-P4G12-3 | 3000032 | SIEMENS | SIEMENS | ARB-99-P4G12-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214265 | 1214265 | CARD;SIE,ARB-99-P4-R5 | CARD;MNFR:SIEMENS,PTNO:ARB-99-P4-R5 | CARD | ARB-99-P4-R5 | 3000032 | SIEMENS | SIEMENS | ARB-99-P4-R5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214254 | 1214254 | CARD;SIE,ARB-G24N28-2 | CARD;MNFR:SIEMENS,PTNO:ARB-G24N28-2 | CARD | ARB-G24N28-2 | 3000032 | SIEMENS | SIEMENS | ARB-G24N28-2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214255 | 1214255 | CARD;SIE,ARB-G32N29-2 | CARD;MNFR:SIEMENS,PTNO:ARB-G32N29-2 | CARD | ARB-G32N29-2 | 3000032 | SIEMENS | SIEMENS | ARB-G32N29-2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214278 | 1214278 | CARD;SIE,ARB-P0E-8-2B | CARD;MNFR:SIEMENS,PTNO:ARB-P0E-8-2B | CARD | ARB-P0E-8-2B | 3000032 | SIEMENS | SIEMENS | ARB-P0E-8-2B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214248 | 1214248 | CARD;SIE,ARB-P2D-2049-2A | CARD;MNFR:SIEMENS,PTNO:ARB-P2D-2049-2A | CARD | ARB-P2D-2049-2A | 3000032 | SIEMENS | SIEMENS | ARB-P2D-2049-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214249 | 1214249 | CARD;SIE,ARB-P2D-2051-1A | CARD;MNFR:SIEMENS,PTNO:ARB-P2D-2051-1A | CARD | ARB-P2D-2051-1A | 3000032 | SIEMENS | SIEMENS | ARB-P2D-2051-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1323530 | 1323530 | CARD;SIE,ARB-P3D-2053-2A | CARD;MNFR:SIEMENS,PTNO:ARB-P3D-2053-2A | CARD | ARB-P3D-2053-2A | 3000032 | SIEMENS | SIEMENS | ARB-P3D-2053-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1213740 | 1213740 | CARD;SIE,ARB-P3D2083-5A | CARD;MNFR:SIEMENS,PTNO:ARB-P3D2083-5A | CARD | ARB-P3D2083-5A | 3000032 | SIEMENS | SIEMENS | ARB-P3D2083-5A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214256 | 1214256 | CARD;SIE,ARB-P3D-423-1A | CARD;MNFR:SIEMENS,PTNO:ARB-P3D-423-1A | CARD | ARB-P3D-423-1A | 3000032 | SIEMENS | SIEMENS | ARB-P3D-423-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214266 | 1214266 | CARD;SIE,ARB-P3-E11-2 | CARD;MNFR:SIEMENS,PTNO:ARB-P3-E11-2 | CARD | ARB-P3-E11-2 | 3000032 | SIEMENS | SIEMENS | ARB-P3-E11-2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214257 | 1214257 | CARD;SIE,ARB-P3E-14-2A | CARD;MNFR:SIEMENS,PTNO:ARB-P3E-14-2A | CARD | ARB-P3E-14-2A | 3000032 | SIEMENS | SIEMENS | ARB-P3E-14-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214258 | 1214258 | CARD;SIE,ARB-P3E-6-2 | CARD;MNFR:SIEMENS,PTNO:ARB-P3E-6-2 | CARD | ARB-P3E-6-2 | 3000032 | SIEMENS | SIEMENS | ARB-P3E-6-2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214250 | 1214250 | CARD;SIE,ARB-P4D-2095-2A | CARD;MNFR:SIEMENS,PTNO:ARB-P4D-2095-2A | CARD | ARB-P4D-2095-2A | 3000032 | SIEMENS | SIEMENS | ARB-P4D-2095-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214259 | 1214259 | CARD;SIE,ARB-P4G-5-2A | CARD;MNFR:SIEMENS,PTNO:ARB-P4G-5-2A | CARD | ARB-P4G-5-2A | 3000032 | SIEMENS | SIEMENS | ARB-P4G-5-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214260 | 1214260 | CARD;SIE,ARB-P4V2-3A | CARD;MNFR:SIEMENS,PTNO:ARB-P4V2-3A | CARD | ARB-P4V2-3A | 3000032 | SIEMENS | SIEMENS | ARB-P4V2-3A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214261 | 1214261 | CARD;SIE,ARB-P4V3-1A | CARD;MNFR:SIEMENS,PTNO:ARB-P4V3-1A | CARD | ARB-P4V3-1A | 3000032 | SIEMENS | SIEMENS | ARB-P4V3-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214252 | 1214252 | CARD;SIE,ARB-P5D-2055-1A | CARD;MNFR:SIEMENS,PTNO:ARB-P5D-2055-1A | CARD | ARB-P5D-2055-1A | 3000032 | SIEMENS | SIEMENS | ARB-P5D-2055-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214251 | 1214251 | CARD;SIE,ARB-P5D-2056-1A | CARD;MNFR:SIEMENS,PTNO:ARB-P5D-2056-1A | CARD | ARB-P5D-2056-1A | 3000032 | SIEMENS | SIEMENS | ARB-P5D-2056-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214262 | 1214262 | CARD;SIE,ARB-PF9-E56 | CARD;MNFR:SIEMENS,PTNO:ARB-PF9-E56 | CARD | ARB-PF9-E56 | 3000032 | SIEMENS | SIEMENS | ARB-PF9-E56 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214275 | 1214275 | CARD;SIE,TEB-1B22V5102-1 | CARD;MNFR:SIEMENS,PTNO:TEB-1B22V5102-1 | CARD | TEB-1B22V5102-1 | 3000032 | SIEMENS | SIEMENS | TEB-1B22V5102-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214220 | 1214220 | CARD;SIE,TEB-1D22N-108-1 | CARD;MNFR:SIEMENS,PTNO:TEB-1D22N-108-1 | CARD | TEB-1D22N-108-1 | 3000032 | SIEMENS | SIEMENS | TEB-1D22N-108-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214277 | 1214277 | CARD;SIE,TEB-26P5SY115-1A | CARD;MNFR:SIEMENS,PTNO:TEB-26P5SY115-1A | CARD | TEB-26P5SY115-1A | 3000032 | SIEMENS | SIEMENS | TEB-26P5SY115-1A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214269 | 1214269 | CARD;SIE,TEB-G12R105-1 | CARD;MNFR:SIEMENS,PTNO:TEB-G12R105-1 | CARD | TEB-G12R105-1 | 3000032 | SIEMENS | SIEMENS | TEB-G12R105-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214267 | 1214267 | CARD;SIE,TEB-G24N117-1 | CARD;MNFR:SIEMENS,PTNO:TEB-G24N117-1 | CARD | TEB-G24N117-1 | 3000032 | SIEMENS | SIEMENS | TEB-G24N117-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214268 | 1214268 | CARD;SIE,TEB-P3AB201-1 | CARD;MNFR:SIEMENS,PTNO:TEB-P3AB201-1 | CARD | TEB-P3AB201-1 | 3000032 | SIEMENS | SIEMENS | TEB-P3AB201-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214270 | 1214270 | CARD;SIE,TEB-P3E115-2A | CARD;MNFR:SIEMENS,PTNO:TEB-P3E115-2A | CARD | TEB-P3E115-2A | 3000032 | SIEMENS | SIEMENS | TEB-P3E115-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214272 | 1214272 | CARD;SIE,TEB-P4GS101-4A | CARD;MNFR:SIEMENS,PTNO:TEB-P4GS101-4A | CARD | TEB-P4GS101-4A | 3000032 | SIEMENS | SIEMENS | TEB-P4GS101-4A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214271 | 1214271 | CARD;SIE,TEB-P4SE601-2A | CARD;MNFR:SIEMENS,PTNO:TEB-P4SE601-2A | CARD | TEB-P4SE601-2A | 3000032 | SIEMENS | SIEMENS | TEB-P4SE601-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214273 | 1214273 | CARD;SIE,TEB-P5V107-2A | CARD;MNFR:SIEMENS,PTNO:TEB-P5V107-2A | CARD | TEB-P5V107-2A | 3000032 | SIEMENS | SIEMENS | TEB-P5V107-2A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-24 |  | 1214274 | 1214274 | CARD;SIE,TEB-P6SY103-1 | CARD;MNFR:SIEMENS,PTNO:TEB-P6SY103-1 | CARD | TEB-P6SY103-1 | 3000032 | SIEMENS | SIEMENS | TEB-P6SY103-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed