## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1218094 | 1218094 | BALL;CUM,S16093 | BALL;MNFR:CUMMINS,PTNO:S16093 | BALL | S16093 | 3000018 | CUMMINS | CUMMINS | S16093 | [5 empty] | https://s1partscenter.com/brands/cummins/bearing/s16093 | https://shop.areadieselservice.com/Category/S16093/CUMMINS-Bearings/ | [9 empty] | CLEANSED | 31171504 Ball bearings | BEARING | BALL | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213502 | 1213502 | BODY;DRVT,IFI33562,CENTRAL | BODY;MNFR:DRIVETRAIN,PTNO:IFI33562,ADDITIONAL FEATURES EN:CENTRAL |  | IFI33562 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33562 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BODY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CENTRAL | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1326112 | 1326112 | BREAKER,CIRCT;16 A,690 VAC,4 KA,P 3P,SIE | BREAKER,CIRCUIT;CURRENT RATING:16 A,VOLTAGE RATING:690 VAC,INTERRUPT RATING:4 KA,NUMBER OF POLES:3P,OVERALL SIZE:WD 45 X HT 97 X DP 96 MM,TERMINAL TYPE:SCREW,HAZARD CLASS:IP20,ADDITIONAL FEATURES EN:10 A, 1NO 1NC,MNFR:SIEMENS,PTNO:3RV10214AA10,MNFR:01) SIEMENS,PTNO:01)3RV10214AA10,MNFR:02)CNW,PTNO:02)SIE3RV10214AA10 | 16 A,690 VAC,EN_01)4 KA,EN_01)WD 45 X HT 97 X DP 96 MM,SCREW,IP20,01)10 A, 1NO 1NC,01)SIEMENS,02)CNW,01)3RV10214AA10,02)SIE3RV10214AA10,BREAKER | 3RV10214AA10 | 3000032 | SIEMENS | SIEMENS | 3RV10214AA10 |  | CNW | SIE3RV10214AA10 |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1021-4AA10 | https://cdn.shopify.com/s/files/1/0276/0700/7329/files/3RV1021-4AA10-datasheet.pdf?v=1597424285 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 4 KA | POWER RATING | 7.5 KW | FREQUENCY RATING | 15 1/H | MOUNTING TYPE | SNAP-ON | TEMPERATURE RATING | -20 TO 60 DEG C | SIZE | 45 WDX97 HT X96 DP MM | CERTIFICATION/STANDARD | CSA,CE,CCC,EAC,EX ATEX,IECEX,UL | ADDITIONAL FEATURES | TERMINAL TYPE: SCREW,ENCLOSURE RATING: IP20,CONTACT ARRANGEMENT: 1NO 1NC | [48 empty] | HAZARD CLASS:IP20 | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217019 | 1217019 | BREAKER,CIRCT;AB,140M-F8N-C45,MOT,3PHASE | BREAKER,CIRCUIT;MNFR:ALLEN BRADLEY,PTNO:140M-F8N-C45,ADDITIONAL FEATURES EN:MOTOR,3PHASE,45A,1NC | 01)HAYMANS ELECTRICAL,01)ALB140M-F8N-C45,BREAKER,CIRCUIT,01)MOTOR,3PHASE,45A,1NC | 140M-F8N-C45 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 140M-F8N-C45 |  | HAYMANS ELECTRICAL |  |  |  | https://www.rockwellautomation.com/en-us/products/details.140M-F8N-C45.html | https://www.rexelusa.com/p/3508/allen-bradley/breaker-motor-protection-45a-f-frame-3p-600vac-high-break/662468964722/140m-f8n-c45 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE | ROTARY | CURRENT RATING | 45 A | VOLTAGE RATING | 230 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 65 KA | POWER RATING | 40 KW | FREQUENCY RATING | 45 HZ | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -25 DEG C | SIZE |  | CERTIFICATION/STANDARD | IEC,UL | ADDITIONAL FEATURES | NO OF PHASE: 3,CONTACT ARRANGEMENT: 1NC | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213091 | 1213091 | BREAKER,CIRCT;DRVT,IFI01185,20 A | BREAKER,CIRCUIT;MNFR:DRIVETRAIN,PTNO:IFI01185,ADDITIONAL FEATURES EN:20 A | 01)DRIVETRAIN AUSTRALIA,01)IFI01185,BREAKER,CIRCUIT,01)20 A | IFI01185 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01185 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213460 | 1213460 | BREAKER,CIRCT;DRVT,IFI31896,48 V, 200 A | BREAKER,CIRCUIT;MNFR:DRIVETRAIN,PTNO:IFI31896,ADDITIONAL FEATURES EN:48 V, 200 A |  | IFI31896 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31896 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 200 A | VOLTAGE RATING | 48 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1271640 | 1271640 | CONDENSER;DRVT,IFI34154,AIRCONDITIONING | CONDENSER;MNFR:DRIVETRAIN,PTNO:IFI34154,ADDITIONAL FEATURES EN:AIRCONDITIONING |  | IFI34154 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI34154 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | CONDENSER | NO MODIFIER | TYPE | AIR CONDITIONING | CAPACITY |  | BTUH RATING |  | REFRIGERANT |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1324047 | 1324047 | CONNECTOR;CUM,10767 | CONNECTOR;MNFR:CUMMINS,PTNO:10767 | CONNECTOR | 10767 | 3000018 | CUMMINS | CUMMINS | 10767 | [5 empty] | https://trucktotrailer.com/products/cummins10767-oil-pan-cover | https://www.finditparts.com/products/5581666/cummins-10767 | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | COVER | NO MODIFIER | TYPE | ENGINE OIL PAN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217331 | 1217331 | CONNECTOR;DRVT,EMI-ELP-15412,12-16F3MXS | CONNECTOR;MNFR:DRIVETRAIN,PTNO:EMI-ELP-15412,ADDITIONAL FEATURES EN:12-16F3MXS | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-15412,CONNECTOR,01)12-16F3MXS | EMI-ELP-15412 | 3000461 | DRIVETRAIN | DRIVETRAIN | EMI-ELP-15412 |  |  | 12-16F3MXS |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213102 | 1213102 | CONNECTOR;DRVT,IFI01245 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI01245 | 01)DRIVETRAIN AUSTRALIA,01)IFI01245,CONNECTOR | IFI01245 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01245 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275545 | 1275545 | CONNECTOR;DRVT,IFI02957 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI02957 | 01)DRIVETRAIN,01)IFI02957,CONNECTOR | IFI02957 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02957 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1276043 | 1276043 | CONNECTOR;DRVT,IFI24083 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI24083 | 01)DRIVETRAIN,01)IFI24083,CONNECTOR | IFI24083 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24083 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213300 | 1213300 | CONNECTOR;DRVT,IFI24967,BANJ | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI24967,ADDITIONAL FEATURES EN:BANJO | 01)DRIVETRAIN AUSTRALIA,01)IFI24967,CONNECTOR,01)BANJO | IFI24967 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24967 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | BANJO | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1210955 | 1210955 | CONNECTOR;DRVT,IFI26649 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI26649 | 01)DRIVETRAIN AUSTRALIA,01)IFI26649,CONNECTOR | IFI26649 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI26649 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1211043 | 1211043 | CONNECTOR;DRVT,IFI27527 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI27527 | 01)DRIVETRAIN,01)IFI27527,CONNECTOR | IFI27527 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27527 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213380 | 1213380 | CONNECTOR;DRVT,IFI28720,HUMP | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI28720,ADDITIONAL FEATURES EN:HUMP |  | IFI28720 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI28720 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | HUMP | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213383 | 1213383 | CONNECTOR;DRVT,IFI30045 | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI30045 |  | IFI30045 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI30045 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213388 | 1213388 | CONNECTOR;DRVT,IFI30578,BRB | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI30578,ADDITIONAL FEATURES EN:BARB |  | IFI30578 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI30578 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | BARB | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213390 | 1213390 | CONNECTOR;DRVT,IFI30868,BRB | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI30868,ADDITIONAL FEATURES EN:BARB |  | IFI30868 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI30868 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | BARB | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213470 | 1213470 | CONNECTOR;DRVT,IFI32765,PLC CONTROLLER | CONNECTOR;MNFR:DRIVETRAIN,PTNO:IFI32765,ADDITIONAL FEATURES EN:PLC CONTROLLER |  | IFI32765 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32765 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE | PLC CONTROLLER | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1272839 | 1272839 | COOLANT;DRVT,IFI23821,OVERFLOW BOTTLE | COOLANT;MNFR:DRIVETRAIN,PTNO:IFI23821,ADDITIONAL FEATURES EN:OVERFLOW BOTTLE | 01)DRIVETRAIN AUSTRALIA,01)IFI23821,COOLANT,01)OVERFLOW BOTTLE | IFI23821 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23821 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 15121500 Lubricating preparations | COOLANT | NO MODIFIER | TYPE | OVERFLOW BOTTLE | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275546 | 1275546 | COOLANT;DRVT,IFI24936 | COOLANT;MNFR:DRIVETRAIN,PTNO:IFI24936 | 01)DRIVETRAIN,01)IFI24936,COOLANT | IFI24936 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24936 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 15121500 Lubricating preparations | COOLANT | NO MODIFIER | TYPE |  | TRADE NAME |  | CONTAINER SIZE |  | CONTAINER TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252886 | 1252886 | DAMPER;DIEC,1F.741569 | DAMPER;MNFR:DIECI,PTNO:1F.741569,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | 1F.741569 | 3000511 | DIECI | DIECI | 1F.741569 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1333402 | 1333402 | DAMPER;DIEC,BSH9027 | DAMPER;MNFR:DIECI,PTNO:BSH9027,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | BSH9027 | 3000511 | DIECI | DIECI | BSH9027 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1332951 | 1332951 | DAMPER;DIEC,BSH9028 | DAMPER;MNFR:DIECI,PTNO:BSH9028,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | BSH9028 | 3000511 | DIECI | DIECI | BSH9028 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1332950 | 1332950 | DAMPER;DIEC,BWE0112 | DAMPER;MNFR:DIECI,PTNO:BWE0112,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | BWE0112 | 3000511 | DIECI | DIECI | BWE0112 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1332949 | 1332949 | DAMPER;DIEC,BWE0126 | DAMPER;MNFR:DIECI,PTNO:BWE0126,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | BWE0126 | 3000511 | DIECI | DIECI | BWE0126 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1333628 | 1333628 | DAMPER;DIEC,BWE0141 | DAMPER;MNFR:DIECI,PTNO:BWE0141,ADDITIONAL FEATURES EN:ANTI VIBRATION UNITS | DAMPER,01)ANTI VIBRATION UNITS | BWE0141 | 3000511 | DIECI | DIECI | BWE0141 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTI VIBRATION UNITS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213129 | 1213129 | DIODE;DRVT,IFI02770,BACK UP | DIODE;MNFR:DRIVETRAIN,PTNO:IFI02770,ADDITIONAL FEATURES EN:BACK UP | 01)DRIVETRAIN AUSTRALIA,01)IFI02770,DIODE,01)BACK UP | IFI02770 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02770 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE | BACK UP | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1248104 | 1248104 | DIPSTICK;CUM,5268175 | DIPSTICK;MNFR:CUMMINS,PTNO:5268175 | DIPSTICK | 5268175 | 3000018 | CUMMINS | CUMMINS | 5268175 | [5 empty] | https://www.finditparts.com/products/2091965/cummins-5268175 | https://www.raneystruckparts.com/cummins-engine-oil-dipstick-5268175/ | [9 empty] | ENRICHED | 26101725 Oil dip sticks or tubes | DIPSTICK | NO MODIFIER | TYPE | ENGINE OIL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252817 | 1252817 | DIPSTICK;DIEC,1F.504255350 | DIPSTICK;MNFR:DIECI,PTNO:1F.504255350,ADDITIONAL FEATURES EN:OIL | DIPSTICK,01)OIL | 1F.504255350 | 3000511 | DIECI | DIECI | 1F.504255350 | [5 empty] | https://www.lbr.ru/zapchasti/sup-maslanyj-dvigatela-1f-504255350 | https://www.ifparts.com/engine/F4GE9484D*J612/54.27.0.131139-OIL%20LEVEL%20INDICATOR | [9 empty] | ENRICHED | 26101725 Oil dip sticks or tubes | DIPSTICK | NO MODIFIER | TYPE | ENGINE OIL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213338 | 1213338 | DIPSTICK;DRVT,IFI26063 | DIPSTICK;MNFR:DRIVETRAIN,PTNO:IFI26063 | 01)DRIVETRAIN AUSTRALIA,01)IFI26063,DIPSTICK | IFI26063 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI26063 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101725 Oil dip sticks or tubes | DIPSTICK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1274681 | 1274681 | DIPSTICK;HYS,4042230 | DIPSTICK;MNFR:HYSTER,PTNO:4042230 | 01)ADAPT-A-LIFT GROUP PTY LT,01)4042230,DIPSTICK | 4042230 | 3000023 | HYSTER | HYSTER | 4042230 |  | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://www.orangeparts.com/hyster-4042230-dipstick/ | https://www.logisnextamericas.com/ltspartsstore/part/detail/hyster-4042230 | [9 empty] | CLEANSED | 26101725 Oil dip sticks or tubes | DIPSTICK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213436 | 1213436 | DISC,BRK;DRVT,IFI31370,COUNTR | DISC,BRAKE;MNFR:DRIVETRAIN,PTNO:IFI31370,ADDITIONAL FEATURES EN:COUNTER |  | IFI31370 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31370 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25171700 Braking systems and components | DISC | BRAKE | TYPE | COUNTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213437 | 1213437 | DISC,BRK;DRVT,IFI31371 | DISC,BRAKE;MNFR:DRIVETRAIN,PTNO:IFI31371 |  | IFI31371 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31371 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25171700 Braking systems and components | DISC | BRAKE | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252872 | 1252872 | DOOR;DIEC,BCG3244/0D2 | DOOR;MNFR:DIECI,PTNO:BCG3244/0D2,ADDITIONAL FEATURES EN:COMPLETE | DOOR,01)COMPLETE | BCG3244/0D2 | 3000511 | DIECI | DIECI | BCG3244/0D2 | [5 empty] | https://www.lbr.ru/zapchasti/dver-bcg3244-0d2 | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1333282 | 1333282 | DOOR;DIEC,CABPR0000001-0D2 | DOOR;MNFR:DIECI,PTNO:CABPR0000001-0D2,ADDITIONAL FEATURES EN:COMPLETE | DOOR,01)COMPLETE | CABPR0000001-0D2 | 3000511 | DIECI | DIECI | CABPR0000001-0D2 | [5 empty] | https://www.lbr.ru/zapchasti/dver-cabpr0000001-0d2 | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275660 | 1275660 | DOOR;DRVT,IFI27543 | DOOR;MNFR:DRIVETRAIN,PTNO:IFI27543 | 01)DRIVETRAIN,01)IFI27543,DOOR | IFI27543 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27543 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213364 | 1213364 | DOOR;DRVT,IFI27597,CENTRE CONSOL | DOOR;MNFR:DRIVETRAIN,PTNO:IFI27597,ADDITIONAL FEATURES EN:CENTRE CONSOL | 01)DRIVETRAIN AUSTRALIA,01)IFI27597,DOOR,01)CENTRE CONSOL | IFI27597 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27597 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE | CENTRE CONSOL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1276041 | 1276041 | DOOR;DRVT,IFI27598 | DOOR;MNFR:DRIVETRAIN,PTNO:IFI27598 | 01)DRIVETRAIN,01)IFI27598,DOOR | IFI27598 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27598 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1211040 | 1211040 | DOOR;DRVT,IFI27605 | DOOR;MNFR:DRIVETRAIN,PTNO:IFI27605 | 01)DRIVETRAIN,01)IFI27605,DOOR | IFI27605 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27605 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1211087 | 1211087 | DOOR;DRVT,IFI31701 | DOOR;MNFR:DRIVETRAIN,PTNO:IFI31701 | 01)DRIVETRAIN,01)IFI31701,DOOR | IFI31701 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31701 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213453 | 1213453 | DOOR;DRVT,IFI31719,LHF | DOOR;MNFR:DRIVETRAIN,PTNO:IFI31719,ADDITIONAL FEATURES EN:LHF |  | IFI31719 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31719 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE | LEFT HAND FRONT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213454 | 1213454 | DOOR;DRVT,IFI31720,RHF | DOOR;MNFR:DRIVETRAIN,PTNO:IFI31720,ADDITIONAL FEATURES EN:RHF |  | IFI31720 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31720 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE | RIGHT HAND FRONT | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1274091 | 1274091 | DOOR;MAN,243068,TRP | DOOR;MNFR:MANITOU,PTNO:243068,ADDITIONAL FEATURES EN:TRAP | 01)JUNGHEINRICH AUSTRALIA PT,01)243068,DOOR,01)TRAP | 243068 | 3000007 | MANITOU | MANITOU | 243068 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE | TRAP | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1274036 | 1274036 | DOOR;MNRC,MISCFAB,CHAMBER MA578 | DOOR;MNFR:MINEARC,PTNO:MISCFAB,ADDITIONAL FEATURES EN:CHAMBER MA578 | 01)MINEARC,01)MISCFAB,DOOR,01)CHAMBER MA578 | MISCFAB | 3000435 | MINEARC | MINEARC | MISCFAB | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30171500 Doors | DOOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHAMBER MA578 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217238 | 1217238 | FERRULE;DRVT,4BF4-B,SWAGE,TUBE CPLG:1/4I | FERRULE;MNFR:DRIVETRAIN,PTNO:4BF4-B,ADDITIONAL FEATURES EN:SWAGE,TUBE CPLG:1/4IN OD TUBE,BLACK | 01)DRIVETRAIN AUSTRALIA,01)4BF4-B,FERRULE,01)SWAGE,TUBE CPLG:1/4IN OD TU | 4BF4-B | 3000461 | DRIVETRAIN | DRIVETRAIN | 4BF4-B | PARKER HANNIFIN |  |  |  |  | https://www.hydradynellc.com/product/4bf4-b/a-lok-inch-tube-back-ferrule-bf | https://valinonline.com/products/4bf4-b | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | BACK,SWAGE | SIZE | 1/4 IN OD | MATERIAL | BRASS | PACKAGING UNIT |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR: BLACK,TUBE COUPLING | [60 empty] | TUBE CPLG:1/4IN OD TUBE,BLACK | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217239 | 1217239 | FERRULE;DRVT,4FF4-B,SWAGE,TUBE CPLG:1/4I | FERRULE;MNFR:DRIVETRAIN,PTNO:4FF4-B,ADDITIONAL FEATURES EN:SWAGE,TUBE CPLG:1/4INCH OD TUBE,FRONT | 01)DRIVETRAIN AUSTRALIA,01)4FF4-B,FERRULE,01)SWAGE,TUBE CPLG:1/4INCH OD | 4FF4-B | 3000461 | DRIVETRAIN | DRIVETRAIN | 4FF4-B | PARKER HANNIFIN |  |  |  |  | https://www.hydradynellc.com/product/4ff4-b/a-lok-inch-tube-front-ferrule-ff | https://valinonline.com/products/4ff4-b | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FRONT,SWAGE | SIZE | 1/4 IN OD | MATERIAL | BRASS | PACKAGING UNIT |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TUBE COUPLING | [60 empty] | TUBE CPLG:1/4INCH OD TUBE,FRONT | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219380 | 1219380 | FERRULE;PRKH,10 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:10 TU-S | 01)PRO-DRAULICS,01)10 TU-S,FERRULE | 10 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10 TU-S |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/ferulok-flareless-24-bite-type-fittings/10-tu-s-1¦https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | https://www.mrostop.com/10-tu-s-parker-ferrule | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 5/8 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219381 | 1219381 | FERRULE;PRKH,12 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:12 TU-S | 01)PRO-DRAULICS,01)12 TU-S,FERRULE | 12 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12 TU-S |  | PRO-DRAULICS |  |  |  | https://www.mecampbell.com/parker-12-tu-s-3-4-inch-steel-tube-ferrule.html¦https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | https://ph.parker.com/us/en/product/ferulok-flareless-24-bite-type-fittings/12-tu-s-1 | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 3/4 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219382 | 1219382 | FERRULE;PRKH,16 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:16 TU-S | 01)PRO-DRAULICS,01)16 TU-S,FERRULE | 16 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16 TU-S |  | PRO-DRAULICS |  |  |  | https://www.bpssg.com/16-tu-s-parker-ferrule-parf16-tu-s | https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 1 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219377 | 1219377 | FERRULE;PRKH,4 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:4 TU-S | 01)PRO-DRAULICS,01)4 TU-S,FERRULE | 4 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4 TU-S |  | PRO-DRAULICS |  |  |  | https://www.bpssg.com/4-tu-s-parker-ferrule-parf4-tu-s | https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 1/4 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219378 | 1219378 | FERRULE;PRKH,6 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:6 TU-S | 01)PRO-DRAULICS,01)6 TU-S,FERRULE | 6 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6 TU-S |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/ferulok-flareless-24-bite-type-fittings/6-tu-s-1 | https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 3/8 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1219379 | 1219379 | FERRULE;PRKH,8 TU-S | FERRULE;MNFR:PARKER HANNIFIN,PTNO:8 TU-S | 01)PRO-DRAULICS,01)8 TU-S,FERRULE | 8 TU-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8 TU-S |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/ferulok-flareless-24-bite-type-fittings/8-tu-ss-1 | https://www.mecampbell.com/media/pdf/PARKHAE00140_C7spec.pdf | [9 empty] | ENRICHED | 27121700 Hydraulic hose and tube fittings | FERRULE | TUBING | TYPE | FLARELESS | SIZE | 1/2 IN OD | MATERIAL | STEEL | PACKAGING UNIT |  | CERTIFICATION/STANDARD | SAE 08115A | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1248037 | 1248037 | HARNESS,WIRNG;CUM,2873778 | HARNESS,WIRING;MNFR:CUMMINS,PTNO:2873778 | HARNESS,WIRING | 2873778 | 3000018 | CUMMINS | CUMMINS | 2873778 | [5 empty] | https://s1partscenter.com/brands/cummins/electrical/2873778 | https://shop.moderngroup.com/2873778-harness-etr-cnt-mdl-wrg/ | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | ELECTRONIC CONTROL MODULE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1273309 | 1273309 | HARNESS,WIRNG;CUM,3287699,INJECTORS | HARNESS,WIRING;MNFR:CUMMINS,PTNO:3287699,ADDITIONAL FEATURES EN:INJECTORS |  | 3287699 | 3000018 | CUMMINS | CUMMINS | 3287699 | [5 empty] | https://s1partscenter.com/brands/cummins/other/3287699 | https://shop.areadieselservice.com/Category/3287699/CUMMINS-Engine-Wiring-Harness/#2 | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | ENGINE,INJECTOR | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252901 | 1252901 | HARNESS,WIRNG;DIEC,4C.0A026138 | HARNESS,WIRING;MNFR:DIECI,PTNO:4C.0A026138,ADDITIONAL FEATURES EN:LINE, UPPER CAB | HARNESS,WIRING,01)LINE, UPPER CAB | 4C.0A026138 | 3000511 | DIECI | DIECI | 4C.0A026138 | [5 empty] | https://partnersfarming.com/catalogue/teleskopichni_navantazhuvachi/dieci/elektrika4/dieci-2208.html | https://partnersfarming.com/catalogue/teleskopichni_navantazhuvachi/dieci/elektrika4/dieci-2208.html | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | UPPER CABIN ELECTRICAL,LINE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1272303 | 1272303 | HARNESS,WIRNG;MAN,52683129 | HARNESS,WIRING;MNFR:MANITOU,PTNO:52683129 |  | 52683129 | 3000007 | MANITOU | MANITOU | 52683129 | [5 empty] | https://www.lindstromequipment.com/other/pid2489174/wiring-harness/ | https://www.rdoequipment.com/product-details/manitou-wiring-harness-52683129 | [9 empty] | CLEANSED | 26121700 Wiring harness | HARNESS | WIRING | TYPE |  | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1324579 | 1324579 | HARNESS;CUM,5256263 | HARNESS;MNFR:CUMMINS,PTNO:5256263 | HARNESS | 5256263 | 3000018 | CUMMINS | CUMMINS | 5256263 | [5 empty] | https://s1partscenter.com/brands/cummins/electrical/electronic-control-module-wiring-harness/5256263 | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sLKlQAM/cummins-electronic-control-module-wiring-harness-5256263 | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | ELECTRONIC CONTROL MODULE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217506 | 1217506 | HARNESS;CUM,5317120 | HARNESS;MNFR:CUMMINS,PTNO:5317120 | HARNESS | 5317120 | 3000018 | CUMMINS | CUMMINS | 5317120 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sGB1QAM/cummins-electronic-control-module-wiring-harness-5317120 | https://advancedtruckparts.com/products/5317120-genuine-cummins-electronic-control-module-wiring-harness | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | ELECTRONIC CONTROL MODULE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1264604 | 1264604 | HARNESS;CUM,5367725 | HARNESS;MNFR:CUMMINS,PTNO:5367725 | HARNESS | 5367725 | 3000018 | CUMMINS | CUMMINS | 5367725 | [5 empty] | https://firsttruckparts.com/products/4933295-5367725-new-genuine-cummins%C2%AE-harness-wrg-har-qsb6-7 | https://s1partscenter.com/brands/cummins/electrical/electronic-control-module-wiring-harness/5367725 | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | ELECTRONIC CONTROL MODULE | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1269083 | 1269083 | HARNESS;DRAG,R34471,HOSE STRAP,PSS BG4 | HARNESS;MNFR:DRAEGER,PTNO:R34471,ADDITIONAL FEATURES EN:HOSE STRAP,PSS BG4 | 01)ALLIANCE SAFETY EQUIPMENT,01)R34471,HARNESS,01)HOSE STRAP,PSS BG4 | R34471 | 3000423 | DRAEGER | DRAEGER | R34471 | [5 empty] | https://www.thesafetyequipmentstore.com/DRAEGER-R34471.html | https://www.wssupplystore.com/products/drager-hose-strap-harness-pss-bg4 | [6 empty] | PSS BG4 |  |  | CLEANSED | 46182306 Safety harnesses or belts | HARNESS | SAFETY | TYPE | HOSE STRAP | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ALLIANCE SAFETY EQUIPMENT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1269094 | 1269094 | HARNESS;DRAG,R61073,HD,BG4 MASK EPDM,SML | HARNESS;MNFR:DRAEGER,PTNO:R61073,ADDITIONAL FEATURES EN:HEAD,BG4 MASK EPDM,SMALL | 01)ALLIANCE SAFETY EQUIPMENT,01)R61073,HARNESS,01)HEAD,BG4 MASK EPDM,SMALL | R61073 | 3000423 | DRAEGER | DRAEGER | R61073 | [5 empty] | https://www.hwfire.org.uk/assets/files/invoice-paid-december-16.pdf | [10 empty] | CLEANSED | 26121700 Wiring harness | HARNESS | NO MODIFIER | TYPE | HEAD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BG4 MASK EPDM,SMALL | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213426 | 1213426 | HEAD,CYL;DRVT,IFI31360 | HEAD,CYLINDER;MNFR:DRIVETRAIN,PTNO:IFI31360 |  | IFI31360 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31360 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101713 Cylinder heads | HEAD | CYLINDER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213112 | 1213112 | INDICATOR;DRVT,IFI02389,AIR FLTR | INDICATOR;MNFR:DRIVETRAIN,PTNO:IFI02389,ADDITIONAL FEATURES EN:AIR FILTER | 01)DRIVETRAIN AUSTRALIA,01)IFI02389,INDICATOR,01)AIR FILTER | IFI02389 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02389 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE | AIR FILTER | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1332948 | 1332948 | LOCK;DIEC,BWC4100 | LOCK;MNFR:DIECI,PTNO:BWC4100,ADDITIONAL FEATURES EN:SHEATH | LOCK,01)SHEATH | BWC4100 | 3000511 | DIECI | DIECI | BWC4100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | LOCK | NO MODIFIER | TYPE |  | LOCKING MECHANISM |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHEATH | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213256 | 1213256 | MANIFOLD;DRVT,IFI23385,EXHST | MANIFOLD;MNFR:DRIVETRAIN,PTNO:IFI23385,ADDITIONAL FEATURES EN:EXHAUST | 01)DRIVETRAIN AUSTRALIA,01)IFI23385,MANIFOLD,01)EXHAUST | IFI23385 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23385 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141761 Piping manifold | MANIFOLD | NO MODIFIER | TYPE | EXHAUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213272 | 1213272 | MANIFOLD;DRVT,IFI24172,EXHST | MANIFOLD;MNFR:DRIVETRAIN,PTNO:IFI24172,ADDITIONAL FEATURES EN:EXHAUST | 01)DRIVETRAIN AUSTRALIA,01)IFI24172,MANIFOLD,01)EXHAUST | IFI24172 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24172 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141761 Piping manifold | MANIFOLD | NO MODIFIER | TYPE | EXHAUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213317 | 1213317 | PAN,OIL;DRVT,IFI25070 | PAN,OIL;MNFR:DRIVETRAIN,PTNO:IFI25070 | 01)DRIVETRAIN AUSTRALIA,01)IFI25070,PAN,OIL | IFI25070 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25070 | [5 empty] | URL NOT FOUND | [11 empty] | 26101735 Oil pan | PAN | OIL | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213142 | 1213142 | REDUCER;DRVT,IFI03496 | REDUCER;MNFR:DRIVETRAIN,PTNO:IFI03496 | 01)DRIVETRAIN AUSTRALIA,01)IFI03496,REDUCER | IFI03496 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI03496 | [5 empty] | URL NOT FOUND | [11 empty] | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1253022 | 1253022 | RELAY,ELCTROMAG;DIEC,4C.157061 | RELAY,ELECTROMAGNET;MNFR:DIECI,PTNO:4C.157061,ADDITIONAL FEATURES EN: | RELAY,ELECTROMAGNET | 4C.157061 | 3000511 | DIECI | DIECI | 4C.157061 | [5 empty] | https://machineserve.co.uk/product/dieci-light-relay-4c-157061/ | https://shehab.sa/en/DRPbaP | [9 empty] | ENRICHED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE | LIGHT | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE | 33 LGX20 WDX15 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1258325 | 1258325 | RELAY,ELCTROMAG;DIEC,4C.157102 | RELAY,ELECTROMAGNET;MNFR:DIECI,PTNO:4C.157102,ADDITIONAL FEATURES EN:START | RELAY,ELECTROMAGNET,01)START | 4C.157102 | 3000511 | DIECI | DIECI | 4C.157102 | [5 empty] | https://servua.com/ru/rele-dieci-4c.157102/ | https://goldytech.com.ua/ua/p763879836-4c157102-rele-diyechi.html | [9 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE | START | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1217463 | 1217463 | RELAY,ELCTROMAG;DIEC,4C.157115 | RELAY,ELECTROMAGNET;MNFR:DIECI,PTNO:4C.157115,ADDITIONAL FEATURES EN:CURRENT RATING:75 A,VOLTAGE RATING:12 V,RELY BOSCH/TYCO ZEUSS | RELAY,ELECTROMAGNET,01)CURRENT RATING:75 A,VOLTAGE RATING:12 V,RELY BO | 4C.157115 | 3000511 | DIECI | DIECI | 4C.157115 | [5 empty] | https://goldytech.com.ua/ua/p763879833-4c157115-rele-diyechi.html | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-4C.157115 | [9 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING | 75 A | VOLTAGE RATING | 12 V | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252887 | 1252887 | RELAY;DIEC,4C-0A052177 | RELAY;MNFR:DIECI,PTNO:4C-0A052177,ADDITIONAL FEATURES EN:FAN, LINE | RELAY,01)FAN, LINE | 4C-0A052177 | 3000511 | DIECI | DIECI | 4C-0A052177 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | FAN,LINE | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275544 | 1275544 | RELAY;DRVT,IFI00494 | RELAY;MNFR:DRIVETRAIN,PTNO:IFI00494 | 01)DRIVETRAIN,01)IFI00494,RELAY | IFI00494 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI00494 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213103 | 1213103 | RELAY;DRVT,IFI01274,BRAKE | RELAY;MNFR:DRIVETRAIN,PTNO:IFI01274,ADDITIONAL FEATURES EN:BRAKE | 01)DRIVETRAIN AUSTRALIA,01)IFI01274,RELAY,01)BRAKE | IFI01274 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01274 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | BRAKE | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213104 | 1213104 | RELAY;DRVT,IFI01297 | RELAY;MNFR:DRIVETRAIN,PTNO:IFI01297 | 01)DRIVETRAIN AUSTRALIA,01)IFI01297,RELAY | IFI01297 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01297 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1276048 | 1276048 | RELAY;DRVT,IFI01309 | RELAY;MNFR:DRIVETRAIN,PTNO:IFI01309 | 01)DRIVETRAIN,01)IFI01309,RELAY | IFI01309 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01309 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275552 | 1275552 | RELAY;DRVT,IFI22941 | RELAY;MNFR:DRIVETRAIN,PTNO:IFI22941 | 01)DRIVETRAIN,01)IFI22941,RELAY | IFI22941 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI22941 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213341 | 1213341 | RELAY;DRVT,IFI26827 | RELAY;MNFR:DRIVETRAIN,PTNO:IFI26827 | 01)DRIVETRAIN AUSTRALIA,01)IFI26827,RELAY | IFI26827 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI26827 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 | Processed based on Websource, Conflict w.r.t Input | 1252870 | 1252870 | SEAT,VEH;DIEC,4C.0A028151 | SEAT,VEHICULAR;MNFR:DIECI,PTNO:4C.0A028151,ADDITIONAL FEATURES EN:LINE | SEAT,VEHICULAR,01)LINE | 4C.0A028151 | 3000511 | DIECI | DIECI | 4C.0A028151 | [5 empty] | https://www.lbr.ru/zapchasti/zgut-provodov-4c-0a028151 | https://partnersfarming.com/catalogue/teleskopichni_navantazhuvachi/dieci/elektrika4/dieci-2210.html | [9 empty] | ENRICHED | 26121700 Wiring harness | HARNESS | WIRING | TYPE | CABIN ELECTRICAL | WIRE SIZE |  | INSULATION MATERIAL |  | CONDUCTOR MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1252869 | 1252869 | SEAT,VEH;DIEC,4C.0A051278 | SEAT,VEHICULAR;MNFR:DIECI,PTNO:4C.0A051278,ADDITIONAL FEATURES EN:LINE | SEAT,VEHICULAR,01)LINE | 4C.0A051278 | 3000511 | DIECI | DIECI | 4C.0A051278 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25174600 Vehicle seating systems | SEAT | VEHICULAR | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LINE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213794 | 1213794 | SEAT;CUM,3906854 | SEAT;MNFR:CUMMINS,PTNO:3906854 | SEAT | 3906854 | 3000018 | CUMMINS | CUMMINS | 3906854 | [5 empty] | https://www.heavydutypros.com/cummins-valve-seat-3906854.aspx | [10 empty] | CLEANSED | 40141646 Valve seat | SEAT | VALVE | VALVE TYPE |  | VALVE SIZE |  | SEAT MATERIAL |  | FLOW COEFFICIENT |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1275637 | 1275637 | SEAT;DRVT,IFI25445 | SEAT;MNFR:DRIVETRAIN,PTNO:IFI25445 | 01)DRIVETRAIN,01)IFI25445,SEAT | IFI25445 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25445 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 56112100 Seating | SEAT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1211046 | 1211046 | SHROUD;DRVT,IFI10957 | SHROUD;MNFR:DRIVETRAIN,PTNO:IFI10957 | 01)DRIVETRAIN,01)IFI10957,SHROUD | IFI10957 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI10957 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213214 | 1213214 | SHROUD;DRVT,IFI15227,FAN | SHROUD;MNFR:DRIVETRAIN,PTNO:IFI15227,ADDITIONAL FEATURES EN:FAN | 01)DRIVETRAIN AUSTRALIA,01)IFI15227,SHROUD,01)FAN | IFI15227 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI15227 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | FAN | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213215 | 1213215 | SHROUD;DRVT,IFI15231 | SHROUD;MNFR:DRIVETRAIN,PTNO:IFI15231 | 01)DRIVETRAIN AUSTRALIA,01)IFI15231,SHROUD | IFI15231 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI15231 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213525 | 1213525 | SHROUD;DRVT,IFI35337 | SHROUD;MNFR:DRIVETRAIN,PTNO:IFI35337 |  | IFI35337 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI35337 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213254 | 1213254 | STRAINER;DRVT,IFI23196 | STRAINER;MNFR:DRIVETRAIN,PTNO:IFI23196 | 01)DRIVETRAIN AUSTRALIA,01)IFI23196,STRAINER | IFI23196 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23196 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142500 Traps and strainers | STRAINER | NO MODIFIER | TYPE |  | MESH SIZE |  | PRESSURE CLASS/RATING |  | END CONNECTION |  | MESH MATERIAL |  | BODY MATERIAL |  | DRAIN SIZE |  | OVERALL SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-24 |  | 1213343 | 1213343 | STRAINER;DRVT,IFI27002 | STRAINER;MNFR:DRIVETRAIN,PTNO:IFI27002 | 01)DRIVETRAIN AUSTRALIA,01)IFI27002,STRAINER | IFI27002 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142500 Traps and strainers | STRAINER | NO MODIFIER | TYPE |  | MESH SIZE |  | PRESSURE CLASS/RATING |  | END CONNECTION |  | MESH MATERIAL |  | BODY MATERIAL |  | DRAIN SIZE |  | OVERALL SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed