## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1248260 | 1248260 | ABSORBER;ABB,HSBA432611P0001 | ABSORBER;MNFR:ABB,PTNO:HSBA432611P0001 | ABSORBER | HSBA432611P0001 | 3000014 | ABB | ABB | HSBA432611P0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 47130000 Cleaning and janitorial supplies | ABSORBER | NO MODIFIER | TYPE |  | ABSORBING CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1248262 | 1248262 | ABSORBER;ABB,HSBA432887P0001 | ABSORBER;MNFR:ABB,PTNO:HSBA432887P0001 | ABSORBER | HSBA432887P0001 | 3000014 | ABB | ABB | HSBA432887P0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 47130000 Cleaning and janitorial supplies | ABSORBER | NO MODIFIER | TYPE |  | ABSORBING CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269082 | 1269082 | ABSORBER;DRAG,R34367,EMPTY REUSABLE CO2 | ABSORBER;MNFR:DRAEGER,PTNO:R34367,ADDITIONAL FEATURES EN:EMPTY REUSABLE CO2,TRANSPARENT | 01)ALLIANCE SAFETY EQUIPMENT,01)R34367,ABSORBER,01)EMPTY REUSABLE CO2,TRANSPAR | R34367 | 3000423 | DRAEGER | DRAEGER | R34367 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/empty-reusable-co2-absorber-transparent/r34367?search=R34367 | [10 empty] | CLEANSED | 47130000 Cleaning and janitorial supplies | ABSORBER | NO MODIFIER | TYPE | EMPTY REUSABLE CO2,TRANSPARENT | ABSORBING CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1322039 | 1322039 | ABSORBER;SIE,7VV3080-OFD1 | ABSORBER;MNFR:SIEMENS,PTNO:7VV3080-OFD1 | ABSORBER | 7VV3080-OFD1 | 3000032 | SIEMENS | SIEMENS | 7VV3080-OFD1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 47130000 Cleaning and janitorial supplies | ABSORBER | NO MODIFIER | TYPE |  | ABSORBING CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1242558 | 1242558 | ANCHOR;HYS,1331991,CHN | ANCHOR;MNFR:HYSTER,PTNO:1331991,ADDITIONAL FEATURES EN:CHAIN | 01)110 FT FORK CRANE,01)HYSTER,ANCHOR,01)CHAIN,01)CADENA | 1331991 | 3000023 | HYSTER | HYSTER | 1331991 | [5 empty] | https://www.liftpartswarehouse.com/product-p/hy1331991.htm | [5 empty] | 110 FT FORK CRANE |  |  |  |  | CLEANSED | 31162100 Anchors | ANCHOR | NO MODIFIER | TYPE | CHAIN | NOMINAL SIZE |  | LOAD RATING |  | THREAD TYPE |  | LENGTH |  | DRILL SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1271571 | 1271571 | ANCHOR;VESU,B19981,LS,Ã˜6MM,310 S/S | ANCHOR;MNFR:VESUVIUS,PTNO:B19981,ADDITIONAL FEATURES EN:LS,Ã˜6MM,310 S/S | 01)VESUVIUS AUSTRALIA PTY LT,01)B19981,ANCHOR,01)LS,Ø6MM,310 S/S | B19981 | 3000361 | VESUVIUS | VESUVIUS AUSTRALIA PTY LTD | B19981 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162100 Anchors | ANCHOR | NO MODIFIER | TYPE |  | NOMINAL SIZE | 6 MM | LOAD RATING |  | THREAD TYPE |  | LENGTH |  | DRILL SIZE |  | MATERIAL | STAINLESS STEEL 310 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LS | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219246 | 1219246 | BAIL;PHM,R23280F2 | BAIL;MNFR:P AND H MINING EQUIPMENT,PTNO:R23280F2 | BAIL | R23280F2 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R23280F2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BAIL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333507 | 1333507 | BEND,PIPE;DIEC,BWM1618 | BEND,PIPE;MNFR:DIECI,PTNO:BWM1618,ADDITIONAL FEATURES EN:CURVED | BEND,PIPE,01)CURVED | BWM1618 | 3000511 | DIECI | DIECI | BWM1618 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40172100 Pipe bends | BEND | PIPE | TYPE | CURVED | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333506 | 1333506 | BEND,PIPE;DIEC,BWM1619 | BEND,PIPE;MNFR:DIECI,PTNO:BWM1619,ADDITIONAL FEATURES EN:CURVED | BEND,PIPE,01)CURVED | BWM1619 | 3000511 | DIECI | DIECI | BWM1619 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40172100 Pipe bends | BEND | PIPE | TYPE | CURVED | ANGLE |  | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | MANUFACTURING PROCESS |  | COATING/FINISH |  | RADIUS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1274106 | 1274106 | BEND;WEI,H542707-06-B | CURVATURA;MNFR:WEIR,PTNO:H542707-06-B, | BEND | H542707-06-B | 3000036 | WEIR | WEIR | H542707-06-B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40172100 Pipe bends | BEND | NO MODIFIER | TYPE |  | DIMENSIONS |  | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURVATURA | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1252979 | 1252979 | BONNET;DIEC,BCW3067 | BONNET;MNFR:DIECI,PTNO:BCW3067,ADDITIONAL FEATURES EN:PROTECTIVE PANEL,ENGINE COMPARTMENT | BONNET,01)PROTECTIVE PANEL,ENGINE COMPARTMENT | BCW3067 | 3000511 | DIECI | DIECI | BCW3067 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101700 Engine components and accessories | BONNET | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PROTECTIVE PANEL,ENGINE COMPARTMENT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1252811 | 1252811 | BONNET;DIEC,BCW3090/0C | BONNET;MNFR:DIECI,PTNO:BCW3090/0C,ADDITIONAL FEATURES EN:PROTECTIVE PANEL,ENGINE COMPARTMENT | BONNET,01)PROTECTIVE PANEL,ENGINE COMPARTMENT | BCW3090/0C | 3000511 | DIECI | DIECI | BCW3090/0C | [5 empty] | https://www-lbr-ru.translate.goog/zapchasti/kapot-bcw3090-0c?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | ENRICHED | 46181700 Face and head protection | HOOD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PROTECTIVE PANEL,ENGINE COMPARTMENT | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1209903 | 1209903 | BREATHER;DONA,P923075 | BREATHER;MNFR:DONALDSON COMPANY INC,PTNO:P923075 |  | P923075 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P923075 | [5 empty] | https://shop.donaldson.com/store/en-in/product/P923075/40308?_requestid=309762 | [10 empty] | ENRICHED | 40161500 Filters | FILTER | NO MODIFIER | TYPE | BREATHER | FILTER RATING |  | PORT SIZE |  | SIZE | 165 MM OD | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1210686 | 1210686 | BREATHER;DRAG,DRAEGER 6306815 | BREATHER;MNFR:DRAEGER,PTNO:DRAEGER 6306815 |  | DRAEGER 6306815 | 3000423 | DRAEGER | DRAEGER | 6306815 | [5 empty] | https://www.internationalsafety.com/skus/draeger-6306815-oxy-6000-mk-ii-self-contained-self-rescuer | [10 empty] | CLEANSED | 25172407 Breather elements | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1211119 | 1211119 | BREATHER;HYDA,1301705,UNTERTEIL-E BDE G | BREATHER;MNFR:HYDAC,PTNO:1301705,ADDITIONAL FEATURES EN:UNTERTEIL-E BDE G 1.0 | 01)HYDAC PTY LTD,01)1301705,BREATHER,01)UNTERTEIL-E BDE G 1.0 | 1301705 | 3000292 | HYDAC | HYDAC PTY LTD | 1301705 |  |  | UNTERTEIL-E BDE G 1.0 |  |  | https://www.blackwoods.com.au/valves-flow-control/hydraulic-filters/breathers/hydac-1305481-desiccant-breather-unterteil-e-bde-g-1-0-rv0-02/p/02805922 | [10 empty] | CLEANSED | 25172407 Breather elements | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1274109 | 1274109 | BREATHER;WEI,921.700.089 | BOQUETE;MNFR:WEIR,PTNO:921.700.089, | BREATHER | 921.700.089 | 3000036 | WEIR | WEIR | 921.700.089 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25172407 Breather elements | BREATHER | NO MODIFIER | TYPE |  | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269093 | 1269093 | BUCKLE;DRAG,R58470,ROLR,GREY,COMPLT | BUCKLE;MNFR:DRAEGER,PTNO:R58470,ADDITIONAL FEATURES EN:ROLLER,GREY,COMPLETE | 01)ALLIANCE SAFETY EQUIPMENT,01)R58470,BUCKLE,01)ROLLER,GREY,COMPLETE | R58470 | 3000423 | DRAEGER | DRAEGER | R58470 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/draeger-r58470-1043813.html | [10 empty] | CLEANSED | 53141504 Buckles | BUCKLE | NO MODIFIER | TYPE | ROLLER | LOCKING MECHANISM |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREY | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333409 | 1333409 | CLAMP,HSE;DIEC,BHC1007 | CLAMP,HOSE;MNFR:DIECI,PTNO:BHC1007,ADDITIONAL FEATURES EN:AIR CHARGER, HOLDING,WIDTH:12 MM | CLAMP,HOSE,01)AIR CHARGER, HOLDING,WIDTH:12 MM | BHC1007 | 3000511 | DIECI | DIECI | BHC1007 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162906 Hose or pipe clamps | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR AIR CHARGER,HOLDING | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269330 | 1269330 | CLAMP,LP;FLUK,17XX IFLEXI 1500A 12IN,4 P | CLAMP,LOOP;MNFR:FLUKE,PTNO:17XX IFLEXI 1500A 12IN,ADDITIONAL FEATURES EN:4 PK,ENERGY MONITOR | 01)RS COMPONENTS PTY LTD,01)17XX IFLEXI 1500A 12IN,CLAMP,LOOP,01)4 PK,ENERGY MONITOR | 17XX IFLEXI 1500A 12IN | 3000278 | FLUKE | FLUKE | 17XX IFLEXI 1500A 12IN |  | RS COMPONENTS PTY LTD |  |  |  | https://www.fluke.com/en-us/product/accessories/current-clamps/fluke-i17xx-flex1500-3pk-iflex | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | CLAMP | LOOP | TYPE |  | CLAMPING RANGE |  | WIDTH |  | FASTENING DEVICE TYPE |  | MATERIAL |  | SHAPE STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4 PK,FOR ENERGY MONITOR | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1252921 | 1252921 | CLAMP,SPR;DIEC,1F.98429625 | CLAMP,SPRING;MNFR:DIECI,PTNO:1F.98429625,ADDITIONAL FEATURES EN:FASTENING | CLAMP,SPRING,01)FASTENING | 1F.98429625 | 3000511 | DIECI | DIECI | 1F.98429625 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162902 Spring clamps | CLAMP | SPRING | TYPE | FASTENING | OPENING SIZE |  | HOLDING CAPACITY |  | THROAT DEPTH |  | JAW TYPE |  | JAW WIDTH |  | MATERIAL |  | COATING/FINISH |  | OVERALL LENGTH |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1268997 | 1268997 | CLAMP;ASWP,AAP1700000,RDTR | CLAMP;MNFR:AUSWEEP,PTNO:AAP1700000,ADDITIONAL FEATURES EN:RADIATOR | 01)SWEEPERS N SCRUBBERS,01)AAP1700000,CLAMP,01)RADIATOR | AAP1700000 | 3000416 | AUSWEEP | AUSTRALIAN SWEEPER CORP | AAP1700000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR RADIATOR | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1252952 | 1252952 | CLAMP;DIEC,1F.504031827 | CLAMP;MNFR:DIECI,PTNO:1F.504031827,ADDITIONAL FEATURES EN:FIXING COLLAR | CLAMP,01)FIXING COLLAR | 1F.504031827 | 3000511 | DIECI | DIECI | 1F.504031827 | [5 empty] | https://buyanypart.co.uk/parts/exhaust-clamp-1f504031827-bta1 | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | FIXING COLLAR | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1332966 | 1332966 | CLAMP;DIEC,BHC1008 | CLAMP;MNFR:DIECI,PTNO:BHC1008,ADDITIONAL FEATURES EN:FIXING COLLAR | CLAMP,01)FIXING COLLAR | BHC1008 | 3000511 | DIECI | DIECI | BHC1008 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | FIXING COLLAR | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269134 | 1269134 | CLAMP;DOSN,XS8450006 | CLAMP;MNFR:DOOSAN CORPORATION,PTNO:XS8450006 | 01)CROWN LIFT TRUCKS,01)XS8450006,CLAMP | XS8450006 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XS8450006 |  | CROWN LIFT TRUCKS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269135 | 1269135 | CLAMP;DOSN,XS8450012 | CLAMP;MNFR:DOOSAN CORPORATION,PTNO:XS8450012 | 01)CROWN LIFT TRUCKS,01)XS8450012,CLAMP | XS8450012 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XS8450012 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1217354 | 1217354 | CLAMP;DRVT,EMI-ELP-1362112,HSE,48-51 MM | CLAMP;MNFR:DRIVETRAIN,PTNO:EMI-ELP-1362112,ADDITIONAL FEATURES EN:HSE,48-51 MM,STAINLESS STEEL | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-1362112,CLAMP,01)HSE,48-51 MM,STAINLESS STEE | EMI-ELP-1362112 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | EMI-ELP-1362112 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162906 Hose or pipe clamps | CLAMP | HOSE | TYPE |  | HOSE SIZE | 48 TO 51 MM | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213035 | 1213035 | CLAMP;DRVT,HOZ-HS48 | CLAMP;MNFR:DRIVETRAIN,PTNO:HOZ-HS48 | 01)DRIVETRAIN AUSTRALIA,01)HOZ-HS48,CLAMP | HOZ-HS48 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | HOZ-HS48 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213085 | 1213085 | CLAMP;DRVT,IFI00793 | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI00793 | 01)DRIVETRAIN AUSTRALIA,01)IFI00793,CLAMP | IFI00793 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI00793 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213118 | 1213118 | CLAMP;DRVT,IFI02534 | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI02534 | 01)DRIVETRAIN AUSTRALIA,01)IFI02534,CLAMP | IFI02534 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI02534 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213208 | 1213208 | CLAMP;DRVT,IFI13099,AIR FLTR | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI13099,ADDITIONAL FEATURES EN:AIR FILTER | 01)DRIVETRAIN AUSTRALIA,01)IFI13099,CLAMP,01)AIR FILTER | IFI13099 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI13099 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | AIR FILTER | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213286 | 1213286 | CLAMP;DRVT,IFI24929,V-BAND | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI24929,ADDITIONAL FEATURES EN:V-BAND | 01)DRIVETRAIN AUSTRALIA,01)IFI24929,CLAMP,01)V-BAND | IFI24929 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI24929 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | V-BAND | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213308 | 1213308 | CLAMP;DRVT,IFI25015,INJCTR | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI25015,ADDITIONAL FEATURES EN:INJECTOR | 01)DRIVETRAIN AUSTRALIA,01)IFI25015,CLAMP,01)INJECTOR | IFI25015 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI25015 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | INJECTOR | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1213332 | 1213332 | CLAMP;DRVT,IFI25456,T-BOLT | CLAMP;MNFR:DRIVETRAIN,PTNO:IFI25456,ADDITIONAL FEATURES EN:T-BOLT | 01)DRIVETRAIN AUSTRALIA,01)IFI25456,CLAMP,01)T-BOLT | IFI25456 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI25456 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | T-BOLT | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219388 | 1219388 | CLAMP;STAU,1110000834,6MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000834,ADDITIONAL FEATURES EN:6MM,SINGLE | 01)PRO-DRAULICS,01)1110000834,CLAMP,01)6MM,SINGLE | 1110000834 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000834 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 6 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219389 | 1219389 | CLAMP;STAU,1110000835,8MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000835,ADDITIONAL FEATURES EN:8MM,SINGLE | 01)PRO-DRAULICS,01)1110000835,CLAMP,01)8MM,SINGLE | 1110000835 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000835 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 8 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219391 | 1219391 | CLAMP;STAU,1110000836,10MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000836,ADDITIONAL FEATURES EN:10MM,SINGLE | 01)PRO-DRAULICS,01)1110000836,CLAMP,01)10MM,SINGLE | 1110000836 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000836 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 10 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219392 | 1219392 | CLAMP;STAU,1110000837,12MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000837,ADDITIONAL FEATURES EN:12MM,SINGLE | 01)PRO-DRAULICS,01)1110000837,CLAMP,01)12MM,SINGLE | 1110000837 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000837 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 12 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219394 | 1219394 | CLAMP;STAU,1110000838,13.5MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000838,ADDITIONAL FEATURES EN:13.5MM,SINGLE | 01)PRO-DRAULICS,01)1110000838,CLAMP,01)13.5MM,SINGLE | 1110000838 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000838 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 13.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219396 | 1219396 | CLAMP;STAU,1110000839,15MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000839,ADDITIONAL FEATURES EN:15MM,SINGLE | 01)PRO-DRAULICS,01)1110000839,CLAMP,01)15MM,SINGLE | 1110000839 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000839 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 15 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219397 | 1219397 | CLAMP;STAU,1110000840,16MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000840,ADDITIONAL FEATURES EN:16MM,SINGLE | 01)PRO-DRAULICS,01)1110000840,CLAMP,01)16MM,SINGLE | 1110000840 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000840 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 16 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219398 | 1219398 | CLAMP;STAU,1110000841,17.2MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000841,ADDITIONAL FEATURES EN:17.2MM,SINGLE | 01)PRO-DRAULICS,01)1110000841,CLAMP,01)17.2MM,SINGLE | 1110000841 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000841 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 17.2 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219399 | 1219399 | CLAMP;STAU,1110000842,18MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000842,ADDITIONAL FEATURES EN:18MM,SINGLE | 01)PRO-DRAULICS,01)1110000842,CLAMP,01)18MM,SINGLE | 1110000842 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000842 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 18 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219401 | 1219401 | CLAMP;STAU,1110000843,20MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000843,ADDITIONAL FEATURES EN:20MM,SINGLE | 01)PRO-DRAULICS,01)1110000843,CLAMP,01)20MM,SINGLE | 1110000843 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000843 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 20 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219402 | 1219402 | CLAMP;STAU,1110000844,21.3MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000844,ADDITIONAL FEATURES EN:21.3MM,SINGLE | 01)PRO-DRAULICS,01)1110000844,CLAMP,01)21.3MM,SINGLE | 1110000844 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000844 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 21.3 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219403 | 1219403 | CLAMP;STAU,1110000845,22MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000845,ADDITIONAL FEATURES EN:22MM,SINGLE | 01)PRO-DRAULICS,01)1110000845,CLAMP,01)22MM,SINGLE | 1110000845 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000845 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 22 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219405 | 1219405 | CLAMP;STAU,1110000846,25MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000846,ADDITIONAL FEATURES EN:25MM,SINGLE | 01)PRO-DRAULICS,01)1110000846,CLAMP,01)25MM,SINGLE | 1110000846 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000846 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 25 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219406 | 1219406 | CLAMP;STAU,1110000847,26.9MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000847,ADDITIONAL FEATURES EN:26.9MM,SINGLE | 01)PRO-DRAULICS,01)1110000847,CLAMP,01)26.9MM,SINGLE | 1110000847 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000847 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 26.9 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219408 | 1219408 | CLAMP;STAU,1110000848,30MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000848,ADDITIONAL FEATURES EN:30MM,SINGLE | 01)PRO-DRAULICS,01)1110000848,CLAMP,01)30MM,SINGLE | 1110000848 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000848 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 30 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219410 | 1219410 | CLAMP;STAU,1110000850,33.7MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000850,ADDITIONAL FEATURES EN:33.7MM,SINGLE | 01)PRO-DRAULICS,01)1110000850,CLAMP,01)33.7MM,SINGLE | 1110000850 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000850 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 33.7 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219411 | 1219411 | CLAMP;STAU,1110000851,35MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000851,ADDITIONAL FEATURES EN:35MM,SINGLE | 01)PRO-DRAULICS,01)1110000851,CLAMP,01)35MM,SINGLE | 1110000851 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000851 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 35 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219412 | 1219412 | CLAMP;STAU,1110000852,38MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000852,ADDITIONAL FEATURES EN:38MM,SINGLE | 01)PRO-DRAULICS,01)1110000852,CLAMP,01)38MM,SINGLE | 1110000852 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000852 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 38 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219414 | 1219414 | CLAMP;STAU,1110000853,42MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000853,ADDITIONAL FEATURES EN:42MM,SINGLE | 01)PRO-DRAULICS,01)1110000853,CLAMP,01)42MM,SINGLE | 1110000853 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000853 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 42 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219416 | 1219416 | CLAMP;STAU,1110000854,48.3MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110000854,ADDITIONAL FEATURES EN:48.3MM,SINGLE | 01)PRO-DRAULICS,01)1110000854,CLAMP,01)48.3MM,SINGLE | 1110000854 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110000854 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 48.3 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219404 | 1219404 | CLAMP;STAU,1110025016,25.4MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110025016,ADDITIONAL FEATURES EN:25.4MM,SINGLE | 01)PRO-DRAULICS,01)1110025016,CLAMP,01)25.4MM,SINGLE | 1110025016 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110025016 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 25.4 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219407 | 1219407 | CLAMP;STAU,1110025594,28MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110025594,ADDITIONAL FEATURES EN:28MM,SINGLE | 01)PRO-DRAULICS,01)1110025594,CLAMP,01)28MM,SINGLE | 1110025594 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110025594 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 28 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219395 | 1219395 | CLAMP;STAU,1110026930,14MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026930,ADDITIONAL FEATURES EN:14MM,SINGLE | 01)PRO-DRAULICS,01)1110026930,CLAMP,01)14MM,SINGLE | 1110026930 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026930 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 14 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219409 | 1219409 | CLAMP;STAU,1110026938,32MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026938,ADDITIONAL FEATURES EN:32MM,SINGLE | 01)PRO-DRAULICS,01)1110026938,CLAMP,01)32MM,SINGLE | 1110026938 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026938 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 32 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219417 | 1219417 | CLAMP;STAU,1110027941,50.8MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110027941,ADDITIONAL FEATURES EN:50.8MM,SINGLE | 01)PRO-DRAULICS,01)1110027941,CLAMP,01)50.8MM,SINGLE | 1110027941 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110027941 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 50.8 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219393 | 1219393 | CLAMP;STAU,1110027948,12.7MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110027948,ADDITIONAL FEATURES EN:12.7MM,SINGLE | 01)PRO-DRAULICS,01)1110027948,CLAMP,01)12.7MM,SINGLE | 1110027948 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110027948 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 12.7 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219400 | 1219400 | CLAMP;STAU,1110027949,19MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110027949,ADDITIONAL FEATURES EN:19MM,SINGLE | 01)PRO-DRAULICS,01)1110027949,CLAMP,01)19MM,SINGLE | 1110027949 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110027949 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 19 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219413 | 1219413 | CLAMP;STAU,1110029911,40MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110029911,ADDITIONAL FEATURES EN:40MM,SINGLE | 01)PRO-DRAULICS,01)1110029911,CLAMP,01)40MM,SINGLE | 1110029911 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110029911 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 40 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219390 | 1219390 | CLAMP;STAU,1110031983,9.5MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110031983,ADDITIONAL FEATURES EN:9.5MM,SINGLE | 01)PRO-DRAULICS,01)1110031983,CLAMP,01)9.5MM,SINGLE | 1110031983 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110031983 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 9.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1219415 | 1219415 | CLAMP;STAU,1110031990,44.5MM,SGL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110031990,ADDITIONAL FEATURES EN:44.5MM,SINGLE | 01)PRO-DRAULICS,01)1110031990,CLAMP,01)44.5MM,SINGLE | 1110031990 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110031990 | [5 empty] | https://mjhydraulic.com.au/product/standard-series-single-clamp/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SINGLE | CAPACITY |  | SIZE | 44.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1258548 | 1258548 | ELEMENT,HTR;HELI,42596 | ELEMENT,HEATER;MNFR:HELIOS,PTNO:42596,ADDITIONAL FEATURES EN:BOBBIN,VOLTAGE RATING:240 V,POWER RATING:200 W | ELEMENT,HEATER,01)BOBBIN,VOLTAGE RATING:240 V,POWER RATING:200 W | 42596 | 3000572 | HELIOS | HELIOS | 42596 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | HEATER | TYPE | BOBBIN | VOLTAGE RATING | 240 V | POWER RATING | 200 W | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1325819 | 1325819 | ELEMENT,HTR;IMMERSION, ELECTRICAL,220 V | ELEMENT,HEATER;TYPE:IMMERSION, ELECTRICAL,VOLTAGE RATING:220 V,POWER RATING:1 KW,MNFR:ABB,PTNO:6677 026 A,MNFR:01)BACKER,PTNO:01) OE14 | IMMERSION, ELECTRICAL,220 V,1 KW,01)BACKER,01)OE14,ELEMENT | 6677 026 A | 3000014 | ABB | BACKER | OE14 |  | ABB | 6677 026 A |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | HEATER | TYPE | IMMERSION,ELECTRICAL | VOLTAGE RATING | 220 V | POWER RATING | 1 KW | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1275194 | 1275194 | ELEMENT,HTR;IMMERSION,220 VAC,1 KW | ELEMENT,HEATER;TYPE:IMMERSION,VOLTAGE RATING:220 VAC,POWER RATING:1 KW,SIZE:LG 275 MM,ADDITIONAL FEATURES EN:C/W PACKING,MNFR:ABB, PTNO:2001-20009,MNFR:01)REXROTH,PTNO:01)OE15 | IMMERSION,220 VAC,1 KW,LG 275 MM,01)C/W PACKING,01)REXROTH,01)OE15,ELEMENT | 2001-20009 | 3000014 | ABB | REXROTH | OE15 |  | ABB | 2001-20009 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | HEATER | TYPE | IMMERSION | VOLTAGE RATING | 220 VAC | POWER RATING | 1 KW | MATERIAL |  | SIZE | LG 275 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PACKING | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1220412 | 1220412 | ELEMENT;ABB,OE341+K15A | ELEMENT;MNFR:ABB,PTNO:OE341+K15A | ELEMENT | OE341+K15A | 3000014 | ABB | ABB | OE341+K15A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1270315 | 1270315 | GAS,CALIBR;DRAG,3532028,1 GAS MIXTURE,NO | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3532028,ADDITIONAL FEATURES EN:1 GAS MIXTURE,NO2-10PPM/BALANCE,N2/SIZE-58L | 01)ALLIANCE SAFETY EQUIPMENT,01)3532028,GAS,CALIBRATION,01)1 GAS MIXTURE,NO2-10PPM/BAL | 3532028 | 3000423 | DRAEGER | DRAEGER | 3532028 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | NO2-10 PPM/BALANCE | CYLINDER TYPE |  | CONTAINER SIZE | 58 L N2 | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1270319 | 1270319 | GAS,CALIBR;HONE,CG-Q58-4,4 GAS MIXTURE,C | GAS,CALIBRATION;MNFR:HONEYWELL,PTNO:CG-Q58-4,ADDITIONAL FEATURES EN:4 GAS MIXTURE,CH4- 2.5%/O2 -18.0%/H2S-25PPM/CO-100,PPM/BALANCE, N2/S | 01)ALLIANCE SAFETY EQUIPMENT,01)CG-Q58-4,GAS,CALIBRATION,01)4 GAS MIXTURE,CH4- 2.5%/O2 | CG-Q58-4 | 3000290 | HONEYWELL | HONEYWELL | CG-Q58-4 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.majorsafety.com/products/bw-honeywell-cg-q58-4-quad-mix-calibration-gas | [10 empty] | ENRICHED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | CH4-2.5 PCT/O2-18.0 PCT/H2S-25 PPM/CO-100 PPM/BALANCE,N2/S | CYLINDER TYPE |  | CONTAINER SIZE |  | CYLINDER MATERIAL | ALUMINUM ALLOY | CONNECTION TYPE |  | PRESSURE RATING | 500 PSI | SIZE | 14.25X3.5 IN | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4 GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1211798 | 1211798 | GRINDER,ELEC;MILW,M18FLAG230XPDB-0 | GRINDER,ELECTRICAL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FLAG230XPDB-0 | 01)MOUNT ISA MINING SUPPLIES,01)M18FLAG230XPDB-0,GRINDER,ELECTRICAL | M18FLAG230XPDB-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FLAG230XPDB-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/angle-grinders/M18FLAG230XPDB-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | CORDLESS | WHEEL/DISC SIZE | 180 MM | SPEED RATING | 6600 RPM | VOLTAGE RATING | 18 V | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1239841 | 1239841 | GRINDER;DEWT,ANGLE,18 V,9000RPM,1X4.0 AH | GRINDER;MNFR:DEWALT TOOLSTYPE:ANGLE,VOLTAGE RATING:18 V,ADDITIONAL FEATURES EN:9000RPM,1X4.0 AH | 01)TOTAL TOOLS TOWNSVILLE,01)175919,ANGLE,18 V,01)9000RPM,1X4.0 AH |  | 3000263 | DEWALT TOOLS | DEWALT TOOLS | 175919 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 27111905 Grinders | GRINDER | NO MODIFIER | TYPE | ANGLE | WHEEL/DISC SIZE |  | SPEED RATING | 9000 RPM | POWER RATING | 18 V | VOLTAGE RATING | 18 V | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1X4 AH | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1270323 | 1270323 | GRINDER;MILW,200899002,MILWAUKEE,SIDE HA | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:200899002,ADDITIONAL FEATURES EN:MILWAUKEE,SIDE HANDLE | 01)BULLIVANTS PTY LTD,01)200899002,GRINDER,01)MILWAUKEE,SIDE HANDLE | 200899002 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 200899002 |  | BULLIVANTS PTY LTD |  |  |  | https://spares.unitedtoolsburleigh.com.au/collections/milwaukee-hd18ag-spare-parts/products/13-hd18ag-side-handle-milwaukee-hd18ag-spare-parts | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | NO MODIFIER | TYPE | SIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269438 | 1269438 | GRINDER;MILW,AGV15-125XE,125 MM,1550 W | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:AGV15-125XE,ADDITIONAL FEATURES EN:125 MM,1550 W | 01)MOUNT ISA MINING SUPPLIES,01)AGV15-125XE,GRINDER,01)125 MM,1550 W | AGV15-125XE | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | AGV15-125XE |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/angle-grinders/AGV15-125XE.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | CORDED | WHEEL/DISC SIZE | 125 MM | SPEED RATING |  | VOLTAGE RATING | 240 V | POWER RATING | 1550 W | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1271071 | 1271071 | GRINDER;MILW,M12FDGS-0,DIE | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FDGS-0,ADDITIONAL FEATURES EN:DIE | 01)GASWELD DISCOUNT TOOL CEN,01)M12FDGS-0,GRINDER,01)DIE | M12FDGS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FDGS-0 |  | GASWELD DISCOUNT TOOL CEN |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/die-grinders/M12FDGS-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | DIE | WHEEL/DISC SIZE |  | SPEED RATING | 21000 RPM | VOLTAGE RATING | 12 V | POWER RATING | 0.3 HP | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1268952 | 1268952 | GRINDER;MILW,M18FAGF125XPDB-0,5 IN FLAT | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FAGF125XPDB-0,ADDITIONAL FEATURES EN:5 IN FLAT HEAD | 01)MOUNT ISA MINING SUPPLIES,01)M18FAGF125XPDB-0,GRINDER,01)5 IN FLAT HEAD | M18FAGF125XPDB-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FAGF125XPDB-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/angle-grinders/M18FAGF125XPDB-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE |  | WHEEL/DISC SIZE | 125 MM | SPEED RATING | 8500 RPM | VOLTAGE RATING |  | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5 IN FLAT HEAD | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1270294 | 1270294 | GRINDER;MILW,M18FDG-0,18V,SKN,DIE,1/4 IN | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FDG-0,ADDITIONAL FEATURES EN:18V,SKIN,DIE,1/4 IN /6MM | 01)SYDNEY TOOLS PTY LTD,01)M18FDG-0,GRINDER,01)18V,SKIN,DIE,1/4 IN /6MM | M18FDG-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FDG-0 |  | SYDNEY TOOLS PTY LTD |  |  |  | https://www.milwaukeetool.com.au/discontinued-products/M18FDG-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | DIE,SKIN | WHEEL/DISC SIZE |  | SPEED RATING | 27000 RPM | VOLTAGE RATING | 18 V | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:1/4 IN /6MM | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1270339 | 1270339 | GRINDER;MILW,M18FSAG125XPDB-0,ANG,18V | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FSAG125XPDB-0,ADDITIONAL FEATURES EN:ANGLE,18V | 01)BLACKWOODS,01)M18FSAG125XPDB-0,GRINDER,01)ANGLE,18V | M18FSAG125XPDB-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FSAG125XPDB-0 |  | BLACKWOODS |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/angle-grinders/M18FSAG125XPDB-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | ANGLE | WHEEL/DISC SIZE | 125 MM | SPEED RATING | 9000 RPM | VOLTAGE RATING | 18 V | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269850 | 1269850 | GRINDER;MILW,M18ONEFAG125XPDB-0,5 IN | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONEFAG125XPDB-0,ADDITIONAL FEATURES EN:5 IN WITH ONEKEY | 01)MOUNT ISA MINING SUPPLIES,01)M18ONEFAG125XPDB-0,GRINDER,01)5 IN WITH ONEKEY | M18ONEFAG125XPDB-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONEFAG125XPDB-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/angle-grinders/M18ONEFAG125XPDB-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE |  | WHEEL/DISC SIZE | 125 MM | SPEED RATING | 8500 RPM | VOLTAGE RATING |  | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5 IN C/W ONEKEY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333586 | 1333586 | NIPPLE;DIEC,BHA1805 | NIPPLE;MNFR:DIECI,PTNO:BHA1805,ADDITIONAL FEATURES EN:END CONNECTION:SWIVEL | NIPPLE,01)END CONNECTION:SWIVEL | BHA1805 | 3000511 | DIECI | DIECI | BHA1805 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION | SWIVEL | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333428 | 1333428 | NIPPLE;DIEC,BHA1806 | NIPPLE;MNFR:DIECI,PTNO:BHA1806,ADDITIONAL FEATURES EN:END CONNECTION:SWIVEL | NIPPLE,01)END CONNECTION:SWIVEL | BHA1806 | 3000511 | DIECI | DIECI | BHA1806 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION | SWIVEL | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333585 | 1333585 | NIPPLE;DIEC,BHA1810 | NIPPLE;MNFR:DIECI,PTNO:BHA1810,ADDITIONAL FEATURES EN:END CONNECTION:SWIVEL | NIPPLE,01)END CONNECTION:SWIVEL | BHA1810 | 3000511 | DIECI | DIECI | BHA1810 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION | SWIVEL | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1333584 | 1333584 | NIPPLE;DIEC,BHA2810 | NIPPLE;MNFR:DIECI,PTNO:BHA2810,ADDITIONAL FEATURES EN:END CONNECTION:SWIVEL | NIPPLE,01)END CONNECTION:SWIVEL | BHA2810 | 3000511 | DIECI | DIECI | BHA2810 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION | SWIVEL | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269237 | 1269237 | NIPPLE;MAN,243C4-12101 | NIPPLE;MNFR:MANITOU,PTNO:243C4-12101 | 01)JUNGHEINRICH AUSTRALIA PT,01)243C4-12101,NIPPLE | 243C4-12101 | 3000007 | MANITOU | MANITOU | 243C4-12101 |  | JUNGHEINRICH AUSTRALIA PTD |  |  |  | https://www.lyf.com.my/product/369047/243C4-12101,-NIPPLE.html | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1273590 | 1273590 | PADLOCK;NHP,D7AL01,CVR,CONTROL/INDICATIO | PADLOCK;MNFR:NHP,PTNO:D7AL01,ADDITIONAL FEATURES EN:COVER,CONTROL/INDICATION,IP66,D7 22.5MM | 01)PACIFIC RIM TECH SERVICES,01)D7AL01,PADLOCK,01)COVER,CONTROL/INDICATION,IP | D7AL01 | 3000664 | NHP | NHP | D7AL01 |  | PACIFIC RIM TECH SERVICES |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-797/NHP_AU_Catalog-812/NHP_AU_Catalog-877/D7AL01 | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | COVER | NO MODIFIER | TYPE | PADLOCK,COVER,CONTROL/INDICATION | SIZE | 22.5 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | ENCLOSURE:IP66,PRODUCT SERIES:D7 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1273736 | 1273736 | PADLOCK;NHP,GBLM,GRIZZ BARCHASSIS,MDL:GB | PADLOCK;MNFR:NHP,PTNO:GBLM,ADDITIONAL FEATURES EN:GRIZZ BARCHASSIS,MDL:GB | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPGBLM,PADLOCK,01)GRIZZ BARCHASSIS,MDL:GB | GBLM | 3000664 | NHP | NHP | GBLM |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/product/gblm | [10 empty] | CLEANSED | 46171501 Padlocks | PADLOCK | NO MODIFIER | TYPE |  | SHACKLE DIAMETER |  | SHACKLE HEIGHT |  | SHACKLE WIDTH |  | KEY TYPE |  | NUMBER OF KEYS |  | MATERIAL |  | LOCKING MECHANISM |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GRIZZ BARCHASSIS,MDL:GB | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1271032 | 1271032 | REGULATOR,TEMP;BREX,AB31-14/3-1A2A-TAZ6 | REGULATOR,TEMPERATURE;MNFR:BOSCH REXROTH,PTNO:AB31-14/3-1A2A-TAZ6 | 01)ISADRAULICS,01)AB31-14/3-1A2A-TAZ6 12368,REGULATOR,TEMPERATURE | AB31-14/3-1A2A-TAZ6 | 3000419 | BOSCH REXROTH | BOSCH REXROTH | AB31-14/3-1A2A-TAZ6 | [5 empty] | https://www.hydrotech.com/shop/product/890665-ab31-14-3-1a2a-taz6 | [10 empty] | CLEANSED | 41112205 Temperature regulators | REGULATOR | TEMPERATURE | TYPE |  | SET POINT RANGE |  | MAX TEMPERATURE |  | NOMINAL SIZE |  | MATERIAL |  | SENSOR TYPE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:ISADRAULICS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1269326 | 1269326 | REGULATOR;DRAG,8324250 | REGULATOR;MNFR:DRAEGER,PTNO:8324250 |  | 8324250 | 3000423 | DRAEGER | DRAEGER | 8324250 | [5 empty] | https://www.grainger.com/product/DRAEGER-Gas-Regulator-35XG43 | [10 empty] | ENRICHED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE | GAS | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1274207 | 1274207 | REGULATOR;FUCH,3789000,AIR,1/2 IN | REGULATOR;MNFR:FUCHS LUBRICANTS,PTNO:3789000,ADDITIONAL FEATURES EN:AIR,Â½IN | 01)FUCHS LUBRICANTS (A'SIA),01)3789000,REGULATOR,01)AIR,½IN | 3789000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS (A'SIA) | 3789000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE | AIR | CONNECTION TYPE/PORT SIZE | 1/2 IN | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1214312 | 1214312 | REGULATOR;SIE,2-210-004 | REGULATOR;MNFR:SIEMENS,PTNO:2-210-004 | REGULATOR | 2-210-004 | 3000032 | SIEMENS | SIEMENS | 2-210-004 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE |  | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1334712 | 1334712 | REGULATOR;SIE,2BY5800-0AA76 | REGULATOR;MNFR:SIEMENS,PTNO:2BY5800-0AA76 | REGULATOR | 2BY5800-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY5800-0AA76 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE |  | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1258207 | 1258207 | REGULATOR;SIE,2BY5810-1AA76 | REGULATOR;MNFR:SIEMENS,PTNO:2BY5810-1AA76 | REGULATOR | 2BY5810-1AA76 | 3000032 | SIEMENS | SIEMENS | 2BY5810-1AA76 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE |  | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1321979 | 1321979 | REGULATOR;SIE,KTL/500.02 | REGULATOR;MNFR:SIEMENS,PTNO:KTL/500.02 | REGULATOR | KTL/500.02 | 3000032 | SIEMENS | SIEMENS | KTL/500.02 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE |  | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1214315 | 1214315 | REGULATOR;SIE,RV14 (DWG 8190-3L286) | REGULATOR;MNFR:SIEMENS,PTNO:RV14 (DWG 8190-3L286) | REGULATOR | RV14 (DWG 8190-3L286) | 3000032 | SIEMENS | SIEMENS | RV14 | [5 empty] | URL NOT FOUND |  |  | 8190-3L286 | [7 empty] | CLEANSED | Fluid and gas regulators | REGULATOR | NO MODIFIER | TYPE |  | CONNECTION TYPE/PORT SIZE |  | OVERALL SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265933 | 1265933 | WATER;ABB,3BHB045872R0002 | WATER;MNFR:ABB,PTNO:3BHB045872R0002 | WATER | 3BHB045872R0002 | 3000014 | ABB | ABB | 3BHB045872R0002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265848 | 1265848 | WATER;ABB,FET-WRT-AC | WATER;MNFR:ABB,PTNO:FET-WRT-AC | WATER | FET-WRT-AC | 3000014 | ABB | ABB | FET-WRT-AC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265847 | 1265847 | WATER;ABB,FEW381 | WATER;MNFR:ABB,PTNO:FEW381 | WATER | FEW381 | 3000014 | ABB | ABB | FEW381 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265849 | 1265849 | WATER;ABB,STT4500 | WATER;MNFR:ABB,PTNO:STT4500 | WATER | STT4500 | 3000014 | ABB | ABB | STT4500 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265871 | 1265871 | WATER;CUM,193-0375 | WATER;MNFR:CUMMINS,PTNO:193-0375 | WATER | 193-0375 | 3000018 | CUMMINS | CUMMINS | 193-0375 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1265993 | 1265993 | WATER;CUM,3806180 | WATER;MNFR:CUMMINS,PTNO:3806180 | WATER | 3806180 | 3000018 | CUMMINS | CUMMINS | 3806180 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | Exception | [74 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-26 |  | 1253980 | 1253980 | ZZ - REPLACED BY 1492356 | GRINDER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FDGA-0,ADDITIONAL FEATURES EN:RIGHT ANGLE,DIE | 01)MOUNT ISA MINING SUPPLIES,01)M12FDGA-0,GRINDER,01)RIGHT ANGLE,DIE | M12FDGA-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FDGA-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/die-grinders/M12FDGA-0.html | [10 empty] | ENRICHED | 27112704 Power grinders | GRINDER | ELECTRICAL | TYPE | DIE,RIGHT ANGLE | WHEEL/DISC SIZE |  | SPEED RATING | 24500 RPM | VOLTAGE RATING | 12 V | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed