## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333389 | 1333389 | BASE,MNTG;DIEC,BCN6077-CF | BASE,MOUNTING;MNFR:DIECI,PTNO:BCN6077-CF,ADDITIONAL FEATURES EN:ENGINE SUPPORT | BASE,MOUNTING,01)ENGINE SUPPORT | BCN6077-CF | 3000511 | DIECI | DIECI | BCN6077-CF | [5 empty] | https://www.lbr.ru/zapchasti/kronstejn-dvigatela-bcn6077-cf | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | ENGINE SUPPORT | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333388 | 1333388 | BASE,MNTG;DIEC,BCN6078-CF | BASE,MOUNTING;MNFR:DIECI,PTNO:BCN6078-CF,ADDITIONAL FEATURES EN:ENGINE SUPPORT | BASE,MOUNTING,01)ENGINE SUPPORT | BCN6078-CF | 3000511 | DIECI | DIECI | BCN6078-CF | [5 empty] | https://www.lbr.ru/zapchasti/kronstejn-dvigatela-bcn6078-cf | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | ENGINE SUPPORT | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252818 | 1252818 | BASE,MNTG;DIEC,BCN6079-CF | BASE,MOUNTING;MNFR:DIECI,PTNO:BCN6079-CF,ADDITIONAL FEATURES EN:ENGINE SUPPORT | BASE,MOUNTING,01)ENGINE SUPPORT | BCN6079-CF | 3000511 | DIECI | DIECI | BCN6079-CF | [5 empty] | https://parts.titanmachinery.ua/dieci/BCN6079-CF | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | ENGINE SUPPORT | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333387 | 1333387 | BASE,MNTG;DIEC,BCN6080-CF | BASE,MOUNTING;MNFR:DIECI,PTNO:BCN6080-CF,ADDITIONAL FEATURES EN:ENGINE SUPPORT | BASE,MOUNTING,01)ENGINE SUPPORT | BCN6080-CF | 3000511 | DIECI | DIECI | BCN6080-CF | [5 empty] | https://www.lbr.ru/zapchasti/kronstejn-dvigatela-bcn6080-cf | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | ENGINE SUPPORT | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220273 | 1220273 | BASE,MNTG;SCHN,XVBZ02 | BASE,MOUNTING;MNFR:SCHNEIDER INC,PTNO:XVBZ02 | 01)RS COMPONENTS PTY LTD,01)XVBZ02,BASE,MOUNTING | XVBZ02 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBZ02 |  | RS COMPONENTS PTY LTD |  |  |  | https://www.se.com/in/en/product/XVBZ02/fixing-base-for-modular-tower-lights-plastic-%C3%B870-80mm-black-aluminium-support-tube-+-black-fixing-plate/ | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | FIXING | SIZE | 70 DIA MM | MATERIAL | ALUMINIUM TUBE,PLASTIC PLATE | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1260099 | 1260099 | BASE,MNTG;WEI,C260B2E02 | BASE MONTAJE;MNFR:WEIR,PTNO:C260B2E02, | BASE,MOUNTING | C260B2E02 | 3000036 | WEIR | WEIR | C260B2E02, | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1272692 | 1272692 | BASE,RELY;ABB,CRM3LS,F/3 C/O CR-M | BASE,RELAY;MNFR:ABB,PTNO:CRM3LS,ADDITIONAL FEATURES EN:F/3 C/O CR-M | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBCRM3LS,BASE,RELAY,01)F/3 C/O CR-M | CRM3LS | 3000014 | ABB | ABB | CRM3LS |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://new.abb.com/products/es/1SVR405651R2100/cr-m3ls | https://indelek.com/relevadores-encapsulado/1SVR405651R2100-base-para-relevador-miniatura-crm3ls-3co-11-pin-lineal-crm3-2918.html | [9 empty] | Enriched | 39122335 Relay socket or base | SOCKET | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING | 250 V | CURRENT RATING | 7 A | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE | 82 LGX27 WDX61 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA C22.2 No.14, IEC/EN 63000,IEC/EN 61984,UL 508 | ADDITIONAL FEATURES | F/3 C/O CR-M | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213100 | 1213100 | BASE,RELY;DRVT,IFI01217 | BASE,RELAY;MNFR:DRIVETRAIN,PTNO:IFI01217 | 01)DRIVETRAIN AUSTRALIA,01)IFI01217,BASE,RELAY | IFI01217 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI01217 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213101 | 1213101 | BASE,RELY;DRVT,IFI01228 | BASE,RELAY;MNFR:DRIVETRAIN,PTNO:IFI01228 | 01)DRIVETRAIN AUSTRALIA,01)IFI01228,BASE,RELAY | IFI01228 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI01228 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220401 | 1220401 | BASE;ABB,1SAP-111-100-R0170 | BASE;MNFR:ABB,PTNO:1SAP-111-100-R0170 | BASE | 1SAP-111-100-R0170 | 3000014 | ABB | ABB | 1SAP-111-100-R0170 | [5 empty] | https://new.abb.com/products/1SAP111100R0170/tb511-eth-r01xx | https://adjditec.com/en/productos/tb511-eth_r01xx-abb-cpu-terminal-base-1sap111100r0170 | [9 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | CPU TERMINAL | SIZE | 135 LGX96 WDX28 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1323988 | 1323988 | BASE;ABB,1SAP412000R0001 | BASE;MNFR:ABB,PTNO:1SAP412000R0001 | BASE | 1SAP412000R0001 | 3000014 | ABB | ABB | 1SAP412000R0001 | [5 empty] | https://us.rs-online.com/product/abb-drives/1sap412000r0001/72924183/ | https://www.purvisindustries.com/abb-tu516-xc | [9 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE | 2-9/16 WDX5-5/16 HTX1-3/32 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241546 | 1241546 | BASE;ABB,1SDA054931R1,T4-T5 RHE-B,F/P | BASE;MNFR:ABB,PTNO:1SDA054931R1,ADDITIONAL FEATURES EN:T4-T5 RHE-B,F/P DIS BASE.MC SPARE L | BASE,01)T4-T5 RHE-B,F/P DIS,02)BASE.MC SPARE L,01)T4-T5 RHE-B,F/P DIS,02)BASE.MC SPARE L | 1SDA054931R1 | 3000014 | ABB | ABB | 1SDA054931R1 | [5 empty] | https://www.electricautomationnetwork.com/en/abb/1sda054931r1-abb-base-for-adjustable-depth-rotary-handle-for-circuit-breaker-fixed-plug-in-t4-t5 | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | F/P DIS BASE.MC SPARE L,T4-T5 RHE-B | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1241415 | 1241415 | BASE;ABB,3BSE013230R1,I/O,S800,TU 810 50 | BASE;MNFR:ABB,PTNO:3BSE013230R1,ADDITIONAL FEATURES EN:I/O,S800,TU 810 50 V INSULATION LEVEL,TU810V1 COMPACT MTU 1 X 8CH W63LU | BASE,01)I/O,S800,TU 810,02)50 V INSULATION,03)LEVEL,TU810V1 COMPACT,04)MTU 1 X 8CH W63LU,01)E/S,S800,TU 810 50 V NIVEAU,02)D’ISOLATION,TU810V1,03)COMPACT MTU 1 X 8CH W63LU | 3BSE013230R1 | 3000014 | ABB | ABB | 3BSE013230R1 | [5 empty] | https://www.swanplc.com/abb-tu810v1-3bse013230r1-terminal-block_p92.html | https://new.abb.com/products/3BSE013230R1/3bse013230r1 | [9 empty] | Enriched | 39121410 Terminal blocks | BLOCK | TERMINAL | TYPE | I/O | CURRENT RATING |  | VOLTAGE RATING | 50 V | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | 64 LGX58.5 WDX170 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | S800,INSULATION LEVEL,TU810V1 COMPACT MTU 1 X 8CH W63LU | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1324049 | 1324049 | BASE;ABB,ISAP111100R0270 | BASE;MNFR:ABB,PTNO:ISAP111100R0270 | BASE | ISAP111100R0270 | 3000014 | ABB | ABB | 1SAP111100R0270 | [5 empty] | https://new.abb.com/products/1SAP111100R0270/tb511-eth | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE | 28 LGX95.5 WDX135 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272987 | 1272987 | BASE;ABB,TB541-ETH,TRMNL,AC500 V24 SLOTS | BASE;MNFR:ABB,PTNO:TB541-ETH,ADDITIONAL FEATURES EN:TERMINAL,AC500 V24 SLOTS,ETHERNET & 2 SERIAL RS232/RS485 INTERFACE | 01)ABB AUSTRALIA PTY LTD,01)TB541-ETH,BASE,01)TERMINAL,AC500 V24 SLOTS,ET | TB541-ETH | 3000014 | ABB | ABB AUSTRALIA PTY LTD | TB541-ETH | [5 empty] | https://new.abb.com/products/1SAP114100R0270/tb541-eth | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | TERMINAL | SIZE | 28 LGX95.5 WDX135 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/AC500 V24 SLOTS,ETHERNET & 2 SERIAL RS232/RS485 INTERFACE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333618 | 1333618 | BASE;DIEC,BHB3306 | BASE;MNFR:DIECI,PTNO:BHB3306,ADDITIONAL FEATURES EN:JOYSTICK | BASE,01)JOYSTICK | BHB3306 | 3000511 | DIECI | DIECI | BHB3306 | [5 empty] | https://inter-tehnika.ru/product/Xm80_osnovanie-dzhoystika | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | JOYSTICK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333284 | 1333284 | BASE;DIEC,CAR0000550/0G | BASE;MNFR:DIECI,PTNO:CAR0000550/0G,ADDITIONAL FEATURES EN:JOYSTICK | BASE,01)JOYSTICK | CAR0000550/0G | 3000511 | DIECI | DIECI | CAR0000550/0G | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | JOYSTICK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272977 | 1272977 | BASE;PHNX,850500900,STD,RBL,F/BEACON,AUE | BASE;MNFR:PHOENIX CONTACT,PTNO:850500900,ADDITIONAL FEATURES EN:STANDARD,RBL,F/BEACON,AUER,HORIZONTAL MOUNTING,R SERIES | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO850500900,BASE,01)STANDARD,RBL,F/BEACON,AUER | 850500900 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 850500900 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  | PHOENIX CONTACT |  | https://www.digikey.in/en/products/detail/auer-signal/850500900/16633392 | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | HORIZONTAL | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RBL STANDARD,F/BEACON,SERIES:R | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1266777 | 1266777 | BASE;RITL,8640003,PLINTH VX CORNER PIECE | BASE;MNFR:RITTAL,PTNO:8640003,ADDITIONAL FEATURES EN:PLINTH VX CORNER PIECE | 01)CNW (MOUNT ISA) ELECT WHO,01)8640003,BASE,01)PLINTH VX CORNER PIECE | 8640003 | 3000653 | RITTAL | RITTAL | VX 8640003 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/pdf-creator/variant/us-en/8640003 | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | PLINTH CORNER PIECE | SIZE | 100 HT MM | MATERIAL | SHEET STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | GOST,UL+C-UL | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1323666 | 1323666 | BASE;SIE,3SL1024 | BASE;MNFR:SIEMENS,PTNO:3SL1024 | BASE | 3SL1024 | 3000032 | SIEMENS | SIEMENS | 3SL1024 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1323667 | 1323667 | BASE;SIE,3SL1025 | BASE;MNFR:SIEMENS,PTNO:3SL1025 | BASE | 3SL1025 | 3000032 | SIEMENS | SIEMENS | 3SL1025 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1266184 | 1266184 | BASE;SIE,AGK11.7,PLG-IN,F/LFS1 CONTRLR | BASE;MNFR:SIEMENS,PTNO:AGK11.7,ADDITIONAL FEATURES EN:PLUG-IN,F/LFS1 CONTRLR | 01)HAYMANS ELECTRICAL TOWNSV,01)APSAGK11.7,BASE,01)PLUG-IN,F/LFS1 CONTRLR | AGK11.7 | 3000032 | SIEMENS | SIEMENS | AGK11.7 |  | HAYMANS ELECTRICAL TOWNSVILLE |  |  |  | https://mall.industry.siemens.com/mall/en/clusterrcal1countries/Catalog/Products/10358240 | [10 empty] | Cleansed | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | PLUG-IN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/LFS1 CONTROLLER | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241332 | 1241332 | BOARD,CIRCT;ABB,3BHE024577R0101 | BOARD,CIRCUIT;MNFR:ABB,PTNO:3BHE024577R0101,ADDITIONAL FEATURES EN:CONTROL,APPLICATION AND MOTOR PP C907 BE AMC34 | BOARD,CIRCUIT,01)CONTROL,APPLICATION &,02)MOTOR PP C907 BE AMC34,01)CONTROLE,APPLICATION ET,02)MOTEUR PP C907 BE AMC34 | 3BHE024577R0101 | 3000014 | ABB | ABB | 3BHE024577R0101 | [5 empty] | https://www.industrialservomotor.com/sale-10412529-abb-pcb-control-board-electronic-printed-circuit-board-3bhe024577r0101-pp-c907-be.html | https://www.quicktimeonline.com/3bhe024577r0101 | [9 empty] | Enriched | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | APPLICATION AND MOTOR CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | PP C907 BE: AMC 34 | [63 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1275853 | 1275853 | BOARD,CIRCT;GARD,ZS1072682,COMPAIR F0180 | BOARD,CIRCUIT;MNFR:GARDNER DENVER,PTNO:ZS1072682,ADDITIONAL FEATURES EN:COMPAIR F0180HS AIR DRYER ELECTRONIC BOARD F120HS-F1800H | 01)GARDNER DENVER INDUSTRIES,01)ZS1072682,BOARD,CIRCUIT,01)COMPAIR F0180HS AIR DRYER E | ZS1072682 | 3000280 | GARDNER DENVER | GARDNER DENVER INDUSTRIES | ZS1072682 | [5 empty] | https://www.buyfilteronline.com/compair-zs1072682-1703894/ | [5 empty] | AIR DRYER |  | F120HS-F1800HS |  |  | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE | ELECTRONIC | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:COMPAIR | [63 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1268068 | 1268068 | BOARD,DISTR;NHP,MANXPD0019550,440V,250A | BOARD,DISTRIBUTION;MNFR:NHP,PTNO:MANXPD0019550,ADDITIONAL FEATURES EN:440V,250A,3PH,48 POLE | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPMANXPD0019550,BOARD,DISTRIBUTION,01)440V,250A,3PH,48 POLE | MANXPD0019550 | 3000664 | NHP | NHP | MANXPD0019550 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | Url Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | BOARD | DISTRIBUTION | TYPE |  | ELECTRICAL RATING | 440 V,250 A,3 PH,48 P | NUMBER OF WAYS |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | COLOUR |  | DEGREE OF PROTECTION |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1268069 | 1268069 | BOARD,DISTR;NHP,MANXPD0019558,440V,250A | BOARD,DISTRIBUTION;MNFR:NHP,PTNO:MANXPD0019558,ADDITIONAL FEATURES EN:440V,250A,3PH,48 POLE | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPMANXPD0019558,BOARD,DISTRIBUTION,01)440V,250A,3PH,48 POLE | MANXPD0019558 | 3000664 | NHP | NHP | MANXPD0019558 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | Url Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | BOARD | DISTRIBUTION | TYPE |  | ELECTRICAL RATING | 440 V,250 A,3 PH,48 P | NUMBER OF WAYS |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | COLOUR |  | DEGREE OF PROTECTION |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Query - Manufacturer Details (MPN) not available | 1266749 | 1266749 | BOARD,DISTR;PWNS,POWINS440VDB | BOARD,DISTRIBUTION;MNFR:POWINS,PTNO:POWINS440VDB | 01)POWINS PTY LTD,01)POWINS440VDB,BOARD,DISTRIBUTION | POWINS440VDB | 3000439 | POWINS | POWINS | [6 empty] | Url Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | BOARD | DISTRIBUTION | TYPE |  | ELECTRICAL RATING | 440 V | NUMBER OF WAYS |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | COLOUR |  | DEGREE OF PROTECTION |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272931 | 1272931 | BOARD,DSPLY;MNRC,S4-D | BOARD,DISPLAY;MNFR:MINEARC,PTNO:S4-D | 01)MINEARC SYSTEMS PTY.LTD,01)S4-D,BOARD,DISPLAY | S4-D | 3000435 | MINEARC | MINEARC SYSTEMS PTY.LTD | S4-D | [5 empty] | Url Not Found | [10 empty] | Cleansed | 45111603 Projection screens or displays | BOARD | DISPLAY | TYPE |  | DISPLAY SIZE |  | DISPLAY TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1335490 | 1335490 | BOARD;ABB,3ADT220090R0014 | BOARD;MNFR:ABB,PTNO:3ADT220090R0014 | BOARD | 3ADT220090R0014 | 3000014 | ABB | ABB | 3ADT220090R0014 | [5 empty] | https://new.abb.com/products/3ADT220090R0014/3adt220090r0014 | https://www.electricautomationnetwork.com/PDF/PIM/ABB/EN_3ADT220090R0014.pdf | [9 empty] | Enriched | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING | 24 TO 48 VDC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1335489 | 1335489 | BOARD;ABB,3ADT220090R0020 | BOARD;MNFR:ABB,PTNO:3ADT220090R0020 | BOARD | 3ADT220090R0020 | 3000014 | ABB | ABB | 3ADT220090R0020 | [5 empty] | https://new.abb.com/products/3ADT220090R0020/3adt220090r0020 | https://www.nexinstrument.com/3adt220090r0020 | [9 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1335483 | 1335483 | BOARD;ABB,3ADT220134R0001 | BOARD;MNFR:ABB,PTNO:3ADT220134R0001 | BOARD | 3ADT220134R0001 | 3000014 | ABB | ABB | 3ADT220134R0001 | [5 empty] | https://new.abb.com/products/3ADT220134R0001/3adt220134r0001 | [10 empty] | Enriched | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | COMMUNICATION | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE | 225 LGX150 WDX50 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1335478 | 1335478 | BOARD;ABB,3ADT22090R0022 | BOARD;MNFR:ABB,PTNO:3ADT22090R0022 | BOARD | 3ADT22090R0022 | 3000014 | ABB | ABB | 3ADT22090R0022 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241352 | 1241352 | BOARD;ABB,3BHE004573R0141,INTFC UF C760 | BOARD;MNFR:ABB,PTNO:3BHE004573R0141,ADDITIONAL FEATURES EN:INTERFACE UF C760 BE 141 ARU | BOARD,01)INTERFACE UF,02)C760 BE 141 ARU,01)INTERFACE UF,02)C760 BE 141 ARU | 3BHE004573R0141 | 3000014 | ABB | ABB | 3BHE004573R0141 |  |  | UF C760 BE 141 ARU |  |  | https://www.htechplc.com/abb-3bhe004573r0141-interface-board_p15282.html | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE | INTERFACE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241337 | 1241337 | BOARD;ABB,3BHE021083R0101,HVD COATD XV | BOARD;MNFR:ABB,PTNO:3BHE021083R0101,ADDITIONAL FEATURES EN:HVD COATED XV C770 BE101 | BOARD,01)HVD COATED XV C770 BE101,01)HVD ENDUIT XV C770 BE101 | 3BHE021083R0101 | 3000014 | ABB | ABB | 3BHE021083R0101 | [5 empty] | https://www.quicktimeonline.com/3bhe021083r0101 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE | INTERFACE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HVD COATED XV C770 BE101 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1276002 | 1276002 | BOARD;ABB,40CN3211B | BOARD;MNFR:ABB,PTNO:40CN3211B | BOARD | 40CN3211B | 3000014 | ABB | ABB | 40CN3211B | [5 empty] | https://www.plc-warehouse.com/abb-40cn3211b | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE | CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220409 | 1220409 | BOARD;ABB,FIN-PCB-00060 | BOARD;MNFR:ABB,PTNO:FIN-PCB-00060 | BOARD | FIN-PCB-00060 | 3000014 | ABB | ABB | FIN-PCB-00060 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220410 | 1220410 | BOARD;ABB,FIN-PCB-00450 | BOARD;MNFR:ABB,PTNO:FIN-PCB-00450 | BOARD | FIN-PCB-00450 | 3000014 | ABB | ABB | FIN-PCB-00450 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220408 | 1220408 | BOARD;ABB,FIN-PCB-00640 | BOARD;MNFR:ABB,PTNO:FIN-PCB-00640 | BOARD | FIN-PCB-00640 | 3000014 | ABB | ABB | FIN-PCB-00640 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220404 | 1220404 | BOARD;ABB,FIN-PCB-00670 | BOARD;MNFR:ABB,PTNO:FIN-PCB-00670 | BOARD | FIN-PCB-00670 | 3000014 | ABB | ABB | FIN-PCB-00670 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220407 | 1220407 | BOARD;ABB,FIN-PCB-00940 | BOARD;MNFR:ABB,PTNO:FIN-PCB-00940 | BOARD | FIN-PCB-00940 | 3000014 | ABB | ABB | FIN-PCB-00940 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220402 | 1220402 | BOARD;ABB,FIN-PCB-01090 | BOARD;MNFR:ABB,PTNO:FIN-PCB-01090 | BOARD | FIN-PCB-01090 | 3000014 | ABB | ABB | FIN-PCB-01090 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220406 | 1220406 | BOARD;ABB,FIN-PCB-01130 | BOARD;MNFR:ABB,PTNO:FIN-PCB-01130 | BOARD | FIN-PCB-01130 | 3000014 | ABB | ABB | FIN-PCB-01130 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220403 | 1220403 | BOARD;ABB,FIN-SSP-00800 | BOARD;MNFR:ABB,PTNO:FIN-SSP-00800 | BOARD | FIN-SSP-00800 | 3000014 | ABB | ABB | FIN-SSP-00800 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1258506 | 1258506 | BOARD;ABB,FIN-SSP-11010 | BOARD;MNFR:ABB,PTNO:FIN-SSP-11010 | BOARD | FIN-SSP-11010 | 3000014 | ABB | ABB | FIN-SSP-11010 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1258504 | 1258504 | BOARD;ABB,FIN-SSP-11200 | BOARD;MNFR:ABB,PTNO:FIN-SSP-11200 | BOARD | FIN-SSP-11200 | 3000014 | ABB | ABB | FIN-SSP-11200 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1258505 | 1258505 | BOARD;ABB,FIN-SSP-11610/S | BOARD;MNFR:ABB,PTNO:FIN-SSP-11610/S | BOARD | FIN-SSP-11610/S | 3000014 | ABB | ABB | FIN-SSP-11610/S | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333815 | 1333815 | BOARD;ABB,PCM BOARD IT8000E | BOARD;MNFR:ABB,PTNO:PCM BOARD IT8000E | BOARD | PCM BOARD IT8000E | 3000014 | ABB | ABB | PCM IT8000E | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272930 | 1272930 | BOARD;MNRC,S4-C,CUR | BOARD;MNFR:MINEARC,PTNO:S4-C,ADDITIONAL FEATURES EN:CURRENT | 01)MINEARC SYSTEMS PTY.LTD,01)S4-C,BOARD,01)CURRENT | S4-C | 3000435 | MINEARC | MINEARC SYSTEMS PTY.LTD | S4-C | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE | CURRENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272932 | 1272932 | BOARD;MNRC,S4-G,GENL | BOARD;MNFR:MINEARC,PTNO:S4-G,ADDITIONAL FEATURES EN:GENERAL | 01)MINEARC SYSTEMS PTY.LTD,01)S4-G,BOARD,01)GENERAL | S4-G | 3000435 | MINEARC | MINEARC SYSTEMS PTY.LTD | S4-G | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOARD | NO MODIFIER | TYPE | GENERAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213184 | 1213184 | BOX,JNCTN;DRVT,IFI08928 | BOX,JUNCTION;MNFR:DRIVETRAIN,PTNO:IFI08928 | 01)DRIVETRAIN AUSTRALIA,01)IFI08928,BOX,JUNCTION | IFI08928 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI08928 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121332 Electrical junction box | BOX | JUNCTION | TYPE |  | SIZE |  | MATERIAL |  | HUB SIZE |  | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272294 | 1272294 | BOX,JNCTN;SCHN,T240/2/20GY,PVC,20MM,GREY | BOX,JUNCTION;MNFR:SCHNEIDER INC,PTNO:T240/2/20GY,ADDITIONAL FEATURES EN:PVC,20MM,GREY,2WAY,CONDUIT,TANGENTIAL,BRAND: CLIPSAL |  | T240/2/20GY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | T240/2/20GY | [5 empty] | https://eref.se.com/au/en/clipsal/product-pdf/T240/2/20-GY | https://www.clipsal.com/products/detail?CatNo=T240/2/20&itemno=T240/2/20-GY&tab-document-1=0 | [9 empty] | Cleansed | 39121332 Electrical junction box | BOX | JUNCTION | TYPE | CONDUIT,TANGENTIAL,2 WAY | SIZE | 20 ID MM | MATERIAL | PVC | HUB SIZE |  | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:CLIPSAL | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1272295 | 1272295 | BOX,JNCTN;SCHN,T240/2/25GY,PVC,25MM,GREY | BOX,JUNCTION;MNFR:SCHNEIDER INC,PTNO:T240/2/25GY,ADDITIONAL FEATURES EN:PVC,25MM,GREY,2WAY,CONDUIT,TANGENTIAL,BRAND: CLIPSAL |  | T240/2/25GY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | T240/2/25GY | [5 empty] | https://www.clipsal.com/products/detail?CatNo=T240/2/25&itemno=T240/2/25-GY&tab-document-1=0 | [10 empty] | Cleansed | 39121332 Electrical junction box | BOX | JUNCTION | TYPE | CONDUIT,TANGENTIAL,2 WAY | SIZE | 25 ID MM | MATERIAL | PVC | HUB SIZE |  | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:CLIPSAL | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241111 | 1241111 | BOX,STFFG;WAR,C078HS1D21 | BOX,STUFFING;MNFR:WARMAN,PTNO:C078HS1D21 | BOX,STUFFING | C078HS1D21 | 3000036 | WEIR | WARMAN | C078HS1D21 | [5 empty] | https://www.tobee.store/products/3x2-c-ah-slurry-pump-stuffing-box-c078hs1d21.html | [10 empty] | Cleansed | 31181704 Stuffing box | BOX | STUFFING | TYPE |  | SHAFT DIAMETER |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | DEPTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1241093 | 1241093 | BOX,STFFG;WEI,C078-C23 | BOX,STUFFING;MNFR:WEIR,PTNO:C078-C23 | BOX,STUFFING | C078-C23 | 3000036 | WEIR | WEIR | C078-C23 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31181704 Stuffing box | BOX | STUFFING | TYPE |  | SHAFT DIAMETER |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | DEPTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1210790 | 1210790 | BOX,TERM;TECO,195/D200 | BOX,TERMINAL;MNFR:TECO,PTNO:195/D200 | 01)TECO AUSTRALIA PTY LTD,01)195/D200,BOX,TERMINAL | 195/D200 | 3000444 | TECO | TECO AUSTRALIA PTY LTD | 195/D200 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121303 Electrical boxes | BOX | TERMINAL | TYPE |  | HUB SIZE |  | NUMBER OF HUBS |  | MATERIAL |  | SIZE |  | NUMBER OF BUS BAR |  | BUS BAR SIZE |  | TERMINAL SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | ENCLOSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1274289 | 1274289 | BOX;ABB,2TLA050220R0222 | BOX;MNFR:ABB,PTNO:2TLA050220R0222 | BOX | ZZ - 2TLA050220R0222 | 3000014 | ABB | ABB | 2TLA050220R0222 | [5 empty] | https://new.abb.com/products/2TLA050220R0222/estrongz-led | https://in.rsdelivers.com/product/abb/2tla050220r0222/abb-estrongz-led-series-emergency-stop-push-button/2531557 | [9 empty] | Enriched | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 2NO 2NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | STAINLESS STEEL 316 BODY | COLOUR | RED | SIZE | 105 LGX66 WDX94 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1220394 | 1220394 | BOX;ABB,3ASM 210 G130 | BOX;MNFR:ABB,PTNO:3ASM 210 G130 | BOX | 3ASM 210 G130 | 3000014 | ABB | ABB | 3ASM 210 G130 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1330070 | 1330070 | BOX;ABB,ADC BOX DC | BOX;MNFR:ABB,PTNO:ADC BOX DC | BOX | ADC BOX DC | 3000014 | ABB | ABB | ADC BOX DC | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1329950 | 1329950 | BOX;ABB,GI711S | BOX;MNFR:ABB,PTNO:GI711S | BOX | GI711S | 3000014 | ABB | ABB | GI711S | [5 empty] | https://www.ifm.com/in/en/product/GI711S | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE |  | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING | 19.2 TO 30 VDC | CABLE LENGTH |  | ENCLOSURE | IP65,IP67 | MATERIAL | STAINLESS STEEL | SWITCHING FREQUENCY |  | MOUNTING TYPE | NON-FLUSH | SIZE | 70 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-3,IEC 61508,ISO 13849 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1218314 | 1218314 | BOX;ALIM,1200 140 000 | BOX;MNFR:ALIMAK,PTNO:1200 140 000 |  | 1200 140 000 | 3000412 | ALIMAK | ALIMAK | 1200 140 000 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333390 | 1333390 | BOX;DIEC,BCN9818 | BOX;MNFR:DIECI,PTNO:BCN9818,ADDITIONAL FEATURES EN:CONTROL PANEL | BOX,01)CONTROL PANEL | BCN9818 | 3000511 | DIECI | DIECI | BCN9818 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE | CONTROL PANEL | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333370 | 1333370 | BOX;DIEC,BEF2383/0C | BOX;MNFR:DIECI,PTNO:BEF2383/0C,ADDITIONAL FEATURES EN:CONTROL PANEL | BOX,01)CONTROL PANEL | BEF2383/0C | 3000511 | DIECI | DIECI | BEF2383/0C | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE | CONTROL PANEL | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1274856 | 1274856 | BOX;GARD,A10533574,AIR-OIL SEPAR | BOX;MNFR:GARDNER DENVER,PTNO:A10533574,ADDITIONAL FEATURES EN:AIR-OIL SEPAR | 01)GARDNER DENVER INDUSTRIES,01)A10533574,BOX,01)AIR-OIL SEPAR | A10533574 | 3000280 | GARDNER DENVER | GARDNER DENVER | A10533574 | [5 empty] | https://best-aire.com/product/a10533574-air-oil-separ-box-qr-gardner-denver/ | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE | AIR OIL SEPARATOR | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1273544 | 1273544 | BOX;MILW,48228426,PACKOUT ROLLING TOOL | BOX;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48228426,ADDITIONAL FEATURES EN:PACKOUT ROLLING TOOL |  | 48228426 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48228426 | [5 empty] | https://www.milwaukeetool.com/Products/48-22-8426 | https://sydneytools.com.au/product/milwaukee-48228426-packout-rolling-tool-box | [9 empty] | Enriched | 24113106 Tool box | BOX | TOOL | TYPE | ROLLING TOOL | SIZE | 560 LGX450 WDX600 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | CAPACITY |  | LOAD RATING |  | COLOR |  | LOCKING MECHANISM |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:PACKOUT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1273484 | 1273484 | BOX;SCHN,XALK03,EMPTY CONTROL,3 HOLE | BOX;MNFR:SCHNEIDER INC,PTNO:XALK03,ADDITIONAL FEATURES EN:EMPTY CONTROL,3 HOLE |  | XALK03 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XALK03 | [5 empty] | https://www.se.com/in/en/product/XALK03/yellow-empty-enclosure-lid-with-light-grey-base-3-cutouts/ | [10 empty] | Enriched | 39121500 Electrical controls and accessories | STATION | CONTROL | TYPE | EMPTY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF OPERATORS |  | CONTACT CONFIGURATION |  | LEGEND |  | DEGREE OF PROTECTION | IP66,IP67,IP69,IP69K | MOUNTING TYPE |  | MATERIAL | POLYCARBONATE | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | JIS C8201-5-1,EN/IEC 60947-5-1,CSA C22.2 No 14,UL 508,EN/IEC 60947-1,EN/IEC 60947-5-4,EN/IEC 60947-5-5,JIS C8201-1 | ADDITIONAL FEATURES | NO OF HOLE:3 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1334716 | 1334716 | BOX;SIE,2BY4100-1AA76 | BOX;MNFR:SIEMENS,PTNO:2BY4100-1AA76 | BOX | 2BY4100-1AA76 | 3000032 | SIEMENS | SIEMENS | 2BY4100-1AA76 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24113100 Boxes | BOX | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1269352 | 1269352 | BRACKET,MOUNT;3M,70007452256,EMERGENCY R | BRACKET,MOUNTING;MNFR:3M,PTNO:70007452256,ADDITIONAL FEATURES EN:EMERGENCY RETRIEVAL | 01)ALLIANCE SAFETY EQUIPMENT,01)70007452256,BRACKET,MOUNTING,01)EMERGENCY RETRIEVAL | 70007452256 | 3000220 | 3M | 3M | 70007452256 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.3mindia.in/3M/en_IN/p/d/v100323951/ | https://www.southland.com.au/3m-dbi-sala-3401025-sealed-blok-retrieval-srl-mounting-bracket-yellow-zinc | [9 empty] | Enriched | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE | EMERGENCY RETRIEVAL | SIZE |  | MATERIAL |  | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR | YELLOW ZINC | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1253899 | 1253899 | BRACKET,MOUNT;AB,871ABXS12,SPRING RETURN | BRACKET,MOUNTING;MNFR:ALLEN BRADLEY,PTNO:871ABXS12,ADDITIONAL FEATURES EN:SPRING RETURN,SS,12 MM | 01)NHP ELECTRICAL ENGINEERIN,01)871ABXS12,BRACKET,MOUNTING,01)SPRING RETURN,SS,12 MM | 871ABXS12 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 871A-BXS12 | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.871A-BXS12.html | https://www.rexelusa.com/p/81504/allen-bradley/accessory-spring/611320328448/871a-bxs12-lp | [9 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE | SPRING RETURN | SIZE | 12 DIA MM | MATERIAL | STAINLESS STEEL | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1253900 | 1253900 | BRACKET,MOUNT;AB,871ABXS18,SPRING RETURN | BRACKET,MOUNTING;MNFR:ALLEN BRADLEY,PTNO:871ABXS18,ADDITIONAL FEATURES EN:SPRING RETURN,SS,18 MM | 01)NHP ELECTRICAL ENGINEERIN,01)871ABXS18,BRACKET,MOUNTING,01)SPRING RETURN,SS,18 MM | 871ABXS18 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 871A-BXS18 | [5 empty] | https://www.mc-mc.com/Product/allen-bradley-871a-bxs18?option=ALBR871ABXS18 | https://www.revereelectric.com/4633259/Product/Allen-Bradley-871A-BXS18 | [9 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE | SPRING RETURN | SIZE | 18 DIA MM | MATERIAL | STAINLESS STEEL | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1253901 | 1253901 | BRACKET,MOUNT;AB,871ABXS30,SPRING RETURN | BRACKET,MOUNTING;MNFR:ALLEN BRADLEY,PTNO:871ABXS30,ADDITIONAL FEATURES EN:SPRING RETURN,SS,30 MM | 01)NHP ELECTRICAL ENGINEERIN,01)871ABXS30,BRACKET,MOUNTING,01)SPRING RETURN,SS,30 MM | 871ABXS30 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 871A-BXS30 | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.871A-BXS30.html | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE | SPRING RETURN | SIZE | 30 DIA MM | MATERIAL | STAINLESS STEEL | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 | Processed based on Websource, Conflict w.r.t Input | 1333274 | 1333274 | BRACKET,MOUNT;DIEC,BSC0159 | BRACKET,MOUNTING;MNFR:DIECI,PTNO:BSC0159,ADDITIONAL FEATURES EN:DOOR LATCH SUPPORT | BRACKET,MOUNTING,01)DOOR LATCH SUPPORT | BSC0159 | 3000511 | DIECI | DIECI | BSC0159 | [5 empty] | https://www.agrozet.cz/e-shop/dieci-bsc0159-zamek-dveri-k-sade-bwd0820-d14749.html | [10 empty] | Enriched | 46171500 Locks and security hardware and accessories | LOCK | DOOR | TYPE | LATCH SUPPORT | LOCKING MECHANISM |  | MATERIAL |  | KEY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1245451 | 1245451 | BRACKET;ABB,5007-HPB45 | BRACKET;MNFR:ABB,PTNO:5007-HPB45 | BRACKET | 5007-HPB45 | 3000014 | ABB | ABB | 5007-HPB45 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE |  | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1321958 | 1321958 | BRACKET;CUM,3905694 | BRACKET;MNFR:CUMMINS,PTNO:3905694 | BRACKET | 3905694 | 3000018 | CUMMINS | CUMMINS | 3905694 | [5 empty] | http://www.dersadiesel.com/parca.php?marka_no=4b&sayfa=131&yeni_dil=ing | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE |  | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213793 | 1213793 | BRACKET;CUM,3916024 | BRACKET;MNFR:CUMMINS,PTNO:3916024 | BRACKET | 3916024 | 3000018 | CUMMINS | CUMMINS | 3916024 | [5 empty] | http://www.dersadiesel.com/parca.php?marka_no=4b&sayfa=139&yeni_dil=ing | [10 empty] | Enriched | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252960 | 1252960 | BRACKET;DIEC,4M.002048 | BRACKET;MNFR:DIECI,PTNO:4M.002048,ADDITIONAL FEATURES EN:UPPER | BRACKET,01)UPPER | 4M.002048 | 3000511 | DIECI | DIECI | 4M.002048 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | UPPER | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252800 | 1252800 | BRACKET;DIEC,4M.002049 | BRACKET;MNFR:DIECI,PTNO:4M.002049,ADDITIONAL FEATURES EN:LOWER | BRACKET,01)LOWER | 4M.002049 | 3000511 | DIECI | DIECI | 4M.002049 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | LOWER | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252889 | 1252889 | BRACKET;DIEC,4M.002302 | BRACKET;MNFR:DIECI,PTNO:4M.002302,ADDITIONAL FEATURES EN:FASTENING | BRACKET,01)FASTENING | 4M.002302 | 3000511 | DIECI | DIECI | 4M.002302 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | FASTENING | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252895 | 1252895 | BRACKET;DIEC,BCN2656/A0D | BRACKET;MNFR:DIECI,PTNO:BCN2656/A0D,ADDITIONAL FEATURES EN:LH | BRACKET,01)LH | BCN2656/A0D | 3000511 | DIECI | DIECI | BCN2656/A0D | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | LH | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1333353 | 1333353 | BRACKET;DIEC,BCN2656/B0D | BRACKET;MNFR:DIECI,PTNO:BCN2656/B0D,ADDITIONAL FEATURES EN:RH | BRACKET,01)RH | BCN2656/B0D | 3000511 | DIECI | DIECI | BCN2656/B0D | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | RH | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1252980 | 1252980 | BRACKET;DIEC,BCN2720/0D | BRACKET;MNFR:DIECI,PTNO:BCN2720/0D,ADDITIONAL FEATURES EN:LEVELLING | BRACKET,01)LEVELLING | BCN2720/0D | 3000511 | DIECI | DIECI | BCN2720/0D | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | LEVELLING | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1332941 | 1332941 | BRACKET;DIEC,BWF1521 | BRACKET;MNFR:DIECI,PTNO:BWF1521,ADDITIONAL FEATURES EN:DOUBLE | BRACKET,01)DOUBLE | BWF1521 | 3000511 | DIECI | DIECI | BWF1521 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | DOUBLE | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213106 | 1213106 | BRACKET;DRVT,IFI01532,ACC | BRACKET;MNFR:DRIVETRAIN,PTNO:IFI01532,ADDITIONAL FEATURES EN:ACCUMULATOR | 01)DRIVETRAIN AUSTRALIA,01)IFI01532,BRACKET,01)ACCUMULATOR | IFI01532 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI01532 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE |  | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/ACCUMULATOR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1211047 | 1211047 | FAN;DRVT,IFI25431 | FAN;MNFR:DRIVETRAIN,PTNO:IFI25431 | 01)DRIVETRAIN,01)IFI25431,FAN | IFI25431 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI25431 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40101604 Fans | FAN | NO MODIFIER | TYPE |  | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213056 | 1213056 | LUBRICANT;DRVT,IFI00032 | LUBRICANT;MNFR:DRIVETRAIN,PTNO:IFI00032 | 01)DRIVETRAIN AUSTRALIA,01)IFI00032,LUBRICANT | IFI00032 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI00032 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 15121500 Lubricating preparations | LUBRICANT | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213158 | 1213158 | PLATE;DRVT,IFI04069 | PLATE;MNFR:DRIVETRAIN,PTNO:IFI04069 | 01)DRIVETRAIN AUSTRALIA,01)IFI04069,PLATE | IFI04069 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI04069 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213159 | 1213159 | PLATE;DRVT,IFI04070,DIFF,DRV | PLATE;MNFR:DRIVETRAIN,PTNO:IFI04070,ADDITIONAL FEATURES EN:DIFF,DRIVE | 01)DRIVETRAIN AUSTRALIA,01)IFI04070,PLATE,01)DIFF,DRIVE | IFI04070 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI04070 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | DIFFERENTIAL DRIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213160 | 1213160 | PLATE;DRVT,IFI04071,DIFF | PLATE;MNFR:DRIVETRAIN,PTNO:IFI04071,ADDITIONAL FEATURES EN:DIFF | 01)DRIVETRAIN AUSTRALIA,01)IFI04071,PLATE,01)DIFF | IFI04071 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI04071 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213189 | 1213189 | PLATE;DRVT,IFI11592,TOP,SPR | PLATE;MNFR:DRIVETRAIN,PTNO:IFI11592,ADDITIONAL FEATURES EN:TOP,SPRING | 01)DRIVETRAIN AUSTRALIA,01)IFI11592,PLATE,01)TOP,SPRING | IFI11592 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI11592 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | TOP,SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213190 | 1213190 | PLATE;DRVT,IFI11594,BAS,SPR | PLATE;MNFR:DRIVETRAIN,PTNO:IFI11594,ADDITIONAL FEATURES EN:BASE,SPRING | 01)DRIVETRAIN AUSTRALIA,01)IFI11594,PLATE,01)BASE,SPRING | IFI11594 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI11594 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | BASE,SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213195 | 1213195 | PLATE;DRVT,IFI12338,TOP,LH | PLATE;MNFR:DRIVETRAIN,PTNO:IFI12338,ADDITIONAL FEATURES EN:TOP,LH | 01)DRIVETRAIN AUSTRALIA,01)IFI12338,PLATE,01)TOP,LH | IFI12338 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI12338 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | TOP,LH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213196 | 1213196 | PLATE;DRVT,IFI12339,BTM,LH | PLATE;MNFR:DRIVETRAIN,PTNO:IFI12339,ADDITIONAL FEATURES EN:BOTTOM,LH | 01)DRIVETRAIN AUSTRALIA,01)IFI12339,PLATE,01)BOTTOM,LH | IFI12339 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI12339 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | BOTTOM,LH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213197 | 1213197 | PLATE;DRVT,IFI12340,TOP,RH | PLATE;MNFR:DRIVETRAIN,PTNO:IFI12340,ADDITIONAL FEATURES EN:TOP,RH | 01)DRIVETRAIN AUSTRALIA,01)IFI12340,PLATE,01)TOP,RH | IFI12340 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI12340 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | TOP,RH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213198 | 1213198 | PLATE;DRVT,IFI12341,BTM,RH | PLATE;MNFR:DRIVETRAIN,PTNO:IFI12341,ADDITIONAL FEATURES EN:BOTTOM,RH | 01)DRIVETRAIN AUSTRALIA,01)IFI12341,PLATE,01)BOTTOM,RH | IFI12341 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI12341 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | BOTTOM,RH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213210 | 1213210 | PLATE;DRVT,IFI13326 | PLATE;MNFR:DRIVETRAIN,PTNO:IFI13326 | 01)DRIVETRAIN AUSTRALIA,01)IFI13326,PLATE | IFI13326 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI13326 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1211066 | 1211066 | PLATE;DRVT,IFI24675 | PLATE;MNFR:DRIVETRAIN,PTNO:IFI24675 | 01)DRIVETRAIN,01)IFI24675,PLATE | IFI24675 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24675 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213382 | 1213382 | PLATE;DRVT,IFI29945,FLX | PLATE;MNFR:DRIVETRAIN,PTNO:IFI29945,ADDITIONAL FEATURES EN:FLEX |  | IFI29945 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI29945 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | FLEX | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213408 | 1213408 | PLATE;DRVT,IFI31313,DIFF | PLATE;MNFR:DRIVETRAIN,PTNO:IFI31313,ADDITIONAL FEATURES EN:DIFF |  | IFI31313 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31313 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | DIFFERENTIAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213425 | 1213425 | PLATE;DRVT,IFI31359,LCKG | PLATE;MNFR:DRIVETRAIN,PTNO:IFI31359,ADDITIONAL FEATURES EN:LOCKING |  | IFI31359 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31359 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | LOCKING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213480 | 1213480 | PLATE;DRVT,IFI32937,DRV | PLATE;MNFR:DRIVETRAIN,PTNO:IFI32937,ADDITIONAL FEATURES EN:DRIVE |  | IFI32937 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32937 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | DRIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213066 | 1213066 | ROD,TIE;DRVT,IFI00153,INNER | ROD,TIE;MNFR:DRIVETRAIN,PTNO:IFI00153,ADDITIONAL FEATURES EN:INNER | 01)DRIVETRAIN AUSTRALIA,01)IFI00153,ROD,TIE,01)INNER | IFI00153 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI00153 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | INNER | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213157 | 1213157 | ROD,TIE;DRVT,IFI04048 | ROD,TIE;MNFR:DRIVETRAIN,PTNO:IFI04048 | 01)DRIVETRAIN AUSTRALIA,01)IFI04048,ROD,TIE | IFI04048 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI04048 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE |  | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | ok | 24-06-2023 | 26-06-2023 |  | 1213348 | 1213348 | ROD;DRVT,IFI27486,DOOR LATCH | ROD;MNFR:DRIVETRAIN,PTNO:IFI27486,ADDITIONAL FEATURES EN:DOOR LATCH | 01)DRIVETRAIN AUSTRALIA,01)IFI27486,ROD,01)DOOR LATCH | IFI27486 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI27486 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE | DOOR LATCH | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed