## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1253845 | 1253845 | CARD;AB,1734-IE8C,CHANNEL AI | CARD;MNFR:ALLEN BRADLEY,PTNO:1734-IE8C,ADDITIONAL FEATURES EN:CHANNEL AI | 01)COLTERLEC,01)1734-IE8C,CARD,01)CHANNEL AI | 1734-IE8C | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1734-IE8C |  | COLTERLEC |  |  |  | https://www.rockwellautomation.com/en-us/products/details.1734-IE8C.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/1734-in033_-en-e.pdf | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | CURRENT INPUT | INPUT RATING | 24 VDC,0/4 TO 20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CHANNEL AI | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1213612 | 1213612 | CARD;ABB,3BSE006309R1 | CARD;MNFR:ABB,PTNO:3BSE006309R1 | CARD | 3BSE006309R1 | 3000014 | ABB | ABB | 3BSE006309R1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1241350 | 1241350 | CARD;ABB,3BSE008508R1,DGTL,INP S800 I/O | CARD;MNFR:ABB,PTNO:3BSE008508R1,ADDITIONAL FEATURES EN:DIGITAL,INPUT S800 I/O 16CH | CARD,01)DIGITAL,INPUT,02)S800 I/O 16CH,01)DIGITAL,INPUT,02)S800 I/O 16CH | 3BSE008508R1 | 3000014 | ABB | ABB | 3BSE008508R1 | [5 empty] | https://new.abb.com/products/3BSE008508R1/3bse008508r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING | 24 V | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OD CHANNAL:16,S800 I/O | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1217580 | 1217580 | CARD;ABB,3BSE008516R1 | CARD;MNFR:ABB,PTNO:3BSE006516R1 | CARD | 3BSE008516R1 | 3000014 | ABB | ABB | 3BSE006516R1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1241945 | 1241945 | CARD;ABB,3BSE008544R1,ANLG INP,S800,AI | CARD;MNFR:ABB,PTNO:3BSE008544R1,ADDITIONAL FEATURES EN:ANALOG INPUT,S800,AI 820,4 CHANNEL | 01)W63LU,CARD,01)ANALOG INPUT,S800,AI,02)820,4 CHANNEL,01)ENTREE ANALOGIQUE,S800,AI,02)820,4 CHANNEL | 3BSE008544R1 | 3000014 | ABB | ABB | 3BSE008544R1 | [5 empty] | https://new.abb.com/products/3BSE008544R1/3bse008544r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | ANALOG INPUT | INPUT RATING | +/-5 V,+/-10 V, 0(4) TO 20 MA,+/-20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1241349 | 1241349 | CARD;ABB,3BSE008546R1,BAS,S800 2X8 50 V | CARD;MNFR:ABB,PTNO:3BSE008546R1,ADDITIONAL FEATURES EN:BASE,S800 2X8 50 V | CARD,01)BASE,S800 2X8 50 V,01)BASE,S800 2X8 50 V | 3BSE008546R1 | 3000014 | ABB | ABB | 3BSE008546R1 | [5 empty] | https://new.abb.com/products/3BSE008546R1/3bse008546r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | ANALOG OUTPUT | INPUT RATING | +/-10 V, 0(4) TO 20 MA,+/-20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325311 | 1325311 | CARD;ABB,4890024-CB | CARD;MNFR:ABB,PTNO:4890024-CB | CARD | 4890024-CB | 3000014 | ABB | ABB | 4890024-CB | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325306 | 1325306 | CARD;ABB,4890050-AD | CARD;MNFR:ABB,PTNO:4890050-AD | CARD | 4890050-AD | 3000014 | ABB | ABB | 4890050-AD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325310 | 1325310 | CARD;ABB,49270191-EU | CARD;MNFR:ABB,PTNO:49270191-EU | CARD | 49270191-EU | 3000014 | ABB | ABB | 49270191-EU | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325265 | 1325265 | CARD;ABB,5615 452-G | CARD;MNFR:ABB,PTNO:5615 452-G | MODULE | 5615 452-G | 3000014 | ABB | ABB | 5615 452-G | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325268 | 1325268 | CARD;ABB,5615 453-D | CARD;MNFR:ABB,PTNO:5615 453-D | MODULE | 5615 453-D | 3000014 | ABB | ABB | 5615 453-D | [5 empty] | https://www.surplusselect.com/collections/relays/products/new-abb-asea-brown-boveri-5615-453-d-contact-relay | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTACT | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325267 | 1325267 | CARD;ABB,5615 463-AE | CARD;MNFR:ABB,PTNO:5615 463-AE | MODULE | 5615 463-AE | 3000014 | ABB | ABB | 5615 463-AE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325277 | 1325277 | CARD;ABB,57120001-AT | CARD;MNFR:ABB,PTNO:57120001-AT | CARD | 57120001-AT | 3000014 | ABB | ABB | 57120001-AT | [5 empty] | https://new.abb.com/products/57120001-AT/57120001-at | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING | 0 TO 10 V,0 TO 20 MA | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325276 | 1325276 | CARD;ABB,57120001-FG | CARD;MNFR:ABB,PTNO:57120001-FG | CARD | 57120001-FG | 3000014 | ABB | ABB | 57120001-FG | [5 empty] | https://new.abb.com/products/57120001-FG/57120001-fg | https://www.southernplcs.com/dcs/abb/advant-ocs/57120001-FG | [9 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | ANALOG OUTPUT | ELECTRICAL RATING |  | OUTPUT RATING | 0 TO 10 V,0 TO 20 MA | NUMBER OF CHANNELS | 16 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325272 | 1325272 | CARD;ABB,57160001-GV | CARD;MNFR:ABB,PTNO:57160001-GV | CARD | 57160001-GV | 3000014 | ABB | ABB | 57160001-GV | [5 empty] | https://new.abb.com/products/57160001-GV/57160001-gv | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING |  | OUTPUT RATING | 110 VAC/DC | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325282 | 1325282 | CARD;ABB,57160001-K | CARD;MNFR:ABB,PTNO:57160001-K | CARD | 57160001-K | 3000014 | ABB | ABB | 57160001-K | [5 empty] | https://new.abb.com/products/57160001-K/57160001-k | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | DIGITAL OUTPUT | ELECTRICAL RATING |  | OUTPUT RATING | 24 TO 48 VDC | NUMBER OF CHANNELS | 32 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325269 | 1325269 | CARD;ABB,57360001-CY | CARD;MNFR:ABB,PTNO:57360001-CY | CARD | 57360001-CY | 3000014 | ABB | ABB | 57360001-CY | [5 empty] | https://new.abb.com/products/57360001-CY/57360001-cy | [10 empty] | ENRICHED | 43201800 Media storage devices | BOARD | NO MODIFIER | TYPE | MEMORY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325270 | 1325270 | CARD;ABB,57360001-KX | CARD;MNFR:ABB,PTNO:57360001-KX | CARD | 57360001-KX | 3000014 | ABB | ABB | 57360001-KX | [5 empty] | https://new.abb.com/products/57360001-KX/57360001-kx | [10 empty] | ENRICHED | 43201800 Media storage devices | BOARD | NO MODIFIER | TYPE | START-UP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325404 | 1325404 | CARD;ABB,AI620 | CARD;MNFR:ABB,PTNO:AI620 | CARD | AI620 | 3000014 | ABB | ABB | AI620 | [5 empty] | https://new.abb.com/products/3BHT300005R1/3bht300005r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | ANALOG INPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325827 | 1325827 | CARD;ABB,DCA0012279R1 | CARD;MNFR:ABB,PTNO:DCA0012279R1 | CARD | DCA0012279R1 | 3000014 | ABB | ABB | DCA0012279R1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-26 |  | 1325266 | 1325266 | CARD;ABB,DEG 20 | CARD;MNFR:ABB,PTNO:DEG 20 | CARD | DEG 20 | 3000014 | ABB | ABB | DEG 20 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325400 | 1325400 | CARD;ABB,DI620 | CARD;MNFR:ABB,PTNO:DI620 | CARD | DI620 | 3000014 | ABB | ABB | DI620 | [5 empty] | https://new.abb.com/products/3BHT300002R1/3bht300002r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325399 | 1325399 | CARD;ABB,DO620 | CARD;MNFR:ABB,PTNO:DO620 | CARD | DO620 | 3000014 | ABB | ABB | DO620 | [5 empty] | https://new.abb.com/products/3BHT300009R1/3bht300009r1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 60 VDC | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325274 | 1325274 | CARD;ABB,DSAI 151 | CARD;MNFR:ABB,PTNO:DSAI 151 | CARD | DSAI 151 | 3000014 | ABB | ABB | DSAI 151 | [5 empty] | https://new.abb.com/products/57120001-DE/57120001-de | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | ANALOG INPUT | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS | 14 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | NM DOUBT | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325278 | 1325278 | CARD;ABB,DSCA 114 | CARD;MNFR:ABB,PTNO:DSCA 114 | CARD | DSCA 114 | 3000014 | ABB | ABB | DSCA 114 | [5 empty] | https://new.abb.com/products/57510001-AA/57510001-aa | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | COMMUNICATION | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input,PARTIALLLY MATCH | 1325273 | 1325273 | CARD;ABB,DSDC 110A | CARD;MNFR:ABB,PTNO:DSDC 110A | CARD | DSDC 110A | 3000014 | ABB | ABB | DSDC 110A | [5 empty] | https://new.abb.com/products/57160001-EU/57160001-eu | [10 empty] | CLEANSED | 39121500 Switches & controls & relays | UNIT | CONTROL | TYPE |  | SIZE |  | ELECTRICAL RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325283 | 1325283 | CARD;ABB,DSDI 131 | CARD;MNFR:ABB,PTNO:DSDI 131 | CARD | DSDI 131 | 3000014 | ABB | ABB | DSDI 131 | [5 empty] | https://new.abb.com/products/57160001-GV/57160001-gv | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING | 110 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325285 | 1325285 | CARD;ABB,DSDO 110 | CARD;MNFR:ABB,PTNO:DSDO 110 | CARD | DSDO 110 | 3000014 | ABB | ABB | DSDO 110 | [5 empty] | https://new.abb.com/products/57160001-K/57160001-k | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | DIGITAL OUTPUT | ELECTRICAL RATING |  | OUTPUT RATING | 24 TO 48 VDC | NUMBER OF CHANNELS | 32 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1216491 | 1216491 | CARD;ABB,E790327 | CARD;MNFR:ABB,PTNO:E790327 | CARD | E790327 | 3000014 | ABB | ABB | E790327 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1323620 | 1323620 | CARD;ABB,ISAP 180 100 R0001 | CARD;MNFR:ABB,PTNO:ISAP 180 100 R0001 | CARD | ISAP 180 100 R0001 | 3000014 | ABB | ABB | 1SAP 180 100 R0001 | [5 empty] | https://library.e.abb.com/public/7091931945cbbd1fc1257c210040dd84/2CDC120142C0204.pdf | [10 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE | SD | MEMORY | 128 MB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1276083 | 1276083 | CARD;ABB,QALA 211 | CARD;MNFR:ABB,PTNO:QALA 211 | CARD | QALA 211 | 3000014 | ABB | ABB | QALA 211 | [5 empty] | https://www.classicautomation.com/Part/qala211 | [10 empty] | ENRICHED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE | SIGNAL LEVEL | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325305 | 1325305 | CARD;ABB,QAPL 211 | CARD;MNFR:ABB,PTNO:QAPL 211 | CARD | QAPL 211 | 3000014 | ABB | ABB | QAPL 211 | [5 empty] | https://new.abb.com/products/YL261001-FF/yl261001-ff | [10 empty] | ENRICHED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE | SIGNAL LEVEL | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1258297 | 1258297 | CARD;ABB,RF615K01 AC110 I/0 RACK | CARD;MNFR:ABB,PTNO:RF615K01 AC110 I/0 RACK | CARD | RF615K01 AC110 I/0 RACK | 3000014 | ABB | ABB | RF615K01 AC110 I/0 RACK | [5 empty] | https://new.abb.com/products/3BSE000650R1/3bse000650r1 | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | KIT | NO MODIFIER | TYPE | I/O STATION | CONTENTS | 1 X BASE BACKPLANE 10 SLOTS RF615,1 X CABLE DUCT RC610,1 X IOB A BUS EXTENDER CI610 | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1213609 | 1213609 | CARD;ABB,SDCS-COM-1 | CARD;MNFR:ABB,PTNO:SDCS-COM-1 | CARD | SDCS-COM-1 | 3000014 | ABB | ABB | SDCS-COM-1 | [5 empty] | https://new.abb.com/products/3BSE005028R0001/3bse005028r0001 | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | DRIVE LINK | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325405 | 1325405 | CARD;ABB,SDCS-CON-1 | CARD;MNFR:ABB,PTNO:SDCS-CON-1 | CARD | SDCS-CON-1 | 3000014 | ABB | ABB | SDCS-CON-1 | [5 empty] | https://www.rms-dcs.com/abb-sdcs-con-1-3bse006196r1-control-board-product/ | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325407 | 1325407 | CARD;ABB,SDCS-IOB-21 | CARD;MNFR:ABB,PTNO:SDCS-IOB-21 | CARD | SDCS-IOB-21 | 3000014 | ABB | ABB | SDCS-IOB-21 | [5 empty] | https://new.abb.com/products/3BSE005176R0001/3bse005176r0001 | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE |  | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325406 | 1325406 | CARD;ABB,SDCS-IOB-3 | CARD;MNFR:ABB,PTNO:SDCS-IOB-3 | CARD | SDCS-IOB-3 | 3000014 | ABB | ABB | SDCS-IOB-3 | [5 empty] | https://new.abb.com/products/3BSE004086R0001/3bse004086r0001 | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | CONNECTOR | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1213610 | 1213610 | CARD;ABB,SDCS-PIN-41 | CARD;MNFR:ABB,PTNO:SDCS-PIN-41 | CARD | SDCS-PIN-41 | 3000014 | ABB | ABB | SDCS-PIN-41 | [5 empty] | https://library.e.abb.com/public/28329708406ebcecc1257042004bb287/3ADW000165R0201_Technical_Data_e_b_acr4.pdf | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | PULSE TRANSFORMER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1330065 | 1330065 | CARD;ABB,SDCS-PIN-48-COAT | CARD;MNFR:ABB,PTNO:SDCS-PIN-48-COAT | CARD | SDCS-PIN-48-COAT | 3000014 | ABB | ABB | SDCS-PIN-48-COAT | [5 empty] | https://new.abb.com/products/3BSE004939R0002/3bse004939r0002 | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | PULSE TRANSFORMER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1274883 | 1274883 | CARD;ABB,TP401A | CARD;MNFR:ABB,PTNO:TP401A | CARD | TP401A | 3000014 | ABB | ABB | TP40IA | [5 empty] | https://new.abb.com/products/TP40IA/tp40ia | https://www.electroquip.co.uk/abb-contactors/abb-tp40ia-pneumatic-timer-0-1-40s-off-delay-1sbn020301r1000 | [9 empty] | ENRICHED | 39121523 Timer controls | TIMER | PNEUMATIC | TYPE | OFF DELAY | PRESSURE RATING |  | TIMING RANGE | 0.1 TO 40 S | NUMBER OF PORTS |  | PROCESS CONNECTION |  | TEMPERATURE RATING |  | OPERATING MODE |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325340 | 1325340 | CARD;ABB,UFC762AE101 | CARD;MNFR:ABB,PTNO:UFC762AE101 | CARD | UFC762AE101 | 3000014 | ABB | ABB | UFC762AE101 | [5 empty] | https://www.dcsfcs.com/abb-ufc762ae101-3bhe006412r0101-pc-board_p3447.html | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325324 | 1325324 | CARD;ABB,XYZ 106D | CARD;MNFR:ABB,PTNO:XYZ 106D | CARD | XYZ 106D | 3000014 | ABB | ABB | XYZ 106D | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325327 | 1325327 | CARD;ABB,YL261001-FL | CARD;MNFR:ABB,PTNO:YL261001-FL | CARD | YL261001-FL | 3000014 | ABB | ABB | YL261001-FL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325325 | 1325325 | CARD;ABB,YL263001-KK | CARD;MNFR:ABB,PTNO:YL263001-KK | CARD | YL263001-KK | 3000014 | ABB | ABB | YL263001-KK | [5 empty] | https://new.abb.com/products/YL263001-KK/yl263001-kk | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | CONTROLLER | NO MODIFIER | TYPE | PROPORTIONAL INTEGRAL | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325322 | 1325322 | CARD;ABB,YL263001-RC | CARD;MNFR:ABB,PTNO:YL263001-RC | CARD | YL263001-RC | 3000014 | ABB | ABB | YL263001-RC | [5 empty] | https://new.abb.com/products/YL263001-RC/yl263001-rc | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | CONTROLLER | NO MODIFIER | TYPE | PROPORTIONAL INTEGRAL | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325330 | 1325330 | CARD;ABB,YT290002-B/1 | CARD;MNFR:ABB,PTNO:YT290002-B/1 | CARD | YT290002-B/1 | 3000014 | ABB | ABB | YT290002-B/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325316 | 1325316 | CARD;ABB,YT299001-AD | CARD;MNFR:ABB,PTNO:YT299001-AD | CARD | YT299001-AD | 3000014 | ABB | ABB | YT299001-AD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325326 | 1325326 | CARD;ABB,YXM 139 | CARD;MNFR:ABB,PTNO:YXM 139 | CARD | YXM 139 | 3000014 | ABB | ABB | YXM 139 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325321 | 1325321 | CARD;ABB,YXS 115 | CARD;MNFR:ABB,PTNO:YXS 115 | CARD | YXS 115 | 3000014 | ABB | ABB | YXS 115 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1325784 | 1325784 | CARD;ABB,YXX 147 | CARD;MNFR:ABB,PTNO:YXX 147 | CARD | YXX 147 | 3000014 | ABB | ABB | YXX-147 | [5 empty] | http://www.synchronics.co.in/items/armature-conntrol-card-yxx-147-firing-card.aspx | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | CARD | NO MODIFIER | TYPE | CONTROL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1267566 | 1267566 | CARD;ECAM,FIN-DIG-17131,PCB 16050906 DIG | CARD;MNFR:ECAM,PTNO:FIN-DIG-17131,ADDITIONAL FEATURES EN:PCB 16050906 DIGICOM LF CONVEYANCE MANAGEMENT | 01)ECAM (PTY) LTD,01)FIN-DIG-17131,CARD,01)PCB 16050906 DIGICOM LF CON | FIN-DIG-17131 | 3000424 | ECAM | ECAM | FIN-DIG-17131 |  |  | 16050906 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIGICOM LF CONVEYANCE MANAGEMENT | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214282 | 1214282 | CARD;SIE,3TS-722S-73756 | CARD;MNFR:SIEMENS,PTNO:3TS-722S-73756 | CARD | 3TS-722S-73756 | 3000032 | SIEMENS | SIEMENS | 3TS-722S-73756 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input,PARTIALLLY MATCH | 1214281 | 1214281 | CARD;SIE,4TS-26V-6139-1 | CARD;MNFR:SIEMENS,PTNO:4TS-26V-6139-1 | CARD | 4TS-26V-6139-1 | 3000032 | SIEMENS | SIEMENS | 4TS-26V-6139-1 | [5 empty] | https://www.novaut.com/en/simatic/12437-28078-4ts-26v-6139-siemens.html | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE | PLC | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214280 | 1214280 | CARD;SIE,4TS-722V-10047 | CARD;MNFR:SIEMENS,PTNO:4TS-722V-10047 | CARD | 4TS-722V-10047 | 3000032 | SIEMENS | SIEMENS | 4TS-722V-10047 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1212912 | 1212912 | CARD;SIE,6AG1321-1BL00-2AA0 | CARD;MNFR:SIEMENS,PTNO:6AG1321-1BL00-2AA0 | CARD | 6AG1321-1BL00-2AA0 | 3000032 | SIEMENS | SIEMENS | 6AG1321-1BL00-2AA0 | [5 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6AG1321-1BL00-2AA0&language=en | https://www.plchardware.com/Products/SM-6AG1321-1BL00-2AA0-UPP.aspx | [9 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL INPUT | INPUT RATING | 24 VDC, 7 MA | OUTPUT RATING |  | CONNECTION TYPE | 40 PIN | SIZE | 40 WDX125 HTX120 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1212908 | 1212908 | CARD;SIE,6AG1322-1BH01-2AA0 | CARD;MNFR:SIEMENS,PTNO:6AG1322-1BH01-2AA0 | CARD | 6AG1322-1BH01-2AA0 | 3000032 | SIEMENS | SIEMENS | 6AG1322-1BH01-2AA0 | [5 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6AG1322-1BH01-2AA0&language=en | https://www.icdcspares.com/product/siemens-6ag1322-1bh01-2aa0/ | [9 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | DIGITAL OUTPUT | INPUT RATING | 24 VDC, 80MA | OUTPUT RATING | 24 VDC, 0.5 A | CONNECTION TYPE | 20 PIN | SIZE | 40 WDX125 HTX120 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1212911 | 1212911 | CARD;SIE,6AG1331-1KF02-7AB0 | CARD;MNFR:SIEMENS,PTNO:6AG1331-1KF02-7AB0 | CARD | 6AG1331-1KF02-7AB0 | 3000032 | SIEMENS | SIEMENS | 6AG1331-1KF02-7AB0 | [5 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6AG1331-1KF02-7AB0&language=en | https://www.plchardware.com/Products/SM-6AG1331-1KF02-7AB0-NSS.aspx | [9 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | ANALOG INPUT | INPUT RATING | +/-50 MV,+/-500 MV, +/-1 V, 1 TO 5 V, +/-5 V, 0 TO 10 V, +/-10 V,+/-20 MA, 0/4 TO 20 MA | OUTPUT RATING |  | CONNECTION TYPE | 40 PIN | SIZE | 40 WDX125 HTX120 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1330516 | 1330516 | CARD;SIE,6ES7953-8LL20-0AA0 | CARD;MNFR:SIEMENS,PTNO:6ES7953-8LL20-0AA0 | CARD | 6ES7953-8LL20-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7953-8LL20-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES7953-8LL20-0AA0 | https://www.plchardware.com/Products/SM-6ES7953-8LL20-0AA0.aspx | [9 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE | MICRO | MEMORY | 2 MB | POWER SUPPLY | 3.3 V | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1329338 | 1329338 | CARD;SIE,6ES7954-8LL03-0AA0 | CARD;MNFR:SIEMENS,PTNO:6ES7954-8LL03-0AA0 | CARD | 6ES7954-8LL03-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7954-8LL03-0AA0 | [5 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7954-8LL03-0AA0&language=en | [10 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE | FLASH | MEMORY | 256 MB | POWER SUPPLY | 3.3 V | READ/WRITING SPEED | 200/MIN | SIZE | 24 WDX32 HTX2.1 DP MM | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input,PARTIALLLY MATCH | 1325806 | 1325806 | CARD;SIE,6RA8211-2AA00 | CARD;MNFR:SIEMENS,PTNO:6RA8211-2AA00 | CARD | 6RA8211-2AA00 | 3000032 | SIEMENS | SIEMENS | 6RA8211-2AA00 | [5 empty] | https://sparesby4030.com/electronics/3270-siemens-pcb-6ra8211-2aa0.html | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1335628 | 1335628 | CARD;SIE,6SR0960-0CB11-0AD0 | CARD;MNFR:SIEMENS,PTNO:6SR0960-0CB11-0AD0 | CARD | 6SR0960-0CB11-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB11-0AD0 | [5 empty] | https://www.automation-berlin.com/en/siemens-6SR0960-0CB11-0AD0.html | https://www.robiconperfectharmony.com/Siemens-Robicon-NXGpro-Controller/4617724.html | [9 empty] | ENRICHED | 43201800 Media storage devices | CARD | MEMORY | TYPE | COMPACT FLASH | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1323653 | 1323653 | CARD;SIE,A1A098194 | CARD;MNFR:SIEMENS,PTNO:A1A098194 | CARD | A1A098194 | 3000032 | SIEMENS | SIEMENS | A1A098194 | [5 empty] | https://www.robiconperfectharmony.com/Siemens-Robicon-6SR0960-0QA0-2-0AA0-Siemens-A5E00993969-Data-Cable-For-I-O-Breakout-50-Pin-PG5035167 | [10 empty] | ENRICHED | 43201513 Motherboards | BOARD | PRINTED CIRCUIT | TYPE | MOTHER | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1323652 | 1323652 | CARD;SIE,A5E01649374 | CARD;MNFR:SIEMENS,PTNO:A5E01649374 | CARD | A5E01649374 | 3000032 | SIEMENS | SIEMENS | A5E01649374 | [5 empty] | https://www.amikonplc.com/siemens-a5e01649374-board_p22475.html | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | PRINTED CIRCUIT | TYPE | BRAKEOUT | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1325281 | 1325281 | CARD;SIE,A5E02634309 | CARD;MNFR:SIEMENS,PTNO:A5E02634309 | CARD | A5E02634309 | 3000032 | SIEMENS | SIEMENS | A5E02634309 | [5 empty] | https://www.robiconperfectharmony.com/Siemens-Robicon-NXGpro-Controller/4626964.html | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | FUNCTION | BYPASS CONTROL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214279 | 1214279 | CARD;SIE,C71458-A1100-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A1100-A2 | CARD | C71458-A1100-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A1100-A2 | [5 empty] | https://simatix.ru/product/C71458A1100A2/ | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | PRINTED CIRCUIT | TYPE | MULTI-FUNCTION | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214227 | 1214227 | CARD;SIE,C71458-A1230-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A1230-A1 | CARD | C71458-A1230-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A1230-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214228 | 1214228 | CARD;SIE,C71458-A1244-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A1244-A1 | CARD | C71458-A1244-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A1244-A1 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/FURNAS%20ELECTRIC%20CO/C71458-A1244-A1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE | PLC | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1213737 | 1213737 | CARD;SIE,C71458-A500-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A500-A2 | CARD | C71458-A500-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A500-A2 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/SIEMENS/C71458-A500-A2 | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1213739 | 1213739 | CARD;SIE,C71458-A501-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A501-A2 | CARD | C71458-A501-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A501-A2 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/FURNAS%20ELECTRIC%20CO/C71458-A501-A2 | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1257518 | 1257518 | CARD;SIE,C71458-A502-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A502-A2 | CARD | C71458-A502-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A502-A2 | [5 empty] | https://unitedmarineservices.in/product/siemens-simatic-n-pcb-c71458-a502-a2-fast-shipping-by-dhl-fedex.html | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1323529 | 1323529 | CARD;SIE,C71458-A503-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A503-A1 | CARD | C71458-A503-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A503-A1 | [5 empty] | https://www.electronicboard.es/otros-equipos-siemens-c71458-a503-a1/ | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214229 | 1214229 | CARD;SIE,C71458-A504-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A504-A2 | CARD | C71458-A504-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A504-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214230 | 1214230 | CARD;SIE,C71458-A509-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A509-A2 | CARD | C71458-A509-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A509-A2 | [5 empty] | https://www.jc-electronics.com/c71458-a509-a2 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE | PLC,COUNTER | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214217 | 1214217 | CARD;SIE,C71458-A511-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A511-A2 | CARD | C71458-A511-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A511-A2 | [5 empty] | https://www.lektronix.com/equipment/siemens-c71458a511-a2/14023 | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214231 | 1214231 | CARD;SIE,C71458-A512-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A512-A1 | CARD | C71458-A512-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A512-A1 | [5 empty] | https://www.jc-electronics.com/c71458-a512-a1 | [10 empty] | CLEANSED | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1213738 | 1213738 | CARD;SIE,C71458-A512-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A512-A2 | CARD | C71458-A512-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A512-A2 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/FURNAS%20ELECTRIC%20CO/C71458-A512-A2 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE | PLC | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214233 | 1214233 | CARD;SIE,C71458-A515-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A515-A2 | CARD | C71458-A515-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A515-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214234 | 1214234 | CARD;SIE,C71458-A516-A3 | CARD;MNFR:SIEMENS,PTNO:C71458-A516-A3 | CARD | C71458-A516-A3 | 3000032 | SIEMENS | SIEMENS | C71458-A516-A3 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/SIEMENS/C71458-A516-A3 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | PC | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214235 | 1214235 | CARD;SIE,C71458-A527-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A527-A1 | CARD | C71458-A527-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A527-A1 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/SIEMENS/C71458-A527-A1 | [10 empty] | CLEANSED | 43201500 System boards processors interfaces or modules | MODULE | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214236 | 1214236 | CARD;SIE,C71458-A528-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A528-A1 | CARD | C71458-A528-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A528-A1 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/SIEMENS/C71458-A528-A1 | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214237 | 1214237 | CARD;SIE,C71458-A531-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A531-A1 | CARD | C71458-A531-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A531-A1 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/SIEMENS/C71458-A531-A1 | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | PC BOARD | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214238 | 1214238 | CARD;SIE,C71458-A532-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A532-A1 | CARD | C71458-A532-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A532-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214239 | 1214239 | CARD;SIE,C71458-A536-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A536-A1 | CARD | C71458-A536-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A536-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214240 | 1214240 | CARD;SIE,C71458-A536-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A536-A2 | CARD | C71458-A536-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A536-A2 | [5 empty] | https://www.radwell.co.uk/fr-FR/Buy/SIEMENS/FURNAS%20ELECTRIC%20CO/C71458-A536-A2 | [10 empty] | CLEANSED | 43201500 System boards processors interfaces or modules | MODULE | ELECTRONIC | TYPE | PC BOARD | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214288 | 1214288 | CARD;SIE,C71458-A537-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A537-A1 | CARD | C71458-A537-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A537-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1323528 | 1323528 | CARD;SIE,C71458-A539-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A539-A1 | CARD | C71458-A539-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A539-A1 | [5 empty] | https://www.unisgroup.co.uk/products/c71458-a539-a1/ | http://www.regler.com.br/paginas/detalhes.asp?produto=C71458A539A1&cod=19162 | [9 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 | Processed based on Websource, Conflict w.r.t Input | 1214287 | 1214287 | CARD;SIE,C71458-A608-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A608-A2 | CARD | C71458-A608-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A608-A2 | [5 empty] | https://www.jc-electronics.com/c71458-a531-a1 | [10 empty] | CLEANSED | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214242 | 1214242 | CARD;SIE,C71458-A610-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A610-A2 | CARD | C71458-A610-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A610-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214243 | 1214243 | CARD;SIE,C71458-A614-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A614-A1 | CARD | C71458-A614-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A614-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214244 | 1214244 | CARD;SIE,C71458-A621-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A621-A2 | CARD | C71458-A621-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A621-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214245 | 1214245 | CARD;SIE,C71458-A627-A2 | CARD;MNFR:SIEMENS,PTNO:C71458-A627-A2 | CARD | C71458-A627-A2 | 3000032 | SIEMENS | SIEMENS | C71458-A627-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-06-26 |  | 1214241 | 1214241 | CARD;SIE,C71459-A501-A5 | CARD;MNFR:SIEMENS,PTNO:C71459-A501-A5 | CARD | C71459-A501-A5 | 3000032 | SIEMENS | SIEMENS | C71459-A501-A5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32100000 Printed circuits & integrated circuits & microassemblies | CARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed