## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1333562 | 1333562 | CARTRIDGE,FLTR;DIEC,BHC5142 | CARTRIDGE,FILTER;MNFR:DIECI,PTNO:BHC5142,ADDITIONAL FEATURES EN:PRE, FUEL SEPARATOR | CARTRIDGE,FILTER,01)PRE, FUEL SEPARATOR | BHC5142 | 3000511 | DIECI | DIECI | BHC5142 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161809 Filter cartridge | CARTRIDGE | FILTER | TYPE |  | FILTRATION RATE |  | MICRON RATING |  | SIZE |  | SERVICE |  | MATERIAL |  | COLOUR |  | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRE,FOR FUEL SEPARATOR | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1323977 | 1323977 | CARTRIDGE;ABB,07PP020-05NNA | CARTRIDGE;MNFR:ABB,PTNO:07PP020-05NNA | CARTRIDGE | 07PP020-05NNA | 3000014 | ABB | ABB | 07PP020-05NNA | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/159418/2674868.html | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | CARTRIDGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1217288 | 1217288 | CLAMP;DRVT,CDC050,HOSE:12NB HOSE,2-BOLT | CLAMP;MNFR:DRIVETRAIN,PTNO:CDC050,ADDITIONAL FEATURES EN:HOSE:12NB HOSE,2-BOLT,CLAWS/GROOVED/SADDLES,PVC/NYLEX HOSE,OD RANGE | 01)DRIVETRAIN AUSTRALIA,01)CDC050,CLAMP,01)HOSE:12NB HOSE,2-BOLT,CLAWS | CDC050 | 3000461 | DRIVETRAIN | DRIVETRAIN | CDC050 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162906 Hose or pipe clamps | CLAMP | HOSE | TYPE |  | HOSE SIZE | 12 NB | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | PVC/NYLEX | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 2-BOLT,CLAWS/GROOVED/SADDLES,OD RANGE | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1217311 | 1217311 | CLAMP;DRVT,W4L-027,MM 304 (W4) S/S WORMS | CLAMP;MNFR:DRIVETRAIN,PTNO:W4L-027,ADDITIONAL FEATURES EN:MM 304 (W4) S/S WORM DRIVE,SOLID BAND000 | 01)DRIVETRAIN AUSTRALIA,01)W4L-027,CLAMP,01)MM 304 (W4) S/S WORM DRIVE | W4L-027 | 3000461 | DRIVETRAIN | DRIVETRAIN | W4L-027 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | WORM DRIVE | CAPACITY |  | SIZE |  | MATERIAL | STAINLESS STEEL 304 W4 | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLID BAND000 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1268529 | 1268529 | CLAMP;GARD,A93616880,COMPARE L75 H/CLIP | CLAMP;MNFR:GARDNER DENVER,PTNO:A93616880,ADDITIONAL FEATURES EN:COMPARE L75 H/CLIP AS100-120 | 01)GARDNER DENVER INDUSTRIES,01)A93616880,CLAMP,01)COMPARE L75 H/CLIP AS100-12 | A93616880 | 3000280 | GARDNER DENVER | GARDNER DENVER | A93616880 |  | COMPAIR | AS100-120 |  |  | https://airenergyuk.com/shop/hose-clip-as100-120/ | [10 empty] | CLEANSED | 31163200 Retaining hardware | CLIP | NO MODIFIER | TYPE | HOSE | SIZE | 75 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1268530 | 1268530 | CLAMP;GARD,A93616890,COMPARE L75 H/CLIP | CLAMP;MNFR:GARDNER DENVER,PTNO:A93616890,ADDITIONAL FEATURES EN:COMPARE L75 H/CLIP AS130-150 | 01)GARDNER DENVER INDUSTRIES,01)A93616890,CLAMP,01)COMPARE L75 H/CLIP AS130-15 | A93616890 | 3000280 | GARDNER DENVER | GARDNER DENVER | A93616890 |  | COMPAIR | AS130-150 |  |  | https://airenergyuk.com/shop/hose-clip-as130-150/ | [10 empty] | ENRICHED | 31163200 Retaining hardware | CLIP | NO MODIFIER | TYPE | HOSE | SIZE | 75 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1271486 | 1271486 | CLAMP;HYS,1502009,HCE 839/28X1 | CLAMP;MNFR:HYSTER,PTNO:1502009,ADDITIONAL FEATURES EN:HCE 839/28X1 | CLAMP,01)HCE 839/28X1,01)HCE 839/28X1 | 1502009 | 3000023 | HYSTER | HYSTER | 1502009 | [5 empty] | https://www.orangeparts.com/hyster-1502009-hose-clamp/ | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | HOSE | TYPE |  | HOSE SIZE |  | WIDTH |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | FASTENING DEVICE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HCE 839/28X1 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1268919 | 1268919 | CLAMP;MAN,155500911 | CLAMP;MNFR:MANITOU,PTNO:155500911 | 01)JUNGHEINRICH AUSTRALIA PT,01)155500911,CLAMP | 155500911 | 3000007 | MANITOU | MANITOU | 155500911 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1274780 | 1274780 | CLAMP;MER,9069970190 | CLAMP;MNFR:MERCEDES,PTNO:9069970190 | 01)PENSKE POWER SYSTEMS,01)DE-9069970190,CLAMP | 9069970190 | 3000008 | MERCEDES | MERCEDES | 9069970190 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273970 | 1273970 | CLAMP;NHP,1794TB32,FLEX I/O TERMINAL BAS | CLAMP;MNFR:NHP,PTNO:1794TB32,ADDITIONAL FEATURES EN:FLEX I/O TERMINAL BASE FOR 32 POINT MODULE CAGE | 01)NHP ELECTRICAL ENGINEERIN,01)1794TB32,CLAMP,01)FLEX I/O TERMINAL BASE FOR | 1794TB32 | 3000664 | NHP | NHP | 1794TB32 |  | FLEX |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1794TB32-13754-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | I/O TERMINAL BASE FOR 32 POINT MODULE CAGE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273971 | 1273971 | CLAMP;NHP,1794TBNF,FLEX I/O TERMINAL BAS | CLAMP;MNFR:NHP,PTNO:1794TBNF,ADDITIONAL FEATURES EN:FLEX I/O TERMINAL BASE FUSED NEMA SCREW | 01)NHP ELECTRICAL ENGINEERIN,01)1794TBNF,CLAMP,01)FLEX I/O TERMINAL BASE FUSE | 1794TBNF | 3000664 | NHP | NHP | 1794TBNF |  | FLEX |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1794TBNF-13761-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | I/O TERMINAL BASE FUSED NEMA SCREW | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267498 | 1267498 | CLAMP;PHNX,800886,END | CLAMP;MNFR:PHOENIX CONTACT,PTNO:800886,ADDITIONAL FEATURES EN:END | 01)CNW (MOUNT ISA) ELECT WHO,01)800886,CLAMP,01)END | 800886 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 800886 | [5 empty] | https://www.phoenixcontact.com/en-in/products/end-block-ens-35-n-0800886 | [10 empty] | ENRICHED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | END | CAPACITY |  | SIZE | 48.6 LGX9.5 WDX32.8 HT MM | MATERIAL | POLYAMIDE | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219434 | 1219434 | CLAMP;STAU,1110007277,25MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110007277,ADDITIONAL FEATURES EN:25MM,DOUBLE | 01)PRO-DRAULICS,01)1110007277,CLAMP,01)25MM,DOUBLE | 1110007277 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110007277 | [5 empty] | https://stauff.com/en/products/1110007277 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 25 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219426 | 1219426 | CLAMP;STAU,1110024895,16MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110024895,ADDITIONAL FEATURES EN:16MM,DOUBLE | 01)PRO-DRAULICS,01)1110024895,CLAMP,01)16MM,DOUBLE | 1110024895 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110024895 | [5 empty] | https://stauff.com/en/products/1110024895 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 16 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219432 | 1219432 | CLAMP;STAU,1110024896,22MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110024896,ADDITIONAL FEATURES EN:22MM,DOUBLE | 01)PRO-DRAULICS,01)1110024896,CLAMP,01)22MM,DOUBLE | 1110024896 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110024896 | [5 empty] | https://stauff.com/en/products/1110024896 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 22 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219418 | 1219418 | CLAMP;STAU,1110025018,6.4MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110025018,ADDITIONAL FEATURES EN:6.4MM,DOUBLE | 01)PRO-DRAULICS,01)1110025018,CLAMP,01)6.4MM,DOUBLE | 1110025018 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110025018 | [5 empty] | https://stauff.com/en/products/1110025018 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 6.4 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219419 | 1219419 | CLAMP;STAU,1110025019,10MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110025019,ADDITIONAL FEATURES EN:10MM,DOUBLE | 01)PRO-DRAULICS,01)1110025019,CLAMP,01)10MM,DOUBLE | 1110025019 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110025019 | [5 empty] | https://stauff.com/en/products/1110025019 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 10 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219420 | 1219420 | CLAMP;STAU,1110025020,12MM,DOUBLE/SP-112 | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110025020,ADDITIONAL FEATURES EN:12MM,DOUBLE/SP-112/12 | 01)PRO-DRAULICS,01)1110025020,CLAMP,01)12MM,DOUBLE/SP-112/12 | 1110025020 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110025020 |  |  | SP-112/12 |  |  | https://stauff.com/en/products/1110025020 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219425 | 1219425 | CLAMP;STAU,1110026885,15MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026885,ADDITIONAL FEATURES EN:15MM,DOUBLE | 01)PRO-DRAULICS,01)1110026885,CLAMP,01)15MM,DOUBLE | 1110026885 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026885 | [5 empty] | https://stauff.com/en/products/1110026885 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 15 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219428 | 1219428 | CLAMP;STAU,1110026886,18MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026886,ADDITIONAL FEATURES EN:18MM,DOUBLE | 01)PRO-DRAULICS,01)1110026886,CLAMP,01)18MM,DOUBLE | 1110026886 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026886 | [5 empty] | https://stauff.com/en/products/1110026886 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 18 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219437 | 1219437 | CLAMP;STAU,1110026888,30MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026888,ADDITIONAL FEATURES EN:30MM,DOUBLE | 01)PRO-DRAULICS,01)1110026888,CLAMP,01)30MM,DOUBLE | 1110026888 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026888 | [5 empty] | https://stauff.com/en/products/1110026888 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 30 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219431 | 1219431 | CLAMP;STAU,1110026939,21.3MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026939,ADDITIONAL FEATURES EN:21.3MM,DOUBLE | 01)PRO-DRAULICS,01)1110026939,CLAMP,01)21.3MM,DOUBLE | 1110026939 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026939 | [5 empty] | https://stauff.com/en/products/1110026939 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 21.3 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219424 | 1219424 | CLAMP;STAU,1110026968,14MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110026968,ADDITIONAL FEATURES EN:14MM,DOUBLE | 01)PRO-DRAULICS,01)1110026968,CLAMP,01)14MM,DOUBLE | 1110026968 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110026968 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 14 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219429 | 1219429 | CLAMP;STAU,1110027950,19MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110027950,ADDITIONAL FEATURES EN:19MM,DOUBLE | 01)PRO-DRAULICS,01)1110027950,CLAMP,01)19MM,DOUBLE | 1110027950 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110027950 | [5 empty] | https://stauff.com/en/products/1110027950 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 19 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219433 | 1219433 | CLAMP;STAU,1110027952,25.4MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110027952,ADDITIONAL FEATURES EN:25.4MM,DOUBLE | 01)PRO-DRAULICS,01)1110027952,CLAMP,01)25.4MM,DOUBLE | 1110027952 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110027952 | [5 empty] | https://stauff.com/en/products/1110027952 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 25.4 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219441 | 1219441 | CLAMP;STAU,1110028248,38MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110028248,ADDITIONAL FEATURES EN:38MM,DOUBLE | 01)PRO-DRAULICS,01)1110028248,CLAMP,01)38MM,DOUBLE | 1110028248 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110028248 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 38 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219430 | 1219430 | CLAMP;STAU,1110028311,20MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110028311,ADDITIONAL FEATURES EN:20MM,DOUBLE | 01)PRO-DRAULICS,01)1110028311,CLAMP,01)20MM,DOUBLE | 1110028311 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110028311 | [5 empty] | https://stauff.com/en/products/1110028311 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 20 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219427 | 1219427 | CLAMP;STAU,1110029488,17.2MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110029488,ADDITIONAL FEATURES EN:17.2MM,DOUBLE | 01)PRO-DRAULICS,01)1110029488,CLAMP,01)17.2MM,DOUBLE | 1110029488 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110029488 | [5 empty] | https://stauff.com/en/products/1110029488 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 17.2 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219421 | 1219421 | CLAMP;STAU,1110030240,12.7MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110030240,ADDITIONAL FEATURES EN:12.7MM,DOUBLE | 01)PRO-DRAULICS,01)1110030240,CLAMP,01)12.7MM,DOUBLE | 1110030240 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110030240 | [5 empty] | https://stauff.com/en/products/1110030240 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 12.7 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219435 | 1219435 | CLAMP;STAU,1110031019,26.9MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110031019,ADDITIONAL FEATURES EN:26.9MM,DOUBLE | 01)PRO-DRAULICS,01)1110031019,CLAMP,01)26.9MM,DOUBLE | 1110031019 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110031019 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 26.9 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219422 | 1219422 | CLAMP;STAU,1110033762,12MM,DOUBLE/SP-212 | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033762,ADDITIONAL FEATURES EN:12MM,DOUBLE/SP-212/12 | 01)PRO-DRAULICS,01)1110033762,CLAMP,01)12MM,DOUBLE/SP-212/12 | 1110033762 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033762 |  |  | SP-212/12 |  |  | https://stauff.com/en/products/1110033762 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 12 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219423 | 1219423 | CLAMP;STAU,1110033763,13.5MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033763,ADDITIONAL FEATURES EN:13.5MM,DOUBLE | 01)PRO-DRAULICS,01)1110033763,CLAMP,01)13.5MM,DOUBLE | 1110033763 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033763 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 13.5 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219436 | 1219436 | CLAMP;STAU,1110033811,28MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033811,ADDITIONAL FEATURES EN:28MM,DOUBLE | 01)PRO-DRAULICS,01)1110033811,CLAMP,01)28MM,DOUBLE | 1110033811 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033811 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 28 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219438 | 1219438 | CLAMP;STAU,1110033820,32MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033820,ADDITIONAL FEATURES EN:32MM,DOUBLE | 01)PRO-DRAULICS,01)1110033820,CLAMP,01)32MM,DOUBLE | 1110033820 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033820 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 32 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1219439 | 1219439 | CLAMP;STAU,1110033825,33.7MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033825,ADDITIONAL FEATURES EN:33.7MM,DOUBLE | 01)PRO-DRAULICS,01)1110033825,CLAMP,01)33.7MM,DOUBLE | 1110033825 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033825 | [5 empty] | https://stauff.com/en/products/1110033825 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE | DOUBLE | TUBE SIZE | 33.7 MM | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219440 | 1219440 | CLAMP;STAU,1110033826,35MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033826,ADDITIONAL FEATURES EN:35MM,DOUBLE | 01)PRO-DRAULICS,01)1110033826,CLAMP,01)35MM,DOUBLE | 1110033826 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033826 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 35 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219442 | 1219442 | CLAMP;STAU,1110033832,40MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033832,ADDITIONAL FEATURES EN:40MM,DOUBLE | 01)PRO-DRAULICS,01)1110033832,CLAMP,01)40MM,DOUBLE | 1110033832 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033832 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 40 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1219443 | 1219443 | CLAMP;STAU,1110033836,42MM,DBL | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1110033836,ADDITIONAL FEATURES EN:42MM,DOUBLE | 01)PRO-DRAULICS,01)1110033836,CLAMP,01)42MM,DOUBLE | 1110033836 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1110033836 | [5 empty] | https://mjhydraulic.com.au/product/twin-series-din-3015-3/ | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | DOUBLE | CAPACITY |  | SIZE | 42 MM | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1218292 | 1218292 | CLAMP;STAU,SP-216-PP-DP-AS-M-W3 | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:SP-216-PP-DP-AS-M-W3 | 01)ISADRAULICS,01)SP-216-PP-DP-AS-M-W3,CLAMP | SP-216-PP-DP-AS-M-W3 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | SP-216-PP-DP-AS-M-W3 |  | ISADRAULICS |  |  |  | https://stauff.com/en/products/1110000840 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE |  | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-1 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1218293 | 1218293 | CLAMP;STAU,SP-325-PP-DP-AS-M-W3 | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:SP-325-PP-DP-AS-M-W3 | 01)ISADRAULICS,01)SP-325-PP-DP-AS-M-W3,CLAMP | SP-325-PP-DP-AS-M-W3 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | SP-325-PP-DP-AS-M-W3 |  | ISADRAULICS |  |  |  | https://stauff.com/en/products/1110000846 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE |  | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-1 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1218294 | 1218294 | CLAMP;STAU,SP-538-PP-DP-AS-M-W3 | CLAMP;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:SP-538-PP-DP-AS-M-W3 | 01)ISADRAULICS,01)SP-538-PP-DP-AS-M-W3,CLAMP | SP-538-PP-DP-AS-M-W3 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | SP-538-PP-DP-AS-M-W3 |  | ISADRAULICS |  |  |  | https://stauff.com/en/products/1110000852 | [10 empty] | ENRICHED | 31162906 Hose or pipe clamps | CLAMP | PIPE | TYPE |  | TUBE SIZE |  | LOAD CAPACITY |  | MOUNTING SIZE |  | MATERIAL | POLYPROPYLENE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | DIN 3015-1 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1252934 | 1252934 | CORD;DIEC,4C.0A055273 | CORD;MNFR:DIECI,PTNO:4C.0A055273,ADDITIONAL FEATURES EN:LOAD CELL, CAB EXTENSION | CORD,01)LOAD CELL, CAB EXTENSION | 4C.0A055273 | 3000511 | DIECI | DIECI | 4C.0A055273 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31152100 Cords | CORD | NO MODIFIER | TYPE | LOAD CELL | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAB EXTENSION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1269335 | 1269335 | CORD;HONE,874557,AUS PWR,874557 | CORD;MNFR:HONEYWELL,PTNO:874557,ADDITIONAL FEATURES EN:AUS PWR,874557 | 01)ALLIANCE SAFETY EQUIPMENT,01)874557,CORD,01)AUS PWR,874557 | 874557 | 3000290 | HONEYWELL | HONEYWELL | 874557 |  | ALLIANCE SAFETY EQUIPMENT |  | PWR AUSTRALIA |  | https://www.keepsupply.com/874557-honeywell-australia-power-cord | [10 empty] | ENRICHED | 26121636 Power cord | CORD | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | PLUG TYPE |  | CONNECTION TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | LENGTH |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1210775 | 1210775 | CORD;SIE,70115098,ROUND (IN METER), DRAW | CORD;MNFR:SIEMENS,PTNO:70115098,ADDITIONAL FEATURES EN:ROUND (IN METER), DRAWING NO: 17856915, POSITION NO: 36 (INLET GUID | 01)SIEMENS ENERGY PTY LTD,01)70115098,CORD,01)ROUND (IN METER), DRAWING N | 70115098 | 3000032 | SIEMENS | SIEMENS ENERGY PTY LTD | 70115098 | [5 empty] | URL NOT FOUND |  |  | 17856915 |  | 36 |  |  |  |  | INLET GUID | CLEANSED | 31152100 Cords | CORD | NO MODIFIER | TYPE | ROUND | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267621 | 1267621 | DUCT,WIRNG;NHP,T125100,25X100MMX2M,PVC | DUCT,WIRING;MNFR:NHP,PTNO:T125100,ADDITIONAL FEATURES EN:25X100MMX2M,PVC SLOTTED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT125100,DUCT,WIRING,01)25X100MMX2M,PVC SLOTTED | T125100 | 3000664 | NHP | NHP | T125100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T125100 | [10 empty] | ENRICHED | 39131712 Wiring duct | DUCT | WIRING | TYPE |  | LENGTH | 2 M | WIDTH | 25 MM | HEIGHT | 100 MM | MATERIAL | PVC SLOTTED | CAPACITY |  | MOUNTING TYPE |  | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UR | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267622 | 1267622 | DUCT,WIRNG;NHP,T140100,40X100MMX2M,PVC | DUCT,WIRING;MNFR:NHP,PTNO:T140100,ADDITIONAL FEATURES EN:40X100MMX2M,PVC SLOTTED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT140100,DUCT,WIRING,01)40X100MMX2M,PVC SLOTTED | T140100 | 3000664 | NHP | NHP | T140100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T140100 | [10 empty] | ENRICHED | 39131712 Wiring duct | DUCT | WIRING | TYPE |  | LENGTH | 2 M | WIDTH | 40 MM | HEIGHT | 100 MM | MATERIAL | PVC SLOTTED | CAPACITY |  | MOUNTING TYPE |  | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UR | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267623 | 1267623 | DUCT,WIRNG;NHP,T160100,60X100MMX2M,PVC | DUCT,WIRING;MNFR:NHP,PTNO:T160100,ADDITIONAL FEATURES EN:60X100MMX2M,PVC SLOTTED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT160100,DUCT,WIRING,01)60X100MMX2M,PVC SLOTTED | T160100 | 3000664 | NHP | NHP | T160100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T160100 | [10 empty] | ENRICHED | 39131712 Wiring duct | DUCT | WIRING | TYPE |  | LENGTH | 2 M | WIDTH | 60 MM | HEIGHT | 100 MM | MATERIAL | PVC SLOTTED | CAPACITY |  | MOUNTING TYPE |  | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UR | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267624 | 1267624 | DUCT,WIRNG;NHP,T180100,80X100MMX2M,PVC | DUCT,WIRING;MNFR:NHP,PTNO:T180100,ADDITIONAL FEATURES EN:80X100MMX2M,PVC SLOTTED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT180100,DUCT,WIRING,01)80X100MMX2M,PVC SLOTTED | T180100 | 3000664 | NHP | NHP | T180100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-789/NHP_AU_Catalog-1026/NHP_AU_Catalog-1027/T180100 | [10 empty] | ENRICHED | 39131712 Wiring duct | DUCT | WIRING | TYPE |  | LENGTH | 2 M | WIDTH | 80 MM | HEIGHT | 100 MM | MATERIAL | PVC SLOTTED | CAPACITY |  | MOUNTING TYPE |  | COLOUR | STONE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UR | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1211864 | 1211864 | DUCT;ABB,LQLZ-62-84-1-1-2-1-1-1 | DUCT;MNFR:ABB,PTNO:LQLZ-62-84-1-1-2-1-1-1 | 01)ABB,01)LQLZ-62-84-1-1-2-1-1-1,01)ABB AUSTRALIA PTY LTD,01)LQLZ-62-84-1-1-2-1-1-1,DUCT | LQLZ-62-84-1-1-2-1-1-1 | 3000014 | ABB | ABB AUSTRALIA PTY LTD | LQLZ-62-84-1-1-2-1-1-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39131712 Wiring duct | DUCT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1326128 | 1326128 | ELEMENT,HTR;HELI,6W/SQIM 550MM2 | ELEMENT,HEATER;MNFR:HELIOS,PTNO:6W/SQIM 550MM2,ADDITIONAL FEATURES EN:TYPE:IMMERSIONSIZE:LG 550 MMELEC 2 IN BSP THD BM03 PINION LUBR ICATION SYS BSP | ELEMENT,HEATER,01)TYPE:IMMERSIONSIZE:LG 550 MMELEC 2 IN BSP THD B,02)ON SYS BSP | 6W/SQIM 550MM2 | 3000572 | HELIOS | HELIOS | 6W/SQIM 550MM2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | HEATER | TYPE | IMMERSION | VOLTAGE RATING |  | POWER RATING |  | MATERIAL |  | SIZE | 550 MM2 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION TYPE:ELEC 2 IN BSP THD BM03 PINION LUBRICATION SYS BSP | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1275963 | 1275963 | ELEMENT,SENSNG;PRKH,940506Q | ELEMENT,SENSNG;MNFR:PARKER HANNIFIN,PTNO:940506Q |  | 940506Q | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 940506Q | [5 empty] | https://parker-filter.ru/assets/files/parker-din-elements-parker-filter.ru%201.pdf | [10 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments | ELEMENT | SENSING | TYPE |  | MATERIAL |  | CONNECTION TYPE |  | SIZE | 159 MM LG | ELECTRICAL RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO2941 | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1269260 | 1269260 | ELEMENT;DOSN,400504-00246,SAFTY | ELEMENT;MNFR:DOOSAN CORPORATION,PTNO:400504-00246,ADDITIONAL FEATURES EN:SAFETY | 01)CROWN EQUIPMENT,01)X400504-00246,ELEMENT,01)SAFETY | 400504-00246 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | 400504-00246 |  | CROWN EQUIPMENT |  |  |  | https://intellaparts.com/p/Doo-400504-00246/Doosan_40050400246_FILTER_AIR.html | [10 empty] | ENRICHED | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1271007 | 1271007 | ELEMENT;HYDA,1253040 0060 D 005 BN4HC,FL | ELEMENT;MNFR:HYDAC,PTNO:1253040 0060 D 005 BN4HC,ADDITIONAL FEATURES EN:FILTER | 01)ISADRAULICS,01)1253040 0060 D 005 BN4HC,ELEMENT,01)FILTER | 1253040 0060 D 005 BN4HC | 3000292 | HYDAC | HYDAC | 1253040 0060 D 005 BN4HC |  | ISADRAULICS |  |  |  | https://hydropneuparts.com/en/pressure-elements/192204-0060-d-005-bh4hc-filter-element-pressure.html | [10 empty] | ENRICHED | 40161807 Filter element | ELEMENT | FILTER | TYPE | PRESSURE | FILTER RATING |  | SERVICE |  | MATERIAL |  | SIZE | 55 LGX55 WDX110 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1271009 | 1271009 | ELEMENT;HYDA,1253066 0160 D 010 BN4HC,PR | ELEMENT;MNFR:HYDAC,PTNO:1253066 0160 D 010 BN4HC,ADDITIONAL FEATURES EN:PRESSURE | 01)ISADRAULICS,01)1253066 0160 D 010 BN4HC,ELEMENT,01)PRESSURE | 1253066 0160 D 010 BN4HC | 3000292 | HYDAC | HYDAC | 1253066 0160 D 010 BN4HC |  | ISADRAULICS |  |  |  | https://hydropneuparts.com/en/pressure-elements/143089-0160-d-010-bh4hc-filter-element-pressure.html | [10 empty] | ENRICHED | 40161807 Filter element | ELEMENT | FILTER | TYPE | PRESSURE | FILTER RATING |  | SERVICE |  | MATERIAL |  | SIZE | 75 LGX75 WDX180 HT MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1273330 | 1273330 | ELEMENT;PRKH,939778Q,FIT,2.0018.H10XL-A0 | ELEMENT;MNFR:PARKER HANNIFIN,PTNO:939778Q,ADDITIONAL FEATURES EN:FIT,2.0018.H10XL-A00-0-P |  | 939778Q | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 939778Q |  |  | 2.0018.H10XL-A00-0-P |  |  | https://ph.parker.com/in/en/product/parfit-elements/939778q | [10 empty] | ENRICHED | 40161807 Filter element | ELEMENT | FILTER | TYPE |  | FILTER RATING |  | SERVICE |  | MATERIAL |  | SIZE | 60 ODX225 LG MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FIT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1267539 | 1267539 | ELEMENT;PWNS,240VAC L&SP DB | ELEMENT;MNFR:POWINS,PTNO:240VAC L&SP DB | 01)POWINS PTY LTD,01)240VAC L&SP DB,ELEMENT | 240VAC L&SP DB | 3000439 | POWINS | POWINS PTY LTD | 240VAC L&SP DB | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101830 Heater elements | ELEMENT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270317 | 1270317 | GAS,CALIBR;DRAG,3500963,1 GAS MIXTURE,IS | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3500963,ADDITIONAL FEATURES EN:1 GAS MIXTURE,ISO-BUTYLENE,100PPM/BALANCE,AIR/SIZE-103L | 01)ALLIANCE SAFETY EQUIPMENT,01)3500963,GAS,CALIBRATION,01)1 GAS MIXTURE,ISO-BUTYLENE | 3500963 | 3000423 | DRAEGER | DRAEGER | 3500963 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-isobutylene-100ppm-in-air-103l/3500963?brand=dr%C3%A4ger | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS | ISO-BUTYLENE | COMPOSITION | 100 PPM/BALANCE | CYLINDER TYPE |  | CONTAINER SIZE | 103 L AIR | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270318 | 1270318 | GAS,CALIBR;DRAG,3500964,1 GAS MIXTURE,N | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3500964,ADDITIONAL FEATURES EN:1 GAS MIXTURE,NITROGEN,100% VOL/SIZE-103L | 01)ALLIANCE SAFETY EQUIPMENT,01)3500964,GAS,CALIBRATION,01)1 GAS MIXTURE,NITROGEN,100% | 3500964 | 3000423 | DRAEGER | DRAEGER | 3500964 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-100-vol-nitrogen-103l/3500964?favs=range-dr%C3%A4ger | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS | NITROGEN | COMPOSITION | 100 PCT | CYLINDER TYPE |  | CONTAINER SIZE | 103 L VOL | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270314 | 1270314 | GAS,CALIBR;DRAG,3500971,1-GAS MIXTURE,NH | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3500971,ADDITIONAL FEATURES EN:1-GAS MIXTURE,NH3-50PPM/BALANCE,N2/SIZE-112L | 01)ALLIANCE SAFETY EQUIPMENT,01)3500971,GAS,CALIBRATION,01)1-GAS MIXTURE,NH3-50PPM/BAL | 3500971 | 3000423 | DRAEGER | DRAEGER | 3500971 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-nh3-50ppm-in-n2-112l/3500971?search=3500971 | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | NH3-50 PPM/BALANCE | CYLINDER TYPE |  | CONTAINER SIZE | 112 L N2 | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1-GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270312 | 1270312 | GAS,CALIBR;DRAG,3500976,5-GAS MIXTURE,CH | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3500976,ADDITIONAL FEATURES EN:5-GAS MIXTURE,CH4- 2.5%/O2-18%/H2S-15PPM/CO-50PPM/CO2 2%/BALANCE- N2 | 01)ALLIANCE SAFETY EQUIPMENT,01)3500976,GAS,CALIBRATION,01)5-GAS MIXTURE,CH4- 2.5%/O2- | 3500976 | 3000423 | DRAEGER | DRAEGER | 3500976 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-h2s15pmco50pmco22ch425o218-n2-112l/3500976?search=3500976 | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | CH4-2.5 PCT/O2-18 PCT/H2S-15 PPM/CO-50 PPM/CO2 2 PCT/BALANCE-N2 | CYLINDER TYPE |  | CONTAINER SIZE |  | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 5-GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270313 | 1270313 | GAS,CALIBR;DRAG,3504020,1-GAS MIXTURE,SO | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3504020,ADDITIONAL FEATURES EN:1-GAS MIXTURE,SO2-10PPM/BALANCE,N2/SIZE-112L | 01)ALLIANCE SAFETY EQUIPMENT,01)3504020,GAS,CALIBRATION,01)1-GAS MIXTURE,SO2-10PPM/BAL | 3504020 | 3000423 | DRAEGER | DRAEGER | 3504020 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-so2-10ppm-in-n2-112l/3504020?search=3504020 | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | SO2-10 PPM/BALANCE | CYLINDER TYPE |  | CONTAINER SIZE | 112 L N2 | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1-GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1270316 | 1270316 | GAS,CALIBR;DRAG,3532026,1 GAS MIXTURE,HC | GAS,CALIBRATION;MNFR:DRAEGER,PTNO:3532026,ADDITIONAL FEATURES EN:1 GAS MIXTURE,HCN-10PPM/BALANCE,N2/SIZE-58L | 01)ALLIANCE SAFETY EQUIPMENT,01)3532026,GAS,CALIBRATION,01)1 GAS MIXTURE,HCN-10PPM/BAL | 3532026 | 3000423 | DRAEGER | DRAEGER | 3532026 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/calibration-gas-hcn-10ppm-in-n2-58l/3532026?search=3532026 | [10 empty] | CLEANSED | 41112521 Calibration column | GAS | CALIBRATION | TYPE |  | GAS |  | COMPOSITION | HCN-10 PPM/BALANCE | CYLINDER TYPE |  | CONTAINER SIZE | 58 L N2 | CYLINDER MATERIAL |  | CONNECTION TYPE |  | PRESSURE RATING |  | SIZE |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 GAS MIXTURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1274257 | 1274257 | GEARMOTOR,HELICAL;SEW,R17 DRN71MS4/C | GEARCASE-MOTOR: MOTOR; GEARMOTOR HELICAL;MSA STIRRER MOT OR; KW 0.25/0.25 S1; 50HZ;220- 240 DELTA/ 380-480 STAR; 1.27AMPS/0.73 AMP; RPM 130 0/288, 1600/355; BRAKE 8.761 KG; MA 8/9; MFR: SEW PTNO:R17 DRN71MS4/C |  | R17 DRN71MS4/C | 3000442 | SEW EURODRIVE | SEW EURODRIVE | R17 DRN71MS4/C | [5 empty] | https://download.sew-eurodrive.com/download/pdf/21284997.pdf | [10 empty] | ENRICHED | 20101617 Gearmotors | GEARMOTOR | NO MODIFIER | TYPE | HELICAL | POWER RATING | 0.25/0.25 S1 KW | SPEED | 1300/288 RPM | FRAME SIZE |  | VOLTAGE RATING | 220 TO 240 DELTA/380 TO 480 V STAR | SPEED RATIO |  | TORQUE RATING | 92 TO 1800 NM | ENCLOSURE |  | INSULATION CLASS |  | SHAFT ROTATION |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MSA STIRRER MOTOR,FREQUENCY RATING:50 HZ,CURRENT RATING:1.27/0.73 A,1600/355,BRAKE 8.761 KG,MA 8/9 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1243498 | 1243498 | HOOD,SAFTY;3M,169100,WELDING | HOOD,SAFETY;MNFR:3M,PTNO:169100,TYPE:WELDING,ADDITIONAL FEATURES EN:NECK AND HEAD,TECAWELD | WELDING,01)NECK AND HEAD,TECAWELD,01)CUELLO Y CABEZA,TECAWELD | 169100 | 3000220 | 3M | 3M | 169100 | [5 empty] | https://www.3m.com.sg/3M/en_SG/p/d/v000178495/ | [10 empty] | CLEANSED | 46181522 Safety hoods | HOOD | SAFETY | TYPE | WELDING,NECK AND HEAD,TECAWELD | SIZE DESIGNATION |  | MATERIAL |  | LINER MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1333561 | 1333561 | HOOD;DIEC,BSC0050 | HOOD;MNFR:DIECI,PTNO:BSC0050,ADDITIONAL FEATURES EN:CLAMP | HOOD,01)CLAMP | BSC0050 | 3000511 | DIECI | DIECI | BSC0050 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46181700 Face and head protection | HOOD | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1333560 | 1333560 | HOOD;DIEC,BSC0051 | HOOD;MNFR:DIECI,PTNO:BSC0051,ADDITIONAL FEATURES EN:CLAMP | HOOD,01)CLAMP | BSC0051 | 3000511 | DIECI | DIECI | BSC0051 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46181700 Face and head protection | HOOD | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1333419 | 1333419 | HOOD;DIEC,CAR0002650/CL | HOOD;MNFR:DIECI,PTNO:CAR0002650/CL,ADDITIONAL FEATURES EN:CLAMP | HOOD,01)CLAMP | CAR0002650/CL | 3000511 | DIECI | DIECI | CAR0002650/CL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46181700 Face and head protection | HOOD | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1332943 | 1332943 | HOOD;DIEC,CVC5341/CL | HOOD;MNFR:DIECI,PTNO:CVC5341/CL,ADDITIONAL FEATURES EN:CLAMP | HOOD,01)CLAMP | CVC5341/CL | 3000511 | DIECI | DIECI | CVC5341/CL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46181700 Face and head protection | HOOD | NO MODIFIER | TYPE | CLAMP | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1272716 | 1272716 | LINK,FUS;MERS,10G02,2A,500VAC/250VDC,FER | LINK,FUSE;MNFR:MERSEN,PTNO:10G02,ADDITIONAL FEATURES EN:2A,500VAC/250VDC,FERRULE,10X38MM,120KA | 01)CNW (MOUNT ISA) ELECT WHO,01)IPD10G02,LINK,FUSE,01)2A,500VAC/250VDC,FERRULE,10 | 10G02 | 3000315 | MERSEN | MERSEN | IPD10G02 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://haymans.mmem.com.au/ipd10g02 | [10 empty] | CLEANSED | 39121617 Fuse parts or accessories | LINK | FUSE | TYPE | FERRULE | CURRENT RATING | 2 A | INTERRUPT RATING | 120 KA | VOLTAGE RATING | 500 VAC/250 VDC | SIZE | 10X38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1272702 | 1272702 | LINK,FUS;MERS,10G06,6 A,500 VAC/250 VDC | LINK,FUSE;MNFR:MERSEN,PTNO:10G06,ADDITIONAL FEATURES EN:6 A,500 VAC/250 VDC,FERRULE,10X38MM,120KA | 01)CNW (MOUNT ISA) ELECT WHO,01)IPD10G06,LINK,FUSE,01)6 A,500 VAC/250 VDC,FERRULE | 10G06 | 3000315 | MERSEN | MERSEN | IPD10G06 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://haymans.mmem.com.au/ipd10g06 | [10 empty] | CLEANSED | 39121617 Fuse parts or accessories | LINK | FUSE | TYPE | FERRULE | CURRENT RATING | 6 A | INTERRUPT RATING | 120 KA | VOLTAGE RATING | 500 VAC/250 VDC | SIZE | 10X38 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1272703 | 1272703 | LINK;EATO,703-8522,NEUT,10X38MM,10 PACK | LINK;MNFR:EATON CORPORATION,PTNO:703-8522,ADDITIONAL FEATURES EN:NEUTRAL,10X38MM,10 PACK | 01)CNW (MOUNT ISA) ELECT WHO,01)RSC703-8522,LINK,01)NEUTRAL,10X38MM,10 PACK | 703-8522 | 3000267 | EATON CORPORATION | EATON CORPORATION | 703-8522 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://in.rsdelivers.com/product/eaton/c10nl/eaton-32a-neutral-link-10mm-x-38mm/7038522 | [10 empty] | ENRICHED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | NEUTRAL | SIZE | 10 DIAX38 HT MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE QUANTITY:10 PACK | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273619 | 1273619 | LINK;NHP,CAUT7PW23,REVERSING STARTER,WIR | LINK;MNFR:NHP,PTNO:CAUT7PW23,ADDITIONAL FEATURES EN:REVERSING STARTER,WIRE SET,FOR CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAUT7PW23,LINK,01)REVERSING STARTER,WIRE SET | CAUT7PW23 | 3000664 | NHP | NHP | CAUT7PW23 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/product/caut7pw23 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | REVERSING STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SET,FOR CA7-9/23 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273620 | 1273620 | LINK;NHP,CAUT7PW37,REVERSING STARTER,WIR | LINK;MNFR:NHP,PTNO:CAUT7PW37,ADDITIONAL FEATURES EN:REVERSING STARTER,WIRE SET,FOR CA7-30/37 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAUT7PW37,LINK,01)REVERSING STARTER,WIRE SET | CAUT7PW37 | 3000664 | NHP | NHP | CAUT7PW37 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAUT7PW37 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | REVERSING STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SET,FOR CA7-30/37 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273621 | 1273621 | LINK;NHP,CAUT7PW55,REVERSING STARTER | LINK;MNFR:NHP,PTNO:CAUT7PW55,ADDITIONAL FEATURES EN:REVERSING STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAUT7PW55,LINK,01)REVERSING STARTER | CAUT7PW55 | 3000664 | NHP | NHP | CAUT7PW55 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAUT7PW55 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | REVERSING STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273622 | 1273622 | LINK;NHP,CAUT7PW85,REVERSING STARTER | LINK;MNFR:NHP,PTNO:CAUT7PW85,ADDITIONAL FEATURES EN:REVERSING STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAUT7PW85,LINK,01)REVERSING STARTER | CAUT7PW85 | 3000664 | NHP | NHP | CAUT7PW85 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAUT7PW85 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | REVERSING STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273623 | 1273623 | LINK;NHP,CAYT7PW23,STAR DELTA STARTER | LINK;MNFR:NHP,PTNO:CAYT7PW23,ADDITIONAL FEATURES EN:STAR DELTA STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAYT7PW23,LINK,01)STAR DELTA STARTER | CAYT7PW23 | 3000664 | NHP | NHP | CAYT7PW23 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAYT7PW23 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | STAR DELTA STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273624 | 1273624 | LINK;NHP,CAYT7PW37,STAR DELTA STARTER | LINK;MNFR:NHP,PTNO:CAYT7PW37,ADDITIONAL FEATURES EN:STAR DELTA STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAYT7PW37,LINK,01)STAR DELTA STARTER | CAYT7PW37 | 3000664 | NHP | NHP | CAYT7PW37 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAYT7PW37 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | STAR DELTA STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273625 | 1273625 | LINK;NHP,CAYT7PW55,STAR DELTA STARTER | LINK;MNFR:NHP,PTNO:CAYT7PW55,ADDITIONAL FEATURES EN:STAR DELTA STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAYT7PW55,LINK,01)STAR DELTA STARTER | CAYT7PW55 | 3000664 | NHP | NHP | CAYT7PW55 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | STAR DELTA STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 |  | 1273626 | 1273626 | LINK;NHP,CAYT7PW72,STAR DELTA STARTER | LINK;MNFR:NHP,PTNO:CAYT7PW72,ADDITIONAL FEATURES EN:STAR DELTA STARTER | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCAYT7PW72,LINK,01)STAR DELTA STARTER | CAYT7PW72 | 3000664 | NHP | NHP | CAYT7PW72 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CAYT7PW72 | [10 empty] | CLEANSED | 31162419 Rings and links | LINK | NO MODIFIER | TYPE | STAR DELTA STARTER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-27 | Processed based on Websource, Conflict w.r.t Input | 1214028 | 1214028 | LINK;SIE,3UX1-211 | LINK;MNFR:SIEMENS,PTNO:3UX1-211 | LINK | 3UX1-211 | 3000032 | SIEMENS | SIEMENS | 3UX1-211 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UX1211 | [10 empty] | ENRICHED | 39121031 Power supply outlet strip | STRIP | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 400 A | CORD LENGTH |  | NUMBER OF OUTLETS |  | MATERIAL |  | OUTPUT CONFIGURATION |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed