## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1335833 | 1335833 | CEMENT;VESU,LED70524P0025 | CEMENT;MNFR:VESUVIUS,PTNO:LED70524P0025 |  | LED70524P0025 | 3000361 | VESUVIUS | VESUVIUS | LED70524P0025 | [5 empty] | URL NOT FOUND | [11 empty] | 30111601 Cement | CEMENT | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1335834 | 1335834 | CEMENT;VESU,LEF71376P0025 | CEMENT;MNFR:VESUVIUS,PTNO:LEF71376P0025 |  | LEF71376P0025 | 3000361 | VESUVIUS | VESUVIUS | LEF71376P0025 | [5 empty] | URL NOT FOUND | [11 empty] | 30111601 Cement | CEMENT | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1273526 | 1273526 | CONDITIONER,SGNL;YOKG,EA1A,4-20 MA DVC | CONDITIONER,SIGNAL;MNFR:YOKOGAWA,PTNO:EA1A,ADDITIONAL FEATURES EN:4-20 MA DVC, 2 WIRE TRANSMITTER INPUT CARD |  | EA1A | 3000446 | YOKOGAWA | YOKOGAWA | EA1A | [5 empty] | URL NOT FOUND | [11 empty] | 39121020 Signal conditioners | CONDITIONER | SIGNAL | TYPE |  | INPUT RATING | 4-20 MA | OUTPUT RATING |  | ISOLATION |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 WIRE TRANSMITTER INPUT CARD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1268036 | 1268036 | COUNTER;ABB,1YHB00000002309,AS | COUNTER;MNFR:ABB,PTNO:1YHB00000002309,ADDITIONAL FEATURES EN:AS | 01)ABB AUSTRALIA PTY LTD,01)1YHB00000002309,COUNTER,01)AS | 1YHB00000002309 | 3000014 | ABB | ABB AUSTRALIA PTY LTD | 1YHB00000002309 | [5 empty] | URL NOT FOUND | [11 empty] | 41111901 Counters | COUNTER | NO MODIFIER | TYPE |  | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1329349 | 1329349 | COUNTER;SIE,C1B41210677223 | COUNTER;MNFR:SIEMENS,PTNO:C1B41210677223 | COUNTER | C1B41210677223 | 3000032 | SIEMENS | SIEMENS | C1B41210677223 | [5 empty] | URL NOT FOUND | [11 empty] | 41111901 Counters | COUNTER | NO MODIFIER | TYPE |  | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1266960 | 1266960 | DRYER,AIR;GARD,CD50F,COMPRSD,COMPARE | DRYER,AIR;MNFR:GARDNER DENVER,PTNO:CD50F,ADDITIONAL FEATURES EN:COMPRESSED,COMPARE | 01)GARDNER DENVER INDUSTRIES,01)CD50F,DRYER,AIR,01)COMPRESSED,COMPARE | CD50F | 3000280 | GARDNER DENVER | GARDNER DENVER INDUSTRIES | CD50F | [5 empty] | https://aegstore.uk.com/product/compair-47703418001-refrigerant-dryer-cd50f-g1-1-2-16bar-5m%c2%b3-min-electronic-zero-loss/ | [10 empty] | ENRICHED | 23201200 Industrial drying equipment | DRYER | REFRIGERANT | TYPE | COMPRESSED,AIR | FLOW RATING | 5 M3/MIN | REFRIGERANT TYPE | R407C | PRESSURE RATING | 16 BAR | INTAKE TEMPERATURE |  | HUMIDITY RANGE |  | COMPRESSOR LOAD FACTOR |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1268585 | 1268585 | DRYER;HINO,S884741040,COOLR | DRYER;MNFR:HINO MOTORS,PTNO:S884741040,ADDITIONAL FEATURES EN:COOLER | 01)HONEYCOMBES SALES & SERVI,01)S884741040,DRYER,01)COOLER | S884741040 | 3000513 | HINO MOTORS | HINO MOTORS | S884741040 |  | HONEYCOMBES SALES & SERVI |  |  |  | https://www.finditparts.com/products/1984714/hino-s884741040 | [11 empty] | 23201200 Industrial drying equipment | DRYER | NO MODIFIER | TYPE | COOLER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1211018 | 1211018 | EXTENSION;MILW,MIW48206945 | EXTENSION;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MIW48206945 |  | MIW48206945 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MIW48206945 | [5 empty] | URL NOT FOUND | [11 empty] | 27112800 Tool attachments and accessories | EXTENSION | NO MODIFIER | TYPE |  | EXTENDED SIZE |  | OVERALL SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1252894 | 1252894 | FASTENER;DIEC,ASMCM0000134-0D2 | FASTENER;MNFR:DIECI,PTNO:ASMCM0000134-0D2,ADDITIONAL FEATURES EN:BATTERY | FASTENER,01)BATTERY | ASMCM0000134-0D2 | 3000511 | DIECI | DIECI | ASMCM0000134-0D2 | [5 empty] | URL NOT FOUND | [11 empty] | 31162400 Miscellaneous fasteners | FASTENER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR BATTERY | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1333425 | 1333425 | FASTENER;DIEC,CVC4580/CL | FASTENER;MNFR:DIECI,PTNO:CVC4580/CL,ADDITIONAL FEATURES EN:MUFFLER GUARD | FASTENER,01)MUFFLER GUARD | CVC4580/CL | 3000511 | DIECI | DIECI | CVC4580/CL | [5 empty] | https://www.lbr.ru/zapchasti/kronstejn-cvc4580-cl | [10 empty] | ENRICHED | 31162500 Brackets and braces | BRACKET | NO MODIFIER | TYPE | MUFFLER GUARD | SIZE |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | MATERIAL |  | CAPACITY |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1258252 | 1258252 | GENERATOR;ABB,YY496.6241 | GENERATOR;MNFR:ABB,PTNO:YY496.6241 | GENERATOR | YY496.6241 | 3000014 | ABB | ABB | YY496.6241 | [5 empty] | URL NOT FOUND | [11 empty] | 26111600 Power generators | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1214348 | 1214348 | GENERATOR;SIE,1GU1051 | GENERATOR;MNFR:SIEMENS,PTNO:1GU1051 | GENERATOR | 1GU1051 | 3000032 | SIEMENS | SIEMENS | 1GU1051 | [5 empty] | URL NOT FOUND | [11 empty] | 26111600 Power generators | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1214191 | 1214191 | GENERATOR;SIE,CIGNC-311 > | GENERATOR;MNFR:SIEMENS,PTNO:CIGNC-311 > | GENERATOR | CIGNC-311 > | 3000032 | SIEMENS | SIEMENS | CIGNC-311 | [5 empty] | URL NOT FOUND | [11 empty] | 26111600 Power generators | GENERATOR | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | DRIVE TYPE |  | SPEED RATING |  | FRAME SIZE |  | DUTY CYCLE |  | INSULATION CLASS |  | POWER FACTOR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1333641 | 1333641 | GRID;DIEC,CARRE0000042 | GRID;MNFR:DIECI,PTNO:CARRE0000042,ADDITIONAL FEATURES EN:HOOD NET,FRONT ENGINE | GRID,01)HOOD NET,FRONT ENGINE | CARRE0000042 | 3000511 | DIECI | DIECI | CARRE0000042 | [5 empty] | URL NOT FOUND | [11 empty] | 23153100 Industrial machinery components and accessories | GRID | NO MODIFIER | TYPE | HOOD NET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FRONT ENGINE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1333592 | 1333592 | GRID;DIEC,CLB0506/0G | GRID;MNFR:DIECI,PTNO:CLB0506/0G,ADDITIONAL FEATURES EN:HOOD NET,ENGINE | GRID,01)HOOD NET,ENGINE | CLB0506/0G | 3000511 | DIECI | DIECI | CLB0506/0G | [5 empty] | URL NOT FOUND | [11 empty] | 23153100 Industrial machinery components and accessories | GRID | NO MODIFIER | TYPE | HOOD NET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR ENGINE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1333582 | 1333582 | INCLINOMETER;DIEC,BWD0005 | INCLINOMETER;MNFR:DIECI,PTNO:BWD0005,ADDITIONAL FEATURES EN:TRANSVERSE | INCLINOMETER,01)TRANSVERSE | BWD0005 | 3000511 | DIECI | DIECI | BWD0005 | [5 empty] | URL NOT FOUND | [11 empty] | 42182707 Inclinometers | INCLINOMETER | NO MODIFIER | TYPE | TRANSVERSE | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1276421 | 1276421 | INCLINOMETER;KLNT,935DAGL,DGTL | INCLINOMETER;MNFR:KLEIN TOOLS,PTNO:935DAGL,ADDITIONAL FEATURES EN:DIGITAL | 01)HAYMANS ELECTRICAL,01)KLNA-935DAGL,INCLINOMETER,01)DIGITAL | 935DAGL | 3000455 | KLEIN TOOLS | KLEIN TOOLS | 935DAGL |  | HAYMANS ELECTRICAL |  |  |  | https://www.kleintools.com/catalog/level-measuring-tools/digital-level-programmable-angles | [10 empty] | ENRICHED | 42182707 Inclinometers | INCLINOMETER | NO MODIFIER | TYPE | DIGITAL | MEASURING RANGE | 0 TO 90 DEG | ACCURACY | +/- 0.2 DEG | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE | 4.57 LGX1.36 WDX2.48 HT IN | ENCLOSURE | IP42 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1276127 | 1276127 | INSERT,FLEX CPLG;SKF,PHE F160NRTYRE,NAT | INSERT,FLEXIBLE COUPLING;MNFR:SKF,PTNO:PHE F160NRTYRE,ADDITIONAL FEATURES EN:NATURAL RUBBER | 01)APPLIED INDUSTRIAL TECHNO,01)PHE F160NRTYRE,INSERT,FLEXIBLE COUPLING,01)NATURAL RUBBER | PHE F160NRTYRE | 3000348 | SKF | SKF | PHE F160NRTYRE |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skfptp.com/CategoryDetails?productId=363387&languageId=1 | [10 empty] | ENRICHED | 31163000 Couplings | ELEMENT | COUPLING | TYPE | FLEXIBLE | COUPLING SIZE |  | MATERIAL |  | SPEED RATING | 1600 RPM | TORQUE RATING | 9339 NM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1333682 | 1333682 | INSERT;ABB,HP2-1155 4403 ITEM 15 | INSERT;MNFR:ABB,PTNO:HP2-1155 4403 ITEM 15 | INSERT | HP2-1155 4403 ITEM 15 | 3000014 | ABB | ABB | HP2-1155 4403 | [5 empty] | URL NOT FOUND |  | 15 | [9 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1333683 | 1333683 | INSERT;ABB,TEC-BE-PLAST563(EHM) | INSERT;MNFR:ABB,PTNO:TEC-BE-PLAST563(EHM) | INSERT | TEC-BE-PLAST563(EHM) | 3000014 | ABB | ABB | TEC-BE-PLAST563(EHM) | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1276000 | 1276000 | INSERT;ABB,ZA-0001 | INSERT;MNFR:ABB,PTNO:ZA-0001 |  | ZA-0001 | 3000014 | ABB | ABB | ZA-0001 | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1274680 | 1274680 | INSERT;HYS,1531558 | INSERT;MNFR:HYSTER,PTNO:1531558 | 01)ADAPT-A-LIFT GROUP PTY LT,01)1531558,INSERT | 1531558 | 3000023 | HYSTER | HYSTER | 1531558 |  | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://fr.orangeparts.com/hyster-1531558-insert/ | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1266686 | 1266686 | INSERT;SCHN,FX116-004,MALE 1-16,UMBILICL | INSERT;MNFR:SCHNEIDER INC,PTNO:FX116-004,ADDITIONAL FEATURES EN:MALE 1-16,UMBILICL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX116-004,INSERT,01)MALE 1-16,UMBILICL CORD 16L | FX116-004 | 3000344 | SCHNEIDER INC | SCHNEIDER ELECTRIC (AUS) | FX116-004 | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:MALE 1 IN-16 TPI,UMBILICL CORD 16L | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1266687 | 1266687 | INSERT;SCHN,FX116-005,MALE 1-16,UMBILICL | INSERT;MNFR:SCHNEIDER INC,PTNO:FX116-005,ADDITIONAL FEATURES EN:MALE 1-16,UMBILICL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX116-005,INSERT,01)MALE 1-16,UMBILICL CORD 16L | FX116-005 | 3000344 | SCHNEIDER INC | SCHNEIDER ELECTRIC (AUS) | FX116-005 | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:MALE 1 IN-16 TPI,UMBILICL CORD 16L | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1266690 | 1266690 | INSERT;SCHN,FX116-180,FEMALE 1-16,UMBILI | INSERT;MNFR:SCHNEIDER INC,PTNO:FX116-180,ADDITIONAL FEATURES EN:FEMALE 1-16,UMBILICAL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX116-180,INSERT,01)FEMALE 1-16,UMBILICAL CORD | FX116-180 | 3000344 | SCHNEIDER INC | SCHNEIDER ELECTRIC (AUS) | FX116-180 | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:FEMALE 1 IN-16 TPI,UMBILICAL CORD 16L | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1266691 | 1266691 | INSERT;SCHN,FX166-181,FEMALE 17-32,UMBIL | INSERT;MNFR:SCHNEIDER INC,PTNO:FX166-181,ADDITIONAL FEATURES EN:FEMALE 17-32,UMBILICAL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX166-181,INSERT,01)FEMALE 17-32,UMBILICAL CORD | FX166-181 | 3000344 | SCHNEIDER INC | SCHNEIDER ELECTRIC (AUS) | FX166-181 | [5 empty] | URL NOT FOUND | [11 empty] | 31162802 Inserts | INSERT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:FEMALE 17 IN-32 TPI,UMBILICAL CORD 16L | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1268597 | 1268597 | INSERT;WEI,F10041HS1R55,FRAME PLTE LINER | INSERT;MNFR:WEIR,PTNO:F10041HS1R55,ADDITIONAL FEATURES EN:FRAME PLTE LINER | 01)WEIR MINERALS AUSTRALIA L,01)F10041HS1R55,INSERT,01)FRAME PLTE LINER | F10041HS1R55 | 3000036 | WEIR | WEIR MINERALS AUSTRALIA LTD | F10041HS1R55 | [5 empty] | https://mash-myprom-ru.translate.goog/product/bronedisk-zadniy-dlya-shlamovogo-nasosa-warman-analog_90574?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | DISC | NO MODIFIER | TYPE | REAR ARMORED,FRAME PLATE LINER | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1217266 | 1217266 | NIPPLE;DRVT,12F3MK4S,3/4 IN BSPT X 3/4 I | NIPPLE;MNFR:DRIVETRAIN,PTNO:12F3MK4S,ADDITIONAL FEATURES EN:3/4 IN BSPT X 3/4 IN BSPP | 01)DRIVETRAIN AUSTRALIA,01)12F3MK4S,NIPPLE,01)3/4 IN BSPT X 3/4 IN BSPP | 12F3MK4S | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 12F3MK4S | [5 empty] | https://www.geeve.com/en/2241-12-12 | https://in.rsdelivers.com/product/parker/12f3mk4s/parker-hydraulic-straight-threaded-adaptor-g-3/4-to-r-3/4-male-12f3mk4s/1836276 | [9 empty] | ENRICHED | 40171700 Pipe adapters | ADAPTER | PIPE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | BSPT X BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219365 | 1219365 | NIPPLE;PRKH,1/2FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1/2FF33MS | 01)PRO-DRAULICS,01)1/2FF33MS,NIPPLE | 1/2FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1/2FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MBSPT | LENGTH | 48 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219366 | 1219366 | NIPPLE;PRKH,1/2X3/8FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1/2X3/8FF33MS | 01)PRO-DRAULICS,01)1/2X3/8FF33MS,NIPPLE | 1/2X3/8FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1/2X3/8FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE | TYPE |  | NOMINAL SIZE | 1/2X3/8 IN | END CONNECTION | MBSPT | LENGTH | 43 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219362 | 1219362 | NIPPLE;PRKH,1/4FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1/4FF33MS | 01)PRO-DRAULICS,01)1/4FF33MS,NIPPLE | 1/4FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1/4FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MBSPT | LENGTH | 37 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219361 | 1219361 | NIPPLE;PRKH,1/4X1/8FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1/4X1/8FF33MS | 01)PRO-DRAULICS,01)1/4X1/8FF33MS,NIPPLE | 1/4X1/8FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1/4X1/8FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE | TYPE |  | NOMINAL SIZE | 1/4X1/8 IN | END CONNECTION | MBSPT | LENGTH | 32 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219360 | 1219360 | NIPPLE;PRKH,1/8FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1/8FF33MS | 01)PRO-DRAULICS,01)1/8FF33MS,NIPPLE | 1/8FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1/8FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE | TYPE |  | NOMINAL SIZE | 1/8 IN | END CONNECTION | MBSPT | LENGTH | 27 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219355 | 1219355 | NIPPLE;PRKH,10-12C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-12C3MXS | 01)PRO-DRAULICS,01)10-12C3MXS,NIPPLE | 10-12C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-12C3MXS | [5 empty] | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-12c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219340 | 1219340 | NIPPLE;PRKH,10-12C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-12C4OMXS | 01)PRO-DRAULICS,01)10-12C4OMXS,NIPPLE | 10-12C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-12C4OMXS | [5 empty] | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-12c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219353 | 1219353 | NIPPLE;PRKH,10-6C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-6C3MXS | 01)PRO-DRAULICS,01)10-6C3MXS,NIPPLE | 10-6C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-6C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-6c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219338 | 1219338 | NIPPLE;PRKH,10-6C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-6C4OMXS | 01)PRO-DRAULICS,01)10-6C4OMXS,NIPPLE | 10-6C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-6C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-6c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219313 | 1219313 | NIPPLE;PRKH,10-6F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-6F3MXS | 01)PRO-DRAULICS,01)10-6F3MXS,NIPPLE | 10-6F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-6F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-6f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 43.2 MM | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219298 | 1219298 | NIPPLE;PRKH,10-6F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10-6F4OMXS | 01)PRO-DRAULICS,01)10-6F4OMXS,NIPPLE | 10-6F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10-6F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10-6f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 39.1 MM | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219354 | 1219354 | NIPPLE;PRKH,10C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10C3MXS | 01)PRO-DRAULICS,01)10C3MXS,NIPPLE | 10C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219339 | 1219339 | NIPPLE;PRKH,10C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10C4OMXS | 01)PRO-DRAULICS,01)10C4OMXS,NIPPLE | 10C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219314 | 1219314 | NIPPLE;PRKH,10F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10F3MXS | 01)PRO-DRAULICS,01)10F3MXS,NIPPLE | 10F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 48 MM | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219299 | 1219299 | NIPPLE;PRKH,10F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:10F4OMXS | 01)PRO-DRAULICS,01)10F4OMXS,NIPPLE | 10F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 10F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/10f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 5/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 43.1 MM | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219343 | 1219343 | NIPPLE;PRKH,12-16C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-16C4OMXS | 01)PRO-DRAULICS,01)12-16C4OMXS,NIPPLE | 12-16C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-16C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-16c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219317 | 1219317 | NIPPLE;PRKH,12-16F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-16F3MXS | 01)PRO-DRAULICS,01)12-16F3MXS,NIPPLE | 12-16F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-16F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-16f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 57.1 MM | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219302 | 1219302 | NIPPLE;PRKH,12-16F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-16F4OMXS | 01)PRO-DRAULICS,01)12-16F4OMXS,NIPPLE | 12-16F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-16F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-16f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 52.6 MM | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219356 | 1219356 | NIPPLE;PRKH,12-8C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-8C3MXS | 01)PRO-DRAULICS,01)12-8C3MXS,NIPPLE | 12-8C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-8C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-8c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219341 | 1219341 | NIPPLE;PRKH,12-8C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-8C4OMXS | 01)PRO-DRAULICS,01)12-8C4OMXS,NIPPLE | 12-8C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-8C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-8c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219315 | 1219315 | NIPPLE;PRKH,12-8F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-8F3MXS | 01)PRO-DRAULICS,01)12-8F3MXS,NIPPLE | 12-8F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-8F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-8f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 50.8 MM | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219300 | 1219300 | NIPPLE;PRKH,12-8F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12-8F4OMXS | 01)PRO-DRAULICS,01)12-8F4OMXS,NIPPLE | 12-8F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12-8F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12-8f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 46.7 MM | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219357 | 1219357 | NIPPLE;PRKH,12C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12C3MXS | 01)PRO-DRAULICS,01)12C3MXS,NIPPLE | 12C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219342 | 1219342 | NIPPLE;PRKH,12C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12C4OMXS | 01)PRO-DRAULICS,01)12C4OMXS,NIPPLE | 12C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219316 | 1219316 | NIPPLE;PRKH,12F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12F3MXS | 01)PRO-DRAULICS,01)12F3MXS,NIPPLE | 12F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 50.8 MM | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219301 | 1219301 | NIPPLE;PRKH,12F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12F4OMXS | 01)PRO-DRAULICS,01)12F4OMXS,NIPPLE | 12F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 47.5 MM | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219325 | 1219325 | NIPPLE;PRKH,12V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12V3MXS | 01)PRO-DRAULICS,01)12V3MXS,NIPPLE | 12V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219329 | 1219329 | NIPPLE;PRKH,12V4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:12V4OMXS | 01)PRO-DRAULICS,01)12V4OMXS,NIPPLE | 12V4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 12V4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/12v4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219358 | 1219358 | NIPPLE;PRKH,16-12C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16-12C3MXS | 01)PRO-DRAULICS,01)16-12C3MXS,NIPPLE | 16-12C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16-12C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16-12c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219344 | 1219344 | NIPPLE;PRKH,16-12C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16-12C4OMXS | 01)PRO-DRAULICS,01)16-12C4OMXS,NIPPLE | 16-12C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16-12C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16-12c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219318 | 1219318 | NIPPLE;PRKH,16-12F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16-12F3MXS | 01)PRO-DRAULICS,01)16-12F3MXS,NIPPLE | 16-12F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16-12F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16-12f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 53.6 MM | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219303 | 1219303 | NIPPLE;PRKH,16-12F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16-12F4OMXS | 01)PRO-DRAULICS,01)16-12F4OMXS,NIPPLE | 16-12F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16-12F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16-12f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 48.5 MM | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219359 | 1219359 | NIPPLE;PRKH,16C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16C3MXS | 01)PRO-DRAULICS,01)16C3MXS,NIPPLE | 16C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219345 | 1219345 | NIPPLE;PRKH,16C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16C4OMXS | 01)PRO-DRAULICS,01)16C4OMXS,NIPPLE | 16C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219319 | 1219319 | NIPPLE;PRKH,16F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16F3MXS | 01)PRO-DRAULICS,01)16F3MXS,NIPPLE | 16F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 58.5 MM | PRESSURE CLASS/RATING | 2300 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219304 | 1219304 | NIPPLE;PRKH,16F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16F4OMXS | 01)PRO-DRAULICS,01)16F4OMXS,NIPPLE | 16F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 53.6 MM | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219330 | 1219330 | NIPPLE;PRKH,16V4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:16V4OMXS | 01)PRO-DRAULICS,01)16V4OMXS,NIPPLE | 16V4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 16V4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/16v4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219326 | 1219326 | NIPPLE;PRKH,4V4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4V4OMXS | 01)PRO-DRAULICS,01)4V4OMXS,NIPPLE | 4V4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4V4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4v4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219349 | 1219349 | NIPPLE;PRKH,6-6C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-6C3MXS | 01)PRO-DRAULICS,01)6-6C3MXS,NIPPLE | 6-6C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-6C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-6c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219334 | 1219334 | NIPPLE;PRKH,6-6C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-6C4OMXS | 01)PRO-DRAULICS,01)6-6C4OMXS,NIPPLE | 6-6C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-6C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-6c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219308 | 1219308 | NIPPLE;PRKH,6-6F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-6F3MXS | 01)PRO-DRAULICS,01)6-6F3MXS,NIPPLE | 6-6F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-6F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-6f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH | 36.4 MM | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219292 | 1219292 | NIPPLE;PRKH,6-6F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-6F4OMXS | 01)PRO-DRAULICS,01)6-6F4OMXS,NIPPLE | 6-6F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-6F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-6f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPP | LENGTH | 33.4 MM | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1219323 | 1219323 | NIPPLE;PRKH,6-6V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-6V3MXS | 01)PRO-DRAULICS,01)6-6V3MXS,NIPPLE | 6-6V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-6V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-6v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | JIC MALE 37 DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1217113 | 1217113 | NIPPLE;SWAG,SS-8-HN-RT,HEX,1/2 MBSP | NIPPLE;MNFR:SWAGELOK LTD,PTNO:SS-8-HN-RT,ADDITIONAL FEATURES EN:HEX,1/2 MBSP | 01)SWAGELOK T/A FLUID SYSTEM,01)SS-8-HN-RT,NIPPLE,01)HEX,1/2 MBSP | SS-8-HN-RT | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-8-HN-RT | [5 empty] | https://products.swagelok.com/en/c/hex-nipples/p/SS-8-HN-RT | [10 empty] | ENRICHED | 40171700 Pipe adapters | ADAPTER | PIPE | TYPE | HEX | NOMINAL SIZE | 1/2 IN | END CONNECTION | MBSP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1273352 | 1273352 | PROTRACTOR;STAR,505A-12,MIT,300 MM LONG | PROTRACTOR;MNFR:STARRETT,PTNO:505A-12,ADDITIONAL FEATURES EN:MITER,300 MM LONG,ALUMINIUM |  | 505A-12 | 3000352 | STARRETT | STARRETT | 505A-12 | [5 empty] | https://www.starrett.com/metrology/product-detail/505A-12 | [10 empty] | CLEANSED | 44111806 Protractors | PROTRACTOR | NO MODIFIER | TYPE | MITER | MATERIAL | ALUMINIUM | HEAD TYPE |  | ANGLE |  | BLADE SIZE | 300 MM LG | GRADUATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1269458 | 1269458 | PULLEY,GRVD;SKF,SPA224X2-2517,2 GROOVE | PULLEY,GROOVED;MNFR:SKF,PTNO:SPA224X2-2517,ADDITIONAL FEATURES EN:2 GROOVE | 01)APPLIED INDUSTRIAL TECHNO M,01)SPA224X2-2517,PULLEY,GROOVED,01)2 GROOVE | SPA224X2-2517 | 3000348 | SKF | SKF | SPA224X2-2517 |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://bepltd.com/products/spa224x2-2517-v-belt-pulley-2-groove-taper-lock-224mm-pcd-229-5mm-od | [10 empty] | ENRICHED | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER |  | OUTSIDE DIAMETER | 229.5 MM | NUMBER OF GROOVES | 2 | BORE LENGTH |  | OVERALL WIDTH | 13 MM | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1273894 | 1273894 | PULLEY,V-BLT;MER,9061552215 | PULLEY,V-BELT;MNFR:MERCEDES,PTNO:9061552215 | 01)PENSKE POWER SYSTEMS,01)DE-9061552215,PULLEY,V-BELT | 9061552215 | 3000008 | MERCEDES | MERCEDES | 9061552215 |  | PENSKE POWER SYSTEMS |  |  |  | http://en.autospares.lv/price-lists/mercedes/5293/ | [11 empty] | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF GROOVES |  | BORE LENGTH |  | OVERALL WIDTH |  | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1325656 | 1325656 | PULLEY;DOD,6/8V16.0â€“4545 | PULLEY;MNFR:DODGE,PTNO:6/8V16.0â€“4545 | PULLEY | 6/8V16.0â€“4545 | 3000019 | DODGE | DODGE | 6/8V16.0 4545 | [5 empty] | https://www.bdiexpress.com/sk/en/Mechanical-Power-Transmission/Belt-Drives/Sheaves-and-Pulleys/Sheaves---Fixed-Pitch/6-8V16-0-4545/p/254394?backURL=search | [10 empty] | ENRICHED | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER |  | OUTSIDE DIAMETER | 16 IN | NUMBER OF GROOVES | 6 | BORE LENGTH |  | OVERALL WIDTH |  | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER | 15.8 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1325657 | 1325657 | PULLEY;DOD,6/8V30.0â€“5050 | PULLEY;MNFR:DODGE,PTNO:6/8V30.0â€“5050 | PULLEY | 6/8V30.0â€“5050 | 3000019 | DODGE | DODGE | 6/8V30.0 5050 | [5 empty] | https://www.applied.com/c-brands/c-dodge/6-8v30-0-5050/Taperlock-Sheave-for-8V-Belts/p/100944282 | [10 empty] | ENRICHED | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER |  | OUTSIDE DIAMETER | 30 IN | NUMBER OF GROOVES | 6 | BORE LENGTH |  | OVERALL WIDTH |  | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1272521 | 1272521 | PULLEY;KNDR,K-PUL-K9600-AS,DRIVE-Ã˜911/Ã˜9 | PULLEY;MNFR:KINDER,PTNO:K-PUL-K9600-AS,ADDITIONAL FEATURES EN:DRIVE-Ã˜911/Ã˜935,1370 FACE 2377 SHAFT,12MM DIAMOND GROOVE ,RUBBER LAGGING,LOCKING ELEMENTS: RINGFEDER 7012.2,240X305,INCLUDES SDVD3138 BEARINGS AND BEARING HOUSINGS W/,TACONITE SEAL (TKV 38) |  | K-PUL-K9600-AS | 3000432 | KINDER | KINDER | K-PUL-K9600-AS | [5 empty] | URL NOT FOUND | [11 empty] | 31171804 Sheaves or pulleys | PULLEY | NO MODIFIER | TYPE |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | HUB DIAMETER |  | HUB LENGTH |  | NUMBER OF GROOVES |  | WIDTH |  | MATERIAL | RUBBER LAGGING | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DRIVE-A911/A935,1370 FACE 2377 SHAFT,12 MM DIAMOND GROOVE,LOCKING ELEMENTS:RINGFEDER 7012.2,240X305,INCLUDES SDVD3138 BEARINGS AND BEARING HOUSINGS C/W TACONITE SEAL (TKV 38) | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 |  | 1272522 | 1272522 | PULLEY;KNDR,K-PUL-K9601-AS,NON-DRIVE-Ã˜75 | PULLEY;MNFR:KINDER,PTNO:K-PUL-K9601-AS,ADDITIONAL FEATURES EN:NON-DRIVE-Ã˜758/Ã˜782 1370 FACE 1866,SHAFT,12MM DIAMOND GROOVE RUBBER LAGGING,LOCKING ELEMENTS: RINGFEDER 7012.2 140X190,INCLUDES SDVD 528 BEARINGS AND BEARING HOUSINGS W/,TACONITE SEAL (TKV 528) |  | K-PUL-K9601-AS | 3000432 | KINDER | KINDER | K-PUL-K9601-AS | [5 empty] | URL NOT FOUND | [11 empty] | 31171804 Sheaves or pulleys | PULLEY | NO MODIFIER | TYPE |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | HUB DIAMETER |  | HUB LENGTH |  | NUMBER OF GROOVES |  | WIDTH |  | MATERIAL | RUBBER LAGGING | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NON-DRIVE-A758/A782 1370 FACE 1866,SHAFT,12 MM DIAMOND GROOVE,LOCKING ELEMENTS:RINGFEDER 7012.2 140X190,INCLUDES SDVD 528 BEARINGS AND BEARING HOUSINGS C/W TACONITE SEAL (TKV 528) | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1327096 | 1327096 | PULLEY;MER,9062001170 | PULLEY;MNFR:MERCEDES,PTNO:9062001170 | PULLEY | 9062001170 | 3000008 | MERCEDES | MERCEDES | 9062001170 | [5 empty] | https://leonpart.net/products?oem-no=A9062001170&brand-name=MERCEDES-BENZ&product=Tensioner+Pulley%2C+v-ribbed+belt | [10 empty] | ENRICHED | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF GROOVES |  | BORE LENGTH |  | OVERALL WIDTH |  | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed