## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274183 | 1274183 | BEARING,ROLR;SKF,23138-2CS5K/VT143 | BEARING,ROLLER;TYPE:SPHERICAL, SELF ALIGNING, TAPERED,INSIDE DIAMETER:190 MM,OUTSIDE DIAMETER:320 MM,OVERALL WIDTH:104 MM,BORE SHAPE:TAPERED,NUMBER OF ROWS:2,DYNAMIC LOAD RATING:1458 KN,STATIC LOAD RATING:2080 KN,SPEED RATING:400 R/MIN,ADDITIONAL FEATURES EN:SEALED,MNFR:01)SKF,PTNO:01)23138-2CS5K/VT143 | 01)SKF,01)223138-2CS5K/VT143 | 23138-2CS5K/VT143 | 3000348 | SKF | SKF | 23138-2CS5K/VT143 | [5 empty] | https://www.skf.com/id/products/rolling-bearings/roller-bearings/spherical-roller-bearings/productid-23138-2CS5K%2FVT143 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | SPHERICAL,SELF-ALIGNING | INSIDE DIAMETER | 190 MM | OUTSIDE DIAMETER | 320 MM | OVERALL WIDTH | 104 MM | BORE SHAPE | TAPERED | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 1458 KN | STATIC LOAD RATING | 2080 KN | SPEED RATING | 400 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,STYLE:DOUBLE STYLE | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274293 | 1274293 | BEARING,ROLR;SKF,23164 CCK/W33 | BEARING,ROLLER;TYPE:SPHERICAL, SELF ALIGNING, TAPERED,INSIDE DIAMETER:320 MM,OUTSIDE DIAMETER:540 MM,OVERALL WIDTH:176 MM,BORE SHAPE:TAPERED,NUMBER OF ROWS:2,DYNAMIC LOAD RATING:3923 KN,STATIC LOAD RATING:6000 KN,SPEED RATING:850 R/MIN,ADDITIONAL FEATURES EN:STD CLEARANCE, C/W LUBE GROOVES, MNFR:01)SKF,PTNO:01)23164CCK/W33 | 01)SKF,01)23164CCK/W33 | 23164 CCK/W33 | 3000348 | SKF | SKF | 23164CCK/W33 | [5 empty] | https://www.skf.com/uk/products/rolling-bearings/roller-bearings/spherical-roller-bearings/productid-23164%20CCK%2FW33 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | SPHERICAL,SELF-ALIGNING | INSIDE DIAMETER | 320 MM | OUTSIDE DIAMETER | 540 MM | OVERALL WIDTH | 176 MM | BORE SHAPE | TAPERED | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 3923 KN | STATIC LOAD RATING | 6000 KN | SPEED RATING | 850 RPM REFERENCE,1100 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,C/W LUBE GROOVES | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274292 | 1274292 | BEARING,ROLR;SKF,23164-2CS5K/VT143 | BEARING,ROLLER;TYPE:SPHERICAL, SELF ALIGNING,ADDITIONAL FEATURES EN:TAPPER BORE DIAMETER: ID 320 X OD 540 MM,MNFR:01)SKF,PTNO:01)23164- 2CS5K/VT143 | 01)APPINDUS,01)23164-2CS5K/VT,SPHERICAL, SELF ALIGNING,01)260X540X165MM, TAPPER BORE,02) NDE FLOATING ASSEMBLY, DIA | 23164-2CS5K/VT143 | 3000348 | SKF | SKF | 23164-2CS5K/VT143 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/sg/products/rolling-bearings/roller-bearings/spherical-roller-bearings/productid-23164-2CS5K%2FVT143 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | SPHERICAL,SELF-ALIGNING | INSIDE DIAMETER | 320 MM | OUTSIDE DIAMETER | 540 MM | OVERALL WIDTH | 176 MM | BORE SHAPE | TAPERED | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 3929 KN | STATIC LOAD RATING | 6100 KN | SPEED RATING | 260 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,NDE FLOATING ASSEMBLY | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270632 | 1270632 | BEARING,ROLR;SKF,30311,TPRD,CUP & CONE | BEARING,ROLLER;MNFR:SKF,PTNO:30311,ADDITIONAL FEATURES EN:TAPERED,CUP & CONE | 01)APPLIED INDUSTRIAL TECHNO,01)30311,BEARING,ROLLER,01)TAPERED,CUP & CONE | 30311 | 3000348 | SKF | SKF | 30311 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/rolling-bearings/roller-bearings/tapered-roller-bearings/single-row-tapered-roller-bearings/productid-30311 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | TAPERED | INSIDE DIAMETER | 55 MM | OUTSIDE DIAMETER | 120 MM | OVERALL WIDTH | 31.5 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 176 KN | STATIC LOAD RATING | 163 KN | SPEED RATING | 4800 RPM REFERENCE,5600 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CUP & CONE | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270641 | 1270641 | BEARING,ROLR;SKF,3315C3,DBL ROW,ACBB,DES | BEARING,ROLLER;MNFR:SKF,PTNO:3315C3,ADDITIONAL FEATURES EN:DOUBLE ROW,ACBB,DESIGN C | 01)APPLIED INDUSTRIAL TECHNO,01)3315C3,BEARING,ROLLER,01)DOUBLE ROW,ACBB,DESIGN C | 3315C3 | 3000348 | SKF | SKF | 3315C3 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.locateballbearings.com/skf-3315c3-double-row-ball-bearing/ | [10 empty] | Cleansed | 31171504 Ball bearings | BEARING | BALL | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 2 | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ACBB,DESIGN C | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270643 | 1270643 | BEARING,ROLR;SKF,6211C3,D GRV | BEARING,ROLLER;MNFR:SKF,PTNO:6211C3,ADDITIONAL FEATURES EN:DEEP GROOVE | 01)APPLIED INDUSTRIAL TECHNO,01)6211C3,BEARING,ROLLER,01)DEEP GROOVE | 6211C3 | 3000348 | SKF | SKF | 6211C3 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/productinfo/productid-6211%2FC3 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 55 MM | OUTSIDE DIAMETER | 100 MM | OVERALL WIDTH | 21 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 46.2 KN | STATIC LOAD RATING | 29 KN | SPEED RATING | 14000 RPM REFERENCE,9000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C3 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270644 | 1270644 | BEARING,ROLR;SKF,6219-2RS,D GRV,SINGLE R | BEARING,ROLLER;MNFR:SKF,PTNO:6219-2RS,ADDITIONAL FEATURES EN:DEEP GROOVE,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)6219-2RS,BEARING,ROLLER,01)DEEP GROOVE,SINGLE ROW | 6219-2RS | 3000348 | SKF | SKF | 6219-2RS |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6219-2RS1 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 95 MM | OUTSIDE DIAMETER | 170 MM | OVERALL WIDTH | 32 MM | STYLE | DOUBLE SEAL | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 114 KN | STATIC LOAD RATING | 81.5 KN | SPEED RATING | 2400 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269592 | 1269592 | BEARING,ROLR;SKF,6316C3,OPEN,C3 CLEARANC | BEARING,ROLLER;MNFR:SKF,PTNO:6316C3,ADDITIONAL FEATURES EN:OPEN,C3 CLEARANCE | 01)APPLIED INDUSTRIAL TECHNO M,01)6316C3,BEARING,ROLLER,01)OPEN,C3 CLEARANCE | 6316C3 | 3000348 | SKF | SKF | 6316C3 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/productinfo/productid-6316%2FC3 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 80 MM | OUTSIDE DIAMETER | 170 MM | OVERALL WIDTH | 39 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 130 KN | STATIC LOAD RATING | 86.5 KN | SPEED RATING | 8500 RPM REFERENCE,5300 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C3 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269593 | 1269593 | BEARING,ROLR;SKF,6320C3,OPEN,C3 CLEARANC | BEARING,ROLLER;MNFR:SKF,PTNO:6320C3,ADDITIONAL FEATURES EN:OPEN,C3 CLEARANCE | 01)APPLIED INDUSTRIAL TECHNO M,01)6320C3,BEARING,ROLLER,01)OPEN,C3 CLEARANCE | 6320C3 | 3000348 | SKF | SKF | 6320C3 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/productinfo/productid-6320%2FC3 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 100 MM | OUTSIDE DIAMETER | 215 MM | OVERALL WIDTH | 47 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 174 KN | STATIC LOAD RATING | 140 KN | SPEED RATING | 6700 RPM REFERENCE,4300 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C3 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270656 | 1270656 | BEARING,ROLR;SKF,N206ECP,CYLDRCL,SINGLE | BEARING,ROLLER;MNFR:SKF,PTNO:N206ECP,ADDITIONAL FEATURES EN:CYLINDRICAL,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)N206ECP,BEARING,ROLLER,01)CYLINDRICAL,SINGLE ROW | N206ECP | 3000348 | SKF | SKF | N206ECP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/single-row-cylindrical-roller-bearings/productid-N%20206%20ECP | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 30 MM | OUTSIDE DIAMETER | 62 MM | OVERALL WIDTH | 16 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 44 KN | STATIC LOAD RATING | 36.5 KN | SPEED RATING | 13000 RPM REFERENCE,14000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270827 | 1270827 | BEARING,ROLR;SKF,NNF5012ADA-2LSV,CYLDRCL | BEARING,ROLLER;MNFR:SKF,PTNO:NNF5012ADA-2LSV,ADDITIONAL FEATURES EN:CYLINDRICAL,DOUBLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)NNF5012ADA-2LSV,BEARING,ROLLER,01)CYLINDRICAL,DOUBLE ROW | NNF5012ADA-2LSV | 3000348 | SKF | SKF | NNF5012ADA-2LSV |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.abf.store/s/en/bearings/NNF5012ADA-2LSV-SKF/466797 | https://www.skf.com/sg/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/double-row-full-complement-cylindrical-roller-bearings/productid-NNF%205012%20ADB-2LSV | [9 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 60 MM | OUTSIDE DIAMETER | 95 MM | OVERALL WIDTH | 46 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 2 | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING | 134 KN | STATIC LOAD RATING | 208 KN | SPEED RATING | 1400 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,STYLE:DOUBLE SEAL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270657 | 1270657 | BEARING,ROLR;SKF,NNF5014ADA-2LSV,CYLDRCL | BEARING,ROLLER;MNFR:SKF,PTNO:NNF5014ADA-2LSV,ADDITIONAL FEATURES EN:CYLINDRICAL,DOUBLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)NNF5014ADA-2LSV,BEARING,ROLLER,01)CYLINDRICAL,DOUBLE ROW | NNF5014ADA-2LSV | 3000348 | SKF | SKF | NNF5014ADA-2LSV |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.abf.store/s/en/bearings/NNF5014ADA-2LSV-SKF/437192 | https://www.skf.com/sg/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/double-row-full-complement-cylindrical-roller-bearings/productid-NNF%205014%20ADB-2LSV | [9 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 70 MM | OUTSIDE DIAMETER | 110 MM | OVERALL WIDTH | 54 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 2 | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING | 187 KN | STATIC LOAD RATING | 285 KN | SPEED RATING | 1200 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,STYLE:DOUBLE SEAL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270658 | 1270658 | BEARING,ROLR;SKF,NNF5016ADA-2LSV,CYLDRCL | BEARING,ROLLER;MNFR:SKF,PTNO:NNF5016ADA-2LSV,ADDITIONAL FEATURES EN:CYLINDRICAL | 01)APPLIED INDUSTRIAL TECHNO,01)NNF5016ADA-2LSV,BEARING,ROLLER,01)CYLINDRICAL | NNF5016ADA-2LSV | 3000348 | SKF | SKF | NNF5016ADA-2LSV |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/in/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/double-row-full-complement-cylindrical-roller-bearings/productid-NNF%205016%20ADA-2LSV | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 80 MM | OUTSIDE DIAMETER | 125 MM | OVERALL WIDTH | 60 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 2 | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING | 251 KN | STATIC LOAD RATING | 415 KN | SPEED RATING | 1000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN,STYLE:DOUBLE SEAL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270659 | 1270659 | BEARING,ROLR;SKF,NU202ECP,CYLDRCL,SINGLE | BEARING,ROLLER;MNFR:SKF,PTNO:NU202ECP,ADDITIONAL FEATURES EN:CYLINDRICAL,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)NU202ECP,BEARING,ROLLER,01)CYLINDRICAL,SINGLE ROW | NU202ECP | 3000348 | SKF | SKF | NU202ECP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/sg/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/single-row-cylindrical-roller-bearings/productid-NU%20202%20ECP | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 15 MM | OUTSIDE DIAMETER | 35 MM | OVERALL WIDTH | 11 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 12.5 KN | STATIC LOAD RATING | 10.2 KN | SPEED RATING | 26000 RPM REFERENCE,26000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270828 | 1270828 | BEARING,ROLR;SKF,NU216ECMC3,CYLDRCL,SING | BEARING,ROLLER;MNFR:SKF,PTNO:NU216ECMC3,ADDITIONAL FEATURES EN:CYLINDRICAL,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)NU216ECMC3,BEARING,ROLLER,01)CYLINDRICAL,SINGLE ROW | NU216ECMC3 | 3000348 | SKF | SKF | NU216ECMC3 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/sg/productinfo/productid-NU%20216%20ECM%2FC3 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 80 MM | OUTSIDE DIAMETER | 140 MM | OVERALL WIDTH | 26 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | MACHINED METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 160 KN | STATIC LOAD RATING | 166 KN | SPEED RATING | 5300 RPM REFERENCE,5600 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C3 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270661 | 1270661 | BEARING,ROLR;SKF,NUP309ECP,CYLDRCL,SINGL | BEARING,ROLLER;MNFR:SKF,PTNO:NUP309ECP,ADDITIONAL FEATURES EN:CYLINDRICAL,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)NUP309ECP,BEARING,ROLLER,01)CYLINDRICAL,SINGLE ROW | NUP309ECP | 3000348 | SKF | SKF | NUP309ECP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/sg/products/rolling-bearings/roller-bearings/cylindrical-roller-bearings/single-row-cylindrical-roller-bearings/productid-NUP%20309%20ECP | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 45 MM | OUTSIDE DIAMETER | 100 MM | OVERALL WIDTH | 25 MM | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 112 KN | STATIC LOAD RATING | 100 KN | SPEED RATING | 7500 RPM REFERENCE,8500 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270636 | 1270636 | BEARING,ROLR;TORR,22215EJW33,SPHER | BEARING,ROLLER;MNFR:TIMKEN BEARING,PTNO:22215EJW33,ADDITIONAL FEATURES EN:SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)22215EJW33,BEARING,ROLLER,01)SPHERICAL | 22215EJW33 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | 22215EJW33 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://cad.timken.com/item/spherical-roller-bearings/spherical-roller-bearings-steel-cage/22215ejw33 | https://www.motion.com/products/sku/00063100 | [9 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | SPHERICAL | INSIDE DIAMETER | 75 MM | OUTSIDE DIAMETER | 130 MM | OVERALL WIDTH | 31 MM | BORE SHAPE | STRAIGHT | NUMBER OF ROWS | 2 | CAGE MATERIAL | STEEL | BEARING SERIES | 222 | DYNAMIC LOAD RATING | 222 KN | STATIC LOAD RATING | 240 KN | SPEED RATING | 4600 RPM OIL,3700 RPM GREASE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C0,CLOSURE TYPE:OPEN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270637 | 1270637 | BEARING,ROLR;TORR,30309-TIM,TPRD | BEARING,ROLLER;MNFR:TIMKEN BEARING,PTNO:30309-TIM,ADDITIONAL FEATURES EN:TAPERED | 01)APPLIED INDUSTRIAL TECHNO,01)30309-TIM,BEARING,ROLLER,01)TAPERED | 30309-TIM | 3000360 | TIMKEN BEARING | TIMKEN BEARING | 30309 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.neobits.com/timken_30309_tim_30309_timken_45mm_bore_52100_p16797976.html | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER | 45 MM | OUTSIDE DIAMETER | 100 MM | OVERALL WIDTH | 27.25 MM | BORE SHAPE | TAPERED | NUMBER OF ROWS | 1 | CAGE MATERIAL | STEEL | BEARING SERIES |  | DYNAMIC LOAD RATING | 251.78 KN | STATIC LOAD RATING | 285.51 KN | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269503 | 1269503 | BEARING,ROLR;TORR,941-20024,TPRD,941 IMP | BEARING,ROLLER;MNFR:TIMKEN BEARING,PTNO:941-20024,ADDITIONAL FEATURES EN:TAPERED,941 IMP CONE | 01)CONSOLIDATED BEARING CO (,01)941-20024,BEARING,ROLLER,01)TAPERED,941 IMP CONE | 941-20024 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | 941-20024 |  | CONSOLIDATED BEARING CO |  |  |  | https://www.motion.com/products/sku/00655898 | https://www.purvisindustries.com/timken-941-20024 | [9 empty] | Enriched | 31171527 Bearing cones | CONE | BEARING | TYPE | TAPERED ROLLER | INSIDE DIAMETER | 4 IN | WIDTH | 2-5/8 IN | MATERIAL | CHROME STEEL | CAGE MATERIAL | STAPED STEEL | DYNAMIC LOAD RATING | 129000 LB | STATIC LOAD RATING | 177000 LB | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1270653 | 1270653 | BEARING,ROLR;TORR,K-JLM714110-TIM,TPRD,S | BEARING,ROLLER;MNFR:TIMKEN BEARING,PTNO:K-JLM714110-TIM,ADDITIONAL FEATURES EN:TAPERED,SINGLE CUP | 01)APPLIED INDUSTRIAL TECHNO,01)K-JLM714110-TIM,BEARING,ROLLER,01)TAPERED,SINGLE CUP | K-JLM714110-TIM | 3000360 | TIMKEN BEARING | TIMKEN BEARING | K-JLM714110 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://cad.timken.com/item/tapered-roller-bearings---single-cups/tapered-roller-bearings---single-cups---metric/jlm714110 | https://www.grainger.com/product/NTN-Tapered-Roller-Bearing-Cups-798AL9?searchQuery=JLM714110&gad=1&gclsrc=aw.ds&tier=Tier+6&gucid=N%3AN%3APS%3APaid%3AGGL%3ACSM-2296%3AG3ZI4B%3A20501231&gclid=Cj0KCQjwtO-kBhDIARIsAL6LordrtVPkdoUayA8QkJEsbe-wsCLk7z6Kd1Jr6ejcbMLuafKptJ9qi_waAtDSEALw_wcB | [9 empty] | Enriched | 31171529 Bearing cups | CUP | BEARING | TYPE | TAPERED ROLLER,SINGLE | OUTSIDE DIAMETER | 115 MM | WIDTH | 19 MM | MATERIAL | ALLOY STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 | Partial Match | 1270654 | 1270654 | BEARING,ROLR;TORR,K-JLM714149/9N1,TPRD,S | BEARING,ROLLER;MNFR:TIMKEN BEARING,PTNO:K-JLM714149/9N1,ADDITIONAL FEATURES EN:TAPERED,SINGLE CONE | 01)APPLIED INDUSTRIAL TECHNO,01)K-JLM714149/9N1,BEARING,ROLLER,01)TAPERED,SINGLE CONE | K-JLM714149/9N1 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | K-JLM714149/9N1 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://cad.timken.com/item/tapered-roller-bearings---single-cones/tapered-roller-bearings---single-cones---metric/jlm714149 | [10 empty] | Enriched | 31171527 Bearing cones | CONE | BEARING | TYPE | TAPERED ROLLER | INSIDE DIAMETER | 75 MM | WIDTH | 25 MM | MATERIAL |  | CAGE MATERIAL | STAMPED STEEL | DYNAMIC LOAD RATING | 63.4 KN | STATIC LOAD RATING | 24.4 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1213455 | 1213455 | COOLER,AIR;DRVT,IFI31728 | COOLER,AIR;MNFR:DRIVETRAIN,PTNO:IFI31728 |  | IFI31728 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31728 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | COOLER | AIR | TYPE |  | COOLING RANGE |  | CAPACITY |  | FLOW RATING |  | END CONNECTION |  | COOLANT |  | COOLING AREA |  | MATERIAL |  | SIZE |  | DRIVE TYPE |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1272404 | 1272404 | FILTER,AIR;CUM,4550092941,WT07 ENGINE,CO | FILTER,AIR;MNFR:CUMMINS,PTNO:4550092941,ADDITIONAL FEATURES EN:WT07 ENGINE,COMPLETE ASSEMBLE |  | 4550092941 | 3000018 | CUMMINS | CUMMINS | 4550092941 | [5 empty] | https://www.airfilter-crossreference.com/convert/MANN-HUMMEL/4550092941 | [5 empty] | ENGINE |  | WT07 |  |  | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE ASSEMBLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1275779 | 1275779 | FILTER,AIR;DONA,P502591,BRTHR,TESAB 5528 | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P502591,ADDITIONAL FEATURES EN:BREATHER,TESAB 5528 | 01)PRECISIONSCREEN PTY LTD,01)ELEM UC4930,FILTER,AIR,01)BREATHER,TESAB 5528 | P502591 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P502591 |  | PRECISIONSCREEN PTY LTD |  |  |  | https://shop.donaldson.com/store/en-in/product/P502591/75664?_requestid=2124191 | [10 empty] | Enriched | 25172407 Breather elements | BREATHER | NO MODIFIER | TYPE | HYDRAULIC,SPIN-ON | CONNECTION SIZE | 3/4 IN-14 TPI | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA | CELLULOSE | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE | 93 ODX60 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TESAB 5528 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1272929 | 1272929 | FILTER,AIR;DONA,P615493,POWER CORE,F/KUB | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P615493,ADDITIONAL FEATURES EN:POWER CORE,F/KUBOTA TRACTOR | 01)MITECH,01)P615493,FILTER,AIR,01)POWER CORE,02)F/KUBOTA TRACTOR | P615493 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P615493 |  | MITECH |  |  |  | https://shop.donaldson.com/store/en-in/product/P615493/41176 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY,OBROUND | FILTER RATING |  | SIZE | 191.7 LGX114.7 WDX27.5 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | MEDIA BRAND:POWER CORE,FOR KUBOTA TRACTOR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1272928 | 1272928 | FILTER,AIR;DONA,P617631,(P) POWER CORE | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P617631,ADDITIONAL FEATURES EN:(P) POWER CORE, FOR KUBOTA TRACTOR | 01)MITECH,01)P617631,FILTER,AIR,01)(P) POWER CORE,02) FOR KUBOTA TRACTOR | P617631 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P617631 |  | MITECH |  |  |  | https://shop.donaldson.com/store/en-in/product/P617631/41175 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY,OBROUND | FILTER RATING |  | SIZE | 205 LGX131 WDX156 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | MEDIA TYPE:POWER CORE® CELLULOSE,EFFICIENCY:99.95 PCT,FOR KUBOTA TRACTOR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1275818 | 1275818 | FILTER,AIR;DONA,P778989,OUTER,TESAB 5528 | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P778989,ADDITIONAL FEATURES EN:OUTER,TESAB 5528 | 01)PRECISIONSCREEN PTY LTD,01)07-50-3002,FILTER,AIR,01)OUTER,TESAB 5528 | P778989 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P778989 |  | PRECISIONSCREEN PTY LTD |  |  |  | https://shop.donaldson.com/store/en-in/product/P778989/22049 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY,OUTER | FILTER RATING |  | SIZE | 85 IDX151.5 ODX331.8 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | BRAND NAME:RADIAL SEAL™,EFFICIENCY:99.9 PCT,TESAB 5528 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1275815 | 1275815 | FILTER,AIR;DONA,P780030,INNER,TESAB 5528 | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P780030,ADDITIONAL FEATURES EN:INNER,TESAB 5528 | 01)PRECISIONSCREEN PTY LTD,01)07-50-3001,FILTER,AIR,01)INNER,TESAB 5528 | P780030 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P780030 |  | PRECISIONSCREEN PTY LTD |  |  |  | https://shop.donaldson.com/store/en-in/product/P780030/22055 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY,INNER | FILTER RATING |  | SIZE | 58.5 IDX75.8 ODX339.5 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | TESAB 5528 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268387 | 1268387 | FILTER,AIR;DONA,P822768,PRIMARY | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P822768,ADDITIONAL FEATURES EN:PRIMARY | 01)S & K PYE PTY LTD T/AS SU,01)OTXA213939,FILTER,AIR,01)PRIMARY | P822768 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P822768 |  | S & K PYE PTY LTD T/AS SU |  |  |  | https://shop.donaldson.com/store/en-in/product/P822768/22376 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 81.3 IDX128.5 ODX304 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | BRAND NAME:RADIAL SEAL™,MEDIA TYPE:CELLULOSE,EFFICIENCY:99.9 PCT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268386 | 1268386 | FILTER,AIR;DONA,P822769,SEC | FILTER,AIR;MNFR:DONALDSON COMPANY INC,PTNO:P822769,ADDITIONAL FEATURES EN:SECONDARY | 01)S & K PYE PTY LTD T/AS SU,01)OTXA213938,FILTER,AIR,01)SECONDARY | P822769 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P822769 |  | S & K PYE PTY LTD T/AS SU |  |  |  | https://shop.donaldson.com/store/en-in/product/P822769/22377 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY,SECONDARY | FILTER RATING |  | SIZE | 64.8 IDX84.4 ODX298.1 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | BRAND NAME:RADIAL SEAL™ | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269258 | 1269258 | FILTER,AIR;DOSN,400504-00019 | FILTER,AIR;MNFR:DOOSAN CORPORATION,PTNO:400504-00019 | 01)CROWN EQUIPMENT,01)X400504-00019,FILTER,AIR | 400504-00019 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | 400504-00019 |  | CROWN EQUIPMENT |  |  |  | https://www.helmarparts.com/400504-00019-air-filter-fire-retardant/ | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | FIRE RETARDANT | FILTER RATING |  | SIZE | 85.48 IDX127.12 ODX264.15 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269262 | 1269262 | FILTER,AIR;DOSN,A131768 | FILTER,AIR;MNFR:DOOSAN CORPORATION,PTNO:A131768 | 01)CROWN EQUIPMENT,01)XA131768,FILTER,AIR | A131768 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | A131768 |  | CROWN EQUIPMENT |  |  |  | https://www.filtersplus.co/product/sa18052/ | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 111 IDX224 ODX388 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269263 | 1269263 | FILTER,AIR;DOSN,A131769 | FILTER,AIR;MNFR:DOOSAN CORPORATION,PTNO:A131769 | 01)CROWN EQUIPMENT,01)XA131769,FILTER,AIR | A131769 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | A131769 |  | CROWN EQUIPMENT |  |  |  | https://canada.intellaliftparts.com/p/DOO-A131769/doosan-a131769-filter-air-safety.html | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1210959 | 1210959 | FILTER,AIR;DRVT,IFI02381,PRIM | FILTER,AIR;MNFR:DRIVETRAIN,PTNO:IFI02381,ADDITIONAL FEATURES EN:PRIM | 01)DRIVETRAIN AUSTRALIA,01)IFI02381,FILTER,AIR,01)PRIM | IFI02381 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02381 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211024 | 1211024 | FILTER,AIR;DRVT,IFI02383,SEC | FILTER,AIR;MNFR:DRIVETRAIN,PTNO:IFI02383,ADDITIONAL FEATURES EN:SEC | 01)DRIVETRAIN AUSTRALIA,01)IFI02383,FILTER,AIR,01)SEC | IFI02383 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02383 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | SECONDARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1213365 | 1213365 | FILTER,AIR;DRVT,IFI27604 | FILTER,AIR;MNFR:DRIVETRAIN,PTNO:IFI27604 |  | IFI27604 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27604 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274294 | 1274294 | FILTER,AIR;ELEMENT, LOUVRED,SQ 120 MM | FILTER,AIR;TYPE:ELEMENT, LOUVRED,SIZE:SQ 120 MM,ADDITIONAL FEATURES EN:120 SQ FAN, DIMENSIONS: WD 120 X LG 120 MM, MNFR:ABB,PTNO: COO-FAN-00080 | ELEMENT, LOUVRED,EN_01)SQ 120 MM,01)120 SQ FAN, DIMENSIONS: WD,FILTER | COO-FAN-00080 | 3000014 | ABB | ABB | COO-FAN-00080 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161807 Filter element | FILTER | ELEMENT | TYPE | LOUVRED | MEDIUM | AIR | DIMENSIONS | 120 WDX120 LG MM | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W SQ 120 MM FAN | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211622 | 1211622 | FILTER,AIR;GM,92066873 | FILTER,AIR;MNFR:GENERAL MOTORS,PTNO:92066873 | 01)BELL & MOIR - PARTS ORDER,01)92066873,FILTER,AIR | 92066873 | 3000390 | GENERAL MOTORS | GENERAL MOTORS | 92066873 |  | BELL & MOIR |  |  |  | http://www.elemfil.com/ProductDetail.aspx?ppid=266387 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 240 LGX330 WDX51 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1266173 | 1266173 | FILTER,AIR;HYS,4711870 | FILTER,AIR;MNFR:HYSTER,PTNO:4711870 | 01)ADAPT-A-LIFT GROUP PTY LT,01)4711870,FILTER,AIR | 4711870 | 3000023 | HYSTER | HYSTER | 4711870 |  | ADAPT-A-LIFT GROUP PTY LT |  |  |  | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1220461 | 1220461 | FILTER,AIR;MAN,224713,CYLCLONIC | FILTER,AIR;MNFR:MANITOU,PTNO:224713,ADDITIONAL FEATURES EN:CYLCLONIC | 01)JUNGHEINRICH AUSTRALIA PT,01)224713,FILTER,AIR,01)CYLCLONIC | 224713 | 3000007 | MANITOU | MANITOU | 224713 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.htsspares.com/catalogue/plant/telehandler-parts/manitou-telehandler-parts/manitou-accessories/show/cyclonic-pre-air-filter-suit-manitou-oem224713 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | CYCLONIC PRE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219557 | 1219557 | FILTER,AIR;MAN,227959 | FILTER,AIR;MNFR:MANITOU,PTNO:227959 | 01)JUNGHEINRICH AUSTRALIA PT,01)227959,FILTER,AIR | 227959 | 3000007 | MANITOU | MANITOU | 227959 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.malpasonline.co.uk/oem/227959/Manitou | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | OUTER | FILTER RATING |  | SIZE | 83 IDX141.5 ODX322 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219562 | 1219562 | FILTER,AIR;MAN,240334 | FILTER,AIR;MNFR:MANITOU,PTNO:240334 | 01)JUNGHEINRICH AUSTRALIA PT,01)240334,FILTER,AIR | 240334 | 3000007 | MANITOU | MANITOU | 240334 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://trupar.com/p/manitou-aerial-work-platform-self-cleaning-pre-filter-240334 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SELF CLEANING PRE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219561 | 1219561 | FILTER,AIR;MAN,52519289 | FILTER,AIR;MNFR:MANITOU,PTNO:52519289 | 01)JUNGHEINRICH AUSTRALIA PT,01)52519289,FILTER,AIR | 52519289 | 3000007 | MANITOU | MANITOU | 52519289 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.benburgess.co.uk/shop/manitou-complete-air-filter-52519289/ | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | COMPLETE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219554 | 1219554 | FILTER,AIR;MAN,52577675,AIR FLTR | FILTER,AIR;MNFR:MANITOU,PTNO:52577675,ADDITIONAL FEATURES EN:AIR FILTER | 01)JUNGHEINRICH AUSTRALIA PT,01)52577675,FILTER,AIR,01)AIR FILTER | 52577675 | 3000007 | MANITOU | MANITOU | 52577675 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.dumarent.be/fpdf/000105_pdf_A4.php?depdf=MANITOU_MC30-4_FR.pdf&soortdoc=HL | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | INTERNAL CAB VENTILATION | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269271 | 1269271 | FILTER,AIR;MAN,530C0-62011,INNER | FILTER,AIR;MNFR:MANITOU,PTNO:530C0-62011,ADDITIONAL FEATURES EN:INNER | 01)JUNGHEINRICH AUSTRALIA PT,01)530C0-62011,FILTER,AIR,01)INNER | 530C0-62011 | 3000007 | MANITOU | MANITOU | 530C0-62011 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.sourcefy.com/air-filter-inner-530c0-62011/ | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | INNER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1240775 | 1240775 | FILTER,AIR;MAN,563415,SAFTY | FILTER,AIR;MNFR:MANITOU,PTNO:563415,ADDITIONAL FEATURES EN:SAFETY | FILTER,AIR,01)SAFETY,01)SECURITE | 563415 | 3000007 | MANITOU | MANITOU | 563415 |  | SECURITE |  |  |  | https://shop.moderngroup.com/563415-manitou-aftermarket-filter-air/ | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1240776 | 1240776 | FILTER,AIR;MAN,563416 | FILTER,AIR;MNFR:MANITOU,PTNO:563416 | FILTER,AIR | 563416 | 3000007 | MANITOU | MANITOU | 563416 | [5 empty] | https://trupar.com/p/manitou-aerial-work-platform-air-filter-563416 | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1326494 | 1326494 | FILTER,AIR;SIE,54 | FILTER,AIR;MNFR:SIEMENS,PTNO:54 | FILTER,AIR | 54 | 3000032 | SIEMENS | SIEMENS | 54 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161505 Air filters | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219547 | 1219547 | FILTER,FLUD;DONA,9560693,DONALDSON SPIN- | FILTER,FLUID;MNFR:DONALDSON COMPANY INC,PTNO:9560693,ADDITIONAL FEATURES EN:DONALDSON SPIN-ON HYDRAULIC FLITER | 01)ISA AUTO SUPPLIES,01)9560693,FILTER,FLUID,01)DONALDSON SPIN-ON HYDRAULIC | 9560693 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | 9560693 |  | ISA AUTO SUPPLIES |  |  |  | URL Not Found | [10 empty] | Cleansed | 40161515 Hydraulic filters | FILTER | FLUID | TYPE | HYDRAULIC,SPIN-ON | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1242021 | 1242021 | FILTER,FLUD;DONA,P550520 | FILTER,FLUID;TYPE:SPIN-ON,MEDIUM:OIL,CONNECTION METHOD:M27 X 2 MM,MICRON:24 UM,DIMENSIONS:OD 93 X HT 175 MM,CERTIFICATION/STANDARD:SAE J806,MNFR:DONALDSON,PTNO:P550520,MNFR 1:IVECO,PTNO 1:2992242 | EN_01)SPIN-ON,FR_01)A VISSER,EN_01)OIL,FR_01)HUILE,M27 X 2 MM,24 UM,EN_01)OD 93 X HT 175 MM,FR_01)OD 93 X HT 175 MM,EN_01)SAE J806,FR_01)SAE J806,01)IVECO,01)2992242,01)ML180E28,01)ZCFA31TX02663282 | P550520 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P550520 |  | IVECO | 2992242 |  |  | https://shop.donaldson.com/store/en-us/product/P550520/20439 | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | SPIN-ON,FULL FLOW | MEDIUM | OIL | CONNECTION METHOD | M27 X 2 MM | MICRON | 24 UM | DIMENSIONS | 93 ODX175 HT MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J806 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1242085 | 1242085 | FILTER,FLUD;DONA,P550881 | FILTER,FLUID;TYPE:SPIN-ON,MEDIUM:FUEL,CONNECTION METHOD:M20 X 1.5 MM,MICRON:7 UM,DIMENSIONS:OD 93 X HT 174 MM,MATERIAL:MELTBLOWN,MNFR:DONALDSON,PTNO:P550881,MNFR 1:IVECO,PTNO 1:2992241 | EN_01)SPIN-ON,FR_01)A VISSER,EN_01)FUEL,FR_01)CARBURANT,M20 X 1.5 MM,7 UM,EN_01)OD 93 X HT 174 MM,FR_01)OD 93 X HT 174 MM,EN_01)MELTBLOWN,FR_01)SOUFFLAGE EN FUSION,01)IVECO,01)2992241,01)ML180E28,01)ZCFA31TX02663282 | P550881 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P550881 |  | IVECO | 2992241 |  |  | https://shop.donaldson.com/store/en-us/product/P550881/39312 | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | SPIN-ON | MEDIUM | FUEL | CONNECTION METHOD | M20 X 1.5 MM | MICRON | 7 UM | DIMENSIONS | 93 ODX174 HT MM | MATERIAL | MELTBLOWN | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE J1985 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219548 | 1219548 | FILTER,FLUD;DONA,p564967,HYDR | FILTER,FLUID;MNFR:DONALDSON COMPANY INC,PTNO:p564967,ADDITIONAL FEATURES EN:HYDRAULIC | 01)ISA AUTO SUPPLIES,01)P564967,FILTER,FLUID,01)HYDRAULIC | p564967 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P564967 |  | ISA AUTO SUPPLIES |  |  |  | https://shop.donaldson.com/store/en-us/product/P564967/35355 | [10 empty] | Enriched | 40161515 Hydraulic filters | FILTER | FLUID | TYPE | HYDRAULIC | MEDIUM |  | CONNECTION METHOD | 1 IN-2 UN | MICRON | 6 UM | DIMENSIONS | 93 ODX136 HT MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1240874 | 1240874 | FILTER,FLUD;DONA,P568666 | FILTER,FLUID;TYPE:SPIN-ON,MEDIUM:FUEL,CONNECTION METHOD:1-3/4 IN-12 TPI THREADED,MICRON:4 UM,DIMENSIONS:OD 117 X LG 362 MM,MNFR:DONALDSON,PTNO:P568666 | EN_01)SPIN-ON,FR_01)A VISSER,EN_01)FUEL,FR_01)CARBURANT,1-3/4 IN-12 TPI THREADED,4 UM,EN_01)OD 117 X LG 362 MM,FR_01)OD 117 X LG 362 MM | P568666 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P568666 | [5 empty] | https://www.eindustrialsolutions.com/donaldson-p568666-clean-solutions-filter-spin-on-donaldson-blue-oem | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | SPIN-ON | MEDIUM | FUEL | CONNECTION METHOD | 1-3/4 IN-12 TPI | MICRON | 4 UM | DIMENSIONS | 4-39/64 ODX14-1/4 HT MM | MATERIAL | ALUMINUM HEAD | FLOW RATE | 65 GPM | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING | 350 PSI | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211623 | 1211623 | FILTER,FLUD;GM,19355319 | FILTER,FLUID;MNFR:GENERAL MOTORS,PTNO:19355319 | 01)BELL & MOIR - PARTS ORDER,01)19355319,FILTER,FLUID | 19355319 | 3000390 | GENERAL MOTORS | GENERAL MOTORS | 19355319 |  | BELL & MOIR |  |  |  | https://www.gmpartsoverstock.com/oem-parts/gm-engine-oil-filter-and-cap-seal-o-ring-19355319 | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE |  | MEDIUM | OIL | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W CAP SEAL | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1243548 | 1243548 | FILTER,FLUD;MAN,279809,OIL,ASSY | FILTER,FLUID;MNFR:MANITOU,PTNO:279809,ADDITIONAL FEATURES EN:OIL,ASSEMBLY | 01)CD25P V3600,FILTER,FLUID,01)OIL,ASSEMBLY,01)HUILE,ASSEMBLAGE | 279809 | 3000007 | MANITOU | MANITOU | 279809 | [5 empty] | https://www.oilfilter-crossreference.com/convert/MANITOU/279809 | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE |  | MEDIUM | OIL | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219553 | 1219553 | FILTER,FLUD;MAN,52555157,HYDRAULIC OIL | FILTER,FLUID;MNFR:MANITOU,PTNO:52555157,ADDITIONAL FEATURES EN:HYDRAULIC OIL | 01)JUNGHEINRICH AUSTRALIA PT,01)52555157,FILTER,FLUID,01)HYDRAULIC OIL | 52555157 | 3000007 | MANITOU | MANITOU | 52555157 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.lindstromequipment.com/other/pid2477101/hydraulic-filter/ | [10 empty] | Enriched | 40161515 Hydraulic filters | FILTER | HYDRAULIC | TYPE | OIL | FILTER RATING |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | END CONNECTION |  | FLOW RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1219549 | 1219549 | FILTER,FLUD;MAN,749613,OIL | FILTER,FLUID;MNFR:MANITOU,PTNO:749613,ADDITIONAL FEATURES EN:OIL | 01)JUNGHEINRICH AUSTRALIA PT,01)749613,FILTER,FLUID,01)OIL | 749613 | 3000007 | MANITOU | MANITOU | 749613 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://partsonline.com/products/lube-filter-spinon-full-flow-replacement-for-manitou-749613 | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | SPIN ON,FULL FLOW,LUBE | MEDIUM | OIL | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1241958 | 1241958 | FILTER,FLUD;SPIN ON, ANTI DRAIN, FULL FL | FILTER,FLUID;TYPE:SPIN ON, ANTI DRAIN, FULL FLOW,MEDIUM:OIL,CONNECTION METHOD:3/4 IN,MICRON:40 UM,DIMENSIONS:DIA 92 X LG 136 MM, MATERIAL:CELLULOSE,PRESSURE RATING:7-10 PSI,ADDITIONAL FEATURES EN:16 TPI, LUBE,MNFR:MANITOU,PTNO:133755,MNFR:01)DONALDSN,PTNO:01) P554403 | EN_01)SPIN ON, ANTI DRAIN, FUL,EN_01)OIL,3/4 IN,40 UM,EN_01)DIA 92 X LG 136 MM,EN_01)CELLULOSE,7-10 PSI,01)16 TPI, LUBE,FILTER,FLUID,01)OIL,GCMD,01)HUILE,GCMD | 133755 | 3000007 | MANITOU | MANITOU | 133755 |  | DONALDSN | P554403 |  |  | https://www.truparforkliftparts.com/MANITOU-133755-FILTER-OIL-p/mn133755.htm | [10 empty] | Enriched | 40161500 Filters | FILTER | FLUID | TYPE | SPIN ON,ANTI DRAIN,FULL FLOW | MEDIUM | OIL | CONNECTION METHOD | 3/4 IN-16 TPI | MICRON | 40 UM | DIMENSIONS | DIA 92 X LG 136 MM | MATERIAL | CELLULOSE | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING | 7-10 PSI | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 | SIZE Conflict BW Input & Web, Web Values are considered | 1242225 | 1242225 | FILTER;DONA,P822686 | FILTER,AIR;TYPE:PRIMARY, RADIAL SEAL,SIZE:ID 45 X OD 90 X LG 179 MM,MNFR:DONALDSON COMPANY INC,PTNO:P822686,MNFR:01)INGRAMS,PTNO: 01)P822686,MNFR:02)BELLMOIR,PTNO:02)P822686 | EN_01)ID 44.9 X OD,EN_02)89.8 X LG 179 MM,FR_01)ID 44.9 X OD,FR_02)89.8 X LG 179 MM,EN_01)CELLULOSE,FR_01)CELLULOSE,EN_01)ISO 5011,FR_01)ISO 5011,01)99.9% EFFICIENCY,PRIMARY,01)99,9%,02)D'EFFICACITE,PRIMAIRE,01)KUBOTA,01)WELDING MACHINE,01)305D,01)U1131101491 W59 | P822686 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P822686 |  | INGRAMS |  | BELLMOIR |  | https://shop.donaldson.com/store/en-in/product/P822686/22375?_requestid=2122315 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 44.9 IDX89.8 ODX179 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | BRAND NAME:RADIAL SEAL™,MEDIA TYPE:CELLULOSE,EFFICIENCY:99.9 PCT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1271579 | 1271579 | GUARD,SAFTY;3M,169010,THROAT PROTECTION | GUARD,SAFETY;MNFR:3M,PTNO:169010,ADDITIONAL FEATURES EN:THROAT PROTECTION,SPEEDGLAS 9100 | 01)WELDERS PRO SHOP,01)169010,GUARD,SAFETY,01)THROAT PROTECTION,SPEEDGLAS | 169010 | 3000220 | 3M | 3M | 169010 |  | WELDERS PRO SHOP |  |  |  | https://www.3m.com/3M/en_LB/p/d/v000056064/ | [10 empty] | Enriched | 23271700 Welding and soldering and brazing accessories | COVER | NO MODIFIER | TYPE | PROTECTIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR SPEEDGLAS 9100 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1271573 | 1271573 | GUARD,SAFTY;3M,535000,AIR DEFLECTOR,SPEE | GUARD,SAFETY;MNFR:3M,PTNO:535000,ADDITIONAL FEATURES EN:AIR DEFLECTOR,SPEEDGLAS 9100 | 01)WELDERS PRO SHOP,01)535000,GUARD,SAFETY,01)AIR DEFLECTOR,SPEEDGLAS 910 | 535000 | 3000220 | 3M | 3M | 535000 |  | WELDERS PRO SHOP |  |  |  | https://www.3mindia.in/3M/en_IN/p/d/v000086564/ | [10 empty] | Enriched | 23271700 Welding and soldering and brazing accessories | DEFLECTOR | AIR | TYPE |  | WIDTH |  | LENGTH |  | HEIGHT |  | MATERIAL |  | COLOR |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR SPEEDGLAS 9100 | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211056 | 1211056 | GUARD;DRVT,IFI02720 | GUARD;MNFR:DRIVETRAIN,PTNO:IFI02720 | 01)DRIVETRAIN,01)IFI02720,GUARD | IFI02720 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02720 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1213212 | 1213212 | GUARD;DRVT,IFI15067,REAR WHEEL SEAL | GUARD;MNFR:DRIVETRAIN,PTNO:IFI15067,ADDITIONAL FEATURES EN:REAR WHEEL SEAL | 01)DRIVETRAIN AUSTRALIA,01)IFI15067,GUARD,01)REAR WHEEL SEAL | IFI15067 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI15067 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE | REAR WHEEL SEAL | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1213223 | 1213223 | GUARD;DRVT,IFI16111,FNGR | GUARD;MNFR:DRIVETRAIN,PTNO:IFI16111,ADDITIONAL FEATURES EN:FINGER | 01)DRIVETRAIN AUSTRALIA,01)IFI16111,GUARD,01)FINGER | IFI16111 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16111 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE | FINGER | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1275559 | 1275559 | GUARD;DRVT,IFI23616 | GUARD;MNFR:DRIVETRAIN,PTNO:IFI23616 | 01)DRIVETRAIN,01)IFI23616,GUARD | IFI23616 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23616 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1324332 | 1324332 | GUARD;FAN IMPELLER, FINGER,SQ 120 MM | GUARD;TYPE:FAN IMPELLER, FINGER,SIZE:SQ 120 MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:CONVEYANCE BATTERY CHARGER,MNFR:ABB,PTNO:COO- FAN-00060 | FAN IMPELLER, FINGER,SQ 120 MM,METAL,01)CONVEYANCE BATTERY CHARGER,GUARD | COO-FAN-00060 | 3000014 | ABB | ABB | COO-FAN-00060 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40101605 Fan guards or accessories | GUARD | NO MODIFIER | TYPE | FAN IMPELLER,FINGER | SIZE | SQ 120 MM | MATERIAL | METAL | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CONVEYANCE BATTERY CHARGER | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269047 | 1269047 | GUARD;MILW,204322029,GRNDG,5 IN | GUARD;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:204322029,ADDITIONAL FEATURES EN:GRINDING,5 IN | 01)TOOL 'N' TACKLE,01)204322029,GUARD,01)GRINDING,5 IN | 204322029 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 204322029 |  | TOOL 'N' TACKLE |  |  |  | https://products.centenarypowertools.com.au/orders/index.php?content=products&InventoryID=157CF88CFC1041BE8C60&ref=Category2ID%3D91412139BFDD45E6AB01%26InventoryID%3D%26page%3D2%26content%3Dproducts%26Category1ID%3D9B1961CE4EEB454DA576 | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE | GRINDING | SIZE | 5 IN | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1269055 | 1269055 | GUARD;MILW,541440001,CLIP ON,125MM | GUARD;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:541440001,ADDITIONAL FEATURES EN:CLIP ON,125MM | 01)TOOL 'N' TACKLE,01)541440001,GUARD,01)CLIP ON,125MM | 541440001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 541440001 |  | TOOL 'N' TACKLE |  |  |  | https://www.primesupplies.com.au/product/clip-on-guard-125mm-type-1/ | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE | CLIP-ON | SIZE | 125 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268721 | 1268721 | GUARD;SEW,13741942,FAN MOTOR,SUIT PBSM | GUARD;MNFR:SEW EURODRIVE,PTNO:13741942,ADDITIONAL FEATURES EN:FAN MOTOR,SUIT PBSM LONG TRAVEL MOTORS-FAN GUARD DR112/132 BE | 01)SEW EURODRIVE PTY LTD,01)13741942,GUARD,01)FAN MOTOR,SUIT PBSM LONG T | 13741942 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | 13741942 | [5 empty] | https://www.bdiexpress.com/sk/en/Mechanical-Power-Transmission/FAN-GUARD-DR112-132-BE/p/18693218?null | [10 empty] | Enriched | 40101605 Fan guards or accessories | GUARD | NO MODIFIER | TYPE | FAN | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PBSM LONG TRAVEL MOTORS | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274117 | 1274117 | GUARD;WEI,40709LAAB060MMEA | GUARDA;MNFR:WEIR,PTNO:40709LAAB060MMEA, | GUARD | 40709LAAB060MMEA | 3000036 | WEIR | WEIR | 40709LAAB060MMEA | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211210 | 1211210 | GUARD;WEI,B277-1TE02,DRIVEGUARD, TACHO H | GUARD;MNFR:WEIR,PTNO:B277-1TE02,ADDITIONAL FEATURES EN:DRIVEGUARD, TACHO HOLE, PAINTED | 01)WEIR MINERALS AUSTRALIA L,01)B277-1TE02,GUARD,01)DRIVEGUARD, TACHO HOLE, PAI | B277-1TE02 | 3000036 | WEIR | WEIR | B277-1TE02 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE | DRIVE,TACHO HOLE,PAINTED | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1274118 | 1274118 | GUARD;WEI,MFGU0032Z0003 | GUARDA;MNFR:WEIR,PTNO:MFGU0032Z0003, | GUARD | MFGU0032Z0003 | 3000036 | WEIR | WEIR | MFGU0032Z0003 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23150000 Industrial process machinery and equipment and supplies | GUARD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1220248 | 1220248 | KEY;CASJ,294220A1LF | KEY;MNFR:CASE J I CO,PTNO:294220A1LF | 01)QMAC MACHINERY PTY LTD,01)294220A1LF,KEY | 294220A1LF | 3000248 | CASE J I CO | CASE J I CO | 294220A1LF |  | QMAC MACHINERY PTY LTD |  |  |  | https://www.stokker.ee/bucket-tooth-key-new-holland-c-294220a1lf-nh | https://parts.southeasternequip.com/product/case-locking-bucket-tooth-key-294220a1lf/ | [9 empty] | Enriched | 31163200 Retaining hardware | KEY | NO MODIFIER | TYPE | BUCKET TOOTH | SIZE | 48 LGX16.8 WDX10 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268423 | 1268423 | KEY;FLOW,105261/1215,A,IMPLR | KEY;MNFR:FLOWSERVE,PTNO:105261/1215,ADDITIONAL FEATURES EN:A,IMPELLER | 01)FLOWSERVE AUSTRALIA,01)105261/1215,KEY,01)A,IMPELLER | 105261/1215 | 3000277 | FLOWSERVE | FLOWSERVE | 105261/1215 | [5 empty] | URL Not Found | [9 empty] | A | Cleansed | 31163207 Shaft or woodruff keys | KEY | SHAFT | TYPE | IMPELLER | SIZE |  | DIAMETER |  | MATERIAL |  | THICKNESS |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268424 | 1268424 | KEY;FLOW,105262/121 15,B,IMPLR | KEY;MNFR:FLOWSERVE,PTNO:105262/121 15,ADDITIONAL FEATURES EN:B,IMPELLER | 01)FLOWSERVE AUSTRALIA,01)105262/121 15,KEY,01)B,IMPELLER | 105262/121 15 | 3000277 | FLOWSERVE | FLOWSERVE | 105262/12115 | [5 empty] | URL Not Found | [9 empty] | B | Cleansed | 31163207 Shaft or woodruff keys | KEY | SHAFT | TYPE | IMPELLER | SIZE |  | DIAMETER |  | MATERIAL |  | THICKNESS |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268425 | 1268425 | KEY;FLOW,105263/1215,C,IMPLR | KEY;MNFR:FLOWSERVE,PTNO:105263/1215,ADDITIONAL FEATURES EN:C,IMPELLER | 01)FLOWSERVE AUSTRALIA,01)105263/1215,KEY,01)C,IMPELLER | 105263/1215 | 3000277 | FLOWSERVE | FLOWSERVE | 105263/1215 | [5 empty] | URL Not Found | [9 empty] | C | Cleansed | 31163207 Shaft or woodruff keys | KEY | SHAFT | TYPE | IMPELLER | SIZE |  | DIAMETER |  | MATERIAL |  | THICKNESS |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268426 | 1268426 | KEY;FLOW,105264/1215,CPLG | KEY;MNFR:FLOWSERVE,PTNO:105264/1215,ADDITIONAL FEATURES EN:COUPLING | 01)FLOWSERVE AUSTRALIA,01)105264/1215,KEY,01)COUPLING | 105264/1215 | 3000277 | FLOWSERVE | FLOWSERVE | 105264/1215 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31163207 Shaft or woodruff keys | KEY | SHAFT | TYPE | COUPLING | SIZE |  | DIAMETER |  | MATERIAL |  | THICKNESS |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1211125 | 1211125 | KEY;SIE,70116098,A 10 X 8 X 32, DRAWING | KEY;MNFR:SIEMENS,PTNO:70116098,ADDITIONAL FEATURES EN:A 10 X 8 X 32, DRAWING NO: 17856915, POSITION NO: 34 (INLET GUIDE V | 01)SIEMENS ENERGY PTY LTD,01)70116098,KEY,01)A 10 X 8 X 32, DRAWING NO: | 70116098 | 3000032 | SIEMENS | SIEMENS | 70116098 | [5 empty] | URL Not Found |  |  | 17856915 |  | POS 34 | [5 empty] | Cleansed | 31163200 Retaining hardware | KEY | NO MODIFIER | TYPE |  | SIZE | 10X8X32 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR INLET GUIDE VANE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1213848 | 1213848 | RATCHET;ABB,HSBA432674P0001 | RATCHET;MNFR:ABB,PTNO:HSBA432674P0001 | RATCHET | HSBA432674P0001 | 3000014 | ABB | ABB | HSBA432674P0001 | [5 empty] | https://site.china.cn/qtgongkongxitongjizb/4316359144.html | [10 empty] | Cleansed | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE |  | DRIVE SIZE |  | DRIVE TYPE |  | OVERALL LENGTH |  | MATERIAL |  | COATING/FINISH |  | HEAD DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 | Length Conflict BW Input & Web, Web Values are Considered | 1219578 | 1219578 | RATCHET;MILW,48229012,1/2" DR,280MM | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229012,ADDITIONAL FEATURES EN:1/2" DR,280MM | 01)MOUNT ISA MINING SUPPLIES,01)48229012,RATCHET,01)1/2" DR,280MM | 48229012 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229012 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/ratchets/48229012.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | DRIVE,90 TOOTH DESIGN | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | OVERALL LENGTH | 270 MM | MATERIAL |  | COATING/FINISH | CHROME | HEAD DETAILS | SLIM PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ARC SWING:4 DEG,SIZE:38 WDX38 HT MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1268360 | 1268360 | RATCHET;MILW,48229050,1/2IN DVE,457MM | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229050,ADDITIONAL FEATURES EN:1/2IN DVE,457MM | 01)MOUNT ISA MINING SUPPLIES,01)48229050,RATCHET,01)1/2IN DVE,457MM | 48229050 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229050 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/ratchets/48229050.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | FIXED HEAD,90 TOOTH DESIGN | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | OVERALL LENGTH | 457 MM | MATERIAL |  | COATING/FINISH | CHROME | HEAD DETAILS | SLIM PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ARC SWING:4 DEG,SIZE:43 WDX36 HT MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1216333 | 1216333 | RATCHET;MILW,M12FIR12-0,1/2 IN ,IMPACT,T | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FIR12-0,ADDITIONAL FEATURES EN:1/2 IN ,IMPACT,TOOL ONLY | 01)ASHDOWN ENTERPRISES,01)M12FIR12-0,RATCHET,01)1/2 IN ,IMPACT,TOOL ONLY | M12FIR12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FIR12-0 |  | ASHDOWN ENTERPRISES |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/ratchets/M12FIR12-0.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | IMPACT,CORDLESS,PNEUMATIC | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | OVERALL LENGTH | 317.5 MM | MATERIAL | CAST STEEL | COATING/FINISH |  | HEAD DETAILS | LOW PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY,TORQUE RATING:81 NM,VOLTAGE RATING:12 V | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1271240 | 1271240 | RATCHET;MILW,M12FIR38-0 | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FIR38-0 |  | M12FIR38-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FIR38-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/ratchets/M12FIR38-0.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | IMPACT,CORDLESS,PNEUMATIC | DRIVE SIZE | 3/8 IN | DRIVE TYPE |  | OVERALL LENGTH | 302.3 MM | MATERIAL | CAST STEEL | COATING/FINISH |  | HEAD DETAILS | LOW PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY,TORQUE RATING:74 NM,NO LOAD SPEED:0 TO 200 RPM,VOLTAGE RATING:12 V | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1258684 | 1258684 | RATCHET;MILW,M12IRO,3/8 IMPACT-SKIN M12 | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12IRO,ADDITIONAL FEATURES EN:3/8 IMPACT-SKIN M12 |  | M12IRO | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12IRO | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/ratchets/M12IR-0.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | IMPACT,CORDLESS,PNEUMATIC | DRIVE SIZE | 3/8 IN | DRIVE TYPE |  | OVERALL LENGTH | 273 MM | MATERIAL |  | COATING/FINISH |  | HEAD DETAILS | 19 MM WD LOW PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLATFORM:M12™,VOLTAGE RATING:12 V,TORQUE RATING:47 NM,NO LOAD SPEED:0 TO 250 RPM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-28 |  | 1210690 | 1210690 | RATCHET;MILW,MIWM12FIR12-0 | RATCHET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MIWM12FIR12-0 |  | MIWM12FIR12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MIWM12FIR12-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/ratchets/M12FIR12-0.html | [10 empty] | Enriched | 27111711 Ratchets | RATCHET | NO MODIFIER | TYPE | IMPACT,CORDLESS,PNEUMATIC | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | OVERALL LENGTH | 317.5 MM | MATERIAL | CAST STEEL | COATING/FINISH |  | HEAD DETAILS | LOW PROFILE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TORQUE RATING:81 NM,VOLTAGE RATING:12 V | [53 empty] | Production Completed