## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1333366 | 1333366 | CABLE,ELEC;DIEC,4C.0A019577 | CABLE,ELECTRICAL;MNFR:DIECI,PTNO:4C.0A019577,ADDITIONAL FEATURES EN:POSITIVE BATTERY | CABLE,ELECTRICAL,01)POSITIVE BATTERY | 4C.0A019577 | 3000511 | DIECI | DIECI | 4C.0A019577 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 26121600 Electrical cable and accessories | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR POSITIVE BATTERY | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1275825 | 1275825 | CABLE,INSTR;ENDH,58019489,MEAS,CYK10,MEM | CABLE,INSTRUMENT;MNFR:ENDRESS & HAUSER,PTNO:58019489,ADDITIONAL FEATURES EN:MEAS,CYK10,MEMOSENS | 01)ENDRESS AND HAUSER AUSTRA,01)58019489,CABLE,INSTRUMENT,01)MEAS,CYK10,MEMOSENS | 58019489 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | CYK10 | ENDRESS & HAUSER |  | 58019489 |  |  | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/digital-measuring-cable-cyk10?t.tabId=product-overview | [10 empty] | Enriched | 26121642 Instrumentation Cable | CABLE | INSTRUMENT | TYPE | DIGITAL MEASURING | DIAMETER | 6.3 MM | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS | 2 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | TPE | INSULATION MATERIAL |  | END CONNECTION | M12 | VOLTAGE RATING |  | TEMPERATURE RATING | -25 TO 135 DEG C | LENGTH | 100 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:MEMOSENS | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272410 | 1272410 | CABLE;ENDH,71349260,STRGT,2 M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349260,ADDITIONAL FEATURES EN:STRAIGHT,2 M,4X0.34,M12 CONNECTOR,SET,4 PIN,CABLE OUTER MATERIAL: PUR,PICOMAG |  | 71349260 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349260 | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/configuration/46283?55393=297623&55394=297625 | [10 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | STRAIGHT | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [42 empty] | CABLE OUTER MATERIAL: PUR,PICOMAG | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272411 | 1272411 | CABLE;ENDH,71349261,STRGT,5 M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349261,ADDITIONAL FEATURES EN:STRAIGHT,5 M,4X0.34,M12 CONNECTOR,SET,4 PIN,CABLE OUTER MATERIAL: PUR,PICOMAG |  | 71349261 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349261 | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/configuration/46283?55393=297623&55394=297626 | [10 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | STRAIGHT | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [42 empty] | CABLE OUTER MATERIAL: PUR,PICOMAG | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272412 | 1272412 | CABLE;ENDH,71349262,STRGT,10M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349262,ADDITIONAL FEATURES EN:STRAIGHT,10M,4X0.34,M12,SET,4 PIN,CABLE OUTER MATERIAL: PUR, PICOMAG |  | 71349262 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349262 | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/configuration/46283?55393=297623&55394=297627 | [10 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | STRAIGHT | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [42 empty] | CABLE OUTER MATERIAL: PUR,PICOMAG | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272413 | 1272413 | CABLE;ENDH,71349263,90 DEG,2M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349263,ADDITIONAL FEATURES EN:90 DEG,2M,4X0.34,M12 CONNECTOR,SET,4 PIN, CABLE OUTER MATERIAL: PUR,PICOMAG |  | 71349263 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349263 | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/configuration/46283?55393=297624&55394=297628 | [10 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | 90 DEG | TEMPERATURE RATING |  | LENGTH | 2 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [42 empty] | CABLE OUTER MATERIAL: PUR,PICOMAG | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272414 | 1272414 | CABLE;ENDH,71349264,90 DEG,5M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349264,ADDITIONAL FEATURES EN:90 DEG,5M,4X0.34,M12 CONNECTOR,SET,4 PIN,CABLE OUTER MATERIAL: PIR, PICOMAG |  | 71349264 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349264 | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/configuration/46283?55393=297624&55394=297629 | [10 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | 90 DEG | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [42 empty] | CABLE OUTER MATERIAL: PIR,PICOMAG | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272415 | 1272415 | CABLE;ENDH,71349265,90DEG,10M,4X0.34,M12 | CABLE;MNFR:ENDRESS & HAUSER,PTNO:71349265,ADDITIONAL FEATURES EN:90DEG,10M,4X0.34,M12 CONNECTOR,SET,4 PIN,CABLE OUTER MATERIAL: PUR, PICOMAG |  | 71349265 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 71349265 | ENDRESS & HAUSER |  |  |  |  | https://www.usabluebook.com/p-393028-endresshauser-connection-cable-328l-with-90deg-m12-4-pin-connector-71349265.aspx | https://www.instrumart.com/configuration/46283?55393=297624&55394=297630 | [9 empty] | Enriched | 26121629 Power cable | CABLE | POWER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE | 0.34 MM | NUMBER OF CONDUCTORS |  | CORE STRANDS | 4 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PUR | INSULATION MATERIAL |  | BEND RADIUS | 90 DEG | TEMPERATURE RATING |  | LENGTH | 10 M | JACKET COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:SET,CONNECTOR:M12,NUMBER OF PINS:4,FOR PICOMAG | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1276433 | 1276433 | CABLE;ENDH,CYK10-A201,DIGITAL MEASURING | CABLE;MNFR:ENDRESS & HAUSER,PTNO:CYK10-A201,ADDITIONAL FEATURES EN:DIGITAL MEASURING,20M,CORES:2X2CORES,TWISTED PAIRS,CABLE SHEATH: TPE,JUNCTION BOX:ALUMINUM,PROCESS TEMP:-25 TO 135 DEG C,DIA:6.3MM,IP68 | 01)ENDRESS AND HAUSER AUSTRA,01)CYK10-A201,CABLE,01)DIGITAL MEASURING,20M,02)CORES:2X2CORES,TWISTED PAIR,03)CABLE SHEATH:TPE,JUNCTION B,04)PROCESS TEMP:-25 TO 135 DEG,05)DIA:6.3MM,IP68 | CYK10-A201 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | CYK10-A201 | ENDRESS & HAUSER |  |  |  |  | https://www.nexinstrument.com/cyk10-a201 | [10 empty] | Enriched | 26121642 Instrumentation Cable | CABLE | INSTRUMENT | TYPE | DIGITAL MEASURING,TWISTED PAIR | DIAMETER | 6.3 MM | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS | 2 | CORE STRANDS | 2 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | TPE | INSULATION MATERIAL |  | END CONNECTION | M12 | VOLTAGE RATING |  | TEMPERATURE RATING | -25 TO 135 DEG C | LENGTH | 20 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | JUNCTION BOX MATERIAL:ALUMINUM,ENCLOSURE:IP68 | [40 empty] | CORES:2X2CORES,TWISTED PAIRS,CABLE SHEATH: TPE,JUNCTION BOX:ALUMINUM,PROCESS TEMP:-25 TO 135 DEG C,DIA:6.3MM,IP68 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1333001 | 1333001 | FUSE;DIEC,4C.163010 | FUSE;MNFR:DIECI,PTNO:4C.163010,ADDITIONAL FEATURES EN:CURRENT RATING:3 A | FUSE,01)CURRENT RATING:3 A | 4C.163010 | 3000511 | DIECI | DIECI | 4C.163010 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 3 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252943 | 1252943 | FUSE;DIEC,4C.163028 | FUSE;MNFR:DIECI,PTNO:4C.163028,ADDITIONAL FEATURES EN:CURRENT RATING:50 A | FUSE,01)CURRENT RATING:50 A | 4C.163028 | 3000511 | DIECI | DIECI | 4C.163028 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 50 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252942 | 1252942 | FUSE;DIEC,4C.163029 | FUSE;MNFR:DIECI,PTNO:4C.163029,ADDITIONAL FEATURES EN:CURRENT RATING:80 A | FUSE,01)CURRENT RATING:80 A | 4C.163029 | 3000511 | DIECI | DIECI | 4C.163029 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252835 | 1252835 | FUSE;DIEC,4C.163031 | FUSE;MNFR:DIECI,PTNO:4C.163031,ADDITIONAL FEATURES EN:CURRENT RATING:5 A | FUSE,01)CURRENT RATING:5 A | 4C.163031 | 3000511 | DIECI | DIECI | 4C.163031 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 5 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252944 | 1252944 | FUSE;DIEC,4C.163034 | FUSE;MNFR:DIECI,PTNO:4C.163034,ADDITIONAL FEATURES EN:CURRENT RATING:40 A | FUSE,01)CURRENT RATING:40 A | 4C.163034 | 3000511 | DIECI | DIECI | 4C.163034 | DIECI |  |  |  |  | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-4C.163034 | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252945 | 1252945 | FUSE;DIEC,4C.163046 | FUSE;MNFR:DIECI,PTNO:4C.163046,ADDITIONAL FEATURES EN:CURRENT RATING:20 A | FUSE,01)CURRENT RATING:20 A | 4C.163046 | 3000511 | DIECI | DIECI | 4C.163046 | DIECI |  |  |  |  | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-4C.163046 | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1333002 | 1333002 | FUSE;DIEC,4C.163070 | FUSE;MNFR:DIECI,PTNO:4C.163070,ADDITIONAL FEATURES EN:CURRENT RATING:1 A | FUSE,01)CURRENT RATING:1 A | 4C.163070 | 3000511 | DIECI | DIECI | 4C.163070 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 1 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1335492 | 1335492 | KIT;ABB,3ADT220143R1020 | KIT;MNFR:ABB,PTNO:3ADT220143R1020 | KIT | 3ADT220143R1020 | 3000014 | ABB | ABB | 3ADT220143R1020 | ABB |  |  |  |  | https://new.abb.com/products/3ADT220143R1020/3adt220143r1020 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | REBUILT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1335491 | 1335491 | KIT;ABB,3ADT220143R2000 | KIT;MNFR:ABB,PTNO:3ADT220143R2000 | KIT | 3ADT220143R2000 | 3000014 | ABB | ABB | 3ADT220143R2000 | ABB |  |  |  |  | https://new.abb.com/products/3ADT220143R2000/3adt220143r2000 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | REBUILT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271920 | 1271920 | KIT;CORN,OSE-CBL-34,CABLE ENTRY,BLU,35MM | KIT;MNFR:CORNING INC,PTNO:OSE-CBL-34,ADDITIONAL FEATURES EN:CABLE ENTRY,BLUE,35MM HOLE SIZE,CABLE DIAMETER RANGE: 9.5 - 12.7 MM |  | OSE-CBL-34 | 3000256 | CORNING INC | CORNING INC | OSE-CBL-34 | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | ENTRY | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER | 9.5 TO 12.7 MM | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:BLUE,HOLE SIZE:35 MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271921 | 1271921 | KIT;CORN,OSE-CBL-35,CABLE ENTRY,BRN,35MM | KIT;MNFR:CORNING INC,PTNO:OSE-CBL-35,ADDITIONAL FEATURES EN:CABLE ENTRY,BROWN,35MM HOLE SIZE,CABLE DIAMETER RANGE: 12.7 - 15.9 MM |  | OSE-CBL-35 | 3000256 | CORNING INC | CORNING INC | OSE-CBL-35 | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | ENTRY | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER | 12.7 TO 15.9 MM | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:BROWN,HOLE SIZE:35 MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271922 | 1271922 | KIT;CORN,OSE-CBL-36,CABLE ENTRY,YEL,35MM | KIT;MNFR:CORNING INC,PTNO:OSE-CBL-36,ADDITIONAL FEATURES EN:CABLE ENTRY,YELLOW,35MM HOLE SIZE,CABLE DIAMETER RANGE: 15.9 - 19 MM |  | OSE-CBL-36 | 3000256 | CORNING INC | CORNING INC | OSE-CBL-36 | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | ENTRY | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER | 15.9 TO 19 MM | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:YELLOW,HOLE SIZE:35 MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271923 | 1271923 | KIT;CORN,OSE-CBL-37,CABLE ENTRY,PURPL | KIT;MNFR:CORNING INC,PTNO:OSE-CBL-37,ADDITIONAL FEATURES EN:CABLE ENTRY,PURPLE, 35MM HOLE SIZE, CABLE DIAMETER RANGE: 19 - 22.2 MM |  | OSE-CBL-37 | 3000256 | CORNING INC | CORNING INC | OSE-CBL-37 | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | ENTRY | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER | 19 TO 22.2 MM | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:PURPLE,HOLE SIZE:35 MM | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271917 | 1271917 | KIT;CORN,OSE-LD-HD-LOCK-KIT,DOOR LOCKING | KIT;MNFR:CORNING INC,PTNO:OSE-LD-HD-LOCK-KIT,ADDITIONAL FEATURES EN:DOOR LOCKING |  | OSE-LD-HD-LOCK-KIT | 3000256 | CORNING INC | CORNING INC | OSE-LD-HD-LOCK-KIT | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | DOOR LOCKING | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER |  | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271918 | 1271918 | KIT;CORN,OSE-LD-HD-TSLT-KIT,MNTG,T-SLOT | KIT;MNFR:CORNING INC,PTNO:OSE-LD-HD-TSLT-KIT,ADDITIONAL FEATURES EN:MOUNTING,T-SLOT |  | OSE-LD-HD-TSLT-KIT | 3000256 | CORNING INC | CORNING INC | OSE-LD-HD-TSLT-KIT | CORNING INC |  |  |  |  | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | Enriched | 39121722 Wire and cable pulling device | SPLICE KIT | CABLE | TYPE | MOUNTING,T-SLOT | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CABLE INSULATION DIAMETER |  | LENGTH |  | SPLICES PER KIT |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1252955 | 1252955 | KIT;DIEC,4M.U109AA | KIT;MNFR:DIECI,PTNO:4M.U109AA,ADDITIONAL FEATURES EN:ELECTRIC FAN | KIT,01)ELECTRIC FAN | 4M.U109AA | 3000511 | DIECI | DIECI | 4M.U109AA | DIECI |  |  |  |  | https://goldytech.com.ua/ua/p1222839781-4mu109aa-elektroventilyator-diyechi.html | [10 empty] | Cleansed | 40101604 Fans | FAN | ELECTRICAL | TYPE |  | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE |  | OVERALL SIZE |  | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252954 | 1252954 | KIT;DIEC,4M.U110AA | KIT;MNFR:DIECI,PTNO:4M.U110AA,ADDITIONAL FEATURES EN:ELECTRIC FAN | KIT,01)ELECTRIC FAN | 4M.U110AA | 3000511 | DIECI | DIECI | 4M.U110AA | DIECI |  |  |  |  | https://www.lbr.ru/zapchasti/komplekt-ventilatora-4m-u110aa | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | ELECTRIC FAN | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252855 | 1252855 | KIT;DIEC,4M-U28AA | KIT;MNFR:DIECI,PTNO:4M-U28AA,ADDITIONAL FEATURES EN:CASING | KIT,01)CASING | 4M-U28AA | 3000511 | DIECI | DIECI | 4M-U28AA | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | CASING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213105 | 1213105 | KIT;DRVT,IFI01399,REAR STEP | KIT;MNFR:DRIVETRAIN,PTNO:IFI01399,ADDITIONAL FEATURES EN:REAR STEP | 01)DRIVETRAIN AUSTRALIA,01)IFI01399,KIT,01)REAR STEP | IFI01399 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01399 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | REAR STEP | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213141 | 1213141 | KIT;DRVT,IFI03053,STRAP BOLT | KIT;MNFR:DRIVETRAIN,PTNO:IFI03053,ADDITIONAL FEATURES EN:STRAP BOLT | 01)DRIVETRAIN AUSTRALIA,01)IFI03053,KIT,01)STRAP BOLT | IFI03053 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI03053 | DRIVETRAIN |  |  |  |  | https://shop.bullpowertrain.com/products/ifi03053 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | STRAP BOLT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213162 | 1213162 | KIT;DRVT,IFI04080,SELF-ADJ | KIT;MNFR:DRIVETRAIN,PTNO:IFI04080,ADDITIONAL FEATURES EN:SELF-ADJ | 01)DRIVETRAIN AUSTRALIA,01)IFI04080,KIT,01)SELF-ADJ | IFI04080 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI04080 | DRIVETRAIN |  |  |  |  | https://machineryline.ie/-/sale/repair-kits/wheel-loader/CARRARO-SELF-ADJUST-KIT-TYPES-FREN-AYAR-TAKIMI-cEsiTLERi---20040910592917396800 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | SELF ADJUSTABLE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213342 | 1213342 | KIT;DRVT,IFI26891,WIRING CONVERTER | KIT;MNFR:DRIVETRAIN,PTNO:IFI26891,ADDITIONAL FEATURES EN:WIRING CONVERTER | 01)DRIVETRAIN AUSTRALIA,01)IFI26891,KIT,01)WIRING CONVERTER | IFI26891 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI26891 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | WIRING CONVERTER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213367 | 1213367 | KIT;DRVT,IFI27724,TRUN | KIT;MNFR:DRIVETRAIN,PTNO:IFI27724,ADDITIONAL FEATURES EN:TRUNNION |  | IFI27724 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27724 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | TRUNNION | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213403 | 1213403 | KIT;DRVT,IFI31301,DIFFRNTL | KIT;MNFR:DRIVETRAIN,PTNO:IFI31301,ADDITIONAL FEATURES EN:DIFFERENTIAL |  | IFI31301 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31301 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | DIFFERENTIAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213428 | 1213428 | KIT;DRVT,IFI31362,SEAL | KIT;MNFR:DRIVETRAIN,PTNO:IFI31362,ADDITIONAL FEATURES EN:SEAL |  | IFI31362 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31362 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213473 | 1213473 | KIT;DRVT,IFI32861,CAMR | KIT;MNFR:DRIVETRAIN,PTNO:IFI32861,ADDITIONAL FEATURES EN:CAMERA |  | IFI32861 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32861 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 45121518 Camera kits | KIT | NO MODIFIER | TYPE | CAMERA | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213495 | 1213495 | KIT;DRVT,IFI33428,HSE,AXLE | KIT;MNFR:DRIVETRAIN,PTNO:IFI33428,ADDITIONAL FEATURES EN:HOSE,AXLE |  | IFI33428 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33428 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | HOSE,AXLE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213506 | 1213506 | KIT;DRVT,IFI33567,HUB,WHL | KIT;MNFR:DRIVETRAIN,PTNO:IFI33567,ADDITIONAL FEATURES EN:HUB,WHEEL |  | IFI33567 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33567 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | HUB,WHEEL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213038 | 1213038 | KIT;DRVT,IFI36665,SHIM | KIT;MNFR:DRIVETRAIN,PTNO:IFI36665,ADDITIONAL FEATURES EN:SHIM | 01)DRIVETRAIN AUSTRALIA,01)IFI36665,KIT,01)SHIM | IFI36665 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI36665 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | SHIM | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213533 | 1213533 | KIT;DRVT,IFI81082,AUTO-BRAKE CONTROLLER | KIT;MNFR:DRIVETRAIN,PTNO:IFI81082,ADDITIONAL FEATURES EN:AUTO-BRAKE CONTROLLER |  | IFI81082 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81082 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | AUTO-BRAKE CONTROLLER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213535 | 1213535 | KIT;DRVT,IFI81154,BOLT,FRONT AXLE | KIT;MNFR:DRIVETRAIN,PTNO:IFI81154,ADDITIONAL FEATURES EN:BOLT,FRONT AXLE |  | IFI81154 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81154 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | BOLT,FRONT AXLE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1272002 | 1272002 | KIT;DRVT,IFI81254,CONDNSR | KIT;MNFR:DRIVETRAIN,PTNO:IFI81254,ADDITIONAL FEATURES EN:CONDENSER | 01)DRIVETRAIN AUSTRALIA,01)IFI81254,KIT,01)CONDENSER | IFI81254 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81254 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | CONDENSER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213538 | 1213538 | KIT;DRVT,IFI81429,STRUT,BONNET,RH | KIT;MNFR:DRIVETRAIN,PTNO:IFI81429,ADDITIONAL FEATURES EN:STRUT,BONNET,RH |  | IFI81429 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81429 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | STRUT,BONNET,RIGHT HAND | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213539 | 1213539 | KIT;DRVT,IFI81430,STRUT,BONNET,LH | KIT;MNFR:DRIVETRAIN,PTNO:IFI81430,ADDITIONAL FEATURES EN:STRUT,BONNET,LH |  | IFI81430 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81430 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | STRUT,BONNET,LEFT HAND | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213548 | 1213548 | KIT;DRVT,SPKIFI12835,SOFT PARTS,FR | KIT;MNFR:DRIVETRAIN,PTNO:SPKIFI12835,ADDITIONAL FEATURES EN:SOFT PARTS,FRONT |  | SPKIFI12835 | 3000461 | DRIVETRAIN | DRIVETRAIN | SPKIFI12835 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | SOFT PART,FRONT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213549 | 1213549 | KIT;DRVT,SPKIFI12836,SOFT PARTS,RR | KIT;MNFR:DRIVETRAIN,PTNO:SPKIFI12836,ADDITIONAL FEATURES EN:SOFT PARTS,REAR |  | SPKIFI12836 | 3000461 | DRIVETRAIN | DRIVETRAIN | SPKIFI12836 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | SOFT PART,REAR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252831 | 1252831 | LIGHT,INDCTG;DIEC,4C.0213730000A3 | LIGHT,INDICATING;MNFR:DIECI,PTNO:4C.0213730000A3,ADDITIONAL FEATURES EN:HEAD REAR, LH | LIGHT,INDICATING,01)HEAD REAR, LH | 4C.0213730000A3 | 3000511 | DIECI | DIECI | 4C.0213730000A3 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | HEAD,REAR,LEFT HAND | LAMP WATTAGE |  | LENS COLOUR |  | VOLTAGE RATING |  | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1333347 | 1333347 | LIGHT,INDCTG;DIEC,4C.0213740000A3 | LIGHT,INDICATING;MNFR:DIECI,PTNO:4C.0213740000A3,ADDITIONAL FEATURES EN:REAR, RH | LIGHT,INDICATING,01)REAR, RH | 4C.0213740000A3 | 3000511 | DIECI | DIECI | 4C.0213740000A3 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | HEAD,REAR,RIGHT HAND | LAMP WATTAGE |  | LENS COLOUR |  | VOLTAGE RATING |  | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1252967 | 1252967 | LIGHT,WRNG;DIEC,4C.110468 | LIGHT,WARNING;MNFR:DIECI,PTNO:4C.110468,ADDITIONAL FEATURES EN:MAGNETIC ROTATING,VOLTAGE RATING:12 V | LIGHT,WARNING,01)MAGNETIC ROTATING,VOLTAGE RATING:12 V | 4C.110468 | 3000511 | DIECI | DIECI | 4C.110468 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39111706 Strobe or warning lights | LIGHT | WARNING | TYPE | MAGNETIC ROTATING | LAMP WATTAGE |  | VOLTAGE RATING | 12 V | BASE TYPE |  | INTENSITY |  | COLOUR |  | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213265 | 1213265 | LIGHT,WRNG;DRVT,IFI23812,LED | LIGHT,WARNING;MNFR:DRIVETRAIN,PTNO:IFI23812,ADDITIONAL FEATURES EN:LED | 01)DRIVETRAIN AUSTRALIA,01)IFI23812,LIGHT,WARNING,01)LED | IFI23812 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23812 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39111706 Strobe or warning lights | LIGHT | WARNING | TYPE | LED | LAMP WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | INTENSITY |  | COLOUR |  | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266939 | 1266939 | LIGHT;AB,800FPP0,PLT,AMBR,22M,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP0,ADDITIONAL FEATURES EN:PILOT,AMBER,22M,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP0,LIGHT,01)PILOT,AMBER,22M,PLASTIC | 800FPP0 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP0 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP0-2764-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | AMBER | VOLTAGE RATING | 240 VAC | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266940 | 1266940 | LIGHT;AB,800FPP3,PLT,GRN,22MM,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP3,ADDITIONAL FEATURES EN:PILOT,GREEN,22MM,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP3,LIGHT,01)PILOT,GREEN,22MM,PLASTIC | 800FPP3 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP3 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP3-2765-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 240 VAC | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266941 | 1266941 | LIGHT;AB,800FPP4,PLT,RED,22M,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP4,ADDITIONAL FEATURES EN:PILOT,RED,22M,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP4,LIGHT,01)PILOT,RED,22M,PLASTIC | 800FPP4 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP4 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP4-2767-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING |  | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266942 | 1266942 | LIGHT;AB,800FPP5,PLT,YEL,22MM,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP5,ADDITIONAL FEATURES EN:PILOT,YELLOW,22MM,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP5,LIGHT,01)PILOT,YELLOW,22MM,PLASTIC | 800FPP5 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP5 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP5-2770-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | YELLOW | VOLTAGE RATING |  | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266943 | 1266943 | LIGHT;AB,800FPP6,PLT,BLU,22MM,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP6,ADDITIONAL FEATURES EN:PILOT,BLUE,22MM,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP6,LIGHT,01)PILOT,BLUE,22MM,PLASTIC | 800FPP6 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP6 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP6-2773-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | BLUE | VOLTAGE RATING |  | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1266944 | 1266944 | LIGHT;AB,800FPP7,PLT,WHT,22MM,PLSTC | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800FPP7,ADDITIONAL FEATURES EN:PILOT,WHITE,22MM,PLASTIC | 01)NHP ELECTRICAL ENGINEERIN,01)800FPP7,LIGHT,01)PILOT,WHITE,22MM,PLASTIC | 800FPP7 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FPP7 | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800FPP7-2775-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | WHITE | VOLTAGE RATING |  | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | MATERIAL:PLASTIC | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1273583 | 1273583 | LIGHT;AB,800HCPRH16G,PLT,120 V,GREEN LED | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800HCPRH16G,ADDITIONAL FEATURES EN:PILOT,120 V,GREEN LED | 01)SHERRIFF ELECTRICAL SUPPL,01)800HCPRH16G,LIGHT,01)PILOT,120 V,GREEN LED | 800HCPRH16G | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800HCPRH16G | ALLEN BRADLEY |  |  |  |  | https://www.revereelectric.com/4629896/Product/Allen-Bradley-800H-PR16 | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 120 VAC | SIZE | 30 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1273582 | 1273582 | LIGHT;AB,800HCPRH16R,PLT,120 V,RED LED | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800HCPRH16R,ADDITIONAL FEATURES EN:PILOT,120 V,RED LED | 01)SHERRIFF ELECTRICAL SUPPL,01)800HCPRH16R,LIGHT,01)PILOT,120 V,RED LED | 800HCPRH16R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800HCPRH16R | ALLEN BRADLEY |  |  |  |  | https://www.revereelectric.com/4629896/Product/Allen-Bradley-800H-PR16 | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 120 VAC | SIZE | 30 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270917 | 1270917 | LIGHT;AB,800H-QRH2G,PLT,AC/DC,GRN | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800H-QRH2G,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:GREEN | EN_01)PILOT,EN_01)AC/DC,01)GREEN,01)ALLEN BRADLEY,01)800H-QRH2G,01)REXEL AUSTRALIA,01)800H-QRH2G | 800H-QRH2G | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800H-QRH2G | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800HQRH2G-161218-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 40.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270916 | 1270916 | LIGHT;AB,800H-QRH2R,PLT,AC/DC,RED | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800H-QRH2R,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:RED | EN_01)PILOT,EN_01)AC/DC,01)RED,01)ALLEN BRADLEY,01)800H-QRH2R,01)REXEL AUSTRALIA,01)800H-QRH2R | 800H-QRH2R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800H-QRH2R | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800HQRH2R-83851-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 40.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270918 | 1270918 | LIGHT;AB,800H-QRH2W,PLT,AC/DC,WHT | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800H-QRH2W,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:WHITE | EN_01)PILOT,EN_01)AC/DC,01)WHITE,01)ALLEN BRADLEY,01)800H-QRH2W,01)REXEL AUSTRALIA,01)800H-QRH2W | 800H-QRH2W | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800H-QRH2W | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800HQRH2W-161219-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | WHITE | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 40.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1211802 | 1211802 | LIGHT;AB,800TN376R | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800TN376R | 01)CNW (MOUNT ISA) ELECT WHO,01)800TN376R,LIGHT | 800TN376R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800TN376R | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800TN376R-234311-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING |  | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270914 | 1270914 | LIGHT;AB,800T-QH2G,PLT,AC/DC,GRN | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800T-QH2G,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:GREEN | EN_01)PILOT,EN_01)AC/DC,01)GREEN,01)ALLEN BRADLEY,01)800T-QH2G,01)REXEL AUSTRALIA,01)800T-QH2G | 800T-QH2G | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800T-QH2G | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800TQH2G-161236-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 37.7 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270913 | 1270913 | LIGHT;AB,800T-QH2R,PLT,AC/DC,RED | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800T-QH2R,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:RED | EN_01)PILOT,EN_01)AC/DC,01)RED,01)ALLEN BRADLEY,01)800T-QH2R,01)REXEL AUSTRALIA,01)800T-QH2R | 800T-QH2R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800T-QH2R | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800TQH2R-83848-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 37.7 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270915 | 1270915 | LIGHT;AB,800T-QH2W,PLT,AC/DC,WHT | LIGHT;MNFR:ALLEN BRADLEY,PTNO:800T-QH2W,TYPE:PILOT,POWER SUPPLY:AC/DC,ADDITIONAL FEATURES EN:WHITE | EN_01)PILOT,EN_01)AC/DC,01)WHITE,01)ALLEN BRADLEY,01)800T-QH2W,01)REXEL AUSTRALIA,01)800T-QH2W | 800T-QH2W | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800T-QH2W | ALLEN BRADLEY |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800TQH2W-234312-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | WHITE | VOLTAGE RATING | 12 TO 130 VAC/DC | SIZE | 37.7 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-1,ISO 13850,UL 508 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1326216 | 1326216 | LIGHT;ABB,1SFA 611 400 R1008 | LIGHT;MNFR:ABB,PTNO:1SFA 611 400 R1008 | LIGHT | 1SFA 611 400 R1008 | 3000014 | ABB | ABB | 1SFA 611 400 R1008 | ABB |  |  |  |  | https://new.abb.com/products/1SFA611400R1008/ml1-100c | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | ILLUMINATED,PILOT | LAMP WATTAGE |  | LENS COLOUR | CLEAR | VOLTAGE RATING |  | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1326217 | 1326217 | LIGHT;ABB,1SFA 611 605 R1200 | LIGHT;MNFR:ABB,PTNO:1SFA 611 605 R1200 | LIGHT | 1SFA 611 605 R1200 | 3000014 | ABB | ABB | 1SFA 611 605 R1200 | ABB |  |  |  |  | https://library.e.abb.com/public/870666130da670eac1256f9a00540c37/1SFC151002C0201.pdf | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE | 2 W | LENS COLOUR | RED | VOLTAGE RATING | 230 VAC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1326206 | 1326206 | LIGHT;ABB,1SFA 616 921 R2021 | LIGHT;MNFR:ABB,PTNO:1SFA 616 921 R2021 | LIGHT | 1SFA 616 921 R2021 | 3000014 | ABB | ABB | 1SFA 616 921 R2021 | ABB |  |  |  |  | https://library.e.abb.com/public/870666130da670eac1256f9a00540c37/1SFC151002C0201.pdf | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 24 VAC/DC | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1211644 | 1211644 | LIGHT;ABB,1SFA-611-400-R2018 | LIGHT;MNFR:ABB,PTNO:1SFA-611-400-R2018 | LIGHT | 1SFA-611-400-R2018 | 3000014 | ABB | ABB | 1SFA-611-400-R2018 | ABB |  |  |  |  | https://abb-control-products.partcommunity.com/3d-cad-models/ml1-modular-pilot-light-abb-low-voltage-systems?info=abb_ww%2Flow_voltage%2Fcontrol%2Fpilot_devices%2Foperators%2Fmodular_range%2Fpilot_lights%2Fml1.prj&cwid=7021 | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | MODULAR PILOT | LAMP WATTAGE |  | LENS COLOUR | CLEAR | VOLTAGE RATING |  | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1253001 | 1253001 | LIGHT;DIEC,4C.0510490000A3 | LIGHT;MNFR:DIECI,PTNO:4C.0510490000A3,ADDITIONAL FEATURES EN:HEAD,RH FRONT | LIGHT,01)HEAD,RH FRONT | 4C.0510490000A3 | 3000511 | DIECI | DIECI | 4C.0510490000A3 | DIECI |  |  |  |  | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-4C.0510490000A3 | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD,FRONT,RIGHT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1253005 | 1253005 | LIGHT;DIEC,4C.0510500000A3 | LIGHT;MNFR:DIECI,PTNO:4C.0510500000A3,ADDITIONAL FEATURES EN:FRONT HEADLIGHT, LH | LIGHT,01)FRONT HEADLIGHT, LH | 4C.0510500000A3 | 3000511 | DIECI | DIECI | 4C.0510500000A3 | DIECI |  |  |  |  | https://goldytech.com.ua/p1222839746-4c0510500000a3-fara-perednya.html | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD,FRONT,LEFT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1253000 | 1253000 | LIGHT;DIEC,4C.0510530000A3 | LIGHT;MNFR:DIECI,PTNO:4C.0510530000A3,ADDITIONAL FEATURES EN:HEAD,RH FRONT | LIGHT,01)HEAD,RH FRONT | 4C.0510530000A3 | 3000511 | DIECI | DIECI | 4C.0510530000A3 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD,FRONT,RIGHT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1253004 | 1253004 | LIGHT;DIEC,4C.0510540000A3 | LIGHT;MNFR:DIECI,PTNO:4C.0510540000A3,ADDITIONAL FEATURES EN:FRONT HEADLIGHT, LH | LIGHT,01)FRONT HEADLIGHT, LH | 4C.0510540000A3 | 3000511 | DIECI | DIECI | 4C.0510540000A3 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD,FRONT,LEFT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1333382 | 1333382 | LIGHT;DIEC,4C.110967 | LIGHT;MNFR:DIECI,PTNO:4C.110967,ADDITIONAL FEATURES EN:HEAD | LIGHT,01)HEAD | 4C.110967 | 3000511 | DIECI | DIECI | 4C.110967 | DIECI |  |  |  |  | http://downloads.purposebuilt.com.au/NJB/Telehandler/Dieci_1901784_Parts_Catalogue.pdf | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 | Partially Match | 1217417 | 1217417 | LIGHT;DIEC,4C00110473 | LIGHT;MNFR:DIECI,PTNO:4C00110473,ADDITIONAL FEATURES EN:HEAD, LH | LIGHT,01)HEAD, LH | 4C00110473 | 3000511 | DIECI | DIECI | 4C.00110473 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | HEAD,LEFT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213090 | 1213090 | LIGHT;DRVT,IFI01183,AMBR | LIGHT;MNFR:DRIVETRAIN,PTNO:IFI01183,ADDITIONAL FEATURES EN:AMBER | 01)DRIVETRAIN AUSTRALIA,01)IFI01183,LIGHT,01)AMBER | IFI01183 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01183 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | AMBER | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213092 | 1213092 | LIGHT;DRVT,IFI01194,RED | LIGHT;MNFR:DRIVETRAIN,PTNO:IFI01194,ADDITIONAL FEATURES EN:RED | 01)DRIVETRAIN AUSTRALIA,01)IFI01194,LIGHT,01)RED | IFI01194 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01194 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | RED | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1213183 | 1213183 | LIGHT;DRVT,IFI08816,SGNL | LIGHT;MNFR:DRIVETRAIN,PTNO:IFI08816,ADDITIONAL FEATURES EN:SIGNAL | 01)DRIVETRAIN AUSTRALIA,01)IFI08816,LIGHT,01)SIGNAL | IFI08816 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI08816 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | SIGNAL | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1271642 | 1271642 | LIGHT;DRVT,IFI35592,LED | LIGHT;MNFR:DRIVETRAIN,PTNO:IFI35592,ADDITIONAL FEATURES EN:LED |  | IFI35592 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI35592 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | LED | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1215582 | 1215582 | SENSOR,LVL;ENDH,FMR50-3UU7/0,MICROPILOT | SENSOR,LEVEL;MNFR:ENDRESS & HAUSER,PTNO:FMR50-3UU7/0,ADDITIONAL FEATURES EN:MICROPILOT FMR50 | 01)COLTERLEC,01)FMR50-3UU7/0,SENSOR,LEVEL,01)MICROPILOT FMR50 | FMR50-3UU7/0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | FMR50-3UU7/0 | ENDRESS & HAUSER |  |  |  |  | https://portal.endress.com/wa001/dla/5000573/9408/000/02/TI01039FEN_0313.pdf | [10 empty] | Enriched | 41111938 Level sensors or transmitters | TRANSMITTER | LEVEL | TYPE | LIQUID,RADAR | MEASURING RANGE | 30 M | ACCURACY | +/-2 MM | OUTPUT TYPE | 4 TO 20 MA HART | SUPPLY VOLTAGE | 10.5 TO 30 VDC | CONNECTION TYPE | 1-1/2 IN BSP | MOUNTING TYPE | BM ANTENNA | MATERIAL | ALUMINUM | TEMPERATURE RATING | -40 TO 80 DEG C | ENCLOSURE | IP66 | SIZE | DIA 75 X HT 140 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61010-1,EN 1092-1 | ADDITIONAL FEATURES | BRAND:MICROPILOT | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1273047 | 1273047 | SENSOR,LVL;ENDH,FMR60B-AABAE,MICROPILOT | SENSOR,LEVEL;MNFR:ENDRESS & HAUSER,PTNO:FMR60B-AABAE,ADDITIONAL FEATURES EN:MICROPILOT,RADAR,OUTPUT:2-WIRE,4-20MA,HART DISPLAY, OPERATION:GRAPHIC DISPLAY WITH TOUCH CONTROL,HOUSING MATERIAL:SINGLE COMPARTMENT,PLASTIC,PROCESS CONNECTION:UNI 3IN/DN80/80, 316L | 01)ENDRESS & HAUSER,01)FMR60B-AABAE,01)PMD PROCESS CONTROLS,01)FMR60B-AABAE,SENSOR,LEVEL,01)MICROPILOT,RADAR,OUTPUT:2-W,02)OPERATION:GRAPHIC DISPLAY W,03)HOUSING MATERIAL:SINGLE COM,04)PROCESS CONNECTION:UNI 3IN/ | FMR60B-AABAE | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | FMR60B-AABAE | ENDRESS & HAUSER |  |  |  |  | https://portal.endress.com/wa001/dla/5001075/9470/000/00/BA01618FEN_0117.pdf | [10 empty] | Enriched | 41111938 Level sensors or transmitters | TRANSMITTER | LEVEL | TYPE | FREE SPACE RADAR | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 2-WIRE,4 TO 20 MA HART | SUPPLY VOLTAGE | 14 TO 35 VDC | CONNECTION TYPE | 3 IN/DN 80 UNIVERSAL | MOUNTING TYPE |  | MATERIAL | SINGLE COMPARTMENT PLASTIC HOUSING,STAINLESS STEEL 316L | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 61010 | ADDITIONAL FEATURES | BRAND:MICROPILOT,DISPLAY OPERATION:GRAPHIC DISPLAY WITH TOUCH CONTROL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1270306 | 1270306 | SENSOR,LVL;ENDH,S FDU91-RG2AA | SENSOR,LEVEL;MNFR:ENDRESS & HAUSER,PTNO:S FDU91-RG2AA | 01)PMD PROCESS CONTROLS,01)PROSONIC S FDU91-RG2AA,SENSOR,LEVEL | S FDU91-RG2AA | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | S FDU91-RG2AA | ENDRESS & HAUSER |  |  |  |  | https://www.instrumart.com/assets/FDU90-91-91F-92-93-95-Datasheet.pdf | [10 empty] | Enriched | 41111960 Ultrasonic sensor | SENSOR | ULTRASONIC | TYPE | NON-CONTACT,LEVEL | SENSING RANGE | 5 M | POWER SUPPLY | 24 VDC | OUTPUT TYPE | ANALOGUE VOLTAGE | CONNECTION TYPE | 1/2 IN NPT | TEMPERATURE RATING | -40 TO 80 DEG C | MATERIAL | PVDF | SWITCHING FREQUENCY | 43 KHZ | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EC 364-3 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1275805 | 1275805 | SENSOR,PH;ENDH,CPS11D-7AA21,ORBISINT,MEM | SENSOR,PH;MNFR:ENDRESS & HAUSER,PTNO:CPS11D-7AA21,ADDITIONAL FEATURES EN:ORBISINT,MEMOSENS | 01)ENDRESS AND HAUSER AUSTRA,01)CPS11D-7AA21,SENSOR,PH,01)ORBISINT,MEMOSENS | CPS11D-7AA21 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | CPS11D-7AA21 | ENDRESS & HAUSER |  |  |  |  | https://www.nexinstrument.com/CPS11D-7AA21 | https://www.instrumart.com/assets/CPS11D-Datasheet.pdf | [9 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | PH | TYPE | ANALOG | SENSING RANGE | 1 TO 12 PH | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | MATERIAL | GLASS ELECTRODE SHAFT | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX,FM,CSA,TIIS,NEPSI | ADDITIONAL FEATURES | BRAND:ORBISINT,MEMOSENS | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 |  | 1258177 | 1258177 | SENSOR;ABB,3ADT710005P0002 | SENSOR;MNFR:ABB,PTNO:3ADT710005P0002 | SENSOR | 3ADT710005P0002 | 3000014 | ABB | ABB | 3ADT710005P0002 | ABB |  |  |  |  | https://new.abb.com/products/3ADT710005P0002/3adt710005p0002 | [10 empty] | Enriched | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1252808 | 1252808 | SENSOR;DIEC,4M-068038 | SENSOR;MNFR:DIECI,PTNO:4M-068038,ADDITIONAL FEATURES EN:POTENTIOMETER | SENSOR,01)POTENTIOMETER | 4M-068038 | 3000511 | DIECI | DIECI | 4M.068038 | DIECI |  |  |  |  | https://www.volza.com/p/hsn-code-8533/export/export-from-italy/cod-philippines/ | [10 empty] | Cleansed | 41113633 Potentiometers | POTENTIOMETER | NO MODIFIER | TYPE | SENSOR | RANGE |  | RESISTANCE |  | TOLERANCE |  | MATERIAL |  | STYLE |  | POWER RATING |  | CONNECTION TYPE |  | MOUNT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed