## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1252950 | 1252950 | SWITCH,IGN;DIEC,4C.109058 | SWITCH,IGNITION;MNFR:DIECI,PTNO:4C.109058,ADDITIONAL FEATURES EN:KEY START | SWITCH,IGNITION,01)KEY START | 4C.109058 | 3000511 | DIECI | DIECI | 4C.109058 | [5 empty] | https://buyanypart.co.uk/parts/ignition-switch-4c109058-bta1 | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | IGNITION | TYPE | KEY START | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ACTION |  | OPERATION TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324390 | 1324390 | SWITCH,LVL;LIQUID,250 V,1PH, 50HZ, 1P | SWITCH,LEVEL;TYPE:LIQUID,VOLTAGE RATING:250 V,ADDITIONAL FEATURES EN:1PH, 50HZ, 1P,MNFR:ABB,PTNO:2103-21308,MNFR:01)REXROTH,PTNO: 01)CR740 | LIQUID,250 VAC,01)1PH, 50HZ, 1P,01)REXROTH,01)CR740,SWITCH | 2103-21308 | 3000014 | ABB | ABB | 2103-21308 |  | REXROTH | CR740 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122219 Level or float switch | SWITCH | LEVEL | TYPE | LIQUID | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING | 250 VAC | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:1,FREQUENCY RATING:50 HZ,NUMBER OF POLES:1 | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1252916 | 1252916 | SWITCH,MICR;DIEC,BEP0423 | SWITCH,MICRO;MNFR:DIECI,PTNO:BEP0423,ADDITIONAL FEATURES EN:LIMIT | SWITCH,MICRO,01)LIMIT | BEP0423 | 3000511 | DIECI | DIECI | BEP0423 | [5 empty] | https://buyanypart.co.uk/parts/limit-switch-bep0423-bta1 | [10 empty] | CLEANSED | 39122213 Limit switch | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1252826 | 1252826 | SWITCH,MICR;DIEC,BEP0435 | SWITCH,MICRO;MNFR:DIECI,PTNO:BEP0435,ADDITIONAL FEATURES EN:LIMIT | SWITCH,MICRO,01)LIMIT | BEP0435 | 3000511 | DIECI | DIECI | BEP0435 | [5 empty] | https://parts-titanmachinery-ua.translate.goog/dieci/BEP0435?_x_tr_sl=uk&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 39122243 Micro switch | SWITCH | MICRO | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | ACTION |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LIMIT | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,PRESSURE RATING AND CONNECTION SIZE PROCESS BASED ON WEB SOURCE | 2023-06-24 | 2023-06-28 |  | 1324344 | 1324344 | SWITCH,PRES;PISTON SPRING,20-150 BAR | SWITCH,PRESSURE;TYPE:PISTON SPRING,MEASURING RANGE:20-150 BAR,PROCESS CONNECTION:1/4 IN-19FBSPP,TEMPERATURE RATING:-40 TO 90 DEG C,MOUNTING TYPE:PANEL/SUB PLATE,MATERIAL:ALUMINUM/BRASS,HAZARD CLASS:IP65,ADDITIONAL FEATURES EN:40-150 BAR RANGE, R1/4 IN F,MNFR: ABB,PTNO:5663-151-D,MNFR:01)HYDROSTA,PTNO:01)DS307-150 | EN_01)PISTON SPRING,EN_01)20-150 BAR,EN_01)1/4 IN-19FBSPP,-40 TO 90 DEG C,EN_01)PANEL/SUB PLATE,EN_01)ALUMINUM/BRASS,IP65,01)40-150 BAR RANGE, R1/4 IN F,01)HYDROSTA,01)DS307-150,SWITCH | 5663-151-D | 3000014 | ABB | HYDROSTA | DS307-150 |  | ABB | 5663-151-D |  |  | https://www.hydropa.de/media/ds-307_gb_rev06_blau.pdf | [10 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | PISTON SPRING | MEASURING RANGE | 20 TO 150 BAR | PROCESS CONNECTION | 1/4 IN-19 FBSPP | CONTACT CONFIGURATION |  | ENCLOSURE | IP65,IP68 | TEMPERATURE RATING | -40 TO 90 DEG C | MOUNTING TYPE | PANEL/SUB PLATE | VOLTAGE RATING | 250 VAC,24 VDC | CURRENT RATING | 5 A | ACTION |  | MATERIAL | ALUMINUM | SIZE | 114 WDX40 DPX77 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | CONNECTION MATERIAL:BRASS,PISTON DIAMETER:5 MM | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,PRESSURE RATING AND CONNECTION SIZE PROCESS BASED ON WEB SOURCE | 2023-06-24 | 2023-06-28 |  | 1324343 | 1324343 | SWITCH,PRES;PISTON SPRING,5-55 BAR | SWITCH,PRESSURE;TYPE:PISTON SPRING,MEASURING RANGE:5-55 BAR,PROCESS CONNECTION:1/4 IN-19BSPT,ADDITIONAL FEATURES EN:5-25BAR RANGE, MNFR:ABB,PTNO:5663 151-C,MNFR:01)HYDROSTA,PTNO:01)DS307-55 | EN_01)PISTON SPRING,EN_01)5-55 BAR,EN_01)1/4 IN-19BSPT,01)5-25BAR RANGE,01)HYDROSTA,01)DS307-55,SWITCH | 5663 151-C | 3000014 | ABB | HYDROSTA | DS307-55 |  | ABB | 5663 151-C |  |  | https://www.hydropa.de/media/ds-307_gb_rev06_blau.pdf | [10 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | PISTON SPRING | MEASURING RANGE | 5 TO 55 BAR | PROCESS CONNECTION | 1/4 IN-19 BSPT | CONTACT CONFIGURATION |  | ENCLOSURE | IP65,IP68 | TEMPERATURE RATING | -40 TO 90 DEG C | MOUNTING TYPE |  | VOLTAGE RATING | 250 VAC,24 VDC | CURRENT RATING | 5 A | ACTION |  | MATERIAL | ALUMINUM | SIZE | 114 WDX40 DPX77 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | CONNECTION MATERIAL:BRASS,PISTON DIAMETER:6 MM | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1266919 | 1266919 | SWITCH,PROXY;ABB,2TLA020046R0800,EVA.GC | SWITCH,PROXIMITY;MNFR:ABB,PTNO:2TLA020046R0800,ADDITIONAL FEATURES EN:EVA.GC EVA GENERAL CODE | 01)CNW (MOUNT ISA) ELECT WHO,01)2TLA020046R0800,SWITCH,PROXIMITY,01)EVA.GC EVA GENERAL CODE | 2TLA020046R0800 | 3000014 | ABB | ABB | 2TLA020046R0800 |  | CNW ELECTRICAL | 2TLA020046R0800 |  |  | https://new.abb.com/products/2TLA020046R0800/eva-general-code | [10 empty] | ENRICHED | 31251500 Actuators | ACTUATOR | NO MODIFIER | TYPE |  | SIZE | 30 WDX12 DPX60 HT MM | TRAVEL | 15 MM | MATERIAL | PLASTIC | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP67,IP69K,TYPE 4X,TEMPERATURE RATING:-40 TO 80 DEG C,EVA GENERAL CODE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1266920 | 1266920 | SWITCH,PROXY;ABB,2TLA020051R5700,ADAM OS | SWITCH,PROXIMITY;MNFR:ABB,PTNO:2TLA020051R5700,ADDITIONAL FEATURES EN:ADAM OSSD-INFO M12-8 CONTACT | 01)CNW (MOUNT ISA) ELECT WHO,01)2TLA020051R5700,SWITCH,PROXIMITY,01)ADAM OSSD-INFO M12-8 CONTAC | 2TLA020051R5700 | 3000014 | ABB | ABB | 2TLA020051R5700 |  | CNW ELECTRICAL | 2TLA020051R5700 |  |  | https://new.abb.com/products/2TLA020051R5700/adam-ossd-info-m12-8 | https://www.bestomart.com/products/abb-adam-ossd-info-m12-8-safety-sensor-2tla020051r5700-1000083863 | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | SAFETY,NON-CONTACT | SENSING RANGE | 15 MM | CONNECTION TYPE | M12-8 MM MALE | ELECTRICAL RATING | 24 VDC | ENCLOSURE | IP67,IP69K,TYPE 4X | MATERIAL | PLASTIC | MOUNTING TYPE |  | SIZE | 30 WDX12 DPX75.2 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | SERIES:ADAM OSSD,TEMPERATURE RATING:-40 TO 80 DEG C | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 | Query - Manufacturer Details (MPN) not available | 1211899 | 1211899 | SWITCH,PUL;ABB,IPDLINESTRONG3DZ,BOTH SID | SWITCH,PULL;MNFR:ABB,PTNO:IPDLINESTRONG3DZ,ADDITIONAL FEATURES EN:BOTH SIDE,LINESTRONG,3DZ | 01)CNW (MOUNT ISA) ELECT WHO,01)IPDLINESTRONG3DZ,SWITCH,PULL,01)BOTH SIDE,LINESTRONG,3DZ | IPDLINESTRONG3DZ | 3000014 | ABB | ABB |  |  | CNW ELECTRICAL |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | PULL | TYPE | BOTH SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:LINESTRONG,3DZ | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 | Query - Manufacturer Details (MPN) not available | 1211897 | 1211897 | SWITCH,PUL;ABB,IPDLINESTRONG3LZ,LH,LINES | SWITCH,PULL;MNFR:ABB,PTNO:IPDLINESTRONG3LZ,ADDITIONAL FEATURES EN:LEFT HAND,LINESTRONG,3LZ | 01)CNW (MOUNT ISA) ELECT WHO,01)IPDLINESTRONG3LZ,SWITCH,PULL,01)LEFT HAND,LINESTRONG,3LZ | IPDLINESTRONG3LZ | 3000014 | ABB | ABB |  |  | CNW ELECTRICAL |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | PULL | TYPE | LEFT HAND | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:LINESTRONG,3LZ | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 | Query - Manufacturer Details (MPN) not available | 1211898 | 1211898 | SWITCH,PUL;ABB,IPDLINESTRONG3RZ,RH,LINES | SWITCH,PULL;MNFR:ABB,PTNO:IPDLINESTRONG3RZ,ADDITIONAL FEATURES EN:RIGHT HAND,LINESTRONG,3RZ | 01)CNW (MOUNT ISA) ELECT WHO,01)IPDLINESTRONG3RZ,SWITCH,PULL,01)RIGHT HAND,LINESTRONG,3RZ | IPDLINESTRONG3RZ | 3000014 | ABB | ABB |  |  | CNW ELECTRICAL |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | PULL | TYPE | RIGHT HAND | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:LINESTRONG,3RZ | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324821 | 1324821 | SWITCH,RTRY;FUD,125 A,P 3P,65 KW,BS 88 | SWITCH,ROTARY;TYPE:FUSED,CURRENT RATING:125 A,NUMBER OF POLES:3P,POWER RATING:65 KW,CERTIFICATION/STANDARD:BS 88,MNFR:SIEMENS, PTNO:3KM52 30-1EG00,MNFR:01)AUSLEC,PTNO:01)4SIE3KM5230-1EG00 | EN_01)FUSED,125 A,65 KW,EN_01)BS 88,01)AUSLEC,01)4SIE3KM5230-1EG00,SWITCH | 3KM52 30-1EG00 | 3000032 | SIEMENS | SIEMENS | 3KM52 30-1EG00 |  | AUSLEC | 4SIE3KM5230-1EG00 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | FUSED | VOLTAGE RATING |  | CURRENT RATING | 125 A | NUMBER OF POLES | 3 | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING | 65 KW | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 88 | ADDITIONAL FEATURES EN | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324820 | 1324820 | SWITCH,RTRY;FUD,32 A,P 3P,25 KW,BS 88,P | SWITCH,ROTARY;TYPE:FUSED,CURRENT RATING:32 A,NUMBER OF POLES:3P,POWER RATING:25 KW,CERTIFICATION/STANDARD:BS 88,ADDITIONAL FEATURES EN:P,MNFR:SIEMENS,PTNO:3KM48 30-1EG00,MNFR:01)AUSLEC,PTNO:01)4SIE3KM48301EG00 | EN_01)FUSED,32 A,25 KW,EN_01)BS 88,01)P,01)AUSLEC,01)4SIE3KM48301EG00,SWITCH | 3KM48 30-1EG00 | 3000032 | SIEMENS | SIEMENS | 3KM4830-1EG00 |  | AUSLEC | 4SIE3KM48301EG00 |  |  | URL NOT FOUND | [9 empty] | P | CLEANSED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | FUSED | VOLTAGE RATING |  | CURRENT RATING | 32 A | NUMBER OF POLES | 3 | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING | 25 KW | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 88 | ADDITIONAL FEATURES EN | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1322485 | 1322485 | SWITCH,RTRY;MOT,63 A,30 KW,RATED LOA | SWITCH,ROTARY;TYPE:MOTOR,CURRENT RATING:63 A,POWER RATING:30 KW,ADDITIONAL FEATURES EN:RATED LOA,MNFR:SIEMENS,PTNO:3KA50 30-1EE00, MNFR:01)AUSLEC,PTNO:01)SIE3KA50301EE00 | EN_01)MOTOR,63 A,30 KW,01)RATED LOA,01)AUSLEC,01)SIE3KA50301EE00,SWITCH | 3KA50 30-1EE00 | 3000032 | SIEMENS | SIEMENS | 3KA5030-1EE00 |  | AUSLEC | SIE3KA50301EE00 |  |  | URL NOT FOUND | [9 empty] | RATED LOA | CLEANSED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | MOTOR | VOLTAGE RATING |  | CURRENT RATING | 63 A | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING | 30 KW | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1271042 | 1271042 | SWITCH,SELECT;AB,A-B800HCHR2D1,30.5MM,PL | SWITCH,SELECTOR;MNFR:ALLEN BRADLEY,PTNO:A-B800HCHR2D1,ADDITIONAL FEATURES EN:30.5MM,PLASTIC,2 POSITION,WH | 01)CNW,01)A-B800HCHR2D1,SWITCH,SELECTOR,01)30.5MM,PLASTIC,2 POSITION,W | A-B800HCHR2D1 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800HC-HR2D1 |  | CNW ELECTRICAL | 800HCHR2D1 |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/800HCHR2D1-24308-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122217 Rotary switch | SWITCH | SELECTOR | TYPE | NON-ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | OPERATOR TYPE | KNOB | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 55 DEG C | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | PLASTIC | COLOUR | WHITE | SIZE | 30.5 MM DIA | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 508,CSA C22.2 No. 14,EN 60947-5-1,EN 60947-5-5,ISO 13850,CE,CSA,UL,CCC | ADDITIONAL FEATURES | CONTACT CONFIGURATION:1NO | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1253021 | 1253021 | SWITCH,SENSTV;DIEC,BEP0400 | SWITCH,SENSITIVE;MNFR:DIECI,PTNO:BEP0400,ADDITIONAL FEATURES EN:PROXIMITY SWITCH,TELEHANDLER | SWITCH,SENSITIVE,01)PROXIMITY SWITCH,TELEHANDLER | BEP0400 | 3000511 | DIECI | DIECI | BEP0400 | [5 empty] | URL NOT FOUND | [5 empty] | TELEHANDLER |  |  |  |  | CLEANSED | 39122203 Sensitive switch | SWITCH | SENSITIVE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1258600 | 1258600 | SWITCH,SENSTV;DIEC,BEP0429 | SWITCH,SENSITIVE;MNFR:DIECI,PTNO:BEP0429,ADDITIONAL FEATURES EN:MICRO,SHOVEL MODE,TELEHAND LER | SWITCH,SENSITIVE,01)MICRO,SHOVEL MODE,TELEHAND LER | BEP0429 | 3000511 | DIECI | DIECI | BEP0429 | [5 empty] | https://axial--parts-com.translate.goog/37-elektroobladnannia/3705-vymykach/finecorsa-a-leva-girevole-90-1no-1nc-bep0429-483034?_x_tr_sl=uk&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [5 empty] | TELEHANDLER |  |  |  |  | CLEANSED | 39122213 Limit switch | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHOVEL MODE | [35 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324847 | 1324847 | SWITCH,SENSTV;MAGNETIC OPERATION,LI | SWITCH,SENSITIVE;TYPE:MAGNETIC OPERATION,ADDITIONAL FEATURES EN:LI,MNFR:SIEMENS,PTNO:3SE60-20,MNFR:01)AUSLEC,PTNO:01)SIE3SE6020 | MAGNETIC OPERATION,01)LI,01)AUSLEC,01)SIE3SE6020,SWITCH | 3SE60-20 | 3000032 | SIEMENS | SIEMENS | 3SE60-20 |  | AUSLEC | SIE3SE6020 |  |  | https://cache.industry.siemens.com/dl/files/344/81569344/att_47897/v1/3se6020_3se6100_3se6110_3se6200_in_catalogue_nsk_1996.pdf | https://sg.rs-online.com/web/p/non-contact-safety-switches/7497713 | [9 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | POSITION,MAGNETIC OPERATION | VOLTAGE RATING | 110 VAC/DC,230 VAC,24 VAC/DC | CURRENT RATING | 5 A | CONTACT CONFIGURATION | 1NC | ENCLOSURE | IP67 | MOUNTING TYPE |  | TEMPERATURE RATING | -30 TO 65 DEG C | CONSTRUCTION |  | CABLE LENGTH | 1 M | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | METAL | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324792 | 1324792 | SWITCH,TEMP;THERMOSTATIC,50-130 DEG C | SWITCH,TEMPERATURE;TYPE:THERMOSTATIC,TEMPERATURE RATING:50-130 DEG C,MNFR:ABB,PTNO:5665 243-A,MNFR:01)BIRKA,PTNO:01)TBUC | THERMOSTATIC,50-130 DEG C,01)BIRKA,01)TBUC,SWITCH | 5665 243-A | 3000014 | ABB | BIRKA | TBUC |  | ABB | 5665 243-A |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122229 Temperature switch | SWITCH | TEMPERATURE | TYPE | THERMOSTATIC | TEMPERATURE RATING | 50 TO 130 DEG C | SENSOR TYPE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | VOLTAGE RATING |  | CURRENT RATING |  | CAPILLARY LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | POWER RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1267321 | 1267321 | SWITCH;AB, A-B440GA27373,LOCKING-COVER | SWITCH;MNFR:ALLEN BRADLEY,PTNO: A-B440GA27373,ADDITIONAL FEATURES EN:LOCKING-COVER | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B440GA27373,SWITCH,01)LOCKING-COVER | A-B440GA27373 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 440G-A27373 |  | CNW ELECTRICAL | 440G-A27373 |  |  | https://www.rockwellautomation.com/en-us/products/details.440G-A27373.html | https://www.mc-mc.com/Product/allen-bradley-440g-a27373?option=ALBR440GA27373 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | COVER | ELECTRICAL | TYPE | REPLACEMENT LOCKING | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1267325 | 1267325 | SWITCH;AB, A-B802KMALB22B,LMT | SWITCH;MNFR:ALLEN BRADLEY,PTNO: A-B802KMALB22B,ADDITIONAL FEATURES EN:LIMIT | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B802KMALB22B,SWITCH,01)LIMIT | A-B802KMALB22B | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 802KMALB22B |  | CNW ELECTRICAL | 802KMALB22B |  |  | https://www.rockwellautomation.com/en-us/products/details.802K-MALB22B.html | [10 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | NON-SAFETY,ADJUSTABLE LEVER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION | 2NO 2NC | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1274657 | 1274657 | SWITCH;AB,A-B1783US8TG2GX,CABLE TYPE:UNS | SWITCH;MNFR:ALLEN BRADLEY,PTNO:A-B1783US8TG2GX,ADDITIONAL FEATURES EN:CABLE TYPE:UNSHIELDED TWISTED PAIR/1.9 M TEAL TPE CABLE, NETWORK TYPE:STRATIX 2000 ETHERNET,PORT TYPE:8 COPPER 10/100/1000, (2) FIBER GIGABIT ETHERNET SLOTS,POWER SUPPLY:1100 MA AT 12/48 VDC, 2200 MA AT 18 TO 30 VAC | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B1783US8TG2GX,SWITCH,01)CABLE TYPE:UNSHIELDED TWIST,02)NETWORK TYPE:STRATIX 2000 E,03)PORT TYPE:8 COPPER 10/100/1,04)POWER SUPPLY:1100 MA AT 12/ | A-B1783US8TG2GX | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1783-US8TG2GX |  | CNW ELECTRICAL | 1783-US8TG2GX |  |  | https://www.rockwellautomation.com/en-us/products/details.1783-US8TG2GX.html | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1783US8TG2GX-210454-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 43222612 Network switches | SWITCH | NETWORK | TYPE | ETHERNET | VOLTAGE RATING | 18 TO 30 VAC,12/48 VDC | CURRENT RATING | 2200 MA,1100 MA | NUMBER OF PORTS | 8 | DATA TRANSFER RATE |  | TEMPERATURE RATING | -20 TO 70 DEG C | MOUNTING TYPE |  | ENCLOSURE |  | CONNECTION TYPE |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE TYPE:UNSHIELDED TWISTED PAIR,CABLE LENGTH:1.9 M,CABLE MATERIAL:TEAL THERMOPLASTIC ELASTOMER,NETWORK TYPE:STRATIX 2000,PORT TYPE:8 COPPER 10/100/1000, (2) FIBER GIGABIT ETHERNET SLOTS | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1266502 | 1266502 | SWITCH;AB,A-B440ED13118,LIFELINE 3 PULL | SWITCH;MNFR:ALLEN BRADLEY,PTNO:A-B440ED13118,ADDITIONAL FEATURES EN:LIFELINE 3 PULL | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B440ED13118,SWITCH,01)LIFELINE 3 PULL | A-B440ED13118 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 440ED13118 |  | CNW ELECTRICAL | 440ED13118 |  |  | https://www.rockwellautomation.com/en-nz/products/details.440E-D13118.html | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/440ED13118-1520-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | PULL | TYPE | WIRE | VOLTAGE RATING | 120 VAC | CURRENT RATING | 6 A | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 2NO 2NC | MOUNTING TYPE | LID | TEMPERATURE RATING | -25 TO 80 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL | DIE-CAST ZINC ALLOY | COLOUR | YELLOW | SIZE | 40 WDX56 DPX204 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1,IEC 60947-5-5,ISO 13850,EN ISO 12100: 2010,IEC/EN 62061 SILCL3,ISO 13849:2006 PLD,ISO 13849:2006 PLE,EN 954 / ISO 13849:1999 CATEGORY 1,CE,CCC,TUV PLE,TUV PLD,TUV SIL3,TUV SIL2 | ADDITIONAL FEATURES | LIFELINE 3,ENCLOSURE:IP67 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1267332 | 1267332 | SWITCH;AB,A-B440GA27143,ACTUTATOR | SWITCH;MNFR:ALLEN BRADLEY,PTNO:A-B440GA27143,ADDITIONAL FEATURES EN:ACTUTATOR | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B440GA27143,SWITCH,01)ACTUTATOR | A-B440GA27143 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 440GA27143 |  | CNW ELECTRICAL | 440GA27143 |  |  | https://www.rockwellautomation.com/en-us/products/details.440G-A27143.html | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/440GA27143-1534-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 31251501 Electric actuators | ACTUATOR | ELECTRIC | TYPE | FULLY FLEXIBLE | TRAVEL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1267333 | 1267333 | SWITCH;AB,A-B440GT27252 | SWITCH;MNFR:ALLEN BRADLEY,PTNO:A-B440GT27252 | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B440GT27252,SWITCH | A-B440GT27252 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 440GT27252 |  | CNW ELECTRICAL | 440GT27252 |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/440GT27252-23826-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122205 Safety switch | SWITCH | SAFETY | TYPE | GUARD LOCKING | VOLTAGE RATING | 24 VAC/DC | CURRENT RATING |  | LOAD BREAKING CAPACITY |  | SHORT CIRCUIT CURRENT |  | CONTACT CONFIGURATION | 1NO 2NC | FUSE DETAILS |  | CONNECTION TYPE | M20 CONDUIT | ENCLOSURE | IP67,IP69K | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 60 DEG C | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | MATERIAL | GLASS FILLED PBT | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1335730 | 1335730 | SWITCH;ABB,0403444 | SWITCH;MNFR:ABB,PTNO:0403444 | SWITCH | 403444 | 3000014 | ABB | ABB | 0403444 | [5 empty] | https://www-acomee-com-mx.translate.goog/articulo.php?search=0403-444&id=BARKSDALE&pro=0403-444&_x_tr_sl=es&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1216477 | 1216477 | SWITCH;ABB,0403756 | SWITCH;MNFR:ABB,PTNO:0403756 | SWITCH | 403756 | 3000014 | ABB | ABB | 0403756 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1216478 | 1216478 | SWITCH;ABB,0403757 | SWITCH;MNFR:ABB,PTNO:0403757 | SWITCH | 403757 | 3000014 | ABB | ABB | 0403757 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324177 | 1324177 | SWITCH;ABB,0404094 | SWITCH;MNFR:ABB,PTNO:0404094 | SWITCH | 404094 | 3000014 | ABB | ABB | 0404094 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324417 | 1324417 | SWITCH;ABB,102342 9321 ANDL.BRYT | SWITCH;MNFR:ABB,PTNO:102342 9321 ANDL.BRYT | SWITCH | 102342 9321 ANDL.BRYT | 3000014 | ABB | ABB | 102342 9321 ANDL.BRYT | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324359 | 1324359 | SWITCH;ABB,1SCA 022 533 R2740 | SWITCH;MNFR:ABB,PTNO:1SCA 022 533 R2740 | SWITCH | 1SCA 022 533 R2740 | 3000014 | ABB | ABB | 1SCA 022 533 R2740 | [5 empty] | https://docs.rs-online.com/b796/0900766b80e16bf3.pdf | https://ph.rs-online.com/web/p/cam-switches/7051030 | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | STEPPING | TYPE | ADAPTABLE CAM | VOLTAGE RATING | 690 VAC | CURRENT RATING | 25 A | NUMBER OF POLES | 1 | NUMBER OF POSITIONS | 3 | ANGLE | 30 DEG | CONTACT CONFIGURATION |  | ENCLOSURE | IP65,IP44 | MOUNTING TYPE | SNAP-ON DOOR | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE | 91 LGX28 WDX51.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324362 | 1324362 | SWITCH;ABB,1SCA 022 533 R3210 | SWITCH;MNFR:ABB,PTNO:1SCA 022 533 R3210 | SWITCH | 1SCA 022 533 R3210 | 3000014 | ABB | ABB | 1SCA 022 533 R3210 | [5 empty] | https://docs.rs-online.com/b796/0900766b80e16bf3.pdf | https://www.santaclarasystems.com/en-au/abb/onst41pb | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | STEPPING | TYPE | CAM | VOLTAGE RATING | 690 VAC | CURRENT RATING | 25 A | NUMBER OF POLES | 1 | NUMBER OF POSITIONS |  | ANGLE |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE | SNAP-ON DOOR | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE | 48 WDX92 DPX48 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324355 | 1324355 | SWITCH;ABB,1SCA 022 570 R7220 | SWITCH;MNFR:ABB,PTNO:1SCA 022 570 R7220 | SWITCH | 1SCA 022 570 R7220 | 3000014 | ABB | ABB | 1SCA 022 570 R7220 | [5 empty] | https://www-abbconnect-nl.translate.goog/Details/Index.aspx/143675?_x_tr_sl=nl&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://docs.rs-online.com/b796/0900766b80e16bf3.pdf | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | STEPPING | TYPE | CAM LINE,CONTROL | VOLTAGE RATING | 690 VAC | CURRENT RATING | 25 A | NUMBER OF POLES | 1 | NUMBER OF POSITIONS | 2 | ANGLE |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | MOUNTING TYPE | DOOR | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE | 48 LGX48 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1322011 | 1322011 | SWITCH;ABB,1SCA 123 88 R1001 | SWITCH;MNFR:ABB,PTNO:1SCA 123 88 R1001 | SWITCH | 1SCA 123 88 R1001 | 3000014 | ABB | ABB | 1SCA 123 88 R1001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324367 | 1324367 | SWITCH;ABB,1SCA111848R1001 | SWITCH;MNFR:ABB,PTNO:1SCA111848R1001 | SWITCH | 1SCA111848R1001 | 3000014 | ABB | ABB | 1SCA111848R1001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1212100 | 1212100 | SWITCH;ABB,1SFA 611 510 R2051 | SWITCH;MNFR:ABB,PTNO:1SFA 611 510 R2051 | SWITCH | 1SFA 611 510 R2051 | 3000014 | ABB | ABB | 1SFA 611 510 R2051 | [5 empty] | https://assets.unilogcorp.com/2/ITEM/DOC/ABB_MPMT3_20R02_Specification_Sheet.pdf | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP,TWIST RELEASE,MUSHROOM HEAD | VOLTAGE RATING | 24/127 VAC,24/125 VDC | CURRENT RATING | 8 A | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 2NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR | RED | SIZE | 40 MM DIA | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1244925 | 1244925 | SWITCH;ABB,2TLA 050 200 R0030 (SIL COMP) | SWITCH;MNFR:ABB,PTNO:2TLA 050 200 R0030 (SIL COMP) | SWITCH | 2TLA 050 200 R0030 (SIL COMP) | 3000014 | ABB | ABB | 2TLA 050 200 R0030 (SIL COMP) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324372 | 1324372 | SWITCH;ABB,3BHB001869R0200 | SWITCH;MNFR:ABB,PTNO:3BHB001869R0200 | SWITCH | 3BHB001869R0200 | 3000014 | ABB | ABB | 3BHB001869R0200 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2617984.html | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | EMERGENCY STOP | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION | 3NC 1NO | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1258358 | 1258358 | SWITCH;ABB,403757 | SWITCH;MNFR:ABB,PTNO:403757 | SWITCH | 403757 | 3000014 | ABB | ABB | 403757 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324357 | 1324357 | SWITCH;ABB,5661-186-A | SWITCH;MNFR:ABB,PTNO:5661-186-A | SWITCH | 5661-186-A | 3000014 | ABB | ABB | 5661-186-A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1324345 | 1324345 | SWITCH;ABB,ABG10 | SWITCH;MNFR:ABB,PTNO:ABG10 | SWITCH | ABG10 | 3000014 | ABB | ABB | ABG10 | [5 empty] | https://www.aqgroup.com/download/771-42388EBE82AEE93B89E420EA59A71975/AGVL21-41%20Mounting%20and%20Maintenance%20Instruction.pdf | [10 empty] | ENRICHED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | OPEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE | FRONT | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE | 48 LGX48 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1321929 | 1321929 | SWITCH;ABB,CK3R1006-U15/ZS1 | SWITCH;MNFR:ABB,PTNO:CK3R1006-U15/ZS1 | SWITCH | CK3R1006-U15/ZS1 | 3000014 | ABB | ABB | CK3R1006-U15/ZS1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1244923 | 1244923 | SWITCH;ABB,E175 | SWITCH;MNFR:ABB,PTNO:E175 | SWITCH | E175 | 3000014 | ABB | ABB | E175 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1216602 | 1216602 | SWITCH;ABB,GWW-145 D E,GEAR | SWITCH;MNFR:ABB,PTNO:GWW-145 D E,ADDITIONAL FEATURES EN:GEAR |  | GWW-145 D E | 3000014 | ABB | ABB | GWW-145 D E | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | GEAR | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1216601 | 1216601 | SWITCH;ABB,GWW-145 D,GEAR | SWITCH;MNFR:ABB,PTNO:GWW-145 D,ADDITIONAL FEATURES EN:GEAR |  | GWW-145 D | 3000014 | ABB | ABB | GWW-145 D | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | GEAR | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,PART NUMBER UPDATED | 2023-06-24 | 2023-06-28 |  | 1324418 | 1324418 | SWITCH;ABB,HEMOMATIKHMFB-00+10=170MM0=23 | SWITCH;MNFR:ABB,PTNO:HEMOMATIKHMFB-00+10=170MM0=235 | SWITCH | HEMOMATIKHMFB-00+10=170MM0=235 | 3000014 | ABB | HEMOMATIK | HMFB-00+1 |  | ABB |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | O:170 MM,O:235 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1217541 | 1217541 | SWITCH;ABB,LINESTRONG2 | SWITCH;MNFR:ABB,PTNO:LINESTRONG2 | SWITCH | LINESTRONG2 | 3000014 | ABB | ABB | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:LINESTRONG,2 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1216599 | 1216599 | SWITCH;ABB,LTB170D1/B | SWITCH;MNFR:ABB,PTNO:LTB170D1/B |  | LTB170D1/B | 3000014 | ABB | ABB | LTB170D1/B | [5 empty] | https://www.jaescompany.com/product.php?lang=en&productid=269843&code=LTB170D1/B | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 170 KV | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1268045 | 1268045 | SWITCH;ABB,M3SS2-10B,KNOB SEL,OPER 3 POS | SWITCH;MNFR:ABB,PTNO:M3SS2-10B,ADDITIONAL FEATURES EN:KNOB SEL,OPER 3 POS SPRING RETURN A-B/C-B BLACK SHORT HNDL ABB | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBM3SS2-10B,SWITCH,01)KNOB SEL,OPER 3 POS SPRING | M3SS2-10B | 3000014 | ABB | ABB | M3SS2-10B |  | CNW ELECTRICAL | M3SS2-10B |  |  | https://new.abb.com/products/1SFA611211R1006/m3ss2-10b?utm_source=google&utm_medium=cpc&utm_campaign=eFinder&gclid=CjwKCAjwkeqkBhAnEiwA5U-uM3g-EW2IDdkSWr3MPaWTFJh_zKW5GAvcsvKTzAAdhdSLPyfCnkLqrxoCT0EQAvD_BwE | [10 empty] | ENRICHED | 39122221 Switch part or accessory | OPERATOR | SWITCH | TYPE | MOMENTARY,SHORT HANDLE | COLOUR | BLACK | SIZE | 0.048 WDX0.05 DPX0.03 HT M | MATERIAL | PLASTIC | NUMBER OF POSITIONS | 3 | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 70 DEG C,SPRING RETURN:A AND C TO B | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1244924 | 1244924 | SWITCH;ABB,M9/4-SOUTH | SWITCH;MNFR:ABB,PTNO:M9/4-SOUTH | SWITCH | M9/4-SOUTH | 3000014 | ABB | ABB | M9/4-SOUTH | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1218751 | 1218751 | SWITCH;ABB,OHYS2PJ | SWITCH;MNFR:ABB,PTNO:OHYS2PJ | SWITCH | OHYS2PJ | 3000014 | ABB | ABB | OHYS2PJ | [5 empty] | https://new.abb.com/products/1SCA105322R1001/ohys2pj | [10 empty] | ENRICHED | 39122221 Switch part or accessory | OPERATOR | SWITCH | TYPE | SELECTOR | COLOUR | RED,YELLOW | SIZE | 65 WDX59 DPX65 HT MM | MATERIAL |  | NUMBER OF POSITIONS |  | DEGREE OF PROTECTION | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1214457 | 1214457 | SWITCH;ABB,OS800B12P | SWITCH;MNFR:ABB,PTNO:OS800B12P | SWITCH | OS800B12P | 3000014 | ABB | ABB | OS800B12P | [5 empty] | https://new.abb.com/products/1SCA022825R8280/os800b12p | [10 empty] | ENRICHED | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE | FUSE | VOLTAGE RATING | 690 VAC | CURRENT RATING | 800 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE | BASE | TEMPERATURE RATING |  | ACTION |  | POWER RATING | 710 KW | FREQUENCY RATING |  | MATERIAL |  | SIZE | 341 WDX233 DPX306 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-3 | ADDITIONAL FEATURES | TERMINAL TYPE:LUG | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED,Partially Match | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1269924 | 1269924 | SWITCH;ABB,OT63E3P | SWITCH;MNFR:ABB,PTNO:OT63E3P | SWITCH | OT63E3P | 3000014 | ABB | ABB | OT63E3P | [5 empty] | https://new.abb.com/products/1SCD000045R0013/ot63e3p-gov | https://co-en.rs-online.com/product/abb/ot63e3p-gov/71577553/ | [9 empty] | ENRICHED | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE | NON-FUSIBLE | VOLTAGE RATING | 1000 V | CURRENT RATING | 80 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING |  | ACTION |  | POWER RATING |  | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-3 | ADDITIONAL FEATURES | TERMINAL TYPE:LUG | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1322030 | 1322030 | SWITCH;ABB,RKTN/LEDA4-3-S9/10M | SWITCH;MNFR:ABB,PTNO:RKTN/LEDA4-3-S9/10M | SWITCH | RKTN/LEDA4-3-S9/10M | 3000014 | ABB | ABB | RKTN/LEDA4-3-S9/10M | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324358 | 1324358 | SWITCH;ABB,SK6320101 | SWITCH;MNFR:ABB,PTNO:SK6320101 | SWITCH | SK6320101 | 3000014 | ABB | ABB | SK6320101 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324824 | 1324824 | SWITCH;ABB,SWI-KEY-00020 | SWITCH;MNFR:ABB,PTNO:SWI-KEY-00020 | SWITCH | SWI-KEY-00020 | 3000014 | ABB | ABB | SWI-KEY-00020 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1213913 | 1213913 | SWITCH;ABB,WK178S236 | SWITCH;MNFR:ABB,PTNO:WK178S236 | SWITCH | WK178S236 | 3000014 | ABB | ABB | WK178S236 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 |  | 1333625 | 1333625 | SWITCH;DIEC,BHE1325 | SWITCH;MNFR:DIECI,PTNO:BHE1325,ADDITIONAL FEATURES EN:BRAKE ACCUMULATOR PRESSURE | SWITCH,01)BRAKE ACCUMULATOR PRESSURE | BHE1325 | 3000511 | DIECI | DIECI | BHE1325 | [5 empty] | https://parts-titanmachinery-ua.translate.goog/dieci/BHE1325?_x_tr_sl=uk&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | BRAKE ACCUMULATOR | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1258324 | 1258324 | SWITCH;DIEC,BHE1326 | SWITCH;MNFR:DIECI,PTNO:BHE1326,ADDITIONAL FEATURES EN:BRAKE PRESSURE;18 BAR | SWITCH,01)BRAKE PRESSURE,18 BAR | BHE1326 | 3000511 | DIECI | DIECI | BHE1326 | [5 empty] | https://parts-titanmachinery-ua.translate.goog/dieci/BHE1326?_x_tr_sl=uk&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | BRAKE | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:18 BAR | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1216600 | 1216600 | SWITCH;SIE,3AP1FG,GEAR | SWITCH;MNFR:SIEMENS,PTNO:3AP1FG,ADDITIONAL FEATURES EN:GEAR |  | 3AP1FG | 3000032 | SIEMENS | SIEMENS | 3AP1FG | [5 empty] | https://edh.vn/pic/FileLibrary/SIEMENS-3_636002856265270000.pdf | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 145 KV | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1335359 | 1335359 | SWITCH;SIE,3CA36.40-0 | SWITCH;MNFR:SIEMENS,PTNO:3CA36.40-0 | SWITCH | 3CA36.40-0 | 3000032 | SIEMENS | SIEMENS | 3CA36.40-0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1276177 | 1276177 | SWITCH;SIE,3KE253-OBA | SWITCH;MNFR:SIEMENS,PTNO:3KE253-OBA | SWITCH | 3KE253-OBA | 3000032 | SIEMENS | SIEMENS | 3KE253-OBA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1335360 | 1335360 | SWITCH;SIE,3KE44 30-1EE00 | SWITCH;MNFR:SIEMENS,PTNO:3KE44 30-1EE00 | SWITCH | 3KE44 30-1EE00 | 3000032 | SIEMENS | SIEMENS | 3KE44 30-1EE00 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1214019 | 1214019 | SWITCH;SIE,3KM50 30-1YS00 | SWITCH;MNFR:SIEMENS,PTNO:3KM50 30-1YS00 | SWITCH | 3KM50 30-1YS00 | 3000032 | SIEMENS | SIEMENS | 3KM50 30-1YS00 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1335160 | 1335160 | SWITCH;SIE,3KM5230-1GG01 | SWITCH;MNFR:SIEMENS,PTNO:3KM5230-1GG01 | SWITCH | 3KM5230-1GG01 | 3000032 | SIEMENS | SIEMENS | 3KM5230-1GG01 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3KM5230-1GG01 | https://asset.re-in.de/add/160267/c1/-/en/001741685DS00/DA_Siemens-Lasttrennschalter-3polig-70mm-125A-690-V-AC-3KM52301GG01.pdf | [9 empty] | ENRICHED | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE |  | VOLTAGE RATING | 690 VAC,440 VDC | CURRENT RATING | 125 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP00 | MOUNTING TYPE | CLIP-ON | TEMPERATURE RATING | -25 TO 55 DEG C | ACTION |  | POWER RATING | 90000 W | FREQUENCY RATING |  | MATERIAL |  | SIZE | 185 WDX219 DPX107 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1324572 | 1324572 | SWITCH;SIE,3KM55 30-1EG00 | SWITCH;MNFR:SIEMENS,PTNO:3KM55 30-1EG00 | SWITCH | 3KM55 30-1EG00 | 3000032 | SIEMENS | SIEMENS | 3KM55 30-1EG00 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1258530 | 1258530 | SWITCH;SIE,3KM57 30-1EG00 | SWITCH;MNFR:SIEMENS,PTNO:3KM57 30-1EG00 | SWITCH | 3KM57 30-1EG00 | 3000032 | SIEMENS | SIEMENS | 3KM57 30-1EG00 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1335161 | 1335161 | SWITCH;SIE,3KM5730-1GG01 | SWITCH;MNFR:SIEMENS,PTNO:3KM5730-1GG01 | SWITCH | 3KM5730-1GG01 | 3000032 | SIEMENS | SIEMENS | 3KM5730-1GG01 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3KM5730-1GG01 | http://storage.electrika.com/flips/0280-switch-disc-14/files/assets/common/downloads/Switch%20Disconnectors.pdf | [9 empty] | ENRICHED | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE |  | VOLTAGE RATING | 690 VAC,440 VDC | CURRENT RATING | 400 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY | 3200/1600 A | CONTACT CONFIGURATION |  | ENCLOSURE | IP00 | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 55 DEG C | ACTION |  | POWER RATING |  | FREQUENCY RATING | 50/60 HZ | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1258280 | 1258280 | SWITCH;SIE,3KW53 11-0A | SWITCH;MNFR:SIEMENS,PTNO:3KW53 11-0A | SWITCH | 3KW53 11-0A | 3000032 | SIEMENS | SIEMENS | 3KW5311-0A | [5 empty] | https://simatix-ru.translate.goog/product/3KW53110A/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | KNIFE | VOLTAGE RATING |  | CURRENT RATING | 1000 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION | DOUBLE THROW | OPERATOR TYPE | SPADE HANDLE | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:3 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1322034 | 1322034 | SWITCH;SIE,3RG4031-6KDOO | SWITCH;MNFR:SIEMENS,PTNO:3RG4031-6KDOO | SWITCH | 3RG4031-6KDOO | 3000032 | SIEMENS | SIEMENS | 3RG4031-6KD00 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3RG4031-6KD00 | https://buy.wesco.com/Sensors-Switches-and-Relays/Sensors/Proximity-Sensors/Inductive-Sensors/SIEMENS/Sensor-Inductive-Proximity-2-Wire-Screw-Terminals-Connection/3RG4031-6KD00/p/75455415464-1 | [9 empty] | ENRICHED | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE | 15 MM | OUTPUT TYPE | NO/NC | CONNECTION TYPE | SCREW | ELECTRICAL RATING | 20 TO 265 VAC,20 TO 320 VDC | CABLE LENGTH |  | ENCLOSURE | IP65 | MATERIAL | MOLDED PLASTIC | SWITCHING FREQUENCY | 25 HZ AC,150 HZ DC | MOUNTING TYPE |  | SIZE | 40 MM DIA | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD CURRENT:300 MA | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1322035 | 1322035 | SWITCH;SIE,3RG4041-6KD00 | SWITCH;MNFR:SIEMENS,PTNO:3RG4041-6KD00 | SWITCH | 3RG4041-6KD00 | 3000032 | SIEMENS | SIEMENS | 3RG4041-6KD00 | [5 empty] | https://nicontrols.com/uk/3rg40416kd00-siemens.html | [10 empty] | ENRICHED | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE |  | MATERIAL |  | SWITCHING FREQUENCY |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1322033 | 1322033 | SWITCH;SIE,3RG46 13-3AN00 | SWITCH;MNFR:SIEMENS,PTNO:3RG46 13-3AN00 | SWITCH | 3RG46 13-3AN00 | 3000032 | SIEMENS | SIEMENS | 3RG4613-3AN00 | [5 empty] | https://sbindustrialsupply.com/shop/new-siemens-3rg4613-3an00-proximity-sensor-siemens-3rg4613-3an00/ | [10 empty] | CLEANSED | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE |  | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE |  | MATERIAL |  | SWITCHING FREQUENCY |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1274851 | 1274851 | SWITCH;SIE,3RH29111HA22,AUXILIARY CONTAC | SWITCH;MNFR:SIEMENS,PTNO:3RH29111HA22,ADDITIONAL FEATURES EN:AUXILIARY CONTACTS BLOCK | 01)CNW (MOUNT ISA) ELECT WHO,01)SIE3RH29111HA22,SWITCH,01)AUXILIARY CONTACTS BLOCK | 3RH29111HA22 | 3000032 | SIEMENS | SIEMENS | 3RH29111HA22 |  | CNW ELECTRICAL | SIE3RH29111HA22 |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RH29111HA22%26language%3Den | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | AUXILLARY | VOLTAGE RATING | 24/230 VAC | CURRENT RATING | 10 A | CONTACT CONFIGURATION | 2NO 2NC | NUMBER OF POSITIONS |  | ENCLOSURE | IP20 | MOUNTING TYPE | SNAP-ON | TEMPERATURE RATING | -25 TO 60 DEG C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | 36 WDX43.7 DPX37.5 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,UL,VDE,CE,UKCA | ADDITIONAL FEATURES EN | TERMINAL TYPE:SCREW,AUXILIARY CONTACTS BLOCK | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1242373 | 1242373 | SWITCH;SIE,3RV1011-1JA10,GD MOT,7-10/130 | SWITCH;MNFR:SIEMENS,PTNO:3RV1011-1JA10,ADDITIONAL FEATURES EN:GUARD MOTOR,7-10/130 A,3 POLE,SIZE:S00,ASSEMBLY,TYPE:CLASS 10 | SWITCH,01)GUARD MOTOR,7-10/130 A,3,02)POLE,SIZE:S00,ASSEMBLY,TYPE,03):CLASS,04)10,01)GUARD MOTOR,7-10/130 A,3,02)POLOS,SIZE:S00,ENSAMBLE,TIP,03)O:CLASS,04)10 | 3RV1011-1JA10 | 3000032 | SIEMENS | SIEMENS | 3RV1011-1JA10 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/3RV1011-1JA10 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RV1011-1JA10%26language%3Den | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 20 TO 690 VAC | FRAME RATING | S00 | INTERRUPT RATING | 2 KA | NUMBER OF POLES | 3 | OVERALL SIZE | 45 WDX75 DPX90 HT MM | TRIP SETTING | 130 A | TERMINAL TYPE | SCREW | MOUNTING TYPE | SNAP-ON | CERTIFICATION/STANDARD | UL,CCC,EAC,ATEX,IECEX,UKCA,CE | ADDITIONAL FEATURES | ADJUSTABLE CURRENT RATING:7 TO 10 A,TRIP CLASS:CLASS 10,FOR GUARD MOTOR,ASSEMBLY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1214327 | 1214327 | SWITCH;SIE,3SE1010-1 | SWITCH;MNFR:SIEMENS,PTNO:3SE1010-1 | SWITCH | 3SE1010-1 | 3000032 | SIEMENS | SIEMENS | 3SE1010-1 | [5 empty] | https://ferrox--electric-pl.translate.goog/pl/automatyka/cenniki/siemens/0/3se10101.htm?_x_tr_sl=pl&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1257550 | 1257550 | SWITCH;SIE,3SE2450-1 | SWITCH;MNFR:SIEMENS,PTNO:3SE2450-1 | SWITCH | 3SE2450-1 | 3000032 | SIEMENS | SIEMENS | 3SE2450-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1214501 | 1214501 | SWITCH;SIE,3SE3 020-0A | SWITCH;MNFR:SIEMENS,PTNO:3SE3 020-0A | SWITCH | 3SE3 020-0A | 3000032 | SIEMENS | SIEMENS | 3SE3020-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SE30200A | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SE3020-0A%26language%3Den | [9 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | POSITION,OPEN | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | ENCLOSURE | IP20 | MOUNTING TYPE |  | TEMPERATURE RATING | -30 TO 85 DEG C | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE | SCREW | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE | 59.5 LGX30 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,EAC | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1214016 | 1214016 | SWITCH;SIE,3SE3-120-3H | SWITCH;MNFR:SIEMENS,PTNO:3SE3-120-3H | SWITCH | 3SE3-120-3H | 3000032 | SIEMENS | SIEMENS | 3SE3120-3H | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=3SE3120-3H&SiepCountryCode=WW | [10 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | POSITION | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL | CAST METAL | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-06-28 | Processed based on Websource, Conflict w.r.t Input | 1257557 | 1257557 | SWITCH;SIE,3SV4001-0DA | SWITCH;MNFR:SIEMENS,PTNO:3SV4001-0DA | SWITCH | 3SV4001-0DA | 3000032 | SIEMENS | SIEMENS | 3SV4001-0DA | [5 empty] | https://mall.industry.siemens.com/mall/en/SE/Catalog/Product/?mlfb=3SV4001-0DA&SiepCountryCode=SE | https://www.obsoletepartfinder.com/Siemens-AG_electronic-parts_3SV4001-0CAAND3SX8001-0AA_3SV5023OKZ.html | [9 empty] | ENRICHED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTACT BLOCKS:4 | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1214225 | 1214225 | SWITCH;SIE,3SV4006-0CA | SWITCH;MNFR:SIEMENS,PTNO:3SV4006-0CA | SWITCH | 3SV4006-0CA | 3000032 | SIEMENS | SIEMENS | 3SV4006-0CA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779024.html | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 3 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1214226 | 1214226 | SWITCH;SIE,3SV4023-0FA | SWITCH;MNFR:SIEMENS,PTNO:3SV4023-0FA | SWITCH | 3SV4023-0FA | 3000032 | SIEMENS | SIEMENS | 3SV4023-0FA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779019.html | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 4 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1257558 | 1257558 | SWITCH;SIE,3SV4026-0DA | SWITCH;MNFR:SIEMENS,PTNO:3SV4026-0DA | SWITCH | 3SV4026-0DA | 3000032 | SIEMENS | SIEMENS | 3SV4026-0DA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779009.html?sphrase_id=32003846 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1257559 | 1257559 | SWITCH;SIE,3SV4026-0FA | SWITCH;MNFR:SIEMENS,PTNO:3SV4026-0FA | SWITCH | 3SV4026-0FA | 3000032 | SIEMENS | SIEMENS | 3SV4026-0FA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779007.html?sphrase_id=32003847 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1257560 | 1257560 | SWITCH;SIE,3SV4026-0HA | SWITCH;MNFR:SIEMENS,PTNO:3SV4026-0HA | SWITCH | 3SV4026-0HA | 3000032 | SIEMENS | SIEMENS | 3SV4026-0HA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779015.html?sphrase_id=32003848 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-06-28 |  | 1257561 | 1257561 | SWITCH;SIE,3SV4026-0KA | SWITCH;MNFR:SIEMENS,PTNO:3SV4026-0KA | SWITCH | 3SV4026-0KA | 3000032 | SIEMENS | SIEMENS | 3SV4026-0KA | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31548/1779010.html?sphrase_id=32003849 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 10 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed