## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332997 | 1332997 | BODY;DIEC,BCN2630/0D | BODY;MNFR:DIECI,PTNO:BCN2630/0D,ADDITIONAL FEATURES EN:FIXED | BODY,01)FIXED | BCN2630/0D | 3000511 | DIECI | DIECI | BCN2630/0D | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BODY | NO MODIFIER | TYPE | FIXED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273867 | 1273867 | BREAKER,CIRCT;ABB,1SDA038288R1,SACE,ACB | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA038288R1,ADDITIONAL FEATURES EN:SACE,ACB, SHUNT OPEN/RELEASE,48V E1/6-T8 | 01)ABB AUSTRALIA PTY LTD,01)1SDA038288R1,BREAKER,CIRCUIT,01)SACE,ACB, SHUNT OPEN/RELEAS | 1SDA038288R1 | 3000014 | ABB | ABB | 1SDA038288R1 | [5 empty] | https://new.abb.com/products/1SDA038288R1/shunt-open-release-48v-e1-6-t8 | https://motorsandcontrol.com/abb-1sda038288r1-shunt-trip-48vac-dc-e1-e6/ | [9 empty] | ENRICHED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE | SHUNT OPENING RELEASE | CURRENT RATING |  | VOLTAGE RATING | 48 VAC/DC | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | FOR E1/6-T8,SACE | [35 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273868 | 1273868 | BREAKER,CIRCT;ABB,1SDA046523R1,SACE,ACB | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA046523R1,ADDITIONAL FEATURES EN:SACE,ACB,10 AUXIL.CONT.OPEN/CLOSED (INSTAL.) E1/6 | 01)ABB AUSTRALIA PTY LTD,01)1SDA046523R1,BREAKER,CIRCUIT,01)SACE,ACB,10 AUXIL.CONT.OPEN | 1SDA046523R1 | 3000014 | ABB | ABB | 1SDA046523R1 | [5 empty] | https://new.abb.com/products/1SDA046523R1/10-auxil-cont-open-closed-instal-e1-6 | https://www.shopelect.com/abb-make-air-circuit-breakers-1sda046523r1.html | [9 empty] | ENRICHED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | SACE,10 AUXILIARY CONTACT IN POSITION OPEN-CLOSED (INSTALLED) E1/6 | [35 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1265801 | 1265801 | BREAKER,CIRCT;ABB,1SDA051110R1 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA051110R1 | BREAKER,CIRCUIT | 1SDA051110R1 | 3000014 | ABB | ABB | 1SDA051110R1 | [5 empty] | https://www.electricautomationnetwork.com/PDF/ENGLISH/ABB/1SDA051110R1.pdf | https://www.electricautomationnetwork.com/en/abb/t2l-160-tmd63-630-4p-f-f-abb-t2l160-1sda051110r1 | [9 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | AUTOMATIC | CURRENT RATING | 63 A | VOLTAGE RATING | 690 VAC,500 VDC | NUMBER OF POLES | 4 | INTERRUPT RATING | 7.5 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | FIXED | SIZE | 120 WDX130 HTX70 DP MM | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1265800 | 1265800 | BREAKER,CIRCT;ABB,1SDA051219R1 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA051219R1 | BREAKER,CIRCUIT | 1SDA051219R1 | 3000014 | ABB | ABB | 1SDA051219R1 | [5 empty] | https://www.electricautomationnetwork.com/PDF/ENGLISH/ABB/ABB1SDA051219R1.pdf | [10 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | AUTOMATIC | CURRENT RATING | 80 A | VOLTAGE RATING | 690 VAC,500 VDC | NUMBER OF POLES | 3 | INTERRUPT RATING | 7 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | FIXED | SIZE | 90 WDX130 HTX70 DP MM | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1265799 | 1265799 | BREAKER,CIRCT;ABB,1SDA053123R1 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA053123R1 | BREAKER,CIRCUIT | 1SDA053123R1 | 3000014 | ABB | ABB | 1SDA053123R1 | [5 empty] | https://www.electricautomationnetwork.com/en/abb/t2s-160-mf2-im26a-3p-f-f-abb-t2s160-1sda053123r1 | [10 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | AUTOMATIC | CURRENT RATING | 2 A | VOLTAGE RATING | 690 VAC,500 VDC | NUMBER OF POLES | 3 | INTERRUPT RATING | 7 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | FIXED | SIZE | 90 WDX130 HTX70 DP MM | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1265797 | 1265797 | BREAKER,CIRCT;ABB,2CDS282001R0104 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS282001R0104 | BREAKER,CIRCUIT | 2CDS282001R0104 | 3000014 | ABB | ABB | 2CDS282001R0104 | [5 empty] | https://new.abb.com/products/2CDS254001R0635/s204-b63 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 277 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | DUAL | SIZE |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,EN,GB,ROHS,VDE | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1265796 | 1265796 | BREAKER,CIRCT;ABB,2CDS282001R0164 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS282001R0164 | BREAKER,CIRCUIT | 2CDS282001R0164 | 3000014 | ABB | ABB | 2CDS282001R0164 | [5 empty] | https://new.abb.com/products/2CDS254001R0635/s204-b63 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 277 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | DUAL | SIZE |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,EN,GB,ROHS,VDE | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1276419 | 1276419 | BREAKER,CIRCT;ABB,S202C4,MINTR,6KA,2P,4A | BREAKER,CIRCUIT;MNFR:ABB,PTNO:S202C4,ADDITIONAL FEATURES EN:MINIATURE,6KA,2P,4A,C CURVE,S200 | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBS202C4,BREAKER,CIRCUIT,01)MINIATURE,6KA,2P,4A,C CURVE | S202C4 | 3000014 | ABB | ABB | S202C4 | [5 empty] | https://new.abb.com/products/1SDA055970R1/e2s1250pr121-p-lsigin-1250a3pwmp | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 277 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | DUAL | SIZE |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,EN,GB,ROHS,VDE | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1276418 | 1276418 | BREAKER,CIRCT;ABB,S202C6,MINTR,6KA,2P,6A | BREAKER,CIRCUIT;MNFR:ABB,PTNO:S202C6,ADDITIONAL FEATURES EN:MINIATURE,6KA,2P,6A,C CURVE,S200 | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBS202C6,BREAKER,CIRCUIT,01)MINIATURE,6KA,2P,6A,C CURVE | S202C6 | 3000014 | ABB | ABB | S202C6 | [5 empty] | https://new.abb.com/products/1SDA055970R1/e2s1250pr121-p-lsigin-1250a3pwmp | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 277 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | DUAL | SIZE |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,EN,GB,ROHS,VDE | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333658 | 1333658 | BREAKER,CIRCT;DIEC,3P-1011 | BREAKER,CIRCUIT;MNFR:DIECI,PTNO:3P-1011,ADDITIONAL FEATURES EN:CURRENT RATING:2.2-3.2 A,OVERALL SIZE:WD 45 X LG 90 X DP 80 MM,BUSH:B ASKET MOUNTING EYE, LATE EYE, MANBASKET | BREAKER,CIRCUIT,01)CURRENT RATING:2.2-3.2 A,OVERALL SIZE:WD 45 X L | 3P-1011 | 3000511 | DIECI | DIECI | 3P-1011 | [5 empty] | URL NOT FOUND | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 2.2 TO 3.2 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE | 90 LGX45 WDX80 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BUSH:BASKET MOUNTING EYE,LATE EYE,MANBASKET | [48 empty] | BUSH:B ASKET MOUNTING EYE,LATE EYE,MANBASKET | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272902 | 1272902 | BREAKER,CIRCT;EATO,E2FM3020ANZ,1000V,3P | BREAKER,CIRCUIT;MNFR:EATON CORPORATION,PTNO:E2FM3020ANZ,ADDITIONAL FEATURES EN:1000V,3P,20A,F FRAME,MCCB | 01)CRISTAUDO'S INDUSTRIAL EL,01)E2FM3020ANZ,BREAKER,CIRCUIT,01)1000V,3P,20A,F FRAME,MCCB | E2FM3020ANZ | 3000267 | EATON CORPORATION | EATON CORPORATION | E2FM3020ANZ | [5 empty] | https://www.eaton.com/us/en-us/skuPage.E2FM3020.html | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 200 A | VOLTAGE RATING | 48 V | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1267035 | 1267035 | BREAKER,CIRCT;NHP,KT7HT,SHAFT EXT KT7 | BREAKER,CIRCUIT;MNFR:NHP,PTNO:KT7HT,ADDITIONAL FEATURES EN:SHAFT EXT KT7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKT7HT,BREAKER,CIRCUIT,01)SHAFT EXT KT7 | KT7HT | 3000664 | NHP | NHP | KT7HT | [5 empty] | https://nhpnz.co.nz/product/KT7HT | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING | 65 KA | POWER RATING | 7.5 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THERMAL TRIP RANGE: 6.3 TO 10 A | [49 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1267036 | 1267036 | BREAKER,CIRCT;NHP,KT7HTL,SHAFT 400MM | BREAKER,CIRCUIT;MNFR:NHP,PTNO:KT7HTL,ADDITIONAL FEATURES EN:SHAFT 400MM | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKT7HTL,BREAKER,CIRCUIT,01)SHAFT 400MM | KT7HTL | 3000664 | NHP | NHP | KT7HTL | [5 empty] | https://nhpnz.co.nz/product/KT7HTL | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING | 65 KA | POWER RATING | 7.5 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THERMAL TRIP RANGE: 6.3 TO 10 A | [49 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1267037 | 1267037 | BREAKER,CIRCT;NHP,KT7HTRY,DOOR MOUNTD OP | BREAKER,CIRCUIT;MNFR:NHP,PTNO:KT7HTRY,ADDITIONAL FEATURES EN:DOOR MOUNTD OPERATOR | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKT7HTRY,BREAKER,CIRCUIT,01)DOOR MOUNTD OPERATOR | KT7HTRY | 3000664 | NHP | NHP | KT7HTRY | [5 empty] | https://nhpnz.co.nz/product/KT7HTL | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES |  | INTERRUPT RATING | 65 KA | POWER RATING | 7.5 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THERMAL TRIP RANGE: 6.3 TO 10 A | [49 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1267003 | 1267003 | BREAKER,CIRCT;NHP,NHPMOD6MS180,S/P,80A | BREAKER,CIRCUIT;MNFR:NHP,PTNO:NHPMOD6MS180,ADDITIONAL FEATURES EN:S/P,80A | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPMOD6MS180,BREAKER,CIRCUIT,01)S/P,80A | NHPMOD6MS180 | 3000664 | NHP | NHP | MOD6MS180 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rexel.com.au/are/category/Power-Distribution/Circuit-Breakers/Miniature-circuit-breaker-%28MCB%29/RCBO-1P-D-6KA-30MA-10A-MOD-C/MD6M6RCBD1030CAN/p/12266828 | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h07/h8b/9049162252318/M6RCBD1030CAN-pds.pdf | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,IEC,RCM | ADDITIONAL FEATURES | COMPONENT TYPE POWER DISTRIBUTION & PROTECTION : RCBO,SERIES: MOD6,RATED LEAKAGE CURRENT: 30 MA | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272729 | 1272729 | BREAKER,CIRCT;NHP,P160H2320TM,MOLDED CAS | BREAKER,CIRCUIT;MNFR:NHP,PTNO:P160H2320TM,ADDITIONAL FEATURES EN:MOLDED CASE,3P,70KA,20A,FRAME SIZE:160,ADJ TH FIX MG SLD NT,TBP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPP160H2320TM,BREAKER,CIRCUIT,01)MOLDED CASE,3P,70KA,20A,FRA | P160H2320TM | 3000664 | NHP | NHP | P160H2320TM |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rexel.com.au/are/category/Power-Distribution/Circuit-Breakers/Miniature-circuit-breaker-%28MCB%29/RCBO-1P-D-6KA-30MA-16A-MOD-C/MD6M6RCBD1630CAN/p/12266830 | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h7f/h46/9049146884126/M6RCBD1630CAN-pds.pdf | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 16 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | CE,IEC,RCM | ADDITIONAL FEATURES | COMPONENT TYPE POWER DISTRIBUTION & PROTECTION : RCBO,SERIES: MOD6,RATED LEAKAGE CURRENT: 30 MA | [46 empty] | FRAME SIZE:160,ADJ TH FIX MG SLD NT,TBP | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272731 | 1272731 | BREAKER,CIRCT;NHP,P250H3250TM,MOLDED CAS | BREAKER,CIRCUIT;MNFR:NHP,PTNO:P250H3250TM,ADDITIONAL FEATURES EN:MOLDED CASE,3P,70KA,250A,FRAME SIZE:250,ADJ TH FIX MG SLD NT,TBP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPP250H3250TM,BREAKER,CIRCUIT,01)MOLDED CASE,3P,70KA,250A,FR | P250H3250TM | 3000664 | NHP | NHP | P250H3250TM |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rexel.com.au/are/category/Power-Distribution/Circuit-Breakers/Miniature-circuit-breaker-%28MCB%29/RCBO-1P-D-6KA-30MA-20A-MOD-C/MD6M6RCBD2030CAN/p/12266832?isPaginationRequest=true | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h21/hdb/9049165922334/M6RCBD2030CAN-pds.pdf | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 20 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | CE,IEC,RCM | ADDITIONAL FEATURES | COMPONENT TYPE POWER DISTRIBUTION & PROTECTION : RCBO,SERIES: MOD6,RATED LEAKAGE CURRENT: 30 MA | [46 empty] | FRAME SIZE:250,ADJ TH FIX MG SLD NT,TBP | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272631 | 1272631 | BREAKER,CIRCT;NHP,TERP250H3125TM,MCCB,3P | BREAKER,CIRCUIT;MNFR:NHP,PTNO:TERP250H3125TM,ADDITIONAL FEATURES EN:MCCB,3P,125A ADJ THERM AD,250 FRAME,70KA | 01)HAYMANS ELECTRICAL,01)TERP250H3125TM,BREAKER,CIRCUIT,01)MCCB,3P,125A ADJ THERM AD,02)250 FRAME,70KA | TERP250H3125TM | 3000664 | NHP | NHP | TERP250H3125TM |  | HAYMANS ELECTRICAL |  |  |  | https://www.rexel.com.au/are/category/Power-Distribution/Circuit-Breakers/Miniature-circuit-breaker-%28MCB%29/RCBO-1P-D-6KA-30MA-32A-MOD-C/MD6M6RCBD3230CAN/p/12266836?showBackLink=false | https://cdn2.rexel.com.au/medias/sys_Aurexel/sheets/sheets/h23/hf4/9049225363486/M6RCBD3230CAN-pds.pdf | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | CE,IEC,RCM | ADDITIONAL FEATURES | COMPONENT TYPE POWER DISTRIBUTION & PROTECTION : RCBO,SERIES: MOD6,RATED LEAKAGE CURRENT: 30 MA | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1213779 | 1213779 | BREAKER,CIRCT;RCD,63 A,415 VAC,P 4P | BREAKER,CIRCUIT;TYPE:RCD,CURRENT RATING:63 A,VOLTAGE RATING:415 VAC,NUMBER OF POLES:4P,TRIP SETTING:300 MA,MOUNTING TYPE:DIN RAIL, CERTIFICATION/STANDARD:AS 3190-1990,ADDITIONAL FEATURES EN:OPEN UNIT, 5SZ, INTEGRAL TEST BUTTON,MNFR:SIEMENS,PTNO:5SZ6-460 | EN_01)RCD,63 A,415 VAC,EN_01)300 MA,DIN RAIL,EN_01)AS 3190-1990,01)OPEN UNIT, 5SZ, INTEGRAL TE,BREAKER,EARTH LEAKAGE | 5SZ6-460 | 3000032 | SIEMENS | SIEMENS | 5SZ6-460 | [5 empty] | https://www.radwell.com/en-US/Buy/SIEMENS/SIEMENS/5SZ6-460-0A/ | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 6 A | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1220472 | 1220472 | BREAKER,CIRCT;SCHN,MX9R3132,RCBO,IP20,VO | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:MX9R3132,ADDITIONAL FEATURES EN:RCBO,IP20,VOLTAGE:240V,CURRENT 32A,COLOUR:WHITE,MAT:METAL AND PLASTIC,SIZE:18X93X73MM | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIMX9R3132,BREAKER,CIRCUIT,01)RCBO,IP20,VOLTAGE:240V,CURR,02)MAT:METAL AND PLASTIC,SIZE: | MX9R3132 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | MX9R3132 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=MX9R3132&itemno=MX9R3132 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 13 A | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [47 empty] | VOLTAGE:240V,CURRENT 32A,COLOUR:WHITE,MAT:METAL AND PLASTIC,SIZE:18X93X73MM | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272100 | 1272100 | BREAKER,CIRCT;SCHN,MX9R3240,RCBO,1PN,40A | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:MX9R3240,ADDITIONAL FEATURES EN:RCBO,1PN,40A,30MA,C CURVE,A TYPE,2 MOD,VD,6000A,WITH OVERCURRENT PROTECTION,BRAND:CLIPSAL | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIMX9R3240,BREAKER,CIRCUIT,01)RCBO,1PN,40A,30MA,C CURVE,A,02)WITH OVERCURRENT PROTECTION | MX9R3240 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | MX9R3240 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=MX9R3132&itemno=MX9R3132 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 25 A | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [47 empty] | BRAND:CLIPSAL | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272101 | 1272101 | BREAKER,CIRCT;SCHN,MX9R3532,RCBO,3PN,32A | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:MX9R3532,ADDITIONAL FEATURES EN:RCBO,3PN,32A,30MA,C CURVE,A TYPE,6000A,5 MOD,VI,WITH OVERCURRENT PROTECTION,BRAND:CLIPSAL | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIMX9R3532,BREAKER,CIRCUIT,01)RCBO,3PN,32A,30MA,C CURVE,A,02)WITH OVERCURRENT PROTECTION | MX9R3532 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | MX9R3532 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=MX9R3132&itemno=MX9R3132 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [47 empty] | BRAND:CLIPSAL | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272555 | 1272555 | BREAKER,CIRCT;SCHN,MX9RC440,RESIDUAL CUR | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:MX9RC440,ADDITIONAL FEATURES EN:RESIDUAL CURRENT,4P,40A,30MA,MAX9,A TYPE,BRAND:CLIPSAL | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIMX9RC440,BREAKER,CIRCUIT,01)RESIDUAL CURRENT,4P,40A,30M | MX9RC440 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | MX9RC440 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=MX9R3132&itemno=MX9R3132 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 50 A | VOLTAGE RATING | 240 VAC,48 VDC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [47 empty] | BRAND:CLIPSAL | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1272678 | 1272678 | BREAKER,CIRCT;SCHN,RCBM225/30,2MOD,250V | BREAKER,CIRCUIT;MNFR:SCHNEIDER INC,PTNO:RCBM225/30,ADDITIONAL FEATURES EN:2MOD,250V,MCB/RCD,2P,25A,30MA,8KA | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIRCBM225/30,BREAKER,CIRCUIT,01)2MOD,250V,02)MCB/RCD,2P,25A,30MA,8KA | RCBM225/30 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RCBM225/30 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=MX9R3132&itemno=MX9R3132 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 4 A | VOLTAGE RATING | 415 VAC,110 VDC | NUMBER OF POLES | 2 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | AS/NZS,CE,DIN,IEC,N17481,RCM,UL | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1216819 | 1216819 | BREAKER,CIRCT;SIE,5SM3415-0KK,RCCB,2P,12 | BREAKER,CIRCUIT;MNFR:SIEMENS,PTNO:5SM3415-0KK,ADDITIONAL FEATURES EN:RCCB,2P,125A,100MA | 01)HAYMANS ELECTRICAL (SERVI,01)5SM3415-0KK,BREAKER,CIRCUIT,01)RCCB,2P,125A,100MA | 5SM3415-0KK | 3000032 | SIEMENS | SIEMENS | 5SM3415-0KK | [5 empty] | https://www.radwell.com/en-US/Buy/SIEMENS/SIEMENS/5SZ6-460-0A/ | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 240 VAC | NUMBER OF POLES | 1 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | C-CURVE | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 18 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | CE,IEC,RCM | ADDITIONAL FEATURES | COMPONENT TYPE POWER DISTRIBUTION & PROTECTION : RCBO,SERIES: MOD6,RATED LEAKAGE CURRENT: 30 MA | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332965 | 1332965 | COLLAR;DIEC,BWF1305 | COLLAR;MNFR:DIECI,PTNO:BWF1305,ADDITIONAL FEATURES EN:FIXING | COLLAR,01)FIXING | BWF1305 | 3000511 | DIECI | DIECI | BWF1305 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163210 Retaining collars | COLLAR | NO MODIFIER | TYPE | FIXING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333461 | 1333461 | COLLAR;DIEC,BWF1332 | COLLAR;MNFR:DIECI,PTNO:BWF1332,ADDITIONAL FEATURES EN:FIXING | COLLAR,01)FIXING | BWF1332 | 3000511 | DIECI | DIECI | BWF1332 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163210 Retaining collars | COLLAR | NO MODIFIER | TYPE | FIXING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333574 | 1333574 | COLLAR;DIEC,CVC3600/CL | COLLAR;MNFR:DIECI,PTNO:CVC3600/CL,ADDITIONAL FEATURES EN:FIXING | COLLAR,01)FIXING | CVC3600/CL | 3000511 | DIECI | DIECI | CVC3600/CL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163210 Retaining collars | COLLAR | NO MODIFIER | TYPE | FIXING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252868 | 1252868 | CONNECTOR,ELEC;DIEC,4C.125762 | CONNECTOR,ELECTRICAL;MNFR:DIECI,PTNO:4C.125762,ADDITIONAL FEATURES EN:BODY, PLUG | CONNECTOR,ELECTRICAL,01)BODY, PLUG | 4C.125762 | 3000511 | DIECI | DIECI | 4C.125762 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE |  | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BODY,PLUG | [51 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333386 | 1333386 | CONNECTOR,TERM;DIEC,4C.120239 | CONNECTOR,TERMINAL;MNFR:DIECI,PTNO:4C.120239,ADDITIONAL FEATURES EN:CONNECTION FEMALE | CONNECTOR,TERMINAL,01)CONNECTION FEMALE | 4C.120239 | 3000511 | DIECI | DIECI | 4C.120239 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | TERMINAL | TYPE |  | CONDUCTOR SIZE |  | STUD/HOLE SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION FEMALE | [53 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333368 | 1333368 | CONNECTOR,TERM;DIEC,4C.XE0900324 | CONNECTOR,TERMINAL;MNFR:DIECI,PTNO:4C.XE0900324,ADDITIONAL FEATURES EN:CONNECTION FEMALE | CONNECTOR,TERMINAL,01)CONNECTION FEMALE | 4C.XE0900324 | 3000511 | DIECI | DIECI | 4C.XE0900324 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | TERMINAL | TYPE |  | CONDUCTOR SIZE |  | STUD/HOLE SIZE |  | MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION FEMALE | [53 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252908 | 1252908 | CONNECTOR;DIEC,4C.2001080000 | CONNECTOR;MNFR:DIECI,PTNO:4C.2001080000,ADDITIONAL FEATURES EN:MULTI LINK CAN BUS | CONNECTOR,01)MULTI LINK CAN BUS | 4C.2001080000 | 3000511 | DIECI | DIECI | 4C.2001080000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MULTI LINK CAN BUS | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333399 | 1333399 | CONNECTOR;DIEC,BHE1407/LC | CONNECTOR;MNFR:DIECI,PTNO:BHE1407/LC,ADDITIONAL FEATURES EN:COIL PLUG | CONNECTOR,01)COIL PLUG | BHE1407/LC | 3000511 | DIECI | DIECI | BHE1407/LC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COIL PLUG | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273757 | 1273757 | CONNECTOR;PRKH,EMI-16A-201Q-F, 77 SERIES | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-16A-201Q-F,ADDITIONAL FEATURES EN: 77 SERIES 20 45DEG FLANGED HOSE TAIL 77 SERIES, STEEL HOSE | 01)ENZED,01)EMI-16A-201Q-F,CONNECTOR,01) 77 SERIES 20 45DEG FLANGED | EMI-16A-201Q-F | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-16A-201Q-F | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 77 SERIES 20 45DEG FLANGED HOSE TAIL 77 SERIES,STEEL HOSE | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273756 | 1273756 | CONNECTOR;PRKH,EMI-16A-201Q-N, 77 SERIES | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-16A-201Q-N,ADDITIONAL FEATURES EN: 77 SERIES 20 ELBOW FLANGED HOSE TAIL 77 SERIES, STEEL HOSE | 01)ENZED,01)EMI-16A-201Q-N,CONNECTOR,01) 77 SERIES 20 ELBOW FLANGED | EMI-16A-201Q-N | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-16A-201Q-N | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 77 SERIES 20 ELBOW FLANGED HOSE TAIL 77 SERIES,STEEL HOSE | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273746 | 1273746 | CONNECTOR;PRKH,EMI-43S-J4-12,12 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J4-12,ADDITIONAL FEATURES EN:12 SEALLOK F45DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J4-12,CONNECTOR,01)12 SEALLOK F45DEGREE HOSE T | EMI-43S-J4-12 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J4-12 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 12 SEALLOK F45DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273747 | 1273747 | CONNECTOR;PRKH,EMI-43S-J4-16,16 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J4-16,ADDITIONAL FEATURES EN:16 SEALLOK F45DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J4-16,CONNECTOR,01)16 SEALLOK F45DEGREE HOSE T | EMI-43S-J4-16 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J4-16 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 16 SEALLOK F45DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273742 | 1273742 | CONNECTOR;PRKH,EMI-43S-J4-64,64 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J4-64,ADDITIONAL FEATURES EN:64 SEALLOK F45DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J4-64,CONNECTOR,01)64 SEALLOK F45DEGREE HOSE T | EMI-43S-J4-64 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J4-64 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 64 SEALLOK F45DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273745 | 1273745 | CONNECTOR;PRKH,EMI-43S-J4-86,86 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J4-86,ADDITIONAL FEATURES EN:86 SEALLOK F45DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J4-86,CONNECTOR,01)86 SEALLOK F45DEGREE HOSE T | EMI-43S-J4-86 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J4-86 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 86 SEALLOK F45DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273738 | 1273738 | CONNECTOR;PRKH,EMI-43S-J4-8-Z,81 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J4-8-Z,ADDITIONAL FEATURES EN:81 SEALLOK F45DEGREE HOSE TAILS PK, STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J4-8-Z,CONNECTOR,01)81 SEALLOK F45DEGREE HOSE T | EMI-43S-J4-8-Z | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J4-8-Z | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 81 SEALLOK F45DEGREE HOSE TAILS PK,STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273741 | 1273741 | CONNECTOR;PRKH,EMI-43S-J9-108,108 SEALLO | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J9-108,ADDITIONAL FEATURES EN:108 SEALLOK F90DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J9-108,CONNECTOR,01)108 SEALLOK F90DEGREE HOSE | EMI-43S-J9-108 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J9-108 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 108 SEALLOK F90DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273739 | 1273739 | CONNECTOR;PRKH,EMI-43S-J9-64,64 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J9-64,ADDITIONAL FEATURES EN:64 SEALLOK F90DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J9-64,CONNECTOR,01)64 SEALLOK F90DEGREE HOSE T | EMI-43S-J9-64 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J9-64 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 64 SEALLOK F90DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273744 | 1273744 | CONNECTOR;PRKH,EMI-43S-J9-86,86 SEALLOK | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-43S-J9-86,ADDITIONAL FEATURES EN:86 SEALLOK F90DEGREE HOSE TAILS PK STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-43S-J9-86,CONNECTOR,01)86 SEALLOK F90DEGREE HOSE T | EMI-43S-J9-86 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-43S-J9-86 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 86 SEALLOK F90DEGREE HOSE TAILS PK STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273737 | 1273737 | CONNECTOR;PRKH,EMI-SAEF-61-161 | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-SAEF-61-161 | 01)ENZED,01)EMI-SAEF-61-161,CONNECTOR | EMI-SAEF-61-161 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-SAEF-61-161 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273748 | 1273748 | CONNECTOR;PRKH,EMI-SAEF-61-1634,1634 SAE | CONNECTOR;MNFR:PARKER HANNIFIN,PTNO:EMI-SAEF-61-1634,ADDITIONAL FEATURES EN:1634 SAE1 FLANGE HOSE TAIL 90DEG STEEL, 43 SERIES, HOSE TAIL | 01)ENZED,01)EMI-SAEF-61-1634,CONNECTOR,01)1634 SAE1 FLANGE HOSE TAIL | EMI-SAEF-61-1634 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-SAEF-61-1634 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1634 SAE1 FLANGE HOSE TAIL 90DEG STEEL,43 SERIES,HOSE TAIL | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252957 | 1252957 | DIODE;DIEC,4C.303754006 | DIODE;MNFR:DIECI,PTNO:4C.303754006,ADDITIONAL FEATURES EN:1A | DIODE,01)1A | 4C.303754006 | 3000511 | DIECI | DIECI | 4C.303754006 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111502 Zener diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT | 1 A | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1A | [41 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252956 | 1252956 | DIODE;DIEC,4C.303754024 | DIODE;MNFR:DIECI,PTNO:4C.303754024,ADDITIONAL FEATURES EN:1A, 6A | DIODE,01)1A, 6A | 4C.303754024 | 3000511 | DIECI | DIECI | 4C.303754024 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111502 Zener diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT | 6 A | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1A,6A | [41 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252878 | 1252878 | DIODE;DIEC,BEP0023 | DIODE;MNFR:DIECI,PTNO:BEP0023,ADDITIONAL FEATURES EN:1A | DIODE,01)1A | BEP0023 | 3000511 | DIECI | DIECI | BEP0023 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111502 Zener diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT | 1 A | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1A | [41 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1257765 | 1257765 | INDICATOR,LVL;DIEC,4C108308 | INDICATOR,LEVEL;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:FUEL QUANTITY,PTNO 01:4C108308 | INDICATOR,LEVEL,01)FUEL QUANTITY | 4C108308 | 3000511 | DIECI | DIECI | ZEUS 33.1/SAMSON 70.10 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111950 Level indicator | INDICATOR | LEVEL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | GRADUATION |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | INTERFACE TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FUEL QUANTITY | [46 empty] | PTNO 01:4C108308 | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252968 | 1252968 | INDICATOR,LVL;DIEC,4M.0430032DIE | INDICATOR,LEVEL;MNFR:DIECI,PTNO:4M.0430032DIE,ADDITIONAL FEATURES EN:PRESSURE | INDICATOR,LEVEL,01)PRESSURE | 4M.0430032DIE | 3000511 | DIECI | DIECI | 4M.0430032DIE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111950 Level indicator | INDICATOR | LEVEL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | GRADUATION |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | INTERFACE TYPE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333662 | 1333662 | LEAD;DIEC,4C-0A050556 | LEAD;MNFR:DIECI,PTNO:4C-0A050556,ADDITIONAL FEATURES EN:BATTERY, NEGATIVE | LEAD,01)BATTERY, NEGATIVE | 4C-0A050556 | 3000511 | DIECI | DIECI | 4C-0A050556 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 44121902 Lead refills | LEAD | NO MODIFIER | TYPE |  | SIZE |  | LENGTH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BATTERY,NEGATIVE | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252892 | 1252892 | REDUCER;DIEC,5H.357104 | REDUCER;MNFR:DIECI,PTNO:5H.357104,ADDITIONAL FEATURES EN:GEAR | REDUCER,01)GEAR | 5H.357104 | 3000511 | DIECI | DIECI | 5H.357104 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE | GEAR | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332994 | 1332994 | REDUCER;DIEC,9D.E212.312SM18X15 | REDUCER;MNFR:DIECI,PTNO:9D.E212.312SM18X15,ADDITIONAL FEATURES EN:NIPPLE,NOMINAL SIZE:M20-1.5 X M18-2.5 | REDUCER,01)NIPPLE,NOMINAL SIZE:M20-1.5 X M18-2.5 | 9D.E212.312SM18X15 | 3000511 | DIECI | DIECI | 9D.E212.312SM18X15 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE | NIPPLE | NOMINAL SIZE | M20-1.5 X M18-2.5 | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1264808 | 1264808 | RELAY,ELCTROMAG;ABB,C3-T31DX24D | RELAY,ELECTROMAGNET;MNFR:ABB,PTNO:C3-T31DX24D | RELAY,ELECTROMAGNET | C3-T31DX24D | 3000014 | ABB | ABB | C3-T31DX24D | [5 empty] | https://www.kempstoncontrols.ae/m/releco/page/20 | [11 empty] | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1264807 | 1264807 | RELAY,ELCTROMAG;ABB,C3-T31X230A | RELAY,ELECTROMAGNET;MNFR:ABB,PTNO:C3-T31X230A | RELAY,ELECTROMAGNET | C3-T31X230A | 3000014 | ABB | ABB | C3-T31X230A | [5 empty] | https://www.oem.co.uk/products/panel/relays-,-a-,-contactors/industrial-relays-_-451993/c3-industrial-relay-_-99911 | [11 empty] | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1218258 | 1218258 | RELAY,ELCTROMAG;ALIM,3000 808 213,4P.C/O | RELAY,ELECTROMAGNET;MNFR:ALIMAK,PTNO:3000 808 213,ADDITIONAL FEATURES EN:4P.C/O,3A,NO BASE, AC240 | 01)ALIMAK,01)3000 808 213,01)ALIMAK GROUP AUSTRALIA PT,01)3000 808 213,RELAY,ELECTROMAGNET,01)4P.C/O,3A,NO BASE, AC240 | 3000 808 213 | 3000412 | ALIMAK | ALIMAK | 3000 808 213 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1218257 | 1218257 | RELAY,ELCTROMAG;ALIM,3000 808 231,OMRON | RELAY,ELECTROMAGNET;MNFR:ALIMAK,PTNO:3000 808 231,ADDITIONAL FEATURES EN:OMRON,24VDC,2 POL.VXL | 01)ALIMAK,01)3000 808 231,01)ALIMAK GROUP AUSTRALIA PT,01)3000 808 231,RELAY,ELECTROMAGNET,01)OMRON,24VDC,2 POL.VXL | 3000 808 231 | 3000412 | ALIMAK | ALIMAK | 3000 808 231 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1218256 | 1218256 | RELAY,ELCTROMAG;ALIM,3000 808 233,OMRON | RELAY,ELECTROMAGNET;MNFR:ALIMAK,PTNO:3000 808 233,ADDITIONAL FEATURES EN:OMRON,240VAC | 01)ALIMAK,01)3000 808 233,01)ALIMAK GROUP AUSTRALIA PT,01)3000 808 233,RELAY,ELECTROMAGNET,01)OMRON,240VAC | 3000 808 233 | 3000412 | ALIMAK | ALIMAK | 3000 808 233 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332866 | 1332866 | RELAY,ELCTROMAG;OMRON,MY4N-D2-DC24 | RELAY,ELECTROMAGNET;CURRENT RATING:3 A,COIL VOLTAGE:24 VDC,CONTACT CONFIGURATION:4PDT,MOUNTING TYPE:SOCKET,SIZE:WD 41.5 X HT 36 X DP 28 MM,ADDITIONAL FEATURES EN:4-POLE COMPACT LED INDICATOR GEN.PURPOSE,MNFR:01)CNW,PTNO:01)MY4N-D2-DC24 | 3 A,24 VDC,4PDT,SOCKET,EN_01)WD 41.5 X HT 36 X DP 28,01)4-POLE COMPACT LED INDICATO,01)CNW,01)MY4N-D2-DC24 | MY4N-D2-DC24 | 3000328 | OMRON | OMRON | MY4N-D2-DC24 |  | CNW |  |  |  | https://www.ia.omron.com/product/item/7518/ | [10 empty] | ENRICHED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE |  | CURRENT RATING | 3 A | VOLTAGE RATING |  | COIL VOLTAGE | 24 VDC | CONTACT CONFIGURATION | 4PDT | MOUNTING TYPE | SOCKET | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE | WD 41.5 X HT 36 X DP 28 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4-POLE COMPACT LED INDICATOR GEN.PURPOSE | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1275071 | 1275071 | RELAY,OVRLD;CGE,P15D111A1A0010A | RELAY,OVRLD;MNFR:GENERAL ELECTRIC,PTNO:P15D111A1A0010A |  | P15D111A1A0010A | 3000245 | GENERAL ELECTRIC | GENERAL ELECTRIC | P15D111A1A0010A | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/P15D111A1A0010A-161003-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | DUAL POWER OVERCURRENT | CURRENT RATING | 1 A | VOLTAGE RATING | 24 TO 50 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1266767 | 1266767 | RELAY,OVRLD;EATO,ZB12-6 | RELAY,OVERLOAD;MNFR:EATON CORPORATION,PTNO:ZB12-6 | 01)JETBLASTER AUSTRALIA PTY,01)ZB12-6,RELAY,OVERLOAD | ZB12-6 | 3000267 | EATON CORPORATION | EATON CORPORATION | ZB12-6 |  | JETBLASTER AUSTRALIA PTY |  |  |  | https://www.tme.com/us/en-us/details/zb12-6/contactors-accessories/eaton-electric/ | https://cdn.shopify.com/s/files/1/0276/0700/7329/files/Eaton-xtob006bc1-ZB12-6-datasheet.pdf?v=1638806090 | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 4 TO 6 A | VOLTAGE RATING | 690 VAC | CONTACT RATING | 240 VAC | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE | DIRECT | TERMINAL TYPE | SCREW | CONTACT MATERIAL |  | SIZE | 88 WD X120 HTXDP 45 MM | RESET TYPE | PUSHBUTTON AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CE,IEC/EN,UL | ADDITIONAL FEATURES EN | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273812 | 1273812 | RELAY,OVRLD;NHP,CT7N23A80,THRM,0.55-0.8A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23A80,ADDITIONAL FEATURES EN:THERMAL,0.55-0.8A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23A80,RELAY,OVERLOAD,01)0.55-0.8A,SUIT CA7-9/23,01)THERMAL | CT7N23A80 | 3000664 | NHP | NHP | CT7N23A80 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N23A80 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 0.55 TO 0.8 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273813 | 1273813 | RELAY,OVRLD;NHP,CT7N23B13,THRM,0.9-1.3A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23B13,ADDITIONAL FEATURES EN:THERMAL,0.9-1.3A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23B13,RELAY,OVERLOAD,01)0.9-1.3A,SUIT CA7-9/23,01)THERMAL | CT7N23B13 | 3000664 | NHP | NHP | CT7N23B13 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N23B13 | https://www.rexel.com.au/are/category/Industrial/Contactor-%26-Overload/Thermal-overload-relay/OVERLOAD-THERMAL-0-9-1-3A/SPRCT7N-23-B13/p/10508596 | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 0.9 TO 1.3 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273814 | 1273814 | RELAY,OVRLD;NHP,CT7N23B16,THRM,1.1-1.6A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23B16,ADDITIONAL FEATURES EN:THERMAL,1.1-1.6A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23B16,RELAY,OVERLOAD,01)1.1-1.6A,SUIT CA7-9/23,01)THERMAL | CT7N23B16 | 3000664 | NHP | NHP | CT7N23B16 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://cdn2.learsmith.com.au/medias/sys_Aulearsmith/sheets/sheets/hb3/h10/9108904837150/CT7N23B16-pds.pdf | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 1.1 TO 1.6 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273815 | 1273815 | RELAY,OVRLD;NHP,CT7N23B20,THRM,1.4-2A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23B20,ADDITIONAL FEATURES EN:THERMAL,1.4-2A, SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23B20,RELAY,OVERLOAD,01)1.4-2A, SUIT CA7-9/23,01)THERMAL | CT7N23B20 | 3000664 | NHP | NHP | CT7N23B20 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/product/ct7n23b20 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 1.4 TO 2 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273816 | 1273816 | RELAY,OVRLD;NHP,CT7N23C12,THRM,9-12.5 A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23C12,ADDITIONAL FEATURES EN:THERMAL,9-12.5 A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23C12,RELAY,OVERLOAD,01)9-12.5 A,SUIT CA7-9/23,01)THERMAL | CT7N23C12 | 3000664 | NHP | NHP | CT7N23C12 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/product/ct7n23c12 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 9 TO 12.5 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273817 | 1273817 | RELAY,OVRLD;NHP,CT7N23C16,THRM,11.3-16 A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23C16,ADDITIONAL FEATURES EN:THERMAL,11.3-16 A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23C16,RELAY,OVERLOAD,01)11.3-16 A,SUIT CA7-9/23,01)THERMAL | CT7N23C16 | 3000664 | NHP | NHP | CT7N23C16 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N23C16 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 11.3 TO 16 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1267133 | 1267133 | RELAY,OVRLD;NHP,CT7N23C20,THERMAL 15-20A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23C20,ADDITIONAL FEATURES EN:THERMAL 15-20AMP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCT7N23C20,RELAY,OVERLOAD,01)THERMAL 15-20AMP | CT7N23C20 | 3000664 | NHP | NHP | CT7N23C20 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217586/NHP_NZ_Catalog-361/NHP_NZ_Catalog-362/NHP_NZ_Catalog-697/CT7N23C20 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 15 TO 20 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273818 | 1273818 | RELAY,OVRLD;NHP,CT7N23C21,THRM,17.5-21.5 | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23C21,ADDITIONAL FEATURES EN:THERMAL,17.5-21.5A,SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23C21,RELAY,OVERLOAD,01)17.5-21.5A,SUIT CA7-9/23,01)THERMAL | CT7N23C21 | 3000664 | NHP | NHP | CT7N23C21 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N23C21 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 17.5 TO 21.5 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273819 | 1273819 | RELAY,OVRLD;NHP,CT7N23C25,THRM,21-25 A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N23C25,ADDITIONAL FEATURES EN:THERMAL,21-25 A, SUIT CA7-9/23 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N23C25,RELAY,OVERLOAD,01)21-25 A, SUIT CA7-9/23,01)THERMAL | CT7N23C25 | 3000664 | NHP | NHP | CT7N23C25 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhp.com.au/product/ct7n23c25 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 21 TO 25 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-9/23 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273820 | 1273820 | RELAY,OVRLD;NHP,CT7N37C20,THRM,15-20 A | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N37C20,ADDITIONAL FEATURES EN:THERMAL,15-20 A, SUIT CA7-30/37 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N37C20,RELAY,OVERLOAD,01)15-20 A, SUIT CA7-30/37,01)THERMAL | CT7N37C20 | 3000664 | NHP | NHP | CT7N37C20 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT7N37C20 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 15 TO 20 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-30/37 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1273821 | 1273821 | RELAY,OVRLD;NHP,CT7N37C21,THRM,17.5-21.5 | RELAY,OVERLOAD;MNFR:NHP,PTNO:CT7N37C21,ADDITIONAL FEATURES EN:THERMAL,17.5-21.5A,SUIT CA7-30/37 | 01)SHERRIFF ELECTRICAL SUPPL,01)CT7N37C21,RELAY,OVERLOAD,01)17.5-21.5A,SUIT CA7-30/37,01)THERMAL | CT7N37C21 | 3000664 | NHP | NHP | CT7N37C21 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhpnz.co.nz/product/ct7n37c21 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 17.5 TO 21.5 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10A | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE | AUTOMATIC/MANUAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CA7-30/37 | [43 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333441 | 1333441 | SEAT;DIEC,BVB1149 | SEAT;MNFR:DIECI,PTNO:BVB1149,ADDITIONAL FEATURES EN:COMPLETE | SEAT,01)COMPLETE | BVB1149 | 3000511 | DIECI | DIECI | BVB1149 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 56112100 Seating | SEAT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [61 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252941 | 1252941 | VENT;DIEC,3E.31348 | VENT;MNFR:DIECI,PTNO:3E.31348,ADDITIONAL FEATURES EN:INTAKE | VENT,01)INTAKE | 3E.31348 | 3000511 | DIECI | DIECI | 3E.31348 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101503 Vents | VENT | NO MODIFIER | TYPE | INTAKE | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333539 | 1333539 | VENT;DIEC,CAB0000002 | VENT;MNFR:DIECI,PTNO:CAB0000002,ADDITIONAL FEATURES EN:INTAKE | VENT,01)INTAKE | CAB0000002 | 3000511 | DIECI | DIECI | CAB0000002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101503 Vents | VENT | NO MODIFIER | TYPE | INTAKE | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1333364 | 1333364 | VENTILATOR;DIEC,BCN9700/CL | VENTILATOR;MNFR:DIECI,PTNO:BCN9700/CL,ADDITIONAL FEATURES EN:BARREL, OIL | VENTILATOR,01)BARREL, OIL | BCN9700/CL | 3000511 | DIECI | DIECI | BCN9700/CL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101500 Ventilation | VENTILATOR | NO MODIFIER | TYPE | BARREL, OIL | FLOW RATING |  | SPEED RATING |  | MATERIAL |  | END CONNECTION |  | SIZE |  | ELECTRICAL RATING |  | DRIVE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332985 | 1332985 | WIRE,ELEC;DIEC,4C.0A001485 | WIRE,ELECTRICAL;MNFR:DIECI,PTNO:4C.0A001485,ADDITIONAL FEATURES EN:GROUND | WIRE,ELECTRICAL,01)GROUND | 4C.0A001485 | 3000511 | DIECI | DIECI | 4C.0A001485 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121500 Electrical wire | WIRE | ELECTRICAL | TYPE | GROUND | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | NUMBER OF CONDUCTORS |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1332984 | 1332984 | WIRE,ELEC;DIEC,4C.0A006559 | WIRE,ELECTRICAL;MNFR:DIECI,PTNO:4C.0A006559,ADDITIONAL FEATURES EN:GROUND | WIRE,ELECTRICAL,01)GROUND | 4C.0A006559 | 3000511 | DIECI | DIECI | 4C.0A006559 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121500 Electrical wire | WIRE | ELECTRICAL | TYPE | GROUND | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | NUMBER OF CONDUCTORS |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252877 | 1252877 | WIRE,ELEC;DIEC,BEK7115 | WIRE,ELECTRICAL;MNFR:DIECI,PTNO:BEK7115,ADDITIONAL FEATURES EN:LINE | WIRE,ELECTRICAL,01)LINE | BEK7115 | 3000511 | DIECI | DIECI | BEK7115 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121500 Electrical wire | WIRE | ELECTRICAL | TYPE | LINE | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | NUMBER OF CONDUCTORS |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252876 | 1252876 | WIRE,ELEC;DIEC,BEK7157 | WIRE,ELECTRICAL;MNFR:DIECI,PTNO:BEK7157,ADDITIONAL FEATURES EN:LINE | WIRE,ELECTRICAL,01)LINE | BEK7157 | 3000511 | DIECI | DIECI | BEK7157 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121500 Electrical wire | WIRE | ELECTRICAL | TYPE | LINE | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | NUMBER OF CONDUCTORS |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-28 |  | 1252875 | 1252875 | WIRE,ELEC;DIEC,BEK7226 | WIRE,ELECTRICAL;MNFR:DIECI,PTNO:BEK7226,ADDITIONAL FEATURES EN:LINE | WIRE,ELECTRICAL,01)LINE | BEK7226 | 3000511 | DIECI | DIECI | BEK7226 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121500 Electrical wire | WIRE | ELECTRICAL | TYPE | LINE | VOLTAGE RATING |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | NUMBER OF CONDUCTORS |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production COMPLETED