## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1272726 | 1272726 | ALARM;NHP,T2AL00LML3STA,F/A/P MODEL 1C/O | ALARM;MNFR:NHP,PTNO:T2AL00LML3STA,ADDITIONAL FEATURES EN:F/A/P MODEL 1C/O GENERAL TYPE LEFT SIDE ONLY,BRAND:TBP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT2AL00LML3STA,ALARM,01)F/A/P MODEL 1C/O GENERAL TY | T2AL00LML3STA | 3000664 | NHP | NHP | T2AL00LML3STA |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/T2AL00LML3STA-214916-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://www.nhp.com.au/product/t2al00lml3sta | [9 empty] | ENRICHED | 46190000 Fire protection | ALARM | NO MODIFIER | TYPE |  | SOUND INTENSITY |  | ALARM TONE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 24.5 WDX161 HTX60 DP MM | MATERIAL |  | COATING/FINISH |  | MOUNTING |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:TBP,FOR A/P MODEL 1C/O GENERAL TYPE LEFT SIDE ONLY | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1267334 | 1267334 | ATTACHMENT;AB,A-B800TN315,PADLCK | ATTACHMENT;MNFR:ALLEN BRADLEY,PTNO:A-B800TN315,ADDITIONAL FEATURES EN:PADLOCK | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B800TN315,ATTACHMENT,01)PADLOCK | A-B800TN315 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B800TN315 | [5 empty] | https://www.horizonsolutions.com/product/A-B800TN315 | https://www.stateelectric.com/products/allen-bradley-800t-n315/ | [9 empty] | ENRICHED | 40141700 Hardware and fittings | ATTACHMENT | NO MODIFIER | TYPE | PADLOCK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1273492 | 1273492 | ATTACHMENT;NHP,D7ASL3C,PADLCK,F/SLCTR SW | ATTACHMENT;MNFR:NHP,PTNO:D7ASL3C,ADDITIONAL FEATURES EN:PADLOCK,F/SLCTR SW CENTER LOCK,3 POS,BI NHP 22 |  | D7ASL3C | 3000664 | NHP | NHP | D7ASL3C | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/D7ASL3C-5793-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 40141700 Hardware and fittings | ATTACHMENT | NO MODIFIER | TYPE | PADLOCK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEMA ICS-5,UL 508,EN 60947-1,UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | FOR SELECTOR SWITCH CENTER LOCK,3 POSITION,BI NHP 22 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1273493 | 1273493 | ATTACHMENT;NHP,D7ASL3L,PADLCK,F/SLCTR SW | ATTACHMENT;MNFR:NHP,PTNO:D7ASL3L,ADDITIONAL FEATURES EN:PADLOCK,F/SLCTR SW CENTER LOCK,2 POS,BI NHP 22 |  | D7ASL3L | 3000664 | NHP | NHP | D7ASL3L | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | ATTACHMENT | NO MODIFIER | TYPE | PADLOCK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR SELECTOR SWITCH CENTER LOCK,2 POSITION,BI NHP 22 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1258283 | 1258283 | CAPACITOR;SIE,11-A-417 (DWG) | CAPACITOR;MNFR:SIEMENS,PTNO:11-A-417 (DWG) | CAPACITOR | 11-A-417 (DWG) | 3000032 | SIEMENS | SIEMENS | 11-A-417 (DWG) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32121500 Capacitors | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1321977 | 1321977 | CAPACITOR;SIE,B32110-D3475-M | CAPACITOR;MNFR:SIEMENS,PTNO:B32110-D3475-M | CAPACITOR | B32110-D3475-M | 3000032 | SIEMENS | SIEMENS | B32110-D3475-M | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32121500 Capacitors | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE |  | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1214293 | 1214293 | CAPACITOR;SIE,B32110-D3685-M | CAPACITOR;MNFR:SIEMENS,PTNO:B32110-D3685-M | CAPACITOR | B32110-D3685-M | 3000032 | SIEMENS | SIEMENS | B32110-D3685-M | [5 empty] | https://electronic-studio.com/MKL-capacitor-33lf-63VDC-B32110-F-Siemens | [10 empty] | CLEANSED | 32121500 Capacitors | CAPACITOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | KVAR RATING |  | CAPACITANCE |  | TERMINAL TYPE |  | SIZE | 10X24 MM | BODY MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1220362 | 1220362 | CASING;FLOW,BS1806-282,FR10,O-RING BUNA | CASING;MNFR:FLOWSERVE,PTNO:BS1806-282,ADDITIONAL FEATURES EN:FR10,O-RING BUNA | 01)DOWDENS GROUP PTY LTD T/A,01)KLBS1806-282,CASING,01)FR10,O-RING BUNA | BS1806-282 | 3000277 | FLOWSERVE | FLOWSERVE | BS1806-282 |  | DOWDENS GROUP PTY LTD |  |  |  | https://www.polymax.co.uk/media/documents/Oring_sizes_BS1806.pdf | [10 empty] | ENRICHED | 31401503 O ring molded gasket | O-RING | NO MODIFIER | INSIDE DIAMETER | 405.26 MM | OUTSIDE DIAMETER |  | WIDTH | 3.53 MM | MATERIAL | BUNA | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FR10 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1252890 | 1252890 | CLIP,RETNG;DIEC,6S.PLA018 | CLIP,RETAINING;MNFR:DIECI,PTNO:6S.PLA018,ADDITIONAL FEATURES EN:BELLOWS | CLIP,RETAINING,01)BELLOWS | 6S.PLA018 | 3000511 | DIECI | DIECI | 6S.PLA018 | [5 empty] | https://goldytech.com.ua/ua/p1067844623-6spla018-zatiskach-diyechi.html | [10 empty] | CLEANSED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | BELLOWS | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1258185 | 1258185 | COMPOUND;ABB,GHSN390001P0001 | COMPOUND;MNFR:ABB,PTNO:GHSN390001P0001 | COMPOUND | GHSN390001P0001 | 3000014 | ABB | ABB | GHSN390001P0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 15121500 Lubricating preparations | COMPOUND | NO MODIFIER | TYPE | HEATSINK | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1273303 | 1273303 | COMPOUND;LOCT,2040806,EPXY,WELD BOND,28G | COMPOUND;MNFR:LOCTITE,PTNO:2040806,ADDITIONAL FEATURES EN:EPOXY,WELD BOND,28GM |  | 2040806 | 3000306 | LOCTITE | LOCTITE | 2040806 | [5 empty] | https://www.rollingbearingswest.com.au/products/loctite-3805-steel-alum-epoxy-filler-52g-2040806 | [10 empty] | CLEANSED | 15121500 Lubricating preparations | COMPOUND | NO MODIFIER | TYPE | EPOXY,WELD BOND | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE | 28 G | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1219800 | 1219800 | DISPLAY,OPER I/F;AB,2711PRDT7C,PVP/PVP C | DISPLAY,OPERATOR INTERFACE;MNFR:ALLEN BRADLEY,PTNO:2711PRDT7C,ADDITIONAL FEATURES EN:PVP/PVP CE 700 TOUCH DISPLAY MODULE | 01)NHP ELECTRICAL ENGINEERIN,01)2711PRDT7C,DISPLAY,OPERATOR INTERFACE,01)PVP/PVP CE 700 TOUCH DISPLA | 2711PRDT7C | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2711PRDT7C | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-373/NHP_AU_Catalog-676/NHP_AU_Catalog-677/2711PRDT7C | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | TYPE | TOUCH | DISPLAY TYPE | LCD,TFT | DISPLAY SIZE | 6.5 IN | RESOLUTION | 640X480 PIXELS | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE | IP65 | SIZE | 246 WDX179 HTX55 DP MM | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-27 | ADDITIONAL FEATURES | PVP/PVP CE 700 TOUCH DISPLAY MODULE | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1220393 | 1220393 | DISPLAY;ABB,3ASM 210 G190 | DISPLAY;MNFR:ABB,PTNO:3ASM 210 G190 | DISPLAY | 3ASM 210 G190 | 3000014 | ABB | ABB | 3ASM 210 G190 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43211900 Computer displays | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1271272 | 1271272 | DISPLAY;ABB,FL-B202Q-VRR-PS2-IDP4-OA3 | DISPLAY;MNFR:ABB,PTNO:FL-B202Q-VRR-PS2-IDP4-OA3 | DISPLAY | FL-B202Q-VRR-PS2-IDP4-OA3 | 3000014 | ABB | ABB | FL-B202Q-VRR-PS2-IDP4-OA3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43211900 Computer displays | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1211244 | 1211244 | DISPLAY;ABB,VICM-8105-C4P-RIS-T | DISPLAY;MNFR:ABB,PTNO:VICM-8105-C4P-RIS-T | DISPLAY | VICM-8105-C4P-RIS-T | 3000014 | ABB | ABB | VICM-8105-C4P-RIS-T | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43211900 Computer displays | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1213345 | 1213345 | DISPLAY;DRVT,IFI27378,ENGN | DISPLAY;MNFR:DRIVETRAIN,PTNO:IFI27378,ADDITIONAL FEATURES EN:ENGINE | 01)DRIVETRAIN AUSTRALIA,01)IFI27378,DISPLAY,01)ENGINE | IFI27378 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI27378 | [5 empty] | URL NOT FOUND | [5 empty] | ENGINE |  |  |  |  | CLEANSED | 43211900 Computer displays | DISPLAY | NO MODIFIER | TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1271681 | 1271681 | DISPLAY;SIE,6SL3055-0AA00-4CA5 | DISPLAY;MNFR:SIEMENS,PTNO:6SL3055-0AA00-4CA5 | DISPLAY | 6SL3055-0AA00-4CA5 | 3000032 | SIEMENS | SIEMENS | 6SL3055-0AA00-4CA5 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=6SL30550AA004CA5 | https://franklinempire.com/en/6sl3055-0aa00-4ca5-5754-6sl30550aa004ca5.html | [9 empty] | ENRICHED | 32151900 Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | TYPE |  | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE | IP55 | SIZE | 156 LGX212 WDX31 HT MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1269782 | 1269782 | DISPLAY;WEG,14466149,PNL,SYNC RITE | DISPLAY;MNFR:WEG,PTNO:14466149,ADDITIONAL FEATURES EN:PANEL,SYNC RITE | 01)WEG AUSTRALIA PL,01)14466149,DISPLAY,01)PANEL,SYNC RITE | 14466149 | 3000040 | WEG | WEG AUSTRALIA PL | 14466149 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43211900 Computer displays | DISPLAY | NO MODIFIER | TYPE | PANEL | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SYNC RITE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1267386 | 1267386 | DISPLAY;YOKG,F9802JA,INDICATOR UNIT ASSY | DISPLAY;MNFR:YOKOGAWA,PTNO:F9802JA,ADDITIONAL FEATURES EN:INDICATOR UNIT ASSY SUIT FLOWMETER DISPLAY | 01)YOKOGAWA AUSTRALIA PTY LT,01)F9802JA,DISPLAY,01)INDICATOR UNIT ASSY SUIT FL | F9802JA | 3000446 | YOKOGAWA | YOKOGAWA AUSTRALIA PTY LT | F9802JA | [5 empty] | https://www.3e-thailand.com/products_detail/view/7570318 | [10 empty] | CLEANSED | 32151900 Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | TYPE |  | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332934 | 1332934 | GEARBOX;SEW,KAF39/A,HELICAL-BEVAL,REAGEN | GEARBOX;MNFR:SEW EURODRIVE,PTNO:KAF39/A,ADDITIONAL FEATURES EN:HELICAL-BEVAL,REAGENT MIXING | 01)QUICKPRO ELECTRICAL PTY L,01)KAF39/A,GEARBOX,01)HELICAL-BEVAL,REAGENT MIXIN | KAF39/A | 3000442 | SEW EURODRIVE | SEW EURODRIVE | KAF39/A | [5 empty] | https://download.sew-eurodrive.com/download/pdf/20272545_G01.pdf | [10 empty] | CLEANSED | 26111524 Gear units | GEARBOX | NO MODIFIER | TYPE | HELICAL-BEVAL,REAGENT MIXING | GEAR RATIO |  | POWER RATING |  | INPUT SPEED RATING |  | OUTPUT SPEED RATING |  | SHAFT DIAMETER |  | MOUNTING TYPE |  | HOUSING MATERIAL |  | SHAFT MATERIAL |  | SEAL TYPE |  | SEAL MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217752 | 1217752 | GEARBOX;SEW,RX77AM112-B-4.04,RATIO 4.04: | GEARBOX;MNFR:SEW EURODRIVE,PTNO:RX77AM112-B-4.04,ADDITIONAL FEATURES EN:RATIO 4.04:1 | 01)EBS-RAY PUMPS PTY LTD,01)RX77AM112-B-4.04,GEARBOX,01)RATIO 4.04:1 | RX77AM112-B-4.04 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | RX77AM112-B-4.04 | [5 empty] | https://download.sew-eurodrive.com/download/pdf/17103975_G08.pdf | [10 empty] | CLEANSED | 26111524 Gear units | GEARBOX | NO MODIFIER | TYPE |  | GEAR RATIO | 4.04:1 | POWER RATING |  | INPUT SPEED RATING |  | OUTPUT SPEED RATING |  | SHAFT DIAMETER |  | MOUNTING TYPE |  | HOUSING MATERIAL |  | SHAFT MATERIAL |  | SEAL TYPE |  | SEAL MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1269760 | 1269760 | GEARBOX;SEW,SA67/T DRN90L4,MAG SEPERATOR | GEARBOX;MNFR:SEW EURODRIVE,PTNO:SA67/T DRN90L4,ADDITIONAL FEATURES EN:MAG SEPERATOR,HELICAL-WORM GEARMOTOR | 01)SEW EURODRIVE PTY LTD,01)SA67/T DRN90L4,GEARBOX,01)MAG SEPERATOR,HELICAL-WORM | SA67/T DRN90L4 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | SA67/T DRN90L4 | [5 empty] | https://www.bdiexpress.com/pl/en/Mechanical-Power-Transmission/Reducers-%26-Gearmotors/SA67-T-DRN90L4-BE2HR-17-28%3A1/p/24089787?null | [10 empty] | ENRICHED | 26111524 Gear units | MOTOR | GEAR | TYPE | HELICAL-WORM | POWER RATING | 1.5 KW | OUTPUT SPEED RATING |  | VOLTAGE RATING | 230/400 V | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO | 17.28:1 | SERVICE FACTOR |  | CURRENT RATING | 5.9/3.4 A | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP54 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332989 | 1332989 | HOSE,FUEL;DIEC,1F.504074187 | HOSE,FUEL;MNFR:DIECI,PTNO:1F.504074187,ADDITIONAL FEATURES EN:PIPE | HOSE,FUEL,01)PIPE | 1F.504074187 | 3000511 | DIECI | DIECI | 1F.504074187 | [5 empty] | https://buyanypart.co.uk/parts/tube-1f504074187-bta1 | https://goldytech.com.ua/ua/p763879897-1f504074187-trubka-palivna.html | [9 empty] | CLEANSED | 40142000 Hoses | HOSE | FUEL | TYPE | PIPE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1270343 | 1270343 | HOSE,HYDR;ENER,HC7206C,HI PRESSURE,1.8MT | HOSE,HYDRAULIC;MNFR:ENERPAC,PTNO:HC7206C,ADDITIONAL FEATURES EN:HI PRESSURE,1.8MTR,CH604-CH604 B/E,ENERPAC H700-SERIES | 01)COOPER FLUID SYSTEMS,01)HC7206C,HOSE,HYDRAULIC,01)HI PRESSURE,1.8MTR,CH604-CH | HC7206C | 3000270 | ENERPAC | ENERPAC | HC7206C |  | COOPER FLUID SYSTEMS | H700-SERIES |  |  | https://www.tequipment.net/Enerpac/HC7206C/General-Accessories/#description | https://shop.slsbearings.com/my/west-malaysia/enerpac-hc7206c-thermo-plastic-high-pressure-hydraulic-hose.html | [6 empty] | CH604-CH604 B/E |  |  | ENRICHED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | HIGH PRESSURE | INSIDE DIAMETER | 1/4 IN | OUTSIDE DIAMETER |  | LENGTH | 1.8 M | PRESSURE RATING | 10000 PSI | MATERIAL | POLYURETHANE | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1253069 | 1253069 | HOSE,PREFMD;DIEC,BKA6084 | HOSE,PREFORMED;MNFR:DIECI,PTNO:BKA6084,ADDITIONAL FEATURES EN:RADIATOR, TOP | HOSE,PREFORMED,01)RADIATOR, TOP | BKA6084 | 3000511 | DIECI | DIECI | BKA6084 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/vse-onlajn-zaprosy/(260---DIECI---BKA6084) | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BKA6084 | [9 empty] | ENRICHED | 40142000 Hoses | HOSE | PREFORMED | TYPE | RADIATOR,TOP | MEDIA |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | RUBBER | REINFORCEMENT MATERIAL |  | WALL THICKNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1253067 | 1253067 | HOSE,PREFMD;DIEC,BKB1110 | HOSE,PREFORMED;MNFR:DIECI,PTNO:BKB1110,ADDITIONAL FEATURES EN:BOTTOM RADIATOR | HOSE,PREFORMED,01)BOTTOM RADIATOR | BKB1110 | 3000511 | DIECI | DIECI | BKB1110 | [5 empty] | https://www.lbr.ru/zapchasti/patrubok-bkb1110 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | PREFORMED | TYPE | BOTTOM RADIATOR | MEDIA |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | WALL THICKNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1217416 | 1217416 | HOSE,PREFMD;DIEC,BSH9251 | HOSE,PREFORMED;MNFR:DIECI,PTNO:BSH9251,ADDITIONAL FEATURES EN:ELBOW, REDUCING | HOSE,PREFORMED,01)ELBOW, REDUCING | BSH9251 | 3000511 | DIECI | DIECI | BSH9251 | [5 empty] | https://axial-parts.com/13-systema-ocholodzhennia/1302-truboprovody-ta-shlangy/manicotto-gomma-90-di60-76-silicone-bsh9251-488489 | https://www.lbr.ru/zapchasti/patrubok-bsh9251 | [9 empty] | ENRICHED | 40172800 Pipe elbows | ELBOW | PIPE REDUCER | TYPE | BRANCH | ANGLE |  | NOMINAL SIZE 1 | 60 MM | NOMINAL SIZE 2 |  | END CONNECTION 1 |  | END CONNECTION 2 |  | PRESSURE RATING |  | MATERIAL | SILICONE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1268995 | 1268995 | HOSE;ASWP,6110046PNV,RDTR,90D,RBR CURVE | HOSE;MNFR:AUSWEEP,PTNO:6110046PNV,ADDITIONAL FEATURES EN:RADIATOR,90D,RBR CURVE | 01)SWEEPERS N SCRUBBERS,01)6110046PNV,HOSE,01)RADIATOR,90D,RBR CURVE | 6110046PNV | 3000416 | AUSWEEP | AUSWEEP | 6110046PNV | [5 empty] | https://sweeperland.com/wp-content/uploads/2016/11/Dulevo-6000-Spare-Parts-Manual.pdf | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | RBR CURVE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 90D | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1252833 | 1252833 | HOSE;DIEC,4M.708DIE22 | HOSE;MNFR:DIECI,PTNO:4M.708DIE22,ADDITIONAL FEATURES EN:PIPE | HOSE,01)PIPE | 4M.708DIE22 | 3000511 | DIECI | DIECI | 4M.708DIE22 | [5 empty] | https://goldytech.com.ua/ua/p1222839776-4m708die22-shlang-gidravlichnij.html | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | PIPE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333491 | 1333491 | HOSE;DIEC,BKA4600 | HOSE;MNFR:DIECI,PTNO:BKA4600,ADDITIONAL FEATURES EN:PIPE | HOSE,01)PIPE | BKA4600 | 3000511 | DIECI | DIECI | BKA4600 | [5 empty] | https://www.lbr.ru/zapchasti/slang-bka4600 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | PIPE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332962 | 1332962 | HOSE;DIEC,BKC6550 | HOSE;MNFR:DIECI,PTNO:BKC6550,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKC6550 | 3000511 | DIECI | DIECI | BKC6550 | [5 empty] | https://goldytech.com.ua/ua/p1222841133-bkc6550-shlang-gidravlichnij.html | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333426 | 1333426 | HOSE;DIEC,BKC6590 | HOSE;MNFR:DIECI,PTNO:BKC6590,ADDITIONAL FEATURES EN:PIPE | HOSE,01)PIPE | BKC6590 | 3000511 | DIECI | DIECI | BKC6590 | [5 empty] | https://www.lbr.ru/zapchasti/slang-bkc6590 | https://jcb-parts.com.ua/ua/p1866669958-shlang-oem-bkc6590.html | [9 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | PIPE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332961 | 1332961 | HOSE;DIEC,BKC7200 | HOSE;MNFR:DIECI,PTNO:BKC7200,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKC7200 | 3000511 | DIECI | DIECI | BKC7200 | [5 empty] | https://partnersfarming.com/catalogue/teleskopichni_navantazhuvachi/dieci/gidravlika4/dieci-1912.html | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333649 | 1333649 | HOSE;DIEC,BKF1220 | HOSE;MNFR:DIECI,PTNO:BKF1220,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKF1220 | 3000511 | DIECI | DIECI | BKF1220 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkf1220 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333459 | 1333459 | HOSE;DIEC,BKF5121/31 | HOSE;MNFR:DIECI,PTNO:BKF5121/31,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKF5121/31 | 3000511 | DIECI | DIECI | BKF5121/31 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333337 | 1333337 | HOSE;DIEC,BKF6770 | HOSE;MNFR:DIECI,PTNO:BKF6770,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKF6770 | 3000511 | DIECI | DIECI | BKF6770 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333308 | 1333308 | HOSE;DIEC,BKI6200/04 | HOSE;MNFR:DIECI,PTNO:BKI6200/04,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKI6200/04 | 3000511 | DIECI | DIECI | BKI6200/04 | [5 empty] | https://www.scribd.com/document/445405700/170-AGRI-STAR-37-7-FPT-Stage-II-2005-pdf | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333336 | 1333336 | HOSE;DIEC,BKK8730 | HOSE;MNFR:DIECI,PTNO:BKK8730,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKK8730 | 3000511 | DIECI | DIECI | BKK8730 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BKK8730 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333335 | 1333335 | HOSE;DIEC,BKK9740 | HOSE;MNFR:DIECI,PTNO:BKK9740,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKK9740 | 3000511 | DIECI | DIECI | BKK9740 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkk9740 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333334 | 1333334 | HOSE;DIEC,BKL0620 | HOSE;MNFR:DIECI,PTNO:BKL0620,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKL0620 | 3000511 | DIECI | DIECI | BKL0620 | [5 empty] | https://goldytech.com.ua/ua/p1222841140-bkl0620-shlang-gidravlichnij.html | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkl0620 | [9 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333333 | 1333333 | HOSE;DIEC,BKL1695 | HOSE;MNFR:DIECI,PTNO:BKL1695,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKL1695 | 3000511 | DIECI | DIECI | BKL1695 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333332 | 1333332 | HOSE;DIEC,BKL2660 | HOSE;MNFR:DIECI,PTNO:BKL2660,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKL2660 | 3000511 | DIECI | DIECI | BKL2660 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci?page=821 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1332942 | 1332942 | HOSE;DIEC,BKU4650/R | HOSE;MNFR:DIECI,PTNO:BKU4650/R,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKU4650/R | 3000511 | DIECI | DIECI | BKU4650/R | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bku4650-r | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333307 | 1333307 | HOSE;DIEC,BKU5610/54 | HOSE;MNFR:DIECI,PTNO:BKU5610/54,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKU5610/54 | 3000511 | DIECI | DIECI | BKU5610/54 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bku5610-54 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333453 | 1333453 | HOSE;DIEC,BKU5730 | HOSE;MNFR:DIECI,PTNO:BKU5730,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKU5730 | 3000511 | DIECI | DIECI | BKU5730 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333463 | 1333463 | HOSE;DIEC,BKX0630/45R | HOSE;MNFR:DIECI,PTNO:BKX0630/45R,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX0630/45R | 3000511 | DIECI | DIECI | BKX0630/45R | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333331 | 1333331 | HOSE;DIEC,BKX2780 | HOSE;MNFR:DIECI,PTNO:BKX2780,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX2780 | 3000511 | DIECI | DIECI | BKX2780 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci?page=852 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333330 | 1333330 | HOSE;DIEC,BKX2850 | HOSE;MNFR:DIECI,PTNO:BKX2850,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX2850 | 3000511 | DIECI | DIECI | BKX2850 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci?page=852 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333329 | 1333329 | HOSE;DIEC,BKX2861 | HOSE;MNFR:DIECI,PTNO:BKX2861,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX2861 | 3000511 | DIECI | DIECI | BKX2861 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkx2861 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333412 | 1333412 | HOSE;DIEC,BKX2870 | HOSE;MNFR:DIECI,PTNO:BKX2870,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX2870 | 3000511 | DIECI | DIECI | BKX2870 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkx2870 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333328 | 1333328 | HOSE;DIEC,BKX6700 | HOSE;MNFR:DIECI,PTNO:BKX6700,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX6700 | 3000511 | DIECI | DIECI | BKX6700 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkx6700 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333449 | 1333449 | HOSE;DIEC,BKX8565 | HOSE;MNFR:DIECI,PTNO:BKX8565,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKX8565 | 3000511 | DIECI | DIECI | BKX8565 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bkx8560 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333327 | 1333327 | HOSE;DIEC,BKY1780 | HOSE;MNFR:DIECI,PTNO:BKY1780,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKY1780 | 3000511 | DIECI | DIECI | BKY1780 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bky1780 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333326 | 1333326 | HOSE;DIEC,BKY1985 | HOSE;MNFR:DIECI,PTNO:BKY1985,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BKY1985 | 3000511 | DIECI | DIECI | BKY1985 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BKY1985 | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333634 | 1333634 | HOSE;DIEC,BLB7150 | HOSE;MNFR:DIECI,PTNO:BLB7150,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLB7150 | 3000511 | DIECI | DIECI | BLB7150 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333633 | 1333633 | HOSE;DIEC,BLB7630 | HOSE;MNFR:DIECI,PTNO:BLB7630,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLB7630 | 3000511 | DIECI | DIECI | BLB7630 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333632 | 1333632 | HOSE;DIEC,BLB7700 | HOSE;MNFR:DIECI,PTNO:BLB7700,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLB7700 | 3000511 | DIECI | DIECI | BLB7700 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333452 | 1333452 | HOSE;DIEC,BLF4085 | HOSE;MNFR:DIECI,PTNO:BLF4085,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF4085 | 3000511 | DIECI | DIECI | BLF4085 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blf4085 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333631 | 1333631 | HOSE;DIEC,BLF8130 | HOSE;MNFR:DIECI,PTNO:BLF8130,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF8130 | 3000511 | DIECI | DIECI | BLF8130 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bld8130-49 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333448 | 1333448 | HOSE;DIEC,BLF8130/49 | HOSE;MNFR:DIECI,PTNO:BLF8130/49,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF8130/49 | 3000511 | DIECI | DIECI | BLF8130/49 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bld8130-49 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333652 | 1333652 | HOSE;DIEC,BLF8315/24 | HOSE;MNFR:DIECI,PTNO:BLF8315/24,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF8315/24 | 3000511 | DIECI | DIECI | BLF8315/24 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blf8315-24 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333306 | 1333306 | HOSE;DIEC,BLF8340/24 | HOSE;MNFR:DIECI,PTNO:BLF8340/24,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF8340/24 | 3000511 | DIECI | DIECI | BLF8340/24 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blf8340-24 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333295 | 1333295 | HOSE;DIEC,BLF9125R | HOSE;MNFR:DIECI,PTNO:BLF9125R,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF9125R | 3000511 | DIECI | DIECI | BLF9125R | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blf9125r | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 29-06-2023 |  | 1333630 | 1333630 | HOSE;DIEC,BLF9130 | HOSE;MNFR:DIECI,PTNO:BLF9130,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF9130 | 3000511 | DIECI | DIECI | BLF9130 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blf9130 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333629 | 1333629 | HOSE;DIEC,BLF9200 | HOSE;MNFR:DIECI,PTNO:BLF9200,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLF9200 | 3000511 | DIECI | DIECI | BLF9200 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333450 | 1333450 | HOSE;DIEC,BLG4340 | HOSE;MNFR:DIECI,PTNO:BLG4340,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLG4340 | 3000511 | DIECI | DIECI | BLG4340 | [5 empty] | https://goldytech.com.ua/ua/p1222841148-blg4340-shlang-gidravlichnij.html | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333314 | 1333314 | HOSE;DIEC,BLG7100 | HOSE;MNFR:DIECI,PTNO:BLG7100,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLG7100 | 3000511 | DIECI | DIECI | BLG7100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332960 | 1332960 | HOSE;DIEC,BLL1165 | HOSE;MNFR:DIECI,PTNO:BLL1165,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLL1165 | 3000511 | DIECI | DIECI | BLL1165 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bll1165 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333304 | 1333304 | HOSE;DIEC,BLL4180/49 | HOSE;MNFR:DIECI,PTNO:BLL4180/49,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLL4180/49 | 3000511 | DIECI | DIECI | BLL4180/49 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-bll4180-49 | https://goldytech.com.ua/ua/p1222841151-bll418049-shlang-gidravlichnij.html | [9 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332959 | 1332959 | HOSE;DIEC,BLL5175 | HOSE;MNFR:DIECI,PTNO:BLL5175,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLL5175 | 3000511 | DIECI | DIECI | BLL5175 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333303 | 1333303 | HOSE;DIEC,BLR4070/54 | HOSE;MNFR:DIECI,PTNO:BLR4070/54,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | BLR4070/54 | 3000511 | DIECI | DIECI | BLR4070/54 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blr4070-54 | [10 empty] | CLEANSED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1333411 | 1333411 | HOSE;DIEC,YFA2220 | HOSE;MNFR:DIECI,PTNO:YFA2220,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | YFA2220 | 3000511 | DIECI | DIECI | YFA2220 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332957 | 1332957 | HOSE;DIEC,YLS3320 | HOSE;MNFR:DIECI,PTNO:YLS3320,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | YLS3320 | 3000511 | DIECI | DIECI | YLS3320 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1332956 | 1332956 | HOSE;DIEC,YLS3330 | HOSE;MNFR:DIECI,PTNO:YLS3330,ADDITIONAL FEATURES EN:FLEXIBLE | HOSE,01)FLEXIBLE | YLS3330 | 3000511 | DIECI | DIECI | YLS3330 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | FLEXIBLE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1269130 | 1269130 | HOSE;DOSN,XA407095,RDTR,UPR | HOSE;MNFR:DOOSAN CORPORATION,PTNO:XA407095,ADDITIONAL FEATURES EN:RADIATOR,UPPER | 01)CROWN LIFT TRUCKS,01)XA407095,HOSE,01)RADIATOR,UPPER | XA407095 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XA407095 |  | CROWN LIFT TRUCKS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | UPPER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1269131 | 1269131 | HOSE;DOSN,XA408551,RDTR,LWR | HOSE;MNFR:DOOSAN CORPORATION,PTNO:XA408551,ADDITIONAL FEATURES EN:RADIATOR,LOWER | 01)CROWN LIFT TRUCKS,01)XA408551,HOSE,01)RADIATOR,LOWER | XA408551 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XA408551 |  | CROWN LIFT TRUCKS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | LOWER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217252 | 1217252 | HOSE;DRVT,7094-31300,NONMETALLIC:5/16IN | HOSE;MNFR:DRIVETRAIN,PTNO:7094-31300,ADDITIONAL FEATURES EN:NONMETALLIC:5/16IN, 300PSI, DRIVE LINE BREATHER HOSE, RUBBER | 01)DRIVETRAIN AUSTRALIA,01)7094-31300,HOSE,01)NONMETALLIC:5/16IN, 300PSI | 7094-31300 | 3000461 | DRIVETRAIN | DRIVETRAIN | 7094-31300 | PARKER |  |  |  |  | https://www.partsgopher.com/product/7094-31300/mpt-ii-series | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER | 5/16 IN | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL | NITRILE | CONNECTION 1 | HY | CONNECTION 2 | HY | FITTING MATERIAL |  | COVER MATERIAL | CHLOROPRENE | PRESSURE RATING | 300 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -20 TO 100 DEG C | REINFORCEMENT MATERIAL | MULTIPLE TEXTILE PLIES | BEND RADIUS | 3-19/64 IN | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217234 | 1217234 | HOSE;DRVT,2110778,NM,TORQUE CONVERTER LI | HOSE;MNFR:DRIVETRAIN,PTNO:2110778,ADDITIONAL FEATURES EN:NONMETALLIC,TORQUE CONVERTER LINES | 01)DRIVETRAIN AUSTRALIA,01)2110778,HOSE,01)NONMETALLIC,TORQUE CONVERTE | 2110778 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 2110778 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/211-0778 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE HYDRAULIC,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.775 M | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 2 PLIES OF SPECIAL BRAIDED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR TORQUE CONVERTER LINES | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217218 | 1217218 | HOSE;DRVT,2343137,NM,TORQUE CONVERTER,CO | HOSE;MNFR:DRIVETRAIN,PTNO:2343137,ADDITIONAL FEATURES EN:NONMETALLIC,TORQUE CONVERTER,COOLER HOSE | 01)DRIVETRAIN AUSTRALIA,01)2343137,HOSE,01)NONMETALLIC,TORQUE CONVERTE | 2343137 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 2343137 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/234-3137 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE,COOLER,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.99 M | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 4/6 PLIES OF SPIRALLY-WRAPPED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | FOR TORQUE CONVERTER | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217321 | 1217321 | HOSE;DRVT,2343168,NONMETALLIC: POWER TRA | HOSE;MNFR:DRIVETRAIN,PTNO:2343168,ADDITIONAL FEATURES EN:NONMETALLIC: POWER TRAIN FILTER LI00 | 01)DRIVETRAIN AUSTRALIA,01)2343168,HOSE,01)NONMETALLIC: POWER TRAIN FI | 2343168 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 2343168 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/234-3168 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.223 M | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 4/6 PLIES OF SPIRALLY-WRAPPED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | FOR POWER TRAIN FILTER LI00 | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217229 | 1217229 | HOSE;DRVT,2674919,NM,FRONT BRAKE LINES | HOSE;MNFR:DRIVETRAIN,PTNO:2674919,ADDITIONAL FEATURES EN:NONMETALLIC,FRONT BRAKE LINES | 01)DRIVETRAIN AUSTRALIA,01)2674919,HOSE,01)NONMETALLIC,FRONT BRAKE LIN | 2674919 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 2674919 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/267-4919 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE HYDRAULIC,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.355 M | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 2 PLIES OF SPECIAL BRAIDED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR FRONT BRAKE LINES | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217225 | 1217225 | HOSE;DRVT,2831242,NM,TRANSMISSION OIL LI | HOSE;MNFR:DRIVETRAIN,PTNO:2831242,ADDITIONAL FEATURES EN:NONMETALLIC,TRANSMISSION OIL LINE | 01)DRIVETRAIN AUSTRALIA,01)2831242,HOSE,01)NONMETALLIC,TRANSMISSION OI | 2831242 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 2831242 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/283-1242 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 455 MM | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 4/6 PLIES OF SPIRALLY-WRAPPED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | FOR TRANSMISSION OIL LINE | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217363 | 1217363 | HOSE;DRVT,301SN-12,NONMETALLIC: 3/4 IN N | HOSE;MNFR:DRIVETRAIN,PTNO:301SN-12,ADDITIONAL FEATURES EN:NONMETALLIC: 3/4 IN NB,HYD,SAE 100R16,MAX WP 12500PSI, 2 PLY SPIRAL | 01)DRIVETRAIN AUSTRALIA,01)301SN-12,HOSE,01)NONMETALLIC: 3/4 IN NB,HYD | 301SN-12 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 301SN-12 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/medium-pressure-parkrimp-no-skive-hose-301/301sn-12 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 3/4 IN NB | OUTSIDE DIAMETER | 1-5/32 IN | LENGTH |  | CORE MATERIAL | NBR | CONNECTION 1 | 48 SERIES | CONNECTION 2 | 48 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 3100 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 HIGH TENSILE STEEL WIRE BRAIDS | BEND RADIUS | 240 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 853(TYPE 2SN),ISO 1436(TYPE 2),SAE 100R2(TYPE AT),SAE 100R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217222 | 1217222 | HOSE;DRVT,301SN-4,NM,1/4 IN NB,HYD,SAE 1 | HOSE;MNFR:DRIVETRAIN,PTNO:301SN-4,ADDITIONAL FEATURES EN:NONMETALLIC,1/4 IN NB,HYD,SAE 100R2 AT,MAX WP 5000PSI,2 PLY WIRE RE | 01)DRIVETRAIN AUSTRALIA,01)301SN-4,HOSE,01)NONMETALLIC,1/4 IN NB,HYD,S | 301SN-4 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 301SN-4 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/medium-pressure-parkrimp-no-skive-hose-301/301sn-4 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 1/4 IN NB | OUTSIDE DIAMETER | 19⁄32 IN | LENGTH |  | CORE MATERIAL | NBR | CONNECTION 1 | 48 SERIES | CONNECTION 2 | 48 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 5800 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 HIGH TENSILE STEEL WIRE BRAIDS | BEND RADIUS | 100 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 853(TYPE 2SN),ISO 1436(TYPE 2),SAE 100R2(TYPE AT) | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217223 | 1217223 | HOSE;DRVT,301SN-6,NM,3/8 IN NB,HYD,SAE 1 | HOSE;MNFR:DRIVETRAIN,PTNO:301SN-6,ADDITIONAL FEATURES EN:NONMETALLIC,3/8 IN NB,HYD,SAE 100R2 AT,MAX WP:5000PSI,3/4 IN OD,2 W | 01)DRIVETRAIN AUSTRALIA,01)301SN-6,HOSE,01)NONMETALLIC,3/8 IN NB,HYD,S | 301SN-6 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 301SN-6 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/medium-pressure-parkrimp-no-skive-hose-301/301sn-6 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 3/8 IN NB | OUTSIDE DIAMETER | 3/4 IN | LENGTH |  | CORE MATERIAL | NBR | CONNECTION 1 | 48 SERIES | CONNECTION 2 | 48 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 4775 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 HIGH TENSILE STEEL WIRE BRAIDS | BEND RADIUS | 130 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 853(TYPE 2SN),ISO 1436(TYPE 2),SAE 100R2(TYPE AT) | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217282 | 1217282 | HOSE;DRVT,3092448,NONMETALLIC:HOSESCAVEN | HOSE;MNFR:DRIVETRAIN,PTNO:3092448,ADDITIONAL FEATURES EN:NONMETALLIC:HOSESCAVENGE PT LINES GROUPCAT AD55B | 01)DRIVETRAIN AUSTRALIA,01)3092448,HOSE,01)NONMETALLIC:HOSESCAVENGE PT | 3092448 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 3092448 | CATERPILLAR |  |  |  |  | https://parts.cat.com/en/catcorp/309-2448 | [5 empty] | AD55B |  |  |  |  | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH PRESSURE,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 1.7846 M | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 4/6 PLIES OF SPIRALLY-WRAPPED HIGH TENSILE STEEL WIRE REINFORCED | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | FOR SCAVENGE PT LINES GROUP | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217216 | 1217216 | HOSE;DRVT,387TC-20,NM,HYDR,HIGH PRESS,R= | HOSE;MNFR:DRIVETRAIN,PTNO:387TC-20,ADDITIONAL FEATURES EN:NONMETALLIC,HYDRAULIC,HIGH PRESS,R=15 | 01)DRIVETRAIN AUSTRALIA,01)387TC-20,HOSE,01)NONMETALLIC,HYDRAULIC,HIGH | 387TC-20 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 387TC-20 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-constant-working-pressure-hose-3000-psi-globalcore-387-hose/387tc-20 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,HIGH PRESSURE,NONMETALLIC | INSIDE DIAMETER | 1-1/4 IN | OUTSIDE DIAMETER | 1-13⁄16 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES,77 SERIES | CONNECTION 2 | 43 SERIES,77 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 3000 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 DEG C | REINFORCEMENT MATERIAL | 4 PLY SPIRAL WIRE REINFORCED | BEND RADIUS | 8-1/4 IN | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 18752 | ADDITIONAL FEATURES | R=15 | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217258 | 1217258 | HOSE;DRVT,436-16-BLU,NONMETALLIC:1IN, 20 | HOSE;MNFR:DRIVETRAIN,PTNO:436-16-BLU,ADDITIONAL FEATURES EN:NONMETALLIC:1IN, 2000PSI, HIGH TEMP RUBBER, , 2SN | 01)DRIVETRAIN AUSTRALIA,01)436-16-BLU,HOSE,01)NONMETALLIC:1IN, 2000PSI, H | 436-16-BLU | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 436-16-BLU | PARKER |  |  |  |  | https://www.partsgopher.com/product/436-16-blu/436-series | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH TEMPERATURE,NONMETALLIC | INSIDE DIAMETER | 1 IN | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL | RUBBER | CONNECTION 1 | 43 SERIES,42 SERIES | CONNECTION 2 | 43 SERIES,42 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING | 2000 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 100R16,ISO 11237 TYPE R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217259 | 1217259 | HOSE;DRVT,436-8-BLU,NONMETALLIC:1/2IN, 3 | HOSE;MNFR:DRIVETRAIN,PTNO:436-8-BLU,ADDITIONAL FEATURES EN:NONMETALLIC:1/2IN, 3500PSI, HIGH TEMP HYDRAULIC HOSE, RUBBER, 2SN | 01)DRIVETRAIN AUSTRALIA,01)436-8-BLU,HOSE,01)NONMETALLIC:1/2IN, 3500PSI | 436-8-BLU | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 436-8-BLU | PARKER |  |  |  |  | https://www.partsgopher.com/product/436-8-blu/436-series | https://store.livhaven.com/436-8-blu-parker-1-2-id-hydraulic-hose | [9 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH TEMPERATURE HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 1/2 IN | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL | PKR | CONNECTION 1 | 43 SERIES,42 SERIES | CONNECTION 2 | 43 SERIES,42 SERIES | FITTING MATERIAL |  | COVER MATERIAL | PKR | PRESSURE RATING | 3500 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | 2 BRAIDS STEEL WIRE | BEND RADIUS |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 853(TYPE 2SN),SAE 100R16,ISO 11237 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217141 | 1217141 | HOSE;DRVT,471TC-10-20M,NONMETALLIC:5/8IN | HOSE;MNFR:DRIVETRAIN,PTNO:471TC-10-20M,ADDITIONAL FEATURES EN:NONMETALLIC:5/8IN NB,HYD,SAE 100R16,MAX WP 14500PSI,2 PLY SPIRAL WI | 01)DRIVETRAIN AUSTRALIA,01)471TC-10-20M,HOSE,01)NONMETALLIC:5/8IN NB,HYD,SA | 471TC-10-20M | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 471TC-10-20M | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-industry-standard-hose-5800-2500-psi-471-hose/471tc-10 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 5/8 IN NB | OUTSIDE DIAMETER | 15/16 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES | CONNECTION 2 | 43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 3625 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 BRAIDS STEEL WIRE | BEND RADIUS | 100 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ABS,BV,DNV,EN 857 (TYPE 2SC),ISO 11237 (TYPE 2SC),SAE J1942,USCG HF,SAE 100R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 29-06-2023 |  | 1217137 | 1217137 | HOSE;DRVT,471TC-16-20M,NONMETALLIC:1 INH | HOSE;MNFR:DRIVETRAIN,PTNO:471TC-16-20M,ADDITIONAL FEATURES EN:NONMETALLIC:1 IN NB,HYD,SAE 100R16,MAX WP 10000PSI,2 PLY SPIRAL WIR | 01)DRIVETRAIN AUSTRALIA,01)471TC-16-20M,HOSE,01)NONMETALLIC:1 IN NB,HYD,SAE | 471TC-16-20M | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 471TC-16-20M | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-industry-standard-hose-5800-2500-psi-471-hose/471tc-16 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 1 IN NB | OUTSIDE DIAMETER | 1-13/32 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES | CONNECTION 2 | 43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 2500 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 BRAIDS STEEL WIRE | BEND RADIUS | 150 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ABS,BV,DNV,EN 857 (TYPE 2SC),ISO 11237 (TYPE 2SC),SAE J1942,USCG HF,SAE 100R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed