## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272264 | 1272264 | CLAMP;PRKH,SCSD-S27,MNTG,18L,MHS,SLEW,PP | CLAMP;MNFR:PARKER HANNIFIN,PTNO:SCSD-S27,ADDITIONAL FEATURES EN:MOUNTING,18L,MHS,SLEW,PP,SCTSD |  | SCSD-S27 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SCSD-S27 | [5 empty] | https://www.mrostop.com/scsd-s27-parker-sensor-mounting-accessory | [10 empty] | ENRICHED | 31162900 Clamps | CLAMP | NO MODIFIER | TYPE | SLEW,MOUNTING | CAPACITY | 18 L | SIZE |  | MATERIAL | POLYPROPYLENE | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MHS | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1252820 | 1252820 | LEVER;DIEC,3D.535118002 | LEVER;MNFR:DIECI,PTNO:3D.535118002,ADDITIONAL FEATURES EN:COMPLETE | LEVER,01)COMPLETE | 3D.535118002 | 3000511 | DIECI | DIECI | 3D.535118002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162807 Levers | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1252939 | 1252939 | LEVER;DIEC,BCN1086 | LEVER;MNFR:DIECI,PTNO:BCN1086,ADDITIONAL FEATURES EN:SYSTEM | LEVER,01)SYSTEM | BCN1086 | 3000511 | DIECI | DIECI | BCN1086 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162807 Levers | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SYSTEM | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1252837 | 1252837 | LEVER;DIEC,BCN1092 | LEVER;MNFR:DIECI,PTNO:BCN1092,ADDITIONAL FEATURES EN:SYSTEM | LEVER,01)SYSTEM | BCN1092 | 3000511 | DIECI | DIECI | BCN1092 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162807 Levers | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SYSTEM | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1218301 | 1218301 | LEVER;MAN,894523 | LEVER;MNFR:MANITOU,PTNO:894523 | 01)JUNGHEINRICH AUSTRALIA PT,01)894523,LEVER | 894523 | 3000007 | MANITOU | MANITOU | 894523 | [5 empty] | https://en.hespareparts.com/construction-equipment/manitou-parts/894523-lever.html | [10 empty] | CLEANSED | 31162807 Levers | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1210776 | 1210776 | LEVER;SIE,13853915,365 - 595, DRAWING NO | LEVER;MNFR:SIEMENS,PTNO:13853915,ADDITIONAL FEATURES EN:365 - 595, DRAWING NO: 17856915, POSITION NO: 6 (INLET GUIDE VANE U | 01)SIEMENS ENERGY PTY LTD,01)13853915,LEVER,01)365 - 595, DRAWING NO: 1785 | 13853915 | 3000032 | SIEMENS | SIEMENS ENERGY PTY LTD | 13853915 | [5 empty] | URL NOT FOUND |  |  | 17856915 |  | 6 | [5 empty] | CLEANSED | 31162807 Levers | LEVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 365 - 595,INLET GUIDE VANE U | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1324825 | 1324825 | MEMBRANE;ABB,KEYMEM-00010 | MEMBRANE;MNFR:ABB,PTNO:KEYMEM-00010 | MEMBRANE | KEYMEM-00010 | 3000014 | ABB | ABB | KEYMEM-00010 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161507 Filter membranes | MEMBRANE | NO MODIFIER | TYPE |  | MEMBRANE AREA |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272507 | 1272507 | MESH;ASWP,EU.520154,FOR FILTER | MESH;MNFR:AUSWEEP,PTNO:EU.520154,ADDITIONAL FEATURES EN:FOR FILTER |  | EU.520154 | 3000416 | AUSWEEP | AUSWEEP | EU.520154 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161806 Filter mesh | MESH | FILTER | TYPE |  | MESH RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333601 | 1333601 | MESH;DIEC,CAR0003609-0G | MESH;MNFR:DIECI,PTNO:CAR0003609-0G,ADDITIONAL FEATURES EN:PROTECTION NET | MESH,01)PROTECTION NET | CAR0003609-0G | 3000511 | DIECI | DIECI | CAR0003609-0G | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 11162111 Mesh | MESH | NO MODIFIER | TYPE | PROTECTION NET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333291 | 1333291 | MESH;DIEC,CLB4062 | MESH;MNFR:DIECI,PTNO:CLB4062,ADDITIONAL FEATURES EN:PROTECTION NET | MESH,01)PROTECTION NET | CLB4062 | 3000511 | DIECI | DIECI | CLB4062 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 11162111 Mesh | MESH | NO MODIFIER | TYPE | PROTECTION NET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1217420 | 1217420 | MIRROR;DIEC,BEQ0123 | MIRROR;MNFR:DIECI,PTNO:BEQ0123,ADDITIONAL FEATURES EN:EXTERIOR, RH | MIRROR,01)EXTERIOR, RH | BEQ0123 | 3000511 | DIECI | DIECI | BEQ0123 | [5 empty] | https://www.urparts.com/index.cfm/page/enquiries/enquiryId/257718/ | [10 empty] | CLEANSED | 31241706 Flat mirror | MIRROR | NO MODIFIER | TYPE | EXTERIOR,RH | SIZE |  | SHAPE |  | LENS MATERIAL |  | BACKING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1253070 | 1253070 | MIRROR;DIEC,BEQ0125 | MIRROR;MNFR:DIECI,PTNO:BEQ0125,ADDITIONAL FEATURES EN:EXTERIOR DOOR,SUITS L/HAND ANDR/HAND | MIRROR,01)EXTERIOR DOOR,SUITS L/HAND &R/HAND | BEQ0125 | 3000511 | DIECI | DIECI | BEQ0125 | [5 empty] | https://ndetal-com.translate.goog/catalog/zapasnye-chasti/dieci/DIECI-BEQ0125?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 31241706 Flat mirror | MIRROR | NO MODIFIER | TYPE | EXTERIOR DOOR,SUITS RH AND LH | SIZE |  | SHAPE |  | LENS MATERIAL |  | BACKING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333517 | 1333517 | MIRROR;DIEC,BEQ0142 | MIRROR;MNFR:DIECI,PTNO:BEQ0142,ADDITIONAL FEATURES EN:REAR VIEW | MIRROR,01)REAR VIEW | BEQ0142 | 3000511 | DIECI | DIECI | BEQ0142 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31241706 Flat mirror | MIRROR | NO MODIFIER | TYPE | REAR VIEW | SIZE |  | SHAPE |  | LENS MATERIAL |  | BACKING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333275 | 1333275 | MIRROR;DIEC,KPLLI0000594 | MIRROR;MNFR:DIECI,PTNO:KPLLI0000594,ADDITIONAL FEATURES EN:REAR VIEW KIT | MIRROR,01)REAR VIEW KIT | KPLLI0000594 | 3000511 | DIECI | DIECI | KPLLI0000594 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31241706 Flat mirror | MIRROR | NO MODIFIER | TYPE | REAR VIEW KIT | SIZE |  | SHAPE |  | LENS MATERIAL |  | BACKING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272837 | 1272837 | NAIL;BTS,FAP32V5,COIL,32 X 2.5MM GALV 6M | NAIL;MNFR:BOSTITCH,PTNO:FAP32V5,ADDITIONAL FEATURES EN:COIL,32 X 2.5MM GALV 6M,HELICAL SHANK HARDENED,200 PER ROLL,6000 PER BOX | 01)MOUNT ISA HIRE SERVICE,01)BOSHFAP32V5,NAIL,01)COIL,32 X 2.5MM GALV 6M,02)HELICAL SHANK HARDENED,03)200 PER ROLL,6000 PER BOX | FAP32V5 | 3000238 | BOSTITCH | BOSTITCH | FAP32V5 |  | MOUNT ISA HIRE SERVICE |  |  |  | https://www.nepbolt.com.au/fasteners/nails/coil/19088-YF32250 | [10 empty] | CLEANSED | 31162000 Nails | NAIL | NO MODIFIER | TYPE | COIL,HELICAL SHANK HARDENED | TRADE SIZE | 2.5 MM | HEAD TYPE |  | HEAD SIZE |  | SHANK TYPE |  | SHANK SIZE |  | LENGTH | 32 MM | MATERIAL | GALVANIZED STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COIL LENGTH:6 M,PACKAGE QUANTITY:200 PER ROLL,6000 PER BOX | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219370 | 1219370 | NIPPLE;PRKH,1FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1FF33MS | 01)PRO-DRAULICS,01)1FF33MS,NIPPLE | 1FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1FF33MS | [5 empty] | https://ph.parker.com/us/en/product/pipe-fittings-and-port-adapters/1ff33ms | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 1 IN-11 TPI | END CONNECTION | MBSPT | LENGTH | 59 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219369 | 1219369 | NIPPLE;PRKH,1X3/4FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:1X3/4FF33MS | 01)PRO-DRAULICS,01)1X3/4FF33MS,NIPPLE | 1X3/4FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 1X3/4FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 1X3/4 IN | END CONNECTION | MBSPT | LENGTH | 55 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 160 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219367 | 1219367 | NIPPLE;PRKH,3/4FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:3/4FF33MS | 01)PRO-DRAULICS,01)3/4FF33MS,NIPPLE | 3/4FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 3/4FF33MS | [5 empty] | https://ph.parker.com/us/en/product/pipe-fittings-and-port-adapters/3-4ff33ms | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 3/4 IN-14 TPI | END CONNECTION | MBSPT | LENGTH | 50 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219368 | 1219368 | NIPPLE;PRKH,3/4X1/2FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:3/4X1/2FF33MS | 01)PRO-DRAULICS,01)3/4X1/2FF33MS,NIPPLE | 3/4X1/2FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 3/4X1/2FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 3/4X1/2 IN | END CONNECTION | MBSPT | LENGTH | 50 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 160 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219364 | 1219364 | NIPPLE;PRKH,3/8FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:3/8FF33MS | 01)PRO-DRAULICS,01)3/8FF33MS,NIPPLE | 3/8FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 3/8FF33MS | [5 empty] | https://ph.parker.com/us/en/product/pipe-fittings-and-port-adapters/3-8ff33ms | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 3/8 IN-19 TPI | END CONNECTION | MBSPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 6000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219363 | 1219363 | NIPPLE;PRKH,3/8X1/4FF33MS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:3/8X1/4FF33MS | 01)PRO-DRAULICS,01)3/8X1/4FF33MS,NIPPLE | 3/8X1/4FF33MS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 3/8X1/4FF33MS | [5 empty] | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalogteile%204100-6/Kapitel%20N/BSPT%20Male%20Union%20and%20Plug.pdf | [10 empty] | ENRICHED | 40173300 Pipe nipples | NIPPLE | PIPE HEX | TYPE |  | NOMINAL SIZE | 3/8X1/4 IN | END CONNECTION | MBSPT | LENGTH | 37 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 315 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219347 | 1219347 | NIPPLE;PRKH,4-4C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4-4C3MXS | 01)PRO-DRAULICS,01)4-4C3MXS,NIPPLE | 4-4C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4-4C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4-4c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219332 | 1219332 | NIPPLE;PRKH,4-4C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4-4C4OMXS | 01)PRO-DRAULICS,01)4-4C4OMXS,NIPPLE | 4-4C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4-4C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4-4c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219306 | 1219306 | NIPPLE;PRKH,4-4F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4-4F3MXS | 01)PRO-DRAULICS,01)4-4F3MXS,NIPPLE | 4-4F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4-4F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4-4f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/4 IN | PIPE SIZE | 1/4 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 35.3 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219291 | 1219291 | NIPPLE;PRKH,4-4F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4-4F4OMXS | 01)PRO-DRAULICS,01)4-4F4OMXS,NIPPLE | 4-4F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4-4F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4-4f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/4 IN | PIPE SIZE | 1/4 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 32.5 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219321 | 1219321 | NIPPLE;PRKH,4-4V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4-4V3MXS | 01)PRO-DRAULICS,01)4-4V3MXS,NIPPLE | 4-4V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4-4V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4-4v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219346 | 1219346 | NIPPLE;PRKH,4C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4C3MXS | 01)PRO-DRAULICS,01)4C3MXS,NIPPLE | 4C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219331 | 1219331 | NIPPLE;PRKH,4C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4C4OMXS | 01)PRO-DRAULICS,01)4C4OMXS,NIPPLE | 4C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219305 | 1219305 | NIPPLE;PRKH,4F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4F3MXS | 01)PRO-DRAULICS,01)4F3MXS,NIPPLE | 4F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/4 IN | PIPE SIZE | 1/8 IN-28 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 30.7 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219290 | 1219290 | NIPPLE;PRKH,4F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4F4OMXS | 01)PRO-DRAULICS,01)4F4OMXS,NIPPLE | 4F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/4 IN | PIPE SIZE | 1/8 IN-28 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 28.3 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219320 | 1219320 | NIPPLE;PRKH,4V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:4V3MXS | 01)PRO-DRAULICS,01)4V3MXS,NIPPLE | 4V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/4v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219309 | 1219309 | NIPPLE;PRKH,6-8F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-8F3MXS | 01)PRO-DRAULICS,01)6-8F3MXS,NIPPLE | 6-8F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-8F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-8f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 3/8 IN | PIPE SIZE | 1/2 IN-14 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 42.9 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219293 | 1219293 | NIPPLE;PRKH,6-8F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6-8F4OMXS | 01)PRO-DRAULICS,01)6-8F4OMXS,NIPPLE | 6-8F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6-8F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6-8f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 3/8 IN | PIPE SIZE | 1/2 IN-14 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 38 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219348 | 1219348 | NIPPLE;PRKH,6C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6C3MXS | 01)PRO-DRAULICS,01)6C3MXS,NIPPLE | 6C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219333 | 1219333 | NIPPLE;PRKH,6C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6C4OMXS | 01)PRO-DRAULICS,01)6C4OMXS,NIPPLE | 6C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219307 | 1219307 | NIPPLE;PRKH,6F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6F3MXS | 01)PRO-DRAULICS,01)6F3MXS,NIPPLE | 6F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 3/8 IN | PIPE SIZE | 1/4 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 35.6 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219322 | 1219322 | NIPPLE;PRKH,6V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6V3MXS | 01)PRO-DRAULICS,01)6V3MXS,NIPPLE | 6V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219327 | 1219327 | NIPPLE;PRKH,6V4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:6V4OMXS | 01)PRO-DRAULICS,01)6V4OMXS,NIPPLE | 6V4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 6V4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/6v4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219297 | 1219297 | NIPPLE;PRKH,8-12F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-12F4OMXS | 01)PRO-DRAULICS,01)8-12F4OMXS,NIPPLE | 8-12F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-12F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-12f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 3/4 IN-14 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 42.2 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219350 | 1219350 | NIPPLE;PRKH,8-4C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-4C3MXS | 01)PRO-DRAULICS,01)8-4C3MXS,NIPPLE | 8-4C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-4C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-4c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219335 | 1219335 | NIPPLE;PRKH,8-4C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-4C4OMXS | 01)PRO-DRAULICS,01)8-4C4OMXS,NIPPLE | 8-4C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-4C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-4c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219310 | 1219310 | NIPPLE;PRKH,8-4F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-4F3MXS | 01)PRO-DRAULICS,01)8-4F3MXS,NIPPLE | 8-4F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-4F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-4f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/4 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 38.1 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219294 | 1219294 | NIPPLE;PRKH,8-4F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-4F4OMXS | 01)PRO-DRAULICS,01)8-4F4OMXS,NIPPLE | 8-4F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-4F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-4f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/4 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 35 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1219352 | 1219352 | NIPPLE;PRKH,8-8C3MXST | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-8C3MXST | 01)PRO-DRAULICS,01)8-8C3MXST,NIPPLE | 8-8C3MXST | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-8C3MXST | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219337 | 1219337 | NIPPLE;PRKH,8-8C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-8C4OMXS | 01)PRO-DRAULICS,01)8-8C4OMXS,NIPPLE | 8-8C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-8C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-8c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219312 | 1219312 | NIPPLE;PRKH,8-8F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-8F3MXS | 01)PRO-DRAULICS,01)8-8F3MXS,NIPPLE | 8-8F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-8F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-8f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/2 IN-14 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 45.5 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219296 | 1219296 | NIPPLE;PRKH,8-8F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8-8F4OMXS | 01)PRO-DRAULICS,01)8-8F4OMXS,NIPPLE | 8-8F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8-8F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8-8f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/2 IN-14 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 41.4 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219351 | 1219351 | NIPPLE;PRKH,8C3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8C3MXS | 01)PRO-DRAULICS,01)8C3MXS,NIPPLE | 8C3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8C3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8c3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219336 | 1219336 | NIPPLE;PRKH,8C4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8C4OMXS | 01)PRO-DRAULICS,01)8C4OMXS,NIPPLE | 8C4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8C4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8c4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219311 | 1219311 | NIPPLE;PRKH,8F3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8F3MXS | 01)PRO-DRAULICS,01)8F3MXS,NIPPLE | 8F3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8F3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8f3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 3/8 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPT | LENGTH | 38.9 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219295 | 1219295 | NIPPLE;PRKH,8F4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8F4OMXS | 01)PRO-DRAULICS,01)8F4OMXS,NIPPLE | 8F4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8F4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8f4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE | 1/2 IN | PIPE SIZE | 3/8 IN-19 TPI | TUBE CONNECTION | MALE 37DEG FLARE | PIPE CONNECTION | BSPP | LENGTH | 35.9 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219324 | 1219324 | NIPPLE;PRKH,8V3MXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8V3MXS | 01)PRO-DRAULICS,01)8V3MXS,NIPPLE | 8V3MXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8V3MXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8v3mxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPT | LENGTH |  | PRESSURE CLASS/RATING | 4500 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1219328 | 1219328 | NIPPLE;PRKH,8V4OMXS | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:8V4OMXS | 01)PRO-DRAULICS,01)8V4OMXS,NIPPLE | 8V4OMXS | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 8V4OMXS |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/triple-lok-37-flare-jic-tube-fittings-and-adapters/8v4omxs | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | MALE 37DEG FLARE X MBSPP | LENGTH |  | PRESSURE CLASS/RATING | 3600 PSI DYNAMIC | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272376 | 1272376 | NIPPLE;PRKH,EMI-F4O-24,1-7/8JICX1-1/2 IN | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:EMI-F4O-24,ADDITIONAL FEATURES EN:1-7/8JICX1-1/2 IN BSPP |  | EMI-F4O-24 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-F4O-24 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BULKHEAD,1-7/8 IN JIC | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272378 | 1272378 | NIPPLE;PRKH,EMI-WTX-24-BH,BLKHD,1-7/8 IN | NIPPLE;MNFR:PARKER HANNIFIN,PTNO:EMI-WTX-24-BH,ADDITIONAL FEATURES EN:BULKHEAD,1-7/8 IN JIC |  | EMI-WTX-24-BH | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-WTX-24-BH | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | NIPPLE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BULKHEAD,1-7/8 IN JIC | MNFR |  | PTNO |  | DRAWING NO |  | DRAWING VERSION |  | ITEM/POSITION NO | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1268968 | 1268968 | PULLEY;SKF,SPC375X4-3535,PHP 4SPC375TB | PULLEY;MNFR:SKF,PTNO:SPC375X4-3535,ADDITIONAL FEATURES EN:PHP 4SPC375TB | 01)APPLIED INDUSTRIAL TECHNO M,01)SPC375X4-3535,PULLEY,01)PHP 4SPC375TB | SPC375X4-3535 | 3000348 | SKF | SKF | SPC375X4-3535 |  | APPLIED INDUSTRIAL TECHNOLOGIES | PHP 4SPC375TB |  |  | https://www.3bgsupply.com/spc375x4-3535pt-international-corp- | [10 empty] | ENRICHED | 26111806 Transmission pulleys | PULLEY | V-BELT | TYPE |  | BELT TYPE |  | BELT NUMBER |  | BORE DIAMETER | 90 MM | OUTSIDE DIAMETER |  | NUMBER OF GROOVES | 4 | BORE LENGTH |  | OVERALL WIDTH |  | GROOVE DIAMETER |  | NUMBER OF STEPS |  | PITCH DIAMETER | 375 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1216456 | 1216456 | RACK;YOKG,GP2SY-02XX210W1019E,GLOBAL,PC | RACK;MNFR:YOKOGAWA,PTNO:GP2SY-02XX210W1019E,ADDITIONAL FEATURES EN:GLOBAL,PC,WORKSTATION | 01)YOKOGAWA AUSTRALIA PTY LT,01)GP2SY-02XX210W1019E,RACK,01)GLOBAL,PC,WORKSTATION | GP2SY-02XX210W1019E | 3000446 | YOKOGAWA | YOKOGAWA AUSTRALIA PTY LTD | GP2SY-02XX210W1019E | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24102000 Shelving and storage | RACK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR GLOBAL,PC,WORKSTATION | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1216457 | 1216457 | RACK;YOKG,GP4SY-04XX250S1600E,GLOBAL,PC | RACK;MNFR:YOKOGAWA,PTNO:GP4SY-04XX250S1600E,ADDITIONAL FEATURES EN:GLOBAL,PC,SERVER | 01)YOKOGAWA AUSTRALIA PTY LT,01)GP4SY-04XX250S1600E,RACK,01)GLOBAL,PC,SERVER | GP4SY-04XX250S1600E | 3000446 | YOKOGAWA | YOKOGAWA AUSTRALIA PTY LTD | GP4SY-04XX250S1600E | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24102000 Shelving and storage | RACK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR GLOBAL,PC,SERVER | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1266202 | 1266202 | RAIL,ELEC;COND,024100-4,40X40X2.5MM X 4M | RAIL,ELECTRICAL;MNFR:CONDUCTIX,PTNO:024100-4,ADDITIONAL FEATURES EN:40X40X2.5MM X 4M,C-TRACK, 240 SERIES,GALVANIZED STEEL | 01)CONDUCTIX WAMPFLER PTY LT,01)024100-4,RAIL,ELECTRICAL,01)40X40X2.5MM X 4M,C-TRACK, 2,02)GALVANIZED STEEL | 024100-4 | 3000255 | CONDUCTIX | CONDUCTIX | 024100-4 | [5 empty] | https://partners.conductix.us/shop/Cable-Festoon-Systems/240-Series/~024100-4 | [10 empty] | CLEANSED | 30103100 Rails | RAIL | ELECTRICAL | TYPE | C-TRACK | WIDTH | 2.5 MM | LENGTH | 4 M | HEIGHT | 40 MM | MATERIAL | GALVANIZED STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:40 MM,240 SERIES | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1266203 | 1266203 | RAIL;COND,023400-4,C,LG:4M,SSV4A,55317 | RAIL;MNFR:CONDUCTIX,PTNO:023400-4,ADDITIONAL FEATURES EN:C,LG:4M,SSV4A,55317 |  | 023400-4 | 3000255 | CONDUCTIX | CONDUCTIX | 023400-4 | [5 empty] | https://shop.mhe-demag.com/mys/en/RAIL-C-RAIL/p?p=IAwISKhDg2G9O4cOd17ZNA%3D%3D_023400-4 | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE | C | SIZE | 4 M LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSV4A,55317 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1211133 | 1211133 | RAIL;KNDR,K-SUP-DIB100x1500x30,K-SLIDER | RAIL;MNFR:KINDER,PTNO:K-SUP-DIB100x1500x30,ADDITIONAL FEATURES EN:K-SLIDER RAIL - TO SUIT D12 K-DYNAMIC IMPACT CRADLE 100 WIDE X 150 | 01)KINDER AUSTRALIA PTY LTD,01)K-SUP-DIB100X1500X30,RAIL,01)K-SLIDER RAIL - TO SUIT D12 | K-SUP-DIB100x1500x30 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-SUP-DIB100x1500x30 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | K-SLIDER RAIL -TO SUIT D12 K-DYNAMIC IMPACT CRADLE 150 LGX100 WDX30 HT MM | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1211132 | 1211132 | RAIL;KNDR,K-SUP-DIB150x1500x30,K-SLIDER | RAIL;MNFR:KINDER,PTNO:K-SUP-DIB150x1500x30,ADDITIONAL FEATURES EN:K-SLIDER RAIL - TO SUIT D12 K-DYNAMIC IMPACT CRADLE 150 WIDE X 15 | 01)KINDER AUSTRALIA PTY LTD,01)K-SUP-DIB150X1500X30,RAIL,01)K-SLIDER RAIL - TO SUIT D12 | K-SUP-DIB150x1500x30 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-SUP-DIB150x1500x30 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | K-SLIDER RAIL -TO SUIT D12 K-DYNAMIC IMPACT CRADLE 1.5 LG MX150 WDX30 HT MM | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1211131 | 1211131 | RAIL;KNDR,K-SUP-DIB200x1500x30,K-SLIDER | RAIL;MNFR:KINDER,PTNO:K-SUP-DIB200x1500x30,ADDITIONAL FEATURES EN:K-SLIDER RAIL - TO SUIT D12 K-DYNAMIC IMPACT 200 WIDE X 1500 LONG X | 01)KINDER AUSTRALIA PTY LTD,01)K-SUP-DIB200X1500X30,RAIL,01)K-SLIDER RAIL - TO SUIT D12 | K-SUP-DIB200x1500x30 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-SUP-DIB200x1500x30 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | K-SLIDER RAIL -TO SUIT D12 K-DYNAMIC IMPACT 1.5 LG MX200 WDX30 HT MM | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1276244 | 1276244 | RAIL;NHP,SDR2,DIN,35 X 7.5 MM X 2 M,STL | RAIL;MNFR:NHP,PTNO:SDR2,ADDITIONAL FEATURES EN:DIN,35 X 7.5 MM X 2 M,STL SLOTTED | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPSDR2,RAIL,01)DIN,35 X 7.5 MM X 2 M,STL S | SDR2 | 3000664 | NHP | NHP | SDR2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE |  | SIZE | 35X7.5 MMX2 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIN,STL SLOTTED | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1272316 | 1272316 | RAIL;RITL,4177000,PNCHD,23X23MM,F/TS SE | RAIL;MNFR:RITTAL,PTNO:4177000,ADDITIONAL FEATURES EN:PUNCHED,23X23MM,F/TS SE,2000X1895MM |  | 4177000 | 3000653 | RITTAL | RITTAL | 4177000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103100 Rails | RAIL | NO MODIFIER | TYPE | PUNCHED | SIZE | 23X23 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/TS SE,2X1.895 M | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1265894 | 1265894 | RAIL;SIE,6ES7590-1AC40-0AA0 | RAIL;MNFR:SIEMENS,PTNO:6ES7590-1AC40-0AA0 | RAIL | 6ES7590-1AC40-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7590-1AC40-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES7590-1AC40-0AA0 | [10 empty] | ENRICHED | 39121708 Din rail | RAIL | MOUNTING | TYPE |  | LENGTH |  | WIDTH | 245 MM | HEIGHT | 155 MM | MATERIAL | ALUMINUM | LOAD RATING |  | COATING/FINISH |  | HOLE/SLOT SIZE |  | CENTER SPACING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1265895 | 1265895 | RAIL;SIE,6ES7590-1AE80-0AA0 | RAIL;MNFR:SIEMENS,PTNO:6ES7590-1AE80-0AA0 | RAIL | 6ES7590-1AE80-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7590-1AE80-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES7590-1AE80-0AA0 | [10 empty] | ENRICHED | 39121708 Din rail | RAIL | MOUNTING | TYPE |  | LENGTH |  | WIDTH | 482 MM | HEIGHT | 155 MM | MATERIAL | ALUMINUM | LOAD RATING |  | COATING/FINISH |  | HOLE/SLOT SIZE |  | CENTER SPACING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333391 | 1333391 | TEE;DIEC,4M-032180 | TEE;MNFR:DIECI,PTNO:4M-032180,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | 4M-032180 | 3000511 | DIECI | DIECI | 4M-032180 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333466 | 1333466 | TEE;DIEC,BHA1499 | TEE;MNFR:DIECI,PTNO:BHA1499,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA1499 | 3000511 | DIECI | DIECI | BHA1499 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333545 | 1333545 | TEE;DIEC,BHA1510 | TEE;MNFR:DIECI,PTNO:BHA1510,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA1510 | 3000511 | DIECI | DIECI | BHA1510 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333544 | 1333544 | TEE;DIEC,BHA1516 | TEE;MNFR:DIECI,PTNO:BHA1516,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA1516 | 3000511 | DIECI | DIECI | BHA1516 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333543 | 1333543 | TEE;DIEC,BHA1529 | TEE;MNFR:DIECI,PTNO:BHA1529,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA1529 | 3000511 | DIECI | DIECI | BHA1529 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333542 | 1333542 | TEE;DIEC,BHA1550 | TEE;MNFR:DIECI,PTNO:BHA1550,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA1550 | 3000511 | DIECI | DIECI | BHA1550 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333343 | 1333343 | TEE;DIEC,BHA2702/1 | TEE;MNFR:DIECI,PTNO:BHA2702/1 ,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | BHA2702/1 | 3000511 | DIECI | DIECI | BHA2702/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1333576 | 1333576 | TEE;DIEC,HA2702/1 | TEE;MNFR:DIECI,PTNO:HA2702/1,ADDITIONAL FEATURES EN:3 WAY | TEE,01)3 WAY | HA2702/1 | 3000511 | DIECI | DIECI | HA2702/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE | 3 WAY | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1217274 | 1217274 | TEE;DRVT,4 R5OLO-S,PIPE-HOSE:120H HYDRAU | TEE;MNFR:DRIVETRAIN,PTNO:4 R5OLO-S,ADDITIONAL FEATURES EN:PIPE-HOSE:120H HYDRAULIC PUMP LINE | 01)DRIVETRAIN AUSTRALIA,01)4 R5OLO-S,TEE,01)PIPE-HOSE:120H HYDRAULIC PU | 4 R5OLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 4 R5OLO-S | [5 empty] | https://www.airlinehyd.com/product/PARKER-4-R5OLO-S/1708229 | [10 empty] | ENRICHED | 40174600 Pipe tees | TEE | PIPE | TYPE | HOSE | NOMINAL SIZE | 1/4 IN | END CONNECTION | MALE X 7/16 IN-20 TPI THREADED X MALE SAE-ORB | PRESSURE CLASS/RATING | 6000 PSI DYNAMIC | SCHEDULE/WALL THICKNESS |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 120H HYDRAULIC PUMP LINE | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 |  | 1213384 | 1213384 | TEE;DRVT,IFI30107 | TEE;MNFR:DRIVETRAIN,PTNO:IFI30107 |  | IFI30107 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI30107 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | TEE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1273426 | 1273426 | TIMER,ELECTR;NHP,DBB51CM2410S,TRUE DELAY | TIMER,ELECTRONIC;MNFR:NHP,PTNO:DBB51CM2410S,ADDITIONAL FEATURES EN:TRUE DELAY ON,24 VDC,24-240 VAC,TIME RANGE:1-10 S,1 CO,SWITCHING CURRENT:5 A,CONNECTION:SCREW,DIN-35 RAIL MOUNTING | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPDBB51CM2410S,TIMER,ELECTRONIC,01)TRUE DELAY ON,24 VDC,24-240,02)TIME RANGE:1-10 S,1 CO,SWIT,03)CONNECTION:SCREW,DIN-35 RAI | DBB51CM2410S | 3000664 | NHP | NHP | DBB51CM2410S |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-383/NHP_AU_Catalog-413/NHP_AU_Catalog-15705/DBB51CM2410S | [10 empty] | ENRICHED | 39122329 Time relay | RELAY | TIME | TYPE | TRUE DELAY OFF | TIMING RANGE | 1 TO 10 SEC | COIL VOLTAGE |  | CONTACT RATING |  | VOLTAGE RATING | 24 TO 240 VAC/24 VDC | CONTACT CONFIGURATION | 1 CO | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN-35 RAIL | CONTACT MATERIAL |  | SIZE | 17.5 WDX81 HTX67.2 DP MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:SCREW | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1258192 | 1258192 | TIMER;ABB,1SBN020314R1000 | TIMER;MNFR:ABB,PTNO:1SBN020314R1000 | TIMER | 1SBN020314R1000 | 3000014 | ABB | ABB | 1SBN020314R1000 | [5 empty] | https://shop.in.abb.com/1sbn020314r1000/tef5-off-frontal-electronic-timer.html | [10 empty] | ENRICHED | 39121523 Timer controls | TIMER | ELECTRONIC | TYPE |  | TIMING RANGE |  | VOLTAGE RATING | 24 V | CURRENT RATING | 1 A | NUMBER OF CHANNELS |  | ACCURACY |  | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | KIB | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1267007 | 1267007 | TIMER;ABB,TEF4-ON,0.1 - 100S TIME DELAY | TIMER;MNFR:ABB,PTNO:TEF4-ON,ADDITIONAL FEATURES EN:0.1 - 100S TIME DELAY 1NO 1NC ON-DELAY | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBTEF4-ON,TIMER,01)0.1 - 100S TIME DELAY 1NO 1 | TEF4-ON | 3000014 | ABB | ABB | TEF4-ON |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://shop.in.abb.com/1sbn020112r1000/tef4-on-frontal-electronic-timer.html | [10 empty] | ENRICHED | 39121523 Timer controls | TIMER | ELECTRONIC | TYPE | FRONTAL,ON-DELAY | TIMING RANGE | 0.1 TO 100 SEC | VOLTAGE RATING | 24 V | CURRENT RATING | 1 A | NUMBER OF CHANNELS |  | ACCURACY |  | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTACT CONFIGURATION:1NO,1NC | [45 empty] | Production Completed