## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1330260 | 1330260 | CABLE,ASSY;SIE,14201-10 (N) | CABLE,ASSEMBLY;MNFR:SIEMENS,PTNO:14201-10 (N) | CABLE,ASSEMBLY | 14201-10 (N) | 3000032 | SIEMENS | SIEMENS | 14201-10 (N) | JABRA |  |  |  |  | https://www.connection.com/product/jabra-dhsg-cable-accs/14201-10/8682624 | [10 empty] | Cleansed | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE |  | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1330259 | 1330259 | CABLE,COMM;SIE,37818-11 (N) | CABLE,COMMUNICATION;MNFR:SIEMENS,PTNO:37818-11 (N) | CABLE,COMMUNICATION | 37818-11 (N) | 3000032 | SIEMENS | SIEMENS | 37818-11 (N) | SIEMENS |  |  |  |  | https://www.lexair.com/poly-aps-11-ehs-cable-siemens-37818-11/ | [10 empty] | Cleansed | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE |  | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1240267 | 1240267 | CABLE,COMM;SIE,6XV1830-3GH10,FESTOON | CABLE,COMMUNICATION;MNFR:SIEMENS,PTNO:6XV1830-3GH10,ADDITIONAL FEATURES EN:FESTOON PROFIBUS DP | CABLE,COMMUNICATION,01)FESTOON PROFIBUS DP,01)FESTOON PROFIBUS DP | 6XV1830-3GH10 | 3000032 | SIEMENS | SIEMENS | 6XV1830-3GH10 | SIEMENS |  |  |  |  | https://docs.rs-online.com/fd10/A700000006977955.pdf | [10 empty] | Cleansed | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE | PROFIBUS | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS | 2 | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING | 80 V | TEMPERATURE RATING | -40 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60332-3-24 | ADDITIONAL FEATURES | SERIES:FESTOON DP | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333231 | 1333231 | CABLE;DIEC,BWC1104 | CABLE;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:DOOR LATCH OPERATING,TELEHANDLER | CABLE,01)DOOR LATCH OPERATING,TELEHANDLER | BWC1104 | 3000511 | DIECI | DIECI | BWC1104 | DIECI |  |  |  |  | https://machineserve.co.uk/product/dieci-door-cable-steel-bwc1104/ | [5 empty] | TELEHANDLER |  | ZEUS 33.1/SAMSON 70.10 |  |  | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE | STEEL | TEMPERATURE RATING |  | LENGTH | 1510 MM | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 | SERIES MATCH | 1335131 | 1335131 | CABLE;SIE,0Z0 FLEX 4G16+4X15-5DH 5150 | CABLE;MNFR:SIEMENS,PTNO:0Z0 FLEX 4G16+4X15-5DH 5150 | CABLE | 0Z0 FLEX 4G16+4X15-5DH 5150 | 3000032 | SIEMENS | SIEMENS | 0Z0 FLEX 4G16+4X15-5DH 5150 | BELDEN |  |  |  |  | https://www.belden.com/products/cable/flex-cable/4g16 | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE | FLEXIBLE | VOLTAGE RATING | 4000 V | CURRENT RATING |  | CONDUCTOR SIZE | 16 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -15 TO 70 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,UL,VDE | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1330515 | 1330515 | CABLE;SIE,14201-10 | CABLE;MNFR:SIEMENS,PTNO:14201-10 | CABLE | 14201-10 | 3000032 | SIEMENS | SIEMENS | 14201-10 | JABRA |  |  |  |  | https://www.connection.com/product/jabra-dhsg-cable-accs/14201-10/8682624 | [10 empty] | Cleansed | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE |  | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1216004 | 1216004 | CABLE;SIE,5DR4151-4,FLEX 1C,50MM SILICON | CABLE;MNFR:SIEMENS,PTNO:5DR4151-4,ADDITIONAL FEATURES EN:FLEX 1C,50MM SILICON,300/500V,HIGH TEMP 180 DEG C | 01)HAYMANS ELECTRICAL,01)SIE5DR4151-4,CABLE,01)FLEX 1C,50MM SILICON,300/50,02)HIGH TEMP 180 DEG C | 5DR4151-4 | 3000032 | SIEMENS | SIEMENS | 5DR4151-4 | SIEMENS |  |  |  |  | https://trade.cetnaj.com.au/sie5dr4151-4 | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE | FLEXIBLE,HIGH TEMPERATURE | VOLTAGE RATING | 300/500 V | CURRENT RATING |  | CONDUCTOR SIZE | 50 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | SILICON | INSULATION MATERIAL | SILICON | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | -55 TO 180 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1212919 | 1212919 | CABLE;SIE,6FX2002-1DC00-1AF0 | CABLE;MNFR:SIEMENS,PTNO:6FX2002-1DC00-1AF0 | CABLE | 6FX2002-1DC00-1AF0 | 3000032 | SIEMENS | SIEMENS | 6FX2002-1DC00-1AF0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6FX20021DC001AF0 | https://cncbote.de/en/product/siemens-6fx2002-1dc00-1af0-signal-cable-5-m/ | [9 empty] | Enriched | 26121604 Signal cable | CABLE | SIGNAL | TYPE | PRE-ASSEMBLED | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | CONNECTION TYPE |  | CONDUCTOR MATERIAL |  | LENGTH | 5 M | VOLTAGE RATING |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1212918 | 1212918 | CABLE;SIE,6SL3060-4AJ20-0AA0 | CABLE;MNFR:SIEMENS,PTNO:6SL3060-4AJ20-0AA0 | CABLE | 6SL3060-4AJ20-0AA0 | 3000032 | SIEMENS | SIEMENS | 6SL3060-4AJ20-0AA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3060-4AJ20-0AA0 | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 2.8 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1323651 | 1323651 | CABLE;SIE,A5E03002023 | CABLE;MNFR:SIEMENS,PTNO:A5E03002023 | CABLE | A5E03002023 | 3000032 | SIEMENS | SIEMENS | A5E03002023 | SIEMENS |  |  |  |  | https://www.robiconperfectharmony.com/Siemens-Robicon-6SR0960-0RA33-0AC0-Wago-Analog-Output-2-Channel-750-556-2ao-10-V-Dc-PG5035182 | [10 empty] | Enriched | 26121607 Fiber optic cable | CABLE | FIBER OPTIC | TYPE |  | PROPAGATION MODE |  | NUMBER OF CORES |  | CORE DIAMETER |  | CABLE CONSTRUCTION |  | SHEATH MATERIAL |  | SHEATH COLOUR |  | END CONNECTION |  | LENGTH | 3.4 M | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1323052 | 1323052 | CABLE;SIE,SIE5DG5797 | CABLE;MNFR:SIEMENS,PTNO:SIE5DG5797 | CABLE | SIE5DG5797 | 3000032 | SIEMENS | SIEMENS | SIE5DG5797 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1219115 | 1219115 | CABLE;SIE,SIE5DR3521,25MM2,SINOTHERM 180 | CABLE;MNFR:SIEMENS,PTNO:SIE5DR3521,ADDITIONAL FEATURES EN:25MM2,SINOTHERM 180C,0.6/1KV | 01)HAYMANS ELECTRICAL,01)SIE5DR3521,CABLE,01)25MM2,SINOTHERM 180C,0.6/1K | SIE5DR3521 | 3000032 | SIEMENS | SIEMENS | SIE5DR3521 | SIEMENS |  |  |  |  | https://www.goelectrical.com.au/sie5dr3521 | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 25 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | SILICON | INSULATION MATERIAL | SILICON | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 180 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SINOTHERM | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1218763 | 1218763 | CABLE;SIE,SIE5DR3522,FLEX HIGH TEMP 180C | CABLE;MNFR:SIEMENS,PTNO:SIE5DR3522,ADDITIONAL FEATURES EN:FLEX HIGH TEMP 180 DEG,C 1C 35MM,SILICON 0.6/1KV | 01)HAYMANS ELECTRICAL,01)SIE5DR3522,CABLE,01)FLEX HIGH TEMP 180 DEG,C 1C | SIE5DR3522 | 3000032 | SIEMENS | SIEMENS | SIE5DR3522 | SIEMENS |  |  |  |  | https://www.learsmith.com.au/als/category/Cable/Building-Wire/Building-Wire/35MM-SINGLE-CORE-SINOTHERM-0-6-1KV-180-DEG/SIE5DR3522/p/10879946 | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE | FLEXIBLE,HIGH TEMPERATURE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 35 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | SILICON | INSULATION MATERIAL | SILICON | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 180 DEG C | LENGTH | 1 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1218761 | 1218761 | CABLE;SIE,SIE5DR3524,FLEX HIGH TEMP 180C | CABLE;MNFR:SIEMENS,PTNO:SIE5DR3524,ADDITIONAL FEATURES EN:FLEX HIGH TEMP 180 DEG,C 1C 70MM,SILICON 0.6/1KV | 01)HAYMANS ELECTRICAL,01)SIE5DR3524,CABLE,01)FLEX HIGH TEMP 180 DEG,C 1C | SIE5DR3524 | 3000032 | SIEMENS | SIEMENS | SIE5DR3524 | SIEMENS |  |  |  |  | https://goelectrical.com.au/sie5dr3524 | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE | FLEXIBLE,HIGH TEMPERATURE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 70 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | SILICON | INSULATION MATERIAL | SILICON | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1218762 | 1218762 | CABLE;SIE,SIE5DR3525,FLEX HIGH TEMP 180C | CABLE;MNFR:SIEMENS,PTNO:SIE5DR3525,ADDITIONAL FEATURES EN:FLEX HIGH TEMP 180 DEG,C 1C 95MM,SILICON 0.6/1KV | 01)HAYMANS ELECTRICAL,01)SIE5DR3525,CABLE,01)FLEX HIGH TEMP 180 DEG,C 1C | SIE5DR3525 | 3000032 | SIEMENS | SIEMENS | SIE5DR3525 | SIEMENS |  |  |  |  | https://www.goelectrical.com.au/sie5dr3525 | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE | FLEXIBLE,HIGH TEMPERATURE | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 95 MM2 | NUMBER OF CONDUCTORS |  | CORE STRANDS | 1 | CONDUCTOR MATERIAL |  | JACKET MATERIAL | SILICON | INSULATION MATERIAL | SILICON | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1325184 | 1325184 | FUSE,CRTG;HRC, LINK, HIGH RUPTURE CAPACI | FUSE,CARTRIDGE;TYPE:HRC, LINK, HIGH RUPTURE CAPACITY,CURRENT RATING:160 A,VOLTAGE RATING:660 VAC,SIZE:DIA 33.7 X LG 136.5 MM, CLASS:GG,TERMINAL TYPE:CENTRE TAGS,CERTIFICATION/STANDARD:BS 88-2, IEC 269-2,ADDITIONAL FEATURES EN:550 V AC, 2 HOLE, 111 MM FIXING CENTRES,MNFR:SIEMENS,PTNO:3NWTF160,MNFR:01)FUSECO,PTNO:01)TF160 | EN_01)HRC, LINK, HIGH RUPTURE,160 A,660 VAC,EN_01)DIA 33.7 X LG 136.5 MM,GG,CENTRE TAGS,EN_01)BS 88-2, IEC 269-2,01)550 V AC, 2 HOLE, 111 MM FI,01)FUSECO,01)TF160,FUSE | 3NWTF160 | 3000032 | SIEMENS | FUSECO | TF160 | FUSECO | SIEMENS | 3NWTF160 |  |  | https://www.fuseco.com.au/fuses/products/tf | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | HRC,LINK,FAST ACTING | CURRENT RATING | 160 A | VOLTAGE RATING | 550/660 VAC | INTERRUPT RATING |  | SIZE | 33.7 DIAX136.5 LG MM | CLASS | GG | MATERIAL |  | TERMINAL TYPE | CENTRED TAG | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 88-2,IEC 269-2 | ADDITIONAL FEATURES | NUMBER OF HOLE:2,FIXING CENTRE SIZE:111 MM | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1271590 | 1271590 | FUSE,CRTG;HRC, LINK, INDUSTRIAL,20 A | FUSE,CARTRIDGE;TYPE:HRC, LINK, INDUSTRIAL,CURRENT RATING:20 A,VOLTAGE RATING:660 VAC, 460 VDC,INTERRUPT RATING:80 KA,SIZE:DIA 22 X LG 86 MM,CLASS:GL/GG,TERMINAL TYPE:BOLT ON, OFFSET,CERTIFICATION/STANDARD:BS 88-2, IEC 60269-2,ADDITIONAL FEATURES EN:500 V AC, FIXING CENTRES 73 MM,MNFR:SIEMENS,PTNO:3NWTIA20,MNFR:01)FUSECO,PTNO:01)TIA20 | EN_01)HRC, LINK, INDUSTRIAL,20 A,660 VAC, 460 VDC,EN_01)80 KA,EN_01)DIA 22 X LG 86 MM,GL/GG,BOLT ON, OFFSET,EN_01)BS 88-2, IEC 60269-2,01)500 V AC, FIXING CENTRES 73,01)FUSECO,01)TIA20,FUSE | 3NWTIA20 | 3000032 | SIEMENS | FUSECO | TIA20 | FUSECO | SIEMENS | 3NWTIA20 |  |  | https://www.fuseco.com.au/fuses/products/tia | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | HRC,LINK,FAST ACTING,INDUSTRIAL | CURRENT RATING | 20 A | VOLTAGE RATING | 500/660 VAC,460 VDC | INTERRUPT RATING | 80 KA | SIZE | 22 DIAX86 LG MM | CLASS | GL/GG | MATERIAL |  | TERMINAL TYPE | BOLT ON,OFFSET | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 88-2,IEC 60269-2 | ADDITIONAL FEATURES | FIXING CENTRE SIZE:73 MM | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1325380 | 1325380 | FUSE,CRTG;LNK, FAST BLOW,5 A | FUSE,CARTRIDGE;TYPE:LNK, FAST BLOW,CURRENT RATING:5 A,SIZE:DIA 5 X LG 20 MM,MNFR:ABB,PTNO:FUS-GLS-00050 | EN_01)LNK, FAST BLOW,5 A,EN_01)DIA 5 X LG 20 MM,FUSE | FUS-GLS-00050 | 3000014 | ABB | ABB | FUS-GLS-00050 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | LNK,FAST BLOW | CURRENT RATING | 5 A | VOLTAGE RATING |  | INTERRUPT RATING |  | SIZE | 5 DIAX20 LG MM | CLASS |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1325245 | 1325245 | FUSE,CRTG;LNK, FAST, CONVEYANCE BATTERY | FUSE,CARTRIDGE;TYPE:LINK, FAST, CONVEYANCE BATTERY CHARGER OUTLET PROTECTION,CURRENT RATING:10 A,SIZE:DIA 5 X LG 20 MM,MNFR:ABB, PTNO:FUS-GLS-00060 | EN_01)LINK, FAST, CONVEYANCE B,10 A,EN_01)DIA 5 X LG 20 MM,FUSE | FUS-GLS-00060 | 3000014 | ABB | ABB | FUS-GLS-00060 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | LINK,FAST,CONVEYANCE BATTERY CHARGER OUTLET PROTECTION | CURRENT RATING | 10 A | VOLTAGE RATING |  | INTERRUPT RATING |  | SIZE | 5 DIAX20 LG MM | CLASS |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1325379 | 1325379 | FUSE,CRTG;LNK, SLO BLO,1 A | FUSE,CARTRIDGE;TYPE:LINK, SLO BLO,CURRENT RATING:1 A,SIZE:DIA 5 X LG 20 MM,MNFR:ABB,PTNO:FUS-GLS-00080 | EN_01)LINK, SLO BLO,1 A,EN_01)DIA 5 X LG 20 MM,FUSE | FUS-GLS-00080 | 3000014 | ABB | ABB | FUS-GLS-00080 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | LINK,SLO BLO | CURRENT RATING | 1 A | VOLTAGE RATING |  | INTERRUPT RATING |  | SIZE | 5 DIAX20 LG MM | CLASS |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1330219 | 1330219 | FUSE,CRTG;LNK,125 A,660 VAC, 350 VDC | FUSE,CARTRIDGE;TYPE:LINK,CURRENT RATING:125 A,VOLTAGE RATING:660 VAC, 350 VDC,INTERRUPT RATING:80 KA,SIZE:DIA 34 X LG 111 MM, CLASS:GL/GG,TERMINAL TYPE:OFFSET BOLTED,ADDITIONAL FEATURES EN:CENTRAL TAGS, 2 HOLE FIXING, STD PACK OF 5,MNFR:SIEMENS,PTNO: 3NW1140,MNFR:01)CNW,PTNO:01)TFP125,MNFR:02)AUSLEC,PTNO:02)GECTFP125 | EN_01)LINK,125 A,660 VAC, 350 VDC,EN_01)80 KA,EN_01)DIA 34 X LG 111 MM,GL/GG,OFFSET BOLTED,01)CENTRAL TAGS, 2 HOLE FIXING,01)CNW,02)AUSLEC,01)TFP125,02)GECTFP125,FUSE | 3NW1140 | 3000032 | SIEMENS | AUSLEC | GECTFP125 | AUSLEC | SIEMENS | 3NW1140 |  |  | https://www.idealelectrical.com/aie/p/10211355 | [10 empty] | Cleansed | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | LINK | CURRENT RATING | 125 A | VOLTAGE RATING | 660 VAC,350 VDC | INTERRUPT RATING | 80 KA | SIZE | 34 DIAX111 LG MM | CLASS | GL/GG | MATERIAL |  | TERMINAL TYPE | CENTRED TAG,OFFSET BOLTED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF HOLE:2 FIXING,PACKAGING QUANTIY:5/PACK STANDARD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1325183 | 1325183 | FUSE,CRTG;LNK,500 A,550 VAC,LG 184 MM | FUSE,CARTRIDGE;TYPE:LINK,CURRENT RATING:500 A,VOLTAGE RATING:550 VAC,SIZE:LG 184 MM,CLASS:GL/GG,TERMINAL TYPE:CENTRAL,ADDITIONAL FEATURES EN:(4) HOLE FIXING, 133 MM CENTRES,MNFR:SIEMENS,PTNO:3NWTTM500,MNFR:01)SWECHECK,PTNO:01)GECTTM500,MNFR:02)AUSLEC,PTNO:02) SWR-500 | EN_01)LINK,500 A,550 VAC,EN_01)LG 184 MM,GL/GG,CENTRAL,01)(4) HOLE FIXING, 133 MM CEN,01)SWECHECK,02)AUSLEC,01)GECTTM500,02)SWR-500,FUSE | 3NWTTM500 | 3000032 | SIEMENS | SIEMENS | 3NWTTM500 | SIEMENS | AUSLEC | SWR-500 |  |  | https://www.eleczo.com/siemens-3nw-500-amp-hrc-fuse-link-3nwttm500.html | [10 empty] | Enriched | 39121606 Cartridge fuses | FUSE | CARTRIDGE | TYPE | LINK | CURRENT RATING | 500 A | VOLTAGE RATING | 550 VAC | INTERRUPT RATING | 80 KA | SIZE | 184 MM LG | CLASS | GL/GG | MATERIAL |  | TERMINAL TYPE | CENTRED TAG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF HOLE:2,FIXING CENTRE SIZE:133 MM | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1251869 | 1251869 | KIT;CUM,5299899 | KIT;MNFR:CUMMINS,PTNO:5299899 | KIT | 5299899 | 3000018 | CUMMINS | CUMMINS | 5299899 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sG1DQAU/cummins-inline-7-datalink-adapter-kit-5299899 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | ADAPTER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1259873 | 1259873 | KIT;CUM,5327373RX | KIT;MNFR:CUMMINS,PTNO:5327373RX | KIT | 5327373RX | 3000018 | CUMMINS | CUMMINS | 5327373RX | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sR3LQAU/cummins-kitturbocharger-5327373rx | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | TURBOCHARGER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1323032 | 1323032 | KIT;CUM,5473173 | KIT;MNFR:CUMMINS,PTNO:5473173 | KIT | 5473173 | 3000018 | CUMMINS | CUMMINS | 5473173 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sLf7QAE/cummins-water-pump-kit-5473173 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | WATER PUMP | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1251669 | 1251669 | KIT;CUM,5473238 | KIT;MNFR:CUMMINS,PTNO:5473238 | KIT | 5473238 | 3000018 | CUMMINS | CUMMINS | 5473238 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sMQEQA2/cummins-water-pump-kit-5473238 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | WATER PUMP | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1251896 | 1251896 | KIT;CUM,ACTQLD | KIT;MNFR:CUMMINS,PTNO:ACTQLD | KIT | ACTQLD | 3000018 | CUMMINS | CUMMINS | ACTQLD | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1258407 | 1258407 | KIT;DIEC,1000HR NEF 4 | KIT;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:1000HR SERVICE,NEF 4 ENGINES,PTNO 01:1000HR NEF 4 | KIT,01)1000HR SERVICE,NEF 4 ENGINES | 1000HR NEF 4 | 3000511 | DIECI | DIECI | 1000HR NEF 4 | [5 empty] | Url Not Found | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 1000 HR SERVICE,NEF 4 ENGINES | [60 empty] | PTNO 01:1000HR NEF 4 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1252821 | 1252821 | KIT;DIEC,2R.601984 | KIT;MNFR:DIECI,PTNO:2R.601984,ADDITIONAL FEATURES EN:GASKET | KIT,01)GASKET | 2R.601984 | 3000511 | DIECI | DIECI | 2R.601984 | DIECI |  |  |  |  | https://snabavto.com/product/dieci/remkomplekt-94/ | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | REPAIR,GASKET | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1252896 | 1252896 | KIT;DIEC,3V-5CIN4001H | KIT;MNFR:DIECI,PTNO:3V-5CIN4001H,ADDITIONAL FEATURES EN:UNIVERSAL JOINT | KIT,01)UNIVERSAL JOINT | 3V-5CIN4001H | 3000511 | DIECI | DIECI | 3V-5CIN4001H | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | UNIVERSAL JOINT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333352 | 1333352 | KIT;DIEC,3V-5CR400089NA | KIT;MNFR:DIECI,PTNO:3V-5CR400089NA,ADDITIONAL FEATURES EN:ROD | KIT,01)ROD | 3V-5CR400089NA | 3000511 | DIECI | DIECI | 3V-5CR400089NA | DIECI |  |  |  |  | https://goldytech.com.ua/ua/p1222839744-5cr400089na-komplekt-shtoka.html | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | JOYSTICK ROD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333385 | 1333385 | KIT;DIEC,5H.2122445002 | KIT;MNFR:DIECI,PTNO:5H.2122445002,ADDITIONAL FEATURES EN:CYLINDER GASKET SEAL | KIT,01)CYLINDER GASKET SEAL | 5H.2122445002 | 3000511 | DIECI | DIECI | 5H.2122445002 | DIECI |  |  |  |  | https://buyanypart.co.uk/parts/seal-kit-hydr-cyl-5h2122445002-bta1 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | HYDRAULIC CYLINDER,GASKET SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1252940 | 1252940 | KIT;DIEC,6S.ACC5572 | KIT;MNFR:DIECI,PTNO:6S.ACC5572,ADDITIONAL FEATURES EN:CONTENTS:LEVER | KIT,01)CONTENTS:LEVER | 6S.ACC5572 | 3000511 | DIECI | DIECI | 6S.ACC5572 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS | LEVER | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1252815 | 1252815 | KIT;DIEC,AXA1625 | KIT;MNFR:DIECI,PTNO:AXA1625,ADDITIONAL FEATURES EN:STICKERS | KIT,01)STICKERS | AXA1625 | 3000511 | DIECI | DIECI | AXA1625 | DIECI |  |  |  |  | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-AXA1625 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | STICKER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 | REVIEW CONTENTS | 1333550 | 1333550 | KIT;DIEC,CVC7875/0D2 | KIT;MNFR:DIECI,PTNO:CVC7875/0D2,ADDITIONAL FEATURES EN:CONTENTS:BASKET, FRONT PANEL,3X1 | KIT,01)CONTENTS:BASKET, FRONT PANEL,3X1 | CVC7875/0D2 | 3000511 | DIECI | DIECI | CVC7875/0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS | BASKET,FRONT PANEL,3X1 MM | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333565 | 1333565 | KIT;DIEC,DQB1038 | KIT;MNFR:DIECI,PTNO:DQB1038,ADDITIONAL FEATURES EN:INSULATING PANELS | KIT,01)INSULATING PANELS | DQB1038 | 3000511 | DIECI | DIECI | DQB1038 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | INSULATING PANEL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333417 | 1333417 | KIT;DIEC,DQB1039 | KIT;MNFR:DIECI,PTNO:DQB1039,ADDITIONAL FEATURES EN:INSULATING PANELS | KIT,01)INSULATING PANELS | DQB1039 | 3000511 | DIECI | DIECI | DQB1039 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | INSULATING PANEL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333515 | 1333515 | KIT;DIEC,DRE1142 | KIT;MNFR:DIECI,PTNO:DRE1142,ADDITIONAL FEATURES EN:COLUMN COVERING | KIT,01)COLUMN COVERING | DRE1142 | 3000511 | DIECI | DIECI | DRE1142 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | COLUMN COVERING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333581 | 1333581 | KIT;DIEC,DRM0065 | KIT;MNFR:DIECI,PTNO:DRM0065,ADDITIONAL FEATURES EN:MAINTENANCE,500 HOURS | KIT,01)MAINTENANCE,500 HOURS | DRM0065 | 3000511 | DIECI | DIECI | DRM0065 | DIECI |  |  |  |  | https://www.lbr.ru/zapchasti/komplekt-dla-to-500-drm0065 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | MAINTENANCE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 500 HOURS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333422 | 1333422 | KIT;DIEC,DRM0068 | KIT;MNFR:DIECI,PTNO:DRM0068,ADDITIONAL FEATURES EN:MAINTENANCE,1000 HOURS | KIT,01)MAINTENANCE,1000 HOURS | DRM0068 | 3000511 | DIECI | DIECI | DRM0068 | DIECI |  |  |  |  | https://www.volza.com/p/boomlift/import/import-in-india/hsn-code-84312090/ | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | MAINTENANCE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1000 HOURS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333443 | 1333443 | KIT;DIEC,KPLLI0000045 | KIT;MNFR:DIECI,PTNO:KPLLI0000045,ADDITIONAL FEATURES EN:CAB FRONT GLASS PROTECTION | KIT,01)CAB FRONT GLASS PROTECTION | KPLLI0000045 | 3000511 | DIECI | DIECI | KPLLI0000045 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | CAB,FRONT GLASS PROTECTION | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333442 | 1333442 | KIT;DIEC,SATKS0000004 | KIT;MNFR:DIECI,PTNO:SATKS0000004,ADDITIONAL FEATURES EN:COIL,INCLUDING OR | KIT,01)COIL,INCLUDING OR | SATKS0000004 | 3000511 | DIECI | DIECI | SATKS0000004 | DIECI |  |  |  |  | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | COIL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INCLUDING OR | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333318 | 1333318 | KIT;DIEC,SATKS0000011 | KIT;MNFR:DIECI,PTNO:SATKS0000011,ADDITIONAL FEATURES EN:ROD, HOOD | KIT,01)ROD, HOOD | SATKS0000011 | 3000511 | DIECI | DIECI | SATKS0000011 | DIECI |  |  |  |  | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | ROD,HOOD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333302 | 1333302 | KIT;DIEC,SATKS0000054 | KIT;MNFR:DIECI,PTNO:SATKS0000054,ADDITIONAL FEATURES EN:GASKET | KIT,01)GASKET | SATKS0000054 | 3000511 | DIECI | DIECI | SATKS0000054 | DIECI |  |  |  |  | https://grassfield.com.ua/catalog/zapchastini-dieci-komplekt-ushh%D1%96lnen-satks0000054 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | GASKET | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1333431 | 1333431 | KIT;DIEC,SATKS0000074 | KIT;MNFR:DIECI,PTNO:SATKS0000074,ADDITIONAL FEATURES EN:LIFTING CYLINDER,ITEMS 13,14,15 | KIT,01)LIFTING CYLINDER,ITEMS 13,14,15 | SATKS0000074 | 3000511 | DIECI | DIECI | SATKS0000074 | [5 empty] | Url Not Found |  | 13,14,15 | [8 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | LIFTING CYLINDER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1275448 | 1275448 | KIT;DIEC,SK25006 | KIT;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:250HR/750HR SERVICE,NEF 4 ENGINES,PTNO 01:SK25006 | KIT,01)250HR/750HR SERVICE,NEF 4 ENGINES | SK25006 | 3000511 | DIECI | DIECI | SK25006 | [5 empty] | Url Not Found | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 250/750 HR SERVICE,NEF 4 ENGINES | [60 empty] | PTNO 01:SK25006 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1275449 | 1275449 | KIT;DIEC,SK50006A | KIT;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:500HR/1000HR SERVICE,NEF 4 ENGINES,PTNO 01:SK50006A | KIT,01)500HR/1000HR SERVICE,NEF 4 ENGINES | SK50006A | 3000511 | DIECI | DIECI | SK50006A | [5 empty] | Url Not Found | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 500/1000 HR SERVICE,NEF 4 ENGINES | [60 empty] | PTNO 01:SK50006A | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1251924 | 1251924 | KIT;MER,207KB1759 | KIT;MNFR:MERCEDES,PTNO:207KB1759 | KIT | 207KB1759 | 3000008 | MERCEDES | MERCEDES | 207KB1759 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1212272 | 1212272 | KIT;MER,207KB1806 | KIT;MNFR:MERCEDES,PTNO:207KB1806 | KIT | 207KB1806 | 3000008 | MERCEDES | MERCEDES | 207KB1806 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1274074 | 1274074 | KIT;NHP,CTKIT400A,OVLD,ELEK,W/EXTERNAL C | KIT;MNFR:NHP,PTNO:CTKIT400A,ADDITIONAL FEATURES EN:OVERLOAD,ELECTRONIC,W/EXTERNAL CT | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCTKIT400A,KIT,01)OVERLOAD,ELECTRONIC,W/EXTER | CTKIT400A | 3000664 | NHP | NHP | CTKIT400A | NHP |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CTKIT400A-211653-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | OVERLOAD,ELECTRONIC | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W EXTERNAL CT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1274075 | 1274075 | KIT;NHP,CTKIT600A,OVLD,ELEK,W/EXTERNAL C | KIT;MNFR:NHP,PTNO:CTKIT600A,ADDITIONAL FEATURES EN:OVERLOAD,ELECTRONIC,W/EXTERNAL CT | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCTKIT600A,KIT,01)OVERLOAD,ELECTRONIC,W/EXTER | CTKIT600A | 3000664 | NHP | NHP | CTKIT600A | NHP |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CTKIT600A-211658-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | OVERLOAD,ELECTRONIC | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W EXTERNAL CT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1274076 | 1274076 | KIT;NHP,CTKIT800A,OVLD,ELEK,W/EXTERNAL C | KIT;MNFR:NHP,PTNO:CTKIT800A,ADDITIONAL FEATURES EN:OVERLOAD,ELECTRONIC,W/EXTERNAL CT | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCTKIT800A,KIT,01)OVERLOAD,ELECTRONIC,W/EXTER | CTKIT800A | 3000664 | NHP | NHP | CTKIT800A | NHP |  |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217586/NHP_NZ_Catalog-361/NHP_NZ_Catalog-362/NHP_NZ_Catalog-697/CTKIT800A | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | OVERLOAD,ELECTRONIC | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W EXTERNAL CT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1273332 | 1273332 | KIT;SIE,A5E01181656,CBL,20 M,COIL&ELECTR | KIT;MNFR:SIEMENS,PTNO:A5E01181656,ADDITIONAL FEATURES EN:CABLE,20 M,COIL&ELECTRODE |  | A5E01181656 | 3000032 | SIEMENS | SIEMENS | A5E01181656 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/A5E01181656 | https://in.rsdelivers.com/product/siemens/a5e01181656/siemens-sitrans-series-cable-kit-for-use-with-mag/2375928 | [9 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | CABLE | CONTENTS | STANDARD COIL CABLE, 3 X 1.5 MM2 (3 X 0.0024 IN2),GAGE 18,SINGLE SHIELDED PVC JACKET AND SPECIAL ELECTRODE CABLE,3 X 0.25 MM2 (3 X 0.0004 IN2),DOUBLE SHIELDED PVC JACKET,-30 TO 70 DEG C,20 M LENGTH | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1331819 | 1331819 | LIGHT,INDCTG;SIE,180 9500 | LIGHT,INDICATING;MNFR:SIEMENS,PTNO:180 9500 | LIGHT,INDICATING | 180 9500 | 3000032 | SIEMENS | SIEMENS | 180 9500 | SIEMENS |  |  |  |  | https://in.rsdelivers.com/product/siemens/3su1103-6aa20-1aa0/siemens-3su1-panel-mount-red-led-indicator-22mm-ac/1809500 | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | LED,PILOT | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 110 VAC | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1331818 | 1331818 | LIGHT,INDCTG;SIE,181 2865 | LIGHT,INDICATING;MNFR:SIEMENS,PTNO:181 2865 | LIGHT,INDICATING | 181 2865 | 3000032 | SIEMENS | SIEMENS | 181 2865 | SIEMENS |  |  |  |  | https://in.rsdelivers.com/product/siemens/3su1103-6aa40-1aa0/siemens-3su1-panel-mount-green-led-indicator-22mm/1812865 | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | LED,PILOT | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 110 VAC | SIZE | 22 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1217418 | 1217418 | LIGHT,UNT;DIEC,4C.00110476 | LIGHT,UNIT;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:RIGHT HAND FRONT,PTNO 01:4C00110472 | LIGHT,UNIT,01)RIGHT HAND FRONT | 4C.00110476 | 3000511 | DIECI | DIECI | 4C.00110476 | DIECI |  |  |  |  | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-4C.00110476 | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | UNIT | TYPE | RIGHT HAND,FRONT | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | PTNO 01:4C00110472 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1257772 | 1257772 | LIGHT,UNT;DIEC,BWC5720 | LIGHT,UNIT;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:VEHICLE BONNET,PTNO 01:BWC5720 | LIGHT,UNIT,01)VEHICLE BONNET | BWC5720 | 3000511 | DIECI | DIECI | BWC5720 | DIECI |  |  |  |  | https://goldytech.com.ua/ua/p1067845861-bwc5720-zavisa-diyechi.html | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | UNIT | TYPE | VEHICLE BONNET | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | PTNO 01:BWC5720 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1211423 | 1211423 | LIGHT;SIE,3SU1400-2CK10-1AA0 | LIGHT;MNFR:SIEMENS,PTNO:3SU1400-2CK10-1AA0 | LIGHT | 3SU1400-2CK10-1AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1400-2CK10-1AA0 | SIEMENS |  |  |  |  | https://www.lowvoltage.siemens.com/mobile/product.php?3SU1400-2CK10-1AA0 | https://in.rsdelivers.com/product/siemens/3su1400-2ck10-1aa0/siemens-sirius-act-light-block-240-v-ac/dc/1736826 | [9 empty] | Enriched | 32151502 Light module | MODULE | ELECTRONIC | TYPE | LED LIGHT | INPUT RATING | 240 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1274298 | 1274298 | LIGHT;SIE,3SU1401-1BH20-1AA0 | LIGHT;MNFR:SIEMENS,PTNO:3SU1401-1BH20-1AA0 | LIGHT | 3SU1401-1BH20-1AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1401-1BH20-1AA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SU1401-1BH20-1AA0 | https://us.rs-online.com/m/d/058621b9861861ee376a7d73a63d22d9.pdf | [9 empty] | Enriched | 32151502 Light module | MODULE | ELECTRONIC | TYPE | LED LIGHT | INPUT RATING | 24 TO 240 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | 9.8 WDX33.2 HTX29.4 DP MM | MOUNTING TYPE | FRONT PLATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-27 | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1324037 | 1324037 | LIGHT;SIE,3SU1401-1BH30-1AA0 | LIGHT;MNFR:SIEMENS,PTNO:3SU1401-1BH30-1AA0 | LIGHT | 3SU1401-1BH30-1AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1401-1BH30-1AA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SU1401-1BH30-1AA0 | https://docs.rs-online.com/3b8b/0900766b815a717c.pdf | [9 empty] | Enriched | 32151502 Light module | MODULE | ELECTRONIC | TYPE | LED LIGHT | INPUT RATING | 24 TO 240 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | 9.8 WDX33.2 HTX29.4 DP MM | MOUNTING TYPE | FRONT PLATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-27 | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1274297 | 1274297 | LIGHT;SIE,3SU1401-1BH40-1AA0 | LIGHT;MNFR:SIEMENS,PTNO:3SU1401-1BH40-1AA0 | LIGHT | 3SU1401-1BH40-1AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1401-1BH40-1AA0 | SIEMENS |  |  |  |  | https://us.rs-online.com/m/d/154451bb7bd4b38175cff06607b07482.pdf | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SU1401-1BH40-1AA0 | [9 empty] | Enriched | 32151502 Light module | MODULE | ELECTRONIC | TYPE | LED LIGHT | INPUT RATING | 24 TO 240 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | 9.8 WDX33.2 HTX29.4 DP MM | MOUNTING TYPE | FRONT PLATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-27 | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1324036 | 1324036 | LIGHT;SIE,3SU1401-1BH50-1AA0 | LIGHT;MNFR:SIEMENS,PTNO:3SU1401-1BH50-1AA0 | LIGHT | 3SU1401-1BH50-1AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1401-1BH50-1AA0 | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1401-1BH50-1AA0 | https://us.rs-online.com/m/d/1d07c552dda6cf3f172128435292d183.pdf | [9 empty] | Enriched | 32151502 Light module | MODULE | ELECTRONIC | TYPE | LED LIGHT | INPUT RATING | 24 TO 240 VAC/DC | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | 9.8 WDX33.2 HTX29.4 DP MM | MOUNTING TYPE | FRONT PLATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-27 | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1332238 | 1332238 | LIGHT;SIE,LY5180 | LIGHT;MNFR:SIEMENS,PTNO:LY5180 | LIGHT | LY5180 | 3000032 | SIEMENS | SIEMENS | LY5180 | SIEMENS |  |  |  |  | https://datasheetspdf.com/datasheet/LY5180.html | [10 empty] | Enriched | 39101628 Light emitting diode LED lamp | LAMP | LED | TYPE |  | WATTAGE |  | VOLTAGE RATING | 5 V | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | YELLOW | SIZE | 5 MM | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH | 586 NM | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | -55 TO 100 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1242294 | 1242294 | SENSOR,POSN;CUM,2872277,CUM,4921685 | SENSOR,POSITION;MNFR:CUMMINS,PTNO:2872277,MNFR 1:CUMMINS,PTNO 1:4921685 | 01)CUMMINS,01)4921685,01)ENGINE,01)ASL 9,SENSOR,POSITION | 2872277 | 3000018 | CUMMINS | CUMMINS | 2872277 | CUMMINS | CUMMINS | 4921685 |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sIV7QAM/cummins-position-sensor-2872277 | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1266609 | 1266609 | SENSOR,PRES;CUM,4928594 | SENSOR,PRESSURE;MNFR:CUMMINS,PTNO:4928594 | 01)CUMMINS SOUTH PACIFIC PTY,01)4928594,SENSOR,PRESSURE | 4928594 | 3000018 | CUMMINS | CUMMINS | 4928594 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sQRjQAM/cummins-pressure-sensor-4928594 | [10 empty] | Cleansed | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1266754 | 1266754 | SENSOR,PRES;CUM,4964102,FUEL | SENSOR,PRESSURE;MNFR:CUMMINS,PTNO:4964102,ADDITIONAL FEATURES EN:FUEL | 01)CUMMINS SOUTH PACIFIC PTY,01)4964102,SENSOR,PRESSURE,01)FUEL | 4964102 | 3000018 | CUMMINS | CUMMINS | 4964102 | CUMMINS |  |  |  |  | https://gpmsurplus.com/product/sealed-cummins-4964102-pressure-sensor/ | [10 empty] | Cleansed | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE | FUEL | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1266180 | 1266180 | SENSOR,TEMP;CUM,3967250 | SENSOR,TEMPERATURE;MNFR:CUMMINS,PTNO:3967250 | 01)CUMMINS SOUTH PACIFIC PTY,01)3967250,SENSOR,TEMPERATURE | 3967250 | 3000018 | CUMMINS | CUMMINS | 3967250 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sROCQA2/cummins-temperature-sensor-3967250 | [10 empty] | Cleansed | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1241482 | 1241482 | SENSOR,TEMP;CUM,4954905 | SENSOR,TEMPERATURE;MNFR:CUMMINS,PTNO:4954905 | SENSOR,TEMPERATURE | 4954905 | 3000018 | CUMMINS | CUMMINS | 4954905 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sFDBQA2/cummins-temperature-sensor-4954905 | [10 empty] | Cleansed | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1253875 | 1253875 | SENSOR;CUM,4326862,NITROGEN OXIDE | SENSOR;MNFR:CUMMINS,PTNO:4326862,ADDITIONAL FEATURES EN:NITROGEN OXIDE | 01)CUMMINS SOUTH PACIFIC PTY,01)4326862,SENSOR,01)NITROGEN OXIDE | 4326862 | 3000018 | CUMMINS | CUMMINS | 4326862 | CUMMINS |  |  |  |  | https://www.dpfpartsdirect.com/products/oem-cummins-nox-sensor-4326862 | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NITROGEN OXIDE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1253869 | 1253869 | SENSOR;CUM,4326868 | SENSOR;MNFR:CUMMINS,PTNO:4326868 | SENSOR | 4326868 | 3000018 | CUMMINS | CUMMINS | 4326868 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sKtCQAU/cummins-nitrogen-oxide-sensor-4326868 | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | NITROGEN OXIDE | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248327 | 1248327 | SENSOR;CUM,4902912 | SENSOR;MNFR:CUMMINS,PTNO:4902912 | SENSOR | 4902912 | 3000018 | CUMMINS | CUMMINS | 4902912 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sQsWQAU/cummins-temperature-sensor-4902912 | [10 empty] | Enriched | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248050 | 1248050 | SENSOR;CUM,4921597 | SENSOR;MNFR:CUMMINS,PTNO:4921597 | SENSOR | 4921597 | 3000018 | CUMMINS | CUMMINS | 4921597 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sSAYQA2/cummins-position-sensor-4921597 | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248326 | 1248326 | SENSOR;CUM,4954574 | SENSOR;MNFR:CUMMINS,PTNO:4954574 | SENSOR | 4954574 | 3000018 | CUMMINS | CUMMINS | 4954574 | CUMMINS |  |  |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sHa2QAE/cummins-temperature-sensor-4954574 | [10 empty] | Enriched | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248049 | 1248049 | SENSOR;CUM,5594275 | SENSOR;MNFR:CUMMINS,PTNO:5594275 | SENSOR | 5594275 | 3000018 | CUMMINS | CUMMINS | 5594275 | CUMMINS |  |  |  |  | https://www.dieselpartsdirect.com/5594275 | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248048 | 1248048 | SENSOR;CUM,5594276 | SENSOR;MNFR:CUMMINS,PTNO:5594276 | SENSOR | 5594276 | 3000018 | CUMMINS | CUMMINS | 5594276 | CUMMINS |  |  |  |  | https://klmperformance.com/products/cummins-5594276-camshaft-position-sensor | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE | CAMSHAFT | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1258221 | 1258221 | SENSOR;DIEC,2ETEZCE65 | SENSOR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:STABILISER LEG SENSOR,TELEHANDLER,PTNO 01:2ETEZCE65 | SENSOR,01)STABILISER LEG SENSOR,TELEHANDLER | 2ETEZCE65 | 3000511 | DIECI | DIECI | 2ETEZCE65 | [5 empty] | Url Not Found | [5 empty] | TELEHANDLER |  | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | STABILISER LEG | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | PTNO 01:2ETEZCE65 | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248579 | 1248579 | SENSOR;MER,0041534228 | SENSOR;MNFR:MERCEDES,PTNO:0041534228 | SENSOR | 41534228 | 3000008 | MERCEDES | MERCEDES | 0041534228 | MERCEDES |  |  |  |  | https://www.aliexpress.com/item/32816572625.html | [10 empty] | Enriched | 41111970 Temperature sensor | SENSOR | TEMPERATURE | TYPE |  | SENSING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | MATERIAL |  | CABLE TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248581 | 1248581 | SENSOR;MER,0041536328 | SENSOR;MNFR:MERCEDES,PTNO:0041536328 | SENSOR | 41536328 | 3000008 | MERCEDES | MERCEDES | 0041536328 | MERCEDES |  |  |  |  | https://orionpart.com/products?oem=0041536328&brand-name=MERCEDES&product=OIL+LEVEL+SENSOR | [10 empty] | Enriched | 41111938 Level sensors or transmitters | SENSOR | LEVEL | TYPE | OIL | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248582 | 1248582 | SENSOR;MER,0041537028 | SENSOR;MNFR:MERCEDES,PTNO:0041537028 | SENSOR | 41537028 | 3000008 | MERCEDES | MERCEDES | 0041537028 | MERCEDES |  |  |  |  | https://www.hamofa.com/en/mercedes-charge-pressure-sensor-0041537028-new.html | [10 empty] | Enriched | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE | CHARGE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248583 | 1248583 | SENSOR;MER,23524801 | SENSOR;MNFR:MERCEDES,PTNO:23524801 | SENSOR | 23524801 | 3000008 | MERCEDES | MERCEDES | 23524801 | MERCEDES |  |  |  |  | https://www.finditparts.com/products/8870349/detroit-diesel-23524801 | [10 empty] | Enriched | 41111900 Indicating and recording instruments | KIT | NO MODIFIER | TYPE | SENSOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248580 | 1248580 | SENSOR;MER,A0011533120 | SENSOR;MNFR:MERCEDES,PTNO:A0011533120 | SENSOR | A0011533120 | 3000008 | MERCEDES | MERCEDES | A0011533120 | MERCEDES |  |  |  |  | https://www.aliexpress.com/item/1005001840527086.html | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1258419 | 1258419 | SENSOR;SIE,798072 | SENSOR;MNFR:SIEMENS,PTNO:798072 | SENSOR | 798072 | 3000032 | SIEMENS | SIEMENS | 798072 | SIEMENS |  |  |  |  | https://fixpart.ie/en/product/view/0090927358 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | BLOCK | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248568 | 1248568 | SENSOR;SIE,7ML5033-2AA00-2A | SENSOR;MNFR:SIEMENS,PTNO:7ML5033-2AA00-2A | SENSOR | 7ML5033-2AA00-2A | 3000032 | SIEMENS | SIEMENS | 7ML5033-2AA00-2A | SIEMENS |  |  |  |  | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/7ML5033-2AA00-2A | [10 empty] | Enriched | 39121500 Electrical controls and accessories | CONTROLLER | LEVEL | TYPE | ULTRASONIC | POWER SUPPLY | 100 TO 230 VAC | POWER RATING |  | OUTPUT TYPE | 6 RELAY | SIZE | 15 M | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,FM,CCSAUS,UL,RCM,EAC,KC | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248567 | 1248567 | SENSOR;SIE,RTD6X100 | SENSOR;MNFR:SIEMENS,PTNO:RTD6X100 | SENSOR | RTD6X100 | 3000032 | SIEMENS | SIEMENS | RTD6X100 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41112225 Resistance temperature detector RTD | DETECTOR | RTD | TYPE |  | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE |  | PROCESS CONNECTION |  | ACCURACY |  | WIRE LENGTH |  | ELEMENT RESISTANCE |  | SHEATH MATERIAL |  | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1248319 | 1248319 | SENSOR;SIE,VA 1 DA20S | SENSOR;MNFR:SIEMENS,PTNO:VA 1 DA20S | SENSOR | VA 1 DA20S | 3000032 | SIEMENS | SIEMENS | VA 1 DA20S | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-06-29 |  | 1324770 | 1324770 | SENSOR;SONAR,ASSY BLOCK,ULTRAS,AUSLEC | SENSOR;TYPE:SONAR,ADDITIONAL FEATURES EN:ASSY BLOCK,ULTRAS,MNFR:SIEMENS,PTNO:3RG6144-3MM00,MNFR:01)AUSLEC,PTNO:01)SIE3RG61443MM00 | EN_01)SONAR,01)ASSY BLOCK,ULTRAS,01)AUSLEC,01)SIE3RG61443MM00,SENSOR | 3RG6144-3MM00 | 3000032 | SIEMENS | SIEMENS | 3RG6144-3MM00 | SIEMENS | AUSLEC | SIE3RG61443MM00 |  |  | https://texnite.com/products/refurbished-3rg6144-3mm00-siemens | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | SONAR | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING | 20 TO 30 VDC | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY BLOCK,ULTRAS | [51 empty] | Production Completed