## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1218114 | 1218114 | BEARING,BAL;ALIM,3000 103 202,SE LIFT DO | BEARING,BALL;MNFR:ALIMAK,PTNO:3000 103 202,ADDITIONAL FEATURES EN:SE LIFT DOOR (TOP) | 01)ALIMAK GROUP AUSTRALIA PT,01)3000 103 202,BEARING,BALL,01)SE LIFT DOOR (TOP) | 3000 103 202 | 3000412 | ALIMAK | ALIMAK | 3000 103 202 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31171504 Ball bearings | BEARING | BALL | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SE LIFT DOOR (TOP) | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 | LOAD RATING Conflict BW Inpt and Web, Web Values are Considered | 1256047 | 1256047 | BEARING,BAL;DEEP GROOVE,ID 25 MM,ROUND | BEARING,BALL;TYPE:DEEP GROOVE,INSIDE DIAMETER:25 MM,OUTSIDE DIAMETER:47 MM,OVERALL WIDTH:12 MM,STYLE:DOUBLE SHIELD,BORE SHAPE: ROUND,NUMBER OF ROWS:1,CAGE MATERIAL:STEEL,DYNAMIC LOAD RATING:8.71 KN,STATIC LOAD RATING:5.85 KN,SPEED RATING:32000 R/MIN,MNFR: ABB,PTNO:10777,MNFR:01)SKF,PTNO:01)6005-2Z | 01)SKF,01)6005-2Z,BEARING,DEEP GROOVE,25 MM,47 MM,12 MM,EN_01)DOUBLE SHIELD,ROUND,EN_01)STEEL,8.71 KN,5.85 KN,EN_01)32000 R/MIN | 10777 | 3000014 | ABB | SKF | 6005-2Z |  | ABB | 10777 |  |  | https://www.skf.com/us/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6005-2Z | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 25 MM | OUTSIDE DIAMETER | 47 MM | OVERALL WIDTH | 12 MM | STYLE | DOUBLE SHIELD | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | STEEL SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 11.9 KN | STATIC LOAD RATING | 6.55 KN | SPEED RATING | 32000 RPM REFERENCE,16000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1220267 | 1220267 | BEARING,BAL;DEEP GROOVE,ID 35 MM,ROW 1 | BEARING,BALL;TYPE:DEEP GROOVE,INSIDE DIAMETER:35 MM,OUTSIDE DIAMETER:80 MM,OVERALL WIDTH:21 MM,BORE SHAPE:CYLINDRICAL,NUMBER OF ROWS:1,CAGE MATERIAL:STEEL,DYNAMIC LOAD RATING:35.1 KN,STATIC LOAD RATING:19 KN,SPEED RATING:6000 R/MIN,ADDITIONAL FEATURES EN: STD CLEARANCE,MNFR:CUMMINS,PTNO:S16007A,MNFR:01)FAG,PTNO:01)6307,MNFR:02)SKF,PTNO:02)6307 | 01)FAG,02)SKF,01)6307,02)6307,BEARING,DEEP GROOVE,35 MM,80 MM,21 MM,CYLINDRICAL,EN_01)STEEL,35.1 KN,19 KN,EN_01)6000 R/MIN,01)STD CLEARANCE | S16007A | 3000018 | CUMMINS | SKF | 6307 |  | CUMMINS | S16007A | FAG |  | https://www.skf.com/us/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6307 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 35 MM | OUTSIDE DIAMETER | 80 MM | OVERALL WIDTH | 21 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | STEEL SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 35.1 KN | STATIC LOAD RATING | 19 KN | SPEED RATING | 19000 RPM REFERENCE,12000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273059 | 1273059 | BEARING,BAL;DEEP GROOVE,ID 65 MM,ROW 1 | BEARING,BALL;TYPE:DEEP GROOVE,INSIDE DIAMETER:65 MM,OUTSIDE DIAMETER:140 MM,OVERALL WIDTH:33 MM,NUMBER OF ROWS:1,DYNAMIC LOAD RATING:97.5 KN,STATIC LOAD RATING:60 KN,SPEED RATING:10000 R/MIN,ADDITIONAL FEATURES EN:C3,MNFR:ABB,PTNO:9262-465-89,MNFR:01)SKF, PTNO:01)6313C3 | 01)SKF,01)6313C3,BEARING,DEEP GROOVE,65 MM,140 MM,33 MM,97.5 KN,60 KN,EN_01)10000 R/MIN,01)C3 | 9262-465-89 | 3000014 | ABB | SKF | 6313C3 |  | ABB | 9262-465-89 |  |  | https://www.skf.com/us/productinfo/productid-6313%2FC3 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 65 MM | OUTSIDE DIAMETER | 140 MM | OVERALL WIDTH | 33 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 97.5 KN | STATIC LOAD RATING | 60 KN | SPEED RATING | 19000 RPM REFERENCE,6700 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:C3 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1269061 | 1269061 | BEARING,BAL;MILW,681304001,608-2RS | BEARING,BALL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:681304001,ADDITIONAL FEATURES EN:608-2RS | 01)TOOL 'N' TACKLE,01)681304001,BEARING,BALL,01)608-2RS | 681304001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 608-2RS | SKF | MILWAUKEE ELECTRIC TOOL | 681304001 | TOOL 'N' TACKLE |  | https://www.skf.com/sg/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-608 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 8 MM | OUTSIDE DIAMETER | 22 MM | OVERALL WIDTH | 7 MM | STYLE | DOUBLE SEALED | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 3.45 KN | STATIC LOAD RATING | 1.37 KN | SPEED RATING | 75000 RPM REFERENCE,48000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270633 | 1270633 | BEARING,BAL;SKF,1210K,SELF ALIGNING | BEARING,BALL;MNFR:SKF,PTNO:1210K,ADDITIONAL FEATURES EN:SELF ALIGNING | 01)APPLIED INDUSTRIAL TECHNO,01)1210K,BEARING,BALL,01)SELF ALIGNING | 1210K | 3000348 | SKF | SKF | 1210K |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.locateballbearings.com/skf-1210k-self-aligning-ball-bearing/ | https://www.skf.com/id/products/rolling-bearings/ball-bearings/self-aligning-ball-bearings/productid-1210%20EKTN9 | [9 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | SELF-ALLIGNING | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 90 MM | OVERALL WIDTH | 20 MM | STYLE |  | BORE SHAPE | TAPERED | NUMBER OF ROWS | 2 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 26.5 KN | STATIC LOAD RATING | 9.15 KN | SPEED RATING | 16000 RPM REFERENCE,10000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1272980 | 1272980 | BEARING,BAL;SKF,1218 | BEARING,BALL;MNFR:SKF,PTNO:1218 | 01)APPLIED INDUSTRIAL TECHNO,01)1218,BEARING,BALL | 1218 | 3000348 | SKF | SKF | 1218 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/products/rolling-bearings/ball-bearings/self-aligning-ball-bearings/productid-1218 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | SELF-ALLIGNING | INSIDE DIAMETER | 90 MM | OUTSIDE DIAMETER | 160 MM | OVERALL WIDTH | 30 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 57.2 KN | STATIC LOAD RATING | 23.6 KN | SPEED RATING | 8500 RPM REFERENCE,5300 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270638 | 1270638 | BEARING,BAL;SKF,3208-2RS,ANGLR CONT,DBL | BEARING,BALL;MNFR:SKF,PTNO:3208-2RS,ADDITIONAL FEATURES EN:ANGULAR CONTACT,DOUBLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)3208-2RS,BEARING,BALL,01)ANGULAR CONTACT,DOUBLE ROW | 3208-2RS | 3000348 | SKF | SKF | 3208-2RS |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.abf.store/s/en/bearings/3208-2RS-SKF/442141 | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/double-row-angular-contact-ball-bearings/productid-3208%20A-2RS1 | [9 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 80 MM | OVERALL WIDTH | 30.2 MM | STYLE | DOUBLE SEALED | BORE SHAPE |  | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 48 KN | STATIC LOAD RATING | 36.5 KN | SPEED RATING | 5600 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270807 | 1270807 | BEARING,BAL;SKF,3210,ANGLR,CONT,SGL DBL | BEARING,BALL;MNFR:SKF,PTNO:3210,ADDITIONAL FEATURES EN:ANGULAR,CONTACT,SGL DBL ROW | 01)APPLIED INDUSTRIAL TECHNO,01)3210,BEARING,BALL,01)ANGULAR,CONTACT,SGL DBL ROW | 3210 | 3000348 | SKF | SKF | 3210 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/double-row-angular-contact-ball-bearings/productid-3210%20A | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 90 MM | OVERALL WIDTH | 30.2 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 51 KN | STATIC LOAD RATING | 42.5 KN | SPEED RATING | 8000 RPM REFERENCE,7000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1243288 | 1243288 | BEARING,BAL;SKF,6002,RADIAL/DEEP GROOVE | BEARING,BALL;MNFR:SKF,PTNO:6002,TYPE:RADIAL/DEEP GROOVE,INSIDE DIAMETER:15 MM,OUTSIDE DIAMETER:32 MM,OVERALL WIDTH:9 MM,BORE SHAPE:ROUND,CAGE MATERIAL:STEEL,BEARING SERIES:6000,EXTRA LIGHT,DYNAMIC LOAD RATING:5.85 KN,STATIC LOAD RATING:2.85 KN,SPEED RATING:50000 RPM,REFERENCE,32000 RPM,LIMITING,14000 RPM,SEALED LIMITING,ADDITIONAL FEATURES EN:RIGID | 01)DAVID BROWN GEAR INDUSTRIES,01)6002,RADIAL/DEEP GROOVE,15 MM,32 MM,9 MM,ROUND,1,EN_01)STEEL,FR_01)ACIER,6000,EXTRA LIGHT,5.85 KN,2.85 KN,EN_01)50000 RPM,EN_02)REFERENCE,32000 RPM,EN_03)LIMITING,14000 RPM,EN_04)SEALED LIMITING,FR_01)REFERENCE 50000,FR_02)TR/MIN,LIMITATION 32000,FR_03)TR/MIN,LIMITATION,FR_04)SCELLEE 14000 TR/MIN,01)RIGID,01)RIGIDE | 6002 | 3000348 | SKF | SKF | 6002 |  | DAVID BROWN GEAR INDUSTRIES |  | RIGID |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6002 | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | RADIAL/DEEP GROOVE | INSIDE DIAMETER | 15 MM | OUTSIDE DIAMETER | 32 MM | OVERALL WIDTH | 9 MM | STYLE |  | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | STEEL SHEET METAL | BEARING SERIES | 6000,EXTRA LIGHT | DYNAMIC LOAD RATING | 5.85 KN | STATIC LOAD RATING | 2.85 KN | SPEED RATING | 50000 RPM REFERENCE,32000 RPM LIMITING,14000 RPM SEALED LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270662 | 1270662 | BEARING,BAL;SKF,60072RS,D GRV | BEARING,BALL;MNFR:SKF,PTNO:60072RS,ADDITIONAL FEATURES EN:DEEP GROOVE | 01)APPLIED INDUSTRIAL TECHNO,01)SS6007-2RS-JAP,BEARING,BALL,01)DEEP GROOVE | 60072RS | 3000348 | SKF | SKF | 60072RS |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6007 | https://intechbearing.com/products/6007-2rs-skf-sealed-radial-ball-bearing?variant=1085475465 | [9 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | DEEP GROOVE | INSIDE DIAMETER | 35 MM | OUTSIDE DIAMETER | 62 MM | OVERALL WIDTH | 14 MM | STYLE | SEALED | BORE SHAPE | CYLINDRICAL | NUMBER OF ROWS | 1 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 16.8 KN | STATIC LOAD RATING | 10.2 KN | SPEED RATING | 24000 RPM REFERENCE,15000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270814 | 1270814 | BEARING,BAL;SKF,7204BEP,ANGLR,CONT,SINGL | BEARING,BALL;MNFR:SKF,PTNO:7204BEP,ADDITIONAL FEATURES EN:ANGULAR,CONTACT,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)7204BEP,BEARING,BALL,01)ANGULAR,CONTACT,SINGLE ROW | 7204BEP | 3000348 | SKF | SKF | 7204BEP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/single-row-angular-contact-ball-bearings/productid-7204%20BEP | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 20 MM | OUTSIDE DIAMETER | 47 MM | OVERALL WIDTH | 14 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 13.3 KN | STATIC LOAD RATING | 7.65 KN | SPEED RATING | 19000 RPM REFERENCE,18000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270815 | 1270815 | BEARING,BAL;SKF,7208BEP,ANGLR,CONT,SINGL | BEARING,BALL;MNFR:SKF,PTNO:7208BEP,ADDITIONAL FEATURES EN:ANGULAR,CONTACT,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)7208BEP,BEARING,BALL,01)ANGULAR,CONTACT,SINGLE ROW | 7208BEP | 3000348 | SKF | SKF | 7208BEP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/single-row-angular-contact-ball-bearings/productid-7208%20BEP | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 80 MM | OVERALL WIDTH | 18 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 34.5 KN | STATIC LOAD RATING | 24 KN | SPEED RATING | 10000 RPM REFERENCE,10000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270648 | 1270648 | BEARING,BAL;SKF,7310BECBJ,ANGLR CONT,SIN | BEARING,BALL;MNFR:SKF,PTNO:7310BECBJ,ADDITIONAL FEATURES EN:ANGULAR CONTACT,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)7310BECBJ,BEARING,BALL,01)ANGULAR CONTACT,SINGLE ROW | 7310BECBJ | 3000348 | SKF | SKF | 7310BECBJ |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/single-row-angular-contact-ball-bearings/productid-7310%20BECBJ | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 110 MM | OVERALL WIDTH | 27 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 1 | CAGE MATERIAL | STEEL SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 75 KN | STATIC LOAD RATING | 51 KN | SPEED RATING | 7500 RPM REFERENCE,8000 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270649 | 1270649 | BEARING,BAL;SKF,7311BEP,ANGLR CONT,SINGL | BEARING,BALL;MNFR:SKF,PTNO:7311BEP,ADDITIONAL FEATURES EN:ANGULAR CONTACT,SINGLE ROW | 01)APPLIED INDUSTRIAL TECHNO,01)7311BEP,BEARING,BALL,01)ANGULAR CONTACT,SINGLE ROW | 7311BEP | 3000348 | SKF | SKF | 7311BEP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/uk/products/rolling-bearings/ball-bearings/angular-contact-ball-bearings/single-row-angular-contact-ball-bearings/productid-7311%20BEP | [10 empty] | Enriched | 31171504 Ball bearings | BEARING | BALL | TYPE | ANGULAR CONTACT | INSIDE DIAMETER | 55 MM | OUTSIDE DIAMETER | 120 MM | OVERALL WIDTH | 29 MM | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS | 1 | CAGE MATERIAL | NON-METALLIC | BEARING SERIES |  | DYNAMIC LOAD RATING | 79.3 KN | STATIC LOAD RATING | 55 KN | SPEED RATING | 7000 RPM REFERENCE,6700 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273416 | 1273416 | BEARING,BAL;TENN,24899,2.83ODX1.38IDX0.6 | BEARING,BALL;MNFR:TENNANT,PTNO:24899,ADDITIONAL FEATURES EN:2.83ODX1.38IDX0.67W IN,MATERIAL: STEEL |  | 24899 | 3000358 | TENNANT | TENNANT | 24899 | [5 empty] | https://www.tennantco.com/en_us/1/parts/pc_cat_parts/pc_cat_hardware/product.ball-bearing--2.8346-od-x-1.378-id-x-0.6693-in.24899.html | [10 empty] | Cleansed | 31171504 Ball bearings | BEARING | BALL | TYPE |  | INSIDE DIAMETER | 1-3/8 IN | OUTSIDE DIAMETER | 2-53/64 IN | OVERALL WIDTH | 43/64 IN | STYLE |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL | STEEL | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270820 | 1270820 | BEARING,LNR;SKF,HRS35B1SS,SHFT | BEARING,LINEAR;MNFR:SKF,PTNO:HRS35B1SS,ADDITIONAL FEATURES EN:SHAFT | 01)APPLIED INDUSTRIAL TECHNO,01)HRS35B1SS,BEARING,LINEAR,01)SHAFT | HRS35B1SS | 3000348 | SKF | SKF | HRS35B1SS |  | APPLIED INDUSTRIAL TECHNO |  |  |  | URL Not Found | [10 empty] | Cleansed | 31171506 Linear bearings | BEARING | LINEAR | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | LINER MATERIAL |  | STATIC LOAD RATING |  | DYNAMIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHAFT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270650 | 1270650 | BEARING,PLN;SKF,GE40TE-2RS,RDL,SPHER | BEARING,PLAIN;MNFR:SKF,PTNO:GE40TE-2RS,ADDITIONAL FEATURES EN:RADIAL,SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)GE40TE-2RS,BEARING,PLAIN,01)RADIAL,SPHERICAL | GE40TE-2RS | 3000348 | SKF | SKF | GE40TE-2RS |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.noc.ua/online-catalog-bearings/itemdescriptionopen.html?bearing=620c536b5e6f3764447c2616&title=GE+40+TE-2RS | https://shop.pti.eu/en/products/spherical-plain-bearing-ge40te2rs | [9 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL,SPHERICAL | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 62 MM | WIDTH | 28 MM | MATERIAL |  | STYLE | RUBBER LIP SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270816 | 1270816 | BEARING,PLN;SKF,GEG12ESA,RDL,SPHER | BEARING,PLAIN;MNFR:SKF,PTNO:GEG12ESA,ADDITIONAL FEATURES EN:RADIAL,SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)GEG12ESA,BEARING,PLAIN,01)RADIAL,SPHERICAL | GEG12ESA | 3000348 | SKF | SKF | GEG12ESA |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/plain-bearings/spherical-plain-bearings-rod-ends/radial/productid-GEG%2012%20ESA | [10 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL,SPHERICAL | INSIDE DIAMETER | 12 MM | OUTSIDE DIAMETER | 22 MM | WIDTH | 12 MM INNER,7 MM OUTER | MATERIAL | BEARING STEEL | STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD RATING:10.8 KN DYNAMIC,54 KN STATIC,INTERNAL CLEARANCE:CN | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270651 | 1270651 | BEARING,PLN;SKF,GEG40ES,RDL,SPHER | BEARING,PLAIN;MNFR:SKF,PTNO:GEG40ES,ADDITIONAL FEATURES EN:RADIAL,SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)GEG40ES,BEARING,PLAIN,01)RADIAL,SPHERICAL | GEG40ES | 3000348 | SKF | SKF | GEG40ES |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/plain-bearings/spherical-plain-bearings-rod-ends/radial/productid-GEH%2040%20ES | [10 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL,SPHERICAL | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 68 MM | WIDTH | 40 MM INNER,25 MM OUTER | MATERIAL | BEARING STEEL | STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD RATING:127 KN DYNAMIC,640 KN STATIC,INTERNAL CLEARANCE:CN | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270817 | 1270817 | BEARING,PLN;SKF,GEG50ES,RDL,SPHER | BEARING,PLAIN;MNFR:SKF,PTNO:GEG50ES,ADDITIONAL FEATURES EN:RADIAL,SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)GEG50ES,BEARING,PLAIN,01)RADIAL,SPHERICAL | GEG50ES | 3000348 | SKF | SKF | GEG50ES |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/plain-bearings/spherical-plain-bearings-rod-ends/radial/productid-GEG%2050%20ES | [10 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL,SPHERICAL | INSIDE DIAMETER | 50 MM | OUTSIDE DIAMETER | 75 MM | WIDTH | 50 MM INNER,28 MM OUTER | MATERIAL | BEARING STEEL | STYLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD RATING:156 KN DYNAMIC,780 KN STATIC,INTERNAL CLEARANCE:CN | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1270818 | 1270818 | BEARING,PLN;SKF,GEG63ES,RDL,SPHER | BEARING,PLAIN;MNFR:SKF,PTNO:GEG63ES,ADDITIONAL FEATURES EN:RADIAL,SPHERICAL | 01)APPLIED INDUSTRIAL TECHNO,01)GEG63ES,BEARING,PLAIN,01)RADIAL,SPHERICAL | GEG63ES | 3000348 | SKF | SKF | GEG63ES |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/plain-bearings/spherical-plain-bearings-rod-ends/radial/productid-GEG%2063%20ES | [10 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL,SPHERICAL | INSIDE DIAMETER | 63 MM | OUTSIDE DIAMETER | 95 MM | WIDTH | 63 MM INNER,36 MM OUTER | MATERIAL | BEARING STEEL | STYLE | DOUBLE LIP SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD RATING:255 KN DYNAMIC,1270 KN STATIC,INTERNAL CLEARANCE:CN | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1242828 | 1242828 | BEARING,PLN;SKF,GEZ200ES-2RS,RADIAL SPHE | BEARING,PLAIN;MNFR:SKF,PTNO:GEZ200ES-2RS,TYPE:RADIAL SPHERICAL,INSIDE DIAMETER:50.8 MM,OUTSIDE DIAMETER:80.963 MM,WIDTH:44.45 MM INNER,RING,38.1 MM OUTER RING,MATERIAL:STEEL,STYLE:DOUBLE SEAL,ADDITIONAL FEATURES EN:BALL TIP JOINT | EN_01)RADIAL SPHERICAL,FR_01)RADIAL SPHERIQUE,50.8 MM,80.963 MM,EN_01)44.45 MM INNER,EN_02)RING,38.1 MM OUTER RING,FR_01)44.45 MM INNER,FR_02)RING,38.1 MM OUTER RING,EN_01)STEEL,FR_01)ACIER,DOUBLE SEAL,01)BALL TIP JOINT,01)BILL TIP JOINT | GEZ200ES-2RS | 3000348 | SKF | SKF | GEZ200ES-2RS | [5 empty] | https://www.skf.com/id/products/plain-bearings/spherical-plain-bearings-rod-ends/radial/productid-GEZ%20200%20ES-2RS | [10 empty] | Enriched | 31171515 Plain bearings | BEARING | PLAIN | TYPE | RADIAL SPHERICAL | INSIDE DIAMETER | 50.8 MM | OUTSIDE DIAMETER | 80.963 MM | WIDTH | 44.45 MM INNER,RING,38.1 MM OUTER RING | MATERIAL | STEEL | STYLE | DOUBLE SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOAD RATING:224 KN DYNAMIC,670 KN STATIC,INTERNAL CLEARANCE:CN,BALL TIP JOINT | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213508 | 1213508 | CARRIER;DRVT,IFI33569,HUB,WHL | CARRIER;MNFR:DRIVETRAIN,PTNO:IFI33569,ADDITIONAL FEATURES EN:HUB,WHEEL |  | IFI33569 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33569 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 24100000 Material handling machinery and equipment | CARRIER | NO MODIFIER | TYPE | HUB,WHEEL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213511 | 1213511 | CARRIER;DRVT,IFI33572,PLANETARY ASSY | CARRIER;MNFR:DRIVETRAIN,PTNO:IFI33572,ADDITIONAL FEATURES EN:PLANETARY ASSY |  | IFI33572 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33572 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111517 Planet carrier | CARRIER | NO MODIFIER | TYPE | PLANETARY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273481 | 1273481 | CHASSIS;AB,1746A-13,13 SLOT,SLC-500 | CHASSIS;MNFR:ALLEN BRADLEY,PTNO:1746A-13,ADDITIONAL FEATURES EN:13 SLOT,SLC-500 |  | 1746A-13 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1746A-13 | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.1746-A13.html | https://www.superbreakers.com/allen-bradley-1746a13-slot-chassis | [9 empty] | Enriched | 43201600 Chassis components | CHASSIS | NO MODIFIER | TYPE | SLOT | SIZE | 19-25/32 WDX6-47/64 HTX5-45/64 DP IN | MATERIAL |  | NUMBER OF HOLES/SLOTS | 13 | MOUNTING TYPE | BACK PLATE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:0 TO 60 DEG C,ENCLOSURE:OPEN | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273954 | 1273954 | CHASSIS;NHP,1756A13,CONTROLLOGIX 13 SLOT | CHASSIS;MNFR:NHP,PTNO:1756A13,ADDITIONAL FEATURES EN:CONTROLLOGIX 13 SLOTS | 01)NHP ELECTRICAL ENGINEERIN,01)1756A13,CHASSIS,01)CONTROLLOGIX 13 SLOTS | 1756A13 | 3000664 | NHP | NHP | 1756A13 | [5 empty] | https://www.dosupply.com/automation/allen-bradley-plc/controllogix/1756-A13?gclid=Cj0KCQjw1_SkBhDwARIsANbGpFu2w8DNyW0-obUNouCSdJ_WGkmAmVAgdTjD6wZF4YTa7gM8rhKWB-UaAtxTEALw_wcB | https://plc-direct.com/products/1756-A13?gad=1&gclid=Cj0KCQjw1_SkBhDwARIsANbGpFu_6dO_ua3lInTXpPbRNFpQZWMnnDef0TiAJLxKUANizka6xWIU3zAaArxFEALw_wcB | [9 empty] | Enriched | 43201600 Chassis components | CHASSIS | NO MODIFIER | TYPE |  | SIZE | 24 WDX30 HTX8 DP IN | MATERIAL |  | NUMBER OF HOLES/SLOTS | 13 | MOUNTING TYPE | PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 60 DEG C,ENCLOSURE:OPEN,SERIES:CONTROLLOGIX | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273092 | 1273092 | CHASSIS;SCHN,C325183,250A,18P,MULTI 9,MS | CHASSIS;MNFR:SCHNEIDER INC,PTNO:C325183,ADDITIONAL FEATURES EN:250A,18P,MULTI 9,MSC18 |  | C325183 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | C325183 | [5 empty] | https://www.electrical.com/Products/Motor-Control-Schneider-Electric/C325183?cond=R | [10 empty] | Enriched | 43201600 Chassis components | CHASSIS | NO MODIFIER | TYPE | MULTI 9 | SIZE | 164 LGX215 WD MM | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:250A,NUMBER OF WAYS:18,MODEL NO:MSC18 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 | NM Changed | 1265652 | 1265652 | CLEANER;CUM,P182070 | CLEANER;MNFR:CUMMINS,PTNO:P182070 | CLEANER | P182070 | 3000018 | CUMMINS | CUMMINS | P182070 | DONALDSON COMPANY |  |  |  |  | https://shop.donaldson.com/store/en-us/product/P182070/17967 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY,ROUND | FILTER RATING |  | SIZE | 146.8 IDX232.2 ODX457.2 HT MM | PORT SIZE |  | MATERIAL | CULLOLOSE | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | EFFICIENCY:99.9 PCT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1323991 | 1323991 | COLLET;CUM,3900250 | COLLET;MNFR:CUMMINS,PTNO:3900250 | COLLET | 3900250 | 3000018 | CUMMINS | CUMMINS | 3900250 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sRpsQAE/cummins-valve-collet-3900250 | [10 empty] | Enriched | 27112808 Collets | COLLET | NO MODIFIER | TYPE | VALVE | HOLDING CAPACITY |  | COLLET SERIES |  | THREAD SIZE |  | SHAPE |  | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1216330 | 1216330 | CONTAINER;ASWP,DU.C19C700000,LIQ | CONTAINER;MNFR:AUSWEEP,PTNO:DU.C19C700000,ADDITIONAL FEATURES EN:LIQUID | 01)AUSTRALIAN SWEEPER CORP P,01)DU.C19C700000,CONTAINER,01)LIQUID | DU.C19C700000 | 3000416 | AUSWEEP | AUSWEEP | DU.C19C700000 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 24110000 Containers and storage | CONTAINER | NO MODIFIER | TYPE | LIQUID | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213456 | 1213456 | COOLER,OIL;DRVT,IFI31729 | COOLER,OIL;MNFR:DRIVETRAIN,PTNO:IFI31729 |  | IFI31729 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31729 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 | URL For Reference | 1215519 | 1215519 | COOLER,OIL;HYDA,AC-LN9L/1.0/F/440-50-MIM | COOLER,OIL;MNFR:HYDAC,PTNO:AC-LN9L/1.0/F/440-50-MIM/B/1/IBP3,ADDITIONAL FEATURES EN:C/W MINE SPEC MOTOR.19C DEWATERING PUMPS | 01)ISADRAULICS,01)AC-LN9L/1.0/F/440-50-MIM/B/,COOLER,OIL,01)C/W MINE SPEC MOTOR.19C DEW | AC-LN9L/1.0/F/440-50-MIM/B/1/IBP3 | 3000292 | HYDAC | HYDAC | AC-LN9L/1.0/F/440-50-MIM/B/1/IBP3 |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en/3686306 | [10 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | AIR | TYPE | LOW-NOISE | COOLING RANGE |  | CAPACITY |  | FLOW RATING |  | END CONNECTION |  | COOLANT |  | COOLING AREA |  | MATERIAL |  | SIZE |  | DRIVE TYPE |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W MINE SPEC MOTOR,19C DEWATERING PUMPS | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1329834 | 1329834 | COOLER;CUM,3975818 | COOLER;MNFR:CUMMINS,PTNO:3975818 | COOLER | 3975818 | 3000018 | CUMMINS | CUMMINS | 3975818 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sPqnQAE/cummins-oil-cooler-3975818 | https://www.thoroughbreddiesel.com/3975818/ | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | NO MODIFIER | TYPE | OIL | CAPACITY | 6.7 L | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213459 | 1213459 | COOLER;DRVT,IFI31796,AUX | COOLER;MNFR:DRIVETRAIN,PTNO:IFI31796,ADDITIONAL FEATURES EN:AUX |  | IFI31796 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31796 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40101700 Cooling equipment and parts and accessories | COOLER | NO MODIFIER | TYPE |  | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AUX | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 | URL For Reference | 1272797 | 1272797 | COOLER;HYDA,AC-LN14S,DBL,19C,LOADING HPU | COOLER;MNFR:HYDAC,PTNO:AC-LN14S,ADDITIONAL FEATURES EN:DOUBLE,19C,LOADING HPU | 01)ISADRAULICS,01)AC-LN14S,COOLER,01)DOUBLE,19C,LOADING HPU | AC-LN14S | 3000292 | HYDAC | HYDAC | AC-LN14S |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en/4059123#simple-downloads | [10 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | AIR | TYPE | DOUBLE,LOW-NOISE | COOLING RANGE |  | CAPACITY |  | FLOW RATING |  | END CONNECTION |  | COOLANT |  | COOLING AREA |  | MATERIAL |  | SIZE |  | DRIVE TYPE |  | INPUT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19C,LOADING HPU | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1266042 | 1266042 | DRUM;CUM,1176.20 | DRUM;MNFR:CUMMINS,PTNO:1176.20 | DRUM | 1176.2 | 3000018 | CUMMINS | CUMMINS | 1176.20 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 24112100 Casks and barrels and drums | DRUM | NO MODIFIER | TYPE |  | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217347 | 1217347 | FILTER,ELEM;DRVT,EMI-ELP-170307,FLUD,PT2 | FILTER,ELEMENT;MNFR:DRIVETRAIN,PTNO:EMI-ELP-170307,ADDITIONAL FEATURES EN:FLUID,PT23117-MPG M10,000, ISA GEARBOX | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-170307,FILTER,ELEMENT,01)FLUID,PT23117-MPG M10,000 | EMI-ELP-170307 | 3000461 | DRIVETRAIN | DRIVETRAIN | EMI-ELP-170307 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FLUID,PT23117-MPG M10,000,ISA GEARBOX | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213446 | 1213446 | FILTER,ELEM;DRVT,IFI31432,HYDR | FILTER,ELEMENT;MNFR:DRIVETRAIN,PTNO:IFI31432,ADDITIONAL FEATURES EN:HYDRAULIC |  | IFI31432 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31432 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HYDRAULIC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1271006 | 1271006 | FILTER,ELEM;HYDA,1253040 0060 D 005 BH/H | FILTER,ELEMENT;MNFR:HYDAC,PTNO:1253040 0060 D 005 BH/HC | 01)ISADRAULICS,01)1253040 0060 D 005 BH/HC,FILTER,ELEMENT | 1253040 0060 D 005 BH/HC | 3000292 | HYDAC | HYDAC | 1253040 |  | HYDAC | 0060 D 005 BH/HC | ISADRAULICS |  | https://store.livhaven.com/1253040-hydac-filter-element-0060d005bh3hc | https://store.livhaven.com/uploads/hydac_pdfs/Elements-Betamicron.pdf | [9 empty] | Enriched | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS | 22.1 IDX47 ODX84 HT MM | FILTERING RETENTION | 5 UM | MATERIAL | MICROGLASS,NBR SEAL | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1257798 | 1257798 | FILTER,ELEM;HYDA,1316330,FLUD,20 MICRON | FILTER,ELEMENT;MNFR:HYDAC,PTNO:1316330,ADDITIONAL FEATURES EN:FLUID,20 MICRON,SIZE:69 OD X34 IDX 173MM LG,CARTRIDGE;SYNTHETIC MEDIA; METAL CASING | 01)ISADRAULICS,01)1316330,FILTER,ELEMENT,01)FLUID,20 MICRON,SIZE:69 OD,02)CARTRIDGE,M,SYNTHETIC MEDIA | 1316330 | 3000292 | HYDAC | HYDAC | 1316330 |  | ISADRAULICS |  |  |  | https://www.hydraulicsdirect.com.au/1316330 | [10 empty] | Enriched | 40161807 Filter element | FILTER | ELEMENT | TYPE | INLINE PRESSURE,CARTRIDGE | MEDIUM | FLUID | DIMENSIONS | 34 IDX69 ODX173 LG MM | FILTERING RETENTION | 20 UM | MATERIAL | SYNTHETIC MEDIA,METAL CASING | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1322133 | 1322133 | FILTER;CUM,3308638 | FILTER;MNFR:CUMMINS,PTNO:3308638 | FILTER | 3308638 | 3000018 | CUMMINS | CUMMINS | 3308638 | [5 empty] | https://excofilter.com/description/FX51212/3308638-CUMMINS | https://crossfilters.com/products/bf1212-baldwin-fuel-water-separator-filter?variant=7189738324015 | [9 empty] | Enriched | 40161502 Water filters | FILTER | FUEL | TYPE | WATER SEPARATOR,SPIN-ON | FILTER RATING |  | PORT SIZE | 1 IN-14 TPI | SIZE | 93.7 ODX188.9 HT MM | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217399 | 1217399 | FILTER;CUM,AF26241 | FILTER;MNFR:CUMMINS,PTNO:AF26241 | FILTER | AF26241 | 3000018 | CUMMINS | CUMMINS | AF26241 | [5 empty] | https://www.filters-king.com/air-filter-af26241-rs5356-p785352-for-cummins-fleetguard_p2055.html | https://s1partscenter.com/brands/cummins-filtration/air-filtration/primary-air-filter/af26241 | [9 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 202 IDX311 ODX460 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217431 | 1217431 | FILTER;CUM,AF55014 | FILTER;MNFR:CUMMINS,PTNO:AF55014 | FILTER | AF55014 | 3000018 | CUMMINS | CUMMINS | AF55014 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000001CHD2QAO/fleetguard-cummins-qsx119-air-filter-af55014 | https://www.mddistributorsstore.com/fleetguard/af55014/primary-air-filter | [9 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250856 | 1250856 | FILTER;CUM,AF55020 | FILTER;MNFR:CUMMINS,PTNO:AF55020 | FILTER | AF55020 | 3000018 | CUMMINS | CUMMINS | AF55020 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000001CHC9QAO/fleetguard-cummins-qsf28-air-filter-af55020 | https://www.mddistributorsstore.com/fleetguard/af55020/primary-dual-flow-air-filter | [9 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | DUAL FLOW,PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217430 | 1217430 | FILTER;CUM,AF55308 | FILTER;MNFR:CUMMINS,PTNO:AF55308 | FILTER | AF55308 | 3000018 | CUMMINS | CUMMINS | AF55308 | [5 empty] | https://fleetsource.com/products/fleetguard-cummins-qsb6-7-air-filter-af55308?variant=32667990589503 | https://www.maximinc.com/part-138765-air-filter-direct-flow-secon-af55308 | [9 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | DIRECT FLOW,SECONDARY | FILTER RATING |  | SIZE | 395.6 LGX141.2 WDX38.1 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250857 | 1250857 | FILTER;CUM,AF55312 | FILTER;MNFR:CUMMINS,PTNO:AF55312 | FILTER | AF55312 | 3000018 | CUMMINS | CUMMINS | AF55312 | [5 empty] | https://s1partscenter.com/brands/international/dummy-for-direct-ship/dummy-for-direct-ship/af55312 | https://www.mddistributorsstore.com/fleetguard/af55312/secondary-dual-flow-air-filter | [9 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | DUAL FLOW,SECONDARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1322201 | 1322201 | FILTER;CUM,FF5079 | FILTER;MNFR:CUMMINS,PTNO:FF5079 | FILTER | FF5079 | 3000018 | CUMMINS | CUMMINS | FF5079 | [5 empty] | https://puredieselpower.com/products/agricultural-products/filters/cummins-fleetguard-in-line-fuel-filter-ff5079.html | https://distributionparts.com/products/ff5079-fleetguard-fuel-in-line-replaces-baldwin-bf1173-donaldson-p550974-luber-finer-l3523f-wix-33270 | [9 empty] | Enriched | 40161513 Fuel filters | FILTER | FUEL | TYPE | IN-LINE | FILTER RATING |  | PORT SIZE | 3/8 IN | SIZE | 48.489 ODX98.81 HT MM | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1211308 | 1211308 | FILTER;CUM,LF1400NN | FILTER;MNFR:CUMMINS,PTNO:LF1400NN | FILTER | LF1400NN | 3000018 | CUMMINS | CUMMINS | LF1400NN | [5 empty] | https://www.califiltrations.com/store/p63/fleetguard-cummins-x15-nanonet-lube-filter-lf14000nn-google.html#/ | [10 empty] | Enriched | 40161504 Oil filters | FILTER | OIL | TYPE | LUBE | FILTER RATING |  | PORT SIZE | M95X2.5 MM-7H | SIZE | 294.69 MM HT | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250795 | 1250795 | FILTER;CUM,LF3642 | FILTER;MNFR:CUMMINS,PTNO:LF3642 | FILTER | LF3642 | 3000018 | CUMMINS | CUMMINS | LF3642 | [5 empty] | https://s1partscenter.com/brands/cummins-filtration/lube-filtration/spin-on-lube-filter/lf3642 | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sLcRQAU/fleetguard-lube-filter-spinon-lf3642 | [9 empty] | Enriched | 40161504 Oil filters | FILTER | OIL | TYPE | SPIN-ON,LUBE | FILTER RATING |  | PORT SIZE | 1 IN-12 UNF-2B | SIZE | 145.5 MM HT | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250929 | 1250929 | FILTER;CUM,P500956 | FILTER;MNFR:CUMMINS,PTNO:P500956 | FILTER | P500956 | 3000018 | CUMMINS | CUMMINS | P500956 | DONALDSON COMPANY |  |  |  |  | https://shop.donaldson.com/store/en-us/product/P500956/39582?_requestid=3111377 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | SAFETY,ROUND | FILTER RATING |  | SIZE | 60 IDX104 ODX278 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | EFFICIENCY:99.9 PCT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250930 | 1250930 | FILTER;CUM,P613333 | FILTER;MNFR:CUMMINS,PTNO:P613333 | FILTER | P613333 | 3000018 | CUMMINS | CUMMINS | P613333 | DONALDSON COMPANY |  |  |  |  | https://shop.donaldson.com/store/en-us/product/P613333/35213 | [10 empty] | Enriched | 40161505 Air filters | FILTER | AIR | TYPE | PRIMARY,ROUND | FILTER RATING |  | SIZE | 201 IDX279 ODX519 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | EFFICIENCY:99.97 PCT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1250858 | 1250858 | FILTER;CUM,SP1042 | FILTER;MNFR:CUMMINS,PTNO:SP1042 | FILTER | SP1042 | 3000018 | CUMMINS | CUMMINS | SP1042 | [5 empty] | https://shop.moderngroup.com/sp1042-service-part-cover-aircl/ | [10 empty] | Enriched | 40161526 Filter retainers or accessories | COVER | NO MODIFIER | TYPE | FILTER | SIZE | 265.5 LGX138.1 WDX42 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213033 | 1213033 | FILTER;DRVT,2749743,DPF | FILTER;MNFR:DRIVETRAIN,PTNO:2749743,ADDITIONAL FEATURES EN:DPF | 01)DRIVETRAIN AUSTRALIA,01)2749743,FILTER,01)DPF | 2749743 | 3000461 | DRIVETRAIN | DRIVETRAIN | 2749743 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE | DPF | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DPF | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213243 | 1213243 | FILTER;DRVT,IFI22359,XMSN | FILTER;MNFR:DRIVETRAIN,PTNO:IFI22359,ADDITIONAL FEATURES EN:TRANSMISSION | 01)DRIVETRAIN AUSTRALIA,01)IFI22359,FILTER,01)TRANSMISSION | IFI22359 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI22359 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE | TRANSMISSION | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANSMISSION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213275 | 1213275 | FILTER;DRVT,IFI24537,LUB | FILTER;MNFR:DRIVETRAIN,PTNO:IFI24537,ADDITIONAL FEATURES EN:LUBE | 01)DRIVETRAIN AUSTRALIA,01)IFI24537,FILTER,01)LUBE | IFI24537 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24537 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161504 Oil filters | FILTER | OIL | TYPE | LUBE | FILTER RATING |  | PORT SIZE |  | SIZE |  | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1210962 | 1210962 | FILTER;DRVT,IFI24538,FUEL | FILTER;MNFR:DRIVETRAIN,PTNO:IFI24538,ADDITIONAL FEATURES EN:FUEL | 01)DRIVETRAIN AUSTRALIA,01)IFI24538,FILTER,01)FUEL | IFI24538 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24538 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161513 Fuel filters | FILTER | FUEL | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213276 | 1213276 | FILTER;DRVT,IFI24539,WS | FILTER;MNFR:DRIVETRAIN,PTNO:IFI24539,ADDITIONAL FEATURES EN:WS | 01)DRIVETRAIN AUSTRALIA,01)IFI24539,FILTER,01)WS | IFI24539 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24539 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213278 | 1213278 | FILTER;DRVT,IFI24764,VNT | FILTER;MNFR:DRIVETRAIN,PTNO:IFI24764,ADDITIONAL FEATURES EN:VENT | 01)DRIVETRAIN AUSTRALIA,01)IFI24764,FILTER,01)VENT | IFI24764 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24764 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE | VENT | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1275839 | 1275839 | FILTER;DRVT,IFI33443 | FILTER;MNFR:DRIVETRAIN,PTNO:IFI33443 | 01)DRIVETRAIN,01)IFI33443,FILTER | IFI33443 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33443 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1276031 | 1276031 | FILTER;DRVT,IFI33444 | FILTER;MNFR:DRIVETRAIN,PTNO:IFI33444 | 01)DRIVETRAIN,01)IFI33444,FILTER | IFI33444 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33444 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213528 | 1213528 | FILTER;DRVT,IFI36202 | FILTER;MNFR:DRIVETRAIN,PTNO:IFI36202 |  | IFI36202 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI36202 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217157 | 1217157 | FLANGE;DRVT,16PQ1BSX,PIPE,BLIND.1 IN ,SA | FLANGE;MNFR:DRIVETRAIN,PTNO:16PQ1BSX,ADDITIONAL FEATURES EN:PIPE,BLIND.1 IN ,SAE CODE 61,BLANKING,HYDRAULIC STD.PRESSURE | 01)DRIVETRAIN AUSTRALIA,01)16PQ1BSX,FLANGE,01)PIPE,BLIND.1 IN ,SAE CODE 6 | 16PQ1BSX | 3000461 | DRIVETRAIN | DRIVETRAIN | 16PQ1BSX | PARKER HANNIFIN |  |  |  |  | https://ph.parker.com/us/en/product/4-bolt-hydraulic-flanges-and-components/16pq1bsx | [10 empty] | Enriched | 40172200 Pipe blind flanges | FLANGE | BLIND | TYPE | HYDRAULIC,PIPE | NOMINAL SIZE | 1 IN | PRESSURE RATING | 5000 PSI | OUTSIDE DIAMETER |  | THICKNESS |  | CONNECTION TYPE | BLOCK PLUG | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | SCHEDULE/WALL THICKNESS |  | BOLT CIRCLE DIAMETER |  | COATING/FINISH |  | NUMBER OF HOLES | 4 | MOUNTING HOLE SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 6162-1,SAE J518 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1217158 | 1217158 | FLANGE;DRVT,20PQ1BSX,FLNG,PIPE,BLIND:1-1 | FLANGE;MNFR:DRIVETRAIN,PTNO:20PQ1BSX,ADDITIONAL FEATURES EN:FLANGE,PIPE,BLIND:1-1/4 IN ,SAE CODE 61,BLANKING FLANGE,HYDRAULIC S | 01)DRIVETRAIN AUSTRALIA,01)20PQ1BSX,FLANGE,01)FLANGE,PIPE,BLIND:1-1/4 IN | 20PQ1BSX | 3000461 | DRIVETRAIN | DRIVETRAIN | 20PQ1BSX | PARKER HANNIFIN |  |  |  |  | https://ph.parker.com/us/en/product/4-bolt-hydraulic-flanges-and-components/20pq1bsx | [10 empty] | Enriched | 40172200 Pipe blind flanges | FLANGE | BLIND | TYPE | HYDRAULIC,PIPE | NOMINAL SIZE | 1-1/4 IN | PRESSURE RATING | 4000 PSI | OUTSIDE DIAMETER |  | THICKNESS |  | CONNECTION TYPE | BLOCK PLUG | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | SCHEDULE/WALL THICKNESS |  | BOLT CIRCLE DIAMETER |  | COATING/FINISH |  | NUMBER OF HOLES | 4 | MOUNTING HOLE SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 6162-1,SAE J518 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213122 | 1213122 | FLANGE;DRVT,IFI02622 | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI02622 | 01)DRIVETRAIN AUSTRALIA,01)IFI02622,FLANGE | IFI02622 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02622 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213143 | 1213143 | FLANGE;DRVT,IFI03503,AXLE | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI03503,ADDITIONAL FEATURES EN:AXLE | 01)DRIVETRAIN AUSTRALIA,01)IFI03503,FLANGE,01)AXLE | IFI03503 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI03503 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE | AXLE | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213259 | 1213259 | FLANGE;DRVT,IFI23402,TURBO EXHAUST | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI23402,ADDITIONAL FEATURES EN:TURBO EXHAUST | 01)DRIVETRAIN AUSTRALIA,01)IFI23402,FLANGE,01)TURBO EXHAUST | IFI23402 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23402 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE | TURBO EXHAUST | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213261 | 1213261 | FLANGE;DRVT,IFI23434,BRAKE | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI23434,ADDITIONAL FEATURES EN:BRAKE | 01)DRIVETRAIN AUSTRALIA,01)IFI23434,FLANGE,01)BRAKE | IFI23434 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23434 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE | BRAKE | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213334 | 1213334 | FLANGE;DRVT,IFI25524 | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI25524 | 01)DRIVETRAIN AUSTRALIA,01)IFI25524,FLANGE | IFI25524 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25524 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213433 | 1213433 | FLANGE;DRVT,IFI31367 | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI31367 |  | IFI31367 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31367 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213472 | 1213472 | FLANGE;DRVT,IFI32830 | FLANGE;MNFR:DRIVETRAIN,PTNO:IFI32830 |  | IFI32830 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32830 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1335852 | 1335852 | GUIDE;SCHN,SL106-758 | GUIDE;MNFR:SCHNEIDER INC,PTNO:SL106-758 |  | SL106-758 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SL106-758 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1321972 | 1321972 | GUIDE;SIE,223-106-0273 | GUIDE;MNFR:SIEMENS,PTNO:223-106-0273 | GUIDE | 223-106-0273 | 3000032 | SIEMENS | SIEMENS | 223-106-0273 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1271268 | 1271268 | GUIDE;SKF,TKBAG2,BELT ALIGNMENT KIT | GUIDE;MNFR:SKF,PTNO:TKBAG2,ADDITIONAL FEATURES EN:BELT ALIGNMENT KIT | 01)APPLIED INDUSTRIAL TECHNO,01)TKBAG2,GUIDE,01)BELT ALIGNMENT KIT | TKBAG2 | 3000348 | SKF | SKF | TKBAG2 | [5 empty] | https://www.qualitybearingsonline.com/tkbag2-skf-set-of-v-guide-with-guides/ | https://www.acorn-ind.co.uk/p/skf/belt-alignment/tkbag2-skf/ | [9 empty] | Enriched | 23153000 Holding and positioning and guiding systems and devices | SET | NO MODIFIER | TYPE | V-GUIDE | CONTENTS | 22 MM SHORT,22 MM LONG,40 MM SHORT,40 MM LONG GUIDES | NUMBER OF ITEMS | 4 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES | FOR BELT ALIGNMENT KIT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1211049 | 1211049 | MUFFLER;DRVT,IFI32778 | MUFFLER;MNFR:DRIVETRAIN,PTNO:IFI32778 | 01)DRIVETRAIN,01)IFI32778,MUFFLER | IFI32778 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32778 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173702 Mufflers or resonators | MUFFLER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213469 | 1213469 | PLC;DRVT,IFI32764 | PLC;MNFR:DRIVETRAIN,PTNO:IFI32764 |  | IFI32764 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32764 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1273229 | 1273229 | RATCHET;RIDG,30088,TUBE CUTTER | RATCHET;MNFR:RIDGID TOOLS,PTNO:30088,TYPE:TUBE CUTTER,ADDITIONAL FEATURES EN:RC-2375,63MM | 01)TOTAL TOOLS TOWNSVILLE,01)SKU#106779/MPN30088,EN_01)TUBE CUTTER,01)RC-2375,63MM | 30088 | 3000339 | RIDGID TOOLS | RIDGID TOOLS | 30088 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | https://www.ridgid.com/us/en/ratchet-cutters-with-ergonomic-grips | [10 empty] | Enriched | 27111711 Ratchets | CUTTER | TUBE | TYPE | RATCHET | TUBE SIZE | 3 TO 63 MM | BLADE MATERIAL |  | CUT MATERIAL | PLASTIC, | HANDLE MATERIAL |  | BODY MATERIAL |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W ERGONOMIC GRIPS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213213 | 1213213 | RETAINER;DRVT,IFI15068,REAR WHEEL SEAL | RETAINER;MNFR:DRIVETRAIN,PTNO:IFI15068,ADDITIONAL FEATURES EN:REAR WHEEL SEAL | 01)DRIVETRAIN AUSTRALIA,01)IFI15068,RETAINER,01)REAR WHEEL SEAL | IFI15068 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI15068 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE | REAR WHEEL SEAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1216997 | 1216997 | Spherical Roller Bearing (Floating) | Spherical Roller Bearing (Floating) |  | 23036 CCK/W33 | 3000348 | SKF | SKF | 23036 CCK/W33 | [5 empty] | https://www.skf.com/hr/productinfo/productid-23036%20CCK%2FW33 | [10 empty] | Enriched | 31171505 Roller bearings | BEARING | ROLLER | TYPE | SPHERICAL,FLOATING | INSIDE DIAMETER | 180 MM | OUTSIDE DIAMETER | 280 MM | OVERALL WIDTH | 74 MM | BORE SHAPE | TAPERED | NUMBER OF ROWS | 2 | CAGE MATERIAL | SHEET METAL | BEARING SERIES |  | DYNAMIC LOAD RATING | 883 KN | STATIC LOAD RATING | 1250 KN | SPEED RATING | 2000 RPM REFERENCE,2600 RPM LIMITING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL CLEARANCE:CN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213199 | 1213199 | STEP,VEH;DRVT,IFI12401,LHS | STEP,VEHICLE;MNFR:DRIVETRAIN,PTNO:IFI12401,ADDITIONAL FEATURES EN:LHS | 01)DRIVETRAIN AUSTRALIA,01)IFI12401,STEP,VEHICLE,01)LHS | IFI12401 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12401 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 30191500 Ladders and scaffolding | STEP | VEHICLE | TYPE | LEFT HAND SIDE | NUMBER OF STEPS |  | DIMENSIONS |  | MOUNTING TYPE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213200 | 1213200 | STEP,VEH;DRVT,IFI12402,RHS | STEP,VEHICLE;MNFR:DRIVETRAIN,PTNO:IFI12402,ADDITIONAL FEATURES EN:RHS | 01)DRIVETRAIN AUSTRALIA,01)IFI12402,STEP,VEHICLE,01)RHS | IFI12402 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12402 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 30191500 Ladders and scaffolding | STEP | VEHICLE | TYPE | RIGHT HAND SIDE | NUMBER OF STEPS |  | DIMENSIONS |  | MOUNTING TYPE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213039 | 1213039 | STEP,VEH;DRVT,IFI81540,RR | STEP,VEHICLE;MNFR:DRIVETRAIN,PTNO:IFI81540,ADDITIONAL FEATURES EN:REAR | 01)DRIVETRAIN AUSTRALIA,01)IFI81540,STEP,VEHICLE,01)REAR | IFI81540 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI81540 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 30191500 Ladders and scaffolding | STEP | VEHICLE | TYPE | REAR | NUMBER OF STEPS |  | DIMENSIONS |  | MOUNTING TYPE |  | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-06-29 |  | 1213471 | 1213471 | YOKE;DRVT,IFI32823 | YOKE;MNFR:DRIVETRAIN,PTNO:IFI32823 |  | IFI32823 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32823 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111509 Transmission yokes | YOKE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed