## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | RYM | OK,MULTIPLE MFR IN WEB SOURCE | 2023-06-24 | 2023-06-29 | MULTIPLE MFR IN WEB SOURCE | 1217843 | 1217843 | ACCELEROMETER;SKF,HS-150S1000702-10,SBM | ACCELEROMETER;MNFR:SKF,PTNO:HS-150S1000702-10,ADDITIONAL FEATURES EN:SUBMERSIBLE,100MV/G OUTPUT,SIDE EXIT,1/4IN-28UNF,10M CABLE | 01)GVS RELIABILITY PRODUCTS,01)HS-150S1000702-10,ACCELEROMETER,01)SUBMERSIBLE,100MV/G OUTPUT | HS-150S1000702-10 | 3000348 | SKF | SKF | HS-150S1000702-10 |  | GVS RELIABILITY PRODUCTS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41113639 Accelerometers | ACCELEROMETER | NO MODIFIER | TYPE | SUBMERSIBLE | MEASURING RANGE | 100 MV/G | ACCURACY |  | SENSITIVITY |  | INPUT RATING |  | OUTPUT TYPE |  | MOUNTING TYPE |  | FREQUENCY RATING |  | BANDWIDTH |  | SIZE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:1/4 IN-28 UNF,CABLE SIZE:10 M,SIDE EXIT | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK,MULTIPLE MFR IN WEB SOURCE | 2023-06-24 | 2023-06-29 | MULTIPLE MFR IN WEB SOURCE | 1217844 | 1217844 | ACCELEROMETER;SKF,HS-150S1000702-20,SBM | ACCELEROMETER;MNFR:SKF,PTNO:HS-150S1000702-20,ADDITIONAL FEATURES EN:SUBMERSIBLE,100MV/G OUTPUT,SIDE EXIT,1/4IN-28UNF,20M CABLE | 01)GVS RELIABILITY PRODUCTS,01)HS-150S1000702-20,ACCELEROMETER,01)SUBMERSIBLE,100MV/G OUTPUT | HS-150S1000702-20 | 3000348 | SKF | SKF | HS-150S1000702-20 |  | GVS RELIABILITY PRODUCTS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41113639 Accelerometers | ACCELEROMETER | NO MODIFIER | TYPE | SUBMERSIBLE | MEASURING RANGE | 100 MV/G | ACCURACY |  | SENSITIVITY |  | INPUT RATING |  | OUTPUT TYPE |  | MOUNTING TYPE |  | FREQUENCY RATING |  | BANDWIDTH |  | SIZE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:1/4 IN-28 UNF,CABLE SIZE:20 M,SIDE EXIT | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1258340 | 1258340 | ACCUMULATOR;ABB,0412824 | ACCUMULATOR;MNFR:ABB,PTNO:0412824 | ACCUMULATOR | 412824 | 3000014 | ABB | ABB | 0412824 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26131800 Power generation control equipment | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1275555 | 1275555 | ACCUMULATOR;DRVT,IFI24560 | ACCUMULATOR;MNFR:DRIVETRAIN,PTNO:IFI24560 | 01)DRIVETRAIN,01)IFI24560,ACCUMULATOR | IFI24560 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24560 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26131800 Power generation control equipment | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1274263 | 1274263 | ACCUMULATOR;HYDA,3238455,BLADDER 4LTR | ACCUMULATOR;MNFR:HYDAC,PTNO:3238455,ADDITIONAL FEATURES EN:BLADDER 4LTR SB330-4A/112F-330A | HYDAC,3238455,01)HYDAC,01)3238455,ACCUMULATOR,01)BLADDER 4LTR,02)SB330-4A1/112F-330A | 3238455 | 3000292 | HYDAC | HYDAC | 3238455 |  | HYDAC | SB330-4A1/112F-330A |  |  | https://www.hydraulicsdirect.com.au/3238455 | [10 empty] | ENRICHED | 27131510 Accumulator bladders or bags | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE | 330 BAR | CAPACITY | 4 L | SHELL MATERIAL |  | BLADDER MATERIAL | NBR | CONNECTION TYPE | 1-1/4 IN FBSPP | TEMPERATURE RATING | -15 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273067 | 1273067 | ACCUMULATOR;HYS,1494147 | ACCUMULATOR;MNFR:HYSTER,PTNO:1494147 | 01)ADAPT-A-LIFT GROUP PTY LT,01)1494147,ACCUMULATOR | 1494147 | 3000023 | HYSTER | HYSTER | 1494147 |  | ADAPT-A-LIFT |  |  |  | https://www.orangeparts.com/hyster-1494147-accumulat/ | [10 empty] | CLEANSED | 26131800 Power generation control equipment | ACCUMULATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PRESSURE RATING |  | END CONNECTION |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1274331 | 1274331 | ADDITIVE;EXHAUST,ADBLUE,IBC,1000LT | ADDITIVE;MNFR:FUCHS LUBRICANTS,PTNO:44141000,ADDITIONAL FEATURES EN:ADBLUE,IBC,1000LT | 01)FUCHS LUBRICANTS (A'SIA),01)44141000,ADDITIVE,01)ADBLUE,IBC,1000LT | 44141000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | 44141000 | [5 empty] | https://www.epss.com.au/products/44141000 | [10 empty] | CLEANSED | 12160000 Additives | ADDITIVE | NO MODIFIER | TYPE | ADBLUE | CONTAINER | 1000 L | FORM |  | COLOUR |  | COMPOSITION |  | MSDS/CAS NUMBER |  | FLASH POINT |  | POUR POINT |  | GRADE |  | SPECIFIC GRAVITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ADBLUE,IBC,1000LT | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273551 | 1273551 | AMMETER;NHP,RQ72EAAC20A,DIRECTC,20/100A | AMMETER;MNFR:NHP,PTNO:RQ72EAAC20A,ADDITIONAL FEATURES EN:DIRECTC,20/100A,600V OPERATIONAL VOLTAGE RATING,OPERATING TEMPERATURE -25 TO +50Â°C |  | RQ72EAAC20A | 3000664 | NHP | NHP | RQ72EAAC20A | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/RQ72EAAC20A-107468-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 41113601 Ammeters | AMMETER | NO MODIFIER | TYPE | DIRECT CONNECT | MEASURING RANGE | 0 TO 20/100A | ACCURACY | CLASS 1.5 | DISPLAY TYPE | ANALOG | DIAL SIZE |  | RESOLUTION |  | MATERIAL | POLYCARBONATE | MOUNTING TYPE | PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OPERATIONAL VOLTAGE RATING:600 VAC,OPERATING TEMPERATURE RATING:-25 TO 50 DEG C | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1214300 | 1214300 | AMMETER;SIE,D144NS;0-10KA | AMMETER;MNFR:SIEMENS,PTNO:D144NS;0-10KA | AMMETER | D144NS;0-10KA | 3000032 | SIEMENS | SIEMENS | D144NS 0-10KA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41113601 Ammeters | AMMETER | NO MODIFIER | TYPE |  | MEASURING RANGE | 0 TO 10 KA | ACCURACY |  | DISPLAY TYPE |  | DIAL SIZE |  | RESOLUTION |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1214301 | 1214301 | AMMETER;SIE,D144NS;400-0-400A | AMMETER;MNFR:SIEMENS,PTNO:D144NS;400-0-400A | AMMETER | D144NS;400-0-400A | 3000032 | SIEMENS | SIEMENS | D144NS 400-0-400A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41113601 Ammeters | AMMETER | NO MODIFIER | TYPE |  | MEASURING RANGE | 400 TO 0 TO 400 A | ACCURACY |  | DISPLAY TYPE |  | DIAL SIZE |  | RESOLUTION |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1271206 | 1271206 | BARRIER,INTRN SAFTY;EATO,MTL7787+,ZNR,DI | BARRIER,INTRINSIC SAFETY;MNFR:EATON CORPORATION,PTNO:MTL7787+,ADDITIONAL FEATURES EN:ZENER,DIODE SHUNT,NO.OF CHANNEL:1,ANALOG OUTPUT,ATEX,VOLTAGE RATING:28 VDC,CURRENT RATING:93 MA | 01)CNW (MOUNT ISA) ELECT WHO,01)RSC612-5335,BARRIER,INTRINSIC SAFETY,01)ZENER,DIODE SHUNT,NO.OF CHA,02)ANALOG OUTPUT,ATEX,03)VOLTAGE RATING:28 VDC,CURRE | MTL7787+ | 3000267 | EATON CORPORATION | EATON CORPORATION | MTL7787+ | [18 empty] | BARRIER | INTRINSIC SAFETY | TYPE |  | NUMBER OF CHANNELS |  | VOLTAGE RATING | 28 VDC | CURRENT RATING | 93 MA | INPUT TYPE |  | OUTPUT TYPE |  | HOUSING WIDTH |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIL RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ZENER,DIODE SHUNT | [44 empty] | NO.OF CHANNEL:1,ANALOG OUTPUT,ATEX | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266273 | 1266273 | BATTERY PACK;HILT,2183180,LI-ION,B 22/4. | BATTERY PACK;MNFR:HILTI,PTNO:2183180,ADDITIONAL FEATURES EN:LI-ION,B 22/4.0 | 01)HILTI (AUST) PTY LTD,01)2183180,BATTERY PACK,01)LI-ION,B 22/4.0 | 2183180 | 3000289 | HILTI | HILTI | 2183180 | [5 empty] | https://www.hilti.co.uk/c/CLS_POWER_TOOLS_7124/CLS_BATTERIES_CHARGERS_7124/CLS_BATTERIES_7124/r8449394 | [10 empty] | ENRICHED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE | LI-ION | VOLTAGE RATING | 22 V | CAPACITY | 4 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 136 LGX97 WDX60 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LI-ION,B 22/4.0 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1272877 | 1272877 | BATTERY PACK;MILW,FED0156,1X4.0 A/H,M12 | BATTERY PACK;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:FED0156,ADDITIONAL FEATURES EN:1X4.0 A/H,M12 | 01)FEDVS,01)FED0156 ,BATTERY PACK,01)1X4.0 A/H,M12 | FED0156 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | FED0156 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY | 4 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS | 1 | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M12,FEDVS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | NM DOUBT | 2023-06-24 | 2023-06-29 |  | 1268790 | 1268790 | BATTERY PACK;MILW,M18FPP6G2-502B,FUEL 6 | BATTERY PACK;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FPP6G2-502B,ADDITIONAL FEATURES EN:FUEL 6 POWER PACK | 01)HAYMANS ELECTRICAL,01)M18FPP6G2-502B,BATTERY PACK,01)FUEL 6 POWER PACK | M18FPP6G2-502B | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FPP6G2-502B | [5 empty] | https://www.milwaukeetool.com.au/discontinued-products/M18FPP6G2-502B.html | [12 empty] | BATTERY PACK | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS | 6 | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUEL 6 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1274628 | 1274628 | BATTERY PACK;MILW,M18HOSPS121B | BATTERY PACK;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18HOSPS121B | 01)FEDVS,01)FED0154,BATTERY PACK | M18HOSPS121B | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18HOSPS121B |  |  | FED0154 |  |  | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/m18-batteries/M18HOSPS121B.html | https://sydneytools.com.au/product/milwaukee-m18hosps121b-12v18v-120ah-liion-cordless-red-lithium-high-output-battery-super-charger-m1218sc | [9 empty] | ENRICHED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE | LI-ION | VOLTAGE RATING | 12 TO 18 V | CAPACITY | 12 AH | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 170 LGX110 WDX105 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FEDVS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1211698 | 1211698 | BATTERY PACK;SCHN,SYBTU1-PLP,SYMMETRA PX | BATTERY PACK;MNFR:SCHNEIDER INC,PTNO:SYBTU1-PLP,ADDITIONAL FEATURES EN:SYMMETRA PX | 01)SCHNEIDER ELECTRIC (AUS),01)SYBTU1-PLP,BATTERY PACK,01)SYMMETRA PX | SYBTU1-PLP | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SYBTU1-PLP | [5 empty] | https://www.se.com/il/en/product/download-pdf/SYBTU1-PLP | [10 empty] | ENRICHED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE | 10.7 WDX15.9 HTX70 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SYMMETRA PX | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1268471 | 1268471 | BATTERY PACK;SKF,TLSD-1 BAT,SKF12 22 | BATTERY PACK;MNFR:SKF,PTNO:TLSD-1 BAT,ADDITIONAL FEATURES EN:SKF12 22 | 01)APPLIED INDUSTRIAL TECHNO M,01)TLSD-1 BAT,BATTERY PACK,01)SKF12 22 | TLSD-1 BAT | 3000348 | SKF | SKF | TLSD 1-BAT |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/productinfo/productid-TLSD%201-BAT | [10 empty] | CLEANSED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 12 22 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1218162 | 1218162 | BATTERY PACK;YOKG,S9400UK,AFS,FCS,DCS | BATTERY PACK;MNFR:YOKOGAWA,PTNO:S9400UK,ADDITIONAL FEATURES EN:AFS,FCS,DCS | 01)YOKOGAWA,01)S9400UK,01)YOKOGAWA AUSTRALIA PTY LT,01)S9400UK,BATTERY PACK,01)AFS,FCS,DCS | S9400UK | 3000446 | YOKOGAWA | YOKOGAWA | S9400UK | [5 empty] | https://web-material3.yokogawa.com/Nickel%20Metal%20Hydride_Nickel%20Cadmium%20Batteries_201702.au.pdf | [10 empty] | CLEANSED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE | NICKEL METAL HYDRIDE/NICKEL CADMIUM | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR AFS,FCS,DCS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1218163 | 1218163 | BATTERY PACK;YOKG,S9548FA,DCS | BATTERY PACK;MNFR:YOKOGAWA,PTNO:S9548FA,ADDITIONAL FEATURES EN:DCS | 01)YOKOGAWA,01)S9548FA,01)YOKOGAWA AUSTRALIA PTY LT,01)S9548FA,BATTERY PACK,01)DCS | S9548FA | 3000446 | YOKOGAWA | YOKOGAWA | S9548FA | [5 empty] | https://web-material3.yokogawa.com/Nickel%20Metal%20Hydride_Nickel%20Cadmium%20Batteries_201702.au.pdf | [10 empty] | CLEANSED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE | NICKEL METAL HYDRIDE/NICKEL CADMIUM | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR DCS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1218048 | 1218048 | BATTERY PACK;YOKG,S9765UK,BATTERY ASSY 4 | BATTERY PACK;MNFR:YOKOGAWA,PTNO:S9765UK,ADDITIONAL FEATURES EN:BATTERY ASSY 4 ST 127.22 508.88 MODEL: S,9765UK | 01)YOKOGAWA AUSTRALIA PTY LT,01)S9765UK,BATTERY PACK,01)BATTERY ASSY 4 ST 127.22 50,02)9765UK | S9765UK | 3000446 | YOKOGAWA | YOKOGAWA | S9765UK |  |  | 127.22 508.88 |  |  | https://web-material3.yokogawa.com/Nickel%20Metal%20Hydride_Nickel%20Cadmium%20Batteries_201702.au.pdf | [10 empty] | CLEANSED | 26111710 Product specific battery packs | BATTERY PACK | NO MODIFIER | TYPE | NICKEL METAL HYDRIDE/NICKEL CADMIUM | VOLTAGE RATING |  | CAPACITY |  | ELECTROCHEMICAL SYSTEM |  | NUMBER OF CELLS |  | DISCHARGE RATING |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY 4 ST | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1325783 | 1325783 | CARD;ABB,YL264001-LK | CARD;MNFR:ABB,PTNO:YL264001-LK | CARD | YL264001-LK | 3000014 | ABB | ABB | YL264001-LK | [5 empty] | https://new.abb.com/products/YL264001-LK/yl264001-lk | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1325314 | 1325314 | CARD;ABB,YT298003-D/1 | CARD;MNFR:ABB,PTNO:YT298003-D/1 | CARD | YT298003-D/1 | 3000014 | ABB | ABB | YT298003-D/1 | [5 empty] | https://new.abb.com/products/es/YT298003-D/yt298003-d | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1325328 | 1325328 | CARD;ABB,YXU 139B | CARD;MNFR:ABB,PTNO:YXU 139B | CARD | YXU 139B | 3000014 | ABB | ABB | YXU 139B | [5 empty] | https://www.industrialrepair.com/product/yxu-139b-asea-circuit-board-repair/ | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | BOARD | CIRCUIT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1214246 | 1214246 | CARD;SIE,C71458-A1108-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A1108-A1 | CARD | C71458-A1108-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A1108-A1 | [5 empty] | https://simatix.ru/product/C71458A1108A1/ | [12 empty] | BOARD | CIRCUIT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1214247 | 1214247 | CARD;SIE,C71458-A1110-A1 | CARD;MNFR:SIEMENS,PTNO:C71458-A1110-A1 | CARD | C71458-A1110-A1 | 3000032 | SIEMENS | SIEMENS | C71458-A1110-A1 | [5 empty] | https://simatix.ru/product/C71458A1110A1/ | [12 empty] | BOARD | CIRCUIT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 | Current Rating Processed based on Websource, Conflict w.r.t Input | 1266891 | 1266891 | BUS BAR;NHP,IBD312P,CMB,3P 12P 63A | BUS BAR;MNFR:NHP,PTNO:IBD312P,ADDITIONAL FEATURES EN:COMB,3P 12P 63A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPIBD312P,BUS BAR,01)COMB,3P 12P 63A | IBD312P | 3000664 | NHP | NHP | IBD312P |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://nhp.com.au/product/IBD312P | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB,PIN | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:3,NUMBER OF WAY:12 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 | Current Rating Processed based on Websource, Conflict w.r.t Input | 1266892 | 1266892 | BUS BAR;NHP,ICL102,CMB,1P/N 10P 100A | BUS BAR;MNFR:NHP,PTNO:ICL102,ADDITIONAL FEATURES EN:COMB,1P/N 10P 100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICL102,BUS BAR,01)COMB,1P/N 10P 100A | ICL102 | 3000664 | NHP | NHP | ICL102 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/ICL102 | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB,PIN | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:1P+N,NUMBER OF WAY:10 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266759 | 1266759 | BUS BAR;NHP,ICL561F,57P,1PH,CMB,FK | BUS BAR;MNFR:NHP,PTNO:ICL561F,ADDITIONAL FEATURES EN:57P,1PH,COMB,FORK | 01)CNW (MOUNT ISA) ELECT WHO,01)ICL561F,BUS BAR,01)57P,1PH,COMB,FORK | ICL561F | 3000664 | NHP | NHP | ICL561F |  | CNW ELECTRICAL WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/ICL561F | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB,FORK | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 110 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:1,NUMBER OF WAY:57 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266760 | 1266760 | BUS BAR;NHP,ICL573F,57P,3PH COMB | BUS BAR;MNFR:NHP,PTNO:ICL573F,ADDITIONAL FEATURES EN:57P,3PH COMB | 01)CNW (MOUNT ISA) ELECT WHO,01)ICL573F,BUS BAR,01)57P,3PH COMB | ICL573F | 3000664 | NHP | NHP | ICL573F |  | CNW ELECTRICAL WHOLESALE |  |  |  | https://nhpnz.co.nz/product/ICL573F | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB,FORK | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 110 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:3,NUMBER OF WAY:57 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 | Current Rating Processed based on Websource, Conflict w.r.t Input | 1266893 | 1266893 | BUS BAR;NHP,ICL62,CMB,1P/N 6P 100A | BUS BAR;MNFR:NHP,PTNO:ICL62,ADDITIONAL FEATURES EN:COMB,1P/N 6P 100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICL62,BUS BAR,01)COMB,1P/N 6P 100A | ICL62 | 3000664 | NHP | NHP | ICL62 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/ICL62 | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB,PIN | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:1P+N,NUMBER OF WAY:6 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266894 | 1266894 | BUS BAR;NHP,ICLEC1,ENDCAP COMB,1PH | BUS BAR;MNFR:NHP,PTNO:ICLEC1,ADDITIONAL FEATURES EN:ENDCAP COMB,1PH | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICLEC1,BUS BAR,01)ENDCAP COMB,1PH | ICLEC1 | 3000664 | NHP | NHP | ICLEC1 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/ICLEC1 | [10 empty] | CLEANSED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | ENDCAP COMB | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE:1 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266895 | 1266895 | BUS BAR;NHP,ICLEC23,ENDCAP COMB,3PH | BUS BAR;MNFR:NHP,PTNO:ICLEC23,ADDITIONAL FEATURES EN:ENDCAP COMB,3PH | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICLEC23,BUS BAR,01)ENDCAP COMB,3PH | ICLEC23 | 3000664 | NHP | NHP | ICLEC23 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/ICLEC23 | [10 empty] | CLEANSED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | ENDCAP COMB | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE:3 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266896 | 1266896 | BUS BAR;NHP,ICLEC4,ENDCAP COMB,4PH | BUS BAR;MNFR:NHP,PTNO:ICLEC4,ADDITIONAL FEATURES EN:ENDCAP COMB,4PH | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICLEC4,BUS BAR,01)ENDCAP COMB,4PH | ICLEC4 | 3000664 | NHP | NHP | ICLEC4 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/ICLEC4 | [10 empty] | CLEANSED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | ENDCAP COMB | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE:4 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266786 | 1266786 | BUS BAR;NHP,NC218183U,CHASSIS NC DINT 25 | BUS BAR;MNFR:NHP,PTNO:NC218183U,ADDITIONAL FEATURES EN:CHASSIS NC DINT 250A 18WAY 3P UNI | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPNC218183U,BUS BAR,01)CHASSIS NC DINT 250A 18WAY | NC218183U | 3000664 | NHP | NHP | NC218183U |  | CNW ELECTRICAL WHOLESALE |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-766/NHP_NZ_Catalog-820/NC218183U | [10 empty] | ENRICHED | 39121117 Buss bar | CHASSIS | NO MODIFIER | TYPE | BUS BAR | SIZE |  | MATERIAL | 250 WDX188 HT MM | NUMBER OF HOLES/SLOTS | 18 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:NC,CURRENT RATING:250 A,DINT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1215334 | 1215334 | BUS BAR;NHP,PEFB25736,CU,FLEX,25MM2,125A | BUS BAR;MNFR:NHP,PTNO:PEFB25736,ADDITIONAL FEATURES EN:COPPER,FLEXIBLE,25MM2,125A,1000VDC,LENGTH: 736MM,THICKNESS: 1.5MM,WIDTH: 20MM,COLOUR: GREEN AND YELLOW |  | PEFB25736 | 3000664 | NHP | NHP | PEFB25736 | [5 empty] | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-766/NHP_NZ_Catalog-822/PEFB25736 | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | FLEXIBLE | MATERIAL | COPPER WIRE | CROSS SECTION | 25 MM2 | LENGTH | 736 MM | INSULATION MATERIAL |  | CURRENT RATING | 125 A | VOLTAGE RATING | 100 VAC | FREQUENCY RATING | 50/60 HZ | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THICKNESS:1.5 MM,WIDTH:20 MM,COLOUR:GREEN,YELLOW | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1272203 | 1272203 | BUS BAR;SCHN,GV2G245,63A,3P,45MM PITCH | BUS BAR;MNFR:SCHNEIDER INC,PTNO:GV2G245,ADDITIONAL FEATURES EN:63A,3P,45MM PITCH 2TAPOFFS | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHGV2G245,BUS BAR,01)63A,3P,45MM PITCH 2TAPOFFS | GV2G245 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | GV2G245 |  | CNW ELECTRICAL WHOLESALE |  |  |  | https://www.se.com/in/en/product/download-pdf/GV2G245 | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | COMB | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 63 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:3,PITCH SIZE:63 MM,NUMBER OF TOP OFF:2 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273436 | 1273436 | BUS BAR;SCHN,RMXPH312,RESI MAX,3P+N,63 A | BUS BAR;MNFR:SCHNEIDER INC,PTNO:RMXPH312,ADDITIONAL FEATURES EN:RESI MAX,3P+N,63 A,230-400 VAC,12 MODULE | 01)SHERRIFF ELECTRICAL SUPPL,01)SCHRMXPH312,BUS BAR,01)RESI MAX,3P+N,63 A,230-400 | RMXPH312 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RMXPH312 |  | SHERRIFF ELECTRICAL WHOLESALER |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/RMXPH312 | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | SLIM COMB | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING | 230/400 VAC | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61439-1,IEC 60947-7-1 | ADDITIONAL FEATURES | RESI MAX,NUMBER OF POLE:3P+N,NUMBER OF MODULE:12 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1218800 | 1218800 | BUS BAR;SIE,5ST3700 | BUS BAR;MNFR:SIEMENS,PTNO:5ST3700 |  | 5ST3700 | 3000032 | SIEMENS | SIEMENS | 5ST3700 | [5 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=5ST3700&language=en | [10 empty] | ENRICHED | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | PIN | MATERIAL |  | CROSS SECTION | 16 MM2 | LENGTH | 214 MM | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1275282 | 1275282 | CARD;SCHN,AP9644,NETWORK MGT,LCES2,MODBU | CARD;MNFR:SCHNEIDER INC,PTNO:AP9644,ADDITIONAL FEATURES EN:NETWORK MGT,LCES2,MODBUS,ETHERNET,AUX SENSORS | 01)SCHNEIDER ELECTRIC IT AUS,01)AP9644,CARD,01)NETWORK MGT,LCES2,02)MODBUS,ETHERNET,AUX SENSORS | AP9644 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | AP9644 | [5 empty] | https://www.apc.com/in/en/product/AP9644/network-management-card-lces2-with-modbus-ethernet-and-aux-sensors/ | [10 empty] | ENRICHED | 43201400 System Cards | CARD | COMMUNICATION | TYPE | NETWORK MANAGEMENT | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LCES2,C/W MODBUS,ETHERNET,AUXILIARY SENSORS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1324382 | 1324382 | CHARGER,BATT;HELI,BCH500-28FT-R3000 | CHARGER,BATTERY;MNFR:HELIOS,PTNO:BCH500-28FT-R3000,ADDITIONAL FEATURES EN:OUTPUT VOLTAGE RATING:27.6 VINPUT VOLTAGE:230 VACCURRENT R ATING:18 ATEMPERATURE RATING:0-50 DEG C CERTIFICATION/STANDARD:EN 61000-4-2QUOT902901PIE CART - 21C ELECT - JUDI / TECHS | CHARGER,BATTERY,01)OUTPUT VOLTAGE RATING:27.6 VINPUT VOLTAGE:230 V,02)ATEMPERATURE RATING:0-50 DEG C CERTIFICATION/ST,03)UOT902901PIE CART - 21C ELECT - JUDI / TECHS | BCH500-28FT-R3000 | 3000572 | HELIOS | HELIOS | BCH500-28FT-R3000 | [5 empty] | https://www.heliosps.com.au/wp-content/uploads/wpallimport/files/HPS-PS-BATTERY-CHARGERS-BCH300-500.pdf | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING | 27.6 V | CHARGING CAPACITY |  | INPUT VOLTAGE | 230 V | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING | 0 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OUTPUT VOLTAGE RATING:27.6 VINPUT VOLTAGE:230 VACCURRENT R ATING:18 ATEMPERATURE RATING:0-50 DEG C CERTIFICATION/STANDARD:EN 61000-4-2QUOT902901PIE CART - 21C ELECT - JUDI / TECHS | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266274 | 1266274 | CHARGER,BATT;HILT,2028990,C 4/36-350 240 | CHARGER,BATTERY;MNFR:HILTI,PTNO:2028990,ADDITIONAL FEATURES EN:C 4/36-350 240V,BOX | 01)HILTI (AUST) PTY LTD,01)2028990,CHARGER,BATTERY,01)C 4/36-350 240V,BOX | 2028990 | 3000289 | HILTI | HILTI | 2028990 | [5 empty] | https://www.hilti.com.au/c/CLS_POWER_TOOLS_7124/CLS_BATTERIES_CHARGERS_7124/CLS_CHARGERS_7124/r5484 | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C 4/36-350 240V,BOX | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1272878 | 1272878 | CHARGER,BATT;MILW,FED0157,1XM12 | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:FED0157,ADDITIONAL FEATURES EN:1XM12 | 01)FEDVS,01)FED0157 ,CHARGER,BATTERY,01)1XM12 | FED0157 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | FED0157 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1XM12 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1268794 | 1268794 | CHARGER,BATT;MILW,M1218FC,18V RAPID | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M1218FC,ADDITIONAL FEATURES EN:18V RAPID | 01)TOTAL TOOLS TOWNSVILLE,01)MPNM1218FC,CHARGER,BATTERY,01)18V RAPID | M1218FC | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M1218FC | [5 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/chargers/M12-18FC.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 18V RAPID | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1270630 | 1270630 | CHARGER,BATT;MILW,M12C4,M12,4 BAY | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12C4,ADDITIONAL FEATURES EN:M12,4 BAY | 01)MOUNT ISA MINING SUPPLIES,01)M12C4,CHARGER,BATTERY,01)M12,4 BAY | M12C4 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12C4 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/chargers/M12C4.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M12,4 BAY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1219604 | 1219604 | CHARGER,BATT;MILW,M12TC-0,COMPCT | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12TC-0,ADDITIONAL FEATURES EN:COMPACT | 01)TOOL 'N' TACKLE,01)M12TC-0,CHARGER,BATTERY,01)COMPACT | M12TC-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12TC-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/chargers/M12TC-0.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPACT | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1272260 | 1272260 | CHARGER,BATT;MILW,MILM12SP-201B,12V,2.0A | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MILM12SP-201B,ADDITIONAL FEATURES EN:12V,2.0AH,REDLITHIUM |  | MILM12SP-201B | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MILM12SP-201B | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 12V,2.0AH,REDLITHIUM | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1211880 | 1211880 | CHARGER,BATT;MILW,MXFC,FST,MX FUEL | CHARGER,BATTERY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MXFC,ADDITIONAL FEATURES EN:FAST,MX FUEL | 01)MOUNT ISA MINING SUPPLIES,01)MXFC,CHARGER,BATTERY,01)FAST,MX FUEL | MXFC | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MXFC | [5 empty] | https://www.milwaukeetool.com.au/mx-fuel/batteries-and-chargers/MXFC.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | BATTERY | TYPE |  | OUTPUT VOLTAGE RATING |  | CHARGING CAPACITY |  | INPUT VOLTAGE |  | CURRENT RATING |  | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FAST,MX FUEL | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1219486 | 1219486 | CHARGER;DRAG,8321850,POWER SUPPLY UNIT,1 | CHARGER;MNFR:DRAEGER,PTNO:8321850,ADDITIONAL FEATURES EN:POWER SUPPLY UNIT,100-240 V, 24 VDC/6.25 A - FOR UP TO 10 MODULES | 01)ALLIANCE SAFETY EQUIPMENT,01)8321850,CHARGER,01)POWER SUPPLY UNIT,100-240 V | 8321850 | 3000423 | DRAEGER | DRAEGER | 8321850 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER SUPPLY UNIT,100-240 V,24 VDC/6.25 A - FOR UP TO 10 MODULES | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1324386 | 1324386 | CHARGER;HELI,BCH500-27FT-R3279 | CHARGER;MNFR:HELIOS,PTNO:BCH500-27FT-R3279,ADDITIONAL FEATURES EN:INPUT RATING:300 VACOUTPUT RATING:27.6 VCURRENT RATING: 18 A REFER ENCE NO: BCH500-27FT | CHARGER,01)INPUT RATING:300 VACOUTPUT RATING:27.6 VCURRENT,02)NCE NO: BCH500-27FT | BCH500-27FT-R3279 | 3000572 | HELIOS | HELIOS | BCH500-27FT-R3279 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT RATING:300 VACOUTPUT RATING:27.6 VCURRENT RATING: 18 A REFER ENCE NO: BCH500-27FT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1217630 | 1217630 | CHARGER;MILW,M1418C6,18V,SKN,6 BAY | CHARGER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M1418C6,ADDITIONAL FEATURES EN:18V,SKIN,6 BAY | 01)SYDNEY TOOLS PTY LTD,01)M1418C6,CHARGER,01)18V,SKIN,6 BAY | M1418C6 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M1418C6 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 18V,SKIN,6 BAY | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1219084 | 1219084 | CHARGER;MILW,M18ONESLDP-0,LED SITE LIGHT | CHARGER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONESLDP-0,ADDITIONAL FEATURES EN:LED SITE LIGHT | CHARGER,01)LED SITE LIGHT | M18ONESLDP-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONESLDP-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18ONESLDP-0.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LED SITE LIGHT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273458 | 1273458 | CHARGER;MILW,M18PC6,RAPD,6BAYPACKOUT,POW | CHARGER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18PC6,ADDITIONAL FEATURES EN:RAPID,6BAYPACKOUT,POWER AC,CHARGETYPE:TWO-PACK SIMULTANEOUS, DC OUTPUT:(1)USB-A,PORT:5V,2.1A(10W) | 01)MOUNT ISA MINING SUPPLIES,01)M18PC6,CHARGER,01)RAPID,6BAYPACKOUT,POWER AC,02)CHARGETYPE:TWO-PACK SIMULTA,03)DC OUTPUT:(1)USB-A,PORT:5V | M18PC6 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18PC6 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/batteries-and-chargers/chargers/M18PC6.html | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RAPID,6BAYPACKOUT,POWER AC | [56 empty] | CHARGETYPE:TWO-PACK SIMULTANEOUS,DC OUTPUT:(1)USB-A,PORT:5V,2.1A(10W) | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1214165 | 1214165 | CHARGER;SCHN,30USBCM,MECH USB,1.2 A,WHIT | CHARGER;MNFR:SCHNEIDER INC,PTNO:30USBCM,ADDITIONAL FEATURES EN:MECH USB,1.2 A,WHITE CAP | 01)SHERRIFF ELECTRICAL SUPPL,01)30USBCM,CHARGER,01)MECH USB,1.2 A,WHITE CAP | 30USBCM | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 30USBCM | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 26111704 Battery chargers | CHARGER | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MECH USB,1.2 A,WHITE CAP | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1212985 | 1212985 | CONTACTOR;NHP,T2SH00LD02T,TERASAKI SHUNT | CONTACTOR;MNFR:NHP,PTNO:T2SH00LD02T,ADDITIONAL FEATURES EN:TERASAKI SHUNT TRIP 24V DC | 01)NHP ELECTRICAL ENGINEERIN,01)T2SH00LD02T,CONTACTOR,01)TERASAKI SHUNT TRIP 24V DC | T2SH00LD02T | 3000664 | NHP | NHP | T2SH00LD02T |  | NHP ELECTRICAL ENGINEERING |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-420/T2SH00LD02T | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/T2SH00LD02T-230181-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | SHUNT TRIP | CURRENT RATING |  | VOLTAGE RATING |  | NUMBER OF POLES |  | INTERRUPT RATING | 25 TO 200 KA | FRAME TYPE | 160 A TO 3200 A | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1213803 | 1213803 | CONTACTOR;SIE,3TH2040-OAFO+3TX4440-QA4 | CONTACTOR;MNFR:SIEMENS,PTNO:3TH2040-OAFO+3TX4440-QA4 | CONTACTOR | 3TH2040-OAFO+3TX4440-QA4 | 3000032 | SIEMENS | SIEMENS | 3TH2040-0AF0+3TX4440-QA4 | [16 empty] | CLEANSED |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269344 | 1269344 | DETECTOR,GAS;DRAG,3501261,X-AM 5000 | DETECTOR,GAS;MNFR:DRAEGER,PTNO:3501261,ADDITIONAL FEATURES EN:X-AM 5000, EX/O2/CO/H2S/NH3 | 01)ALLIANCE SAFETY EQUIPMENT,01)3501261,DETECTOR,GAS,01)X-AM 5000, EX/O2/CO/H2S/ | 3501261 | 3000423 | DRAEGER | DRAEGER | X-AM 5000 |  | DRAEGER | 3501261 |  |  | https://www.draeger.com/Products/Content/x-am-5000-pi-9046318-en-master.pdf | https://www.alliancesafety.com.au/product/xam-5000-exo2coh2snh3-with-battery-kit/3501261 | [9 empty] | ENRICHED | 46171613 Gas detectors | DETECTOR | GAS | TYPE | MULTI,PORTABLE | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY | NIMH BATTERY | ENCLOSURE MATERIAL |  | SIZE | 48 WDX130 HTX44 DP MM | TEMPERATURE RATING | -20 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEASURABLE GAS:EX,O2,CO,H2S,NH3 | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269329 | 1269329 | DETECTOR,GAS;DRAG,3502637,X-AM 2500,BATT | DETECTOR,GAS;MNFR:DRAEGER,PTNO:3502637,ADDITIONAL FEATURES EN:X-AM 2500,BATTERY KIT,4 GAS NIMH | 01)ALLIANCE SAFETY EQUIPMENT,01)3502637,DETECTOR,GAS,01)X-AM 2500,02)BATTERY KIT,4 GAS NIMH | 3502637 | 3000423 | DRAEGER | DRAEGER | X-AM 2500 |  | DRAEGER | 3502637 |  |  | https://www.draeger.com/Products/Content/x-am-2500-pi-9094028-en-master.pdf | [10 empty] | ENRICHED | 46171613 Gas detectors | DETECTOR | GAS | TYPE | MULTI | DETECTING RANGE | 0 TO 25 VOL (O2),0 TO 30 VOL (O2 PR),0 TO 2000 PPM (CO LC),0 TO 100 PPM (H2S),0 TO 50 PPM (NO2),0 TO 100 PPM (SO2) | MOUNTING TYPE |  | POWER SUPPLY | NIMH BATTERY | ENCLOSURE MATERIAL |  | SIZE | 48 WDX130 HTX44 DP MM | TEMPERATURE RATING | -20 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF GAS:4,C/W BATTERY KIT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1211206 | 1211206 | DETECTOR,GAS;DRAG,3502916,X-AM 2500 CSE | DETECTOR,GAS;MNFR:DRAEGER,PTNO:3502916,ADDITIONAL FEATURES EN:X-AM 2500 CSE KIT STANDARD | 01)ALLIANCE SAFETY EQUIPMENT,01)3502916,DETECTOR,GAS,01)X-AM 2500 CSE KIT STANDARD | 3502916 | 3000423 | DRAEGER | DRAEGER | X-AM 2500 CSE KIT |  | DRAEGER | 3502916 |  |  | https://draeger-mo.com/en/artnr/8327106/drager-x-am-r-2500-cse-kit-for-remote-measurement | [10 empty] | CLEANSED | 46171613 Gas detectors | KIT | NO MODIFIER | TYPE | GAS DETECTOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269423 | 1269423 | DETECTOR,GAS;DRAG,PAC8000 | DETECTOR,GAS;MNFR:DRAEGER,PTNO:PAC8000 | 01)DRAEGER AUSTRALIA PTY LTD,01)8326355,DETECTOR,GAS | PAC8000 | 3000423 | DRAEGER | DRAEGER | PAC8000 | [5 empty] | https://www.draeger.com/Products/Content/pac-8000-pi-9103434-en-master.pdf | [10 empty] | ENRICHED | 46171613 Gas detectors | DETECTOR | GAS | TYPE | SINGLE | DETECTING RANGE | 0 TO 200 PPM (NO),0 TO 5 VOL.PCT (CO2),0 TO 20 PPM (CL2),0 TO 50 PPM (HCN),0 TO 300 PPM (NH3),0 TO 20 PPM (PH3),0 TO 200 PPM (OV),0 TO 200 PPM (OV),0 TO 200 PPM (OV-A),0 TO 50 PPM (NO2),0 TO 10 PPM (OZONE),0 TO 10 PPM (PHOSGENE) | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE | 64 WDX84 HTX20 DP MM | TEMPERATURE RATING | -30 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1270326 | 1270326 | DETECTOR,GAS;DRAG,X-AM 5000,EX,O2,CO/H2S | DETECTOR,GAS;MNFR:DRAEGER,PTNO:X-AM 5000,ADDITIONAL FEATURES EN:EX,O2,CO/H2S LC,HCN,B2X FILTER,BATT & CHARGER KIT | 01)ALLIANCE SAFETY EQUIPMENT,01)3505686,DETECTOR,GAS,01)EX,O2,CO/H2S LC,HCN,B2X FIL | X-AM 5000 | 3000423 | DRAEGER | DRAEGER | X-AM 5000 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 46171613 Gas detectors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EX,O2,CO/H2S LC,HCN,B2X FILTER,BATT & CHARGER KIT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269492 | 1269492 | DETECTOR,GAS;HONE,2108B2001N,SEARCHPOINT | DETECTOR,GAS;MNFR:HONEYWELL,PTNO:2108B2001N,ADDITIONAL FEATURES EN:SEARCHPOINT OPTIMA PLUS GAS | 01)ALLIANCE SAFETY EQUIPMENT,01)2108B2001N,DETECTOR,GAS,01)SEARCHPOINT OPTIMA PLUS GAS | 2108B2001N | 3000290 | HONEYWELL | HONEYWELL | 2108B2001N | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 46171613 Gas detectors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SEARCHPOINT OPTIMA PLUS GAS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1272772 | 1272772 | DETECTOR;DRAG,8103560,OIL IMPACTOR | DETECTOR;MNFR:DRAEGER,PTNO:8103560,ADDITIONAL FEATURES EN:OIL IMPACTOR, PACK OF 10 | 01)ALLIANCE SAFETY EQUIPMENT,01)8103560,DETECTOR,01)OIL IMPACTOR,02) PACK OF 10 | 8103560 | 3000423 | DRAEGER | DRAEGER | 8103560 | [5 empty] | https://www.amronintl.com/draeger-8103560-oil-impactor-package-of-10.html | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OIL IMPACTOR,PACK OF 10 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1266250 | 1266250 | DETECTOR;DRAG,8321373,MULTI GAS,UP TO 6 | DETECTOR;MNFR:DRAEGER,PTNO:8321373,ADDITIONAL FEATURES EN:MULTI GAS,UP TO 6,M:X-AM 5600 BASIC,W/O SENSOR&POWER SUPPLY | 01)DRAEGER,01)ALLIANCE SAFETY EQUIPMENT,01)8321373,DETECTOR,01)MULTI GAS,UP TO 6,M:X-AM 56 | 8321373 | 3000423 | DRAEGER | DRAEGER | 8321373 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MULTI GAS,UP TO 6 | [58 empty] | M:X-AM 5600 BASIC,W/O SENSOR&POWER SUPPLY | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1270062 | 1270062 | DETECTOR;FLUK,1ACA1II/APAC,5293895,90-10 | DETECTOR;MNFR:FLUKE,PTNO:1ACA1II/APAC,ADDITIONAL FEATURES EN:5293895,90-1000V,VOLT ALERT STICK | 01)SHERRIFF ELECTRICAL SUPPL,01)1ACA1II/APAC,DETECTOR,01)5293895,90-1000V,VOLT ALERT | 1ACA1II/APAC | 3000278 | FLUKE | FLUKE | 1ACA1II/APAC | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5293895,90-1000V,VOLT ALERT STICK | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1259872 | 1259872 | DETECTOR;MILW,2203-20,10-1000V DUAL RANG | DETECTOR;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:2203-20,ADDITIONAL FEATURES EN:10-1000V DUAL RANGE,VOLTAGE DETECTOR | 01)MOUNT ISA MINING SUPPLIES,01)2203-20,DETECTOR,01)10-1000V DUAL RANGE,VOLTAGE | 2203-20 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 2203-20 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 10-1000V DUAL RANGE,VOLTAGE DETECTOR | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1258723 | 1258723 | DETECTOR;SIE,QRA.2,FLAME U.V CELL | DETECTOR;MNFR:SIEMENS,PTNO:QRA.2,ADDITIONAL FEATURES EN:FLAME U.V CELL | 01)FURNACE INDUSTRIES,01)RF204FF3,DETECTOR,01)FLAME U.V CELL | QRA.2 | 3000032 | SIEMENS | SIEMENS | QRA.2 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FLAME U.V CELL | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1323045 | 1323045 | DETECTOR;SIE,QRI2B2.B180B1 | DETECTOR;MNFR:SIEMENS,PTNO:QRI2B2.B180B1 | DETECTOR | QRI2B2.B180B1 | 3000032 | SIEMENS | SIEMENS | QRI2B2.B180B1 | [5 empty] | https://mall.industry.siemens.com/mall/en/no/Catalog/Products/10297499 | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273979 | 1273979 | DETECTOR;SKF,TLGU 10,ULTRASOUND LUBRICAT | DETECTOR;MNFR:SKF,PTNO:TLGU 10,ADDITIONAL FEATURES EN:ULTRASOUND LUBRICATION | 01)APPLIED INDUSTRIAL TECHNO,01)TLGU10,DETECTOR,01)ULTRASOUND LUBRICATION | TLGU 10 | 3000348 | SKF | SKF | TLGU 10 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ULTRASOUND LUBRICATION | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1220473 | 1220473 | DETECTOR;SWAG,MS-SNOOP-8OZ,LIQUID LEAK S | DETECTOR;MNFR:SWAGELOK LTD,PTNO:MS-SNOOP-8OZ,ADDITIONAL FEATURES EN:LIQUID LEAK SNOOP | 01)CNW (MOUNT ISA) ELECT WHO,01)SWAMS-SNOOP-8OZ,DETECTOR,01)LIQUID LEAK SNOOP | MS-SNOOP-8OZ | 3000355 | SWAGELOK LTD | SWAGELOK LTD | MS-SNOOP-8OZ | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LIQUID LEAK SNOOP | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1216448 | 1216448 | DETECTOR;YOKG,ZR22G-100-S-K-C-T-M-E-A,ZI | DETECTOR;MNFR:YOKOGAWA,PTNO:ZR22G-100-S-K-C-T-M-E-A,ADDITIONAL FEATURES EN:ZIRCONIA OXYGEN/HUMIDITY | 01)YOKOGAWA AUSTRALIA PTY LT,01)ZR22G-100-S-K-C-T-M-E-A,DETECTOR,01)ZIRCONIA OXYGEN/HUMIDITY | ZR22G-100-S-K-C-T-M-E-A | 3000446 | YOKOGAWA | YOKOGAWA | ZR22G-100-S-K-C-T-M-E-A | [5 empty] | NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ZIRCONIA OXYGEN/HUMIDITY | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1275938 | 1275938 | HELMET,SAFTY;3M,3MHH44LOR,ORNG,LAMP BRAC | HELMET,SAFETY;MNFR:3M,PTNO:3MHH44LOR,ADDITIONAL FEATURES EN:ORANGE,LAMP BRACKET,TYPE 2,WIDE BRIM | 01)BUNZL AUSTRALIA,01)3MHH44LOR,HELMET,SAFETY,01)ORANGE,LAMP BRACKET,TYPE 2 | 3MHH44LOR | 3000220 | 3M | 3M | HH44LOR |  | BUNZL AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 46181704 Safety helmets | HELMET | SAFETY | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W LAMP BRACKET,TYPE 2,WIDE BRIM | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1276327 | 1276327 | HELMET,SAFTY;3M,3MTA580LOR,ORNG,LAMP BRA | HELMET,SAFETY;MNFR:3M,PTNO:3MTA580LOR,ADDITIONAL FEATURES EN:ORANGE,LAMP BRACKET,TYPE 2,STD BRIM | 01)BUNZL AUSTRALIA,01)3MTA580LOR,HELMET,SAFETY,01)ORANGE,LAMP BRACKET,TYPE 2 | 3MTA580LOR | 3000220 | 3M | 3M | TA580LOR |  | BUNZL AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 46181704 Safety helmets | HELMET | SAFETY | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W LAMP BRACKET,TYPE 2,STANDARD BRIM | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1275854 | 1275854 | HELMET,SAFTY;3M,3MTA580OR,ORNG,STD BRIM | HELMET,SAFETY;MNFR:3M,PTNO:3MTA580OR,ADDITIONAL FEATURES EN:ORANGE,STD BRIM,TYPE 2 | 01)BUNZL AUSTRALIA,01)3MTA580OR,HELMET,SAFETY,01)ORANGE,STD BRIM,TYPE 2 | 3MTA580OR | 3000220 | 3M | 3M | TA580OR |  | BUNZL AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 46181704 Safety helmets | HELMET | SAFETY | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD BRIM,TYPE 2 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1273104 | 1273104 | HELMET,SAFTY;BRAD,BA878727 | HELMET,SAFETY;MNFR:BRADY W H CO,PTNO:BA878727 | 01)BUNZL BRANDS & OPERATIONS,01)BA878727,HELMET,SAFETY | BA878727 | 3000240 | BRADY W H CO | BRADY W H CO | BA878727 |  | BUNZL AUSTRALIA | [14 empty] | CLEANSED | 46181704 Safety helmets | HELMET | SAFETY | TYPE |  | SIZE DESIGNATION |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1215092 | 1215092 | HELMET,WLDG;3M,AWS401385,9002NC,SPEEDGLA | HELMET,WELDING;MNFR:3M,PTNO:AWS401385,ADDITIONAL FEATURES EN:9002NC,SPEEDGLAS | 01)BOC LIMITED,01)AWS401385,HELMET,WELDING,01)9002NC,SPEEDGLAS | AWS401385 | 3000220 | 3M | 3M | 401385 |  | BOC LIMITED |  | AWS |  | https://www.3m.com/3M/en_LB/p/d/v000530473/ | [10 empty] | ENRICHED | 46181704 Safety helmets | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL | POLYCARBONATE | COLOUR | NATURAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEEDGLAS,9002NC | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1215243 | 1215243 | HELMET,WLDG;3M,AWS541826,9100XXI FX SPEE | HELMET,WELDING;MNFR:3M,PTNO:AWS541826,ADDITIONAL FEATURES EN:9100XXI FX SPEEDGLAS | 01)BOC LIMITED,01)AWS541826,HELMET,WELDING,01)9100XXI FX SPEEDGLAS | AWS541826 | 3000220 | 3M | 3M | 541826 |  | BOC LIMITED |  | AWS |  | https://www.3m.com.sg/3M/en_SG/p/d/v000221376/ | [10 empty] | ENRICHED | 46181704 Safety helmets | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR | NATURAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEEDGLAS 9100XXI FX | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269513 | 1269513 | HELMET,WLDG;3M,AWS577726,SPEED GLASS | HELMET,WELDING;MNFR:3M,PTNO:AWS577726,ADDITIONAL FEATURES EN:SPEED GLASS | 01)BOC LIMITED,01)AWS577726,HELMET,WELDING,01)SPEED GLASS | AWS577726 | 3000220 | 3M | 3M | 577726 |  | BOC LIMITED |  | AWS |  | https://www.3m.com/3M/en_LB/p/d/v000221378/ | [10 empty] | CLEANSED | 46181704 Safety helmets | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEED GLASS | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269641 | 1269641 | HELMET,WLDG;LINC,01670798,PAPR FLIP FRNT | HELMET,WELDING;MNFR:LINCOLN,PTNO:01670798,ADDITIONAL FEATURES EN:PAPR FLIP FRNT 3250D FGS,K4550-2 | 01)J BLACKWOOD & SONS,01)01670798,HELMET,WELDING,01)PAPR FLIP FRNT 3250D FGS,K4 | 1670798 | 3000550 | LINCOLN | LINCOLN | 01670798 |  | BLACKWOOD & SONS |  |  |  | https://www.blackwoods.com.au/welding-gas/welding-safety/welding-helmets/lincoln-electric-k4550-2-papr-flip-front-welding-helmet-3250d-fgs/p/01670798 | [10 empty] | CLEANSED | 46181704 Safety helmets | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PAPR FLIP FRNT 3250D FGS,K4550-2 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1269348 | 1269348 | HELMET,WLDG;LINC,K3034-4,VIKING 3350 SER | HELMET,WELDING;MNFR:LINCOLN,PTNO:K3034-4,ADDITIONAL FEATURES EN:VIKING 3350 SERIES BLACK | 01)BUNZL BRANDS & OPERATIONS,01)K3034-4,HELMET,WELDING,01)VIKING 3350 SERIES BLACK | K3034-4 | 3000550 | LINCOLN | LINCOLN | K3034-4 |  | BUNZL AUSTRALIA |  |  |  | https://www.lincolnelectric.com/en/products/k3034-4 | [10 empty] | CLEANSED |  | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VIKING 3350 SERIES BLACK | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-06-29 |  | 1275832 | 1275832 | HELMET,WLDG;LINC,K3282-2,VIKING 1740 SER | HELMET,WELDING;MNFR:LINCOLN,PTNO:K3282-2,ADDITIONAL FEATURES EN:VIKING 1740 SERIES BLACK | 01)BUNZL BRANDS & OPERATIONS,01)K3282-2,HELMET,WELDING,01)VIKING 1740 SERIES BLACK | K3282-2 | 3000550 | LINCOLN | LINCOLN | K3282-2 |  | BUNZL AUSTRALIA |  |  |  | https://www.lincolnelectric.com/en/products/k3034-4 | [10 empty] | CLEANSED |  | HELMET | WELDING | TYPE |  | LENS SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VIKING 1740 SERIES BLACK | [57 empty] | Production Completed